## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-103_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-103_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-103_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-103_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-103_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-103_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-103_0_3_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_1061-103_0_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_1061-103_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1061-103_0_3_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_1061-103_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_1061-103_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1061-103_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1061-103_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-103_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-103_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-103_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-103_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1061-103_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1061-103_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1061-103_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1061-103_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1061-103_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1061-103_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1061-103_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1061-103_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1061-103_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_1061-103_0_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1061-103_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1061-103_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_1061-103_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1061-103_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1061-103_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1061-103_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1061-103_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1061-103_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_1061-103_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1061-103_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_1061-103_0_3_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_1061-103_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1061-103_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1061-103_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1061-103_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1061-103_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1061-103_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1061-103_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1061-103_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1061-103_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1061-103_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1061-103_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1061-103_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1061-103_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1061-103_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1061-103_0_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_1061-103_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_1061-103_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_1061-103_0_3_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_1061-103_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1061-103_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1061-103_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_MV_215_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-103_0_3_load_0 | 0 | 0.011096 | 0.002781 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-103_0_3_load_5 | 5 | 0.015956 | 0.0039989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-103_0_3_load_55 | 6 | 0.0057248 | 0.0014348 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-103_0_3_load_54 | 7 | 0.0059084 | 0.0014808 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-103_0_3_load_66 | 9 | 0.0077233 | 0.0019357 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-103_0_3_load_11 | 11 | 0.008076 | 0.002024 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-103_0_3_load_7 | 13 | 0.0076177 | 0.0019092 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-103_0_3_load_8 | 14 | 0.023655 | 0.0059285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-103_0_3_load_9 | 15 | 0.0083375 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-103_0_3_load_22 | 17 | 0.0039561 | 0.0009915 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-103_0_3_load_23 | 18 | 0.0028757 | 0.00072073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-103_0_3_load_27 | 19 | 0.0028416 | 0.00071217 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-103_0_3_load_12 | 20 | 0.023727 | 0.0059467 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-103_0_3_load_13 | 21 | 0.030399 | 0.0076186 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-103_0_3_load_45 | 24 | 0.0049111 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-103_0_3_load_47 | 26 | 0.0064121 | 0.001607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-103_0_3_load_53 | 27 | 0.0085266 | 0.002137 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-103_0_3_load_17 | 28 | 0.049267 | 0.012348 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-103_0_3_load_46 | 29 | 0.0049228 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-103_0_3_load_28 | 30 | 0.016199 | 0.0040599 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-103_0_3_load_29 | 31 | 0.0075326 | 0.0018878 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-103_0_3_load_30 | 32 | 0.0056292 | 0.0014108 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-103_0_3_load_31 | 33 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-103_0_3_load_36 | 34 | 0.005545 | 0.0013897 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-103_0_3_load_50 | 35 | 0.0039993 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-103_0_3_load_49 | 37 | 0.005921 | 0.0014839 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-103_0_3_load_51 | 38 | 0.0057147 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-103_0_3_load_32 | 39 | 0.0051565 | 0.0012923 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-103_0_3_load_33 | 40 | 0.0031029 | 0.00077765 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-103_0_3_load_34 | 41 | 0.0051832 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-103_0_3_load_35 | 42 | 0.0030567 | 0.00076609 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-103_0_3_load_39 | 44 | 0.0028512 | 0.00071459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-103_0_3_load_59 | 47 | 0.0015075 | 0.00037782 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-103_0_3_load_58 | 48 | 0.0013738 | 0.00034432 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-103_0_3_load_40 | 49 | 0.0033792 | 0.0008469 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-103_0_3_load_60 | 51 | 0.0019412 | 0.00048651 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-103_0_3_load_62 | 53 | 0.001494 | 0.00037444 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-103_0_3_load_65 | 54 | 0.002239 | 0.00056116 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-103_0_3_load_64 | 56 | 0.001736 | 0.00043507 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-103_0_3_load_48 | 57 | 0.0074741 | 0.0018732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-103_0_3_load_61 | 58 | 0.0014101 | 0.0003534 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-103_0_3_load_63 | 59 | 0.0021917 | 0.00054929 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-103_0_3_line_0 |  | 0 | 1 | 0.044677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-103_0_3_line_1 |  | 0 | 2 | 0.018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-103_0_3_line_2 |  | 1 | 3 | 0.009781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-103_0_3_line_3 |  | 1 | 4 | 0.024826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-103_0_3_line_4 |  | 2 | 5 | 0.024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-103_0_3_line_5 |  | 3 | 6 | 0.020203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-103_0_3_line_6 |  | 3 | 7 | 0.020384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-103_0_3_line_7 |  | 4 | 8 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1061-103_0_3_line_8 |  | 4 | 9 | 0.023992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1061-103_0_3_line_9 |  | 6 | 10 | 0.047895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-103_0_3_line_10 |  | 8 | 11 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-103_0_3_line_11 |  | 8 | 12 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-103_0_3_line_12 |  | 10 | 55 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-103_0_3_line_13 |  | 11 | 15 | 0.03847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-103_0_3_line_14 |  | 12 | 22 | 0.074141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-103_0_3_line_15 |  | 12 | 23 | 0.016577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-103_0_3_line_16 |  | 12 | 21 | 0.034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-103_0_3_line_17 |  | 13 | 14 | 0.012916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-103_0_3_line_18 |  | 13 | 15 | 0.035574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-103_0_3_line_19 |  | 14 | 16 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-103_0_3_line_20 |  | 16 | 17 | 0.0090225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-103_0_3_line_21 |  | 16 | 18 | 0.009224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-103_0_3_line_22 |  | 18 | 19 | 0.0083249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-103_0_3_line_23 |  | 20 | 21 | 0.036142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-103_0_3_line_24 |  | 22 | 24 | 0.058765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-103_0_3_line_25 |  | 22 | 25 | 0.10281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-103_0_3_line_26 |  | 23 | 26 | 0.020748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-103_0_3_line_27 |  | 23 | 27 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-103_0_3_line_28 |  | 25 | 28 | 0.0011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-103_0_3_line_29 |  | 26 | 29 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-103_0_3_line_30 |  | 29 | 57 | 0.020764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-103_0_3_line_31 |  | 30 | 31 | 0.044135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-103_0_3_line_32 |  | 31 | 32 | 0.035662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-103_0_3_line_33 |  | 32 | 33 | 0.026523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-103_0_3_line_34 |  | 33 | 34 | 0.047551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-103_0_3_line_35 |  | 33 | 35 | 0.02751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-103_0_3_line_36 |  | 34 | 36 | 0.0021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-103_0_3_line_37 |  | 35 | 37 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-103_0_3_line_38 |  | 36 | 46 | 0.003999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-103_0_3_line_39 |  | 36 | 44 | 0.020213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-103_0_3_line_40 |  | 37 | 38 | 0.006891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-103_0_3_line_41 |  | 39 | 40 | 0.0033355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-103_0_3_line_42 |  | 39 | 41 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-103_0_3_line_43 |  | 40 | 42 | 0.021379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-103_0_3_line_44 |  | 42 | 43 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-103_0_3_line_45 |  | 43 | 44 | 0.012288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-103_0_3_line_46 |  | 43 | 45 | 0.004055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-103_0_3_line_47 |  | 45 | 51 | 0.0095753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-103_0_3_line_48 |  | 45 | 52 | 0.032237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-103_0_3_line_49 |  | 46 | 47 | 0.0093402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-103_0_3_line_50 |  | 46 | 48 | 0.0030973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-103_0_3_line_51 |  | 48 | 55 | 0.033689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-103_0_3_line_52 |  | 49 | 50 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-103_0_3_line_53 |  | 50 | 52 | 0.033278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-103_0_3_line_54 |  | 51 | 53 | 0.008182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-103_0_3_line_55 |  | 52 | 54 | 0.0092408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-103_0_3_line_56 |  | 53 | 58 | 0.0069372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-103_0_3_line_57 |  | 54 | 56 | 0.0087829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-103_0_3_line_58 |  | 56 | 59 | 0.0086679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-103_0_3_trafo_66 | 0.63 MVA 20/0.4 kV | 60 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2666830.0714 | 1210058.3896 | 2666817.3898 | 1210056.6688 | 2666802.7325 | 1210052.8802 | 2666788.0338 | 1210044.8682
1 | 2666771.766 | 1210036.0011 | 2666788.0338 | 1210044.8682
2 | 2666830.0714 | 1210058.3896 | 2666839.8785 | 1210058.1882
3 | 2666824.4427 | 1210082.5081 | 2666827.4256 | 1210073.3803 | 2666830.0714 | 1210058.3896
4 | 2666771.766 | 1210036.0011 | 2666749.8954 | 1210024.0271
5 | 2666839.8785 | 1210058.1882 | 2666844.9191 | 1210058.0779 | 2666859.7016 | 1210054.7104
6 | 2666839.8785 | 1210058.1882 | 2666836.657 | 1210078.3158
7 | 2666824.4427 | 1210082.5081 | 2666819.0437 | 1210101.048 | 2666814.9795 | 1210104.2489
8 | 2666824.4427 | 1210082.5081 | 2666801.519 | 1210075.4275
9 | 2666899.2861 | 1210028.3465 | 2666886.5055 | 1210038.843 | 2666876.0007 | 1210047.0304 | 2666860.5023 | 1210054.528 | 2666859.7016 | 1210054.7104
10 | 2666814.9795 | 1210104.2489 | 2666808.2858 | 1210104.7076 | 2666800.6947 | 1210103.6959
11 | 2666814.9795 | 1210104.2489 | 2666814.2878 | 1210118.5055
12 | 2666900.2251 | 1210019.1625 | 2666900.7879 | 1210019.8136 | 2666903.6914 | 1210023.2038 | 2666904.224 | 1210023.8324 | 2666899.2861 | 1210028.3465
13 | 2666800.6947 | 1210103.6959 | 2666762.5614 | 1210098.6139
14 | 2666806.139 | 1210185.7668 | 2666799.5119 | 1210158.5647 | 2666800.0622 | 1210153.5456 | 2666802.0364 | 1210150.3212 | 2666817.894 | 1210123.6156 | 2666814.2878 | 1210118.5055
15 | 2666814.2878 | 1210118.5055 | 2666817.894 | 1210123.6156 | 2666827.829 | 1210120.814
16 | 2666814.2878 | 1210118.5055 | 2666812.5369 | 1210122.8218 | 2666809.4811 | 1210124.8889 | 2666804.429 | 1210125.3549 | 2666798.7827 | 1210127.9822 | 2666793.9536 | 1210127.5501 | 2666787.103 | 1210125.7279 | 2666784.4813 | 1210125.1703
17 | 2666727.2991 | 1210093.9145 | 2666714.496 | 1210092.2082
18 | 2666727.2991 | 1210093.9145 | 2666762.5614 | 1210098.6139
19 | 2666696.9488 | 1210089.2973 | 2666701.4581 | 1210090.4707 | 2666714.496 | 1210092.2082
20 | 2666696.9488 | 1210089.2973 | 2666699.3292 | 1210080.5946
21 | 2666696.9488 | 1210089.2973 | 2666688.0243 | 1210086.9661
22 | 2666679.9696 | 1210084.8621 | 2666688.0243 | 1210086.9661
23 | 2666748.5686 | 1210122.0257 | 2666755.7733 | 1210122.3197 | 2666769.1374 | 1210122.8029 | 2666775.7367 | 1210123.3103 | 2666784.4813 | 1210125.1703
24 | 2666806.139 | 1210185.7668 | 2666810.4261 | 1210192.5189 | 2666859.764 | 1210204.4788
25 | 2666752.4347 | 1210153.7351 | 2666752.5676 | 1210154.7594 | 2666752.9042 | 1210157.2869 | 2666753.4646 | 1210161.5403 | 2666753.5836 | 1210162.4533 | 2666756.1336 | 1210162.1149 | 2666766.3089 | 1210161.6062 | 2666771.573 | 1210163.2439 | 2666783.6568 | 1210174.2081 | 2666796.1747 | 1210158.6163 | 2666800.0622 | 1210153.5456 | 2666799.5119 | 1210158.5647 | 2666806.139 | 1210185.7668
26 | 2666827.829 | 1210120.814 | 2666838.2086 | 1210126.5004 | 2666841.7966 | 1210134.6591
27 | 2666827.829 | 1210120.814 | 2666833.179 | 1210106.7257
28 | 2666752.4347 | 1210153.7351 | 2666751.3109 | 1210153.8908
29 | 2666850.3022 | 1210144.0467 | 2666844.8125 | 1210141.517 | 2666841.7966 | 1210134.6591
30 | 2666869.4397 | 1210135.9894 | 2666850.3022 | 1210144.0467
31 | 2666776.3598 | 1210033.2729 | 2666796.7041 | 1210044.1407 | 2666810.0391 | 1210049.9601 | 2666816.3174 | 1210051.722
32 | 2666816.3174 | 1210051.722 | 2666820.0254 | 1210052.7626 | 2666830.1526 | 1210053.8544 | 2666839.3711 | 1210053.9577 | 2666845.9073 | 1210053.3194 | 2666851.59 | 1210051.9815
33 | 2666875.805 | 1210041.5751 | 2666871.1711 | 1210044.597 | 2666862.972 | 1210048.4742 | 2666854.9685 | 1210051.1862 | 2666851.59 | 1210051.9815
34 | 2666875.805 | 1210041.5751 | 2666880.9257 | 1210038.2357 | 2666884.0257 | 1210035.6244 | 2666886.0421 | 1210032.0448 | 2666886.882 | 1210028.3074 | 2666886.4106 | 1210022.8988 | 2666884.9998 | 1210019.9256 | 2666870.5909 | 1210005.0291
35 | 2666875.805 | 1210041.5751 | 2666894.5106 | 1210061.7469
36 | 2666869.1159 | 1210003.5042 | 2666870.5909 | 1210005.0291
37 | 2666901.2336 | 1210070.6761 | 2666899.9276 | 1210070.0905 | 2666895.8665 | 1210068.2661 | 2666894.5106 | 1210061.7469
38 | 2666872.1626 | 1210000.9034 | 2666869.9907 | 1210002.758 | 2666869.1159 | 1210003.5042
39 | 2666869.1159 | 1210003.5042 | 2666855.0596 | 1209988.9784
40 | 2666901.2336 | 1210070.6761 | 2666907.5215 | 1210073.4954
41 | 2666811.3805 | 1210000.0457 | 2666814.2828 | 1209998.402
42 | 2666811.3805 | 1210000.0457 | 2666795.0935 | 1210009.2697
43 | 2666832.8852 | 1209987.8666 | 2666814.2828 | 1209998.402
44 | 2666846.5144 | 1209980.1478 | 2666832.8852 | 1209987.8666
45 | 2666846.5144 | 1209980.1478 | 2666855.0596 | 1209988.9784
46 | 2666846.5144 | 1209980.1478 | 2666850.0485 | 1209978.1417
47 | 2666850.0485 | 1209978.1417 | 2666857.818 | 1209972.5451
48 | 2666827.4434 | 1209955.0966 | 2666850.0485 | 1209978.1417
49 | 2666872.1626 | 1210000.9034 | 2666865.654 | 1209994.2043
50 | 2666872.1626 | 1210000.9034 | 2666873.7973 | 1209999.4987 | 2666874.511 | 1209998.884
51 | 2666900.2251 | 1210019.1625 | 2666897.8251 | 1210019.0021 | 2666894.6043 | 1210018.1544 | 2666889.8211 | 1210014.9655 | 2666882.2191 | 1210006.942 | 2666874.511 | 1209998.884
52 | 2666803.5454 | 1209936.173 | 2666816.4845 | 1209949.4149
53 | 2666803.5454 | 1209936.173 | 2666806.8899 | 1209934.1314 | 2666827.4434 | 1209955.0966
54 | 2666857.818 | 1209972.5451 | 2666864.4569 | 1209967.7629
55 | 2666827.4434 | 1209955.0966 | 2666835.207 | 1209950.0849
56 | 2666870.0857 | 1209963.7082 | 2666864.4569 | 1209967.7629
57 | 2666835.207 | 1209950.0849 | 2666842.586 | 1209945.3215
58 | 2666849.8683 | 1209940.6204 | 2666842.586 | 1209945.3215

## bus_geodata
| x | y | coords
0 | 2666788.0338 | 1210044.8682
1 | 2666830.0714 | 1210058.3896
2 | 2666771.766 | 1210036.0011
3 | 2666839.8785 | 1210058.1882
4 | 2666824.4427 | 1210082.5081
5 | 2666749.8954 | 1210024.0271
6 | 2666859.7016 | 1210054.7104
7 | 2666836.657 | 1210078.3158
8 | 2666814.9795 | 1210104.2489
9 | 2666801.519 | 1210075.4275
10 | 2666899.2861 | 1210028.3465
11 | 2666800.6947 | 1210103.6959
12 | 2666814.2878 | 1210118.5055
13 | 2666727.2991 | 1210093.9145
14 | 2666714.496 | 1210092.2082
15 | 2666762.5614 | 1210098.6139
16 | 2666696.9488 | 1210089.2973
17 | 2666699.3292 | 1210080.5946
18 | 2666688.0243 | 1210086.9661
19 | 2666679.9696 | 1210084.8621
20 | 2666748.5686 | 1210122.0257
21 | 2666784.4813 | 1210125.1703
22 | 2666806.139 | 1210185.7668
23 | 2666827.829 | 1210120.814
24 | 2666859.764 | 1210204.4788
25 | 2666752.4347 | 1210153.7351
26 | 2666841.7966 | 1210134.6591
27 | 2666833.179 | 1210106.7257
28 | 2666751.3109 | 1210153.8908
29 | 2666850.3022 | 1210144.0467
30 | 2666776.3598 | 1210033.2729
31 | 2666816.3174 | 1210051.722
32 | 2666851.59 | 1210051.9816
33 | 2666875.805 | 1210041.5751
34 | 2666870.5909 | 1210005.0291
35 | 2666894.5106 | 1210061.7469
36 | 2666869.1159 | 1210003.5042
37 | 2666901.2336 | 1210070.6761
38 | 2666907.5215 | 1210073.4954
39 | 2666811.3805 | 1210000.0457
40 | 2666814.2828 | 1209998.402
41 | 2666795.0935 | 1210009.2697
42 | 2666832.8852 | 1209987.8666
43 | 2666846.5144 | 1209980.1478
44 | 2666855.0596 | 1209988.9784
45 | 2666850.0485 | 1209978.1417
46 | 2666872.1626 | 1210000.9034
47 | 2666865.654 | 1209994.2043
48 | 2666874.511 | 1209998.884
49 | 2666816.4845 | 1209949.4149
50 | 2666803.5454 | 1209936.173
51 | 2666857.8179 | 1209972.5451
52 | 2666827.4434 | 1209955.0966
53 | 2666864.4569 | 1209967.7629
54 | 2666835.207 | 1209950.0849
55 | 2666900.2251 | 1210019.1625
56 | 2666842.586 | 1209945.3215
57 | 2666869.4397 | 1210135.9894
58 | 2666870.0857 | 1209963.7082
59 | 2666849.8683 | 1209940.6204
60 | 2666824.4427 | 1210082.5081

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99355 | -0.1231 | 0.011096 | 0.002781
1 | 0.99465 | -0.10178 | 0 | 0
2 | 0.99328 | -0.12832 | 0 | 0
3 | 0.99372 | -0.11952 | 0 | 0
4 | 0.99763 | -0.045123 | 0 | 0
5 | 0.99292 | -0.13535 | 0.015956 | 0.0039989
6 | 0.99191 | -0.15416 | 0.0057248 | 0.0014348
7 | 0.99361 | -0.12165 | 0.0059084 | 0.0014808
8 | 0.99546 | -0.086578 | 0 | 0
9 | 1 | 0 | -0.32816 | -0.083215
10 | 0.98787 | -0.23188 | 0 | 0
11 | 0.99471 | -0.10109 | 0.008076 | 0.002024
12 | 0.99369 | -0.1207 | 0 | 0
13 | 0.99164 | -0.16033 | 0.0076177 | 0.0019092
14 | 0.99125 | -0.16796 | 0.023655 | 0.0059285
15 | 0.99298 | -0.13454 | 0.0083375 | 0.0020896
16 | 0.99109 | -0.17102 | 0 | 0
17 | 0.99106 | -0.17165 | 0.0039561 | 0.0009915
18 | 0.99104 | -0.17196 | 0.0028757 | 0.00072073
19 | 0.99102 | -0.17238 | 0.0028416 | 0.00071217
20 | 0.99121 | -0.1687 | 0.023727 | 0.0059467
21 | 0.99199 | -0.1535 | 0.030399 | 0.0076186
22 | 0.98999 | -0.19188 | 0 | 0
23 | 0.99327 | -0.1287 | 0 | 0
24 | 0.98973 | -0.19701 | 0.0049111 | 0.0012308
25 | 0.98533 | -0.28239 | 0 | 0
26 | 0.99292 | -0.1356 | 0.0064121 | 0.001607
27 | 0.99316 | -0.13097 | 0.0085266 | 0.002137
28 | 0.98528 | -0.28339 | 0.049267 | 0.012348
29 | 0.99277 | -0.13857 | 0.0049228 | 0.0012338
30 | 0.97893 | -0.40608 | 0.016199 | 0.0040599
31 | 0.97959 | -0.39308 | 0.0075326 | 0.0018878
32 | 0.98038 | -0.37772 | 0.0056292 | 0.0014108
33 | 0.9811 | -0.36361 | 0.0040538 | 0.001016
34 | 0.98326 | -0.32146 | 0.005545 | 0.0013897
35 | 0.9807 | -0.3714 | 0.0039993 | 0.0010023
36 | 0.98336 | -0.31938 | 0 | 0
37 | 0.98057 | -0.37405 | 0.005921 | 0.0014839
38 | 0.98053 | -0.37476 | 0.0057147 | 0.0014322
39 | 0.98185 | -0.34902 | 0.0051565 | 0.0012923
40 | 0.98188 | -0.3484 | 0.0031029 | 0.00077765
41 | 0.98176 | -0.35077 | 0.0051832 | 0.001299
42 | 0.98215 | -0.3432 | 0.0030567 | 0.00076609
43 | 0.98238 | -0.33853 | 0 | 0
44 | 0.98274 | -0.33168 | 0.0028512 | 0.00071459
45 | 0.98233 | -0.33959 | 0 | 0
46 | 0.98369 | -0.31301 | 0 | 0
47 | 0.98368 | -0.31326 | 0.0015075 | 0.00037782
48 | 0.98395 | -0.308 | 0.0013738 | 0.00034432
49 | 0.98189 | -0.34831 | 0.0033792 | 0.0008469
50 | 0.98194 | -0.34718 | 0 | 0
51 | 0.98229 | -0.34043 | 0.0019412 | 0.00048651
52 | 0.98205 | -0.34515 | 0 | 0
53 | 0.98227 | -0.34086 | 0.001494 | 0.00037444
54 | 0.98199 | -0.34618 | 0.002239 | 0.00056116
55 | 0.98679 | -0.25283 | 0 | 0
56 | 0.98196 | -0.3468 | 0.001736 | 0.00043507
57 | 0.99262 | -0.14131 | 0.0074741 | 0.0018732
58 | 0.98226 | -0.34103 | 0.0014101 | 0.0003534
59 | 0.98194 | -0.34715 | 0.0021917 | 0.00054929
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027061 | -0.0067853 | 0.027089 | 0.0068023 | 2.7522e-05 | 1.7035e-05 | 0.04053 | 0.04053 | 0.04053 | 0.99355 | -0.1231 | 0.99465 | -0.10178 | 11.1347
1 | 0.015965 | 0.0040043 | -0.015961 | -0.004002 | 3.9726e-06 | 2.3026e-06 | 0.023912 | 0.023912 | 0.023912 | 0.99355 | -0.1231 | 0.99328 | -0.12832 | 6.5692
2 | 0.10403 | 0.026525 | -0.10394 | -0.026468 | 8.9025e-05 | 5.6849e-05 | 0.15579 | 0.15579 | 0.15579 | 0.99465 | -0.10178 | 0.99372 | -0.11952 | 42.8005
3 | -0.13112 | -0.033327 | 0.13148 | 0.033557 | 0.00035882 | 0.00022932 | 0.19632 | 0.19632 | 0.19632 | 0.99465 | -0.10178 | 0.99763 | -0.045123 | 53.935
4 | 0.015961 | 0.004002 | -0.015956 | -0.0039989 | 5.3462e-06 | 3.099e-06 | 0.023912 | 0.023912 | 0.023912 | 0.99328 | -0.12832 | 0.99292 | -0.13535 | 6.5692
5 | 0.098034 | 0.024987 | -0.09787 | -0.024883 | 0.00016359 | 0.00010444 | 0.14695 | 0.14695 | 0.14695 | 0.99372 | -0.11952 | 0.99191 | -0.15416 | 40.3697
6 | 0.005909 | 0.0014809 | -0.0059084 | -0.0014808 | 5.9844e-07 | 1.1896e-07 | 0.0088481 | 0.0088482 | 0.0088482 | 0.99372 | -0.11952 | 0.99361 | -0.12165 | 2.4308
7 | 0.19432 | 0.049205 | -0.19393 | -0.048959 | 0.00038597 | 0.00024639 | 0.29001 | 0.29001 | 0.29001 | 0.99763 | -0.045123 | 0.99546 | -0.086578 | 39.837
8 | -0.3258 | -0.082762 | 0.32651 | 0.083215 | 0.00070934 | 0.00045303 | 0.48634 | 0.48634 | 0.48634 | 0.99763 | -0.045123 | 1 | 0 | 44.5363
9 | 0.092145 | 0.023448 | -0.091802 | -0.023229 | 0.00034382 | 0.00021943 | 0.13836 | 0.13836 | 0.13836 | 0.99191 | -0.15416 | 0.98787 | -0.23188 | 38.0104
10 | 0.057543 | 0.014491 | -0.057503 | -0.014466 | 3.9885e-05 | 2.534e-05 | 0.086039 | 0.08604 | 0.08604 | 0.99546 | -0.086578 | 0.99471 | -0.10109 | 23.6372
11 | 0.13639 | 0.034468 | -0.13617 | -0.034326 | 0.00022273 | 0.00014236 | 0.20397 | 0.20397 | 0.20397 | 0.99546 | -0.086578 | 0.99369 | -0.1207 | 56.0367
12 | 0.091802 | 0.023229 | -0.091709 | -0.02317 | 9.2162e-05 | 5.8819e-05 | 0.13836 | 0.13836 | 0.13836 | 0.98787 | -0.23188 | 0.98679 | -0.25283 | 38.0104
13 | 0.049427 | 0.012442 | -0.049348 | -0.012392 | 7.891e-05 | 5.0004e-05 | 0.073958 | 0.073959 | 0.073959 | 0.99471 | -0.10109 | 0.99298 | -0.13454 | 20.3183
14 | 0.054581 | 0.013833 | -0.054395 | -0.013715 | 0.00018598 | 0.00011807 | 0.081789 | 0.081789 | 0.081789 | 0.99369 | -0.1207 | 0.98999 | -0.19188 | 22.4695
15 | 0.027356 | 0.0068628 | -0.027345 | -0.0068564 | 1.0433e-05 | 6.4624e-06 | 0.040967 | 0.040967 | 0.040967 | 0.99369 | -0.1207 | 0.99327 | -0.1287 | 11.2547
16 | 0.054228 | 0.01363 | -0.054143 | -0.013576 | 8.4762e-05 | 5.3805e-05 | 0.081218 | 0.081218 | 0.081218 | 0.99369 | -0.1207 | 0.99199 | -0.1535 | 22.3127
17 | 0.033342 | 0.0083611 | -0.03333 | -0.0083535 | 1.2125e-05 | 7.5937e-06 | 0.050034 | 0.050034 | 0.050034 | 0.99164 | -0.16033 | 0.99125 | -0.16796 | 13.7456
18 | -0.04096 | -0.01027 | 0.041011 | 0.010302 | 5.0398e-05 | 3.1795e-05 | 0.061465 | 0.061464 | 0.061465 | 0.99164 | -0.16033 | 0.99298 | -0.13454 | 16.8859
19 | 0.0096753 | 0.002425 | -0.0096739 | -0.0024243 | 1.4091e-06 | 6.7224e-07 | 0.014524 | 0.014524 | 0.014524 | 0.99125 | -0.16796 | 0.99109 | -0.17102 | 3.9902
20 | 0.0039562 | 0.00099146 | -0.0039561 | -0.0009915 | 1.1937e-07 | -3.9866e-08 | 0.0059398 | 0.0059399 | 0.0059399 | 0.99109 | -0.17102 | 0.99106 | -0.17165 | 1.6318
21 | 0.0057176 | 0.0014329 | -0.0057174 | -0.0014328 | 2.549e-07 | 4.4275e-08 | 0.0085844 | 0.0085844 | 0.0085844 | 0.99109 | -0.17102 | 0.99104 | -0.17196 | 2.3584
22 | 0.0028417 | 0.0007121 | -0.0028416 | -0.00071217 | 5.683e-08 | -7.0896e-08 | 0.0042666 | 0.0042666 | 0.0042666 | 0.99104 | -0.17196 | 0.99102 | -0.17238 | 1.1722
23 | -0.023727 | -0.0059467 | 0.023745 | 0.0059572 | 1.7196e-05 | 1.0539e-05 | 0.03562 | 0.03562 | 0.03562 | 0.99121 | -0.1687 | 0.99199 | -0.1535 | 9.7857
24 | 0.0049124 | 0.0012309 | -0.0049111 | -0.0012308 | 1.2014e-06 | 1.3491e-08 | 0.0073835 | 0.0073837 | 0.0073837 | 0.98999 | -0.19188 | 0.98973 | -0.19701 | 2.0285
25 | 0.049483 | 0.012484 | -0.04927 | -0.012349 | 0.00021345 | 0.00013529 | 0.074405 | 0.074406 | 0.074406 | 0.98999 | -0.19188 | 0.98533 | -0.28239 | 20.4412
26 | 0.018818 | 0.004719 | -0.018812 | -0.0047153 | 6.1838e-06 | 3.6892e-06 | 0.028192 | 0.028192 | 0.028192 | 0.99327 | -0.1287 | 0.99292 | -0.1356 | 7.7451
27 | 0.0085276 | 0.0021374 | -0.0085266 | -0.002137 | 9.223e-07 | 3.9524e-07 | 0.012775 | 0.012775 | 0.012775 | 0.99327 | -0.1287 | 0.99316 | -0.13097 | 3.5097
28 | 0.04927 | 0.012349 | -0.049267 | -0.012348 | 2.3554e-06 | 1.493e-06 | 0.074406 | 0.074406 | 0.074406 | 0.98533 | -0.28239 | 0.98528 | -0.28339 | 20.4412
29 | 0.0124 | 0.0031083 | -0.012398 | -0.0031073 | 1.7529e-06 | 9.4678e-07 | 0.018583 | 0.018583 | 0.018583 | 0.99292 | -0.1356 | 0.99277 | -0.13857 | 5.1051
30 | 0.0074751 | 0.0018736 | -0.0074741 | -0.0018732 | 9.775e-07 | 3.5715e-07 | 0.011204 | 0.011204 | 0.011204 | 0.99277 | -0.13857 | 0.99262 | -0.14131 | 3.0781
31 | -0.016199 | -0.0040599 | 0.016209 | 0.0040657 | 1.0035e-05 | 5.8669e-06 | 0.024623 | 0.024623 | 0.024623 | 0.97893 | -0.40608 | 0.97959 | -0.39308 | 6.7646
32 | -0.023742 | -0.0059536 | 0.023759 | 0.0059643 | 1.7394e-05 | 1.0683e-05 | 0.036065 | 0.036065 | 0.036065 | 0.97959 | -0.39308 | 0.98038 | -0.37772 | 9.908
33 | -0.029388 | -0.0073751 | 0.029408 | 0.0073874 | 1.9792e-05 | 1.2332e-05 | 0.044609 | 0.044609 | 0.044609 | 0.98038 | -0.37772 | 0.9811 | -0.36361 | 12.2552
34 | -0.049104 | -0.012326 | 0.049203 | 0.012389 | 9.8923e-05 | 6.2709e-05 | 0.074483 | 0.074482 | 0.074483 | 0.9811 | -0.36361 | 0.98326 | -0.32146 | 20.4623
35 | 0.015642 | 0.0039227 | -0.015637 | -0.0039193 | 5.807e-06 | 3.3692e-06 | 0.023725 | 0.023726 | 0.023726 | 0.9811 | -0.36361 | 0.9807 | -0.3714 | 6.518
36 | -0.054748 | -0.013778 | 0.054754 | 0.013782 | 5.464e-06 | 3.4701e-06 | 0.082874 | 0.082874 | 0.082874 | 0.98326 | -0.32146 | 0.98336 | -0.31938 | 22.7676
37 | 0.011637 | 0.002917 | -0.011636 | -0.0029162 | 1.4664e-06 | 7.8028e-07 | 0.017657 | 0.017657 | 0.017657 | 0.9807 | -0.3714 | 0.98057 | -0.37405 | 4.851
38 | -0.088538 | -0.022262 | 0.088565 | 0.02228 | 2.6927e-05 | 1.7183e-05 | 0.134 | 0.134 | 0.134 | 0.98336 | -0.31938 | 0.98369 | -0.31301 | 36.8132
39 | 0.033784 | 0.0084805 | -0.033764 | -0.0084681 | 1.9813e-05 | 1.2424e-05 | 0.051126 | 0.051126 | 0.051126 | 0.98336 | -0.31938 | 0.98274 | -0.33168 | 14.0457
40 | 0.0057149 | 0.0014323 | -0.0057147 | -0.0014322 | 1.9435e-07 | 3.7464e-08 | 0.0086724 | 0.0086724 | 0.0086724 | 0.98057 | -0.37405 | 0.98053 | -0.37476 | 2.3825
41 | -0.01034 | -0.0025914 | 0.01034 | 0.0025916 | 3.0717e-07 | 1.544e-07 | 0.015671 | 0.015671 | 0.015671 | 0.98185 | -0.34902 | 0.98188 | -0.3484 | 4.3051
42 | 0.0051837 | 0.0012991 | -0.0051832 | -0.001299 | 4.332e-07 | 4.0539e-08 | 0.007856 | 0.007856 | 0.007856 | 0.98185 | -0.34902 | 0.98176 | -0.35077 | 2.1583
43 | -0.013443 | -0.0033692 | 0.013447 | 0.0033711 | 3.3275e-06 | 1.8591e-06 | 0.020373 | 0.020373 | 0.020373 | 0.98188 | -0.3484 | 0.98215 | -0.3432 | 5.597
44 | -0.016503 | -0.0041372 | 0.016507 | 0.0041393 | 3.6722e-06 | 2.152e-06 | 0.025004 | 0.025004 | 0.025004 | 0.98215 | -0.3432 | 0.98238 | -0.33853 | 6.8692
45 | -0.030903 | -0.0077472 | 0.030913 | 0.0077535 | 1.0097e-05 | 6.3062e-06 | 0.046809 | 0.046809 | 0.046809 | 0.98238 | -0.33853 | 0.98274 | -0.33168 | 12.8596
46 | 0.014396 | 0.0036079 | -0.014395 | -0.0036075 | 7.23e-07 | 4.1138e-07 | 0.021805 | 0.021805 | 0.021805 | 0.98238 | -0.33853 | 0.98233 | -0.33959 | 5.9904
47 | 0.0048456 | 0.0012142 | -0.0048454 | -0.0012142 | 1.9345e-07 | 2.5925e-09 | 0.0073399 | 0.00734 | 0.00734 | 0.98233 | -0.33959 | 0.98229 | -0.34043 | 2.0165
48 | 0.0095494 | 0.0023933 | -0.0095468 | -0.002392 | 2.5295e-06 | 1.2109e-06 | 0.014465 | 0.014465 | 0.014465 | 0.98233 | -0.33959 | 0.98205 | -0.34515 | 3.974
49 | 0.0015075 | 0.00037771 | -0.0015075 | -0.00037782 | 1.8215e-08 | -1.0691e-07 | 0.0022804 | 0.0022804 | 0.0022804 | 0.98369 | -0.31301 | 0.98368 | -0.31326 | 0.6265
50 | -0.090072 | -0.022657 | 0.090094 | 0.022671 | 2.1572e-05 | 1.3766e-05 | 0.13628 | 0.13628 | 0.13628 | 0.98369 | -0.31301 | 0.98395 | -0.308 | 37.4397
51 | -0.091468 | -0.023015 | 0.091709 | 0.02317 | 0.00024184 | 0.00015435 | 0.13836 | 0.13836 | 0.13836 | 0.98395 | -0.308 | 0.98679 | -0.25283 | 38.0105
52 | -0.0033792 | -0.0008469 | 0.0033794 | 0.00084678 | 1.8207e-07 | -1.1766e-07 | 0.005121 | 0.005121 | 0.005121 | 0.98189 | -0.34831 | 0.98194 | -0.34718 | 1.4069
53 | -0.0033794 | -0.00084678 | 0.0033797 | 0.00084657 | 3.2725e-07 | -2.1156e-07 | 0.005121 | 0.0051208 | 0.005121 | 0.98194 | -0.34718 | 0.98205 | -0.34515 | 1.4069
54 | 0.0029042 | 0.00072769 | -0.0029041 | -0.00072776 | 5.9384e-08 | -6.5565e-08 | 0.0043993 | 0.0043994 | 0.0043994 | 0.98229 | -0.34043 | 0.98227 | -0.34086 | 1.2086
55 | 0.0061672 | 0.0015455 | -0.0061668 | -0.0015454 | 3.0259e-07 | 7.6746e-08 | 0.0093445 | 0.0093446 | 0.0093446 | 0.98205 | -0.34515 | 0.98199 | -0.34618 | 2.5672
56 | 0.0014101 | 0.00035332 | -0.0014101 | -0.0003534 | 1.187e-08 | -8.0213e-08 | 0.0021361 | 0.0021361 | 0.0021361 | 0.98227 | -0.34086 | 0.98226 | -0.34103 | 0.58685
57 | 0.0039278 | 0.00098424 | -0.0039277 | -0.00098428 | 1.1667e-07 | -3.644e-08 | 0.0059517 | 0.0059518 | 0.0059518 | 0.98199 | -0.34618 | 0.98196 | -0.3468 | 1.6351
58 | 0.0021917 | 0.0005492 | -0.0021917 | -0.00054929 | 3.5854e-08 | -8.6702e-08 | 0.0033212 | 0.0033212 | 0.0033212 | 0.98196 | -0.3468 | 0.98194 | -0.34715 | 0.91243

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33588 | 0.085151

## res_load
| p_mw | q_mvar
0 | 0.011096 | 0.002781
1 | 0.015956 | 0.0039989
2 | 0.0057248 | 0.0014348
3 | 0.0059084 | 0.0014808
4 | 0.0077233 | 0.0019357
5 | 0.008076 | 0.002024
6 | 0.0076177 | 0.0019092
7 | 0.023655 | 0.0059285
8 | 0.0083375 | 0.0020896
9 | 0.0039561 | 0.0009915
10 | 0.0028757 | 0.00072073
11 | 0.0028416 | 0.00071217
12 | 0.023727 | 0.0059467
13 | 0.030399 | 0.0076186
14 | 0.0049111 | 0.0012308
15 | 0.0064121 | 0.001607
16 | 0.0085266 | 0.002137
17 | 0.049267 | 0.012348
18 | 0.0049228 | 0.0012338
19 | 0.016199 | 0.0040599
20 | 0.0075326 | 0.0018878
21 | 0.0056292 | 0.0014108
22 | 0.0040538 | 0.001016
23 | 0.005545 | 0.0013897
24 | 0.0039993 | 0.0010023
25 | 0.005921 | 0.0014839
26 | 0.0057147 | 0.0014322
27 | 0.0051565 | 0.0012923
28 | 0.0031029 | 0.00077765
29 | 0.0051832 | 0.001299
30 | 0.0030567 | 0.00076609
31 | 0.0028512 | 0.00071459
32 | 0.0015075 | 0.00037782
33 | 0.0013738 | 0.00034432
34 | 0.0033792 | 0.0008469
35 | 0.0019412 | 0.00048651
36 | 0.001494 | 0.00037444
37 | 0.002239 | 0.00056116
38 | 0.001736 | 0.00043507
39 | 0.0074741 | 0.0018732
40 | 0.0014101 | 0.0003534
41 | 0.0021917 | 0.00054929

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1