## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-105_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-105_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-105_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-105_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1061-105_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-105_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-105_0_5_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1061-105_0_5_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_1061-105_0_5_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1061-105_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1061-105_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1061-105_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1061-105_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1061-105_0_5_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_1061-105_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-105_0_5_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_1061-105_0_5_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1061-105_0_5_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_1061-105_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1061-105_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1061-105_0_5_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_1061-105_0_5_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_1061-105_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1061-105_0_5_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1061-105_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1061-105_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1061-105_0_5_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_1061-105_0_5_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1061-105_0_5_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_1061-105_0_5_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_1061-105_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1061-105_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1061-105_0_5_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_1061-105_0_5_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_1061-105_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1061-105_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_1061-105_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1061-105_0_5_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_1061-105_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_1061-105_0_5_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1061-105_0_5_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_1061-105_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1061-105_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1061-105_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1061-105_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1061-105_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1061-105_0_5_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_1061-105_0_5_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_1061-105_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1061-105_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1061-105_0_5_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_1061-105_0_5_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_1061-105_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1061-105_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1061-105_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1061-105_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1061-105_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1061-105_0_5_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_1061-105_0_5_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_1061-105_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1061-105_0_5_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_1061-105_0_5_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_1061-105_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_1061-105_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_1061-105_0_5_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_1061-105_0_5_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_1061-105_0_5_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_1061-105_0_5_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_1061-105_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_1061-105_0_5_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_1061-105_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_1061-105_0_5_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_1061-105_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_1061-105_0_5_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_1061-105_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_1061-105_0_5_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_1061-105_0_5_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_1061-105_0_5_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_1061-105_0_5_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_1061-105_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_1061-105_0_5_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_1061-105_0_5_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_1061-105_0_5_node_59 | 0.4 | n |  | TRUE
83 | bus_MV_216_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-105_0_5_load_0 | 0 | 0.0038806 | 0.00097257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-105_0_5_load_1 | 1 | 0.011094 | 0.0027804 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-105_0_5_load_3 | 2 | 0.010287 | 0.0025781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-105_0_5_load_32 | 6 | 0.0095268 | 0.0023877 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-105_0_5_load_89 | 7 | 0.0081538 | 0.0020435 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-105_0_5_load_31 | 8 | 0.035466 | 0.0088887 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-105_0_5_load_29 | 11 | 0.024094 | 0.0060386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-105_0_5_load_74 | 13 | 0.025459 | 0.0063807 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-105_0_5_load_72 | 15 | 0.015999 | 0.0040098 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-105_0_5_load_66 | 17 | 0.011594 | 0.0029058 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-105_0_5_load_84 | 20 | 0.00054492 | 0.00013657 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-105_0_5_load_67 | 21 | 0.011588 | 0.0029042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-105_0_5_load_28 | 23 | 0.013618 | 0.0034129 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-105_0_5_load_73 | 26 | 0.089345 | 0.022392 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-105_0_5_load_78 | 28 | 0.0018399 | 0.00046112 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-105_0_5_load_76 | 29 | 0.00047264 | 0.00011845 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-105_0_5_load_69 | 32 | 0.0050244 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-105_0_5_load_71 | 33 | 0.052092 | 0.013055 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-105_0_5_load_65 | 35 | 0.015403 | 0.0038605 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-105_0_5_load_88 | 37 | 0.014751 | 0.0036969 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-105_0_5_load_38 | 39 | 0.016712 | 0.0041884 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-105_0_5_load_70 | 40 | 0.0020506 | 0.00051393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-105_0_5_load_42 | 42 | 0.0030876 | 0.00077382 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-105_0_5_load_41 | 43 | 0.0030866 | 0.00077358 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-105_0_5_load_33 | 44 | 0.0012849 | 0.00032204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-105_0_5_load_47 | 45 | 0.024097 | 0.0060394 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-105_0_5_load_68 | 46 | 0.018296 | 0.0045855 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-105_0_5_load_85 | 47 | 0.003706 | 0.0009288 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-105_0_5_load_30 | 48 | 0.0028462 | 0.00071333 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-105_0_5_load_77 | 50 | 0.0051465 | 0.0012898 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-105_0_5_load_75 | 51 | 0.0042027 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-105_0_5_load_40 | 53 | 0.01377 | 0.0034512 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-105_0_5_load_39 | 54 | 0.0090672 | 0.0022725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-105_0_5_load_58 | 55 | 0.0028631 | 0.00071756 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-105_0_5_load_57 | 56 | 0.0069266 | 0.001736 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-105_0_5_load_79 | 57 | 0.0026202 | 0.00065667 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-105_0_5_load_80 | 58 | 0.0026192 | 0.00065644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-105_0_5_load_34 | 60 | 0.01191 | 0.0029849 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-105_0_5_load_43 | 62 | 0.0066607 | 0.0016693 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-105_0_5_load_48 | 63 | 0.0066599 | 0.0016691 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-105_0_5_load_82 | 64 | 0.0030883 | 0.00077401 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-105_0_5_load_87 | 67 | 0.0062733 | 0.0015722 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-105_0_5_load_44 | 68 | 0.011272 | 0.002825 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-105_0_5_load_81 | 69 | 0.0030876 | 0.00077382 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-105_0_5_load_83 | 71 | 0.0036988 | 0.00092701 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-105_0_5_load_63 | 72 | 0.0037043 | 0.00092838 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-105_0_5_load_86 | 73 | 0.0036999 | 0.00092727 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-105_0_5_load_61 | 74 | 0.0036988 | 0.00092701 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-105_0_5_load_50 | 75 | 0.0026199 | 0.0006566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-105_0_5_load_55 | 77 | 0.0028603 | 0.00071687 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-105_0_5_load_56 | 78 | 0.002862 | 0.0007173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-105_0_5_load_60 | 80 | 0.002862 | 0.0007173 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-105_0_5_load_62 | 81 | 0.0030869 | 0.00077366 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-105_0_5_load_59 | 82 | 0.002862 | 0.0007173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-105_0_5_line_0 |  | 0 | 1 | 0.028286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-105_0_5_line_1 |  | 1 | 2 | 0.028112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-105_0_5_line_2 |  | 2 | 6 | 0.026868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-105_0_5_line_3 |  | 3 | 4 | 0.081091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-105_0_5_line_4 |  | 3 | 5 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-105_0_5_line_5 |  | 4 | 7 | 0.057652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-105_0_5_line_6 |  | 5 | 8 | 0.065133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-105_0_5_line_7 |  | 6 | 44 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-105_0_5_line_8 |  | 8 | 22 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-105_0_5_line_9 |  | 9 | 10 | 0.033542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-105_0_5_line_10 |  | 9 | 11 | 0.036979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-105_0_5_line_11 |  | 10 | 20 | 0.02027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-105_0_5_line_12 |  | 10 | 21 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1061-105_0_5_line_13 |  | 11 | 23 | 0.040306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-105_0_5_line_14 |  | 12 | 13 | 0.017446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1061-105_0_5_line_15 |  | 12 | 14 | 0.0078765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1061-105_0_5_line_16 |  | 12 | 15 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-105_0_5_line_17 |  | 13 | 18 | 0.035391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1061-105_0_5_line_18 |  | 14 | 16 | 0.01849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-105_0_5_line_19 |  | 14 | 17 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1061-105_0_5_line_20 |  | 15 | 26 | 0.038719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-105_0_5_line_21 |  | 16 | 39 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-105_0_5_line_22 |  | 16 | 34 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-105_0_5_line_23 |  | 17 | 21 | 0.017404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1061-105_0_5_line_24 |  | 18 | 19 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-105_0_5_line_25 |  | 19 | 27 | 0.008226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-105_0_5_line_26 |  | 19 | 28 | 0.033394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-105_0_5_line_27 |  | 20 | 47 | 0.0079186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-105_0_5_line_28 |  | 22 | 23 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-105_0_5_line_29 |  | 24 | 25 | 0.11744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-105_0_5_line_30 |  | 24 | 26 | 0.030712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-105_0_5_line_31 |  | 25 | 29 | 0.024284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-105_0_5_line_32 |  | 27 | 40 | 0.020277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-105_0_5_line_33 |  | 27 | 30 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-105_0_5_line_34 |  | 28 | 44 | 0.033086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-105_0_5_line_35 |  | 29 | 50 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-105_0_5_line_36 |  | 29 | 51 | 0.002908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-105_0_5_line_37 |  | 30 | 31 | 0.26801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-105_0_5_line_38 |  | 30 | 32 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-105_0_5_line_39 |  | 31 | 33 | 0.080694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-105_0_5_line_40 |  | 32 | 52 | 0.052088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-105_0_5_line_41 |  | 34 | 35 | 0.022633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-105_0_5_line_42 |  | 36 | 37 | 0.006783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-105_0_5_line_43 |  | 36 | 38 | 0.054098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-105_0_5_line_44 |  | 38 | 58 | 0.0087387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-105_0_5_line_45 |  | 38 | 59 | 0.005304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-105_0_5_line_46 |  | 39 | 54 | 0.030984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-105_0_5_line_47 |  | 41 | 42 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-105_0_5_line_48 |  | 41 | 43 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-105_0_5_line_49 |  | 42 | 64 | 0.0074554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-105_0_5_line_50 |  | 45 | 46 | 0.0048825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-105_0_5_line_51 |  | 46 | 49 | 0.021255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-105_0_5_line_52 |  | 47 | 73 | 0.0073872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-105_0_5_line_53 |  | 48 | 49 | 0.020676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-105_0_5_line_54 |  | 49 | 59 | 0.028175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-105_0_5_line_55 |  | 52 | 65 | 0.040342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-105_0_5_line_56 |  | 53 | 54 | 0.021024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-105_0_5_line_57 |  | 55 | 56 | 0.0026178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-105_0_5_line_58 |  | 56 | 82 | 0.0045846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-105_0_5_line_59 |  | 57 | 58 | 0.0064103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-105_0_5_line_60 |  | 59 | 75 | 0.0089699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-105_0_5_line_61 |  | 60 | 61 | 0.04091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-105_0_5_line_62 |  | 61 | 65 | 0.070913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-105_0_5_line_63 |  | 61 | 66 | 0.046029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-105_0_5_line_64 |  | 62 | 63 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-105_0_5_line_65 |  | 63 | 70 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-105_0_5_line_66 |  | 64 | 69 | 0.0074557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-105_0_5_line_67 |  | 65 | 67 | 0.029577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-105_0_5_line_68 |  | 66 | 68 | 0.001195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-105_0_5_line_69 |  | 69 | 79 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-105_0_5_line_70 |  | 70 | 71 | 0.0028986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-105_0_5_line_71 |  | 70 | 72 | 0.0048503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-105_0_5_line_72 |  | 71 | 73 | 0.0073809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1061-105_0_5_line_73 |  | 72 | 74 | 0.007389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-105_0_5_line_74 |  | 74 | 81 | 0.0066907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1061-105_0_5_line_75 |  | 75 | 76 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1061-105_0_5_line_76 |  | 76 | 77 | 0.0095159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1061-105_0_5_line_77 |  | 76 | 78 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1061-105_0_5_line_78 |  | 77 | 79 | 0.015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1061-105_0_5_line_79 |  | 78 | 80 | 0.0072022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1061-105_0_5_line_80 |  | 79 | 81 | 0.012559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1061-105_0_5_line_81 |  | 80 | 82 | 0.0072045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-105_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 83 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2665793.3317 | 1209994.6466 | 2665789.6808 | 1209985.1642 | 2665786.6689 | 1209977.7709 | 2665782.8437 | 1209968.3779
1 | 2665782.8437 | 1209968.3779 | 2665780.7337 | 1209963.1965 | 2665772.4258 | 1209942.2673
2 | 2665772.4258 | 1209942.2673 | 2665767.7992 | 1209930.6118 | 2665762.7469 | 1209917.9928 | 2665762.4174 | 1209917.3357
3 | 2665842.6768 | 1210023.4276 | 2665857.9596 | 1210061.4973 | 2665857.3976 | 1210064.9043 | 2665832.1213 | 1210068.7056 | 2665830.1419 | 1210069.0062 | 2665826.5734 | 1210068.6555 | 2665824.1665 | 1210067.7395 | 2665822.0909 | 1210065.7265
4 | 2665811.5077 | 1210068.0668 | 2665811.7668 | 1210068.014 | 2665815.0279 | 1210067.2829 | 2665815.706 | 1210067.1347 | 2665816.3232 | 1210066.997 | 2665820.7194 | 1210066.0338 | 2665822.0909 | 1210065.7265
5 | 2665842.6768 | 1210023.4276 | 2665821.3551 | 1209969.8484
6 | 2665811.5077 | 1210068.0668 | 2665809.9554 | 1210061.3455 | 2665803.1096 | 1210043.8927 | 2665788.5449 | 1210007.189
7 | 2665754.3056 | 1209904.2818 | 2665759.7868 | 1209912.0899 | 2665762.4174 | 1209917.3357
8 | 2665778.0858 | 1209988.2716 | 2665780.9692 | 1209989.4041 | 2665781.8047 | 1209990.1471 | 2665785.3316 | 1209999.0915 | 2665788.5449 | 1210007.189
9 | 2665737.6167 | 1209901.5948 | 2665734.1347 | 1209897.5318 | 2665724.1274 | 1209886.2146 | 2665715.1344 | 1209876.6542
10 | 2665737.6167 | 1209901.5948 | 2665744.3555 | 1209909.4739 | 2665750.0362 | 1209918.1751 | 2665756.4935 | 1209932.2771 | 2665756.7436 | 1209932.9417
11 | 2665715.1344 | 1209876.6542 | 2665714.4507 | 1209878.6924 | 2665710.0302 | 1209896.2651
12 | 2665715.1344 | 1209876.6542 | 2665711.7603 | 1209873.8264 | 2665708.7872 | 1209871.8592 | 2665704.7464 | 1209871.6034 | 2665697.877 | 1209870.7384 | 2665697.3479 | 1209870.6472
13 | 2665771.0772 | 1209970.6124 | 2665767.7697 | 1209962.242 | 2665756.7436 | 1209932.9417
14 | 2665668.3032 | 1209857.4937 | 2665685.5211 | 1209860.3035
15 | 2665667.0015 | 1209865.2619 | 2665667.0909 | 1209864.7404 | 2665667.6281 | 1209861.511 | 2665667.8073 | 1209860.4234 | 2665668.3032 | 1209857.4937
16 | 2665668.3032 | 1209857.4937 | 2665663.6901 | 1209856.7425 | 2665663.4566 | 1209855.8616 | 2665664.8319 | 1209846.2277
17 | 2665709.5115 | 1209846.8185 | 2665708.5871 | 1209855.5247 | 2665707.4751 | 1209858.4921 | 2665705.3436 | 1209860.859 | 2665702.0523 | 1209862.2458 | 2665698.6221 | 1209862.4415 | 2665685.5211 | 1209860.3035
18 | 2665651.1639 | 1209867.0888 | 2665652.3329 | 1209867.224 | 2665657.6696 | 1209867.8386 | 2665663.1126 | 1209868.4656 | 2665664.0615 | 1209868.5761 | 2665664.4755 | 1209866.1792 | 2665664.9559 | 1209865.3506 | 2665665.7953 | 1209865.0485 | 2665667.0015 | 1209865.2619
19 | 2665667.0015 | 1209865.2619 | 2665677.1215 | 1209867.0522 | 2665680.2112 | 1209867.61
20 | 2665664.8319 | 1209846.2277 | 2665670.304 | 1209807.897
21 | 2665651.1639 | 1209867.0888 | 2665651.4714 | 1209869.5382 | 2665651.2983 | 1209880.4318 | 2665651.0692 | 1209882.7497
22 | 2665651.1639 | 1209867.0888 | 2665650.9538 | 1209865.4633 | 2665650.2629 | 1209864.0104 | 2665648.759 | 1209862.5263 | 2665646.3505 | 1209861.7437 | 2665644.0748 | 1209861.3296
23 | 2665680.2112 | 1209867.61 | 2665690.4347 | 1209869.4557 | 2665697.3479 | 1209870.6472
24 | 2665709.5115 | 1209846.8185 | 2665711.2371 | 1209846.8041 | 2665716.9155 | 1209846.7555 | 2665722.4951 | 1209846.7169 | 2665723.6961 | 1209846.7079
25 | 2665723.6961 | 1209846.7079 | 2665723.3684 | 1209843.3355 | 2665723.3989 | 1209838.4996
26 | 2665723.6961 | 1209846.7079 | 2665724.1339 | 1209851.1265 | 2665726.0096 | 1209858.8742 | 2665728.9977 | 1209867.757 | 2665732.2566 | 1209875.5198 | 2665733.9951 | 1209878.1961
27 | 2665710.0302 | 1209896.2651 | 2665708.4571 | 1209902.5188 | 2665708.1709 | 1209903.9607
28 | 2665778.0858 | 1209988.2716 | 2665776.6652 | 1209984.7538 | 2665771.0772 | 1209970.6124
29 | 2665676.9084 | 1209778.0175 | 2665679.2422 | 1209773.8517 | 2665681.7189 | 1209771.1995 | 2665684.6239 | 1209768.9968 | 2665687.8047 | 1209767.9868 | 2665690.3736 | 1209768.0151 | 2665693.2903 | 1209768.8921 | 2665693.772 | 1209767.9413 | 2665696.1115 | 1209763.2642 | 2665696.5778 | 1209762.3354 | 2665697.1258 | 1209761.5743 | 2665700.0131 | 1209757.5369 | 2665700.9241 | 1209756.2573 | 2665701.9605 | 1209755.3237 | 2665704.9162 | 1209752.6657 | 2665708.3963 | 1209750.0135 | 2665711.7845 | 1209747.427 | 2665713.8461 | 1209734.8531 | 2665718.7597 | 1209704.8888 | 2665722.728 | 1209680.6955
30 | 2665676.9084 | 1209778.0175 | 2665674.0172 | 1209785.8682 | 2665671.7256 | 1209797.9393 | 2665670.304 | 1209807.897
31 | 2665700.4973 | 1209682.5185 | 2665705.5738 | 1209677.7826 | 2665710.0642 | 1209678.6437 | 2665722.728 | 1209680.6955
32 | 2665723.3989 | 1209838.4996 | 2665732.8061 | 1209838.0696 | 2665743.3949 | 1209840.4813
33 | 2665724.5775 | 1209820.5238 | 2665723.4249 | 1209833.3856 | 2665723.3989 | 1209838.4996
34 | 2665754.3056 | 1209904.2818 | 2665754.2416 | 1209904.1907 | 2665748.7479 | 1209897.1369 | 2665740.4649 | 1209887.3063 | 2665736.0684 | 1209881.3876 | 2665733.9951 | 1209878.1961
35 | 2665700.4973 | 1209682.5185 | 2665694.8123 | 1209687.2811 | 2665691.905 | 1209692.1669
36 | 2665700.4973 | 1209682.5185 | 2665702.4305 | 1209684.6908
37 | 2665724.5775 | 1209820.5238 | 2665725.4868 | 1209810.4276 | 2665727.9075 | 1209797.6909 | 2665729.3442 | 1209788.023 | 2665735.4454 | 1209775.1378 | 2665743.7344 | 1209772.0272 | 2665768.7836 | 1209776.517 | 2665861.7243 | 1209794.1749 | 2665865.7652 | 1209793.0632 | 2665869.0303 | 1209787.8516 | 2665874.7816 | 1209763.3222 | 2665885.3891 | 1209707.8942
38 | 2665724.5775 | 1209820.5238 | 2665730.8291 | 1209818.1245 | 2665734.2002 | 1209814.3259 | 2665737.8148 | 1209804.6835
39 | 2665885.3891 | 1209707.8942 | 2665865.6343 | 1209704.4074 | 2665806.2484 | 1209692.1678
40 | 2665773.9225 | 1209792.3167 | 2665756.4867 | 1209783.9528 | 2665749.693 | 1209783.1219 | 2665745.2031 | 1209784.9736 | 2665737.8148 | 1209804.6835
41 | 2665644.0748 | 1209861.3296 | 2665638.6208 | 1209860.3245 | 2665621.7508 | 1209857.6058
42 | 2665706.8183 | 1210021.6293 | 2665713.5329 | 1210022.715
43 | 2665713.5329 | 1210022.715 | 2665715.6858 | 1210003.2268 | 2665684.4443 | 1209998.6134 | 2665684.6748 | 1209995.6252
44 | 2665684.6748 | 1209995.6252 | 2665676.0659 | 1209994.1249
45 | 2665684.6748 | 1209995.6252 | 2665689.917 | 1209996.5279
46 | 2665646.4599 | 1209913.3783 | 2665647.3523 | 1209908.161 | 2665650.4344 | 1209889.1721 | 2665651.0692 | 1209882.7497
47 | 2665651.8812 | 1209942.1094 | 2665667.713 | 1209944.8696
48 | 2665651.8812 | 1209942.1094 | 2665653.4938 | 1209931.867
49 | 2665675.0576 | 1209946.1501 | 2665667.713 | 1209944.8696
50 | 2665721.69 | 1209975.5537 | 2665720.9541 | 1209980.3804
51 | 2665717.7506 | 1210001.3928 | 2665720.9541 | 1209980.3804
52 | 2665708.1709 | 1209903.9607 | 2665706.7326 | 1209911.2065
53 | 2665717.7506 | 1210001.3928 | 2665728.3492 | 1210002.488 | 2665735.9857 | 1210000.6265 | 2665738.0591 | 1210000.018
54 | 2665717.7506 | 1210001.3928 | 2665689.917 | 1209996.5279
55 | 2665773.9225 | 1209792.3167 | 2665767.9355 | 1209822.4136 | 2665766.0981 | 1209831.8881
56 | 2665642.9332 | 1209934.1044 | 2665643.8429 | 1209928.6794 | 2665646.4599 | 1209913.3783
57 | 2665659.9255 | 1209969.0732 | 2665657.3388 | 1209968.6715
58 | 2665659.9255 | 1209969.0732 | 2665664.4558 | 1209969.7767
59 | 2665669.7508 | 1209993.0244 | 2665676.0659 | 1209994.1249
60 | 2665689.917 | 1209996.5279 | 2665691.2525 | 1209987.658
61 | 2665796.4738 | 1209888.88 | 2665798.6782 | 1209890.9389 | 2665817.2852 | 1209923.95
62 | 2665796.4738 | 1209888.88 | 2665766.0877 | 1209860.4054 | 2665763.2064 | 1209853.5584 | 2665763.9384 | 1209843.0044 | 2665766.0981 | 1209831.8881
63 | 2665818.4382 | 1209850.5097 | 2665815.2848 | 1209864.1945 | 2665811.281 | 1209875.7352 | 2665807.6819 | 1209878.8418 | 2665796.4738 | 1209888.88
64 | 2665671.9667 | 1209915.2471 | 2665688.9226 | 1209918.374
65 | 2665704.7311 | 1209921.2893 | 2665688.9226 | 1209918.374
66 | 2665682.4025 | 1209947.4307 | 2665675.0576 | 1209946.1501
67 | 2665794.4449 | 1209840.5947 | 2665782.4555 | 1209836.7046 | 2665766.0981 | 1209831.8881
68 | 2665818.4382 | 1209850.5097 | 2665819.6297 | 1209850.4187
69 | 2665696.3975 | 1209949.8706 | 2665682.4025 | 1209947.4307
70 | 2665704.7311 | 1209921.2893 | 2665705.2955 | 1209918.4461
71 | 2665704.7311 | 1209921.2893 | 2665703.9376 | 1209926.0742
72 | 2665706.7326 | 1209911.2065 | 2665705.2955 | 1209918.4461
73 | 2665702.7286 | 1209933.3636 | 2665703.9376 | 1209926.0742
74 | 2665702.7286 | 1209933.3636 | 2665701.6339 | 1209939.9641
75 | 2665693.2711 | 1209974.2512 | 2665691.2525 | 1209987.658
76 | 2665693.2711 | 1209974.2512 | 2665694.4814 | 1209964.8126
77 | 2665693.2711 | 1209974.2512 | 2665678.6918 | 1209971.9873
78 | 2665696.3975 | 1209949.8706 | 2665694.4814 | 1209964.8126
79 | 2665678.6918 | 1209971.9873 | 2665671.575 | 1209970.8822
80 | 2665696.3975 | 1209949.8706 | 2665700.2696 | 1209948.19 | 2665701.6339 | 1209939.9641
81 | 2665671.575 | 1209970.8822 | 2665664.4558 | 1209969.7767

## bus_geodata
| x | y | coords
0 | 2665793.3317 | 1209994.6466
1 | 2665782.8437 | 1209968.3779
2 | 2665772.4258 | 1209942.2673
3 | 2665822.0909 | 1210065.7265
4 | 2665842.6768 | 1210023.4276
5 | 2665811.5077 | 1210068.0668
6 | 2665762.4174 | 1209917.3357
7 | 2665821.3551 | 1209969.8484
8 | 2665788.5449 | 1210007.189
9 | 2665737.6167 | 1209901.5948
10 | 2665715.1344 | 1209876.6542
11 | 2665756.7436 | 1209932.9417
12 | 2665668.3032 | 1209857.4937
13 | 2665685.5211 | 1209860.3035
14 | 2665667.0015 | 1209865.2619
15 | 2665664.8319 | 1209846.2277
16 | 2665651.1639 | 1209867.0888
17 | 2665680.2112 | 1209867.61
18 | 2665709.5115 | 1209846.8185
19 | 2665723.6961 | 1209846.7079
20 | 2665710.0302 | 1209896.2651
21 | 2665697.3479 | 1209870.6472
22 | 2665778.0858 | 1209988.2716
23 | 2665771.0772 | 1209970.6124
24 | 2665676.9084 | 1209778.0175
25 | 2665722.728 | 1209680.6955
26 | 2665670.304 | 1209807.897
27 | 2665723.3989 | 1209838.4996
28 | 2665733.9951 | 1209878.1961
29 | 2665700.4973 | 1209682.5185
30 | 2665724.5775 | 1209820.5238
31 | 2665885.3891 | 1209707.8942
32 | 2665737.8148 | 1209804.6835
33 | 2665806.2484 | 1209692.1678
34 | 2665644.0748 | 1209861.3296
35 | 2665621.7508 | 1209857.6058
36 | 2665713.5329 | 1210022.715
37 | 2665706.8183 | 1210021.6293
38 | 2665684.6748 | 1209995.6252
39 | 2665651.0692 | 1209882.7497
40 | 2665743.3949 | 1209840.4813
41 | 2665651.8812 | 1209942.1094
42 | 2665667.713 | 1209944.8696
43 | 2665653.4938 | 1209931.867
44 | 2665754.3056 | 1209904.2818
45 | 2665721.69 | 1209975.5537
46 | 2665720.9541 | 1209980.3804
47 | 2665708.1709 | 1209903.9607
48 | 2665738.0591 | 1210000.018
49 | 2665717.7506 | 1210001.3928
50 | 2665691.905 | 1209692.1669
51 | 2665702.4305 | 1209684.6908
52 | 2665773.9225 | 1209792.3167
53 | 2665642.9332 | 1209934.1044
54 | 2665646.4599 | 1209913.3783
55 | 2665657.3388 | 1209968.6715
56 | 2665659.9255 | 1209969.0732
57 | 2665669.7508 | 1209993.0244
58 | 2665676.0659 | 1209994.1249
59 | 2665689.917 | 1209996.5279
60 | 2665817.2852 | 1209923.95
61 | 2665796.4738 | 1209888.88
62 | 2665671.9667 | 1209915.2471
63 | 2665688.9226 | 1209918.374
64 | 2665675.0576 | 1209946.1501
65 | 2665766.0981 | 1209831.8881
66 | 2665818.4382 | 1209850.5097
67 | 2665794.4449 | 1209840.5947
68 | 2665819.6297 | 1209850.4187
69 | 2665682.4025 | 1209947.4307
70 | 2665704.7311 | 1209921.2893
71 | 2665705.2955 | 1209918.4461
72 | 2665703.9376 | 1209926.0742
73 | 2665706.7326 | 1209911.2065
74 | 2665702.7286 | 1209933.3636
75 | 2665691.2525 | 1209987.658
76 | 2665693.2711 | 1209974.2512
77 | 2665694.4814 | 1209964.8126
78 | 2665678.6918 | 1209971.9873
79 | 2665696.3975 | 1209949.8706
80 | 2665671.575 | 1209970.8822
81 | 2665701.6339 | 1209939.9641
82 | 2665664.4558 | 1209969.7767
83 | 2665719.1967 | 1209864.6138

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98535 | -0.28102 | 0.0038806 | 0.00097257
1 | 0.98545 | -0.27905 | 0.011094 | 0.0027804
2 | 0.98584 | -0.2715 | 0.010287 | 0.0025781
3 | 0.99042 | -0.18436 | 0 | 0
4 | 0.98981 | -0.19612 | 0 | 0
5 | 0.9905 | -0.18279 | 0 | 0
6 | 0.98646 | -0.25933 | 0.0095268 | 0.0023877
7 | 0.98938 | -0.20449 | 0.0081538 | 0.0020435
8 | 0.99099 | -0.17335 | 0.035466 | 0.0088887
9 | 0.99751 | -0.047674 | 0 | 0
10 | 1 | 0 | -0.57136 | -0.14516
11 | 0.99476 | -0.10051 | 0.024094 | 0.0060386
12 | 0.99418 | -0.11081 | 0 | 0
13 | 0.99296 | -0.13422 | 0.025459 | 0.0063807
14 | 0.99483 | -0.098446 | 0 | 0
15 | 0.99257 | -0.14197 | 0.015999 | 0.0040098
16 | 0.9939 | -0.11636 | 0 | 0
17 | 0.99616 | -0.073106 | 0.011594 | 0.0029058
18 | 0.99088 | -0.1739 | 0 | 0
19 | 0.98921 | -0.20582 | 0 | 0
20 | 0.99745 | -0.048493 | 0.00054492 | 0.00013657
21 | 0.99794 | -0.039159 | 0.011588 | 0.0029042
22 | 0.99189 | -0.15591 | 0 | 0
23 | 0.99265 | -0.14124 | 0.013618 | 0.0034129
24 | 0.98877 | -0.21552 | 0 | 0
25 | 0.98771 | -0.23612 | 0 | 0
26 | 0.98905 | -0.21014 | 0.089345 | 0.022392
27 | 0.98854 | -0.21882 | 0 | 0
28 | 0.98805 | -0.2284 | 0.0018399 | 0.00046112
29 | 0.98749 | -0.24038 | 0.00047264 | 0.00011845
30 | 0.98708 | -0.24671 | 0 | 0
31 | 0.97402 | -0.49983 | 0 | 0
32 | 0.98638 | -0.26033 | 0.0050244 | 0.0012592
33 | 0.97009 | -0.57737 | 0.052092 | 0.013055
34 | 0.99376 | -0.11913 | 0 | 0
35 | 0.99344 | -0.12528 | 0.015403 | 0.0038605
36 | 0.98711 | -0.24787 | 0 | 0
37 | 0.98702 | -0.24965 | 0.014751 | 0.0036969
38 | 0.98785 | -0.2336 | 0 | 0
39 | 0.99334 | -0.12732 | 0.016712 | 0.0041884
40 | 0.9885 | -0.21956 | 0.0020506 | 0.00051393
41 | 0.991 | -0.17247 | 0 | 0
42 | 0.99105 | -0.17159 | 0.0030876 | 0.00077382
43 | 0.99097 | -0.17304 | 0.0030866 | 0.00077358
44 | 0.98695 | -0.24973 | 0.0012849 | 0.00032204
45 | 0.98583 | -0.27275 | 0.024097 | 0.0060394
46 | 0.98594 | -0.27064 | 0.018296 | 0.0045855
47 | 0.99646 | -0.067428 | 0.003706 | 0.0009288
48 | 0.98672 | -0.25555 | 0.0028462 | 0.00071333
49 | 0.98677 | -0.2545 | 0 | 0
50 | 0.98743 | -0.24158 | 0.0051465 | 0.0012898
51 | 0.98748 | -0.2406 | 0.0042027 | 0.0010533
52 | 0.98496 | -0.28787 | 0 | 0
53 | 0.99243 | -0.14495 | 0.01377 | 0.0034512
54 | 0.99269 | -0.13982 | 0.0090672 | 0.0022725
55 | 0.98884 | -0.21425 | 0.0028631 | 0.00071756
56 | 0.98885 | -0.21411 | 0.0069266 | 0.001736
57 | 0.98779 | -0.23472 | 0.0026202 | 0.00065667
58 | 0.9878 | -0.23442 | 0.0026192 | 0.00065644
59 | 0.98794 | -0.23171 | 0 | 0
60 | 0.9819 | -0.3477 | 0.01191 | 0.0029849
61 | 0.98235 | -0.33889 | 0 | 0
62 | 0.99406 | -0.1136 | 0.0066607 | 0.0016693
63 | 0.99416 | -0.11157 | 0.0066599 | 0.0016691
64 | 0.99109 | -0.17077 | 0.0030883 | 0.00077401
65 | 0.98387 | -0.30924 | 0 | 0
66 | 0.98187 | -0.34827 | 0 | 0
67 | 0.9837 | -0.31258 | 0.0062733 | 0.0015722
68 | 0.98186 | -0.34851 | 0.011272 | 0.002825
69 | 0.99115 | -0.16954 | 0.0030876 | 0.00077382
70 | 0.99436 | -0.1078 | 0 | 0
71 | 0.99469 | -0.1014 | 0.0036988 | 0.00092701
72 | 0.99386 | -0.11737 | 0.0037043 | 0.00092838
73 | 0.99557 | -0.084645 | 0.0036999 | 0.00092727
74 | 0.99313 | -0.13149 | 0.0036988 | 0.00092701
75 | 0.98848 | -0.22126 | 0.0026199 | 0.0006566
76 | 0.98933 | -0.20487 | 0 | 0
77 | 0.99008 | -0.19027 | 0.0028603 | 0.00071687
78 | 0.98908 | -0.2097 | 0.002862 | 0.0007173
79 | 0.99131 | -0.16643 | 0 | 0
80 | 0.98898 | -0.21169 | 0.002862 | 0.0007173
81 | 0.99248 | -0.14386 | 0.0030869 | 0.00077366
82 | 0.98889 | -0.21331 | 0.002862 | 0.0007173
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038806 | -0.00097257 | 0.003881 | 0.00097245 | 3.6428e-07 | -1.272e-07 | 0.0058603 | 0.0058602 | 0.0058603 | 0.98535 | -0.28102 | 0.98545 | -0.27905 | 1.61
1 | -0.014975 | -0.0037529 | 0.01498 | 0.003756 | 5.3902e-06 | 3.0914e-06 | 0.022612 | 0.022612 | 0.022612 | 0.98545 | -0.27905 | 0.98584 | -0.2715 | 6.2121
2 | -0.025267 | -0.006334 | 0.025282 | 0.0063431 | 1.4655e-05 | 9.0366e-06 | 0.038139 | 0.038138 | 0.038139 | 0.98584 | -0.2715 | 0.98646 | -0.25933 | 10.4776
3 | 0.0081616 | 0.0020468 | -0.0081571 | -0.0020449 | 4.5728e-06 | 1.8836e-06 | 0.012263 | 0.012263 | 0.012263 | 0.99042 | -0.18436 | 0.98981 | -0.19612 | 3.3689
4 | -0.0081616 | -0.0020468 | 0.0081623 | 0.002047 | 6.1119e-07 | 2.5167e-07 | 0.012263 | 0.012263 | 0.012263 | 0.99042 | -0.18436 | 0.9905 | -0.18279 | 3.3688
5 | 0.0081571 | 0.0020449 | -0.0081538 | -0.0020435 | 3.2512e-06 | 1.3401e-06 | 0.012263 | 0.012263 | 0.012263 | 0.98981 | -0.19612 | 0.98938 | -0.20449 | 3.369
6 | -0.0081623 | -0.002047 | 0.0081659 | 0.0020485 | 3.6727e-06 | 1.5118e-06 | 0.012263 | 0.012262 | 0.012263 | 0.9905 | -0.18279 | 0.99099 | -0.17335 | 3.3688
7 | -0.034809 | -0.0087307 | 0.034825 | 0.0087407 | 1.5932e-05 | 9.9994e-06 | 0.052509 | 0.052509 | 0.052509 | 0.98646 | -0.25933 | 0.98695 | -0.24973 | 14.4256
8 | -0.043632 | -0.010937 | 0.043669 | 0.01096 | 3.6286e-05 | 2.2932e-05 | 0.065517 | 0.065517 | 0.065517 | 0.99099 | -0.17335 | 0.99189 | -0.15591 | 17.9991
9 | -0.081729 | -0.020634 | 0.081916 | 0.020753 | 0.00018713 | 0.00011932 | 0.12197 | 0.12197 | 0.12197 | 0.99751 | -0.047674 | 1 | 0 | 33.5087
10 | 0.081729 | 0.020634 | -0.081523 | -0.020502 | 0.00020631 | 0.00013155 | 0.12197 | 0.12197 | 0.12197 | 0.99751 | -0.047674 | 0.99476 | -0.10051 | 33.5087
11 | 0.13825 | 0.035172 | -0.13793 | -0.034967 | 0.00032228 | 0.00020599 | 0.20591 | 0.20591 | 0.20591 | 1 | 0 | 0.99745 | -0.048493 | 56.568
12 | 0.34954 | 0.089237 | -0.34888 | -0.088815 | 0.00066009 | 0.00042169 | 0.5207 | 0.5207 | 0.5207 | 1 | 0 | 0.99794 | -0.039159 | 47.6832
13 | 0.057429 | 0.014463 | -0.057317 | -0.014392 | 0.00011161 | 7.0907e-05 | 0.08593 | 0.08593 | 0.08593 | 0.99476 | -0.10051 | 0.99265 | -0.14124 | 23.6072
14 | 0.15387 | 0.039281 | -0.1537 | -0.03917 | 0.00017388 | 0.00011083 | 0.23056 | 0.23056 | 0.23056 | 0.99418 | -0.11081 | 0.99296 | -0.13422 | 31.6698
15 | -0.26955 | -0.068468 | 0.26971 | 0.06857 | 0.00016051 | 0.00010242 | 0.40376 | 0.40376 | 0.40376 | 0.99418 | -0.11081 | 0.99483 | -0.098446 | 36.9744
16 | 0.11568 | 0.029187 | -0.1155 | -0.029077 | 0.00017231 | 0.00011008 | 0.17321 | 0.17321 | 0.17321 | 0.99418 | -0.11081 | 0.99257 | -0.14197 | 47.5838
17 | 0.12824 | 0.03279 | -0.12799 | -0.032633 | 0.00024565 | 0.0001563 | 0.1924 | 0.1924 | 0.1924 | 0.99296 | -0.13422 | 0.99088 | -0.1739 | 26.4291
18 | 0.055044 | 0.013829 | -0.054997 | -0.013799 | 4.7015e-05 | 2.985e-05 | 0.082344 | 0.082344 | 0.082344 | 0.99483 | -0.098446 | 0.9939 | -0.11636 | 22.622
19 | -0.32475 | -0.0824 | 0.32515 | 0.082653 | 0.00039629 | 0.0002531 | 0.4861 | 0.4861 | 0.4861 | 0.99483 | -0.098446 | 0.99616 | -0.073106 | 44.515
20 | 0.099505 | 0.025067 | -0.099182 | -0.024861 | 0.0003233 | 0.00020642 | 0.14922 | 0.14922 | 0.14922 | 0.99257 | -0.14197 | 0.98905 | -0.21014 | 40.9944
21 | 0.039587 | 0.0099353 | -0.039566 | -0.0099222 | 2.0675e-05 | 1.3029e-05 | 0.059273 | 0.059273 | 0.059273 | 0.9939 | -0.11636 | 0.99334 | -0.12732 | 16.2837
22 | 0.01541 | 0.0038642 | -0.015408 | -0.003863 | 2.0341e-06 | 1.1698e-06 | 0.023072 | 0.023072 | 0.023072 | 0.9939 | -0.11636 | 0.99376 | -0.11913 | 6.3384
23 | -0.33674 | -0.085559 | 0.33729 | 0.085911 | 0.00055134 | 0.00035218 | 0.50342 | 0.50342 | 0.50342 | 0.99616 | -0.073106 | 0.99794 | -0.039159 | 46.101
24 | 0.12799 | 0.032633 | -0.12779 | -0.032507 | 0.00019692 | 0.00012585 | 0.1924 | 0.1924 | 0.1924 | 0.99088 | -0.1739 | 0.98921 | -0.20582 | 52.8582
25 | 0.089767 | 0.022935 | -0.08971 | -0.022899 | 5.6376e-05 | 3.5975e-05 | 0.13519 | 0.13519 | 0.13519 | 0.98921 | -0.20582 | 0.98854 | -0.21882 | 37.1394
26 | 0.038027 | 0.0095728 | -0.037986 | -0.009547 | 4.0997e-05 | 2.581e-05 | 0.057217 | 0.057217 | 0.057217 | 0.98921 | -0.20582 | 0.98805 | -0.2284 | 15.719
27 | 0.13739 | 0.03483 | -0.13726 | -0.03475 | 0.00012491 | 7.9838e-05 | 0.20509 | 0.20509 | 0.20509 | 0.99745 | -0.048493 | 0.99646 | -0.067428 | 56.3447
28 | -0.043669 | -0.01096 | 0.043699 | 0.010979 | 3.0582e-05 | 1.9327e-05 | 0.065517 | 0.065517 | 0.065517 | 0.99189 | -0.15591 | 0.99265 | -0.14124 | 17.9991
29 | 0.0098339 | 0.0024672 | -0.0098242 | -0.0024626 | 9.6469e-06 | 4.6693e-06 | 0.0148 | 0.014801 | 0.014801 | 0.98877 | -0.21552 | 0.98771 | -0.23612 | 4.0661
30 | -0.0098339 | -0.0024672 | 0.0098364 | 0.0024685 | 2.5227e-06 | 1.2205e-06 | 0.0148 | 0.0148 | 0.0148 | 0.98877 | -0.21552 | 0.98905 | -0.21014 | 4.066
31 | 0.0098242 | 0.0024626 | -0.0098222 | -0.0024616 | 1.9949e-06 | 9.6598e-07 | 0.014801 | 0.014801 | 0.014801 | 0.98771 | -0.23612 | 0.98749 | -0.24038 | 4.0661
32 | 0.0020507 | 0.00051372 | -0.0020506 | -0.00051393 | 7.2453e-08 | -2.1358e-07 | 0.0030868 | 0.0030869 | 0.0030869 | 0.98854 | -0.21882 | 0.9885 | -0.21956 | 0.84804
33 | 0.08766 | 0.022385 | -0.087542 | -0.02231 | 0.00011799 | 7.5285e-05 | 0.1321 | 0.1321 | 0.1321 | 0.98854 | -0.21882 | 0.98708 | -0.24671 | 36.2914
34 | 0.036146 | 0.0090859 | -0.036109 | -0.0090628 | 3.678e-05 | 2.3116e-05 | 0.054446 | 0.054446 | 0.054446 | 0.98805 | -0.2284 | 0.98695 | -0.24973 | 14.9578
35 | 0.0051468 | 0.0012899 | -0.0051465 | -0.0012898 | 2.9552e-07 | 2.1531e-08 | 0.0077555 | 0.0077556 | 0.0077556 | 0.98749 | -0.24038 | 0.98743 | -0.24158 | 2.1307
36 | 0.0042028 | 0.0010533 | -0.0042027 | -0.0010533 | 4.3737e-08 | -9.2105e-09 | 0.006333 | 0.006333 | 0.006333 | 0.98749 | -0.24038 | 0.98748 | -0.2406 | 1.7398
37 | 0.052927 | 0.013585 | -0.052285 | -0.013178 | 0.00064165 | 0.00040727 | 0.079902 | 0.079903 | 0.079903 | 0.98708 | -0.24671 | 0.97402 | -0.49983 | 21.9514
38 | 0.034615 | 0.0087243 | -0.034593 | -0.0087101 | 2.2553e-05 | 1.4152e-05 | 0.052199 | 0.052199 | 0.052199 | 0.98708 | -0.24671 | 0.98638 | -0.26033 | 14.3405
39 | 0.052285 | 0.013178 | -0.052092 | -0.013055 | 0.0001932 | 0.00012265 | 0.079903 | 0.079903 | 0.079903 | 0.97402 | -0.49983 | 0.97009 | -0.57737 | 21.9515
40 | 0.029568 | 0.0074509 | -0.029529 | -0.0074267 | 3.8889e-05 | 2.4225e-05 | 0.04462 | 0.04462 | 0.04462 | 0.98638 | -0.26033 | 0.98496 | -0.28787 | 12.2582
41 | 0.015408 | 0.003863 | -0.015403 | -0.0038605 | 4.518e-06 | 2.5984e-06 | 0.023072 | 0.023072 | 0.023072 | 0.99376 | -0.11913 | 0.99344 | -0.12528 | 6.3384
42 | 0.014752 | 0.0036976 | -0.014751 | -0.0036969 | 1.2579e-06 | 7.1834e-07 | 0.022238 | 0.022238 | 0.022238 | 0.98711 | -0.24787 | 0.98702 | -0.24965 | 6.1093
43 | -0.014752 | -0.0036976 | 0.014762 | 0.0037033 | 1.0032e-05 | 5.7285e-06 | 0.022238 | 0.022238 | 0.022238 | 0.98711 | -0.24787 | 0.98785 | -0.2336 | 6.1093
44 | 0.0052396 | 0.0013131 | -0.0052394 | -0.001313 | 2.0413e-07 | 1.8773e-08 | 0.0078925 | 0.0078925 | 0.0078925 | 0.98785 | -0.2336 | 0.9878 | -0.23442 | 2.1683
45 | -0.020002 | -0.0050164 | 0.020003 | 0.0050175 | 1.8057e-06 | 1.0877e-06 | 0.03013 | 0.03013 | 0.03013 | 0.98785 | -0.2336 | 0.98794 | -0.23171 | 8.2775
46 | 0.022855 | 0.0057339 | -0.022841 | -0.0057255 | 1.3621e-05 | 8.3164e-06 | 0.034238 | 0.034239 | 0.034239 | 0.99334 | -0.12732 | 0.99269 | -0.13982 | 9.4062
47 | -0.0030867 | -0.0007735 | 0.0030868 | 0.00077338 | 1.2945e-07 | -1.2422e-07 | 0.0046347 | 0.0046347 | 0.0046347 | 0.991 | -0.17247 | 0.99105 | -0.17159 | 1.2733
48 | 0.0030867 | 0.0007735 | -0.0030866 | -0.00077358 | 8.3522e-08 | -8.0133e-08 | 0.0046347 | 0.0046348 | 0.0046348 | 0.991 | -0.17247 | 0.99097 | -0.17304 | 1.2733
49 | -0.0061744 | -0.0015472 | 0.0061747 | 0.0015473 | 2.4028e-07 | 5.7707e-08 | 0.0092705 | 0.0092705 | 0.0092705 | 0.99105 | -0.17159 | 0.99109 | -0.17077 | 2.5469
50 | -0.024097 | -0.0060394 | 0.0241 | 0.0060409 | 2.4222e-06 | 1.488e-06 | 0.036372 | 0.036372 | 0.036372 | 0.98583 | -0.27275 | 0.98594 | -0.27064 | 9.9924
51 | -0.042396 | -0.010626 | 0.042429 | 0.010647 | 3.2634e-05 | 2.0614e-05 | 0.063986 | 0.063986 | 0.063986 | 0.98594 | -0.27064 | 0.98677 | -0.2545 | 17.5786
52 | 0.13355 | 0.033821 | -0.13344 | -0.033751 | 0.00011032 | 7.0509e-05 | 0.19956 | 0.19956 | 0.19956 | 0.99646 | -0.067428 | 0.99557 | -0.084645 | 54.8244
53 | -0.0028462 | -0.00071333 | 0.0028464 | 0.00071316 | 1.4284e-07 | -1.7269e-07 | 0.0042922 | 0.0042922 | 0.0042922 | 0.98672 | -0.25555 | 0.98677 | -0.2545 | 1.1792
54 | -0.045275 | -0.01136 | 0.045324 | 0.011391 | 4.9256e-05 | 3.1163e-05 | 0.068278 | 0.068278 | 0.068278 | 0.98677 | -0.2545 | 0.98794 | -0.23171 | 18.7577
55 | 0.029529 | 0.0074267 | -0.029499 | -0.0074079 | 3.012e-05 | 1.8764e-05 | 0.04462 | 0.04462 | 0.04462 | 0.98496 | -0.28787 | 0.98387 | -0.30924 | 12.2583
56 | -0.01377 | -0.0034512 | 0.013774 | 0.0034531 | 3.361e-06 | 1.8793e-06 | 0.020647 | 0.020647 | 0.020647 | 0.99243 | -0.14495 | 0.99269 | -0.13982 | 5.6723
57 | -0.0028631 | -0.00071756 | 0.0028631 | 0.00071754 | 1.8222e-08 | -2.192e-08 | 0.0043084 | 0.0043084 | 0.0043084 | 0.98884 | -0.21425 | 0.98885 | -0.21411 | 1.1836
58 | -0.0097897 | -0.0024535 | 0.00979 | 0.0024537 | 3.7309e-07 | 1.7996e-07 | 0.014731 | 0.014731 | 0.014731 | 0.98885 | -0.21411 | 0.98889 | -0.21331 | 4.0471
59 | -0.0026202 | -0.00065667 | 0.0026202 | 0.00065661 | 3.745e-08 | -5.8091e-08 | 0.003947 | 0.003947 | 0.003947 | 0.98779 | -0.23472 | 0.9878 | -0.23442 | 1.0843
60 | -0.065328 | -0.016409 | 0.06536 | 0.01643 | 3.2575e-05 | 2.0733e-05 | 0.098408 | 0.098408 | 0.098408 | 0.98794 | -0.23171 | 0.98848 | -0.22126 | 27.0352
61 | -0.01191 | -0.0029849 | 0.011915 | 0.0029876 | 4.9976e-06 | 2.6808e-06 | 0.018049 | 0.018049 | 0.018049 | 0.9819 | -0.3477 | 0.98235 | -0.33889 | 4.9585
62 | -0.023192 | -0.0058153 | 0.023225 | 0.0058354 | 3.282e-05 | 2.0106e-05 | 0.035131 | 0.035131 | 0.035131 | 0.98235 | -0.33889 | 0.98387 | -0.30924 | 9.6514
63 | 0.011277 | 0.0028277 | -0.011272 | -0.002825 | 5.0369e-06 | 2.6411e-06 | 0.017082 | 0.017082 | 0.017082 | 0.98235 | -0.33889 | 0.98187 | -0.34827 | 4.693
64 | -0.0066607 | -0.0016693 | 0.0066614 | 0.0016695 | 6.4275e-07 | 1.8782e-07 | 0.0099705 | 0.0099704 | 0.0099705 | 0.99406 | -0.1136 | 0.99416 | -0.11157 | 2.7391
65 | -0.013321 | -0.0033387 | 0.013324 | 0.00334 | 2.3965e-06 | 1.3253e-06 | 0.019939 | 0.019939 | 0.019939 | 0.99416 | -0.11157 | 0.99436 | -0.1078 | 5.4777
66 | -0.009263 | -0.0023213 | 0.0092635 | 0.0023215 | 5.4076e-07 | 2.5e-07 | 0.013907 | 0.013907 | 0.013907 | 0.99109 | -0.17077 | 0.99115 | -0.16954 | 3.8207
67 | 0.0062743 | 0.0015725 | -0.0062733 | -0.0015722 | 9.9878e-07 | 2.6367e-07 | 0.0094894 | 0.0094895 | 0.0094895 | 0.98387 | -0.30924 | 0.9837 | -0.31258 | 2.607
68 | 0.011272 | 0.002825 | -0.011272 | -0.002825 | 1.3077e-07 | 6.8576e-08 | 0.017082 | 0.017082 | 0.017082 | 0.98187 | -0.34827 | 0.98186 | -0.34851 | 4.693
69 | -0.012351 | -0.0030953 | 0.012353 | 0.0030963 | 1.8317e-06 | 9.8915e-07 | 0.018543 | 0.018543 | 0.018543 | 0.99115 | -0.16954 | 0.99131 | -0.16643 | 5.0941
70 | -0.1259 | -0.031805 | 0.12594 | 0.03183 | 3.8622e-05 | 2.468e-05 | 0.1885 | 0.1885 | 0.1885 | 0.99436 | -0.1078 | 0.99469 | -0.1014 | 51.7851
71 | 0.11258 | 0.028465 | -0.11253 | -0.028432 | 5.1678e-05 | 3.3011e-05 | 0.16856 | 0.16856 | 0.16856 | 0.99436 | -0.1078 | 0.99386 | -0.11737 | 46.3074
72 | -0.12964 | -0.032757 | 0.12974 | 0.032824 | 0.0001042 | 6.6594e-05 | 0.19403 | 0.19403 | 0.19403 | 0.99469 | -0.1014 | 0.99557 | -0.084645 | 53.3052
73 | 0.10882 | 0.027504 | -0.10875 | -0.027457 | 7.3631e-05 | 4.7028e-05 | 0.16301 | 0.16301 | 0.16301 | 0.99386 | -0.11737 | 0.99313 | -0.13149 | 44.7838
74 | 0.10505 | 0.02653 | -0.10499 | -0.02649 | 6.2216e-05 | 3.9732e-05 | 0.15747 | 0.15747 | 0.15747 | 0.99313 | -0.13149 | 0.99248 | -0.14386 | 43.2613
75 | -0.06798 | -0.017086 | 0.068034 | 0.01712 | 5.3262e-05 | 3.3914e-05 | 0.10235 | 0.10235 | 0.10235 | 0.98848 | -0.22126 | 0.98933 | -0.20487 | 28.1186
76 | -0.086416 | -0.021729 | 0.086477 | 0.021768 | 6.0308e-05 | 3.8475e-05 | 0.13 | 0.13 | 0.13 | 0.98933 | -0.20487 | 0.99008 | -0.19027 | 35.7147
77 | 0.018383 | 0.0046095 | -0.018379 | -0.0046069 | 4.2299e-06 | 2.5177e-06 | 0.02765 | 0.02765 | 0.02765 | 0.98933 | -0.20487 | 0.98908 | -0.2097 | 7.5961
78 | -0.089337 | -0.022485 | 0.089439 | 0.02255 | 0.00010189 | 6.5016e-05 | 0.1343 | 0.1343 | 0.1343 | 0.99008 | -0.19027 | 0.99131 | -0.16643 | 36.8957
79 | 0.015517 | 0.0038897 | -0.015515 | -0.0038888 | 1.4718e-06 | 8.4953e-07 | 0.023344 | 0.023344 | 0.023344 | 0.98908 | -0.2097 | 0.98898 | -0.21169 | 6.4132
80 | -0.10179 | -0.025646 | 0.1019 | 0.025716 | 0.00011002 | 7.0253e-05 | 0.15284 | 0.15284 | 0.15284 | 0.99131 | -0.16643 | 0.99248 | -0.14386 | 41.9898
81 | 0.012653 | 0.0031715 | -0.012652 | -0.003171 | 9.7921e-07 | 5.3426e-07 | 0.019038 | 0.019038 | 0.019038 | 0.98898 | -0.21169 | 0.98889 | -0.21331 | 5.2302

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57136 | 0.14516

## res_load
| p_mw | q_mvar
0 | 0.0038806 | 0.00097257
1 | 0.011094 | 0.0027804
2 | 0.010287 | 0.0025781
3 | 0.0095268 | 0.0023877
4 | 0.0081538 | 0.0020435
5 | 0.035466 | 0.0088887
6 | 0.024094 | 0.0060386
7 | 0.025459 | 0.0063807
8 | 0.015999 | 0.0040098
9 | 0.011594 | 0.0029058
10 | 0.00054492 | 0.00013657
11 | 0.011588 | 0.0029042
12 | 0.013618 | 0.0034129
13 | 0.089345 | 0.022392
14 | 0.0018399 | 0.00046112
15 | 0.00047264 | 0.00011845
16 | 0.0050244 | 0.0012592
17 | 0.052092 | 0.013055
18 | 0.015403 | 0.0038605
19 | 0.014751 | 0.0036969
20 | 0.016712 | 0.0041884
21 | 0.0020506 | 0.00051393
22 | 0.0030876 | 0.00077382
23 | 0.0030866 | 0.00077358
24 | 0.0012849 | 0.00032204
25 | 0.024097 | 0.0060394
26 | 0.018296 | 0.0045855
27 | 0.003706 | 0.0009288
28 | 0.0028462 | 0.00071333
29 | 0.0051465 | 0.0012898
30 | 0.0042027 | 0.0010533
31 | 0.01377 | 0.0034512
32 | 0.0090672 | 0.0022725
33 | 0.0028631 | 0.00071756
34 | 0.0069266 | 0.001736
35 | 0.0026202 | 0.00065667
36 | 0.0026192 | 0.00065644
37 | 0.01191 | 0.0029849
38 | 0.0066607 | 0.0016693
39 | 0.0066599 | 0.0016691
40 | 0.0030883 | 0.00077401
41 | 0.0062733 | 0.0015722
42 | 0.011272 | 0.002825
43 | 0.0030876 | 0.00077382
44 | 0.0036988 | 0.00092701
45 | 0.0037043 | 0.00092838
46 | 0.0036999 | 0.00092727
47 | 0.0036988 | 0.00092701
48 | 0.0026199 | 0.0006566
49 | 0.0028603 | 0.00071687
50 | 0.002862 | 0.0007173
51 | 0.002862 | 0.0007173
52 | 0.0030869 | 0.00077366
53 | 0.002862 | 0.0007173

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1