## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-111_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-111_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-111_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-111_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-111_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-111_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1061-111_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1061-111_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-111_0_5_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_1061-111_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_1061-111_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1061-111_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1061-111_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1061-111_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1061-111_0_5_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_1061-111_0_5_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1061-111_0_5_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_1061-111_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1061-111_0_5_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_1061-111_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1061-111_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1061-111_0_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_1061-111_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1061-111_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1061-111_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1061-111_0_5_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1061-111_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_1061-111_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1061-111_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1061-111_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1061-111_0_5_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_1061-111_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1061-111_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1061-111_0_5_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1061-111_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1061-111_0_5_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1061-111_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1061-111_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1061-111_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1061-111_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1061-111_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1061-111_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1061-111_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1061-111_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1061-111_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1061-111_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1061-111_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1061-111_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1061-111_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1061-111_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1061-111_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1061-111_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1061-111_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1061-111_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1061-111_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1061-111_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1061-111_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_1061-111_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1061-111_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1061-111_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_MV_218_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-111_0_5_load_0 | 0 | 0.011076 | 0.0027759 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-111_0_5_load_1 | 1 | 0.010666 | 0.0026732 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-111_0_5_load_4 | 4 | 0.036204 | 0.0090735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-111_0_5_load_40 | 6 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-111_0_5_load_5 | 7 | 0.014148 | 0.0035458 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-111_0_5_load_28 | 9 | 0.0056475 | 0.0014154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-111_0_5_load_7 | 10 | 0.0062762 | 0.001573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-111_0_5_load_6 | 11 | 0.0087497 | 0.0021929 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-111_0_5_load_10 | 13 | 0.046715 | 0.011708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-111_0_5_load_57 | 14 | 0.0054515 | 0.0013663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-111_0_5_load_50 | 15 | 0.013271 | 0.0033261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-111_0_5_load_27 | 17 | 0.035001 | 0.008772 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-111_0_5_load_51 | 18 | 0.0089453 | 0.0022419 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-111_0_5_load_11 | 19 | 0.0087701 | 0.002198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-111_0_5_load_12 | 20 | 0.0045575 | 0.0011422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-111_0_5_load_58 | 21 | 0.0094653 | 0.0023722 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-111_0_5_load_19 | 23 | 0.0050148 | 0.0012568 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-111_0_5_load_30 | 25 | 0.0052746 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-111_0_5_load_61 | 26 | 0.0061558 | 0.0015428 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-111_0_5_load_14 | 27 | 0.007134 | 0.001788 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-111_0_5_load_55 | 30 | 0.011909 | 0.0029847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-111_0_5_load_16 | 31 | 0.0035599 | 0.00089219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-111_0_5_load_17 | 32 | 0.0042621 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-111_0_5_load_41 | 34 | 0.00063214 | 0.00015843 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-111_0_5_load_42 | 35 | 0.026366 | 0.0066079 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-111_0_5_load_21 | 37 | 0.0066181 | 0.0016587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-111_0_5_load_22 | 38 | 0.0049297 | 0.0012355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-111_0_5_load_24 | 39 | 0.0041974 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-111_0_5_load_25 | 41 | 0.01573 | 0.0039423 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-111_0_5_load_37 | 43 | 0.006615 | 0.0016579 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-111_0_5_load_53 | 46 | 0.0080727 | 0.0020232 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-111_0_5_load_38 | 47 | 0.0030799 | 0.0007719 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-111_0_5_load_33 | 49 | 0.0052752 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-111_0_5_load_52 | 51 | 0.0053208 | 0.0013335 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-111_0_5_load_32 | 52 | 0.006615 | 0.0016579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-111_0_5_load_48 | 53 | 0.0095544 | 0.0023946 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-111_0_5_load_47 | 54 | 0.0066159 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-111_0_5_load_34 | 55 | 0.0062089 | 0.0015561 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-111_0_5_load_60 | 57 | 0.0047874 | 0.0011998 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-111_0_5_load_46 | 58 | 0.028593 | 0.0071662 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-111_0_5_load_49 | 59 | 0.028111 | 0.0070453 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-111_0_5_line_0 |  | 0 | 1 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-111_0_5_line_1 |  | 0 | 2 | 0.030468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-111_0_5_line_2 |  | 1 | 3 | 0.007947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-111_0_5_line_3 |  | 2 | 4 | 0.014424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-111_0_5_line_4 |  | 3 | 5 | 0.054879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1061-111_0_5_line_5 |  | 3 | 6 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-111_0_5_line_6 |  | 5 | 9 | 0.0070355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-111_0_5_line_7 |  | 5 | 10 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1061-111_0_5_line_8 |  | 6 | 8 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-111_0_5_line_9 |  | 7 | 8 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-111_0_5_line_10 |  | 9 | 17 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-111_0_5_line_11 |  | 10 | 11 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1061-111_0_5_line_12 |  | 11 | 12 | 0.032407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1061-111_0_5_line_13 |  | 12 | 13 | 0.066634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1061-111_0_5_line_14 |  | 12 | 14 | 0.056246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-111_0_5_line_15 |  | 13 | 15 | 0.0086684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1061-111_0_5_line_16 |  | 14 | 16 | 0.032125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-111_0_5_line_17 |  | 15 | 18 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1061-111_0_5_line_18 |  | 16 | 30 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-111_0_5_line_19 |  | 18 | 51 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1061-111_0_5_line_20 |  | 19 | 20 | 0.0082533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-111_0_5_line_21 |  | 19 | 21 | 0.020051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-111_0_5_line_22 |  | 20 | 22 | 0.010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-111_0_5_line_23 |  | 22 | 23 | 0.023476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-111_0_5_line_24 |  | 22 | 24 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-111_0_5_line_25 |  | 23 | 25 | 0.003634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-111_0_5_line_26 |  | 24 | 26 | 0.030962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-111_0_5_line_27 |  | 25 | 36 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-111_0_5_line_28 |  | 27 | 28 | 0.052076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-111_0_5_line_29 |  | 28 | 29 | 0.01076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-111_0_5_line_30 |  | 29 | 30 | 0.027863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-111_0_5_line_31 |  | 31 | 32 | 0.037255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-111_0_5_line_32 |  | 31 | 33 | 0.05004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-111_0_5_line_33 |  | 32 | 34 | 0.035745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-111_0_5_line_34 |  | 33 | 35 | 0.034933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-111_0_5_line_35 |  | 35 | 48 | 0.02516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-111_0_5_line_36 |  | 36 | 52 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-111_0_5_line_37 |  | 36 | 49 | 0.0038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-111_0_5_line_38 |  | 37 | 38 | 0.0021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-111_0_5_line_39 |  | 38 | 39 | 0.0093217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-111_0_5_line_40 |  | 39 | 43 | 0.0014326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-111_0_5_line_41 |  | 40 | 41 | 0.025635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1061-111_0_5_line_42 |  | 40 | 42 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1061-111_0_5_line_43 |  | 41 | 44 | 0.01662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1061-111_0_5_line_44 |  | 42 | 45 | 0.024991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-111_0_5_line_45 |  | 42 | 46 | 0.07916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1061-111_0_5_line_46 |  | 43 | 47 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-111_0_5_line_47 |  | 44 | 48 | 0.006411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1061-111_0_5_line_48 |  | 45 | 49 | 0.022628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-111_0_5_line_49 |  | 45 | 50 | 0.023406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-111_0_5_line_50 |  | 46 | 51 | 0.0073547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1061-111_0_5_line_51 |  | 47 | 54 | 0.00073691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-111_0_5_line_52 |  | 48 | 58 | 0.032053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-111_0_5_line_53 |  | 50 | 57 | 0.004103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-111_0_5_line_54 |  | 50 | 56 | 0.03982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-111_0_5_line_55 |  | 52 | 53 | 0.007853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-111_0_5_line_56 |  | 53 | 54 | 0.022423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-111_0_5_line_57 |  | 55 | 56 | 0.028342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-111_0_5_line_58 |  | 58 | 59 | 0.04138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-111_0_5_trafo_44 | 0.63 MVA 20/0.4 kV | 60 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2664276.058 | 1212194.4777 | 2664276.9412 | 1212192.0014 | 2664282.6349 | 1212177.5052
1 | 2664261.053 | 1212219.5917 | 2664263.6101 | 1212218.4964 | 2664266.8924 | 1212216.3749 | 2664271.786 | 1212206.4548 | 2664276.058 | 1212194.4777
2 | 2664285.7392 | 1212170.1939 | 2664284.3161 | 1212173.2249 | 2664282.6349 | 1212177.5052
3 | 2664261.053 | 1212219.5917 | 2664258.6358 | 1212233.8115
4 | 2664317.7225 | 1212126.9009 | 2664315.2149 | 1212127.6298 | 2664310.9406 | 1212130.1297 | 2664292.0755 | 1212158.9553 | 2664287.2012 | 1212167.0744 | 2664285.7392 | 1212170.1939
5 | 2664285.7392 | 1212170.1939 | 2664278.6508 | 1212166.6265 | 2664270.7298 | 1212162.912
6 | 2664317.7225 | 1212126.9009 | 2664318.7545 | 1212122.7984 | 2664319.9967 | 1212120.2832
7 | 2664317.7225 | 1212126.9009 | 2664329.5437 | 1212130.5416 | 2664336.5368 | 1212132.1886
8 | 2664252.374 | 1212155.6256 | 2664257.1508 | 1212156.5443 | 2664270.7298 | 1212162.912
9 | 2664252.374 | 1212155.6256 | 2664252.5125 | 1212175.9454
10 | 2664319.9967 | 1212120.2832 | 2664322.1955 | 1212115.8312 | 2664327.247 | 1212111.016
11 | 2664360.6444 | 1212140.6781 | 2664348.8392 | 1212135.0858 | 2664336.5368 | 1212132.1886
12 | 2664386.8282 | 1212159.1104 | 2664383.3932 | 1212154.9486 | 2664371.7516 | 1212145.9396 | 2664360.6444 | 1212140.6781
13 | 2664386.8282 | 1212159.1104 | 2664384.5642 | 1212167.5356 | 2664370.7574 | 1212178.2154 | 2664364.9517 | 1212183.923 | 2664342.4203 | 1212206.0714 | 2664341.895 | 1212206.5614
14 | 2664386.8282 | 1212159.1104 | 2664442.6188 | 1212166.2534
15 | 2664341.895 | 1212206.5614 | 2664335.556 | 1212212.4739
16 | 2664439.6801 | 1212134.4658 | 2664439.6229 | 1212153.11 | 2664442.6188 | 1212166.2534
17 | 2664320.8812 | 1212226.1613 | 2664335.556 | 1212212.4739
18 | 2664439.6801 | 1212134.4658 | 2664439.6916 | 1212130.5858 | 2664441.6473 | 1212126.7934 | 2664453.0266 | 1212119.2895
19 | 2664320.8812 | 1212226.1613 | 2664317.3918 | 1212229.4159 | 2664310.0569 | 1212236.1315
20 | 2664343.9473 | 1212394.7928 | 2664335.8587 | 1212396.4332
21 | 2664343.9473 | 1212394.7928 | 2664360.8725 | 1212384.0422
22 | 2664325.5207 | 1212398.5298 | 2664335.8587 | 1212396.4332
23 | 2664325.5207 | 1212398.5298 | 2664323.4986 | 1212392.293 | 2664319.6085 | 1212375.827
24 | 2664331.8294 | 1212417.9987 | 2664325.5207 | 1212398.5298
25 | 2664319.6085 | 1212375.827 | 2664318.7729 | 1212372.2904
26 | 2664361.7984 | 1212409.8947 | 2664331.8294 | 1212417.9987
27 | 2664316.407 | 1212362.2759 | 2664318.7729 | 1212372.2904
28 | 2664469.2846 | 1212097.6741 | 2664470.442 | 1212100.9553 | 2664469.9451 | 1212113.1796 | 2664462.8104 | 1212148.8353
29 | 2664469.2846 | 1212097.6741 | 2664466.9595 | 1212095.5699 | 2664459.8165 | 1212092.8355
30 | 2664459.8165 | 1212092.8355 | 2664459.3143 | 1212100.6349 | 2664457.6313 | 1212111.5345 | 2664453.0266 | 1212119.2895
31 | 2664441.7675 | 1212246.6412 | 2664439.1045 | 1212258.736 | 2664436.827 | 1212283.5016
32 | 2664392.1367 | 1212240.2509 | 2664441.7675 | 1212246.6412
33 | 2664432.9471 | 1212319.0278 | 2664434.9462 | 1212303.9523 | 2664436.827 | 1212283.5016
34 | 2664392.1367 | 1212240.2509 | 2664385.5347 | 1212240.2019 | 2664361.2523 | 1212254.7966
35 | 2664339.6881 | 1212267.7576 | 2664361.2523 | 1212254.7966
36 | 2664316.407 | 1212362.2759 | 2664327.1195 | 1212360.0548
37 | 2664316.407 | 1212362.2759 | 2664315.5323 | 1212358.5688
38 | 2664326.5829 | 1212313.287 | 2664326.1197 | 1212311.2058
39 | 2664328.6081 | 1212322.3861 | 2664326.5829 | 1212313.287
40 | 2664328.6081 | 1212322.3861 | 2664328.9194 | 1212323.7845
41 | 2664304.8149 | 1212299.39 | 2664306.1014 | 1212294.223 | 2664308.1569 | 1212290.3205 | 2664311.9012 | 1212286.225 | 2664320.3975 | 1212280.3134
42 | 2664305.3923 | 1212312.0707 | 2664304.8149 | 1212299.39
43 | 2664334.0403 | 1212270.8208 | 2664320.3975 | 1212280.3134
44 | 2664305.3923 | 1212312.0707 | 2664306.6174 | 1212320.3557 | 2664310.5994 | 1212336.4863
45 | 2664305.3923 | 1212312.0707 | 2664302.3085 | 1212310.581 | 2664301.1423 | 1212305.2874 | 2664298.7551 | 1212289.2185 | 2664297.0795 | 1212279.0275 | 2664292.368 | 1212252.327 | 2664304.6324 | 1212241.098
46 | 2664331.5582 | 1212335.6408 | 2664328.9194 | 1212323.7845
47 | 2664339.6881 | 1212267.7576 | 2664334.0403 | 1212270.8208
48 | 2664310.5994 | 1212336.4863 | 2664313.6243 | 1212350.4831 | 2664315.5323 | 1212358.5688
49 | 2664310.5994 | 1212336.4863 | 2664300.8501 | 1212338.0266 | 2664295.7394 | 1212339.1945 | 2664287.5898 | 1212341.0523
50 | 2664304.6324 | 1212241.098 | 2664310.0569 | 1212236.1315
51 | 2664331.7183 | 1212336.3601 | 2664331.5582 | 1212335.6408
52 | 2664339.6881 | 1212267.7576 | 2664345.8826 | 1212299.2063
53 | 2664287.6568 | 1212336.9505 | 2664287.5898 | 1212341.0523
54 | 2664269.6093 | 1212343.5601 | 2664273.8173 | 1212326.0391 | 2664284.9097 | 1212341.5793 | 2664287.5898 | 1212341.0523
55 | 2664334.6493 | 1212358.0366 | 2664333.3803 | 1212358.7567 | 2664327.1195 | 1212360.0548
56 | 2664334.6493 | 1212358.0366 | 2664334.6493 | 1212358.0366 | 2664335.6158 | 1212356.4794 | 2664335.8455 | 1212354.9031 | 2664331.7183 | 1212336.3601
57 | 2664269.6093 | 1212343.5601 | 2664266.4093 | 1212327.4713 | 2664262.7439 | 1212316.1094
58 | 2664345.8826 | 1212299.2063 | 2664353.8796 | 1212339.8062

## bus_geodata
| x | y | coords
0 | 2664276.058 | 1212194.4777
1 | 2664282.6349 | 1212177.5052
2 | 2664261.053 | 1212219.5917
3 | 2664285.7392 | 1212170.1939
4 | 2664258.6358 | 1212233.8115
5 | 2664317.7225 | 1212126.9009
6 | 2664270.7298 | 1212162.912
7 | 2664252.5125 | 1212175.9454
8 | 2664252.374 | 1212155.6256
9 | 2664319.9967 | 1212120.2832
10 | 2664336.5368 | 1212132.1886
11 | 2664360.6444 | 1212140.6781
12 | 2664386.8282 | 1212159.1104
13 | 2664341.895 | 1212206.5614
14 | 2664442.6188 | 1212166.2534
15 | 2664335.556 | 1212212.4739
16 | 2664439.6801 | 1212134.4658
17 | 2664327.247 | 1212111.016
18 | 2664320.8812 | 1212226.1613
19 | 2664343.9473 | 1212394.7928
20 | 2664335.8587 | 1212396.4332
21 | 2664360.8725 | 1212384.0422
22 | 2664325.5207 | 1212398.5298
23 | 2664319.6085 | 1212375.827
24 | 2664331.8294 | 1212417.9987
25 | 2664318.7729 | 1212372.2904
26 | 2664361.7984 | 1212409.8947
27 | 2664462.8104 | 1212148.8353
28 | 2664469.2846 | 1212097.6741
29 | 2664459.8165 | 1212092.8355
30 | 2664453.0266 | 1212119.2895
31 | 2664441.7675 | 1212246.6412
32 | 2664436.827 | 1212283.5016
33 | 2664392.1367 | 1212240.2509
34 | 2664432.9471 | 1212319.0278
35 | 2664361.2523 | 1212254.7966
36 | 2664316.407 | 1212362.2759
37 | 2664326.1197 | 1212311.2058
38 | 2664326.5829 | 1212313.287
39 | 2664328.6081 | 1212322.3861
40 | 2664304.8149 | 1212299.39
41 | 2664320.3975 | 1212280.3134
42 | 2664305.3923 | 1212312.0707
43 | 2664328.9194 | 1212323.7845
44 | 2664334.0403 | 1212270.8208
45 | 2664310.5994 | 1212336.4863
46 | 2664304.6324 | 1212241.098
47 | 2664331.5582 | 1212335.6407
48 | 2664339.6881 | 1212267.7576
49 | 2664315.5323 | 1212358.5688
50 | 2664287.5898 | 1212341.0523
51 | 2664310.0569 | 1212236.1315
52 | 2664327.1195 | 1212360.0548
53 | 2664334.6493 | 1212358.0366
54 | 2664331.7183 | 1212336.3601
55 | 2664262.7439 | 1212316.1094
56 | 2664269.6093 | 1212343.5601
57 | 2664287.6568 | 1212336.9505
58 | 2664345.8826 | 1212299.2063
59 | 2664353.8796 | 1212339.8062
60 | 2664334.0403 | 1212270.8208

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97361 | -0.50884 | 0.011076 | 0.0027759
1 | 0.97441 | -0.49303 | 0.010666 | 0.0026732
2 | 0.97258 | -0.52914 | 0 | 0
3 | 0.97484 | -0.48458 | 0 | 0
4 | 0.9721 | -0.53877 | 0.036204 | 0.0090735
5 | 0.97701 | -0.4421 | 0 | 0
6 | 0.97443 | -0.49273 | 0.012486 | 0.0031292
7 | 0.9739 | -0.50317 | 0.014148 | 0.0035458
8 | 0.97417 | -0.49789 | 0 | 0
9 | 0.97674 | -0.44733 | 0.0056475 | 0.0014154
10 | 0.97777 | -0.42721 | 0.0062762 | 0.001573
11 | 0.97881 | -0.40669 | 0.0087497 | 0.0021929
12 | 0.98022 | -0.37917 | 0 | 0
13 | 0.98363 | -0.31301 | 0.046715 | 0.011708
14 | 0.97895 | -0.4042 | 0.0054515 | 0.0013663
15 | 0.9842 | -0.30201 | 0.013271 | 0.0033261
16 | 0.97838 | -0.41533 | 0 | 0
17 | 0.97635 | -0.45497 | 0.035001 | 0.008772
18 | 0.98559 | -0.27499 | 0.0089453 | 0.0022419
19 | 0.98717 | -0.24577 | 0.0087701 | 0.002198
20 | 0.98731 | -0.24308 | 0.0045575 | 0.0011422
21 | 0.98699 | -0.24917 | 0.0094653 | 0.0023722
22 | 0.98753 | -0.23878 | 0 | 0
23 | 0.98815 | -0.22664 | 0.0050148 | 0.0012568
24 | 0.98741 | -0.24103 | 0 | 0
25 | 0.98826 | -0.22444 | 0.0052746 | 0.0013219
26 | 0.98724 | -0.24444 | 0.0061558 | 0.0015428
27 | 0.9774 | -0.43469 | 0.007134 | 0.001788
28 | 0.97774 | -0.42791 | 0 | 0
29 | 0.97781 | -0.42651 | 0 | 0
30 | 0.978 | -0.42289 | 0.011909 | 0.0029847
31 | 0.99855 | -0.027839 | 0.0035599 | 0.00089219
32 | 0.99839 | -0.031027 | 0.0042621 | 0.0010682
33 | 0.99894 | -0.020444 | 0 | 0
34 | 0.99837 | -0.031423 | 0.00063214 | 0.00015843
35 | 0.99921 | -0.015284 | 0.026366 | 0.0066079
36 | 0.98863 | -0.21724 | 0 | 0
37 | 0.98679 | -0.25311 | 0.0066181 | 0.0016587
38 | 0.9868 | -0.25286 | 0.0049297 | 0.0012355
39 | 0.9869 | -0.25093 | 0.0041974 | 0.001052
40 | 0.99462 | -0.10186 | 0 | 0
41 | 0.9974 | -0.049181 | 0.01573 | 0.0039423
42 | 0.99325 | -0.12805 | 0 | 0
43 | 0.98692 | -0.25053 | 0.006615 | 0.0016579
44 | 0.99928 | -0.013664 | 0 | 0
45 | 0.99087 | -0.17397 | 0 | 0
46 | 0.9872 | -0.24396 | 0.0080727 | 0.0020232
47 | 0.98717 | -0.24567 | 0.0030799 | 0.0007719
48 | 1 | 0 | -0.46609 | -0.11886
49 | 0.98894 | -0.2113 | 0.0052752 | 0.0013221
50 | 0.99063 | -0.17854 | 0 | 0
51 | 0.98666 | -0.25444 | 0.0053208 | 0.0013335
52 | 0.98815 | -0.22665 | 0.006615 | 0.0016579
53 | 0.98785 | -0.23248 | 0.0095544 | 0.0023946
54 | 0.98719 | -0.24533 | 0.0066159 | 0.0016581
55 | 0.99024 | -0.18606 | 0.0062089 | 0.0015561
56 | 0.99041 | -0.18293 | 0 | 0
57 | 0.99061 | -0.17889 | 0.0047874 | 0.0011998
58 | 0.99835 | -0.031732 | 0.028593 | 0.0071662
59 | 0.99729 | -0.052096 | 0.028111 | 0.0070453
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.047331 | -0.011882 | 0.047367 | 0.011905 | 3.5728e-05 | 2.2639e-05 | 0.072346 | 0.072346 | 0.072346 | 0.97361 | -0.50884 | 0.97441 | -0.49303 | 19.8752
1 | 0.036255 | 0.009106 | -0.03622 | -0.0090839 | 3.5089e-05 | 2.2078e-05 | 0.055418 | 0.055418 | 0.055418 | 0.97361 | -0.50884 | 0.97258 | -0.52914 | 15.2247
2 | -0.058033 | -0.014578 | 0.058057 | 0.014593 | 2.3412e-05 | 1.4885e-05 | 0.088634 | 0.088634 | 0.088634 | 0.97441 | -0.49303 | 0.97484 | -0.48458 | 24.3499
3 | 0.03622 | 0.0090839 | -0.036204 | -0.0090735 | 1.6612e-05 | 1.0453e-05 | 0.055418 | 0.055418 | 0.055418 | 0.97258 | -0.52914 | 0.9721 | -0.53877 | 15.2247
4 | -0.084707 | -0.021278 | 0.08488 | 0.021387 | 0.00017207 | 0.00010875 | 0.12932 | 0.12932 | 0.12932 | 0.97484 | -0.48458 | 0.97701 | -0.4421 | 17.7632
5 | 0.026651 | 0.0066854 | -0.02664 | -0.006679 | 1.0355e-05 | 6.4193e-06 | 0.040682 | 0.040683 | 0.040683 | 0.97484 | -0.48458 | 0.97443 | -0.49273 | 11.1765
6 | 0.040671 | 0.010202 | -0.040661 | -0.010195 | 1.0124e-05 | 6.3914e-06 | 0.061946 | 0.061946 | 0.061946 | 0.97701 | -0.4421 | 0.97674 | -0.44733 | 17.0182
7 | -0.12555 | -0.031589 | 0.12564 | 0.031645 | 8.9412e-05 | 5.6488e-05 | 0.19126 | 0.19126 | 0.19126 | 0.97701 | -0.4421 | 0.97777 | -0.42721 | 17.5148
8 | 0.014155 | 0.0035498 | -0.014151 | -0.0035478 | 3.4804e-06 | 1.9801e-06 | 0.021616 | 0.021616 | 0.021616 | 0.97443 | -0.49273 | 0.97417 | -0.49789 | 5.9386
9 | -0.014148 | -0.0035458 | 0.014151 | 0.0035478 | 3.5607e-06 | 2.0259e-06 | 0.021616 | 0.021616 | 0.021616 | 0.9739 | -0.50317 | 0.97417 | -0.49789 | 5.9386
10 | 0.035013 | 0.00878 | -0.035001 | -0.008772 | 1.2745e-05 | 8.0073e-06 | 0.053343 | 0.053343 | 0.053343 | 0.97674 | -0.44733 | 0.97635 | -0.45497 | 14.6546
11 | -0.13192 | -0.033218 | 0.13205 | 0.0333 | 0.00012956 | 8.1947e-05 | 0.20081 | 0.20081 | 0.20081 | 0.97777 | -0.42721 | 0.97881 | -0.40669 | 18.3895
12 | -0.1408 | -0.035493 | 0.14098 | 0.03561 | 0.00018571 | 0.00011763 | 0.21411 | 0.21411 | 0.21411 | 0.97881 | -0.40669 | 0.98022 | -0.37917 | 19.6075
13 | -0.16553 | -0.041779 | 0.16605 | 0.042113 | 0.00052633 | 0.00033433 | 0.25138 | 0.25138 | 0.25138 | 0.98022 | -0.37917 | 0.98363 | -0.31301 | 23.0201
14 | 0.024545 | 0.0061686 | -0.024515 | -0.0061505 | 2.9292e-05 | 1.8039e-05 | 0.037266 | 0.037266 | 0.037266 | 0.98022 | -0.37917 | 0.97895 | -0.4042 | 10.238
15 | -0.21277 | -0.053821 | 0.21288 | 0.053893 | 0.00011238 | 7.1593e-05 | 0.32205 | 0.32205 | 0.32205 | 0.98363 | -0.31301 | 0.9842 | -0.30201 | 29.4916
16 | 0.019064 | 0.0047842 | -0.019054 | -0.0047782 | 1.0117e-05 | 6.0714e-06 | 0.02898 | 0.02898 | 0.02898 | 0.97895 | -0.4042 | 0.97838 | -0.41533 | 7.9615
17 | -0.22615 | -0.057219 | 0.22644 | 0.057406 | 0.00029359 | 0.00018713 | 0.34211 | 0.34211 | 0.34211 | 0.9842 | -0.30201 | 0.98559 | -0.27499 | 31.329
18 | 0.019054 | 0.0047782 | -0.019047 | -0.004774 | 6.8587e-06 | 4.1162e-06 | 0.02898 | 0.02898 | 0.02898 | 0.97838 | -0.41533 | 0.978 | -0.42289 | 7.9616
19 | -0.23539 | -0.059648 | 0.23562 | 0.059796 | 0.00023264 | 0.00014832 | 0.35562 | 0.35562 | 0.35562 | 0.98559 | -0.27499 | 0.98666 | -0.25444 | 32.5657
20 | -0.018237 | -0.0045709 | 0.018239 | 0.0045723 | 2.3388e-06 | 1.3913e-06 | 0.02749 | 0.02749 | 0.02749 | 0.98717 | -0.24577 | 0.98731 | -0.24308 | 7.5521
21 | 0.0094668 | 0.0023729 | -0.0094653 | -0.0023722 | 1.5311e-06 | 7.2363e-07 | 0.01427 | 0.01427 | 0.01427 | 0.98717 | -0.24577 | 0.98699 | -0.24917 | 3.9204
22 | -0.022797 | -0.0057145 | 0.022801 | 0.0057174 | 4.6697e-06 | 2.8537e-06 | 0.034358 | 0.034358 | 0.034358 | 0.98731 | -0.24308 | 0.98753 | -0.23878 | 9.4391
23 | -0.028959 | -0.0072606 | 0.028976 | 0.007271 | 1.6763e-05 | 1.0428e-05 | 0.043637 | 0.043636 | 0.043637 | 0.98753 | -0.23878 | 0.98815 | -0.22664 | 11.9881
24 | 0.0061574 | 0.0015432 | -0.0061568 | -0.001543 | 6.6058e-07 | 1.6099e-07 | 0.0092781 | 0.0092782 | 0.0092782 | 0.98753 | -0.23878 | 0.98741 | -0.24103 | 2.549
25 | -0.03399 | -0.0085278 | 0.033994 | 0.0085301 | 3.5707e-06 | 2.2387e-06 | 0.051188 | 0.051188 | 0.051188 | 0.98815 | -0.22664 | 0.98826 | -0.22444 | 14.0626
26 | 0.0061568 | 0.001543 | -0.0061558 | -0.0015428 | 9.9952e-07 | 2.4373e-07 | 0.0092782 | 0.0092783 | 0.0092783 | 0.98741 | -0.24103 | 0.98724 | -0.24444 | 2.549
27 | -0.039269 | -0.009852 | 0.039282 | 0.0098605 | 1.3492e-05 | 8.5028e-06 | 0.05913 | 0.05913 | 0.05913 | 0.98826 | -0.22444 | 0.98863 | -0.21724 | 16.2445
28 | -0.007134 | -0.001788 | 0.0071363 | 0.0017888 | 2.3036e-06 | 8.2141e-07 | 0.010861 | 0.010861 | 0.010861 | 0.9774 | -0.43469 | 0.97774 | -0.42791 | 2.9838
29 | -0.0071363 | -0.0017888 | 0.0071368 | 0.0017889 | 4.7596e-07 | 1.6965e-07 | 0.010861 | 0.010861 | 0.010861 | 0.97774 | -0.42791 | 0.97781 | -0.42651 | 2.9837
30 | -0.0071368 | -0.0017889 | 0.007138 | 0.0017894 | 1.2325e-06 | 4.3922e-07 | 0.010861 | 0.010861 | 0.010861 | 0.97781 | -0.42651 | 0.978 | -0.42289 | 2.9837
31 | 0.004895 | 0.0012262 | -0.0048943 | -0.0012262 | 7.4333e-07 | -1.1529e-08 | 0.0072942 | 0.0072944 | 0.0072944 | 0.99855 | -0.027839 | 0.99839 | -0.031027 | 2.004
32 | -0.0084549 | -0.0021183 | 0.0084579 | 0.0021196 | 2.9787e-06 | 1.2515e-06 | 0.012599 | 0.012599 | 0.012599 | 0.99855 | -0.027839 | 0.99894 | -0.020444 | 3.4613
33 | 0.00063216 | 0.00015797 | -0.00063214 | -0.00015843 | 1.1897e-08 | -4.5981e-07 | 0.00094201 | 0.00094218 | 0.00094218 | 0.99839 | -0.031027 | 0.99837 | -0.031423 | 0.25884
34 | -0.0084579 | -0.0021196 | 0.00846 | 0.0021205 | 2.0793e-06 | 8.7333e-07 | 0.012599 | 0.012599 | 0.012599 | 0.99894 | -0.020444 | 0.99921 | -0.015284 | 3.4612
35 | -0.034826 | -0.0087283 | 0.034851 | 0.0087442 | 2.5377e-05 | 1.5911e-05 | 0.051862 | 0.051862 | 0.051862 | 0.99921 | -0.015284 | 1 | 0 | 14.2479
36 | 0.048285 | 0.012124 | -0.048264 | -0.01211 | 2.1674e-05 | 1.3731e-05 | 0.072684 | 0.072684 | 0.072684 | 0.98863 | -0.21724 | 0.98815 | -0.22665 | 19.968
37 | -0.087568 | -0.021984 | 0.087592 | 0.022 | 2.4817e-05 | 1.5834e-05 | 0.13181 | 0.13181 | 0.13181 | 0.98863 | -0.21724 | 0.98894 | -0.2113 | 36.2125
38 | -0.0066181 | -0.0016587 | 0.0066182 | 0.0016587 | 7.9631e-08 | 2.3725e-08 | 0.0099797 | 0.0099797 | 0.0099797 | 0.98679 | -0.25311 | 0.9868 | -0.25286 | 2.7417
39 | -0.011548 | -0.0028942 | 0.011549 | 0.0028947 | 1.06e-06 | 5.5927e-07 | 0.017413 | 0.017413 | 0.017413 | 0.9868 | -0.25286 | 0.9869 | -0.25093 | 4.7839
40 | -0.015746 | -0.0039467 | 0.015747 | 0.0039469 | 3.0283e-07 | 1.755e-07 | 0.023742 | 0.023742 | 0.023742 | 0.9869 | -0.25093 | 0.98692 | -0.25053 | 6.5225
41 | -0.35525 | -0.090741 | 0.35615 | 0.091321 | 0.00090719 | 0.0005796 | 0.53208 | 0.53208 | 0.53208 | 0.99462 | -0.10186 | 0.9974 | -0.049181 | 48.7252
42 | 0.35525 | 0.090741 | -0.3548 | -0.090454 | 0.00044929 | 0.00028705 | 0.53208 | 0.53208 | 0.53208 | 0.99462 | -0.10186 | 0.99325 | -0.12805 | 48.7252
43 | -0.37188 | -0.095263 | 0.37253 | 0.095673 | 0.00064119 | 0.00040971 | 0.55555 | 0.55555 | 0.55555 | 0.9974 | -0.049181 | 0.99928 | -0.013664 | 50.8742
44 | 0.10426 | 0.026332 | -0.10403 | -0.026186 | 0.00022886 | 0.00014615 | 0.15627 | 0.15627 | 0.15627 | 0.99325 | -0.12805 | 0.99087 | -0.17397 | 42.9317
45 | 0.25053 | 0.064122 | -0.24914 | -0.06323 | 0.0013975 | 0.00089134 | 0.37581 | 0.37581 | 0.37581 | 0.99325 | -0.12805 | 0.9872 | -0.24396 | 34.4148
46 | -0.022362 | -0.0056048 | 0.022367 | 0.0056079 | 5.1777e-06 | 3.1585e-06 | 0.033716 | 0.033716 | 0.033716 | 0.98692 | -0.25053 | 0.98717 | -0.24567 | 9.2625
47 | -0.37253 | -0.095673 | 0.37277 | 0.095831 | 0.00024733 | 0.00015804 | 0.55555 | 0.55555 | 0.55555 | 0.99928 | -0.013664 | 1 | 0 | 50.8742
48 | 0.093033 | 0.023428 | -0.092868 | -0.023322 | 0.00016572 | 0.00010577 | 0.13975 | 0.13975 | 0.13975 | 0.99087 | -0.17397 | 0.98894 | -0.2113 | 38.3931
49 | 0.011001 | 0.0027577 | -0.010999 | -0.0027565 | 2.3957e-06 | 1.2318e-06 | 0.016521 | 0.016521 | 0.016521 | 0.99087 | -0.17397 | 0.99063 | -0.17854 | 4.5387
50 | 0.24106 | 0.061207 | -0.24094 | -0.06113 | 0.00012157 | 7.7522e-05 | 0.36364 | 0.36364 | 0.36364 | 0.9872 | -0.24396 | 0.98666 | -0.25444 | 33.3006
51 | -0.025447 | -0.0063798 | 0.025447 | 0.0063801 | 4.0659e-07 | 2.508e-07 | 0.038358 | 0.038358 | 0.038358 | 0.98717 | -0.24567 | 0.98719 | -0.24533 | 10.5379
52 | 0.056818 | 0.014283 | -0.056732 | -0.014228 | 8.5949e-05 | 5.4588e-05 | 0.084561 | 0.084561 | 0.084561 | 1 | 0 | 0.99835 | -0.031732 | 23.2311
53 | 0.0047875 | 0.0011998 | -0.0047874 | -0.0011998 | 7.9568e-08 | -1.9003e-09 | 0.0071912 | 0.0071912 | 0.0071912 | 0.99063 | -0.17854 | 0.99061 | -0.17889 | 1.9756
54 | 0.0062112 | 0.0015567 | -0.0062099 | -0.0015563 | 1.2998e-06 | 3.1932e-07 | 0.0093297 | 0.0093299 | 0.0093299 | 0.99063 | -0.17854 | 0.99041 | -0.18293 | 2.5632
55 | 0.041649 | 0.010452 | -0.041637 | -0.010445 | 1.1585e-05 | 7.3141e-06 | 0.062722 | 0.062722 | 0.062722 | 0.98815 | -0.22665 | 0.98785 | -0.23248 | 17.2314
56 | 0.032083 | 0.0080505 | -0.032063 | -0.0080382 | 1.9641e-05 | 1.2283e-05 | 0.04833 | 0.04833 | 0.04833 | 0.98785 | -0.23248 | 0.98719 | -0.24533 | 13.2776
57 | -0.0062089 | -0.0015561 | 0.0062099 | 0.0015563 | 9.2518e-07 | 2.2744e-07 | 0.00933 | 0.0093299 | 0.00933 | 0.99024 | -0.18606 | 0.99041 | -0.18293 | 2.5632
58 | 0.028139 | 0.0070623 | -0.028111 | -0.0070453 | 2.7299e-05 | 1.6931e-05 | 0.041943 | 0.041944 | 0.041944 | 0.99835 | -0.031732 | 0.99729 | -0.052096 | 11.523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46609 | 0.11886

## res_load
| p_mw | q_mvar
0 | 0.011076 | 0.0027759
1 | 0.010666 | 0.0026732
2 | 0.036204 | 0.0090735
3 | 0.012486 | 0.0031292
4 | 0.014148 | 0.0035458
5 | 0.0056475 | 0.0014154
6 | 0.0062762 | 0.001573
7 | 0.0087497 | 0.0021929
8 | 0.046715 | 0.011708
9 | 0.0054515 | 0.0013663
10 | 0.013271 | 0.0033261
11 | 0.035001 | 0.008772
12 | 0.0089453 | 0.0022419
13 | 0.0087701 | 0.002198
14 | 0.0045575 | 0.0011422
15 | 0.0094653 | 0.0023722
16 | 0.0050148 | 0.0012568
17 | 0.0052746 | 0.0013219
18 | 0.0061558 | 0.0015428
19 | 0.007134 | 0.001788
20 | 0.011909 | 0.0029847
21 | 0.0035599 | 0.00089219
22 | 0.0042621 | 0.0010682
23 | 0.00063214 | 0.00015843
24 | 0.026366 | 0.0066079
25 | 0.0066181 | 0.0016587
26 | 0.0049297 | 0.0012355
27 | 0.0041974 | 0.001052
28 | 0.01573 | 0.0039423
29 | 0.006615 | 0.0016579
30 | 0.0080727 | 0.0020232
31 | 0.0030799 | 0.0007719
32 | 0.0052752 | 0.0013221
33 | 0.0053208 | 0.0013335
34 | 0.006615 | 0.0016579
35 | 0.0095544 | 0.0023946
36 | 0.0066159 | 0.0016581
37 | 0.0062089 | 0.0015561
38 | 0.0047874 | 0.0011998
39 | 0.028593 | 0.0071662
40 | 0.028111 | 0.0070453

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1