## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-119_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-119_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-119_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-119_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-119_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1061-119_0_3_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_1061-119_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1061-119_0_3_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_1061-119_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1061-119_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_1061-119_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1061-119_0_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1061-119_0_3_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_1061-119_0_3_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1061-119_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-119_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1061-119_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1061-119_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1061-119_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1061-119_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1061-119_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1061-119_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1061-119_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1061-119_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1061-119_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1061-119_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1061-119_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1061-119_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1061-119_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_1061-119_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1061-119_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1061-119_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1061-119_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1061-119_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1061-119_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1061-119_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1061-119_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1061-119_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1061-119_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1061-119_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1061-119_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1061-119_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1061-119_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1061-119_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1061-119_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1061-119_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_1061-119_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_1061-119_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_1061-119_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1061-119_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1061-119_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1061-119_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1061-119_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1061-119_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1061-119_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1061-119_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_1061-119_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_MV_215_0_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-119_0_3_load_0 | 0 | 0.0086257 | 0.0021618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-119_0_3_load_59 | 7 | 0.0067986 | 0.0017039 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-119_0_3_load_48 | 9 | 0.01798 | 0.0045063 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-119_0_3_load_54 | 11 | 0.0067371 | 0.0016885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-119_0_3_load_61 | 12 | 0.0071157 | 0.0017834 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-119_0_3_load_33 | 16 | 0.020342 | 0.0050982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-119_0_3_load_43 | 18 | 0.0076424 | 0.0019154 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-119_0_3_load_41 | 19 | 0.0066549 | 0.0016679 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-119_0_3_load_57 | 22 | 0.0093408 | 0.002341 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-119_0_3_load_37 | 24 | 0.0064587 | 0.0016187 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-119_0_3_load_53 | 28 | 0.010203 | 0.0025572 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-119_0_3_load_52 | 32 | 0.0068001 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-119_0_3_load_55 | 33 | 0.0071046 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-119_0_3_load_31 | 34 | 0.0043456 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-119_0_3_load_46 | 37 | 0.012709 | 0.0031852 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-119_0_3_load_49 | 40 | 0.018707 | 0.0046883 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-119_0_3_load_50 | 42 | 0.002762 | 0.00069222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-119_0_3_load_47 | 43 | 0.015256 | 0.0038236 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-119_0_3_load_45 | 44 | 0.004656 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-119_0_3_load_58 | 45 | 0.0061799 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-119_0_3_load_62 | 46 | 0.0047174 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-119_0_3_load_60 | 47 | 0.015533 | 0.0038929 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-119_0_3_load_44 | 48 | 0.0067216 | 0.0016846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-119_0_3_load_32 | 49 | 0.036774 | 0.0092164 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-119_0_3_load_35 | 50 | 0.0084801 | 0.0021253 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-119_0_3_load_36 | 51 | 0.038993 | 0.0097727 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-119_0_3_load_51 | 52 | 0.012956 | 0.003247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-119_0_3_load_56 | 53 | 0.037447 | 0.0093851 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-119_0_3_load_39 | 54 | 0.037282 | 0.0093438 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-119_0_3_load_38 | 55 | 0.013307 | 0.0033351 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-119_0_3_load_40 | 56 | 0.011174 | 0.0028005 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-119_0_3_line_0 |  | 0 | 1 | 0.025413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-119_0_3_line_1 |  | 0 | 2 | 0.0075814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-119_0_3_line_2 |  | 1 | 3 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-119_0_3_line_3 |  | 1 | 4 | 0.014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-119_0_3_line_4 |  | 2 | 5 | 0.012685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-119_0_3_line_5 |  | 3 | 8 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-119_0_3_line_6 |  | 3 | 9 | 0.03746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-119_0_3_line_7 |  | 4 | 12 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-119_0_3_line_8 |  | 4 | 13 | 0.031227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-119_0_3_line_9 |  | 5 | 45 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-119_0_3_line_10 |  | 5 | 6 | 0.037166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-119_0_3_line_11 |  | 6 | 7 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-119_0_3_line_12 |  | 8 | 10 | 0.020317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1061-119_0_3_line_13 |  | 8 | 11 | 0.0071107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1061-119_0_3_line_14 |  | 9 | 36 | 0.029649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-119_0_3_line_15 |  | 11 | 33 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1061-119_0_3_line_16 |  | 13 | 48 | 0.035499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-119_0_3_line_17 |  | 13 | 19 | 0.0060065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-119_0_3_line_18 |  | 14 | 15 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1061-119_0_3_line_19 |  | 14 | 16 | 0.013117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1061-119_0_3_line_20 |  | 15 | 33 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1061-119_0_3_line_21 |  | 15 | 31 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-119_0_3_line_22 |  | 16 | 49 | 0.0018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1061-119_0_3_line_23 |  | 17 | 18 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-119_0_3_line_24 |  | 17 | 19 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-119_0_3_line_25 |  | 20 | 21 | 0.030256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-119_0_3_line_26 |  | 20 | 22 | 0.038325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-119_0_3_line_27 |  | 21 | 23 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-119_0_3_line_28 |  | 21 | 24 | 0.061052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-119_0_3_line_29 |  | 23 | 50 | 0.0079699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-119_0_3_line_30 |  | 23 | 51 | 0.029927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-119_0_3_line_31 |  | 23 | 49 | 0.014923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1061-119_0_3_line_32 |  | 24 | 29 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-119_0_3_line_33 |  | 25 | 26 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-119_0_3_line_34 |  | 25 | 27 | 0.075864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-119_0_3_line_35 |  | 25 | 28 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-119_0_3_line_36 |  | 26 | 47 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-119_0_3_line_37 |  | 27 | 43 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-119_0_3_line_38 |  | 27 | 44 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-119_0_3_line_39 |  | 27 | 41 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-119_0_3_line_40 |  | 29 | 30 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-119_0_3_line_41 |  | 30 | 34 | 0.023014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-119_0_3_line_42 |  | 31 | 32 | 0.045962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-119_0_3_line_43 |  | 32 | 52 | 0.03488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-119_0_3_line_44 |  | 35 | 36 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-119_0_3_line_45 |  | 35 | 37 | 0.019954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-119_0_3_line_46 |  | 36 | 40 | 0.012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-119_0_3_line_47 |  | 37 | 38 | 0.032312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-119_0_3_line_48 |  | 38 | 39 | 0.029868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-119_0_3_line_49 |  | 39 | 46 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-119_0_3_line_50 |  | 41 | 42 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-119_0_3_line_51 |  | 43 | 52 | 0.034161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-119_0_3_line_52 |  | 50 | 53 | 0.0094883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-119_0_3_line_53 |  | 51 | 54 | 0.009349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-119_0_3_line_54 |  | 54 | 55 | 0.0084407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-119_0_3_line_55 |  | 55 | 56 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-119_0_3_trafo_7 | 0.63 MVA 20/0.4 kV | 57 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2667450.1772 | 1209923.2595 | 2667429.0027 | 1209909.2075
1 | 2667422.6857 | 1209905.0154 | 2667429.0027 | 1209909.2075
2 | 2667450.1772 | 1209923.2595 | 2667452.2063 | 1209924.6388 | 2667460.0209 | 1209929.9415
3 | 2667450.1772 | 1209923.2595 | 2667452.4433 | 1209920.4834 | 2667454.3526 | 1209921.6946 | 2667456.2057 | 1209919.1473 | 2667458.3519 | 1209916.2142 | 2667459.3842 | 1209914.3247
4 | 2667430.3628 | 1209894.9181 | 2667429.1828 | 1209896.428 | 2667428.8664 | 1209896.8469 | 2667426.8756 | 1209899.4816 | 2667424.9775 | 1209901.9839 | 2667423.1565 | 1209904.387 | 2667422.6857 | 1209905.0154
5 | 2667460.0209 | 1209929.9415 | 2667464.6296 | 1209933.0733 | 2667473.6511 | 1209939.1902
6 | 2667460.0209 | 1209929.9415 | 2667453.0642 | 1209929.4293 | 2667448.7871 | 1209930.5816 | 2667443.237 | 1209933.3984 | 2667426.4987 | 1209944.0334
7 | 2667474.2827 | 1209912.2474 | 2667459.3842 | 1209914.3247
8 | 2667460.2794 | 1209883.5603 | 2667460.4285 | 1209885.163 | 2667460.6654 | 1209887.7339 | 2667460.9706 | 1209890.9949 | 2667461.1805 | 1209893.2654 | 2667461.5803 | 1209897.5725 | 2667461.811 | 1209900.0211 | 2667461.9462 | 1209901.5124 | 2667461.8122 | 1209903.9457 | 2667461.7 | 1209905.8012 | 2667461.2655 | 1209907.9309 | 2667460.8557 | 1209909.8942 | 2667460.2845 | 1209912.6783 | 2667459.3842 | 1209914.3247
9 | 2667446.3774 | 1209892.9534 | 2667442.2091 | 1209893.2176 | 2667430.3628 | 1209894.9181
10 | 2667402.655 | 1209876.2937 | 2667401.4986 | 1209877.726 | 2667410.2342 | 1209883.5949 | 2667420.6436 | 1209890.6724 | 2667429.1828 | 1209896.428 | 2667430.3628 | 1209894.9181
11 | 2667402.655 | 1209876.2937 | 2667409.8463 | 1209874.874 | 2667417.6952 | 1209873.7842
12 | 2667473.6511 | 1209939.1902 | 2667474.0602 | 1209938.6389 | 2667476.2753 | 1209935.6621 | 2667477.8267 | 1209933.5784 | 2667479.0514 | 1209933.4922 | 2667481.2332 | 1209934.1283 | 2667483.8259 | 1209934.7358 | 2667485.8721 | 1209934.5922 | 2667490.0961 | 1209937.4639
13 | 2667473.6511 | 1209939.1902 | 2667479.5348 | 1209943.1832
14 | 2667402.4462 | 1209961.366 | 2667425.3222 | 1209944.7808 | 2667426.4987 | 1209944.0334
15 | 2667479.5348 | 1209943.1832 | 2667494.9307 | 1209953.6318
16 | 2667460.2794 | 1209883.5603 | 2667466.0014 | 1209885.7041 | 2667467.315 | 1209885.8301 | 2667471.7651 | 1209885.5135 | 2667473.7544 | 1209885.7028 | 2667479.2141 | 1209886.8541 | 2667483.9925 | 1209887.7532 | 2667485.3192 | 1209888.7354 | 2667488.1499 | 1209892.492 | 2667488.3526 | 1209893.3837 | 2667488.5043 | 1209894.0859 | 2667488.4456 | 1209896.5867 | 2667488.4683 | 1209897.2652
17 | 2667460.2794 | 1209883.5603 | 2667460.1436 | 1209882.1245 | 2667459.9338 | 1209879.843 | 2667459.7274 | 1209877.5792
18 | 2667508.7493 | 1209964.9474 | 2667509.2202 | 1209964.3079 | 2667512.0836 | 1209960.4712 | 2667514.0748 | 1209957.8032 | 2667515.3021 | 1209956.1494 | 2667510.5561 | 1209951.7152
19 | 2667510.5561 | 1209951.7152 | 2667513.3491 | 1209947.3775 | 2667516.8426 | 1209943.6035 | 2667519.4457 | 1209942.531
20 | 2667508.7493 | 1209964.9474 | 2667507.4209 | 1209962.1084 | 2667494.9307 | 1209953.6318
21 | 2667508.7493 | 1209964.9474 | 2667509.2503 | 1209968.3663 | 2667508.724 | 1209971.8847 | 2667507.7142 | 1209974.4749 | 2667506.2496 | 1209975.6146
22 | 2667521.1658 | 1209941.8223 | 2667519.4457 | 1209942.531
23 | 2667473.3669 | 1209860.1605 | 2667467.068 | 1209859.9558 | 2667460.3808 | 1209859.1353
24 | 2667460.3808 | 1209859.1353 | 2667460.0339 | 1209864.9349 | 2667459.1553 | 1209868.694 | 2667459.4125 | 1209874.1781 | 2667459.7106 | 1209877.3945 | 2667459.7274 | 1209877.5792
25 | 2667538.5733 | 1209968.4647 | 2667536.9046 | 1209966.1444 | 2667536.0361 | 1209964.9783 | 2667534.0817 | 1209962.3768 | 2667533.4078 | 1209961.4797 | 2667532.7488 | 1209960.6051 | 2667530.465 | 1209957.5663 | 2667529.3641 | 1209956.1085 | 2667534.3531 | 1209952.5071 | 2667541.2911 | 1209947.2713
26 | 2667538.5733 | 1209968.4647 | 2667539.7146 | 1209967.0212 | 2667561.9094 | 1209948.2052 | 2667567.6741 | 1209943.5858
27 | 2667534.9641 | 1209936.1373 | 2667538.3997 | 1209942.1799 | 2667539.3014 | 1209943.7688 | 2667541.2911 | 1209947.2713
28 | 2667541.2911 | 1209947.2713 | 2667546.213 | 1209943.558 | 2667567.5637 | 1209927.4675 | 2667586.3727 | 1209912.3267 | 2667589.2687 | 1209909.5599
29 | 2667534.9641 | 1209936.1373 | 2667542.3331 | 1209933.1013
30 | 2667534.9641 | 1209936.1373 | 2667533.5644 | 1209930.1956 | 2667532.9117 | 1209927.4198 | 2667532.5344 | 1209925.8368 | 2667532.092 | 1209923.9528 | 2667531.0042 | 1209919.3377 | 2667533.3658 | 1209916.8517 | 2667533.0055 | 1209915.1022 | 2667531.8384 | 1209909.4299 | 2667531.5041 | 1209907.8036
31 | 2667534.9641 | 1209936.1373 | 2667521.1658 | 1209941.8223
32 | 2667608.0189 | 1209890.3027 | 2667600.3347 | 1209898.9877 | 2667589.2687 | 1209909.5599
33 | 2667442.259 | 1210065.6133 | 2667445.9832 | 1210062.2645 | 2667449.0905 | 1210065.7462 | 2667449.7444 | 1210065.7313 | 2667453.9033 | 1210065.6116
34 | 2667398.8498 | 1210059.0078 | 2667402.3042 | 1210063.394 | 2667431.2593 | 1210040.8627 | 2667434.219 | 1210043.9536 | 2667438.7789 | 1210048.708 | 2667449.0856 | 1210059.4645 | 2667450.8058 | 1210061.2628 | 2667453.9033 | 1210065.6116
35 | 2667453.9033 | 1210065.6116 | 2667458.5642 | 1210065.4642 | 2667469.9614 | 1210065.1373
36 | 2667442.4175 | 1210076.4663 | 2667442.259 | 1210065.6133
37 | 2667398.8498 | 1210059.0078 | 2667415.4149 | 1210046.1455
38 | 2667398.8498 | 1210059.0078 | 2667385.5469 | 1210042.1001
39 | 2667381.5892 | 1210072.4101 | 2667398.8498 | 1210059.0078
40 | 2667613.6281 | 1209875.5794 | 2667613.9112 | 1209877.4282 | 2667613.0083 | 1209881.9763 | 2667608.835 | 1209889.3892 | 2667608.0189 | 1209890.3027
41 | 2667613.6281 | 1209875.5794 | 2667612.9711 | 1209871.1804 | 2667607.6615 | 1209861.4809 | 2667603.0563 | 1209855.5503
42 | 2667506.2496 | 1209975.6146 | 2667469.9468 | 1210003.8028
43 | 2667442.397 | 1210025.1945 | 2667469.9468 | 1210003.8028
44 | 2667402.4462 | 1209961.366 | 2667393.4568 | 1209967.8796
45 | 2667393.4568 | 1209967.8796 | 2667377.9151 | 1209980.3942
46 | 2667402.4462 | 1209961.366 | 2667409.6325 | 1209971.1421
47 | 2667354.1904 | 1210002.2465 | 2667357.9852 | 1209999.3764 | 2667361.1739 | 1209995.6546 | 2667377.5939 | 1209980.6529 | 2667377.9151 | 1209980.3942
48 | 2667336.6175 | 1210021.082 | 2667333.9145 | 1210017.4604 | 2667354.1904 | 1210002.2465
49 | 2667336.6175 | 1210021.082 | 2667346.4334 | 1210034.2565
50 | 2667381.5892 | 1210072.4101 | 2667367.7933 | 1210083.1228
51 | 2667415.4149 | 1210046.1455 | 2667442.397 | 1210025.1945
52 | 2667551.106 | 1209929.4869 | 2667542.3331 | 1209933.1013
53 | 2667533.8175 | 1209900.4467 | 2667533.8175 | 1209900.4467 | 2667531.5289 | 1209901.188 | 2667530.5489 | 1209903.1559 | 2667531.5041 | 1209907.8036
54 | 2667533.8175 | 1209900.4467 | 2667533.6374 | 1209899.5775 | 2667532.6353 | 1209894.7632 | 2667532.0544 | 1209892.1925
55 | 2667525.2028 | 1209887.2745 | 2667530.4743 | 1209886.2446 | 2667530.744 | 1209887.2594 | 2667532.0056 | 1209891.9766 | 2667532.0544 | 1209892.1925

## bus_geodata
| x | y | coords
0 | 2667429.0027 | 1209909.2075
1 | 2667450.1772 | 1209923.2595
2 | 2667422.6857 | 1209905.0154
3 | 2667460.0209 | 1209929.9415
4 | 2667459.3842 | 1209914.3247
5 | 2667430.3628 | 1209894.9181
6 | 2667402.655 | 1209876.2937
7 | 2667417.6952 | 1209873.7842
8 | 2667473.6511 | 1209939.1902
9 | 2667426.4987 | 1209944.0334
10 | 2667490.0961 | 1209937.4639
11 | 2667479.5348 | 1209943.1832
12 | 2667474.2827 | 1209912.2474
13 | 2667460.2794 | 1209883.5603
14 | 2667510.5561 | 1209951.7152
15 | 2667508.7493 | 1209964.9474
16 | 2667519.4457 | 1209942.531
17 | 2667460.3808 | 1209859.1353
18 | 2667473.3669 | 1209860.1605
19 | 2667459.7274 | 1209877.5792
20 | 2667538.5733 | 1209968.4647
21 | 2667541.2912 | 1209947.2713
22 | 2667567.6741 | 1209943.5858
23 | 2667534.9641 | 1209936.1373
24 | 2667589.2687 | 1209909.5599
25 | 2667453.9033 | 1210065.6116
26 | 2667442.259 | 1210065.6133
27 | 2667398.8498 | 1210059.0078
28 | 2667469.9614 | 1210065.1373
29 | 2667608.0189 | 1209890.3027
30 | 2667613.6281 | 1209875.5794
31 | 2667506.2496 | 1209975.6146
32 | 2667469.9468 | 1210003.8028
33 | 2667494.9307 | 1209953.6318
34 | 2667603.0563 | 1209855.5503
35 | 2667393.4568 | 1209967.8796
36 | 2667402.4462 | 1209961.366
37 | 2667377.9151 | 1209980.3942
38 | 2667354.1904 | 1210002.2465
39 | 2667336.6175 | 1210021.082
40 | 2667409.6325 | 1209971.1421
41 | 2667381.5892 | 1210072.4101
42 | 2667367.7933 | 1210083.1228
43 | 2667415.4149 | 1210046.1455
44 | 2667385.5469 | 1210042.1001
45 | 2667446.3774 | 1209892.9534
46 | 2667346.4334 | 1210034.2565
47 | 2667442.4175 | 1210076.4663
48 | 2667488.4683 | 1209897.2652
49 | 2667521.1658 | 1209941.8223
50 | 2667542.3331 | 1209933.1013
51 | 2667531.5041 | 1209907.8036
52 | 2667442.397 | 1210025.1945
53 | 2667551.106 | 1209929.4869
54 | 2667533.8175 | 1209900.4467
55 | 2667532.0544 | 1209892.1925
56 | 2667525.2028 | 1209887.2745
57 | 2667485.8721 | 1209934.5922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99485 | -0.098592 | 0.0086257 | 0.0021618
1 | 0.99536 | -0.088927 | 0 | 0
2 | 0.99476 | -0.10033 | 0 | 0
3 | 0.99589 | -0.078521 | 0 | 0
4 | 0.99498 | -0.096248 | 0 | 0
5 | 0.99461 | -0.10323 | 0 | 0
6 | 0.99438 | -0.10768 | 0 | 0
7 | 0.99429 | -0.1095 | 0.0067986 | 0.0017039
8 | 0.99746 | -0.048502 | 0 | 0
9 | 0.99404 | -0.11421 | 0.01798 | 0.0045063
10 | 1 | 0 | -0.41532 | -0.10516
11 | 0.99679 | -0.061215 | 0.0067371 | 0.0016885
12 | 0.99488 | -0.098127 | 0.0071157 | 0.0017834
13 | 0.99438 | -0.10781 | 0 | 0
14 | 0.99226 | -0.14818 | 0 | 0
15 | 0.99346 | -0.12513 | 0 | 0
16 | 0.99136 | -0.16553 | 0.020342 | 0.0050982
17 | 0.99417 | -0.11183 | 0 | 0
18 | 0.99408 | -0.11358 | 0.0076424 | 0.0019154
19 | 0.9943 | -0.10933 | 0.0066549 | 0.0016679
20 | 0.98961 | -0.19949 | 0 | 0
21 | 0.98987 | -0.19446 | 0 | 0
22 | 0.98928 | -0.20587 | 0.0093408 | 0.002341
23 | 0.9901 | -0.18988 | 0 | 0
24 | 0.98926 | -0.20621 | 0.0064587 | 0.0016187
25 | 0.98391 | -0.31004 | 0 | 0
26 | 0.9837 | -0.31409 | 0 | 0
27 | 0.98571 | -0.27495 | 0 | 0
28 | 0.98376 | -0.31299 | 0.010203 | 0.0025572
29 | 0.98916 | -0.20829 | 0 | 0
30 | 0.98909 | -0.20955 | 0 | 0
31 | 0.99273 | -0.13916 | 0 | 0
32 | 0.98984 | -0.19474 | 0.0068001 | 0.0017043
33 | 0.99509 | -0.093828 | 0.0071046 | 0.0017806
34 | 0.989 | -0.21133 | 0.0043456 | 0.0010891
35 | 0.99289 | -0.13655 | 0 | 0
36 | 0.99307 | -0.13313 | 0 | 0
37 | 0.99257 | -0.1427 | 0.012709 | 0.0031852
38 | 0.99243 | -0.1454 | 0 | 0
39 | 0.9923 | -0.14789 | 0 | 0
40 | 0.99286 | -0.13714 | 0.018707 | 0.0046883
41 | 0.98565 | -0.27603 | 0 | 0
42 | 0.98561 | -0.2769 | 0.002762 | 0.00069222
43 | 0.98635 | -0.26248 | 0.015256 | 0.0038236
44 | 0.98562 | -0.27675 | 0.004656 | 0.0011669
45 | 0.99452 | -0.10498 | 0.0061799 | 0.0015488
46 | 0.99223 | -0.14926 | 0.0047174 | 0.0011823
47 | 0.98355 | -0.31713 | 0.015533 | 0.0038929
48 | 0.99416 | -0.11202 | 0.0067216 | 0.0016846
49 | 0.99125 | -0.16777 | 0.036774 | 0.0092164
50 | 0.98977 | -0.19639 | 0.0084801 | 0.0021253
51 | 0.98733 | -0.24364 | 0.038993 | 0.0097727
52 | 0.98787 | -0.2329 | 0.012956 | 0.003247
53 | 0.98944 | -0.20271 | 0.037447 | 0.0093851
54 | 0.9868 | -0.25397 | 0.037282 | 0.0093438
55 | 0.98661 | -0.25767 | 0.013307 | 0.0033351
56 | 0.98649 | -0.25997 | 0.011174 | 0.0028005
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02161 | -0.0054168 | 0.02162 | 0.0054229 | 9.956e-06 | 6.0417e-06 | 0.032322 | 0.032322 | 0.032322 | 0.99485 | -0.098592 | 0.99536 | -0.088927 | 8.8797
1 | 0.012984 | 0.003255 | -0.012983 | -0.0032544 | 1.0723e-06 | 5.8782e-07 | 0.019421 | 0.019421 | 0.019421 | 0.99485 | -0.098592 | 0.99476 | -0.10033 | 5.3353
2 | -0.04978 | -0.012489 | 0.049805 | 0.012505 | 2.4712e-05 | 1.5661e-05 | 0.074424 | 0.074424 | 0.074424 | 0.99536 | -0.088927 | 0.99589 | -0.078521 | 20.4461
3 | 0.028161 | 0.0070661 | -0.028151 | -0.00706 | 9.826e-06 | 6.0966e-06 | 0.042102 | 0.042102 | 0.042102 | 0.99536 | -0.088927 | 0.99498 | -0.096248 | 11.5665
4 | 0.012983 | 0.0032544 | -0.012981 | -0.0032535 | 1.794e-06 | 9.8353e-07 | 0.019421 | 0.019421 | 0.019421 | 0.99476 | -0.10033 | 0.99461 | -0.10323 | 5.3353
5 | -0.10406 | -0.026153 | 0.10421 | 0.026248 | 0.00014936 | 9.5378e-05 | 0.1555 | 0.1555 | 0.1555 | 0.99589 | -0.078521 | 0.99746 | -0.048502 | 42.7203
6 | 0.054251 | 0.013648 | -0.054159 | -0.013589 | 9.2344e-05 | 5.8614e-05 | 0.081078 | 0.081078 | 0.081078 | 0.99589 | -0.078521 | 0.99404 | -0.11421 | 22.2742
7 | 0.0071164 | 0.0017836 | -0.0071157 | -0.0017834 | 6.3714e-07 | 2.1297e-07 | 0.010643 | 0.010643 | 0.010643 | 0.99498 | -0.096248 | 0.99488 | -0.098127 | 2.9239
8 | 0.021034 | 0.0052764 | -0.021023 | -0.0052694 | 1.1589e-05 | 7.0119e-06 | 0.031459 | 0.031459 | 0.031459 | 0.99498 | -0.096248 | 0.99438 | -0.10781 | 8.6427
9 | 0.0061804 | 0.001549 | -0.0061799 | -0.0015488 | 5.1615e-07 | 1.2142e-07 | 0.0092464 | 0.0092465 | 0.0092465 | 0.99461 | -0.10323 | 0.99452 | -0.10498 | 2.5402
10 | 0.0068006 | 0.0017045 | -0.0067992 | -0.0017041 | 1.4428e-06 | 4.4112e-07 | 0.010174 | 0.010174 | 0.010174 | 0.99461 | -0.10323 | 0.99438 | -0.10768 | 2.7952
11 | 0.0067992 | 0.0017041 | -0.0067986 | -0.0017039 | 5.9053e-07 | 1.8062e-07 | 0.010174 | 0.010174 | 0.010174 | 0.99438 | -0.10768 | 0.99429 | -0.1095 | 2.7952
12 | -0.41271 | -0.10455 | 0.41367 | 0.10516 | 0.00096393 | 0.00061612 | 0.61608 | 0.61608 | 0.61608 | 0.99746 | -0.048502 | 1 | 0 | 56.4175
13 | 0.3085 | 0.0783 | -0.30832 | -0.07818 | 0.00018855 | 0.00012039 | 0.46058 | 0.46058 | 0.46058 | 0.99746 | -0.048502 | 0.99679 | -0.061215 | 42.1774
14 | 0.036179 | 0.0090831 | -0.036146 | -0.0090626 | 3.2618e-05 | 2.0491e-05 | 0.054163 | 0.054163 | 0.054163 | 0.99404 | -0.11421 | 0.99307 | -0.13313 | 14.8799
15 | 0.30158 | 0.076492 | -0.30111 | -0.07619 | 0.00047207 | 0.0003014 | 0.45052 | 0.45052 | 0.45052 | 0.99679 | -0.061215 | 0.99509 | -0.093828 | 41.2565
16 | 0.006723 | 0.001685 | -0.0067216 | -0.0016846 | 1.3474e-06 | 4.0193e-07 | 0.01006 | 0.010061 | 0.010061 | 0.99438 | -0.10781 | 0.99416 | -0.11202 | 2.7639
17 | 0.0143 | 0.0035844 | -0.014299 | -0.0035838 | 1.0314e-06 | 5.8221e-07 | 0.021399 | 0.021399 | 0.021399 | 0.99438 | -0.10781 | 0.9943 | -0.10933 | 5.8788
18 | -0.22467 | -0.056583 | 0.22491 | 0.056741 | 0.00024796 | 0.00015801 | 0.33701 | 0.33701 | 0.33701 | 0.99226 | -0.14818 | 0.99346 | -0.12513 | 30.862
19 | 0.22467 | 0.056583 | -0.22448 | -0.056464 | 0.00018623 | 0.00011868 | 0.33701 | 0.33701 | 0.33701 | 0.99226 | -0.14818 | 0.99136 | -0.16553 | 30.862
20 | -0.29356 | -0.074128 | 0.294 | 0.07441 | 0.00044094 | 0.00028149 | 0.4399 | 0.4399 | 0.4399 | 0.99346 | -0.12513 | 0.99509 | -0.093828 | 40.2836
21 | 0.068646 | 0.017387 | -0.0686 | -0.017358 | 4.6232e-05 | 2.9438e-05 | 0.10288 | 0.10288 | 0.10288 | 0.99346 | -0.12513 | 0.99273 | -0.13916 | 28.2649
22 | 0.20414 | 0.051366 | -0.20412 | -0.051352 | 2.1844e-05 | 1.3908e-05 | 0.30648 | 0.30648 | 0.30648 | 0.99136 | -0.16553 | 0.99125 | -0.16777 | 28.066
23 | 0.007643 | 0.0019156 | -0.0076424 | -0.0019154 | 6.3807e-07 | 2.3979e-07 | 0.01144 | 0.01144 | 0.01144 | 0.99417 | -0.11183 | 0.99408 | -0.11358 | 3.1428
24 | -0.007643 | -0.0019156 | 0.0076439 | 0.0019159 | 9.1161e-07 | 3.4253e-07 | 0.01144 | 0.01144 | 0.01144 | 0.99417 | -0.11183 | 0.9943 | -0.10933 | 3.1428
25 | -0.0093437 | -0.0023424 | 0.0093459 | 0.0023434 | 2.2396e-06 | 1.0445e-06 | 0.01405 | 0.01405 | 0.01405 | 0.98961 | -0.19949 | 0.98987 | -0.19446 | 3.8598
26 | 0.0093437 | 0.0023424 | -0.0093408 | -0.002341 | 2.837e-06 | 1.3234e-06 | 0.01405 | 0.01405 | 0.01405 | 0.98961 | -0.19949 | 0.98928 | -0.20587 | 3.8599
27 | -0.020157 | -0.0050541 | 0.020162 | 0.0050568 | 4.4071e-06 | 2.656e-06 | 0.030302 | 0.030302 | 0.030302 | 0.98987 | -0.19446 | 0.9901 | -0.18988 | 8.3248
28 | 0.010811 | 0.0027107 | -0.010805 | -0.0027076 | 6.0476e-06 | 3.0861e-06 | 0.016253 | 0.016253 | 0.016253 | 0.98987 | -0.19446 | 0.98926 | -0.20621 | 4.4651
29 | 0.045952 | 0.011526 | -0.045938 | -0.011517 | 1.4256e-05 | 9.0214e-06 | 0.069065 | 0.069065 | 0.069065 | 0.9901 | -0.18988 | 0.98977 | -0.19639 | 18.9739
30 | 0.10105 | 0.02544 | -0.10079 | -0.025275 | 0.00025898 | 0.00016536 | 0.15191 | 0.15191 | 0.15191 | 0.9901 | -0.18988 | 0.98733 | -0.24364 | 41.7335
31 | -0.16717 | -0.042023 | 0.16734 | 0.042136 | 0.00017668 | 0.00011269 | 0.25128 | 0.25128 | 0.25128 | 0.9901 | -0.18988 | 0.99125 | -0.16777 | 34.5161
32 | 0.0043467 | 0.0010889 | -0.0043462 | -0.001089 | 4.3121e-07 | -6.9371e-08 | 0.0065379 | 0.0065381 | 0.0065381 | 0.98926 | -0.20621 | 0.98916 | -0.20829 | 1.7962
33 | 0.015538 | 0.003896 | -0.015535 | -0.0038942 | 3.0007e-06 | 1.7365e-06 | 0.0235 | 0.0235 | 0.0235 | 0.98391 | -0.31004 | 0.9837 | -0.31409 | 6.456
34 | -0.025743 | -0.0064539 | 0.025786 | 0.0064805 | 4.3122e-05 | 2.6633e-05 | 0.038933 | 0.038933 | 0.038933 | 0.98391 | -0.31004 | 0.98571 | -0.27495 | 10.6959
35 | 0.010205 | 0.0025579 | -0.010203 | -0.0025572 | 1.4349e-06 | 7.1435e-07 | 0.015433 | 0.015433 | 0.015433 | 0.98391 | -0.31004 | 0.98376 | -0.31299 | 4.2399
36 | 0.015535 | 0.0038942 | -0.015533 | -0.0038929 | 2.2482e-06 | 1.3011e-06 | 0.0235 | 0.0235 | 0.0235 | 0.9837 | -0.31409 | 0.98355 | -0.31713 | 6.456
37 | -0.033205 | -0.0083393 | 0.033225 | 0.0083517 | 1.9765e-05 | 1.2382e-05 | 0.050132 | 0.050132 | 0.050132 | 0.98571 | -0.27495 | 0.98635 | -0.26248 | 13.7724
38 | 0.0046564 | 0.0011669 | -0.004656 | -0.0011669 | 3.9863e-07 | -1.9086e-08 | 0.0070292 | 0.0070293 | 0.0070293 | 0.98571 | -0.27495 | 0.98562 | -0.27675 | 1.9311
39 | 0.0027623 | 0.00069188 | -0.0027621 | -0.00069207 | 1.4224e-07 | -1.8704e-07 | 0.0041697 | 0.0041698 | 0.0041698 | 0.98571 | -0.27495 | 0.98565 | -0.27603 | 1.1456
40 | 0.0043462 | 0.001089 | -0.004346 | -0.0010891 | 2.6023e-07 | -4.1822e-08 | 0.0065381 | 0.0065381 | 0.0065381 | 0.98916 | -0.20829 | 0.98909 | -0.20955 | 1.7962
41 | 0.004346 | 0.0010891 | -0.0043456 | -0.0010891 | 3.6893e-07 | -5.9236e-08 | 0.0065381 | 0.0065382 | 0.0065382 | 0.98909 | -0.20955 | 0.989 | -0.21133 | 1.7962
42 | 0.0686 | 0.017358 | -0.068417 | -0.017241 | 0.00018244 | 0.00011617 | 0.10288 | 0.10288 | 0.10288 | 0.99273 | -0.13916 | 0.98984 | -0.19474 | 28.2649
43 | 0.061617 | 0.015537 | -0.061505 | -0.015466 | 0.00011231 | 7.1429e-05 | 0.092662 | 0.092662 | 0.092662 | 0.98984 | -0.19474 | 0.98787 | -0.2329 | 25.4566
44 | -0.017433 | -0.0043704 | 0.017436 | 0.0043721 | 2.8365e-06 | 1.672e-06 | 0.026127 | 0.026127 | 0.026127 | 0.99289 | -0.13655 | 0.99307 | -0.13313 | 7.1778
45 | 0.017433 | 0.0043704 | -0.017428 | -0.0043674 | 5.1079e-06 | 3.0111e-06 | 0.026127 | 0.026127 | 0.026127 | 0.99289 | -0.13655 | 0.99257 | -0.1427 | 7.1778
46 | 0.01871 | 0.0046905 | -0.018707 | -0.0046883 | 3.5731e-06 | 2.13e-06 | 0.028036 | 0.028036 | 0.028036 | 0.99307 | -0.13313 | 0.99286 | -0.13714 | 7.7022
47 | 0.0047189 | 0.0011822 | -0.0047183 | -0.0011823 | 6.064e-07 | -2.9485e-08 | 0.0070742 | 0.0070743 | 0.0070743 | 0.99257 | -0.1427 | 0.99243 | -0.1454 | 1.9435
48 | 0.0047183 | 0.0011823 | -0.0047177 | -0.0011823 | 5.6055e-07 | -2.7136e-08 | 0.0070743 | 0.0070745 | 0.0070745 | 0.99243 | -0.1454 | 0.9923 | -0.14789 | 1.9435
49 | 0.0047177 | 0.0011823 | -0.0047174 | -0.0011823 | 3.0806e-07 | -1.4864e-08 | 0.0070745 | 0.0070745 | 0.0070745 | 0.9923 | -0.14789 | 0.99223 | -0.14926 | 1.9436
50 | 0.0027621 | 0.00069207 | -0.002762 | -0.00069222 | 1.1389e-07 | -1.4972e-07 | 0.0041698 | 0.0041699 | 0.0041699 | 0.98565 | -0.27603 | 0.98561 | -0.2769 | 1.1456
51 | -0.048481 | -0.012175 | 0.048549 | 0.012219 | 6.8542e-05 | 4.343e-05 | 0.073147 | 0.073147 | 0.073147 | 0.98635 | -0.26248 | 0.98787 | -0.2329 | 20.0954
52 | 0.037458 | 0.0093922 | -0.037447 | -0.0093851 | 1.1285e-05 | 7.1002e-06 | 0.056316 | 0.056316 | 0.056316 | 0.98977 | -0.19639 | 0.98944 | -0.20271 | 15.4714
53 | 0.061799 | 0.015502 | -0.061769 | -0.015483 | 3.0415e-05 | 1.9346e-05 | 0.093143 | 0.093143 | 0.093143 | 0.98733 | -0.24364 | 0.9868 | -0.25397 | 25.5887
54 | 0.024487 | 0.0061389 | -0.024482 | -0.0061362 | 4.3156e-06 | 2.6542e-06 | 0.036925 | 0.036925 | 0.036925 | 0.9868 | -0.25397 | 0.98661 | -0.25767 | 10.1441
55 | 0.011175 | 0.0028011 | -0.011174 | -0.0028005 | 1.2279e-06 | 6.3866e-07 | 0.016855 | 0.016855 | 0.016855 | 0.98661 | -0.25767 | 0.98649 | -0.25997 | 4.6305

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41532 | 0.10516

## res_load
| p_mw | q_mvar
0 | 0.0086257 | 0.0021618
1 | 0.0067986 | 0.0017039
2 | 0.01798 | 0.0045063
3 | 0.0067371 | 0.0016885
4 | 0.0071157 | 0.0017834
5 | 0.020342 | 0.0050982
6 | 0.0076424 | 0.0019154
7 | 0.0066549 | 0.0016679
8 | 0.0093408 | 0.002341
9 | 0.0064587 | 0.0016187
10 | 0.010203 | 0.0025572
11 | 0.0068001 | 0.0017043
12 | 0.0071046 | 0.0017806
13 | 0.0043456 | 0.0010891
14 | 0.012709 | 0.0031852
15 | 0.018707 | 0.0046883
16 | 0.002762 | 0.00069222
17 | 0.015256 | 0.0038236
18 | 0.004656 | 0.0011669
19 | 0.0061799 | 0.0015488
20 | 0.0047174 | 0.0011823
21 | 0.015533 | 0.0038929
22 | 0.0067216 | 0.0016846
23 | 0.036774 | 0.0092164
24 | 0.0084801 | 0.0021253
25 | 0.038993 | 0.0097727
26 | 0.012956 | 0.003247
27 | 0.037447 | 0.0093851
28 | 0.037282 | 0.0093438
29 | 0.013307 | 0.0033351
30 | 0.011174 | 0.0028005

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1