## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-120_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-120_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-120_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-120_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-120_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-120_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1061-120_0_6_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_1061-120_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1061-120_0_6_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1061-120_0_6_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1061-120_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1061-120_0_6_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1061-120_0_6_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1061-120_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1061-120_0_6_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_1061-120_0_6_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_1061-120_0_6_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_1061-120_0_6_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_1061-120_0_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_1061-120_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1061-120_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1061-120_0_6_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_1061-120_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1061-120_0_6_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_1061-120_0_6_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_1061-120_0_6_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1061-120_0_6_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1061-120_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1061-120_0_6_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_1061-120_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1061-120_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1061-120_0_6_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_1061-120_0_6_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_1061-120_0_6_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_1061-120_0_6_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_1061-120_0_6_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_1061-120_0_6_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_1061-120_0_6_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1061-120_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1061-120_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1061-120_0_6_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1061-120_0_6_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_1061-120_0_6_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1061-120_0_6_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_1061-120_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_1061-120_0_6_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_1061-120_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_1061-120_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1061-120_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_1061-120_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1061-120_0_6_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_1061-120_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_1061-120_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_1061-120_0_6_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_1061-120_0_6_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_1061-120_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1061-120_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1061-120_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1061-120_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_MV_215_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-120_0_6_load_0 | 0 | 0.026915 | 0.0067455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-120_0_6_load_1 | 1 | 0.014912 | 0.0037372 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-120_0_6_load_25 | 7 | 0.014786 | 0.0037056 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-120_0_6_load_38 | 8 | 0.0098614 | 0.0024715 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-120_0_6_load_21 | 9 | 0.0091677 | 0.0022977 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-120_0_6_load_50 | 11 | 0.055791 | 0.013982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-120_0_6_load_53 | 14 | 0.026168 | 0.0065583 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-120_0_6_load_55 | 16 | 0.0088334 | 0.0022139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-120_0_6_load_59 | 17 | 0.021858 | 0.0054781 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-120_0_6_load_58 | 18 | 0.030277 | 0.0075882 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-120_0_6_load_45 | 21 | 0.010154 | 0.0025449 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-120_0_6_load_47 | 24 | 0.010169 | 0.0025486 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-120_0_6_load_37 | 26 | 0.009173 | 0.002299 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-120_0_6_load_34 | 27 | 0.0095582 | 0.0023955 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-120_0_6_load_51 | 28 | 0.011154 | 0.0027955 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-120_0_6_load_24 | 29 | 0.015436 | 0.0038686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-120_0_6_load_19 | 30 | 0.0093721 | 0.0023489 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-120_0_6_load_61 | 31 | 0.022887 | 0.0057359 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-120_0_6_load_56 | 32 | 0.03496 | 0.0087618 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-120_0_6_load_62 | 33 | 0.012006 | 0.0030091 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-120_0_6_load_49 | 35 | 0.0092187 | 0.0023104 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-120_0_6_load_48 | 36 | 0.011089 | 0.0027791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-120_0_6_load_54 | 37 | 0.027361 | 0.0068573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-120_0_6_load_43 | 40 | 0.039976 | 0.010019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-120_0_6_load_18 | 41 | 0.015178 | 0.003804 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-120_0_6_load_64 | 45 | 0.011038 | 0.0027663 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-120_0_6_load_42 | 47 | 0.014572 | 0.003652 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-120_0_6_load_40 | 49 | 0.01343 | 0.0033659 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-120_0_6_load_26 | 50 | 0.010425 | 0.0026127 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-120_0_6_load_27 | 51 | 0.0022212 | 0.00055668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-120_0_6_load_29 | 52 | 0.0032473 | 0.00081384 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-120_0_6_load_30 | 53 | 0.015169 | 0.0038016 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-120_0_6_load_33 | 54 | 0.013024 | 0.0032642 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-120_0_6_load_46 | 55 | 0.020168 | 0.0050546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-120_0_6_load_52 | 56 | 0.0095545 | 0.0023946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-120_0_6_load_39 | 57 | 0.0077533 | 0.0019432 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-120_0_6_load_41 | 58 | 0.013692 | 0.0034317 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-120_0_6_line_0 |  | 0 | 1 | 0.016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1061-120_0_6_line_1 |  | 0 | 2 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1061-120_0_6_line_2 |  | 1 | 3 | 0.019958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1061-120_0_6_line_3 |  | 2 | 4 | 0.028902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1061-120_0_6_line_4 |  | 2 | 5 | 0.0097275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-120_0_6_line_5 |  | 3 | 6 | 0.00367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1061-120_0_6_line_6 |  | 3 | 7 | 0.039833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-120_0_6_line_7 |  | 4 | 8 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1061-120_0_6_line_8 |  | 4 | 9 | 0.036151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1061-120_0_6_line_9 |  | 5 | 15 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-120_0_6_line_10 |  | 5 | 16 | 0.058285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-120_0_6_line_11 |  | 5 | 13 | 0.041137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-120_0_6_line_12 |  | 6 | 28 | 0.016936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-120_0_6_line_13 |  | 6 | 11 | 0.04841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1061-120_0_6_line_14 |  | 7 | 29 | 0.051712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-120_0_6_line_15 |  | 8 | 26 | 0.023138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1061-120_0_6_line_16 |  | 9 | 30 | 0.030157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1061-120_0_6_line_17 |  | 10 | 11 | 0.030339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1061-120_0_6_line_18 |  | 10 | 12 | 0.046484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1061-120_0_6_line_19 |  | 12 | 17 | 0.04265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-120_0_6_line_20 |  | 12 | 18 | 0.040958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-120_0_6_line_21 |  | 13 | 14 | 0.019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-120_0_6_line_22 |  | 15 | 37 | 0.038056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-120_0_6_line_23 |  | 15 | 31 | 0.0091362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-120_0_6_line_24 |  | 16 | 32 | 0.045539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-120_0_6_line_25 |  | 18 | 22 | 0.026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-120_0_6_line_26 |  | 19 | 20 | 0.014387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-120_0_6_line_27 |  | 19 | 21 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-120_0_6_line_28 |  | 20 | 24 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-120_0_6_line_29 |  | 21 | 38 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-120_0_6_line_30 |  | 22 | 23 | 0.039307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-120_0_6_line_31 |  | 23 | 40 | 0.0070817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-120_0_6_line_32 |  | 24 | 36 | 0.047742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-120_0_6_line_33 |  | 25 | 26 | 0.022574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1061-120_0_6_line_34 |  | 25 | 27 | 0.04242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1061-120_0_6_line_35 |  | 27 | 54 | 0.028976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-120_0_6_line_36 |  | 28 | 56 | 0.021796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-120_0_6_line_37 |  | 30 | 41 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1061-120_0_6_line_38 |  | 33 | 34 | 0.013901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-120_0_6_line_39 |  | 34 | 44 | 0.007813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-120_0_6_line_40 |  | 35 | 36 | 0.0288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-120_0_6_line_41 |  | 38 | 39 | 0.019927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-120_0_6_line_42 |  | 39 | 50 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-120_0_6_line_43 |  | 41 | 42 | 0.030193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1061-120_0_6_line_44 |  | 42 | 43 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1061-120_0_6_line_45 |  | 43 | 46 | 0.001892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-120_0_6_line_46 |  | 43 | 47 | 0.018848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-120_0_6_line_47 |  | 44 | 45 | 0.007679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-120_0_6_line_48 |  | 45 | 46 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-120_0_6_line_49 |  | 46 | 48 | 0.059502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-120_0_6_line_50 |  | 47 | 49 | 0.0052008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-120_0_6_line_51 |  | 48 | 52 | 0.040106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-120_0_6_line_52 |  | 49 | 57 | 0.016635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-120_0_6_line_53 |  | 50 | 51 | 0.031862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-120_0_6_line_54 |  | 51 | 52 | 0.016561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-120_0_6_line_55 |  | 53 | 54 | 0.025147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-120_0_6_line_56 |  | 55 | 56 | 0.061387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-120_0_6_line_57 |  | 57 | 58 | 0.0077388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-120_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 59 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2667612.7882 | 1209670.6964 | 2667624.7025 | 1209682.6301
1 | 2667591.6562 | 1209649.9581 | 2667608.9401 | 1209666.8421 | 2667612.7882 | 1209670.6964
2 | 2667639.0238 | 1209696.5234 | 2667634.1109 | 1209692.0539 | 2667624.7025 | 1209682.6301
3 | 2667591.6562 | 1209649.9581 | 2667592.5964 | 1209648.1566 | 2667604.1581 | 1209628.6866 | 2667606.4938 | 1209625.1442
4 | 2667584.7713 | 1209643.0871 | 2667588.2806 | 1209646.6623 | 2667591.6562 | 1209649.9581
5 | 2667641.7397 | 1209699.0001 | 2667639.0238 | 1209696.5234
6 | 2667639.0238 | 1209696.5234 | 2667626.3641 | 1209713.6127 | 2667620.9445 | 1209731.3692
7 | 2667606.4938 | 1209625.1442 | 2667621.2736 | 1209637.1772
8 | 2667606.4938 | 1209625.1442 | 2667624.5063 | 1209597.887 | 2667626.3412 | 1209594.93
9 | 2667584.7713 | 1209643.0871 | 2667573.627 | 1209631.7539
10 | 2667584.7713 | 1209643.0871 | 2667588.5703 | 1209635.8478 | 2667595.0526 | 1209625.2592 | 2667595.827 | 1209624.0005 | 2667615.8882 | 1209593.848
11 | 2667584.7713 | 1209643.0871 | 2667574.0973 | 1209665.3911 | 2667568.3059 | 1209680.7572
12 | 2667641.7397 | 1209699.0001 | 2667649.7343 | 1209684.0694
13 | 2667641.7397 | 1209699.0001 | 2667649.8557 | 1209705.8853 | 2667681.8222 | 1209725.9978
14 | 2667596.4409 | 1209762.597 | 2667618.803 | 1209760.367 | 2667619.3775 | 1209736.5032 | 2667620.9445 | 1209731.3692
15 | 2667639.217 | 1209651.7859 | 2667621.2736 | 1209637.1772
16 | 2667641.7105 | 1209569.0122 | 2667639.1402 | 1209574.305 | 2667626.3412 | 1209594.93
17 | 2667707.7124 | 1209741.6967 | 2667705.8567 | 1209741.1197 | 2667681.8222 | 1209725.9978
18 | 2667707.7124 | 1209741.6967 | 2667712.5979 | 1209743.2197 | 2667712.898 | 1209760.9785 | 2667717.6633 | 1209758.3532 | 2667729.3661 | 1209751.9153 | 2667727.3695 | 1209748.346 | 2667727.0194 | 1209747.7194
19 | 2667727.0194 | 1209747.7194 | 2667724.8035 | 1209748.7394 | 2667721.6488 | 1209748.0921 | 2667718.8668 | 1209746.0815 | 2667718.091 | 1209742.7706 | 2667716.8036 | 1209712.641
20 | 2667727.0194 | 1209747.7194 | 2667734.4311 | 1209744.3237 | 2667762.4353 | 1209727.2361
21 | 2667568.3059 | 1209680.7572 | 2667560.1915 | 1209678.4195 | 2667558.1317 | 1209680.4196 | 2667549.8159 | 1209678.0078
22 | 2667573.627 | 1209631.7539 | 2667544.4366 | 1209629.8668 | 2667535.8941 | 1209627.7355
23 | 2667573.627 | 1209631.7539 | 2667571.4458 | 1209629.7057 | 2667567.1664 | 1209625.297
24 | 2667615.8882 | 1209593.848 | 2667620.0546 | 1209587.5858 | 2667629.7045 | 1209571.1628 | 2667636.1603 | 1209558.2279 | 2667637.5762 | 1209553.9431
25 | 2667784.9107 | 1209713.5222 | 2667762.4353 | 1209727.2361
26 | 2667765.399 | 1209593.6934 | 2667752.8223 | 1209600.7439
27 | 2667765.399 | 1209593.6934 | 2667759.8661 | 1209579.2464
28 | 2667752.8223 | 1209600.7439 | 2667742.159 | 1209607.3158 | 2667735.5396 | 1209612.5013
29 | 2667753.0482 | 1209561.4444 | 2667759.8661 | 1209579.2464
30 | 2667784.9107 | 1209713.5222 | 2667778.3493 | 1209698.9387 | 2667775.1167 | 1209691.7642 | 2667773.5512 | 1209687.7217 | 2667772.495 | 1209685.008 | 2667770.2129 | 1209677.1328
31 | 2667770.2129 | 1209677.1328 | 2667767.1461 | 1209670.7496
32 | 2667735.5396 | 1209612.5013 | 2667734.129 | 1209613.6063 | 2667726.8034 | 1209621.4614 | 2667720.7046 | 1209629.0524 | 2667714.3857 | 1209641.2994 | 2667710.4787 | 1209652.3182
33 | 2667656.7231 | 1209666.0385 | 2667639.217 | 1209651.7859
34 | 2667656.7231 | 1209666.0385 | 2667663.561 | 1209652.9191 | 2667675.9168 | 1209628.2112
35 | 2667689.3483 | 1209602.5391 | 2667679.6764 | 1209620.693 | 2667675.9168 | 1209628.2112
36 | 2667649.7343 | 1209684.0694 | 2667659.1893 | 1209666.4112 | 2667660.0229 | 1209664.8547
37 | 2667649.8673 | 1209549.6548 | 2667644.6817 | 1209562.8941 | 2667641.7105 | 1209569.0122
38 | 2667641.5315 | 1209489.4353 | 2667634.9508 | 1209481.2001 | 2667632.4507 | 1209478.9564
39 | 2667645.7215 | 1209495.998 | 2667643.6077 | 1209492.0271 | 2667641.5315 | 1209489.4353
40 | 2667706.9909 | 1209680.66 | 2667706.871 | 1209670.5099 | 2667707.6361 | 1209662.0356 | 2667708.8025 | 1209657.0457 | 2667710.4787 | 1209652.3182
41 | 2667744.4186 | 1209543.5577 | 2667746.2158 | 1209545.9462 | 2667753.0482 | 1209561.4444
42 | 2667744.4186 | 1209543.5577 | 2667738.1907 | 1209535.2552
43 | 2667653.2029 | 1209519.9975 | 2667653.7847 | 1209524.329 | 2667653.9665 | 1209528.4002 | 2667653.4896 | 1209534.9322 | 2667652.458 | 1209540.7685 | 2667650.8424 | 1209547.1653 | 2667649.8673 | 1209549.6548
44 | 2667660.1337 | 1209501.3757 | 2667655.0918 | 1209519.6632 | 2667653.2029 | 1209519.9975
45 | 2667658.8266 | 1209500.0045 | 2667660.1337 | 1209501.3757
46 | 2667660.1337 | 1209501.3757 | 2667672.528 | 1209514.4354 | 2667673.1147 | 1209515.0412
47 | 2667651.1875 | 1209490.5899 | 2667645.7215 | 1209495.998
48 | 2667658.8266 | 1209500.0045 | 2667654.6623 | 1209502.57 | 2667652.0216 | 1209491.4443 | 2667651.1875 | 1209490.5899
49 | 2667658.8266 | 1209500.0045 | 2667672.6136 | 1209491.4778 | 2667678.081 | 1209485.9475 | 2667681.911 | 1209471.9712 | 2667680.4156 | 1209469.108 | 2667682.2051 | 1209464.1474 | 2667684.8639 | 1209462.9546 | 2667694.2338 | 1209460.5149
50 | 2667676.733 | 1209518.7769 | 2667673.1147 | 1209515.0412
51 | 2667694.2338 | 1209460.5149 | 2667697.6852 | 1209481.2558 | 2667709.1341 | 1209496.5187
52 | 2667688.9604 | 1209530.046 | 2667678.952 | 1209521.0679 | 2667676.733 | 1209518.7769
53 | 2667719.0715 | 1209509.7666 | 2667738.1907 | 1209535.2552
54 | 2667719.0715 | 1209509.7666 | 2667709.1341 | 1209496.5187
55 | 2667689.3483 | 1209602.5391 | 2667695.1788 | 1209591.5953 | 2667699.6409 | 1209584.8862 | 2667703.0745 | 1209581.6916
56 | 2667689.0063 | 1209610.7402 | 2667660.0229 | 1209664.8547
57 | 2667691.6127 | 1209535.4203 | 2667693.061 | 1209533.7245 | 2667688.9604 | 1209530.046

## bus_geodata
| x | y | coords
0 | 2667612.7882 | 1209670.6964
1 | 2667624.7025 | 1209682.6301
2 | 2667591.6562 | 1209649.9581
3 | 2667639.0238 | 1209696.5234
4 | 2667606.4938 | 1209625.1442
5 | 2667584.7713 | 1209643.0871
6 | 2667641.7397 | 1209699.0002
7 | 2667620.9445 | 1209731.3692
8 | 2667621.2736 | 1209637.1772
9 | 2667626.3412 | 1209594.93
10 | 2667707.7124 | 1209741.6967
11 | 2667681.8222 | 1209725.9978
12 | 2667727.0194 | 1209747.7194
13 | 2667568.3059 | 1209680.7572
14 | 2667549.8159 | 1209678.0078
15 | 2667573.627 | 1209631.7539
16 | 2667615.8882 | 1209593.848
17 | 2667716.8036 | 1209712.641
18 | 2667762.4353 | 1209727.2361
19 | 2667765.399 | 1209593.6934
20 | 2667752.8223 | 1209600.7439
21 | 2667759.8661 | 1209579.2464
22 | 2667784.9107 | 1209713.5222
23 | 2667770.2129 | 1209677.1328
24 | 2667735.5396 | 1209612.5013
25 | 2667656.7231 | 1209666.0385
26 | 2667639.217 | 1209651.7859
27 | 2667675.9168 | 1209628.2112
28 | 2667649.7343 | 1209684.0694
29 | 2667596.4409 | 1209762.597
30 | 2667641.7105 | 1209569.0122
31 | 2667567.1664 | 1209625.297
32 | 2667637.5762 | 1209553.9431
33 | 2667632.4507 | 1209478.9564
34 | 2667641.5315 | 1209489.4353
35 | 2667706.9909 | 1209680.66
36 | 2667710.4787 | 1209652.3182
37 | 2667535.8941 | 1209627.7355
38 | 2667753.0482 | 1209561.4444
39 | 2667744.4186 | 1209543.5577
40 | 2667767.1461 | 1209670.7496
41 | 2667649.8673 | 1209549.6548
42 | 2667653.2029 | 1209519.9975
43 | 2667660.1337 | 1209501.3757
44 | 2667645.7215 | 1209495.998
45 | 2667651.1875 | 1209490.5899
46 | 2667658.8266 | 1209500.0045
47 | 2667673.1147 | 1209515.0412
48 | 2667694.2338 | 1209460.5149
49 | 2667676.733 | 1209518.7769
50 | 2667738.1907 | 1209535.2552
51 | 2667719.0715 | 1209509.7666
52 | 2667709.1341 | 1209496.5187
53 | 2667703.0745 | 1209581.6916
54 | 2667689.3483 | 1209602.5391
55 | 2667689.0063 | 1209610.7402
56 | 2667660.0229 | 1209664.8547
57 | 2667688.9604 | 1209530.046
58 | 2667691.6127 | 1209535.4203
59 | 2667656.7231 | 1209666.0385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98548 | -0.27767 | 0.026915 | 0.0067455
1 | 0.98475 | -0.29184 | 0.014912 | 0.0037372
2 | 0.98691 | -0.24999 | 0 | 0
3 | 0.98394 | -0.30757 | 0 | 0
4 | 0.98894 | -0.21065 | 0 | 0
5 | 0.98583 | -0.27094 | 0 | 0
6 | 0.98381 | -0.31007 | 0 | 0
7 | 0.98283 | -0.32927 | 0.014786 | 0.0037056
8 | 0.99086 | -0.17378 | 0.0098614 | 0.0024715
9 | 0.98785 | -0.23165 | 0.0091677 | 0.0022977
10 | 0.98197 | -0.34599 | 0 | 0
11 | 0.98249 | -0.33589 | 0.055791 | 0.013982
12 | 0.97998 | -0.38477 | 0 | 0
13 | 0.98484 | -0.29027 | 0 | 0
14 | 0.98436 | -0.29966 | 0.026168 | 0.0065583
15 | 0.9851 | -0.28525 | 0 | 0
16 | 0.98347 | -0.31683 | 0.0088334 | 0.0022139
17 | 0.97911 | -0.4017 | 0.021858 | 0.0054781
18 | 0.9773 | -0.43713 | 0.030277 | 0.0075882
19 | 0.97248 | -0.53111 | 0 | 0
20 | 0.97208 | -0.53919 | 0 | 0
21 | 0.97293 | -0.52242 | 0.010154 | 0.0025449
22 | 0.97632 | -0.45636 | 0 | 0
23 | 0.97486 | -0.48514 | 0 | 0
24 | 0.97148 | -0.55097 | 0.010169 | 0.0025486
25 | 0.99558 | -0.083605 | 0 | 0
26 | 0.99323 | -0.1284 | 0.009173 | 0.002299
27 | 1 | 0 | -0.60245 | -0.15435
28 | 0.98317 | -0.32254 | 0.011154 | 0.0027955
29 | 0.98209 | -0.34368 | 0.015436 | 0.0038686
30 | 0.98699 | -0.24821 | 0.0093721 | 0.0023489
31 | 0.9849 | -0.28901 | 0.022887 | 0.0057359
32 | 0.982 | -0.34556 | 0.03496 | 0.0087618
33 | 0.98169 | -0.35106 | 0.012006 | 0.0030091
34 | 0.98185 | -0.34804 | 0 | 0
35 | 0.97033 | -0.5738 | 0.0092187 | 0.0023104
36 | 0.97057 | -0.56889 | 0.011089 | 0.0027791
37 | 0.98414 | -0.30397 | 0.027361 | 0.0068573
38 | 0.97365 | -0.50817 | 0 | 0
39 | 0.9744 | -0.49329 | 0 | 0
40 | 0.9746 | -0.49033 | 0.039976 | 0.010019
41 | 0.98559 | -0.27536 | 0.015178 | 0.003804
42 | 0.98378 | -0.31038 | 0 | 0
43 | 0.98253 | -0.33467 | 0 | 0
44 | 0.98193 | -0.34635 | 0 | 0
45 | 0.98202 | -0.34468 | 0.011038 | 0.0027663
46 | 0.98239 | -0.33739 | 0 | 0
47 | 0.98167 | -0.35151 | 0.014572 | 0.003652
48 | 0.97925 | -0.39834 | 0 | 0
49 | 0.9815 | -0.3548 | 0.01343 | 0.0033659
50 | 0.9748 | -0.48555 | 0.010425 | 0.0026127
51 | 0.97632 | -0.45576 | 0.0022212 | 0.00055668
52 | 0.97714 | -0.43963 | 0.0032473 | 0.00081384
53 | 0.99891 | -0.02091 | 0.015169 | 0.0038016
54 | 0.99926 | -0.014249 | 0.013024 | 0.0032642
55 | 0.98143 | -0.35661 | 0.020168 | 0.0050546
56 | 0.98257 | -0.33423 | 0.0095545 | 0.0023946
57 | 0.98117 | -0.36125 | 0.0077533 | 0.0019432
58 | 0.98108 | -0.36317 | 0.013692 | 0.0034317
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.23506 | 0.059345 | -0.2349 | -0.059244 | 0.00015946 | 0.00010098 | 0.35508 | 0.35508 | 0.35508 | 0.98548 | -0.27767 | 0.98475 | -0.29184 | 19.5099
1 | -0.26197 | -0.066091 | 0.26232 | 0.066311 | 0.00034774 | 0.00022066 | 0.39572 | 0.39572 | 0.39572 | 0.98548 | -0.27767 | 0.98691 | -0.24999 | 21.7429
2 | 0.21999 | 0.055507 | -0.21982 | -0.055402 | 0.00016554 | 0.00010467 | 0.33255 | 0.33255 | 0.33255 | 0.98475 | -0.29184 | 0.98394 | -0.30757 | 18.2719
3 | -0.38289 | -0.096668 | 0.38362 | 0.097129 | 0.00072308 | 0.00046092 | 0.57756 | 0.57756 | 0.57756 | 0.98691 | -0.24999 | 0.98894 | -0.21065 | 31.7342
4 | 0.12057 | 0.030357 | -0.12045 | -0.03028 | 0.00012062 | 7.7074e-05 | 0.18184 | 0.18184 | 0.18184 | 0.98691 | -0.24999 | 0.98583 | -0.27094 | 49.9569
5 | 0.18956 | 0.047802 | -0.18954 | -0.047788 | 2.2637e-05 | 1.4254e-05 | 0.28678 | 0.28678 | 0.28678 | 0.98394 | -0.30757 | 0.98381 | -0.31007 | 15.7569
6 | 0.030264 | 0.0075999 | -0.030232 | -0.0075804 | 3.1296e-05 | 1.9524e-05 | 0.045773 | 0.045773 | 0.045773 | 0.98394 | -0.30757 | 0.98283 | -0.32927 | 12.5751
7 | -0.5478 | -0.13883 | 0.54877 | 0.13945 | 0.00097241 | 0.00062112 | 0.8248 | 0.8248 | 0.8248 | 0.98894 | -0.21065 | 0.99086 | -0.17378 | 45.3186
8 | 0.16418 | 0.041701 | -0.16402 | -0.041597 | 0.00016573 | 0.00010375 | 0.24724 | 0.24724 | 0.24724 | 0.98894 | -0.21065 | 0.98785 | -0.23165 | 13.5844
9 | 0.05031 | 0.012633 | -0.050276 | -0.012611 | 3.4333e-05 | 2.1771e-05 | 0.075947 | 0.075947 | 0.075947 | 0.98583 | -0.27094 | 0.9851 | -0.28525 | 20.8646
10 | 0.043938 | 0.011067 | -0.043841 | -0.011006 | 9.619e-05 | 6.082e-05 | 0.066339 | 0.066339 | 0.066339 | 0.98583 | -0.27094 | 0.98347 | -0.31683 | 18.2251
11 | 0.026204 | 0.0065805 | -0.02618 | -0.0065656 | 2.4138e-05 | 1.4925e-05 | 0.039557 | 0.039557 | 0.039557 | 0.98583 | -0.27094 | 0.98484 | -0.29027 | 10.8673
12 | 0.040939 | 0.010283 | -0.040915 | -0.010268 | 2.4358e-05 | 1.5374e-05 | 0.061929 | 0.061929 | 0.061929 | 0.98381 | -0.31007 | 0.98317 | -0.32254 | 17.0134
13 | 0.1486 | 0.037505 | -0.14841 | -0.03739 | 0.00018356 | 0.00011441 | 0.22485 | 0.22485 | 0.22485 | 0.98381 | -0.31007 | 0.98249 | -0.33589 | 12.3543
14 | 0.015447 | 0.0038748 | -0.015436 | -0.0038686 | 1.0607e-05 | 6.1337e-06 | 0.023388 | 0.023388 | 0.023388 | 0.98283 | -0.32927 | 0.98209 | -0.34368 | 6.4252
15 | -0.55863 | -0.14192 | 0.55986 | 0.1427 | 0.0012233 | 0.00078143 | 0.83961 | 0.83961 | 0.83961 | 0.99086 | -0.17378 | 0.99323 | -0.1284 | 46.1322
16 | 0.15485 | 0.0393 | -0.15473 | -0.039223 | 0.00012324 | 7.6946e-05 | 0.23343 | 0.23343 | 0.23343 | 0.98785 | -0.23165 | 0.98699 | -0.24821 | 12.8257
17 | -0.092578 | -0.023381 | 0.092623 | 0.023408 | 4.4823e-05 | 2.6766e-05 | 0.14035 | 0.14035 | 0.14035 | 0.98197 | -0.34599 | 0.98249 | -0.33589 | 7.7116
18 | 0.092578 | 0.023381 | -0.092406 | -0.023272 | 0.00017169 | 0.00010871 | 0.14035 | 0.14035 | 0.14035 | 0.98197 | -0.34599 | 0.97998 | -0.38477 | 19.2791
19 | 0.021876 | 0.0054889 | -0.021858 | -0.0054781 | 1.7649e-05 | 1.0758e-05 | 0.033219 | 0.033219 | 0.033219 | 0.97998 | -0.38477 | 0.97911 | -0.4017 | 9.126
20 | 0.070531 | 0.017783 | -0.070354 | -0.017671 | 0.00017629 | 0.00011231 | 0.10713 | 0.10713 | 0.10713 | 0.97998 | -0.38477 | 0.9773 | -0.43713 | 29.4323
21 | 0.02618 | 0.0065656 | -0.026168 | -0.0065583 | 1.172e-05 | 7.2471e-06 | 0.039557 | 0.039557 | 0.039557 | 0.98484 | -0.29027 | 0.98436 | -0.29966 | 10.8673
22 | 0.027385 | 0.0068724 | -0.027361 | -0.0068573 | 2.4424e-05 | 1.5147e-05 | 0.04137 | 0.04137 | 0.04137 | 0.9851 | -0.28525 | 0.98414 | -0.30397 | 11.3653
23 | 0.022891 | 0.0057384 | -0.022887 | -0.0057359 | 4.0962e-06 | 2.5053e-06 | 0.034578 | 0.034578 | 0.034578 | 0.9851 | -0.28525 | 0.9849 | -0.28901 | 9.4994
24 | 0.035008 | 0.0087919 | -0.03496 | -0.0087618 | 4.7923e-05 | 3.0094e-05 | 0.052974 | 0.052974 | 0.052974 | 0.98347 | -0.31683 | 0.982 | -0.34556 | 14.5534
25 | 0.040077 | 0.010083 | -0.04004 | -0.01006 | 3.678e-05 | 2.321e-05 | 0.061034 | 0.061034 | 0.061034 | 0.9773 | -0.43713 | 0.97632 | -0.45636 | 16.7677
26 | 0.030525 | 0.0076678 | -0.030513 | -0.0076604 | 1.1773e-05 | 7.3563e-06 | 0.046713 | 0.046713 | 0.046713 | 0.97248 | -0.53111 | 0.97208 | -0.53919 | 12.8334
27 | -0.030525 | -0.0076678 | 0.030538 | 0.0076757 | 1.2659e-05 | 7.9099e-06 | 0.046713 | 0.046713 | 0.046713 | 0.97248 | -0.53111 | 0.97293 | -0.52242 | 12.8334
28 | 0.030513 | 0.0076604 | -0.030496 | -0.0076497 | 1.7131e-05 | 1.0704e-05 | 0.046713 | 0.046714 | 0.046714 | 0.97208 | -0.53919 | 0.97148 | -0.55097 | 12.8334
29 | -0.040692 | -0.010221 | 0.04072 | 0.010238 | 2.7695e-05 | 1.7488e-05 | 0.062243 | 0.062243 | 0.062243 | 0.97293 | -0.52242 | 0.97365 | -0.50817 | 17.0998
30 | 0.04004 | 0.01006 | -0.039985 | -0.010025 | 5.491e-05 | 3.4651e-05 | 0.061034 | 0.061035 | 0.061035 | 0.97632 | -0.45636 | 0.97486 | -0.48514 | 16.7677
31 | 0.039985 | 0.010025 | -0.039976 | -0.010019 | 9.8928e-06 | 6.2431e-06 | 0.061035 | 0.061035 | 0.061035 | 0.97486 | -0.48514 | 0.9746 | -0.49033 | 16.7678
32 | 0.020327 | 0.0051011 | -0.02031 | -0.0050906 | 1.7358e-05 | 1.0519e-05 | 0.031137 | 0.031138 | 0.031138 | 0.97148 | -0.55097 | 0.97057 | -0.56889 | 8.5543
33 | 0.57026 | 0.14579 | -0.56903 | -0.145 | 0.0012329 | 0.0007876 | 0.85335 | 0.85335 | 0.85335 | 0.99558 | -0.083605 | 0.99323 | -0.1284 | 46.8873
34 | -0.57026 | -0.14579 | 0.57258 | 0.14727 | 0.0023167 | 0.0014799 | 0.85335 | 0.85335 | 0.85335 | 0.99558 | -0.083605 | 1 | 0 | 46.8872
35 | 0.028217 | 0.0070804 | -0.028198 | -0.0070685 | 1.9158e-05 | 1.1881e-05 | 0.04199 | 0.04199 | 0.04199 | 1 | 0 | 0.99926 | -0.014249 | 11.5358
36 | 0.029761 | 0.0074725 | -0.029744 | -0.0074621 | 1.6586e-05 | 1.0339e-05 | 0.045047 | 0.045047 | 0.045047 | 0.98317 | -0.32254 | 0.98257 | -0.33423 | 12.3756
37 | 0.14535 | 0.036874 | -0.14516 | -0.036753 | 0.00018954 | 0.00012077 | 0.2193 | 0.2193 | 0.2193 | 0.98699 | -0.24821 | 0.98559 | -0.27536 | 30.1235
38 | -0.012006 | -0.0030091 | 0.012008 | 0.00301 | 1.7265e-06 | 9.2917e-07 | 0.018199 | 0.018199 | 0.018199 | 0.98169 | -0.35106 | 0.98185 | -0.34804 | 4.9997
39 | -0.012008 | -0.00301 | 0.012009 | 0.0030105 | 9.7037e-07 | 5.2222e-07 | 0.018199 | 0.018199 | 0.018199 | 0.98185 | -0.34804 | 0.98193 | -0.34635 | 4.9997
40 | -0.0092187 | -0.0023104 | 0.0092209 | 0.0023115 | 2.1584e-06 | 1.0256e-06 | 0.014137 | 0.014137 | 0.014137 | 0.97033 | -0.5738 | 0.97057 | -0.56889 | 3.8838
41 | -0.04072 | -0.010238 | 0.040749 | 0.010256 | 2.895e-05 | 1.828e-05 | 0.062243 | 0.062243 | 0.062243 | 0.97365 | -0.50817 | 0.9744 | -0.49329 | 17.0998
42 | -0.040749 | -0.010256 | 0.040764 | 0.010266 | 1.5078e-05 | 9.5209e-06 | 0.062243 | 0.062243 | 0.062243 | 0.9744 | -0.49329 | 0.9748 | -0.48555 | 17.0998
43 | 0.12999 | 0.032949 | -0.12977 | -0.03281 | 0.00021833 | 0.00013897 | 0.19638 | 0.19638 | 0.19638 | 0.98559 | -0.27536 | 0.98378 | -0.31038 | 26.9758
44 | 0.12977 | 0.03281 | -0.12962 | -0.032714 | 0.00015101 | 9.6117e-05 | 0.19638 | 0.19638 | 0.19638 | 0.98378 | -0.31038 | 0.98253 | -0.33467 | 26.9758
45 | 0.080117 | 0.020288 | -0.080106 | -0.020281 | 1.0458e-05 | 6.6693e-06 | 0.12141 | 0.12141 | 0.12141 | 0.98253 | -0.33467 | 0.98239 | -0.33739 | 33.3543
46 | 0.049501 | 0.012426 | -0.049461 | -0.012401 | 3.9731e-05 | 2.5189e-05 | 0.074974 | 0.074974 | 0.074974 | 0.98253 | -0.33467 | 0.98167 | -0.35151 | 20.5974
47 | -0.012009 | -0.0030105 | 0.01201 | 0.0030111 | 9.5372e-07 | 5.1324e-07 | 0.018199 | 0.018199 | 0.018199 | 0.98193 | -0.34635 | 0.98202 | -0.34468 | 4.9997
48 | -0.023048 | -0.0057774 | 0.023056 | 0.0057823 | 8.0079e-06 | 4.9034e-06 | 0.034924 | 0.034924 | 0.034924 | 0.98202 | -0.34468 | 0.98239 | -0.33739 | 9.5945
49 | 0.05705 | 0.014499 | -0.056883 | -0.014393 | 0.0001669 | 0.00010606 | 0.086486 | 0.086486 | 0.086486 | 0.98239 | -0.33739 | 0.97925 | -0.39834 | 23.7599
50 | 0.034889 | 0.0087489 | -0.034884 | -0.0087455 | 5.455e-06 | 3.4255e-06 | 0.052887 | 0.052887 | 0.052887 | 0.98167 | -0.35151 | 0.9815 | -0.3548 | 14.5294
51 | 0.056883 | 0.014393 | -0.056771 | -0.014322 | 0.00011249 | 7.1493e-05 | 0.086486 | 0.086486 | 0.086486 | 0.97925 | -0.39834 | 0.97714 | -0.43963 | 23.7599
52 | 0.021454 | 0.0053795 | -0.021447 | -0.0053755 | 6.5994e-06 | 4.0135e-06 | 0.032526 | 0.032526 | 0.032526 | 0.9815 | -0.3548 | 0.98117 | -0.36125 | 8.9357
53 | -0.051188 | -0.012879 | 0.051261 | 0.012925 | 7.2985e-05 | 4.6313e-05 | 0.078156 | 0.078156 | 0.078156 | 0.9748 | -0.48555 | 0.97632 | -0.45576 | 21.4715
54 | -0.053482 | -0.013482 | 0.053524 | 0.013508 | 4.1292e-05 | 2.622e-05 | 0.081541 | 0.081541 | 0.081541 | 0.97632 | -0.45576 | 0.97714 | -0.43963 | 22.4014
55 | -0.015169 | -0.0038016 | 0.015173 | 0.0038044 | 4.8148e-06 | 2.7521e-06 | 0.022596 | 0.022596 | 0.022596 | 0.99891 | -0.02091 | 0.99926 | -0.014249 | 6.2076
56 | -0.020168 | -0.0050546 | 0.020189 | 0.0050676 | 2.1524e-05 | 1.2999e-05 | 0.030578 | 0.030578 | 0.030578 | 0.98143 | -0.35661 | 0.98257 | -0.33423 | 8.4006
57 | 0.013694 | 0.0034324 | -0.013692 | -0.0034317 | 1.2516e-06 | 7.0332e-07 | 0.020768 | 0.020768 | 0.020768 | 0.98117 | -0.36125 | 0.98108 | -0.36317 | 5.7054

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.612 | 0.15675

## res_load
| p_mw | q_mvar
0 | 0.026915 | 0.0067455
1 | 0.014912 | 0.0037372
2 | 0.014786 | 0.0037056
3 | 0.0098614 | 0.0024715
4 | 0.0091677 | 0.0022977
5 | 0.055791 | 0.013982
6 | 0.026168 | 0.0065583
7 | 0.0088334 | 0.0022139
8 | 0.021858 | 0.0054781
9 | 0.030277 | 0.0075882
10 | 0.010154 | 0.0025449
11 | 0.010169 | 0.0025486
12 | 0.009173 | 0.002299
13 | 0.0095582 | 0.0023955
14 | 0.011154 | 0.0027955
15 | 0.015436 | 0.0038686
16 | 0.0093721 | 0.0023489
17 | 0.022887 | 0.0057359
18 | 0.03496 | 0.0087618
19 | 0.012006 | 0.0030091
20 | 0.0092187 | 0.0023104
21 | 0.011089 | 0.0027791
22 | 0.027361 | 0.0068573
23 | 0.039976 | 0.010019
24 | 0.015178 | 0.003804
25 | 0.011038 | 0.0027663
26 | 0.014572 | 0.003652
27 | 0.01343 | 0.0033659
28 | 0.010425 | 0.0026127
29 | 0.0022212 | 0.00055668
30 | 0.0032473 | 0.00081384
31 | 0.015169 | 0.0038016
32 | 0.013024 | 0.0032642
33 | 0.020168 | 0.0050546
34 | 0.0095545 | 0.0023946
35 | 0.0077533 | 0.0019432
36 | 0.013692 | 0.0034317

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1