## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-132_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-132_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-132_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-132_0_5_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_1061-132_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-132_0_5_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1061-132_0_5_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1061-132_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-132_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1061-132_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1061-132_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1061-132_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_1061-132_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1061-132_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1061-132_0_5_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1061-132_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1061-132_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1061-132_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1061-132_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_1061-132_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1061-132_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1061-132_0_5_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1061-132_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1061-132_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1061-132_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1061-132_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1061-132_0_5_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1061-132_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1061-132_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1061-132_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1061-132_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1061-132_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1061-132_0_5_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1061-132_0_5_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1061-132_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1061-132_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_MV_216_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-132_0_5_load_0 | 0 | 0.0095453 | 0.0023923 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-132_0_5_load_3 | 2 | 0.023808 | 0.0059669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-132_0_5_load_26 | 3 | 0.016861 | 0.0042257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-132_0_5_load_22 | 5 | 0.0076209 | 0.00191 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-132_0_5_load_21 | 6 | 0.0069402 | 0.0017394 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-132_0_5_load_20 | 8 | 0.0071094 | 0.0017818 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-132_0_5_load_32 | 11 | 0.0044807 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-132_0_5_load_23 | 14 | 0.011884 | 0.0029785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-132_0_5_load_36 | 15 | 0.01646 | 0.0041253 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-132_0_5_load_27 | 18 | 0.023524 | 0.0058958 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-132_0_5_load_16 | 19 | 0.010869 | 0.0027241 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-132_0_5_load_35 | 20 | 0.038059 | 0.0095384 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-132_0_5_load_31 | 21 | 0.014031 | 0.0035166 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-132_0_5_load_37 | 23 | 0.0061606 | 0.001544 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-132_0_5_load_28 | 26 | 0.0092288 | 0.002313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-132_0_5_load_33 | 29 | 0.0044825 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-132_0_5_load_24 | 30 | 0.011531 | 0.0028901 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-132_0_5_load_39 | 32 | 0.099306 | 0.024889 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-132_0_5_load_15 | 33 | 0.01005 | 0.0025189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-132_0_5_load_19 | 34 | 0.0076305 | 0.0019124 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-132_0_5_load_25 | 35 | 0.073567 | 0.018438 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-132_0_5_line_0 |  | 0 | 1 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-132_0_5_line_1 |  | 1 | 2 | 0.044963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-132_0_5_line_2 |  | 2 | 3 | 0.030425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-132_0_5_line_3 |  | 3 | 27 | 0.0058001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-132_0_5_line_4 |  | 4 | 5 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-132_0_5_line_5 |  | 4 | 6 | 0.037375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-132_0_5_line_6 |  | 6 | 7 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-132_0_5_line_7 |  | 7 | 8 | 0.033888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-132_0_5_line_8 |  | 8 | 28 | 0.033563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-132_0_5_line_9 |  | 9 | 10 | 0.052916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-132_0_5_line_10 |  | 9 | 11 | 0.013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-132_0_5_line_11 |  | 10 | 15 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-132_0_5_line_12 |  | 10 | 12 | 0.11304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-132_0_5_line_13 |  | 11 | 29 | 0.0082117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-132_0_5_line_14 |  | 12 | 13 | 0.052896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1061-132_0_5_line_15 |  | 12 | 14 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-132_0_5_line_16 |  | 13 | 20 | 0.057309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1061-132_0_5_line_17 |  | 13 | 21 | 0.010904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-132_0_5_line_18 |  | 13 | 17 | 0.092677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-132_0_5_line_19 |  | 14 | 30 | 0.0055677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-132_0_5_line_20 |  | 15 | 22 | 0.00051669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-132_0_5_line_21 |  | 16 | 17 | 0.023504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-132_0_5_line_22 |  | 16 | 18 | 0.034014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-132_0_5_line_23 |  | 17 | 19 | 0.036378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-132_0_5_line_24 |  | 18 | 27 | 0.032906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-132_0_5_line_25 |  | 20 | 31 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-132_0_5_line_26 |  | 22 | 23 | 0.027321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-132_0_5_line_27 |  | 24 | 25 | 0.034783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-132_0_5_line_28 |  | 24 | 26 | 0.054571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-132_0_5_line_29 |  | 25 | 32 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-132_0_5_line_30 |  | 25 | 31 | 0.01503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-132_0_5_line_31 |  | 27 | 28 | 0.006136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-132_0_5_line_32 |  | 28 | 34 | 0.021771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-132_0_5_line_33 |  | 28 | 33 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-132_0_5_line_34 |  | 30 | 35 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-132_0_5_trafo_7 | 0.63 MVA 20/0.4 kV | 36 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2665597.7824 | 1210444.2116 | 2665616.0402 | 1210436.1539
1 | 2665597.7824 | 1210444.2116 | 2665593.8935 | 1210435.0076 | 2665580.278 | 1210402.796
2 | 2665580.278 | 1210402.796 | 2665568.4325 | 1210374.7719
3 | 2665566.1743 | 1210369.4295 | 2665568.4325 | 1210374.7719
4 | 2665540.7474 | 1210456.2479 | 2665541.8666 | 1210437.5296
5 | 2665540.7474 | 1210456.2479 | 2665575.4538 | 1210442.3784
6 | 2665589.8094 | 1210436.6415 | 2665575.4538 | 1210442.3784
7 | 2665589.8094 | 1210436.6415 | 2665576.3707 | 1210405.532
8 | 2665563.0609 | 1210374.7207 | 2665576.3707 | 1210405.532
9 | 2665404.0452 | 1210471.9913 | 2665404.5286 | 1210474.3536 | 2665400.1389 | 1210524.6586
10 | 2665400.1389 | 1210524.6586 | 2665395.5095 | 1210524.052 | 2665387.1246 | 1210524.2964
11 | 2665404.0452 | 1210471.9913 | 2665402.0106 | 1210472.4804 | 2665401.2638 | 1210472.6612 | 2665400.4529 | 1210470.3732 | 2665398.9164 | 1210468.4107 | 2665397.2636 | 1210467.3475 | 2665393.261 | 1210466.4142 | 2665390.0896 | 1210466.6018 | 2665386.1166 | 1210467.784
12 | 2665404.0452 | 1210471.9913 | 2665408.9069 | 1210470.8328 | 2665411.8786 | 1210470.1316 | 2665413.4371 | 1210464.5452 | 2665418.5002 | 1210451.2481 | 2665425.7988 | 1210440.6327 | 2665432.7528 | 1210432.3372 | 2665435.8521 | 1210429.714 | 2665441.5461 | 1210425.4294 | 2665465.3211 | 1210410.0473 | 2665479.4115 | 1210399.0173 | 2665481.9137 | 1210396.0874
13 | 2665387.1246 | 1210524.2964 | 2665383.3151 | 1210524.4075 | 2665378.9538 | 1210524.9934
14 | 2665481.9137 | 1210396.0874 | 2665478.6069 | 1210391.9931 | 2665482.1064 | 1210386.1501 | 2665488.1085 | 1210375.9542 | 2665494.8542 | 1210354.8041 | 2665488.339 | 1210352.887
15 | 2665481.9137 | 1210396.0874 | 2665487.9949 | 1210403.6143 | 2665489.3797 | 1210406.2423
16 | 2665488.339 | 1210352.887 | 2665480.2294 | 1210360.5138 | 2665474.9956 | 1210362.3353 | 2665466.3559 | 1210363.5524 | 2665461.3942 | 1210366.1996 | 2665453.1086 | 1210373.2464 | 2665440.262 | 1210381.7552
17 | 2665488.339 | 1210352.887 | 2665488.5718 | 1210341.9851
18 | 2665488.339 | 1210352.887 | 2665494.8542 | 1210354.8041 | 2665500.8245 | 1210356.5151 | 2665503.3726 | 1210348.0267 | 2665516.7926 | 1210291.4838 | 2665517.693 | 1210289.7704 | 2665519.0412 | 1210288.818 | 2665522.1909 | 1210288.5301 | 2665524.1986 | 1210289.1081 | 2665526.7126 | 1210292.0375
19 | 2665489.3797 | 1210406.2423 | 2665489.3797 | 1210406.2423 | 2665489.0693 | 1210408.896 | 2665488.2257 | 1210411.6663
20 | 2665386.1166 | 1210467.784 | 2665385.6214 | 1210467.9314
21 | 2665526.7126 | 1210292.0375 | 2665530.0428 | 1210290.5398 | 2665535.6192 | 1210303.1977 | 2665538.0746 | 1210308.6947
22 | 2665538.0746 | 1210308.6947 | 2665552.3571 | 1210339.565
23 | 2665526.7126 | 1210292.0375 | 2665541.3524 | 1210325.3395
24 | 2665566.1743 | 1210369.4295 | 2665552.3571 | 1210339.565
25 | 2665423.6089 | 1210376.2915 | 2665440.262 | 1210381.7552
26 | 2665385.6214 | 1210467.9314 | 2665382.3717 | 1210469.0298 | 2665363.7761 | 1210475.7858 | 2665359.9394 | 1210477.2485
27 | 2665396.0235 | 1210368.3398 | 2665411.7368 | 1210373.5597 | 2665418.6423 | 1210390.4791
28 | 2665396.0235 | 1210368.3398 | 2665388.0976 | 1210342.5705 | 2665406.0934 | 1210328.1811 | 2665410.2728 | 1210326.3354
29 | 2665411.8605 | 1210406.6369 | 2665413.2293 | 1210403.1053 | 2665418.6423 | 1210390.4791
30 | 2665423.6089 | 1210376.2915 | 2665418.6423 | 1210390.4791
31 | 2665566.1743 | 1210369.4295 | 2665563.0609 | 1210374.7207
32 | 2665563.0609 | 1210374.7207 | 2665552.0264 | 1210393.488
33 | 2665563.0609 | 1210374.7207 | 2665557.4891 | 1210362.0463
34 | 2665476.3892 | 1210433.3942 | 2665488.2257 | 1210411.6663

## bus_geodata
| x | y | coords
0 | 2665616.0402 | 1210436.1539
1 | 2665597.7824 | 1210444.2116
2 | 2665580.278 | 1210402.796
3 | 2665568.4325 | 1210374.7719
4 | 2665540.7474 | 1210456.2479
5 | 2665541.8666 | 1210437.5296
6 | 2665575.4538 | 1210442.3784
7 | 2665589.8094 | 1210436.6415
8 | 2665576.3707 | 1210405.532
9 | 2665400.1389 | 1210524.6586
10 | 2665404.0452 | 1210471.9913
11 | 2665387.1246 | 1210524.2964
12 | 2665481.9137 | 1210396.0874
13 | 2665488.339 | 1210352.887
14 | 2665489.3797 | 1210406.2423
15 | 2665386.1166 | 1210467.784
16 | 2665538.0746 | 1210308.6947
17 | 2665526.7126 | 1210292.0375
18 | 2665552.3571 | 1210339.565
19 | 2665541.3524 | 1210325.3395
20 | 2665440.262 | 1210381.7552
21 | 2665488.5718 | 1210341.9851
22 | 2665385.6214 | 1210467.9314
23 | 2665359.9394 | 1210477.2485
24 | 2665396.0235 | 1210368.3398
25 | 2665418.6423 | 1210390.4791
26 | 2665410.2728 | 1210326.3354
27 | 2665566.1743 | 1210369.4295
28 | 2665563.0609 | 1210374.7207
29 | 2665378.9538 | 1210524.9934
30 | 2665488.2257 | 1210411.6663
31 | 2665423.6089 | 1210376.2915
32 | 2665411.8605 | 1210406.6369
33 | 2665557.4891 | 1210362.0463
34 | 2665552.0264 | 1210393.488
35 | 2665476.3892 | 1210433.3942
36 | 2665478.6069 | 1210391.9931

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9741 | -0.49895 | 0.0095453 | 0.0023923
1 | 0.97428 | -0.49546 | 0 | 0
2 | 0.97468 | -0.48758 | 0.023808 | 0.0059669
3 | 0.97562 | -0.46898 | 0.016861 | 0.0042257
4 | 0.97406 | -0.49981 | 0 | 0
5 | 0.97393 | -0.50244 | 0.0076209 | 0.00191
6 | 0.97432 | -0.49458 | 0.0069402 | 0.0017394
7 | 0.97453 | -0.49045 | 0 | 0
8 | 0.97499 | -0.48139 | 0.0071094 | 0.0017818
9 | 0.99632 | -0.070766 | 0 | 0
10 | 0.99675 | -0.06244 | 0 | 0
11 | 0.99621 | -0.072821 | 0.0044807 | 0.001123
12 | 1 | 0 | -0.41959 | -0.10659
13 | 0.99537 | -0.087873 | 0 | 0
14 | 0.99888 | -0.021402 | 0.011884 | 0.0029785
15 | 0.99631 | -0.070849 | 0.01646 | 0.0041253
16 | 0.98221 | -0.3401 | 0 | 0
17 | 0.98468 | -0.29219 | 0 | 0
18 | 0.97864 | -0.40985 | 0.023524 | 0.0058958
19 | 0.98432 | -0.2993 | 0.010869 | 0.0027241
20 | 0.99151 | -0.16206 | 0.038059 | 0.0095384
21 | 0.99523 | -0.090565 | 0.014031 | 0.0035166
22 | 0.99631 | -0.070905 | 0 | 0
23 | 0.99616 | -0.073861 | 0.0061606 | 0.001544
24 | 0.98797 | -0.23065 | 0 | 0
25 | 0.98826 | -0.22492 | 0 | 0
26 | 0.9875 | -0.23964 | 0.0092288 | 0.002313
27 | 0.97589 | -0.46364 | 0 | 0
28 | 0.97567 | -0.46806 | 0 | 0
29 | 0.99618 | -0.073468 | 0.0044825 | 0.0011234
30 | 0.99845 | -0.029682 | 0.011531 | 0.0028901
31 | 0.98976 | -0.19585 | 0 | 0
32 | 0.98666 | -0.25602 | 0.099306 | 0.024889
33 | 0.97554 | -0.47061 | 0.01005 | 0.0025189
34 | 0.97552 | -0.47111 | 0.0076305 | 0.0019124
35 | 0.9968 | -0.06156 | 0.073567 | 0.018438
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0095453 | -0.0023923 | 0.0095469 | 0.0023931 | 1.5911e-06 | 7.6984e-07 | 0.014581 | 0.014581 | 0.014581 | 0.9741 | -0.49895 | 0.97428 | -0.49546 | 4.0058
1 | -0.0095469 | -0.0023931 | 0.0095505 | 0.0023948 | 3.5848e-06 | 1.7341e-06 | 0.014581 | 0.014581 | 0.014581 | 0.97428 | -0.49546 | 0.97468 | -0.48758 | 4.0058
2 | -0.033359 | -0.0083617 | 0.033388 | 0.0083803 | 2.9592e-05 | 1.8559e-05 | 0.050928 | 0.050928 | 0.050928 | 0.97468 | -0.48758 | 0.97562 | -0.46898 | 13.9913
3 | -0.050249 | -0.012606 | 0.050262 | 0.012614 | 1.2777e-05 | 8.1046e-06 | 0.076644 | 0.076644 | 0.076644 | 0.97562 | -0.46898 | 0.97589 | -0.46364 | 21.056
4 | 0.0076218 | 0.0019103 | -0.0076209 | -0.00191 | 9.5332e-07 | 3.7675e-07 | 0.011643 | 0.011644 | 0.011644 | 0.97406 | -0.49981 | 0.97393 | -0.50244 | 3.1988
5 | -0.0076218 | -0.0019103 | 0.0076237 | 0.0019111 | 1.9001e-06 | 7.5069e-07 | 0.011643 | 0.011643 | 0.011643 | 0.97406 | -0.49981 | 0.97432 | -0.49458 | 3.1988
6 | -0.014564 | -0.0036505 | 0.014567 | 0.0036521 | 2.8681e-06 | 1.643e-06 | 0.022243 | 0.022242 | 0.022243 | 0.97432 | -0.49458 | 0.97453 | -0.49045 | 6.1106
7 | -0.014567 | -0.0036521 | 0.014573 | 0.0036557 | 6.287e-06 | 3.6012e-06 | 0.022242 | 0.022242 | 0.022242 | 0.97453 | -0.49045 | 0.97499 | -0.48139 | 6.1106
8 | -0.021682 | -0.0054375 | 0.021696 | 0.0054459 | 1.3783e-05 | 8.4024e-06 | 0.033093 | 0.033092 | 0.033093 | 0.97499 | -0.48139 | 0.97567 | -0.46806 | 9.0914
9 | -0.0089641 | -0.0022467 | 0.0089677 | 0.0022483 | 3.5567e-06 | 1.5869e-06 | 0.013388 | 0.013388 | 0.013388 | 0.99632 | -0.070766 | 0.99675 | -0.06244 | 3.6781
10 | 0.0089641 | 0.0022467 | -0.0089633 | -0.0022464 | 8.7766e-07 | 3.9168e-07 | 0.013388 | 0.013388 | 0.013388 | 0.99632 | -0.070766 | 0.99621 | -0.072821 | 3.6781
11 | 0.022631 | 0.005675 | -0.022622 | -0.0056695 | 9.0655e-06 | 5.526e-06 | 0.033786 | 0.033786 | 0.033786 | 0.99675 | -0.06244 | 0.99631 | -0.070849 | 9.2819
12 | -0.031598 | -0.0079234 | 0.031693 | 0.0079823 | 9.433e-05 | 5.8893e-05 | 0.047174 | 0.047173 | 0.047174 | 0.99675 | -0.06244 | 1 | 0 | 12.9598
13 | 0.0044826 | 0.0011234 | -0.0044825 | -0.0011234 | 1.3805e-07 | -1.8561e-08 | 0.0066955 | 0.0066956 | 0.0066956 | 0.99621 | -0.072821 | 0.99618 | -0.073468 | 1.8394
14 | 0.28902 | 0.074149 | -0.28779 | -0.073366 | 0.0012264 | 0.00078281 | 0.43067 | 0.43067 | 0.43067 | 1 | 0 | 0.99537 | -0.087873 | 39.4388
15 | 0.097228 | 0.024462 | -0.097129 | -0.024399 | 9.9315e-05 | 6.3396e-05 | 0.14471 | 0.14471 | 0.14471 | 1 | 0 | 0.99888 | -0.021402 | 39.7555
16 | 0.1476 | 0.03738 | -0.14707 | -0.037046 | 0.00052381 | 0.00033376 | 0.22079 | 0.22079 | 0.22079 | 0.99537 | -0.087873 | 0.99151 | -0.16206 | 30.3282
17 | 0.014033 | 0.0035176 | -0.014031 | -0.0035166 | 1.7997e-06 | 1.0101e-06 | 0.020979 | 0.020979 | 0.020979 | 0.99537 | -0.087873 | 0.99523 | -0.090565 | 5.7635
18 | 0.12616 | 0.032469 | -0.12492 | -0.031676 | 0.0012402 | 0.00079253 | 0.1889 | 0.1889 | 0.1889 | 0.99537 | -0.087873 | 0.98468 | -0.29219 | 51.897
19 | 0.085244 | 0.02142 | -0.08521 | -0.021399 | 3.3679e-05 | 2.1482e-05 | 0.12701 | 0.12701 | 0.12701 | 0.99888 | -0.021402 | 0.99845 | -0.029682 | 34.8918
20 | 0.0061615 | 0.0015442 | -0.0061615 | -0.0015442 | 1.6408e-08 | 3.7723e-09 | 0.0092023 | 0.0092023 | 0.0092023 | 0.99631 | -0.070849 | 0.99631 | -0.070905 | 2.5281
21 | -0.11378 | -0.028783 | 0.11405 | 0.02895 | 0.00026219 | 0.0001675 | 0.17247 | 0.17247 | 0.17247 | 0.98221 | -0.3401 | 0.98468 | -0.29219 | 47.3829
22 | 0.11378 | 0.028783 | -0.1134 | -0.02854 | 0.00037944 | 0.00024241 | 0.17247 | 0.17247 | 0.17247 | 0.98221 | -0.3401 | 0.97864 | -0.40985 | 47.383
23 | 0.010873 | 0.002726 | -0.010869 | -0.0027241 | 3.6831e-06 | 1.8946e-06 | 0.016431 | 0.016431 | 0.016431 | 0.98468 | -0.29219 | 0.98432 | -0.2993 | 4.5141
24 | 0.08988 | 0.022645 | -0.089649 | -0.022497 | 0.00023061 | 0.00014718 | 0.13671 | 0.13671 | 0.13671 | 0.97864 | -0.40985 | 0.97589 | -0.46364 | 37.5564
25 | 0.10902 | 0.027507 | -0.10884 | -0.027395 | 0.00017607 | 0.00011246 | 0.16367 | 0.16367 | 0.16367 | 0.99151 | -0.16206 | 0.98976 | -0.19585 | 44.965
26 | 0.0061615 | 0.0015442 | -0.0061606 | -0.001544 | 8.6762e-07 | 1.9954e-07 | 0.0092023 | 0.0092024 | 0.0092024 | 0.99631 | -0.070905 | 0.99616 | -0.073861 | 2.5281
27 | -0.0092328 | -0.0023148 | 0.0092353 | 0.002316 | 2.5224e-06 | 1.1688e-06 | 0.013906 | 0.013906 | 0.013906 | 0.98797 | -0.23065 | 0.98826 | -0.22492 | 3.8204
28 | 0.0092328 | 0.0023148 | -0.0092288 | -0.002313 | 3.9574e-06 | 1.8343e-06 | 0.013906 | 0.013906 | 0.013906 | 0.98797 | -0.23065 | 0.9875 | -0.23964 | 3.8204
29 | 0.099454 | 0.024983 | -0.099306 | -0.024889 | 0.00014737 | 9.4095e-05 | 0.14977 | 0.14977 | 0.14977 | 0.98826 | -0.22492 | 0.98666 | -0.25602 | 41.1447
30 | -0.10869 | -0.027299 | 0.10884 | 0.027395 | 0.00015099 | 9.644e-05 | 0.16367 | 0.16367 | 0.16367 | 0.98826 | -0.22492 | 0.98976 | -0.19585 | 44.965
31 | 0.039388 | 0.0098834 | -0.039379 | -0.0098782 | 8.3006e-06 | 5.2357e-06 | 0.060061 | 0.060062 | 0.060062 | 0.97589 | -0.46364 | 0.97567 | -0.46806 | 16.5004
32 | 0.0076316 | 0.0019128 | -0.0076305 | -0.0019124 | 1.106e-06 | 4.3599e-07 | 0.011639 | 0.011639 | 0.011639 | 0.97567 | -0.46806 | 0.97552 | -0.47111 | 3.1976
33 | 0.010052 | 0.0025195 | -0.01005 | -0.0025189 | 1.2201e-06 | 6.0801e-07 | 0.01533 | 0.01533 | 0.01533 | 0.97567 | -0.46806 | 0.97554 | -0.47061 | 4.2115
34 | 0.073679 | 0.018509 | -0.073567 | -0.018438 | 0.0001119 | 7.1296e-05 | 0.10982 | 0.10982 | 0.10982 | 0.99845 | -0.029682 | 0.9968 | -0.06156 | 30.1705

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41959 | 0.10659

## res_load
| p_mw | q_mvar
0 | 0.0095453 | 0.0023923
1 | 0.023808 | 0.0059669
2 | 0.016861 | 0.0042257
3 | 0.0076209 | 0.00191
4 | 0.0069402 | 0.0017394
5 | 0.0071094 | 0.0017818
6 | 0.0044807 | 0.001123
7 | 0.011884 | 0.0029785
8 | 0.01646 | 0.0041253
9 | 0.023524 | 0.0058958
10 | 0.010869 | 0.0027241
11 | 0.038059 | 0.0095384
12 | 0.014031 | 0.0035166
13 | 0.0061606 | 0.001544
14 | 0.0092288 | 0.002313
15 | 0.0044825 | 0.0011234
16 | 0.011531 | 0.0028901
17 | 0.099306 | 0.024889
18 | 0.01005 | 0.0025189
19 | 0.0076305 | 0.0019124
20 | 0.073567 | 0.018438

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1