## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-134_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-134_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-134_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-134_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-134_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-134_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-134_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1061-134_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1061-134_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1061-134_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1061-134_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1061-134_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1061-134_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1061-134_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1061-134_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1061-134_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1061-134_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1061-134_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1061-134_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1061-134_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1061-134_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1061-134_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1061-134_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1061-134_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1061-134_0_3_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1061-134_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1061-134_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1061-134_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_1061-134_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1061-134_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1061-134_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1061-134_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1061-134_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1061-134_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1061-134_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1061-134_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1061-134_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_MV_216_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-134_0_3_load_0 | 0 | 0.0083666 | 0.0020969 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-134_0_3_load_1 | 1 | 0.01145 | 0.0028696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-134_0_3_load_2 | 2 | 0.003149 | 0.0007892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-134_0_3_load_3 | 3 | 0.012575 | 0.0031517 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-134_0_3_load_4 | 4 | 0.014292 | 0.0035819 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-134_0_3_load_5 | 5 | 0.0093788 | 0.0023505 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-134_0_3_load_29 | 7 | 0.01678 | 0.0042054 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-134_0_3_load_6 | 9 | 0.01174 | 0.0029424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-134_0_3_load_10 | 12 | 0.0090829 | 0.0022764 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-134_0_3_load_34 | 13 | 0.012311 | 0.0030854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-134_0_3_load_19 | 14 | 0.019077 | 0.0047813 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-134_0_3_load_31 | 16 | 0.0068153 | 0.0017081 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-134_0_3_load_30 | 17 | 0.0078154 | 0.0019587 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-134_0_3_load_37 | 19 | 0.010637 | 0.002666 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-134_0_3_load_32 | 22 | 0.0075813 | 0.0019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-134_0_3_load_21 | 23 | 0.0090622 | 0.0022712 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-134_0_3_load_39 | 24 | 0.0059036 | 0.0014796 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-134_0_3_load_33 | 25 | 0.010028 | 0.0025132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-134_0_3_load_20 | 26 | 0.0090519 | 0.0022686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-134_0_3_load_36 | 27 | 0.0066549 | 0.0016679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-134_0_3_load_22 | 29 | 0.0088205 | 0.0022106 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-134_0_3_load_23 | 30 | 0.010223 | 0.0025621 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-134_0_3_load_27 | 31 | 0.0070208 | 0.0017596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-134_0_3_load_25 | 32 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-134_0_3_load_26 | 33 | 0.013868 | 0.0034755 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-134_0_3_load_28 | 34 | 0.0054685 | 0.0013705 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-134_0_3_load_35 | 35 | 0.0092614 | 0.0023211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-134_0_3_load_40 | 36 | 0.0057528 | 0.0014418 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-134_0_3_line_0 |  | 0 | 1 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-134_0_3_line_1 |  | 0 | 2 | 0.0037001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-134_0_3_line_2 |  | 1 | 3 | 0.0028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-134_0_3_line_3 |  | 2 | 4 | 0.0072589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-134_0_3_line_4 |  | 3 | 5 | 0.037611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-134_0_3_line_5 |  | 4 | 6 | 0.017792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-134_0_3_line_6 |  | 6 | 7 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1061-134_0_3_line_7 |  | 6 | 8 | 0.063379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-134_0_3_line_8 |  | 7 | 31 | 0.0069077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1061-134_0_3_line_9 |  | 8 | 23 | 0.011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-134_0_3_line_10 |  | 8 | 18 | 0.17435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-134_0_3_line_11 |  | 9 | 10 | 0.0072605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-134_0_3_line_12 |  | 10 | 11 | 0.002892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-134_0_3_line_13 |  | 10 | 12 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-134_0_3_line_14 |  | 11 | 13 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-134_0_3_line_15 |  | 12 | 14 | 0.019162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-134_0_3_line_16 |  | 13 | 25 | 0.0080276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-134_0_3_line_17 |  | 14 | 26 | 0.0026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-134_0_3_line_18 |  | 15 | 16 | 0.072945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-134_0_3_line_19 |  | 15 | 17 | 0.0952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-134_0_3_line_20 |  | 16 | 27 | 0.0067954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-134_0_3_line_21 |  | 18 | 19 | 0.069733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-134_0_3_line_22 |  | 19 | 28 | 0.070735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-134_0_3_line_23 |  | 20 | 21 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-134_0_3_line_24 |  | 20 | 22 | 0.020431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-134_0_3_line_25 |  | 21 | 24 | 0.04924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-134_0_3_line_26 |  | 23 | 29 | 0.00055839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-134_0_3_line_27 |  | 24 | 28 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-134_0_3_line_28 |  | 25 | 30 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-134_0_3_line_29 |  | 27 | 35 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-134_0_3_line_30 |  | 28 | 36 | 0.026794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-134_0_3_line_31 |  | 29 | 30 | 0.018393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-134_0_3_line_32 |  | 31 | 32 | 0.023761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-134_0_3_line_33 |  | 32 | 33 | 0.0057637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-134_0_3_line_34 |  | 33 | 34 | 0.023024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-134_0_3_line_35 |  | 34 | 35 | 0.0038352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-134_0_3_trafo_27 | 0.63 MVA 20/0.4 kV | 37 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2665589.2402 | 1210789.7299 | 2665578.7781 | 1210791.5605 | 2665578.7781 | 1210791.5605
1 | 2665589.2402 | 1210789.7299 | 2665589.2402 | 1210789.7299 | 2665591.8878 | 1210787.1451
2 | 2665576.0309 | 1210790.9433 | 2665578.7781 | 1210791.5605
3 | 2665596.579 | 1210781.8305 | 2665596.4923 | 1210782.6497 | 2665591.8878 | 1210787.1451
4 | 2665576.0309 | 1210790.9433 | 2665569.6732 | 1210789.5148 | 2665561.2573 | 1210783.5631 | 2665544.5504 | 1210771.1939
5 | 2665598.4514 | 1210764.1377 | 2665596.579 | 1210781.8305
6 | 2665598.4514 | 1210764.1377 | 2665594.3433 | 1210749.4625
7 | 2665598.4514 | 1210764.1377 | 2665607.2979 | 1210762.0336 | 2665647.4459 | 1210754.5928 | 2665660.849 | 1210752.1053
8 | 2665592.4811 | 1210742.8105 | 2665594.3433 | 1210749.4625
9 | 2665660.849 | 1210752.1053 | 2665658.207 | 1210741.2915
10 | 2665660.849 | 1210752.1053 | 2665680.3858 | 1210748.1735 | 2665701.8419 | 1210743.8625 | 2665704.4688 | 1210755.1428 | 2665710.1751 | 1210778.0086 | 2665718.1753 | 1210805.1245 | 2665720.6328 | 1210814.524 | 2665721.2639 | 1210817.2548 | 2665721.3165 | 1210818.6896 | 2665721.4369 | 1210822.2487 | 2665720.7128 | 1210826.5767 | 2665679.6407 | 1210816.5184 | 2665674.7145 | 1210816.6643
11 | 2665671.012 | 1210707.7343 | 2665678.0184 | 1210705.8301
12 | 2665671.012 | 1210707.7343 | 2665668.1781 | 1210708.348
13 | 2665671.012 | 1210707.7343 | 2665668.3543 | 1210697.1774
14 | 2665668.1781 | 1210708.348 | 2665658.027 | 1210710.5373
15 | 2665663.6764 | 1210678.5955 | 2665668.3543 | 1210697.1774
16 | 2665651.2745 | 1210712.915 | 2665651.0606 | 1210712.0397 | 2665658.027 | 1210710.5373
17 | 2665663.0233 | 1210676.0013 | 2665663.6764 | 1210678.5955
18 | 2665636.7683 | 1210624.0618 | 2665599.0861 | 1210638.0227 | 2665587.1408 | 1210646.8413 | 2665581.261 | 1210656.2825 | 2665578.6947 | 1210662.5679
19 | 2665636.7683 | 1210624.0618 | 2665635.3987 | 1210619.366 | 2665634.3219 | 1210615.6964 | 2665631.2607 | 1210612.7943 | 2665625.021 | 1210611.4248 | 2665604.3333 | 1210608.7068 | 2665588.9117 | 1210606.7472 | 2665581.4138 | 1210606.4424 | 2665574.4411 | 1210607.4553 | 2665565.2259 | 1210609.9 | 2665551.0166 | 1210615.7922
20 | 2665578.6947 | 1210662.5679 | 2665577.4965 | 1210665.5023 | 2665577.0995 | 1210669.1063
21 | 2665674.7145 | 1210816.6643 | 2665670.3761 | 1210818.64 | 2665665.9074 | 1210824.172 | 2665658.2931 | 1210843.4445 | 2665655.6446 | 1210845.8613 | 2665649.3119 | 1210848.8157 | 2665642.4119 | 1210849.4624 | 2665622.803 | 1210850.3349
22 | 2665553.1916 | 1210846.0129 | 2665561.3192 | 1210849.8379 | 2665576.1635 | 1210852.4137 | 2665609.5576 | 1210850.9242 | 2665622.803 | 1210850.3349
23 | 2665611.4737 | 1210854.2918 | 2665611.7455 | 1210855.1398 | 2665613.551 | 1210861.6525 | 2665613.9098 | 1210862.8905 | 2665615.1247 | 1210867.1287 | 2665616.2517 | 1210871.0658 | 2665616.8662 | 1210873.2405 | 2665618.4251 | 1210878.6721 | 2665619.0838 | 1210880.9697 | 2665619.4644 | 1210882.2969
24 | 2665619.4644 | 1210882.2969 | 2665604.7247 | 1210886.115 | 2665599.6598 | 1210887.3115
25 | 2665611.4737 | 1210854.2918 | 2665601.2835 | 1210854.8913 | 2665577.8012 | 1210856.2118 | 2665562.3283 | 1210857.3207
26 | 2665658.0745 | 1210740.749 | 2665658.207 | 1210741.2915
27 | 2665553.1916 | 1210846.0129 | 2665552.3697 | 1210848.1941 | 2665552.3313 | 1210848.9164 | 2665552.4277 | 1210850.5184 | 2665553.3494 | 1210853.0857 | 2665554.1956 | 1210854.229 | 2665555.4882 | 1210855.5551 | 2665557.1487 | 1210856.5962 | 2665559.118 | 1210857.196 | 2665562.0651 | 1210857.3396 | 2665562.3283 | 1210857.3207
28 | 2665653.7093 | 1210722.8811 | 2665651.2745 | 1210712.915
29 | 2665577.2815 | 1210688.5141 | 2665576.1119 | 1210678.0726 | 2665577.0995 | 1210669.1063
30 | 2665533.1913 | 1210829.2274 | 2665535.821 | 1210834.0481 | 2665537.9708 | 1210836.8957 | 2665542.4715 | 1210840.2027 | 2665553.1916 | 1210846.0129
31 | 2665653.7093 | 1210722.8811 | 2665658.0745 | 1210740.749
32 | 2665592.4811 | 1210742.8105 | 2665586.0757 | 1210719.9288
33 | 2665584.5219 | 1210714.3785 | 2665586.0757 | 1210719.9288
34 | 2665584.5219 | 1210714.3785 | 2665578.3154 | 1210692.2074
35 | 2665577.2815 | 1210688.5141 | 2665577.2815 | 1210688.5141 | 2665578.3154 | 1210692.2074

## bus_geodata
| x | y | coords
0 | 2665589.2402 | 1210789.7299
1 | 2665578.7781 | 1210791.5605
2 | 2665591.8878 | 1210787.1451
3 | 2665576.0309 | 1210790.9433
4 | 2665596.579 | 1210781.8305
5 | 2665544.5504 | 1210771.1939
6 | 2665598.4514 | 1210764.1377
7 | 2665594.3433 | 1210749.4625
8 | 2665660.849 | 1210752.1053
9 | 2665678.0184 | 1210705.8301
10 | 2665671.012 | 1210707.7343
11 | 2665668.1781 | 1210708.348
12 | 2665668.3543 | 1210697.1774
13 | 2665658.027 | 1210710.5373
14 | 2665663.6764 | 1210678.5955
15 | 2665636.7683 | 1210624.0618
16 | 2665578.6947 | 1210662.5679
17 | 2665551.0166 | 1210615.7922
18 | 2665674.7145 | 1210816.6643
19 | 2665622.803 | 1210850.3349
20 | 2665619.4644 | 1210882.2969
21 | 2665611.4737 | 1210854.2918
22 | 2665599.6598 | 1210887.3115
23 | 2665658.207 | 1210741.2915
24 | 2665562.3283 | 1210857.3207
25 | 2665651.2745 | 1210712.915
26 | 2665663.0233 | 1210676.0013
27 | 2665577.0995 | 1210669.1063
28 | 2665553.1916 | 1210846.0129
29 | 2665658.0745 | 1210740.749
30 | 2665653.7093 | 1210722.8811
31 | 2665592.4811 | 1210742.8105
32 | 2665586.0757 | 1210719.9288
33 | 2665584.5219 | 1210714.3785
34 | 2665578.3154 | 1210692.2074
35 | 2665577.2815 | 1210688.5141
36 | 2665533.1913 | 1210829.2274
37 | 2665598.4514 | 1210764.1377

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99664 | -0.064349 | 0.0083666 | 0.0020969
1 | 0.99631 | -0.070577 | 0.01145 | 0.0028696
2 | 0.99678 | -0.061637 | 0.003149 | 0.0007892
3 | 0.99626 | -0.071662 | 0.012575 | 0.0031517
4 | 0.99707 | -0.055919 | 0.014292 | 0.0035819
5 | 0.99594 | -0.077859 | 0.0093788 | 0.0023505
6 | 0.99803 | -0.037467 | 0 | 0
7 | 0.99935 | -0.012366 | 0.01678 | 0.0042054
8 | 0.99049 | -0.18194 | 0 | 0
9 | 0.98625 | -0.26428 | 0.01174 | 0.0029424
10 | 0.98633 | -0.26275 | 0 | 0
11 | 0.98646 | -0.26022 | 0 | 0
12 | 0.98596 | -0.27001 | 0.0090829 | 0.0022764
13 | 0.98693 | -0.25112 | 0.012311 | 0.0030854
14 | 0.98546 | -0.27968 | 0.019077 | 0.0047813
15 | 0.9966 | -0.065469 | 0 | 0
16 | 0.99712 | -0.055464 | 0.0068153 | 0.0017081
17 | 0.99592 | -0.078537 | 0.0078154 | 0.0019587
18 | 0.98568 | -0.27497 | 0 | 0
19 | 0.98376 | -0.31243 | 0.010637 | 0.002666
20 | 0.98173 | -0.35207 | 0 | 0
21 | 0.98194 | -0.34808 | 0 | 0
22 | 0.98159 | -0.35487 | 0.0075813 | 0.0019
23 | 0.98948 | -0.20162 | 0.0090622 | 0.0022712
24 | 0.98228 | -0.34133 | 0.0059036 | 0.0014796
25 | 0.98738 | -0.24232 | 0.010028 | 0.0025132
26 | 0.98544 | -0.28012 | 0.0090519 | 0.0022686
27 | 0.99721 | -0.05372 | 0.0066549 | 0.0016679
28 | 0.98251 | -0.33697 | 0 | 0
29 | 0.98943 | -0.20252 | 0.0088205 | 0.0022106
30 | 0.98805 | -0.22925 | 0.010223 | 0.0025621
31 | 1 | 0 | -0.26883 | -0.067734
32 | 0.99871 | -0.024846 | 0.010025 | 0.0025125
33 | 0.99844 | -0.029872 | 0.013868 | 0.0034755
34 | 0.99769 | -0.044384 | 0.0054685 | 0.0013705
35 | 0.99758 | -0.046436 | 0.0092614 | 0.0023211
36 | 0.98236 | -0.33975 | 0.0057528 | 0.0014418
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.033418 | 0.00838 | -0.033408 | -0.0083737 | 9.9157e-06 | 6.2077e-06 | 0.049895 | 0.049895 | 0.049895 | 0.99664 | -0.064349 | 0.99631 | -0.070577 | 13.7075
1 | -0.041784 | -0.010477 | 0.04179 | 0.01048 | 5.4005e-06 | 3.4081e-06 | 0.062387 | 0.062387 | 0.062387 | 0.99664 | -0.064349 | 0.99678 | -0.061637 | 17.1393
2 | 0.021958 | 0.0055042 | -0.021957 | -0.0055035 | 1.1356e-06 | 6.9013e-07 | 0.032795 | 0.032795 | 0.032795 | 0.99631 | -0.070577 | 0.99626 | -0.071662 | 9.0096
3 | -0.044939 | -0.011269 | 0.044951 | 0.011277 | 1.2252e-05 | 7.7463e-06 | 0.067088 | 0.067088 | 0.067088 | 0.99678 | -0.061637 | 0.99707 | -0.055919 | 18.4307
4 | 0.0093816 | 0.0023518 | -0.0093788 | -0.0023505 | 2.7694e-06 | 1.2828e-06 | 0.014013 | 0.014013 | 0.014013 | 0.99626 | -0.071662 | 0.99594 | -0.077859 | 3.8496
5 | -0.059243 | -0.014859 | 0.059295 | 0.014892 | 5.2158e-05 | 3.3149e-05 | 0.088417 | 0.088417 | 0.088417 | 0.99707 | -0.055919 | 0.99803 | -0.037467 | 24.2904
6 | -0.19002 | -0.04821 | 0.19025 | 0.048357 | 0.00022967 | 0.00014659 | 0.28351 | 0.28351 | 0.28351 | 0.99803 | -0.037467 | 0.99935 | -0.012366 | 38.9439
7 | 0.13072 | 0.033318 | -0.12982 | -0.03274 | 0.00090463 | 0.00057814 | 0.19509 | 0.1951 | 0.1951 | 0.99803 | -0.037467 | 0.99049 | -0.18194 | 53.5976
8 | -0.20703 | -0.052562 | 0.20715 | 0.052641 | 0.00012326 | 7.8707e-05 | 0.3085 | 0.3085 | 0.3085 | 0.99935 | -0.012366 | 1 | 0 | 42.3759
9 | 0.099723 | 0.025119 | -0.099629 | -0.025059 | 9.3748e-05 | 5.9855e-05 | 0.14986 | 0.14986 | 0.14986 | 0.99049 | -0.18194 | 0.98948 | -0.20162 | 41.1698
10 | 0.030093 | 0.0076213 | -0.02996 | -0.0075379 | 0.0001338 | 8.34e-05 | 0.045237 | 0.045238 | 0.045238 | 0.99049 | -0.18194 | 0.98568 | -0.27497 | 12.4281
11 | -0.01174 | -0.0029424 | 0.011741 | 0.0029428 | 8.5425e-07 | 4.5406e-07 | 0.017713 | 0.017713 | 0.017713 | 0.98625 | -0.26428 | 0.98633 | -0.26275 | 4.8662
12 | -0.048979 | -0.012285 | 0.048985 | 0.012289 | 5.922e-06 | 3.7532e-06 | 0.073896 | 0.073896 | 0.073896 | 0.98633 | -0.26275 | 0.98646 | -0.26022 | 20.301
13 | 0.037238 | 0.0093425 | -0.037225 | -0.0093344 | 1.2886e-05 | 8.1082e-06 | 0.056183 | 0.056183 | 0.056183 | 0.98633 | -0.26275 | 0.98596 | -0.27001 | 15.4348
14 | -0.048985 | -0.012289 | 0.049006 | 0.012303 | 2.1265e-05 | 1.3477e-05 | 0.073896 | 0.073896 | 0.073896 | 0.98646 | -0.26022 | 0.98693 | -0.25112 | 20.301
15 | 0.028143 | 0.007058 | -0.02813 | -0.00705 | 1.2964e-05 | 8.0525e-06 | 0.042475 | 0.042475 | 0.042475 | 0.98596 | -0.27001 | 0.98546 | -0.27968 | 11.6689
16 | -0.061317 | -0.015388 | 0.061343 | 0.015404 | 2.5734e-05 | 1.6367e-05 | 0.092457 | 0.092457 | 0.092457 | 0.98693 | -0.25112 | 0.98738 | -0.24232 | 25.4003
17 | 0.0090521 | 0.0022687 | -0.0090519 | -0.0022686 | 1.8742e-07 | 8.5868e-08 | 0.013668 | 0.013668 | 0.013668 | 0.98546 | -0.27968 | 0.98544 | -0.28012 | 3.7551
18 | -0.0078202 | -0.0019606 | 0.007824 | 0.001962 | 3.7295e-06 | 1.4359e-06 | 0.011677 | 0.011676 | 0.011677 | 0.9966 | -0.065469 | 0.99712 | -0.055464 | 3.2079
19 | 0.0078202 | 0.0019606 | -0.0078154 | -0.0019587 | 4.8676e-06 | 1.8757e-06 | 0.011677 | 0.011677 | 0.011677 | 0.9966 | -0.065469 | 0.99592 | -0.078537 | 3.208
20 | -0.014639 | -0.0036701 | 0.014641 | 0.0036708 | 1.2163e-06 | 6.8976e-07 | 0.021847 | 0.021847 | 0.021847 | 0.99712 | -0.055464 | 0.99721 | -0.05372 | 6.0019
21 | 0.02996 | 0.0075379 | -0.029906 | -0.0075045 | 5.3516e-05 | 3.3363e-05 | 0.045238 | 0.045239 | 0.045239 | 0.98568 | -0.27497 | 0.98376 | -0.31243 | 12.4282
22 | 0.019269 | 0.0048385 | -0.019246 | -0.004825 | 2.2538e-05 | 1.3527e-05 | 0.029149 | 0.029149 | 0.029149 | 0.98376 | -0.31243 | 0.98251 | -0.33697 | 8.008
23 | -0.0075823 | -0.0019004 | 0.0075837 | 0.001901 | 1.4424e-06 | 5.5484e-07 | 0.011493 | 0.011492 | 0.011493 | 0.98173 | -0.35207 | 0.98194 | -0.34808 | 3.1573
24 | 0.0075823 | 0.0019004 | -0.0075813 | -0.0019 | 1.0119e-06 | 3.8934e-07 | 0.011493 | 0.011493 | 0.011493 | 0.98173 | -0.35207 | 0.98159 | -0.35487 | 3.1573
25 | -0.0075837 | -0.001901 | 0.0075862 | 0.0019019 | 2.4387e-06 | 9.377e-07 | 0.011492 | 0.011492 | 0.011492 | 0.98194 | -0.34808 | 0.98228 | -0.34133 | 3.1573
26 | 0.090567 | 0.022788 | -0.090563 | -0.022785 | 3.8861e-06 | 2.4799e-06 | 0.13623 | 0.13623 | 0.13623 | 0.98948 | -0.20162 | 0.98943 | -0.20252 | 37.4258
27 | -0.01349 | -0.0033815 | 0.013493 | 0.0033831 | 2.8022e-06 | 1.5669e-06 | 0.020435 | 0.020435 | 0.020435 | 0.98228 | -0.34133 | 0.98251 | -0.33697 | 5.6141
28 | -0.071371 | -0.017918 | 0.071415 | 0.017946 | 4.4517e-05 | 2.8359e-05 | 0.10757 | 0.10757 | 0.10757 | 0.98738 | -0.24232 | 0.98805 | -0.22925 | 29.552
29 | -0.021295 | -0.0053387 | 0.021303 | 0.0053431 | 7.3944e-06 | 4.4776e-06 | 0.031777 | 0.031777 | 0.031777 | 0.99721 | -0.05372 | 0.99758 | -0.046436 | 8.73
30 | 0.0057535 | 0.0014419 | -0.0057528 | -0.0014418 | 7.6293e-07 | 1.49e-07 | 0.0087138 | 0.0087139 | 0.0087139 | 0.98251 | -0.33697 | 0.98236 | -0.33975 | 2.3939
31 | 0.081742 | 0.020574 | -0.081638 | -0.020508 | 0.00010429 | 6.6511e-05 | 0.12296 | 0.12296 | 0.12296 | 0.98943 | -0.20252 | 0.98805 | -0.22925 | 33.7815
32 | 0.060037 | 0.015093 | -0.059965 | -0.015048 | 7.1139e-05 | 4.5218e-05 | 0.089352 | 0.089352 | 0.089352 | 1 | 0 | 0.99871 | -0.024846 | 24.5472
33 | 0.04994 | 0.012535 | -0.049928 | -0.012528 | 1.1969e-05 | 7.5846e-06 | 0.074415 | 0.074415 | 0.074415 | 0.99871 | -0.024846 | 0.99844 | -0.029872 | 20.4437
34 | 0.036061 | 0.0090524 | -0.036036 | -0.0090367 | 2.4942e-05 | 1.5662e-05 | 0.053748 | 0.053748 | 0.053748 | 0.99844 | -0.029872 | 0.99769 | -0.044384 | 14.7659
35 | 0.030567 | 0.0076661 | -0.030564 | -0.0076643 | 2.9895e-06 | 1.8632e-06 | 0.045592 | 0.045592 | 0.045592 | 0.99769 | -0.044384 | 0.99758 | -0.046436 | 12.5252

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27586 | 0.069494

## res_load
| p_mw | q_mvar
0 | 0.0083666 | 0.0020969
1 | 0.01145 | 0.0028696
2 | 0.003149 | 0.0007892
3 | 0.012575 | 0.0031517
4 | 0.014292 | 0.0035819
5 | 0.0093788 | 0.0023505
6 | 0.01678 | 0.0042054
7 | 0.01174 | 0.0029424
8 | 0.0090829 | 0.0022764
9 | 0.012311 | 0.0030854
10 | 0.019077 | 0.0047813
11 | 0.0068153 | 0.0017081
12 | 0.0078154 | 0.0019587
13 | 0.010637 | 0.002666
14 | 0.0075813 | 0.0019
15 | 0.0090622 | 0.0022712
16 | 0.0059036 | 0.0014796
17 | 0.010028 | 0.0025132
18 | 0.0090519 | 0.0022686
19 | 0.0066549 | 0.0016679
20 | 0.0088205 | 0.0022106
21 | 0.010223 | 0.0025621
22 | 0.0070208 | 0.0017596
23 | 0.010025 | 0.0025125
24 | 0.013868 | 0.0034755
25 | 0.0054685 | 0.0013705
26 | 0.0092614 | 0.0023211
27 | 0.0057528 | 0.0014418

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1