## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-138_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-138_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-138_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-138_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-138_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-138_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-138_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1061-138_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1061-138_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_1061-138_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1061-138_0_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_1061-138_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1061-138_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1061-138_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1061-138_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1061-138_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-138_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1061-138_0_4_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1061-138_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1061-138_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1061-138_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1061-138_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1061-138_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1061-138_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1061-138_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1061-138_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1061-138_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1061-138_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1061-138_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1061-138_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1061-138_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1061-138_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1061-138_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1061-138_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1061-138_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1061-138_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1061-138_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1061-138_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1061-138_0_4_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_1061-138_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1061-138_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1061-138_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_MV_216_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-138_0_4_load_0 | 0 | 0.0088454 | 0.0022169 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-138_0_4_load_1 | 1 | 0.031293 | 0.0078428 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-138_0_4_load_4 | 4 | 0.0074567 | 0.0018688 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-138_0_4_load_22 | 7 | 0.0016538 | 0.00041447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-138_0_4_load_39 | 8 | 0.0020873 | 0.00052313 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-138_0_4_load_38 | 10 | 0.0056314 | 0.0014114 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-138_0_4_load_36 | 12 | 0.01949 | 0.0048846 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-138_0_4_load_40 | 14 | 0.005164 | 0.0012942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-138_0_4_load_35 | 17 | 0.0080232 | 0.0020108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-138_0_4_load_19 | 19 | 0.001634 | 0.00040952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-138_0_4_load_43 | 20 | 0.0061744 | 0.0015475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-138_0_4_load_11 | 21 | 0.051843 | 0.012993 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-138_0_4_load_14 | 24 | 0.011789 | 0.0029545 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-138_0_4_load_23 | 27 | 0.0079947 | 0.0020037 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-138_0_4_load_34 | 28 | 0.030149 | 0.0075561 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-138_0_4_load_32 | 29 | 0.049726 | 0.012462 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-138_0_4_load_42 | 36 | 0.070924 | 0.017775 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-138_0_4_load_26 | 37 | 0.0099393 | 0.002491 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-138_0_4_load_17 | 38 | 0.010946 | 0.0027433 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-138_0_4_load_28 | 40 | 0.050074 | 0.01255 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-138_0_4_load_41 | 41 | 0.053224 | 0.013339 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-138_0_4_line_0 |  | 0 | 1 | 0.025852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-138_0_4_line_1 |  | 0 | 2 | 0.0090976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-138_0_4_line_2 |  | 1 | 3 | 0.0089683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-138_0_4_line_3 |  | 2 | 4 | 0.050519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-138_0_4_line_4 |  | 2 | 5 | 0.03388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-138_0_4_line_5 |  | 3 | 6 | 0.009334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-138_0_4_line_6 |  | 4 | 7 | 0.0054399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-138_0_4_line_7 |  | 5 | 8 | 0.036156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-138_0_4_line_8 |  | 6 | 10 | 0.057162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-138_0_4_line_9 |  | 6 | 18 | 0.03637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-138_0_4_line_10 |  | 7 | 19 | 0.022702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-138_0_4_line_11 |  | 9 | 10 | 0.014087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-138_0_4_line_12 |  | 9 | 11 | 0.005156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-138_0_4_line_13 |  | 9 | 12 | 0.020738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-138_0_4_line_14 |  | 11 | 17 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-138_0_4_line_15 |  | 11 | 13 | 0.0094485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-138_0_4_line_16 |  | 13 | 14 | 0.0079722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-138_0_4_line_17 |  | 15 | 16 | 0.16752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-138_0_4_line_18 |  | 15 | 17 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-138_0_4_line_19 |  | 16 | 20 | 0.026794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-138_0_4_line_20 |  | 18 | 39 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1061-138_0_4_line_21 |  | 18 | 40 | 0.044804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-138_0_4_line_22 |  | 19 | 32 | 0.025374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-138_0_4_line_23 |  | 21 | 22 | 0.010276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-138_0_4_line_24 |  | 22 | 26 | 0.04473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-138_0_4_line_25 |  | 23 | 24 | 0.007329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-138_0_4_line_26 |  | 23 | 25 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-138_0_4_line_27 |  | 25 | 27 | 0.016551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-138_0_4_line_28 |  | 26 | 28 | 0.005004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1061-138_0_4_line_29 |  | 26 | 29 | 0.029643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-138_0_4_line_30 |  | 27 | 31 | 0.041984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-138_0_4_line_31 |  | 28 | 39 | 0.0023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1061-138_0_4_line_32 |  | 29 | 35 | 0.030384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-138_0_4_line_33 |  | 30 | 31 | 0.028496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-138_0_4_line_34 |  | 30 | 32 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-138_0_4_line_35 |  | 32 | 38 | 0.052888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-138_0_4_line_36 |  | 33 | 34 | 0.19548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-138_0_4_line_37 |  | 33 | 35 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-138_0_4_line_38 |  | 33 | 36 | 0.01708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-138_0_4_line_39 |  | 34 | 37 | 0.043149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-138_0_4_line_40 |  | 39 | 41 | 0.002634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-138_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 42 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2665423.6023 | 1210938.4432 | 2665428.2065 | 1210931.2938 | 2665433.55 | 1210923.581 | 2665439.6854 | 1210918.5007
1 | 2665418.1854 | 1210945.5927 | 2665419.5398 | 1210944.7515 | 2665423.6023 | 1210938.4432
2 | 2665447.656 | 1210914.4745 | 2665442.8237 | 1210916.456 | 2665439.6854 | 1210918.5007 | 2665439.6854 | 1210918.5007
3 | 2665418.1854 | 1210945.5927 | 2665413.3343 | 1210948.5969 | 2665405.5534 | 1210949.8902 | 2665400.6851 | 1210948.9252 | 2665398.6376 | 1210948.5247 | 2665393.1186 | 1210945.2178 | 2665383.4343 | 1210934.3494 | 2665376.0639 | 1210929.3879
4 | 2665392.8286 | 1210950.8736 | 2665395.6261 | 1210952.8722 | 2665402.3642 | 1210954.5026 | 2665410.715 | 1210953.916 | 2665417.4716 | 1210951.0883 | 2665420.5773 | 1210948.543 | 2665418.1854 | 1210945.5927
5 | 2665447.656 | 1210914.4745 | 2665450.3434 | 1210908.5003 | 2665451.2084 | 1210905.8526
6 | 2665376.0639 | 1210929.3879 | 2665370.9382 | 1210927.5659
7 | 2665392.8286 | 1210950.8736 | 2665377.8659 | 1210935.5447 | 2665369.0673 | 1210931.2346 | 2665364.1729 | 1210930.5811
8 | 2665451.2084 | 1210905.8526 | 2665461.4663 | 1210909.4562 | 2665492.6142 | 1210906.2515 | 2665497.479 | 1210904.0814 | 2665507.0757 | 1210903.0609
9 | 2665462.4363 | 1210871.6214 | 2665458.1922 | 1210878.1788 | 2665455.4176 | 1210887.2429 | 2665452.6806 | 1210898.4308 | 2665451.2084 | 1210905.8526
10 | 2665370.9382 | 1210927.5659 | 2665366.995 | 1210926.1643 | 2665357.5339 | 1210926.1273 | 2665348.4985 | 1210926.7388
11 | 2665521.1027 | 1210902.3285 | 2665516.4318 | 1210902.0659 | 2665507.0757 | 1210903.0609
12 | 2665526.2179 | 1210901.5731 | 2665521.1027 | 1210902.3285
13 | 2665521.1027 | 1210902.3285 | 2665520.0343 | 1210893.0444 | 2665520.302 | 1210887.3549 | 2665523.3114 | 1210882.5183
14 | 2665526.2179 | 1210901.5731 | 2665537.9463 | 1210899.8314
15 | 2665527.3155 | 1210910.9576 | 2665527.1212 | 1210909.2766 | 2665526.7111 | 1210905.7922 | 2665526.3984 | 1210903.1316 | 2665526.2179 | 1210901.5731
16 | 2665527.3155 | 1210910.9576 | 2665525.3682 | 1210910.4359 | 2665519.4709 | 1210911.2711
17 | 2665549.9107 | 1210897.6753 | 2665555.2908 | 1210896.3336 | 2665582.2855 | 1210891.416 | 2665604.7247 | 1210886.115 | 2665619.4644 | 1210882.2969 | 2665619.0838 | 1210880.9697 | 2665618.4251 | 1210878.6721 | 2665616.8662 | 1210873.2405 | 2665616.2517 | 1210871.0658 | 2665615.1247 | 1210867.1287 | 2665613.9098 | 1210862.8905 | 2665613.551 | 1210861.6525 | 2665611.7455 | 1210855.1398 | 2665611.4737 | 1210854.2918 | 2665601.2835 | 1210854.8913 | 2665577.8012 | 1210856.2118 | 2665562.0651 | 1210857.3396 | 2665559.118 | 1210857.196 | 2665557.1487 | 1210856.5962 | 2665555.4882 | 1210855.5551 | 2665554.1956 | 1210854.229 | 2665553.3494 | 1210853.0857 | 2665552.4277 | 1210850.5184 | 2665552.3313 | 1210848.9164 | 2665552.3697 | 1210848.1941 | 2665553.1916 | 1210846.0129
18 | 2665549.9107 | 1210897.6753 | 2665546.0853 | 1210898.6228 | 2665537.9463 | 1210899.8314
19 | 2665533.1913 | 1210829.2274 | 2665535.821 | 1210834.0481 | 2665537.9708 | 1210836.8957 | 2665542.4715 | 1210840.2027 | 2665553.1916 | 1210846.0129
20 | 2665447.6878 | 1210852.0142 | 2665448.8622 | 1210854.4175 | 2665453.192 | 1210859.4458 | 2665462.4363 | 1210871.6214
21 | 2665462.4363 | 1210871.6214 | 2665465.9281 | 1210867.8351 | 2665487.407 | 1210845.4793 | 2665490.879 | 1210837.5554
22 | 2665324.3283 | 1210920.8605 | 2665334.4369 | 1210925.6075 | 2665342.9699 | 1210927.1129 | 2665348.4985 | 1210926.7388
23 | 2665408.7655 | 1210826.772 | 2665403.0875 | 1210829.6338 | 2665399.2728 | 1210830.5265
24 | 2665446.2497 | 1210846.6285 | 2665440.2479 | 1210840.9147 | 2665425.8775 | 1210840.8571 | 2665408.7655 | 1210826.772
25 | 2665345.8748 | 1210843.7046 | 2665349.5768 | 1210837.3746
26 | 2665345.8748 | 1210843.7046 | 2665330.8045 | 1210836.7798
27 | 2665330.8045 | 1210836.7798 | 2665325.0803 | 1210848.0351 | 2665323.3514 | 1210851.5575
28 | 2665446.2497 | 1210846.6285 | 2665447.9119 | 1210848.2144 | 2665449.4147 | 1210850.4655
29 | 2665446.2497 | 1210846.6285 | 2665445.7492 | 1210827.8337 | 2665447.7123 | 1210823.4636 | 2665447.5454 | 1210821.3605 | 2665446.7423 | 1210817.5018
30 | 2665304.5448 | 1210889.0912 | 2665306.38 | 1210885.2867 | 2665310.7626 | 1210876.4848 | 2665317.074 | 1210864.3464 | 2665323.3514 | 1210851.5575
31 | 2665447.6878 | 1210852.0142 | 2665449.4147 | 1210850.4655
32 | 2665433.2876 | 1210792.3308 | 2665438.0688 | 1210793.6284 | 2665440.9624 | 1210800.7312 | 2665446.2676 | 1210815.2205 | 2665446.7423 | 1210817.5018
33 | 2665294.4147 | 1210915.4521 | 2665294.9758 | 1210914.1797 | 2665297.5556 | 1210908.3043 | 2665300.8528 | 1210900.7691 | 2665301.3826 | 1210899.5741 | 2665301.2664 | 1210897.6939 | 2665301.909 | 1210894.5323 | 2665304.5448 | 1210889.0912
34 | 2665324.3283 | 1210920.8605 | 2665297.5556 | 1210908.3043 | 2665294.9758 | 1210914.1797 | 2665294.4147 | 1210915.4521
35 | 2665324.3283 | 1210920.8605 | 2665348.6604 | 1210873.9025
36 | 2665405.5803 | 1210795.6736 | 2665405.4558 | 1210789.0014 | 2665403.3471 | 1210777.5491 | 2665394.7931 | 1210739.1206 | 2665393.9058 | 1210732.7069 | 2665394.7076 | 1210722.654 | 2665395.2575 | 1210718.9466 | 2665399.6313 | 1210718.5943 | 2665403.8855 | 1210715.2834 | 2665411.7496 | 1210721.6735 | 2665420.3279 | 1210727.3932 | 2665431.3434 | 1210734.0181 | 2665445.6972 | 1210733.5307 | 2665459.4623 | 1210727.8226 | 2665473.8375 | 1210725.3899 | 2665488.7736 | 1210731.4019 | 2665500.4211 | 1210739.9795
37 | 2665433.2876 | 1210792.3308 | 2665425.4733 | 1210796.6478 | 2665418.8244 | 1210799.3432 | 2665414.2763 | 1210803.1179 | 2665411.7944 | 1210802.1345 | 2665405.5803 | 1210795.6736
38 | 2665405.5803 | 1210795.6736 | 2665404.1528 | 1210799.7159 | 2665392.7348 | 1210805.55
39 | 2665500.4211 | 1210739.9795 | 2665521.1377 | 1210753.8598 | 2665535.775 | 1210764.6968
40 | 2665447.6878 | 1210852.0142 | 2665445.7305 | 1210853.7827

## bus_geodata
| x | y | coords
0 | 2665423.6023 | 1210938.4432
1 | 2665439.6854 | 1210918.5007
2 | 2665418.1854 | 1210945.5927
3 | 2665447.656 | 1210914.4745
4 | 2665376.0639 | 1210929.3879
5 | 2665392.8286 | 1210950.8736
6 | 2665451.2084 | 1210905.8526
7 | 2665370.9382 | 1210927.5659
8 | 2665364.1729 | 1210930.5811
9 | 2665521.1027 | 1210902.3285
10 | 2665507.0757 | 1210903.0609
11 | 2665526.2179 | 1210901.5731
12 | 2665523.3114 | 1210882.5183
13 | 2665527.3155 | 1210910.9576
14 | 2665519.4709 | 1210911.2711
15 | 2665549.9107 | 1210897.6753
16 | 2665553.1916 | 1210846.0129
17 | 2665537.9463 | 1210899.8314
18 | 2665462.4363 | 1210871.6214
19 | 2665348.4985 | 1210926.7388
20 | 2665533.1913 | 1210829.2274
21 | 2665399.2728 | 1210830.5265
22 | 2665408.7655 | 1210826.772
23 | 2665345.8748 | 1210843.7046
24 | 2665349.5768 | 1210837.3746
25 | 2665330.8045 | 1210836.7798
26 | 2665446.2497 | 1210846.6285
27 | 2665323.3514 | 1210851.5575
28 | 2665449.4147 | 1210850.4655
29 | 2665446.7423 | 1210817.5018
30 | 2665294.4147 | 1210915.4521
31 | 2665304.5448 | 1210889.0912
32 | 2665324.3283 | 1210920.8605
33 | 2665405.5803 | 1210795.6736
34 | 2665500.4211 | 1210739.9795
35 | 2665433.2876 | 1210792.3308
36 | 2665392.7348 | 1210805.55
37 | 2665535.775 | 1210764.6968
38 | 2665348.6604 | 1210873.9025
39 | 2665447.6878 | 1210852.0142
40 | 2665490.879 | 1210837.5554
41 | 2665445.7305 | 1210853.7827
42 | 2665447.6878 | 1210852.0142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99022 | -0.1877 | 0.0088454 | 0.0022169
1 | 0.99147 | -0.16364 | 0.031293 | 0.0078428
2 | 0.98986 | -0.19475 | 0 | 0
3 | 0.99216 | -0.15034 | 0 | 0
4 | 0.98793 | -0.2321 | 0.0074567 | 0.0018688
5 | 0.98979 | -0.19601 | 0 | 0
6 | 0.99287 | -0.13652 | 0 | 0
7 | 0.98776 | -0.23541 | 0.0016538 | 0.00041447
8 | 0.98972 | -0.19735 | 0.0020873 | 0.00052313
9 | 0.99004 | -0.19132 | 0 | 0
10 | 0.99054 | -0.18159 | 0.0056314 | 0.0014114
11 | 0.98995 | -0.19309 | 0 | 0
12 | 0.98967 | -0.19851 | 0.01949 | 0.0048846
13 | 0.98991 | -0.19396 | 0 | 0
14 | 0.98987 | -0.19469 | 0.005164 | 0.0012942
15 | 0.98973 | -0.19743 | 0 | 0
16 | 0.98878 | -0.21586 | 0 | 0
17 | 0.9898 | -0.19609 | 0.0080232 | 0.0020108
18 | 0.99715 | -0.054426 | 0 | 0
19 | 0.98708 | -0.24854 | 0.001634 | 0.00040952
20 | 0.98863 | -0.21881 | 0.0061744 | 0.0015475
21 | 0.99741 | -0.049833 | 0.051843 | 0.012993
22 | 0.99789 | -0.040504 | 0 | 0
23 | 0.98404 | -0.30784 | 0 | 0
24 | 0.98396 | -0.30939 | 0.011789 | 0.0029545
25 | 0.98422 | -0.30433 | 0 | 0
26 | 1 | 0 | -0.44832 | -0.11295
27 | 0.9844 | -0.30081 | 0.0079947 | 0.0020037
28 | 0.9994 | -0.011417 | 0.030149 | 0.0075561
29 | 0.99646 | -0.067716 | 0.049726 | 0.012462
30 | 0.98568 | -0.27577 | 0 | 0
31 | 0.98516 | -0.28589 | 0 | 0
32 | 0.98636 | -0.26251 | 0 | 0
33 | 0.99173 | -0.15895 | 0 | 0
34 | 0.98995 | -0.19346 | 0 | 0
35 | 0.99421 | -0.11095 | 0 | 0
36 | 0.99062 | -0.18044 | 0.070924 | 0.017775
37 | 0.98955 | -0.20109 | 0.0099393 | 0.002491
38 | 0.98583 | -0.27288 | 0.010946 | 0.0027433
39 | 0.99916 | -0.016104 | 0 | 0
40 | 0.99511 | -0.093834 | 0.050074 | 0.01255
41 | 0.99903 | -0.018552 | 0.053224 | 0.013339
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.052589 | -0.013246 | 0.052649 | 0.013284 | 6.0579e-05 | 3.8437e-05 | 0.079049 | 0.079049 | 0.079049 | 0.99022 | -0.1877 | 0.99147 | -0.16364 | 21.7167
1 | 0.043743 | 0.011029 | -0.043728 | -0.01102 | 1.4752e-05 | 9.324e-06 | 0.065757 | 0.065757 | 0.065757 | 0.99022 | -0.1877 | 0.98986 | -0.19475 | 18.065
2 | -0.083942 | -0.021127 | 0.083996 | 0.021161 | 5.3405e-05 | 3.4063e-05 | 0.12601 | 0.12601 | 0.12601 | 0.99147 | -0.16364 | 0.99216 | -0.15034 | 34.6192
3 | 0.041641 | 0.010497 | -0.041567 | -0.01045 | 7.4284e-05 | 4.6894e-05 | 0.062619 | 0.062619 | 0.062619 | 0.98986 | -0.19475 | 0.98793 | -0.2321 | 17.203
4 | 0.0020876 | 0.0005224 | -0.0020875 | -0.00052275 | 1.251e-07 | -3.5541e-07 | 0.0031379 | 0.0031381 | 0.0031381 | 0.98986 | -0.19475 | 0.98979 | -0.19601 | 0.8621
5 | -0.083996 | -0.021161 | 0.084051 | 0.021197 | 5.5582e-05 | 3.5452e-05 | 0.12601 | 0.12601 | 0.12601 | 0.99216 | -0.15034 | 0.99287 | -0.13652 | 34.6192
6 | 0.03411 | 0.0085816 | -0.034104 | -0.0085782 | 5.3869e-06 | 3.378e-06 | 0.051388 | 0.051388 | 0.051388 | 0.98793 | -0.2321 | 0.98776 | -0.23541 | 14.1175
7 | 0.0020875 | 0.00052275 | -0.0020873 | -0.00052313 | 1.3352e-07 | -3.7922e-07 | 0.0031381 | 0.0031382 | 0.0031382 | 0.98979 | -0.19601 | 0.98972 | -0.19735 | 0.86215
8 | 0.044614 | 0.011228 | -0.044518 | -0.011168 | 9.5881e-05 | 6.0627e-05 | 0.06688 | 0.06688 | 0.06688 | 0.99287 | -0.13652 | 0.99054 | -0.18159 | 18.3737
9 | -0.12867 | -0.032425 | 0.12917 | 0.032749 | 0.00050747 | 0.00032431 | 0.19289 | 0.19289 | 0.19289 | 0.99287 | -0.13652 | 0.99715 | -0.054426 | 52.9928
10 | 0.032451 | 0.0081637 | -0.03243 | -0.008151 | 2.0354e-05 | 1.2736e-05 | 0.048897 | 0.048897 | 0.048897 | 0.98776 | -0.23541 | 0.98708 | -0.24854 | 13.4331
11 | -0.038869 | -0.0097449 | 0.038887 | 0.0097563 | 1.803e-05 | 1.1358e-05 | 0.058421 | 0.05842 | 0.058421 | 0.99004 | -0.19132 | 0.99054 | -0.18159 | 16.0496
12 | 0.019372 | 0.0048562 | -0.019371 | -0.0048553 | 1.6392e-06 | 9.8278e-07 | 0.029117 | 0.029117 | 0.029117 | 0.99004 | -0.19132 | 0.98995 | -0.19309 | 7.9991
13 | 0.019497 | 0.0048887 | -0.01949 | -0.0048846 | 6.6779e-06 | 4.0073e-06 | 0.029304 | 0.029304 | 0.029304 | 0.99004 | -0.19132 | 0.98967 | -0.19851 | 8.0506
14 | 0.014206 | 0.003561 | -0.014204 | -0.0035599 | 2.0275e-06 | 1.1452e-06 | 0.021354 | 0.021354 | 0.021354 | 0.98995 | -0.19309 | 0.9898 | -0.19609 | 5.8665
15 | 0.0051643 | 0.0012942 | -0.0051641 | -0.0012942 | 2.1351e-07 | 1.5171e-08 | 0.0077626 | 0.0077627 | 0.0077627 | 0.98995 | -0.19309 | 0.98991 | -0.19396 | 2.1326
16 | 0.0051641 | 0.0012942 | -0.005164 | -0.0012942 | 1.8015e-07 | 1.281e-08 | 0.0077627 | 0.0077627 | 0.0077627 | 0.98991 | -0.19396 | 0.98987 | -0.19469 | 2.1326
17 | 0.0061807 | 0.001549 | -0.0061753 | -0.0015477 | 5.4251e-06 | 1.3212e-06 | 0.0092925 | 0.0092932 | 0.0092932 | 0.98973 | -0.19743 | 0.98878 | -0.21586 | 2.5531
18 | -0.0061807 | -0.001549 | 0.0061811 | 0.0015491 | 3.9406e-07 | 9.5795e-08 | 0.0092925 | 0.0092924 | 0.0092925 | 0.98973 | -0.19743 | 0.9898 | -0.19609 | 2.5529
19 | 0.0061753 | 0.0015477 | -0.0061744 | -0.0015475 | 8.6778e-07 | 2.1176e-07 | 0.0092932 | 0.0092934 | 0.0092934 | 0.98878 | -0.21586 | 0.98863 | -0.21881 | 2.5531
20 | -0.17934 | -0.045359 | 0.17967 | 0.045569 | 0.00033037 | 0.00021079 | 0.26777 | 0.26777 | 0.26777 | 0.99715 | -0.054426 | 0.99916 | -0.016104 | 36.7816
21 | 0.050168 | 0.012609 | -0.050074 | -0.01255 | 9.4197e-05 | 5.9703e-05 | 0.074877 | 0.074877 | 0.074877 | 0.99715 | -0.054426 | 0.99511 | -0.093834 | 20.5705
22 | 0.030796 | 0.0077415 | -0.030776 | -0.0077287 | 2.0515e-05 | 1.2806e-05 | 0.046433 | 0.046433 | 0.046433 | 0.98708 | -0.24854 | 0.98636 | -0.26251 | 12.7565
23 | -0.051843 | -0.012993 | 0.051866 | 0.013008 | 2.3052e-05 | 1.4619e-05 | 0.077343 | 0.077343 | 0.077343 | 0.99741 | -0.049833 | 0.99789 | -0.040504 | 21.2481
24 | -0.051866 | -0.013008 | 0.051966 | 0.013071 | 0.00010034 | 6.3632e-05 | 0.077343 | 0.077343 | 0.077343 | 0.99789 | -0.040504 | 1 | 0 | 21.2481
25 | 0.01179 | 0.002955 | -0.011789 | -0.0029545 | 8.7351e-07 | 4.6595e-07 | 0.017828 | 0.017828 | 0.017828 | 0.98404 | -0.30784 | 0.98396 | -0.30939 | 4.8977
26 | -0.01179 | -0.002955 | 0.011792 | 0.0029561 | 1.9719e-06 | 1.0518e-06 | 0.017828 | 0.017828 | 0.017828 | 0.98404 | -0.30784 | 0.98422 | -0.30433 | 4.8977
27 | -0.011792 | -0.0029561 | 0.011794 | 0.0029571 | 1.9726e-06 | 1.0521e-06 | 0.017828 | 0.017828 | 0.017828 | 0.98422 | -0.30433 | 0.9844 | -0.30081 | 4.8977
28 | 0.26325 | 0.066594 | -0.2631 | -0.066502 | 0.00014413 | 9.211e-05 | 0.39193 | 0.39193 | 0.39193 | 1 | 0 | 0.9994 | -0.011417 | 53.837
29 | 0.13146 | 0.033283 | -0.13104 | -0.03301 | 0.00042589 | 0.00027218 | 0.19574 | 0.19574 | 0.19574 | 1 | 0 | 0.99646 | -0.067716 | 53.7734
30 | -0.019788 | -0.0049608 | 0.019802 | 0.0049692 | 1.4087e-05 | 8.4815e-06 | 0.029912 | 0.029912 | 0.029912 | 0.9844 | -0.30081 | 0.98516 | -0.28589 | 8.2177
31 | 0.23295 | 0.058946 | -0.2329 | -0.058912 | 5.2383e-05 | 3.3464e-05 | 0.34704 | 0.34704 | 0.34704 | 0.9994 | -0.011417 | 0.99916 | -0.016104 | 47.6709
32 | 0.08131 | 0.020548 | -0.081142 | -0.020441 | 0.00016814 | 0.00010722 | 0.12148 | 0.12148 | 0.12148 | 0.99646 | -0.067716 | 0.99421 | -0.11095 | 33.3736
33 | 0.019812 | 0.004975 | -0.019802 | -0.0049692 | 9.561e-06 | 5.756e-06 | 0.029912 | 0.029912 | 0.029912 | 0.98568 | -0.27577 | 0.98516 | -0.28589 | 8.2176
34 | -0.019812 | -0.004975 | 0.019824 | 0.0049826 | 1.2541e-05 | 7.5496e-06 | 0.029912 | 0.029912 | 0.029912 | 0.98568 | -0.27577 | 0.98636 | -0.26251 | 8.2176
35 | 0.010951 | 0.0027461 | -0.010946 | -0.0027433 | 5.4137e-06 | 2.7901e-06 | 0.016522 | 0.016522 | 0.016522 | 0.98636 | -0.26251 | 0.98583 | -0.27288 | 4.539
36 | 0.0099593 | 0.0025007 | -0.0099429 | -0.0024928 | 1.6374e-05 | 7.9614e-06 | 0.014945 | 0.014946 | 0.014946 | 0.99173 | -0.15895 | 0.98995 | -0.19346 | 4.106
37 | -0.080956 | -0.020322 | 0.081142 | 0.020441 | 0.00018584 | 0.0001185 | 0.12148 | 0.12148 | 0.12148 | 0.99173 | -0.15895 | 0.99421 | -0.11095 | 33.3736
38 | 0.070996 | 0.017821 | -0.070924 | -0.017775 | 7.2695e-05 | 4.6305e-05 | 0.10654 | 0.10654 | 0.10654 | 0.99173 | -0.15895 | 0.99062 | -0.18044 | 29.2679
39 | 0.0099429 | 0.0024928 | -0.0099393 | -0.002491 | 3.6145e-06 | 1.7587e-06 | 0.014946 | 0.014946 | 0.014946 | 0.98995 | -0.19346 | 0.98955 | -0.20109 | 4.106
40 | 0.05323 | 0.013343 | -0.053224 | -0.013339 | 6.2075e-06 | 3.9383e-06 | 0.079275 | 0.079275 | 0.079275 | 0.99916 | -0.016104 | 0.99903 | -0.018552 | 21.7789

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44832 | 0.11295

## res_load
| p_mw | q_mvar
0 | 0.0088454 | 0.0022169
1 | 0.031293 | 0.0078428
2 | 0.0074567 | 0.0018688
3 | 0.0016538 | 0.00041447
4 | 0.0020873 | 0.00052313
5 | 0.0056314 | 0.0014114
6 | 0.01949 | 0.0048846
7 | 0.005164 | 0.0012942
8 | 0.0080232 | 0.0020108
9 | 0.001634 | 0.00040952
10 | 0.0061744 | 0.0015475
11 | 0.051843 | 0.012993
12 | 0.011789 | 0.0029545
13 | 0.0079947 | 0.0020037
14 | 0.030149 | 0.0075561
15 | 0.049726 | 0.012462
16 | 0.070924 | 0.017775
17 | 0.0099393 | 0.002491
18 | 0.010946 | 0.0027433
19 | 0.050074 | 0.01255
20 | 0.053224 | 0.013339

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1