## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-13_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1061-13_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1061-13_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1061-13_0_4_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_1061-13_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1061-13_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_1061-13_0_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_1061-13_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1061-13_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1061-13_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1061-13_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1061-13_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1061-13_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1061-13_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1061-13_0_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1061-13_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1061-13_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1061-13_0_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_1061-13_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_1061-13_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1061-13_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1061-13_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1061-13_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1061-13_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1061-13_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1061-13_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1061-13_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1061-13_0_4_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_1061-13_0_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_1061-13_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1061-13_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1061-13_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_1061-13_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1061-13_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1061-13_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1061-13_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1061-13_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_1061-13_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_1061-13_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1061-13_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1061-13_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1061-13_0_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_1061-13_0_4_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_1061-13_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_1061-13_0_4_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_1061-13_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1061-13_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1061-13_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1061-13_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_1061-13_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1061-13_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_1061-13_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1061-13_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1061-13_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1061-13_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_1061-13_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_1061-13_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_1061-13_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1061-13_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_1061-13_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_MV_216_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-13_0_4_load_0 | 0 | 0.016088 | 0.004032 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-13_0_4_load_1 | 1 | 0.01828 | 0.0045815 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-13_0_4_load_23 | 6 | 0.024938 | 0.00625 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-13_0_4_load_50 | 8 | 0.021875 | 0.0054824 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-13_0_4_load_36 | 11 | 0.018831 | 0.0047195 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-13_0_4_load_29 | 13 | 0.012579 | 0.0031527 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-13_0_4_load_21 | 14 | 0.010849 | 0.002719 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-13_0_4_load_24 | 16 | 0.0064687 | 0.0016212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-13_0_4_load_25 | 17 | 0.005647 | 0.0014153 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-13_0_4_load_34 | 19 | 0.0072555 | 0.0018184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-13_0_4_load_37 | 21 | 0.0063586 | 0.0015936 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-13_0_4_load_71 | 22 | 0.0076055 | 0.0019061 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-13_0_4_load_70 | 23 | 0.013968 | 0.0035007 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-13_0_4_load_27 | 25 | 0.0030151 | 0.00075566 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-13_0_4_load_45 | 26 | 0.0027238 | 0.00068264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-13_0_4_load_43 | 29 | 0.002764 | 0.00069273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-13_0_4_load_22 | 30 | 0.012035 | 0.0030163 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-13_0_4_load_73 | 32 | 0.027672 | 0.0069353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-13_0_4_load_33 | 34 | 0.0085926 | 0.0021535 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-13_0_4_load_31 | 35 | 0.0063087 | 0.0015811 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-13_0_4_load_35 | 37 | 0.017539 | 0.0043957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-13_0_4_load_38 | 40 | 0.019517 | 0.0048914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-13_0_4_load_72 | 41 | 0.0044159 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-13_0_4_load_51 | 45 | 0.0045295 | 0.0011352 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-13_0_4_load_56 | 46 | 0.0059035 | 0.0014796 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-13_0_4_load_65 | 47 | 0.0058848 | 0.0014749 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-13_0_4_load_63 | 48 | 0.0032912 | 0.00082484 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-13_0_4_load_26 | 49 | 0.0028061 | 0.00070328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-13_0_4_load_44 | 50 | 0.0026179 | 0.00065612 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-13_0_4_load_30 | 51 | 0.0091513 | 0.0022935 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-13_0_4_load_39 | 52 | 0.015858 | 0.0039743 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-13_0_4_load_66 | 53 | 0.011442 | 0.0028677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-13_0_4_load_67 | 54 | 0.02164 | 0.0054236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-13_0_4_load_68 | 55 | 0.021874 | 0.0054821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-13_0_4_load_49 | 56 | 0.022079 | 0.0055335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-13_0_4_load_46 | 57 | 0.0060673 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-13_0_4_load_47 | 58 | 0.0052137 | 0.0013067 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-13_0_4_load_57 | 60 | 0.0041539 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-13_0_4_load_58 | 61 | 0.0031093 | 0.00077926 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-13_0_4_load_59 | 62 | 0.0026893 | 0.00067399 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-13_0_4_load_60 | 63 | 0.0027814 | 0.0006971 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-13_0_4_load_62 | 64 | 0.002903 | 0.00072756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-13_0_4_line_0 |  | 0 | 1 | 0.035189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1061-13_0_4_line_1 |  | 0 | 2 | 0.026186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1061-13_0_4_line_2 |  | 1 | 3 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1061-13_0_4_line_3 |  | 2 | 4 | 0.037414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1061-13_0_4_line_4 |  | 3 | 5 | 0.038973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1061-13_0_4_line_5 |  | 4 | 6 | 0.0091402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1061-13_0_4_line_6 |  | 5 | 12 | 0.001836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-13_0_4_line_7 |  | 5 | 13 | 0.02548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-13_0_4_line_8 |  | 5 | 7 | 0.030783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1061-13_0_4_line_9 |  | 6 | 15 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-13_0_4_line_10 |  | 7 | 8 | 0.0096549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-13_0_4_line_11 |  | 8 | 36 | 0.032234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-13_0_4_line_12 |  | 9 | 10 | 0.038189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-13_0_4_line_13 |  | 9 | 11 | 0.051818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-13_0_4_line_14 |  | 10 | 23 | 0.04226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-13_0_4_line_15 |  | 10 | 20 | 0.034652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-13_0_4_line_16 |  | 11 | 37 | 0.04561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-13_0_4_line_17 |  | 12 | 14 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-13_0_4_line_18 |  | 13 | 38 | 0.042929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-13_0_4_line_19 |  | 15 | 16 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1061-13_0_4_line_20 |  | 15 | 17 | 0.056922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-13_0_4_line_21 |  | 16 | 39 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1061-13_0_4_line_22 |  | 18 | 19 | 0.0067921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1061-13_0_4_line_23 |  | 18 | 20 | 0.0081728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-13_0_4_line_24 |  | 18 | 21 | 0.004492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-13_0_4_line_25 |  | 19 | 39 | 0.04281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1061-13_0_4_line_26 |  | 20 | 22 | 0.045132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-13_0_4_line_27 |  | 21 | 40 | 0.03702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-13_0_4_line_28 |  | 22 | 41 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-13_0_4_line_29 |  | 23 | 47 | 0.039592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-13_0_4_line_30 |  | 24 | 25 | 0.0052849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-13_0_4_line_31 |  | 24 | 26 | 0.0093351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-13_0_4_line_32 |  | 25 | 49 | 0.0061794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-13_0_4_line_33 |  | 26 | 50 | 0.0039022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-13_0_4_line_34 |  | 27 | 28 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-13_0_4_line_35 |  | 27 | 29 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-13_0_4_line_36 |  | 28 | 30 | 0.029905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-13_0_4_line_37 |  | 29 | 50 | 0.0064328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-13_0_4_line_38 |  | 31 | 32 | 0.029253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-13_0_4_line_39 |  | 31 | 33 | 0.038611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-13_0_4_line_40 |  | 33 | 56 | 0.028107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-13_0_4_line_41 |  | 33 | 55 | 0.057602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-13_0_4_line_42 |  | 34 | 35 | 0.0062594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1061-13_0_4_line_43 |  | 35 | 51 | 0.013428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1061-13_0_4_line_44 |  | 36 | 56 | 0.038194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-13_0_4_line_45 |  | 36 | 58 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-13_0_4_line_46 |  | 38 | 49 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-13_0_4_line_47 |  | 39 | 51 | 0.0098493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1061-13_0_4_line_48 |  | 40 | 52 | 0.033174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-13_0_4_line_49 |  | 42 | 43 | 0.059867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-13_0_4_line_50 |  | 42 | 44 | 0.37865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-13_0_4_line_51 |  | 42 | 45 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-13_0_4_line_52 |  | 43 | 46 | 0.027793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-13_0_4_line_53 |  | 44 | 47 | 0.020384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-13_0_4_line_54 |  | 44 | 48 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-13_0_4_line_55 |  | 48 | 59 | 0.020406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-13_0_4_line_56 |  | 52 | 53 | 0.037639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-13_0_4_line_57 |  | 54 | 55 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-13_0_4_line_58 |  | 57 | 58 | 0.0063345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-13_0_4_line_59 |  | 59 | 64 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-13_0_4_line_60 |  | 59 | 62 | 0.033672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-13_0_4_line_61 |  | 60 | 61 | 0.02114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-13_0_4_line_62 |  | 60 | 62 | 0.013084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-13_0_4_line_63 |  | 61 | 63 | 0.0004526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-13_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 65 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2664664.0734 | 1210905.1271 | 2664693.4548 | 1210893.783 | 2664696.7183 | 1210892.0527
1 | 2664682.7165 | 1210912.7115 | 2664669.4236 | 1210916.3252 | 2664664.0734 | 1210905.1271
2 | 2664718.3582 | 1210884.0248 | 2664703.5443 | 1210888.4335 | 2664696.7183 | 1210892.0527
3 | 2664690.0948 | 1210940.8199 | 2664687.2183 | 1210939.0765 | 2664692.9088 | 1210931.5113 | 2664694.59 | 1210926.4487 | 2664692.6042 | 1210921.7576 | 2664689.2423 | 1210921.3209 | 2664682.7165 | 1210912.7115
4 | 2664697.5261 | 1210857.5382 | 2664698.0271 | 1210858.2997 | 2664700.1355 | 1210861.4912 | 2664702.0287 | 1210864.2134 | 2664702.7247 | 1210865.2104 | 2664703.4959 | 1210866.275 | 2664705.9807 | 1210868.4032 | 2664706.2012 | 1210869.0949 | 2664705.8761 | 1210870.3366 | 2664705.1752 | 1210871.8966 | 2664705.2463 | 1210873.0537 | 2664705.6981 | 1210873.4366 | 2664706.32 | 1210873.5545 | 2664707.2094 | 1210873.5308 | 2664708.2616 | 1210873.2087 | 2664710.6679 | 1210872.0674 | 2664713.4058 | 1210874.6765 | 2664718.3582 | 1210884.0248
5 | 2664690.0948 | 1210940.8199 | 2664685.3498 | 1210948.6319
6 | 2664695.9056 | 1210858.4101 | 2664697.5261 | 1210857.5382
7 | 2664697.5261 | 1210857.5382 | 2664695.4051 | 1210853.4016 | 2664692.7694 | 1210848.3699 | 2664692.3227 | 1210847.5201 | 2664689.7838 | 1210842.6674 | 2664687.7436 | 1210838.7874 | 2664685.7389 | 1210834.9493
8 | 2664697.5261 | 1210857.5382 | 2664698.0271 | 1210858.2997 | 2664700.1355 | 1210861.4912 | 2664702.0287 | 1210864.2134 | 2664702.7247 | 1210865.2104 | 2664707.3068 | 1210861.7468 | 2664712.0881 | 1210856.7401 | 2664716.3689 | 1210850.9385 | 2664717.1747 | 1210849.513
9 | 2664679.753 | 1210961.7317 | 2664682.6279 | 1210953.1131 | 2664685.3498 | 1210948.6319
10 | 2664717.1747 | 1210849.513 | 2664721.7868 | 1210850.9973 | 2664723.9228 | 1210850.9537 | 2664726.0638 | 1210850.4433 | 2664726.4779 | 1210850.2158
11 | 2664751.2971 | 1210829.9156 | 2664740.096 | 1210841.0453 | 2664730.4292 | 1210848.0447 | 2664726.4779 | 1210850.2158
12 | 2664740.6344 | 1210989.5756 | 2664741.1118 | 1210978.5073 | 2664726.4685 | 1210977.0142 | 2664714.1741 | 1210975.4688
13 | 2664714.1741 | 1210975.4688 | 2664713.211 | 1210978.7826 | 2664705.1852 | 1210987.9568 | 2664695.1025 | 1210994.0957 | 2664685.8269 | 1210996.5967 | 2664677.0758 | 1210994.8675 | 2664671.3992 | 1210993.4687
14 | 2664740.6344 | 1210989.5756 | 2664748.2614 | 1210994.7393 | 2664755.9265 | 1211001.9936 | 2664767.6007 | 1211010.9591 | 2664774.0651 | 1211015.2821
15 | 2664740.6344 | 1210989.5756 | 2664741.1118 | 1210978.5073 | 2664764.6032 | 1210980.4745
16 | 2664627.3554 | 1210981.7231 | 2664637.5729 | 1210985.1335 | 2664671.3992 | 1210993.4687
17 | 2664695.9056 | 1210858.4101 | 2664695.4361 | 1210857.5489 | 2664693.3784 | 1210856.6816 | 2664691.3046 | 1210856.6035 | 2664686.6123 | 1210858.3093 | 2664677.3212 | 1210862.9114 | 2664675.188 | 1210863.5536
18 | 2664648.6439 | 1210824.0102 | 2664650.546 | 1210824.5089 | 2664672.4602 | 1210824.1127 | 2664673.2541 | 1210824.4882 | 2664674.9268 | 1210827.2191 | 2664677.0401 | 1210830.6664 | 2664678.1604 | 1210832.4796 | 2664679.0288 | 1210832.9894 | 2664682.0298 | 1210833.0775 | 2664684.8177 | 1210833.1855 | 2664685.7389 | 1210834.9493
19 | 2664679.753 | 1210961.7317 | 2664694.2766 | 1210964.4463 | 2664703.7634 | 1210965.8149
20 | 2664679.753 | 1210961.7317 | 2664669.1353 | 1210959.7376 | 2664637.93 | 1210952.1838 | 2664624.4918 | 1210948.2149
21 | 2664715.9469 | 1210967.5721 | 2664709.4443 | 1210966.6343 | 2664703.7634 | 1210965.8149
22 | 2664765.3148 | 1210972.3328 | 2664758.5475 | 1210971.7532
23 | 2664764.6032 | 1210980.4745 | 2664764.6986 | 1210979.386 | 2664764.9329 | 1210976.7091 | 2664765.2449 | 1210973.1659 | 2664765.3148 | 1210972.3328
24 | 2664765.3148 | 1210972.3328 | 2664769.7906 | 1210972.7144
25 | 2664715.9469 | 1210967.5721 | 2664733.2064 | 1210969.5827 | 2664758.5475 | 1210971.7532
26 | 2664764.6032 | 1210980.4745 | 2664774.9747 | 1210981.3432 | 2664809.5911 | 1210984.077
27 | 2664806.6685 | 1210975.9519 | 2664772.7858 | 1210972.9698 | 2664769.7906 | 1210972.7144
28 | 2664809.5911 | 1210984.077 | 2664814.6404 | 1210984.4757 | 2664831.0085 | 1210985.7741
29 | 2664774.0651 | 1211015.2821 | 2664806.9762 | 1211037.2916 | 2664806.9762 | 1211037.2916
30 | 2664647.6276 | 1210798.5725 | 2664647.8272 | 1210803.8536
31 | 2664647.6276 | 1210798.5725 | 2664649.9648 | 1210794.6954 | 2664652.1414 | 1210790.4082
32 | 2664647.8272 | 1210803.8536 | 2664647.9702 | 1210807.6373 | 2664647.9871 | 1210810.0302
33 | 2664653.6668 | 1210786.8315 | 2664653.2263 | 1210788.2712 | 2664652.1414 | 1210790.4082
34 | 2664678.8014 | 1210773.3726 | 2664668.1896 | 1210765.8974 | 2664665.5046 | 1210764.0005
35 | 2664665.5046 | 1210764.0005 | 2664662.8814 | 1210764.817 | 2664660.0445 | 1210766.4206 | 2664658.7449 | 1210768.53 | 2664657.41 | 1210774.5971 | 2664655.5488 | 1210780.6802
36 | 2664678.8014 | 1210773.3726 | 2664689.2773 | 1210780.7573 | 2664699.627 | 1210789.2747 | 2664702.0442 | 1210792.0548
37 | 2664655.5488 | 1210780.6802 | 2664653.6668 | 1210786.8315
38 | 2664749.5901 | 1210901.7522 | 2664751.6564 | 1210899.0285 | 2664760.1666 | 1210894.2512 | 2664762.7071 | 1210885.6402 | 2664762.9972 | 1210878.5279
39 | 2664797.6261 | 1210861.2709 | 2664766.3621 | 1210876.5854 | 2664762.9972 | 1210878.5279
40 | 2664797.6261 | 1210861.2709 | 2664792.6395 | 1210848.0976 | 2664788.0565 | 1210840.432 | 2664784.6492 | 1210836.6501
41 | 2664797.6261 | 1210861.2709 | 2664816.6225 | 1210889.4945 | 2664815.6387 | 1210893.3084 | 2664813.0393 | 1210896.1375 | 2664807.9964 | 1210898.6398 | 2664797.8321 | 1210898.2737 | 2664797.8321 | 1210898.2737
42 | 2664739.0897 | 1210950.6669 | 2664735.2148 | 1210955.5827
43 | 2664735.2148 | 1210955.5827 | 2664734.5268 | 1210956.4557 | 2664723.6502 | 1210962.2349
44 | 2664751.2971 | 1210829.9156 | 2664761.8993 | 1210826.3617 | 2664769.7684 | 1210826.0469 | 2664776.3122 | 1210827.3966 | 2664784.6492 | 1210836.6501
45 | 2664751.2971 | 1210829.9156 | 2664751.4694 | 1210827.3492 | 2664746.4453 | 1210821.1131
46 | 2664648.6439 | 1210824.0102 | 2664648.0841 | 1210821.6694 | 2664648.0369 | 1210818.3112 | 2664648.0078 | 1210816.0873 | 2664647.9679 | 1210812.7515 | 2664647.9912 | 1210810.606 | 2664647.9871 | 1210810.0302
47 | 2664715.9469 | 1210967.5721 | 2664716.1745 | 1210966.2071 | 2664723.6502 | 1210962.2349
48 | 2664839.7493 | 1210978.4161 | 2664819.1895 | 1210977.0539 | 2664806.6685 | 1210975.9519
49 | 2664663.0948 | 1211336.7257 | 2664677.0912 | 1211341.7249 | 2664684.0236 | 1211345.0354 | 2664692.9387 | 1211351.903 | 2664700.7477 | 1211341.6591 | 2664704.8958 | 1211329.1408
50 | 2664704.8958 | 1211329.1408 | 2664720.9406 | 1211333.7399 | 2664723.4945 | 1211328.0863 | 2664732.1388 | 1211312.993 | 2664734.407 | 1211300.7546 | 2664753.4653 | 1211290.2771 | 2664766.4297 | 1211283.2468 | 2664785.3461 | 1211273.9464 | 2664796.9918 | 1211269.3923 | 2664808.1618 | 1211262.4649 | 2664809.3168 | 1211252.6825 | 2664814.5265 | 1211243.2 | 2664819.9913 | 1211231.2186 | 2664823.1636 | 1211220.4131 | 2664825.794 | 1211209.1237 | 2664827.7863 | 1211202.7191 | 2664831.4022 | 1211198.6448 | 2664837.8861 | 1211187.9976 | 2664839.2601 | 1211183.2318 | 2664838.7448 | 1211178.9125 | 2664833.6113 | 1211168.7949 | 2664828.7271 | 1211163.005 | 2664825.7438 | 1211156.413 | 2664811.1698 | 1211137.4097 | 2664808.8003 | 1211130.98 | 2664807.3174 | 1211121.9806 | 2664808.1303 | 1211108.0142 | 2664811.1252 | 1211100.253 | 2664814.6898 | 1211101.6037 | 2664815.6074 | 1211099.6792 | 2664815.843 | 1211096.88 | 2664818.2979 | 1211091.2588 | 2664818.7967 | 1211088.0177 | 2664816.5565 | 1211080.8779 | 2664807.5603 | 1211069.551 | 2664810.5549 | 1211059.722 | 2664814.2646 | 1211058.2169 | 2664820.7732 | 1211051.5946
51 | 2664704.8958 | 1211329.1408 | 2664695.027 | 1211325.7966
52 | 2664663.0948 | 1211336.7257 | 2664648.3088 | 1211332.3629 | 2664636.2472 | 1211329.5895
53 | 2664820.7732 | 1211051.5946 | 2664818.8861 | 1211046.9268 | 2664816.8799 | 1211044.826 | 2664806.9762 | 1211037.2916
54 | 2664820.7732 | 1211051.5946 | 2664824.1778 | 1211052.988 | 2664830.3104 | 1211057.1906 | 2664837.2973 | 1211059.9632
55 | 2664856.2644 | 1211067.49 | 2664837.2973 | 1211059.9632
56 | 2664839.7493 | 1210978.4161 | 2664843.6802 | 1210978.6765 | 2664855.4901 | 1210977.96 | 2664866.3972 | 1210975.6882 | 2664876.4654 | 1210971.9868
57 | 2664810.4336 | 1210914.2314 | 2664804.8177 | 1210905.1204 | 2664797.8321 | 1210898.2737
58 | 2664749.1942 | 1210815.4061 | 2664746.4453 | 1210821.1131 | 2664746.4453 | 1210821.1131
59 | 2664856.2644 | 1211067.49 | 2664870.0894 | 1211072.8947
60 | 2664856.2644 | 1211067.49 | 2664869.3044 | 1211036.4457
61 | 2664874.3714 | 1211024.3826 | 2664874.3714 | 1211024.3826 | 2664869.9867 | 1211020.1768 | 2664855.9182 | 1211014.7921
62 | 2664874.3714 | 1211024.3826 | 2664869.3044 | 1211036.4457
63 | 2664855.4955 | 1211014.6303 | 2664855.9182 | 1211014.7921

## bus_geodata
| x | y | coords
0 | 2664664.0734 | 1210905.1271
1 | 2664696.7183 | 1210892.0527
2 | 2664682.7165 | 1210912.7115
3 | 2664718.3582 | 1210884.0248
4 | 2664690.0948 | 1210940.8199
5 | 2664697.5261 | 1210857.5382
6 | 2664685.3498 | 1210948.6319
7 | 2664717.1747 | 1210849.513
8 | 2664726.4779 | 1210850.2158
9 | 2664714.1741 | 1210975.4688
10 | 2664740.6344 | 1210989.5756
11 | 2664671.3992 | 1210993.4687
12 | 2664695.9056 | 1210858.4101
13 | 2664685.7389 | 1210834.9493
14 | 2664675.188 | 1210863.5536
15 | 2664679.753 | 1210961.7317
16 | 2664703.7634 | 1210965.8149
17 | 2664624.4918 | 1210948.2149
18 | 2664765.3148 | 1210972.3328
19 | 2664758.5475 | 1210971.7532
20 | 2664764.6032 | 1210980.4745
21 | 2664769.7906 | 1210972.7144
22 | 2664809.5911 | 1210984.077
23 | 2664774.0651 | 1211015.2821
24 | 2664647.6276 | 1210798.5725
25 | 2664647.8272 | 1210803.8536
26 | 2664652.1414 | 1210790.4082
27 | 2664665.5046 | 1210764.0005
28 | 2664678.8014 | 1210773.3726
29 | 2664655.5488 | 1210780.6802
30 | 2664702.0442 | 1210792.0548
31 | 2664762.9972 | 1210878.5279
32 | 2664749.5901 | 1210901.7522
33 | 2664797.6261 | 1210861.2709
34 | 2664739.0897 | 1210950.6669
35 | 2664735.2148 | 1210955.5827
36 | 2664751.2971 | 1210829.9156
37 | 2664627.3554 | 1210981.7231
38 | 2664648.6439 | 1210824.0102
39 | 2664715.9469 | 1210967.5721
40 | 2664806.6685 | 1210975.9519
41 | 2664831.0085 | 1210985.7741
42 | 2664704.8958 | 1211329.1408
43 | 2664663.0948 | 1211336.7257
44 | 2664820.7732 | 1211051.5946
45 | 2664695.027 | 1211325.7966
46 | 2664636.2472 | 1211329.5895
47 | 2664806.9762 | 1211037.2916
48 | 2664837.2973 | 1211059.9632
49 | 2664647.9871 | 1210810.0302
50 | 2664653.6668 | 1210786.8315
51 | 2664723.6502 | 1210962.2349
52 | 2664839.7493 | 1210978.4161
53 | 2664876.4654 | 1210971.9868
54 | 2664810.4336 | 1210914.2314
55 | 2664797.8321 | 1210898.2737
56 | 2664784.6492 | 1210836.6501
57 | 2664749.1942 | 1210815.4061
58 | 2664746.4453 | 1210821.1131
59 | 2664856.2644 | 1211067.49
60 | 2664874.3714 | 1211024.3826
61 | 2664855.9182 | 1211014.7921
62 | 2664869.3044 | 1211036.4457
63 | 2664855.4955 | 1211014.6303
64 | 2664870.0894 | 1211072.8947
65 | 2664715.9469 | 1210967.5721

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9908 | -0.17487 | 0.016088 | 0.004032
1 | 0.98921 | -0.20523 | 0.01828 | 0.0045815
2 | 0.99208 | -0.15047 | 0 | 0
3 | 0.98732 | -0.24161 | 0 | 0
4 | 0.9939 | -0.11571 | 0 | 0
5 | 0.98413 | -0.30307 | 0 | 0
6 | 0.99435 | -0.10724 | 0.024938 | 0.00625
7 | 0.98232 | -0.33815 | 0 | 0
8 | 0.98118 | -0.36022 | 0.021875 | 0.0054824
9 | 0.99044 | -0.18312 | 0 | 0
10 | 0.99172 | -0.15847 | 0 | 0
11 | 0.98871 | -0.21666 | 0.018831 | 0.0047195
12 | 0.98412 | -0.30342 | 0 | 0
13 | 0.98323 | -0.32076 | 0.012579 | 0.0031527
14 | 0.98389 | -0.30789 | 0.010849 | 0.002719
15 | 0.99513 | -0.092401 | 0 | 0
16 | 0.99649 | -0.066625 | 0.0064687 | 0.0016212
17 | 0.99483 | -0.098061 | 0.005647 | 0.0014153
18 | 0.99517 | -0.091986 | 0 | 0
19 | 0.99564 | -0.082977 | 0.0072555 | 0.0018184
20 | 0.99444 | -0.10604 | 0 | 0
21 | 0.99495 | -0.096191 | 0.0063586 | 0.0015936
22 | 0.99395 | -0.11561 | 0.0076055 | 0.0019061
23 | 0.98981 | -0.19542 | 0.013968 | 0.0035007
24 | 0.98163 | -0.35198 | 0 | 0
25 | 0.98173 | -0.35006 | 0.0030151 | 0.00075566
26 | 0.98146 | -0.35538 | 0.0027238 | 0.00068264
27 | 0.98107 | -0.36292 | 0 | 0
28 | 0.98089 | -0.36646 | 0 | 0
29 | 0.9813 | -0.35834 | 0.002764 | 0.00069273
30 | 0.98056 | -0.37299 | 0.012035 | 0.0030163
31 | 0.97185 | -0.54304 | 0 | 0
32 | 0.97109 | -0.55799 | 0.027672 | 0.0069353
33 | 0.97284 | -0.52335 | 0 | 0
34 | 1 | 0 | -0.42823 | -0.10915
35 | 0.99939 | -0.011484 | 0.0063087 | 0.0015811
36 | 0.97804 | -0.42143 | 0 | 0
37 | 0.98798 | -0.23094 | 0.017539 | 0.0043957
38 | 0.9822 | -0.34088 | 0 | 0
39 | 0.99719 | -0.053277 | 0 | 0
40 | 0.99337 | -0.12676 | 0.019517 | 0.0048914
41 | 0.99386 | -0.11728 | 0.0044159 | 0.0011067
42 | 0.98433 | -0.30184 | 0 | 0
43 | 0.98401 | -0.3082 | 0 | 0
44 | 0.98797 | -0.23098 | 0 | 0
45 | 0.98429 | -0.30269 | 0.0045295 | 0.0011352
46 | 0.98386 | -0.31116 | 0.0059035 | 0.0014796
47 | 0.98852 | -0.22029 | 0.0058848 | 0.0014749
48 | 0.98765 | -0.23728 | 0.0032912 | 0.00082484
49 | 0.98186 | -0.34747 | 0.0028061 | 0.00070328
50 | 0.98139 | -0.35661 | 0.0026179 | 0.00065612
51 | 0.99811 | -0.035799 | 0.0091513 | 0.0022935
52 | 0.99254 | -0.14277 | 0.015858 | 0.0039743
53 | 0.99215 | -0.15039 | 0.011442 | 0.0028677
54 | 0.97009 | -0.57783 | 0.02164 | 0.0054236
55 | 0.9705 | -0.56962 | 0.021874 | 0.0054821
56 | 0.97471 | -0.48657 | 0.022079 | 0.0055335
57 | 0.97789 | -0.42431 | 0.0060673 | 0.0015206
58 | 0.97793 | -0.42361 | 0.0052137 | 0.0013067
59 | 0.98736 | -0.24298 | 0 | 0
60 | 0.98684 | -0.253 | 0.0041539 | 0.0010411
61 | 0.98673 | -0.25523 | 0.0031093 | 0.00077926
62 | 0.98696 | -0.25065 | 0.0026893 | 0.00067399
63 | 0.98673 | -0.25525 | 0.0027814 | 0.0006971
64 | 0.98732 | -0.24375 | 0.002903 | 0.00072756
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.19653 | 0.050196 | -0.19625 | -0.050014 | 0.00028806 | 0.00018255 | 0.2955 | 0.2955 | 0.2955 | 0.9908 | -0.17487 | 0.98921 | -0.20523 | 20.2951
1 | -0.21262 | -0.054228 | 0.21287 | 0.054388 | 0.00025085 | 0.00015919 | 0.31966 | 0.31966 | 0.31966 | 0.9908 | -0.17487 | 0.99208 | -0.15047 | 21.9545
2 | 0.17797 | 0.045432 | -0.17765 | -0.045233 | 0.00031219 | 0.00019921 | 0.268 | 0.268 | 0.268 | 0.98921 | -0.20523 | 0.98732 | -0.24161 | 36.8131
3 | -0.21287 | -0.054388 | 0.21323 | 0.054615 | 0.0003584 | 0.00022744 | 0.31966 | 0.31966 | 0.31966 | 0.99208 | -0.15047 | 0.9939 | -0.11571 | 21.9545
4 | 0.17765 | 0.045233 | -0.17713 | -0.044898 | 0.00052485 | 0.00033491 | 0.268 | 0.268 | 0.268 | 0.98732 | -0.24161 | 0.98413 | -0.30307 | 36.8132
5 | -0.21323 | -0.054615 | 0.21332 | 0.054671 | 8.7558e-05 | 5.5563e-05 | 0.31966 | 0.31966 | 0.31966 | 0.9939 | -0.11571 | 0.99435 | -0.10724 | 21.9544
6 | 0.010851 | 0.0027203 | -0.010851 | -0.0027202 | 1.8535e-07 | 9.5297e-08 | 0.016408 | 0.016408 | 0.016408 | 0.98413 | -0.30307 | 0.98412 | -0.30342 | 4.5076
7 | 0.038626 | 0.0097111 | -0.038593 | -0.0096906 | 3.2602e-05 | 2.0542e-05 | 0.058413 | 0.058413 | 0.058413 | 0.98413 | -0.30307 | 0.98323 | -0.32076 | 16.0477
8 | 0.12765 | 0.032467 | -0.12744 | -0.03233 | 0.00021539 | 0.00013707 | 0.19318 | 0.19318 | 0.19318 | 0.98413 | -0.30307 | 0.98232 | -0.33815 | 26.5356
9 | -0.23826 | -0.060921 | 0.23843 | 0.061029 | 0.00017118 | 0.00010881 | 0.35697 | 0.35697 | 0.35697 | 0.99435 | -0.10724 | 0.99513 | -0.092401 | 24.5175
10 | 0.12744 | 0.03233 | -0.1273 | -0.032243 | 0.00013511 | 8.6351e-05 | 0.19318 | 0.19318 | 0.19318 | 0.98232 | -0.33815 | 0.98118 | -0.36022 | 53.0713
11 | 0.10543 | 0.026761 | -0.10512 | -0.026563 | 0.00030946 | 0.00019765 | 0.16 | 0.16 | 0.16 | 0.98118 | -0.36022 | 0.97804 | -0.42143 | 43.9574
12 | -0.03644 | -0.0091589 | 0.036483 | 0.0091859 | 4.2938e-05 | 2.6988e-05 | 0.054757 | 0.054756 | 0.054757 | 0.99044 | -0.18312 | 0.99172 | -0.15847 | 15.043
13 | 0.03644 | 0.0091589 | -0.036382 | -0.0091223 | 5.8262e-05 | 3.6622e-05 | 0.054757 | 0.054757 | 0.054757 | 0.99044 | -0.18312 | 0.98871 | -0.21666 | 15.0431
14 | 0.049412 | 0.012452 | -0.049325 | -0.012397 | 8.7169e-05 | 5.5244e-05 | 0.074165 | 0.074165 | 0.074165 | 0.99172 | -0.15847 | 0.98981 | -0.19542 | 20.375
15 | -0.085896 | -0.021638 | 0.086112 | 0.021776 | 0.00021598 | 0.00013778 | 0.12892 | 0.12892 | 0.12892 | 0.99172 | -0.15847 | 0.99444 | -0.10604 | 35.4179
16 | 0.017551 | 0.0044028 | -0.017539 | -0.0043957 | 1.1935e-05 | 7.0539e-06 | 0.026416 | 0.026416 | 0.026416 | 0.98871 | -0.21666 | 0.98798 | -0.23094 | 7.2572
17 | 0.010851 | 0.0027202 | -0.010849 | -0.002719 | 2.3097e-06 | 1.1876e-06 | 0.016408 | 0.016408 | 0.016408 | 0.98412 | -0.30342 | 0.98389 | -0.30789 | 4.5076
18 | 0.026014 | 0.0065379 | -0.025989 | -0.0065225 | 2.496e-05 | 1.543e-05 | 0.039376 | 0.039376 | 0.039376 | 0.98323 | -0.32076 | 0.9822 | -0.34088 | 10.8176
19 | -0.24408 | -0.062445 | 0.24438 | 0.062639 | 0.00030495 | 0.0001939 | 0.36542 | 0.36542 | 0.36542 | 0.99513 | -0.092401 | 0.99649 | -0.066625 | 25.0975
20 | 0.0056485 | 0.0014155 | -0.005647 | -0.0014153 | 1.5228e-06 | 2.3529e-07 | 0.0084461 | 0.0084464 | 0.0084464 | 0.99513 | -0.092401 | 0.99483 | -0.098061 | 2.3204
21 | -0.25085 | -0.06426 | 0.25101 | 0.064363 | 0.00016235 | 0.00010326 | 0.37508 | 0.37508 | 0.37508 | 0.99649 | -0.066625 | 0.99719 | -0.053277 | 25.7609
22 | -0.15148 | -0.038226 | 0.15155 | 0.038268 | 6.539e-05 | 4.1673e-05 | 0.2266 | 0.2266 | 0.2266 | 0.99517 | -0.091986 | 0.99564 | -0.082977 | 31.126
23 | 0.098205 | 0.024834 | -0.098139 | -0.024792 | 6.6153e-05 | 4.2232e-05 | 0.14692 | 0.14692 | 0.14692 | 0.99517 | -0.091986 | 0.99444 | -0.10604 | 40.3622
24 | 0.05328 | 0.013392 | -0.053269 | -0.013385 | 1.0695e-05 | 6.7862e-06 | 0.079679 | 0.079679 | 0.079679 | 0.99517 | -0.091986 | 0.99495 | -0.096191 | 21.8899
25 | -0.15881 | -0.040086 | 0.15903 | 0.040229 | 0.00022627 | 0.00014258 | 0.23744 | 0.23744 | 0.23744 | 0.99564 | -0.082977 | 0.99719 | -0.053277 | 16.3078
26 | 0.012027 | 0.0030157 | -0.012022 | -0.0030128 | 5.482e-06 | 2.9232e-06 | 0.017997 | 0.017998 | 0.017998 | 0.99444 | -0.10604 | 0.99395 | -0.11561 | 4.9444
27 | 0.04691 | 0.011792 | -0.046842 | -0.011749 | 6.8354e-05 | 4.3266e-05 | 0.07017 | 0.07017 | 0.07017 | 0.99495 | -0.096191 | 0.99337 | -0.12676 | 19.2774
28 | 0.0044162 | 0.0011067 | -0.0044159 | -0.0011067 | 3.5217e-07 | -5.3045e-08 | 0.0066114 | 0.0066115 | 0.0066115 | 0.99395 | -0.11561 | 0.99386 | -0.11728 | 1.8164
29 | 0.035357 | 0.0088964 | -0.035315 | -0.0088701 | 4.1968e-05 | 2.6352e-05 | 0.053167 | 0.053167 | 0.053167 | 0.98981 | -0.19542 | 0.98852 | -0.22029 | 14.6063
30 | -0.020155 | -0.0050556 | 0.020157 | 0.0050567 | 1.8501e-06 | 1.1172e-06 | 0.030554 | 0.030554 | 0.030554 | 0.98163 | -0.35198 | 0.98173 | -0.35006 | 8.3938
31 | 0.020155 | 0.0050556 | -0.020152 | -0.0050536 | 3.2679e-06 | 1.9735e-06 | 0.030554 | 0.030554 | 0.030554 | 0.98163 | -0.35198 | 0.98146 | -0.35538 | 8.3938
32 | -0.023172 | -0.0058124 | 0.023175 | 0.0058141 | 2.8587e-06 | 1.7514e-06 | 0.035124 | 0.035124 | 0.035124 | 0.98173 | -0.35006 | 0.98186 | -0.34747 | 9.6493
33 | 0.017428 | 0.004371 | -0.017427 | -0.0043704 | 1.0217e-06 | 6.046e-07 | 0.026424 | 0.026424 | 0.026424 | 0.98146 | -0.35538 | 0.98139 | -0.35661 | 7.2593
34 | 0.012041 | 0.0030194 | -0.012039 | -0.0030183 | 2.0309e-06 | 1.0948e-06 | 0.018263 | 0.018264 | 0.018264 | 0.98107 | -0.36292 | 0.98089 | -0.36646 | 5.0175
35 | -0.012041 | -0.0030194 | 0.012044 | 0.0030208 | 2.6339e-06 | 1.4197e-06 | 0.018263 | 0.018263 | 0.018263 | 0.98107 | -0.36292 | 0.9813 | -0.35834 | 5.0174
36 | 0.012039 | 0.0030183 | -0.012035 | -0.0030163 | 3.7407e-06 | 2.0167e-06 | 0.018264 | 0.018264 | 0.018264 | 0.98089 | -0.36646 | 0.98056 | -0.37299 | 5.0175
37 | -0.014808 | -0.0037136 | 0.014809 | 0.0037143 | 1.2163e-06 | 6.9716e-07 | 0.022455 | 0.022455 | 0.022455 | 0.9813 | -0.35834 | 0.98139 | -0.35661 | 6.1689
38 | 0.027692 | 0.0069476 | -0.027672 | -0.0069353 | 1.9723e-05 | 1.2261e-05 | 0.042402 | 0.042402 | 0.042402 | 0.97185 | -0.54304 | 0.97109 | -0.55799 | 11.649
39 | -0.027692 | -0.0069476 | 0.027718 | 0.0069637 | 2.6033e-05 | 1.6182e-05 | 0.042402 | 0.042402 | 0.042402 | 0.97185 | -0.54304 | 0.97284 | -0.52335 | 11.649
40 | -0.071337 | -0.017935 | 0.071462 | 0.018015 | 0.00012554 | 7.9993e-05 | 0.10913 | 0.10913 | 0.10913 | 0.97284 | -0.52335 | 0.97471 | -0.48657 | 29.9818
41 | 0.043619 | 0.010972 | -0.043523 | -0.010911 | 9.6191e-05 | 6.0849e-05 | 0.066732 | 0.066732 | 0.066732 | 0.97284 | -0.52335 | 0.9705 | -0.56962 | 18.3329
42 | 0.42658 | 0.10915 | -0.42634 | -0.109 | 0.00023703 | 0.00015137 | 0.63555 | 0.63555 | 0.63555 | 1 | 0 | 0.99939 | -0.011484 | 43.6506
43 | 0.42003 | 0.10742 | -0.41954 | -0.10711 | 0.00049358 | 0.00031519 | 0.62616 | 0.62616 | 0.62616 | 0.99939 | -0.011484 | 0.99811 | -0.035799 | 43.0055
44 | 0.093833 | 0.023735 | -0.093541 | -0.023549 | 0.00029223 | 0.00018655 | 0.14284 | 0.14284 | 0.14284 | 0.97804 | -0.42143 | 0.97471 | -0.48657 | 39.2416
45 | 0.011282 | 0.0028279 | -0.011281 | -0.0028273 | 1.1691e-06 | 6.1544e-07 | 0.017165 | 0.017165 | 0.017165 | 0.97804 | -0.42143 | 0.97793 | -0.42361 | 4.7158
46 | 0.025989 | 0.0065225 | -0.025981 | -0.0065174 | 8.1673e-06 | 5.0494e-06 | 0.039376 | 0.039376 | 0.039376 | 0.9822 | -0.34088 | 0.98186 | -0.34747 | 10.8176
47 | -0.41004 | -0.10459 | 0.41039 | 0.10481 | 0.00034643 | 0.0002212 | 0.61252 | 0.61252 | 0.61252 | 0.99719 | -0.053277 | 0.99811 | -0.035799 | 42.0685
48 | 0.027325 | 0.0068571 | -0.027304 | -0.0068442 | 2.0846e-05 | 1.2912e-05 | 0.040935 | 0.040935 | 0.040935 | 0.99337 | -0.12676 | 0.99254 | -0.14277 | 11.2458
49 | 0.0059061 | 0.0014801 | -0.0059043 | -0.0014797 | 1.7896e-06 | 3.8462e-07 | 0.0089282 | 0.0089285 | 0.0089285 | 0.98433 | -0.30184 | 0.98401 | -0.3082 | 2.4529
50 | -0.010436 | -0.0026153 | 0.010471 | 0.0026331 | 3.5334e-05 | 1.7783e-05 | 0.015776 | 0.015774 | 0.015776 | 0.98433 | -0.30184 | 0.98797 | -0.23098 | 4.334
51 | 0.0045297 | 0.0011352 | -0.0045295 | -0.0011352 | 1.8322e-07 | -1.5187e-08 | 0.0068475 | 0.0068476 | 0.0068476 | 0.98433 | -0.30184 | 0.98429 | -0.30269 | 1.8812
52 | 0.0059043 | 0.0014797 | -0.0059035 | -0.0014796 | 8.3085e-07 | 1.7875e-07 | 0.0089285 | 0.0089286 | 0.0089286 | 0.98401 | -0.3082 | 0.98386 | -0.31116 | 2.4529
53 | -0.029416 | -0.0073859 | 0.029431 | 0.0073952 | 1.5007e-05 | 9.3432e-06 | 0.044309 | 0.044308 | 0.044309 | 0.98797 | -0.23098 | 0.98852 | -0.22029 | 12.1727
54 | 0.018944 | 0.0047528 | -0.018939 | -0.0047494 | 5.6883e-06 | 3.402e-06 | 0.028535 | 0.028535 | 0.028535 | 0.98797 | -0.23098 | 0.98765 | -0.23728 | 7.8392
55 | 0.015648 | 0.0039245 | -0.015643 | -0.0039221 | 4.2534e-06 | 2.4611e-06 | 0.023576 | 0.023576 | 0.023576 | 0.98765 | -0.23728 | 0.98736 | -0.24298 | 6.477
56 | 0.011447 | 0.0028699 | -0.011442 | -0.0028677 | 4.1569e-06 | 2.1741e-06 | 0.017161 | 0.017161 | 0.017161 | 0.99254 | -0.14277 | 0.99215 | -0.15039 | 4.7146
57 | -0.02164 | -0.0054236 | 0.021649 | 0.0054287 | 8.4639e-06 | 5.1639e-06 | 0.033194 | 0.033194 | 0.033194 | 0.97009 | -0.57783 | 0.9705 | -0.56962 | 9.1193
58 | -0.0060673 | -0.0015206 | 0.0060675 | 0.0015207 | 2.0247e-07 | 5.0109e-08 | 0.0092323 | 0.0092323 | 0.0092323 | 0.97789 | -0.42431 | 0.97793 | -0.42361 | 2.5364
59 | 0.0029031 | 0.00072744 | -0.002903 | -0.00072756 | 1.0655e-07 | -1.2165e-07 | 0.0043751 | 0.0043752 | 0.0043752 | 0.98736 | -0.24298 | 0.98732 | -0.24375 | 1.202
60 | 0.01274 | 0.0031946 | -0.012736 | -0.0031921 | 4.6553e-06 | 2.5489e-06 | 0.019201 | 0.019201 | 0.019201 | 0.98736 | -0.24298 | 0.98696 | -0.25065 | 5.2751
61 | 0.0058914 | 0.0014765 | -0.0058907 | -0.0014764 | 6.2558e-07 | 1.3032e-07 | 0.0088833 | 0.0088834 | 0.0088834 | 0.98684 | -0.253 | 0.98673 | -0.25523 | 2.4405
62 | -0.010045 | -0.0025175 | 0.010046 | 0.0025181 | 1.1257e-06 | 5.5325e-07 | 0.015147 | 0.015147 | 0.015147 | 0.98684 | -0.253 | 0.98696 | -0.25065 | 4.1612
63 | 0.0027814 | 0.00069709 | -0.0027814 | -0.0006971 | 2.9859e-09 | -3.8701e-09 | 0.0041945 | 0.0041945 | 0.0041945 | 0.98673 | -0.25523 | 0.98673 | -0.25525 | 1.1523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43682 | 0.11131

## res_load
| p_mw | q_mvar
0 | 0.016088 | 0.004032
1 | 0.01828 | 0.0045815
2 | 0.024938 | 0.00625
3 | 0.021875 | 0.0054824
4 | 0.018831 | 0.0047195
5 | 0.012579 | 0.0031527
6 | 0.010849 | 0.002719
7 | 0.0064687 | 0.0016212
8 | 0.005647 | 0.0014153
9 | 0.0072555 | 0.0018184
10 | 0.0063586 | 0.0015936
11 | 0.0076055 | 0.0019061
12 | 0.013968 | 0.0035007
13 | 0.0030151 | 0.00075566
14 | 0.0027238 | 0.00068264
15 | 0.002764 | 0.00069273
16 | 0.012035 | 0.0030163
17 | 0.027672 | 0.0069353
18 | 0.0085926 | 0.0021535
19 | 0.0063087 | 0.0015811
20 | 0.017539 | 0.0043957
21 | 0.019517 | 0.0048914
22 | 0.0044159 | 0.0011067
23 | 0.0045295 | 0.0011352
24 | 0.0059035 | 0.0014796
25 | 0.0058848 | 0.0014749
26 | 0.0032912 | 0.00082484
27 | 0.0028061 | 0.00070328
28 | 0.0026179 | 0.00065612
29 | 0.0091513 | 0.0022935
30 | 0.015858 | 0.0039743
31 | 0.011442 | 0.0028677
32 | 0.02164 | 0.0054236
33 | 0.021874 | 0.0054821
34 | 0.022079 | 0.0055335
35 | 0.0060673 | 0.0015206
36 | 0.0052137 | 0.0013067
37 | 0.0041539 | 0.0010411
38 | 0.0031093 | 0.00077926
39 | 0.0026893 | 0.00067399
40 | 0.0027814 | 0.0006971
41 | 0.002903 | 0.00072756

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1