## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-141_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-141_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-141_0_3_node_67 | 0.4 | n |  | TRUE
3 | bus_LV_1061-141_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1061-141_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1061-141_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1061-141_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-141_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-141_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1061-141_0_3_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_1061-141_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1061-141_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1061-141_0_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_1061-141_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-141_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-141_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-141_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-141_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1061-141_0_3_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_1061-141_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1061-141_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1061-141_0_3_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_1061-141_0_3_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1061-141_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_1061-141_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1061-141_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1061-141_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1061-141_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1061-141_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1061-141_0_3_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_1061-141_0_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_1061-141_0_3_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_1061-141_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1061-141_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1061-141_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1061-141_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1061-141_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1061-141_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1061-141_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1061-141_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1061-141_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1061-141_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1061-141_0_3_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_1061-141_0_3_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_1061-141_0_3_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_1061-141_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1061-141_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_1061-141_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1061-141_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_1061-141_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_1061-141_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1061-141_0_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_1061-141_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1061-141_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_1061-141_0_3_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_1061-141_0_3_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_1061-141_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_1061-141_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_1061-141_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_1061-141_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_1061-141_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_1061-141_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_1061-141_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1061-141_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_1061-141_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_1061-141_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1061-141_0_3_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_1061-141_0_3_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_1061-141_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_1061-141_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_1061-141_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_1061-141_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_1061-141_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_1061-141_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_1061-141_0_3_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_1061-141_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_1061-141_0_3_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_1061-141_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_1061-141_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_1061-141_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_1061-141_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_1061-141_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_1061-141_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_1061-141_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_MV_211_1_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-141_0_3_load_0 | 0 | 0.0056957 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-141_0_3_load_67 | 2 | 0.0028472 | 0.00071358 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-141_0_3_load_11 | 3 | 0.0041217 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-141_0_3_load_2 | 4 | 0.0061785 | 0.0015485 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-141_0_3_load_3 | 5 | 0.0071392 | 0.0017893 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-141_0_3_load_4 | 6 | 0.0062776 | 0.0015733 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-141_0_3_load_5 | 7 | 0.0075844 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-141_0_3_load_6 | 8 | 0.0047036 | 0.0011788 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-141_0_3_load_80 | 9 | 0.0041846 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-141_0_3_load_37 | 10 | 0.0050724 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-141_0_3_load_27 | 11 | 0.0071807 | 0.0017996 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-141_0_3_load_64 | 12 | 0.0059972 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-141_0_3_load_7 | 13 | 0.0068948 | 0.001728 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-141_0_3_load_12 | 17 | 0.016311 | 0.0040878 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-141_0_3_load_55 | 18 | 0.0081755 | 0.002049 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-141_0_3_load_34 | 19 | 0.0042689 | 0.0010699 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-141_0_3_load_33 | 20 | 0.0057293 | 0.0014359 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-141_0_3_load_13 | 24 | 0.0058966 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-141_0_3_load_14 | 25 | 0.0018978 | 0.00047564 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-141_0_3_load_16 | 27 | 0.0073744 | 0.0018482 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-141_0_3_load_17 | 28 | 0.0019574 | 0.00049056 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-141_0_3_load_66 | 29 | 0.0081047 | 0.0020312 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-141_0_3_load_65 | 30 | 0.0056855 | 0.0014249 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-141_0_3_load_63 | 31 | 0.003813 | 0.00095564 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-141_0_3_load_18 | 32 | 0.0043288 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-141_0_3_load_19 | 33 | 0.0026564 | 0.00066576 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-141_0_3_load_20 | 34 | 0.0043483 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-141_0_3_load_22 | 36 | 0.0028906 | 0.00072446 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-141_0_3_load_46 | 37 | 0.0053881 | 0.0013504 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-141_0_3_load_45 | 38 | 0.0026557 | 0.00066559 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-141_0_3_load_79 | 42 | 0.0065827 | 0.0016498 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-141_0_3_load_82 | 43 | 0.0080509 | 0.0020177 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-141_0_3_load_83 | 44 | 0.0080729 | 0.0020233 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-141_0_3_load_56 | 45 | 0.0045855 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-141_0_3_load_23 | 46 | 0.0069473 | 0.0017412 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-141_0_3_load_24 | 47 | 0.0069734 | 0.0017477 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-141_0_3_load_25 | 48 | 0.0093975 | 0.0023552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-141_0_3_load_41 | 50 | 0.0060303 | 0.0015113 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-141_0_3_load_68 | 51 | 0.0034316 | 0.00086004 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-141_0_3_load_54 | 52 | 0.0030436 | 0.00076281 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-141_0_3_load_28 | 53 | 0.001685 | 0.0004223 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-141_0_3_load_29 | 54 | 0.0029456 | 0.00073825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-141_0_3_load_30 | 55 | 0.0054502 | 0.0013659 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-141_0_3_load_31 | 56 | 0.0034127 | 0.00085529 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-141_0_3_load_32 | 57 | 0.0035425 | 0.00088782 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-141_0_3_load_57 | 58 | 0.0013302 | 0.00033338 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-141_0_3_load_58 | 59 | 0.0029107 | 0.00072948 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-141_0_3_load_35 | 60 | 0.0054579 | 0.0013679 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-141_0_3_load_48 | 63 | 0.011386 | 0.0028537 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-141_0_3_load_52 | 64 | 0.0057952 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-141_0_3_load_49 | 65 | 0.0032197 | 0.00080694 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-141_0_3_load_39 | 66 | 0.0031536 | 0.00079037 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-141_0_3_load_44 | 69 | 0.0074754 | 0.0018735 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-141_0_3_load_73 | 70 | 0.0047556 | 0.0011919 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-141_0_3_load_53 | 71 | 0.00537 | 0.0013459 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-141_0_3_load_71 | 72 | 0.0078145 | 0.0019585 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1061-141_0_3_load_50 | 73 | 0.0050364 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1061-141_0_3_load_78 | 74 | 0.0028532 | 0.00071508 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1061-141_0_3_load_59 | 75 | 0.002419 | 0.00060626 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1061-141_0_3_load_81 | 76 | 0.0041611 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1061-141_0_3_load_72 | 77 | 0.0039271 | 0.00098422 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1061-141_0_3_load_77 | 78 | 0.002072 | 0.00051929 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1061-141_0_3_load_74 | 79 | 0.0053799 | 0.0013483 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1061-141_0_3_load_75 | 80 | 0.0060453 | 0.0015151 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1061-141_0_3_load_69 | 81 | 0.0054748 | 0.0013721 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1061-141_0_3_load_70 | 82 | 0.004161 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1061-141_0_3_load_76 | 83 | 0.005731 | 0.0014363 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-141_0_3_line_0 |  | 0 | 1 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-141_0_3_line_1 |  | 1 | 2 | 0.032043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-141_0_3_line_2 |  | 2 | 3 | 0.022037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-141_0_3_line_3 |  | 3 | 14 | 0.0083716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-141_0_3_line_4 |  | 4 | 5 | 0.040911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-141_0_3_line_5 |  | 4 | 6 | 0.06554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-141_0_3_line_6 |  | 5 | 7 | 0.031891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-141_0_3_line_7 |  | 6 | 8 | 0.022336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-141_0_3_line_8 |  | 7 | 9 | 0.0094361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-141_0_3_line_9 |  | 8 | 10 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-141_0_3_line_10 |  | 9 | 11 | 0.015269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-141_0_3_line_11 |  | 10 | 12 | 0.0033951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-141_0_3_line_12 |  | 11 | 48 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-141_0_3_line_13 |  | 12 | 31 | 0.023311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-141_0_3_line_14 |  | 13 | 14 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-141_0_3_line_15 |  | 13 | 15 | 0.028306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-141_0_3_line_16 |  | 14 | 16 | 0.021235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-141_0_3_line_17 |  | 15 | 17 | 0.03276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-141_0_3_line_18 |  | 16 | 18 | 0.008397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-141_0_3_line_19 |  | 16 | 19 | 0.013683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-141_0_3_line_20 |  | 19 | 20 | 0.0013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-141_0_3_line_21 |  | 20 | 60 | 0.028252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-141_0_3_line_22 |  | 21 | 22 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-141_0_3_line_23 |  | 21 | 23 | 0.0099127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-141_0_3_line_24 |  | 22 | 74 | 0.02184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-141_0_3_line_25 |  | 23 | 78 | 0.032483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-141_0_3_line_26 |  | 23 | 79 | 0.087531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-141_0_3_line_27 |  | 24 | 25 | 0.083297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-141_0_3_line_28 |  | 24 | 26 | 0.057525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-141_0_3_line_29 |  | 26 | 27 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-141_0_3_line_30 |  | 26 | 28 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-141_0_3_line_31 |  | 27 | 29 | 0.033682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-141_0_3_line_32 |  | 28 | 30 | 0.035083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-141_0_3_line_33 |  | 30 | 31 | 0.0034404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-141_0_3_line_34 |  | 32 | 33 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-141_0_3_line_35 |  | 32 | 34 | 0.025474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-141_0_3_line_36 |  | 33 | 35 | 0.009402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-141_0_3_line_37 |  | 34 | 36 | 0.0019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-141_0_3_line_38 |  | 35 | 37 | 0.008852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-141_0_3_line_39 |  | 35 | 38 | 0.042729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-141_0_3_line_40 |  | 36 | 39 | 0.023702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-141_0_3_line_41 |  | 39 | 45 | 0.060707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-141_0_3_line_42 |  | 40 | 41 | 0.05386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1061-141_0_3_line_43 |  | 40 | 42 | 0.040189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1061-141_0_3_line_44 |  | 41 | 43 | 0.006236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-141_0_3_line_45 |  | 41 | 44 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1061-141_0_3_line_46 |  | 42 | 68 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1061-141_0_3_line_47 |  | 44 | 53 | 0.065227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1061-141_0_3_line_48 |  | 45 | 57 | 0.027076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-141_0_3_line_49 |  | 46 | 47 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-141_0_3_line_50 |  | 46 | 48 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-141_0_3_line_51 |  | 47 | 49 | 0.01881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-141_0_3_line_52 |  | 49 | 50 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-141_0_3_line_53 |  | 49 | 51 | 0.049273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-141_0_3_line_54 |  | 51 | 52 | 0.020536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1061-141_0_3_line_55 |  | 52 | 62 | 0.073511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1061-141_0_3_line_56 |  | 53 | 54 | 0.023102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-141_0_3_line_57 |  | 53 | 55 | 0.020846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-141_0_3_line_58 |  | 54 | 56 | 0.003502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-141_0_3_line_59 |  | 55 | 57 | 0.018966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-141_0_3_line_60 |  | 56 | 58 | 0.024343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-141_0_3_line_61 |  | 58 | 59 | 0.0058515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-141_0_3_line_62 |  | 59 | 75 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-141_0_3_line_63 |  | 60 | 61 | 0.05934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-141_0_3_line_64 |  | 61 | 62 | 0.02709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-141_0_3_line_65 |  | 61 | 63 | 0.0083598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-141_0_3_line_66 |  | 62 | 64 | 0.084844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_1061-141_0_3_line_67 |  | 63 | 65 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-141_0_3_line_68 |  | 64 | 71 | 0.0037546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_1061-141_0_3_line_69 |  | 65 | 73 | 0.019175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-141_0_3_line_70 |  | 66 | 67 | 0.010851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-141_0_3_line_71 |  | 67 | 68 | 0.039703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_1061-141_0_3_line_72 |  | 67 | 69 | 0.014008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1061-141_0_3_line_73 |  | 68 | 70 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-141_0_3_line_74 |  | 69 | 71 | 0.024036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1061-141_0_3_line_75 |  | 70 | 72 | 0.042274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1061-141_0_3_line_76 |  | 72 | 81 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1061-141_0_3_line_77 |  | 73 | 74 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1061-141_0_3_line_78 |  | 76 | 77 | 0.0049055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1061-141_0_3_line_79 |  | 77 | 82 | 0.024116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1061-141_0_3_line_80 |  | 79 | 80 | 0.038552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1061-141_0_3_line_81 |  | 80 | 83 | 0.047828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1061-141_0_3_line_82 |  | 81 | 82 | 0.002354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-141_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 84 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2668853.595 | 1210913.0866 | 2668852.3789 | 1210911.1269 | 2668846.3464 | 1210905.6355
1 | 2668872.0945 | 1210939.2497 | 2668853.595 | 1210913.0866
2 | 2668872.0945 | 1210939.2497 | 2668877.749 | 1210943.8289 | 2668888.2427 | 1210943.9501 | 2668892.5088 | 1210943.9656
3 | 2668900.8804 | 1210943.996 | 2668892.5088 | 1210943.9656
4 | 2668915.1071 | 1211020.0543 | 2668927.7389 | 1211018.8416 | 2668938.6329 | 1211019.1676 | 2668955.6197 | 1211022.5601
5 | 2668915.1071 | 1211020.0543 | 2668913.9913 | 1211020.1614 | 2668901.1695 | 1211026.1949 | 2668894.405 | 1211035.4781 | 2668894.9025 | 1211040.4425 | 2668899.1199 | 1211045.0718 | 2668907.0312 | 1211048.9989 | 2668924.7726 | 1211050.6159 | 2668925.6363 | 1211050.6322
6 | 2668955.6197 | 1211022.5601 | 2668971.5466 | 1211025.7409 | 2668982.9506 | 1211026.6511 | 2668987.1518 | 1211026.3928
7 | 2668947.8869 | 1211051.8465 | 2668943.1671 | 1211050.962 | 2668925.6363 | 1211050.6322
8 | 2668987.1518 | 1211026.3928 | 2668996.5701 | 1211025.814
9 | 2668966.3249 | 1211057.5649 | 2668958.1512 | 1211053.7702 | 2668947.8869 | 1211051.8465
10 | 2669011.2851 | 1211022.0647 | 2669010.6388 | 1211022.4464 | 2668999.3925 | 1211025.6405 | 2668996.5701 | 1211025.814
11 | 2668966.3249 | 1211057.5649 | 2668969.4042 | 1211058.9945
12 | 2669011.2851 | 1211022.0647 | 2669021.7197 | 1211015.9028
13 | 2668991.2104 | 1211067.1061 | 2668977.5777 | 1211062.7892 | 2668969.4042 | 1211058.9945
14 | 2668900.8804 | 1210943.996 | 2668913.0407 | 1210941.2903 | 2668911.6515 | 1210937.8721 | 2668910.5685 | 1210930.727
15 | 2668907.2555 | 1210902.6439 | 2668908.0526 | 1210914.5605 | 2668908.4218 | 1210917.4666 | 2668909.5684 | 1210924.1284 | 2668910.5685 | 1210930.727
16 | 2668903.1371 | 1210965.0796 | 2668902.5115 | 1210962.0038 | 2668900.8581 | 1210945.9303 | 2668900.8804 | 1210943.996
17 | 2668907.2555 | 1210902.6439 | 2668938.3032 | 1210892.1916
18 | 2668894.7157 | 1210965.1713 | 2668903.1371 | 1210965.0796
19 | 2668903.1371 | 1210965.0796 | 2668916.8188 | 1210964.9271
20 | 2668916.8188 | 1210964.9271 | 2668918.1602 | 1210964.9121
21 | 2668946.411 | 1210964.5972 | 2668918.1602 | 1210964.9121
22 | 2669027.0972 | 1210864.3941 | 2669022.6755 | 1210865.5881 | 2669022.1114 | 1210865.7372 | 2669020.441 | 1210864.9507 | 2669013.686 | 1210866.8182 | 2669006.2015 | 1210869.3332
23 | 2669002.6302 | 1210860.0862 | 2669002.9919 | 1210861.0132 | 2669004.4898 | 1210864.8885 | 2669005.9285 | 1210868.6296 | 2669006.2015 | 1210869.3332
24 | 2669027.0972 | 1210864.3941 | 2669028.3615 | 1210868.7558 | 2669025.8611 | 1210875.987 | 2669020.1872 | 1210883.7899
25 | 2669002.6302 | 1210860.0862 | 2668986.1057 | 1210865.5763 | 2668971.8026 | 1210870.3246
26 | 2669002.6302 | 1210860.0862 | 2669053.9518 | 1210842.3355 | 2669070.5172 | 1210835.9566 | 2669080.826 | 1210831.7177 | 2669084.6552 | 1210829.6985
27 | 2669092.2798 | 1211121.2925 | 2669097.6356 | 1211124.3609 | 2669108.4401 | 1211127.1544 | 2669123.7877 | 1211129.4002 | 2669127.8137 | 1211136.7514 | 2669156.3982 | 1211167.6221
28 | 2669043.5826 | 1211090.7365 | 2669070.8959 | 1211109.0418 | 2669092.2798 | 1211121.2925
29 | 2669043.5826 | 1211090.7365 | 2669051.6386 | 1211083.7619
30 | 2669043.5826 | 1211090.7365 | 2669029.1495 | 1211082.3532 | 2669026.8587 | 1211081.0673
31 | 2669077.1033 | 1211061.7155 | 2669051.6386 | 1211083.7619
32 | 2669026.8587 | 1211081.0673 | 2669013.6182 | 1211073.6348 | 2668994.506 | 1211068.0928
33 | 2668991.2104 | 1211067.1061 | 2668992.3729 | 1211067.4742 | 2668994.506 | 1211068.0928
34 | 2669195.9596 | 1210830.332 | 2669190.5293 | 1210835.6355 | 2669177.761 | 1210846.1718 | 2669173.149 | 1210849.2331
35 | 2669214.2652 | 1210812.6175 | 2669209.1932 | 1210817.4072 | 2669195.9596 | 1210830.332
36 | 2669165.3156 | 1210854.4327 | 2669173.149 | 1210849.2331
37 | 2669214.2652 | 1210812.6175 | 2669215.6547 | 1210811.3053
38 | 2669165.3156 | 1210854.4327 | 2669168.9382 | 1210862.513
39 | 2669165.3156 | 1210854.4327 | 2669141.719 | 1210870.7582 | 2669135.266 | 1210878.6995 | 2669133.6251 | 1210882.1297
40 | 2669233.0987 | 1210795.4486 | 2669230.6883 | 1210798.8339 | 2669219.0441 | 1210808.1046 | 2669215.6547 | 1210811.3053
41 | 2669233.0987 | 1210795.4486 | 2669266.4392 | 1210846.1806
42 | 2669130.7358 | 1210924.6534 | 2669136.5886 | 1210908.8336 | 2669139.5992 | 1210908.0791 | 2669140.5278 | 1210910.5803 | 2669142.9921 | 1210913.0326 | 2669145.7903 | 1210914.2102 | 2669148.8735 | 1210914.4016 | 2669152.8634 | 1210913.0915 | 2669155.4419 | 1210911.5871 | 2669159.2683 | 1210908.6407 | 2669166.2454 | 1210902.0397
43 | 2669130.7358 | 1210924.6534 | 2669134.7792 | 1210925.2784 | 2669139.6882 | 1210927.9369 | 2669143.9354 | 1210933.2672 | 2669146.1248 | 1210939.7633 | 2669145.9358 | 1210944.2639 | 2669143.3783 | 1210949.204 | 2669139.509 | 1210954.7682
44 | 2669166.2454 | 1210902.0397 | 2669171.5884 | 1210905.2814
45 | 2669187.5982 | 1210890.4578 | 2669184.7558 | 1210889.1574 | 2669182.2138 | 1210888.8166 | 2669178.5368 | 1210890.6751 | 2669170.8251 | 1210897.7123 | 2669166.2454 | 1210902.0397
46 | 2669128.3309 | 1210970.8431 | 2669139.509 | 1210954.7682
47 | 2669187.5982 | 1210890.4578 | 2669249.5808 | 1210910.7738
48 | 2669257.7577 | 1210871.8265 | 2669266.4392 | 1210846.1806
49 | 2669032.7662 | 1211009.3789 | 2669047.4567 | 1211000.7011
50 | 2669032.7662 | 1211009.3789 | 2669029.6766 | 1211011.204 | 2669021.7197 | 1211015.9028
51 | 2669062.9784 | 1210990.1651 | 2669056.7567 | 1210995.2074 | 2669047.4567 | 1211000.7011
52 | 2669062.9784 | 1210990.1651 | 2669074.5993 | 1210996.6259 | 2669080.8371 | 1211002.0014 | 2669084.9348 | 1211014.3343
53 | 2669062.9784 | 1210990.1651 | 2669063.7585 | 1210982.5138 | 2669060.3773 | 1210974.592 | 2669055.8002 | 1210972.1486 | 2669048.5056 | 1210971.3971 | 2669028.9372 | 1210977.3285
54 | 2669009.2847 | 1210983.2875 | 2669015.2242 | 1210981.485 | 2669028.9372 | 1210977.3285
55 | 2669004.8429 | 1210952.6026 | 2669003.4596 | 1210956.5557 | 2669000.3686 | 1210959.6664 | 2668991.5379 | 1210964.256 | 2668984.6395 | 1210968.023 | 2668981.4667 | 1210972.945 | 2668980.8999 | 1210980.5543 | 2668982.883 | 1210986.5031 | 2668988.9032 | 1210988.3627 | 2668995.1439 | 1210987.5789 | 2669009.2847 | 1210983.2875
56 | 2669249.5808 | 1210910.7738 | 2669248.9284 | 1210913.9838 | 2669249.4221 | 1210933.8039
57 | 2669253.7321 | 1210890.3458 | 2669249.5808 | 1210910.7738
58 | 2669249.5093 | 1210937.3048 | 2669249.4221 | 1210933.8039
59 | 2669257.7577 | 1210871.8265 | 2669257.1016 | 1210873.7647 | 2669253.7321 | 1210890.3458
60 | 2669250.1155 | 1210961.6402 | 2669249.5093 | 1210937.3048
61 | 2669250.1155 | 1210961.6402 | 2669250.2612 | 1210967.4899
62 | 2669250.5457 | 1210978.9096 | 2669250.2612 | 1210967.4899
63 | 2668990.9579 | 1210929.65 | 2668985.0719 | 1210933.262 | 2668970.6142 | 1210953.2518 | 2668961.816 | 1210960.9437 | 2668952.5942 | 1210964.5283 | 2668946.411 | 1210964.5972
64 | 2668990.9579 | 1210929.65 | 2668992.3956 | 1210934.125 | 2669002.6599 | 1210947.5075 | 2669004.8429 | 1210952.6026
65 | 2668990.9579 | 1210929.65 | 2668991.148 | 1210923.7263 | 2668992.5789 | 1210921.7585
66 | 2669004.8429 | 1210952.6026 | 2669013.777 | 1210948.9258 | 2669022.281 | 1210935.7938 | 2669033.7619 | 1210924.8198 | 2669051.058 | 1210913.7352 | 2669069.0192 | 1210928.2807
67 | 2668992.5789 | 1210921.7585 | 2669002.285 | 1210908.41
68 | 2669069.0192 | 1210928.2807 | 2669071.9371 | 1210930.6437
69 | 2669002.285 | 1210908.41 | 2669013.562 | 1210892.9013
70 | 2669102.9327 | 1210952.5042 | 2669097.0815 | 1210961.6422
71 | 2669128.3309 | 1210970.8431 | 2669107.4103 | 1210955.6581 | 2669105.2263 | 1210959.1905 | 2669102.2927 | 1210957.2331 | 2669104.5755 | 1210953.7018 | 2669102.9327 | 1210952.5042
72 | 2669102.9327 | 1210952.5042 | 2669091.8882 | 1210943.8877
73 | 2669128.3309 | 1210970.8431 | 2669120.8039 | 1210981.6636
74 | 2669071.9371 | 1210930.6437 | 2669072.7718 | 1210931.3197 | 2669082.3338 | 1210936.4335 | 2669091.8882 | 1210943.8877
75 | 2669120.8039 | 1210981.6636 | 2669117.7817 | 1210986.0081 | 2669116.0378 | 1210991.5581 | 2669116.2499 | 1210998.1757 | 2669119.0519 | 1211003.6227 | 2669123.276 | 1211007.0071 | 2669128.5511 | 1211008.2356 | 2669134.2374 | 1211007.4232 | 2669135.8761 | 1211006.5753
76 | 2669145.8762 | 1210996.9475 | 2669139.5127 | 1211004.6937 | 2669135.8761 | 1211006.5753
77 | 2669013.562 | 1210892.9013 | 2669020.1872 | 1210883.7899
78 | 2669165.7923 | 1210972.7041 | 2669162.6784 | 1210976.4945
79 | 2669147.3705 | 1210995.1286 | 2669162.6784 | 1210976.4945
80 | 2669084.6552 | 1210829.6985 | 2669091.5541 | 1210826.0606 | 2669102.3169 | 1210819.3699 | 2669109.5419 | 1210813.6834 | 2669115.8498 | 1210807.4257
81 | 2669149.3952 | 1210773.3461 | 2669139.995 | 1210783.4729 | 2669115.8498 | 1210807.4257
82 | 2669145.8762 | 1210996.9475 | 2669147.3705 | 1210995.1286

## bus_geodata
| x | y | coords
0 | 2668846.3464 | 1210905.6355
1 | 2668853.595 | 1210913.0866
2 | 2668872.0945 | 1210939.2497
3 | 2668892.5088 | 1210943.9656
4 | 2668915.1071 | 1211020.0543
5 | 2668955.6197 | 1211022.5601
6 | 2668925.6363 | 1211050.6322
7 | 2668987.1518 | 1211026.3928
8 | 2668947.8869 | 1211051.8465
9 | 2668996.5701 | 1211025.814
10 | 2668966.3249 | 1211057.5649
11 | 2669011.2851 | 1211022.0647
12 | 2668969.4042 | 1211058.9945
13 | 2668910.5685 | 1210930.727
14 | 2668900.8804 | 1210943.996
15 | 2668907.2555 | 1210902.6439
16 | 2668903.1371 | 1210965.0796
17 | 2668938.3032 | 1210892.1916
18 | 2668894.7157 | 1210965.1713
19 | 2668916.8188 | 1210964.9271
20 | 2668918.1602 | 1210964.9121
21 | 2669006.2015 | 1210869.3332
22 | 2669027.0972 | 1210864.3941
23 | 2669002.6302 | 1210860.0862
24 | 2669092.2798 | 1211121.2925
25 | 2669156.3982 | 1211167.6221
26 | 2669043.5826 | 1211090.7365
27 | 2669051.6386 | 1211083.7619
28 | 2669026.8587 | 1211081.0673
29 | 2669077.1033 | 1211061.7155
30 | 2668994.506 | 1211068.0928
31 | 2668991.2104 | 1211067.1061
32 | 2669195.9596 | 1210830.332
33 | 2669173.149 | 1210849.2331
34 | 2669214.2652 | 1210812.6175
35 | 2669165.3156 | 1210854.4327
36 | 2669215.6547 | 1210811.3053
37 | 2669168.9382 | 1210862.513
38 | 2669133.6251 | 1210882.1297
39 | 2669233.0987 | 1210795.4486
40 | 2669130.7358 | 1210924.6534
41 | 2669166.2454 | 1210902.0397
42 | 2669139.509 | 1210954.7682
43 | 2669171.5884 | 1210905.2814
44 | 2669187.5982 | 1210890.4578
45 | 2669266.4392 | 1210846.1806
46 | 2669032.7662 | 1211009.3789
47 | 2669047.4567 | 1211000.7011
48 | 2669021.7197 | 1211015.9028
49 | 2669062.9784 | 1210990.1651
50 | 2669084.9348 | 1211014.3343
51 | 2669028.9371 | 1210977.3285
52 | 2669009.2847 | 1210983.2875
53 | 2669249.5808 | 1210910.7738
54 | 2669249.4221 | 1210933.8039
55 | 2669253.7321 | 1210890.3458
56 | 2669249.5093 | 1210937.3048
57 | 2669257.7577 | 1210871.8265
58 | 2669250.1155 | 1210961.6402
59 | 2669250.2612 | 1210967.4899
60 | 2668946.411 | 1210964.5972
61 | 2668990.9579 | 1210929.65
62 | 2669004.8429 | 1210952.6026
63 | 2668992.5789 | 1210921.7585
64 | 2669069.0192 | 1210928.2807
65 | 2669002.285 | 1210908.41
66 | 2669097.0815 | 1210961.6422
67 | 2669102.9327 | 1210952.5042
68 | 2669128.3309 | 1210970.8431
69 | 2669091.8882 | 1210943.8877
70 | 2669120.8039 | 1210981.6636
71 | 2669071.9371 | 1210930.6437
72 | 2669135.8761 | 1211006.5753
73 | 2669013.562 | 1210892.9013
74 | 2669020.1872 | 1210883.7899
75 | 2669250.5457 | 1210978.9096
76 | 2669165.7923 | 1210972.7041
77 | 2669162.6784 | 1210976.4945
78 | 2668971.8026 | 1210870.3246
79 | 2669084.6552 | 1210829.6985
80 | 2669115.8498 | 1210807.4257
81 | 2669145.8762 | 1210996.9475
82 | 2669147.3705 | 1210995.1286
83 | 2669149.3952 | 1210773.3461
84 | 2669062.9784 | 1210990.1651

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98108 | -0.3634 | 0.0056957 | 0.0014275
1 | 0.98113 | -0.36232 | 0 | 0
2 | 0.9813 | -0.35902 | 0.0028472 | 0.00071358
3 | 0.98148 | -0.35561 | 0.0041217 | 0.001033
4 | 0.98252 | -0.33501 | 0.0061785 | 0.0015485
5 | 0.98491 | -0.28861 | 0.0071392 | 0.0017893
6 | 0.97906 | -0.40245 | 0.0062776 | 0.0015733
7 | 0.98699 | -0.24852 | 0.0075844 | 0.0019008
8 | 0.97801 | -0.42298 | 0.0047036 | 0.0011788
9 | 0.98767 | -0.23541 | 0.0041846 | 0.0010488
10 | 0.97719 | -0.43924 | 0.0050724 | 0.0012713
11 | 0.98882 | -0.21309 | 0.0071807 | 0.0017996
12 | 0.97706 | -0.44176 | 0.0059972 | 0.001503
13 | 0.98107 | -0.36351 | 0.0068948 | 0.001728
14 | 0.98158 | -0.35369 | 0 | 0
15 | 0.98065 | -0.37188 | 0 | 0
16 | 0.98228 | -0.33992 | 0 | 0
17 | 0.98015 | -0.38157 | 0.016311 | 0.0040878
18 | 0.98222 | -0.34116 | 0.0081755 | 0.002049
19 | 0.98284 | -0.32904 | 0.0042689 | 0.0010699
20 | 0.9829 | -0.32787 | 0.0057293 | 0.0014359
21 | 0.9853 | -0.28109 | 0 | 0
22 | 0.98569 | -0.27355 | 0 | 0
23 | 0.98513 | -0.28452 | 0 | 0
24 | 0.97455 | -0.49118 | 0.0058966 | 0.0014778
25 | 0.9744 | -0.49409 | 0.0018978 | 0.00047564
26 | 0.97496 | -0.48295 | 0 | 0
27 | 0.97481 | -0.48598 | 0.0073744 | 0.0018482
28 | 0.97538 | -0.47471 | 0.0019574 | 0.00049056
29 | 0.97456 | -0.49099 | 0.0081047 | 0.0020312
30 | 0.9762 | -0.4585 | 0.0056855 | 0.0014249
31 | 0.9763 | -0.45656 | 0.003813 | 0.00095564
32 | 0.97117 | -0.55703 | 0.0043288 | 0.0010849
33 | 0.97087 | -0.5629 | 0.0026564 | 0.00066576
34 | 0.97152 | -0.54995 | 0.0043483 | 0.0010898
35 | 0.9708 | -0.5643 | 0 | 0
36 | 0.97156 | -0.54927 | 0.0028906 | 0.00072446
37 | 0.97075 | -0.56518 | 0.0053881 | 0.0013504
38 | 0.97069 | -0.5664 | 0.0026557 | 0.00066559
39 | 0.97205 | -0.53953 | 0 | 0
40 | 0.97916 | -0.39989 | 0 | 0
41 | 0.97749 | -0.43259 | 0 | 0
42 | 0.98041 | -0.37556 | 0.0065827 | 0.0016498
43 | 0.97744 | -0.43351 | 0.0080509 | 0.0020177
44 | 0.97676 | -0.44678 | 0.0080729 | 0.0020233
45 | 0.97331 | -0.51462 | 0.0045855 | 0.0011492
46 | 0.99099 | -0.17143 | 0.0069473 | 0.0017412
47 | 0.99266 | -0.13956 | 0.0069734 | 0.0017477
48 | 0.98982 | -0.19388 | 0.0093975 | 0.0023552
49 | 0.99461 | -0.10225 | 0 | 0
50 | 0.99442 | -0.10592 | 0.0060303 | 0.0015113
51 | 1 | 0 | -0.3558 | -0.091119
52 | 0.99782 | -0.041194 | 0.0030436 | 0.00076281
53 | 0.97523 | -0.47695 | 0.001685 | 0.0004223
54 | 0.97495 | -0.48247 | 0.0029456 | 0.00073825
55 | 0.97453 | -0.49066 | 0.0054502 | 0.0013659
56 | 0.97491 | -0.48311 | 0.0034127 | 0.00085529
57 | 0.97399 | -0.50125 | 0.0035425 | 0.00088782
58 | 0.97476 | -0.48609 | 0.0013302 | 0.00033338
59 | 0.97473 | -0.48666 | 0.0029107 | 0.00072948
60 | 0.98431 | -0.30036 | 0.0054579 | 0.0013679
61 | 0.98757 | -0.23704 | 0 | 0
62 | 0.9901 | -0.18815 | 0 | 0
63 | 0.98725 | -0.24328 | 0.011386 | 0.0028537
64 | 0.98516 | -0.28319 | 0.0057952 | 0.0014524
65 | 0.98679 | -0.25224 | 0.0032197 | 0.00080694
66 | 0.98295 | -0.32601 | 0.0031536 | 0.00079037
67 | 0.98299 | -0.32539 | 0 | 0
68 | 0.98107 | -0.36256 | 0 | 0
69 | 0.98368 | -0.31192 | 0.0074754 | 0.0018735
70 | 0.98071 | -0.36979 | 0.0047556 | 0.0011919
71 | 0.98495 | -0.28723 | 0.00537 | 0.0013459
72 | 0.97971 | -0.38938 | 0.0078145 | 0.0019585
73 | 0.98631 | -0.26156 | 0.0050364 | 0.0012622
74 | 0.98608 | -0.26602 | 0.0028532 | 0.00071508
75 | 0.97471 | -0.48717 | 0.002419 | 0.00060626
76 | 0.97925 | -0.39836 | 0.0041611 | 0.0010429
77 | 0.97927 | -0.39799 | 0.0039271 | 0.00098422
78 | 0.98507 | -0.28573 | 0.002072 | 0.00051929
79 | 0.98374 | -0.31153 | 0.0053799 | 0.0013483
80 | 0.98333 | -0.31971 | 0.0060453 | 0.0015151
81 | 0.97947 | -0.39392 | 0.0054748 | 0.0013721
82 | 0.97945 | -0.39445 | 0.004161 | 0.0010429
83 | 0.98307 | -0.32466 | 0.005731 | 0.0014363
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0056957 | -0.0014275 | 0.005696 | 0.0014275 | 2.9283e-07 | 5.5272e-08 | 0.0086387 | 0.0086386 | 0.0086387 | 0.98108 | -0.3634 | 0.98113 | -0.36232 | 2.3733
1 | -0.005696 | -0.0014275 | 0.0056969 | 0.0014277 | 8.9669e-07 | 1.6915e-07 | 0.0086386 | 0.0086385 | 0.0086386 | 0.98113 | -0.36232 | 0.9813 | -0.35902 | 2.3733
2 | -0.0085441 | -0.0021413 | 0.0085455 | 0.0021419 | 1.3871e-06 | 6.0931e-07 | 0.012956 | 0.012956 | 0.012956 | 0.9813 | -0.35902 | 0.98148 | -0.35561 | 3.5593
3 | -0.012667 | -0.0031749 | 0.012668 | 0.0031755 | 1.1579e-06 | 6.3523e-07 | 0.019205 | 0.019205 | 0.019205 | 0.98148 | -0.35561 | 0.98158 | -0.35369 | 5.276
4 | -0.063297 | -0.01599 | 0.063438 | 0.01608 | 0.00014112 | 8.9795e-05 | 0.095908 | 0.095908 | 0.095908 | 0.98252 | -0.33501 | 0.98491 | -0.28861 | 26.3483
5 | 0.057118 | 0.014442 | -0.056934 | -0.014325 | 0.00018411 | 0.000117 | 0.08655 | 0.086551 | 0.086551 | 0.98252 | -0.33501 | 0.97906 | -0.40245 | 23.7777
6 | -0.070577 | -0.01787 | 0.070713 | 0.017956 | 0.00013614 | 8.672e-05 | 0.10669 | 0.10669 | 0.10669 | 0.98491 | -0.28861 | 0.98699 | -0.24852 | 29.3114
7 | 0.050656 | 0.012752 | -0.050607 | -0.01272 | 4.9674e-05 | 3.1511e-05 | 0.07701 | 0.07701 | 0.07701 | 0.97906 | -0.40245 | 0.97801 | -0.42298 | 21.1565
8 | -0.078298 | -0.019857 | 0.078347 | 0.019889 | 4.9377e-05 | 3.1481e-05 | 0.11813 | 0.11813 | 0.11813 | 0.98699 | -0.24852 | 0.98767 | -0.23541 | 32.4527
9 | 0.045903 | 0.011541 | -0.045868 | -0.011519 | 3.5598e-05 | 2.2539e-05 | 0.069853 | 0.069854 | 0.069854 | 0.97801 | -0.42298 | 0.97719 | -0.43924 | 19.1905
10 | -0.082531 | -0.020937 | 0.08262 | 0.020994 | 8.8658e-05 | 5.6545e-05 | 0.12443 | 0.12443 | 0.12443 | 0.98767 | -0.23541 | 0.98882 | -0.21309 | 34.1847
11 | 0.040795 | 0.010248 | -0.04079 | -0.010244 | 4.9144e-06 | 3.1027e-06 | 0.06213 | 0.06213 | 0.06213 | 0.97719 | -0.43924 | 0.97706 | -0.44176 | 17.0686
12 | -0.089801 | -0.022794 | 0.089884 | 0.022847 | 8.3112e-05 | 5.3036e-05 | 0.13524 | 0.13524 | 0.13524 | 0.98882 | -0.21309 | 0.98982 | -0.19388 | 37.1532
13 | 0.034793 | 0.0087414 | -0.034769 | -0.008726 | 2.4552e-05 | 1.5422e-05 | 0.052996 | 0.052996 | 0.052996 | 0.97706 | -0.44176 | 0.9763 | -0.45656 | 14.5594
14 | -0.02322 | -0.0058241 | 0.02323 | 0.0058307 | 1.0872e-05 | 6.6631e-06 | 0.035219 | 0.035219 | 0.035219 | 0.98107 | -0.36351 | 0.98158 | -0.35369 | 9.6756
15 | 0.016325 | 0.0040961 | -0.016318 | -0.0040922 | 6.5085e-06 | 3.8081e-06 | 0.024762 | 0.024762 | 0.024762 | 0.98107 | -0.36351 | 0.98065 | -0.37188 | 6.8027
16 | -0.035899 | -0.0090063 | 0.035922 | 0.0090211 | 2.3586e-05 | 1.4827e-05 | 0.054424 | 0.054424 | 0.054424 | 0.98158 | -0.35369 | 0.98228 | -0.33992 | 14.9516
17 | 0.016318 | 0.0040922 | -0.016311 | -0.0040878 | 7.5326e-06 | 4.4077e-06 | 0.024762 | 0.024762 | 0.024762 | 0.98065 | -0.37188 | 0.98015 | -0.38157 | 6.8028
18 | 0.008176 | 0.0020492 | -0.0081755 | -0.002049 | 4.8304e-07 | 2.0286e-07 | 0.012386 | 0.012386 | 0.012386 | 0.98228 | -0.33992 | 0.98222 | -0.34116 | 3.4026
19 | -0.044098 | -0.01107 | 0.044121 | 0.011085 | 2.2902e-05 | 1.4484e-05 | 0.066809 | 0.066809 | 0.066809 | 0.98228 | -0.33992 | 0.98284 | -0.32904 | 18.3542
20 | -0.04839 | -0.012155 | 0.048393 | 0.012156 | 2.701e-06 | 1.7116e-06 | 0.073272 | 0.073272 | 0.073272 | 0.98284 | -0.32904 | 0.9829 | -0.32787 | 20.1298
21 | -0.054122 | -0.013592 | 0.054193 | 0.013637 | 7.1145e-05 | 4.5174e-05 | 0.081946 | 0.081946 | 0.081946 | 0.9829 | -0.32787 | 0.98431 | -0.30036 | 22.5126
22 | -0.01926 | -0.0048363 | 0.019266 | 0.0048405 | 6.9356e-06 | 4.1603e-06 | 0.029089 | 0.029089 | 0.029089 | 0.9853 | -0.28109 | 0.98569 | -0.27355 | 7.9916
23 | 0.01926 | 0.0048363 | -0.019256 | -0.0048345 | 3.1455e-06 | 1.8869e-06 | 0.029089 | 0.029089 | 0.029089 | 0.9853 | -0.28109 | 0.98513 | -0.28452 | 7.9916
24 | -0.019266 | -0.0048405 | 0.019273 | 0.0048447 | 6.9303e-06 | 4.1569e-06 | 0.029089 | 0.029089 | 0.029089 | 0.98569 | -0.27355 | 0.98608 | -0.26602 | 7.9915
25 | 0.0020721 | 0.00051895 | -0.002072 | -0.00051929 | 1.1933e-07 | -3.3718e-07 | 0.0031298 | 0.0031299 | 0.0031299 | 0.98513 | -0.28452 | 0.98507 | -0.28573 | 0.85986
26 | 0.017184 | 0.0043155 | -0.017162 | -0.0043025 | 2.2121e-05 | 1.3044e-05 | 0.02596 | 0.02596 | 0.02596 | 0.98513 | -0.28452 | 0.98374 | -0.31153 | 7.1319
27 | 0.0018981 | 0.00047477 | -0.0018978 | -0.00047564 | 2.6234e-07 | -8.6982e-07 | 0.0028978 | 0.0028982 | 0.0028982 | 0.97455 | -0.49118 | 0.9744 | -0.49409 | 0.79621
28 | -0.0077947 | -0.0019526 | 0.0077978 | 0.0019538 | 3.0554e-06 | 1.2384e-06 | 0.011901 | 0.011901 | 0.011901 | 0.97455 | -0.49118 | 0.97496 | -0.48295 | 3.2696
29 | 0.015483 | 0.0038815 | -0.015481 | -0.0038802 | 2.2315e-06 | 1.2953e-06 | 0.023631 | 0.023631 | 0.023631 | 0.97496 | -0.48295 | 0.97481 | -0.48598 | 6.4921
30 | -0.023281 | -0.0058354 | 0.02329 | 0.005841 | 9.1463e-06 | 5.6126e-06 | 0.035532 | 0.035532 | 0.035532 | 0.97496 | -0.48295 | 0.97538 | -0.47471 | 9.7616
31 | 0.0081067 | 0.0020321 | -0.0081047 | -0.0020312 | 1.9342e-06 | 8.181e-07 | 0.012375 | 0.012375 | 0.012375 | 0.97481 | -0.48598 | 0.97456 | -0.49099 | 3.3997
32 | -0.025248 | -0.0063316 | 0.025267 | 0.0063436 | 1.9519e-05 | 1.2054e-05 | 0.038518 | 0.038518 | 0.038518 | 0.97538 | -0.47471 | 0.9762 | -0.4585 | 10.582
33 | -0.030953 | -0.0077686 | 0.030956 | 0.0077703 | 2.8723e-06 | 1.7953e-06 | 0.047185 | 0.047185 | 0.047185 | 0.9762 | -0.4585 | 0.9763 | -0.45656 | 12.9628
34 | 0.010704 | 0.0026832 | -0.010701 | -0.0026816 | 2.994e-06 | 1.549e-06 | 0.016401 | 0.016401 | 0.016401 | 0.97117 | -0.55703 | 0.97087 | -0.5629 | 4.5059
35 | -0.015033 | -0.0037681 | 0.015038 | 0.003771 | 5.0682e-06 | 2.9283e-06 | 0.023034 | 0.023034 | 0.023034 | 0.97117 | -0.55703 | 0.97152 | -0.54995 | 6.3279
36 | 0.0080449 | 0.0020159 | -0.0080443 | -0.0020157 | 5.3601e-07 | 2.2679e-07 | 0.01233 | 0.01233 | 0.01233 | 0.97087 | -0.5629 | 0.9708 | -0.5643 | 3.3874
37 | -0.019386 | -0.0048608 | 0.019387 | 0.0048612 | 6.3191e-07 | 3.8076e-07 | 0.029694 | 0.029694 | 0.029694 | 0.97152 | -0.54995 | 0.97156 | -0.54927 | 8.1576
38 | 0.0053883 | 0.0013504 | -0.0053881 | -0.0013504 | 2.2643e-07 | 3.5474e-08 | 0.0082591 | 0.0082591 | 0.0082591 | 0.9708 | -0.5643 | 0.97075 | -0.56518 | 2.269
39 | 0.002656 | 0.00066523 | -0.0026557 | -0.00066559 | 2.6555e-07 | -3.583e-07 | 0.0040709 | 0.0040711 | 0.0040711 | 0.9708 | -0.5643 | 0.97069 | -0.5664 | 1.1184
40 | -0.022278 | -0.0055856 | 0.022288 | 0.005592 | 1.0348e-05 | 6.3289e-06 | 0.034121 | 0.034121 | 0.034121 | 0.97156 | -0.54927 | 0.97205 | -0.53953 | 9.3738
41 | -0.022288 | -0.005592 | 0.022315 | 0.0056082 | 2.6503e-05 | 1.6209e-05 | 0.034121 | 0.03412 | 0.034121 | 0.97205 | -0.53953 | 0.97331 | -0.51462 | 9.3738
42 | 0.066999 | 0.01691 | -0.066894 | -0.016845 | 0.00010478 | 6.5706e-05 | 0.10186 | 0.10186 | 0.10186 | 0.97916 | -0.39989 | 0.97749 | -0.43259 | 13.9918
43 | -0.066999 | -0.01691 | 0.067077 | 0.016959 | 7.8184e-05 | 4.9025e-05 | 0.10186 | 0.10186 | 0.10186 | 0.97916 | -0.39989 | 0.98041 | -0.37556 | 13.9917
44 | 0.0080513 | 0.0020179 | -0.0080509 | -0.0020177 | 3.5129e-07 | 1.4666e-07 | 0.012256 | 0.012256 | 0.012256 | 0.97749 | -0.43259 | 0.97744 | -0.43351 | 3.3671
45 | 0.058843 | 0.014827 | -0.058803 | -0.014802 | 3.9898e-05 | 2.4871e-05 | 0.089604 | 0.089604 | 0.089604 | 0.97749 | -0.43259 | 0.97676 | -0.44678 | 12.3083
46 | -0.07366 | -0.018609 | 0.073706 | 0.018638 | 4.5928e-05 | 2.89e-05 | 0.11185 | 0.11185 | 0.11185 | 0.98041 | -0.37556 | 0.98107 | -0.36256 | 15.3641
47 | 0.05073 | 0.012779 | -0.050657 | -0.012733 | 7.309e-05 | 4.5147e-05 | 0.077306 | 0.077307 | 0.077307 | 0.97676 | -0.44678 | 0.97523 | -0.47695 | 10.619
48 | -0.0269 | -0.0067574 | 0.026917 | 0.0067681 | 1.7177e-05 | 1.0656e-05 | 0.041131 | 0.041131 | 0.041131 | 0.97331 | -0.51462 | 0.97399 | -0.50125 | 11.2997
49 | -0.10634 | -0.027011 | 0.1065 | 0.027116 | 0.00016338 | 0.00010434 | 0.1598 | 0.1598 | 0.1598 | 0.99099 | -0.17143 | 0.99266 | -0.13956 | 43.9001
50 | 0.099389 | 0.02527 | -0.099281 | -0.025202 | 0.00010733 | 6.8527e-05 | 0.14936 | 0.14936 | 0.14936 | 0.99099 | -0.17143 | 0.98982 | -0.19388 | 41.0343
51 | -0.11347 | -0.028863 | 0.11368 | 0.028994 | 0.00020445 | 0.0001306 | 0.17025 | 0.17025 | 0.17025 | 0.99266 | -0.13956 | 0.99461 | -0.10225 | 46.7719
52 | 0.0060313 | 0.0015116 | -0.0060303 | -0.0015113 | 1.0542e-06 | 2.2668e-07 | 0.0090233 | 0.0090235 | 0.0090235 | 0.99461 | -0.10225 | 0.99442 | -0.10592 | 2.479
53 | -0.11971 | -0.030506 | 0.1203 | 0.030885 | 0.00059384 | 0.00037942 | 0.17927 | 0.17927 | 0.17927 | 0.99461 | -0.10225 | 1 | 0 | 49.2508
54 | 0.23385 | 0.060234 | -0.23338 | -0.059935 | 0.0004678 | 0.00029885 | 0.34855 | 0.34855 | 0.34855 | 1 | 0 | 0.99782 | -0.041194 | 47.8783
55 | 0.23034 | 0.059172 | -0.22871 | -0.05813 | 0.0016312 | 0.0010421 | 0.34402 | 0.34402 | 0.34402 | 0.99782 | -0.041194 | 0.9901 | -0.18815 | 47.255
56 | 0.013023 | 0.0032649 | -0.01302 | -0.003263 | 3.4208e-06 | 1.9011e-06 | 0.019871 | 0.019871 | 0.019871 | 0.97523 | -0.47695 | 0.97495 | -0.48247 | 5.4591
57 | 0.035949 | 0.0090462 | -0.035925 | -0.0090315 | 2.353e-05 | 1.4799e-05 | 0.054864 | 0.054864 | 0.054864 | 0.97523 | -0.47695 | 0.97453 | -0.49066 | 15.0727
58 | 0.010074 | 0.0025248 | -0.010074 | -0.0025246 | 3.1045e-07 | 1.5502e-07 | 0.015375 | 0.015375 | 0.015375 | 0.97495 | -0.48247 | 0.97491 | -0.48311 | 4.224
59 | 0.030475 | 0.0076655 | -0.03046 | -0.0076559 | 1.5407e-05 | 9.6242e-06 | 0.046543 | 0.046543 | 0.046543 | 0.97453 | -0.49066 | 0.97399 | -0.50125 | 12.7864
60 | 0.006661 | 0.0016693 | -0.0066601 | -0.001669 | 9.4356e-07 | 3.0038e-07 | 0.010167 | 0.010167 | 0.010167 | 0.97491 | -0.48311 | 0.97476 | -0.48609 | 2.7931
61 | 0.0053298 | 0.0013356 | -0.0053297 | -0.0013356 | 1.4526e-07 | 2.0026e-08 | 0.0081362 | 0.0081362 | 0.0081362 | 0.97476 | -0.48609 | 0.97473 | -0.48666 | 2.2352
62 | 0.002419 | 0.00060615 | -0.002419 | -0.00060626 | 5.8418e-08 | -1.05e-07 | 0.0036928 | 0.0036929 | 0.0036929 | 0.97473 | -0.48666 | 0.97471 | -0.48717 | 1.0145
63 | -0.059651 | -0.015005 | 0.059832 | 0.01512 | 0.00018103 | 0.00011511 | 0.090197 | 0.090197 | 0.090197 | 0.98431 | -0.30036 | 0.98757 | -0.23704 | 24.7794
64 | -0.10164 | -0.025629 | 0.10188 | 0.025782 | 0.00023845 | 0.00015226 | 0.15321 | 0.15321 | 0.15321 | 0.98757 | -0.23704 | 0.9901 | -0.18815 | 42.0896
65 | 0.041811 | 0.010509 | -0.041799 | -0.010501 | 1.2446e-05 | 7.8588e-06 | 0.06301 | 0.06301 | 0.06301 | 0.98757 | -0.23704 | 0.98725 | -0.24328 | 17.3104
66 | 0.12683 | 0.032349 | -0.12625 | -0.03198 | 0.0005792 | 0.00036851 | 0.19081 | 0.19081 | 0.19081 | 0.9901 | -0.18815 | 0.98516 | -0.28319 | 26.2103
67 | 0.030413 | 0.0076474 | -0.0304 | -0.0076393 | 1.301e-05 | 8.1152e-06 | 0.045848 | 0.045848 | 0.045848 | 0.98725 | -0.24328 | 0.98679 | -0.25224 | 12.5956
68 | 0.12045 | 0.030528 | -0.12043 | -0.030513 | 2.3334e-05 | 1.4838e-05 | 0.18206 | 0.18206 | 0.18206 | 0.98516 | -0.28319 | 0.98495 | -0.28723 | 25.0079
69 | 0.02718 | 0.0068323 | -0.027168 | -0.0068249 | 1.2083e-05 | 7.4885e-06 | 0.040993 | 0.040993 | 0.040993 | 0.98679 | -0.25224 | 0.98631 | -0.26156 | 11.2618
70 | -0.0031536 | -0.00079037 | 0.0031537 | 0.00079029 | 9.2737e-08 | -7.8194e-08 | 0.004774 | 0.004774 | 0.004774 | 0.98295 | -0.32601 | 0.98299 | -0.32539 | 1.3115
71 | 0.10423 | 0.026373 | -0.10404 | -0.026255 | 0.00018552 | 0.00011773 | 0.15786 | 0.15786 | 0.15786 | 0.98299 | -0.32539 | 0.98107 | -0.36256 | 21.6846
72 | -0.10738 | -0.027163 | 0.10745 | 0.027207 | 6.9473e-05 | 4.4108e-05 | 0.16264 | 0.16264 | 0.16264 | 0.98299 | -0.32539 | 0.98368 | -0.31192 | 22.3403
73 | 0.030334 | 0.0076167 | -0.030324 | -0.0076102 | 1.0465e-05 | 6.5314e-06 | 0.046013 | 0.046013 | 0.046013 | 0.98107 | -0.36256 | 0.98071 | -0.36979 | 12.6411
74 | -0.11492 | -0.02908 | 0.11506 | 0.029167 | 0.00013636 | 8.6659e-05 | 0.17395 | 0.17394 | 0.17395 | 0.98368 | -0.31192 | 0.98495 | -0.28723 | 23.8936
75 | 0.025568 | 0.0064183 | -0.025544 | -0.0064036 | 2.3863e-05 | 1.4739e-05 | 0.038798 | 0.038798 | 0.038798 | 0.98071 | -0.36979 | 0.97971 | -0.38938 | 10.6588
76 | 0.01773 | 0.004445 | -0.017726 | -0.0044428 | 3.8396e-06 | 2.2796e-06 | 0.026929 | 0.026929 | 0.026929 | 0.97971 | -0.38938 | 0.97947 | -0.39392 | 7.3981
77 | 0.022131 | 0.0055626 | -0.022127 | -0.0055597 | 4.7112e-06 | 2.8714e-06 | 0.033395 | 0.033395 | 0.033395 | 0.98631 | -0.26156 | 0.98608 | -0.26602 | 9.1744
78 | -0.0041611 | -0.0010429 | 0.0041611 | 0.0010428 | 7.3544e-08 | -1.4646e-08 | 0.0063229 | 0.0063229 | 0.0063229 | 0.97925 | -0.39836 | 0.97927 | -0.39799 | 1.7371
79 | -0.0080882 | -0.0020271 | 0.0080896 | 0.0020276 | 1.366e-06 | 5.7077e-07 | 0.01229 | 0.01229 | 0.01229 | 0.97927 | -0.39799 | 0.97945 | -0.39445 | 3.3764
80 | 0.011782 | 0.0029541 | -0.011778 | -0.0029517 | 4.5921e-06 | 2.4497e-06 | 0.017822 | 0.017823 | 0.017823 | 0.98374 | -0.31153 | 0.98333 | -0.31971 | 4.8963
81 | 0.0057324 | 0.0014366 | -0.005731 | -0.0014363 | 1.3496e-06 | 2.572e-07 | 0.0086745 | 0.0086747 | 0.0086747 | 0.98333 | -0.31971 | 0.98307 | -0.32466 | 2.3832
82 | 0.012251 | 0.0030707 | -0.012251 | -0.0030705 | 3.0578e-07 | 1.6607e-07 | 0.018612 | 0.018612 | 0.018612 | 0.97947 | -0.39392 | 0.97945 | -0.39445 | 5.1131

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35924 | 0.091979

## res_load
| p_mw | q_mvar
0 | 0.0056957 | 0.0014275
1 | 0.0028472 | 0.00071358
2 | 0.0041217 | 0.001033
3 | 0.0061785 | 0.0015485
4 | 0.0071392 | 0.0017893
5 | 0.0062776 | 0.0015733
6 | 0.0075844 | 0.0019008
7 | 0.0047036 | 0.0011788
8 | 0.0041846 | 0.0010488
9 | 0.0050724 | 0.0012713
10 | 0.0071807 | 0.0017996
11 | 0.0059972 | 0.001503
12 | 0.0068948 | 0.001728
13 | 0.016311 | 0.0040878
14 | 0.0081755 | 0.002049
15 | 0.0042689 | 0.0010699
16 | 0.0057293 | 0.0014359
17 | 0.0058966 | 0.0014778
18 | 0.0018978 | 0.00047564
19 | 0.0073744 | 0.0018482
20 | 0.0019574 | 0.00049056
21 | 0.0081047 | 0.0020312
22 | 0.0056855 | 0.0014249
23 | 0.003813 | 0.00095564
24 | 0.0043288 | 0.0010849
25 | 0.0026564 | 0.00066576
26 | 0.0043483 | 0.0010898
27 | 0.0028906 | 0.00072446
28 | 0.0053881 | 0.0013504
29 | 0.0026557 | 0.00066559
30 | 0.0065827 | 0.0016498
31 | 0.0080509 | 0.0020177
32 | 0.0080729 | 0.0020233
33 | 0.0045855 | 0.0011492
34 | 0.0069473 | 0.0017412
35 | 0.0069734 | 0.0017477
36 | 0.0093975 | 0.0023552
37 | 0.0060303 | 0.0015113
38 | 0.0034316 | 0.00086004
39 | 0.0030436 | 0.00076281
40 | 0.001685 | 0.0004223
41 | 0.0029456 | 0.00073825
42 | 0.0054502 | 0.0013659
43 | 0.0034127 | 0.00085529
44 | 0.0035425 | 0.00088782
45 | 0.0013302 | 0.00033338
46 | 0.0029107 | 0.00072948
47 | 0.0054579 | 0.0013679
48 | 0.011386 | 0.0028537
49 | 0.0057952 | 0.0014524
50 | 0.0032197 | 0.00080694
51 | 0.0031536 | 0.00079037
52 | 0.0074754 | 0.0018735
53 | 0.0047556 | 0.0011919
54 | 0.00537 | 0.0013459
55 | 0.0078145 | 0.0019585
56 | 0.0050364 | 0.0012622
57 | 0.0028532 | 0.00071508
58 | 0.002419 | 0.00060626
59 | 0.0041611 | 0.0010429
60 | 0.0039271 | 0.00098422
61 | 0.002072 | 0.00051929
62 | 0.0053799 | 0.0013483
63 | 0.0060453 | 0.0015151
64 | 0.0054748 | 0.0013721
65 | 0.004161 | 0.0010429
66 | 0.005731 | 0.0014363

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1