## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-146_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-146_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-146_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-146_0_4_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_1061-146_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-146_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1061-146_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1061-146_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-146_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1061-146_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1061-146_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-146_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1061-146_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1061-146_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1061-146_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1061-146_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1061-146_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1061-146_0_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1061-146_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1061-146_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1061-146_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1061-146_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1061-146_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1061-146_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1061-146_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1061-146_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1061-146_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1061-146_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_MV_216_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-146_0_4_load_0 | 0 | 0.049174 | 0.012324 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-146_0_4_load_3 | 2 | 0.024119 | 0.0060448 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-146_0_4_load_23 | 3 | 0.027168 | 0.0068089 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-146_0_4_load_15 | 5 | 0.012168 | 0.0030497 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-146_0_4_load_27 | 6 | 0.010302 | 0.002582 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-146_0_4_load_29 | 9 | 0.025721 | 0.0064464 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-146_0_4_load_17 | 12 | 0.012662 | 0.0031733 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-146_0_4_load_30 | 13 | 0.071015 | 0.017798 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-146_0_4_load_26 | 14 | 0.020308 | 0.0050896 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-146_0_4_load_22 | 15 | 0.0091061 | 0.0022822 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-146_0_4_load_14 | 16 | 0.0057712 | 0.0014464 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-146_0_4_load_28 | 17 | 0.031908 | 0.007997 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-146_0_4_load_16 | 18 | 0.012022 | 0.003013 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-146_0_4_load_25 | 19 | 0.0064126 | 0.0016071 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-146_0_4_load_11 | 20 | 0.017951 | 0.0044989 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-146_0_4_load_12 | 21 | 0.010869 | 0.0027241 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-146_0_4_load_13 | 23 | 0.012656 | 0.0031718 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-146_0_4_load_18 | 24 | 0.0062878 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-146_0_4_load_19 | 25 | 0.012386 | 0.0031042 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-146_0_4_load_21 | 26 | 0.046931 | 0.011762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-146_0_4_load_20 | 27 | 0.025079 | 0.0062854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-146_0_4_line_0 |  | 0 | 1 | 0.037994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-146_0_4_line_1 |  | 1 | 2 | 0.03349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-146_0_4_line_2 |  | 2 | 3 | 0.0254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-146_0_4_line_3 |  | 3 | 15 | 0.019107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1061-146_0_4_line_4 |  | 4 | 5 | 0.013394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-146_0_4_line_5 |  | 4 | 6 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-146_0_4_line_6 |  | 5 | 16 | 0.00016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-146_0_4_line_7 |  | 6 | 17 | 0.014092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-146_0_4_line_8 |  | 7 | 8 | 0.032216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-146_0_4_line_9 |  | 7 | 9 | 0.0090287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-146_0_4_line_10 |  | 8 | 13 | 0.039196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-146_0_4_line_11 |  | 9 | 17 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-146_0_4_line_12 |  | 10 | 11 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-146_0_4_line_13 |  | 10 | 12 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-146_0_4_line_14 |  | 11 | 14 | 0.052116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-146_0_4_line_15 |  | 12 | 18 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-146_0_4_line_16 |  | 13 | 19 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1061-146_0_4_line_17 |  | 14 | 22 | 0.024721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-146_0_4_line_18 |  | 15 | 22 | 0.018353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1061-146_0_4_line_19 |  | 18 | 24 | 0.0078588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-146_0_4_line_20 |  | 19 | 22 | 0.020754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1061-146_0_4_line_21 |  | 20 | 21 | 0.016133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-146_0_4_line_22 |  | 21 | 23 | 0.0029107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-146_0_4_line_23 |  | 22 | 23 | 0.011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-146_0_4_line_24 |  | 24 | 25 | 0.0073177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-146_0_4_line_25 |  | 25 | 26 | 0.032199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-146_0_4_line_26 |  | 26 | 27 | 0.0038702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-146_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 28 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2665883.2574 | 1210570.4558 | 2665892.1773 | 1210567.9416 | 2665920.8532 | 1210569.6463
1 | 2665883.2574 | 1210570.4558 | 2665872.7434 | 1210538.6593
2 | 2665864.769 | 1210514.5432 | 2665872.7434 | 1210538.6593
3 | 2665864.769 | 1210514.5432 | 2665858.7703 | 1210496.4019
4 | 2665946.9714 | 1210532.3917 | 2665951.3346 | 1210530.9501 | 2665959.6802 | 1210528.1616
5 | 2665946.9714 | 1210532.3917 | 2665940.8887 | 1210513.4108
6 | 2665959.8413 | 1210528.1077 | 2665959.6802 | 1210528.1616
7 | 2665940.8887 | 1210513.4108 | 2665936.5882 | 1210499.9914
8 | 2665920.6115 | 1210450.1277 | 2665921.5077 | 1210452.9282 | 2665930.4414 | 1210480.8107
9 | 2665930.4414 | 1210480.8107 | 2665933.1967 | 1210489.4086
10 | 2665920.6115 | 1210450.1277 | 2665911.4328 | 1210454.0398 | 2665884.5603 | 1210465.5097
11 | 2665933.1967 | 1210489.4086 | 2665936.5882 | 1210499.9914
12 | 2665782.3808 | 1210509.2388 | 2665790.249 | 1210528.3484
13 | 2665790.249 | 1210528.3484 | 2665796.1874 | 1210526.0347 | 2665806.3009 | 1210522.0993 | 2665816.8715 | 1210518.2026
14 | 2665782.3808 | 1210509.2388 | 2665830.2937 | 1210488.7333
15 | 2665830.7872 | 1210513.0728 | 2665816.8715 | 1210518.2026
16 | 2665884.5603 | 1210465.5097 | 2665872.0964 | 1210470.8296
17 | 2665853.0084 | 1210478.9769 | 2665847.3649 | 1210481.4272 | 2665830.2937 | 1210488.7333
18 | 2665853.0084 | 1210478.9769 | 2665858.7703 | 1210496.4019
19 | 2665830.7872 | 1210513.0728 | 2665838.161 | 1210510.3546
20 | 2665853.0084 | 1210478.9769 | 2665872.0964 | 1210470.8296
21 | 2665841.7291 | 1210450.714 | 2665847.709 | 1210465.6978
22 | 2665847.709 | 1210465.6978 | 2665848.7878 | 1210468.4012
23 | 2665853.0084 | 1210478.9769 | 2665848.7878 | 1210468.4012
24 | 2665840.9564 | 1210517.1173 | 2665838.161 | 1210510.3546 | 2665838.161 | 1210510.3546
25 | 2665853.2565 | 1210546.8743 | 2665840.9564 | 1210517.1173
26 | 2665853.2565 | 1210546.8743 | 2665854.7349 | 1210550.451

## bus_geodata
| x | y | coords
0 | 2665920.8532 | 1210569.6463
1 | 2665883.2574 | 1210570.4558
2 | 2665872.7434 | 1210538.6593
3 | 2665864.769 | 1210514.5432
4 | 2665946.9714 | 1210532.3917
5 | 2665959.6802 | 1210528.1616
6 | 2665940.8887 | 1210513.4108
7 | 2665930.4414 | 1210480.8107
8 | 2665920.6115 | 1210450.1277
9 | 2665933.1967 | 1210489.4086
10 | 2665790.249 | 1210528.3484
11 | 2665782.3808 | 1210509.2388
12 | 2665816.8715 | 1210518.2026
13 | 2665884.5603 | 1210465.5097
14 | 2665830.2937 | 1210488.7333
15 | 2665858.7703 | 1210496.4019
16 | 2665959.8413 | 1210528.1077
17 | 2665936.5882 | 1210499.9914
18 | 2665830.7872 | 1210513.0728
19 | 2665872.0964 | 1210470.8296
20 | 2665841.7291 | 1210450.714
21 | 2665847.709 | 1210465.6978
22 | 2665853.0084 | 1210478.9769
23 | 2665848.7878 | 1210468.4012
24 | 2665838.161 | 1210510.3546
25 | 2665840.9564 | 1210517.1173
26 | 2665853.2565 | 1210546.8743
27 | 2665854.7349 | 1210550.451
28 | 2665853.0084 | 1210478.9769

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9951 | -0.094179 | 0.049174 | 0.012324
1 | 0.9968 | -0.061349 | 0 | 0
2 | 0.99831 | -0.032504 | 0.024119 | 0.0060448
3 | 1 | 0 | -0.42885 | -0.10875
4 | 0.98637 | -0.26212 | 0 | 0
5 | 0.98615 | -0.26642 | 0.012168 | 0.0030497
6 | 0.9867 | -0.25572 | 0.010302 | 0.002582
7 | 0.98839 | -0.2228 | 0 | 0
8 | 0.99094 | -0.17357 | 0 | 0
9 | 0.98768 | -0.23664 | 0.025721 | 0.0064464
10 | 0.98515 | -0.28413 | 0 | 0
11 | 0.98736 | -0.24142 | 0 | 0
12 | 0.9821 | -0.34334 | 0.012662 | 0.0031733
13 | 0.99403 | -0.11401 | 0.071015 | 0.017798
14 | 0.99293 | -0.13452 | 0.020308 | 0.0050896
15 | 0.99795 | -0.038886 | 0.0091061 | 0.0022822
16 | 0.98615 | -0.26644 | 0.0057712 | 0.0014464
17 | 0.98707 | -0.24859 | 0.031908 | 0.007997
18 | 0.98069 | -0.37091 | 0.012022 | 0.003013
19 | 0.995 | -0.095276 | 0.0064126 | 0.0016071
20 | 0.99527 | -0.090278 | 0.017951 | 0.0044989
21 | 0.99553 | -0.085184 | 0.010869 | 0.0027241
22 | 0.99604 | -0.075408 | 0 | 0
23 | 0.99561 | -0.083709 | 0.012656 | 0.0031718
24 | 0.98002 | -0.38383 | 0.0062878 | 0.0015759
25 | 0.97945 | -0.39505 | 0.012386 | 0.0031042
26 | 0.9773 | -0.43727 | 0.046931 | 0.011762
27 | 0.97721 | -0.43904 | 0.025079 | 0.0062854
28 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.049174 | -0.012324 | 0.049251 | 0.012373 | 7.7037e-05 | 4.8809e-05 | 0.073532 | 0.073532 | 0.073532 | 0.9951 | -0.094179 | 0.9968 | -0.061349 | 20.2011
1 | -0.049251 | -0.012373 | 0.049319 | 0.012416 | 6.7904e-05 | 4.3021e-05 | 0.073532 | 0.073532 | 0.073532 | 0.9968 | -0.061349 | 0.99831 | -0.032504 | 20.2011
2 | -0.073438 | -0.018461 | 0.073552 | 0.018534 | 0.00011417 | 7.2737e-05 | 0.10948 | 0.10948 | 0.10948 | 0.99831 | -0.032504 | 1 | 0 | 30.0775
3 | 0.35365 | 0.090219 | -0.35299 | -0.089795 | 0.00066282 | 0.00042345 | 0.5268 | 0.5268 | 0.5268 | 1 | 0 | 0.99795 | -0.038886 | 48.2413
4 | 0.017943 | 0.0044983 | -0.01794 | -0.0044961 | 3.6804e-06 | 2.1845e-06 | 0.027069 | 0.027069 | 0.027069 | 0.98637 | -0.26212 | 0.98615 | -0.26642 | 7.4366
5 | -0.017943 | -0.0044983 | 0.017949 | 0.0045015 | 5.4767e-06 | 3.2506e-06 | 0.027069 | 0.027069 | 0.027069 | 0.98637 | -0.26212 | 0.9867 | -0.25572 | 7.4366
6 | 0.0057712 | 0.0014464 | -0.0057712 | -0.0014464 | 4.8297e-09 | 9.2422e-10 | 0.0087082 | 0.0087082 | 0.0087082 | 0.98615 | -0.26642 | 0.98615 | -0.26644 | 2.3924
7 | -0.028251 | -0.0070835 | 0.028261 | 0.0070895 | 9.5923e-06 | 5.959e-06 | 0.042606 | 0.042605 | 0.042606 | 0.9867 | -0.25572 | 0.98707 | -0.24859 | 11.7048
8 | -0.085981 | -0.021591 | 0.086184 | 0.02172 | 0.00020247 | 0.00012917 | 0.12946 | 0.12946 | 0.12946 | 0.98839 | -0.2228 | 0.99094 | -0.17357 | 35.5656
9 | 0.085981 | 0.021591 | -0.085925 | -0.021555 | 5.6744e-05 | 3.62e-05 | 0.12946 | 0.12946 | 0.12946 | 0.98839 | -0.2228 | 0.98768 | -0.23664 | 35.5656
10 | -0.086184 | -0.02172 | 0.08643 | 0.021877 | 0.00024634 | 0.00015715 | 0.12946 | 0.12946 | 0.12946 | 0.99094 | -0.17357 | 0.99403 | -0.11401 | 35.5655
11 | 0.060203 | 0.015108 | -0.060169 | -0.015086 | 3.4289e-05 | 2.1803e-05 | 0.090708 | 0.090708 | 0.090708 | 0.98768 | -0.23664 | 0.98707 | -0.24859 | 24.9197
12 | -0.11608 | -0.029369 | 0.11632 | 0.029521 | 0.00023844 | 0.00015234 | 0.17543 | 0.17543 | 0.17543 | 0.98515 | -0.28413 | 0.98736 | -0.24142 | 48.1961
13 | 0.11608 | 0.029369 | -0.11575 | -0.029159 | 0.00032883 | 0.00021009 | 0.17543 | 0.17543 | 0.17543 | 0.98515 | -0.28413 | 0.9821 | -0.34334 | 48.1961
14 | -0.11632 | -0.029521 | 0.11692 | 0.029906 | 0.00060149 | 0.00038429 | 0.17543 | 0.17543 | 0.17543 | 0.98736 | -0.24142 | 0.99293 | -0.13452 | 48.196
15 | 0.10309 | 0.025986 | -0.10295 | -0.025899 | 0.00013578 | 8.6713e-05 | 0.15625 | 0.15625 | 0.15625 | 0.9821 | -0.34334 | 0.98069 | -0.37091 | 42.9257
16 | -0.15744 | -0.039675 | 0.15759 | 0.039765 | 0.00014124 | 9.0041e-05 | 0.23576 | 0.23576 | 0.23576 | 0.99403 | -0.11401 | 0.995 | -0.095276 | 32.3851
17 | -0.13723 | -0.034995 | 0.13762 | 0.035246 | 0.00039289 | 0.00025113 | 0.20587 | 0.20587 | 0.20587 | 0.99293 | -0.13452 | 0.99604 | -0.075408 | 56.5567
18 | 0.34388 | 0.087513 | -0.34327 | -0.087127 | 0.00060425 | 0.000386 | 0.51322 | 0.51322 | 0.51322 | 0.99795 | -0.038886 | 0.99604 | -0.075408 | 46.998
19 | 0.090933 | 0.022886 | -0.090876 | -0.02285 | 5.613e-05 | 3.5824e-05 | 0.13801 | 0.13801 | 0.13801 | 0.98069 | -0.37091 | 0.98002 | -0.38383 | 37.9144
20 | -0.164 | -0.041372 | 0.16415 | 0.041471 | 0.00015617 | 9.9139e-05 | 0.24535 | 0.24535 | 0.24535 | 0.995 | -0.095276 | 0.99604 | -0.075408 | 22.4683
21 | -0.017951 | -0.0044989 | 0.017955 | 0.0045015 | 4.3577e-06 | 2.5792e-06 | 0.026838 | 0.026838 | 0.026838 | 0.99527 | -0.090278 | 0.99553 | -0.085184 | 7.3732
22 | -0.028825 | -0.0072256 | 0.028827 | 0.0072269 | 2.0261e-06 | 1.2589e-06 | 0.043084 | 0.043084 | 0.043084 | 0.99553 | -0.085184 | 0.99561 | -0.083709 | 11.8364
23 | 0.041499 | 0.010409 | -0.041482 | -0.010399 | 1.6414e-05 | 1.0357e-05 | 0.061999 | 0.061999 | 0.061999 | 0.99604 | -0.075408 | 0.99561 | -0.083709 | 17.0328
24 | 0.084589 | 0.021274 | -0.084543 | -0.021245 | 4.5285e-05 | 2.889e-05 | 0.12846 | 0.12846 | 0.12846 | 0.98002 | -0.38383 | 0.97945 | -0.39505 | 35.2916
25 | 0.072157 | 0.018141 | -0.072012 | -0.018049 | 0.00014516 | 9.2498e-05 | 0.10964 | 0.10964 | 0.10964 | 0.97945 | -0.39505 | 0.9773 | -0.43727 | 30.1221
26 | 0.025081 | 0.0062867 | -0.025079 | -0.0062854 | 2.1165e-06 | 1.3061e-06 | 0.038188 | 0.038188 | 0.038188 | 0.9773 | -0.43727 | 0.97721 | -0.43904 | 10.4913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45602 | 0.11556

## res_load
| p_mw | q_mvar
0 | 0.049174 | 0.012324
1 | 0.024119 | 0.0060448
2 | 0.027168 | 0.0068089
3 | 0.012168 | 0.0030497
4 | 0.010302 | 0.002582
5 | 0.025721 | 0.0064464
6 | 0.012662 | 0.0031733
7 | 0.071015 | 0.017798
8 | 0.020308 | 0.0050896
9 | 0.0091061 | 0.0022822
10 | 0.0057712 | 0.0014464
11 | 0.031908 | 0.007997
12 | 0.012022 | 0.003013
13 | 0.0064126 | 0.0016071
14 | 0.017951 | 0.0044989
15 | 0.010869 | 0.0027241
16 | 0.012656 | 0.0031718
17 | 0.0062878 | 0.0015759
18 | 0.012386 | 0.0031042
19 | 0.046931 | 0.011762
20 | 0.025079 | 0.0062854

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1