## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-148_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-148_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-148_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-148_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-148_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1061-148_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1061-148_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1061-148_0_5_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1061-148_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1061-148_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1061-148_0_5_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_1061-148_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1061-148_0_5_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_1061-148_0_5_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_1061-148_0_5_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1061-148_0_5_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1061-148_0_5_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_1061-148_0_5_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1061-148_0_5_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_1061-148_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1061-148_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1061-148_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1061-148_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1061-148_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1061-148_0_5_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1061-148_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1061-148_0_5_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1061-148_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1061-148_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1061-148_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1061-148_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1061-148_0_5_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1061-148_0_5_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1061-148_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1061-148_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1061-148_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1061-148_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1061-148_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1061-148_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1061-148_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1061-148_0_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1061-148_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1061-148_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1061-148_0_5_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1061-148_0_5_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1061-148_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1061-148_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1061-148_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1061-148_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1061-148_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1061-148_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_MV_219_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-148_0_5_load_0 | 0 | 0.038068 | 0.0095408 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-148_0_5_load_3 | 3 | 0.048806 | 0.012232 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-148_0_5_load_18 | 6 | 0.03229 | 0.0080926 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-148_0_5_load_26 | 7 | 0.0096442 | 0.0024171 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-148_0_5_load_50 | 10 | 0.01085 | 0.0027192 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-148_0_5_load_51 | 12 | 0.0085673 | 0.0021472 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-148_0_5_load_45 | 13 | 0.011571 | 0.0029 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-148_0_5_load_43 | 14 | 0.012561 | 0.0031482 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-148_0_5_load_27 | 15 | 0.022406 | 0.0056156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-148_0_5_load_48 | 16 | 0.016947 | 0.0042474 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-148_0_5_load_25 | 17 | 0.015914 | 0.0039884 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-148_0_5_load_44 | 18 | 0.015615 | 0.0039134 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-148_0_5_load_11 | 19 | 0.012424 | 0.0031136 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-148_0_5_load_12 | 20 | 0.0078168 | 0.0019591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-148_0_5_load_13 | 21 | 0.011638 | 0.0029167 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-148_0_5_load_14 | 22 | 0.011586 | 0.0029036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-148_0_5_load_15 | 23 | 0.0074937 | 0.0018781 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-148_0_5_load_29 | 24 | 0.0063571 | 0.0015932 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-148_0_5_load_24 | 25 | 0.0076863 | 0.0019264 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-148_0_5_load_30 | 26 | 0.012694 | 0.0031815 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-148_0_5_load_16 | 28 | 0.0196 | 0.0049122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-148_0_5_load_17 | 29 | 0.019417 | 0.0048664 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-148_0_5_load_19 | 30 | 0.035468 | 0.0088892 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-148_0_5_load_31 | 31 | 0.012939 | 0.0032428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-148_0_5_load_32 | 32 | 0.0097113 | 0.0024339 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-148_0_5_load_20 | 33 | 0.0075496 | 0.0018921 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-148_0_5_load_21 | 34 | 0.0052193 | 0.0013081 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-148_0_5_load_23 | 35 | 0.014421 | 0.0036143 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-148_0_5_load_38 | 36 | 0.0049591 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-148_0_5_load_39 | 37 | 0.0044752 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-148_0_5_load_28 | 38 | 0.0090753 | 0.0022745 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-148_0_5_load_40 | 39 | 0.014791 | 0.003707 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-148_0_5_load_41 | 41 | 0.0062647 | 0.0015701 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-148_0_5_load_42 | 42 | 0.0088493 | 0.0022178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-148_0_5_load_49 | 43 | 0.011653 | 0.0029204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-148_0_5_load_47 | 44 | 0.01354 | 0.0033935 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-148_0_5_load_33 | 45 | 0.014685 | 0.0036805 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-148_0_5_load_34 | 46 | 0.0073325 | 0.0018377 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-148_0_5_load_35 | 47 | 0.0044223 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-148_0_5_load_37 | 49 | 0.013638 | 0.003418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-148_0_5_load_52 | 50 | 0.0073007 | 0.0018297 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-148_0_5_line_0 |  | 0 | 1 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-148_0_5_line_1 |  | 0 | 2 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-148_0_5_line_2 |  | 1 | 3 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-148_0_5_line_3 |  | 2 | 4 | 0.10487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-148_0_5_line_4 |  | 4 | 11 | 0.043489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1061-148_0_5_line_5 |  | 4 | 12 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1061-148_0_5_line_6 |  | 5 | 6 | 0.028255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-148_0_5_line_7 |  | 5 | 7 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-148_0_5_line_8 |  | 7 | 15 | 0.0032831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-148_0_5_line_9 |  | 8 | 9 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-148_0_5_line_10 |  | 8 | 10 | 0.025279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-148_0_5_line_11 |  | 9 | 13 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-148_0_5_line_12 |  | 11 | 14 | 0.01405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1061-148_0_5_line_13 |  | 12 | 16 | 0.00011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1061-148_0_5_line_14 |  | 13 | 17 | 0.0032861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-148_0_5_line_15 |  | 14 | 18 | 0.0011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1061-148_0_5_line_16 |  | 15 | 38 | 0.0062502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-148_0_5_line_17 |  | 16 | 40 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1061-148_0_5_line_18 |  | 17 | 27 | 0.0076109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-148_0_5_line_19 |  | 18 | 48 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1061-148_0_5_line_20 |  | 19 | 20 | 0.0095731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-148_0_5_line_21 |  | 19 | 21 | 0.0079071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-148_0_5_line_22 |  | 20 | 22 | 0.0038388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-148_0_5_line_23 |  | 21 | 23 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-148_0_5_line_24 |  | 22 | 24 | 0.0089469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1061-148_0_5_line_25 |  | 23 | 25 | 0.0012831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-148_0_5_line_26 |  | 24 | 26 | 0.0046636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1061-148_0_5_line_27 |  | 25 | 27 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-148_0_5_line_28 |  | 26 | 41 | 0.0065766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1061-148_0_5_line_29 |  | 27 | 33 | 0.0052052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-148_0_5_line_30 |  | 28 | 29 | 0.0016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-148_0_5_line_31 |  | 29 | 30 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-148_0_5_line_32 |  | 30 | 31 | 0.0045163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-148_0_5_line_33 |  | 31 | 32 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-148_0_5_line_34 |  | 32 | 43 | 0.007202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-148_0_5_line_35 |  | 33 | 34 | 0.0043328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-148_0_5_line_36 |  | 34 | 35 | 0.0084746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-148_0_5_line_37 |  | 35 | 36 | 2.4306e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-148_0_5_line_38 |  | 36 | 37 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-148_0_5_line_39 |  | 37 | 50 | 0.00073265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-148_0_5_line_40 |  | 38 | 39 | 0.012151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1061-148_0_5_line_41 |  | 39 | 40 | 0.0056608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1061-148_0_5_line_42 |  | 40 | 44 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-148_0_5_line_43 |  | 41 | 42 | 0.0054883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1061-148_0_5_line_44 |  | 42 | 48 | 0.0029712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1061-148_0_5_line_45 |  | 43 | 44 | 0.0044375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-148_0_5_line_46 |  | 45 | 46 | 6.0621e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-148_0_5_line_47 |  | 45 | 47 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-148_0_5_line_48 |  | 46 | 48 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-148_0_5_line_49 |  | 47 | 49 | 0.002579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-148_0_5_trafo_28 | 0.63 MVA 20/0.4 kV | 51 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2665632.2749 | 1211277.5254 | 2665639.2293 | 1211262.8829
1 | 2665648.7323 | 1211249.4335 | 2665643.9207 | 1211253.005 | 2665639.2293 | 1211262.8829
2 | 2665632.2749 | 1211277.5254 | 2665624.4875 | 1211293.4004
3 | 2665575.9495 | 1211216.7688 | 2665622.7109 | 1211245.456 | 2665630.1186 | 1211249.7401 | 2665635.011 | 1211236.7526 | 2665636.694 | 1211232.2794 | 2665643.1432 | 1211234.5851 | 2665645.4664 | 1211243.0603 | 2665648.7323 | 1211249.4335
4 | 2665539.2123 | 1211193.4953 | 2665549.8373 | 1211200.294 | 2665556.4703 | 1211204.5472 | 2665562.8778 | 1211208.5645 | 2665575.9495 | 1211216.7688
5 | 2665575.9495 | 1211216.7688 | 2665571.3597 | 1211223.667 | 2665567.9046 | 1211229.7256
6 | 2665539.5885 | 1211279.5857 | 2665560.6099 | 1211298.4653
7 | 2665539.5885 | 1211279.5857 | 2665550.0156 | 1211262.5458
8 | 2665551.7293 | 1211259.7454 | 2665550.0156 | 1211262.5458
9 | 2665456.2766 | 1211250.7425 | 2665458.0194 | 1211251.8956 | 2665467.04 | 1211258.0873 | 2665472.9036 | 1211261.8206
10 | 2665472.9036 | 1211261.8206 | 2665494.281 | 1211275.313
11 | 2665456.2766 | 1211250.7425 | 2665460.1315 | 1211245.0146 | 2665462.8127 | 1211240.6704
12 | 2665539.2123 | 1211193.4953 | 2665535.2138 | 1211199.8331 | 2665531.5949 | 1211205.2998
13 | 2665567.8494 | 1211229.8225 | 2665567.9046 | 1211229.7256
14 | 2665462.8127 | 1211240.6704 | 2665464.5386 | 1211237.874
15 | 2665531.5949 | 1211205.2998 | 2665530.982 | 1211206.2256
16 | 2665551.7293 | 1211259.7454 | 2665554.9916 | 1211254.4142
17 | 2665564.2886 | 1211239.2211 | 2665565.897 | 1211233.2462 | 2665567.8494 | 1211229.8225
18 | 2665467.074 | 1211230.7597 | 2665465.5704 | 1211236.2022 | 2665464.5386 | 1211237.874
19 | 2665522.6902 | 1211212.9814 | 2665529.0396 | 1211209.1599 | 2665530.982 | 1211206.2256
20 | 2665500.4078 | 1211248.6521 | 2665505.4796 | 1211240.5329
21 | 2665500.4078 | 1211248.6521 | 2665499.2448 | 1211250.5138 | 2665494.3772 | 1211247.5249
22 | 2665505.4796 | 1211240.5329 | 2665507.5134 | 1211237.2772
23 | 2665484.4671 | 1211241.4397 | 2665494.3772 | 1211247.5249
24 | 2665512.2534 | 1211229.6891 | 2665507.5134 | 1211237.2772
25 | 2665483.3736 | 1211240.7683 | 2665484.4671 | 1211241.4397
26 | 2665514.7242 | 1211225.7338 | 2665512.2534 | 1211229.6891
27 | 2665467.074 | 1211230.7597 | 2665483.3736 | 1211240.7683
28 | 2665514.7242 | 1211225.7338 | 2665518.2085 | 1211220.156
29 | 2665467.074 | 1211230.7597 | 2665469.895 | 1211226.3852
30 | 2665594.0105 | 1211273.7428 | 2665593.2867 | 1211275.2748
31 | 2665594.0105 | 1211273.7428 | 2665599.2921 | 1211262.5646 | 2665599.2921 | 1211262.5646
32 | 2665595.5346 | 1211260.0588 | 2665599.2921 | 1211262.5646
33 | 2665595.5346 | 1211260.0588 | 2665586.5149 | 1211254.0436
34 | 2665580.5231 | 1211250.0477 | 2665586.5149 | 1211254.0436
35 | 2665472.2432 | 1211222.7439 | 2665469.895 | 1211226.3852
36 | 2665472.2432 | 1211222.7439 | 2665476.836 | 1211215.6217
37 | 2665476.8491 | 1211215.6013 | 2665476.836 | 1211215.6217
38 | 2665476.8491 | 1211215.6013 | 2665483.7232 | 1211204.9416
39 | 2665484.1203 | 1211204.3258 | 2665483.7232 | 1211204.9416
40 | 2665561.3339 | 1211244.0496 | 2665554.9916 | 1211254.4142
41 | 2665564.2886 | 1211239.2211 | 2665561.3339 | 1211244.0496
42 | 2665564.2886 | 1211239.2211 | 2665576.8313 | 1211247.5857
43 | 2665521.1161 | 1211215.5013 | 2665518.2085 | 1211220.156
44 | 2665522.6902 | 1211212.9814 | 2665521.1161 | 1211215.5013
45 | 2665580.5231 | 1211250.0477 | 2665576.8313 | 1211247.5857
46 | 2665507.4875 | 1211202.9392 | 2665507.4369 | 1211202.9058
47 | 2665498.8769 | 1211197.2514 | 2665507.4369 | 1211202.9058
48 | 2665522.6902 | 1211212.9814 | 2665507.4875 | 1211202.9392
49 | 2665496.725 | 1211195.83 | 2665498.8769 | 1211197.2514

## bus_geodata
| x | y | coords
0 | 2665639.2293 | 1211262.8829
1 | 2665632.2749 | 1211277.5254
2 | 2665648.7323 | 1211249.4335
3 | 2665624.4875 | 1211293.4004
4 | 2665575.9495 | 1211216.7688
5 | 2665539.5885 | 1211279.5857
6 | 2665560.6099 | 1211298.4653
7 | 2665550.0156 | 1211262.5458
8 | 2665472.9036 | 1211261.8206
9 | 2665456.2766 | 1211250.7425
10 | 2665494.281 | 1211275.313
11 | 2665539.2123 | 1211193.4953
12 | 2665567.9046 | 1211229.7256
13 | 2665462.8127 | 1211240.6704
14 | 2665531.5949 | 1211205.2998
15 | 2665551.7293 | 1211259.7454
16 | 2665567.8494 | 1211229.8225
17 | 2665464.5386 | 1211237.874
18 | 2665530.982 | 1211206.2256
19 | 2665500.4078 | 1211248.6521
20 | 2665505.4796 | 1211240.533
21 | 2665494.3772 | 1211247.5249
22 | 2665507.5134 | 1211237.2772
23 | 2665484.4671 | 1211241.4397
24 | 2665512.2534 | 1211229.6891
25 | 2665483.3736 | 1211240.7683
26 | 2665514.7242 | 1211225.7338
27 | 2665467.074 | 1211230.7597
28 | 2665593.2867 | 1211275.2748
29 | 2665594.0105 | 1211273.7428
30 | 2665599.2921 | 1211262.5646
31 | 2665595.5346 | 1211260.0588
32 | 2665586.5149 | 1211254.0436
33 | 2665469.895 | 1211226.3852
34 | 2665472.2432 | 1211222.7439
35 | 2665476.836 | 1211215.6217
36 | 2665476.8491 | 1211215.6013
37 | 2665483.7232 | 1211204.9416
38 | 2665554.9916 | 1211254.4142
39 | 2665561.3339 | 1211244.0496
40 | 2665564.2886 | 1211239.2211
41 | 2665518.2085 | 1211220.156
42 | 2665521.1161 | 1211215.5013
43 | 2665580.5231 | 1211250.0477
44 | 2665576.8313 | 1211247.5857
45 | 2665507.4369 | 1211202.9058
46 | 2665507.4875 | 1211202.9392
47 | 2665498.8769 | 1211197.2514
48 | 2665522.6902 | 1211212.9814
49 | 2665496.725 | 1211195.83
50 | 2665484.1203 | 1211204.3258
51 | 2665564.2886 | 1211239.2211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98628 | -0.26376 | 0.038068 | 0.0095408
1 | 0.98555 | -0.27795 | 0 | 0
2 | 0.98763 | -0.23745 | 0 | 0
3 | 0.98475 | -0.29345 | 0.048806 | 0.012232
4 | 0.99602 | -0.076013 | 0 | 0
5 | 0.99892 | -0.020675 | 0 | 0
6 | 0.9981 | -0.036624 | 0.03229 | 0.0080926
7 | 0.99951 | -0.0094135 | 0.0096442 | 0.0024171
8 | 0.98533 | -0.28259 | 0 | 0
9 | 0.98553 | -0.27871 | 0 | 0
10 | 0.98508 | -0.28751 | 0.01085 | 0.0027192
11 | 0.99359 | -0.12261 | 0 | 0
12 | 0.99717 | -0.053905 | 0.0085673 | 0.0021472
13 | 0.98565 | -0.27637 | 0.011571 | 0.0029
14 | 0.99281 | -0.13771 | 0.012561 | 0.0031482
15 | 0.99963 | -0.0070118 | 0.022406 | 0.0056156
16 | 0.99718 | -0.05374 | 0.016947 | 0.0042474
17 | 0.98572 | -0.27505 | 0.015914 | 0.0039884
18 | 0.99275 | -0.13884 | 0.015615 | 0.0039134
19 | 0.98938 | -0.20398 | 0.012424 | 0.0031136
20 | 0.99044 | -0.18329 | 0.0078168 | 0.0019591
21 | 0.98858 | -0.21935 | 0.011638 | 0.0029167
22 | 0.9909 | -0.17447 | 0.011586 | 0.0029036
23 | 0.98754 | -0.23958 | 0.0074937 | 0.0018781
24 | 0.99148 | -0.16329 | 0.0063571 | 0.0015932
25 | 0.98743 | -0.24164 | 0.0076863 | 0.0019264
26 | 0.99164 | -0.16025 | 0.012694 | 0.0031815
27 | 0.98599 | -0.26981 | 0 | 0
28 | 0.99361 | -0.12279 | 0.0196 | 0.0049122
29 | 0.99364 | -0.12221 | 0.019417 | 0.0048664
30 | 0.99408 | -0.1137 | 0.035468 | 0.0088892
31 | 0.99438 | -0.10776 | 0.012939 | 0.0032428
32 | 0.99525 | -0.091072 | 0.0097113 | 0.0024339
33 | 0.98578 | -0.27391 | 0.0075496 | 0.0018921
34 | 0.98563 | -0.27674 | 0.0052193 | 0.0013081
35 | 0.98539 | -0.28148 | 0.014421 | 0.0036143
36 | 0.98539 | -0.28149 | 0.0049591 | 0.0012429
37 | 0.98525 | -0.28417 | 0.0044752 | 0.0011216
38 | 1 | 0 | -0.56323 | -0.14245
39 | 0.99863 | -0.026131 | 0.014791 | 0.003707
40 | 0.99801 | -0.037963 | 0 | 0
41 | 0.99188 | -0.15559 | 0.0062647 | 0.0015701
42 | 0.99209 | -0.15155 | 0.0088493 | 0.0022178
43 | 0.99589 | -0.07877 | 0.011653 | 0.0029204
44 | 0.99633 | -0.07029 | 0.01354 | 0.0033935
45 | 0.99154 | -0.16222 | 0.014685 | 0.0036805
46 | 0.99154 | -0.16218 | 0.0073325 | 0.0018377
47 | 0.99137 | -0.1655 | 0.0044223 | 0.0011083
48 | 0.99221 | -0.14925 | 0 | 0
49 | 0.99134 | -0.16613 | 0.013638 | 0.003418
50 | 0.98524 | -0.28426 | 0.0073007 | 0.0018297
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.048875 | 0.012276 | -0.048842 | -0.012255 | 3.3062e-05 | 2.0953e-05 | 0.073749 | 0.073749 | 0.073749 | 0.98628 | -0.26376 | 0.98555 | -0.27795 | 20.2607
1 | -0.086944 | -0.021817 | 0.087053 | 0.021886 | 0.00010924 | 6.9698e-05 | 0.13118 | 0.13118 | 0.13118 | 0.98628 | -0.26376 | 0.98763 | -0.23745 | 36.0394
2 | 0.048842 | 0.012255 | -0.048806 | -0.012232 | 3.6064e-05 | 2.2856e-05 | 0.073749 | 0.073749 | 0.073749 | 0.98555 | -0.27795 | 0.98475 | -0.29345 | 20.2607
3 | -0.087053 | -0.021886 | 0.08773 | 0.022318 | 0.00067678 | 0.00043179 | 0.13118 | 0.13118 | 0.13118 | 0.98763 | -0.23745 | 0.99602 | -0.076013 | 36.0394
4 | 0.24489 | 0.061976 | -0.24434 | -0.061629 | 0.00054635 | 0.00034741 | 0.36607 | 0.36607 | 0.36607 | 0.99602 | -0.076013 | 0.99359 | -0.12261 | 25.142
5 | -0.33262 | -0.084294 | 0.33297 | 0.08452 | 0.00035374 | 0.0002256 | 0.49725 | 0.49725 | 0.49725 | 0.99602 | -0.076013 | 0.99717 | -0.053905 | 34.1518
6 | 0.032314 | 0.008108 | -0.03229 | -0.0080926 | 2.4554e-05 | 1.5345e-05 | 0.048139 | 0.04814 | 0.04814 | 0.99892 | -0.020675 | 0.9981 | -0.036624 | 13.2252
7 | -0.032314 | -0.008108 | 0.032332 | 0.0081188 | 1.7361e-05 | 1.0849e-05 | 0.048139 | 0.048139 | 0.048139 | 0.99892 | -0.020675 | 0.99951 | -0.0094135 | 13.2251
8 | -0.041976 | -0.010536 | 0.041981 | 0.010539 | 4.8088e-06 | 3.0346e-06 | 0.062497 | 0.062497 | 0.062497 | 0.99951 | -0.0094135 | 0.99963 | -0.0070118 | 17.1695
9 | -0.010852 | -0.0027205 | 0.010854 | 0.0027215 | 2.0087e-06 | 1.0315e-06 | 0.016389 | 0.016389 | 0.016389 | 0.98533 | -0.28259 | 0.98553 | -0.27871 | 4.5025
10 | 0.010852 | 0.0027205 | -0.01085 | -0.0027192 | 2.5463e-06 | 1.3077e-06 | 0.016389 | 0.016389 | 0.016389 | 0.98533 | -0.28259 | 0.98508 | -0.28751 | 4.5025
11 | -0.010854 | -0.0027215 | 0.010855 | 0.0027222 | 1.2096e-06 | 6.211e-07 | 0.016389 | 0.016389 | 0.016389 | 0.98553 | -0.27871 | 0.98565 | -0.27637 | 4.5024
12 | 0.24434 | 0.061629 | -0.24416 | -0.061517 | 0.00017651 | 0.00011224 | 0.36607 | 0.36607 | 0.36607 | 0.99359 | -0.12261 | 0.99281 | -0.13771 | 25.142
13 | -0.34154 | -0.086667 | 0.34154 | 0.086669 | 2.719e-06 | 1.7344e-06 | 0.51003 | 0.51003 | 0.51003 | 0.99717 | -0.053905 | 0.99718 | -0.05374 | 35.0298
14 | -0.022427 | -0.0056221 | 0.022428 | 0.005623 | 1.4126e-06 | 8.6219e-07 | 0.033857 | 0.033857 | 0.033857 | 0.98565 | -0.27637 | 0.98572 | -0.27505 | 9.3015
15 | 0.2316 | 0.058368 | -0.23159 | -0.05836 | 1.2552e-05 | 7.9755e-06 | 0.34724 | 0.34724 | 0.34724 | 0.99281 | -0.13771 | 0.99275 | -0.13884 | 23.849
16 | -0.064387 | -0.016154 | 0.064409 | 0.016168 | 2.1533e-05 | 1.3699e-05 | 0.09585 | 0.09585 | 0.09585 | 0.99963 | -0.0070118 | 1 | 0 | 26.3325
17 | -0.35849 | -0.090916 | 0.35876 | 0.09109 | 0.00027212 | 0.00017363 | 0.53532 | 0.53532 | 0.53532 | 0.99718 | -0.05374 | 0.99801 | -0.037963 | 36.7667
18 | -0.038342 | -0.0096114 | 0.038351 | 0.0096174 | 9.5617e-06 | 6.0224e-06 | 0.057881 | 0.057881 | 0.057881 | 0.98572 | -0.27505 | 0.98599 | -0.26981 | 15.9013
19 | 0.21598 | 0.054447 | -0.21587 | -0.054379 | 0.00010746 | 6.8206e-05 | 0.32384 | 0.32384 | 0.32384 | 0.99275 | -0.13884 | 0.99221 | -0.14925 | 22.2415
20 | -0.12183 | -0.030662 | 0.12195 | 0.030739 | 0.0001206 | 7.7058e-05 | 0.18328 | 0.18328 | 0.18328 | 0.98938 | -0.20398 | 0.99044 | -0.18329 | 50.3526
21 | 0.10941 | 0.027549 | -0.10933 | -0.027497 | 8.0334e-05 | 5.1312e-05 | 0.1646 | 0.1646 | 0.1646 | 0.98938 | -0.20398 | 0.98858 | -0.21935 | 45.2194
22 | -0.12977 | -0.032699 | 0.12983 | 0.032734 | 5.4754e-05 | 3.4993e-05 | 0.19503 | 0.19503 | 0.19503 | 0.99044 | -0.18329 | 0.9909 | -0.17447 | 53.5789
23 | 0.097692 | 0.024581 | -0.097598 | -0.02452 | 9.4341e-05 | 6.0229e-05 | 0.14708 | 0.14708 | 0.14708 | 0.98858 | -0.21935 | 0.98754 | -0.23958 | 40.4069
24 | -0.14141 | -0.035637 | 0.14149 | 0.035685 | 7.5698e-05 | 4.8216e-05 | 0.21243 | 0.21243 | 0.21243 | 0.9909 | -0.17447 | 0.99148 | -0.16329 | 29.1793
25 | 0.090104 | 0.022642 | -0.090095 | -0.022637 | 8.8721e-06 | 5.6618e-06 | 0.13579 | 0.13579 | 0.13579 | 0.98754 | -0.23958 | 0.98743 | -0.24164 | 37.3049
26 | -0.14784 | -0.037279 | 0.14787 | 0.037292 | 2.1541e-05 | 1.3546e-05 | 0.22197 | 0.22197 | 0.22197 | 0.99148 | -0.16329 | 0.99164 | -0.16025 | 15.2449
27 | 0.082409 | 0.02071 | -0.082298 | -0.02064 | 0.00011066 | 7.0575e-05 | 0.12421 | 0.12421 | 0.12421 | 0.98743 | -0.24164 | 0.98599 | -0.26981 | 34.1228
28 | -0.16056 | -0.040474 | 0.1606 | 0.040496 | 3.5814e-05 | 2.2582e-05 | 0.24101 | 0.24101 | 0.24101 | 0.99164 | -0.16025 | 0.99188 | -0.15559 | 16.5532
29 | 0.043947 | 0.011022 | -0.043939 | -0.011017 | 8.5871e-06 | 5.4293e-06 | 0.066326 | 0.066326 | 0.066326 | 0.98599 | -0.26981 | 0.98578 | -0.27391 | 18.2215
30 | -0.0196 | -0.0049122 | 0.0196 | 0.0049125 | 5.4745e-07 | 3.2842e-07 | 0.029353 | 0.029353 | 0.029353 | 0.99361 | -0.12279 | 0.99364 | -0.12221 | 8.0639
31 | -0.039018 | -0.0097789 | 0.039033 | 0.0097889 | 1.5829e-05 | 9.9701e-06 | 0.058431 | 0.058431 | 0.058431 | 0.99364 | -0.12221 | 0.99408 | -0.1137 | 16.0524
32 | -0.074502 | -0.018678 | 0.074523 | 0.018692 | 2.1064e-05 | 1.3422e-05 | 0.11152 | 0.11152 | 0.11152 | 0.99408 | -0.1137 | 0.99438 | -0.10776 | 30.6381
33 | -0.087462 | -0.021934 | 0.087531 | 0.021979 | 6.9646e-05 | 4.4433e-05 | 0.13088 | 0.13088 | 0.13088 | 0.99438 | -0.10776 | 0.99525 | -0.091072 | 35.9573
34 | -0.097243 | -0.024413 | 0.0973 | 0.024449 | 5.71e-05 | 3.645e-05 | 0.1454 | 0.1454 | 0.1454 | 0.99525 | -0.091072 | 0.99589 | -0.07877 | 39.9462
35 | 0.036389 | 0.0091248 | -0.036384 | -0.0091218 | 4.9026e-06 | 3.0824e-06 | 0.05493 | 0.05493 | 0.05493 | 0.98578 | -0.27391 | 0.98563 | -0.27674 | 15.0908
36 | 0.031165 | 0.0078137 | -0.031158 | -0.0078093 | 7.0353e-06 | 4.3946e-06 | 0.047051 | 0.047051 | 0.047051 | 0.98563 | -0.27674 | 0.98539 | -0.28148 | 12.926
37 | 0.016737 | 0.004195 | -0.016737 | -0.004195 | 5.8279e-09 | 3.4143e-09 | 0.025274 | 0.025274 | 0.025274 | 0.98539 | -0.28148 | 0.98539 | -0.28149 | 6.9433
38 | 0.011777 | 0.0029521 | -0.011776 | -0.0029513 | 1.5045e-06 | 8.0134e-07 | 0.017785 | 0.017785 | 0.017785 | 0.98539 | -0.28149 | 0.98525 | -0.28417 | 4.886
39 | 0.0073008 | 0.0018297 | -0.0073007 | -0.0018297 | 3.3403e-08 | 1.2048e-08 | 0.011026 | 0.011026 | 0.011026 | 0.98525 | -0.28417 | 0.98524 | -0.28426 | 3.0292
40 | 0.49718 | 0.12628 | -0.49655 | -0.12588 | 0.00062448 | 0.00039903 | 0.7404 | 0.7404 | 0.7404 | 1 | 0 | 0.99863 | -0.026131 | 50.8516
41 | 0.48176 | 0.12218 | -0.48149 | -0.122 | 0.00027386 | 0.00017498 | 0.71836 | 0.71836 | 0.71836 | 0.99863 | -0.026131 | 0.99801 | -0.037963 | 49.3379
42 | 0.12273 | 0.030912 | -0.12254 | -0.030791 | 0.00018941 | 0.00012102 | 0.18304 | 0.18304 | 0.18304 | 0.99801 | -0.037963 | 0.99633 | -0.07029 | 50.2849
43 | -0.16686 | -0.042066 | 0.16689 | 0.042087 | 3.2264e-05 | 2.0366e-05 | 0.25041 | 0.25041 | 0.25041 | 0.99188 | -0.15559 | 0.99209 | -0.15155 | 17.1987
44 | -0.17574 | -0.044305 | 0.17576 | 0.044317 | 1.9367e-05 | 1.2242e-05 | 0.26369 | 0.26369 | 0.26369 | 0.99209 | -0.15155 | 0.99221 | -0.14925 | 18.1103
45 | -0.10895 | -0.027369 | 0.109 | 0.027398 | 4.4112e-05 | 2.8174e-05 | 0.16281 | 0.16281 | 0.16281 | 0.99589 | -0.07877 | 0.99633 | -0.07029 | 44.7294
46 | -0.032749 | -0.0082087 | 0.032749 | 0.0082087 | 5.4907e-08 | 3.4359e-08 | 0.049147 | 0.049147 | 0.049147 | 0.99154 | -0.16222 | 0.99154 | -0.16218 | 13.5019
47 | 0.018064 | 0.0045283 | -0.018061 | -0.0045266 | 2.8272e-06 | 1.6771e-06 | 0.027109 | 0.027109 | 0.027109 | 0.99154 | -0.16222 | 0.99137 | -0.1655 | 7.4474
48 | -0.040081 | -0.010046 | 0.040106 | 0.010062 | 2.4721e-05 | 1.5586e-05 | 0.060151 | 0.060151 | 0.060151 | 0.99154 | -0.16218 | 0.99221 | -0.14925 | 16.525
49 | 0.013638 | 0.0034183 | -0.013638 | -0.003418 | 4.0529e-07 | 2.2613e-07 | 0.020471 | 0.020471 | 0.020471 | 0.99137 | -0.1655 | 0.99134 | -0.16613 | 5.6239

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57231 | 0.14473

## res_load
| p_mw | q_mvar
0 | 0.038068 | 0.0095408
1 | 0.048806 | 0.012232
2 | 0.03229 | 0.0080926
3 | 0.0096442 | 0.0024171
4 | 0.01085 | 0.0027192
5 | 0.0085673 | 0.0021472
6 | 0.011571 | 0.0029
7 | 0.012561 | 0.0031482
8 | 0.022406 | 0.0056156
9 | 0.016947 | 0.0042474
10 | 0.015914 | 0.0039884
11 | 0.015615 | 0.0039134
12 | 0.012424 | 0.0031136
13 | 0.0078168 | 0.0019591
14 | 0.011638 | 0.0029167
15 | 0.011586 | 0.0029036
16 | 0.0074937 | 0.0018781
17 | 0.0063571 | 0.0015932
18 | 0.0076863 | 0.0019264
19 | 0.012694 | 0.0031815
20 | 0.0196 | 0.0049122
21 | 0.019417 | 0.0048664
22 | 0.035468 | 0.0088892
23 | 0.012939 | 0.0032428
24 | 0.0097113 | 0.0024339
25 | 0.0075496 | 0.0018921
26 | 0.0052193 | 0.0013081
27 | 0.014421 | 0.0036143
28 | 0.0049591 | 0.0012429
29 | 0.0044752 | 0.0011216
30 | 0.0090753 | 0.0022745
31 | 0.014791 | 0.003707
32 | 0.0062647 | 0.0015701
33 | 0.0088493 | 0.0022178
34 | 0.011653 | 0.0029204
35 | 0.01354 | 0.0033935
36 | 0.014685 | 0.0036805
37 | 0.0073325 | 0.0018377
38 | 0.0044223 | 0.0011083
39 | 0.013638 | 0.003418
40 | 0.0073007 | 0.0018297

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1