## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-162_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-162_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-162_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-162_0_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_1061-162_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1061-162_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1061-162_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1061-162_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1061-162_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1061-162_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1061-162_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1061-162_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1061-162_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1061-162_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1061-162_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1061-162_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1061-162_0_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1061-162_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1061-162_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1061-162_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1061-162_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1061-162_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1061-162_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1061-162_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1061-162_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1061-162_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1061-162_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1061-162_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1061-162_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_MV_215_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-162_0_4_load_0 | 0 | 0.0035253 | 0.00088353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-162_0_4_load_1 | 1 | 0.0035248 | 0.0008834 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-162_0_4_load_16 | 3 | 0.028771 | 0.0072107 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-162_0_4_load_17 | 4 | 0.0064442 | 0.0016151 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-162_0_4_load_32 | 6 | 0.017853 | 0.0044744 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-162_0_4_load_15 | 9 | 0.017854 | 0.0044747 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-162_0_4_load_12 | 10 | 0.072932 | 0.018278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-162_0_4_load_18 | 13 | 0.057379 | 0.01438 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-162_0_4_load_26 | 14 | 0.028766 | 0.0072094 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-162_0_4_load_30 | 17 | 0.0234 | 0.0058646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-162_0_4_load_13 | 18 | 0.033156 | 0.0083097 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-162_0_4_load_27 | 19 | 0.026123 | 0.0065469 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-162_0_4_load_25 | 20 | 0.02841 | 0.0071202 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-162_0_4_load_22 | 22 | 0.0064465 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-162_0_4_load_19 | 23 | 0.0064465 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-162_0_4_load_23 | 24 | 0.0064436 | 0.0016149 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-162_0_4_load_20 | 25 | 0.0064418 | 0.0016145 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-162_0_4_load_21 | 26 | 0.0064413 | 0.0016143 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-162_0_4_load_24 | 27 | 0.028402 | 0.0071181 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-162_0_4_load_33 | 28 | 0.023564 | 0.0059056 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-162_0_4_line_0 |  | 0 | 1 | 0.032862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-162_0_4_line_1 |  | 1 | 2 | 0.055993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-162_0_4_line_2 |  | 2 | 3 | 0.025281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-162_0_4_line_3 |  | 2 | 4 | 0.024162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-162_0_4_line_4 |  | 3 | 14 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-162_0_4_line_5 |  | 4 | 15 | 0.00059533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-162_0_4_line_6 |  | 5 | 6 | 0.002848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-162_0_4_line_7 |  | 5 | 7 | 0.050376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-162_0_4_line_8 |  | 7 | 16 | 0.009865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-162_0_4_line_9 |  | 7 | 17 | 0.005939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-162_0_4_line_10 |  | 8 | 9 | 0.055413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-162_0_4_line_11 |  | 8 | 10 | 0.018167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-162_0_4_line_12 |  | 9 | 11 | 0.013084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-162_0_4_line_13 |  | 10 | 18 | 0.0039942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1061-162_0_4_line_14 |  | 11 | 12 | 0.028736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-162_0_4_line_15 |  | 12 | 13 | 0.040451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-162_0_4_line_16 |  | 15 | 16 | 0.009801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-162_0_4_line_17 |  | 15 | 26 | 0.0053723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-162_0_4_line_18 |  | 16 | 28 | 0.003747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-162_0_4_line_19 |  | 18 | 21 | 0.041492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1061-162_0_4_line_20 |  | 19 | 20 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-162_0_4_line_21 |  | 20 | 27 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-162_0_4_line_22 |  | 21 | 22 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1061-162_0_4_line_23 |  | 21 | 23 | 0.021028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1061-162_0_4_line_24 |  | 22 | 24 | 1.1978e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-162_0_4_line_25 |  | 23 | 25 | 0.0059676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1061-162_0_4_line_26 |  | 24 | 27 | 0.0045781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-162_0_4_line_27 |  | 25 | 26 | 0.0059644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-162_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 29 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2666813.7812 | 1210956.2396 | 2666790.7375 | 1210932.8108
1 | 2666751.4738 | 1210892.891 | 2666790.7375 | 1210932.8108
2 | 2666751.4738 | 1210892.891 | 2666733.8775 | 1210874.739
3 | 2666751.4738 | 1210892.891 | 2666768.4507 | 1210875.6983
4 | 2666717.9913 | 1210858.3512 | 2666733.8775 | 1210874.739
5 | 2666768.4507 | 1210875.6983 | 2666768.869 | 1210875.2747
6 | 2666826.7264 | 1210904.3513 | 2666828.9128 | 1210902.5191
7 | 2666785.8299 | 1210880.8457 | 2666792.7675 | 1210887.0383 | 2666809.5854 | 1210887.0487 | 2666826.7264 | 1210904.3513
8 | 2666785.8299 | 1210880.8457 | 2666776.0057 | 1210882.0142
9 | 2666789.6579 | 1210876.2968 | 2666785.8299 | 1210880.8457
10 | 2666840.4288 | 1210802.6087 | 2666800.9755 | 1210763.698
11 | 2666840.4288 | 1210802.6087 | 2666827.6956 | 1210815.5666
12 | 2666791.6601 | 1210754.5108 | 2666800.9755 | 1210763.698
13 | 2666824.8961 | 1210818.4156 | 2666827.6956 | 1210815.5666
14 | 2666791.6601 | 1210754.5108 | 2666811.7492 | 1210733.9118
15 | 2666811.7492 | 1210733.9118 | 2666839.9648 | 1210761.9562 | 2666840.4304 | 1210761.4751
16 | 2666768.869 | 1210875.2747 | 2666776.0057 | 1210882.0142
17 | 2666768.869 | 1210875.2747 | 2666772.6429 | 1210871.4511
18 | 2666776.6102 | 1210885.7122 | 2666776.0057 | 1210882.0142
19 | 2666795.7963 | 1210847.9925 | 2666802.4992 | 1210841.2078 | 2666824.8961 | 1210818.4156
20 | 2666763.3972 | 1210814.9479 | 2666756.1569 | 1210807.5632
21 | 2666763.3972 | 1210814.9479 | 2666778.9629 | 1210830.8238
22 | 2666795.7963 | 1210847.9925 | 2666782.1764 | 1210834.1013
23 | 2666795.7963 | 1210847.9925 | 2666781.0247 | 1210862.9588
24 | 2666782.1681 | 1210834.0927 | 2666782.1764 | 1210834.1013
25 | 2666776.8327 | 1210867.2061 | 2666781.0247 | 1210862.9588
26 | 2666778.9629 | 1210830.8238 | 2666782.1681 | 1210834.0927
27 | 2666776.8327 | 1210867.2061 | 2666772.6429 | 1210871.4511

## bus_geodata
| x | y | coords
0 | 2666813.7812 | 1210956.2396
1 | 2666790.7375 | 1210932.8108
2 | 2666751.4738 | 1210892.891
3 | 2666733.8775 | 1210874.739
4 | 2666768.4507 | 1210875.6983
5 | 2666826.7264 | 1210904.3513
6 | 2666828.9128 | 1210902.5191
7 | 2666785.8299 | 1210880.8457
8 | 2666840.4288 | 1210802.6087
9 | 2666800.9755 | 1210763.698
10 | 2666827.6956 | 1210815.5666
11 | 2666791.6601 | 1210754.5108
12 | 2666811.7492 | 1210733.9118
13 | 2666840.4304 | 1210761.4751
14 | 2666717.9913 | 1210858.3512
15 | 2666768.869 | 1210875.2747
16 | 2666776.0057 | 1210882.0142
17 | 2666789.6579 | 1210876.2968
18 | 2666824.8961 | 1210818.4156
19 | 2666756.1569 | 1210807.5632
20 | 2666763.3972 | 1210814.9479
21 | 2666795.7963 | 1210847.9925
22 | 2666782.1764 | 1210834.1013
23 | 2666781.0247 | 1210862.9588
24 | 2666782.1681 | 1210834.0927
25 | 2666776.8327 | 1210867.2061
26 | 2666772.6429 | 1210871.4511
27 | 2666778.9629 | 1210830.8238
28 | 2666776.6102 | 1210885.7122
29 | 2666795.7963 | 1210847.9925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99376 | -0.11986 | 0.0035253 | 0.00088353
1 | 0.99387 | -0.11781 | 0.0035248 | 0.0008834
2 | 0.99423 | -0.11085 | 0 | 0
3 | 0.9929 | -0.13653 | 0.028771 | 0.0072107
4 | 0.99565 | -0.083368 | 0.0064442 | 0.0016151
5 | 0.99392 | -0.11682 | 0 | 0
6 | 0.99387 | -0.11772 | 0.017853 | 0.0044744
7 | 0.99474 | -0.10097 | 0 | 0
8 | 0.99419 | -0.11137 | 0 | 0
9 | 0.99035 | -0.18518 | 0.017854 | 0.0044747
10 | 0.99544 | -0.087302 | 0.072932 | 0.018278
11 | 0.98966 | -0.19853 | 0 | 0
12 | 0.98815 | -0.22791 | 0 | 0
13 | 0.98601 | -0.26943 | 0.057379 | 0.01438
14 | 0.9923 | -0.14814 | 0.028766 | 0.0072094
15 | 0.99569 | -0.082625 | 0 | 0
16 | 0.99511 | -0.0938 | 0 | 0
17 | 0.99461 | -0.10341 | 0.0234 | 0.0058646
18 | 0.99571 | -0.082098 | 0.033156 | 0.0083097
19 | 0.99831 | -0.032533 | 0.026123 | 0.0065469
20 | 0.99855 | -0.027809 | 0.02841 | 0.0071202
21 | 0.99801 | -0.038111 | 0 | 0
22 | 1 | 0 | -0.4298 | -0.10818
23 | 0.99701 | -0.057165 | 0.0064465 | 0.0016156
24 | 1 | -1.8659e-05 | 0.0064436 | 0.0016149
25 | 0.99674 | -0.062354 | 0.0064418 | 0.0016145
26 | 0.99636 | -0.069802 | 0.0064413 | 0.0016143
27 | 0.99965 | -0.0066387 | 0.028402 | 0.0071181
28 | 0.99503 | -0.095354 | 0.023564 | 0.0059056
29 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035253 | -0.00088353 | 0.0035257 | 0.00088333 | 3.4337e-07 | -2.0605e-07 | 0.0052787 | 0.0052785 | 0.0052787 | 0.99376 | -0.11986 | 0.99387 | -0.11781 | 1.4502
1 | -0.0070505 | -0.0017667 | 0.0070528 | 0.0017675 | 2.3396e-06 | 7.7148e-07 | 0.010556 | 0.010556 | 0.010556 | 0.99387 | -0.11781 | 0.99423 | -0.11085 | 2.9
2 | 0.057623 | 0.014475 | -0.057553 | -0.01443 | 7.0531e-05 | 4.4812e-05 | 0.086254 | 0.086254 | 0.086254 | 0.99423 | -0.11085 | 0.9929 | -0.13653 | 23.6961
3 | -0.064676 | -0.016242 | 0.064761 | 0.016296 | 8.4918e-05 | 5.4034e-05 | 0.096809 | 0.096809 | 0.096809 | 0.99423 | -0.11085 | 0.99565 | -0.083368 | 26.596
4 | 0.028782 | 0.0072193 | -0.028766 | -0.0072094 | 1.5926e-05 | 9.8975e-06 | 0.043136 | 0.043136 | 0.043136 | 0.9929 | -0.13653 | 0.9923 | -0.14814 | 11.8506
5 | -0.071205 | -0.017911 | 0.071208 | 0.017913 | 2.5293e-06 | 1.611e-06 | 0.10644 | 0.10644 | 0.10644 | 0.99565 | -0.083368 | 0.99569 | -0.082625 | 29.2418
6 | 0.017854 | 0.0044749 | -0.017853 | -0.0044744 | 7.6305e-07 | 4.5144e-07 | 0.026729 | 0.026729 | 0.026729 | 0.99392 | -0.11682 | 0.99387 | -0.11772 | 7.3433
7 | -0.017854 | -0.0044749 | 0.017867 | 0.0044828 | 1.3497e-05 | 7.9845e-06 | 0.026729 | 0.026729 | 0.026729 | 0.99392 | -0.11682 | 0.99474 | -0.10097 | 7.3432
8 | -0.04127 | -0.010349 | 0.041284 | 0.010358 | 1.41e-05 | 8.8959e-06 | 0.061737 | 0.061737 | 0.061737 | 0.99474 | -0.10097 | 0.99511 | -0.0938 | 16.9608
9 | 0.023403 | 0.0058662 | -0.0234 | -0.0058646 | 2.7295e-06 | 1.6698e-06 | 0.035008 | 0.035008 | 0.035008 | 0.99474 | -0.10097 | 0.99461 | -0.10341 | 9.6176
10 | 0.075732 | 0.019173 | -0.075464 | -0.019002 | 0.0002673 | 0.00017036 | 0.11342 | 0.11342 | 0.11342 | 0.99419 | -0.11137 | 0.99035 | -0.18518 | 31.1586
11 | -0.075732 | -0.019173 | 0.075819 | 0.019228 | 8.7634e-05 | 5.585e-05 | 0.11342 | 0.11342 | 0.11342 | 0.99419 | -0.11137 | 0.99544 | -0.087302 | 31.1586
12 | 0.05761 | 0.014527 | -0.057573 | -0.014504 | 3.6788e-05 | 2.3376e-05 | 0.086591 | 0.086591 | 0.086591 | 0.99035 | -0.18518 | 0.98966 | -0.19853 | 23.7888
13 | -0.14875 | -0.037507 | 0.14879 | 0.03753 | 3.7055e-05 | 2.3612e-05 | 0.22244 | 0.22244 | 0.22244 | 0.99544 | -0.087302 | 0.99571 | -0.082098 | 30.5546
14 | 0.057573 | 0.014504 | -0.057493 | -0.014453 | 8.0799e-05 | 5.1343e-05 | 0.086591 | 0.086591 | 0.086591 | 0.98966 | -0.19853 | 0.98815 | -0.22791 | 23.7889
15 | 0.057493 | 0.014453 | -0.057379 | -0.01438 | 0.00011374 | 7.2277e-05 | 0.086591 | 0.086592 | 0.086592 | 0.98815 | -0.22791 | 0.98601 | -0.26943 | 23.7889
16 | 0.064884 | 0.016287 | -0.064849 | -0.016265 | 3.4564e-05 | 2.1993e-05 | 0.096975 | 0.096975 | 0.096975 | 0.99569 | -0.082625 | 0.99511 | -0.0938 | 26.6415
17 | -0.13609 | -0.0342 | 0.13617 | 0.034253 | 8.336e-05 | 5.3281e-05 | 0.20342 | 0.20342 | 0.20342 | 0.99569 | -0.082625 | 0.99636 | -0.069802 | 55.8833
18 | 0.023565 | 0.0059067 | -0.023564 | -0.0059056 | 1.7448e-06 | 1.068e-06 | 0.035238 | 0.035238 | 0.035238 | 0.99511 | -0.0938 | 0.99503 | -0.095354 | 9.6808
19 | -0.18194 | -0.04584 | 0.18233 | 0.046084 | 0.00038368 | 0.00024393 | 0.27199 | 0.27199 | 0.27199 | 0.99571 | -0.082098 | 0.99801 | -0.038111 | 24.9072
20 | -0.026123 | -0.0065469 | 0.026128 | 0.0065506 | 5.8796e-06 | 3.6277e-06 | 0.038937 | 0.038937 | 0.038937 | 0.99831 | -0.032533 | 0.99855 | -0.027809 | 10.6969
21 | -0.054539 | -0.013671 | 0.054594 | 0.013706 | 5.5072e-05 | 3.4955e-05 | 0.081273 | 0.081272 | 0.081273 | 0.99855 | -0.027809 | 0.99965 | -0.0066387 | 22.3276
22 | -0.33806 | -0.085327 | 0.33868 | 0.085722 | 0.00061834 | 0.00039498 | 0.50426 | 0.50426 | 0.50426 | 0.99801 | -0.038111 | 1 | 0 | 46.1775
23 | 0.15573 | 0.039243 | -0.15559 | -0.039153 | 0.00014181 | 8.9936e-05 | 0.23227 | 0.23227 | 0.23227 | 0.99801 | -0.038111 | 0.99701 | -0.057165 | 21.2704
24 | 0.089465 | 0.022456 | -0.089465 | -0.022455 | 7.9616e-08 | 5.0794e-08 | 0.13314 | 0.13314 | 0.13314 | 1 | 0 | 1 | -1.8659e-05 | 36.5761
25 | 0.14915 | 0.037537 | -0.14911 | -0.037514 | 3.6979e-05 | 2.3433e-05 | 0.22265 | 0.22265 | 0.22265 | 0.99701 | -0.057165 | 0.99674 | -0.062354 | 20.3894
26 | 0.083021 | 0.020841 | -0.082995 | -0.020824 | 2.6206e-05 | 1.6712e-05 | 0.12355 | 0.12355 | 0.12355 | 1 | -1.8659e-05 | 0.99965 | -0.0066387 | 33.942
27 | 0.14267 | 0.0359 | -0.14262 | -0.035867 | 5.0754e-05 | 3.2327e-05 | 0.21304 | 0.21304 | 0.21304 | 0.99674 | -0.062354 | 0.99636 | -0.069802 | 29.2631

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43624 | 0.10979

## res_load
| p_mw | q_mvar
0 | 0.0035253 | 0.00088353
1 | 0.0035248 | 0.0008834
2 | 0.028771 | 0.0072107
3 | 0.0064442 | 0.0016151
4 | 0.017853 | 0.0044744
5 | 0.017854 | 0.0044747
6 | 0.072932 | 0.018278
7 | 0.057379 | 0.01438
8 | 0.028766 | 0.0072094
9 | 0.0234 | 0.0058646
10 | 0.033156 | 0.0083097
11 | 0.026123 | 0.0065469
12 | 0.02841 | 0.0071202
13 | 0.0064465 | 0.0016156
14 | 0.0064465 | 0.0016156
15 | 0.0064436 | 0.0016149
16 | 0.0064418 | 0.0016145
17 | 0.0064413 | 0.0016143
18 | 0.028402 | 0.0071181
19 | 0.023564 | 0.0059056

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1