## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-163_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-163_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-163_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-163_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-163_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-163_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1061-163_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1061-163_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1061-163_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1061-163_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1061-163_0_5_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_1061-163_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1061-163_0_5_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1061-163_0_5_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1061-163_0_5_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1061-163_0_5_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1061-163_0_5_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1061-163_0_5_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1061-163_0_5_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1061-163_0_5_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1061-163_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1061-163_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1061-163_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1061-163_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1061-163_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1061-163_0_5_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_1061-163_0_5_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1061-163_0_5_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1061-163_0_5_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_1061-163_0_5_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_1061-163_0_5_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_1061-163_0_5_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_1061-163_0_5_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1061-163_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1061-163_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1061-163_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1061-163_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1061-163_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1061-163_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1061-163_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1061-163_0_5_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1061-163_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1061-163_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_1061-163_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1061-163_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1061-163_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1061-163_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1061-163_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1061-163_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1061-163_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1061-163_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1061-163_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1061-163_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1061-163_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1061-163_0_5_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1061-163_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_1061-163_0_5_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_1061-163_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1061-163_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_1061-163_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1061-163_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_MV_213_0_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-163_0_5_load_0 | 0 | 0.019092 | 0.004785 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-163_0_5_load_1 | 1 | 0.019653 | 0.0049255 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-163_0_5_load_3 | 3 | 0.018152 | 0.0045492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-163_0_5_load_4 | 4 | 0.069385 | 0.01739 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-163_0_5_load_14 | 5 | 0.0099763 | 0.0025003 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-163_0_5_load_22 | 9 | 0.045987 | 0.011525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-163_0_5_load_35 | 10 | 0.020525 | 0.005144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-163_0_5_load_18 | 13 | 0.015347 | 0.0038462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-163_0_5_load_29 | 15 | 0.0082326 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-163_0_5_load_27 | 16 | 0.010526 | 0.0026381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-163_0_5_load_20 | 17 | 0.013471 | 0.0033761 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-163_0_5_load_8 | 19 | 0.0421 | 0.010551 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-163_0_5_load_9 | 20 | 0.042096 | 0.01055 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-163_0_5_load_11 | 22 | 0.061941 | 0.015524 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-163_0_5_load_32 | 24 | 0.0059579 | 0.0014932 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-163_0_5_load_57 | 25 | 0.0077403 | 0.0019399 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-163_0_5_load_59 | 29 | 0.0027587 | 0.00069139 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-163_0_5_load_64 | 31 | 0.007835 | 0.0019636 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-163_0_5_load_19 | 34 | 0.013471 | 0.0033761 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-163_0_5_load_33 | 37 | 0.0087592 | 0.0021953 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-163_0_5_load_39 | 39 | 0.010739 | 0.0026913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-163_0_5_load_37 | 41 | 0.016615 | 0.0041642 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-163_0_5_load_51 | 42 | 0.0097006 | 0.0024312 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-163_0_5_load_31 | 43 | 0.013373 | 0.0033515 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-163_0_5_load_45 | 44 | 0.0093269 | 0.0023375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-163_0_5_load_36 | 46 | 0.0087805 | 0.0022006 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-163_0_5_load_38 | 47 | 0.01121 | 0.0028096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-163_0_5_load_41 | 48 | 0.0026295 | 0.000659 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-163_0_5_load_42 | 49 | 0.0055248 | 0.0013847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-163_0_5_load_44 | 50 | 0.0039791 | 0.00099725 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-163_0_5_load_46 | 51 | 0.0040041 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-163_0_5_load_47 | 52 | 0.0023019 | 0.00057692 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-163_0_5_load_49 | 54 | 0.0031905 | 0.00079962 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-163_0_5_load_65 | 56 | 0.01454 | 0.003644 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-163_0_5_load_55 | 58 | 0.0069935 | 0.0017527 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-163_0_5_load_62 | 59 | 0.0055718 | 0.0013964 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-163_0_5_load_54 | 60 | 0.0098926 | 0.0024793 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-163_0_5_line_0 |  | 0 | 1 | 0.011064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1061-163_0_5_line_1 |  | 0 | 2 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1061-163_0_5_line_2 |  | 1 | 3 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1061-163_0_5_line_3 |  | 2 | 4 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1061-163_0_5_line_4 |  | 3 | 5 | 0.0099431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1061-163_0_5_line_5 |  | 4 | 6 | 0.0060431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1061-163_0_5_line_6 |  | 5 | 11 | 0.015195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1061-163_0_5_line_7 |  | 6 | 12 | 0.00979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1061-163_0_5_line_8 |  | 6 | 13 | 0.034829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1061-163_0_5_line_9 |  | 7 | 8 | 0.009142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-163_0_5_line_10 |  | 7 | 9 | 0.0070392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-163_0_5_line_11 |  | 8 | 10 | 0.0088133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-163_0_5_line_12 |  | 9 | 17 | 0.037148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-163_0_5_line_13 |  | 10 | 18 | 0.050445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-163_0_5_line_14 |  | 11 | 16 | 0.0062985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-163_0_5_line_15 |  | 11 | 14 | 0.074209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1061-163_0_5_line_16 |  | 12 | 30 | 0.035574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1061-163_0_5_line_17 |  | 12 | 31 | 0.0091462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-163_0_5_line_18 |  | 13 | 32 | 0.0097371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1061-163_0_5_line_19 |  | 14 | 15 | 0.055014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1061-163_0_5_line_20 |  | 15 | 26 | 0.015332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1061-163_0_5_line_21 |  | 17 | 34 | 0.011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-163_0_5_line_22 |  | 18 | 38 | 0.024834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-163_0_5_line_23 |  | 19 | 20 | 0.015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-163_0_5_line_24 |  | 19 | 21 | 0.035249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-163_0_5_line_25 |  | 20 | 22 | 0.026784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-163_0_5_line_26 |  | 21 | 23 | 0.041157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-163_0_5_line_27 |  | 22 | 24 | 0.02559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1061-163_0_5_line_28 |  | 23 | 25 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-163_0_5_line_29 |  | 24 | 26 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1061-163_0_5_line_30 |  | 26 | 43 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-163_0_5_line_31 |  | 27 | 28 | 0.046363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-163_0_5_line_32 |  | 27 | 29 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-163_0_5_line_33 |  | 28 | 59 | 0.042683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-163_0_5_line_34 |  | 28 | 57 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-163_0_5_line_35 |  | 29 | 50 | 0.016309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-163_0_5_line_36 |  | 32 | 33 | 0.019813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1061-163_0_5_line_37 |  | 33 | 37 | 0.0114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_1061-163_0_5_line_38 |  | 34 | 35 | 0.068798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1061-163_0_5_line_39 |  | 35 | 36 | 0.035753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1061-163_0_5_line_40 |  | 36 | 37 | 0.057472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1061-163_0_5_line_41 |  | 38 | 39 | 0.012067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-163_0_5_line_42 |  | 38 | 40 | 0.049295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-163_0_5_line_43 |  | 39 | 41 | 0.001647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-163_0_5_line_44 |  | 40 | 42 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-163_0_5_line_45 |  | 41 | 46 | 0.012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-163_0_5_line_46 |  | 43 | 44 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-163_0_5_line_47 |  | 44 | 45 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-163_0_5_line_48 |  | 45 | 51 | 0.027256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-163_0_5_line_49 |  | 45 | 52 | 0.029937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-163_0_5_line_50 |  | 45 | 53 | 0.042083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-163_0_5_line_51 |  | 46 | 47 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-163_0_5_line_52 |  | 48 | 49 | 0.00013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-163_0_5_line_53 |  | 49 | 50 | 0.025929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-163_0_5_line_54 |  | 51 | 54 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-163_0_5_line_55 |  | 52 | 55 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-163_0_5_line_56 |  | 53 | 56 | 0.081355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-163_0_5_line_57 |  | 54 | 57 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-163_0_5_line_58 |  | 55 | 58 | 0.0091603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-163_0_5_line_59 |  | 58 | 60 | 0.037176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-163_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 61 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2666250.3808 | 1212224.2309 | 2666254.7802 | 1212214.0797
1 | 2666241.3239 | 1212233.1117 | 2666244.5881 | 1212232.0029 | 2666247.443 | 1212230.1223 | 2666248.6026 | 1212228.334 | 2666250.3808 | 1212224.2309
2 | 2666254.7802 | 1212214.0797 | 2666258.8811 | 1212204.6174
3 | 2666241.3239 | 1212233.1117 | 2666239.8608 | 1212244.0738
4 | 2666258.8811 | 1212204.6174 | 2666262.8349 | 1212195.4943
5 | 2666239.0613 | 1212250.0638 | 2666239.8608 | 1212244.0738
6 | 2666268.8771 | 1212181.5525 | 2666262.8349 | 1212195.4943
7 | 2666239.0613 | 1212250.0638 | 2666246.7231 | 1212253.2063 | 2666247.4374 | 1212254.5596
8 | 2666239.0613 | 1212250.0638 | 2666232.5441 | 1212265.6344 | 2666225.6168 | 1212282.1933
9 | 2666176.5979 | 1212261.789 | 2666177.9674 | 1212262.3045 | 2666182.56 | 1212264.0454 | 2666185.1704 | 1212265.0306
10 | 2666185.1704 | 1212265.0306 | 2666182.6702 | 1212271.6108
11 | 2666176.5979 | 1212261.789 | 2666174.8713 | 1212266.0725 | 2666173.5685 | 1212270.06
12 | 2666169.9149 | 1212303.6294 | 2666171.1753 | 1212296.5059 | 2666174.4549 | 1212296.7424 | 2666175.8488 | 1212295.0568 | 2666178.4592 | 1212285.0796 | 2666180.9049 | 1212276.2569 | 2666182.6702 | 1212271.6108
13 | 2666161.8986 | 1212319.0725 | 2666166.5026 | 1212295.8203 | 2666167.4768 | 1212290.8725 | 2666169.9163 | 1212281.2381 | 2666173.5685 | 1212270.06
14 | 2666268.8771 | 1212181.5525 | 2666265.3904 | 1212176.3071
15 | 2666268.8771 | 1212181.5525 | 2666281.2292 | 1212170.1382 | 2666287.4272 | 1212166.8939 | 2666293.4638 | 1212167.239 | 2666302.9509 | 1212172.959 | 2666325.7441 | 1212186.6986 | 2666328.9384 | 1212187.7793 | 2666332.202 | 1212187.4153
16 | 2666247.4374 | 1212254.5596 | 2666248.2635 | 1212256.1141 | 2666247.1146 | 1212261.0489 | 2666256.8728 | 1212266.9831 | 2666265.5264 | 1212269.7476 | 2666271.6133 | 1212269.6596 | 2666273.6718 | 1212269.0265
17 | 2666247.4374 | 1212254.5596 | 2666252.279 | 1212249.6214 | 2666254.3464 | 1212248.7839
18 | 2666221.8589 | 1212291.176 | 2666225.6168 | 1212282.1933
19 | 2666332.202 | 1212187.4153 | 2666336.3225 | 1212191.9862 | 2666333.8558 | 1212195.8389 | 2666345.2521 | 1212203.4148 | 2666349.231 | 1212209.0959 | 2666358.684 | 1212226.7452 | 2666360.8722 | 1212229.6583
20 | 2666369.9949 | 1212241.9805 | 2666364.756 | 1212234.8289 | 2666360.8722 | 1212229.6583
21 | 2666167.9701 | 1212314.6223 | 2666169.9149 | 1212303.6294
22 | 2666138.2481 | 1212312.0838 | 2666141.6966 | 1212314.2233 | 2666154.3588 | 1212317.2656 | 2666161.8986 | 1212319.0725
23 | 2666422.8771 | 1212184.3587 | 2666407.1162 | 1212186.9405
24 | 2666454.0958 | 1212171.8065 | 2666450.0804 | 1212177.5876 | 2666446.7334 | 1212179.3069 | 2666439.8623 | 1212181.5762 | 2666422.8771 | 1212184.3587
25 | 2666388.8372 | 1212203.9323 | 2666392.73 | 1212196.0717 | 2666396.903 | 1212190.4591 | 2666400.8437 | 1212187.9681 | 2666407.1162 | 1212186.9405
26 | 2666454.0958 | 1212171.8065 | 2666459.3312 | 1212173.1434 | 2666485.2078 | 1212171.2972 | 2666485.4 | 1212174.5013 | 2666485.4451 | 1212175.2245 | 2666491.3011 | 1212174.7339
27 | 2666388.8372 | 1212203.9323 | 2666377.4809 | 1212226.864
28 | 2666491.3011 | 1212174.7339 | 2666506.4431 | 1212173.4463 | 2666511.0978 | 1212172.9726
29 | 2666369.9949 | 1212241.9805 | 2666377.4809 | 1212226.864
30 | 2666369.9949 | 1212241.9805 | 2666378.1748 | 1212256.5916
31 | 2666456.3585 | 1212237.3945 | 2666452.5906 | 1212237.3303 | 2666451.1823 | 1212233.4789 | 2666451.2611 | 1212226.4087 | 2666454.3408 | 1212209.8216 | 2666444.619 | 1212204.0431 | 2666443.1243 | 1212201.1247
32 | 2666443.1243 | 1212201.1247 | 2666433.5718 | 1212202.6526 | 2666432.409 | 1212202.9307
33 | 2666456.3585 | 1212237.3945 | 2666457.8347 | 1212232.419 | 2666462.1077 | 1212226.7075 | 2666465.0877 | 1212225.1953 | 2666476.2082 | 1212222.0506 | 2666484.3235 | 1212221.9854 | 2666491.6494 | 1212222.534
34 | 2666463.3232 | 1212261.487 | 2666460.763 | 1212249.8735 | 2666456.3585 | 1212237.3945
35 | 2666432.409 | 1212202.9307 | 2666428.5971 | 1212203.8424 | 2666424.5375 | 1212206.0986 | 2666421.1994 | 1212209.7414 | 2666419.5385 | 1212212.0012
36 | 2666221.8589 | 1212291.176 | 2666214.21 | 1212309.458
37 | 2666214.21 | 1212309.458 | 2666210.5237 | 1212320.2454
38 | 2666156.2042 | 1212382.4041 | 2666158.2156 | 1212370.9416 | 2666159.234 | 1212364.749 | 2666163.202 | 1212340.6114 | 2666167.5355 | 1212317.0783 | 2666167.9701 | 1212314.6223
39 | 2666190.4787 | 1212374.0902 | 2666184.0159 | 1212373.8295 | 2666174.3508 | 1212375.9569 | 2666164.8787 | 1212379.8543 | 2666158.2303 | 1212382.6267 | 2666156.2042 | 1212382.4041
40 | 2666190.4787 | 1212374.0902 | 2666202.2421 | 1212344.4802 | 2666210.5237 | 1212320.2454
41 | 2666138.2481 | 1212312.0838 | 2666136.7144 | 1212309.2539 | 2666137.6712 | 1212300.4581
42 | 2666089.538 | 1212305.2732 | 2666129.8067 | 1212312.7907 | 2666138.2481 | 1212312.0838
43 | 2666137.6712 | 1212300.4581 | 2666137.8493 | 1212298.8207
44 | 2666089.538 | 1212305.2732 | 2666091.9541 | 1212294.3043 | 2666093.0641 | 1212290.589
45 | 2666139.2452 | 1212285.9881 | 2666137.8493 | 1212298.8207
46 | 2666384.7857 | 1212270.7519 | 2666382.4394 | 1212267.3124 | 2666378.1748 | 1212256.5916 | 2666378.1748 | 1212256.5916
47 | 2666396.1822 | 1212281.8076 | 2666389.9975 | 1212278.3922 | 2666384.7857 | 1212270.7519
48 | 2666396.1822 | 1212281.8076 | 2666421.5323 | 1212271.7943
49 | 2666396.1822 | 1212281.8076 | 2666369.1909 | 1212294.7573
50 | 2666396.1822 | 1212281.8076 | 2666397.9658 | 1212308.5885 | 2666397.9404 | 1212323.8309
51 | 2666139.2452 | 1212285.9881 | 2666140.3704 | 1212275.6442
52 | 2666409.0204 | 1212235.5771 | 2666408.9736 | 1212235.7
53 | 2666409.0204 | 1212235.5771 | 2666415.7751 | 1212217.8639 | 2666418.476 | 1212213.4467 | 2666419.5385 | 1212212.0012
54 | 2666421.5323 | 1212271.7943 | 2666426.8148 | 1212269.7077 | 2666438.8735 | 1212266.2287 | 2666447.6262 | 1212264.3775
55 | 2666350.3426 | 1212303.8002 | 2666369.1909 | 1212294.7573
56 | 2666322.753 | 1212348.3654 | 2666334.3445 | 1212338.3659 | 2666343.8906 | 1212332.6129 | 2666351.1072 | 1212329.3133 | 2666357.8671 | 1212328.1433 | 2666397.9404 | 1212323.8309
57 | 2666463.3232 | 1212261.487 | 2666458.6975 | 1212262.0358 | 2666447.6262 | 1212264.3775
58 | 2666350.3426 | 1212303.8002 | 2666347.8533 | 1212298.7694 | 2666351.0062 | 1212297.1436
59 | 2666347.5984 | 1212267.3613 | 2666359.3566 | 1212291.9264 | 2666357.5201 | 1212293.7849 | 2666351.0062 | 1212297.1436

## bus_geodata
| x | y | coords
0 | 2666250.3808 | 1212224.2309
1 | 2666254.7802 | 1212214.0797
2 | 2666241.3239 | 1212233.1117
3 | 2666258.8811 | 1212204.6174
4 | 2666239.8608 | 1212244.0738
5 | 2666262.8349 | 1212195.4943
6 | 2666239.0613 | 1212250.0638
7 | 2666185.1704 | 1212265.0306
8 | 2666176.5979 | 1212261.789
9 | 2666182.6702 | 1212271.6108
10 | 2666173.5685 | 1212270.06
11 | 2666268.8771 | 1212181.5525
12 | 2666247.4374 | 1212254.5596
13 | 2666225.6168 | 1212282.1933
14 | 2666332.202 | 1212187.4153
15 | 2666360.8722 | 1212229.6583
16 | 2666265.3904 | 1212176.3071
17 | 2666169.9149 | 1212303.6294
18 | 2666161.8986 | 1212319.0725
19 | 2666422.8771 | 1212184.3587
20 | 2666407.1162 | 1212186.9405
21 | 2666454.0958 | 1212171.8065
22 | 2666388.8372 | 1212203.9323
23 | 2666491.3011 | 1212174.7339
24 | 2666377.4809 | 1212226.864
25 | 2666511.0978 | 1212172.9726
26 | 2666369.9949 | 1212241.9805
27 | 2666443.1243 | 1212201.1247
28 | 2666456.3585 | 1212237.3945
29 | 2666432.409 | 1212202.9307
30 | 2666273.6718 | 1212269.0265
31 | 2666254.3464 | 1212248.7839
32 | 2666221.8589 | 1212291.176
33 | 2666214.21 | 1212309.458
34 | 2666167.9701 | 1212314.6223
35 | 2666156.2042 | 1212382.4041
36 | 2666190.4787 | 1212374.0902
37 | 2666210.5237 | 1212320.2454
38 | 2666138.2481 | 1212312.0838
39 | 2666137.6712 | 1212300.4581
40 | 2666089.538 | 1212305.2732
41 | 2666137.8493 | 1212298.8207
42 | 2666093.0641 | 1212290.589
43 | 2666378.1748 | 1212256.5916
44 | 2666384.7857 | 1212270.7519
45 | 2666396.1822 | 1212281.8076
46 | 2666139.2452 | 1212285.9881
47 | 2666140.3704 | 1212275.6442
48 | 2666408.9736 | 1212235.7
49 | 2666409.0204 | 1212235.5771
50 | 2666419.5385 | 1212212.0012
51 | 2666421.5323 | 1212271.7943
52 | 2666369.1909 | 1212294.7573
53 | 2666397.9404 | 1212323.8309
54 | 2666447.6262 | 1212264.3775
55 | 2666350.3426 | 1212303.8002
56 | 2666322.753 | 1212348.3654
57 | 2666463.3232 | 1212261.487
58 | 2666351.0062 | 1212297.1436
59 | 2666491.6494 | 1212222.534
60 | 2666347.5984 | 1212267.3613
61 | 2666280.5183 | 1212266.9013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99321 | -0.12915 | 0.019092 | 0.004785
1 | 0.99257 | -0.1413 | 0.019653 | 0.0049255
2 | 0.99403 | -0.11347 | 0 | 0
3 | 0.99202 | -0.15192 | 0.018152 | 0.0045492
4 | 0.9947 | -0.10062 | 0.069385 | 0.01739
5 | 0.99152 | -0.16153 | 0.0099763 | 0.0025003
6 | 0.99515 | -0.092131 | 0 | 0
7 | 0.97921 | -0.39926 | 0 | 0
8 | 0.97855 | -0.41216 | 0 | 0
9 | 0.97971 | -0.38933 | 0.045987 | 0.011525
10 | 0.97791 | -0.42461 | 0.020525 | 0.005144
11 | 0.99078 | -0.17569 | 0 | 0
12 | 0.99618 | -0.072384 | 0 | 0
13 | 0.99402 | -0.11357 | 0.015347 | 0.0038462
14 | 0.98731 | -0.24238 | 0 | 0
15 | 0.98475 | -0.29213 | 0.0082326 | 0.0020633
16 | 0.99072 | -0.17687 | 0.010526 | 0.0026381
17 | 0.98398 | -0.30634 | 0.013471 | 0.0033761
18 | 0.97523 | -0.4772 | 0 | 0
19 | 0.97872 | -0.40994 | 0.0421 | 0.010551
20 | 0.97945 | -0.39547 | 0.042096 | 0.01055
21 | 0.97846 | -0.41491 | 0 | 0
22 | 0.98173 | -0.35083 | 0.061941 | 0.015524
23 | 0.97817 | -0.42071 | 0 | 0
24 | 0.98356 | -0.31529 | 0.0059579 | 0.0014932
25 | 0.97803 | -0.42351 | 0.0077403 | 0.0019399
26 | 0.98406 | -0.30558 | 0 | 0
27 | 0.97808 | -0.42237 | 0 | 0
28 | 0.97872 | -0.4098 | 0 | 0
29 | 0.97793 | -0.42532 | 0.0027587 | 0.00069139
30 | 1 | 0 | -0.59185 | -0.15131
31 | 0.99612 | -0.073643 | 0.007835 | 0.0019636
32 | 0.99373 | -0.11904 | 0 | 0
33 | 0.99315 | -0.13019 | 0 | 0
34 | 0.9854 | -0.27884 | 0.013471 | 0.0033761
35 | 0.9902 | -0.18636 | 0 | 0
36 | 0.9912 | -0.16725 | 0 | 0
37 | 0.99281 | -0.13661 | 0.0087592 | 0.0021953
38 | 0.97391 | -0.5032 | 0 | 0
39 | 0.97338 | -0.51371 | 0.010739 | 0.0026913
40 | 0.97346 | -0.512 | 0 | 0
41 | 0.97332 | -0.51482 | 0.016615 | 0.0041642
42 | 0.97333 | -0.51469 | 0.0097006 | 0.0024312
43 | 0.98275 | -0.33096 | 0.013373 | 0.0033515
44 | 0.98172 | -0.35102 | 0.0093269 | 0.0023375
45 | 0.9808 | -0.36916 | 0 | 0
46 | 0.97308 | -0.51957 | 0.0087805 | 0.0022006
47 | 0.97297 | -0.52171 | 0.01121 | 0.0028096
48 | 0.97755 | -0.43279 | 0.0026295 | 0.000659
49 | 0.97755 | -0.43278 | 0.0055248 | 0.0013847
50 | 0.97775 | -0.42893 | 0.0039791 | 0.00099725
51 | 0.9801 | -0.38283 | 0.0040041 | 0.0010035
52 | 0.98026 | -0.37957 | 0.0023019 | 0.00057692
53 | 0.98023 | -0.38025 | 0 | 0
54 | 0.9795 | -0.3945 | 0.0031905 | 0.00079962
55 | 0.97994 | -0.38598 | 0 | 0
56 | 0.97913 | -0.40173 | 0.01454 | 0.003644
57 | 0.9792 | -0.40044 | 0 | 0
58 | 0.97979 | -0.38878 | 0.0069935 | 0.0017527
59 | 0.9785 | -0.41413 | 0.0055718 | 0.0013964
60 | 0.97945 | -0.39546 | 0.0098926 | 0.0024793
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.31358 | 0.079784 | -0.3134 | -0.079667 | 0.00018348 | 0.00011671 | 0.47023 | 0.47023 | 0.47023 | 0.99321 | -0.12915 | 0.99257 | -0.1413 | 25.8367
1 | -0.33267 | -0.084569 | 0.33292 | 0.084729 | 0.00025137 | 0.00016 | 0.49883 | 0.49883 | 0.49883 | 0.99321 | -0.12915 | 0.99403 | -0.11347 | 27.4084
2 | 0.29374 | 0.074741 | -0.29359 | -0.074646 | 0.00015026 | 9.5501e-05 | 0.44077 | 0.44077 | 0.44077 | 0.99257 | -0.1413 | 0.99202 | -0.15192 | 24.2179
3 | -0.33292 | -0.084729 | 0.33313 | 0.08486 | 0.00020639 | 0.00013137 | 0.49883 | 0.49883 | 0.49883 | 0.99403 | -0.11347 | 0.9947 | -0.10062 | 27.4084
4 | 0.27544 | 0.070097 | -0.27532 | -0.070016 | 0.00012753 | 8.0978e-05 | 0.41354 | 0.41354 | 0.41354 | 0.99202 | -0.15192 | 0.99152 | -0.16153 | 22.722
5 | -0.40252 | -0.10225 | 0.40268 | 0.10235 | 0.0001646 | 0.00010495 | 0.60263 | 0.60263 | 0.60263 | 0.9947 | -0.10062 | 0.99515 | -0.092131 | 33.1114
6 | 0.26534 | 0.067515 | -0.26516 | -0.067401 | 0.00018103 | 0.00011488 | 0.39857 | 0.39857 | 0.39857 | 0.99152 | -0.16153 | 0.99078 | -0.17569 | 21.8994
7 | -0.57975 | -0.14768 | 0.5803 | 0.14803 | 0.00055286 | 0.00035319 | 0.86773 | 0.86773 | 0.86773 | 0.99515 | -0.092131 | 0.99618 | -0.072384 | 47.6776
8 | 0.17707 | 0.045323 | -0.17689 | -0.045207 | 0.00018359 | 0.00011524 | 0.26511 | 0.26511 | 0.26511 | 0.99515 | -0.092131 | 0.99402 | -0.11357 | 14.5663
9 | 0.077916 | 0.01966 | -0.077868 | -0.019629 | 4.81e-05 | 3.0669e-05 | 0.11845 | 0.11845 | 0.11845 | 0.97921 | -0.39926 | 0.97855 | -0.41216 | 32.5413
10 | -0.077916 | -0.01966 | 0.077953 | 0.019683 | 3.7036e-05 | 2.3614e-05 | 0.11845 | 0.11845 | 0.11845 | 0.97921 | -0.39926 | 0.97971 | -0.38933 | 32.5412
11 | 0.077868 | 0.019629 | -0.077822 | -0.0196 | 4.637e-05 | 2.9566e-05 | 0.11845 | 0.11845 | 0.11845 | 0.97855 | -0.41216 | 0.97791 | -0.42461 | 32.5413
12 | -0.12394 | -0.031209 | 0.12443 | 0.031525 | 0.00049392 | 0.00031564 | 0.1883 | 0.1883 | 0.1883 | 0.97971 | -0.38933 | 0.98398 | -0.30634 | 51.7298
13 | 0.057297 | 0.014456 | -0.057153 | -0.014364 | 0.0001439 | 9.1467e-05 | 0.087219 | 0.087219 | 0.087219 | 0.97791 | -0.42461 | 0.97523 | -0.4772 | 23.9614
14 | 0.010527 | 0.0026384 | -0.010526 | -0.0026381 | 5.9039e-07 | 2.9674e-07 | 0.01581 | 0.01581 | 0.01581 | 0.99078 | -0.17569 | 0.99072 | -0.17687 | 4.3434
15 | 0.25463 | 0.064762 | -0.25382 | -0.064245 | 0.00081539 | 0.00051709 | 0.38276 | 0.38276 | 0.38276 | 0.99078 | -0.17569 | 0.98731 | -0.24238 | 21.0308
16 | -0.58814 | -0.14999 | 0.5902 | 0.15131 | 0.0020635 | 0.0013183 | 0.87944 | 0.87944 | 0.87944 | 0.99618 | -0.072384 | 1 | 0 | 48.3207
17 | 0.0078354 | 0.0019638 | -0.007835 | -0.0019636 | 4.6983e-07 | 1.8162e-07 | 0.011704 | 0.011704 | 0.011704 | 0.99618 | -0.072384 | 0.99612 | -0.073643 | 3.2154
18 | 0.16154 | 0.041361 | -0.1615 | -0.041334 | 4.2816e-05 | 2.6771e-05 | 0.24213 | 0.24213 | 0.24213 | 0.99402 | -0.11357 | 0.99373 | -0.11904 | 13.3041
19 | 0.25382 | 0.064245 | -0.25321 | -0.063862 | 0.00060449 | 0.00038336 | 0.38276 | 0.38276 | 0.38276 | 0.98731 | -0.24238 | 0.98475 | -0.29213 | 21.0308
20 | 0.24498 | 0.061798 | -0.24482 | -0.061698 | 0.00015769 | 9.995e-05 | 0.37032 | 0.37032 | 0.37032 | 0.98475 | -0.29213 | 0.98406 | -0.30558 | 20.3473
21 | -0.13791 | -0.034901 | 0.13809 | 0.035017 | 0.00018228 | 0.00011652 | 0.20867 | 0.20867 | 0.20867 | 0.98398 | -0.30634 | 0.9854 | -0.27884 | 57.3263
22 | 0.057153 | 0.014364 | -0.057082 | -0.014319 | 7.0845e-05 | 4.5031e-05 | 0.087219 | 0.087219 | 0.087219 | 0.97523 | -0.4772 | 0.97391 | -0.5032 | 23.9614
23 | -0.049845 | -0.012493 | 0.04988 | 0.012515 | 3.4396e-05 | 2.1813e-05 | 0.075784 | 0.075784 | 0.075784 | 0.97872 | -0.40994 | 0.97945 | -0.39547 | 20.8197
24 | 0.0077453 | 0.0019419 | -0.0077435 | -0.0019412 | 1.8331e-06 | 7.3033e-07 | 0.011776 | 0.011776 | 0.011776 | 0.97872 | -0.40994 | 0.97846 | -0.41491 | 3.2352
25 | -0.091975 | -0.023065 | 0.092172 | 0.02319 | 0.00019612 | 0.00012518 | 0.13974 | 0.13974 | 0.13974 | 0.97945 | -0.39547 | 0.98173 | -0.35083 | 38.3892
26 | 0.0077435 | 0.0019412 | -0.0077413 | -0.0019403 | 2.1404e-06 | 8.5305e-07 | 0.011776 | 0.011776 | 0.011776 | 0.97846 | -0.41491 | 0.97817 | -0.42071 | 3.2353
27 | -0.15411 | -0.038714 | 0.15437 | 0.038881 | 0.00026187 | 0.00016695 | 0.23362 | 0.23362 | 0.23362 | 0.98173 | -0.35083 | 0.98356 | -0.31529 | 32.0907
28 | 0.0077413 | 0.0019403 | -0.0077403 | -0.0019399 | 1.0337e-06 | 4.1208e-07 | 0.011776 | 0.011776 | 0.011776 | 0.97817 | -0.42071 | 0.97803 | -0.42351 | 3.2353
29 | -0.16033 | -0.040374 | 0.16041 | 0.040421 | 7.448e-05 | 4.6596e-05 | 0.24263 | 0.24263 | 0.24263 | 0.98356 | -0.31529 | 0.98406 | -0.30558 | 13.3315
30 | 0.084414 | 0.021278 | -0.084312 | -0.021212 | 0.00010238 | 6.5311e-05 | 0.12769 | 0.12769 | 0.12769 | 0.98406 | -0.30558 | 0.98275 | -0.33096 | 35.0792
31 | -0.014898 | -0.0037353 | 0.014907 | 0.0037404 | 8.9315e-06 | 5.1339e-06 | 0.022665 | 0.022665 | 0.022665 | 0.97808 | -0.42237 | 0.97872 | -0.4098 | 6.2268
32 | 0.014898 | 0.0037353 | -0.014896 | -0.0037341 | 2.094e-06 | 1.2037e-06 | 0.022665 | 0.022665 | 0.022665 | 0.97808 | -0.42237 | 0.97793 | -0.42532 | 6.2268
33 | 0.0055729 | 0.0013966 | -0.0055718 | -0.0013964 | 1.1491e-06 | 1.9915e-07 | 0.0084729 | 0.0084731 | 0.0084731 | 0.97872 | -0.4098 | 0.9785 | -0.41413 | 2.3278
34 | -0.02048 | -0.005137 | 0.020489 | 0.0051426 | 9.1355e-06 | 5.5308e-06 | 0.031138 | 0.031138 | 0.031138 | 0.97872 | -0.4098 | 0.9792 | -0.40044 | 8.5544
35 | 0.012137 | 0.0030427 | -0.012135 | -0.0030415 | 2.0859e-06 | 1.1304e-06 | 0.018468 | 0.018468 | 0.018468 | 0.97793 | -0.42532 | 0.97775 | -0.42893 | 5.0736
36 | 0.1615 | 0.041334 | -0.16141 | -0.04128 | 8.7121e-05 | 5.4475e-05 | 0.24213 | 0.24213 | 0.24213 | 0.99373 | -0.11904 | 0.99315 | -0.13019 | 13.3041
37 | 0.16141 | 0.04128 | -0.16136 | -0.041248 | 5.0127e-05 | 3.1344e-05 | 0.24213 | 0.24213 | 0.24213 | 0.99315 | -0.13019 | 0.99281 | -0.13661 | 13.3041
38 | -0.15156 | -0.038393 | 0.15223 | 0.038825 | 0.00067652 | 0.00043121 | 0.22901 | 0.22901 | 0.22901 | 0.9854 | -0.27884 | 0.9902 | -0.18636 | 31.4573
39 | -0.15223 | -0.038825 | 0.15238 | 0.038912 | 0.00014063 | 8.7701e-05 | 0.22901 | 0.22901 | 0.22901 | 0.9902 | -0.18636 | 0.9912 | -0.16725 | 12.5829
40 | -0.15238 | -0.038912 | 0.1526 | 0.039053 | 0.00022606 | 0.00014097 | 0.22901 | 0.22901 | 0.22901 | 0.9912 | -0.16725 | 0.99281 | -0.13661 | 12.5828
41 | 0.047376 | 0.011885 | -0.047352 | -0.01187 | 2.3712e-05 | 1.5025e-05 | 0.072389 | 0.07239 | 0.07239 | 0.97391 | -0.5032 | 0.97338 | -0.51371 | 19.8872
42 | 0.0097059 | 0.0024338 | -0.0097019 | -0.0024318 | 4.0656e-06 | 1.9888e-06 | 0.01483 | 0.01483 | 0.01483 | 0.97391 | -0.5032 | 0.97346 | -0.512 | 4.0742
43 | 0.036614 | 0.009179 | -0.036612 | -0.0091778 | 1.9351e-06 | 1.218e-06 | 0.055973 | 0.055973 | 0.055973 | 0.97338 | -0.51371 | 0.97332 | -0.51482 | 15.3773
44 | 0.0097019 | 0.0024318 | -0.0097006 | -0.0024312 | 1.2462e-06 | 6.0973e-07 | 0.01483 | 0.01483 | 0.01483 | 0.97346 | -0.512 | 0.97333 | -0.51469 | 4.0743
45 | 0.019997 | 0.0050135 | -0.019992 | -0.0050108 | 4.5241e-06 | 2.7351e-06 | 0.030572 | 0.030572 | 0.030572 | 0.97332 | -0.51482 | 0.97308 | -0.51957 | 8.3988
46 | 0.070939 | 0.017861 | -0.070871 | -0.017817 | 6.7968e-05 | 4.3301e-05 | 0.10744 | 0.10744 | 0.10744 | 0.98275 | -0.33096 | 0.98172 | -0.35102 | 29.5165
47 | 0.061544 | 0.01548 | -0.061491 | -0.015446 | 5.3257e-05 | 3.3878e-05 | 0.093303 | 0.093303 | 0.093303 | 0.98172 | -0.35102 | 0.9808 | -0.36916 | 25.6328
48 | 0.02772 | 0.0069685 | -0.027702 | -0.0069573 | 1.8085e-05 | 1.123e-05 | 0.042064 | 0.042064 | 0.042064 | 0.9808 | -0.36916 | 0.9801 | -0.38283 | 11.556
49 | 0.019208 | 0.0048206 | -0.019199 | -0.0048149 | 9.5355e-06 | 5.7251e-06 | 0.029144 | 0.029144 | 0.029144 | 0.9808 | -0.36916 | 0.98026 | -0.37957 | 8.0066
50 | 0.014562 | 0.0036569 | -0.014554 | -0.0036525 | 7.7046e-06 | 4.4001e-06 | 0.022096 | 0.022096 | 0.022096 | 0.9808 | -0.36916 | 0.98023 | -0.38025 | 6.0703
51 | 0.011212 | 0.0028102 | -0.01121 | -0.0028096 | 1.1469e-06 | 6.0478e-07 | 0.017145 | 0.017145 | 0.017145 | 0.97308 | -0.51957 | 0.97297 | -0.52171 | 4.7101
52 | -0.0026295 | -0.000659 | 0.0026295 | 0.000659 | 7.9025e-10 | -1.1435e-09 | 0.0040025 | 0.0040025 | 0.0040025 | 0.97755 | -0.43279 | 0.97755 | -0.43278 | 1.0996
53 | -0.0081543 | -0.0020437 | 0.0081558 | 0.0020443 | 1.498e-06 | 6.3361e-07 | 0.012412 | 0.012412 | 0.012412 | 0.97755 | -0.43278 | 0.97775 | -0.42893 | 3.41
54 | 0.023698 | 0.0059538 | -0.023685 | -0.0059457 | 1.3197e-05 | 8.1035e-06 | 0.035985 | 0.035985 | 0.035985 | 0.9801 | -0.38283 | 0.9795 | -0.3945 | 9.8859
55 | 0.016897 | 0.004238 | -0.016892 | -0.0042349 | 5.1578e-06 | 3.0375e-06 | 0.02565 | 0.02565 | 0.02565 | 0.98026 | -0.37957 | 0.97994 | -0.38598 | 7.0467
56 | 0.014554 | 0.0036525 | -0.01454 | -0.003644 | 1.4895e-05 | 8.5084e-06 | 0.022096 | 0.022096 | 0.022096 | 0.98023 | -0.38025 | 0.97913 | -0.40173 | 6.0704
57 | 0.020495 | 0.0051461 | -0.020489 | -0.0051426 | 5.8081e-06 | 3.5162e-06 | 0.031138 | 0.031138 | 0.031138 | 0.9795 | -0.3945 | 0.9792 | -0.40044 | 8.5544
58 | 0.016892 | 0.0042349 | -0.016889 | -0.0042336 | 2.26e-06 | 1.331e-06 | 0.02565 | 0.02565 | 0.02565 | 0.97994 | -0.38598 | 0.97979 | -0.38878 | 7.0467
59 | 0.0098958 | 0.0024809 | -0.0098926 | -0.0024793 | 3.1489e-06 | 1.5472e-06 | 0.015029 | 0.015029 | 0.015029 | 0.97979 | -0.38878 | 0.97945 | -0.39546 | 4.1289

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59185 | 0.15131

## res_load
| p_mw | q_mvar
0 | 0.019092 | 0.004785
1 | 0.019653 | 0.0049255
2 | 0.018152 | 0.0045492
3 | 0.069385 | 0.01739
4 | 0.0099763 | 0.0025003
5 | 0.045987 | 0.011525
6 | 0.020525 | 0.005144
7 | 0.015347 | 0.0038462
8 | 0.0082326 | 0.0020633
9 | 0.010526 | 0.0026381
10 | 0.013471 | 0.0033761
11 | 0.0421 | 0.010551
12 | 0.042096 | 0.01055
13 | 0.061941 | 0.015524
14 | 0.0059579 | 0.0014932
15 | 0.0077403 | 0.0019399
16 | 0.0027587 | 0.00069139
17 | 0.007835 | 0.0019636
18 | 0.013471 | 0.0033761
19 | 0.0087592 | 0.0021953
20 | 0.010739 | 0.0026913
21 | 0.016615 | 0.0041642
22 | 0.0097006 | 0.0024312
23 | 0.013373 | 0.0033515
24 | 0.0093269 | 0.0023375
25 | 0.0087805 | 0.0022006
26 | 0.01121 | 0.0028096
27 | 0.0026295 | 0.000659
28 | 0.0055248 | 0.0013847
29 | 0.0039791 | 0.00099725
30 | 0.0040041 | 0.0010035
31 | 0.0023019 | 0.00057692
32 | 0.0031905 | 0.00079962
33 | 0.01454 | 0.003644
34 | 0.0069935 | 0.0017527
35 | 0.0055718 | 0.0013964
36 | 0.0098926 | 0.0024793

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1