## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-16_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-16_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-16_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-16_0_10_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_1061-16_0_10_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1061-16_0_10_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1061-16_0_10_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-16_0_10_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-16_0_10_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1061-16_0_10_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1061-16_0_10_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1061-16_0_10_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1061-16_0_10_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1061-16_0_10_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1061-16_0_10_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1061-16_0_10_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1061-16_0_10_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1061-16_0_10_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_1061-16_0_10_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1061-16_0_10_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1061-16_0_10_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_1061-16_0_10_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1061-16_0_10_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1061-16_0_10_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1061-16_0_10_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1061-16_0_10_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1061-16_0_10_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1061-16_0_10_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_1061-16_0_10_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1061-16_0_10_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1061-16_0_10_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1061-16_0_10_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1061-16_0_10_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1061-16_0_10_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1061-16_0_10_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1061-16_0_10_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1061-16_0_10_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1061-16_0_10_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1061-16_0_10_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_1061-16_0_10_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1061-16_0_10_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1061-16_0_10_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1061-16_0_10_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1061-16_0_10_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1061-16_0_10_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1061-16_0_10_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1061-16_0_10_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1061-16_0_10_node_48 | 0.4 | n |  | TRUE
48 | bus_MV_215_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-16_0_10_load_0 | 0 | 0.0034519 | 0.00086513 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-16_0_10_load_1 | 1 | 0.0033679 | 0.00084407 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-16_0_10_load_2 | 2 | 0.015301 | 0.0038347 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-16_0_10_load_27 | 3 | 0.014066 | 0.0035254 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-16_0_10_load_6 | 4 | 0.017916 | 0.0044902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-16_0_10_load_3 | 5 | 0.016233 | 0.0040684 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-16_0_10_load_4 | 6 | 0.017156 | 0.0042997 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-16_0_10_load_5 | 7 | 0.015811 | 0.0039627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-16_0_10_load_7 | 8 | 0.036591 | 0.0091706 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-16_0_10_load_8 | 12 | 0.025738 | 0.0064506 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-16_0_10_load_9 | 13 | 0.02103 | 0.0052707 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-16_0_10_load_11 | 14 | 0.024478 | 0.0061349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-16_0_10_load_34 | 16 | 0.023569 | 0.005907 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-16_0_10_load_31 | 17 | 0.013923 | 0.0034895 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-16_0_10_load_30 | 18 | 0.043017 | 0.010781 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-16_0_10_load_41 | 20 | 0.012214 | 0.0030612 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-16_0_10_load_40 | 22 | 0.010393 | 0.0026047 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-16_0_10_load_38 | 23 | 0.0043868 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-16_0_10_load_39 | 24 | 0.007751 | 0.0019426 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-16_0_10_load_35 | 25 | 0.0052021 | 0.0013038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-16_0_10_load_52 | 27 | 0.043101 | 0.010802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-16_0_10_load_50 | 32 | 0.014093 | 0.0035321 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-16_0_10_load_37 | 34 | 0.0099895 | 0.0025036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-16_0_10_load_44 | 35 | 0.0049422 | 0.0012386 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-16_0_10_load_45 | 36 | 0.0622 | 0.015589 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-16_0_10_load_51 | 38 | 0.019857 | 0.0049767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-16_0_10_load_32 | 39 | 0.0053627 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-16_0_10_load_33 | 41 | 0.0080133 | 0.0020083 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-16_0_10_load_28 | 42 | 0.022037 | 0.0055231 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-16_0_10_load_43 | 43 | 0.010268 | 0.0025734 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-16_0_10_load_47 | 44 | 0.0043845 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-16_0_10_load_36 | 45 | 0.0092395 | 0.0023156 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-16_0_10_load_42 | 46 | 0.0054486 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-16_0_10_load_48 | 47 | 0.025496 | 0.0063899 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-16_0_10_line_0 |  | 0 | 1 | 0.054804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-16_0_10_line_1 |  | 1 | 2 | 0.01649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-16_0_10_line_2 |  | 2 | 3 | 9.3926e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-16_0_10_line_3 |  | 3 | 4 | 0.021757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-16_0_10_line_4 |  | 4 | 6 | 9.0802e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-16_0_10_line_5 |  | 5 | 6 | 8.8866e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-16_0_10_line_6 |  | 5 | 7 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-16_0_10_line_7 |  | 7 | 8 | 0.0001357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-16_0_10_line_8 |  | 8 | 9 | 0.042385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1061-16_0_10_line_9 |  | 9 | 10 | 0.42011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1061-16_0_10_line_10 |  | 9 | 11 | 0.066116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1061-16_0_10_line_11 |  | 10 | 36 | 0.032665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1061-16_0_10_line_12 |  | 11 | 15 | 0.029289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1061-16_0_10_line_13 |  | 11 | 12 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1061-16_0_10_line_14 |  | 12 | 13 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-16_0_10_line_15 |  | 13 | 14 | 0.00051225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-16_0_10_line_16 |  | 14 | 16 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-16_0_10_line_17 |  | 15 | 17 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-16_0_10_line_18 |  | 15 | 18 | 0.032532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1061-16_0_10_line_19 |  | 17 | 39 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-16_0_10_line_20 |  | 18 | 40 | 0.017722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1061-16_0_10_line_21 |  | 19 | 20 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-16_0_10_line_22 |  | 19 | 21 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-16_0_10_line_23 |  | 19 | 22 | 0.013347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-16_0_10_line_24 |  | 20 | 43 | 0.01977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-16_0_10_line_25 |  | 21 | 23 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-16_0_10_line_26 |  | 21 | 24 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-16_0_10_line_27 |  | 21 | 25 | 0.016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-16_0_10_line_28 |  | 23 | 44 | 0.0098526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-16_0_10_line_29 |  | 25 | 45 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-16_0_10_line_30 |  | 26 | 27 | 0.049672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-16_0_10_line_31 |  | 26 | 28 | 0.11882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-16_0_10_line_32 |  | 28 | 33 | 0.0095003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-16_0_10_line_33 |  | 29 | 30 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1061-16_0_10_line_34 |  | 29 | 31 | 0.042363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1061-16_0_10_line_35 |  | 29 | 32 | 0.02261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-16_0_10_line_36 |  | 30 | 35 | 0.009301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1061-16_0_10_line_37 |  | 31 | 36 | 0.026097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_1061-16_0_10_line_38 |  | 31 | 37 | 0.005598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-16_0_10_line_39 |  | 33 | 34 | 0.0014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-16_0_10_line_40 |  | 34 | 45 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-16_0_10_line_41 |  | 35 | 46 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1061-16_0_10_line_42 |  | 37 | 38 | 0.013373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-16_0_10_line_43 |  | 39 | 41 | 0.035291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-16_0_10_line_44 |  | 40 | 42 | 0.084209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1061-16_0_10_line_45 |  | 43 | 46 | 0.01873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1061-16_0_10_line_46 |  | 44 | 47 | 0.0028068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-16_0_10_trafo_25 | 0.63 MVA 20/0.4 kV | 48 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2666125.8987 | 1210640.1038 | 2666123.6527 | 1210652.198 | 2666118.2409 | 1210687.2152 | 2666117.1604 | 1210694.2022
1 | 2666117.1604 | 1210694.2022 | 2666115.6457 | 1210703.9967 | 2666115.0226 | 1210710.5466
2 | 2666115.0226 | 1210710.5466 | 2666115.0137 | 1210710.6401
3 | 2666112.9532 | 1210732.2997 | 2666115.0137 | 1210710.6401
4 | 2666112.9532 | 1210732.2997 | 2666112.9446 | 1210732.3901
5 | 2666112.9446 | 1210732.3901 | 2666112.9362 | 1210732.4786
6 | 2666112.9362 | 1210732.4786 | 2666111.234 | 1210750.3723
7 | 2666111.234 | 1210750.3723 | 2666111.2211 | 1210750.5074
8 | 2666107.2071 | 1210792.7023 | 2666111.2211 | 1210750.5074
9 | 2666107.2071 | 1210792.7023 | 2666102.703 | 1210837.0353 | 2666102.863 | 1210839.7498 | 2666103.6878 | 1210841.4378 | 2666104.4696 | 1210842.2136 | 2666105.2664 | 1210843.0007 | 2666108.4322 | 1210844.6701 | 2666111.7952 | 1210845.6857 | 2666116.1511 | 1210846.2566 | 2666120.6517 | 1210846.1175 | 2666126.5653 | 1210845.3381 | 2666134.2764 | 1210843.5113 | 2666138.0476 | 1210841.9855 | 2666141.2484 | 1210840.4978 | 2666145.8172 | 1210838.3137 | 2666150.5477 | 1210834.575 | 2666154.7216 | 1210830.3186 | 2666165.7869 | 1210820.7132 | 2666196.2931 | 1210795.3025 | 2666264.3304 | 1210736.777 | 2666265.1926 | 1210735.786 | 2666272.1938 | 1210736.9978 | 2666295.6645 | 1210721.738 | 2666290.8481 | 1210712.6789 | 2666286.4429 | 1210693.974 | 2666262.5813 | 1210592.5355
10 | 2666110.3572 | 1210729.9652 | 2666103.9491 | 1210792.4883 | 2666107.2071 | 1210792.7023
11 | 2666262.5813 | 1210592.5355 | 2666272.5947 | 1210590.1118 | 2666278.9464 | 1210587.5475 | 2666284.9096 | 1210585.0677 | 2666286.167 | 1210584.0811 | 2666291.8297 | 1210579.2299
12 | 2666106.0999 | 1210706.7705 | 2666112.6745 | 1210707.3993 | 2666110.3572 | 1210729.9652
13 | 2666110.3572 | 1210729.9652 | 2666103.7623 | 1210729.1139 | 2666097.4548 | 1210728.552
14 | 2666078.0614 | 1210726.9936 | 2666094.3554 | 1210728.2759 | 2666097.4548 | 1210728.552
15 | 2666078.0614 | 1210726.9936 | 2666077.5507 | 1210726.9534
16 | 2666059.8697 | 1210725.4048 | 2666070.5127 | 1210726.3996 | 2666077.5507 | 1210726.9534
17 | 2666106.0999 | 1210706.7705 | 2666107.6793 | 1210693.4928
18 | 2666106.0999 | 1210706.7705 | 2666073.7179 | 1210703.648
19 | 2666107.6793 | 1210693.4928 | 2666109.2763 | 1210680.067 | 2666110.0687 | 1210674.3945 | 2666110.2463 | 1210673.1242
20 | 2666056.0778 | 1210701.947 | 2666073.7179 | 1210703.648
21 | 2666378.9796 | 1210533.4592 | 2666375.8982 | 1210538.5392 | 2666370.7559 | 1210546.4511
22 | 2666368.8213 | 1210532.5012 | 2666373.8734 | 1210536.093 | 2666376.678 | 1210531.9772 | 2666378.9796 | 1210533.4592
23 | 2666378.9796 | 1210533.4592 | 2666384.6777 | 1210524.0724 | 2666386.0226 | 1210522.1258
24 | 2666370.7559 | 1210546.4511 | 2666359.9821 | 1210563.0275
25 | 2666368.8213 | 1210532.5012 | 2666353.0283 | 1210521.2824
26 | 2666368.8213 | 1210532.5012 | 2666359.4342 | 1210546.9335
27 | 2666368.8213 | 1210532.5012 | 2666377.7073 | 1210518.8506
28 | 2666344.996 | 1210515.5766 | 2666353.0283 | 1210521.2824
29 | 2666377.7073 | 1210518.8506 | 2666380.095 | 1210515.1826 | 2666386.1477 | 1210505.9856
30 | 2666412.5971 | 1210516.1893 | 2666442.5487 | 1210536.0237 | 2666446.4747 | 1210549.2756
31 | 2666404.2519 | 1210495.7394 | 2666405.0934 | 1210494.5591 | 2666406.4272 | 1210493.54 | 2666408.4048 | 1210492.7171 | 2666410.0249 | 1210492.6017 | 2666411.6727 | 1210492.7312 | 2666413.1193 | 1210493.1809 | 2666413.5138 | 1210492.5627 | 2666415.9582 | 1210488.7209 | 2666454.2105 | 1210512.5391 | 2666462.1822 | 1210519.4321 | 2666465.5799 | 1210527.575 | 2666470.8718 | 1210538.9743 | 2666446.4747 | 1210549.2756
32 | 2666396.0825 | 1210490.8899 | 2666397.0565 | 1210491.4678 | 2666401.1713 | 1210493.9151 | 2666403.376 | 1210495.2182 | 2666404.2519 | 1210495.7394
33 | 2666340.6865 | 1210589.1455 | 2666343.1688 | 1210591.4523 | 2666347.7724 | 1210595.7395 | 2666351.2454 | 1210599.1691 | 2666352.6362 | 1210600.5409
34 | 2666340.6865 | 1210589.1455 | 2666309.6427 | 1210560.2272
35 | 2666340.6865 | 1210589.1455 | 2666341.3938 | 1210578.8471 | 2666342.4152 | 1210575.8454 | 2666346.4165 | 1210567.6534
36 | 2666352.6362 | 1210600.5409 | 2666353.0353 | 1210597.4546 | 2666353.4707 | 1210593.8461 | 2666353.8587 | 1210591.3215
37 | 2666309.6427 | 1210560.2272 | 2666307.5798 | 1210563.2506 | 2666298.4713 | 1210572.4662 | 2666291.8297 | 1210579.2299
38 | 2666309.6427 | 1210560.2272 | 2666305.597 | 1210556.3465
39 | 2666396.0825 | 1210490.8899 | 2666395.2595 | 1210492.1405
40 | 2666386.1477 | 1210505.9856 | 2666395.2595 | 1210492.1405
41 | 2666355.4514 | 1210580.9636 | 2666354.9208 | 1210584.412 | 2666353.8587 | 1210591.3215
42 | 2666305.597 | 1210556.3465 | 2666309.7188 | 1210550.6443 | 2666314.1484 | 1210546.1122
43 | 2666115.1299 | 1210638.1727 | 2666114.031 | 1210646.0432 | 2666110.2463 | 1210673.1242
44 | 2666056.0778 | 1210701.947 | 2666058.0586 | 1210670.6274 | 2666082.4703 | 1210675.3672 | 2666090.3622 | 1210662.0464 | 2666087.3784 | 1210659.7231 | 2666079.5626 | 1210655.9139
45 | 2666355.4514 | 1210580.9636 | 2666357.4687 | 1210567.8523 | 2666358.5079 | 1210565.2956 | 2666359.9821 | 1210563.0275
46 | 2666344.996 | 1210515.5766 | 2666342.7077 | 1210513.9511

## bus_geodata
| x | y | coords
0 | 2666125.8987 | 1210640.1038
1 | 2666117.1604 | 1210694.2022
2 | 2666115.0226 | 1210710.5466
3 | 2666115.0137 | 1210710.6401
4 | 2666112.9532 | 1210732.2997
5 | 2666112.9362 | 1210732.4786
6 | 2666112.9446 | 1210732.3901
7 | 2666111.234 | 1210750.3723
8 | 2666111.2211 | 1210750.5074
9 | 2666107.2071 | 1210792.7023
10 | 2666262.5813 | 1210592.5355
11 | 2666110.3572 | 1210729.9652
12 | 2666097.4548 | 1210728.552
13 | 2666078.0614 | 1210726.9936
14 | 2666077.5507 | 1210726.9534
15 | 2666106.0999 | 1210706.7705
16 | 2666059.8697 | 1210725.4048
17 | 2666107.6793 | 1210693.4928
18 | 2666073.7179 | 1210703.648
19 | 2666378.9796 | 1210533.4592
20 | 2666370.7559 | 1210546.4511
21 | 2666368.8213 | 1210532.5012
22 | 2666386.0226 | 1210522.1258
23 | 2666353.0283 | 1210521.2824
24 | 2666359.4342 | 1210546.9335
25 | 2666377.7073 | 1210518.8506
26 | 2666446.4747 | 1210549.2756
27 | 2666412.5971 | 1210516.1893
28 | 2666404.2519 | 1210495.7394
29 | 2666340.6865 | 1210589.1455
30 | 2666352.6362 | 1210600.5409
31 | 2666309.6427 | 1210560.2272
32 | 2666346.4165 | 1210567.6534
33 | 2666396.0825 | 1210490.8899
34 | 2666395.2595 | 1210492.1405
35 | 2666353.8587 | 1210591.3215
36 | 2666291.8297 | 1210579.2299
37 | 2666305.597 | 1210556.3465
38 | 2666314.1484 | 1210546.1122
39 | 2666110.2463 | 1210673.1242
40 | 2666056.0778 | 1210701.947
41 | 2666115.1299 | 1210638.1727
42 | 2666079.5626 | 1210655.9139
43 | 2666359.9821 | 1210563.0275
44 | 2666344.996 | 1210515.5766
45 | 2666386.1477 | 1210505.9856
46 | 2666355.4514 | 1210580.9636
47 | 2666342.7077 | 1210513.9511
48 | 2666309.6427 | 1210560.2272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97041 | -0.56863 | 0.0034519 | 0.00086513
1 | 0.97059 | -0.56513 | 0.0033679 | 0.00084407
2 | 0.97069 | -0.56305 | 0.015301 | 0.0038347
3 | 0.97069 | -0.56301 | 0.014066 | 0.0035254
4 | 0.97143 | -0.54845 | 0.017916 | 0.0044902
5 | 0.97144 | -0.54825 | 0.016233 | 0.0040684
6 | 0.97143 | -0.54836 | 0.017156 | 0.0042997
7 | 0.97291 | -0.51924 | 0.015811 | 0.0039627
8 | 0.97292 | -0.51899 | 0.036591 | 0.0091706
9 | 0.9743 | -0.49173 | 0 | 0
10 | 1 | 0 | -0.58866 | -0.15134
11 | 0.97199 | -0.53729 | 0 | 0
12 | 0.9717 | -0.54297 | 0.025738 | 0.0064506
13 | 0.97045 | -0.56781 | 0.02103 | 0.0052707
14 | 0.97043 | -0.56826 | 0.024478 | 0.0061349
15 | 0.97149 | -0.54727 | 0 | 0
16 | 0.97003 | -0.57601 | 0.023569 | 0.005907
17 | 0.97115 | -0.55402 | 0.013923 | 0.0034895
18 | 0.97109 | -0.5551 | 0.043017 | 0.010781
19 | 0.98997 | -0.19202 | 0 | 0
20 | 0.99167 | -0.15927 | 0.012214 | 0.0030612
21 | 0.98856 | -0.21918 | 0 | 0
22 | 0.98984 | -0.19449 | 0.010393 | 0.0026047
23 | 0.98795 | -0.23102 | 0.0043868 | 0.0010994
24 | 0.98844 | -0.22156 | 0.007751 | 0.0019426
25 | 0.98755 | -0.23882 | 0.0052021 | 0.0013038
26 | 0.98066 | -0.37263 | 0 | 0
27 | 0.97868 | -0.41151 | 0.043101 | 0.010802
28 | 0.98541 | -0.28025 | 0 | 0
29 | 0.99632 | -0.070256 | 0 | 0
30 | 0.99585 | -0.079124 | 0 | 0
31 | 0.99762 | -0.045454 | 0 | 0
32 | 0.99603 | -0.075853 | 0.014093 | 0.0035321
33 | 0.98579 | -0.2729 | 0 | 0
34 | 0.98585 | -0.27174 | 0.0099895 | 0.0025036
35 | 0.99559 | -0.084121 | 0.0049422 | 0.0012386
36 | 0.99851 | -0.028396 | 0.0622 | 0.015589
37 | 0.99751 | -0.047401 | 0 | 0
38 | 0.99727 | -0.052054 | 0.019857 | 0.0049767
39 | 0.97089 | -0.5591 | 0.0053627 | 0.001344
40 | 0.97102 | -0.55654 | 0 | 0
41 | 0.97063 | -0.56433 | 0.0080133 | 0.0020083
42 | 0.97044 | -0.56798 | 0.022037 | 0.0055231
43 | 0.99408 | -0.11307 | 0.010268 | 0.0025734
44 | 0.98768 | -0.23628 | 0.0043845 | 0.0010989
45 | 0.98666 | -0.25597 | 0.0092395 | 0.0023156
46 | 0.9953 | -0.089573 | 0.0054486 | 0.0013656
47 | 0.98762 | -0.23756 | 0.025496 | 0.0063899
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0034519 | -0.00086513 | 0.0034525 | 0.00086482 | 5.7577e-07 | -3.087e-07 | 0.0052931 | 0.0052929 | 0.0052931 | 0.97041 | -0.56863 | 0.97059 | -0.56513 | 1.4542
1 | -0.0068204 | -0.0017089 | 0.006821 | 0.0017091 | 6.7609e-07 | 2.2888e-07 | 0.010456 | 0.010456 | 0.010456 | 0.97059 | -0.56513 | 0.97069 | -0.56305 | 2.8726
2 | -0.022122 | -0.0055439 | 0.022122 | 0.0055439 | 4.0504e-08 | 2.4763e-08 | 0.033911 | 0.033911 | 0.033911 | 0.97069 | -0.56305 | 0.97069 | -0.56301 | 9.3163
3 | -0.036188 | -0.0090692 | 0.036213 | 0.009085 | 2.5109e-05 | 1.58e-05 | 0.055474 | 0.055474 | 0.055474 | 0.97069 | -0.56301 | 0.97143 | -0.54845 | 15.2402
4 | -0.054129 | -0.013575 | 0.05413 | 0.013575 | 2.3411e-07 | 1.4871e-07 | 0.082918 | 0.082918 | 0.082918 | 0.97143 | -0.54845 | 0.97143 | -0.54836 | 22.7796
5 | 0.071286 | 0.017875 | -0.071286 | -0.017875 | 3.9737e-07 | 2.5321e-07 | 0.1092 | 0.1092 | 0.1092 | 0.97144 | -0.54825 | 0.97143 | -0.54836 | 29.9992
6 | -0.087519 | -0.021944 | 0.08764 | 0.022021 | 0.00012114 | 7.7309e-05 | 0.13406 | 0.13406 | 0.13406 | 0.97144 | -0.54825 | 0.97291 | -0.51924 | 36.8303
7 | -0.10345 | -0.025984 | 0.10345 | 0.025985 | 1.2743e-06 | 8.1384e-07 | 0.15824 | 0.15824 | 0.15824 | 0.97291 | -0.51924 | 0.97292 | -0.51899 | 43.4738
8 | -0.14004 | -0.035155 | 0.14023 | 0.03527 | 0.00018233 | 0.00011458 | 0.21421 | 0.21421 | 0.21421 | 0.97292 | -0.51899 | 0.9743 | -0.49173 | 14.7121
9 | -0.32802 | -0.082563 | 0.33593 | 0.087599 | 0.0079115 | 0.0050365 | 0.5011 | 0.50109 | 0.5011 | 0.9743 | -0.49173 | 1 | 0 | 27.5328
10 | 0.18779 | 0.047293 | -0.18738 | -0.047036 | 0.00040813 | 0.00025709 | 0.28689 | 0.28689 | 0.28689 | 0.9743 | -0.49173 | 0.97199 | -0.53729 | 15.7632
11 | 0.25108 | 0.063737 | -0.25074 | -0.06352 | 0.00034251 | 0.00021706 | 0.3739 | 0.3739 | 0.3739 | 1 | 0 | 0.99851 | -0.028396 | 20.5441
12 | 0.09245 | 0.023199 | -0.092406 | -0.023172 | 4.4009e-05 | 2.6351e-05 | 0.14154 | 0.14154 | 0.14154 | 0.97199 | -0.53729 | 0.97149 | -0.54727 | 7.777
13 | 0.094934 | 0.023837 | -0.094908 | -0.023821 | 2.5712e-05 | 1.5813e-05 | 0.14535 | 0.14535 | 0.14535 | 0.97199 | -0.53729 | 0.9717 | -0.54297 | 9.9828
14 | 0.06917 | 0.017371 | -0.069088 | -0.017319 | 8.1879e-05 | 5.2162e-05 | 0.10594 | 0.10594 | 0.10594 | 0.9717 | -0.54297 | 0.97045 | -0.56781 | 29.1032
15 | 0.048058 | 0.012048 | -0.048056 | -0.012047 | 1.0431e-06 | 6.6125e-07 | 0.073689 | 0.073689 | 0.073689 | 0.97045 | -0.56781 | 0.97043 | -0.56826 | 20.2443
16 | 0.023578 | 0.0059124 | -0.023569 | -0.005907 | 8.7005e-06 | 5.3491e-06 | 0.036155 | 0.036155 | 0.036155 | 0.97043 | -0.56826 | 0.97003 | -0.57601 | 9.9327
17 | 0.027313 | 0.00685 | -0.027305 | -0.0068445 | 8.7768e-06 | 5.4516e-06 | 0.041837 | 0.041837 | 0.041837 | 0.97149 | -0.54727 | 0.97115 | -0.55402 | 11.4938
18 | 0.065093 | 0.016322 | -0.065068 | -0.016309 | 2.4255e-05 | 1.351e-05 | 0.099705 | 0.099705 | 0.099705 | 0.97149 | -0.54727 | 0.97109 | -0.5551 | 5.4783
19 | 0.013381 | 0.003355 | -0.013378 | -0.0033532 | 3.2366e-06 | 1.8175e-06 | 0.020504 | 0.020504 | 0.020504 | 0.97115 | -0.55402 | 0.97089 | -0.5591 | 5.6329
20 | 0.022051 | 0.0055275 | -0.022049 | -0.0055277 | 1.5175e-06 | -1.2496e-07 | 0.033789 | 0.03379 | 0.03379 | 0.97109 | -0.5551 | 0.97102 | -0.55654 | 1.8566
21 | -0.12056 | -0.030453 | 0.12075 | 0.030574 | 0.00018955 | 0.00012111 | 0.1813 | 0.1813 | 0.1813 | 0.98997 | -0.19202 | 0.99167 | -0.15927 | 49.808
22 | 0.11017 | 0.027848 | -0.11003 | -0.027756 | 0.00014325 | 9.1501e-05 | 0.16568 | 0.16568 | 0.16568 | 0.98997 | -0.19202 | 0.98856 | -0.21918 | 45.5158
23 | 0.010394 | 0.0026054 | -0.010393 | -0.0026047 | 1.2218e-06 | 6.1033e-07 | 0.015624 | 0.015624 | 0.015624 | 0.98997 | -0.19202 | 0.98984 | -0.19449 | 4.2922
24 | -0.13297 | -0.033635 | 0.13326 | 0.033824 | 0.00029545 | 0.00018883 | 0.19963 | 0.19963 | 0.19963 | 0.99167 | -0.15927 | 0.99408 | -0.11307 | 54.8431
25 | 0.034296 | 0.008606 | -0.034277 | -0.0085939 | 1.9363e-05 | 1.2144e-05 | 0.051627 | 0.051627 | 0.051627 | 0.98856 | -0.21918 | 0.98795 | -0.23102 | 14.1833
26 | 0.0077519 | 0.0019429 | -0.007751 | -0.0019426 | 8.7903e-07 | 3.4187e-07 | 0.011668 | 0.011668 | 0.011668 | 0.98856 | -0.21918 | 0.98844 | -0.22156 | 3.2056
27 | 0.067977 | 0.017207 | -0.067913 | -0.017166 | 6.4025e-05 | 4.0768e-05 | 0.10238 | 0.10238 | 0.10238 | 0.98856 | -0.21918 | 0.98755 | -0.23882 | 28.127
28 | 0.02989 | 0.0074944 | -0.029882 | -0.0074898 | 7.4885e-06 | 4.6665e-06 | 0.04502 | 0.04502 | 0.04502 | 0.98795 | -0.23102 | 0.98768 | -0.23628 | 12.3681
29 | 0.062711 | 0.015863 | -0.06266 | -0.01583 | 5.1576e-05 | 3.2812e-05 | 0.094544 | 0.094544 | 0.094544 | 0.98755 | -0.23882 | 0.98666 | -0.25597 | 25.9736
30 | 0.043181 | 0.010853 | -0.043101 | -0.010802 | 7.9994e-05 | 5.0571e-05 | 0.065533 | 0.065533 | 0.065533 | 0.98066 | -0.37263 | 0.97868 | -0.41151 | 18.0035
31 | -0.043181 | -0.010853 | 0.043373 | 0.010974 | 0.00019136 | 0.00012096 | 0.065533 | 0.065532 | 0.065533 | 0.98066 | -0.37263 | 0.98541 | -0.28025 | 18.0034
32 | -0.043373 | -0.010974 | 0.043388 | 0.010983 | 1.5299e-05 | 9.6706e-06 | 0.065532 | 0.065532 | 0.065532 | 0.98541 | -0.28025 | 0.98579 | -0.2729 | 18.0033
33 | 0.15423 | 0.039194 | -0.15416 | -0.039153 | 6.5821e-05 | 4.1051e-05 | 0.23053 | 0.23053 | 0.23053 | 0.99632 | -0.070256 | 0.99585 | -0.079124 | 12.6665
34 | -0.16832 | -0.042728 | 0.16852 | 0.042854 | 0.0002011 | 0.00012594 | 0.25159 | 0.25158 | 0.25159 | 0.99632 | -0.070256 | 0.99762 | -0.045454 | 13.8234
35 | 0.014097 | 0.0035343 | -0.014093 | -0.0035321 | 3.7587e-06 | 2.1112e-06 | 0.021055 | 0.021055 | 0.021055 | 0.99632 | -0.070256 | 0.99603 | -0.075853 | 5.7843
36 | 0.15416 | 0.039153 | -0.15412 | -0.039129 | 3.7072e-05 | 2.3121e-05 | 0.23053 | 0.23053 | 0.23053 | 0.99585 | -0.079124 | 0.99559 | -0.084121 | 12.6665
37 | -0.18839 | -0.047834 | 0.18854 | 0.047932 | 0.00015478 | 9.7354e-05 | 0.28121 | 0.28121 | 0.28121 | 0.99762 | -0.045454 | 0.99851 | -0.028396 | 15.4512
38 | 0.019863 | 0.0049804 | -0.019861 | -0.0049793 | 1.8428e-06 | 1.1063e-06 | 0.029628 | 0.029628 | 0.029628 | 0.99762 | -0.045454 | 0.99751 | -0.047401 | 8.1397
39 | -0.043388 | -0.010983 | 0.04339 | 0.010985 | 2.4109e-06 | 1.5239e-06 | 0.065532 | 0.065532 | 0.065532 | 0.98579 | -0.2729 | 0.98585 | -0.27174 | 18.0033
40 | -0.05338 | -0.013489 | 0.05342 | 0.013514 | 4.0387e-05 | 2.5636e-05 | 0.08061 | 0.08061 | 0.08061 | 0.98585 | -0.27174 | 0.98666 | -0.25597 | 22.1455
41 | 0.14918 | 0.037891 | -0.14914 | -0.037866 | 3.9136e-05 | 2.4366e-05 | 0.22314 | 0.22314 | 0.22314 | 0.99559 | -0.084121 | 0.9953 | -0.089573 | 12.2607
42 | 0.019861 | 0.0049793 | -0.019857 | -0.0049767 | 4.4024e-06 | 2.643e-06 | 0.029628 | 0.029628 | 0.029628 | 0.99751 | -0.047401 | 0.99727 | -0.052054 | 8.1397
43 | 0.0080153 | 0.0020092 | -0.0080133 | -0.0020083 | 1.9972e-06 | 8.4191e-07 | 0.012285 | 0.012285 | 0.012285 | 0.97089 | -0.5591 | 0.97063 | -0.56433 | 3.3749
44 | 0.022049 | 0.0055277 | -0.022037 | -0.0055231 | 1.2019e-05 | 4.5687e-06 | 0.03379 | 0.033791 | 0.033791 | 0.97102 | -0.55654 | 0.97044 | -0.56798 | 3.0944
45 | -0.14353 | -0.036398 | 0.14369 | 0.036501 | 0.00016234 | 0.00010341 | 0.215 | 0.215 | 0.215 | 0.99408 | -0.11307 | 0.9953 | -0.089573 | 29.5328
46 | 0.025498 | 0.0063909 | -0.025496 | -0.0063899 | 1.5532e-06 | 9.5815e-07 | 0.038414 | 0.038414 | 0.038414 | 0.98768 | -0.23628 | 0.98762 | -0.23756 | 10.5534

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58866 | 0.15134

## res_load
| p_mw | q_mvar
0 | 0.0034519 | 0.00086513
1 | 0.0033679 | 0.00084407
2 | 0.015301 | 0.0038347
3 | 0.014066 | 0.0035254
4 | 0.017916 | 0.0044902
5 | 0.016233 | 0.0040684
6 | 0.017156 | 0.0042997
7 | 0.015811 | 0.0039627
8 | 0.036591 | 0.0091706
9 | 0.025738 | 0.0064506
10 | 0.02103 | 0.0052707
11 | 0.024478 | 0.0061349
12 | 0.023569 | 0.005907
13 | 0.013923 | 0.0034895
14 | 0.043017 | 0.010781
15 | 0.012214 | 0.0030612
16 | 0.010393 | 0.0026047
17 | 0.0043868 | 0.0010994
18 | 0.007751 | 0.0019426
19 | 0.0052021 | 0.0013038
20 | 0.043101 | 0.010802
21 | 0.014093 | 0.0035321
22 | 0.0099895 | 0.0025036
23 | 0.0049422 | 0.0012386
24 | 0.0622 | 0.015589
25 | 0.019857 | 0.0049767
26 | 0.0053627 | 0.001344
27 | 0.0080133 | 0.0020083
28 | 0.022037 | 0.0055231
29 | 0.010268 | 0.0025734
30 | 0.0043845 | 0.0010989
31 | 0.0092395 | 0.0023156
32 | 0.0054486 | 0.0013656
33 | 0.025496 | 0.0063899

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1