## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-171_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-171_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-171_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-171_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-171_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-171_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-171_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1061-171_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1061-171_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1061-171_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1061-171_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1061-171_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1061-171_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1061-171_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1061-171_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1061-171_0_5_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1061-171_0_5_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1061-171_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1061-171_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1061-171_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1061-171_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1061-171_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1061-171_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1061-171_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1061-171_0_5_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_1061-171_0_5_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1061-171_0_5_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_1061-171_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1061-171_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1061-171_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1061-171_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_1061-171_0_5_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1061-171_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1061-171_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1061-171_0_5_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1061-171_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1061-171_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1061-171_0_5_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_1061-171_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1061-171_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1061-171_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1061-171_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1061-171_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1061-171_0_5_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1061-171_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1061-171_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1061-171_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1061-171_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1061-171_0_5_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1061-171_0_5_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1061-171_0_5_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1061-171_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1061-171_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1061-171_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1061-171_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_MV_213_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-171_0_5_load_0 | 0 | 0.016089 | 0.0040322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-171_0_5_load_1 | 1 | 0.020597 | 0.005162 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-171_0_5_load_2 | 2 | 0.022175 | 0.0055577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-171_0_5_load_4 | 4 | 0.017563 | 0.0044017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-171_0_5_load_5 | 5 | 0.012285 | 0.003079 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-171_0_5_load_6 | 7 | 0.015686 | 0.0039312 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-171_0_5_load_9 | 8 | 0.012493 | 0.0031309 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-171_0_5_load_10 | 9 | 0.013134 | 0.0032917 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-171_0_5_load_15 | 10 | 0.0013343 | 0.00033441 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-171_0_5_load_12 | 11 | 0.01531 | 0.003837 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-171_0_5_load_11 | 12 | 0.018474 | 0.0046301 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-171_0_5_load_13 | 13 | 0.0068847 | 0.0017255 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-171_0_5_load_14 | 14 | 0.012517 | 0.0031371 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-171_0_5_load_33 | 16 | 0.014677 | 0.0036783 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-171_0_5_load_30 | 17 | 0.0073591 | 0.0018444 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-171_0_5_load_16 | 18 | 0.013348 | 0.0033454 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-171_0_5_load_17 | 19 | 0.0073794 | 0.0018494 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-171_0_5_load_21 | 21 | 0.0051314 | 0.0012861 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-171_0_5_load_41 | 25 | 0.0056009 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-171_0_5_load_26 | 29 | 0.010921 | 0.0027371 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-171_0_5_load_38 | 31 | 0.020484 | 0.0051338 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-171_0_5_load_27 | 32 | 0.011628 | 0.0029143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-171_0_5_load_23 | 33 | 0.0040646 | 0.0010187 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-171_0_5_load_39 | 35 | 0.0054867 | 0.0013751 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-171_0_5_load_32 | 36 | 0.0099053 | 0.0024825 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-171_0_5_load_57 | 37 | 0.0075798 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-171_0_5_load_37 | 38 | 0.019312 | 0.0048402 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-171_0_5_load_36 | 39 | 0.058421 | 0.014642 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-171_0_5_load_31 | 40 | 0.0085923 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-171_0_5_load_34 | 41 | 0.011876 | 0.0029764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-171_0_5_load_35 | 42 | 0.014917 | 0.0037385 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-171_0_5_load_40 | 43 | 0.014783 | 0.0037049 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-171_0_5_load_42 | 44 | 0.0085322 | 0.0021384 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-171_0_5_load_43 | 45 | 0.0070706 | 0.0017721 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-171_0_5_load_44 | 46 | 0.0067305 | 0.0016868 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-171_0_5_load_45 | 47 | 0.0087899 | 0.002203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-171_0_5_load_50 | 48 | 0.0099967 | 0.0025054 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-171_0_5_load_47 | 50 | 0.015826 | 0.0039665 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-171_0_5_load_48 | 51 | 0.0041101 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-171_0_5_load_49 | 52 | 0.021555 | 0.0054021 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-171_0_5_load_55 | 53 | 0.0054546 | 0.0013671 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-171_0_5_line_0 |  | 0 | 1 | 0.020776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-171_0_5_line_1 |  | 0 | 2 | 0.009817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-171_0_5_line_2 |  | 1 | 3 | 0.022273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-171_0_5_line_3 |  | 2 | 4 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-171_0_5_line_4 |  | 3 | 5 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-171_0_5_line_5 |  | 4 | 6 | 0.021676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-171_0_5_line_6 |  | 5 | 7 | 0.024603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-171_0_5_line_7 |  | 6 | 8 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-171_0_5_line_8 |  | 6 | 9 | 0.011196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-171_0_5_line_9 |  | 8 | 10 | 0.023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-171_0_5_line_10 |  | 9 | 11 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-171_0_5_line_11 |  | 11 | 12 | 0.0049671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1061-171_0_5_line_12 |  | 12 | 13 | 0.0060936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1061-171_0_5_line_13 |  | 13 | 14 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1061-171_0_5_line_14 |  | 14 | 15 | 0.024197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1061-171_0_5_line_15 |  | 15 | 16 | 0.03854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1061-171_0_5_line_16 |  | 15 | 17 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1061-171_0_5_line_17 |  | 16 | 39 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1061-171_0_5_line_18 |  | 17 | 40 | 0.0052239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1061-171_0_5_line_19 |  | 18 | 19 | 0.026338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-171_0_5_line_20 |  | 19 | 20 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-171_0_5_line_21 |  | 20 | 21 | 0.024457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-171_0_5_line_22 |  | 20 | 22 | 0.003353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-171_0_5_line_23 |  | 21 | 23 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-171_0_5_line_24 |  | 21 | 24 | 0.004033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-171_0_5_line_25 |  | 22 | 25 | 0.019904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-171_0_5_line_26 |  | 22 | 26 | 0.003511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1061-171_0_5_line_27 |  | 23 | 33 | 0.0018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-171_0_5_line_28 |  | 24 | 34 | 0.004728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-171_0_5_line_29 |  | 25 | 35 | 0.025229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-171_0_5_line_30 |  | 26 | 36 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1061-171_0_5_line_31 |  | 27 | 28 | 0.028672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-171_0_5_line_32 |  | 27 | 29 | 0.04177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-171_0_5_line_33 |  | 28 | 30 | 0.003679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-171_0_5_line_34 |  | 28 | 31 | 0.053233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-171_0_5_line_35 |  | 29 | 32 | 0.025542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-171_0_5_line_36 |  | 30 | 37 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-171_0_5_line_37 |  | 31 | 38 | 0.026865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-171_0_5_line_38 |  | 34 | 46 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-171_0_5_line_39 |  | 35 | 43 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-171_0_5_line_40 |  | 36 | 40 | 0.025583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1061-171_0_5_line_41 |  | 38 | 42 | 0.0010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-171_0_5_line_42 |  | 39 | 41 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-171_0_5_line_43 |  | 41 | 42 | 0.021054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-171_0_5_line_44 |  | 44 | 45 | 0.0045342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-171_0_5_line_45 |  | 44 | 46 | 0.036772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-171_0_5_line_46 |  | 45 | 47 | 0.023525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-171_0_5_line_47 |  | 47 | 48 | 0.025793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-171_0_5_line_48 |  | 48 | 49 | 0.042732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-171_0_5_line_49 |  | 49 | 54 | 0.065522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-171_0_5_line_50 |  | 50 | 51 | 0.0045966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-171_0_5_line_51 |  | 51 | 52 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-171_0_5_line_52 |  | 52 | 53 | 0.015197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-171_0_5_line_53 |  | 53 | 54 | 0.033347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-171_0_5_trafo_33 | 0.63 MVA 20/0.4 kV | 55 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2666380.3314 | 1212546.5974 | 2666399.212 | 1212555.2673
1 | 2666380.3314 | 1212546.5974 | 2666371.41 | 1212542.5008
2 | 2666417.1843 | 1212567.4627 | 2666415.1174 | 1212564.082 | 2666410.9466 | 1212560.6557 | 2666399.212 | 1212555.2673
3 | 2666358.7449 | 1212536.6851 | 2666371.41 | 1212542.5008
4 | 2666417.1843 | 1212567.4627 | 2666414.2081 | 1212585.9061
5 | 2666338.4663 | 1212529.241 | 2666348.3665 | 1212531.9194 | 2666358.7449 | 1212536.6851
6 | 2666414.2081 | 1212585.9061 | 2666413.2426 | 1212591.8895 | 2666412.4146 | 1212604.1545 | 2666412.5973 | 1212610.4007
7 | 2666338.4663 | 1212529.241 | 2666340.7609 | 1212516.937
8 | 2666338.4663 | 1212529.241 | 2666331.6232 | 1212529.0314 | 2666327.2881 | 1212529.3854
9 | 2666340.7609 | 1212516.937 | 2666345.1456 | 1212493.4254
10 | 2666327.2881 | 1212529.3854 | 2666324.6727 | 1212529.599 | 2666318.6627 | 1212530.9997 | 2666310.5965 | 1212534.8791
11 | 2666310.5965 | 1212534.8791 | 2666310.5965 | 1212534.8791 | 2666306.9881 | 1212538.2926
12 | 2666302.7664 | 1212542.6505 | 2666303.3712 | 1212541.7142 | 2666306.9881 | 1212538.2926
13 | 2666302.7664 | 1212542.6505 | 2666297.4882 | 1212550.8211 | 2666295.5998 | 1212557.4357
14 | 2666296.2139 | 1212581.3814 | 2666294.4401 | 1212570.7774 | 2666294.9348 | 1212559.7649 | 2666295.5998 | 1212557.4357
15 | 2666296.2139 | 1212581.3814 | 2666300.9519 | 1212589.8393 | 2666319.6675 | 1212611.7892
16 | 2666296.2139 | 1212581.3814 | 2666285.4852 | 1212588.5659
17 | 2666319.6675 | 1212611.7892 | 2666328.0112 | 1212621.5749
18 | 2666285.4852 | 1212588.5659 | 2666281.1447 | 1212591.4726
19 | 2666293.3484 | 1212666.5602 | 2666274.5787 | 1212648.0829
20 | 2666247.9644 | 1212623.5827 | 2666251.8748 | 1212626.5279 | 2666272.6706 | 1212646.2044 | 2666274.5787 | 1212648.0829
21 | 2666224.5843 | 1212621.7887 | 2666227.7373 | 1212620.4117 | 2666232.2271 | 1212619.75 | 2666237.5751 | 1212619.8095 | 2666241.9959 | 1212620.5701 | 2666246.23 | 1212622.4183 | 2666247.9644 | 1212623.5827
22 | 2666249.7736 | 1212620.7566 | 2666248.3974 | 1212622.9093 | 2666247.9644 | 1212623.5827
23 | 2666224.5843 | 1212621.7887 | 2666222.4084 | 1212622.7429 | 2666209.1716 | 1212631.1345 | 2666203.4216 | 1212635.1288
24 | 2666224.5843 | 1212621.7887 | 2666224.3304 | 1212620.7074 | 2666223.6554 | 1212617.8648
25 | 2666249.7736 | 1212620.7566 | 2666256.3013 | 1212625.4097 | 2666264.8463 | 1212633.6742
26 | 2666251.8036 | 1212617.8885 | 2666251.356 | 1212618.5172 | 2666249.7736 | 1212620.7566
27 | 2666203.4216 | 1212635.1288 | 2666204.0407 | 1212636.8478
28 | 2666223.5711 | 1212613.1388 | 2666223.6554 | 1212617.8648
29 | 2666282.9813 | 1212651.214 | 2666264.8463 | 1212633.6742
30 | 2666251.8036 | 1212617.8885 | 2666252.1818 | 1212617.359 | 2666261.5902 | 1212607.7021
31 | 2666413.4659 | 1212697.3462 | 2666406.3424 | 1212716.879 | 2666401.66 | 1212723.2308
32 | 2666401.66 | 1212723.2308 | 2666391.5399 | 1212723.2738 | 2666373.0816 | 1212711.3944 | 2666364.7516 | 1212706.4258
33 | 2666415.3171 | 1212694.1648 | 2666413.4659 | 1212697.3462
34 | 2666413.4659 | 1212697.3462 | 2666402.6174 | 1212691.8443 | 2666389.3515 | 1212685.1036 | 2666373.0451 | 1212672.3587 | 2666369.2374 | 1212668.4004
35 | 2666343.0681 | 1212692.9654 | 2666346.3568 | 1212695.4539 | 2666364.7516 | 1212706.4258
36 | 2666415.3171 | 1212694.1648 | 2666423.3344 | 1212680.3344 | 2666424.2172 | 1212679.2394
37 | 2666351.0729 | 1212648.622 | 2666357.7913 | 1212656.5014 | 2666369.2374 | 1212668.4004
38 | 2666223.5711 | 1212613.1388 | 2666223.5427 | 1212611.593 | 2666225.9333 | 1212606.3497 | 2666227.9627 | 1212604.005
39 | 2666282.9813 | 1212651.214 | 2666299.6381 | 1212667.3241
40 | 2666261.5902 | 1212607.7021 | 2666271.2024 | 1212597.8359 | 2666275.0646 | 1212595.5441 | 2666281.1447 | 1212591.4726
41 | 2666351.0729 | 1212648.622 | 2666350.4185 | 1212647.8544
42 | 2666336.7582 | 1212631.8335 | 2666328.0112 | 1212621.5749
43 | 2666336.7582 | 1212631.8335 | 2666350.4185 | 1212647.8544
44 | 2666225.4468 | 1212569.5659 | 2666223.8913 | 1212565.3068
45 | 2666225.4468 | 1212569.5659 | 2666229.8989 | 1212581.7562 | 2666232.2314 | 1212592.6889 | 2666231.2899 | 1212600.1608 | 2666227.9627 | 1212604.005
46 | 2666216.4461 | 1212543.005 | 2666219.156 | 1212552.341 | 2666223.8913 | 1212565.3068
47 | 2666211.233 | 1212517.7975 | 2666213.5874 | 1212533.1562 | 2666216.4461 | 1212543.005
48 | 2666202.8082 | 1212477.5688 | 2666205.6328 | 1212478.4118 | 2666208.4299 | 1212499.5115 | 2666211.233 | 1212517.7975
49 | 2666202.8082 | 1212477.5688 | 2666203.6581 | 1212474.2429 | 2666204.5461 | 1212470.2169 | 2666205.5264 | 1212466.0919 | 2666206.699 | 1212458.3335 | 2666207.3753 | 1212452.1705 | 2666204.921 | 1212448.0852 | 2666208.2222 | 1212445.687 | 2666211.4478 | 1212446.6789 | 2666237.6995 | 1212454.7309
50 | 2666300.3935 | 1212472.8087 | 2666296.1612 | 1212471.0151
51 | 2666283.8159 | 1212465.7832 | 2666296.1612 | 1212471.0151
52 | 2666283.8159 | 1212465.7832 | 2666283.8159 | 1212465.7832 | 2666268.6746 | 1212467.0825 | 2666268.6746 | 1212467.0825
53 | 2666237.6995 | 1212454.7309 | 2666268.6746 | 1212467.0825

## bus_geodata
| x | y | coords
0 | 2666380.3314 | 1212546.5974
1 | 2666399.212 | 1212555.2673
2 | 2666371.41 | 1212542.5008
3 | 2666417.1843 | 1212567.4627
4 | 2666358.7449 | 1212536.6851
5 | 2666414.2081 | 1212585.9061
6 | 2666338.4663 | 1212529.241
7 | 2666412.5973 | 1212610.4007
8 | 2666340.7609 | 1212516.937
9 | 2666327.2881 | 1212529.3854
10 | 2666345.1456 | 1212493.4254
11 | 2666310.5965 | 1212534.8791
12 | 2666306.9881 | 1212538.2926
13 | 2666302.7664 | 1212542.6505
14 | 2666295.5998 | 1212557.4357
15 | 2666296.2139 | 1212581.3814
16 | 2666319.6675 | 1212611.7892
17 | 2666285.4852 | 1212588.5659
18 | 2666293.3484 | 1212666.5602
19 | 2666274.5787 | 1212648.0829
20 | 2666247.9644 | 1212623.5827
21 | 2666224.5843 | 1212621.7887
22 | 2666249.7736 | 1212620.7566
23 | 2666203.4216 | 1212635.1288
24 | 2666223.6554 | 1212617.8648
25 | 2666264.8463 | 1212633.6742
26 | 2666251.8036 | 1212617.8885
27 | 2666401.66 | 1212723.2308
28 | 2666413.4659 | 1212697.3462
29 | 2666364.7515 | 1212706.4258
30 | 2666415.3171 | 1212694.1648
31 | 2666369.2374 | 1212668.4004
32 | 2666343.0681 | 1212692.9654
33 | 2666204.0407 | 1212636.8478
34 | 2666223.5711 | 1212613.1388
35 | 2666282.9813 | 1212651.214
36 | 2666261.5902 | 1212607.7021
37 | 2666424.2172 | 1212679.2394
38 | 2666351.0729 | 1212648.622
39 | 2666328.0112 | 1212621.5749
40 | 2666281.1447 | 1212591.4726
41 | 2666336.7582 | 1212631.8335
42 | 2666350.4185 | 1212647.8544
43 | 2666299.6381 | 1212667.3241
44 | 2666225.4468 | 1212569.5659
45 | 2666223.8913 | 1212565.3068
46 | 2666227.9627 | 1212604.005
47 | 2666216.4461 | 1212543.005
48 | 2666211.233 | 1212517.7975
49 | 2666202.8082 | 1212477.5688
50 | 2666300.3935 | 1212472.8087
51 | 2666296.1612 | 1212471.0151
52 | 2666283.8159 | 1212465.7832
53 | 2666268.6746 | 1212467.0825
54 | 2666237.6995 | 1212454.7309
55 | 2666296.2139 | 1212581.3814

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98579 | -0.27325 | 0.016089 | 0.0040322
1 | 0.98486 | -0.29136 | 0.020597 | 0.005162
2 | 0.98638 | -0.26187 | 0.022175 | 0.0055577
3 | 0.98429 | -0.30256 | 0 | 0
4 | 0.98749 | -0.24021 | 0.017563 | 0.0044017
5 | 0.9838 | -0.31197 | 0.012285 | 0.003079
6 | 0.98957 | -0.19985 | 0 | 0
7 | 0.98345 | -0.31892 | 0.015686 | 0.0039312
8 | 0.98941 | -0.20293 | 0.012493 | 0.0031309
9 | 0.99079 | -0.17632 | 0.013134 | 0.0032917
10 | 0.98938 | -0.2035 | 0.0013343 | 0.00033441
11 | 0.99293 | -0.13502 | 0.01531 | 0.003837
12 | 0.99327 | -0.12858 | 0.018474 | 0.0046301
13 | 0.99358 | -0.12266 | 0.0068847 | 0.0017255
14 | 0.99445 | -0.10586 | 0.012517 | 0.0031371
15 | 0.99582 | -0.079663 | 0 | 0
16 | 1 | 0 | -0.51572 | -0.13064
17 | 0.99514 | -0.092512 | 0.0073591 | 0.0018444
18 | 0.99145 | -0.16357 | 0.013348 | 0.0033454
19 | 0.99177 | -0.15734 | 0.0073794 | 0.0018494
20 | 0.99245 | -0.14405 | 0 | 0
21 | 0.99025 | -0.18624 | 0.0051314 | 0.0012861
22 | 0.99282 | -0.13705 | 0 | 0
23 | 0.99016 | -0.18804 | 0 | 0
24 | 0.98992 | -0.19255 | 0 | 0
25 | 0.99235 | -0.14616 | 0.0056009 | 0.0014037
26 | 0.99305 | -0.13258 | 0 | 0
27 | 0.99291 | -0.13638 | 0 | 0
28 | 0.9935 | -0.12495 | 0 | 0
29 | 0.99205 | -0.15305 | 0.010921 | 0.0027371
30 | 0.99348 | -0.12545 | 0 | 0
31 | 0.99497 | -0.09667 | 0.020484 | 0.0051338
32 | 0.99178 | -0.15831 | 0.011628 | 0.0029143
33 | 0.99015 | -0.18818 | 0.0040646 | 0.0010187
34 | 0.98954 | -0.19996 | 0 | 0
35 | 0.99188 | -0.15521 | 0.0054867 | 0.0013751
36 | 0.99368 | -0.12061 | 0.0099053 | 0.0024825
37 | 0.99336 | -0.12777 | 0.0075798 | 0.0018997
38 | 0.99621 | -0.072757 | 0.019312 | 0.0048402
39 | 0.99909 | -0.017403 | 0.058421 | 0.014642
40 | 0.99488 | -0.09749 | 0.0085923 | 0.0021534
41 | 0.9979 | -0.0402 | 0.011876 | 0.0029764
42 | 0.99627 | -0.071518 | 0.014917 | 0.0037385
43 | 0.99157 | -0.16128 | 0.014783 | 0.0037049
44 | 0.98592 | -0.26978 | 0.0085322 | 0.0021384
45 | 0.98561 | -0.2757 | 0.0070706 | 0.0017721
46 | 0.98869 | -0.2163 | 0.0067305 | 0.0016868
47 | 0.98418 | -0.30349 | 0.0087899 | 0.002203
48 | 0.98282 | -0.32996 | 0.0099967 | 0.0025054
49 | 0.98095 | -0.36623 | 0 | 0
50 | 0.97574 | -0.46843 | 0.015826 | 0.0039665
51 | 0.9758 | -0.46709 | 0.0041101 | 0.0010301
52 | 0.97605 | -0.4622 | 0.021555 | 0.0054021
53 | 0.97664 | -0.45067 | 0.0054546 | 0.0013671
54 | 0.97809 | -0.42211 | 0 | 0
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.048642 | 0.012219 | -0.0486 | -0.012192 | 4.2013e-05 | 2.6624e-05 | 0.073434 | 0.073434 | 0.073434 | 0.98579 | -0.27325 | 0.98486 | -0.29136 | 20.1741
1 | -0.064731 | -0.016251 | 0.064766 | 0.016273 | 3.5153e-05 | 2.2373e-05 | 0.097719 | 0.097719 | 0.097719 | 0.98579 | -0.27325 | 0.98638 | -0.26187 | 26.8458
2 | 0.028004 | 0.0070303 | -0.027989 | -0.007021 | 1.4955e-05 | 9.2879e-06 | 0.042315 | 0.042315 | 0.042315 | 0.98486 | -0.29136 | 0.98429 | -0.30256 | 11.6249
3 | -0.086941 | -0.021831 | 0.087031 | 0.021888 | 8.9922e-05 | 5.7372e-05 | 0.13117 | 0.13117 | 0.13117 | 0.98638 | -0.26187 | 0.98749 | -0.24021 | 36.0362
4 | 0.027989 | 0.007021 | -0.027976 | -0.0070132 | 1.2544e-05 | 7.7908e-06 | 0.042315 | 0.042315 | 0.042315 | 0.98429 | -0.30256 | 0.9838 | -0.31197 | 11.6249
5 | -0.10459 | -0.02629 | 0.1048 | 0.026419 | 0.00020199 | 0.000129 | 0.15764 | 0.15764 | 0.15764 | 0.98749 | -0.24021 | 0.98957 | -0.19985 | 43.3069
6 | 0.015691 | 0.0039342 | -0.015686 | -0.0039312 | 5.1966e-06 | 3.0135e-06 | 0.023733 | 0.023733 | 0.023733 | 0.9838 | -0.31197 | 0.98345 | -0.31892 | 6.5201
7 | 0.013829 | 0.0034662 | -0.013827 | -0.003465 | 2.0296e-06 | 1.1381e-06 | 0.020795 | 0.020795 | 0.020795 | 0.98957 | -0.19985 | 0.98941 | -0.20293 | 5.7128
8 | -0.11863 | -0.029885 | 0.11876 | 0.029971 | 0.00013367 | 8.5404e-05 | 0.17843 | 0.17843 | 0.17843 | 0.98957 | -0.19985 | 0.99079 | -0.17632 | 49.0196
9 | 0.0013343 | 0.00033412 | -0.0013343 | -0.00033441 | 3.6116e-08 | -2.8404e-07 | 0.0020066 | 0.0020068 | 0.0020068 | 0.98941 | -0.20293 | 0.98938 | -0.2035 | 0.55131
10 | -0.13189 | -0.033262 | 0.13215 | 0.033429 | 0.0002613 | 0.000167 | 0.19816 | 0.19816 | 0.19816 | 0.99079 | -0.17632 | 0.99293 | -0.13502 | 54.4387
11 | -0.14746 | -0.037266 | 0.14751 | 0.037295 | 4.5528e-05 | 2.9009e-05 | 0.2211 | 0.2211 | 0.2211 | 0.99293 | -0.13502 | 0.99327 | -0.12858 | 30.3709
12 | -0.16598 | -0.041926 | 0.16603 | 0.041956 | 4.7141e-05 | 2.9934e-05 | 0.24878 | 0.24878 | 0.24878 | 0.99327 | -0.12858 | 0.99358 | -0.12266 | 22.7817
13 | -0.17292 | -0.043681 | 0.17305 | 0.043769 | 0.00013934 | 8.853e-05 | 0.25909 | 0.25909 | 0.25909 | 0.99358 | -0.12266 | 0.99445 | -0.10586 | 23.7259
14 | -0.18557 | -0.046907 | 0.18581 | 0.047055 | 0.00023345 | 0.00014846 | 0.27782 | 0.27782 | 0.27782 | 0.99445 | -0.10586 | 0.99582 | -0.079663 | 25.4411
15 | -0.35706 | -0.090564 | 0.35843 | 0.091441 | 0.0013733 | 0.00087742 | 0.53392 | 0.53392 | 0.53392 | 0.99582 | -0.079663 | 1 | 0 | 48.8938
16 | 0.17125 | 0.043509 | -0.17115 | -0.043442 | 0.00010586 | 6.7248e-05 | 0.2561 | 0.2561 | 0.2561 | 0.99582 | -0.079663 | 0.99514 | -0.092512 | 23.4528
17 | 0.15564 | 0.039198 | -0.15551 | -0.039115 | 0.0001294 | 8.2481e-05 | 0.23166 | 0.23166 | 0.23166 | 1 | 0 | 0.99909 | -0.017403 | 31.8215
18 | 0.16379 | 0.041597 | -0.16375 | -0.041572 | 3.9228e-05 | 2.4902e-05 | 0.2451 | 0.2451 | 0.2451 | 0.99514 | -0.092512 | 0.99488 | -0.09749 | 22.4451
19 | -0.013348 | -0.0033454 | 0.013352 | 0.0033476 | 3.9642e-06 | 2.1973e-06 | 0.020034 | 0.020034 | 0.020034 | 0.99145 | -0.16357 | 0.99177 | -0.15734 | 5.5038
20 | -0.020732 | -0.005197 | 0.020745 | 0.005205 | 1.3135e-05 | 7.9391e-06 | 0.031106 | 0.031105 | 0.031106 | 0.99177 | -0.15734 | 0.99245 | -0.14405 | 8.5455
21 | 0.098283 | 0.025025 | -0.098083 | -0.024898 | 0.00019953 | 0.00012738 | 0.1475 | 0.1475 | 0.1475 | 0.99245 | -0.14405 | 0.99025 | -0.18624 | 40.5216
22 | -0.11903 | -0.03023 | 0.11907 | 0.030256 | 4.0109e-05 | 2.5627e-05 | 0.1786 | 0.1786 | 0.1786 | 0.99245 | -0.14405 | 0.99282 | -0.13705 | 49.067
23 | 0.0040649 | 0.0010186 | -0.0040646 | -0.0010187 | 3.4977e-07 | -9.7725e-08 | 0.0061081 | 0.0061083 | 0.0061083 | 0.99025 | -0.18624 | 0.99016 | -0.18804 | 1.6781
24 | 0.088887 | 0.022593 | -0.08886 | -0.022576 | 2.7027e-05 | 1.7245e-05 | 0.13368 | 0.13368 | 0.13368 | 0.99025 | -0.18624 | 0.98992 | -0.19255 | 36.7252
25 | 0.025894 | 0.0064983 | -0.025883 | -0.0064914 | 1.1244e-05 | 6.9391e-06 | 0.038813 | 0.038813 | 0.038813 | 0.99282 | -0.13705 | 0.99235 | -0.14616 | 10.6629
26 | -0.14496 | -0.036754 | 0.14499 | 0.036774 | 3.1118e-05 | 1.9825e-05 | 0.21742 | 0.21742 | 0.21742 | 0.99282 | -0.13705 | 0.99305 | -0.13258 | 29.8649
27 | 0.0040646 | 0.0010187 | -0.0040646 | -0.0010187 | 2.5564e-08 | -7.1398e-09 | 0.0061083 | 0.0061083 | 0.0061083 | 0.99016 | -0.18804 | 0.99015 | -0.18818 | 1.6781
28 | 0.08886 | 0.022576 | -0.088828 | -0.022556 | 3.1684e-05 | 2.0217e-05 | 0.13368 | 0.13368 | 0.13368 | 0.98992 | -0.19255 | 0.98954 | -0.19996 | 36.7252
29 | 0.020282 | 0.0050877 | -0.020274 | -0.0050824 | 8.752e-06 | 5.2755e-06 | 0.030415 | 0.030415 | 0.030415 | 0.99235 | -0.14616 | 0.99188 | -0.15521 | 8.3557
30 | -0.14499 | -0.036774 | 0.14508 | 0.036827 | 8.3509e-05 | 5.2897e-05 | 0.21742 | 0.21742 | 0.21742 | 0.99305 | -0.13258 | 0.99368 | -0.12061 | 19.91
31 | -0.02257 | -0.0056639 | 0.022583 | 0.0056714 | 1.2303e-05 | 7.5032e-06 | 0.033828 | 0.033827 | 0.033828 | 0.99291 | -0.13638 | 0.9935 | -0.12495 | 9.2933
32 | 0.02257 | 0.0056639 | -0.022553 | -0.005653 | 1.7924e-05 | 1.0932e-05 | 0.033828 | 0.033828 | 0.033828 | 0.99291 | -0.13638 | 0.99205 | -0.15305 | 9.2933
33 | 0.0075808 | 0.0019001 | -0.0075807 | -0.0019 | 1.7786e-07 | 6.619e-08 | 0.011354 | 0.011354 | 0.011354 | 0.9935 | -0.12495 | 0.99348 | -0.12545 | 3.1193
34 | -0.030164 | -0.0075715 | 0.030204 | 0.0075969 | 4.075e-05 | 2.539e-05 | 0.045182 | 0.045181 | 0.045182 | 0.9935 | -0.12495 | 0.99497 | -0.09667 | 12.4125
35 | 0.011631 | 0.0029159 | -0.011628 | -0.0029143 | 2.9155e-06 | 1.5362e-06 | 0.017446 | 0.017447 | 0.017447 | 0.99205 | -0.15305 | 0.99178 | -0.15831 | 4.793
36 | 0.0075807 | 0.0019 | -0.0075798 | -0.0018997 | 8.4084e-07 | 3.1295e-07 | 0.011354 | 0.011354 | 0.011354 | 0.99348 | -0.12545 | 0.99336 | -0.12777 | 3.1193
37 | -0.050688 | -0.012731 | 0.050746 | 0.012767 | 5.7909e-05 | 3.6712e-05 | 0.075816 | 0.075816 | 0.075816 | 0.99497 | -0.09667 | 0.99621 | -0.072757 | 20.8286
38 | 0.088828 | 0.022556 | -0.088758 | -0.022511 | 6.9758e-05 | 4.4512e-05 | 0.13368 | 0.13368 | 0.13368 | 0.98954 | -0.19996 | 0.98869 | -0.2163 | 36.7252
39 | 0.014787 | 0.0037073 | -0.014783 | -0.0037049 | 4.2764e-06 | 2.4379e-06 | 0.022184 | 0.022184 | 0.022184 | 0.99188 | -0.15521 | 0.99157 | -0.16128 | 6.0944
40 | -0.15498 | -0.039309 | 0.15515 | 0.039419 | 0.00017249 | 0.0001094 | 0.23225 | 0.23225 | 0.23225 | 0.99368 | -0.12061 | 0.99488 | -0.09749 | 21.2683
41 | -0.070059 | -0.017608 | 0.070063 | 0.01761 | 4.1437e-06 | 2.6389e-06 | 0.10466 | 0.10466 | 0.10466 | 0.99621 | -0.072757 | 0.99627 | -0.071518 | 28.7535
42 | 0.097088 | 0.024474 | -0.096983 | -0.024406 | 0.00010578 | 6.7523e-05 | 0.14465 | 0.14465 | 0.14465 | 0.99909 | -0.017403 | 0.9979 | -0.0402 | 39.7391
43 | 0.085107 | 0.02143 | -0.08498 | -0.021349 | 0.00012723 | 8.115e-05 | 0.12694 | 0.12694 | 0.12694 | 0.9979 | -0.0402 | 0.99627 | -0.071518 | 34.8741
44 | 0.073285 | 0.018552 | -0.073264 | -0.018539 | 2.0827e-05 | 1.3271e-05 | 0.11067 | 0.11067 | 0.11067 | 0.98592 | -0.26978 | 0.98561 | -0.2757 | 30.4047
45 | -0.081817 | -0.02069 | 0.082028 | 0.020825 | 0.00021049 | 0.00013424 | 0.12355 | 0.12355 | 0.12355 | 0.98592 | -0.26978 | 0.98869 | -0.2163 | 33.9424
46 | 0.066194 | 0.016767 | -0.066106 | -0.01671 | 8.8215e-05 | 5.6159e-05 | 0.099998 | 0.099998 | 0.099998 | 0.98561 | -0.2757 | 0.98418 | -0.30349 | 27.4721
47 | 0.057316 | 0.014507 | -0.057243 | -0.014461 | 7.2722e-05 | 4.6215e-05 | 0.086709 | 0.086709 | 0.086709 | 0.98418 | -0.30349 | 0.98282 | -0.32996 | 23.8211
48 | 0.047246 | 0.011956 | -0.047164 | -0.011904 | 8.2089e-05 | 5.1997e-05 | 0.071574 | 0.071574 | 0.071574 | 0.98282 | -0.32996 | 0.98095 | -0.36623 | 19.6631
49 | 0.047164 | 0.011904 | -0.047038 | -0.011824 | 0.00012587 | 7.9733e-05 | 0.071574 | 0.071574 | 0.071574 | 0.98095 | -0.36623 | 0.97809 | -0.42211 | 19.6632
50 | -0.015826 | -0.0039665 | 0.015827 | 0.003967 | 1.0041e-06 | 5.8521e-07 | 0.024135 | 0.024135 | 0.024135 | 0.97574 | -0.46843 | 0.9758 | -0.46709 | 6.6306
51 | -0.019937 | -0.0049971 | 0.019942 | 0.0049999 | 4.6476e-06 | 2.807e-06 | 0.030403 | 0.030403 | 0.030403 | 0.9758 | -0.46709 | 0.97605 | -0.4622 | 8.3525
52 | -0.041497 | -0.010402 | 0.04152 | 0.010416 | 2.2808e-05 | 1.4407e-05 | 0.063264 | 0.063264 | 0.063264 | 0.97605 | -0.4622 | 0.97664 | -0.45067 | 17.3801
53 | -0.046974 | -0.011784 | 0.047038 | 0.011824 | 6.4062e-05 | 4.0582e-05 | 0.071574 | 0.071574 | 0.071574 | 0.97664 | -0.45067 | 0.97809 | -0.42211 | 19.6632

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5304 | 0.13432

## res_load
| p_mw | q_mvar
0 | 0.016089 | 0.0040322
1 | 0.020597 | 0.005162
2 | 0.022175 | 0.0055577
3 | 0.017563 | 0.0044017
4 | 0.012285 | 0.003079
5 | 0.015686 | 0.0039312
6 | 0.012493 | 0.0031309
7 | 0.013134 | 0.0032917
8 | 0.0013343 | 0.00033441
9 | 0.01531 | 0.003837
10 | 0.018474 | 0.0046301
11 | 0.0068847 | 0.0017255
12 | 0.012517 | 0.0031371
13 | 0.014677 | 0.0036783
14 | 0.0073591 | 0.0018444
15 | 0.013348 | 0.0033454
16 | 0.0073794 | 0.0018494
17 | 0.0051314 | 0.0012861
18 | 0.0056009 | 0.0014037
19 | 0.010921 | 0.0027371
20 | 0.020484 | 0.0051338
21 | 0.011628 | 0.0029143
22 | 0.0040646 | 0.0010187
23 | 0.0054867 | 0.0013751
24 | 0.0099053 | 0.0024825
25 | 0.0075798 | 0.0018997
26 | 0.019312 | 0.0048402
27 | 0.058421 | 0.014642
28 | 0.0085923 | 0.0021534
29 | 0.011876 | 0.0029764
30 | 0.014917 | 0.0037385
31 | 0.014783 | 0.0037049
32 | 0.0085322 | 0.0021384
33 | 0.0070706 | 0.0017721
34 | 0.0067305 | 0.0016868
35 | 0.0087899 | 0.002203
36 | 0.0099967 | 0.0025054
37 | 0.015826 | 0.0039665
38 | 0.0041101 | 0.0010301
39 | 0.021555 | 0.0054021
40 | 0.0054546 | 0.0013671

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1