## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-181_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-181_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-181_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-181_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-181_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-181_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-181_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1061-181_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1061-181_0_5_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_1061-181_0_5_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1061-181_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1061-181_0_5_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_1061-181_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1061-181_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-181_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-181_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-181_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-181_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1061-181_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1061-181_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1061-181_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1061-181_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1061-181_0_5_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1061-181_0_5_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1061-181_0_5_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_1061-181_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1061-181_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1061-181_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1061-181_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1061-181_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1061-181_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1061-181_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1061-181_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1061-181_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1061-181_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1061-181_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1061-181_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1061-181_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1061-181_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1061-181_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1061-181_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1061-181_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1061-181_0_5_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1061-181_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1061-181_0_5_node_48 | 0.4 | n |  | TRUE
45 | bus_MV_219_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-181_0_5_load_0 | 0 | 0.0061751 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-181_0_5_load_1 | 1 | 0.0065193 | 0.0016339 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-181_0_5_load_3 | 3 | 0.0084354 | 0.0021141 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-181_0_5_load_4 | 4 | 0.021523 | 0.0053941 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-181_0_5_load_5 | 5 | 0.016718 | 0.00419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-181_0_5_load_22 | 6 | 0.0063575 | 0.0015933 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-181_0_5_load_43 | 8 | 0.021953 | 0.0055019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-181_0_5_load_20 | 9 | 0.0080333 | 0.0020133 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-181_0_5_load_6 | 12 | 0.011524 | 0.0028881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-181_0_5_load_7 | 13 | 0.0039718 | 0.00099544 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-181_0_5_load_9 | 15 | 0.003968 | 0.00099448 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-181_0_5_load_17 | 17 | 0.024024 | 0.0060209 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-181_0_5_load_38 | 18 | 0.0083932 | 0.0021035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-181_0_5_load_36 | 19 | 0.01198 | 0.0030024 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-181_0_5_load_18 | 20 | 0.013774 | 0.0034522 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-181_0_5_load_39 | 21 | 0.0064469 | 0.0016158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-181_0_5_load_37 | 22 | 0.07546 | 0.018912 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-181_0_5_load_45 | 23 | 0.0090355 | 0.0022645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-181_0_5_load_44 | 24 | 0.02286 | 0.0057292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-181_0_5_load_29 | 25 | 0.083604 | 0.020953 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-181_0_5_load_26 | 26 | 0.011841 | 0.0029676 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-181_0_5_load_19 | 27 | 0.020305 | 0.005089 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-181_0_5_load_41 | 29 | 0.0028065 | 0.00070337 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-181_0_5_load_21 | 31 | 0.006892 | 0.0017273 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-181_0_5_load_23 | 32 | 0.0046278 | 0.0011598 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-181_0_5_load_24 | 33 | 0.01038 | 0.0026015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-181_0_5_load_27 | 35 | 0.0062716 | 0.0015718 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-181_0_5_load_28 | 36 | 0.019042 | 0.0047723 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-181_0_5_load_30 | 37 | 0.0028076 | 0.00070365 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-181_0_5_load_31 | 38 | 0.0051048 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-181_0_5_load_33 | 39 | 0.0082396 | 0.002065 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-181_0_5_load_35 | 40 | 0.0083716 | 0.0020981 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-181_0_5_load_47 | 41 | 0.0048548 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-181_0_5_load_40 | 42 | 0.014813 | 0.0037125 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-181_0_5_load_46 | 43 | 0.013802 | 0.0034591 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-181_0_5_load_48 | 44 | 0.0048737 | 0.0012215 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-181_0_5_line_0 |  | 0 | 1 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1061-181_0_5_line_1 |  | 0 | 2 | 0.010381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1061-181_0_5_line_2 |  | 1 | 3 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-181_0_5_line_3 |  | 2 | 4 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1061-181_0_5_line_4 |  | 2 | 5 | 0.0077217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1061-181_0_5_line_5 |  | 3 | 6 | 0.0040557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-181_0_5_line_6 |  | 4 | 7 | 0.019804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1061-181_0_5_line_7 |  | 5 | 8 | 0.0069292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1061-181_0_5_line_8 |  | 6 | 9 | 0.011865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-181_0_5_line_9 |  | 7 | 10 | 0.070249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-181_0_5_line_10 |  | 8 | 11 | 0.03315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1061-181_0_5_line_11 |  | 9 | 31 | 0.005756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-181_0_5_line_12 |  | 10 | 18 | 0.0046793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1061-181_0_5_line_13 |  | 10 | 19 | 0.013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-181_0_5_line_14 |  | 11 | 42 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1061-181_0_5_line_15 |  | 12 | 13 | 0.028831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-181_0_5_line_16 |  | 12 | 14 | 0.0065167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-181_0_5_line_17 |  | 13 | 15 | 0.0093991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-181_0_5_line_18 |  | 14 | 16 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-181_0_5_line_19 |  | 16 | 17 | 0.011304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-181_0_5_line_20 |  | 17 | 20 | 0.017188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-181_0_5_line_21 |  | 18 | 21 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1061-181_0_5_line_22 |  | 19 | 22 | 0.027242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-181_0_5_line_23 |  | 20 | 27 | 0.0041614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-181_0_5_line_24 |  | 21 | 35 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1061-181_0_5_line_25 |  | 23 | 24 | 0.068621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-181_0_5_line_26 |  | 24 | 36 | 0.0047826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-181_0_5_line_27 |  | 25 | 26 | 0.0079491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-181_0_5_line_28 |  | 26 | 33 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-181_0_5_line_29 |  | 27 | 28 | 0.0029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-181_0_5_line_30 |  | 28 | 29 | 0.029059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-181_0_5_line_31 |  | 28 | 30 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-181_0_5_line_32 |  | 29 | 42 | 0.020856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-181_0_5_line_33 |  | 30 | 40 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-181_0_5_line_34 |  | 30 | 37 | 0.015877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-181_0_5_line_35 |  | 32 | 33 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-181_0_5_line_36 |  | 32 | 34 | 0.0043189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-181_0_5_line_37 |  | 34 | 35 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1061-181_0_5_line_38 |  | 34 | 36 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-181_0_5_line_39 |  | 37 | 38 | 0.0085691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-181_0_5_line_40 |  | 38 | 39 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-181_0_5_line_41 |  | 40 | 41 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-181_0_5_line_42 |  | 41 | 43 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-181_0_5_line_43 |  | 43 | 44 | 0.00075113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-181_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 45 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2665450.0875 | 1211301.272 | 2665441.7939 | 1211315.2154
1 | 2665451.502 | 1211291.115 | 2665450.8035 | 1211300.0684 | 2665450.0875 | 1211301.272
2 | 2665434.6754 | 1211327.0055 | 2665435.4358 | 1211325.9046 | 2665441.7939 | 1211315.2154
3 | 2665451.502 | 1211291.115 | 2665457.8788 | 1211282.3881
4 | 2665451.502 | 1211291.115 | 2665446.1636 | 1211296.694
5 | 2665434.6754 | 1211327.0055 | 2665432.3704 | 1211330.3425
6 | 2665469.5629 | 1211266.3979 | 2665457.8788 | 1211282.3881
7 | 2665441.373 | 1211301.7004 | 2665446.1636 | 1211296.694
8 | 2665432.3704 | 1211330.3425 | 2665425.6269 | 1211340.1052
9 | 2665469.5629 | 1211266.3979 | 2665472.875 | 1211268.58 | 2665473.6067 | 1211269.0661 | 2665476.6549 | 1211268.9884 | 2665478.9031 | 1211269.7802 | 2665488.9995 | 1211276.2728 | 2665493.6681 | 1211279.4815 | 2665495.1922 | 1211281.8553 | 2665495.5434 | 1211282.4039 | 2665495.8644 | 1211284.3086 | 2665495.3411 | 1211285.6037 | 2665493.843 | 1211288.4668 | 2665496.6222 | 1211290.0427 | 2665500.995 | 1211292.5033 | 2665487.9835 | 1211312.7396
10 | 2665418.4546 | 1211325.6516 | 2665441.373 | 1211301.7004
11 | 2665422.3556 | 1211344.8412 | 2665425.6269 | 1211340.1052
12 | 2665487.9835 | 1211312.7396 | 2665485.4519 | 1211316.675
13 | 2665487.9835 | 1211312.7396 | 2665499.0281 | 1211320.8971
14 | 2665418.4546 | 1211325.6516 | 2665409.3794 | 1211316.5687
15 | 2665428.6913 | 1211233.8474 | 2665418.4474 | 1211227.9359 | 2665403.7171 | 1211219.4413
16 | 2665434.3355 | 1211237.1046 | 2665428.6913 | 1211233.8474
17 | 2665403.7171 | 1211219.4413 | 2665395.5749 | 1211214.7458
18 | 2665434.3355 | 1211237.1046 | 2665442.0282 | 1211241.7362 | 2665439.5999 | 1211245.5786 | 2665439.1513 | 1211246.2964 | 2665439.2155 | 1211248.0648 | 2665438.7171 | 1211249.16 | 2665439.3483 | 1211249.8118 | 2665441.0091 | 1211251.5088
19 | 2665441.0091 | 1211251.5088 | 2665431.7246 | 1211257.9574
20 | 2665417.6078 | 1211267.7623 | 2665417.6078 | 1211267.7623 | 2665431.7246 | 1211257.9574
21 | 2665485.4519 | 1211316.675 | 2665477.877 | 1211328.4503
22 | 2665512.8293 | 1211342.1027 | 2665511.2372 | 1211341.0567 | 2665508.856 | 1211328.156 | 2665499.0281 | 1211320.8971
23 | 2665417.6078 | 1211267.7623 | 2665413.7487 | 1211269.3194
24 | 2665477.877 | 1211328.4503 | 2665471.6397 | 1211338.1463
25 | 2665494.9139 | 1211406.836 | 2665485.8206 | 1211401.7596 | 2665504.0944 | 1211371.4748 | 2665484.6782 | 1211359.454
26 | 2665480.6119 | 1211356.9365 | 2665484.6782 | 1211359.454
27 | 2665442.5416 | 1211382.2203 | 2665446.9435 | 1211375.6013
28 | 2665456.1694 | 1211361.7287 | 2665446.9435 | 1211375.6013
29 | 2665411.0359 | 1211270.4141 | 2665413.7487 | 1211269.3194
30 | 2665411.0359 | 1211270.4141 | 2665410.5944 | 1211283.6396 | 2665409.1419 | 1211289.972 | 2665404.7581 | 1211298.2068 | 2665404.7581 | 1211298.2068
31 | 2665411.0359 | 1211270.4141 | 2665404.5764 | 1211270.4322 | 2665397.4545 | 1211267.797
32 | 2665409.3794 | 1211316.5687 | 2665403.7973 | 1211310.9819 | 2665403.3057 | 1211304.5392 | 2665404.7581 | 1211298.2068
33 | 2665397.4545 | 1211267.797 | 2665382.3367 | 1211258.4667
34 | 2665397.4545 | 1211267.797 | 2665388.2855 | 1211280.7588
35 | 2665456.1694 | 1211361.7287 | 2665463.164 | 1211351.2113
36 | 2665465.5557 | 1211347.615 | 2665463.164 | 1211351.2113
37 | 2665465.5557 | 1211347.615 | 2665470.7047 | 1211339.5999 | 2665471.6397 | 1211338.1463
38 | 2665465.5557 | 1211347.615 | 2665480.6119 | 1211356.9365
39 | 2665383.3369 | 1211287.7545 | 2665388.2855 | 1211280.7588
40 | 2665383.3773 | 1211302.7865 | 2665383.3369 | 1211287.7545
41 | 2665369.5863 | 1211250.5975 | 2665382.3367 | 1211258.4667
42 | 2665360.5934 | 1211246.089 | 2665367.0282 | 1211249.0187 | 2665369.5863 | 1211250.5975
43 | 2665359.9098 | 1211245.7777 | 2665360.5934 | 1211246.089

## bus_geodata
| x | y | coords
0 | 2665450.0875 | 1211301.272
1 | 2665441.7939 | 1211315.2154
2 | 2665451.502 | 1211291.115
3 | 2665434.6754 | 1211327.0055
4 | 2665457.8788 | 1211282.3881
5 | 2665446.1636 | 1211296.694
6 | 2665432.3704 | 1211330.3425
7 | 2665469.5629 | 1211266.3979
8 | 2665441.373 | 1211301.7004
9 | 2665425.6269 | 1211340.1052
10 | 2665487.9835 | 1211312.7396
11 | 2665418.4546 | 1211325.6516
12 | 2665428.6913 | 1211233.8474
13 | 2665403.7171 | 1211219.4413
14 | 2665434.3355 | 1211237.1046
15 | 2665395.5749 | 1211214.7458
16 | 2665441.0091 | 1211251.5088
17 | 2665431.7246 | 1211257.9574
18 | 2665485.4519 | 1211316.675
19 | 2665499.0281 | 1211320.8971
20 | 2665417.6078 | 1211267.7623
21 | 2665477.877 | 1211328.4503
22 | 2665512.8293 | 1211342.1027
23 | 2665494.9139 | 1211406.836
24 | 2665484.6782 | 1211359.454
25 | 2665442.5416 | 1211382.2203
26 | 2665446.9435 | 1211375.6013
27 | 2665413.7487 | 1211269.3194
28 | 2665411.0359 | 1211270.4141
29 | 2665404.7581 | 1211298.2068
30 | 2665397.4545 | 1211267.797
31 | 2665422.3556 | 1211344.8412
32 | 2665463.164 | 1211351.2113
33 | 2665456.1694 | 1211361.7287
34 | 2665465.5557 | 1211347.615
35 | 2665471.6397 | 1211338.1463
36 | 2665480.6119 | 1211356.9365
37 | 2665388.2855 | 1211280.7588
38 | 2665383.3369 | 1211287.7545
39 | 2665383.3773 | 1211302.7865
40 | 2665382.3367 | 1211258.4667
41 | 2665369.5863 | 1211250.5975
42 | 2665409.3794 | 1211316.5687
43 | 2665360.5934 | 1211246.089
44 | 2665359.9098 | 1211245.7777
45 | 2665451.502 | 1211291.115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99821 | -0.033964 | 0.0061751 | 0.0015476
1 | 1 | 0 | -0.5159 | -0.13081
2 | 0.99709 | -0.055479 | 0 | 0
3 | 0.99963 | -0.007138 | 0.0084354 | 0.0021141
4 | 0.99636 | -0.069297 | 0.021523 | 0.0053941
5 | 0.99677 | -0.061638 | 0.016718 | 0.00419
6 | 0.99955 | -0.0086437 | 0.0063575 | 0.0015933
7 | 0.99513 | -0.092793 | 0 | 0
8 | 0.9965 | -0.06666 | 0.021953 | 0.0055019
9 | 0.99939 | -0.011734 | 0.0080333 | 0.0020133
10 | 0.99078 | -0.1766 | 0 | 0
11 | 0.99541 | -0.08752 | 0 | 0
12 | 0.98696 | -0.25092 | 0.011524 | 0.0028881
13 | 0.98675 | -0.25501 | 0.0039718 | 0.00099544
14 | 0.98707 | -0.24865 | 0 | 0
15 | 0.98671 | -0.25568 | 0.003968 | 0.00099448
16 | 0.98744 | -0.24147 | 0 | 0
17 | 0.98764 | -0.23753 | 0.024024 | 0.0060209
18 | 0.99058 | -0.1804 | 0.0083932 | 0.0021035
19 | 0.98968 | -0.19794 | 0.01198 | 0.0030024
20 | 0.98833 | -0.22419 | 0.013774 | 0.0034522
21 | 0.99002 | -0.19123 | 0.0064469 | 0.0016158
22 | 0.98779 | -0.2346 | 0.07546 | 0.018912
23 | 0.9872 | -0.24591 | 0.0090355 | 0.0022645
24 | 0.98777 | -0.23482 | 0.02286 | 0.0057292
25 | 0.985 | -0.28881 | 0.083604 | 0.020953
26 | 0.98561 | -0.27688 | 0.011841 | 0.0029676
27 | 0.98855 | -0.21994 | 0.020305 | 0.005089
28 | 0.98876 | -0.21589 | 0 | 0
29 | 0.99211 | -0.15103 | 0.0028065 | 0.00070337
30 | 0.98814 | -0.2279 | 0 | 0
31 | 0.99935 | -0.012426 | 0.006892 | 0.0017273
32 | 0.9883 | -0.22451 | 0.0046278 | 0.0011598
33 | 0.98707 | -0.24839 | 0.01038 | 0.0026015
34 | 0.98874 | -0.216 | 0 | 0
35 | 0.98958 | -0.19982 | 0.0062716 | 0.0015718
36 | 0.98791 | -0.2321 | 0.019042 | 0.0047723
37 | 0.9879 | -0.23248 | 0.0028076 | 0.00070365
38 | 0.9878 | -0.23453 | 0.0051048 | 0.0012794
39 | 0.98769 | -0.23674 | 0.0082396 | 0.002065
40 | 0.98762 | -0.23803 | 0.0083716 | 0.0020981
41 | 0.9873 | -0.24433 | 0.0048548 | 0.0012167
42 | 0.99457 | -0.10371 | 0.014813 | 0.0037125
43 | 0.98712 | -0.24769 | 0.013802 | 0.0034591
44 | 0.98712 | -0.24776 | 0.0048737 | 0.0012215
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.48373 | -0.12285 | 0.48452 | 0.12335 | 0.00079209 | 0.00050609 | 0.72166 | 0.72166 | 0.72166 | 0.99821 | -0.033964 | 1 | 0 | 49.5643
1 | 0.47756 | 0.1213 | -0.47706 | -0.12098 | 0.000494 | 0.00031562 | 0.71245 | 0.71245 | 0.71245 | 0.99821 | -0.033964 | 0.99709 | -0.055479 | 48.9321
2 | 0.029732 | 0.0074566 | -0.029722 | -0.0074503 | 1.0112e-05 | 6.291e-06 | 0.044244 | 0.044244 | 0.044244 | 1 | 0 | 0.99963 | -0.007138 | 12.1549
3 | 0.29399 | 0.074654 | -0.29379 | -0.07453 | 0.00019535 | 0.00012446 | 0.43908 | 0.43908 | 0.43908 | 0.99709 | -0.055479 | 0.99636 | -0.069297 | 30.1568
4 | 0.18307 | 0.046328 | -0.18302 | -0.046294 | 5.4098e-05 | 3.422e-05 | 0.27337 | 0.27337 | 0.27337 | 0.99709 | -0.055479 | 0.99677 | -0.061638 | 18.7753
5 | 0.021287 | 0.0053362 | -0.021285 | -0.0053353 | 1.5271e-06 | 9.2418e-07 | 0.031687 | 0.031687 | 0.031687 | 0.99963 | -0.007138 | 0.99955 | -0.0086437 | 8.7053
6 | 0.27227 | 0.069136 | -0.27196 | -0.06894 | 0.00030746 | 0.00019575 | 0.40694 | 0.40694 | 0.40694 | 0.99636 | -0.069297 | 0.99513 | -0.092793 | 27.9492
7 | 0.1663 | 0.042104 | -0.16626 | -0.042079 | 4.0086e-05 | 2.5294e-05 | 0.24841 | 0.24841 | 0.24841 | 0.99677 | -0.061638 | 0.9965 | -0.06666 | 17.0612
8 | 0.014928 | 0.003742 | -0.014926 | -0.0037407 | 2.1974e-06 | 1.2509e-06 | 0.022223 | 0.022223 | 0.022223 | 0.99955 | -0.0086437 | 0.99939 | -0.011734 | 6.1052
9 | 0.27196 | 0.06894 | -0.27087 | -0.068246 | 0.0010906 | 0.00069437 | 0.40694 | 0.40694 | 0.40694 | 0.99513 | -0.092793 | 0.99078 | -0.1766 | 27.9493
10 | 0.14431 | 0.036577 | -0.14416 | -0.036486 | 0.0001445 | 9.0756e-05 | 0.21563 | 0.21563 | 0.21563 | 0.9965 | -0.06666 | 0.99541 | -0.08752 | 14.8098
11 | 0.0068922 | 0.0017274 | -0.006892 | -0.0017273 | 2.2731e-07 | 7.0057e-08 | 0.010262 | 0.010262 | 0.010262 | 0.99939 | -0.011734 | 0.99935 | -0.012426 | 2.8192
12 | 0.18321 | 0.04619 | -0.18318 | -0.046169 | 3.3237e-05 | 2.1031e-05 | 0.27526 | 0.27526 | 0.27526 | 0.99078 | -0.1766 | 0.99058 | -0.1804 | 18.905
13 | 0.087661 | 0.022056 | -0.087572 | -0.021999 | 8.9289e-05 | 5.6969e-05 | 0.13169 | 0.13169 | 0.13169 | 0.99078 | -0.1766 | 0.98968 | -0.19794 | 36.1775
14 | 0.14416 | 0.036486 | -0.14405 | -0.036415 | 0.00011194 | 7.1308e-05 | 0.21563 | 0.21563 | 0.21563 | 0.99541 | -0.08752 | 0.99457 | -0.10371 | 29.6197
15 | 0.0079415 | 0.0019905 | -0.00794 | -0.0019899 | 1.55e-06 | 6.2364e-07 | 0.011973 | 0.011973 | 0.011973 | 0.98696 | -0.25092 | 0.98675 | -0.25501 | 3.2894
16 | -0.019465 | -0.0048786 | 0.019467 | 0.0048799 | 2.1047e-06 | 1.2637e-06 | 0.029347 | 0.029347 | 0.029347 | 0.98696 | -0.25092 | 0.98707 | -0.24865 | 8.0625
17 | 0.0039682 | 0.00099444 | -0.003968 | -0.00099448 | 1.2621e-07 | -3.9284e-08 | 0.005984 | 0.005984 | 0.005984 | 0.98675 | -0.25501 | 0.98671 | -0.25568 | 1.644
18 | -0.019467 | -0.0048799 | 0.019474 | 0.0048839 | 6.6617e-06 | 3.9997e-06 | 0.029347 | 0.029347 | 0.029347 | 0.98707 | -0.24865 | 0.98744 | -0.24147 | 8.0625
19 | -0.019474 | -0.0048839 | 0.019478 | 0.0048861 | 3.651e-06 | 2.192e-06 | 0.029347 | 0.029347 | 0.029347 | 0.98744 | -0.24147 | 0.98764 | -0.23753 | 8.0625
20 | -0.043501 | -0.010907 | 0.043529 | 0.010924 | 2.7688e-05 | 1.75e-05 | 0.065542 | 0.065542 | 0.065542 | 0.98764 | -0.23753 | 0.98833 | -0.22419 | 18.006
21 | 0.17478 | 0.044065 | -0.17469 | -0.044008 | 9.055e-05 | 5.7232e-05 | 0.26265 | 0.26265 | 0.26265 | 0.99058 | -0.1804 | 0.99002 | -0.19123 | 18.039
22 | 0.075592 | 0.018996 | -0.07546 | -0.018912 | 0.000132 | 8.4133e-05 | 0.11367 | 0.11367 | 0.11367 | 0.98968 | -0.19794 | 0.98779 | -0.2346 | 31.2291
23 | -0.057303 | -0.014377 | 0.057315 | 0.014384 | 1.1617e-05 | 7.3816e-06 | 0.086281 | 0.086281 | 0.086281 | 0.98833 | -0.22419 | 0.98855 | -0.21994 | 23.7034
24 | 0.16825 | 0.042392 | -0.16818 | -0.042349 | 6.9161e-05 | 4.367e-05 | 0.25296 | 0.25296 | 0.25296 | 0.99002 | -0.19123 | 0.98958 | -0.19982 | 17.3735
25 | -0.0090355 | -0.0022645 | 0.0090403 | 0.0022667 | 4.7729e-06 | 2.1768e-06 | 0.013619 | 0.013619 | 0.013619 | 0.9872 | -0.24591 | 0.98777 | -0.23482 | 3.7415
26 | -0.0319 | -0.0079959 | 0.031904 | 0.0079985 | 4.1418e-06 | 2.5895e-06 | 0.048056 | 0.048056 | 0.048056 | 0.98777 | -0.23482 | 0.98791 | -0.2321 | 13.2022
27 | -0.083604 | -0.020953 | 0.083652 | 0.020983 | 4.755e-05 | 3.0331e-05 | 0.1263 | 0.1263 | 0.1263 | 0.985 | -0.28881 | 0.98561 | -0.27688 | 34.6975
28 | -0.095492 | -0.023951 | 0.095622 | 0.024034 | 0.00012987 | 8.2902e-05 | 0.14418 | 0.14418 | 0.14418 | 0.98561 | -0.27688 | 0.98707 | -0.24839 | 39.6086
29 | -0.07762 | -0.019473 | 0.077635 | 0.019483 | 1.4977e-05 | 9.548e-06 | 0.11685 | 0.11685 | 0.11685 | 0.98855 | -0.21994 | 0.98876 | -0.21589 | 32.1003
30 | -0.12575 | -0.031562 | 0.12614 | 0.031812 | 0.00039032 | 0.00024943 | 0.18926 | 0.18926 | 0.18926 | 0.98876 | -0.21589 | 0.99211 | -0.15103 | 51.9944
31 | 0.048113 | 0.01208 | -0.048085 | -0.012062 | 2.756e-05 | 1.7459e-05 | 0.072414 | 0.072414 | 0.072414 | 0.98876 | -0.21589 | 0.98814 | -0.2279 | 19.8941
32 | -0.12895 | -0.032515 | 0.12924 | 0.032702 | 0.00029274 | 0.00018708 | 0.19347 | 0.19347 | 0.19347 | 0.99211 | -0.15103 | 0.99457 | -0.10371 | 53.1507
33 | 0.031928 | 0.0080112 | -0.031912 | -0.0080015 | 1.5402e-05 | 9.6297e-06 | 0.048082 | 0.048082 | 0.048082 | 0.98814 | -0.2279 | 0.98762 | -0.23803 | 13.2095
34 | 0.016158 | 0.0040512 | -0.016154 | -0.0040492 | 3.525e-06 | 2.0527e-06 | 0.024332 | 0.024332 | 0.024332 | 0.98814 | -0.2279 | 0.9879 | -0.23248 | 6.6847
35 | 0.10612 | 0.026713 | -0.106 | -0.026635 | 0.00012099 | 7.7272e-05 | 0.15982 | 0.15982 | 0.15982 | 0.9883 | -0.22451 | 0.98707 | -0.24839 | 43.9076
36 | -0.11075 | -0.027873 | 0.1108 | 0.027901 | 4.5056e-05 | 2.8781e-05 | 0.16679 | 0.16679 | 0.16679 | 0.9883 | -0.22451 | 0.98874 | -0.216 | 45.8218
37 | -0.16178 | -0.040697 | 0.16191 | 0.040777 | 0.00012515 | 7.9808e-05 | 0.24353 | 0.24353 | 0.24353 | 0.98874 | -0.216 | 0.98958 | -0.19982 | 33.4517
38 | 0.050985 | 0.012796 | -0.050946 | -0.012771 | 3.9103e-05 | 2.4799e-05 | 0.076737 | 0.076737 | 0.076737 | 0.98874 | -0.216 | 0.98791 | -0.2321 | 21.0816
39 | 0.013347 | 0.0033455 | -0.013345 | -0.0033448 | 1.2987e-06 | 7.2144e-07 | 0.020103 | 0.020103 | 0.020103 | 0.9879 | -0.23248 | 0.9878 | -0.23453 | 5.5229
40 | 0.0082405 | 0.0020654 | -0.0082396 | -0.002065 | 8.6863e-07 | 3.6352e-07 | 0.012413 | 0.012414 | 0.012414 | 0.9878 | -0.23453 | 0.98769 | -0.23674 | 3.4103
41 | 0.023541 | 0.0059034 | -0.023534 | -0.0058991 | 7.0687e-06 | 4.3323e-06 | 0.035469 | 0.035469 | 0.035469 | 0.98762 | -0.23803 | 0.9873 | -0.24433 | 9.7443
42 | 0.018679 | 0.0046824 | -0.018676 | -0.0046806 | 2.9948e-06 | 1.7878e-06 | 0.028152 | 0.028152 | 0.028152 | 0.9873 | -0.24433 | 0.98712 | -0.24769 | 7.7342
43 | 0.0048737 | 0.0012215 | -0.0048737 | -0.0012215 | 1.5203e-08 | 1.2796e-10 | 0.0073468 | 0.0073468 | 0.0073468 | 0.98712 | -0.24769 | 0.98712 | -0.24776 | 2.0184

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52242 | 0.13244

## res_load
| p_mw | q_mvar
0 | 0.0061751 | 0.0015476
1 | 0.0065193 | 0.0016339
2 | 0.0084354 | 0.0021141
3 | 0.021523 | 0.0053941
4 | 0.016718 | 0.00419
5 | 0.0063575 | 0.0015933
6 | 0.021953 | 0.0055019
7 | 0.0080333 | 0.0020133
8 | 0.011524 | 0.0028881
9 | 0.0039718 | 0.00099544
10 | 0.003968 | 0.00099448
11 | 0.024024 | 0.0060209
12 | 0.0083932 | 0.0021035
13 | 0.01198 | 0.0030024
14 | 0.013774 | 0.0034522
15 | 0.0064469 | 0.0016158
16 | 0.07546 | 0.018912
17 | 0.0090355 | 0.0022645
18 | 0.02286 | 0.0057292
19 | 0.083604 | 0.020953
20 | 0.011841 | 0.0029676
21 | 0.020305 | 0.005089
22 | 0.0028065 | 0.00070337
23 | 0.006892 | 0.0017273
24 | 0.0046278 | 0.0011598
25 | 0.01038 | 0.0026015
26 | 0.0062716 | 0.0015718
27 | 0.019042 | 0.0047723
28 | 0.0028076 | 0.00070365
29 | 0.0051048 | 0.0012794
30 | 0.0082396 | 0.002065
31 | 0.0083716 | 0.0020981
32 | 0.0048548 | 0.0012167
33 | 0.014813 | 0.0037125
34 | 0.013802 | 0.0034591
35 | 0.0048737 | 0.0012215

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1