## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-186_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-186_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-186_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-186_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-186_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-186_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-186_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1061-186_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1061-186_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1061-186_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1061-186_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1061-186_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1061-186_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1061-186_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1061-186_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1061-186_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1061-186_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1061-186_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1061-186_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1061-186_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1061-186_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1061-186_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1061-186_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1061-186_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1061-186_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1061-186_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1061-186_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1061-186_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1061-186_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1061-186_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1061-186_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1061-186_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1061-186_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1061-186_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1061-186_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1061-186_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1061-186_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1061-186_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-186_0_3_load_0 | 0 | 0.00099174 | 0.00024855 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-186_0_3_load_1 | 1 | 0.00022287 | 5.5857e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-186_0_3_load_3 | 3 | 0.00054699 | 0.00013709 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-186_0_3_load_5 | 5 | 0.0005786 | 0.00014501 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-186_0_3_load_6 | 6 | 0.00073541 | 0.00018431 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-186_0_3_load_8 | 8 | 0.0010399 | 0.00026062 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-186_0_3_load_7 | 9 | 0.006677 | 0.0016734 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-186_0_3_load_22 | 10 | 0.00044982 | 0.00011274 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-186_0_3_load_37 | 13 | 0.0021642 | 0.00054239 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-186_0_3_load_31 | 16 | 0.0026283 | 0.00065872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-186_0_3_load_39 | 19 | 0.0018424 | 0.00046175 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-186_0_3_load_38 | 20 | 0.0024201 | 0.00060655 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-186_0_3_load_32 | 22 | 0.0015601 | 0.000391 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-186_0_3_load_30 | 23 | 0.0010993 | 0.00027552 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-186_0_3_load_11 | 24 | 0.0016082 | 0.00040304 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-186_0_3_load_12 | 26 | 0.0024838 | 0.00062249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-186_0_3_load_23 | 27 | 0.00086973 | 0.00021797 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-186_0_3_load_24 | 28 | 0.010285 | 0.0025777 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-186_0_3_load_28 | 29 | 0.00062491 | 0.00015662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-186_0_3_load_26 | 30 | 0.0021326 | 0.00053449 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-186_0_3_load_40 | 32 | 0.0030842 | 0.00077298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-186_0_3_load_36 | 34 | 0.000682 | 0.00017093 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-186_0_3_load_33 | 35 | 0.0010977 | 0.0002751 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-186_0_3_load_29 | 36 | 0.00032516 | 8.1493e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-186_0_3_load_25 | 37 | 0.0012615 | 0.00031615 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-186_0_3_line_0 |  | 0 | 1 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-186_0_3_line_1 |  | 0 | 2 | 0.02719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-186_0_3_line_2 |  | 1 | 3 | 0.00090569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-186_0_3_line_3 |  | 2 | 4 | 0.008856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-186_0_3_line_4 |  | 2 | 5 | 0.01282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-186_0_3_line_5 |  | 3 | 6 | 0.0020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-186_0_3_line_6 |  | 4 | 7 | 0.34977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-186_0_3_line_7 |  | 4 | 8 | 0.25043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-186_0_3_line_8 |  | 5 | 9 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-186_0_3_line_9 |  | 7 | 10 | 0.10349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-186_0_3_line_10 |  | 10 | 25 | 0.008397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-186_0_3_line_11 |  | 11 | 12 | 0.10119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-186_0_3_line_12 |  | 11 | 13 | 0.0062407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-186_0_3_line_13 |  | 11 | 14 | 0.4414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-186_0_3_line_14 |  | 12 | 29 | 0.072162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-186_0_3_line_15 |  | 12 | 30 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-186_0_3_line_16 |  | 13 | 31 | 0.057078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-186_0_3_line_17 |  | 14 | 24 | 0.1453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-186_0_3_line_18 |  | 14 | 15 | 0.6934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-186_0_3_line_19 |  | 15 | 16 | 0.049769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-186_0_3_line_20 |  | 17 | 18 | 0.25957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-186_0_3_line_21 |  | 17 | 19 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-186_0_3_line_22 |  | 18 | 20 | 0.037115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-186_0_3_line_23 |  | 19 | 32 | 0.045555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-186_0_3_line_24 |  | 20 | 31 | 0.010411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-186_0_3_line_25 |  | 21 | 22 | 0.043613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-186_0_3_line_26 |  | 21 | 23 | 0.018304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-186_0_3_line_27 |  | 23 | 36 | 0.022353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-186_0_3_line_28 |  | 24 | 26 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-186_0_3_line_29 |  | 25 | 27 | 0.0084541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-186_0_3_line_30 |  | 25 | 26 | 0.042589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-186_0_3_line_31 |  | 27 | 28 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-186_0_3_line_32 |  | 29 | 36 | 0.00038061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-186_0_3_line_33 |  | 30 | 37 | 0.0042414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-186_0_3_line_34 |  | 31 | 35 | 0.029534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-186_0_3_line_35 |  | 33 | 34 | 0.047958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-186_0_3_line_36 |  | 33 | 35 | 0.048944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-186_0_3_trafo_13 | 0.63 MVA 20/0.4 kV | 38 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2660798.051 | 1213082.3113 | 2660809.4415 | 1213102.3602
1 | 2660781.026 | 1213061.8528 | 2660790.3602 | 1213068.7744 | 2660798.051 | 1213082.3113
2 | 2660809.8889 | 1213103.1476 | 2660809.4415 | 1213102.3602
3 | 2660781.026 | 1213061.8528 | 2660773.901 | 1213056.5659
4 | 2660781.026 | 1213061.8528 | 2660770.7379 | 1213069.5021
5 | 2660810.9147 | 1213104.9532 | 2660809.8889 | 1213103.1476
6 | 2660491.6567 | 1213102.5368 | 2660522.8918 | 1213080.3178 | 2660624.1549 | 1213018.3858 | 2660637.918 | 1213008.1528 | 2660653.8513 | 1212993.6837 | 2660667.0769 | 1212977.3082 | 2660773.901 | 1213056.5659
7 | 2660773.901 | 1213056.5659 | 2660782.0218 | 1213046.8872 | 2660779.0971 | 1213017.0725 | 2660824.1003 | 1212924.7415 | 2660847.4869 | 1212863.3647 | 2660855.3276 | 1212837.9958 | 2660854.8693 | 1212831.5428 | 2660856.2926 | 1212825.2835
8 | 2660770.7379 | 1213069.5021 | 2660756.9519 | 1213079.7519
9 | 2660491.6567 | 1213102.5368 | 2660441.4496 | 1213064.3824 | 2660436.0111 | 1213058.3125 | 2660433.581 | 1213052.9847 | 2660433.4617 | 1213047.5134 | 2660438.7385 | 1213034.3144 | 2660439.3383 | 1213027.6053
10 | 2660436.225 | 1213019.9691 | 2660438.1503 | 1213022.6458 | 2660439.3383 | 1213027.6053
11 | 2659786.7175 | 1213020.6813 | 2659871.964 | 1213075.5806
12 | 2659871.964 | 1213075.5806 | 2659876.4915 | 1213079.8757
13 | 2659871.964 | 1213075.5806 | 2659885.9876 | 1213075.5658 | 2659901.7983 | 1213078.3929 | 2659913.6287 | 1213079.668 | 2659925.5861 | 1213080.3997 | 2660021.2452 | 1213085.5199 | 2660065.0101 | 1213089.2404 | 2660070.2196 | 1213088.6703 | 2660075.3024 | 1213087.0983 | 2660080.2202 | 1213084.5685 | 2660084.9984 | 1213080.8032 | 2660110.947 | 1213029.7334 | 2660115.0268 | 1213022.9148 | 2660178.1378 | 1213054.0589 | 2660220.5244 | 1213076.189 | 2660256.988 | 1213097.2811
14 | 2659786.7175 | 1213020.6813 | 2659761.5213 | 1213003.7741 | 2659742.5515 | 1212993.2333 | 2659724.0883 | 1212985.2435
15 | 2659786.7175 | 1213020.6813 | 2659773.5222 | 1213041.8731 | 2659772.4102 | 1213043.6362
16 | 2659914.4618 | 1213122.2579 | 2659913.3408 | 1213120.4122 | 2659908.6976 | 1213113.7726 | 2659902.68 | 1213106.3188 | 2659896.7758 | 1213099.6777 | 2659887.789 | 1213090.593 | 2659876.4915 | 1213079.8757
17 | 2660256.988 | 1213097.2811 | 2660385.5878 | 1213030.9408 | 2660386.1067 | 1213030.6427
18 | 2660256.988 | 1213097.2811 | 2660220.5244 | 1213076.189 | 2660178.1378 | 1213054.0589 | 2660115.0268 | 1213022.9148 | 2660126.2618 | 1213004.1388 | 2660133.6399 | 1212997.1979 | 2660147.7803 | 1212981.1084 | 2660155.6947 | 1212969.9591 | 2660162.9619 | 1212958.2141 | 2660169.6495 | 1212945.1736 | 2660233.4345 | 1212807.3777 | 2660245.5238 | 1212779.316 | 2660266.4816 | 1212725.4393 | 2660286.0119 | 1212667.0233 | 2660292.1626 | 1212644.027 | 2660313.4597 | 1212534.1642
19 | 2660313.4597 | 1212534.1642 | 2660321.5558 | 1212485.058
20 | 2659932.5945 | 1213166.1334 | 2659940.5077 | 1213187.5371 | 2659951.1064 | 1213212.3142 | 2659956.948 | 1213225.9256 | 2659961.1282 | 1213234.0281 | 2659965.5907 | 1213241.2441 | 2659970.8183 | 1213248.6789 | 2659976.9824 | 1213256.6457 | 2659985.0016 | 1213265.9765 | 2660004.21 | 1213285.904 | 2660023.8819 | 1213305.8029 | 2660041.8356 | 1213322.0602 | 2660039.1543 | 1213326.5581 | 2660038.0356 | 1213328.2701 | 2660036.9781 | 1213329.1823 | 2660035.2908 | 1213330.0325 | 2660029.7159 | 1213331.455 | 2660023.3606 | 1213332.6807 | 2660002.1431 | 1213335.0354 | 2659994.515 | 1213335.9259 | 2659987.7643 | 1213337.1921 | 2659980.6797 | 1213339.1777
21 | 2659980.6797 | 1213339.1777 | 2659981.7709 | 1213343.2133 | 2659982.8296 | 1213345.959 | 2659984.386 | 1213349.0654 | 2659989.9379 | 1213356.7148 | 2659990.0517 | 1213356.8595
22 | 2659932.5945 | 1213166.1334 | 2659919.0659 | 1213131.5718
23 | 2659990.0517 | 1213356.8595 | 2659994.0631 | 1213361.9594 | 2660018.6707 | 1213386.5553 | 2660021.6063 | 1213389.6624
24 | 2659914.4618 | 1213122.2579 | 2659916.2926 | 1213125.2781 | 2659918.4779 | 1213130.0697 | 2659919.0659 | 1213131.5718
25 | 2659686.4264 | 1212968.9457 | 2659676.8201 | 1212977.6882 | 2659649.472 | 1212991.4695
26 | 2659686.4264 | 1212968.9457 | 2659703.2248 | 1212976.215
27 | 2659723.739 | 1212985.0924 | 2659703.2248 | 1212976.215
28 | 2660396.2357 | 1213024.8234 | 2660386.1067 | 1213030.6427
29 | 2660436.225 | 1213019.9691 | 2660438.2927 | 1213011.7718
30 | 2660436.225 | 1213019.9691 | 2660432.6137 | 1213018.0091 | 2660430.2188 | 1213017.44 | 2660418.1806 | 1213016.4286 | 2660415.5137 | 1213016.4683 | 2660412.0765 | 1213016.8115 | 2660407.3424 | 1213018.4423 | 2660396.2357 | 1213024.8234
31 | 2660446.64 | 1212988.8836 | 2660440.4516 | 1213003.2128 | 2660438.2927 | 1213011.7718
32 | 2659723.739 | 1212985.0924 | 2659724.0883 | 1212985.2435
33 | 2659770.1476 | 1213047.2237 | 2659772.4102 | 1213043.6362
34 | 2659914.4618 | 1213122.2579 | 2659924.368 | 1213113.919 | 2659926.0099 | 1213113.0683 | 2659927.922 | 1213112.5316 | 2659929.6853 | 1213112.4493 | 2659931.7923 | 1213112.9263 | 2659933.6903 | 1213113.8014 | 2659939.1927 | 1213117.6847
35 | 2659979.1879 | 1213143.877 | 2659984.805 | 1213141.2874 | 2659987.8618 | 1213140.2397 | 2659991.8289 | 1213139.3235 | 2659995.4413 | 1213138.9263 | 2659998.9416 | 1213139.0949 | 2660006.6557 | 1213141.007 | 2660010.2596 | 1213141.4546 | 2660013.5572 | 1213141.3877 | 2660016.89 | 1213140.8431 | 2660020.2975 | 1213139.6656 | 2660024.8307 | 1213137.5988 | 2660025.2707 | 1213137.384
36 | 2659979.1879 | 1213143.877 | 2659951.2136 | 1213123.8392 | 2659949.3196 | 1213124.8318 | 2659939.1927 | 1213117.6847

## bus_geodata
| x | y | coords
0 | 2660798.051 | 1213082.3113
1 | 2660809.4415 | 1213102.3602
2 | 2660781.026 | 1213061.8528
3 | 2660809.8889 | 1213103.1476
4 | 2660773.901 | 1213056.5659
5 | 2660770.7379 | 1213069.5021
6 | 2660810.9147 | 1213104.9532
7 | 2660491.6567 | 1213102.5368
8 | 2660856.2926 | 1212825.2835
9 | 2660756.9519 | 1213079.7519
10 | 2660439.3383 | 1213027.6053
11 | 2659871.964 | 1213075.5806
12 | 2659786.7175 | 1213020.6813
13 | 2659876.4915 | 1213079.8757
14 | 2660256.988 | 1213097.2811
15 | 2660313.4597 | 1212534.1642
16 | 2660321.5558 | 1212485.058
17 | 2659980.6797 | 1213339.1777
18 | 2659932.5945 | 1213166.1334
19 | 2659990.0517 | 1213356.8595
20 | 2659919.0659 | 1213131.5718
21 | 2659686.4264 | 1212968.9457
22 | 2659649.472 | 1212991.4695
23 | 2659703.2248 | 1212976.215
24 | 2660386.1067 | 1213030.6427
25 | 2660436.225 | 1213019.9691
26 | 2660396.2357 | 1213024.8234
27 | 2660438.2927 | 1213011.7718
28 | 2660446.64 | 1212988.8836
29 | 2659724.0883 | 1212985.2435
30 | 2659772.4102 | 1213043.6362
31 | 2659914.4618 | 1213122.2579
32 | 2660021.6063 | 1213389.6624
33 | 2659979.1879 | 1213143.877
34 | 2660025.2707 | 1213137.384
35 | 2659939.1927 | 1213117.6847
36 | 2659723.739 | 1212985.0924
37 | 2659770.1476 | 1213047.2237
38 | 2660256.988 | 1213097.2811

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99065 | -0.18032 | 0.00099174 | 0.00024855
1 | 0.99061 | -0.18093 | 0.00022287 | 5.5857e-05
2 | 0.99071 | -0.17911 | 0 | 0
3 | 0.99061 | -0.18096 | 0.00054699 | 0.00013709
4 | 0.99079 | -0.17758 | 0 | 0
5 | 0.99062 | -0.18076 | 0.0005786 | 0.00014501
6 | 0.99061 | -0.18098 | 0.00073541 | 0.00018431
7 | 0.99424 | -0.11068 | 0 | 0
8 | 0.99055 | -0.18222 | 0.0010399 | 0.00026062
9 | 0.99052 | -0.1828 | 0.006677 | 0.0016734
10 | 0.99526 | -0.090964 | 0.00044982 | 0.00011274
11 | 0.99262 | -0.14207 | 0 | 0
12 | 0.99197 | -0.15463 | 0 | 0
13 | 0.99255 | -0.14332 | 0.0021642 | 0.00054239
14 | 1 | 0 | -0.049369 | -0.012039
15 | 0.99835 | -0.031979 | 0 | 0
16 | 0.99823 | -0.034267 | 0.0026283 | 0.00065872
17 | 0.99067 | -0.17987 | 0 | 0
18 | 0.99184 | -0.15716 | 0 | 0
19 | 0.99058 | -0.18164 | 0.0018424 | 0.00046175
20 | 0.99201 | -0.15391 | 0.0024201 | 0.00060655
21 | 0.99165 | -0.16083 | 0 | 0
22 | 0.99159 | -0.16203 | 0.0015601 | 0.000391
23 | 0.99168 | -0.16032 | 0.0010993 | 0.00027552
24 | 0.99649 | -0.067402 | 0.0016082 | 0.00040304
25 | 0.99535 | -0.089299 | 0 | 0
26 | 0.99622 | -0.072511 | 0.0024838 | 0.00062249
27 | 0.99526 | -0.090958 | 0.00086973 | 0.00021797
28 | 0.99504 | -0.095382 | 0.010285 | 0.0025777
29 | 0.99173 | -0.15925 | 0.00062491 | 0.00015662
30 | 0.99188 | -0.15625 | 0.0021326 | 0.00053449
31 | 0.99208 | -0.15255 | 0 | 0
32 | 0.99045 | -0.18414 | 0.0030842 | 0.00077298
33 | 0.992 | -0.15408 | 0 | 0
34 | 0.99197 | -0.15466 | 0.000682 | 0.00017093
35 | 0.99203 | -0.15349 | 0.0010977 | 0.0002751
36 | 0.99173 | -0.15927 | 0.00032516 | 8.1493e-05
37 | 0.99188 | -0.15635 | 0.0012615 | 0.00031615
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0015053 | 0.00037695 | -0.0015053 | -0.00037722 | 4.4205e-08 | -2.6858e-07 | 0.002261 | 0.0022611 | 0.0022611 | 0.99065 | -0.18032 | 0.99061 | -0.18093 | 0.62117
1 | -0.0024971 | -0.0006255 | 0.0024972 | 0.00062524 | 1.4343e-07 | -2.5829e-07 | 0.0037506 | 0.0037505 | 0.0037506 | 0.99065 | -0.18032 | 0.99071 | -0.17911 | 1.0304
2 | 0.0012824 | 0.00032136 | -0.0012824 | -0.00032137 | 1.2603e-09 | -1.0853e-08 | 0.0019263 | 0.0019263 | 0.0019263 | 0.99061 | -0.18093 | 0.99061 | -0.18096 | 0.5292
3 | -0.009754 | -0.002444 | 0.0097547 | 0.0024444 | 7.1276e-07 | 3.4212e-07 | 0.01465 | 0.01465 | 0.01465 | 0.99071 | -0.17911 | 0.99079 | -0.17758 | 4.0247
4 | 0.0072568 | 0.0018188 | -0.0072562 | -0.0018186 | 5.7114e-07 | 2.0046e-07 | 0.010899 | 0.0109 | 0.0109 | 0.99071 | -0.17911 | 0.99062 | -0.18076 | 2.9944
5 | 0.00073541 | 0.00018428 | -0.00073541 | -0.00018431 | 9.5017e-10 | -2.6126e-08 | 0.0011047 | 0.0011047 | 0.0011047 | 0.99061 | -0.18096 | 0.99061 | -0.18098 | 0.30348
6 | -0.010795 | -0.0027019 | 0.010829 | 0.0027195 | 3.4466e-05 | 1.7538e-05 | 0.016211 | 0.016209 | 0.016211 | 0.99079 | -0.17758 | 0.99424 | -0.11068 | 4.4535
7 | 0.0010401 | 0.00025754 | -0.0010399 | -0.00026061 | 2.2899e-07 | -3.0779e-06 | 0.001561 | 0.0015621 | 0.0015621 | 0.99079 | -0.17758 | 0.99055 | -0.18222 | 0.42915
8 | 0.0066776 | 0.0016736 | -0.006677 | -0.0016734 | 6.4814e-07 | 1.9367e-07 | 0.01003 | 0.010031 | 0.010031 | 0.99062 | -0.18076 | 0.99052 | -0.1828 | 2.7556
9 | -0.010829 | -0.0027195 | 0.010839 | 0.0027246 | 1.0196e-05 | 5.1821e-06 | 0.016209 | 0.016209 | 0.016209 | 0.99424 | -0.11068 | 0.99526 | -0.090964 | 4.4531
10 | -0.011289 | -0.0028374 | 0.01129 | 0.0028378 | 8.9736e-07 | 4.6518e-07 | 0.016881 | 0.016881 | 0.016881 | 0.99526 | -0.090964 | 0.99535 | -0.089299 | 4.6377
11 | 0.0070091 | 0.0017551 | -0.0070049 | -0.0017537 | 4.1891e-06 | 1.3739e-06 | 0.010507 | 0.010507 | 0.010507 | 0.99262 | -0.14207 | 0.99197 | -0.15463 | 2.8866
12 | 0.011303 | 0.0028302 | -0.011302 | -0.0028299 | 6.718e-07 | 3.4929e-07 | 0.016943 | 0.016943 | 0.016943 | 0.99262 | -0.14207 | 0.99255 | -0.14332 | 4.6546
13 | -0.018312 | -0.0045853 | 0.018437 | 0.0046593 | 0.00012471 | 7.4067e-05 | 0.02745 | 0.027448 | 0.02745 | 0.99262 | -0.14207 | 1 | 0 | 7.5411
14 | 0.0036106 | 0.00090328 | -0.0036098 | -0.0009037 | 7.9368e-07 | -4.2339e-07 | 0.0054155 | 0.0054158 | 0.0054158 | 0.99197 | -0.15463 | 0.99173 | -0.15925 | 1.4879
15 | 0.0033944 | 0.00085041 | -0.0033941 | -0.00085059 | 2.6297e-07 | -1.8085e-07 | 0.0050917 | 0.0050918 | 0.0050918 | 0.99197 | -0.15463 | 0.99188 | -0.15625 | 1.3988
16 | 0.0091379 | 0.0022875 | -0.0091339 | -0.0022856 | 4.0165e-06 | 1.8332e-06 | 0.013698 | 0.013699 | 0.013699 | 0.99255 | -0.14332 | 0.99208 | -0.15255 | 3.7634
17 | 0.02665 | 0.0067283 | -0.026564 | -0.0066753 | 8.5762e-05 | 5.2988e-05 | 0.039673 | 0.039674 | 0.039674 | 1 | 0 | 0.99649 | -0.067402 | 10.8993
18 | 0.0026326 | 0.00065172 | -0.0026286 | -0.00065825 | 3.9878e-06 | -6.5298e-06 | 0.0039145 | 0.0039177 | 0.0039177 | 1 | 0 | 0.99835 | -0.031979 | 1.0763
19 | 0.0026286 | 0.00065825 | -0.0026283 | -0.00065872 | 2.8647e-07 | -4.6736e-07 | 0.0039177 | 0.0039179 | 0.0039179 | 0.99835 | -0.031979 | 0.99823 | -0.034267 | 1.0764
20 | -0.0049274 | -0.0012344 | 0.0049327 | 0.0012344 | 5.3308e-06 | 6.562e-08 | 0.0074009 | 0.0073997 | 0.0074009 | 0.99067 | -0.17987 | 0.99184 | -0.15716 | 2.0332
21 | 0.0049274 | 0.0012344 | -0.004927 | -0.0012344 | 4.1561e-07 | 5.4928e-09 | 0.0074009 | 0.007401 | 0.007401 | 0.99067 | -0.17987 | 0.99058 | -0.18164 | 2.0332
22 | -0.0049327 | -0.0012344 | 0.0049335 | 0.0012345 | 7.6209e-07 | 8.6477e-09 | 0.0073997 | 0.0073996 | 0.0073997 | 0.99184 | -0.15716 | 0.99201 | -0.15391 | 2.0329
23 | 0.0030846 | 0.00077263 | -0.0030842 | -0.00077298 | 3.6677e-07 | -3.5163e-07 | 0.0046334 | 0.0046336 | 0.0046336 | 0.99058 | -0.18164 | 0.99045 | -0.18414 | 1.273
24 | -0.0073536 | -0.001841 | 0.0073541 | 0.0018412 | 4.7497e-07 | 1.6956e-07 | 0.01103 | 0.01103 | 0.01103 | 0.99201 | -0.15391 | 0.99208 | -0.15255 | 3.0302
25 | 0.0015602 | 0.0003905 | -0.0015601 | -0.000391 | 8.9636e-08 | -5.0526e-07 | 0.002341 | 0.0023412 | 0.0023412 | 0.99165 | -0.16083 | 0.99159 | -0.16203 | 0.64318
26 | -0.0015602 | -0.0003905 | 0.0015602 | 0.00039028 | 3.7614e-08 | -2.1207e-07 | 0.002341 | 0.0023409 | 0.002341 | 0.99165 | -0.16083 | 0.99168 | -0.16032 | 0.64313
27 | -0.0026596 | -0.0006658 | 0.0026597 | 0.0006656 | 1.3347e-07 | -2.0298e-07 | 0.0039904 | 0.0039903 | 0.0039904 | 0.99168 | -0.16032 | 0.99173 | -0.15927 | 1.0963
28 | 0.024956 | 0.0062723 | -0.02495 | -0.0062685 | 6.0856e-06 | 3.7426e-06 | 0.037272 | 0.037272 | 0.037272 | 0.99649 | -0.067402 | 0.99622 | -0.072511 | 10.2396
29 | 0.011158 | 0.0027972 | -0.011157 | -0.0027968 | 8.8217e-07 | 4.5472e-07 | 0.016681 | 0.016681 | 0.016681 | 0.99535 | -0.089299 | 0.99526 | -0.090958 | 4.5828
30 | -0.022448 | -0.0056351 | 0.022466 | 0.005646 | 1.799e-05 | 1.096e-05 | 0.033563 | 0.033562 | 0.033563 | 0.99535 | -0.089299 | 0.99622 | -0.072511 | 9.2205
31 | 0.010287 | 0.0025788 | -0.010285 | -0.0025777 | 2.1678e-06 | 1.0699e-06 | 0.015381 | 0.015381 | 0.015381 | 0.99526 | -0.090958 | 0.99504 | -0.095382 | 4.2256
32 | 0.0029849 | 0.00074709 | -0.0029849 | -0.00074709 | 2.8622e-09 | -3.0794e-09 | 0.0044782 | 0.0044782 | 0.0044782 | 0.99173 | -0.15925 | 0.99173 | -0.15927 | 1.2303
33 | 0.0012615 | 0.0003161 | -0.0012615 | -0.00031615 | 5.6961e-09 | -5.1099e-08 | 0.0018924 | 0.0018924 | 0.0018924 | 0.99188 | -0.15625 | 0.99188 | -0.15635 | 0.5199
34 | 0.0017798 | 0.00044447 | -0.0017797 | -0.0004448 | 7.8896e-08 | -3.3084e-07 | 0.0026689 | 0.0026691 | 0.0026691 | 0.99208 | -0.15255 | 0.99203 | -0.15349 | 0.73326
35 | 0.00068202 | 0.00017032 | -0.000682 | -0.00017093 | 1.8819e-08 | -6.0708e-07 | 0.0010228 | 0.001023 | 0.001023 | 0.992 | -0.15408 | 0.99197 | -0.15466 | 0.28106
36 | -0.00068202 | -0.00017032 | 0.00068204 | 0.0001697 | 1.9197e-08 | -6.196e-07 | 0.0010228 | 0.0010226 | 0.0010228 | 0.992 | -0.15408 | 0.99203 | -0.15349 | 0.281

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.049369 | 0.012039

## res_load
| p_mw | q_mvar
0 | 0.00099174 | 0.00024855
1 | 0.00022287 | 5.5857e-05
2 | 0.00054699 | 0.00013709
3 | 0.0005786 | 0.00014501
4 | 0.00073541 | 0.00018431
5 | 0.0010399 | 0.00026062
6 | 0.006677 | 0.0016734
7 | 0.00044982 | 0.00011274
8 | 0.0021642 | 0.00054239
9 | 0.0026283 | 0.00065872
10 | 0.0018424 | 0.00046175
11 | 0.0024201 | 0.00060655
12 | 0.0015601 | 0.000391
13 | 0.0010993 | 0.00027552
14 | 0.0016082 | 0.00040304
15 | 0.0024838 | 0.00062249
16 | 0.00086973 | 0.00021797
17 | 0.010285 | 0.0025777
18 | 0.00062491 | 0.00015662
19 | 0.0021326 | 0.00053449
20 | 0.0030842 | 0.00077298
21 | 0.000682 | 0.00017093
22 | 0.0010977 | 0.0002751
23 | 0.00032516 | 8.1493e-05
24 | 0.0012615 | 0.00031615

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1