## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-193_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-193_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-193_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-193_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-193_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-193_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-193_0_2_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1061-193_0_2_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_1061-193_0_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1061-193_0_2_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_1061-193_0_2_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_1061-193_0_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1061-193_0_2_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_1061-193_0_2_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1061-193_0_2_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_1061-193_0_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1061-193_0_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1061-193_0_2_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_1061-193_0_2_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_1061-193_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1061-193_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1061-193_0_2_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_1061-193_0_2_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_1061-193_0_2_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_1061-193_0_2_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_1061-193_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_1061-193_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1061-193_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1061-193_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1061-193_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1061-193_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1061-193_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1061-193_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1061-193_0_2_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1061-193_0_2_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1061-193_0_2_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1061-193_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1061-193_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1061-193_0_2_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1061-193_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1061-193_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1061-193_0_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1061-193_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1061-193_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1061-193_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1061-193_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1061-193_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1061-193_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1061-193_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1061-193_0_2_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1061-193_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1061-193_0_2_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1061-193_0_2_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1061-193_0_2_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1061-193_0_2_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1061-193_0_2_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_1061-193_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_MV_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-193_0_2_load_0 | 0 | 0.0014932 | 0.00037424 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-193_0_2_load_1 | 1 | 0.0041034 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-193_0_2_load_4 | 4 | 0.0021946 | 0.00055003 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-193_0_2_load_31 | 9 | 0.00067552 | 0.0001693 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-193_0_2_load_26 | 10 | 0.00037449 | 9.3857e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-193_0_2_load_33 | 11 | 0.0017974 | 0.00045047 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-193_0_2_load_45 | 12 | 0.0027422 | 0.00068725 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-193_0_2_load_46 | 13 | 0.0023866 | 0.00059814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-193_0_2_load_47 | 14 | 0.0022154 | 0.00055523 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-193_0_2_load_48 | 15 | 0.0029095 | 0.00072918 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-193_0_2_load_53 | 17 | 0.0075502 | 0.0018923 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-193_0_2_load_16 | 20 | 0.00035331 | 8.8548e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-193_0_2_load_29 | 21 | 0.00064882 | 0.00016261 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-193_0_2_load_6 | 22 | 0.0016372 | 0.00041032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-193_0_2_load_7 | 23 | 0.00030385 | 7.6152e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-193_0_2_load_8 | 24 | 0.00093144 | 0.00023344 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-193_0_2_load_11 | 25 | 0.0010481 | 0.00026267 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-193_0_2_load_14 | 28 | 0.001072 | 0.00026866 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-193_0_2_load_27 | 29 | 0.0037232 | 0.00093311 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-193_0_2_load_24 | 30 | 0.0012742 | 0.00031934 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-193_0_2_load_36 | 31 | 0.0014956 | 0.00037482 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-193_0_2_load_15 | 33 | 0.00044108 | 0.00011055 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-193_0_2_load_17 | 34 | 0.00037892 | 9.4966e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-193_0_2_load_20 | 36 | 0.00056537 | 0.00014169 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-193_0_2_load_21 | 37 | 0.00048299 | 0.00012105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-193_0_2_load_22 | 38 | 0.0027325 | 0.00068483 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-193_0_2_load_28 | 39 | 0.00065856 | 0.00016505 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-193_0_2_load_30 | 40 | 0.0011398 | 0.00028565 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-193_0_2_load_32 | 41 | 0.00060715 | 0.00015217 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-193_0_2_load_39 | 42 | 0.00088519 | 0.00022185 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-193_0_2_load_34 | 44 | 0.0021466 | 0.00053798 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-193_0_2_load_37 | 45 | 0.0036824 | 0.00092288 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-193_0_2_load_40 | 46 | 0.00042376 | 0.0001062 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-193_0_2_load_41 | 47 | 0.001094 | 0.00027418 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-193_0_2_load_42 | 48 | 0.00034319 | 8.6013e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-193_0_2_load_43 | 49 | 0.0027072 | 0.00067849 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-193_0_2_load_58 | 52 | 0.00023414 | 5.8682e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-193_0_2_load_55 | 53 | 0.00056488 | 0.00014157 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-193_0_2_load_56 | 54 | 0.000459 | 0.00011504 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-193_0_2_load_57 | 55 | 0.00038447 | 9.6357e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-193_0_2_load_59 | 56 | 0.0018317 | 0.00045906 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-193_0_2_line_0 |  | 0 | 1 | 0.073522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-193_0_2_line_1 |  | 0 | 2 | 0.13935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-193_0_2_line_2 |  | 1 | 3 | 0.14935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-193_0_2_line_3 |  | 2 | 4 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-193_0_2_line_4 |  | 2 | 5 | 0.16941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-193_0_2_line_5 |  | 3 | 6 | 0.079126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-193_0_2_line_6 |  | 3 | 7 | 0.26698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-193_0_2_line_7 |  | 5 | 8 | 0.10744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-193_0_2_line_8 |  | 5 | 9 | 0.19893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-193_0_2_line_9 |  | 6 | 10 | 0.022487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-193_0_2_line_10 |  | 6 | 11 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-193_0_2_line_11 |  | 7 | 17 | 0.13747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-193_0_2_line_12 |  | 8 | 19 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-193_0_2_line_13 |  | 8 | 20 | 0.0045311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-193_0_2_line_14 |  | 9 | 21 | 0.0092325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-193_0_2_line_15 |  | 10 | 32 | 0.21918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-193_0_2_line_16 |  | 11 | 44 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-193_0_2_line_17 |  | 12 | 13 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-193_0_2_line_18 |  | 12 | 14 | 0.045407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-193_0_2_line_19 |  | 13 | 15 | 0.014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-193_0_2_line_20 |  | 15 | 16 | 0.02962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-193_0_2_line_21 |  | 16 | 17 | 0.040309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-193_0_2_line_22 |  | 16 | 18 | 0.19918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-193_0_2_line_23 |  | 18 | 50 | 0.23509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-193_0_2_line_24 |  | 18 | 48 | 0.080862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-193_0_2_line_25 |  | 19 | 24 | 0.033855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-193_0_2_line_26 |  | 20 | 33 | 0.0023034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-193_0_2_line_27 |  | 21 | 39 | 0.0013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-193_0_2_line_28 |  | 22 | 23 | 0.015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-193_0_2_line_29 |  | 22 | 24 | 0.0022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-193_0_2_line_30 |  | 25 | 26 | 0.013805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-193_0_2_line_31 |  | 26 | 27 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-193_0_2_line_32 |  | 26 | 28 | 0.039609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-193_0_2_line_33 |  | 27 | 29 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-193_0_2_line_34 |  | 27 | 30 | 0.036591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-193_0_2_line_35 |  | 29 | 31 | 0.03484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-193_0_2_line_36 |  | 30 | 32 | 0.0079841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-193_0_2_line_37 |  | 33 | 34 | 0.0098666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-193_0_2_line_38 |  | 34 | 35 | 0.0092613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-193_0_2_line_39 |  | 35 | 36 | 0.017006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-193_0_2_line_40 |  | 36 | 37 | 0.0026973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-193_0_2_line_41 |  | 37 | 38 | 0.055316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-193_0_2_line_42 |  | 39 | 40 | 0.01261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-193_0_2_line_43 |  | 40 | 41 | 0.0022571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-193_0_2_line_44 |  | 41 | 42 | 0.0018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-193_0_2_line_45 |  | 42 | 43 | 0.0091971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-193_0_2_line_46 |  | 43 | 46 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-193_0_2_line_47 |  | 43 | 45 | 0.057209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-193_0_2_line_48 |  | 47 | 48 | 0.026926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-193_0_2_line_49 |  | 47 | 49 | 0.039308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-193_0_2_line_50 |  | 50 | 51 | 0.092466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-193_0_2_line_51 |  | 51 | 52 | 0.02576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-193_0_2_line_52 |  | 52 | 54 | 0.025574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-193_0_2_line_53 |  | 53 | 54 | 0.012893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-193_0_2_line_54 |  | 53 | 55 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-193_0_2_line_55 |  | 55 | 56 | 0.038355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-193_0_2_trafo_1 | 0.63 MVA 20/0.4 kV | 57 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2661619.5718 | 1212483.712 | 2661641.369 | 1212413.495
1 | 2661566.7831 | 1212611.1895 | 2661583.2083 | 1212589.8794 | 2661592.0737 | 1212572.2935 | 2661619.5718 | 1212483.712
2 | 2661710.8703 | 1212283.3778 | 2661708.9118 | 1212292.0184 | 2661704.986 | 1212302.0839 | 2661698.722 | 1212312.7034 | 2661671.4748 | 1212348.8771 | 2661660.8571 | 1212362.4646 | 2661651.7244 | 1212380.1366 | 2661641.369 | 1212413.495
3 | 2661566.7831 | 1212611.1895 | 2661547.8353 | 1212604.0805
4 | 2661566.7831 | 1212611.1895 | 2661550.7353 | 1212632.0145 | 2661524.7249 | 1212667.8348 | 2661487.3805 | 1212730.0989 | 2661477.1625 | 1212754.3974
5 | 2661782.1829 | 1212317.8257 | 2661778.4117 | 1212315.8966 | 2661752.0559 | 1212302.6267 | 2661717.7033 | 1212285.3274 | 2661710.8703 | 1212283.3778
6 | 2661710.8703 | 1212283.3778 | 2661482.487 | 1212145.1025
7 | 2661481.9685 | 1212853.4185 | 2661472.0534 | 1212849.0915 | 2661468.8989 | 1212846.3129 | 2661473.0219 | 1212775.79 | 2661477.1625 | 1212754.3974
8 | 2661477.1625 | 1212754.3974 | 2661343.0865 | 1212607.4423
9 | 2661782.1829 | 1212317.8257 | 2661789.2873 | 1212321.4459 | 2661799.1911 | 1212332.0549
10 | 2661782.1829 | 1212317.8257 | 2661791.3263 | 1212307.2361 | 2661791.517 | 1212306.4578
11 | 2661482.487 | 1212145.1025 | 2661477.9117 | 1212140.0745 | 2661444.9314 | 1212119.9448 | 2661439.8437 | 1212118.1913 | 2661436.0205 | 1212117.5849 | 2661432.6082 | 1212118.4058 | 2661404.3601 | 1212133.8023 | 2661397.4339 | 1212137.1886 | 2661387.6696 | 1212140.2344 | 2661380.0065 | 1212142.1346 | 2661376.9504 | 1212142.3032 | 2661373.7921 | 1212142.0706 | 2661370.9036 | 1212140.7178 | 2661366.767 | 1212136.6172 | 2661363.8734 | 1212131.3311
12 | 2661472.5967 | 1212857.5578 | 2661481.9685 | 1212853.4185
13 | 2661481.9685 | 1212853.4185 | 2661486.4924 | 1212853.1625
14 | 2661336.8639 | 1212600.6219 | 2661343.0865 | 1212607.4423
15 | 2661917.3102 | 1212505.6745 | 2661902.3682 | 1212495.213 | 2661878.7643 | 1212481.8934 | 2661863.9847 | 1212472.6122 | 2661852.7448 | 1212460.4661 | 2661839.5685 | 1212440.8953 | 2661832.4405 | 1212424.9228 | 2661807.3478 | 1212349.2277 | 2661799.1911 | 1212332.0549
16 | 2661796.3157 | 1212286.8691 | 2661791.517 | 1212306.4578
17 | 2661403.2275 | 1212072.168 | 2661399.3236 | 1212076.1486 | 2661393.3131 | 1212085.2319
18 | 2661435.0217 | 1212039.7494 | 2661403.2275 | 1212072.168
19 | 2661393.3131 | 1212085.2319 | 2661390.6794 | 1212089.2121 | 2661386.6609 | 1212093.5512 | 2661383.3886 | 1212094.796
20 | 2661353.8575 | 1212093.8362 | 2661359.4225 | 1212094.2603 | 2661371.6177 | 1212094.9528 | 2661377.2809 | 1212095.4336 | 2661383.3886 | 1212094.796
21 | 2661353.8575 | 1212093.8362 | 2661352.3264 | 1212104.5603 | 2661353.7979 | 1212112.925 | 2661363.8734 | 1212131.3311
22 | 2661353.8575 | 1212093.8362 | 2661350.3584 | 1212092.7551 | 2661345.7004 | 1212090.5837 | 2661331.7684 | 1212079.9784 | 2661328.659 | 1212078.679 | 2661324.8286 | 1212078.773 | 2661321.9803 | 1212080.1557 | 2661273.8542 | 1212126.0449 | 2661265.8075 | 1212135.7126 | 2661245.7188 | 1212165.28 | 2661239.9658 | 1212172.8144 | 2661236.3838 | 1212176.8468 | 2661217.5803 | 1212194.4979 | 2661213.9401 | 1212200.4976
23 | 2661213.9401 | 1212200.4976 | 2661032.8763 | 1212350.4342
24 | 2661213.9401 | 1212200.4976 | 2661213.117 | 1212194.0852 | 2661210.9643 | 1212187.6592 | 2661186.8238 | 1212143.4402 | 2661182.9169 | 1212135.4508 | 2661181.8013 | 1212127.1788 | 2661181.8013 | 1212127.1788
25 | 2661472.5967 | 1212857.5578 | 2661465.0464 | 1212850.0755 | 2661444.5303 | 1212846.0617 | 2661442.3458 | 1212846.8429
26 | 2661488.7921 | 1212853.0323 | 2661486.4924 | 1212853.1625
27 | 2661336.8639 | 1212600.6219 | 2661335.9836 | 1212599.657
28 | 2661440.2013 | 1212847.6098 | 2661438.7886 | 1212848.1149 | 2661431.0507 | 1212847.7795 | 2661427.8364 | 1212853.0762
29 | 2661440.2013 | 1212847.6098 | 2661442.3458 | 1212846.8429
30 | 2661892.2736 | 1212555.0004 | 2661897.5929 | 1212567.7398
31 | 2661892.2736 | 1212555.0004 | 2661897.0249 | 1212543.009
32 | 2661861.4328 | 1212564.075 | 2661878.4238 | 1212570.3439 | 2661883.8691 | 1212568.3436 | 2661892.2736 | 1212555.0004
33 | 2661897.0249 | 1212543.009 | 2661880.2696 | 1212536.0369
34 | 2661897.0249 | 1212543.009 | 2661902.7454 | 1212540.1111 | 2661916.3824 | 1212516.7383 | 2661916.643 | 1212513.6306
35 | 2661848.1033 | 1212522.6519 | 2661880.2696 | 1212536.0369
36 | 2661917.3102 | 1212505.6745 | 2661916.643 | 1212513.6306
37 | 2661498.6429 | 1212852.4748 | 2661488.7921 | 1212853.0323
38 | 2661507.8895 | 1212851.9515 | 2661498.6429 | 1212852.4748
39 | 2661507.8895 | 1212851.9515 | 2661509.968 | 1212855.9309 | 2661517.6009 | 1212861.2906 | 2661520.7866 | 1212861.447
40 | 2661520.7866 | 1212861.447 | 2661523.4807 | 1212861.5792
41 | 2661523.4807 | 1212861.5792 | 2661531.3672 | 1212861.9663 | 2661541.4213 | 1212863.1263 | 2661546.4576 | 1212863.1783 | 2661552.2676 | 1212864.817 | 2661556.0287 | 1212864.7558 | 2661559.4428 | 1212862.2561 | 2661561.8119 | 1212858.6895 | 2661564.1652 | 1212844.9382
42 | 2661327.2923 | 1212590.5297 | 2661329.9561 | 1212593.0506 | 2661335.9836 | 1212599.657
43 | 2661325.6529 | 1212588.9783 | 2661327.2923 | 1212590.5297
44 | 2661325.6529 | 1212588.9783 | 2661324.3192 | 1212587.7162
45 | 2661317.6391 | 1212581.3946 | 2661324.3192 | 1212587.7162
46 | 2661317.6391 | 1212581.3946 | 2661302.5183 | 1212569.1744
47 | 2661317.6391 | 1212581.3946 | 2661342.9734 | 1212552.1372 | 2661352.9934 | 1212536.5774
48 | 2661191.1708 | 1212102.0808 | 2661184.3961 | 1212116.4211 | 2661181.8013 | 1212127.1788
49 | 2661191.1708 | 1212102.0808 | 2661192.3725 | 1212099.537 | 2661197.617 | 1212088.9844 | 2661209.8044 | 1212076.3795 | 2661213.6587 | 1212070.3244
50 | 2660982.6146 | 1212428.0232 | 2661000.406 | 1212397.0306 | 2661032.8763 | 1212350.4342
51 | 2660982.6146 | 1212428.0232 | 2660968.0148 | 1212424.0493 | 2660958.4456 | 1212419.4225
52 | 2660935.4221 | 1212408.2903 | 2660958.4456 | 1212419.4225
53 | 2660923.815 | 1212402.6781 | 2660935.4221 | 1212408.2903
54 | 2660923.815 | 1212402.6781 | 2660909.8677 | 1212395.9343
55 | 2660909.8677 | 1212395.9343 | 2660901.7722 | 1212392.02 | 2660897.6745 | 1212388.5538 | 2660896.1201 | 1212383.0457 | 2660895.8068 | 1212369.0785 | 2660897.3094 | 1212365.0473

## bus_geodata
| x | y | coords
0 | 2661619.5718 | 1212483.712
1 | 2661641.369 | 1212413.495
2 | 2661566.7831 | 1212611.1895
3 | 2661710.8703 | 1212283.3778
4 | 2661547.8353 | 1212604.0805
5 | 2661477.1625 | 1212754.3974
6 | 2661782.1829 | 1212317.8257
7 | 2661482.487 | 1212145.1025
8 | 2661481.9685 | 1212853.4185
9 | 2661343.0865 | 1212607.4423
10 | 2661799.1911 | 1212332.0549
11 | 2661791.517 | 1212306.4578
12 | 2661403.2275 | 1212072.168
13 | 2661393.3131 | 1212085.2319
14 | 2661435.0217 | 1212039.7494
15 | 2661383.3886 | 1212094.796
16 | 2661353.8575 | 1212093.8362
17 | 2661363.8734 | 1212131.3311
18 | 2661213.9401 | 1212200.4976
19 | 2661472.5967 | 1212857.5578
20 | 2661486.4924 | 1212853.1625
21 | 2661336.8639 | 1212600.6219
22 | 2661440.2013 | 1212847.6098
23 | 2661427.8364 | 1212853.0762
24 | 2661442.3458 | 1212846.8429
25 | 2661897.5929 | 1212567.7398
26 | 2661892.2736 | 1212555.0004
27 | 2661897.0249 | 1212543.009
28 | 2661861.4328 | 1212564.075
29 | 2661880.2696 | 1212536.0369
30 | 2661916.643 | 1212513.6306
31 | 2661848.1033 | 1212522.6519
32 | 2661917.3102 | 1212505.6745
33 | 2661488.7921 | 1212853.0323
34 | 2661498.6429 | 1212852.4748
35 | 2661507.8895 | 1212851.9515
36 | 2661520.7866 | 1212861.447
37 | 2661523.4807 | 1212861.5792
38 | 2661564.1652 | 1212844.9382
39 | 2661335.9836 | 1212599.657
40 | 2661327.2923 | 1212590.5297
41 | 2661325.6529 | 1212588.9783
42 | 2661324.3192 | 1212587.7162
43 | 2661317.6391 | 1212581.3946
44 | 2661796.3157 | 1212286.8691
45 | 2661352.9934 | 1212536.5774
46 | 2661302.5183 | 1212569.1744
47 | 2661191.1708 | 1212102.0808
48 | 2661181.8013 | 1212127.1788
49 | 2661213.6587 | 1212070.3244
50 | 2661032.8763 | 1212350.4342
51 | 2660982.6146 | 1212428.0232
52 | 2660958.4456 | 1212419.4225
53 | 2660923.815 | 1212402.6781
54 | 2660935.4221 | 1212408.2903
55 | 2660909.8677 | 1212395.9343
56 | 2660897.3094 | 1212365.0473
57 | 2661641.369 | 1212413.495

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99864 | -0.026007 | 0.0014932 | 0.00037424
1 | 1 | 0 | -0.060838 | -0.015029
2 | 0.99626 | -0.07183 | 0 | 0
3 | 0.99473 | -0.10053 | 0 | 0
4 | 0.99622 | -0.07261 | 0.0021946 | 0.00055003
5 | 0.99369 | -0.12125 | 0 | 0
6 | 0.9938 | -0.11859 | 0 | 0
7 | 0.98848 | -0.22103 | 0 | 0
8 | 0.99293 | -0.13612 | 0 | 0
9 | 0.99211 | -0.15195 | 0.00067552 | 0.0001693
10 | 0.99361 | -0.12217 | 0.00037449 | 9.3857e-05
11 | 0.99375 | -0.11962 | 0.0017974 | 0.00045047
12 | 0.98414 | -0.30543 | 0.0027422 | 0.00068725
13 | 0.98422 | -0.30396 | 0.0023866 | 0.00059814
14 | 0.98405 | -0.30724 | 0.0022154 | 0.00055523
15 | 0.98431 | -0.30208 | 0.0029095 | 0.00072918
16 | 0.98459 | -0.29662 | 0 | 0
17 | 0.98526 | -0.28365 | 0.0075502 | 0.0018923
18 | 0.98319 | -0.32402 | 0 | 0
19 | 0.9929 | -0.13664 | 0 | 0
20 | 0.99291 | -0.13652 | 0.00035331 | 8.8548e-05
21 | 0.99204 | -0.15326 | 0.00064882 | 0.00016261
22 | 0.99281 | -0.13844 | 0.0016372 | 0.00041032
23 | 0.9928 | -0.13852 | 0.00030385 | 7.6152e-05
24 | 0.99281 | -0.13836 | 0.00093144 | 0.00023344
25 | 0.99154 | -0.16231 | 0.0010481 | 0.00026267
26 | 0.99155 | -0.16205 | 0 | 0
27 | 0.99158 | -0.16157 | 0 | 0
28 | 0.99152 | -0.16281 | 0.001072 | 0.00026866
29 | 0.99149 | -0.16325 | 0.0037232 | 0.00093311
30 | 0.99182 | -0.15681 | 0.0012742 | 0.00031934
31 | 0.99145 | -0.16417 | 0.0014956 | 0.00037482
32 | 0.99189 | -0.15559 | 0 | 0
33 | 0.9929 | -0.1367 | 0.00044108 | 0.00011055
34 | 0.99286 | -0.13743 | 0.00037892 | 9.4966e-05
35 | 0.99283 | -0.13805 | 0 | 0
36 | 0.99277 | -0.13919 | 0.00056537 | 0.00014169
37 | 0.99276 | -0.13934 | 0.00048299 | 0.00012105
38 | 0.99262 | -0.14202 | 0.0027325 | 0.00068483
39 | 0.99203 | -0.15344 | 0.00065856 | 0.00016505
40 | 0.99195 | -0.15494 | 0.0011398 | 0.00028565
41 | 0.99194 | -0.15517 | 0.00060715 | 0.00015217
42 | 0.99193 | -0.15533 | 0.00088519 | 0.00022185
43 | 0.9919 | -0.156 | 0 | 0
44 | 0.99371 | -0.12039 | 0.0021466 | 0.00053798
45 | 0.99171 | -0.15973 | 0.0036824 | 0.00092288
46 | 0.99189 | -0.15614 | 0.00042376 | 0.0001062
47 | 0.98279 | -0.33192 | 0.001094 | 0.00027418
48 | 0.98288 | -0.33007 | 0.00034319 | 8.6013e-05
49 | 0.98269 | -0.33384 | 0.0027072 | 0.00067849
50 | 0.98244 | -0.33881 | 0 | 0
51 | 0.98214 | -0.34462 | 0 | 0
52 | 0.98206 | -0.34624 | 0.00023414 | 5.8682e-05
53 | 0.98195 | -0.34838 | 0.00056488 | 0.00014157
54 | 0.98198 | -0.34773 | 0.000459 | 0.00011504
55 | 0.98192 | -0.349 | 0.00038447 | 9.6357e-05
56 | 0.98185 | -0.35027 | 0.0018317 | 0.00045906
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.020338 | -0.005125 | 0.020363 | 0.0051402 | 2.5335e-05 | 1.5251e-05 | 0.030314 | 0.030313 | 0.030314 | 0.99864 | -0.026007 | 1 | 0 | 8.328
1 | 0.018844 | 0.0047507 | -0.018803 | -0.0047262 | 4.123e-05 | 2.4569e-05 | 0.028089 | 0.028089 | 0.028089 | 0.99864 | -0.026007 | 0.99626 | -0.07183 | 7.7169
2 | 0.038826 | 0.0098885 | -0.038638 | -0.0097706 | 0.00018729 | 0.00011792 | 0.057829 | 0.057829 | 0.057829 | 1 | 0 | 0.99473 | -0.10053 | 15.8872
3 | 0.0021947 | 0.00054982 | -0.0021946 | -0.00055003 | 8.1548e-08 | -2.1132e-07 | 0.003278 | 0.0032781 | 0.0032781 | 0.99626 | -0.07183 | 0.99622 | -0.07261 | 0.90057
4 | 0.016608 | 0.0041764 | -0.016569 | -0.0041535 | 3.911e-05 | 2.283e-05 | 0.024811 | 0.024812 | 0.024812 | 0.99626 | -0.07183 | 0.99369 | -0.12125 | 6.8165
5 | 0.012961 | 0.003253 | -0.01295 | -0.0032469 | 1.1156e-05 | 6.1135e-06 | 0.01939 | 0.01939 | 0.01939 | 0.99473 | -0.10053 | 0.9938 | -0.11859 | 5.3269
6 | 0.025677 | 0.0065175 | -0.025529 | -0.0064263 | 0.00014794 | 9.1238e-05 | 0.03844 | 0.038441 | 0.038441 | 0.99473 | -0.10053 | 0.98848 | -0.22103 | 10.5607
7 | 0.0078335 | 0.0019624 | -0.007828 | -0.0019603 | 5.5438e-06 | 2.1573e-06 | 0.01173 | 0.011731 | 0.011731 | 0.99369 | -0.12125 | 0.99293 | -0.13612 | 3.2227
8 | 0.0087358 | 0.0021911 | -0.0087231 | -0.0021855 | 1.2768e-05 | 5.5985e-06 | 0.013082 | 0.013083 | 0.013083 | 0.99369 | -0.12125 | 0.99211 | -0.15195 | 3.5942
9 | 0.0090054 | 0.0022587 | -0.0090039 | -0.0022581 | 1.5333e-06 | 6.9001e-07 | 0.013484 | 0.013485 | 0.013485 | 0.9938 | -0.11859 | 0.99361 | -0.12217 | 3.7046
10 | 0.0039443 | 0.00098818 | -0.0039441 | -0.00098824 | 1.9346e-07 | -6.7835e-08 | 0.0059056 | 0.0059057 | 0.0059057 | 0.9938 | -0.11859 | 0.99375 | -0.11962 | 1.6224
11 | 0.025529 | 0.0064263 | -0.025453 | -0.0063793 | 7.618e-05 | 4.6999e-05 | 0.038441 | 0.038442 | 0.038442 | 0.98848 | -0.22103 | 0.98526 | -0.28365 | 10.5609
12 | 0.0028728 | 0.00071932 | -0.0028727 | -0.0007194 | 7.1035e-08 | -8.6736e-08 | 0.004305 | 0.004305 | 0.004305 | 0.99293 | -0.13612 | 0.9929 | -0.13664 | 1.1827
13 | 0.0049551 | 0.0012409 | -0.0049551 | -0.0012409 | 9.369e-08 | 1.3557e-09 | 0.0074255 | 0.0074256 | 0.0074256 | 0.99293 | -0.13612 | 0.99291 | -0.13652 | 2.04
14 | 0.0080475 | 0.0020162 | -0.008047 | -0.002016 | 5.0438e-07 | 2.0359e-07 | 0.01207 | 0.01207 | 0.01207 | 0.99211 | -0.15195 | 0.99204 | -0.15326 | 3.3159
15 | 0.0086294 | 0.0021642 | -0.0086157 | -0.0021582 | 1.3729e-05 | 5.9528e-06 | 0.012924 | 0.012925 | 0.012925 | 0.99361 | -0.12217 | 0.99189 | -0.15559 | 3.5508
16 | 0.0021467 | 0.00053777 | -0.0021466 | -0.00053798 | 7.814e-08 | -2.1127e-07 | 0.0032143 | 0.0032144 | 0.0032144 | 0.99375 | -0.11962 | 0.99371 | -0.12039 | 0.88307
17 | -0.0049578 | -0.001242 | 0.0049581 | 0.001242 | 3.4698e-07 | 1.2809e-08 | 0.0074959 | 0.0074959 | 0.0074959 | 0.98414 | -0.30543 | 0.98422 | -0.30396 | 2.0593
18 | 0.0022156 | 0.00055478 | -0.0022154 | -0.00055523 | 1.9108e-07 | -4.5462e-07 | 0.0033498 | 0.00335 | 0.00335 | 0.98414 | -0.30543 | 0.98405 | -0.30724 | 0.92033
19 | -0.0073447 | -0.0018402 | 0.0073454 | 0.0018404 | 6.5601e-07 | 2.3953e-07 | 0.011104 | 0.011104 | 0.011104 | 0.98422 | -0.30396 | 0.98431 | -0.30208 | 3.0506
20 | -0.010255 | -0.0025696 | 0.010258 | 0.0025709 | 2.6694e-06 | 1.3318e-06 | 0.015502 | 0.015502 | 0.015502 | 0.98431 | -0.30208 | 0.98459 | -0.29662 | 4.2589
21 | -0.017892 | -0.0044805 | 0.017903 | 0.004487 | 1.1051e-05 | 6.5598e-06 | 0.027039 | 0.027039 | 0.027039 | 0.98459 | -0.29662 | 0.98526 | -0.28365 | 7.4283
22 | 0.0076344 | 0.0019095 | -0.0076245 | -0.0019057 | 9.9419e-06 | 3.8332e-06 | 0.011537 | 0.011537 | 0.011537 | 0.98459 | -0.29662 | 0.98319 | -0.32402 | 3.1696
23 | 0.0034783 | 0.00086773 | -0.0034759 | -0.00086914 | 2.4422e-06 | -1.416e-06 | 0.0052628 | 0.0052639 | 0.0052639 | 0.98319 | -0.32402 | 0.98244 | -0.33881 | 1.4461
24 | 0.0041462 | 0.001038 | -0.004145 | -0.0010382 | 1.1939e-06 | -2.6106e-07 | 0.0062746 | 0.006275 | 0.006275 | 0.98319 | -0.32402 | 0.98288 | -0.33007 | 1.7239
25 | 0.0028727 | 0.0007194 | -0.0028725 | -0.00071969 | 2.353e-07 | -2.8724e-07 | 0.004305 | 0.0043052 | 0.0043052 | 0.9929 | -0.13664 | 0.99281 | -0.13836 | 1.1827
26 | 0.0046017 | 0.0011524 | -0.0046017 | -0.0011524 | 4.1078e-08 | -3.5019e-09 | 0.0068961 | 0.0068961 | 0.0068961 | 0.99291 | -0.13652 | 0.9929 | -0.1367 | 1.8945
27 | 0.0073982 | 0.0018534 | -0.0073982 | -0.0018534 | 6.0313e-08 | 2.1736e-08 | 0.011097 | 0.011097 | 0.011097 | 0.99204 | -0.15326 | 0.99203 | -0.15344 | 3.0485
28 | 0.00030385 | 7.5954e-05 | -0.00030385 | -7.6152e-05 | 1.2008e-09 | -1.989e-07 | 0.00045534 | 0.00045541 | 0.00045541 | 0.99281 | -0.13844 | 0.9928 | -0.13852 | 0.12511
29 | -0.0019411 | -0.00048628 | 0.0019411 | 0.00048625 | 7.2282e-09 | -2.4825e-08 | 0.0029092 | 0.0029092 | 0.0029092 | 0.99281 | -0.13844 | 0.99281 | -0.13836 | 0.79923
30 | -0.0010481 | -0.00026267 | 0.0010481 | 0.0002625 | 1.2806e-08 | -1.6987e-07 | 0.0015728 | 0.0015728 | 0.0015728 | 0.99154 | -0.16231 | 0.99155 | -0.16205 | 0.4321
31 | -0.0021201 | -0.00053067 | 0.0021201 | 0.00053053 | 4.8943e-08 | -1.3502e-07 | 0.0031813 | 0.0031813 | 0.0031813 | 0.99155 | -0.16205 | 0.99158 | -0.16157 | 0.87399
32 | 0.001072 | 0.00026817 | -0.001072 | -0.00026866 | 3.8436e-08 | -4.8628e-07 | 0.0016086 | 0.0016087 | 0.0016087 | 0.99155 | -0.16205 | 0.99152 | -0.16281 | 0.44196
33 | 0.0052192 | 0.0013076 | -0.0052188 | -0.0013075 | 4.1746e-07 | 3.31e-08 | 0.0078321 | 0.0078321 | 0.0078321 | 0.99158 | -0.16157 | 0.99149 | -0.16325 | 2.1517
34 | -0.0073393 | -0.0018381 | 0.007341 | 0.0018387 | 1.6643e-06 | 5.9306e-07 | 0.011013 | 0.011013 | 0.011013 | 0.99158 | -0.16157 | 0.99182 | -0.15681 | 3.0256
35 | 0.0014956 | 0.00037442 | -0.0014956 | -0.00037482 | 6.5822e-08 | -4.0719e-07 | 0.0022445 | 0.0022446 | 0.0022446 | 0.99149 | -0.16325 | 0.99145 | -0.16417 | 0.61666
36 | -0.0086152 | -0.002158 | 0.0086157 | 0.0021582 | 5.0015e-07 | 2.1705e-07 | 0.012925 | 0.012925 | 0.012925 | 0.99182 | -0.15681 | 0.99189 | -0.15559 | 3.5508
37 | 0.0041606 | 0.0010419 | -0.0041605 | -0.0010419 | 1.4384e-07 | -3.5548e-08 | 0.006235 | 0.0062351 | 0.0062351 | 0.9929 | -0.1367 | 0.99286 | -0.13743 | 1.7129
38 | 0.0037816 | 0.00094693 | -0.0037814 | -0.00094697 | 1.1154e-07 | -4.8381e-08 | 0.0056672 | 0.0056672 | 0.0056672 | 0.99286 | -0.13743 | 0.99283 | -0.13805 | 1.5569
39 | 0.0037814 | 0.00094697 | -0.0037812 | -0.00094706 | 2.0482e-07 | -8.8816e-08 | 0.0056672 | 0.0056673 | 0.0056673 | 0.99283 | -0.13805 | 0.99277 | -0.13919 | 1.557
40 | 0.0032159 | 0.00080537 | -0.0032158 | -0.00080539 | 2.3499e-08 | -1.9838e-08 | 0.0048199 | 0.0048199 | 0.0048199 | 0.99277 | -0.13919 | 0.99276 | -0.13934 | 1.3242
41 | 0.0027329 | 0.00068434 | -0.0027325 | -0.00068483 | 3.4804e-07 | -4.9239e-07 | 0.004096 | 0.0040962 | 0.0040962 | 0.99276 | -0.13934 | 0.99262 | -0.14202 | 1.1253
42 | 0.0067396 | 0.0016883 | -0.0067391 | -0.0016882 | 4.8325e-07 | 1.4648e-07 | 0.010109 | 0.010109 | 0.010109 | 0.99203 | -0.15344 | 0.99195 | -0.15494 | 2.7772
43 | 0.0055993 | 0.0014025 | -0.0055993 | -0.0014025 | 5.9711e-08 | 9.0787e-09 | 0.0083992 | 0.0083992 | 0.0083992 | 0.99195 | -0.15494 | 0.99194 | -0.15517 | 2.3075
44 | 0.0049921 | 0.0012503 | -0.0049921 | -0.0012503 | 3.8612e-08 | 1.0094e-09 | 0.0074884 | 0.0074884 | 0.0074884 | 0.99194 | -0.15517 | 0.99193 | -0.15533 | 2.0573
45 | 0.0041069 | 0.0010285 | -0.0041068 | -0.0010285 | 1.309e-07 | -3.4944e-08 | 0.0061605 | 0.0061606 | 0.0061606 | 0.99193 | -0.15533 | 0.9919 | -0.156 | 1.6925
46 | 0.00042376 | 0.00010596 | -0.00042376 | -0.0001062 | 2.946e-09 | -2.4906e-07 | 0.00063563 | 0.00063572 | 0.00063572 | 0.9919 | -0.156 | 0.99189 | -0.15614 | 0.17465
47 | 0.003683 | 0.00092257 | -0.0036824 | -0.00092288 | 6.5489e-07 | -3.1915e-07 | 0.005525 | 0.0055252 | 0.0055252 | 0.9919 | -0.156 | 0.99171 | -0.15973 | 1.5179
48 | -0.0038014 | -0.00095233 | 0.0038018 | 0.0009522 | 3.3448e-07 | -1.2716e-07 | 0.0057555 | 0.0057554 | 0.0057555 | 0.98279 | -0.33192 | 0.98288 | -0.33007 | 1.5812
49 | 0.0027074 | 0.00067815 | -0.0027072 | -0.00067849 | 2.477e-07 | -3.3952e-07 | 0.0040991 | 0.0040993 | 0.0040993 | 0.98279 | -0.33192 | 0.98269 | -0.33384 | 1.1262
50 | 0.0034759 | 0.00086914 | -0.0034749 | -0.0008697 | 9.6087e-07 | -5.5555e-07 | 0.0052639 | 0.0052643 | 0.0052643 | 0.98244 | -0.33881 | 0.98214 | -0.34462 | 1.4462
51 | 0.0034749 | 0.0008697 | -0.0034747 | -0.00086985 | 2.6771e-07 | -1.5463e-07 | 0.0052643 | 0.0052644 | 0.0052644 | 0.98214 | -0.34462 | 0.98206 | -0.34624 | 1.4463
52 | 0.0032405 | 0.00081117 | -0.0032403 | -0.00081135 | 2.3117e-07 | -1.756e-07 | 0.0049097 | 0.0049098 | 0.0049098 | 0.98206 | -0.34624 | 0.98198 | -0.34773 | 1.3488
53 | -0.0027812 | -0.00069642 | 0.0027813 | 0.00069631 | 8.5866e-08 | -1.0814e-07 | 0.0042143 | 0.0042143 | 0.0042143 | 0.98195 | -0.34838 | 0.98198 | -0.34773 | 1.1578
54 | 0.0022163 | 0.00055485 | -0.0022162 | -0.000555 | 6.5523e-08 | -1.5403e-07 | 0.0033583 | 0.0033584 | 0.0033584 | 0.98195 | -0.34838 | 0.98192 | -0.349 | 0.92263
55 | 0.0018318 | 0.00045864 | -0.0018317 | -0.00045906 | 1.1083e-07 | -4.142e-07 | 0.0027758 | 0.0027759 | 0.0027759 | 0.98192 | -0.349 | 0.98185 | -0.35027 | 0.76262

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.064942 | 0.016057

## res_load
| p_mw | q_mvar
0 | 0.0014932 | 0.00037424
1 | 0.0041034 | 0.0010284
2 | 0.0021946 | 0.00055003
3 | 0.00067552 | 0.0001693
4 | 0.00037449 | 9.3857e-05
5 | 0.0017974 | 0.00045047
6 | 0.0027422 | 0.00068725
7 | 0.0023866 | 0.00059814
8 | 0.0022154 | 0.00055523
9 | 0.0029095 | 0.00072918
10 | 0.0075502 | 0.0018923
11 | 0.00035331 | 8.8548e-05
12 | 0.00064882 | 0.00016261
13 | 0.0016372 | 0.00041032
14 | 0.00030385 | 7.6152e-05
15 | 0.00093144 | 0.00023344
16 | 0.0010481 | 0.00026267
17 | 0.001072 | 0.00026866
18 | 0.0037232 | 0.00093311
19 | 0.0012742 | 0.00031934
20 | 0.0014956 | 0.00037482
21 | 0.00044108 | 0.00011055
22 | 0.00037892 | 9.4966e-05
23 | 0.00056537 | 0.00014169
24 | 0.00048299 | 0.00012105
25 | 0.0027325 | 0.00068483
26 | 0.00065856 | 0.00016505
27 | 0.0011398 | 0.00028565
28 | 0.00060715 | 0.00015217
29 | 0.00088519 | 0.00022185
30 | 0.0021466 | 0.00053798
31 | 0.0036824 | 0.00092288
32 | 0.00042376 | 0.0001062
33 | 0.001094 | 0.00027418
34 | 0.00034319 | 8.6013e-05
35 | 0.0027072 | 0.00067849
36 | 0.00023414 | 5.8682e-05
37 | 0.00056488 | 0.00014157
38 | 0.000459 | 0.00011504
39 | 0.00038447 | 9.6357e-05
40 | 0.0018317 | 0.00045906

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1