## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-194_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-194_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-194_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-194_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-194_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-194_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-194_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1061-194_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_1061-194_0_5_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1061-194_0_5_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_1061-194_0_5_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_1061-194_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1061-194_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1061-194_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1061-194_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1061-194_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1061-194_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1061-194_0_5_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_1061-194_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_1061-194_0_5_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_1061-194_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1061-194_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1061-194_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1061-194_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1061-194_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1061-194_0_5_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1061-194_0_5_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_1061-194_0_5_node_88 | 0.4 | n |  | TRUE
28 | bus_LV_1061-194_0_5_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_1061-194_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1061-194_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1061-194_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1061-194_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1061-194_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1061-194_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1061-194_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1061-194_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1061-194_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1061-194_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1061-194_0_5_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_1061-194_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1061-194_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1061-194_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1061-194_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1061-194_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1061-194_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1061-194_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1061-194_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1061-194_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1061-194_0_5_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_1061-194_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1061-194_0_5_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_1061-194_0_5_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_1061-194_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1061-194_0_5_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_1061-194_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1061-194_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1061-194_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_1061-194_0_5_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_1061-194_0_5_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_1061-194_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_1061-194_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_1061-194_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_1061-194_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1061-194_0_5_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_1061-194_0_5_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_1061-194_0_5_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_1061-194_0_5_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_1061-194_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_1061-194_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1061-194_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1061-194_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1061-194_0_5_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_1061-194_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_1061-194_0_5_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_1061-194_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_1061-194_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_1061-194_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_1061-194_0_5_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_1061-194_0_5_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_1061-194_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_1061-194_0_5_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_1061-194_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_1061-194_0_5_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_1061-194_0_5_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_1061-194_0_5_node_89 | 0.4 | n |  | TRUE
86 | bus_MV_217_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-194_0_5_load_0 | 0 | 0.0074408 | 0.0018648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-194_0_5_load_1 | 1 | 0.002399 | 0.00060125 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-194_0_5_load_2 | 2 | 0.0024007 | 0.00060167 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-194_0_5_load_3 | 3 | 0.002399 | 0.00060125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-194_0_5_load_4 | 4 | 0.0024007 | 0.00060167 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-194_0_5_load_5 | 5 | 0.0080599 | 0.00202 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-194_0_5_load_6 | 6 | 0.002399 | 0.00060125 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-194_0_5_load_48 | 7 | 0.010091 | 0.0025291 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-194_0_5_load_46 | 8 | 0.0049884 | 0.0012502 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-194_0_5_load_49 | 9 | 0.0024203 | 0.00060658 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-194_0_5_load_44 | 10 | 0.0025167 | 0.00063074 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-194_0_5_load_7 | 11 | 0.0026223 | 0.00065721 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-194_0_5_load_8 | 12 | 0.0019894 | 0.0004986 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-194_0_5_load_9 | 13 | 0.002231 | 0.00055913 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-194_0_5_load_13 | 16 | 0.0034435 | 0.00086303 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-194_0_5_load_84 | 17 | 0.0018345 | 0.00045978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-194_0_5_load_62 | 18 | 0.0036249 | 0.00090848 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-194_0_5_load_63 | 19 | 0.006199 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-194_0_5_load_14 | 20 | 0.0054455 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-194_0_5_load_15 | 21 | 0.010907 | 0.0027335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-194_0_5_load_16 | 22 | 0.0065958 | 0.0016531 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-194_0_5_load_18 | 23 | 0.01102 | 0.0027619 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-194_0_5_load_20 | 24 | 0.0070114 | 0.0017572 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-194_0_5_load_88 | 27 | 0.03605 | 0.009035 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-194_0_5_load_82 | 28 | 0.091098 | 0.022831 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-194_0_5_load_38 | 29 | 0.0042537 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-194_0_5_load_39 | 30 | 0.016834 | 0.004219 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-194_0_5_load_21 | 31 | 0.0065715 | 0.001647 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-194_0_5_load_22 | 32 | 0.0048408 | 0.0012132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-194_0_5_load_23 | 33 | 0.0092889 | 0.002328 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-194_0_5_load_24 | 34 | 0.0046455 | 0.0011643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-194_0_5_load_25 | 35 | 0.0037736 | 0.00094575 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-194_0_5_load_26 | 36 | 0.0053191 | 0.0013331 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-194_0_5_load_27 | 37 | 0.0076201 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-194_0_5_load_50 | 38 | 0.01154 | 0.0028922 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-194_0_5_load_73 | 39 | 0.0014707 | 0.00036859 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-194_0_5_load_28 | 40 | 0.0046167 | 0.0011571 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-194_0_5_load_29 | 41 | 0.0020292 | 0.00050858 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-194_0_5_load_31 | 43 | 0.0019643 | 0.00049229 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-194_0_5_load_32 | 44 | 0.0040985 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-194_0_5_load_33 | 45 | 0.0051822 | 0.0012988 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-194_0_5_load_34 | 46 | 0.0017714 | 0.00044394 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-194_0_5_load_36 | 48 | 0.00085792 | 0.00021502 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-194_0_5_load_76 | 49 | 0.0037142 | 0.00093087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-194_0_5_load_75 | 52 | 0.0031663 | 0.00079354 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-194_0_5_load_51 | 53 | 0.009491 | 0.0023787 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-194_0_5_load_91 | 54 | 0.0776 | 0.019448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-194_0_5_load_55 | 56 | 0.0036802 | 0.00092234 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-194_0_5_load_40 | 57 | 0.0039373 | 0.00098677 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-194_0_5_load_85 | 58 | 0.0067154 | 0.001683 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-194_0_5_load_86 | 59 | 0.0036381 | 0.00091178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-194_0_5_load_41 | 60 | 0.0055698 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-194_0_5_load_42 | 61 | 0.005034 | 0.0012616 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-194_0_5_load_43 | 62 | 0.0025167 | 0.00063074 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-194_0_5_load_45 | 63 | 0.0086231 | 0.0021612 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-194_0_5_load_81 | 65 | 0.0076212 | 0.0019101 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1061-194_0_5_load_80 | 66 | 0.0034112 | 0.00085492 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1061-194_0_5_load_87 | 67 | 0.0042647 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1061-194_0_5_load_74 | 68 | 0.0035999 | 0.00090221 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1061-194_0_5_load_67 | 70 | 0.0022967 | 0.00057561 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1061-194_0_5_load_61 | 72 | 0.00066916 | 0.00016771 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1061-194_0_5_load_90 | 74 | 0.002517 | 0.00063082 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1061-194_0_5_load_56 | 75 | 0.0017921 | 0.00044914 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1061-194_0_5_load_60 | 77 | 0.0034591 | 0.00086692 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1061-194_0_5_load_65 | 79 | 0.0037496 | 0.00093973 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1061-194_0_5_load_69 | 80 | 0.0022494 | 0.00056376 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1061-194_0_5_load_71 | 81 | 0.0016556 | 0.00041494 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1061-194_0_5_load_72 | 82 | 0.013389 | 0.0033555 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1061-194_0_5_load_77 | 83 | 0.00215 | 0.00053885 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1061-194_0_5_load_78 | 84 | 0.0041608 | 0.0010428 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1061-194_0_5_load_89 | 85 | 0.0196 | 0.0049122 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-194_0_5_line_0 |  | 0 | 1 | 0.0028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1061-194_0_5_line_1 |  | 0 | 2 | 0.0037422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1061-194_0_5_line_2 |  | 1 | 3 | 0.0065506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1061-194_0_5_line_3 |  | 2 | 4 | 0.0065537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1061-194_0_5_line_4 |  | 3 | 5 | 0.0049374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1061-194_0_5_line_5 |  | 4 | 6 | 0.0065504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1061-194_0_5_line_6 |  | 5 | 7 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1061-194_0_5_line_7 |  | 6 | 8 | 0.007661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1061-194_0_5_line_8 |  | 7 | 9 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1061-194_0_5_line_9 |  | 8 | 10 | 0.0059293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-194_0_5_line_10 |  | 9 | 69 | 0.0078231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1061-194_0_5_line_11 |  | 10 | 61 | 0.0045055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1061-194_0_5_line_12 |  | 11 | 12 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-194_0_5_line_13 |  | 11 | 13 | 0.01428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-194_0_5_line_14 |  | 13 | 14 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-194_0_5_line_15 |  | 14 | 15 | 0.071157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-194_0_5_line_16 |  | 14 | 16 | 0.0048102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-194_0_5_line_17 |  | 15 | 17 | 0.085847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-194_0_5_line_18 |  | 16 | 18 | 0.013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-194_0_5_line_19 |  | 18 | 19 | 0.014575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-194_0_5_line_20 |  | 19 | 78 | 0.0076268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-194_0_5_line_21 |  | 20 | 21 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-194_0_5_line_22 |  | 20 | 22 | 0.0051191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-194_0_5_line_23 |  | 22 | 23 | 0.025436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-194_0_5_line_24 |  | 23 | 24 | 0.029389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-194_0_5_line_25 |  | 24 | 25 | 0.0019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-194_0_5_line_26 |  | 25 | 29 | 0.0078742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-194_0_5_line_27 |  | 25 | 30 | 0.026418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-194_0_5_line_28 |  | 26 | 27 | 0.025852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1061-194_0_5_line_29 |  | 26 | 28 | 0.062864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1061-194_0_5_line_30 |  | 27 | 85 | 0.0025388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-194_0_5_line_31 |  | 28 | 71 | 0.048846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1061-194_0_5_line_32 |  | 29 | 57 | 0.022844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-194_0_5_line_33 |  | 30 | 36 | 0.00037449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-194_0_5_line_34 |  | 31 | 32 | 0.0069642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1061-194_0_5_line_35 |  | 31 | 33 | 0.0098354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1061-194_0_5_line_36 |  | 32 | 34 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1061-194_0_5_line_37 |  | 33 | 35 | 0.0099413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1061-194_0_5_line_38 |  | 34 | 36 | 0.0006927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-194_0_5_line_39 |  | 35 | 37 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1061-194_0_5_line_40 |  | 37 | 38 | 0.010781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1061-194_0_5_line_41 |  | 38 | 39 | 0.041561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1061-194_0_5_line_42 |  | 39 | 72 | 0.0060719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1061-194_0_5_line_43 |  | 40 | 41 | 0.023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-194_0_5_line_44 |  | 40 | 42 | 0.0061619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-194_0_5_line_45 |  | 41 | 43 | 0.0015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-194_0_5_line_46 |  | 42 | 44 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1061-194_0_5_line_47 |  | 42 | 45 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1061-194_0_5_line_48 |  | 43 | 46 | 0.0082732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-194_0_5_line_49 |  | 44 | 47 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1061-194_0_5_line_50 |  | 45 | 48 | 0.031022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1061-194_0_5_line_51 |  | 46 | 49 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-194_0_5_line_52 |  | 47 | 50 | 0.072292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1061-194_0_5_line_53 |  | 48 | 51 | 0.029398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1061-194_0_5_line_54 |  | 49 | 52 | 0.0016138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-194_0_5_line_55 |  | 50 | 54 | 0.048999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-194_0_5_line_56 |  | 51 | 53 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-194_0_5_line_57 |  | 51 | 55 | 0.19442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1061-194_0_5_line_58 |  | 52 | 83 | 0.024906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-194_0_5_line_59 |  | 55 | 56 | 0.038426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_1061-194_0_5_line_60 |  | 56 | 75 | 0.0036747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1061-194_0_5_line_61 |  | 57 | 58 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-194_0_5_line_62 |  | 58 | 59 | 0.029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-194_0_5_line_63 |  | 60 | 61 | 0.0012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1061-194_0_5_line_64 |  | 60 | 62 | 0.0023901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1061-194_0_5_line_65 |  | 62 | 63 | 0.0011481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_1061-194_0_5_line_66 |  | 63 | 64 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1061-194_0_5_line_67 |  | 64 | 65 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-194_0_5_line_68 |  | 64 | 66 | 0.013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_1061-194_0_5_line_69 |  | 65 | 67 | 0.0095512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-194_0_5_line_70 |  | 66 | 68 | 0.014374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1061-194_0_5_line_71 |  | 67 | 73 | 0.007454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-194_0_5_line_72 |  | 68 | 77 | 0.0052687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_1061-194_0_5_line_73 |  | 69 | 70 | 0.043137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-194_0_5_line_74 |  | 69 | 71 | 0.052544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_1061-194_0_5_line_75 |  | 70 | 80 | 0.022078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1061-194_0_5_line_76 |  | 71 | 79 | 0.027298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1061-194_0_5_line_77 |  | 72 | 76 | 0.0027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_1061-194_0_5_line_78 |  | 73 | 74 | 0.0080079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1061-194_0_5_line_79 |  | 75 | 76 | 0.027237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_1061-194_0_5_line_80 |  | 76 | 77 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_1061-194_0_5_line_81 |  | 78 | 79 | 0.0094957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1061-194_0_5_line_82 |  | 80 | 81 | 0.019775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1061-194_0_5_line_83 |  | 81 | 82 | 0.0095287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1061-194_0_5_line_84 |  | 83 | 84 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-194_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 86 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2665942.8745 | 1212924.8644 | 2665940.2528 | 1212923.8579
1 | 2665942.8745 | 1212924.8644 | 2665946.3681 | 1212926.2056
2 | 2665940.2528 | 1212923.8579 | 2665934.1374 | 1212921.5102
3 | 2665946.3681 | 1212926.2056 | 2665952.4864 | 1212928.5544
4 | 2665929.528 | 1212919.7407 | 2665934.1374 | 1212921.5102
5 | 2665958.6017 | 1212930.902 | 2665952.4864 | 1212928.5544
6 | 2665929.528 | 1212919.7407 | 2665912.4823 | 1212913.1969
7 | 2665965.7538 | 1212933.6477 | 2665965.7538 | 1212933.6477 | 2665958.6017 | 1212930.902
8 | 2665897.7773 | 1212909.3894 | 2665903.1918 | 1212909.6303 | 2665912.4823 | 1212913.1969
9 | 2665965.7538 | 1212933.6477 | 2665971.5916 | 1212934.6852
10 | 2665890.2942 | 1212911.489 | 2665896.8742 | 1212909.3492 | 2665897.7773 | 1212909.3894
11 | 2665976.0275 | 1212935.4735 | 2665976.0275 | 1212935.4735 | 2665971.5916 | 1212934.6852
12 | 2665929.4346 | 1213043.893 | 2665939.6592 | 1213053.7114
13 | 2665929.4346 | 1213043.893 | 2665919.1342 | 1213034.0018
14 | 2665906.9452 | 1213022.2971 | 2665919.1342 | 1213034.0018
15 | 2665839.7562 | 1213002.5207 | 2665855.8193 | 1213002.2312 | 2665881.0996 | 1213015.5074 | 2665906.9452 | 1213022.2971
16 | 2665906.9452 | 1213022.2971 | 2665904.1474 | 1213018.3843
17 | 2665839.7562 | 1213002.5207 | 2665832.5893 | 1212997.9722 | 2665797.4824 | 1212978.8286 | 2665780.0242 | 1212965.7724 | 2665770.2451 | 1212953.6556
18 | 2665896.4121 | 1213007.5663 | 2665904.1474 | 1213018.3843
19 | 2665896.4121 | 1213007.5663 | 2665887.9349 | 1212995.7107
20 | 2665883.4988 | 1212989.5067 | 2665887.9349 | 1212995.7107
21 | 2665849.1755 | 1212765.6986 | 2665826.1277 | 1212748.7952
22 | 2665849.1755 | 1212765.6986 | 2665853.3035 | 1212768.7261
23 | 2665853.3035 | 1212768.7261 | 2665856.1193 | 1212770.7912 | 2665874.2877 | 1212783.0984
24 | 2665898.6195 | 1212799.5806 | 2665874.2877 | 1212783.0984
25 | 2665900.2178 | 1212800.6633 | 2665898.6195 | 1212799.5806
26 | 2665900.2178 | 1212800.6633 | 2665897.9745 | 1212793.1154
27 | 2665900.2178 | 1212800.6633 | 2665922.2845 | 1212815.1882
28 | 2665772.7307 | 1212896.2601 | 2665787.8523 | 1212875.2916
29 | 2665772.7307 | 1212896.2601 | 2665825.333 | 1212930.6826
30 | 2665790.018 | 1212876.6163 | 2665787.8523 | 1212875.2916
31 | 2665866.2055 | 1212957.4292 | 2665825.333 | 1212930.6826
32 | 2665897.9745 | 1212793.1154 | 2665894.6583 | 1212781.957 | 2665894.1639 | 1212772.3789 | 2665894.4575 | 1212770.793
33 | 2665922.5973 | 1212815.3941 | 2665922.2845 | 1212815.1882
34 | 2665950.5516 | 1212833.7687 | 2665946.6708 | 1212831.24 | 2665944.7227 | 1212829.9577
35 | 2665950.5516 | 1212833.7687 | 2665958.7921 | 1212839.1379
36 | 2665923.1759 | 1212815.775 | 2665944.7227 | 1212829.9577
37 | 2665967.1213 | 1212844.565 | 2665958.7921 | 1212839.1379
38 | 2665923.1759 | 1212815.775 | 2665922.5973 | 1212815.3941
39 | 2665967.1213 | 1212844.565 | 2665980.5243 | 1212853.2981
40 | 2665980.5243 | 1212853.2981 | 2665989.5573 | 1212859.1838
41 | 2666024.3788 | 1212881.8725 | 2665989.5573 | 1212859.1838
42 | 2666029.4661 | 1212885.1873 | 2666024.3788 | 1212881.8725
43 | 2665978.1424 | 1212752.8499 | 2665991.0566 | 1212761.621 | 2665997.5861 | 1212766.8006
44 | 2666002.4135 | 1212770.63 | 2665997.5861 | 1212766.8006
45 | 2665978.1424 | 1212752.8499 | 2665976.8868 | 1212751.9971
46 | 2666002.4135 | 1212770.63 | 2666012.0942 | 1212759.0707
47 | 2666002.4135 | 1212770.63 | 2666006.6009 | 1212773.945 | 2666014.2061 | 1212781.2974
48 | 2665970.0429 | 1212747.3489 | 2665976.8868 | 1212751.9971
49 | 2666023.7707 | 1212745.1283 | 2666012.0942 | 1212759.0707
50 | 2666014.2061 | 1212781.2974 | 2666033.1952 | 1212799.6552 | 2666036.8333 | 1212802.4862
51 | 2665970.0429 | 1212747.3489 | 2665957.1792 | 1212738.612
52 | 2666056.8067 | 1212692.05 | 2666023.8308 | 1212730.7756 | 2666019.8267 | 1212730.8091 | 2666017.4229 | 1212733.1395 | 2666017.7773 | 1212737.5017 | 2666023.7707 | 1212745.1283
53 | 2666055.9221 | 1212789.0336 | 2666056.4597 | 1212791.9413 | 2666054.9322 | 1212796.783 | 2666051.8374 | 1212801.1403 | 2666047.9182 | 1212803.7986 | 2666042.0289 | 1212803.9334 | 2666036.8333 | 1212802.4862 | 2666036.8333 | 1212802.4862
54 | 2665955.8442 | 1212737.7053 | 2665957.1792 | 1212738.612
55 | 2666056.8067 | 1212692.05 | 2666010.3504 | 1212676.4703
56 | 2666055.9221 | 1212789.0336 | 2666055.3059 | 1212785.6802 | 2666052.9928 | 1212781.8856 | 2666046.3271 | 1212773.562
57 | 2666055.9221 | 1212789.0336 | 2666058.5839 | 1212786.7283 | 2666064.1769 | 1212790.7149 | 2666077.7013 | 1212800.871 | 2666085.3036 | 1212806.581 | 2666086.9723 | 1212809.568 | 2666097.842 | 1212817.9602 | 2666094.2826 | 1212823.1129 | 2666091.2054 | 1212827.248 | 2666096.9706 | 1212831.4589 | 2666100.5956 | 1212834.1007 | 2666103.9278 | 1212836.4169 | 2666112.4395 | 1212842.326 | 2666131.6856 | 1212857.8489 | 2666131.3481 | 1212861.5697 | 2666130.0689 | 1212866.6253 | 2666127.519 | 1212876.6477 | 2666121.9632 | 1212888.5046 | 2666120.2824 | 1212892.0993 | 2666114.3844 | 1212900.5614 | 2666102.9153 | 1212912.664 | 2666091.3093 | 1212922.0523
58 | 2665955.8442 | 1212737.7053 | 2665935.241 | 1212723.7119
59 | 2666091.3093 | 1212922.0523 | 2666066.7222 | 1212909.3054 | 2666057.7128 | 1212903.4756
60 | 2666057.7128 | 1212903.4756 | 2666054.6277 | 1212901.4793
61 | 2665896.9333 | 1212760.3354 | 2665895.8606 | 1212763.2142 | 2665894.4575 | 1212770.793
62 | 2665884.1693 | 1212739.7595 | 2665880.3742 | 1212747.0109 | 2665881.5669 | 1212749.7592 | 2665896.9333 | 1212760.3354
63 | 2665976.0275 | 1212935.4735 | 2665977.2913 | 1212935.4262
64 | 2665979.6798 | 1212935.3368 | 2665977.2913 | 1212935.4262
65 | 2665979.6798 | 1212935.3368 | 2665980.8271 | 1212935.2938
66 | 2666002.7904 | 1212929.4325 | 2665994.7971 | 1212932.9685 | 2665985.1934 | 1212935.1303 | 2665980.8271 | 1212935.2938
67 | 2666002.7904 | 1212929.4325 | 2666015.8318 | 1212942.3712
68 | 2666002.7904 | 1212929.4325 | 2666010.8983 | 1212918.6534
69 | 2666015.8318 | 1212942.3712 | 2666022.6122 | 1212949.0982
70 | 2666019.1923 | 1212906.9287 | 2666016.7156 | 1212910.9196 | 2666010.8983 | 1212918.6534
71 | 2666027.9037 | 1212954.348 | 2666022.6122 | 1212949.0982
72 | 2666019.1923 | 1212906.9287 | 2666021.9705 | 1212902.452
73 | 2665890.2942 | 1212911.489 | 2665855.9411 | 1212885.3988
74 | 2665866.2055 | 1212957.4292 | 2665867.3755 | 1212951.2272 | 2665871.0495 | 1212941.1837 | 2665876.215 | 1212930.9122 | 2665877.7762 | 1212927.8164 | 2665890.2942 | 1212911.489
75 | 2665838.3592 | 1212872.0458 | 2665855.9411 | 1212885.3988
76 | 2665866.2055 | 1212957.4292 | 2665865.9713 | 1212958.683 | 2665874.2283 | 1212975.2733 | 2665878.3164 | 1212981.5499
77 | 2666031.7603 | 1212886.6821 | 2666029.4661 | 1212885.1873
78 | 2666027.9037 | 1212954.348 | 2666032.2762 | 1212961.0569
79 | 2666031.7603 | 1212886.6821 | 2666054.6277 | 1212901.4793
80 | 2666031.7603 | 1212886.6821 | 2666028.4884 | 1212891.9492 | 2666021.9705 | 1212902.452
81 | 2665883.4988 | 1212989.5067 | 2665878.3164 | 1212981.5499
82 | 2665838.3592 | 1212872.0458 | 2665822.6114 | 1212860.0858
83 | 2665815.0231 | 1212854.3227 | 2665822.6114 | 1212860.0858
84 | 2665919.7158 | 1212713.1675 | 2665935.241 | 1212723.7119

## bus_geodata
| x | y | coords
0 | 2665942.8745 | 1212924.8644
1 | 2665940.2528 | 1212923.8579
2 | 2665946.3681 | 1212926.2056
3 | 2665934.1374 | 1212921.5102
4 | 2665952.4864 | 1212928.5544
5 | 2665929.528 | 1212919.7407
6 | 2665958.6017 | 1212930.902
7 | 2665912.4823 | 1212913.1969
8 | 2665965.7538 | 1212933.6477
9 | 2665897.7773 | 1212909.3894
10 | 2665971.5916 | 1212934.6852
11 | 2665929.4346 | 1213043.893
12 | 2665939.6592 | 1213053.7114
13 | 2665919.1342 | 1213034.0018
14 | 2665906.9452 | 1213022.2971
15 | 2665839.7562 | 1213002.5207
16 | 2665904.1474 | 1213018.3843
17 | 2665770.2451 | 1212953.6556
18 | 2665896.4121 | 1213007.5663
19 | 2665887.9349 | 1212995.7107
20 | 2665849.1755 | 1212765.6986
21 | 2665826.1277 | 1212748.7952
22 | 2665853.3035 | 1212768.7261
23 | 2665874.2877 | 1212783.0984
24 | 2665898.6195 | 1212799.5806
25 | 2665900.2178 | 1212800.6633
26 | 2665772.7307 | 1212896.2601
27 | 2665787.8523 | 1212875.2916
28 | 2665825.333 | 1212930.6826
29 | 2665897.9745 | 1212793.1154
30 | 2665922.2845 | 1212815.1882
31 | 2665950.5516 | 1212833.7687
32 | 2665944.7227 | 1212829.9577
33 | 2665958.7921 | 1212839.1379
34 | 2665923.1759 | 1212815.775
35 | 2665967.1213 | 1212844.565
36 | 2665922.5973 | 1212815.3941
37 | 2665980.5243 | 1212853.2981
38 | 2665989.5573 | 1212859.1838
39 | 2666024.3788 | 1212881.8725
40 | 2665997.5861 | 1212766.8006
41 | 2665978.1424 | 1212752.8499
42 | 2666002.4135 | 1212770.63
43 | 2665976.8868 | 1212751.9971
44 | 2666012.0942 | 1212759.0707
45 | 2666014.2061 | 1212781.2974
46 | 2665970.0429 | 1212747.3489
47 | 2666023.7707 | 1212745.1283
48 | 2666036.8333 | 1212802.4862
49 | 2665957.1792 | 1212738.612
50 | 2666056.8067 | 1212692.05
51 | 2666055.9221 | 1212789.0336
52 | 2665955.8442 | 1212737.7053
53 | 2666046.3271 | 1212773.562
54 | 2666010.3504 | 1212676.4703
55 | 2666091.3093 | 1212922.0523
56 | 2666057.7128 | 1212903.4756
57 | 2665894.4575 | 1212770.793
58 | 2665896.9333 | 1212760.3354
59 | 2665884.1693 | 1212739.7595
60 | 2665977.2913 | 1212935.4262
61 | 2665976.0275 | 1212935.4735
62 | 2665979.6798 | 1212935.3368
63 | 2665980.8271 | 1212935.2938
64 | 2666002.7904 | 1212929.4325
65 | 2666015.8318 | 1212942.3712
66 | 2666010.8983 | 1212918.6534
67 | 2666022.6122 | 1212949.0982
68 | 2666019.1923 | 1212906.9287
69 | 2665890.2942 | 1212911.489
70 | 2665855.9411 | 1212885.3988
71 | 2665866.2055 | 1212957.4292
72 | 2666029.4661 | 1212885.1873
73 | 2666027.9037 | 1212954.348
74 | 2666032.2762 | 1212961.0569
75 | 2666054.6277 | 1212901.4793
76 | 2666031.7603 | 1212886.6821
77 | 2666021.9705 | 1212902.452
78 | 2665883.4988 | 1212989.5067
79 | 2665878.3164 | 1212981.5499
80 | 2665838.3592 | 1212872.0458
81 | 2665822.6114 | 1212860.0858
82 | 2665815.0231 | 1212854.3227
83 | 2665935.241 | 1212723.7119
84 | 2665919.7158 | 1212713.1675
85 | 2665790.018 | 1212876.6163
86 | 2665923.1759 | 1212815.775

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98001 | -0.38223 | 0.0074408 | 0.0018648
1 | 0.97987 | -0.385 | 0.002399 | 0.00060125
2 | 0.98021 | -0.37842 | 0.0024007 | 0.00060167
3 | 0.97954 | -0.3914 | 0.002399 | 0.00060125
4 | 0.98056 | -0.37166 | 0.0024007 | 0.00060167
5 | 0.9793 | -0.39617 | 0.0080599 | 0.00202
6 | 0.98091 | -0.36485 | 0.002399 | 0.00060125
7 | 0.97843 | -0.41316 | 0.010091 | 0.0025291
8 | 0.98132 | -0.3568 | 0.0049884 | 0.0012502
9 | 0.97773 | -0.42677 | 0.0024203 | 0.00060658
10 | 0.98165 | -0.35044 | 0.0025167 | 0.00063074
11 | 0.9737 | -0.5061 | 0.0026223 | 0.00065721
12 | 0.97367 | -0.50662 | 0.0019894 | 0.0004986
13 | 0.97376 | -0.50489 | 0.002231 | 0.00055913
14 | 0.97387 | -0.50276 | 0 | 0
15 | 0.97375 | -0.50517 | 0 | 0
16 | 0.97391 | -0.50199 | 0.0034435 | 0.00086303
17 | 0.9736 | -0.50806 | 0.0018345 | 0.00045978
18 | 0.97406 | -0.49903 | 0.0036249 | 0.00090848
19 | 0.97427 | -0.49481 | 0.006199 | 0.0015536
20 | 0.99691 | -0.059492 | 0.0054455 | 0.0013648
21 | 0.99662 | -0.064961 | 0.010907 | 0.0027335
22 | 0.99698 | -0.058024 | 0.0065958 | 0.0016531
23 | 0.99751 | -0.047794 | 0.01102 | 0.0027619
24 | 0.99842 | -0.030322 | 0.0070114 | 0.0017572
25 | 0.99849 | -0.028939 | 0 | 0
26 | 0.97279 | -0.52404 | 0 | 0
27 | 0.97234 | -0.53288 | 0.03605 | 0.009035
28 | 0.9736 | -0.50795 | 0.091098 | 0.022831
29 | 0.99836 | -0.031492 | 0.0042537 | 0.0010661
30 | 0.99992 | -0.0014847 | 0.016834 | 0.004219
31 | 0.99652 | -0.065509 | 0.0065715 | 0.001647
32 | 0.99725 | -0.051661 | 0.0048408 | 0.0012132
33 | 0.9955 | -0.084817 | 0.0092889 | 0.002328
34 | 1 | 0 | -0.55135 | -0.14153
35 | 0.99449 | -0.10397 | 0.0037736 | 0.00094575
36 | 0.99995 | -0.00098624 | 0.0053191 | 0.0013331
37 | 0.99287 | -0.13459 | 0.0076201 | 0.0019098
38 | 0.9918 | -0.15493 | 0.01154 | 0.0028922
39 | 0.9878 | -0.23159 | 0.0014707 | 0.00036859
40 | 0.97741 | -0.43303 | 0.0046167 | 0.0011571
41 | 0.97698 | -0.44131 | 0.0020292 | 0.00050858
42 | 0.97754 | -0.43038 | 0 | 0
43 | 0.97696 | -0.44178 | 0.0019643 | 0.00049229
44 | 0.97725 | -0.436 | 0.0040985 | 0.0010272
45 | 0.97793 | -0.42274 | 0.0051822 | 0.0012988
46 | 0.97685 | -0.44404 | 0.0017714 | 0.00044394
47 | 0.97692 | -0.44244 | 0 | 0
48 | 0.97873 | -0.40714 | 0.00085792 | 0.00021502
49 | 0.97665 | -0.44779 | 0.0037142 | 0.00093087
50 | 0.97562 | -0.46809 | 0 | 0
51 | 0.97949 | -0.39226 | 0 | 0
52 | 0.97664 | -0.44807 | 0.0031663 | 0.00079354
53 | 0.97933 | -0.39545 | 0.009491 | 0.0023787
54 | 0.97207 | -0.53797 | 0.0776 | 0.019448
55 | 0.98496 | -0.28614 | 0 | 0
56 | 0.98604 | -0.26531 | 0.0036802 | 0.00092234
57 | 0.99806 | -0.037203 | 0.0039373 | 0.00098677
58 | 0.99796 | -0.039157 | 0.0067154 | 0.001683
59 | 0.99786 | -0.041057 | 0.0036381 | 0.00091178
60 | 0.98197 | -0.34416 | 0.0055698 | 0.0013959
61 | 0.9819 | -0.34556 | 0.005034 | 0.0012616
62 | 0.98211 | -0.34146 | 0.0025167 | 0.00063074
63 | 0.98218 | -0.34015 | 0.0086231 | 0.0021612
64 | 0.98357 | -0.31309 | 0 | 0
65 | 0.98333 | -0.31786 | 0.0076212 | 0.0019101
66 | 0.98444 | -0.29635 | 0.0034112 | 0.00085492
67 | 0.98327 | -0.31903 | 0.0042647 | 0.0010688
68 | 0.98537 | -0.27833 | 0.0035999 | 0.00090221
69 | 0.97738 | -0.43362 | 0 | 0
70 | 0.9766 | -0.44906 | 0.0022967 | 0.00057561
71 | 0.97527 | -0.47505 | 0 | 0
72 | 0.98721 | -0.2428 | 0.00066916 | 0.00016771
73 | 0.98325 | -0.31937 | 0 | 0
74 | 0.98323 | -0.31973 | 0.002517 | 0.00063082
75 | 0.98615 | -0.26326 | 0.0017921 | 0.00044914
76 | 0.98695 | -0.24785 | 0 | 0
77 | 0.98571 | -0.27165 | 0.0034591 | 0.00086692
78 | 0.97443 | -0.49174 | 0 | 0
79 | 0.97462 | -0.48792 | 0.0037496 | 0.00093973
80 | 0.97624 | -0.45604 | 0.0022494 | 0.00056376
81 | 0.97597 | -0.46148 | 0.0016556 | 0.00041494
82 | 0.97585 | -0.46381 | 0.013389 | 0.0033555
83 | 0.97649 | -0.45094 | 0.00215 | 0.00053885
84 | 0.97642 | -0.45237 | 0.0041608 | 0.0010428
85 | 0.97229 | -0.5338 | 0.0196 | 0.0049122
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.2186 | 0.055235 | -0.21857 | -0.055217 | 2.9032e-05 | 1.8439e-05 | 0.33207 | 0.33207 | 0.33207 | 0.98001 | -0.38223 | 0.97987 | -0.385 | 22.8072
1 | -0.22604 | -0.0571 | 0.22608 | 0.057127 | 4.1364e-05 | 2.6284e-05 | 0.34337 | 0.34337 | 0.34337 | 0.98001 | -0.38223 | 0.98021 | -0.37842 | 23.5832
2 | 0.21617 | 0.054616 | -0.2161 | -0.054574 | 6.6243e-05 | 4.2066e-05 | 0.32843 | 0.32843 | 0.32843 | 0.97987 | -0.385 | 0.97954 | -0.3914 | 22.557
3 | -0.22848 | -0.057728 | 0.22856 | 0.057775 | 7.3987e-05 | 4.7021e-05 | 0.34702 | 0.34702 | 0.34702 | 0.98021 | -0.37842 | 0.98056 | -0.37166 | 23.8335
4 | 0.21371 | 0.053972 | -0.21366 | -0.053941 | 4.8828e-05 | 3.1001e-05 | 0.32479 | 0.32479 | 0.32479 | 0.97954 | -0.3914 | 0.9793 | -0.39617 | 22.3068
5 | -0.23096 | -0.058377 | 0.23103 | 0.058425 | 7.5511e-05 | 4.7996e-05 | 0.35066 | 0.35066 | 0.35066 | 0.98056 | -0.37166 | 0.98091 | -0.36485 | 24.0837
6 | 0.2056 | 0.051921 | -0.20543 | -0.051815 | 0.0001672 | 0.00010609 | 0.31254 | 0.31254 | 0.31254 | 0.9793 | -0.39617 | 0.97843 | -0.41316 | 21.4657
7 | -0.23343 | -0.059026 | 0.23352 | 0.059083 | 9.0156e-05 | 5.7313e-05 | 0.3543 | 0.3543 | 0.3543 | 0.98091 | -0.36485 | 0.98132 | -0.3568 | 24.3336
8 | 0.19534 | 0.049286 | -0.19521 | -0.049206 | 0.00012728 | 8.0688e-05 | 0.29719 | 0.29719 | 0.29719 | 0.97843 | -0.41316 | 0.97773 | -0.42677 | 20.4116
9 | -0.23851 | -0.060334 | 0.23858 | 0.06038 | 7.2788e-05 | 4.6284e-05 | 0.36186 | 0.36186 | 0.36186 | 0.98132 | -0.3568 | 0.98165 | -0.35044 | 24.8531
10 | 0.19279 | 0.048599 | -0.19273 | -0.048559 | 6.3183e-05 | 4.0045e-05 | 0.29351 | 0.29351 | 0.29351 | 0.97773 | -0.42677 | 0.97738 | -0.43362 | 20.1586
11 | -0.2411 | -0.061011 | 0.24116 | 0.061047 | 5.6481e-05 | 3.592e-05 | 0.36568 | 0.36568 | 0.36568 | 0.98165 | -0.35044 | 0.9819 | -0.34556 | 25.1151
12 | 0.0019895 | 0.00049845 | -0.0019894 | -0.0004986 | 4.9136e-08 | -1.4487e-07 | 0.0030403 | 0.0030403 | 0.0030403 | 0.9737 | -0.5061 | 0.97367 | -0.50662 | 0.83526
13 | -0.0046118 | -0.0011557 | 0.004612 | 0.0011557 | 2.6599e-07 | -7.4018e-09 | 0.0070477 | 0.0070476 | 0.0070477 | 0.9737 | -0.5061 | 0.97376 | -0.50489 | 1.9362
14 | -0.006843 | -0.0017148 | 0.0068437 | 0.001715 | 6.9292e-07 | 2.3323e-07 | 0.010457 | 0.010457 | 0.010457 | 0.97376 | -0.50489 | 0.97387 | -0.50276 | 2.8728
15 | 0.001835 | 0.00045812 | -0.0018348 | -0.00045887 | 2.097e-07 | -7.5106e-07 | 0.0028031 | 0.0028035 | 0.0028035 | 0.97387 | -0.50276 | 0.97375 | -0.50517 | 0.77018
16 | -0.0086787 | -0.0021731 | 0.008679 | 0.0021733 | 3.1715e-07 | 1.4312e-07 | 0.01326 | 0.01326 | 0.01326 | 0.97387 | -0.50276 | 0.97391 | -0.50199 | 3.6428
17 | 0.0018348 | 0.00045887 | -0.0018345 | -0.00045978 | 2.5305e-07 | -9.0577e-07 | 0.0028035 | 0.0028038 | 0.0028038 | 0.97375 | -0.50517 | 0.9736 | -0.50806 | 0.77029
18 | -0.012123 | -0.0030363 | 0.012124 | 0.0030372 | 1.7107e-06 | 9.2937e-07 | 0.018521 | 0.018521 | 0.018521 | 0.97391 | -0.50199 | 0.97406 | -0.49903 | 5.0882
19 | -0.015749 | -0.0039457 | 0.015752 | 0.0039476 | 3.1635e-06 | 1.8432e-06 | 0.024059 | 0.024059 | 0.024059 | 0.97406 | -0.49903 | 0.97427 | -0.49481 | 6.6095
20 | -0.021951 | -0.0055012 | 0.021955 | 0.0055031 | 3.2147e-06 | 1.9624e-06 | 0.033526 | 0.033526 | 0.033526 | 0.97427 | -0.49481 | 0.97443 | -0.49174 | 9.2105
21 | 0.01091 | 0.0027349 | -0.010907 | -0.0027335 | 2.8422e-06 | 1.4465e-06 | 0.016284 | 0.016284 | 0.016284 | 0.99691 | -0.059492 | 0.99662 | -0.064961 | 4.4737
22 | -0.016355 | -0.0040997 | 0.016356 | 0.0041004 | 1.1441e-06 | 6.6544e-07 | 0.024412 | 0.024412 | 0.024412 | 0.99691 | -0.059492 | 0.99698 | -0.058024 | 6.7067
23 | -0.022952 | -0.0057534 | 0.022963 | 0.0057603 | 1.1194e-05 | 6.8321e-06 | 0.034257 | 0.034257 | 0.034257 | 0.99698 | -0.058024 | 0.99751 | -0.047794 | 9.4112
24 | -0.033983 | -0.0085221 | 0.034011 | 0.0085399 | 2.8324e-05 | 1.7743e-05 | 0.050695 | 0.050695 | 0.050695 | 0.99751 | -0.047794 | 0.99842 | -0.030322 | 13.9273
25 | -0.041023 | -0.010297 | 0.041026 | 0.010299 | 2.7066e-06 | 1.707e-06 | 0.061145 | 0.061145 | 0.061145 | 0.99842 | -0.030322 | 0.99849 | -0.028939 | 16.798
26 | 0.018552 | 0.0046515 | -0.01855 | -0.0046502 | 2.2572e-06 | 1.3416e-06 | 0.027648 | 0.027648 | 0.027648 | 0.99849 | -0.028939 | 0.99836 | -0.031492 | 7.5956
27 | -0.059578 | -0.01495 | 0.059656 | 0.015 | 7.8106e-05 | 4.9642e-05 | 0.088793 | 0.088793 | 0.088793 | 0.99849 | -0.028939 | 0.99992 | -0.0014847 | 24.3936
28 | 0.055674 | 0.013962 | -0.055651 | -0.013948 | 2.3439e-05 | 1.4038e-05 | 0.085165 | 0.085165 | 0.085165 | 0.97279 | -0.52404 | 0.97234 | -0.53288 | 7.799
29 | -0.055674 | -0.013962 | 0.055717 | 0.013986 | 4.2745e-05 | 2.4233e-05 | 0.085165 | 0.085164 | 0.085165 | 0.97279 | -0.52404 | 0.9736 | -0.50795 | 5.8492
30 | 0.019601 | 0.0049127 | -0.0196 | -0.0049122 | 8.566e-07 | 5.1673e-07 | 0.029996 | 0.029996 | 0.029996 | 0.97234 | -0.53288 | 0.97229 | -0.5338 | 8.2406
31 | -0.14681 | -0.036817 | 0.14705 | 0.036962 | 0.00023058 | 0.00014514 | 0.22439 | 0.22439 | 0.22439 | 0.9736 | -0.50795 | 0.97527 | -0.47505 | 15.4116
32 | 0.014296 | 0.0035841 | -0.014292 | -0.0035819 | 3.8895e-06 | 2.1907e-06 | 0.021308 | 0.021308 | 0.021308 | 0.99836 | -0.031492 | 0.99806 | -0.037203 | 5.8539
33 | -0.07649 | -0.019219 | 0.076492 | 0.01922 | 1.8201e-06 | 1.1599e-06 | 0.11384 | 0.11384 | 0.11384 | 0.99992 | -0.0014847 | 0.99995 | -0.00098624 | 31.2758
34 | -0.46156 | -0.11881 | 0.46187 | 0.11901 | 0.00031114 | 0.00019877 | 0.69033 | 0.69033 | 0.69033 | 0.99652 | -0.065509 | 0.99725 | -0.051661 | 47.4126
35 | 0.45499 | 0.11717 | -0.45456 | -0.11689 | 0.00042701 | 0.00027277 | 0.68051 | 0.68051 | 0.68051 | 0.99652 | -0.065509 | 0.9955 | -0.084817 | 46.7387
36 | -0.46671 | -0.12023 | 0.46789 | 0.12098 | 0.0011767 | 0.00075174 | 0.69755 | 0.69755 | 0.69755 | 0.99725 | -0.051661 | 1 | 0 | 47.9086
37 | 0.44527 | 0.11457 | -0.44486 | -0.1143 | 0.00041418 | 0.00026456 | 0.66663 | 0.66663 | 0.66663 | 0.9955 | -0.084817 | 0.99449 | -0.10397 | 45.7851
38 | 0.081815 | 0.020556 | -0.081811 | -0.020553 | 3.8511e-06 | 2.4556e-06 | 0.12176 | 0.12176 | 0.12176 | 1 | 0 | 0.99995 | -0.00098624 | 33.4504
39 | 0.44109 | 0.11336 | -0.44043 | -0.11294 | 0.00065523 | 0.00041852 | 0.66098 | 0.66098 | 0.66098 | 0.99449 | -0.10397 | 0.99287 | -0.13459 | 45.3973
40 | 0.43281 | 0.11103 | -0.43238 | -0.11075 | 0.00042647 | 0.00027238 | 0.64956 | 0.64957 | 0.64957 | 0.99287 | -0.13459 | 0.9918 | -0.15493 | 44.613
41 | 0.42084 | 0.10786 | -0.41929 | -0.10687 | 0.0015575 | 0.00099468 | 0.63225 | 0.63225 | 0.63225 | 0.9918 | -0.15493 | 0.9878 | -0.23159 | 43.4239
42 | 0.41782 | 0.1065 | -0.41759 | -0.10635 | 0.00022596 | 0.0001443 | 0.63004 | 0.63004 | 0.63004 | 0.9878 | -0.23159 | 0.98721 | -0.2428 | 43.2718
43 | 0.018969 | 0.0047581 | -0.018962 | -0.0047536 | 7.4898e-06 | 4.4935e-06 | 0.028881 | 0.028881 | 0.028881 | 0.97741 | -0.43303 | 0.97698 | -0.44131 | 7.9342
44 | -0.023586 | -0.0059151 | 0.023589 | 0.005917 | 2.9796e-06 | 1.8297e-06 | 0.035909 | 0.035909 | 0.035909 | 0.97741 | -0.43303 | 0.97754 | -0.43038 | 9.8651
45 | 0.016933 | 0.004245 | -0.016932 | -0.0042448 | 3.7857e-07 | 2.2328e-07 | 0.02579 | 0.02579 | 0.02579 | 0.97698 | -0.44131 | 0.97696 | -0.44178 | 7.0852
46 | 0.0821 | 0.020726 | -0.082078 | -0.020713 | 2.2096e-05 | 1.3385e-05 | 0.12503 | 0.12503 | 0.12503 | 0.97754 | -0.43038 | 0.97725 | -0.436 | 8.587
47 | -0.10569 | -0.026643 | 0.10573 | 0.026667 | 3.8653e-05 | 2.394e-05 | 0.16094 | 0.16094 | 0.16094 | 0.97754 | -0.43038 | 0.97793 | -0.42274 | 11.0533
48 | 0.014968 | 0.0037525 | -0.014966 | -0.0037516 | 1.6125e-06 | 9.2843e-07 | 0.022798 | 0.022798 | 0.022798 | 0.97696 | -0.44178 | 0.97685 | -0.44404 | 6.2632
49 | 0.077979 | 0.019686 | -0.077955 | -0.019671 | 2.4057e-05 | 1.4485e-05 | 0.11879 | 0.11879 | 0.11879 | 0.97725 | -0.436 | 0.97692 | -0.44244 | 8.1584
50 | -0.11091 | -0.027966 | 0.11099 | 0.028018 | 8.2887e-05 | 5.149e-05 | 0.16882 | 0.16882 | 0.16882 | 0.97793 | -0.42274 | 0.97873 | -0.40714 | 11.5948
51 | 0.013195 | 0.0033076 | -0.013193 | -0.0033063 | 2.3559e-06 | 1.3131e-06 | 0.0201 | 0.0201 | 0.0201 | 0.97685 | -0.44404 | 0.97665 | -0.44779 | 5.522
52 | 0.077955 | 0.019671 | -0.077859 | -0.019614 | 9.5632e-05 | 5.7588e-05 | 0.11879 | 0.11879 | 0.11879 | 0.97692 | -0.44244 | 0.97562 | -0.46809 | 8.1585
53 | -0.11185 | -0.028233 | 0.11193 | 0.028282 | 7.9768e-05 | 4.9572e-05 | 0.17012 | 0.17012 | 0.17012 | 0.97873 | -0.40714 | 0.97949 | -0.39226 | 11.6844
54 | 0.0094784 | 0.0023754 | -0.0094783 | -0.0023754 | 1.2621e-07 | 6.0579e-08 | 0.014441 | 0.014441 | 0.014441 | 0.97665 | -0.44779 | 0.97664 | -0.44807 | 3.9673
55 | 0.077859 | 0.019614 | -0.0776 | -0.019448 | 0.00025928 | 0.00016533 | 0.11879 | 0.11879 | 0.11879 | 0.97562 | -0.46809 | 0.97207 | -0.53797 | 32.6341
56 | 0.0094925 | 0.0023794 | -0.009491 | -0.0023787 | 1.4441e-06 | 6.9118e-07 | 0.014421 | 0.014421 | 0.014421 | 0.97949 | -0.39226 | 0.97933 | -0.39545 | 3.9618
57 | -0.12142 | -0.030662 | 0.12204 | 0.031049 | 0.00062075 | 0.00038744 | 0.18454 | 0.18454 | 0.18454 | 0.97949 | -0.39226 | 0.98496 | -0.28614 | 12.6748
58 | 0.006312 | 0.0015818 | -0.0063111 | -0.0015816 | 8.6381e-07 | 2.4122e-07 | 0.009617 | 0.0096171 | 0.0096171 | 0.97664 | -0.44807 | 0.97649 | -0.45094 | 2.6421
59 | -0.12204 | -0.031049 | 0.12217 | 0.031126 | 0.00012268 | 7.6558e-05 | 0.18454 | 0.18454 | 0.18454 | 0.98496 | -0.28614 | 0.98604 | -0.26531 | 12.6745
60 | -0.12585 | -0.032048 | 0.12586 | 0.032056 | 1.2449e-05 | 7.7798e-06 | 0.19009 | 0.19009 | 0.19009 | 0.98604 | -0.26531 | 0.98615 | -0.26326 | 13.0559
61 | 0.010355 | 0.0025951 | -0.010354 | -0.0025947 | 9.6343e-07 | 4.7574e-07 | 0.015438 | 0.015438 | 0.015438 | 0.99806 | -0.037203 | 0.99796 | -0.039157 | 4.2412
62 | 0.0036384 | 0.00091161 | -0.0036381 | -0.00091178 | 3.2927e-07 | -1.7904e-07 | 0.0054249 | 0.0054251 | 0.0054251 | 0.99796 | -0.039157 | 0.99786 | -0.041057 | 1.4904
63 | 0.24621 | 0.062319 | -0.24619 | -0.062308 | 1.6522e-05 | 1.051e-05 | 0.37331 | 0.37331 | 0.37331 | 0.98197 | -0.34416 | 0.9819 | -0.34556 | 25.6391
64 | -0.25178 | -0.063715 | 0.25181 | 0.063735 | 3.2655e-05 | 2.0778e-05 | 0.38175 | 0.38175 | 0.38175 | 0.98197 | -0.34416 | 0.98211 | -0.34146 | 26.2188
65 | -0.25432 | -0.064366 | 0.25434 | 0.064376 | 1.6e-05 | 1.0182e-05 | 0.38556 | 0.38556 | 0.38556 | 0.98211 | -0.34146 | 0.98218 | -0.34015 | 26.4807
66 | -0.26296 | -0.066538 | 0.26331 | 0.066755 | 0.00034194 | 0.00021768 | 0.39862 | 0.39862 | 0.39862 | 0.98218 | -0.34015 | 0.98357 | -0.31309 | 27.3779
67 | 0.014407 | 0.0036116 | -0.014403 | -0.0036097 | 3.2727e-06 | 1.8614e-06 | 0.021796 | 0.021796 | 0.021796 | 0.98357 | -0.31309 | 0.98333 | -0.31786 | 5.9879
68 | -0.27771 | -0.070367 | 0.27794 | 0.070509 | 0.0002235 | 0.00014236 | 0.42042 | 0.42042 | 0.42042 | 0.98357 | -0.31309 | 0.98444 | -0.29635 | 28.8748
69 | 0.0067822 | 0.0016996 | -0.0067818 | -0.0016995 | 3.7726e-07 | 1.2029e-07 | 0.010263 | 0.010263 | 0.010263 | 0.98333 | -0.31786 | 0.98327 | -0.31903 | 2.8195
70 | -0.28135 | -0.071364 | 0.28159 | 0.07152 | 0.00024407 | 0.00015547 | 0.42557 | 0.42557 | 0.42557 | 0.98444 | -0.29635 | 0.98537 | -0.27833 | 29.229
71 | 0.0025171 | 0.00063068 | -0.0025171 | -0.00063075 | 4.0558e-08 | -6.8587e-08 | 0.0038092 | 0.0038092 | 0.0038092 | 0.98327 | -0.31903 | 0.98325 | -0.31937 | 1.0465
72 | -0.28519 | -0.072422 | 0.28528 | 0.07248 | 9.1758e-05 | 5.8457e-05 | 0.43101 | 0.43101 | 0.43101 | 0.98537 | -0.27833 | 0.98571 | -0.27165 | 29.6023
73 | 0.019616 | 0.004925 | -0.019602 | -0.0049163 | 1.4431e-05 | 8.6954e-06 | 0.029867 | 0.029868 | 0.029868 | 0.97738 | -0.43362 | 0.9766 | -0.44906 | 8.2054
74 | 0.17311 | 0.043634 | -0.17277 | -0.043417 | 0.0003424 | 0.0002165 | 0.26364 | 0.26364 | 0.26364 | 0.97738 | -0.43362 | 0.97527 | -0.47505 | 18.1074
75 | 0.017305 | 0.0043407 | -0.017299 | -0.0043373 | 5.7563e-06 | 3.4079e-06 | 0.026368 | 0.026368 | 0.026368 | 0.9766 | -0.44906 | 0.97624 | -0.45604 | 7.244
76 | 0.025724 | 0.0064551 | -0.025708 | -0.0064453 | 1.5771e-05 | 9.7529e-06 | 0.039251 | 0.039251 | 0.039251 | 0.97527 | -0.47505 | 0.97462 | -0.48792 | 10.7832
77 | 0.41692 | 0.10619 | -0.41682 | -0.10612 | 0.00010158 | 6.4869e-05 | 0.62903 | 0.62903 | 0.62903 | 0.98721 | -0.2428 | 0.98695 | -0.24785 | 43.2025
78 | 0.0025171 | 0.00063075 | -0.002517 | -0.00063082 | 4.3573e-08 | -7.3679e-08 | 0.0038092 | 0.0038092 | 0.0038092 | 0.98325 | -0.31937 | 0.98323 | -0.31973 | 1.0465
79 | -0.12765 | -0.032505 | 0.12775 | 0.032564 | 9.4916e-05 | 5.9355e-05 | 0.1928 | 0.1928 | 0.1928 | 0.98615 | -0.26326 | 0.98695 | -0.24785 | 13.2416
80 | 0.28907 | 0.073558 | -0.28874 | -0.073347 | 0.00033114 | 0.00021099 | 0.43623 | 0.43623 | 0.43623 | 0.98695 | -0.24785 | 0.98571 | -0.27165 | 29.9609
81 | -0.021955 | -0.0055031 | 0.021959 | 0.0055056 | 4.0025e-06 | 2.4433e-06 | 0.033526 | 0.033526 | 0.033526 | 0.97443 | -0.49174 | 0.97462 | -0.48792 | 9.2105
82 | 0.01505 | 0.0037735 | -0.015046 | -0.0037713 | 3.9022e-06 | 2.2503e-06 | 0.02294 | 0.02294 | 0.02294 | 0.97624 | -0.45604 | 0.97597 | -0.46148 | 6.3021
83 | 0.01339 | 0.0033563 | -0.013389 | -0.0033555 | 1.4893e-06 | 8.3409e-07 | 0.020415 | 0.020415 | 0.020415 | 0.97597 | -0.46148 | 0.97585 | -0.46381 | 5.6086
84 | 0.0041611 | 0.0010427 | -0.0041608 | -0.0010428 | 2.8296e-07 | -5.3663e-08 | 0.0063408 | 0.0063409 | 0.0063409 | 0.97649 | -0.45094 | 0.97642 | -0.45237 | 1.742

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.556 | 0.1427

## res_load
| p_mw | q_mvar
0 | 0.0074408 | 0.0018648
1 | 0.002399 | 0.00060125
2 | 0.0024007 | 0.00060167
3 | 0.002399 | 0.00060125
4 | 0.0024007 | 0.00060167
5 | 0.0080599 | 0.00202
6 | 0.002399 | 0.00060125
7 | 0.010091 | 0.0025291
8 | 0.0049884 | 0.0012502
9 | 0.0024203 | 0.00060658
10 | 0.0025167 | 0.00063074
11 | 0.0026223 | 0.00065721
12 | 0.0019894 | 0.0004986
13 | 0.002231 | 0.00055913
14 | 0.0034435 | 0.00086303
15 | 0.0018345 | 0.00045978
16 | 0.0036249 | 0.00090848
17 | 0.006199 | 0.0015536
18 | 0.0054455 | 0.0013648
19 | 0.010907 | 0.0027335
20 | 0.0065958 | 0.0016531
21 | 0.01102 | 0.0027619
22 | 0.0070114 | 0.0017572
23 | 0.03605 | 0.009035
24 | 0.091098 | 0.022831
25 | 0.0042537 | 0.0010661
26 | 0.016834 | 0.004219
27 | 0.0065715 | 0.001647
28 | 0.0048408 | 0.0012132
29 | 0.0092889 | 0.002328
30 | 0.0046455 | 0.0011643
31 | 0.0037736 | 0.00094575
32 | 0.0053191 | 0.0013331
33 | 0.0076201 | 0.0019098
34 | 0.01154 | 0.0028922
35 | 0.0014707 | 0.00036859
36 | 0.0046167 | 0.0011571
37 | 0.0020292 | 0.00050858
38 | 0.0019643 | 0.00049229
39 | 0.0040985 | 0.0010272
40 | 0.0051822 | 0.0012988
41 | 0.0017714 | 0.00044394
42 | 0.00085792 | 0.00021502
43 | 0.0037142 | 0.00093087
44 | 0.0031663 | 0.00079354
45 | 0.009491 | 0.0023787
46 | 0.0776 | 0.019448
47 | 0.0036802 | 0.00092234
48 | 0.0039373 | 0.00098677
49 | 0.0067154 | 0.001683
50 | 0.0036381 | 0.00091178
51 | 0.0055698 | 0.0013959
52 | 0.005034 | 0.0012616
53 | 0.0025167 | 0.00063074
54 | 0.0086231 | 0.0021612
55 | 0.0076212 | 0.0019101
56 | 0.0034112 | 0.00085492
57 | 0.0042647 | 0.0010688
58 | 0.0035999 | 0.00090221
59 | 0.0022967 | 0.00057561
60 | 0.00066916 | 0.00016771
61 | 0.002517 | 0.00063082
62 | 0.0017921 | 0.00044914
63 | 0.0034591 | 0.00086692
64 | 0.0037496 | 0.00093973
65 | 0.0022494 | 0.00056376
66 | 0.0016556 | 0.00041494
67 | 0.013389 | 0.0033555
68 | 0.00215 | 0.00053885
69 | 0.0041608 | 0.0010428
70 | 0.0196 | 0.0049122

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1