## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-195_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-195_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-195_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-195_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-195_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1061-195_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1061-195_0_5_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_1061-195_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1061-195_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_1061-195_0_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1061-195_0_5_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_1061-195_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1061-195_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1061-195_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1061-195_0_5_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_1061-195_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-195_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-195_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1061-195_0_5_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_1061-195_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1061-195_0_5_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1061-195_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1061-195_0_5_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_1061-195_0_5_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_1061-195_0_5_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_1061-195_0_5_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_1061-195_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1061-195_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1061-195_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1061-195_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1061-195_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1061-195_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1061-195_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1061-195_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1061-195_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1061-195_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1061-195_0_5_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1061-195_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1061-195_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1061-195_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1061-195_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1061-195_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1061-195_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1061-195_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1061-195_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1061-195_0_5_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1061-195_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1061-195_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_MV_213_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-195_0_5_load_0 | 0 | 0.0044032 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-195_0_5_load_1 | 1 | 0.054885 | 0.013756 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-195_0_5_load_2 | 2 | 0.0037662 | 0.0009439 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-195_0_5_load_6 | 4 | 0.0037665 | 0.00094398 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-195_0_5_load_52 | 6 | 0.0077628 | 0.0019455 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-195_0_5_load_48 | 8 | 0.0055857 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-195_0_5_load_23 | 9 | 0.0089545 | 0.0022442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-195_0_5_load_26 | 12 | 0.017567 | 0.0044027 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-195_0_5_load_42 | 14 | 0.022522 | 0.0056445 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-195_0_5_load_41 | 18 | 0.032316 | 0.008099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-195_0_5_load_47 | 21 | 0.027867 | 0.0069841 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-195_0_5_load_8 | 22 | 0.021797 | 0.0054628 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-195_0_5_load_5 | 23 | 0.017864 | 0.0044772 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-195_0_5_load_7 | 24 | 0.020766 | 0.0052044 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-195_0_5_load_51 | 25 | 0.019472 | 0.0048801 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-195_0_5_load_34 | 26 | 0.036618 | 0.0091772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-195_0_5_load_24 | 27 | 0.010959 | 0.0027467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-195_0_5_load_43 | 28 | 0.0090095 | 0.002258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-195_0_5_load_21 | 29 | 0.0070584 | 0.001769 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-195_0_5_load_46 | 30 | 0.010342 | 0.002592 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-195_0_5_load_19 | 31 | 0.0082097 | 0.0020575 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-195_0_5_load_20 | 32 | 0.0089907 | 0.0022533 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-195_0_5_load_49 | 36 | 0.012523 | 0.0031385 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-195_0_5_load_28 | 37 | 0.0068903 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-195_0_5_load_25 | 38 | 0.0085377 | 0.0021397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-195_0_5_load_27 | 39 | 0.0097828 | 0.0024518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-195_0_5_load_40 | 40 | 0.0087425 | 0.0021911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-195_0_5_load_39 | 41 | 0.018889 | 0.0047341 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-195_0_5_load_32 | 43 | 0.0076845 | 0.0019259 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-195_0_5_load_38 | 44 | 0.011956 | 0.0029964 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-195_0_5_load_50 | 45 | 0.011246 | 0.0028185 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-195_0_5_load_33 | 46 | 0.041888 | 0.010498 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-195_0_5_load_35 | 47 | 0.017126 | 0.0042921 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-195_0_5_line_0 |  | 0 | 1 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-195_0_5_line_1 |  | 0 | 2 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-195_0_5_line_2 |  | 2 | 3 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-195_0_5_line_3 |  | 3 | 4 | 0.011205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-195_0_5_line_4 |  | 3 | 5 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-195_0_5_line_5 |  | 3 | 6 | 0.01607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-195_0_5_line_6 |  | 5 | 21 | 0.0068252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-195_0_5_line_7 |  | 5 | 11 | 0.076045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1061-195_0_5_line_8 |  | 5 | 19 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1061-195_0_5_line_9 |  | 7 | 8 | 0.010426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-195_0_5_line_10 |  | 7 | 9 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-195_0_5_line_11 |  | 7 | 10 | 0.003435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-195_0_5_line_12 |  | 9 | 29 | 0.026296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-195_0_5_line_13 |  | 10 | 30 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-195_0_5_line_14 |  | 10 | 28 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-195_0_5_line_15 |  | 11 | 12 | 0.033171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1061-195_0_5_line_16 |  | 12 | 27 | 0.033807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1061-195_0_5_line_17 |  | 13 | 14 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-195_0_5_line_18 |  | 13 | 15 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-195_0_5_line_19 |  | 14 | 16 | 0.020391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-195_0_5_line_20 |  | 15 | 22 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-195_0_5_line_21 |  | 16 | 17 | 0.029839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-195_0_5_line_22 |  | 16 | 18 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-195_0_5_line_23 |  | 17 | 25 | 0.013195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-195_0_5_line_24 |  | 18 | 19 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-195_0_5_line_25 |  | 19 | 20 | 0.035578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1061-195_0_5_line_26 |  | 20 | 26 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-195_0_5_line_27 |  | 22 | 24 | 0.01222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-195_0_5_line_28 |  | 23 | 24 | 0.019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-195_0_5_line_29 |  | 26 | 46 | 0.016203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-195_0_5_line_30 |  | 27 | 38 | 0.030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1061-195_0_5_line_31 |  | 29 | 31 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-195_0_5_line_32 |  | 30 | 45 | 0.036569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-195_0_5_line_33 |  | 31 | 32 | 0.026275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-195_0_5_line_34 |  | 32 | 33 | 0.0060036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-195_0_5_line_35 |  | 33 | 34 | 0.004288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-195_0_5_line_36 |  | 33 | 35 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-195_0_5_line_37 |  | 34 | 36 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-195_0_5_line_38 |  | 35 | 37 | 0.044157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-195_0_5_line_39 |  | 37 | 42 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-195_0_5_line_40 |  | 38 | 39 | 0.014975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1061-195_0_5_line_41 |  | 39 | 40 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1061-195_0_5_line_42 |  | 40 | 41 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1061-195_0_5_line_43 |  | 41 | 44 | 0.016918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1061-195_0_5_line_44 |  | 42 | 43 | 0.021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1061-195_0_5_line_45 |  | 43 | 44 | 0.013664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1061-195_0_5_line_46 |  | 46 | 47 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-195_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 48 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2666162.3974 | 1212857.3859 | 2666151.8909 | 1212862.1326
1 | 2666162.3974 | 1212857.3859 | 2666181.5732 | 1212848.7227
2 | 2666195.8638 | 1212842.3288 | 2666193.3753 | 1212843.3907 | 2666181.5732 | 1212848.7227
3 | 2666195.8638 | 1212842.3288 | 2666197.8988 | 1212845.8424 | 2666200.9476 | 1212852.3035
4 | 2666195.8638 | 1212842.3288 | 2666196.6576 | 1212841.9929 | 2666201.7033 | 1212839.8365 | 2666205.833 | 1212838.0701 | 2666206.9857 | 1212837.5715
5 | 2666195.8638 | 1212842.3288 | 2666191.0558 | 1212834.0259 | 2666188.4327 | 1212828.1051
6 | 2666206.9857 | 1212837.5715 | 2666204.2517 | 1212831.3178
7 | 2666206.9857 | 1212837.5715 | 2666205.833 | 1212838.0701 | 2666201.7033 | 1212839.8365 | 2666192.1621 | 1212817.8615 | 2666189.9348 | 1212811.8219 | 2666184.7524 | 1212798.2338 | 2666175.7088 | 1212774.541
8 | 2666206.9857 | 1212837.5715 | 2666211.197 | 1212846.924
9 | 2666272.2232 | 1212729.5177 | 2666266.9892 | 1212738.5346
10 | 2666272.2232 | 1212729.5177 | 2666285.8756 | 1212737.2822
11 | 2666272.2232 | 1212729.5177 | 2666273.9504 | 1212726.5462
12 | 2666285.8756 | 1212737.2822 | 2666306.2188 | 1212748.8519 | 2666308.6807 | 1212750.3718
13 | 2666273.9504 | 1212726.5462 | 2666284.7628 | 1212732.9403
14 | 2666273.9504 | 1212726.5462 | 2666257.8262 | 1212717.0052
15 | 2666175.7088 | 1212774.541 | 2666184.9951 | 1212770.208 | 2666204.9737 | 1212758.9669
16 | 2666204.9737 | 1212758.9669 | 2666215.4758 | 1212753.0578 | 2666222.4735 | 1212753.0021 | 2666227.7212 | 1212755.2395 | 2666235.3213 | 1212760.1611
17 | 2666239.9044 | 1212913.4506 | 2666234.226 | 1212900.6504
18 | 2666229.5789 | 1212916.9715 | 2666232.5444 | 1212923.5751 | 2666233.2849 | 1212923.2498 | 2666237.2322 | 1212921.4814 | 2666241.1718 | 1212919.7241 | 2666242.4316 | 1212919.16 | 2666239.9044 | 1212913.4506
19 | 2666226.6733 | 1212881.7285 | 2666229.7285 | 1212890.5123 | 2666234.226 | 1212900.6504
20 | 2666229.5789 | 1212916.9715 | 2666224.817 | 1212906.4037
21 | 2666253.9095 | 1212869.3677 | 2666226.6733 | 1212881.7285
22 | 2666226.6733 | 1212881.7285 | 2666224.229 | 1212874.7081 | 2666219.975 | 1212865.0702
23 | 2666253.9095 | 1212869.3677 | 2666267.1049 | 1212869.3327
24 | 2666211.197 | 1212846.924 | 2666216.1069 | 1212856.3065 | 2666219.975 | 1212865.0702
25 | 2666211.197 | 1212846.924 | 2666243.5527 | 1212831.9295
26 | 2666243.5527 | 1212831.9295 | 2666251.3041 | 1212828.3022 | 2666257.4666 | 1212830.614
27 | 2666224.817 | 1212906.4037 | 2666220.8078 | 1212897.5065 | 2666219.8309 | 1212895.2477
28 | 2666212.1572 | 1212877.5042 | 2666212.1936 | 1212877.5874 | 2666219.8309 | 1212895.2477
29 | 2666272.6375 | 1212836.3053 | 2666257.4666 | 1212830.614
30 | 2666260.7536 | 1212776.6306 | 2666235.3213 | 1212760.1611
31 | 2666308.6807 | 1212750.3718 | 2666329.016 | 1212762.9259
32 | 2666316.2401 | 1212751.5547 | 2666284.7628 | 1212732.9403
33 | 2666351.3331 | 1212776.7896 | 2666350.1785 | 1212775.9908 | 2666329.016 | 1212762.9259
34 | 2666356.2702 | 1212780.2056 | 2666351.3331 | 1212776.7896
35 | 2666356.2702 | 1212780.2056 | 2666356.9656 | 1212779.1571 | 2666358.6423 | 1212776.6297
36 | 2666356.2702 | 1212780.2056 | 2666365.7544 | 1212786.7707 | 2666367.2571 | 1212788.2772
37 | 2666358.6423 | 1212776.6297 | 2666361.9183 | 1212772.3969 | 2666366.5676 | 1212764.9106 | 2666368.0479 | 1212762.377
38 | 2666367.2571 | 1212788.2772 | 2666366.7803 | 1212788.7945 | 2666359.9753 | 1212796.1122 | 2666350.8173 | 1212805.972 | 2666351.1764 | 1212806.4763 | 2666352.6943 | 1212808.6612 | 2666357.5401 | 1212815.5972 | 2666351.361 | 1212821.0841
39 | 2666338.8334 | 1212832.1994 | 2666341.7874 | 1212829.5862 | 2666345.5702 | 1212826.2262 | 2666351.361 | 1212821.0841
40 | 2666260.7536 | 1212776.6306 | 2666273.3229 | 1212784.7702
41 | 2666285.265 | 1212792.5036 | 2666273.3229 | 1212784.7702
42 | 2666285.265 | 1212792.5036 | 2666297.457 | 1212800.3989
43 | 2666311.6578 | 1212809.595 | 2666297.457 | 1212800.3989
44 | 2666338.8334 | 1212832.1994 | 2666327.2722 | 1212821.1196 | 2666322.6778 | 1212817.6653
45 | 2666322.6778 | 1212817.6653 | 2666313.7182 | 1212810.9293 | 2666311.6578 | 1212809.595
46 | 2666283.6677 | 1212840.4432 | 2666272.6375 | 1212836.3053

## bus_geodata
| x | y | coords
0 | 2666162.3974 | 1212857.3859
1 | 2666151.8909 | 1212862.1326
2 | 2666181.5732 | 1212848.7227
3 | 2666195.8638 | 1212842.3288
4 | 2666200.9476 | 1212852.3035
5 | 2666206.9857 | 1212837.5715
6 | 2666188.4327 | 1212828.1051
7 | 2666272.2232 | 1212729.5177
8 | 2666266.9892 | 1212738.5346
9 | 2666285.8756 | 1212737.2822
10 | 2666273.9504 | 1212726.5462
11 | 2666175.7088 | 1212774.541
12 | 2666204.9737 | 1212758.9669
13 | 2666239.9044 | 1212913.4506
14 | 2666234.226 | 1212900.6504
15 | 2666229.5789 | 1212916.9715
16 | 2666226.6733 | 1212881.7285
17 | 2666253.9095 | 1212869.3677
18 | 2666219.975 | 1212865.0702
19 | 2666211.197 | 1212846.924
20 | 2666243.5527 | 1212831.9295
21 | 2666204.2517 | 1212831.3178
22 | 2666224.817 | 1212906.4037
23 | 2666212.1572 | 1212877.5042
24 | 2666219.8309 | 1212895.2477
25 | 2666267.1049 | 1212869.3327
26 | 2666257.4666 | 1212830.614
27 | 2666235.3213 | 1212760.1611
28 | 2666257.8262 | 1212717.0052
29 | 2666308.6807 | 1212750.3718
30 | 2666284.7628 | 1212732.9403
31 | 2666329.016 | 1212762.9259
32 | 2666351.3331 | 1212776.7896
33 | 2666356.2702 | 1212780.2056
34 | 2666358.6423 | 1212776.6297
35 | 2666367.2571 | 1212788.2772
36 | 2666368.0479 | 1212762.377
37 | 2666351.361 | 1212821.0841
38 | 2666260.7536 | 1212776.6306
39 | 2666273.3229 | 1212784.7702
40 | 2666285.265 | 1212792.5036
41 | 2666297.457 | 1212800.3989
42 | 2666338.8334 | 1212832.1994
43 | 2666322.6778 | 1212817.6653
44 | 2666311.6578 | 1212809.595
45 | 2666316.2401 | 1212751.5547
46 | 2666272.6375 | 1212836.3053
47 | 2666283.6677 | 1212840.4432
48 | 2666211.197 | 1212846.924

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99303 | -0.1335 | 0.0044032 | 0.0011035
1 | 0.99245 | -0.14469 | 0.054885 | 0.013756
2 | 0.99417 | -0.11147 | 0.0037662 | 0.0009439
3 | 0.99507 | -0.094079 | 0 | 0
4 | 0.99503 | -0.094822 | 0.0037665 | 0.00094398
5 | 0.99589 | -0.07821 | 0 | 0
6 | 0.99496 | -0.096275 | 0.0077628 | 0.0019455
7 | 0.97516 | -0.47966 | 0 | 0
8 | 0.97511 | -0.48073 | 0.0055857 | 0.0013999
9 | 0.97569 | -0.46925 | 0.0089545 | 0.0022442
10 | 0.97506 | -0.48159 | 0 | 0
11 | 0.99268 | -0.13953 | 0 | 0
12 | 0.99128 | -0.16641 | 0.017567 | 0.0044027
13 | 0.99006 | -0.19071 | 0 | 0
14 | 0.99084 | -0.17567 | 0.022522 | 0.0056445
15 | 0.98871 | -0.21686 | 0 | 0
16 | 0.99239 | -0.14569 | 0 | 0
17 | 0.99186 | -0.15598 | 0 | 0
18 | 0.99408 | -0.11317 | 0.032316 | 0.008099
19 | 0.99657 | -0.065362 | 0 | 0
20 | 1 | 0 | -0.52225 | -0.13234
21 | 0.99572 | -0.081553 | 0.027867 | 0.0069841
22 | 0.98807 | -0.22936 | 0.021797 | 0.0054628
23 | 0.98732 | -0.24396 | 0.017864 | 0.0044772
24 | 0.98764 | -0.23779 | 0.020766 | 0.0052044
25 | 0.99162 | -0.16053 | 0.019472 | 0.0048801
26 | 0.99868 | -0.025269 | 0.036618 | 0.0091772
27 | 0.98999 | -0.19123 | 0.010959 | 0.0027467
28 | 0.97491 | -0.48468 | 0.0090095 | 0.002258
29 | 0.9768 | -0.44754 | 0.0070584 | 0.001769
30 | 0.97481 | -0.48656 | 0.010342 | 0.002592
31 | 0.97795 | -0.42478 | 0.0082097 | 0.0020575
32 | 0.97943 | -0.3959 | 0.0089907 | 0.0022533
33 | 0.97982 | -0.38833 | 0 | 0
34 | 0.97977 | -0.38931 | 0 | 0
35 | 0.98085 | -0.36807 | 0 | 0
36 | 0.97957 | -0.39319 | 0.012523 | 0.0031385
37 | 0.98421 | -0.30275 | 0.0068903 | 0.0017269
38 | 0.98891 | -0.21206 | 0.0085377 | 0.0021397
39 | 0.98841 | -0.2218 | 0.0097828 | 0.0024518
40 | 0.98796 | -0.23044 | 0.0087425 | 0.0021911
41 | 0.98753 | -0.2387 | 0.018889 | 0.0047341
42 | 0.9856 | -0.27603 | 0 | 0
43 | 0.98649 | -0.2587 | 0.0076845 | 0.0019259
44 | 0.98711 | -0.2469 | 0.011956 | 0.0029964
45 | 0.97443 | -0.49411 | 0.011246 | 0.0028185
46 | 0.99782 | -0.041993 | 0.041888 | 0.010498
47 | 0.99763 | -0.045526 | 0.017126 | 0.0042921
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.054915 | 0.013774 | -0.054885 | -0.013756 | 2.9278e-05 | 1.8589e-05 | 0.082292 | 0.082292 | 0.082292 | 0.99303 | -0.1335 | 0.99245 | -0.14469 | 22.6076
1 | -0.059318 | -0.014878 | 0.05938 | 0.014917 | 6.2347e-05 | 3.963e-05 | 0.08889 | 0.08889 | 0.08889 | 0.99303 | -0.1335 | 0.99417 | -0.11147 | 24.4202
2 | -0.063147 | -0.015861 | 0.063199 | 0.015895 | 5.246e-05 | 3.3371e-05 | 0.094527 | 0.094527 | 0.094527 | 0.99417 | -0.11147 | 0.99507 | -0.094079 | 25.9688
3 | 0.0037666 | 0.00094392 | -0.0037665 | -0.00094398 | 1.3331e-07 | -6.0231e-08 | 0.0056326 | 0.0056326 | 0.0056326 | 0.99507 | -0.094079 | 0.99503 | -0.094822 | 1.5474
4 | -0.074729 | -0.018784 | 0.074786 | 0.01882 | 5.6668e-05 | 3.611e-05 | 0.11177 | 0.11177 | 0.11177 | 0.99507 | -0.094079 | 0.99589 | -0.07821 | 30.7057
5 | 0.0077636 | 0.0019458 | -0.0077628 | -0.0019455 | 8.1226e-07 | 3.1111e-07 | 0.01161 | 0.01161 | 0.01161 | 0.99507 | -0.094079 | 0.99496 | -0.096275 | 3.1895
6 | 0.027871 | 0.0069868 | -0.027867 | -0.0069841 | 4.4388e-06 | 2.752e-06 | 0.041644 | 0.041645 | 0.041645 | 0.99589 | -0.07821 | 0.99572 | -0.081553 | 11.4408
7 | 0.18512 | 0.04723 | -0.18457 | -0.046884 | 0.00054658 | 0.00034587 | 0.27689 | 0.27689 | 0.27689 | 0.99589 | -0.07821 | 0.99268 | -0.13953 | 19.0172
8 | -0.28777 | -0.073038 | 0.28795 | 0.073151 | 0.00017798 | 0.00011337 | 0.4303 | 0.4303 | 0.4303 | 0.99589 | -0.07821 | 0.99657 | -0.065362 | 29.5537
9 | 0.005586 | 0.0014 | -0.0055857 | -0.0013999 | 2.8406e-07 | 5.1735e-08 | 0.0085238 | 0.0085238 | 0.0085238 | 0.97516 | -0.47966 | 0.97511 | -0.48073 | 2.3417
10 | -0.036197 | -0.009076 | 0.036215 | 0.0090873 | 1.7969e-05 | 1.1304e-05 | 0.055235 | 0.055235 | 0.055235 | 0.97516 | -0.47966 | 0.97569 | -0.46925 | 15.1744
11 | 0.030611 | 0.0076761 | -0.030608 | -0.0076743 | 2.8106e-06 | 1.7559e-06 | 0.046711 | 0.046711 | 0.046711 | 0.97516 | -0.47966 | 0.97506 | -0.48159 | 12.8327
12 | -0.045169 | -0.011332 | 0.045216 | 0.011361 | 4.6801e-05 | 2.9624e-05 | 0.068891 | 0.068891 | 0.068891 | 0.97569 | -0.46925 | 0.9768 | -0.44754 | 18.9261
13 | 0.021597 | 0.0054157 | -0.021592 | -0.0054126 | 5.1173e-06 | 3.1184e-06 | 0.03296 | 0.03296 | 0.03296 | 0.97506 | -0.48159 | 0.97481 | -0.48656 | 9.0549
14 | 0.0090108 | 0.0022586 | -0.0090095 | -0.002258 | 1.3286e-06 | 6.1663e-07 | 0.013751 | 0.013751 | 0.013751 | 0.97506 | -0.48159 | 0.97491 | -0.48468 | 3.7778
15 | 0.18457 | 0.046884 | -0.18433 | -0.046734 | 0.00023842 | 0.00015088 | 0.27689 | 0.27689 | 0.27689 | 0.99268 | -0.13953 | 0.99128 | -0.16641 | 19.0172
16 | 0.16676 | 0.042331 | -0.16657 | -0.042205 | 0.00019892 | 0.00012557 | 0.25052 | 0.25052 | 0.25052 | 0.99128 | -0.16641 | 0.98999 | -0.19123 | 17.2062
17 | -0.060559 | -0.015228 | 0.060603 | 0.015256 | 4.3519e-05 | 2.7672e-05 | 0.091036 | 0.091036 | 0.091036 | 0.99006 | -0.19071 | 0.99084 | -0.17567 | 25.0098
18 | 0.060559 | 0.015228 | -0.060484 | -0.01518 | 7.5554e-05 | 4.8042e-05 | 0.091036 | 0.091036 | 0.091036 | 0.99006 | -0.19071 | 0.98871 | -0.21686 | 25.0098
19 | -0.083125 | -0.0209 | 0.083244 | 0.020976 | 0.00011921 | 7.603e-05 | 0.12486 | 0.12486 | 0.12486 | 0.99084 | -0.17567 | 0.99239 | -0.14569 | 34.3017
20 | 0.060484 | 0.01518 | -0.060448 | -0.015157 | 3.6023e-05 | 2.2906e-05 | 0.091036 | 0.091036 | 0.091036 | 0.98871 | -0.21686 | 0.98807 | -0.22936 | 25.0099
21 | 0.019485 | 0.0048883 | -0.019476 | -0.0048826 | 9.553e-06 | 5.7286e-06 | 0.029219 | 0.029219 | 0.029219 | 0.99239 | -0.14569 | 0.99186 | -0.15598 | 8.0272
22 | -0.10273 | -0.025865 | 0.10289 | 0.025967 | 0.00015996 | 0.00010214 | 0.15408 | 0.15408 | 0.15408 | 0.99239 | -0.14569 | 0.99408 | -0.11317 | 42.3288
23 | 0.019476 | 0.0048826 | -0.019472 | -0.0048801 | 4.2246e-06 | 2.5335e-06 | 0.029219 | 0.029219 | 0.029219 | 0.99186 | -0.15598 | 0.99162 | -0.16053 | 8.0272
24 | -0.1352 | -0.034066 | 0.13551 | 0.034264 | 0.00030999 | 0.00019813 | 0.20245 | 0.20245 | 0.20245 | 0.99408 | -0.11317 | 0.99657 | -0.065362 | 55.6179
25 | -0.42347 | -0.10742 | 0.4248 | 0.10827 | 0.0013354 | 0.00085281 | 0.63275 | 0.63275 | 0.63275 | 0.99657 | -0.065362 | 1 | 0 | 43.4581
26 | 0.095796 | 0.024073 | -0.095681 | -0.023999 | 0.0001154 | 7.3658e-05 | 0.14257 | 0.14257 | 0.14257 | 1 | 0 | 0.99868 | -0.025269 | 39.1672
27 | 0.038651 | 0.0096945 | -0.038635 | -0.0096847 | 1.5527e-05 | 9.7809e-06 | 0.05821 | 0.05821 | 0.05821 | 0.98807 | -0.22936 | 0.98764 | -0.23779 | 15.9918
28 | -0.017864 | -0.0044772 | 0.017869 | 0.0044803 | 5.2549e-06 | 3.1159e-06 | 0.026924 | 0.026924 | 0.026924 | 0.98732 | -0.24396 | 0.98764 | -0.23779 | 7.3966
29 | 0.059063 | 0.014822 | -0.059016 | -0.014792 | 4.7064e-05 | 2.9909e-05 | 0.088009 | 0.088009 | 0.088009 | 0.99868 | -0.025269 | 0.99782 | -0.041993 | 24.1784
30 | 0.15561 | 0.039459 | -0.15545 | -0.039361 | 0.0001556 | 9.803e-05 | 0.23405 | 0.23405 | 0.23405 | 0.98999 | -0.19123 | 0.98891 | -0.21206 | 16.0748
31 | -0.052274 | -0.01313 | 0.052331 | 0.013166 | 5.6846e-05 | 3.6082e-05 | 0.079644 | 0.079643 | 0.079644 | 0.9768 | -0.44754 | 0.97795 | -0.42478 | 21.8801
32 | 0.01125 | 0.0028206 | -0.011246 | -0.0028185 | 4.0443e-06 | 2.1326e-06 | 0.017173 | 0.017173 | 0.017173 | 0.97481 | -0.48656 | 0.97443 | -0.49411 | 4.7179
33 | -0.060541 | -0.015224 | 0.060625 | 0.015277 | 8.364e-05 | 5.3199e-05 | 0.092135 | 0.092135 | 0.092135 | 0.97795 | -0.42478 | 0.97943 | -0.3959 | 25.3118
34 | -0.069615 | -0.01753 | 0.06964 | 0.017546 | 2.5198e-05 | 1.6051e-05 | 0.10579 | 0.10579 | 0.10579 | 0.97943 | -0.3959 | 0.97982 | -0.38833 | 29.0643
35 | 0.012526 | 0.00314 | -0.012525 | -0.0031397 | 5.8186e-07 | 3.1838e-07 | 0.019022 | 0.019022 | 0.019022 | 0.97982 | -0.38833 | 0.97977 | -0.38931 | 5.2259
36 | -0.082166 | -0.020686 | 0.082246 | 0.020737 | 7.967e-05 | 5.0817e-05 | 0.12482 | 0.12482 | 0.12482 | 0.97982 | -0.38833 | 0.98085 | -0.36807 | 34.2902
37 | 0.012525 | 0.0031397 | -0.012523 | -0.0031385 | 2.3203e-06 | 1.2697e-06 | 0.019022 | 0.019022 | 0.019022 | 0.97977 | -0.38931 | 0.97957 | -0.39319 | 5.226
38 | -0.082246 | -0.020737 | 0.082504 | 0.020902 | 0.00025797 | 0.00016454 | 0.12482 | 0.12482 | 0.12482 | 0.98085 | -0.36807 | 0.98421 | -0.30275 | 34.2902
39 | -0.089394 | -0.022629 | 0.089509 | 0.022702 | 0.00011486 | 7.3296e-05 | 0.13523 | 0.13523 | 0.13523 | 0.98421 | -0.30275 | 0.9856 | -0.27603 | 37.152
40 | 0.14691 | 0.037221 | -0.14684 | -0.037178 | 6.8693e-05 | 4.3195e-05 | 0.2212 | 0.2212 | 0.2212 | 0.98891 | -0.21206 | 0.98841 | -0.2218 | 15.1925
41 | 0.13706 | 0.034726 | -0.137 | -0.03469 | 5.6864e-05 | 3.5664e-05 | 0.20648 | 0.20648 | 0.20648 | 0.98841 | -0.2218 | 0.98796 | -0.23044 | 14.181
42 | 0.12826 | 0.032499 | -0.12821 | -0.032467 | 5.0886e-05 | 3.1823e-05 | 0.19331 | 0.19331 | 0.19331 | 0.98796 | -0.23044 | 0.98753 | -0.2387 | 13.2767
43 | 0.10932 | 0.027733 | -0.10928 | -0.027706 | 4.3101e-05 | 2.6719e-05 | 0.16485 | 0.16485 | 0.16485 | 0.98753 | -0.2387 | 0.98711 | -0.2469 | 11.3219
44 | -0.089509 | -0.022702 | 0.089583 | 0.022749 | 7.462e-05 | 4.7201e-05 | 0.13523 | 0.13523 | 0.13523 | 0.9856 | -0.27603 | 0.98649 | -0.2587 | 18.576
45 | -0.097268 | -0.024675 | 0.097323 | 0.02471 | 5.523e-05 | 3.4998e-05 | 0.14682 | 0.14682 | 0.14682 | 0.98649 | -0.2587 | 0.98711 | -0.2469 | 20.1682
46 | 0.017128 | 0.0042938 | -0.017126 | -0.0042921 | 2.8825e-06 | 1.691e-06 | 0.025544 | 0.025544 | 0.025544 | 0.99782 | -0.041993 | 0.99763 | -0.045526 | 7.0175

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52225 | 0.13234

## res_load
| p_mw | q_mvar
0 | 0.0044032 | 0.0011035
1 | 0.054885 | 0.013756
2 | 0.0037662 | 0.0009439
3 | 0.0037665 | 0.00094398
4 | 0.0077628 | 0.0019455
5 | 0.0055857 | 0.0013999
6 | 0.0089545 | 0.0022442
7 | 0.017567 | 0.0044027
8 | 0.022522 | 0.0056445
9 | 0.032316 | 0.008099
10 | 0.027867 | 0.0069841
11 | 0.021797 | 0.0054628
12 | 0.017864 | 0.0044772
13 | 0.020766 | 0.0052044
14 | 0.019472 | 0.0048801
15 | 0.036618 | 0.0091772
16 | 0.010959 | 0.0027467
17 | 0.0090095 | 0.002258
18 | 0.0070584 | 0.001769
19 | 0.010342 | 0.002592
20 | 0.0082097 | 0.0020575
21 | 0.0089907 | 0.0022533
22 | 0.012523 | 0.0031385
23 | 0.0068903 | 0.0017269
24 | 0.0085377 | 0.0021397
25 | 0.0097828 | 0.0024518
26 | 0.0087425 | 0.0021911
27 | 0.018889 | 0.0047341
28 | 0.0076845 | 0.0019259
29 | 0.011956 | 0.0029964
30 | 0.011246 | 0.0028185
31 | 0.041888 | 0.010498
32 | 0.017126 | 0.0042921

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1