## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-196_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-196_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-196_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-196_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-196_0_4_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_1061-196_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1061-196_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1061-196_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1061-196_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1061-196_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1061-196_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_1061-196_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1061-196_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1061-196_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1061-196_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1061-196_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_1061-196_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1061-196_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_1061-196_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_1061-196_0_4_node_5 | 0.4 | n |  | TRUE
20 | bus_LV_1061-196_0_4_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_1061-196_0_4_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_1061-196_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_1061-196_0_4_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_1061-196_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1061-196_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1061-196_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1061-196_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1061-196_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1061-196_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1061-196_0_4_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_1061-196_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1061-196_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1061-196_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1061-196_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1061-196_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1061-196_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1061-196_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1061-196_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1061-196_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1061-196_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1061-196_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1061-196_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1061-196_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1061-196_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1061-196_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1061-196_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1061-196_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_MV_213_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-196_0_4_load_0 | 0 | 0.0071693 | 0.0017968 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-196_0_4_load_1 | 1 | 0.0058658 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-196_0_4_load_2 | 2 | 0.0059819 | 0.0014992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-196_0_4_load_25 | 4 | 0.0066493 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-196_0_4_load_13 | 6 | 0.021118 | 0.0052927 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-196_0_4_load_24 | 7 | 0.021451 | 0.0053761 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-196_0_4_load_27 | 8 | 0.017581 | 0.0044062 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-196_0_4_load_40 | 11 | 0.056036 | 0.014044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-196_0_4_load_14 | 13 | 0.025079 | 0.0062855 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-196_0_4_load_10 | 14 | 0.0080968 | 0.0020293 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-196_0_4_load_47 | 15 | 0.026085 | 0.0065376 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-196_0_4_load_41 | 17 | 0.032254 | 0.0080835 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-196_0_4_load_39 | 18 | 0.028739 | 0.0072026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-196_0_4_load_5 | 19 | 0.003985 | 0.00099874 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-196_0_4_load_6 | 20 | 0.0039878 | 0.00099945 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-196_0_4_load_7 | 21 | 0.0039856 | 0.00099888 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-196_0_4_load_9 | 23 | 0.0039882 | 0.00099954 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-196_0_4_load_21 | 24 | 0.014902 | 0.0037347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-196_0_4_load_23 | 27 | 0.018023 | 0.004517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-196_0_4_load_30 | 28 | 0.0046345 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-196_0_4_load_26 | 29 | 0.013146 | 0.0032947 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-196_0_4_load_11 | 30 | 0.027801 | 0.0069675 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-196_0_4_load_50 | 33 | 0.033421 | 0.0083761 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-196_0_4_load_48 | 34 | 0.0020667 | 0.00051797 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-196_0_4_load_35 | 35 | 0.0054373 | 0.0013627 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-196_0_4_load_51 | 36 | 0.0074316 | 0.0018625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-196_0_4_load_44 | 37 | 0.016651 | 0.004173 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-196_0_4_load_31 | 39 | 0.0080432 | 0.0020158 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-196_0_4_load_49 | 40 | 0.010872 | 0.0027247 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-196_0_4_load_43 | 42 | 0.008452 | 0.0021183 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-196_0_4_load_37 | 43 | 0.010478 | 0.0026261 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-196_0_4_load_36 | 44 | 0.0046338 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-196_0_4_load_32 | 45 | 0.014229 | 0.0035661 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-196_0_4_load_46 | 46 | 0.020755 | 0.0052016 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-196_0_4_load_45 | 47 | 0.008452 | 0.0021183 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-196_0_4_line_0 |  | 0 | 1 | 0.014186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-196_0_4_line_1 |  | 0 | 2 | 0.0048311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-196_0_4_line_2 |  | 1 | 3 | 0.028826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-196_0_4_line_3 |  | 3 | 4 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-196_0_4_line_4 |  | 3 | 5 | 0.009659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-196_0_4_line_5 |  | 4 | 6 | 0.023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-196_0_4_line_6 |  | 5 | 7 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-196_0_4_line_7 |  | 5 | 8 | 0.025715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-196_0_4_line_8 |  | 6 | 30 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-196_0_4_line_9 |  | 8 | 29 | 0.0038873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1061-196_0_4_line_10 |  | 9 | 10 | 0.007236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-196_0_4_line_11 |  | 9 | 11 | 0.033753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-196_0_4_line_12 |  | 10 | 15 | 0.023795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-196_0_4_line_13 |  | 12 | 13 | 0.055969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-196_0_4_line_14 |  | 12 | 14 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-196_0_4_line_15 |  | 14 | 30 | 0.015289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-196_0_4_line_16 |  | 15 | 34 | 0.00916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-196_0_4_line_17 |  | 16 | 17 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-196_0_4_line_18 |  | 16 | 18 | 0.016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-196_0_4_line_19 |  | 17 | 38 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-196_0_4_line_20 |  | 19 | 20 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1061-196_0_4_line_21 |  | 19 | 21 | 0.01508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1061-196_0_4_line_22 |  | 20 | 22 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1061-196_0_4_line_23 |  | 21 | 23 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-196_0_4_line_24 |  | 22 | 24 | 0.020541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1061-196_0_4_line_25 |  | 23 | 25 | 0.0098648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1061-196_0_4_line_26 |  | 24 | 26 | 0.025063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1061-196_0_4_line_27 |  | 25 | 28 | 0.0037688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-196_0_4_line_28 |  | 25 | 29 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1061-196_0_4_line_29 |  | 26 | 27 | 0.018734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1061-196_0_4_line_30 |  | 27 | 41 | 0.007383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1061-196_0_4_line_31 |  | 28 | 43 | 0.028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-196_0_4_line_32 |  | 31 | 32 | 0.002519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-196_0_4_line_33 |  | 31 | 33 | 0.015039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-196_0_4_line_34 |  | 32 | 39 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-196_0_4_line_35 |  | 32 | 35 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-196_0_4_line_36 |  | 33 | 40 | 0.0023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-196_0_4_line_37 |  | 34 | 40 | 0.028146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-196_0_4_line_38 |  | 36 | 37 | 0.0096631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-196_0_4_line_39 |  | 37 | 41 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-196_0_4_line_40 |  | 38 | 46 | 0.024848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1061-196_0_4_line_41 |  | 38 | 45 | 0.0097629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1061-196_0_4_line_42 |  | 39 | 45 | 0.023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1061-196_0_4_line_43 |  | 41 | 42 | 0.012951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1061-196_0_4_line_44 |  | 42 | 47 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1061-196_0_4_line_45 |  | 43 | 44 | 0.0091804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-196_0_4_line_46 |  | 46 | 47 | 0.0025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-196_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 48 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2666276.8551 | 1213147.1601 | 2666266.2149 | 1213137.7773
1 | 2666276.8551 | 1213147.1601 | 2666280.4786 | 1213150.3553
2 | 2666243.1458 | 1213120.8596 | 2666252.136 | 1213125.3622 | 2666266.2149 | 1213137.7773
3 | 2666243.1458 | 1213120.8596 | 2666244.7101 | 1213111.3489 | 2666247.9732 | 1213104.6659
4 | 2666233.8864 | 1213118.0217 | 2666243.1458 | 1213120.8596
5 | 2666258.3077 | 1213083.501 | 2666247.9732 | 1213104.6659
6 | 2666233.8864 | 1213118.0217 | 2666217.91 | 1213105.2783
7 | 2666233.8864 | 1213118.0217 | 2666231.4392 | 1213127.0112 | 2666221.4633 | 1213140.0261
8 | 2666258.3077 | 1213083.501 | 2666267.1209 | 1213065.4515
9 | 2666221.4633 | 1213140.0261 | 2666219.0984 | 1213143.1114
10 | 2666229.5789 | 1212916.9715 | 2666232.5444 | 1212923.5751
11 | 2666232.5444 | 1212923.5751 | 2666246.0603 | 1212954.504
12 | 2666229.5789 | 1212916.9715 | 2666226.5984 | 1212919.9291 | 2666219.4845 | 1212938.188
13 | 2666283.8251 | 1213036.2701 | 2666287.1823 | 1213043.1561 | 2666289.1211 | 1213047.1135 | 2666295.9919 | 1213059.8088 | 2666301.1115 | 1213068.0708 | 2666310.0041 | 1213080.6663 | 2666312.5992 | 1213084.1307
14 | 2666283.8251 | 1213036.2701 | 2666280.1897 | 1213038.6868 | 2666273.8293 | 1213051.7128
15 | 2666273.8293 | 1213051.7128 | 2666267.1209 | 1213065.4515
16 | 2666219.4845 | 1212938.188 | 2666216.8078 | 1212945.0582 | 2666216.053 | 1212946.6776
17 | 2666264.2336 | 1213006.1115 | 2666252.823 | 1213011.2049
18 | 2666264.2336 | 1213006.1115 | 2666261.4349 | 1213000.9106 | 2666259.9461 | 1212998.159 | 2666260.2177 | 1212990.7727
19 | 2666232.0979 | 1213017.7953 | 2666238.6188 | 1213017.5453 | 2666252.823 | 1213011.2049
20 | 2666176.7479 | 1213131.6015 | 2666164.9803 | 1213121.7328
21 | 2666176.7479 | 1213131.6015 | 2666188.3026 | 1213141.2916
22 | 2666155.7825 | 1213114.0193 | 2666164.9803 | 1213121.7328
23 | 2666200.3389 | 1213151.3856 | 2666188.3026 | 1213141.2916
24 | 2666155.7825 | 1213114.0193 | 2666167.9968 | 1213097.504
25 | 2666207.8975 | 1213157.7245 | 2666200.3389 | 1213151.3856
26 | 2666182.8999 | 1213077.3529 | 2666167.9968 | 1213097.504
27 | 2666207.8975 | 1213157.7245 | 2666210.9261 | 1213159.9676
28 | 2666207.8975 | 1213157.7245 | 2666219.0984 | 1213143.1114
29 | 2666182.8999 | 1213077.3529 | 2666194.4041 | 1213062.5672
30 | 2666198.9379 | 1213056.7402 | 2666194.4041 | 1213062.5672
31 | 2666210.9261 | 1213159.9676 | 2666230.1024 | 1213174.1701 | 2666227.1496 | 1213178.2439
32 | 2666192.8989 | 1212986.2073 | 2666190.9568 | 1212984.5959
33 | 2666190.9568 | 1212984.5959 | 2666199.6357 | 1212972.3144
34 | 2666192.8989 | 1212986.2073 | 2666206.352 | 1212997.3694
35 | 2666192.8989 | 1212986.2073 | 2666184.8295 | 1212998.0137
36 | 2666201.0149 | 1212970.3627 | 2666199.6357 | 1212972.3144
37 | 2666201.0149 | 1212970.3627 | 2666212.7609 | 1212953.7409 | 2666216.053 | 1212946.6776
38 | 2666174.2292 | 1213038.94 | 2666182.0696 | 1213044.5883
39 | 2666198.9379 | 1213056.7402 | 2666182.0696 | 1213044.5883
40 | 2666232.0979 | 1213017.7953 | 2666227.4429 | 1213027.1939 | 2666218.2554 | 1213038.2293
41 | 2666232.0979 | 1213017.7953 | 2666226.7581 | 1213014.3005 | 2666224.1559 | 1213012.1415
42 | 2666224.1559 | 1213012.1415 | 2666206.352 | 1212997.3694
43 | 2666198.9379 | 1213056.7402 | 2666208.3222 | 1213047.8149
44 | 2666216.4695 | 1213040.066 | 2666208.3222 | 1213047.8149
45 | 2666227.1496 | 1213178.2439 | 2666222.156 | 1213185.1331 | 2666221.7844 | 1213185.6927
46 | 2666216.4695 | 1213040.066 | 2666217.7029 | 1213038.893 | 2666218.2554 | 1213038.2293

## bus_geodata
| x | y | coords
0 | 2666276.8551 | 1213147.1601
1 | 2666266.2149 | 1213137.7773
2 | 2666280.4786 | 1213150.3553
3 | 2666243.1458 | 1213120.8596
4 | 2666247.9732 | 1213104.6659
5 | 2666233.8864 | 1213118.0217
6 | 2666258.3077 | 1213083.501
7 | 2666217.91 | 1213105.2783
8 | 2666221.4633 | 1213140.0261
9 | 2666232.5444 | 1212923.5751
10 | 2666229.5789 | 1212916.9715
11 | 2666246.0603 | 1212954.504
12 | 2666283.8251 | 1213036.2701
13 | 2666312.5992 | 1213084.1307
14 | 2666273.8293 | 1213051.7128
15 | 2666219.4845 | 1212938.188
16 | 2666264.2336 | 1213006.1115
17 | 2666252.823 | 1213011.2049
18 | 2666260.2177 | 1212990.7727
19 | 2666176.7479 | 1213131.6015
20 | 2666164.9803 | 1213121.7328
21 | 2666188.3026 | 1213141.2916
22 | 2666155.7825 | 1213114.0193
23 | 2666200.3389 | 1213151.3856
24 | 2666167.9968 | 1213097.504
25 | 2666207.8975 | 1213157.7245
26 | 2666182.8999 | 1213077.3529
27 | 2666194.4041 | 1213062.5672
28 | 2666210.9261 | 1213159.9676
29 | 2666219.0984 | 1213143.1114
30 | 2666267.1209 | 1213065.4515
31 | 2666190.9568 | 1212984.5959
32 | 2666192.8989 | 1212986.2073
33 | 2666199.6357 | 1212972.3144
34 | 2666216.053 | 1212946.6776
35 | 2666184.8295 | 1212998.0137
36 | 2666174.2292 | 1213038.94
37 | 2666182.0696 | 1213044.5883
38 | 2666232.0979 | 1213017.7953
39 | 2666206.352 | 1212997.3694
40 | 2666201.0149 | 1212970.3627
41 | 2666198.9379 | 1213056.7402
42 | 2666208.3222 | 1213047.8149
43 | 2666227.1496 | 1213178.2439
44 | 2666221.7844 | 1213185.6927
45 | 2666224.1559 | 1213012.1415
46 | 2666218.2554 | 1213038.2293
47 | 2666216.4695 | 1213040.066
48 | 2666232.0979 | 1213017.7953

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97758 | -0.43075 | 0.0071693 | 0.0017968
1 | 0.97776 | -0.42735 | 0.0058658 | 0.0014701
2 | 0.97756 | -0.43128 | 0.0059819 | 0.0014992
3 | 0.97826 | -0.41736 | 0 | 0
4 | 0.97685 | -0.445 | 0.0066493 | 0.0016665
5 | 0.97923 | -0.39842 | 0 | 0
6 | 0.97505 | -0.48038 | 0.021118 | 0.0052927
7 | 0.97883 | -0.40639 | 0.021451 | 0.0053761
8 | 0.98232 | -0.33821 | 0.017581 | 0.0044062
9 | 0.98642 | -0.26129 | 0 | 0
10 | 0.98679 | -0.25403 | 0 | 0
11 | 0.98468 | -0.29523 | 0.056036 | 0.014044
12 | 0.97299 | -0.5209 | 0 | 0
13 | 0.97169 | -0.54677 | 0.025079 | 0.0062855
14 | 0.97344 | -0.51219 | 0.0080968 | 0.0020293
15 | 0.98802 | -0.23019 | 0.026085 | 0.0065376
16 | 0.99598 | -0.077074 | 0 | 0
17 | 0.9963 | -0.070766 | 0.032254 | 0.0080835
18 | 0.99555 | -0.085372 | 0.028739 | 0.0072026
19 | 0.98743 | -0.23935 | 0.003985 | 0.00099874
20 | 0.9888 | -0.21307 | 0.0039878 | 0.00099945
21 | 0.98612 | -0.26468 | 0.0039856 | 0.00099888
22 | 0.98989 | -0.19216 | 0 | 0
23 | 0.98478 | -0.29057 | 0.0039882 | 0.00099954
24 | 0.99175 | -0.15649 | 0.014902 | 0.0037347
25 | 0.98396 | -0.30651 | 0 | 0
26 | 0.9942 | -0.10985 | 0 | 0
27 | 0.99603 | -0.075134 | 0.018023 | 0.004517
28 | 0.98389 | -0.30785 | 0.0046345 | 0.0011615
29 | 0.98259 | -0.33306 | 0.013146 | 0.0032947
30 | 0.97391 | -0.50286 | 0.027801 | 0.0069675
31 | 0.99288 | -0.13636 | 0 | 0
32 | 0.99317 | -0.13064 | 0 | 0
33 | 0.9911 | -0.17058 | 0.033421 | 0.0083761
34 | 0.98871 | -0.21677 | 0.0020667 | 0.00051797
35 | 0.9931 | -0.13201 | 0.0054373 | 0.0013627
36 | 0.99629 | -0.070369 | 0.0074316 | 0.0018625
37 | 0.99635 | -0.069108 | 0.016651 | 0.004173
38 | 0.99753 | -0.047147 | 0 | 0
39 | 0.99532 | -0.089359 | 0.0080432 | 0.0020158
40 | 0.99089 | -0.17461 | 0.010872 | 0.0027247
41 | 0.99681 | -0.060322 | 0 | 0
42 | 0.99832 | -0.031666 | 0.008452 | 0.0021183
43 | 0.98349 | -0.31572 | 0.010478 | 0.0026261
44 | 0.98345 | -0.31649 | 0.0046338 | 0.0011613
45 | 0.99683 | -0.060511 | 0.014229 | 0.0035661
46 | 1 | 0 | -0.49448 | -0.12588
47 | 0.99968 | -0.0060293 | 0.008452 | 0.0021183
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013151 | -0.003296 | 0.013154 | 0.0032972 | 2.1318e-06 | 1.1865e-06 | 0.020018 | 0.020018 | 0.020018 | 0.97758 | -0.43075 | 0.97776 | -0.42735 | 5.4995
1 | 0.0059821 | 0.0014992 | -0.0059819 | -0.0014992 | 1.5021e-07 | 3.5563e-08 | 0.0091055 | 0.0091055 | 0.0091055 | 0.97758 | -0.43075 | 0.97756 | -0.43128 | 2.5015
2 | -0.019019 | -0.0047673 | 0.019028 | 0.0047728 | 9.0565e-06 | 5.4345e-06 | 0.028945 | 0.028945 | 0.028945 | 0.97776 | -0.42735 | 0.97826 | -0.41736 | 7.952
3 | 0.089123 | 0.022482 | -0.089005 | -0.022407 | 0.00011777 | 7.5157e-05 | 0.13562 | 0.13562 | 0.13562 | 0.97826 | -0.41736 | 0.97685 | -0.445 | 37.2569
4 | -0.10815 | -0.027255 | 0.10825 | 0.027317 | 9.8087e-05 | 6.2654e-05 | 0.16456 | 0.16456 | 0.16456 | 0.97826 | -0.41736 | 0.97923 | -0.39842 | 45.2088
5 | 0.082356 | 0.02074 | -0.082217 | -0.020651 | 0.00013908 | 8.8719e-05 | 0.12549 | 0.12549 | 0.12549 | 0.97685 | -0.445 | 0.97505 | -0.48038 | 34.4743
6 | 0.021459 | 0.005381 | -0.021451 | -0.0053761 | 8.1493e-06 | 4.9586e-06 | 0.032609 | 0.032609 | 0.032609 | 0.97923 | -0.39842 | 0.97883 | -0.40639 | 8.9587
7 | -0.12971 | -0.032698 | 0.13008 | 0.032938 | 0.00037488 | 0.0002396 | 0.19717 | 0.19717 | 0.19717 | 0.97923 | -0.39842 | 0.98232 | -0.33821 | 54.1674
8 | 0.061099 | 0.015359 | -0.061033 | -0.015317 | 6.551e-05 | 4.1676e-05 | 0.093259 | 0.093259 | 0.093259 | 0.97505 | -0.48038 | 0.97391 | -0.50286 | 25.6205
9 | -0.14766 | -0.037344 | 0.1477 | 0.037367 | 3.6507e-05 | 2.3266e-05 | 0.2238 | 0.2238 | 0.2238 | 0.98232 | -0.33821 | 0.98259 | -0.33306 | 30.7418
10 | -0.056126 | -0.014101 | 0.056146 | 0.014114 | 1.9457e-05 | 1.236e-05 | 0.084679 | 0.084679 | 0.084679 | 0.98642 | -0.26129 | 0.98679 | -0.25403 | 23.2635
11 | 0.056126 | 0.014101 | -0.056036 | -0.014044 | 9.0761e-05 | 5.7657e-05 | 0.084679 | 0.084679 | 0.084679 | 0.98642 | -0.26129 | 0.98468 | -0.29523 | 23.2636
12 | -0.056146 | -0.014114 | 0.05621 | 0.014154 | 6.3983e-05 | 4.0645e-05 | 0.084679 | 0.084679 | 0.084679 | 0.98679 | -0.25403 | 0.98802 | -0.23019 | 23.2635
13 | 0.02511 | 0.0063046 | -0.025079 | -0.0062855 | 3.0959e-05 | 1.9119e-05 | 0.038406 | 0.038406 | 0.038406 | 0.97299 | -0.5209 | 0.97169 | -0.54677 | 10.5511
14 | -0.02511 | -0.0063046 | 0.025121 | 0.0063111 | 1.0433e-05 | 6.4426e-06 | 0.038406 | 0.038406 | 0.038406 | 0.97299 | -0.5209 | 0.97344 | -0.51219 | 10.5511
15 | -0.033218 | -0.0083403 | 0.033233 | 0.0083496 | 1.4786e-05 | 9.2728e-06 | 0.050783 | 0.050783 | 0.050783 | 0.97344 | -0.51219 | 0.97391 | -0.50286 | 13.9513
16 | -0.082295 | -0.020692 | 0.082348 | 0.020726 | 5.2786e-05 | 3.3666e-05 | 0.12396 | 0.12396 | 0.12396 | 0.98802 | -0.23019 | 0.98871 | -0.21677 | 34.0563
17 | -0.02875 | -0.0072096 | 0.028759 | 0.007215 | 8.646e-06 | 5.3708e-06 | 0.042955 | 0.042955 | 0.042955 | 0.99598 | -0.077074 | 0.9963 | -0.070766 | 11.8008
18 | 0.02875 | 0.0072096 | -0.028739 | -0.0072026 | 1.1365e-05 | 7.0602e-06 | 0.042955 | 0.042955 | 0.042955 | 0.99598 | -0.077074 | 0.99555 | -0.085372 | 11.8008
19 | -0.061012 | -0.015299 | 0.061081 | 0.015342 | 6.876e-05 | 4.3719e-05 | 0.091127 | 0.091127 | 0.091127 | 0.9963 | -0.070766 | 0.99753 | -0.047147 | 25.0349
20 | -0.19336 | -0.049125 | 0.19361 | 0.049282 | 0.0002449 | 0.00015634 | 0.29163 | 0.29163 | 0.29163 | 0.98743 | -0.23935 | 0.9888 | -0.21307 | 40.0587
21 | 0.18938 | 0.048127 | -0.18915 | -0.047979 | 0.00023067 | 0.00014724 | 0.28562 | 0.28562 | 0.28562 | 0.98743 | -0.23935 | 0.98612 | -0.26468 | 39.2338
22 | -0.1976 | -0.050281 | 0.1978 | 0.050409 | 0.00019938 | 0.00012729 | 0.29763 | 0.29763 | 0.29763 | 0.9888 | -0.21307 | 0.98989 | -0.19216 | 40.883
23 | 0.18516 | 0.046981 | -0.18493 | -0.046834 | 0.00023027 | 0.00014697 | 0.27961 | 0.27961 | 0.27961 | 0.98612 | -0.26468 | 0.98478 | -0.29057 | 38.4077
24 | -0.1978 | -0.050409 | 0.19814 | 0.050626 | 0.00034117 | 0.00021782 | 0.29763 | 0.29763 | 0.29763 | 0.98989 | -0.19216 | 0.99175 | -0.15649 | 40.883
25 | 0.18094 | 0.045834 | -0.18081 | -0.045746 | 0.00013844 | 8.8352e-05 | 0.27358 | 0.27358 | 0.27358 | 0.98478 | -0.29057 | 0.98396 | -0.30651 | 37.58
26 | -0.21304 | -0.054361 | 0.21352 | 0.054668 | 0.00048117 | 0.0003073 | 0.31999 | 0.31999 | 0.31999 | 0.99175 | -0.15649 | 0.9942 | -0.10985 | 43.9541
27 | 0.019754 | 0.004953 | -0.019753 | -0.0049522 | 1.2613e-06 | 7.5937e-07 | 0.029874 | 0.029874 | 0.029874 | 0.98396 | -0.30651 | 0.98389 | -0.30785 | 8.2072
28 | 0.16105 | 0.040793 | -0.16085 | -0.040662 | 0.00020504 | 0.00013076 | 0.24371 | 0.24371 | 0.24371 | 0.98396 | -0.30651 | 0.98259 | -0.33306 | 33.4764
29 | -0.21352 | -0.054668 | 0.21388 | 0.054898 | 0.00035966 | 0.0002297 | 0.31999 | 0.31999 | 0.31999 | 0.9942 | -0.10985 | 0.99603 | -0.075134 | 43.9541
30 | -0.2319 | -0.059415 | 0.23207 | 0.059521 | 0.0001666 | 0.00010643 | 0.34691 | 0.34691 | 0.34691 | 0.99603 | -0.075134 | 0.99681 | -0.060322 | 47.6526
31 | 0.015118 | 0.0037907 | -0.015112 | -0.0037875 | 5.6648e-06 | 3.2587e-06 | 0.022865 | 0.022865 | 0.022865 | 0.98389 | -0.30785 | 0.98349 | -0.31572 | 6.2816
32 | -0.12911 | -0.0326 | 0.12914 | 0.032623 | 3.5398e-05 | 2.2622e-05 | 0.19358 | 0.19358 | 0.19358 | 0.99288 | -0.13636 | 0.99317 | -0.13064 | 53.1809
33 | 0.12911 | 0.0326 | -0.1289 | -0.032465 | 0.00021133 | 0.00013505 | 0.19358 | 0.19358 | 0.19358 | 0.99288 | -0.13636 | 0.9911 | -0.17058 | 53.1809
34 | -0.13458 | -0.033985 | 0.13485 | 0.034156 | 0.00026676 | 0.0001705 | 0.20173 | 0.20173 | 0.20173 | 0.99317 | -0.13064 | 0.99532 | -0.089359 | 55.419
35 | 0.0054377 | 0.0013628 | -0.0054373 | -0.0013627 | 3.5594e-07 | 4.2754e-08 | 0.0081469 | 0.008147 | 0.008147 | 0.99317 | -0.13064 | 0.9931 | -0.13201 | 2.2382
36 | 0.095475 | 0.024089 | -0.095456 | -0.024077 | 1.8428e-05 | 1.1763e-05 | 0.1434 | 0.1434 | 0.1434 | 0.9911 | -0.17058 | 0.99089 | -0.17461 | 39.3958
37 | -0.084414 | -0.021244 | 0.084585 | 0.021352 | 0.00017044 | 0.00010872 | 0.12708 | 0.12708 | 0.12708 | 0.98871 | -0.21677 | 0.99089 | -0.17461 | 34.9108
38 | -0.0074316 | -0.0018625 | 0.0074321 | 0.0018627 | 4.4643e-07 | 1.5987e-07 | 0.0111 | 0.011099 | 0.0111 | 0.99629 | -0.070369 | 0.99635 | -0.069108 | 3.0493
39 | -0.024083 | -0.0060357 | 0.024093 | 0.0060419 | 1.0085e-05 | 6.1835e-06 | 0.035967 | 0.035966 | 0.035967 | 0.99635 | -0.069108 | 0.99681 | -0.060322 | 9.8809
40 | -0.2185 | -0.055271 | 0.21899 | 0.055587 | 0.00049548 | 0.00031646 | 0.32612 | 0.32612 | 0.32612 | 0.99753 | -0.047147 | 1 | 0 | 44.7962
41 | 0.15742 | 0.039928 | -0.15732 | -0.039864 | 0.00010108 | 6.4438e-05 | 0.23499 | 0.23499 | 0.23499 | 0.99753 | -0.047147 | 0.99683 | -0.060511 | 32.2788
42 | -0.14289 | -0.036172 | 0.14309 | 0.036298 | 0.00019818 | 0.00012624 | 0.21375 | 0.21375 | 0.21375 | 0.99532 | -0.089359 | 0.99683 | -0.060511 | 29.3612
43 | -0.25616 | -0.065563 | 0.25652 | 0.065791 | 0.00035598 | 0.00022749 | 0.38288 | 0.38288 | 0.38288 | 0.99681 | -0.060322 | 0.99832 | -0.031666 | 52.593
44 | -0.26497 | -0.067909 | 0.2653 | 0.06812 | 0.00032973 | 0.00021073 | 0.39547 | 0.39547 | 0.39547 | 0.99832 | -0.031666 | 0.99968 | -0.0060293 | 54.3234
45 | 0.004634 | 0.0011613 | -0.0046338 | -0.0011613 | 1.6923e-07 | -8.1824e-09 | 0.0070112 | 0.0070112 | 0.0070112 | 0.98349 | -0.31572 | 0.98345 | -0.31649 | 1.9262
46 | 0.27383 | 0.070289 | -0.27375 | -0.070238 | 8.0102e-05 | 5.1198e-05 | 0.40805 | 0.40805 | 0.40805 | 1 | 0 | 0.99968 | -0.0060293 | 56.0515

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51523 | 0.13108

## res_load
| p_mw | q_mvar
0 | 0.0071693 | 0.0017968
1 | 0.0058658 | 0.0014701
2 | 0.0059819 | 0.0014992
3 | 0.0066493 | 0.0016665
4 | 0.021118 | 0.0052927
5 | 0.021451 | 0.0053761
6 | 0.017581 | 0.0044062
7 | 0.056036 | 0.014044
8 | 0.025079 | 0.0062855
9 | 0.0080968 | 0.0020293
10 | 0.026085 | 0.0065376
11 | 0.032254 | 0.0080835
12 | 0.028739 | 0.0072026
13 | 0.003985 | 0.00099874
14 | 0.0039878 | 0.00099945
15 | 0.0039856 | 0.00099888
16 | 0.0039882 | 0.00099954
17 | 0.014902 | 0.0037347
18 | 0.018023 | 0.004517
19 | 0.0046345 | 0.0011615
20 | 0.013146 | 0.0032947
21 | 0.027801 | 0.0069675
22 | 0.033421 | 0.0083761
23 | 0.0020667 | 0.00051797
24 | 0.0054373 | 0.0013627
25 | 0.0074316 | 0.0018625
26 | 0.016651 | 0.004173
27 | 0.0080432 | 0.0020158
28 | 0.010872 | 0.0027247
29 | 0.008452 | 0.0021183
30 | 0.010478 | 0.0026261
31 | 0.0046338 | 0.0011613
32 | 0.014229 | 0.0035661
33 | 0.020755 | 0.0052016
34 | 0.008452 | 0.0021183

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1