## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-198_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-198_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-198_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-198_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-198_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-198_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-198_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1061-198_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1061-198_0_6_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1061-198_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1061-198_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1061-198_0_6_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1061-198_0_6_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_1061-198_0_6_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1061-198_0_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1061-198_0_6_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1061-198_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1061-198_0_6_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1061-198_0_6_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_1061-198_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1061-198_0_6_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1061-198_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1061-198_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1061-198_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1061-198_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1061-198_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1061-198_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1061-198_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1061-198_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1061-198_0_6_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1061-198_0_6_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1061-198_0_6_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1061-198_0_6_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1061-198_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1061-198_0_6_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1061-198_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1061-198_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1061-198_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1061-198_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1061-198_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1061-198_0_6_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1061-198_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1061-198_0_6_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_1061-198_0_6_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_1061-198_0_6_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_1061-198_0_6_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1061-198_0_6_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_1061-198_0_6_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_1061-198_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1061-198_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1061-198_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1061-198_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1061-198_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1061-198_0_6_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1061-198_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1061-198_0_6_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1061-198_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1061-198_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1061-198_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1061-198_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_1061-198_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_1061-198_0_6_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_1061-198_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_1061-198_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1061-198_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_1061-198_0_6_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_1061-198_0_6_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_1061-198_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1061-198_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1061-198_0_6_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1061-198_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_1061-198_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1061-198_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_1061-198_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_1061-198_0_6_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_1061-198_0_6_node_79 | 0.4 | n |  | TRUE
76 | bus_MV_213_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-198_0_6_load_0 | 0 | 0.010825 | 0.002713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-198_0_6_load_1 | 1 | 0.0038409 | 0.00096262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-198_0_6_load_2 | 2 | 0.011483 | 0.0028778 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-198_0_6_load_3 | 3 | 0.005865 | 0.0014699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-198_0_6_load_4 | 4 | 0.0045113 | 0.0011306 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-198_0_6_load_5 | 5 | 0.006284 | 0.0015749 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-198_0_6_load_13 | 6 | 0.0046192 | 0.0011577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-198_0_6_load_12 | 8 | 0.0027183 | 0.00068128 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-198_0_6_load_8 | 9 | 0.0067431 | 0.00169 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-198_0_6_load_58 | 12 | 0.019303 | 0.0048379 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-198_0_6_load_51 | 13 | 0.0083826 | 0.0021009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-198_0_6_load_42 | 17 | 0.010447 | 0.0026181 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-198_0_6_load_34 | 18 | 0.030014 | 0.0075222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-198_0_6_load_53 | 21 | 0.0064183 | 0.0016086 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-198_0_6_load_19 | 23 | 0.0059194 | 0.0014835 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-198_0_6_load_20 | 25 | 0.018008 | 0.0045133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-198_0_6_load_16 | 26 | 0.020704 | 0.0051889 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-198_0_6_load_17 | 27 | 0.01809 | 0.0045338 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-198_0_6_load_41 | 28 | 0.0053977 | 0.0013528 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-198_0_6_load_35 | 29 | 0.025198 | 0.0063152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-198_0_6_load_39 | 30 | 0.0046873 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-198_0_6_load_40 | 31 | 0.0056206 | 0.0014087 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-198_0_6_load_37 | 32 | 0.0028297 | 0.00070919 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-198_0_6_load_52 | 33 | 0.0062477 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-198_0_6_load_50 | 34 | 0.025198 | 0.0063152 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-198_0_6_load_25 | 35 | 0.0060527 | 0.0015169 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-198_0_6_load_28 | 38 | 0.0040378 | 0.001012 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-198_0_6_load_49 | 40 | 0.0043782 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-198_0_6_load_74 | 42 | 0.0052302 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-198_0_6_load_80 | 43 | 0.0037096 | 0.00092971 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-198_0_6_load_64 | 46 | 0.0049122 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-198_0_6_load_31 | 48 | 0.0055258 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-198_0_6_load_32 | 49 | 0.0050521 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-198_0_6_load_33 | 50 | 0.0085013 | 0.0021306 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-198_0_6_load_46 | 51 | 0.0044297 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-198_0_6_load_45 | 52 | 0.0059951 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-198_0_6_load_36 | 53 | 0.025226 | 0.0063222 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-198_0_6_load_43 | 54 | 0.0017903 | 0.00044869 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-198_0_6_load_44 | 55 | 0.0016033 | 0.00040182 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-198_0_6_load_57 | 56 | 0.04186 | 0.010491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-198_0_6_load_48 | 57 | 0.059328 | 0.014869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-198_0_6_load_55 | 59 | 0.0050367 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-198_0_6_load_81 | 61 | 0.0043338 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-198_0_6_load_62 | 63 | 0.0084454 | 0.0021166 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-198_0_6_load_63 | 64 | 0.0086281 | 0.0021624 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-198_0_6_load_77 | 65 | 0.0033962 | 0.00085117 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-198_0_6_load_78 | 66 | 0.0046859 | 0.0011744 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-198_0_6_load_67 | 67 | 0.0044806 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-198_0_6_load_68 | 68 | 0.0048483 | 0.0012151 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-198_0_6_load_69 | 69 | 0.0047086 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-198_0_6_load_70 | 70 | 0.0060078 | 0.0015057 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-198_0_6_load_71 | 71 | 0.0066367 | 0.0016633 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-198_0_6_load_72 | 72 | 0.00587 | 0.0014712 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-198_0_6_load_73 | 73 | 0.0052552 | 0.0013171 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-198_0_6_load_76 | 74 | 0.004453 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-198_0_6_load_79 | 75 | 0.0043294 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-198_0_6_line_0 |  | 0 | 1 | 0.0091587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-198_0_6_line_1 |  | 0 | 2 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-198_0_6_line_2 |  | 1 | 3 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-198_0_6_line_3 |  | 2 | 4 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-198_0_6_line_4 |  | 3 | 5 | 0.005099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-198_0_6_line_5 |  | 4 | 6 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-198_0_6_line_6 |  | 5 | 7 | 0.067906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-198_0_6_line_7 |  | 6 | 8 | 0.0044397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-198_0_6_line_8 |  | 7 | 9 | 0.095678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-198_0_6_line_9 |  | 8 | 24 | 0.055848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-198_0_6_line_10 |  | 10 | 11 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-198_0_6_line_11 |  | 10 | 12 | 0.0020038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-198_0_6_line_12 |  | 11 | 13 | 0.0055697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-198_0_6_line_13 |  | 13 | 34 | 0.0067502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-198_0_6_line_14 |  | 14 | 15 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1061-198_0_6_line_15 |  | 14 | 16 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1061-198_0_6_line_16 |  | 14 | 17 | 0.022826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-198_0_6_line_17 |  | 15 | 18 | 0.068902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-198_0_6_line_18 |  | 15 | 19 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1061-198_0_6_line_19 |  | 16 | 20 | 0.046354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1061-198_0_6_line_20 |  | 16 | 21 | 0.044662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-198_0_6_line_21 |  | 17 | 28 | 0.033117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-198_0_6_line_22 |  | 18 | 29 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-198_0_6_line_23 |  | 19 | 25 | 0.026806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-198_0_6_line_24 |  | 19 | 26 | 0.0059406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1061-198_0_6_line_25 |  | 20 | 30 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1061-198_0_6_line_26 |  | 20 | 31 | 0.040884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-198_0_6_line_27 |  | 20 | 32 | 0.010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-198_0_6_line_28 |  | 21 | 33 | 0.021114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-198_0_6_line_29 |  | 22 | 23 | 0.031347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-198_0_6_line_30 |  | 22 | 24 | 0.036295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-198_0_6_line_31 |  | 23 | 27 | 0.036502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-198_0_6_line_32 |  | 26 | 27 | 0.041193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-198_0_6_line_33 |  | 29 | 53 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-198_0_6_line_34 |  | 30 | 54 | 0.028182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1061-198_0_6_line_35 |  | 33 | 58 | 0.019914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-198_0_6_line_36 |  | 34 | 53 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-198_0_6_line_37 |  | 35 | 36 | 0.02322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-198_0_6_line_38 |  | 35 | 37 | 0.087327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-198_0_6_line_39 |  | 36 | 38 | 0.01974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-198_0_6_line_40 |  | 37 | 39 | 0.11191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-198_0_6_line_41 |  | 38 | 40 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-198_0_6_line_42 |  | 39 | 41 | 0.046836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-198_0_6_line_43 |  | 39 | 42 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-198_0_6_line_44 |  | 40 | 45 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-198_0_6_line_45 |  | 41 | 43 | 0.013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-198_0_6_line_46 |  | 41 | 44 | 0.026627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-198_0_6_line_47 |  | 42 | 47 | 0.015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-198_0_6_line_48 |  | 44 | 46 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-198_0_6_line_49 |  | 45 | 57 | 0.0004161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-198_0_6_line_50 |  | 45 | 52 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-198_0_6_line_51 |  | 47 | 74 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-198_0_6_line_52 |  | 47 | 72 | 0.002892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-198_0_6_line_53 |  | 48 | 49 | 0.0015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-198_0_6_line_54 |  | 49 | 50 | 0.0080588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-198_0_6_line_55 |  | 50 | 51 | 0.0097949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-198_0_6_line_56 |  | 51 | 52 | 0.0049335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-198_0_6_line_57 |  | 54 | 55 | 0.03889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1061-198_0_6_line_58 |  | 55 | 56 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1061-198_0_6_line_59 |  | 56 | 57 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1061-198_0_6_line_60 |  | 58 | 59 | 0.006752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-198_0_6_line_61 |  | 58 | 60 | 0.002341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-198_0_6_line_62 |  | 60 | 61 | 0.00669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-198_0_6_line_63 |  | 60 | 62 | 0.069963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-198_0_6_line_64 |  | 62 | 63 | 0.042561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-198_0_6_line_65 |  | 63 | 64 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-198_0_6_line_66 |  | 65 | 66 | 0.013776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-198_0_6_line_67 |  | 66 | 73 | 0.011661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-198_0_6_line_68 |  | 67 | 68 | 0.015781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-198_0_6_line_69 |  | 67 | 69 | 0.0081227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-198_0_6_line_70 |  | 68 | 70 | 0.017425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-198_0_6_line_71 |  | 69 | 71 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-198_0_6_line_72 |  | 70 | 72 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1061-198_0_6_line_73 |  | 71 | 73 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-198_0_6_line_74 |  | 74 | 75 | 0.0031793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-198_0_6_trafo_43 | 0.63 MVA 20/0.4 kV | 76 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2666317.6445 | 1213182.2427 | 2666310.6809 | 1213176.2938
1 | 2666317.6445 | 1213182.2427 | 2666324.9028 | 1213188.4433 | 2666329.1189 | 1213193.2732
2 | 2666310.6809 | 1213176.2938 | 2666299.5418 | 1213166.7779
3 | 2666341.3053 | 1213207.214 | 2666333.7916 | 1213198.6262 | 2666329.1189 | 1213193.2732
4 | 2666295.6648 | 1213163.4659 | 2666299.5418 | 1213166.7779
5 | 2666341.3053 | 1213207.214 | 2666348.3591 | 1213215.2763 | 2666353.5519 | 1213220.1317
6 | 2666243.1458 | 1213120.8596 | 2666252.136 | 1213125.3622 | 2666285.463 | 1213154.7507 | 2666295.6648 | 1213163.4659
7 | 2666356.7948 | 1213223.1639 | 2666356.7948 | 1213223.1639 | 2666353.5519 | 1213220.1317
8 | 2666243.1458 | 1213120.8596 | 2666242.9613 | 1213129.941 | 2666245.4504 | 1213142.4875 | 2666256.0295 | 1213172.1679 | 2666262.2588 | 1213185.8455 | 2666268.4514 | 1213195.9762 | 2666277.7036 | 1213205.596 | 2666279.0617 | 1213207.1237
9 | 2666410.0438 | 1213226.9032 | 2666396.4358 | 1213231.8882 | 2666382.4204 | 1213231.8544 | 2666368.1392 | 1213229.0716 | 2666356.7948 | 1213223.1639
10 | 2666273.8459 | 1213001.8156 | 2666279.1534 | 1213013.682 | 2666281.1516 | 1213018.4516
11 | 2666273.8459 | 1213001.8156 | 2666273.0331 | 1212999.9841
12 | 2666281.1516 | 1213018.4516 | 2666285.1581 | 1213016.8173 | 2666286.3104 | 1213016.352 | 2666286.3104 | 1213016.352
13 | 2666289.1992 | 1213022.4527 | 2666287.2451 | 1213018.3748 | 2666286.3104 | 1213016.352
14 | 2666360.8757 | 1213115.1979 | 2666369.2098 | 1213119.938 | 2666371.7756 | 1213122.1568 | 2666375.9365 | 1213125.7609 | 2666376.862 | 1213126.5605
15 | 2666376.862 | 1213126.5605 | 2666375.9365 | 1213125.7609 | 2666371.7756 | 1213122.1568 | 2666390.4383 | 1213106.6993
16 | 2666376.862 | 1213126.5605 | 2666376.6217 | 1213131.0829 | 2666378.685 | 1213135.453 | 2666380.3915 | 1213137.7512 | 2666388.2335 | 1213144.8862
17 | 2666360.8757 | 1213115.1979 | 2666358.9126 | 1213113.4305 | 2666355.8388 | 1213110.4389 | 2666346.5679 | 1213101.13 | 2666330.4257 | 1213084.6514 | 2666326.276 | 1213080.7139 | 2666319.5668 | 1213074.6689 | 2666316.4704 | 1213070.9767 | 2666312.6979 | 1213066.0623
18 | 2666351.3388 | 1213125.6983 | 2666352.346 | 1213124.62 | 2666355.1918 | 1213121.4719 | 2666358.2222 | 1213118.1257 | 2666360.8757 | 1213115.1979
19 | 2666390.4383 | 1213106.6993 | 2666405.5507 | 1213091.4914 | 2666417.1434 | 1213085.3611 | 2666428.1851 | 1213080.9591
20 | 2666390.4383 | 1213106.6993 | 2666428.5515 | 1213129.9828
21 | 2666412.7287 | 1213167.1728 | 2666388.2335 | 1213144.8862
22 | 2666312.6979 | 1213066.0623 | 2666311.6928 | 1213064.753 | 2666303.4354 | 1213051.7421 | 2666300.8083 | 1213046.8006
23 | 2666351.3388 | 1213125.6983 | 2666346.9862 | 1213122.2478 | 2666339.4536 | 1213115.7933 | 2666331.7751 | 1213107.4594
24 | 2666351.3388 | 1213125.6983 | 2666355.6819 | 1213129.7514
25 | 2666428.1851 | 1213080.9591 | 2666423.1105 | 1213070.3211
26 | 2666428.1851 | 1213080.9591 | 2666440.2577 | 1213080.849 | 2666452.5644 | 1213082.9096 | 2666468.152 | 1213087.7863
27 | 2666428.1851 | 1213080.9591 | 2666432.9915 | 1213090.6012
28 | 2666446.5691 | 1213140.9899 | 2666428.5515 | 1213129.9828
29 | 2666436.658 | 1213202.7735 | 2666432.7324 | 1213199.1942 | 2666429.055 | 1213195.8401 | 2666413.3402 | 1213181.8234
30 | 2666436.658 | 1213202.7735 | 2666426.5319 | 1213215.0128 | 2666420.4277 | 1213220.8373 | 2666410.0438 | 1213226.9032
31 | 2666413.3402 | 1213181.8234 | 2666397.0188 | 1213167.2657 | 2666386.1008 | 1213157.5244
32 | 2666355.6819 | 1213129.7514 | 2666371.1129 | 1213144.1519 | 2666386.1008 | 1213157.5244
33 | 2666300.8083 | 1213046.8006 | 2666298.4646 | 1213042.3921 | 2666294.5623 | 1213034.6551 | 2666294.2975 | 1213034.0471
34 | 2666423.1105 | 1213070.3211 | 2666421.4668 | 1213066.8755 | 2666417.8277 | 1213054.6163 | 2666412.4982 | 1213044.3396
35 | 2666463.422 | 1213151.5843 | 2666460.5279 | 1213149.5174 | 2666446.5691 | 1213140.9899
36 | 2666289.1992 | 1213022.4527 | 2666289.725 | 1213023.55 | 2666294.2975 | 1213034.0471
37 | 2666390.9475 | 1212934.765 | 2666394.9095 | 1212931.6849 | 2666396.5924 | 1212927.2342 | 2666400.1281 | 1212916.7226 | 2666401.1353 | 1212914.5956
38 | 2666403.0973 | 1212839.0742 | 2666400.4852 | 1212841.0019 | 2666400.8368 | 1212841.495 | 2666415.4272 | 1212861.6032 | 2666420.5006 | 1212873.3336 | 2666416.7175 | 1212886.2662 | 2666415.3811 | 1212888.2525 | 2666411.0125 | 1212895.097 | 2666404.7106 | 1212907.0454 | 2666401.1353 | 1212914.5956
39 | 2666390.9475 | 1212934.765 | 2666391.5041 | 1212936.6279 | 2666397.3185 | 1212953.4475 | 2666397.3185 | 1212953.4475
40 | 2666403.0973 | 1212839.0742 | 2666406.6953 | 1212843.4392 | 2666414.0424 | 1212850.2029 | 2666420.4007 | 1212855.0211 | 2666463.5464 | 1212883.5082 | 2666469.3166 | 1212888.609 | 2666482.9218 | 1212902.3358 | 2666489.7146 | 1212909.0601
41 | 2666397.3185 | 1212953.4475 | 2666398.9803 | 1212965.2177 | 2666397.7799 | 1212974.0876
42 | 2666524.4172 | 1212940.4553 | 2666518.0485 | 1212935.9037 | 2666508.7581 | 1212928.3399 | 2666495.0545 | 1212914.5897 | 2666489.7146 | 1212909.0601
43 | 2666489.7146 | 1212909.0601 | 2666489.0071 | 1212909.8305 | 2666475.4255 | 1212924.6439
44 | 2666384.7842 | 1212990.8979 | 2666389.594 | 1212988.0941 | 2666395.1254 | 1212981.874 | 2666397.7799 | 1212974.0876
45 | 2666524.4172 | 1212940.4553 | 2666516.1639 | 1212950.9365
46 | 2666524.4172 | 1212940.4553 | 2666527.4332 | 1212942.5013 | 2666532.5982 | 1212945.9944 | 2666547.0676 | 1212954.4277
47 | 2666468.1285 | 1212937.9375 | 2666475.4255 | 1212924.6439
48 | 2666547.0676 | 1212954.4277 | 2666543.6513 | 1212962.3834 | 2666539.1177 | 1212971.1185
49 | 2666384.7842 | 1212990.8979 | 2666385.0485 | 1212991.2193
50 | 2666384.7842 | 1212990.8979 | 2666380.4845 | 1212978.9105
51 | 2666468.1285 | 1212937.9375 | 2666476.3554 | 1212944.133 | 2666478.4772 | 1212946.279
52 | 2666468.1285 | 1212937.9375 | 2666467.42 | 1212940.7413
53 | 2666372.2822 | 1212956.0434 | 2666372.7909 | 1212957.4614
54 | 2666375.5117 | 1212965.0469 | 2666372.7909 | 1212957.4614
55 | 2666375.5117 | 1212965.0469 | 2666378.8188 | 1212974.2667
56 | 2666380.4845 | 1212978.9105 | 2666378.8188 | 1212974.2667
57 | 2666412.4982 | 1213044.3396 | 2666406.8728 | 1213033.4923 | 2666404.252 | 1213021.2 | 2666404.2669 | 1213010.3156 | 2666403.1998 | 1213007.2803
58 | 2666392.0399 | 1212999.7251 | 2666392.3471 | 1213000.0989 | 2666400.5268 | 1213003.7144 | 2666403.074 | 1213006.9225 | 2666403.1998 | 1213007.2803
59 | 2666385.0485 | 1212991.2193 | 2666392.0399 | 1212999.7251
60 | 2666463.422 | 1213151.5843 | 2666459.5995 | 1213157.1562
61 | 2666463.422 | 1213151.5843 | 2666465.3288 | 1213152.9508
62 | 2666469.1052 | 1213147.4228 | 2666465.3288 | 1213152.9508
63 | 2666465.3288 | 1213152.9508 | 2666467.3411 | 1213154.3852 | 2666468.1063 | 1213153.2152 | 2666468.3921 | 1213152.7848 | 2666483.0839 | 1213162.3545 | 2666497.6509 | 1213172.2118 | 2666499.8621 | 1213174.2044 | 2666500.4935 | 1213173.4443 | 2666502.7415 | 1213170.7788 | 2666503.265 | 1213170.162 | 2666504.6867 | 1213171.4231 | 2666505.3096 | 1213170.7407 | 2666506.1333 | 1213169.0934 | 2666507.1047 | 1213167.1363 | 2666507.6909 | 1213165.6641 | 2666508.2209 | 1213163.78 | 2666508.719 | 1213162.0289 | 2666509.2119 | 1213160.0665 | 2666509.5535 | 1213157.3686 | 2666509.5924 | 1213156.6019 | 2666509.6061 | 1213154.6898 | 2666509.5739 | 1213152.1323
64 | 2666509.5739 | 1213152.1323 | 2666507.7258 | 1213150.2772 | 2666501.6856 | 1213144.2172 | 2666492.1799 | 1213134.8721 | 2666488.4141 | 1213132.6288 | 2666483.7393 | 1213130.1529 | 2666479.8628 | 1213128.2974 | 2666476.4393 | 1213126.0687
65 | 2666467.5089 | 1213120.2548 | 2666476.4393 | 1213126.0687
66 | 2666531.2171 | 1213015.824 | 2666528.2489 | 1213014.4217 | 2666519.1036 | 1213009.2769
67 | 2666508.9402 | 1213003.5593 | 2666519.1036 | 1213009.2769
68 | 2666479.664 | 1212986.2664 | 2666478.2078 | 1212985.1235 | 2666470.2291 | 1212973.7053
69 | 2666479.664 | 1212986.2664 | 2666483.3666 | 1212989.1724 | 2666486.3438 | 1212990.8472
70 | 2666470.2291 | 1212973.7053 | 2666470.2291 | 1212973.7053 | 2666465.9859 | 1212963.1737 | 2666465.465 | 1212957.1253
71 | 2666486.3438 | 1212990.8472 | 2666497.0871 | 1212996.8911
72 | 2666467.42 | 1212940.7413 | 2666464.9097 | 1212950.6762 | 2666465.465 | 1212957.1253
73 | 2666508.9402 | 1213003.5593 | 2666497.0871 | 1212996.8911
74 | 2666480.7125 | 1212948.5398 | 2666478.4772 | 1212946.279

## bus_geodata
| x | y | coords
0 | 2666317.6445 | 1213182.2427
1 | 2666310.6809 | 1213176.2938
2 | 2666329.1189 | 1213193.2732
3 | 2666299.5418 | 1213166.7779
4 | 2666341.3053 | 1213207.214
5 | 2666295.6648 | 1213163.4659
6 | 2666353.5519 | 1213220.1317
7 | 2666243.1458 | 1213120.8596
8 | 2666356.7948 | 1213223.1639
9 | 2666279.0617 | 1213207.1237
10 | 2666273.8459 | 1213001.8156
11 | 2666281.1516 | 1213018.4516
12 | 2666273.0331 | 1212999.9841
13 | 2666286.3104 | 1213016.352
14 | 2666376.862 | 1213126.5605
15 | 2666360.8757 | 1213115.1979
16 | 2666390.4383 | 1213106.6993
17 | 2666388.2335 | 1213144.8862
18 | 2666312.6979 | 1213066.0623
19 | 2666351.3388 | 1213125.6983
20 | 2666428.1851 | 1213080.9591
21 | 2666428.5515 | 1213129.9828
22 | 2666436.658 | 1213202.7735
23 | 2666413.3402 | 1213181.8234
24 | 2666410.0438 | 1213226.9032
25 | 2666331.7751 | 1213107.4594
26 | 2666355.6819 | 1213129.7514
27 | 2666386.1008 | 1213157.5244
28 | 2666412.7287 | 1213167.1728
29 | 2666300.8083 | 1213046.8006
30 | 2666423.1105 | 1213070.3211
31 | 2666468.152 | 1213087.7863
32 | 2666432.9915 | 1213090.6012
33 | 2666446.5691 | 1213140.9899
34 | 2666289.1992 | 1213022.4527
35 | 2666401.1353 | 1212914.5956
36 | 2666390.9475 | 1212934.765
37 | 2666403.0973 | 1212839.0742
38 | 2666397.3185 | 1212953.4475
39 | 2666489.7146 | 1212909.0601
40 | 2666397.7799 | 1212974.0876
41 | 2666524.4172 | 1212940.4553
42 | 2666475.4255 | 1212924.6439
43 | 2666516.1639 | 1212950.9365
44 | 2666547.0676 | 1212954.4277
45 | 2666384.7842 | 1212990.8979
46 | 2666539.1177 | 1212971.1185
47 | 2666468.1285 | 1212937.9375
48 | 2666372.2822 | 1212956.0434
49 | 2666372.7909 | 1212957.4614
50 | 2666375.5117 | 1212965.0469
51 | 2666378.8188 | 1212974.2667
52 | 2666380.4845 | 1212978.9105
53 | 2666294.2975 | 1213034.0471
54 | 2666412.4982 | 1213044.3396
55 | 2666403.1998 | 1213007.2803
56 | 2666392.0399 | 1212999.7251
57 | 2666385.0485 | 1212991.2193
58 | 2666463.422 | 1213151.5843
59 | 2666459.5995 | 1213157.1562
60 | 2666465.3288 | 1213152.9508
61 | 2666469.1052 | 1213147.4228
62 | 2666509.5739 | 1213152.1323
63 | 2666476.4393 | 1213126.0687
64 | 2666467.5089 | 1213120.2548
65 | 2666531.2171 | 1213015.824
66 | 2666519.1036 | 1213009.2769
67 | 2666479.664 | 1212986.2664
68 | 2666470.2291 | 1212973.7053
69 | 2666486.3438 | 1212990.8472
70 | 2666465.465 | 1212957.1253
71 | 2666497.0871 | 1212996.8911
72 | 2666467.42 | 1212940.7413
73 | 2666508.9402 | 1213003.5593
74 | 2666478.4772 | 1212946.279
75 | 2666480.7125 | 1212948.5398
76 | 2666428.1851 | 1213080.9591

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97261 | -0.52802 | 0.010825 | 0.002713
1 | 0.97242 | -0.53186 | 0.0038409 | 0.00096262
2 | 0.97311 | -0.51816 | 0.011483 | 0.0028778
3 | 0.97216 | -0.53697 | 0.005865 | 0.0014699
4 | 0.97389 | -0.50282 | 0.0045113 | 0.0011306
5 | 0.9721 | -0.53819 | 0.006284 | 0.0015749
6 | 0.97471 | -0.4866 | 0.0046192 | 0.0011577
7 | 0.97167 | -0.54665 | 0 | 0
8 | 0.97494 | -0.48219 | 0.0027183 | 0.00068128
9 | 0.97107 | -0.55857 | 0.0067431 | 0.00169
10 | 0.97455 | -0.49027 | 0 | 0
11 | 0.97488 | -0.48383 | 0 | 0
12 | 0.97452 | -0.49098 | 0.019303 | 0.0048379
13 | 0.97498 | -0.48186 | 0.0083826 | 0.0021009
14 | 0.98907 | -0.20778 | 0 | 0
15 | 0.98753 | -0.23744 | 0 | 0
16 | 0.99164 | -0.15848 | 0 | 0
17 | 0.98874 | -0.21423 | 0.010447 | 0.0026181
18 | 0.97899 | -0.40305 | 0.030014 | 0.0075222
19 | 0.987 | -0.24755 | 0 | 0
20 | 0.99605 | -0.074528 | 0 | 0
21 | 0.99004 | -0.1895 | 0.0064183 | 0.0016086
22 | 0.97983 | -0.38653 | 0 | 0
23 | 0.98149 | -0.35421 | 0.0059194 | 0.0014835
24 | 0.9779 | -0.4241 | 0 | 0
25 | 0.98656 | -0.25619 | 0.018008 | 0.0045133
26 | 0.98672 | -0.25295 | 0.020704 | 0.0051889
27 | 0.98363 | -0.31281 | 0.01809 | 0.0045338
28 | 0.98858 | -0.21742 | 0.0053977 | 0.0013528
29 | 0.97682 | -0.44571 | 0.025198 | 0.0063152
30 | 0.99721 | -0.052717 | 0.0046873 | 0.0011748
31 | 0.99584 | -0.078566 | 0.0056206 | 0.0014087
32 | 0.99603 | -0.075064 | 0.0028297 | 0.00070919
33 | 0.98941 | -0.20178 | 0.0062477 | 0.0015658
34 | 0.97515 | -0.47844 | 0.025198 | 0.0063152
35 | 0.9894 | -0.20176 | 0.0060527 | 0.0015169
36 | 0.99101 | -0.17097 | 0 | 0
37 | 0.98382 | -0.30893 | 0 | 0
38 | 0.99238 | -0.14487 | 0.0040378 | 0.001012
39 | 0.97668 | -0.44805 | 0 | 0
40 | 0.99391 | -0.11592 | 0.0043782 | 0.0010973
41 | 0.9763 | -0.45543 | 0 | 0
42 | 0.9755 | -0.47122 | 0.0052302 | 0.0013108
43 | 0.97626 | -0.45633 | 0.0037096 | 0.00092971
44 | 0.97618 | -0.45782 | 0 | 0
45 | 0.99561 | -0.08358 | 0 | 0
46 | 0.9761 | -0.45948 | 0.0049122 | 0.0012311
47 | 0.97473 | -0.48642 | 0 | 0
48 | 0.99491 | -0.097167 | 0.0055258 | 0.0013849
49 | 0.99492 | -0.097021 | 0.0050521 | 0.0012662
50 | 0.995 | -0.09552 | 0.0085013 | 0.0021306
51 | 0.99517 | -0.09223 | 0.0044297 | 0.0011102
52 | 0.99527 | -0.090189 | 0.0059951 | 0.0015025
53 | 0.97578 | -0.46617 | 0.025226 | 0.0063222
54 | 1 | 0 | -0.54616 | -0.13963
55 | 0.99744 | -0.048773 | 0.0016033 | 0.00040182
56 | 0.99653 | -0.066138 | 0.04186 | 0.010491
57 | 0.99566 | -0.082757 | 0.059328 | 0.014869
58 | 0.98893 | -0.21117 | 0 | 0
59 | 0.98889 | -0.21177 | 0.0050367 | 0.0012623
60 | 0.98888 | -0.21206 | 0 | 0
61 | 0.98885 | -0.21258 | 0.0043338 | 0.0010862
62 | 0.98778 | -0.23338 | 0 | 0
63 | 0.98711 | -0.24637 | 0.0084454 | 0.0021166
64 | 0.98703 | -0.24801 | 0.0086281 | 0.0021624
65 | 0.97228 | -0.53467 | 0.0033962 | 0.00085117
66 | 0.97232 | -0.53381 | 0.0046859 | 0.0011744
67 | 0.973 | -0.5205 | 0.0044806 | 0.0011229
68 | 0.97343 | -0.51203 | 0.0048483 | 0.0012151
69 | 0.97281 | -0.52419 | 0.0047086 | 0.0011801
70 | 0.97398 | -0.50114 | 0.0060078 | 0.0015057
71 | 0.97258 | -0.52873 | 0.0066367 | 0.0016633
72 | 0.9746 | -0.48885 | 0.00587 | 0.0014712
73 | 0.97241 | -0.53207 | 0.0052552 | 0.0013171
74 | 0.97462 | -0.48856 | 0.004453 | 0.001116
75 | 0.9746 | -0.48881 | 0.0043294 | 0.001085
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022749 | 0.0057053 | -0.022745 | -0.0057028 | 4.1607e-06 | 2.5492e-06 | 0.034806 | 0.034806 | 0.034806 | 0.97261 | -0.52802 | 0.97242 | -0.53186 | 9.562
1 | -0.033574 | -0.0084183 | 0.03359 | 0.0084282 | 1.5789e-05 | 9.907e-06 | 0.051367 | 0.051367 | 0.051367 | 0.97261 | -0.52802 | 0.97311 | -0.51816 | 14.1118
2 | 0.018904 | 0.0047402 | -0.018899 | -0.0047374 | 4.5975e-06 | 2.7607e-06 | 0.028928 | 0.028928 | 0.028928 | 0.97242 | -0.53186 | 0.97216 | -0.53697 | 7.9473
3 | -0.045072 | -0.011306 | 0.045105 | 0.011327 | 3.2987e-05 | 2.0881e-05 | 0.068925 | 0.068925 | 0.068925 | 0.97311 | -0.51816 | 0.97389 | -0.50282 | 18.9355
4 | 0.013034 | 0.0032675 | -0.013034 | -0.0032671 | 7.6113e-07 | 4.239e-07 | 0.019951 | 0.019951 | 0.019951 | 0.97216 | -0.53697 | 0.9721 | -0.53819 | 5.4811
5 | -0.049617 | -0.012458 | 0.049655 | 0.012482 | 3.8417e-05 | 2.4365e-05 | 0.075818 | 0.075818 | 0.075818 | 0.97389 | -0.50282 | 0.97471 | -0.4866 | 20.8291
6 | 0.0067497 | 0.0016922 | -0.006747 | -0.0016913 | 2.7185e-06 | 8.9835e-07 | 0.010332 | 0.010332 | 0.010332 | 0.9721 | -0.53819 | 0.97167 | -0.54665 | 2.8386
7 | -0.054274 | -0.01364 | 0.054286 | 0.013647 | 1.1434e-05 | 7.2621e-06 | 0.08287 | 0.08287 | 0.08287 | 0.97471 | -0.4866 | 0.97494 | -0.48219 | 22.7664
8 | 0.006747 | 0.0016913 | -0.0067431 | -0.00169 | 3.8306e-06 | 1.2672e-06 | 0.010332 | 0.010333 | 0.010333 | 0.97167 | -0.54665 | 0.97107 | -0.55857 | 2.8387
9 | -0.057004 | -0.014328 | 0.057163 | 0.014429 | 0.00015858 | 0.0001008 | 0.087019 | 0.087018 | 0.087019 | 0.97494 | -0.48219 | 0.9779 | -0.4241 | 23.9062
10 | -0.019304 | -0.0048383 | 0.01931 | 0.0048419 | 5.918e-06 | 3.5611e-06 | 0.029475 | 0.029475 | 0.029475 | 0.97455 | -0.49027 | 0.97488 | -0.48383 | 8.0975
11 | 0.019304 | 0.0048383 | -0.019303 | -0.0048379 | 6.5283e-07 | 3.9284e-07 | 0.029475 | 0.029475 | 0.029475 | 0.97455 | -0.49027 | 0.97452 | -0.49098 | 8.0975
12 | -0.01931 | -0.0048419 | 0.019312 | 0.004843 | 1.8146e-06 | 1.0919e-06 | 0.029475 | 0.029475 | 0.029475 | 0.97488 | -0.48383 | 0.97498 | -0.48186 | 8.0975
13 | -0.027694 | -0.0069438 | 0.027699 | 0.0069466 | 4.5225e-06 | 2.8102e-06 | 0.042268 | 0.042268 | 0.042268 | 0.97498 | -0.48186 | 0.97515 | -0.47844 | 11.6122
14 | 0.25561 | 0.065098 | -0.25525 | -0.064865 | 0.00036502 | 0.00023286 | 0.38493 | 0.38493 | 0.38493 | 0.98907 | -0.20778 | 0.98753 | -0.23744 | 35.2502
15 | -0.27146 | -0.069072 | 0.27211 | 0.069485 | 0.00064669 | 0.00041269 | 0.40878 | 0.40878 | 0.40878 | 0.98907 | -0.20778 | 0.99164 | -0.15848 | 37.4339
16 | 0.01585 | 0.0039739 | -0.015845 | -0.003971 | 4.8674e-06 | 2.8223e-06 | 0.023846 | 0.023846 | 0.023846 | 0.98907 | -0.20778 | 0.98874 | -0.21423 | 6.5512
17 | 0.13472 | 0.034306 | -0.13365 | -0.033624 | 0.0010668 | 0.00068186 | 0.20319 | 0.20319 | 0.20319 | 0.98753 | -0.23744 | 0.97899 | -0.40305 | 55.8217
18 | 0.12053 | 0.030559 | -0.12047 | -0.030522 | 5.8567e-05 | 3.6939e-05 | 0.18174 | 0.18174 | 0.18174 | 0.98753 | -0.23744 | 0.987 | -0.24755 | 16.643
19 | -0.31134 | -0.07936 | 0.31261 | 0.080169 | 0.0012672 | 0.00080922 | 0.46766 | 0.46766 | 0.46766 | 0.99164 | -0.15848 | 0.99605 | -0.074528 | 42.8258
20 | 0.039229 | 0.0098751 | -0.039171 | -0.0098385 | 5.8066e-05 | 3.6587e-05 | 0.058881 | 0.058881 | 0.058881 | 0.99164 | -0.15848 | 0.99004 | -0.1895 | 16.176
21 | 0.0053985 | 0.0013529 | -0.0053977 | -0.0013528 | 8.1976e-07 | 9.9979e-08 | 0.0081246 | 0.0081247 | 0.0081247 | 0.98874 | -0.21423 | 0.98858 | -0.21742 | 2.2321
22 | 0.10364 | 0.026102 | -0.10343 | -0.025967 | 0.00021095 | 0.00013473 | 0.15757 | 0.15757 | 0.15757 | 0.97899 | -0.40305 | 0.97682 | -0.44571 | 43.2888
23 | 0.018016 | 0.0045177 | -0.018008 | -0.0045133 | 7.416e-06 | 4.4038e-06 | 0.027161 | 0.027162 | 0.027162 | 0.987 | -0.24755 | 0.98656 | -0.25619 | 7.462
24 | 0.10246 | 0.026004 | -0.10243 | -0.025987 | 2.6616e-05 | 1.6882e-05 | 0.15458 | 0.15458 | 0.15458 | 0.987 | -0.24755 | 0.98672 | -0.25295 | 21.2336
25 | -0.32106 | -0.082287 | 0.3214 | 0.082504 | 0.00033985 | 0.00021704 | 0.48028 | 0.48028 | 0.48028 | 0.99605 | -0.074528 | 0.99721 | -0.052717 | 43.9819
26 | 0.0056217 | 0.0014088 | -0.0056206 | -0.0014087 | 1.0814e-06 | 1.6004e-07 | 0.0083983 | 0.0083985 | 0.0083985 | 0.99605 | -0.074528 | 0.99584 | -0.078566 | 2.3073
27 | 0.0028298 | 0.0007091 | -0.0028297 | -0.00070919 | 7.2201e-08 | -9.4017e-08 | 0.0042274 | 0.0042274 | 0.0042274 | 0.99605 | -0.074528 | 0.99603 | -0.075064 | 1.1614
28 | 0.032753 | 0.00823 | -0.032733 | -0.0082179 | 1.9192e-05 | 1.2012e-05 | 0.049234 | 0.049234 | 0.049234 | 0.99004 | -0.1895 | 0.98941 | -0.20178 | 13.5259
29 | -0.057266 | -0.014494 | 0.057355 | 0.014551 | 8.9012e-05 | 5.6572e-05 | 0.087018 | 0.087018 | 0.087018 | 0.97983 | -0.38653 | 0.98149 | -0.35421 | 23.9061
30 | 0.057266 | 0.014494 | -0.057163 | -0.014429 | 0.00010306 | 6.5503e-05 | 0.087018 | 0.087018 | 0.087018 | 0.97983 | -0.38653 | 0.9779 | -0.4241 | 23.9061
31 | -0.063274 | -0.016035 | 0.0634 | 0.016115 | 0.00012613 | 8.0262e-05 | 0.095992 | 0.095992 | 0.095992 | 0.98149 | -0.35421 | 0.98363 | -0.31281 | 26.3715
32 | 0.081726 | 0.020799 | -0.081491 | -0.020649 | 0.00023507 | 0.00014992 | 0.12336 | 0.12336 | 0.12336 | 0.98672 | -0.25295 | 0.98363 | -0.31281 | 33.8897
33 | 0.07823 | 0.019652 | -0.078154 | -0.019604 | 7.629e-05 | 4.8647e-05 | 0.11919 | 0.11919 | 0.11919 | 0.97682 | -0.44571 | 0.97578 | -0.46617 | 32.7436
34 | -0.32609 | -0.083679 | 0.32692 | 0.084213 | 0.00083644 | 0.00053421 | 0.48728 | 0.48728 | 0.48728 | 0.99721 | -0.052717 | 1 | 0 | 44.6224
35 | 0.026486 | 0.0066521 | -0.026474 | -0.0066448 | 1.1852e-05 | 7.3295e-06 | 0.039838 | 0.039838 | 0.039838 | 0.98941 | -0.20178 | 0.98893 | -0.21117 | 10.9445
36 | -0.052897 | -0.013262 | 0.052928 | 0.013281 | 3.0948e-05 | 1.9649e-05 | 0.080719 | 0.080718 | 0.080719 | 0.97515 | -0.47844 | 0.97578 | -0.46617 | 22.1754
37 | -0.075577 | -0.019325 | 0.075689 | 0.019397 | 0.00011277 | 7.1874e-05 | 0.1138 | 0.1138 | 0.1138 | 0.9894 | -0.20176 | 0.99101 | -0.17097 | 31.2641
38 | 0.069524 | 0.017808 | -0.069165 | -0.017579 | 0.00035897 | 0.00022863 | 0.1047 | 0.1047 | 0.1047 | 0.9894 | -0.20176 | 0.98382 | -0.30893 | 28.7634
39 | -0.075689 | -0.019397 | 0.075785 | 0.019458 | 9.587e-05 | 6.1102e-05 | 0.1138 | 0.1138 | 0.1138 | 0.99101 | -0.17097 | 0.99238 | -0.14487 | 31.2641
40 | 0.069165 | 0.017579 | -0.068705 | -0.017286 | 0.00046003 | 0.00029301 | 0.1047 | 0.1047 | 0.1047 | 0.98382 | -0.30893 | 0.97668 | -0.44805 | 28.7635
41 | -0.079823 | -0.02047 | 0.079935 | 0.020541 | 0.00011225 | 7.1572e-05 | 0.11986 | 0.11986 | 0.11986 | 0.99238 | -0.14487 | 0.99391 | -0.11592 | 32.9273
42 | 0.008626 | 0.0021622 | -0.0086229 | -0.0021608 | 3.0336e-06 | 1.3556e-06 | 0.013142 | 0.013142 | 0.013142 | 0.97668 | -0.44805 | 0.9763 | -0.45543 | 3.6106
43 | 0.060079 | 0.015124 | -0.060012 | -0.015082 | 6.6464e-05 | 4.2273e-05 | 0.091557 | 0.091557 | 0.091557 | 0.97668 | -0.44805 | 0.9755 | -0.47122 | 25.1531
44 | -0.084313 | -0.021639 | 0.084446 | 0.021723 | 0.00013254 | 8.4535e-05 | 0.12641 | 0.12641 | 0.12641 | 0.99391 | -0.11592 | 0.99561 | -0.08358 | 34.728
45 | 0.0037098 | 0.00092965 | -0.0037096 | -0.00092971 | 1.5978e-07 | -6.4396e-08 | 0.0056541 | 0.0056542 | 0.0056542 | 0.9763 | -0.45543 | 0.97626 | -0.45633 | 1.5533
46 | 0.0049132 | 0.0012312 | -0.0049126 | -0.0012311 | 5.5993e-07 | 2.5422e-08 | 0.0074883 | 0.0074884 | 0.0074884 | 0.9763 | -0.45543 | 0.97618 | -0.45782 | 2.0573
47 | 0.054782 | 0.013771 | -0.054743 | -0.013746 | 3.9725e-05 | 2.5235e-05 | 0.083579 | 0.083579 | 0.083579 | 0.9755 | -0.47122 | 0.97473 | -0.48642 | 22.9613
48 | 0.0049126 | 0.0012311 | -0.0049122 | -0.0012311 | 3.8903e-07 | 1.7717e-08 | 0.0074884 | 0.0074885 | 0.0074885 | 0.97618 | -0.45782 | 0.9761 | -0.45948 | 2.0573
49 | -0.11397 | -0.029127 | 0.11397 | 0.02913 | 4.5376e-06 | 2.8987e-06 | 0.17053 | 0.17053 | 0.17053 | 0.99561 | -0.08358 | 0.99566 | -0.082757 | 46.8489
50 | 0.029519 | 0.0074038 | -0.02951 | -0.007398 | 9.2966e-06 | 5.7843e-06 | 0.044121 | 0.044121 | 0.044121 | 0.99561 | -0.08358 | 0.99527 | -0.090189 | 12.1211
51 | 0.0087834 | 0.0022015 | -0.0087825 | -0.0022011 | 8.9786e-07 | 4.0866e-07 | 0.013409 | 0.013409 | 0.013409 | 0.97473 | -0.48642 | 0.97462 | -0.48856 | 3.6837
52 | 0.045959 | 0.011544 | -0.045954 | -0.011541 | 5.34e-06 | 3.3815e-06 | 0.07017 | 0.07017 | 0.07017 | 0.97473 | -0.48642 | 0.9746 | -0.48885 | 19.2776
53 | -0.0055258 | -0.0013849 | 0.0055258 | 0.0013849 | 3.8586e-08 | 5.1315e-09 | 0.0082645 | 0.0082645 | 0.0082645 | 0.99491 | -0.097167 | 0.99492 | -0.097021 | 2.2705
54 | -0.010578 | -0.0026511 | 0.010579 | 0.0026515 | 7.5638e-07 | 3.7942e-07 | 0.015821 | 0.015821 | 0.015821 | 0.99492 | -0.097021 | 0.995 | -0.09552 | 4.3463
55 | -0.01908 | -0.0047821 | 0.019083 | 0.0047839 | 2.9906e-06 | 1.7868e-06 | 0.028534 | 0.028534 | 0.028534 | 0.995 | -0.09552 | 0.99517 | -0.09223 | 7.8391
56 | -0.023513 | -0.0058941 | 0.023515 | 0.0058955 | 2.2868e-06 | 1.3995e-06 | 0.035158 | 0.035158 | 0.035158 | 0.99517 | -0.09223 | 0.99527 | -0.090189 | 9.6587
57 | 0.21759 | 0.05542 | -0.21708 | -0.055095 | 0.0005106 | 0.00032526 | 0.32409 | 0.32409 | 0.32409 | 1 | 0 | 0.99744 | -0.048773 | 29.6788
58 | 0.21548 | 0.054693 | -0.2153 | -0.054578 | 0.00017985 | 0.00011456 | 0.3217 | 0.3217 | 0.3217 | 0.99744 | -0.048773 | 0.99653 | -0.066138 | 29.4598
59 | 0.17344 | 0.044087 | -0.1733 | -0.043999 | 0.00013869 | 8.8478e-05 | 0.2592 | 0.2592 | 0.2592 | 0.99653 | -0.066138 | 0.99566 | -0.082757 | 35.6038
60 | 0.0050368 | 0.0012623 | -0.0050367 | -0.0012623 | 1.4543e-07 | 6.45e-09 | 0.0075788 | 0.0075788 | 0.0075788 | 0.98893 | -0.21117 | 0.98889 | -0.21177 | 2.0821
61 | 0.021437 | 0.0053825 | -0.021436 | -0.0053819 | 9.1357e-07 | 5.5465e-07 | 0.032259 | 0.032259 | 0.032259 | 0.98893 | -0.21117 | 0.98888 | -0.21206 | 8.8625
62 | 0.0043339 | 0.0010861 | -0.0043338 | -0.0010862 | 1.067e-07 | -1.7538e-08 | 0.0065215 | 0.0065215 | 0.0065215 | 0.98888 | -0.21206 | 0.98885 | -0.21258 | 1.7916
63 | 0.017102 | 0.0042958 | -0.017085 | -0.0042855 | 1.738e-05 | 1.0227e-05 | 0.025738 | 0.025738 | 0.025738 | 0.98888 | -0.21206 | 0.98778 | -0.23338 | 7.0709
64 | 0.017085 | 0.0042855 | -0.017074 | -0.0042793 | 1.0573e-05 | 6.2223e-06 | 0.025738 | 0.025738 | 0.025738 | 0.98778 | -0.23338 | 0.98711 | -0.24637 | 7.071
65 | 0.0086287 | 0.0021627 | -0.0086281 | -0.0021624 | 6.761e-07 | 2.9649e-07 | 0.013007 | 0.013007 | 0.013007 | 0.98711 | -0.24637 | 0.98703 | -0.24801 | 3.5735
66 | -0.0033962 | -0.00085117 | 0.0033964 | 0.00085109 | 1.3956e-07 | -8.1537e-08 | 0.0051977 | 0.0051976 | 0.0051977 | 0.97228 | -0.53467 | 0.97232 | -0.53381 | 1.4279
67 | -0.0080822 | -0.0020255 | 0.0080829 | 0.0020258 | 6.69e-07 | 2.8351e-07 | 0.012369 | 0.012369 | 0.012369 | 0.97232 | -0.53381 | 0.97241 | -0.53207 | 3.398
68 | -0.029175 | -0.0073157 | 0.029187 | 0.007323 | 1.1781e-05 | 7.344e-06 | 0.044619 | 0.044619 | 0.044619 | 0.973 | -0.5205 | 0.97343 | -0.51203 | 12.2579
69 | 0.024694 | 0.0061927 | -0.02469 | -0.00619 | 4.3446e-06 | 2.6797e-06 | 0.037766 | 0.037767 | 0.037767 | 0.973 | -0.5205 | 0.97281 | -0.52419 | 10.3754
70 | -0.034035 | -0.0085381 | 0.034053 | 0.0085492 | 1.7689e-05 | 1.1104e-05 | 0.05203 | 0.05203 | 0.05203 | 0.97343 | -0.51203 | 0.97398 | -0.50114 | 14.2939
71 | 0.019981 | 0.00501 | -0.019977 | -0.0050073 | 4.3182e-06 | 2.6106e-06 | 0.030564 | 0.030564 | 0.030564 | 0.97281 | -0.52419 | 0.97258 | -0.52873 | 8.3968
72 | -0.04006 | -0.010055 | 0.040084 | 0.01007 | 2.349e-05 | 1.4826e-05 | 0.061208 | 0.061208 | 0.061208 | 0.97398 | -0.50114 | 0.9746 | -0.48885 | 16.8155
73 | 0.01334 | 0.003344 | -0.013338 | -0.0033428 | 2.1246e-06 | 1.191e-06 | 0.02041 | 0.02041 | 0.02041 | 0.97258 | -0.52873 | 0.97241 | -0.53207 | 5.6072
74 | 0.0043295 | 0.001085 | -0.0043294 | -0.001085 | 5.2092e-08 | -6.2799e-09 | 0.0066101 | 0.0066101 | 0.0066101 | 0.97462 | -0.48856 | 0.9746 | -0.48881 | 1.816

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54795 | 0.14008

## res_load
| p_mw | q_mvar
0 | 0.010825 | 0.002713
1 | 0.0038409 | 0.00096262
2 | 0.011483 | 0.0028778
3 | 0.005865 | 0.0014699
4 | 0.0045113 | 0.0011306
5 | 0.006284 | 0.0015749
6 | 0.0046192 | 0.0011577
7 | 0.0027183 | 0.00068128
8 | 0.0067431 | 0.00169
9 | 0.019303 | 0.0048379
10 | 0.0083826 | 0.0021009
11 | 0.010447 | 0.0026181
12 | 0.030014 | 0.0075222
13 | 0.0064183 | 0.0016086
14 | 0.0059194 | 0.0014835
15 | 0.018008 | 0.0045133
16 | 0.020704 | 0.0051889
17 | 0.01809 | 0.0045338
18 | 0.0053977 | 0.0013528
19 | 0.025198 | 0.0063152
20 | 0.0046873 | 0.0011748
21 | 0.0056206 | 0.0014087
22 | 0.0028297 | 0.00070919
23 | 0.0062477 | 0.0015658
24 | 0.025198 | 0.0063152
25 | 0.0060527 | 0.0015169
26 | 0.0040378 | 0.001012
27 | 0.0043782 | 0.0010973
28 | 0.0052302 | 0.0013108
29 | 0.0037096 | 0.00092971
30 | 0.0049122 | 0.0012311
31 | 0.0055258 | 0.0013849
32 | 0.0050521 | 0.0012662
33 | 0.0085013 | 0.0021306
34 | 0.0044297 | 0.0011102
35 | 0.0059951 | 0.0015025
36 | 0.025226 | 0.0063222
37 | 0.0017903 | 0.00044869
38 | 0.0016033 | 0.00040182
39 | 0.04186 | 0.010491
40 | 0.059328 | 0.014869
41 | 0.0050367 | 0.0012623
42 | 0.0043338 | 0.0010862
43 | 0.0084454 | 0.0021166
44 | 0.0086281 | 0.0021624
45 | 0.0033962 | 0.00085117
46 | 0.0046859 | 0.0011744
47 | 0.0044806 | 0.0011229
48 | 0.0048483 | 0.0012151
49 | 0.0047086 | 0.0011801
50 | 0.0060078 | 0.0015057
51 | 0.0066367 | 0.0016633
52 | 0.00587 | 0.0014712
53 | 0.0052552 | 0.0013171
54 | 0.004453 | 0.001116
55 | 0.0043294 | 0.001085

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1