## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-216_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-216_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-216_0_8_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1061-216_0_8_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1061-216_0_8_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1061-216_0_8_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1061-216_0_8_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_1061-216_0_8_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1061-216_0_8_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1061-216_0_8_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_1061-216_0_8_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1061-216_0_8_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1061-216_0_8_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_1061-216_0_8_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1061-216_0_8_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1061-216_0_8_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_1061-216_0_8_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_1061-216_0_8_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1061-216_0_8_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_1061-216_0_8_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1061-216_0_8_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1061-216_0_8_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1061-216_0_8_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1061-216_0_8_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1061-216_0_8_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1061-216_0_8_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1061-216_0_8_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1061-216_0_8_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1061-216_0_8_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1061-216_0_8_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1061-216_0_8_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1061-216_0_8_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1061-216_0_8_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1061-216_0_8_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1061-216_0_8_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1061-216_0_8_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_1061-216_0_8_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1061-216_0_8_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1061-216_0_8_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1061-216_0_8_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_1061-216_0_8_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1061-216_0_8_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1061-216_0_8_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1061-216_0_8_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1061-216_0_8_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_1061-216_0_8_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_1061-216_0_8_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1061-216_0_8_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1061-216_0_8_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1061-216_0_8_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1061-216_0_8_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1061-216_0_8_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_1061-216_0_8_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_1061-216_0_8_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1061-216_0_8_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_1061-216_0_8_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1061-216_0_8_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1061-216_0_8_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_1061-216_0_8_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1061-216_0_8_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1061-216_0_8_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_1061-216_0_8_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_1061-216_0_8_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_1061-216_0_8_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_1061-216_0_8_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_1061-216_0_8_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_1061-216_0_8_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_1061-216_0_8_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_1061-216_0_8_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1061-216_0_8_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1061-216_0_8_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_1061-216_0_8_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_1061-216_0_8_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1061-216_0_8_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_1061-216_0_8_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1061-216_0_8_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_1061-216_0_8_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_1061-216_0_8_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_1061-216_0_8_node_77 | 0.4 | n |  | TRUE
79 | bus_MV_211_1_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-216_0_8_load_0 | 0 | 0.0048604 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-216_0_8_load_73 | 6 | 0.0028575 | 0.00071617 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-216_0_8_load_7 | 7 | 0.056941 | 0.014271 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-216_0_8_load_78 | 9 | 0.0020647 | 0.00051747 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-216_0_8_load_74 | 12 | 0.022195 | 0.0055625 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-216_0_8_load_25 | 13 | 0.0044066 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-216_0_8_load_37 | 14 | 0.0020287 | 0.00050844 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-216_0_8_load_76 | 15 | 0.003975 | 0.00099623 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-216_0_8_load_79 | 16 | 0.0093164 | 0.0023349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-216_0_8_load_69 | 18 | 0.012542 | 0.0031434 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-216_0_8_load_26 | 19 | 0.0036744 | 0.0009209 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-216_0_8_load_9 | 20 | 0.0094102 | 0.0023584 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-216_0_8_load_12 | 21 | 0.0044001 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-216_0_8_load_13 | 22 | 0.0025471 | 0.00063837 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-216_0_8_load_14 | 23 | 0.0040989 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-216_0_8_load_33 | 24 | 0.0030806 | 0.00077208 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-216_0_8_load_34 | 25 | 0.0026072 | 0.00065342 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-216_0_8_load_31 | 27 | 0.0055755 | 0.0013973 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-216_0_8_load_24 | 28 | 0.0025513 | 0.00063943 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-216_0_8_load_22 | 29 | 0.0037352 | 0.00093613 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-216_0_8_load_32 | 30 | 0.0052191 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-216_0_8_load_20 | 31 | 0.0023299 | 0.00058393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-216_0_8_load_15 | 32 | 0.0013854 | 0.00034721 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-216_0_8_load_16 | 33 | 0.0041964 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-216_0_8_load_17 | 34 | 0.0013851 | 0.00034713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-216_0_8_load_18 | 35 | 0.0013851 | 0.00034713 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-216_0_8_load_19 | 36 | 0.0064749 | 0.0016228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-216_0_8_load_58 | 37 | 0.0037661 | 0.00094388 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-216_0_8_load_39 | 38 | 0.0036733 | 0.00092062 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-216_0_8_load_56 | 39 | 0.0042618 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-216_0_8_load_30 | 40 | 0.0013854 | 0.00034721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-216_0_8_load_38 | 41 | 0.0064937 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-216_0_8_load_29 | 42 | 0.0013854 | 0.00034721 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-216_0_8_load_42 | 43 | 0.0064937 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-216_0_8_load_21 | 44 | 0.0030473 | 0.00076373 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-216_0_8_load_23 | 45 | 0.0041466 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-216_0_8_load_40 | 46 | 0.0048624 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-216_0_8_load_41 | 47 | 0.0072239 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-216_0_8_load_57 | 48 | 0.0052626 | 0.0013189 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-216_0_8_load_55 | 49 | 0.0041401 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-216_0_8_load_53 | 50 | 0.0055708 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-216_0_8_load_27 | 51 | 0.0018787 | 0.00047085 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-216_0_8_load_28 | 52 | 0.0013844 | 0.00034696 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-216_0_8_load_75 | 54 | 0.0059184 | 0.0014833 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-216_0_8_load_60 | 55 | 0.0070021 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-216_0_8_load_54 | 56 | 0.0056424 | 0.0014141 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-216_0_8_load_59 | 57 | 0.0045372 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-216_0_8_load_43 | 58 | 0.0038039 | 0.00095334 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-216_0_8_load_44 | 59 | 0.0057024 | 0.0014291 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-216_0_8_load_46 | 61 | 0.0056514 | 0.0014164 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-216_0_8_load_47 | 62 | 0.0050974 | 0.0012775 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-216_0_8_load_67 | 63 | 0.0069642 | 0.0017454 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-216_0_8_load_66 | 64 | 0.0037753 | 0.00094618 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-216_0_8_load_48 | 65 | 0.0030507 | 0.00076457 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-216_0_8_load_49 | 66 | 0.0028353 | 0.00071059 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-216_0_8_load_50 | 67 | 0.0030507 | 0.00076458 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1061-216_0_8_load_51 | 68 | 0.0028393 | 0.00071158 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1061-216_0_8_load_63 | 71 | 0.0013329 | 0.00033406 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1061-216_0_8_load_65 | 72 | 0.0063004 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1061-216_0_8_load_64 | 73 | 0.0050987 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1061-216_0_8_load_72 | 74 | 0.0034286 | 0.0008593 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1061-216_0_8_load_70 | 75 | 0.0033821 | 0.00084763 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1061-216_0_8_load_68 | 76 | 0.03195 | 0.0080074 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1061-216_0_8_load_71 | 77 | 0.0035659 | 0.0008937 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1061-216_0_8_load_77 | 78 | 0.0097157 | 0.002435 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-216_0_8_line_0 |  | 0 | 1 | 0.039987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-216_0_8_line_1 |  | 1 | 2 | 0.009434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-216_0_8_line_2 |  | 2 | 8 | 0.039045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-216_0_8_line_3 |  | 2 | 9 | 0.061824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-216_0_8_line_4 |  | 3 | 4 | 0.050665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1061-216_0_8_line_5 |  | 3 | 5 | 0.011522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-216_0_8_line_6 |  | 3 | 6 | 0.15469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1061-216_0_8_line_7 |  | 4 | 7 | 0.041508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1061-216_0_8_line_8 |  | 5 | 13 | 0.0213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-216_0_8_line_9 |  | 6 | 14 | 0.027562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-216_0_8_line_10 |  | 7 | 8 | 0.041254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1061-216_0_8_line_11 |  | 8 | 10 | 0.05973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1061-216_0_8_line_12 |  | 9 | 15 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-216_0_8_line_13 |  | 10 | 11 | 0.024279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-216_0_8_line_14 |  | 10 | 12 | 0.021538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1061-216_0_8_line_15 |  | 11 | 16 | 0.050828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-216_0_8_line_16 |  | 11 | 17 | 0.03144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-216_0_8_line_17 |  | 12 | 18 | 0.018671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1061-216_0_8_line_18 |  | 13 | 19 | 0.065714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-216_0_8_line_19 |  | 14 | 26 | 0.0028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1061-216_0_8_line_20 |  | 15 | 78 | 0.040331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-216_0_8_line_21 |  | 17 | 20 | 0.04161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-216_0_8_line_22 |  | 18 | 76 | 0.070107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1061-216_0_8_line_23 |  | 21 | 22 | 0.029199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-216_0_8_line_24 |  | 22 | 23 | 0.0086261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-216_0_8_line_25 |  | 23 | 27 | 0.0058386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-216_0_8_line_26 |  | 24 | 25 | 0.018221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1061-216_0_8_line_27 |  | 24 | 26 | 0.049838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1061-216_0_8_line_28 |  | 25 | 28 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1061-216_0_8_line_29 |  | 26 | 53 | 0.050312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-216_0_8_line_30 |  | 27 | 30 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-216_0_8_line_31 |  | 28 | 29 | 0.010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1061-216_0_8_line_32 |  | 29 | 31 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1061-216_0_8_line_33 |  | 30 | 46 | 0.0056652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-216_0_8_line_34 |  | 31 | 44 | 0.032452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1061-216_0_8_line_35 |  | 32 | 33 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-216_0_8_line_36 |  | 32 | 34 | 0.0095596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-216_0_8_line_37 |  | 33 | 35 | 0.0068634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-216_0_8_line_38 |  | 34 | 36 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-216_0_8_line_39 |  | 35 | 40 | 0.0095596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-216_0_8_line_40 |  | 36 | 41 | 0.0049196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-216_0_8_line_41 |  | 37 | 38 | 0.026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1061-216_0_8_line_42 |  | 37 | 39 | 0.045427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1061-216_0_8_line_43 |  | 38 | 45 | 0.047921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1061-216_0_8_line_44 |  | 39 | 72 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-216_0_8_line_45 |  | 39 | 56 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-216_0_8_line_46 |  | 40 | 42 | 0.016808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-216_0_8_line_47 |  | 41 | 43 | 0.011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-216_0_8_line_48 |  | 42 | 51 | 0.0075407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-216_0_8_line_49 |  | 43 | 55 | 0.017511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-216_0_8_line_50 |  | 44 | 45 | 0.0111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1061-216_0_8_line_51 |  | 46 | 47 | 0.0099635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-216_0_8_line_52 |  | 47 | 48 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-216_0_8_line_53 |  | 48 | 49 | 0.0036047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-216_0_8_line_54 |  | 49 | 50 | 0.034744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-216_0_8_line_55 |  | 50 | 56 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-216_0_8_line_56 |  | 51 | 52 | 0.0020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-216_0_8_line_57 |  | 53 | 54 | 0.030827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-216_0_8_line_58 |  | 55 | 57 | 0.0096432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-216_0_8_line_59 |  | 57 | 61 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-216_0_8_line_60 |  | 58 | 59 | 0.026498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-216_0_8_line_61 |  | 58 | 60 | 0.015206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-216_0_8_line_62 |  | 59 | 61 | 0.020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-216_0_8_line_63 |  | 60 | 62 | 0.0057938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-216_0_8_line_64 |  | 62 | 63 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-216_0_8_line_65 |  | 63 | 64 | 0.0005681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-216_0_8_line_66 |  | 64 | 73 | 0.029988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-216_0_8_line_67 |  | 65 | 66 | 0.038778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-216_0_8_line_68 |  | 65 | 67 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-216_0_8_line_69 |  | 66 | 68 | 0.0055283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-216_0_8_line_70 |  | 68 | 69 | 0.029293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-216_0_8_line_71 |  | 69 | 70 | 0.055364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-216_0_8_line_72 |  | 69 | 71 | 0.02023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1061-216_0_8_line_73 |  | 70 | 74 | 0.039314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-216_0_8_line_74 |  | 70 | 75 | 0.058924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1061-216_0_8_line_75 |  | 71 | 76 | 0.098992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_1061-216_0_8_line_76 |  | 72 | 73 | 0.026451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1061-216_0_8_line_77 |  | 75 | 77 | 0.0024593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-216_0_8_trafo_23 | 0.63 MVA 20/0.4 kV | 79 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2669274.5462 | 1210643.1794 | 2669269.7986 | 1210648.8612 | 2669261.5294 | 1210659.3606 | 2669252.9299 | 1210670.1676 | 2669251.8673 | 1210673.3127 | 2669250.5877 | 1210674.9621
1 | 2669267.1587 | 1210637.3123 | 2669267.7461 | 1210637.7749 | 2669270.9917 | 1210640.3587 | 2669274.1546 | 1210642.8636 | 2669274.5462 | 1210643.1794
2 | 2669267.1587 | 1210637.3123 | 2669276.1808 | 1210626.11 | 2669279.4856 | 1210622.2905 | 2669281.8256 | 1210619.0934 | 2669283.1359 | 1210616.2068 | 2669285.2311 | 1210612.4955 | 2669291.0367 | 1210606.6815
3 | 2669267.1587 | 1210637.3123 | 2669227.8454 | 1210685.0272
4 | 2669350.7112 | 1210549.9394 | 2669347.7189 | 1210560.2111 | 2669356.2624 | 1210554.2511 | 2669362.2653 | 1210552.3975 | 2669379.9952 | 1210547.9341 | 2669379.6046 | 1210552.11 | 2669379.4588 | 1210552.8865
5 | 2669379.4588 | 1210552.8865 | 2669388.9645 | 1210551.107 | 2669390.8153 | 1210550.7617
6 | 2669379.4588 | 1210552.8865 | 2669379.0859 | 1210554.8834 | 2669377.8588 | 1210557.1483 | 2669359.9619 | 1210577.931 | 2669350.6227 | 1210592.198 | 2669335.4888 | 1210622.441 | 2669294.4535 | 1210681.3379
7 | 2669350.7112 | 1210549.9394 | 2669345.4296 | 1210554.4698 | 2669334.7975 | 1210566.198 | 2669324.3665 | 1210577.6172 | 2669322.0597 | 1210579.9117
8 | 2669390.8153 | 1210550.7617 | 2669387.2542 | 1210553.0884 | 2669384.6297 | 1210555.9152 | 2669387.366 | 1210555.2355 | 2669391.2075 | 1210554.2906 | 2669392.8768 | 1210553.8765 | 2669397.2236 | 1210552.1069
9 | 2669294.4535 | 1210681.3379 | 2669289.1847 | 1210688.9 | 2669287.6446 | 1210696.5202 | 2669289.057 | 1210703.8189 | 2669290.8428 | 1210706.3975
10 | 2669291.0367 | 1210606.6815 | 2669294.3509 | 1210603.3624 | 2669296.7409 | 1210601.0888 | 2669301.0369 | 1210597.0028 | 2669306.3965 | 1210594.2522 | 2669309.9035 | 1210592.0026 | 2669322.0597 | 1210579.9117
11 | 2669284.8163 | 1210560.5362 | 2669293.8356 | 1210563.3316 | 2669290.7003 | 1210569.5657 | 2669290.9821 | 1210583.2552 | 2669291.4294 | 1210593.1555 | 2669288.6792 | 1210597.6486 | 2669284.2313 | 1210601.0768 | 2669286.1005 | 1210602.4216 | 2669290.5027 | 1210606.1973 | 2669291.0367 | 1210606.6815
12 | 2669209.0198 | 1210706.7226 | 2669226.4184 | 1210686.7592 | 2669227.8454 | 1210685.0272
13 | 2669284.8163 | 1210560.5362 | 2669275.0267 | 1210557.9654 | 2669268.2915 | 1210557.4425 | 2669261.8221 | 1210560.2024 | 2669261.4249 | 1210560.3757
14 | 2669284.8163 | 1210560.5362 | 2669282.8115 | 1210539.0912
15 | 2669261.4249 | 1210560.3757 | 2669258.5066 | 1210561.6649 | 2669242.1278 | 1210579.3858 | 2669240.6238 | 1210579.9687 | 2669239.1355 | 1210579.1954 | 2669240.8261 | 1210575.6351 | 2669243.2926 | 1210569.3931 | 2669244.8573 | 1210563.5855 | 2669241.5853 | 1210562.2112
16 | 2669261.4249 | 1210560.3757 | 2669255.8015 | 1210569.4717 | 2669250.3629 | 1210589.4988
17 | 2669279.0224 | 1210520.8443 | 2669279.0224 | 1210520.8443 | 2669282.4097 | 1210534.7923 | 2669282.8115 | 1210539.0912
18 | 2669453.0233 | 1210517.4952 | 2669400.3909 | 1210550.8175 | 2669397.2236 | 1210552.1069
19 | 2669292.4878 | 1210708.7729 | 2669290.8428 | 1210706.3975
20 | 2669209.0198 | 1210706.7226 | 2669182.5215 | 1210737.1273
21 | 2669250.3629 | 1210589.4988 | 2669244.3055 | 1210611.7645 | 2669249.7934 | 1210613.0179 | 2669244.2958 | 1210620.4587 | 2669247.3032 | 1210622.5338
22 | 2669304.9662 | 1210472.0015 | 2669304.4293 | 1210472.487 | 2669310.2038 | 1210481.7932 | 2669313.0451 | 1210491.0542 | 2669309.7635 | 1210503.9908 | 2669289.6394 | 1210517.61 | 2669279.0224 | 1210520.8443
23 | 2669404.2407 | 1210697.5682 | 2669397.4991 | 1210707.2478 | 2669389.5714 | 1210722.7407
24 | 2669404.2407 | 1210697.5682 | 2669409.1707 | 1210690.4896
25 | 2669412.5075 | 1210685.6985 | 2669409.1707 | 1210690.4896
26 | 2669341.9687 | 1210662.4078 | 2669331.6363 | 1210674.0283 | 2669329.6967 | 1210675.8649
27 | 2669292.4878 | 1210708.7729 | 2669298.9385 | 1210704.9899 | 2669329.6967 | 1210675.8649
28 | 2669350.4666 | 1210652.8506 | 2669341.9687 | 1210662.4078
29 | 2669292.4878 | 1210708.7729 | 2669294.9948 | 1210712.1264 | 2669294.7069 | 1210715.325 | 2669293.6212 | 1210718.5033 | 2669292.3035 | 1210720.7116 | 2669289.6888 | 1210722.7047 | 2669285.9703 | 1210724.1957 | 2669277.4108 | 1210728.2878 | 2669270.5093 | 1210732.9328 | 2669267.3219 | 1210736.4647 | 2669263.4213 | 1210742.512
30 | 2669421.8206 | 1210672.3268 | 2669412.5075 | 1210685.6985
31 | 2669350.4666 | 1210652.8506 | 2669357.152 | 1210645.3318
32 | 2669357.152 | 1210645.3318 | 2669357.8881 | 1210644.5038 | 2669361.3718 | 1210639.6858 | 2669364.6031 | 1210632.3855 | 2669368.0809 | 1210625.7501
33 | 2669421.8206 | 1210672.3268 | 2669425.0583 | 1210667.678
34 | 2669387.4457 | 1210599.9975 | 2669382.7169 | 1210604.0451 | 2669370.9222 | 1210620.3292 | 2669368.0809 | 1210625.7501
35 | 2669711.8701 | 1210588.3722 | 2669721.0438 | 1210592.8798
36 | 2669703.2903 | 1210584.1564 | 2669711.8701 | 1210588.3722
37 | 2669727.2037 | 1210595.9066 | 2669721.0438 | 1210592.8798
38 | 2669703.2903 | 1210584.1564 | 2669702.3416 | 1210583.6902 | 2669688.4947 | 1210578.3904
39 | 2669727.2037 | 1210595.9066 | 2669735.7836 | 1210600.1224
40 | 2669688.4947 | 1210578.3904 | 2669683.9002 | 1210576.6318
41 | 2669459.4584 | 1210560.9551 | 2669439.3177 | 1210567.2472 | 2669435.6337 | 1210569.0276 | 2669434.408 | 1210569.6216
42 | 2669459.4584 | 1210560.9551 | 2669484.1582 | 1210599.0802
43 | 2669397.6997 | 1210595.9047 | 2669403.2356 | 1210594.3888 | 2669411.395 | 1210591.3929 | 2669418.6617 | 1210587.3861 | 2669422.7619 | 1210582.4974 | 2669423.8747 | 1210576.9958 | 2669426.4924 | 1210573.4574 | 2669434.408 | 1210569.6216
44 | 2669493.561 | 1210594.0129 | 2669489.8176 | 1210595.5637 | 2669484.1582 | 1210599.0802
45 | 2669475.2067 | 1210604.6424 | 2669484.1582 | 1210599.0802
46 | 2669750.8687 | 1210607.5347 | 2669735.7836 | 1210600.1224
47 | 2669673.2563 | 1210572.6788 | 2669673.8772 | 1210572.7955 | 2669683.9002 | 1210576.6318
48 | 2669750.8687 | 1210607.5347 | 2669757.6365 | 1210610.8601
49 | 2669673.2563 | 1210572.6788 | 2669656.0465 | 1210569.4435
50 | 2669387.4457 | 1210599.9975 | 2669387.4457 | 1210599.9975 | 2669392.7978 | 1210597.2469 | 2669397.6997 | 1210595.9047
51 | 2669425.0583 | 1210667.678 | 2669430.7526 | 1210659.5021
52 | 2669430.7526 | 1210659.5021 | 2669438.5301 | 1210648.3352
53 | 2669438.5301 | 1210648.3352 | 2669440.5902 | 1210645.3772
54 | 2669461.163 | 1210617.4643 | 2669457.4081 | 1210621.2357 | 2669446.9041 | 1210636.3117 | 2669440.5902 | 1210645.3772
55 | 2669461.163 | 1210617.4643 | 2669466.2824 | 1210612.3223 | 2669471.8501 | 1210606.7281 | 2669475.2067 | 1210604.6424
56 | 2669759.4464 | 1210611.7494 | 2669757.6365 | 1210610.8601
57 | 2669263.4213 | 1210742.512 | 2669258.4777 | 1210753.9507 | 2669249.9709 | 1210769.2281 | 2669249.5059 | 1210769.975
58 | 2669646.5261 | 1210567.9492 | 2669650.4821 | 1210568.3975 | 2669656.0465 | 1210569.4435
59 | 2669646.5261 | 1210567.9492 | 2669635.3705 | 1210566.685
60 | 2669589.0629 | 1210568.6033 | 2669589.0629 | 1210568.6033 | 2669594.8773 | 1210567.9263 | 2669607.074 | 1210565.4559 | 2669615.2742 | 1210565.4635
61 | 2669579.2164 | 1210558.5489 | 2669580.3262 | 1210563.0869 | 2669584.4014 | 1210566.8701 | 2669589.0629 | 1210568.6033
62 | 2669615.2742 | 1210565.4635 | 2669624.6681 | 1210565.4722 | 2669635.3705 | 1210566.685
63 | 2669579.2164 | 1210558.5489 | 2669573.8916 | 1210560.8325
64 | 2669546.3002 | 1210572.372 | 2669561.0447 | 1210566.342 | 2669573.8916 | 1210560.8325
65 | 2669545.7744 | 1210572.5871 | 2669546.3002 | 1210572.372
66 | 2669518.0183 | 1210583.9385 | 2669545.7744 | 1210572.5871
67 | 2669462.8186 | 1210389.7844 | 2669462.3419 | 1210390.761 | 2669457.9616 | 1210396.8471 | 2669453.3233 | 1210399.6393 | 2669447.1451 | 1210400.8682 | 2669428.6673 | 1210401.1439
68 | 2669462.8186 | 1210389.7844 | 2669467.4644 | 1210380.2682
69 | 2669423.1397 | 1210401.2263 | 2669428.6673 | 1210401.1439
70 | 2669394.2324 | 1210399.4741 | 2669397.9138 | 1210401.1846 | 2669405.7007 | 1210401.4865 | 2669423.1397 | 1210401.2263
71 | 2669394.2324 | 1210399.4741 | 2669391.9359 | 1210396.9569 | 2669390.7734 | 1210393.0076 | 2669390.3257 | 1210355.7126 | 2669389.6785 | 1210350.5797 | 2669387.6309 | 1210345.6195
72 | 2669394.2324 | 1210399.4741 | 2669375.951 | 1210408.138
73 | 2669387.6309 | 1210345.6195 | 2669385.0105 | 1210338.9404 | 2669379.7845 | 1210332.7869 | 2669374.551 | 1210326.6334 | 2669370.3458 | 1210320.2806 | 2669370.0329 | 1210312.5499 | 2669370.214 | 1210311.9436
74 | 2669387.6309 | 1210345.6195 | 2669384.1189 | 1210342.41 | 2669378.82 | 1210340.5694 | 2669374.1561 | 1210340.9821 | 2669370.3904 | 1210343.8957 | 2669359.7266 | 1210355.6902 | 2669356.4232 | 1210358.7204 | 2669352.3196 | 1210360.6294 | 2669348.3882 | 1210360.8061 | 2669338.6675 | 1210357.4939
75 | 2669375.951 | 1210408.138 | 2669358.7865 | 1210416.2725 | 2669339.7763 | 1210429.5042 | 2669338.6098 | 1210430.4691 | 2669315.3343 | 1210449.7218 | 2669312.2211 | 1210459.9364 | 2669308.9074 | 1210468.4365 | 2669304.9662 | 1210472.0015
76 | 2669518.0183 | 1210583.9385 | 2669507.1765 | 1210588.3725 | 2669493.561 | 1210594.0129
77 | 2669338.6675 | 1210357.4939 | 2669336.3396 | 1210356.7007

## bus_geodata
| x | y | coords
0 | 2669250.5877 | 1210674.9621
1 | 2669274.5462 | 1210643.1794
2 | 2669267.1587 | 1210637.3123
3 | 2669379.4588 | 1210552.8865
4 | 2669350.7112 | 1210549.9394
5 | 2669390.8153 | 1210550.7617
6 | 2669294.4535 | 1210681.3379
7 | 2669322.0597 | 1210579.9117
8 | 2669291.0367 | 1210606.6815
9 | 2669227.8454 | 1210685.0272
10 | 2669284.8163 | 1210560.5362
11 | 2669261.4249 | 1210560.3757
12 | 2669282.8115 | 1210539.0912
13 | 2669397.2236 | 1210552.1069
14 | 2669290.8428 | 1210706.3975
15 | 2669209.0198 | 1210706.7226
16 | 2669241.5853 | 1210562.2112
17 | 2669250.3629 | 1210589.4988
18 | 2669279.0224 | 1210520.8443
19 | 2669453.0233 | 1210517.4952
20 | 2669247.3032 | 1210622.5338
21 | 2669389.5714 | 1210722.7407
22 | 2669404.2407 | 1210697.5682
23 | 2669409.1707 | 1210690.4896
24 | 2669329.6967 | 1210675.8649
25 | 2669341.9687 | 1210662.4078
26 | 2669292.4878 | 1210708.7729
27 | 2669412.5075 | 1210685.6985
28 | 2669350.4666 | 1210652.8506
29 | 2669357.152 | 1210645.3318
30 | 2669421.8206 | 1210672.3268
31 | 2669368.0809 | 1210625.7501
32 | 2669711.8701 | 1210588.3722
33 | 2669721.0438 | 1210592.8798
34 | 2669703.2903 | 1210584.1564
35 | 2669727.2037 | 1210595.9066
36 | 2669688.4947 | 1210578.3904
37 | 2669459.4584 | 1210560.9551
38 | 2669434.408 | 1210569.6216
39 | 2669484.1582 | 1210599.0802
40 | 2669735.7836 | 1210600.1224
41 | 2669683.9002 | 1210576.6318
42 | 2669750.8687 | 1210607.5347
43 | 2669673.2563 | 1210572.6788
44 | 2669387.4457 | 1210599.9975
45 | 2669397.6997 | 1210595.9047
46 | 2669425.0583 | 1210667.678
47 | 2669430.7526 | 1210659.5021
48 | 2669438.5301 | 1210648.3352
49 | 2669440.5902 | 1210645.3772
50 | 2669461.163 | 1210617.4643
51 | 2669757.6365 | 1210610.8601
52 | 2669759.4464 | 1210611.7494
53 | 2669263.4213 | 1210742.512
54 | 2669249.5059 | 1210769.975
55 | 2669656.0465 | 1210569.4435
56 | 2669475.2067 | 1210604.6424
57 | 2669646.5261 | 1210567.9492
58 | 2669589.0629 | 1210568.6033
59 | 2669615.2742 | 1210565.4635
60 | 2669579.2164 | 1210558.5489
61 | 2669635.3705 | 1210566.685
62 | 2669573.8916 | 1210560.8325
63 | 2669546.3002 | 1210572.372
64 | 2669545.7744 | 1210572.5871
65 | 2669462.8186 | 1210389.7844
66 | 2669428.6673 | 1210401.1439
67 | 2669467.4644 | 1210380.2682
68 | 2669423.1397 | 1210401.2263
69 | 2669394.2324 | 1210399.4741
70 | 2669387.6309 | 1210345.6194
71 | 2669375.951 | 1210408.138
72 | 2669493.561 | 1210594.0129
73 | 2669518.0183 | 1210583.9385
74 | 2669370.214 | 1210311.9436
75 | 2669338.6675 | 1210357.4939
76 | 2669304.9662 | 1210472.0015
77 | 2669336.3396 | 1210356.7007
78 | 2669182.5215 | 1210737.1273
79 | 2669292.4878 | 1210708.7729

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97767 | -0.4289 | 0.0048604 | 0.0012181
1 | 0.97785 | -0.42536 | 0 | 0
2 | 0.97789 | -0.42452 | 0 | 0
3 | 0.98387 | -0.30787 | 0 | 0
4 | 0.98168 | -0.3505 | 0 | 0
5 | 0.98379 | -0.30954 | 0 | 0
6 | 0.99086 | -0.17331 | 0.0028575 | 0.00071617
7 | 0.97988 | -0.38557 | 0.056941 | 0.014271
8 | 0.97864 | -0.40986 | 0 | 0
9 | 0.97699 | -0.44229 | 0.0020647 | 0.00051747
10 | 0.97713 | -0.4395 | 0 | 0
11 | 0.97671 | -0.44781 | 0 | 0
12 | 0.97668 | -0.44837 | 0.022195 | 0.0055625
13 | 0.98363 | -0.31264 | 0.0044066 | 0.0011044
14 | 0.99212 | -0.14918 | 0.0020287 | 0.00050844
15 | 0.97663 | -0.44948 | 0.003975 | 0.00099623
16 | 0.97627 | -0.45647 | 0.0093164 | 0.0023349
17 | 0.97643 | -0.45322 | 0 | 0
18 | 0.97638 | -0.45418 | 0.012542 | 0.0031434
19 | 0.98341 | -0.317 | 0.0036744 | 0.0009209
20 | 0.97607 | -0.46038 | 0.0094102 | 0.0023584
21 | 0.99018 | -0.18843 | 0.0044001 | 0.0011028
22 | 0.9903 | -0.18615 | 0.0025471 | 0.00063837
23 | 0.99036 | -0.18508 | 0.0040989 | 0.0010273
24 | 0.99463 | -0.10143 | 0.0030806 | 0.00077208
25 | 0.99551 | -0.084708 | 0.0026072 | 0.00065342
26 | 0.99226 | -0.14663 | 0 | 0
27 | 0.99042 | -0.18394 | 0.0055755 | 0.0013973
28 | 0.99614 | -0.072844 | 0.0025513 | 0.00063943
29 | 0.99664 | -0.063408 | 0.0037352 | 0.00093613
30 | 0.99066 | -0.17912 | 0.0052191 | 0.001308
31 | 0.99777 | -0.041944 | 0.0023299 | 0.00058393
32 | 0.98192 | -0.34848 | 0.0013854 | 0.00034721
33 | 0.98181 | -0.35062 | 0.0041964 | 0.0010517
34 | 0.98203 | -0.34623 | 0.0013851 | 0.00034713
35 | 0.98176 | -0.35154 | 0.0013851 | 0.00034713
36 | 0.98225 | -0.3421 | 0.0064749 | 0.0016228
37 | 0.99739 | -0.049696 | 0.0037661 | 0.00094388
38 | 0.99831 | -0.032221 | 0.0036733 | 0.00092062
39 | 0.99433 | -0.10822 | 0.0042618 | 0.0010681
40 | 0.98171 | -0.35259 | 0.0013854 | 0.00034721
41 | 0.98234 | -0.34025 | 0.0064937 | 0.0016275
42 | 0.98164 | -0.354 | 0.0013854 | 0.00034721
43 | 0.98263 | -0.33463 | 0.0064937 | 0.0016275
44 | 0.99943 | -0.010783 | 0.0030473 | 0.00076373
45 | 1 | 0 | -0.38432 | -0.098168
46 | 0.99078 | -0.17693 | 0.0048624 | 0.0012186
47 | 0.99102 | -0.1722 | 0.0072239 | 0.0018105
48 | 0.99144 | -0.16401 | 0.0052626 | 0.0013189
49 | 0.99157 | -0.16151 | 0.0041401 | 0.0010376
50 | 0.99295 | -0.13486 | 0.0055708 | 0.0013962
51 | 0.98161 | -0.35445 | 0.0018787 | 0.00047085
52 | 0.98161 | -0.3545 | 0.0013844 | 0.00034696
53 | 0.99198 | -0.15191 | 0 | 0
54 | 0.99182 | -0.15514 | 0.0059184 | 0.0014833
55 | 0.98317 | -0.32394 | 0.0070021 | 0.0017549
56 | 0.9938 | -0.11836 | 0.0056424 | 0.0014141
57 | 0.98354 | -0.31684 | 0.0045372 | 0.0011371
58 | 0.98635 | -0.26217 | 0.0038039 | 0.00095334
59 | 0.98496 | -0.28915 | 0.0057024 | 0.0014291
60 | 0.98719 | -0.24569 | 0 | 0
61 | 0.98401 | -0.30766 | 0.0056514 | 0.0014164
62 | 0.98752 | -0.23942 | 0.0050974 | 0.0012775
63 | 0.98933 | -0.20439 | 0.0069642 | 0.0017454
64 | 0.98937 | -0.20366 | 0.0037753 | 0.00094618
65 | 0.97339 | -0.51312 | 0.0030507 | 0.00076457
66 | 0.97361 | -0.50877 | 0.0028353 | 0.00071059
67 | 0.97336 | -0.51372 | 0.0030507 | 0.00076458
68 | 0.97366 | -0.50786 | 0.0028393 | 0.00071158
69 | 0.97398 | -0.50152 | 0 | 0
70 | 0.97345 | -0.51209 | 0 | 0
71 | 0.9744 | -0.49329 | 0.0013329 | 0.00033406
72 | 0.99346 | -0.12481 | 0.0063004 | 0.001579
73 | 0.99148 | -0.16295 | 0.0050987 | 0.0012779
74 | 0.97332 | -0.51457 | 0.0034286 | 0.0008593
75 | 0.97306 | -0.51962 | 0.0033821 | 0.00084763
76 | 0.97548 | -0.47196 | 0.03195 | 0.0080074
77 | 0.97306 | -0.51978 | 0.0035659 | 0.0008937
78 | 0.97626 | -0.45664 | 0.0097157 | 0.002435
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0048604 | -0.0012181 | 0.0048612 | 0.0012182 | 8.2057e-07 | 2.3632e-08 | 0.0073975 | 0.0073973 | 0.0073975 | 0.97767 | -0.4289 | 0.97785 | -0.42536 | 2.0323
1 | -0.0048612 | -0.0012182 | 0.0048614 | 0.0012182 | 1.9359e-07 | 5.5447e-09 | 0.0073973 | 0.0073973 | 0.0073973 | 0.97785 | -0.42536 | 0.97789 | -0.42452 | 2.0322
2 | -0.020638 | -0.0051789 | 0.020653 | 0.0051876 | 1.4442e-05 | 8.7527e-06 | 0.031407 | 0.031406 | 0.031407 | 0.97789 | -0.42452 | 0.97864 | -0.40986 | 8.6282
3 | 0.015777 | 0.0039607 | -0.015763 | -0.0039529 | 1.3365e-05 | 7.7784e-06 | 0.024009 | 0.02401 | 0.02401 | 0.97789 | -0.42452 | 0.97699 | -0.44229 | 6.596
4 | 0.18766 | 0.047477 | -0.18728 | -0.047234 | 0.00038305 | 0.00024259 | 0.28398 | 0.28398 | 0.28398 | 0.98387 | -0.30787 | 0.98168 | -0.3505 | 19.5042
5 | 0.0080836 | 0.0020257 | -0.008083 | -0.0020254 | 6.4581e-07 | 2.6701e-07 | 0.012226 | 0.012226 | 0.012226 | 0.98387 | -0.30787 | 0.98379 | -0.30954 | 3.3587
6 | -0.19575 | -0.049502 | 0.19702 | 0.050309 | 0.0012724 | 0.00080639 | 0.29621 | 0.2962 | 0.29621 | 0.98387 | -0.30787 | 0.99086 | -0.17331 | 20.3438
7 | 0.18728 | 0.047234 | -0.18696 | -0.047035 | 0.00031382 | 0.00019875 | 0.28398 | 0.28398 | 0.28398 | 0.98168 | -0.3505 | 0.97988 | -0.38557 | 19.5042
8 | 0.008083 | 0.0020254 | -0.0080818 | -0.0020249 | 1.1939e-06 | 4.9367e-07 | 0.012226 | 0.012226 | 0.012226 | 0.98379 | -0.30954 | 0.98363 | -0.31264 | 3.3587
9 | -0.19988 | -0.051025 | 0.20011 | 0.051173 | 0.00023332 | 0.0001479 | 0.30049 | 0.30049 | 0.30049 | 0.99086 | -0.17331 | 0.99212 | -0.14918 | 20.6383
10 | 0.13002 | 0.032765 | -0.12987 | -0.03267 | 0.00015088 | 9.4488e-05 | 0.19751 | 0.19751 | 0.19751 | 0.97988 | -0.38557 | 0.97864 | -0.40986 | 13.5655
11 | 0.10922 | 0.027482 | -0.10907 | -0.027386 | 0.00015451 | 9.5887e-05 | 0.16611 | 0.16611 | 0.16611 | 0.97864 | -0.40986 | 0.97713 | -0.4395 | 11.4086
12 | 0.013699 | 0.0034355 | -0.013694 | -0.0034328 | 4.6895e-06 | 2.6417e-06 | 0.020865 | 0.020865 | 0.020865 | 0.97699 | -0.44229 | 0.97663 | -0.44948 | 5.7321
13 | 0.018744 | 0.0047023 | -0.018736 | -0.0046979 | 7.4187e-06 | 4.444e-06 | 0.028545 | 0.028545 | 0.028545 | 0.97713 | -0.4395 | 0.97671 | -0.44781 | 7.8421
14 | 0.090322 | 0.022684 | -0.090284 | -0.022661 | 3.8212e-05 | 2.3377e-05 | 0.13756 | 0.13756 | 0.13756 | 0.97713 | -0.4395 | 0.97668 | -0.44837 | 9.4481
15 | 0.0093203 | 0.0023367 | -0.0093164 | -0.0023349 | 3.8433e-06 | 1.8239e-06 | 0.0142 | 0.0142 | 0.0142 | 0.97671 | -0.44781 | 0.97627 | -0.45647 | 3.9011
16 | 0.0094158 | 0.0023611 | -0.0094134 | -0.0023599 | 2.4263e-06 | 1.1595e-06 | 0.014345 | 0.014346 | 0.014346 | 0.97671 | -0.44781 | 0.97643 | -0.45322 | 3.9411
17 | 0.06809 | 0.017098 | -0.068071 | -0.017087 | 1.8842e-05 | 1.1124e-05 | 0.10375 | 0.10375 | 0.10375 | 0.97668 | -0.44837 | 0.97638 | -0.45418 | 7.1257
18 | 0.0036752 | 0.00092055 | -0.0036744 | -0.0009209 | 7.6172e-07 | -3.4643e-07 | 0.0055596 | 0.0055599 | 0.0055599 | 0.98363 | -0.31264 | 0.98341 | -0.317 | 1.5274
19 | -0.20214 | -0.051681 | 0.20216 | 0.051697 | 2.4958e-05 | 1.5824e-05 | 0.30354 | 0.30354 | 0.30354 | 0.99212 | -0.14918 | 0.99226 | -0.14663 | 20.8473
20 | 0.009719 | 0.0024366 | -0.0097157 | -0.002435 | 3.3167e-06 | 1.6182e-06 | 0.014809 | 0.014809 | 0.014809 | 0.97663 | -0.44948 | 0.97626 | -0.45664 | 4.0683
21 | 0.0094134 | 0.0023599 | -0.0094102 | -0.0023584 | 3.2112e-06 | 1.5349e-06 | 0.014346 | 0.014346 | 0.014346 | 0.97643 | -0.45322 | 0.97607 | -0.46038 | 3.9411
22 | 0.055529 | 0.013944 | -0.055481 | -0.013917 | 4.7081e-05 | 2.6628e-05 | 0.084636 | 0.084637 | 0.084637 | 0.97638 | -0.45418 | 0.97548 | -0.47196 | 5.813
23 | -0.0044001 | -0.0011028 | 0.0044006 | 0.0011027 | 4.7874e-07 | -6.9241e-08 | 0.0066123 | 0.0066122 | 0.0066123 | 0.99018 | -0.18843 | 0.9903 | -0.18615 | 1.8166
24 | -0.0069477 | -0.0017411 | 0.006948 | 0.0017412 | 3.5253e-07 | 1.1463e-07 | 0.010439 | 0.010439 | 0.010439 | 0.9903 | -0.18615 | 0.99036 | -0.18508 | 2.868
25 | -0.011047 | -0.0027685 | 0.011048 | 0.0027688 | 6.0319e-07 | 3.1091e-07 | 0.016598 | 0.016598 | 0.016598 | 0.99036 | -0.18508 | 0.99042 | -0.18394 | 4.5599
26 | -0.21162 | -0.054242 | 0.21179 | 0.054351 | 0.00017168 | 0.00010893 | 0.31702 | 0.31702 | 0.31702 | 0.99463 | -0.10143 | 0.99551 | -0.084708 | 21.7736
27 | 0.20854 | 0.05347 | -0.20808 | -0.053181 | 0.00045603 | 0.00028928 | 0.31241 | 0.31242 | 0.31242 | 0.99463 | -0.10143 | 0.99226 | -0.14663 | 21.4571
28 | -0.2144 | -0.055004 | 0.21452 | 0.055083 | 0.00012348 | 7.8361e-05 | 0.32092 | 0.32092 | 0.32092 | 0.99551 | -0.084708 | 0.99614 | -0.072844 | 22.0412
29 | 0.0059208 | 0.0014838 | -0.0059193 | -0.0014835 | 1.4874e-06 | 3.0227e-07 | 0.008879 | 0.0088792 | 0.0088792 | 0.99226 | -0.14663 | 0.99198 | -0.15191 | 2.4393
30 | -0.016623 | -0.0041661 | 0.016627 | 0.0041684 | 3.8115e-06 | 2.2296e-06 | 0.024975 | 0.024975 | 0.024975 | 0.99042 | -0.18394 | 0.99066 | -0.17912 | 6.8612
31 | -0.21707 | -0.055722 | 0.21717 | 0.055785 | 9.9464e-05 | 6.3133e-05 | 0.32473 | 0.32473 | 0.32473 | 0.99614 | -0.072844 | 0.99664 | -0.063408 | 22.3029
32 | -0.22091 | -0.056722 | 0.22114 | 0.056868 | 0.00023043 | 0.0001463 | 0.33031 | 0.33031 | 0.33031 | 0.99664 | -0.063408 | 0.99777 | -0.041944 | 22.6859
33 | -0.021846 | -0.0054764 | 0.021848 | 0.0054778 | 2.2875e-06 | 1.391e-06 | 0.032814 | 0.032814 | 0.032814 | 0.99066 | -0.17912 | 0.99078 | -0.17693 | 9.0148
34 | -0.22347 | -0.057452 | 0.22381 | 0.057667 | 0.00033895 | 0.00021523 | 0.33378 | 0.33378 | 0.33378 | 0.99777 | -0.041944 | 0.99943 | -0.010783 | 22.9245
35 | 0.011618 | 0.0029118 | -0.011616 | -0.0029112 | 1.188e-06 | 6.3107e-07 | 0.017605 | 0.017605 | 0.017605 | 0.98192 | -0.34848 | 0.98181 | -0.35062 | 4.8367
36 | -0.013003 | -0.003259 | 0.013004 | 0.0032598 | 1.3919e-06 | 7.699e-07 | 0.019705 | 0.019705 | 0.019705 | 0.98192 | -0.34848 | 0.98203 | -0.34623 | 5.4134
37 | 0.00742 | 0.0018595 | -0.0074196 | -0.0018593 | 3.2548e-07 | 1.2152e-07 | 0.011246 | 0.011246 | 0.011246 | 0.98181 | -0.35062 | 0.98176 | -0.35154 | 3.0894
38 | -0.014389 | -0.0036069 | 0.014392 | 0.0036085 | 2.8316e-06 | 1.6112e-06 | 0.021804 | 0.021803 | 0.021804 | 0.98203 | -0.34623 | 0.98225 | -0.3421 | 5.99
39 | 0.0060346 | 0.0015122 | -0.0060343 | -0.0015121 | 2.9989e-07 | 7.1053e-08 | 0.0091463 | 0.0091463 | 0.0091463 | 0.98176 | -0.35154 | 0.98171 | -0.35259 | 2.5127
40 | -0.020867 | -0.0052313 | 0.020869 | 0.0052324 | 1.8436e-06 | 1.1176e-06 | 0.031612 | 0.031612 | 0.031612 | 0.98225 | -0.3421 | 0.98234 | -0.34025 | 8.6847
41 | -0.15165 | -0.038508 | 0.15178 | 0.038589 | 0.00012764 | 8.0301e-05 | 0.22643 | 0.22643 | 0.22643 | 0.99739 | -0.049696 | 0.99831 | -0.032221 | 15.5517
42 | 0.14789 | 0.037564 | -0.14747 | -0.0373 | 0.0004153 | 0.00026461 | 0.22081 | 0.22081 | 0.22081 | 0.99739 | -0.049696 | 0.99433 | -0.10822 | 30.3316
43 | -0.15546 | -0.039509 | 0.1557 | 0.039661 | 0.00024161 | 0.00015212 | 0.23191 | 0.23191 | 0.23191 | 0.99831 | -0.032221 | 1 | 0 | 15.9277
44 | 0.088516 | 0.022467 | -0.088446 | -0.022422 | 7.0612e-05 | 4.5053e-05 | 0.13257 | 0.13257 | 0.13257 | 0.99433 | -0.10822 | 0.99346 | -0.12481 | 36.419
45 | 0.054695 | 0.013765 | -0.054668 | -0.013748 | 2.649e-05 | 1.6817e-05 | 0.081871 | 0.081871 | 0.081871 | 0.99433 | -0.10822 | 0.9938 | -0.11836 | 22.492
46 | 0.0046489 | 0.0011649 | -0.0046486 | -0.0011649 | 3.1296e-07 | -1.2206e-08 | 0.0070464 | 0.0070465 | 0.0070465 | 0.98171 | -0.35259 | 0.98164 | -0.354 | 1.9359
47 | -0.027363 | -0.0068599 | 0.02737 | 0.0068644 | 7.3212e-06 | 4.5416e-06 | 0.041449 | 0.041449 | 0.041449 | 0.98234 | -0.34025 | 0.98263 | -0.33463 | 11.387
48 | 0.0032632 | 0.00081774 | -0.0032631 | -0.00081779 | 6.9189e-08 | -5.1046e-08 | 0.0049465 | 0.0049465 | 0.0049465 | 0.98164 | -0.354 | 0.98161 | -0.35445 | 1.3589
49 | -0.033864 | -0.0084919 | 0.033881 | 0.0085027 | 1.727e-05 | 1.0831e-05 | 0.051282 | 0.051282 | 0.051282 | 0.98263 | -0.33463 | 0.98317 | -0.32394 | 14.0885
50 | -0.22685 | -0.058431 | 0.22697 | 0.058506 | 0.00011911 | 7.5647e-05 | 0.33832 | 0.33832 | 0.33832 | 0.99943 | -0.010783 | 1 | 0 | 23.2361
51 | -0.026711 | -0.0066964 | 0.026717 | 0.0067001 | 6.013e-06 | 3.72e-06 | 0.040117 | 0.040117 | 0.040117 | 0.99078 | -0.17693 | 0.99102 | -0.1722 | 11.021
52 | -0.033941 | -0.0085106 | 0.033954 | 0.0085189 | 1.3254e-05 | 8.3072e-06 | 0.050963 | 0.050963 | 0.050963 | 0.99102 | -0.1722 | 0.99144 | -0.16401 | 14.0009
53 | -0.039216 | -0.0098379 | 0.039221 | 0.0098408 | 4.6834e-06 | 2.9509e-06 | 0.058862 | 0.058862 | 0.058862 | 0.99144 | -0.16401 | 0.99157 | -0.16151 | 16.1708
54 | -0.043361 | -0.010878 | 0.043416 | 0.010913 | 5.5174e-05 | 3.4862e-05 | 0.065075 | 0.065074 | 0.065075 | 0.99157 | -0.16151 | 0.99295 | -0.13486 | 17.8776
55 | -0.048987 | -0.012309 | 0.049026 | 0.012334 | 3.8613e-05 | 2.4465e-05 | 0.073423 | 0.073423 | 0.073423 | 0.99295 | -0.13486 | 0.9938 | -0.11836 | 20.1711
56 | 0.0013844 | 0.00034694 | -0.0013844 | -0.00034696 | 3.3303e-09 | -2.336e-08 | 0.0020986 | 0.0020986 | 0.0020986 | 0.98161 | -0.35445 | 0.98161 | -0.3545 | 0.57653
57 | 0.0059193 | 0.0014835 | -0.0059184 | -0.0014833 | 9.1143e-07 | 1.8541e-07 | 0.0088792 | 0.0088794 | 0.0088794 | 0.99198 | -0.15191 | 0.99182 | -0.15514 | 2.4394
58 | -0.040883 | -0.010258 | 0.040897 | 0.010266 | 1.3847e-05 | 8.7396e-06 | 0.06188 | 0.06188 | 0.06188 | 0.98317 | -0.32394 | 0.98354 | -0.31684 | 16.9999
59 | -0.045434 | -0.011403 | 0.045454 | 0.011416 | 1.9896e-05 | 1.2591e-05 | 0.068744 | 0.068744 | 0.068744 | 0.98354 | -0.31684 | 0.98401 | -0.30766 | 18.8858
60 | 0.056926 | 0.014337 | -0.056853 | -0.01429 | 7.3331e-05 | 4.6594e-05 | 0.085905 | 0.085905 | 0.085905 | 0.98635 | -0.26217 | 0.98496 | -0.28915 | 23.6002
61 | -0.06073 | -0.01529 | 0.060778 | 0.015321 | 4.7889e-05 | 3.0455e-05 | 0.091643 | 0.091643 | 0.091643 | 0.98635 | -0.26217 | 0.98719 | -0.24569 | 25.1767
62 | 0.051151 | 0.012861 | -0.051105 | -0.012832 | 4.5172e-05 | 2.8654e-05 | 0.07729 | 0.07729 | 0.07729 | 0.98496 | -0.28915 | 0.98401 | -0.30766 | 21.2336
63 | -0.060778 | -0.015321 | 0.060796 | 0.015332 | 1.8247e-05 | 1.1604e-05 | 0.091643 | 0.091643 | 0.091643 | 0.98719 | -0.24569 | 0.98752 | -0.23942 | 25.1767
64 | -0.065894 | -0.01661 | 0.066004 | 0.01668 | 0.00011065 | 7.043e-05 | 0.099324 | 0.099324 | 0.099324 | 0.98752 | -0.23942 | 0.98933 | -0.20439 | 27.2868
65 | -0.072969 | -0.018426 | 0.072971 | 0.018427 | 2.5683e-06 | 1.6364e-06 | 0.1098 | 0.1098 | 0.1098 | 0.98933 | -0.20439 | 0.98937 | -0.20366 | 30.1645
66 | -0.076746 | -0.019373 | 0.076896 | 0.019469 | 0.00014995 | 9.5585e-05 | 0.11548 | 0.11548 | 0.11548 | 0.98937 | -0.20366 | 0.99148 | -0.16295 | 31.7244
67 | -0.0061015 | -0.0015291 | 0.0061027 | 0.0015294 | 1.2651e-06 | 3.2751e-07 | 0.0093272 | 0.009327 | 0.0093272 | 0.97339 | -0.51312 | 0.97361 | -0.50877 | 2.5624
68 | 0.0030508 | 0.0007645 | -0.0030507 | -0.00076458 | 8.6372e-08 | -7.6352e-08 | 0.0046637 | 0.0046637 | 0.0046637 | 0.97339 | -0.51312 | 0.97336 | -0.51372 | 1.2812
69 | -0.008938 | -0.00224 | 0.0089384 | 0.0022402 | 3.8685e-07 | 1.7883e-07 | 0.01366 | 0.01366 | 0.01366 | 0.97361 | -0.50877 | 0.97366 | -0.50786 | 3.7528
70 | -0.011778 | -0.0029518 | 0.011781 | 0.0029537 | 3.5589e-06 | 1.9132e-06 | 0.017999 | 0.017999 | 0.017999 | 0.97366 | -0.50786 | 0.97398 | -0.50152 | 4.9449
71 | 0.010385 | 0.0026039 | -0.01038 | -0.0026013 | 5.2264e-06 | 2.6562e-06 | 0.015866 | 0.015866 | 0.015866 | 0.97398 | -0.50152 | 0.97345 | -0.51209 | 4.3589
72 | -0.022166 | -0.0055576 | 0.022175 | 0.0055629 | 8.7006e-06 | 5.3165e-06 | 0.033865 | 0.033865 | 0.033865 | 0.97398 | -0.50152 | 0.9744 | -0.49329 | 9.3037
73 | 0.003429 | 0.00085907 | -0.0034286 | -0.0008593 | 4.0505e-07 | -2.2945e-07 | 0.0052415 | 0.0052417 | 0.0052417 | 0.97345 | -0.51209 | 0.97332 | -0.51457 | 1.44
74 | 0.0069505 | 0.0017422 | -0.006948 | -0.0017413 | 2.4944e-06 | 8.6419e-07 | 0.010625 | 0.010625 | 0.010625 | 0.97345 | -0.51209 | 0.97306 | -0.51962 | 2.9189
75 | -0.023508 | -0.0058969 | 0.023532 | 0.0059098 | 2.3922e-05 | 1.2841e-05 | 0.035901 | 0.0359 | 0.035901 | 0.9744 | -0.49329 | 0.97548 | -0.47196 | 4.9314
76 | 0.082145 | 0.020843 | -0.081995 | -0.020747 | 0.00015038 | 9.5902e-05 | 0.12313 | 0.12313 | 0.12313 | 0.99346 | -0.12481 | 0.99148 | -0.16295 | 33.8266
77 | 0.0035659 | 0.00089369 | -0.0035659 | -0.0008937 | 2.7423e-08 | -1.2998e-08 | 0.0054531 | 0.0054531 | 0.0054531 | 0.97306 | -0.51962 | 0.97306 | -0.51978 | 1.4981

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38847 | 0.099207

## res_load
| p_mw | q_mvar
0 | 0.0048604 | 0.0012181
1 | 0.0028575 | 0.00071617
2 | 0.056941 | 0.014271
3 | 0.0020647 | 0.00051747
4 | 0.022195 | 0.0055625
5 | 0.0044066 | 0.0011044
6 | 0.0020287 | 0.00050844
7 | 0.003975 | 0.00099623
8 | 0.0093164 | 0.0023349
9 | 0.012542 | 0.0031434
10 | 0.0036744 | 0.0009209
11 | 0.0094102 | 0.0023584
12 | 0.0044001 | 0.0011028
13 | 0.0025471 | 0.00063837
14 | 0.0040989 | 0.0010273
15 | 0.0030806 | 0.00077208
16 | 0.0026072 | 0.00065342
17 | 0.0055755 | 0.0013973
18 | 0.0025513 | 0.00063943
19 | 0.0037352 | 0.00093613
20 | 0.0052191 | 0.001308
21 | 0.0023299 | 0.00058393
22 | 0.0013854 | 0.00034721
23 | 0.0041964 | 0.0010517
24 | 0.0013851 | 0.00034713
25 | 0.0013851 | 0.00034713
26 | 0.0064749 | 0.0016228
27 | 0.0037661 | 0.00094388
28 | 0.0036733 | 0.00092062
29 | 0.0042618 | 0.0010681
30 | 0.0013854 | 0.00034721
31 | 0.0064937 | 0.0016275
32 | 0.0013854 | 0.00034721
33 | 0.0064937 | 0.0016275
34 | 0.0030473 | 0.00076373
35 | 0.0041466 | 0.0010392
36 | 0.0048624 | 0.0012186
37 | 0.0072239 | 0.0018105
38 | 0.0052626 | 0.0013189
39 | 0.0041401 | 0.0010376
40 | 0.0055708 | 0.0013962
41 | 0.0018787 | 0.00047085
42 | 0.0013844 | 0.00034696
43 | 0.0059184 | 0.0014833
44 | 0.0070021 | 0.0017549
45 | 0.0056424 | 0.0014141
46 | 0.0045372 | 0.0011371
47 | 0.0038039 | 0.00095334
48 | 0.0057024 | 0.0014291
49 | 0.0056514 | 0.0014164
50 | 0.0050974 | 0.0012775
51 | 0.0069642 | 0.0017454
52 | 0.0037753 | 0.00094618
53 | 0.0030507 | 0.00076457
54 | 0.0028353 | 0.00071059
55 | 0.0030507 | 0.00076458
56 | 0.0028393 | 0.00071158
57 | 0.0013329 | 0.00033406
58 | 0.0063004 | 0.001579
59 | 0.0050987 | 0.0012779
60 | 0.0034286 | 0.0008593
61 | 0.0033821 | 0.00084763
62 | 0.03195 | 0.0080074
63 | 0.0035659 | 0.0008937
64 | 0.0097157 | 0.002435

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1