## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-220_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-220_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-220_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-220_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-220_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1061-220_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1061-220_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1061-220_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-220_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1061-220_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1061-220_0_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_1061-220_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1061-220_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1061-220_0_4_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_1061-220_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_1061-220_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1061-220_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1061-220_0_4_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_1061-220_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_1061-220_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1061-220_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1061-220_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1061-220_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_1061-220_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1061-220_0_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_1061-220_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1061-220_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1061-220_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1061-220_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1061-220_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1061-220_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1061-220_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1061-220_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1061-220_0_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1061-220_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1061-220_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1061-220_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1061-220_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1061-220_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1061-220_0_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_1061-220_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1061-220_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_1061-220_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_1061-220_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1061-220_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_1061-220_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_1061-220_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1061-220_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1061-220_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1061-220_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1061-220_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1061-220_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1061-220_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1061-220_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1061-220_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1061-220_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_MV_213_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-220_0_4_load_0 | 0 | 0.00083081 | 0.00020822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-220_0_4_load_1 | 1 | 0.00070459 | 0.00017659 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-220_0_4_load_2 | 2 | 0.0020951 | 0.00052508 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-220_0_4_load_8 | 4 | 0.0021978 | 0.00055083 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-220_0_4_load_6 | 5 | 0.004847 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-220_0_4_load_5 | 7 | 0.00049055 | 0.00012294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-220_0_4_load_7 | 8 | 0.0017902 | 0.00044867 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-220_0_4_load_38 | 10 | 0.01602 | 0.0040149 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-220_0_4_load_58 | 13 | 0.015953 | 0.0039981 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-220_0_4_load_59 | 14 | 0.0079802 | 0.002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-220_0_4_load_57 | 17 | 0.001414 | 0.00035437 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-220_0_4_load_39 | 18 | 0.012562 | 0.0031483 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-220_0_4_load_48 | 22 | 0.0046179 | 0.0011574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-220_0_4_load_46 | 23 | 0.0032081 | 0.00080403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-220_0_4_load_56 | 24 | 0.0067621 | 0.0016947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-220_0_4_load_30 | 26 | 0.012345 | 0.003094 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-220_0_4_load_29 | 27 | 0.012751 | 0.0031956 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-220_0_4_load_20 | 28 | 0.013569 | 0.0034007 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-220_0_4_load_17 | 30 | 0.011838 | 0.0029669 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-220_0_4_load_18 | 31 | 0.014726 | 0.0036908 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-220_0_4_load_52 | 33 | 0.01585 | 0.0039724 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-220_0_4_load_23 | 34 | 0.013874 | 0.0034771 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-220_0_4_load_24 | 35 | 0.011893 | 0.0029807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-220_0_4_load_25 | 36 | 0.010763 | 0.0026974 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-220_0_4_load_26 | 37 | 0.018585 | 0.0046579 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-220_0_4_load_27 | 38 | 0.012711 | 0.0031857 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-220_0_4_load_53 | 44 | 0.017946 | 0.0044976 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-220_0_4_load_60 | 45 | 0.007986 | 0.0020015 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-220_0_4_load_33 | 46 | 0.015755 | 0.0039485 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-220_0_4_load_37 | 48 | 0.013366 | 0.0033497 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-220_0_4_load_36 | 49 | 0.012677 | 0.0031772 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-220_0_4_load_45 | 52 | 0.015695 | 0.0039337 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-220_0_4_load_42 | 53 | 0.017007 | 0.0042624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-220_0_4_load_55 | 54 | 0.016478 | 0.0041299 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-220_0_4_load_43 | 55 | 0.017089 | 0.0042828 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-220_0_4_line_0 |  | 0 | 1 | 0.038184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-220_0_4_line_1 |  | 0 | 2 | 0.028311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-220_0_4_line_2 |  | 2 | 3 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-220_0_4_line_3 |  | 3 | 4 | 0.04011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-220_0_4_line_4 |  | 3 | 5 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-220_0_4_line_5 |  | 4 | 6 | 0.038642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-220_0_4_line_6 |  | 5 | 7 | 0.039552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-220_0_4_line_7 |  | 6 | 9 | 0.23755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-220_0_4_line_8 |  | 7 | 8 | 0.054262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-220_0_4_line_9 |  | 9 | 10 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-220_0_4_line_10 |  | 10 | 19 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-220_0_4_line_11 |  | 11 | 12 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-220_0_4_line_12 |  | 11 | 13 | 0.037221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-220_0_4_line_13 |  | 12 | 14 | 0.046494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-220_0_4_line_14 |  | 13 | 15 | 0.059141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-220_0_4_line_15 |  | 14 | 20 | 0.0058306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-220_0_4_line_16 |  | 15 | 16 | 0.0094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-220_0_4_line_17 |  | 16 | 17 | 0.077827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-220_0_4_line_18 |  | 17 | 24 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-220_0_4_line_19 |  | 18 | 19 | 0.0037094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-220_0_4_line_20 |  | 19 | 46 | 0.034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-220_0_4_line_21 |  | 20 | 45 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-220_0_4_line_22 |  | 20 | 25 | 0.051317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-220_0_4_line_23 |  | 21 | 22 | 0.041462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-220_0_4_line_24 |  | 21 | 23 | 0.0047507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-220_0_4_line_25 |  | 22 | 41 | 0.012538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-220_0_4_line_26 |  | 25 | 26 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-220_0_4_line_27 |  | 26 | 27 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-220_0_4_line_28 |  | 28 | 29 | 0.0060995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-220_0_4_line_29 |  | 29 | 32 | 0.052618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-220_0_4_line_30 |  | 29 | 31 | 0.016687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-220_0_4_line_31 |  | 30 | 31 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-220_0_4_line_32 |  | 32 | 33 | 0.0018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-220_0_4_line_33 |  | 33 | 44 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-220_0_4_line_34 |  | 34 | 35 | 0.030916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-220_0_4_line_35 |  | 34 | 36 | 0.030796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-220_0_4_line_36 |  | 35 | 37 | 0.080974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-220_0_4_line_37 |  | 36 | 38 | 0.0030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-220_0_4_line_38 |  | 38 | 39 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-220_0_4_line_39 |  | 39 | 40 | 0.050309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1061-220_0_4_line_40 |  | 39 | 41 | 0.050264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1061-220_0_4_line_41 |  | 40 | 54 | 0.017183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1061-220_0_4_line_42 |  | 40 | 55 | 0.0042662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-220_0_4_line_43 |  | 41 | 43 | 0.003665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-220_0_4_line_44 |  | 42 | 43 | 0.049752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-220_0_4_line_45 |  | 42 | 44 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-220_0_4_line_46 |  | 43 | 45 | 0.032468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-220_0_4_line_47 |  | 46 | 47 | 0.016149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-220_0_4_line_48 |  | 47 | 48 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-220_0_4_line_49 |  | 48 | 50 | 0.015721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-220_0_4_line_50 |  | 49 | 50 | 0.0047732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-220_0_4_line_51 |  | 50 | 51 | 0.050782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-220_0_4_line_52 |  | 51 | 52 | 0.0041455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1061-220_0_4_line_53 |  | 51 | 53 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-220_0_4_line_54 |  | 52 | 54 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-220_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 56 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2667587.9707 | 1213134.8538 | 2667554.5564 | 1213116.3732
1 | 2667587.9707 | 1213134.8538 | 2667612.7451 | 1213148.5559
2 | 2667630.0618 | 1213158.1334 | 2667612.7451 | 1213148.5559
3 | 2667630.0618 | 1213158.1334 | 2667622.733 | 1213173.3598 | 2667620.3728 | 1213196.4516
4 | 2667630.0618 | 1213158.1334 | 2667645.5931 | 1213149.0017
5 | 2667616.4438 | 1213234.8935 | 2667620.3728 | 1213196.4516
6 | 2667678.2009 | 1213145.8772 | 2667674.3903 | 1213139.9581 | 2667668.1182 | 1213137.0296 | 2667662.6569 | 1213138.9689 | 2667645.5931 | 1213149.0017
7 | 2667616.4438 | 1213234.8935 | 2667612.0119 | 1213235.8328 | 2667607.58 | 1213236.772 | 2667604.8303 | 1213236.7408 | 2667600.7702 | 1213239.0629 | 2667598.9154 | 1213240.5095 | 2667585.8707 | 1213259.3734 | 2667576.6054 | 1213267.8515 | 2667567.3525 | 1213275.2402 | 2667544.6057 | 1213292.8936 | 2667542.4588 | 1213294.6482 | 2667534.239 | 1213301.3704 | 2667529.2288 | 1213306.428 | 2667525.9095 | 1213308.4027 | 2667522.2305 | 1213309.2727 | 2667501.5295 | 1213307.9487 | 2667495.1154 | 1213307.5092 | 2667487.765 | 1213309.2494 | 2667478.7379 | 1213312.805 | 2667465.4389 | 1213321.9714 | 2667462.1244 | 1213322.8567 | 2667457.5443 | 1213322.8049 | 2667440.5066 | 1213321.3336 | 2667431.6841 | 1213323.6019 | 2667431.3645 | 1213318.2727 | 2667430.0337 | 1213310.3416 | 2667427.5078 | 1213304.6318
8 | 2667678.2009 | 1213145.8772 | 2667681.9899 | 1213151.7628 | 2667683.0753 | 1213157.2007 | 2667681.8375 | 1213165.1806 | 2667676.7417 | 1213185.1129 | 2667677.4279 | 1213198.1636
9 | 2667427.5078 | 1213304.6318 | 2667425.8095 | 1213305.0128 | 2667422.9965 | 1213292.6615
10 | 2667419.2598 | 1213276.2542 | 2667422.9965 | 1213292.6615
11 | 2667322.1438 | 1213340.2195 | 2667320.4482 | 1213347.0824 | 2667316.9551 | 1213351.6792 | 2667314.4974 | 1213353.3747
12 | 2667314.4974 | 1213353.3747 | 2667312.7135 | 1213354.6109 | 2667307.6206 | 1213355.5651 | 2667300.8086 | 1213354.71 | 2667293.4164 | 1213352.7587 | 2667285.7417 | 1213348.9142 | 2667280.251 | 1213344.9462
13 | 2667322.1438 | 1213340.2195 | 2667320.8686 | 1213333.4008 | 2667312.2805 | 1213294.7869
14 | 2667230.4736 | 1213326.9774 | 2667235.032 | 1213322.8929 | 2667240.465 | 1213320.7417 | 2667246.2142 | 1213321.5403 | 2667251.6452 | 1213324.281 | 2667272.4573 | 1213339.3139 | 2667280.251 | 1213344.9462
15 | 2667311.0147 | 1213289.0954 | 2667312.2805 | 1213294.7869
16 | 2667223.6567 | 1213320.4854 | 2667230.4736 | 1213326.9774
17 | 2667223.6567 | 1213320.4854 | 2667214.8999 | 1213311.5478 | 2667204.8595 | 1213298.5377 | 2667198.1065 | 1213287.0434 | 2667193.1354 | 1213276.5253 | 2667189.7999 | 1213265.114 | 2667188.2722 | 1213255.7465 | 2667188.1832 | 1213253.2126
18 | 2667188.7456 | 1213230.6654 | 2667187.8868 | 1213244.7798 | 2667188.1832 | 1213253.2126
19 | 2667419.2598 | 1213276.2542 | 2667422.8789 | 1213275.4407
20 | 2667419.2598 | 1213276.2542 | 2667406.1375 | 1213279.1966 | 2667401.2682 | 1213259.0291 | 2667400.7234 | 1213259.1609
21 | 2667311.0147 | 1213289.0954 | 2667306.4156 | 1213268.4137
22 | 2667311.0147 | 1213289.0954 | 2667314.5486 | 1213288.2903 | 2667323.9395 | 1213286.1394 | 2667328.6132 | 1213305.4931 | 2667346.3388 | 1213301.2127
23 | 2667266.002 | 1213200.4658 | 2667273.4828 | 1213205.3532 | 2667279.8806 | 1213213.9863 | 2667284.3952 | 1213225.2331 | 2667286.3014 | 1213234.705
24 | 2667266.002 | 1213200.4658 | 2667263.0189 | 1213198.2308 | 2667262.234 | 1213197.5743
25 | 2667298.5725 | 1213233.1424 | 2667289.4865 | 1213235.1967 | 2667286.3014 | 1213234.705
26 | 2667346.3388 | 1213301.2127 | 2667350.1751 | 1213317.9112
27 | 2667358.5938 | 1213327.9479 | 2667352.7974 | 1213329.3254 | 2667350.1751 | 1213317.9112
28 | 2667382.4285 | 1213289.2684 | 2667388.3306 | 1213287.7291
29 | 2667347.9199 | 1213274.2249 | 2667361.6061 | 1213271.1219 | 2667366.8574 | 1213293.1283 | 2667382.4285 | 1213289.2684
30 | 2667382.4285 | 1213289.2684 | 2667386.2007 | 1213305.5233
31 | 2667386.2007 | 1213305.5233 | 2667388.9914 | 1213317.549 | 2667395.039 | 1213316.1487
32 | 2667347.9199 | 1213274.2249 | 2667346.1347 | 1213274.6581
33 | 2667346.1347 | 1213274.6581 | 2667339.952 | 1213276.1584 | 2667336.8938 | 1213263.8355
34 | 2667269.638 | 1213107.9696 | 2667276.7838 | 1213138.0489
35 | 2667283.9017 | 1213168.0106 | 2667276.7838 | 1213138.0489
36 | 2667269.638 | 1213107.9696 | 2667266.1188 | 1213093.1559 | 2667266.656 | 1213077.8636 | 2667266.8597 | 1213071.9289 | 2667280.4246 | 1213029.5388
37 | 2667283.9017 | 1213168.0106 | 2667284.6033 | 1213170.9637
38 | 2667287.7162 | 1213184.0672 | 2667284.6033 | 1213170.9637
39 | 2667287.7162 | 1213184.0672 | 2667291.204 | 1213183.3172 | 2667300.7762 | 1213181.2683 | 2667305.4432 | 1213201.2223 | 2667321.5527 | 1213197.4684
40 | 2667298.5725 | 1213233.1424 | 2667288.137 | 1213185.8175 | 2667287.7162 | 1213184.0672
41 | 2667321.5527 | 1213197.4684 | 2667325.3992 | 1213214.2157
42 | 2667321.5527 | 1213197.4684 | 2667325.7085 | 1213196.5043
43 | 2667298.5725 | 1213233.1424 | 2667299.3678 | 1213236.7203
44 | 2667299.3678 | 1213236.7203 | 2667302.902 | 1213235.893 | 2667312.72 | 1213233.6023 | 2667317.1909 | 1213252.7536 | 2667333.231 | 1213249.0768
45 | 2667333.231 | 1213249.0768 | 2667336.8938 | 1213263.8355
46 | 2667299.3678 | 1213236.7203 | 2667306.4156 | 1213268.4137
47 | 2667385.0277 | 1213262.9591 | 2667400.7234 | 1213259.1609
48 | 2667385.0277 | 1213262.9591 | 2667376.7488 | 1213264.8446 | 2667373.8118 | 1213252.8134
49 | 2667370.0836 | 1213237.5412 | 2667373.8118 | 1213252.8134
50 | 2667370.0836 | 1213237.5412 | 2667374.7343 | 1213236.4666
51 | 2667336.1565 | 1213224.1165 | 2667350.6577 | 1213220.8337 | 2667355.1172 | 1213240.9855 | 2667370.0836 | 1213237.5412
52 | 2667336.1565 | 1213224.1165 | 2667332.1091 | 1213225.0128
53 | 2667336.1565 | 1213224.1165 | 2667332.6686 | 1213209.0673
54 | 2667332.1091 | 1213225.0128 | 2667328.0838 | 1213225.9042 | 2667325.3992 | 1213214.2157

## bus_geodata
| x | y | coords
0 | 2667587.9707 | 1213134.8538
1 | 2667554.5564 | 1213116.3732
2 | 2667612.7451 | 1213148.5559
3 | 2667630.0618 | 1213158.1334
4 | 2667620.3728 | 1213196.4516
5 | 2667645.5931 | 1213149.0017
6 | 2667616.4438 | 1213234.8935
7 | 2667678.2009 | 1213145.8772
8 | 2667677.4279 | 1213198.1636
9 | 2667427.5078 | 1213304.6318
10 | 2667422.9965 | 1213292.6615
11 | 2667314.4974 | 1213353.3747
12 | 2667322.1438 | 1213340.2195
13 | 2667280.251 | 1213344.9462
14 | 2667312.2805 | 1213294.7869
15 | 2667230.4736 | 1213326.9774
16 | 2667223.6567 | 1213320.4854
17 | 2667188.1832 | 1213253.2126
18 | 2667422.8789 | 1213275.4407
19 | 2667419.2598 | 1213276.2542
20 | 2667311.0147 | 1213289.0954
21 | 2667266.002 | 1213200.4658
22 | 2667286.3014 | 1213234.705
23 | 2667262.234 | 1213197.5743
24 | 2667188.7456 | 1213230.6654
25 | 2667346.3388 | 1213301.2127
26 | 2667350.1751 | 1213317.9112
27 | 2667358.5938 | 1213327.9479
28 | 2667388.3306 | 1213287.7291
29 | 2667382.4285 | 1213289.2684
30 | 2667395.039 | 1213316.1487
31 | 2667386.2007 | 1213305.5233
32 | 2667347.9199 | 1213274.2249
33 | 2667346.1347 | 1213274.6581
34 | 2667276.7838 | 1213138.0489
35 | 2667269.638 | 1213107.9696
36 | 2667283.9017 | 1213168.0106
37 | 2667280.4246 | 1213029.5388
38 | 2667284.6033 | 1213170.9637
39 | 2667287.7162 | 1213184.0672
40 | 2667321.5527 | 1213197.4684
41 | 2667298.5725 | 1213233.1424
42 | 2667333.231 | 1213249.0767
43 | 2667299.3678 | 1213236.7203
44 | 2667336.8938 | 1213263.8355
45 | 2667306.4156 | 1213268.4137
46 | 2667400.7234 | 1213259.1609
47 | 2667385.0277 | 1213262.9591
48 | 2667373.8118 | 1213252.8134
49 | 2667374.7343 | 1213236.4666
50 | 2667370.0836 | 1213237.5412
51 | 2667336.1565 | 1213224.1165
52 | 2667332.1091 | 1213225.0128
53 | 2667332.6686 | 1213209.0673
54 | 2667325.3992 | 1213214.2157
55 | 2667325.7085 | 1213196.5043
56 | 2667321.5527 | 1213197.4684

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98745 | -0.24206 | 0.00083081 | 0.00020822
1 | 0.98742 | -0.24255 | 0.00070459 | 0.00017659
2 | 0.98749 | -0.24129 | 0.0020951 | 0.00052508
3 | 0.98755 | -0.24 | 0 | 0
4 | 0.98795 | -0.23229 | 0.0021978 | 0.00055083
5 | 0.98744 | -0.2423 | 0.004847 | 0.0012148
6 | 0.98841 | -0.22335 | 0 | 0
7 | 0.98735 | -0.24391 | 0.00049055 | 0.00012294
8 | 0.98726 | -0.24565 | 0.0017902 | 0.00044867
9 | 0.99124 | -0.16854 | 0 | 0
10 | 0.99141 | -0.16523 | 0.01602 | 0.0040149
11 | 0.98231 | -0.34011 | 0 | 0
12 | 0.98266 | -0.33321 | 0 | 0
13 | 0.98148 | -0.35635 | 0.015953 | 0.0039981
14 | 0.9837 | -0.31298 | 0.0079802 | 0.002
15 | 0.98103 | -0.3651 | 0 | 0
16 | 0.98096 | -0.3665 | 0 | 0
17 | 0.98037 | -0.37803 | 0.001414 | 0.00035437
18 | 0.99181 | -0.1574 | 0.012562 | 0.0031483
19 | 0.99185 | -0.15658 | 0 | 0
20 | 0.98387 | -0.30961 | 0 | 0
21 | 0.98721 | -0.24486 | 0 | 0
22 | 0.98733 | -0.24248 | 0.0046179 | 0.0011574
23 | 0.98719 | -0.24513 | 0.0032081 | 0.00080403
24 | 0.98023 | -0.3808 | 0.0067621 | 0.0016947
25 | 0.98269 | -0.33282 | 0 | 0
26 | 0.98229 | -0.34059 | 0.012345 | 0.003094
27 | 0.98208 | -0.34466 | 0.012751 | 0.0031956
28 | 0.97942 | -0.39659 | 0.013569 | 0.0034007
29 | 0.97949 | -0.39508 | 0 | 0
30 | 0.97888 | -0.40713 | 0.011838 | 0.0029669
31 | 0.97908 | -0.40314 | 0.014726 | 0.0036908
32 | 0.98145 | -0.35679 | 0 | 0
33 | 0.98152 | -0.35546 | 0.01585 | 0.0039724
34 | 0.98859 | -0.21847 | 0.013874 | 0.0034771
35 | 0.98772 | -0.23529 | 0.011893 | 0.0029807
36 | 0.98984 | -0.19414 | 0.010763 | 0.0026974
37 | 0.98634 | -0.26221 | 0.018585 | 0.0046579
38 | 0.98999 | -0.19116 | 0.012711 | 0.0031857
39 | 0.99083 | -0.17493 | 0 | 0
40 | 0.99582 | -0.079481 | 0 | 0
41 | 0.98742 | -0.24073 | 0 | 0
42 | 0.98354 | -0.3159 | 0 | 0
43 | 0.98695 | -0.24985 | 0 | 0
44 | 0.9825 | -0.33617 | 0.017946 | 0.0044976
45 | 0.98499 | -0.2878 | 0.007986 | 0.0020015
46 | 0.99318 | -0.13102 | 0.015755 | 0.0039485
47 | 0.99402 | -0.11468 | 0 | 0
48 | 0.99512 | -0.093602 | 0.013366 | 0.0033497
49 | 0.99608 | -0.075128 | 0.012677 | 0.0031772
50 | 0.99613 | -0.074066 | 0 | 0
51 | 1 | 0 | -0.36997 | -0.093821
52 | 0.9995 | -0.0095448 | 0.015695 | 0.0039337
53 | 0.99976 | -0.0045803 | 0.017007 | 0.0042624
54 | 0.99765 | -0.044527 | 0.016478 | 0.0041299
55 | 0.99575 | -0.080762 | 0.017089 | 0.0042828
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0007046 | 0.00017611 | -0.00070459 | -0.00017659 | 1.6141e-08 | -4.7812e-07 | 0.0010616 | 0.0010618 | 0.0010618 | 0.98745 | -0.24206 | 0.98742 | -0.24255 | 0.2917
1 | -0.0015354 | -0.00038433 | 0.0015355 | 0.000384 | 5.6824e-08 | -3.258e-07 | 0.0023136 | 0.0023135 | 0.0023136 | 0.98745 | -0.24206 | 0.98749 | -0.24129 | 0.6356
2 | -0.0036305 | -0.00090908 | 0.0036308 | 0.00090897 | 2.2207e-07 | -1.1105e-07 | 0.0054705 | 0.0054704 | 0.0054705 | 0.98749 | -0.24129 | 0.98755 | -0.24 | 1.5029
3 | -0.01076 | -0.0026946 | 0.010764 | 0.0026966 | 3.9531e-06 | 2.0166e-06 | 0.016212 | 0.016211 | 0.016212 | 0.98755 | -0.24 | 0.98795 | -0.23229 | 4.4537
4 | 0.0071289 | 0.0017857 | -0.0071281 | -0.0017854 | 7.7951e-07 | 2.6839e-07 | 0.010741 | 0.010741 | 0.010741 | 0.98755 | -0.24 | 0.98744 | -0.2423 | 2.9509
5 | -0.012961 | -0.0032475 | 0.012967 | 0.0032505 | 5.5223e-06 | 3.0393e-06 | 0.019522 | 0.019522 | 0.019522 | 0.98795 | -0.23229 | 0.98841 | -0.22335 | 5.3631
6 | 0.0022811 | 0.00057062 | -0.0022809 | -0.00057102 | 1.7523e-07 | -3.9375e-07 | 0.0034371 | 0.0034373 | 0.0034373 | 0.98744 | -0.2423 | 0.98735 | -0.24391 | 0.94431
7 | -0.012967 | -0.0032505 | 0.013001 | 0.0032692 | 3.3946e-05 | 1.8672e-05 | 0.019522 | 0.01952 | 0.019522 | 0.98841 | -0.22335 | 0.99124 | -0.16854 | 5.3631
8 | 0.0017904 | 0.00044807 | -0.0017902 | -0.00044867 | 1.4813e-07 | -5.9912e-07 | 0.002698 | 0.0026983 | 0.0026983 | 0.98735 | -0.24391 | 0.98726 | -0.24565 | 0.74128
9 | -0.013001 | -0.0032692 | 0.013003 | 0.0032703 | 2.0588e-06 | 1.1319e-06 | 0.01952 | 0.01952 | 0.01952 | 0.99124 | -0.16854 | 0.99141 | -0.16523 | 5.3628
10 | -0.029022 | -0.0072852 | 0.029034 | 0.0072926 | 1.1976e-05 | 7.4475e-06 | 0.043564 | 0.043564 | 0.043564 | 0.99141 | -0.16523 | 0.99185 | -0.15658 | 11.9682
11 | -0.024157 | -0.0060626 | 0.024165 | 0.0060674 | 7.9441e-06 | 4.8839e-06 | 0.036596 | 0.036596 | 0.036596 | 0.98231 | -0.34011 | 0.98266 | -0.33321 | 10.0538
12 | 0.024157 | 0.0060626 | -0.024138 | -0.0060511 | 1.8693e-05 | 1.1493e-05 | 0.036596 | 0.036596 | 0.036596 | 0.98231 | -0.34011 | 0.98148 | -0.35635 | 10.0538
13 | -0.024165 | -0.0060674 | 0.024188 | 0.0060818 | 2.335e-05 | 1.4354e-05 | 0.036596 | 0.036596 | 0.036596 | 0.98266 | -0.33321 | 0.9837 | -0.31298 | 10.0538
14 | 0.0081854 | 0.002053 | -0.008182 | -0.0020515 | 3.4159e-06 | 1.4391e-06 | 0.01241 | 0.012411 | 0.012411 | 0.98148 | -0.35635 | 0.98103 | -0.3651 | 3.4095
15 | -0.032168 | -0.0080818 | 0.032173 | 0.0080851 | 5.1786e-06 | 3.2403e-06 | 0.048667 | 0.048667 | 0.048667 | 0.9837 | -0.31298 | 0.98387 | -0.30961 | 13.37
16 | 0.008182 | 0.0020515 | -0.0081815 | -0.0020513 | 5.4294e-07 | 2.288e-07 | 0.012411 | 0.012411 | 0.012411 | 0.98103 | -0.3651 | 0.98096 | -0.3665 | 3.4095
17 | 0.0081815 | 0.0020513 | -0.008177 | -0.0020494 | 4.4954e-06 | 1.8951e-06 | 0.012411 | 0.012411 | 0.012411 | 0.98096 | -0.3665 | 0.98037 | -0.37803 | 3.4096
18 | 0.006763 | 0.001695 | -0.0067621 | -0.0016947 | 8.9216e-07 | 2.8632e-07 | 0.010265 | 0.010265 | 0.010265 | 0.98037 | -0.37803 | 0.98023 | -0.3808 | 2.8201
19 | -0.012562 | -0.0031483 | 0.012563 | 0.0031486 | 4.941e-07 | 2.6835e-07 | 0.018847 | 0.018847 | 0.018847 | 0.99181 | -0.1574 | 0.99185 | -0.15658 | 5.1777
20 | -0.041597 | -0.010441 | 0.041648 | 0.010473 | 5.0767e-05 | 3.2041e-05 | 0.062411 | 0.062411 | 0.062411 | 0.99185 | -0.15658 | 0.99318 | -0.13102 | 17.1459
21 | -0.057309 | -0.014399 | 0.057369 | 0.014437 | 5.9705e-05 | 3.7942e-05 | 0.086687 | 0.086687 | 0.086687 | 0.98387 | -0.30961 | 0.98499 | -0.2878 | 23.8151
22 | 0.025136 | 0.0063139 | -0.025108 | -0.0062967 | 2.7818e-05 | 1.7153e-05 | 0.03802 | 0.03802 | 0.03802 | 0.98387 | -0.30961 | 0.98269 | -0.33282 | 10.4452
23 | -0.0032082 | -0.000804 | 0.0032085 | 0.0008037 | 3.6356e-07 | -2.9751e-07 | 0.0048357 | 0.0048355 | 0.0048357 | 0.98721 | -0.24486 | 0.98733 | -0.24248 | 1.3285
24 | 0.0032082 | 0.000804 | -0.0032081 | -0.00080403 | 4.1659e-08 | -3.4079e-08 | 0.0048357 | 0.0048357 | 0.0048357 | 0.98721 | -0.24486 | 0.98719 | -0.24513 | 1.3285
25 | -0.0078265 | -0.0019611 | 0.0078271 | 0.0019613 | 6.5415e-07 | 2.5829e-07 | 0.011795 | 0.011795 | 0.011795 | 0.98733 | -0.24248 | 0.98742 | -0.24073 | 3.2405
26 | 0.025108 | 0.0062967 | -0.025098 | -0.006291 | 9.2878e-06 | 5.7272e-06 | 0.03802 | 0.038021 | 0.038021 | 0.98269 | -0.33282 | 0.98229 | -0.34059 | 10.4452
27 | 0.012753 | 0.0031969 | -0.012751 | -0.0031956 | 2.473e-06 | 1.3591e-06 | 0.019319 | 0.019319 | 0.019319 | 0.98229 | -0.34059 | 0.98208 | -0.34466 | 5.3075
28 | -0.013569 | -0.0034007 | 0.01357 | 0.0034013 | 9.7208e-07 | 5.4537e-07 | 0.020615 | 0.020615 | 0.020615 | 0.97942 | -0.39659 | 0.97949 | -0.39508 | 5.6635
29 | -0.040147 | -0.010067 | 0.040221 | 0.010113 | 7.3402e-05 | 4.6314e-05 | 0.060992 | 0.060992 | 0.060992 | 0.97949 | -0.39508 | 0.98145 | -0.35679 | 16.7561
30 | 0.026577 | 0.0066653 | -0.026567 | -0.006659 | 1.0202e-05 | 6.3191e-06 | 0.040377 | 0.040377 | 0.040377 | 0.97949 | -0.39508 | 0.97908 | -0.40314 | 11.0925
31 | -0.011838 | -0.0029669 | 0.01184 | 0.0029681 | 2.2531e-06 | 1.2087e-06 | 0.017996 | 0.017995 | 0.017996 | 0.97888 | -0.40713 | 0.97908 | -0.40314 | 4.9438
32 | -0.040221 | -0.010113 | 0.040223 | 0.010114 | 2.5627e-06 | 1.6169e-06 | 0.060992 | 0.060992 | 0.060992 | 0.98145 | -0.35679 | 0.98152 | -0.35546 | 16.756
33 | -0.056073 | -0.014087 | 0.056125 | 0.01412 | 5.1663e-05 | 3.2823e-05 | 0.085021 | 0.085021 | 0.085021 | 0.98152 | -0.35546 | 0.9825 | -0.33617 | 23.3574
34 | 0.030526 | 0.0076681 | -0.030502 | -0.0076528 | 2.4484e-05 | 1.5274e-05 | 0.045955 | 0.045955 | 0.045955 | 0.98859 | -0.21847 | 0.98772 | -0.23529 | 12.6249
35 | -0.0444 | -0.011145 | 0.044452 | 0.011178 | 5.1589e-05 | 3.2622e-05 | 0.066837 | 0.066837 | 0.066837 | 0.98859 | -0.21847 | 0.98984 | -0.19414 | 18.3619
36 | 0.018609 | 0.0046721 | -0.018585 | -0.0046579 | 2.3871e-05 | 1.4242e-05 | 0.028038 | 0.028038 | 0.028038 | 0.98772 | -0.23529 | 0.98634 | -0.26221 | 7.7028
37 | -0.055215 | -0.013875 | 0.055222 | 0.01388 | 7.8445e-06 | 4.9815e-06 | 0.083017 | 0.083017 | 0.083017 | 0.98984 | -0.19414 | 0.98999 | -0.19116 | 22.8067
38 | -0.067934 | -0.017066 | 0.067986 | 0.017099 | 5.2672e-05 | 3.3537e-05 | 0.10212 | 0.10212 | 0.10212 | 0.98999 | -0.19116 | 0.99083 | -0.17493 | 28.0555
39 | -0.21619 | -0.054724 | 0.21719 | 0.05536 | 0.00099554 | 0.00063584 | 0.32487 | 0.32487 | 0.32487 | 0.99083 | -0.17493 | 0.99582 | -0.079481 | 44.6246
40 | 0.14821 | 0.037625 | -0.14774 | -0.037327 | 0.0004676 | 0.00029797 | 0.22275 | 0.22275 | 0.22275 | 0.99083 | -0.17493 | 0.98742 | -0.24073 | 30.5969
41 | -0.23428 | -0.059644 | 0.23467 | 0.059896 | 0.00039559 | 0.00025273 | 0.3504 | 0.3504 | 0.3504 | 0.99582 | -0.079481 | 0.99765 | -0.044527 | 48.1323
42 | 0.01709 | 0.0042834 | -0.017089 | -0.0042828 | 1.0433e-06 | 6.1219e-07 | 0.025537 | 0.025537 | 0.025537 | 0.99582 | -0.079481 | 0.99575 | -0.080762 | 7.0155
43 | 0.13991 | 0.035366 | -0.13985 | -0.035327 | 6.116e-05 | 3.9095e-05 | 0.21095 | 0.21095 | 0.21095 | 0.98742 | -0.24073 | 0.98695 | -0.24985 | 57.9534
44 | -0.074142 | -0.018663 | 0.074377 | 0.018813 | 0.00023487 | 0.00014968 | 0.1122 | 0.1122 | 0.1122 | 0.98354 | -0.3159 | 0.98695 | -0.24985 | 30.824
45 | 0.074142 | 0.018663 | -0.07407 | -0.018617 | 7.1786e-05 | 4.5751e-05 | 0.1122 | 0.1122 | 0.1122 | 0.98354 | -0.3159 | 0.9825 | -0.33617 | 30.8241
46 | 0.065473 | 0.016514 | -0.065355 | -0.016438 | 0.00011873 | 7.5574e-05 | 0.098751 | 0.098751 | 0.098751 | 0.98695 | -0.24985 | 0.98499 | -0.2878 | 27.1295
47 | -0.057402 | -0.014422 | 0.057447 | 0.01445 | 4.4804e-05 | 2.8465e-05 | 0.086015 | 0.086015 | 0.086015 | 0.99318 | -0.13102 | 0.99402 | -0.11468 | 23.6305
48 | -0.057447 | -0.01445 | 0.057505 | 0.014487 | 5.7918e-05 | 3.6796e-05 | 0.086015 | 0.086015 | 0.086015 | 0.99402 | -0.11468 | 0.99512 | -0.093602 | 23.6304
49 | -0.070871 | -0.017837 | 0.070937 | 0.017879 | 6.6239e-05 | 4.2189e-05 | 0.106 | 0.106 | 0.106 | 0.99512 | -0.093602 | 0.99613 | -0.074066 | 29.121
50 | -0.012677 | -0.0031772 | 0.012678 | 0.0031775 | 6.4196e-07 | 3.4872e-07 | 0.018938 | 0.018938 | 0.018938 | 0.99608 | -0.075128 | 0.99613 | -0.074066 | 5.2028
51 | -0.083615 | -0.021056 | 0.083912 | 0.021246 | 0.00029726 | 0.00018958 | 0.12494 | 0.12494 | 0.12494 | 0.99613 | -0.074066 | 1 | 0 | 34.3237
52 | 0.2674 | 0.06831 | -0.26727 | -0.068231 | 0.00012334 | 7.8828e-05 | 0.39835 | 0.39835 | 0.39835 | 1 | 0 | 0.9995 | -0.0095448 | 54.7179
53 | 0.017011 | 0.0042645 | -0.017007 | -0.0042624 | 3.7118e-06 | 2.1729e-06 | 0.025313 | 0.025313 | 0.025313 | 1 | 0 | 0.99976 | -0.0045803 | 6.954
54 | 0.25158 | 0.064298 | -0.25115 | -0.064026 | 0.00042488 | 0.0002715 | 0.37498 | 0.37498 | 0.37498 | 0.9995 | -0.0095448 | 0.99765 | -0.044527 | 51.5083

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36997 | 0.093821

## res_load
| p_mw | q_mvar
0 | 0.00083081 | 0.00020822
1 | 0.00070459 | 0.00017659
2 | 0.0020951 | 0.00052508
3 | 0.0021978 | 0.00055083
4 | 0.004847 | 0.0012148
5 | 0.00049055 | 0.00012294
6 | 0.0017902 | 0.00044867
7 | 0.01602 | 0.0040149
8 | 0.015953 | 0.0039981
9 | 0.0079802 | 0.002
10 | 0.001414 | 0.00035437
11 | 0.012562 | 0.0031483
12 | 0.0046179 | 0.0011574
13 | 0.0032081 | 0.00080403
14 | 0.0067621 | 0.0016947
15 | 0.012345 | 0.003094
16 | 0.012751 | 0.0031956
17 | 0.013569 | 0.0034007
18 | 0.011838 | 0.0029669
19 | 0.014726 | 0.0036908
20 | 0.01585 | 0.0039724
21 | 0.013874 | 0.0034771
22 | 0.011893 | 0.0029807
23 | 0.010763 | 0.0026974
24 | 0.018585 | 0.0046579
25 | 0.012711 | 0.0031857
26 | 0.017946 | 0.0044976
27 | 0.007986 | 0.0020015
28 | 0.015755 | 0.0039485
29 | 0.013366 | 0.0033497
30 | 0.012677 | 0.0031772
31 | 0.015695 | 0.0039337
32 | 0.017007 | 0.0042624
33 | 0.016478 | 0.0041299
34 | 0.017089 | 0.0042828

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1