## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-223_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-223_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-223_0_6_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_1061-223_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1061-223_0_6_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_1061-223_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1061-223_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1061-223_0_6_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1061-223_0_6_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1061-223_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1061-223_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-223_0_6_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1061-223_0_6_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1061-223_0_6_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1061-223_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1061-223_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1061-223_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1061-223_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1061-223_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1061-223_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1061-223_0_6_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1061-223_0_6_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_1061-223_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1061-223_0_6_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_1061-223_0_6_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1061-223_0_6_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1061-223_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1061-223_0_6_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1061-223_0_6_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1061-223_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1061-223_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_1061-223_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1061-223_0_6_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1061-223_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1061-223_0_6_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_1061-223_0_6_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1061-223_0_6_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1061-223_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1061-223_0_6_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_1061-223_0_6_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_1061-223_0_6_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_1061-223_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1061-223_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_1061-223_0_6_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_1061-223_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1061-223_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_1061-223_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_1061-223_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1061-223_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1061-223_0_6_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1061-223_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1061-223_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1061-223_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_MV_3_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-223_0_6_load_0 | 0 | 0.0015828 | 0.0003967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-223_0_6_load_1 | 1 | 0.0058292 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-223_0_6_load_17 | 2 | 0.0078382 | 0.0019644 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-223_0_6_load_2 | 3 | 0.01009 | 0.0025288 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-223_0_6_load_24 | 4 | 0.0074759 | 0.0018736 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-223_0_6_load_15 | 5 | 0.034016 | 0.0085252 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-223_0_6_load_3 | 7 | 0.0097654 | 0.0024474 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-223_0_6_load_25 | 8 | 0.0066493 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-223_0_6_load_6 | 10 | 0.0024047 | 0.00060268 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-223_0_6_load_26 | 11 | 0.015757 | 0.0039491 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-223_0_6_load_27 | 12 | 0.021703 | 0.0054393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-223_0_6_load_29 | 13 | 0.013676 | 0.0034276 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-223_0_6_load_7 | 14 | 0.018699 | 0.0046864 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-223_0_6_load_10 | 17 | 0.018253 | 0.0045747 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-223_0_6_load_23 | 20 | 0.01895 | 0.0047493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-223_0_6_load_55 | 21 | 0.023379 | 0.0058594 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-223_0_6_load_54 | 23 | 0.018171 | 0.0045541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-223_0_6_load_39 | 24 | 0.0065732 | 0.0016474 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-223_0_6_load_47 | 25 | 0.018129 | 0.0045435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-223_0_6_load_19 | 26 | 0.025607 | 0.0064176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-223_0_6_load_53 | 30 | 0.022726 | 0.0056956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-223_0_6_load_33 | 33 | 0.0076033 | 0.0019056 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-223_0_6_load_58 | 34 | 0.0022318 | 0.00055935 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-223_0_6_load_52 | 35 | 0.0022318 | 0.00055935 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-223_0_6_load_51 | 36 | 0.0029771 | 0.00074614 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-223_0_6_load_38 | 37 | 0.01715 | 0.0042982 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-223_0_6_load_14 | 38 | 0.03245 | 0.0081328 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-223_0_6_load_18 | 40 | 0.037033 | 0.0092813 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-223_0_6_load_22 | 41 | 0.011469 | 0.0028744 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-223_0_6_load_21 | 42 | 0.010938 | 0.0027413 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-223_0_6_load_20 | 43 | 0.012479 | 0.0031275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-223_0_6_load_28 | 44 | 0.013641 | 0.0034188 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-223_0_6_load_31 | 45 | 0.016544 | 0.0041463 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-223_0_6_load_32 | 46 | 0.015524 | 0.0038907 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-223_0_6_load_41 | 47 | 0.010089 | 0.0025285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-223_0_6_load_40 | 48 | 0.0074388 | 0.0018643 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-223_0_6_load_49 | 49 | 0.0078598 | 0.0019698 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-223_0_6_load_50 | 50 | 0.0029799 | 0.00074684 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-223_0_6_load_57 | 51 | 0.0022318 | 0.00055935 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-223_0_6_load_56 | 52 | 0.0022285 | 0.00055851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-223_0_6_line_0 |  | 0 | 1 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-223_0_6_line_1 |  | 0 | 2 | 0.12147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-223_0_6_line_2 |  | 1 | 3 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-223_0_6_line_3 |  | 2 | 4 | 0.032777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-223_0_6_line_4 |  | 2 | 5 | 0.049201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-223_0_6_line_5 |  | 3 | 6 | 0.044298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-223_0_6_line_6 |  | 4 | 8 | 0.0035748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-223_0_6_line_7 |  | 5 | 38 | 0.0035526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1061-223_0_6_line_8 |  | 6 | 7 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-223_0_6_line_9 |  | 7 | 9 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-223_0_6_line_10 |  | 8 | 11 | 0.060901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-223_0_6_line_11 |  | 9 | 10 | 0.0084388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-223_0_6_line_12 |  | 11 | 12 | 0.0048392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-223_0_6_line_13 |  | 12 | 13 | 0.027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-223_0_6_line_14 |  | 13 | 44 | 0.0031607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-223_0_6_line_15 |  | 14 | 15 | 0.0067803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1061-223_0_6_line_16 |  | 14 | 16 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1061-223_0_6_line_17 |  | 15 | 17 | 0.018241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1061-223_0_6_line_18 |  | 16 | 18 | 0.057712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-223_0_6_line_19 |  | 16 | 19 | 0.040472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1061-223_0_6_line_20 |  | 17 | 20 | 0.017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1061-223_0_6_line_21 |  | 18 | 25 | 0.0047286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-223_0_6_line_22 |  | 19 | 21 | 0.028724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-223_0_6_line_23 |  | 19 | 22 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-223_0_6_line_24 |  | 19 | 23 | 0.03146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-223_0_6_line_25 |  | 20 | 26 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1061-223_0_6_line_26 |  | 22 | 24 | 0.027852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-223_0_6_line_27 |  | 23 | 27 | 0.051239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-223_0_6_line_28 |  | 24 | 37 | 0.031794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-223_0_6_line_29 |  | 26 | 39 | 0.044985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1061-223_0_6_line_30 |  | 27 | 28 | 0.007547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-223_0_6_line_31 |  | 28 | 29 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-223_0_6_line_32 |  | 28 | 30 | 0.027368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-223_0_6_line_33 |  | 29 | 34 | 0.00344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-223_0_6_line_34 |  | 31 | 32 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-223_0_6_line_35 |  | 31 | 33 | 0.0081382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-223_0_6_line_36 |  | 32 | 35 | 0.0085538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-223_0_6_line_37 |  | 32 | 36 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-223_0_6_line_38 |  | 33 | 45 | 0.034223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-223_0_6_line_39 |  | 34 | 51 | 0.0003307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-223_0_6_line_40 |  | 35 | 52 | 0.00021965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-223_0_6_line_41 |  | 36 | 50 | 0.007549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-223_0_6_line_42 |  | 37 | 48 | 0.04194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-223_0_6_line_43 |  | 38 | 39 | 0.0038474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1061-223_0_6_line_44 |  | 39 | 40 | 0.028875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-223_0_6_line_45 |  | 40 | 41 | 0.055202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-223_0_6_line_46 |  | 41 | 42 | 0.0015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-223_0_6_line_47 |  | 42 | 43 | 0.035861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-223_0_6_line_48 |  | 45 | 46 | 0.048597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-223_0_6_line_49 |  | 47 | 48 | 0.005487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-223_0_6_line_50 |  | 49 | 50 | 0.0355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-223_0_6_line_51 |  | 51 | 52 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-223_0_6_trafo_10 | 0.63 MVA 20/0.4 kV | 53 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663636.5098 | 1211209.6926 | 2663626.6919 | 1211202.8105
1 | 2663575.2812 | 1211314.5968 | 2663636.5098 | 1211209.6926
2 | 2663605.0372 | 1211190.1299 | 2663617.4855 | 1211196.3572 | 2663626.6919 | 1211202.8105
3 | 2663575.2812 | 1211314.5968 | 2663573.7679 | 1211313.941 | 2663545.2204 | 1211301.5322
4 | 2663575.2812 | 1211314.5968 | 2663611.5353 | 1211330.3091 | 2663620.465 | 1211334.0665
5 | 2663574.098 | 1211161.0732 | 2663585.3699 | 1211167.2749 | 2663587.0835 | 1211169.7725 | 2663592.5505 | 1211181.5935 | 2663596.23 | 1211185.7241 | 2663605.0372 | 1211190.1299
6 | 2663541.937 | 1211300.1185 | 2663544.8205 | 1211301.3584 | 2663545.2204 | 1211301.5322
7 | 2663620.465 | 1211334.0665 | 2663623.7396 | 1211335.4444
8 | 2663574.098 | 1211161.0732 | 2663572.3812 | 1211154.5954 | 2663568.49 | 1211147.5052 | 2663565.5718 | 1211143.9709
9 | 2663549.7264 | 1211124.7804 | 2663565.5718 | 1211143.9709
10 | 2663541.937 | 1211300.1185 | 2663485.9888 | 1211276.0608
11 | 2663549.7264 | 1211124.7804 | 2663543.9255 | 1211118.6515
12 | 2663485.9888 | 1211276.0608 | 2663481.5432 | 1211274.1492
13 | 2663456.1656 | 1211263.3465 | 2663462.8977 | 1211266.1317 | 2663481.5432 | 1211274.1492
14 | 2663453.245 | 1211262.1382 | 2663456.1656 | 1211263.3465
15 | 2663538.3545 | 1211374.7567 | 2663531.5761 | 1211374.9177
16 | 2663520.5836 | 1211375.1788 | 2663531.5761 | 1211374.9177
17 | 2663538.3545 | 1211374.7567 | 2663555.7834 | 1211369.3745
18 | 2663520.5836 | 1211375.1788 | 2663509.5637 | 1211371.7483 | 2663465.3323 | 1211357.9805
19 | 2663516.8515 | 1211407.3811 | 2663520.9038 | 1211408.6138 | 2663523.2707 | 1211401.8571 | 2663526.3678 | 1211390.7499 | 2663526.0603 | 1211381.8079 | 2663520.5836 | 1211375.1788
20 | 2663572.4325 | 1211364.0151 | 2663566.0221 | 1211366.2127 | 2663555.7834 | 1211369.3745
21 | 2663465.3323 | 1211357.9805 | 2663460.8176 | 1211356.5745
22 | 2663489.2959 | 1211399.0049 | 2663516.8515 | 1211407.3811
23 | 2663513.4796 | 1211432.883 | 2663520.9038 | 1211408.6138 | 2663516.8515 | 1211407.3811
24 | 2663516.8515 | 1211407.3811 | 2663507.7788 | 1211437.5046
25 | 2663572.4325 | 1211364.0151 | 2663589.8376 | 1211358.0483
26 | 2663513.4796 | 1211432.883 | 2663540.4809 | 1211439.7156
27 | 2663488.2417 | 1211484.4682 | 2663490.5546 | 1211482.058 | 2663493.4171 | 1211477.2745 | 2663499.1371 | 1211463.8938 | 2663504.9488 | 1211446.9008 | 2663507.7788 | 1211437.5046
28 | 2663571.3029 | 1211447.515 | 2663540.4809 | 1211439.7156
29 | 2663627.2858 | 1211336.9366 | 2663623.3759 | 1211344.4328 | 2663619.3339 | 1211347.9363 | 2663589.8376 | 1211358.0483
30 | 2663488.2417 | 1211484.4682 | 2663484.7142 | 1211486.7655 | 2663481.5194 | 1211487.7876
31 | 2663477.0312 | 1211502.5267 | 2663479.2596 | 1211495.2015 | 2663481.2281 | 1211488.7407 | 2663481.5194 | 1211487.7876
32 | 2663481.5194 | 1211487.7876 | 2663477.5353 | 1211488.0121 | 2663473.0832 | 1211487.2198 | 2663455.0358 | 1211481.7595
33 | 2663477.0312 | 1211502.5267 | 2663480.3569 | 1211503.4064
34 | 2663508.5952 | 1211509.7892 | 2663508.8945 | 1211508.8029 | 2663510.1947 | 1211504.4474 | 2663511.4163 | 1211500.3357 | 2663512.4483 | 1211496.9001
35 | 2663512.4483 | 1211496.9001 | 2663518.9771 | 1211498.9041 | 2663520.2318 | 1211499.2761
36 | 2663508.5952 | 1211509.7892 | 2663501.6506 | 1211507.5917 | 2663500.4283 | 1211507.2478
37 | 2663508.5952 | 1211509.7892 | 2663519.8568 | 1211513.3446 | 2663527.7701 | 1211515.7253
38 | 2663552.2451 | 1211511.1684 | 2663547.7243 | 1211509.5167 | 2663538.296 | 1211505.0691 | 2663534.248 | 1211503.4362 | 2663531.5817 | 1211502.6406 | 2663520.2318 | 1211499.2761
39 | 2663480.3569 | 1211503.4064 | 2663480.6766 | 1211503.4909
40 | 2663500.2169 | 1211507.1883 | 2663500.4283 | 1211507.2478
41 | 2663527.7701 | 1211515.7253 | 2663534.999 | 1211517.9001
42 | 2663571.3029 | 1211447.515 | 2663587.0055 | 1211451.4885 | 2663611.9613 | 1211457.8047
43 | 2663627.2858 | 1211336.9366 | 2663623.7396 | 1211335.4444
44 | 2663627.2858 | 1211336.9366 | 2663642.5131 | 1211343.4474 | 2663653.7517 | 1211348.4812
45 | 2663653.7517 | 1211348.4812 | 2663693.8268 | 1211366.4311 | 2663704.6722 | 1211369.5707
46 | 2663704.6722 | 1211369.5707 | 2663706.1624 | 1211370.0021
47 | 2663706.1624 | 1211370.0021 | 2663740.6092 | 1211379.974
48 | 2663552.2451 | 1211511.1684 | 2663557.7233 | 1211513.1699 | 2663586.3093 | 1211521.7797 | 2663598.6947 | 1211525.4237
49 | 2663611.9613 | 1211457.8047 | 2663617.2806 | 1211459.151
50 | 2663568.9937 | 1211528.1274 | 2663534.999 | 1211517.9001
51 | 2663500.2169 | 1211507.1883 | 2663495.9836 | 1211505.9971 | 2663482.199 | 1211503.8936 | 2663480.6766 | 1211503.4909

## bus_geodata
| x | y | coords
0 | 2663636.5098 | 1211209.6926
1 | 2663626.6919 | 1211202.8105
2 | 2663575.2812 | 1211314.5968
3 | 2663605.0372 | 1211190.1299
4 | 2663545.2204 | 1211301.5322
5 | 2663620.465 | 1211334.0665
6 | 2663574.098 | 1211161.0732
7 | 2663565.5718 | 1211143.9709
8 | 2663541.937 | 1211300.1185
9 | 2663549.7264 | 1211124.7804
10 | 2663543.9255 | 1211118.6515
11 | 2663485.9888 | 1211276.0608
12 | 2663481.5432 | 1211274.1492
13 | 2663456.1656 | 1211263.3465
14 | 2663531.5761 | 1211374.9177
15 | 2663538.3545 | 1211374.7567
16 | 2663520.5836 | 1211375.1788
17 | 2663555.7834 | 1211369.3745
18 | 2663465.3323 | 1211357.9805
19 | 2663516.8515 | 1211407.3811
20 | 2663572.4325 | 1211364.0151
21 | 2663489.2959 | 1211399.0049
22 | 2663513.4796 | 1211432.883
23 | 2663507.7788 | 1211437.5046
24 | 2663540.4809 | 1211439.7156
25 | 2663460.8176 | 1211356.5745
26 | 2663589.8376 | 1211358.0483
27 | 2663488.2417 | 1211484.4682
28 | 2663481.5194 | 1211487.7876
29 | 2663477.0312 | 1211502.5267
30 | 2663455.0358 | 1211481.7595
31 | 2663512.4483 | 1211496.9001
32 | 2663508.5952 | 1211509.7892
33 | 2663520.2318 | 1211499.2761
34 | 2663480.3569 | 1211503.4064
35 | 2663500.4283 | 1211507.2478
36 | 2663527.7701 | 1211515.7253
37 | 2663571.3029 | 1211447.515
38 | 2663623.7396 | 1211335.4444
39 | 2663627.2858 | 1211336.9366
40 | 2663653.7517 | 1211348.4812
41 | 2663704.6722 | 1211369.5707
42 | 2663706.1624 | 1211370.0021
43 | 2663740.6092 | 1211379.974
44 | 2663453.245 | 1211262.1382
45 | 2663552.2451 | 1211511.1684
46 | 2663598.6948 | 1211525.4237
47 | 2663617.2806 | 1211459.151
48 | 2663611.9613 | 1211457.8047
49 | 2663568.9937 | 1211528.1274
50 | 2663534.999 | 1211517.9001
51 | 2663480.6766 | 1211503.4909
52 | 2663500.2169 | 1211507.1883
53 | 2663538.3545 | 1211374.7567

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98423 | -0.30319 | 0.0015828 | 0.0003967
1 | 0.98392 | -0.30926 | 0.0058292 | 0.0014609
2 | 0.98756 | -0.23855 | 0.0078382 | 0.0019644
3 | 0.98341 | -0.31935 | 0.01009 | 0.0025288
4 | 0.98517 | -0.28488 | 0.0074759 | 0.0018736
5 | 0.99285 | -0.13672 | 0.034016 | 0.0085252
6 | 0.98291 | -0.32907 | 0 | 0
7 | 0.98269 | -0.33332 | 0.0097654 | 0.0024474
8 | 0.98493 | -0.28947 | 0.0066493 | 0.0016665
9 | 0.98263 | -0.33441 | 0 | 0
10 | 0.98262 | -0.33477 | 0.0024047 | 0.00060268
11 | 0.98128 | -0.36062 | 0.015757 | 0.0039491
12 | 0.98106 | -0.36491 | 0.021703 | 0.0054393
13 | 0.98037 | -0.37857 | 0.013676 | 0.0034276
14 | 0.99843 | -0.029817 | 0.018699 | 0.0046864
15 | 0.99886 | -0.021728 | 0 | 0
16 | 0.99781 | -0.041749 | 0 | 0
17 | 1 | 0 | -0.51078 | -0.12953
18 | 0.99686 | -0.060084 | 0 | 0
19 | 0.99469 | -0.10143 | 0 | 0
20 | 0.9984 | -0.030474 | 0.01895 | 0.0047493
21 | 0.99408 | -0.11327 | 0.023379 | 0.0058594
22 | 0.99357 | -0.12298 | 0 | 0
23 | 0.9917 | -0.15887 | 0.018171 | 0.0045541
24 | 0.99252 | -0.14329 | 0.0065732 | 0.0016474
25 | 0.99678 | -0.061587 | 0.018129 | 0.0045435
26 | 0.99682 | -0.060595 | 0.025607 | 0.0064176
27 | 0.98767 | -0.2365 | 0 | 0
28 | 0.98708 | -0.24799 | 0 | 0
29 | 0.9862 | -0.26521 | 0 | 0
30 | 0.98651 | -0.25912 | 0.022726 | 0.0056956
31 | 0.98399 | -0.30818 | 0 | 0
32 | 0.98448 | -0.29858 | 0 | 0
33 | 0.98369 | -0.31399 | 0.0076033 | 0.0019056
34 | 0.986 | -0.26906 | 0.0022318 | 0.00055935
35 | 0.9849 | -0.29035 | 0.0022318 | 0.00055935
36 | 0.98423 | -0.30357 | 0.0029771 | 0.00074614
37 | 0.99151 | -0.16282 | 0.01715 | 0.0042982
38 | 0.99309 | -0.132 | 0.03245 | 0.0081328
39 | 0.99331 | -0.12786 | 0 | 0
40 | 0.99141 | -0.16461 | 0.037033 | 0.0092813
41 | 0.98964 | -0.19882 | 0.011469 | 0.0028744
42 | 0.98961 | -0.19947 | 0.010938 | 0.0027413
43 | 0.9892 | -0.20744 | 0.012479 | 0.0031275
44 | 0.98033 | -0.37935 | 0.013641 | 0.0034188
45 | 0.98268 | -0.33378 | 0.016544 | 0.0041463
46 | 0.98198 | -0.34741 | 0.015524 | 0.0038907
47 | 0.99079 | -0.17684 | 0.010089 | 0.0025285
48 | 0.99084 | -0.17586 | 0.0074388 | 0.0018643
49 | 0.98389 | -0.31006 | 0.0078598 | 0.0019698
50 | 0.98415 | -0.30504 | 0.0029799 | 0.00074684
51 | 0.98598 | -0.26942 | 0.0022318 | 0.00055935
52 | 0.98491 | -0.29013 | 0.0022285 | 0.00055851
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.028116 | 0.0070555 | -0.028108 | -0.0070504 | 8.1254e-06 | 5.0479e-06 | 0.042511 | 0.042511 | 0.042511 | 0.98423 | -0.30319 | 0.98392 | -0.30926 | 11.6789
1 | -0.029699 | -0.0074522 | 0.029791 | 0.0075094 | 9.1844e-05 | 5.7231e-05 | 0.044904 | 0.044904 | 0.044904 | 0.98423 | -0.30319 | 0.98756 | -0.23855 | 12.3363
2 | 0.022279 | 0.0055895 | -0.022268 | -0.005583 | 1.0713e-05 | 6.5371e-06 | 0.033696 | 0.033696 | 0.033696 | 0.98392 | -0.30926 | 0.98341 | -0.31935 | 9.2571
3 | 0.079344 | 0.020055 | -0.079168 | -0.019943 | 0.00017586 | 0.00011213 | 0.11961 | 0.11961 | 0.11961 | 0.98756 | -0.23855 | 0.98517 | -0.28488 | 32.8608
4 | -0.11697 | -0.029529 | 0.11755 | 0.029896 | 0.00057364 | 0.0003665 | 0.17633 | 0.17633 | 0.17633 | 0.98756 | -0.23855 | 0.99285 | -0.13672 | 48.4414
5 | 0.012178 | 0.0030542 | -0.012173 | -0.0030511 | 5.6414e-06 | 3.0487e-06 | 0.018428 | 0.018428 | 0.018428 | 0.98341 | -0.31935 | 0.98291 | -0.32907 | 5.0628
6 | 0.071692 | 0.018069 | -0.071676 | -0.018059 | 1.5729e-05 | 1.0021e-05 | 0.10832 | 0.10832 | 0.10832 | 0.98517 | -0.28488 | 0.98493 | -0.28947 | 29.7586
7 | -0.15156 | -0.038421 | 0.1516 | 0.038443 | 3.4417e-05 | 2.1935e-05 | 0.22731 | 0.22731 | 0.22731 | 0.99285 | -0.13672 | 0.99309 | -0.132 | 31.2235
8 | 0.012173 | 0.0030511 | -0.01217 | -0.0030498 | 2.4672e-06 | 1.3335e-06 | 0.018428 | 0.018429 | 0.018429 | 0.98291 | -0.32907 | 0.98269 | -0.33332 | 5.0628
9 | 0.0024049 | 0.00060237 | -0.0024048 | -0.0006026 | 1.2375e-07 | -2.3607e-07 | 0.0036414 | 0.0036415 | 0.0036415 | 0.98269 | -0.33332 | 0.98263 | -0.33441 | 1.0004
10 | 0.065027 | 0.016393 | -0.064806 | -0.016253 | 0.00022057 | 0.00014039 | 0.098276 | 0.098276 | 0.098276 | 0.98493 | -0.28947 | 0.98128 | -0.36062 | 26.9989
11 | 0.0024048 | 0.0006026 | -0.0024047 | -0.00060268 | 4.1965e-08 | -8.004e-08 | 0.0036415 | 0.0036416 | 0.0036416 | 0.98263 | -0.33441 | 0.98262 | -0.33477 | 1.0004
12 | 0.049049 | 0.012303 | -0.049039 | -0.012297 | 1.004e-05 | 6.3645e-06 | 0.074382 | 0.074382 | 0.074382 | 0.98128 | -0.36062 | 0.98106 | -0.36491 | 20.4345
13 | 0.027336 | 0.0068578 | -0.027318 | -0.0068468 | 1.7783e-05 | 1.1033e-05 | 0.041464 | 0.041464 | 0.041464 | 0.98106 | -0.36491 | 0.98037 | -0.37857 | 11.3912
14 | 0.013642 | 0.0034191 | -0.013641 | -0.0034188 | 5.0816e-07 | 2.8537e-07 | 0.020706 | 0.020706 | 0.020706 | 0.98037 | -0.37857 | 0.98033 | -0.37935 | 5.6884
15 | -0.2064 | -0.052356 | 0.20648 | 0.052407 | 8.0311e-05 | 5.1133e-05 | 0.30783 | 0.30783 | 0.30783 | 0.99843 | -0.029817 | 0.99886 | -0.021728 | 28.1894
16 | 0.1877 | 0.047669 | -0.18759 | -0.047601 | 0.00010773 | 6.8514e-05 | 0.27996 | 0.27996 | 0.27996 | 0.99843 | -0.029817 | 0.99781 | -0.041749 | 25.6374
17 | -0.20648 | -0.052407 | 0.2067 | 0.052544 | 0.00021606 | 0.00013756 | 0.30783 | 0.30783 | 0.30783 | 0.99886 | -0.021728 | 1 | 0 | 28.1894
18 | 0.018146 | 0.0045537 | -0.01813 | -0.0045443 | 1.5851e-05 | 9.3913e-06 | 0.027063 | 0.027063 | 0.027063 | 0.99781 | -0.041749 | 0.99686 | -0.060084 | 7.4349
19 | 0.16945 | 0.043047 | -0.16896 | -0.042737 | 0.00048534 | 0.00030956 | 0.2529 | 0.2529 | 0.2529 | 0.99781 | -0.041749 | 0.99469 | -0.10143 | 34.7388
20 | 0.30243 | 0.076983 | -0.30199 | -0.0767 | 0.00044365 | 0.00028325 | 0.45044 | 0.45044 | 0.45044 | 1 | 0 | 0.9984 | -0.030474 | 41.2492
21 | 0.01813 | 0.0045443 | -0.018129 | -0.0045435 | 1.2987e-06 | 7.6954e-07 | 0.027063 | 0.027063 | 0.027063 | 0.99686 | -0.060084 | 0.99678 | -0.061587 | 7.4349
22 | 0.023392 | 0.0058675 | -0.023379 | -0.0058594 | 1.3192e-05 | 8.0703e-06 | 0.034996 | 0.034996 | 0.034996 | 0.99469 | -0.10143 | 0.99408 | -0.11327 | 9.6143
23 | 0.041377 | 0.010417 | -0.041334 | -0.010391 | 4.2574e-05 | 2.6863e-05 | 0.061915 | 0.061915 | 0.061915 | 0.99469 | -0.10143 | 0.99357 | -0.12298 | 17.0097
24 | 0.10419 | 0.026452 | -0.1039 | -0.026269 | 0.00028706 | 0.00018331 | 0.15599 | 0.15599 | 0.15599 | 0.99469 | -0.10143 | 0.9917 | -0.15887 | 42.8537
25 | 0.28304 | 0.071951 | -0.28263 | -0.071689 | 0.00040997 | 0.00026166 | 0.4222 | 0.4222 | 0.4222 | 0.9984 | -0.030474 | 0.99682 | -0.060595 | 38.6629
26 | 0.041334 | 0.010391 | -0.041294 | -0.010365 | 4.004e-05 | 2.5265e-05 | 0.061915 | 0.061916 | 0.061916 | 0.99357 | -0.12298 | 0.99252 | -0.14329 | 17.0098
27 | 0.085734 | 0.021715 | -0.085415 | -0.021512 | 0.00031838 | 0.0002031 | 0.12872 | 0.12872 | 0.12872 | 0.9917 | -0.15887 | 0.98767 | -0.2365 | 35.3634
28 | 0.034721 | 0.0087179 | -0.034689 | -0.0086977 | 3.2314e-05 | 2.0271e-05 | 0.052061 | 0.052061 | 0.052061 | 0.99252 | -0.14329 | 0.99151 | -0.16282 | 14.3024
29 | 0.25702 | 0.065271 | -0.25619 | -0.064743 | 0.00082905 | 0.00052884 | 0.38397 | 0.38397 | 0.38397 | 0.99682 | -0.060595 | 0.99331 | -0.12786 | 35.1625
30 | 0.085415 | 0.021512 | -0.085368 | -0.021482 | 4.6894e-05 | 2.9916e-05 | 0.12872 | 0.12872 | 0.12872 | 0.98767 | -0.2365 | 0.98708 | -0.24799 | 35.3634
31 | 0.062631 | 0.015779 | -0.062579 | -0.015746 | 5.1536e-05 | 3.2786e-05 | 0.094444 | 0.094445 | 0.094445 | 0.98708 | -0.24799 | 0.9862 | -0.26521 | 25.9463
32 | 0.022738 | 0.0057029 | -0.022726 | -0.0056956 | 1.2059e-05 | 7.3681e-06 | 0.034278 | 0.034278 | 0.034278 | 0.98708 | -0.24799 | 0.98651 | -0.25912 | 9.4171
33 | 0.062579 | 0.015746 | -0.062568 | -0.015739 | 1.1507e-05 | 7.3203e-06 | 0.094445 | 0.094445 | 0.094445 | 0.9862 | -0.26521 | 0.986 | -0.26906 | 25.9463
34 | -0.039723 | -0.0099743 | 0.039741 | 0.0099858 | 1.8207e-05 | 1.1482e-05 | 0.060076 | 0.060076 | 0.060076 | 0.98399 | -0.30818 | 0.98448 | -0.29858 | 16.5045
35 | 0.039723 | 0.0099743 | -0.039712 | -0.0099673 | 1.1015e-05 | 6.946e-06 | 0.060076 | 0.060077 | 0.060077 | 0.98399 | -0.30818 | 0.98369 | -0.31399 | 16.5045
36 | -0.053564 | -0.013452 | 0.053585 | 0.013465 | 2.103e-05 | 1.335e-05 | 0.08097 | 0.08097 | 0.08097 | 0.98448 | -0.29858 | 0.9849 | -0.29035 | 22.2444
37 | 0.013823 | 0.0034658 | -0.013819 | -0.003464 | 3.2859e-06 | 1.8478e-06 | 0.020893 | 0.020893 | 0.020893 | 0.98448 | -0.29858 | 0.98423 | -0.30357 | 5.7399
38 | 0.032108 | 0.0080618 | -0.032078 | -0.0080428 | 3.0282e-05 | 1.8946e-05 | 0.048575 | 0.048575 | 0.048575 | 0.98369 | -0.31399 | 0.98268 | -0.33378 | 13.3449
39 | 0.060336 | 0.01518 | -0.060335 | -0.015179 | 1.0287e-06 | 6.5414e-07 | 0.091076 | 0.091076 | 0.091076 | 0.986 | -0.26906 | 0.98598 | -0.26942 | 25.021
40 | -0.055816 | -0.014024 | 0.055817 | 0.014025 | 5.8594e-07 | 3.7221e-07 | 0.084341 | 0.084341 | 0.084341 | 0.9849 | -0.29035 | 0.98491 | -0.29013 | 23.1707
41 | 0.010842 | 0.0027178 | -0.010842 | -0.0027174 | 7.6067e-07 | 3.909e-07 | 0.016392 | 0.016392 | 0.016392 | 0.98423 | -0.30357 | 0.98415 | -0.30504 | 4.5034
42 | 0.017539 | 0.0043995 | -0.017528 | -0.0043931 | 1.0898e-05 | 6.434e-06 | 0.026323 | 0.026323 | 0.026323 | 0.99151 | -0.16282 | 0.99084 | -0.17586 | 7.2316
43 | -0.18405 | -0.046575 | 0.18408 | 0.046599 | 3.6616e-05 | 2.3285e-05 | 0.27593 | 0.27593 | 0.27593 | 0.99309 | -0.132 | 0.99331 | -0.12786 | 25.2683
44 | 0.072107 | 0.018144 | -0.071981 | -0.018063 | 0.00012641 | 8.0527e-05 | 0.10805 | 0.10805 | 0.10805 | 0.99331 | -0.12786 | 0.99141 | -0.16461 | 29.6828
45 | 0.034948 | 0.0087819 | -0.034891 | -0.0087462 | 5.6975e-05 | 3.5753e-05 | 0.052462 | 0.052462 | 0.052462 | 0.99141 | -0.16461 | 0.98964 | -0.19882 | 14.4128
46 | 0.023422 | 0.0058718 | -0.023421 | -0.0058714 | 7.2156e-07 | 4.4187e-07 | 0.035218 | 0.035218 | 0.035218 | 0.98964 | -0.19882 | 0.98961 | -0.19947 | 9.6753
47 | 0.012484 | 0.0031301 | -0.012479 | -0.0031275 | 4.7386e-06 | 2.5722e-06 | 0.018771 | 0.018772 | 0.018772 | 0.98961 | -0.19947 | 0.9892 | -0.20744 | 5.157
48 | 0.015534 | 0.0038965 | -0.015524 | -0.0038907 | 1.0085e-05 | 5.8389e-06 | 0.023524 | 0.023524 | 0.023524 | 0.98268 | -0.33378 | 0.98198 | -0.34741 | 6.4626
49 | -0.010089 | -0.0025285 | 0.010089 | 0.0025287 | 4.7238e-07 | 2.3165e-07 | 0.015152 | 0.015152 | 0.015152 | 0.99079 | -0.17684 | 0.99084 | -0.17586 | 4.1626
50 | -0.0078598 | -0.0019698 | 0.0078616 | 0.0019706 | 1.881e-06 | 7.5287e-07 | 0.011887 | 0.011887 | 0.011887 | 0.98389 | -0.31006 | 0.98415 | -0.30504 | 3.2656
51 | 0.058103 | 0.01462 | -0.058046 | -0.014583 | 5.7455e-05 | 3.6517e-05 | 0.087708 | 0.087708 | 0.087708 | 0.98598 | -0.26942 | 0.98491 | -0.29013 | 24.0957

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52903 | 0.1341

## res_load
| p_mw | q_mvar
0 | 0.0015828 | 0.0003967
1 | 0.0058292 | 0.0014609
2 | 0.0078382 | 0.0019644
3 | 0.01009 | 0.0025288
4 | 0.0074759 | 0.0018736
5 | 0.034016 | 0.0085252
6 | 0.0097654 | 0.0024474
7 | 0.0066493 | 0.0016665
8 | 0.0024047 | 0.00060268
9 | 0.015757 | 0.0039491
10 | 0.021703 | 0.0054393
11 | 0.013676 | 0.0034276
12 | 0.018699 | 0.0046864
13 | 0.018253 | 0.0045747
14 | 0.01895 | 0.0047493
15 | 0.023379 | 0.0058594
16 | 0.018171 | 0.0045541
17 | 0.0065732 | 0.0016474
18 | 0.018129 | 0.0045435
19 | 0.025607 | 0.0064176
20 | 0.022726 | 0.0056956
21 | 0.0076033 | 0.0019056
22 | 0.0022318 | 0.00055935
23 | 0.0022318 | 0.00055935
24 | 0.0029771 | 0.00074614
25 | 0.01715 | 0.0042982
26 | 0.03245 | 0.0081328
27 | 0.037033 | 0.0092813
28 | 0.011469 | 0.0028744
29 | 0.010938 | 0.0027413
30 | 0.012479 | 0.0031275
31 | 0.013641 | 0.0034188
32 | 0.016544 | 0.0041463
33 | 0.015524 | 0.0038907
34 | 0.010089 | 0.0025285
35 | 0.0074388 | 0.0018643
36 | 0.0078598 | 0.0019698
37 | 0.0029799 | 0.00074684
38 | 0.0022318 | 0.00055935
39 | 0.0022285 | 0.00055851

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1