## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-225_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-225_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-225_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-225_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-225_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-225_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-225_0_6_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1061-225_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1061-225_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1061-225_0_6_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1061-225_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1061-225_0_6_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1061-225_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1061-225_0_6_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1061-225_0_6_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1061-225_0_6_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1061-225_0_6_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1061-225_0_6_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_1061-225_0_6_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_1061-225_0_6_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1061-225_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1061-225_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1061-225_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1061-225_0_6_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1061-225_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_1061-225_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1061-225_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1061-225_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1061-225_0_6_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_1061-225_0_6_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1061-225_0_6_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1061-225_0_6_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1061-225_0_6_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1061-225_0_6_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1061-225_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1061-225_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1061-225_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1061-225_0_6_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1061-225_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1061-225_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1061-225_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1061-225_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1061-225_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1061-225_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1061-225_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1061-225_0_6_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1061-225_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1061-225_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1061-225_0_6_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1061-225_0_6_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_1061-225_0_6_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1061-225_0_6_node_51 | 0.4 | n |  | TRUE
52 | bus_MV_3_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-225_0_6_load_0 | 0 | 0.013921 | 0.003489 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-225_0_6_load_1 | 1 | 0.007533 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-225_0_6_load_3 | 3 | 0.0080174 | 0.0020094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-225_0_6_load_25 | 7 | 0.022339 | 0.0055986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-225_0_6_load_9 | 8 | 0.023257 | 0.0058288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-225_0_6_load_17 | 9 | 0.089422 | 0.022411 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-225_0_6_load_24 | 10 | 0.03662 | 0.0091778 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-225_0_6_load_20 | 11 | 0.016198 | 0.0040595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-225_0_6_load_8 | 12 | 0.022824 | 0.0057202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-225_0_6_load_31 | 14 | 0.013821 | 0.0034638 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-225_0_6_load_18 | 15 | 0.0080745 | 0.0020237 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-225_0_6_load_49 | 18 | 0.002412 | 0.00060451 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-225_0_6_load_12 | 22 | 0.0034743 | 0.00087075 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-225_0_6_load_34 | 23 | 0.015887 | 0.0039818 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-225_0_6_load_35 | 24 | 0.019493 | 0.0048854 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-225_0_6_load_13 | 25 | 0.0048414 | 0.0012134 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-225_0_6_load_52 | 28 | 0.0059822 | 0.0014993 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-225_0_6_load_30 | 31 | 0.063015 | 0.015793 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-225_0_6_load_45 | 32 | 0.006107 | 0.0015306 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-225_0_6_load_53 | 33 | 0.0051561 | 0.0012922 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-225_0_6_load_32 | 34 | 0.015971 | 0.0040027 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-225_0_6_load_21 | 35 | 0.0074348 | 0.0018633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-225_0_6_load_23 | 36 | 0.016475 | 0.0041289 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-225_0_6_load_37 | 37 | 0.0071898 | 0.0018019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-225_0_6_load_26 | 39 | 0.0069331 | 0.0017376 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-225_0_6_load_27 | 40 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-225_0_6_load_39 | 43 | 0.016049 | 0.0040222 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-225_0_6_load_55 | 45 | 0.009852 | 0.0024691 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-225_0_6_load_43 | 46 | 0.0094018 | 0.0023563 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-225_0_6_load_42 | 47 | 0.017726 | 0.0044427 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-225_0_6_load_50 | 48 | 0.038271 | 0.0095916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-225_0_6_load_57 | 49 | 0.0010082 | 0.00025267 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-225_0_6_load_54 | 50 | 0.0029218 | 0.00073228 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-225_0_6_load_51 | 51 | 0.045854 | 0.011492 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-225_0_6_line_0 |  | 0 | 1 | 0.037282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1061-225_0_6_line_1 |  | 0 | 2 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1061-225_0_6_line_2 |  | 1 | 3 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1061-225_0_6_line_3 |  | 2 | 4 | 0.038785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-225_0_6_line_4 |  | 2 | 5 | 0.031881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-225_0_6_line_5 |  | 3 | 6 | 0.011917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1061-225_0_6_line_6 |  | 4 | 7 | 0.024925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-225_0_6_line_7 |  | 4 | 8 | 0.030853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-225_0_6_line_8 |  | 5 | 9 | 0.071943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-225_0_6_line_9 |  | 6 | 10 | 0.026684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-225_0_6_line_10 |  | 6 | 11 | 0.037883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1061-225_0_6_line_11 |  | 8 | 12 | 0.024991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-225_0_6_line_12 |  | 9 | 15 | 0.025843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-225_0_6_line_13 |  | 10 | 23 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1061-225_0_6_line_14 |  | 11 | 35 | 0.0060423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1061-225_0_6_line_15 |  | 13 | 14 | 0.032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-225_0_6_line_16 |  | 13 | 15 | 0.047947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-225_0_6_line_17 |  | 14 | 34 | 0.003963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-225_0_6_line_18 |  | 16 | 17 | 0.12398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-225_0_6_line_19 |  | 16 | 18 | 0.014246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-225_0_6_line_20 |  | 16 | 19 | 0.058537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-225_0_6_line_21 |  | 17 | 48 | 0.017549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-225_0_6_line_22 |  | 17 | 49 | 0.20857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-225_0_6_line_23 |  | 19 | 27 | 0.013325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-225_0_6_line_24 |  | 20 | 21 | 0.029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-225_0_6_line_25 |  | 20 | 22 | 0.0034145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-225_0_6_line_26 |  | 21 | 23 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1061-225_0_6_line_27 |  | 21 | 24 | 0.03821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-225_0_6_line_28 |  | 22 | 25 | 0.034024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-225_0_6_line_29 |  | 25 | 26 | 0.02576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-225_0_6_line_30 |  | 26 | 27 | 0.004483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-225_0_6_line_31 |  | 27 | 28 | 0.039096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-225_0_6_line_32 |  | 28 | 33 | 0.033262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-225_0_6_line_33 |  | 29 | 30 | 0.079097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-225_0_6_line_34 |  | 29 | 31 | 0.050711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-225_0_6_line_35 |  | 30 | 32 | 0.066494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-225_0_6_line_36 |  | 31 | 41 | 0.036927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-225_0_6_line_37 |  | 32 | 46 | 0.0026945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-225_0_6_line_38 |  | 33 | 50 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-225_0_6_line_39 |  | 35 | 36 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1061-225_0_6_line_40 |  | 36 | 37 | 0.0037873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1061-225_0_6_line_41 |  | 37 | 38 | 0.041265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-225_0_6_line_42 |  | 38 | 43 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-225_0_6_line_43 |  | 38 | 42 | 0.020282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-225_0_6_line_44 |  | 39 | 40 | 6.3963e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-225_0_6_line_45 |  | 39 | 41 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-225_0_6_line_46 |  | 40 | 42 | 0.0062674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-225_0_6_line_47 |  | 43 | 44 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-225_0_6_line_48 |  | 44 | 45 | 0.052915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-225_0_6_line_49 |  | 46 | 47 | 0.050394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-225_0_6_line_50 |  | 48 | 51 | 0.028927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-225_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 52 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2663259.8637 | 1211294.6145 | 2663295.4995 | 1211305.5691
1 | 2663235.1445 | 1211287.0157 | 2663259.8637 | 1211294.6145
2 | 2663295.4995 | 1211305.5691 | 2663310.6238 | 1211310.2183
3 | 2663235.1445 | 1211287.0157 | 2663231.7954 | 1211290.4046 | 2663223.1596 | 1211318.6637 | 2663221.9891 | 1211322.9872
4 | 2663235.1445 | 1211287.0157 | 2663233.2349 | 1211282.9263 | 2663233.0252 | 1211276.1867 | 2663234.9324 | 1211269.7474 | 2663238.1304 | 1211261.9765 | 2663241.6933 | 1211257.7784
5 | 2663322.0145 | 1211313.7199 | 2663310.6238 | 1211310.2183
6 | 2663221.9891 | 1211322.9872 | 2663198.1942 | 1211315.566
7 | 2663221.9891 | 1211322.9872 | 2663250.7886 | 1211334.0565
8 | 2663241.6933 | 1211257.7784 | 2663245.2417 | 1211255.6702 | 2663254.2169 | 1211253.4529 | 2663288.5147 | 1211247.4351 | 2663312.1361 | 1211244.973 | 2663312.1361 | 1211244.973
9 | 2663322.0145 | 1211313.7199 | 2663320.7752 | 1211318.7987 | 2663320.6942 | 1211340.2546
10 | 2663322.0145 | 1211313.7199 | 2663358.2237 | 1211324.8564
11 | 2663255.2737 | 1211357.0104 | 2663254.9885 | 1211337.6125 | 2663251.9439 | 1211334.5006 | 2663250.7886 | 1211334.0565
12 | 2663312.1361 | 1211244.973 | 2663330.5271 | 1211244.857 | 2663337.9753 | 1211245.0886
13 | 2663320.6942 | 1211340.2546 | 2663320.6469 | 1211352.813
14 | 2663363.999 | 1211326.6327 | 2663358.2237 | 1211324.8564
15 | 2663385.8988 | 1211246.5792 | 2663398.3846 | 1211247.2456 | 2663411.7593 | 1211249.3668 | 2663417.8714 | 1211251.1149
16 | 2663385.8988 | 1211246.5792 | 2663337.9753 | 1211245.0886
17 | 2663417.8714 | 1211251.1149 | 2663421.6816 | 1211252.2046
18 | 2663216.563 | 1211421.2454 | 2663216.1065 | 1211422.7304 | 2663200.7462 | 1211473.2097 | 2663212.4489 | 1211476.7469 | 2663262.5122 | 1211492.2869 | 2663264.1127 | 1211487.5343
19 | 2663216.563 | 1211421.2454 | 2663206.7286 | 1211417.7947 | 2663203.0717 | 1211416.679
20 | 2663216.563 | 1211421.2454 | 2663227.6198 | 1211426.2211 | 2663234.3937 | 1211428.7834 | 2663235.5593 | 1211429.2182 | 2663237.4456 | 1211429.7607 | 2663250.1732 | 1211433.3979 | 2663264.4854 | 1211435.9289 | 2663272.4994 | 1211437.626
21 | 2663264.1127 | 1211487.5343 | 2663269.7223 | 1211470.9058
22 | 2663264.1127 | 1211487.5343 | 2663287.1029 | 1211694.8383
23 | 2663272.4994 | 1211437.626 | 2663272.7515 | 1211436.7837 | 2663274.318 | 1211431.6639 | 2663276.0263 | 1211426.0674 | 2663276.3884 | 1211424.8817
24 | 2663291.6353 | 1211367.2637 | 2663320.5742 | 1211372.0847
25 | 2663291.6353 | 1211367.2637 | 2663290.3317 | 1211370.4195
26 | 2663320.5742 | 1211372.0847 | 2663320.6469 | 1211352.813
27 | 2663320.5742 | 1211372.0847 | 2663335.3307 | 1211381.447 | 2663337.8052 | 1211387.4325 | 2663338.113 | 1211401.6861
28 | 2663290.3178 | 1211402.2913 | 2663293.9328 | 1211393.5152 | 2663295.4697 | 1211388.3172 | 2663295.1818 | 1211385.379 | 2663289.7011 | 1211371.946 | 2663290.3317 | 1211370.4195
29 | 2663280.6908 | 1211426.1836 | 2663284.768 | 1211415.7649 | 2663290.3178 | 1211402.2913
30 | 2663280.6908 | 1211426.1836 | 2663276.3884 | 1211424.8817
31 | 2663276.3884 | 1211424.8817 | 2663258.2051 | 1211421.9427 | 2663246.497 | 1211418.9056 | 2663238.2915 | 1211416.3936
32 | 2663238.2915 | 1211416.3936 | 2663206.4868 | 1211406.6571
33 | 2663416.4491 | 1211470.085 | 2663416.3894 | 1211475.6989 | 2663461.5819 | 1211489.7657 | 2663479.2596 | 1211495.2015 | 2663477.0312 | 1211502.5267
34 | 2663416.4491 | 1211470.085 | 2663416.9839 | 1211419.3772
35 | 2663477.0312 | 1211502.5267 | 2663474.6747 | 1211501.9013 | 2663461.5474 | 1211498.0037 | 2663458.8297 | 1211497.0409 | 2663454.9842 | 1211495.6658 | 2663443.6307 | 1211490.0305 | 2663434.944 | 1211487.2921 | 2663414.2535 | 1211481.0505
36 | 2663417.3733 | 1211382.4523 | 2663416.9839 | 1211419.3772
37 | 2663411.6738 | 1211480.2723 | 2663414.2535 | 1211481.0505
38 | 2663206.4868 | 1211406.6571 | 2663196.6883 | 1211403.6575 | 2663183.0041 | 1211399.5263
39 | 2663363.999 | 1211326.6327 | 2663374.729 | 1211329.9329
40 | 2663378.349 | 1211331.0462 | 2663374.729 | 1211329.9329
41 | 2663417.791 | 1211343.1771 | 2663378.349 | 1211331.0462
42 | 2663417.791 | 1211343.1771 | 2663428.5546 | 1211346.5286
43 | 2663417.5754 | 1211363.4539 | 2663417.791 | 1211343.1771
44 | 2663417.5087 | 1211369.7209 | 2663417.508 | 1211369.7849
45 | 2663417.3733 | 1211382.4523 | 2663417.508 | 1211369.7849
46 | 2663417.5754 | 1211363.4539 | 2663417.5087 | 1211369.7209
47 | 2663454.5017 | 1211354.6077 | 2663428.5546 | 1211346.5286
48 | 2663454.5017 | 1211354.6077 | 2663439.3571 | 1211405.311
49 | 2663363.529 | 1211465.3867 | 2663369.7836 | 1211467.332 | 2663408.5847 | 1211479.3404 | 2663411.6738 | 1211480.2723
50 | 2663269.7223 | 1211470.9058 | 2663269.7223 | 1211470.9058 | 2663297.379 | 1211479.3856

## bus_geodata
| x | y | coords
0 | 2663259.8637 | 1211294.6145
1 | 2663295.4995 | 1211305.5691
2 | 2663235.1445 | 1211287.0157
3 | 2663310.6238 | 1211310.2183
4 | 2663221.9891 | 1211322.9872
5 | 2663241.6933 | 1211257.7784
6 | 2663322.0145 | 1211313.7199
7 | 2663198.1942 | 1211315.566
8 | 2663250.7886 | 1211334.0565
9 | 2663312.1361 | 1211244.973
10 | 2663320.6942 | 1211340.2546
11 | 2663358.2237 | 1211324.8564
12 | 2663255.2737 | 1211357.0104
13 | 2663385.8988 | 1211246.5792
14 | 2663417.8714 | 1211251.1149
15 | 2663337.9753 | 1211245.0886
16 | 2663216.563 | 1211421.2454
17 | 2663264.1127 | 1211487.5343
18 | 2663203.0717 | 1211416.679
19 | 2663272.4994 | 1211437.626
20 | 2663291.6353 | 1211367.2637
21 | 2663320.5742 | 1211372.0847
22 | 2663290.3317 | 1211370.4195
23 | 2663320.6469 | 1211352.813
24 | 2663338.113 | 1211401.6861
25 | 2663290.3178 | 1211402.2913
26 | 2663280.6908 | 1211426.1836
27 | 2663276.3884 | 1211424.8817
28 | 2663238.2915 | 1211416.3936
29 | 2663416.4491 | 1211470.085
30 | 2663477.0312 | 1211502.5267
31 | 2663416.9839 | 1211419.3772
32 | 2663414.2535 | 1211481.0505
33 | 2663206.4868 | 1211406.6571
34 | 2663421.6816 | 1211252.2046
35 | 2663363.999 | 1211326.6327
36 | 2663374.729 | 1211329.9329
37 | 2663378.349 | 1211331.0462
38 | 2663417.791 | 1211343.1771
39 | 2663417.508 | 1211369.7849
40 | 2663417.5087 | 1211369.7209
41 | 2663417.3733 | 1211382.4523
42 | 2663417.5754 | 1211363.4539
43 | 2663428.5546 | 1211346.5286
44 | 2663454.5017 | 1211354.6077
45 | 2663439.3571 | 1211405.311
46 | 2663411.6738 | 1211480.2723
47 | 2663363.529 | 1211465.3867
48 | 2663269.7223 | 1211470.9058
49 | 2663287.1029 | 1211694.8383
50 | 2663183.0041 | 1211399.5263
51 | 2663297.379 | 1211479.3856
52 | 2663320.5742 | 1211372.0847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99299 | -0.13319 | 0.013921 | 0.003489
1 | 0.9948 | -0.098717 | 0.007533 | 0.0018879
2 | 0.99065 | -0.17803 | 0 | 0
3 | 0.99559 | -0.083598 | 0.0080174 | 0.0020094
4 | 0.98821 | -0.22528 | 0 | 0
5 | 0.98688 | -0.25038 | 0 | 0
6 | 0.99621 | -0.071808 | 0 | 0
7 | 0.9877 | -0.23522 | 0.022339 | 0.0055986
8 | 0.98691 | -0.25069 | 0.023257 | 0.0058288
9 | 0.97839 | -0.4157 | 0.089422 | 0.022411
10 | 0.99872 | -0.024287 | 0.03662 | 0.0091778
11 | 0.99463 | -0.10203 | 0.016198 | 0.0040595
12 | 0.98638 | -0.2609 | 0.022824 | 0.0057202
13 | 0.97615 | -0.45963 | 0 | 0
14 | 0.97525 | -0.4773 | 0.013821 | 0.0034638
15 | 0.97748 | -0.43353 | 0.0080745 | 0.0020237
16 | 0.98338 | -0.31596 | 0 | 0
17 | 0.97352 | -0.50814 | 0 | 0
18 | 0.98335 | -0.31658 | 0.002412 | 0.00060451
19 | 0.98817 | -0.22403 | 0 | 0
20 | 0.99585 | -0.07812 | 0 | 0
21 | 0.99884 | -0.021764 | 0 | 0
22 | 0.9955 | -0.08472 | 0.0034743 | 0.00087075
23 | 1 | 0 | -0.58308 | -0.14912
24 | 0.99817 | -0.034785 | 0.019493 | 0.0048854
25 | 0.99212 | -0.14865 | 0.0048414 | 0.0012134
26 | 0.98968 | -0.19511 | 0 | 0
27 | 0.98926 | -0.20322 | 0 | 0
28 | 0.98875 | -0.21302 | 0.0059822 | 0.0014993
29 | 0.97997 | -0.38518 | 0 | 0
30 | 0.97753 | -0.43301 | 0 | 0
31 | 0.98154 | -0.35463 | 0.063015 | 0.015793
32 | 0.97547 | -0.47341 | 0.006107 | 0.0015306
33 | 0.98851 | -0.21781 | 0.0051561 | 0.0012922
34 | 0.97519 | -0.47846 | 0.015971 | 0.0040027
35 | 0.9944 | -0.10643 | 0.0074348 | 0.0018633
36 | 0.99399 | -0.11424 | 0.016475 | 0.0041289
37 | 0.99374 | -0.11896 | 0.0071898 | 0.0018019
38 | 0.98863 | -0.21716 | 0 | 0
39 | 0.98596 | -0.26865 | 0.0069331 | 0.0017376
40 | 0.98597 | -0.26853 | 0.0050318 | 0.0012611
41 | 0.98483 | -0.29054 | 0 | 0
42 | 0.98659 | -0.25638 | 0 | 0
43 | 0.98836 | -0.22237 | 0.016049 | 0.0040222
44 | 0.98811 | -0.22715 | 0 | 0
45 | 0.98763 | -0.23646 | 0.009852 | 0.0024691
46 | 0.9754 | -0.47475 | 0.0094018 | 0.0023563
47 | 0.97457 | -0.49113 | 0.017726 | 0.0044427
48 | 0.97214 | -0.53533 | 0.038271 | 0.0095916
49 | 0.97333 | -0.51202 | 0.0010082 | 0.00025267
50 | 0.98844 | -0.21909 | 0.0029218 | 0.00073228
51 | 0.97091 | -0.55982 | 0.045854 | 0.011492
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.21185 | -0.053952 | 0.2122 | 0.054176 | 0.00035291 | 0.00022393 | 0.31776 | 0.31776 | 0.31776 | 0.99299 | -0.13319 | 0.9948 | -0.098717 | 21.8243
1 | 0.19793 | 0.050463 | -0.1975 | -0.05019 | 0.00042743 | 0.00027289 | 0.2969 | 0.2969 | 0.2969 | 0.99299 | -0.13319 | 0.99065 | -0.17803 | 40.783
2 | -0.21973 | -0.056064 | 0.21989 | 0.056166 | 0.00016059 | 0.00010196 | 0.32903 | 0.32903 | 0.32903 | 0.9948 | -0.098717 | 0.99559 | -0.083598 | 22.5981
3 | 0.068652 | 0.017295 | -0.068498 | -0.017196 | 0.00015476 | 9.8546e-05 | 0.10315 | 0.10315 | 0.10315 | 0.99065 | -0.17803 | 0.98821 | -0.22528 | 28.3384
4 | 0.12885 | 0.032895 | -0.1284 | -0.032608 | 0.0004488 | 0.00028682 | 0.19375 | 0.19375 | 0.19375 | 0.99065 | -0.17803 | 0.98688 | -0.25038 | 53.2278
5 | -0.22791 | -0.058175 | 0.22804 | 0.058258 | 0.00012992 | 8.2526e-05 | 0.34101 | 0.34101 | 0.34101 | 0.99559 | -0.083598 | 0.99621 | -0.071808 | 23.4211
6 | 0.022349 | 0.0056051 | -0.022339 | -0.0055986 | 1.0587e-05 | 6.4563e-06 | 0.033654 | 0.033654 | 0.033654 | 0.98821 | -0.22528 | 0.9877 | -0.23522 | 9.2457
7 | 0.046148 | 0.011591 | -0.046092 | -0.011556 | 5.5882e-05 | 3.537e-05 | 0.069497 | 0.069497 | 0.069497 | 0.98821 | -0.22528 | 0.98691 | -0.25069 | 19.0927
8 | 0.1284 | 0.032608 | -0.12738 | -0.031961 | 0.0010128 | 0.00064725 | 0.19375 | 0.19375 | 0.19375 | 0.98688 | -0.25038 | 0.97839 | -0.4157 | 53.2279
9 | -0.41137 | -0.10494 | 0.41232 | 0.10555 | 0.00094652 | 0.00060438 | 0.61511 | 0.61511 | 0.61511 | 0.99621 | -0.071808 | 0.99872 | -0.024287 | 42.2466
10 | 0.18333 | 0.046686 | -0.18307 | -0.046517 | 0.00026683 | 0.0001688 | 0.2741 | 0.2741 | 0.2741 | 0.99621 | -0.071808 | 0.99463 | -0.10203 | 18.8256
11 | 0.022835 | 0.005727 | -0.022824 | -0.0057202 | 1.111e-05 | 6.7914e-06 | 0.034431 | 0.034431 | 0.034431 | 0.98691 | -0.25069 | 0.98638 | -0.2609 | 9.4591
12 | 0.037962 | 0.0095499 | -0.037929 | -0.0095296 | 3.2319e-05 | 2.036e-05 | 0.057749 | 0.057749 | 0.057749 | 0.97839 | -0.4157 | 0.97748 | -0.43353 | 15.865
13 | -0.44894 | -0.11473 | 0.44947 | 0.11506 | 0.00052799 | 0.00033726 | 0.66967 | 0.66967 | 0.66967 | 0.99872 | -0.024287 | 1 | 0 | 45.9939
14 | 0.16687 | 0.042458 | -0.16683 | -0.042435 | 3.5367e-05 | 2.2321e-05 | 0.24987 | 0.24987 | 0.24987 | 0.99463 | -0.10203 | 0.9944 | -0.10643 | 17.1613
15 | 0.029818 | 0.0074827 | -0.029793 | -0.0074671 | 2.5108e-05 | 1.5665e-05 | 0.045457 | 0.045457 | 0.045457 | 0.97615 | -0.45963 | 0.97525 | -0.4773 | 12.4883
16 | -0.029818 | -0.0074827 | 0.029855 | 0.0075059 | 3.7153e-05 | 2.3178e-05 | 0.045457 | 0.045457 | 0.045457 | 0.97615 | -0.45963 | 0.97748 | -0.43353 | 12.4882
17 | 0.015972 | 0.0040032 | -0.015971 | -0.0040027 | 8.8258e-07 | 5.1541e-07 | 0.02437 | 0.02437 | 0.02437 | 0.97525 | -0.4773 | 0.97519 | -0.47846 | 6.695
18 | 0.086087 | 0.021942 | -0.085296 | -0.021438 | 0.0007905 | 0.00050437 | 0.1304 | 0.1304 | 0.1304 | 0.98338 | -0.31596 | 0.97352 | -0.50814 | 35.8231
19 | 0.0024121 | 0.00060437 | -0.002412 | -0.00060451 | 7.1165e-08 | -1.3518e-07 | 0.0036498 | 0.0036499 | 0.0036499 | 0.98338 | -0.31596 | 0.98335 | -0.31658 | 1.0027
20 | -0.088499 | -0.022546 | 0.088893 | 0.022798 | 0.00039442 | 0.00025169 | 0.13405 | 0.13405 | 0.13405 | 0.98338 | -0.31596 | 0.98817 | -0.22403 | 36.8256
21 | 0.084288 | 0.021187 | -0.084179 | -0.021118 | 0.00010927 | 6.9714e-05 | 0.12886 | 0.12886 | 0.12886 | 0.97352 | -0.50814 | 0.97214 | -0.53533 | 35.3999
22 | 0.0010084 | 0.0002502 | -0.0010082 | -0.00025267 | 1.857e-07 | -2.474e-06 | 0.0015404 | 0.0015413 | 0.0015413 | 0.97352 | -0.50814 | 0.97333 | -0.51202 | 0.42343
23 | -0.088893 | -0.022798 | 0.088983 | 0.022855 | 8.9781e-05 | 5.7289e-05 | 0.13405 | 0.13404 | 0.13405 | 0.98817 | -0.22403 | 0.98926 | -0.20322 | 36.8256
24 | -0.11201 | -0.02888 | 0.11232 | 0.029077 | 0.00030838 | 0.00019698 | 0.16766 | 0.16766 | 0.16766 | 0.99585 | -0.07812 | 0.99884 | -0.021764 | 46.0607
25 | 0.11201 | 0.02888 | -0.11198 | -0.028857 | 3.5994e-05 | 2.2992e-05 | 0.16766 | 0.16766 | 0.16766 | 0.99585 | -0.07812 | 0.9955 | -0.08472 | 46.0607
26 | -0.13183 | -0.03397 | 0.13197 | 0.034059 | 0.00013984 | 8.899e-05 | 0.19672 | 0.19672 | 0.19672 | 0.99884 | -0.021764 | 1 | 0 | 27.0219
27 | 0.019505 | 0.0048926 | -0.019493 | -0.0048854 | 1.2099e-05 | 7.2439e-06 | 0.029059 | 0.029059 | 0.029059 | 0.99884 | -0.021764 | 0.99817 | -0.034785 | 7.9833
28 | 0.1085 | 0.027986 | -0.10817 | -0.027771 | 0.00033678 | 0.0002151 | 0.16247 | 0.16247 | 0.16247 | 0.9955 | -0.08472 | 0.99212 | -0.14865 | 44.6341
29 | 0.10333 | 0.026558 | -0.10309 | -0.026409 | 0.0002327 | 0.0001486 | 0.15521 | 0.15521 | 0.15521 | 0.99212 | -0.14865 | 0.98968 | -0.19511 | 42.6393
30 | 0.10309 | 0.026409 | -0.10305 | -0.026383 | 4.0497e-05 | 2.5861e-05 | 0.15521 | 0.15521 | 0.15521 | 0.98968 | -0.19511 | 0.98926 | -0.20322 | 42.6393
31 | 0.014069 | 0.003528 | -0.014062 | -0.0035243 | 6.566e-06 | 3.7006e-06 | 0.021162 | 0.021163 | 0.021163 | 0.98926 | -0.20322 | 0.98875 | -0.21302 | 5.8139
32 | 0.0080799 | 0.0020251 | -0.0080781 | -0.0020243 | 1.8443e-06 | 7.5385e-07 | 0.01216 | 0.01216 | 0.01216 | 0.98875 | -0.21302 | 0.98851 | -0.21781 | 3.3406
33 | 0.033391 | 0.0084269 | -0.033315 | -0.0083791 | 7.6314e-05 | 4.7847e-05 | 0.050723 | 0.050724 | 0.050724 | 0.97997 | -0.38518 | 0.97753 | -0.43301 | 13.9351
34 | -0.033391 | -0.0084269 | 0.03344 | 0.0084576 | 4.8926e-05 | 3.0673e-05 | 0.050723 | 0.050723 | 0.050723 | 0.97997 | -0.38518 | 0.98154 | -0.35463 | 13.935
35 | 0.033315 | 0.0083791 | -0.033251 | -0.0083389 | 6.4156e-05 | 4.0228e-05 | 0.050724 | 0.050724 | 0.050724 | 0.97753 | -0.43301 | 0.97547 | -0.47341 | 13.9351
36 | -0.096455 | -0.024251 | 0.096751 | 0.02444 | 0.0002962 | 0.0001891 | 0.14625 | 0.14625 | 0.14625 | 0.98154 | -0.35463 | 0.98483 | -0.29054 | 40.1794
37 | 0.027144 | 0.0068083 | -0.027142 | -0.0068072 | 1.7325e-06 | 1.0752e-06 | 0.041408 | 0.041408 | 0.041408 | 0.97547 | -0.47341 | 0.9754 | -0.47475 | 11.3758
38 | 0.002922 | 0.00073207 | -0.0029218 | -0.00073228 | 1.7805e-07 | -2.0064e-07 | 0.0043984 | 0.0043985 | 0.0043985 | 0.98851 | -0.21781 | 0.98844 | -0.21909 | 1.2084
39 | 0.1594 | 0.040572 | -0.15934 | -0.040534 | 5.9988e-05 | 3.781e-05 | 0.23874 | 0.23874 | 0.23874 | 0.9944 | -0.10643 | 0.99399 | -0.11424 | 16.3972
40 | 0.14286 | 0.036405 | -0.14283 | -0.036385 | 3.2545e-05 | 2.0731e-05 | 0.21408 | 0.21408 | 0.21408 | 0.99399 | -0.11424 | 0.99374 | -0.11896 | 29.4067
41 | 0.13564 | 0.034583 | -0.135 | -0.034174 | 0.00063967 | 0.00040886 | 0.20332 | 0.20332 | 0.20332 | 0.99374 | -0.11896 | 0.98863 | -0.21716 | 55.8559
42 | 0.025914 | 0.0064985 | -0.025907 | -0.0064946 | 6.4318e-06 | 3.9718e-06 | 0.039005 | 0.039005 | 0.039005 | 0.98863 | -0.21716 | 0.98836 | -0.22237 | 10.7158
43 | 0.10909 | 0.027675 | -0.10888 | -0.027544 | 0.00020534 | 0.00013116 | 0.16431 | 0.16431 | 0.16431 | 0.98863 | -0.21716 | 0.98659 | -0.25638 | 45.1402
44 | -0.10379 | -0.026242 | 0.10379 | 0.026242 | 5.891e-07 | 3.7621e-07 | 0.15672 | 0.15672 | 0.15672 | 0.98596 | -0.26865 | 0.98597 | -0.26853 | 43.0539
45 | 0.096853 | 0.024504 | -0.096751 | -0.02444 | 0.00010161 | 6.4871e-05 | 0.14625 | 0.14625 | 0.14625 | 0.98596 | -0.26865 | 0.98483 | -0.29054 | 40.1794
46 | -0.10882 | -0.027504 | 0.10888 | 0.027544 | 6.3452e-05 | 4.0529e-05 | 0.16431 | 0.16431 | 0.16431 | 0.98597 | -0.26853 | 0.98659 | -0.25638 | 45.1402
47 | 0.0098586 | 0.0024723 | -0.0098563 | -0.0024713 | 2.2453e-06 | 1.0888e-06 | 0.014843 | 0.014843 | 0.014843 | 0.98836 | -0.22237 | 0.98811 | -0.22715 | 4.0778
48 | 0.0098563 | 0.0024713 | -0.009852 | -0.0024691 | 4.3719e-06 | 2.1206e-06 | 0.014843 | 0.014843 | 0.014843 | 0.98811 | -0.22715 | 0.98763 | -0.23646 | 4.0779
49 | 0.01774 | 0.0044509 | -0.017726 | -0.0044427 | 1.3843e-05 | 8.2311e-06 | 0.027065 | 0.027065 | 0.027065 | 0.9754 | -0.47475 | 0.97457 | -0.49113 | 7.4356
50 | 0.045908 | 0.011526 | -0.045854 | -0.011492 | 5.3574e-05 | 3.3929e-05 | 0.070276 | 0.070276 | 0.070276 | 0.97214 | -0.53533 | 0.97091 | -0.55982 | 19.3066

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59897 | 0.1531

## res_load
| p_mw | q_mvar
0 | 0.013921 | 0.003489
1 | 0.007533 | 0.0018879
2 | 0.0080174 | 0.0020094
3 | 0.022339 | 0.0055986
4 | 0.023257 | 0.0058288
5 | 0.089422 | 0.022411
6 | 0.03662 | 0.0091778
7 | 0.016198 | 0.0040595
8 | 0.022824 | 0.0057202
9 | 0.013821 | 0.0034638
10 | 0.0080745 | 0.0020237
11 | 0.002412 | 0.00060451
12 | 0.0034743 | 0.00087075
13 | 0.015887 | 0.0039818
14 | 0.019493 | 0.0048854
15 | 0.0048414 | 0.0012134
16 | 0.0059822 | 0.0014993
17 | 0.063015 | 0.015793
18 | 0.006107 | 0.0015306
19 | 0.0051561 | 0.0012922
20 | 0.015971 | 0.0040027
21 | 0.0074348 | 0.0018633
22 | 0.016475 | 0.0041289
23 | 0.0071898 | 0.0018019
24 | 0.0069331 | 0.0017376
25 | 0.0050318 | 0.0012611
26 | 0.016049 | 0.0040222
27 | 0.009852 | 0.0024691
28 | 0.0094018 | 0.0023563
29 | 0.017726 | 0.0044427
30 | 0.038271 | 0.0095916
31 | 0.0010082 | 0.00025267
32 | 0.0029218 | 0.00073228
33 | 0.045854 | 0.011492

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1