## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-229_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-229_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-229_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-229_0_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_1061-229_0_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_1061-229_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1061-229_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1061-229_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1061-229_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1061-229_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1061-229_0_4_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_1061-229_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1061-229_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1061-229_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-229_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1061-229_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1061-229_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1061-229_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1061-229_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1061-229_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1061-229_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1061-229_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1061-229_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1061-229_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1061-229_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1061-229_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1061-229_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1061-229_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1061-229_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1061-229_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1061-229_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1061-229_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1061-229_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1061-229_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1061-229_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_MV_213_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-229_0_4_load_0 | 0 | 0.0082876 | 0.0020771 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-229_0_4_load_1 | 1 | 0.012392 | 0.0031057 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-229_0_4_load_8 | 5 | 0.0089272 | 0.0022374 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-229_0_4_load_20 | 6 | 0.0058311 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-229_0_4_load_17 | 8 | 0.012656 | 0.0031719 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-229_0_4_load_3 | 10 | 0.018579 | 0.0046563 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-229_0_4_load_4 | 11 | 0.025822 | 0.0064716 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-229_0_4_load_5 | 12 | 0.013138 | 0.0032927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-229_0_4_load_27 | 14 | 0.019844 | 0.0049733 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-229_0_4_load_30 | 17 | 0.0049669 | 0.0012448 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-229_0_4_load_10 | 18 | 0.0098255 | 0.0024625 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-229_0_4_load_11 | 19 | 0.015122 | 0.0037898 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-229_0_4_load_14 | 20 | 0.014299 | 0.0035836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-229_0_4_load_24 | 21 | 0.0019912 | 0.00049903 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-229_0_4_load_15 | 22 | 0.0083462 | 0.0020917 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-229_0_4_load_25 | 23 | 0.09228 | 0.023128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-229_0_4_load_36 | 24 | 0.0082434 | 0.002066 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-229_0_4_load_16 | 25 | 0.024737 | 0.0061998 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-229_0_4_load_22 | 26 | 0.0078831 | 0.0019757 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-229_0_4_load_23 | 27 | 0.0020098 | 0.00050369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-229_0_4_load_18 | 28 | 0.014166 | 0.0035502 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-229_0_4_load_19 | 29 | 0.01099 | 0.0027545 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-229_0_4_load_26 | 30 | 0.0030045 | 0.000753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-229_0_4_load_29 | 31 | 0.040241 | 0.010085 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-229_0_4_load_35 | 32 | 0.0067208 | 0.0016844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-229_0_4_load_38 | 34 | 0.031664 | 0.0079358 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-229_0_4_line_0 |  | 0 | 1 | 0.04888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-229_0_4_line_1 |  | 1 | 2 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-229_0_4_line_2 |  | 2 | 3 | 0.042083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-229_0_4_line_3 |  | 2 | 4 | 0.055712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-229_0_4_line_4 |  | 2 | 5 | 0.038503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-229_0_4_line_5 |  | 3 | 6 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-229_0_4_line_6 |  | 4 | 7 | 0.052933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-229_0_4_line_7 |  | 4 | 8 | 0.0092429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-229_0_4_line_8 |  | 5 | 9 | 0.014863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-229_0_4_line_9 |  | 7 | 24 | 0.021733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-229_0_4_line_10 |  | 8 | 25 | 0.031787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-229_0_4_line_11 |  | 9 | 18 | 0.031839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-229_0_4_line_12 |  | 9 | 19 | 0.020582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1061-229_0_4_line_13 |  | 10 | 11 | 0.011589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-229_0_4_line_14 |  | 10 | 12 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-229_0_4_line_15 |  | 12 | 13 | 0.065024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-229_0_4_line_16 |  | 13 | 14 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-229_0_4_line_17 |  | 13 | 15 | 0.04414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-229_0_4_line_18 |  | 15 | 16 | 0.12877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-229_0_4_line_19 |  | 15 | 17 | 0.028139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-229_0_4_line_20 |  | 16 | 32 | 0.053288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-229_0_4_line_21 |  | 17 | 31 | 0.020258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-229_0_4_line_22 |  | 18 | 20 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-229_0_4_line_23 |  | 19 | 21 | 0.03094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-229_0_4_line_24 |  | 20 | 22 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-229_0_4_line_25 |  | 21 | 23 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1061-229_0_4_line_26 |  | 22 | 26 | 0.0026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-229_0_4_line_27 |  | 23 | 30 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-229_0_4_line_28 |  | 24 | 33 | 0.052424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-229_0_4_line_29 |  | 25 | 28 | 0.065592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-229_0_4_line_30 |  | 26 | 27 | 0.0013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-229_0_4_line_31 |  | 28 | 29 | 0.0051222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-229_0_4_line_32 |  | 30 | 31 | 0.037274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-229_0_4_line_33 |  | 33 | 34 | 0.016152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-229_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 35 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2666332.8954 | 1212339.6159 | 2666334.3445 | 1212338.3659 | 2666343.8906 | 1212332.6129 | 2666351.1072 | 1212329.3133 | 2666357.8671 | 1212328.1433 | 2666378.7713 | 1212325.8938
1 | 2666397.9404 | 1212323.8309 | 2666378.7713 | 1212325.8938
2 | 2666396.1822 | 1212281.8076 | 2666397.9658 | 1212308.5885 | 2666397.9404 | 1212323.8309
3 | 2666397.9404 | 1212323.8309 | 2666397.9658 | 1212308.5885 | 2666415.5007 | 1212322.3143 | 2666428.1033 | 1212334.1064 | 2666428.8028 | 1212334.7368
4 | 2666397.9404 | 1212323.8309 | 2666398.4052 | 1212362.3313
5 | 2666396.1822 | 1212281.8076 | 2666415.4261 | 1212274.2063
6 | 2666448.7534 | 1212290.5316 | 2666447.4925 | 1212295.276 | 2666446.8766 | 1212308.2772 | 2666442.5582 | 1212315.3446 | 2666437.1707 | 1212316.0851 | 2666432.6511 | 1212322.8056 | 2666432.7849 | 1212329.211 | 2666428.8028 | 1212334.7368
7 | 2666428.8028 | 1212334.7368 | 2666435.6312 | 1212340.9661
8 | 2666398.5846 | 1212377.1934 | 2666398.4052 | 1212362.3313
9 | 2666469.6798 | 1212290.3646 | 2666462.59 | 1212292.498 | 2666455.516 | 1212293.2197 | 2666448.7534 | 1212290.5316
10 | 2666435.6312 | 1212340.9661 | 2666438.0315 | 1212343.1559 | 2666451.1109 | 1212353.0632 | 2666461.2624 | 1212359.7022
11 | 2666398.5846 | 1212377.1934 | 2666367.0066 | 1212381.2597
12 | 2666398.5846 | 1212377.1934 | 2666400.431 | 1212397.6923
13 | 2666505.7558 | 1212449.6145 | 2666517.3225 | 1212450.337
14 | 2666505.7558 | 1212449.6145 | 2666485.7275 | 1212448.3634
15 | 2666475.2827 | 1212510.1965 | 2666481.6071 | 1212505.1416 | 2666485.7275 | 1212448.3634
16 | 2666475.2827 | 1212510.1965 | 2666486.1051 | 1212521.4685 | 2666491.5246 | 1212523.2967 | 2666497.3339 | 1212523.5505 | 2666503.7579 | 1212523.3748
17 | 2666437.308 | 1212532.8764 | 2666475.2827 | 1212510.1965
18 | 2666338.4663 | 1212529.241 | 2666348.3665 | 1212531.9194 | 2666410.9466 | 1212560.6557 | 2666415.1174 | 1212564.082 | 2666417.1843 | 1212567.4627 | 2666424.4576 | 1212558.3713 | 2666435.1533 | 1212539.4231 | 2666437.308 | 1212532.8764
19 | 2666437.308 | 1212532.8764 | 2666437.719 | 1212527.3553 | 2666436.5941 | 1212519.2156 | 2666432.5332 | 1212510.0091 | 2666430.3776 | 1212506.2617
20 | 2666338.4663 | 1212529.241 | 2666348.2346 | 1212476.8616
21 | 2666420.2789 | 1212488.7001 | 2666423.0005 | 1212493.4371 | 2666430.3776 | 1212506.2617
22 | 2666349.7903 | 1212383.4767 | 2666367.0066 | 1212381.2597
23 | 2666400.431 | 1212397.6923 | 2666401.8776 | 1212413.7527 | 2666403.9462 | 1212428.4225
24 | 2666349.7903 | 1212383.4767 | 2666349.7903 | 1212383.4767 | 2666348.0697 | 1212385.1586 | 2666348.2079 | 1212393.3815
25 | 2666405.6125 | 1212440.2397 | 2666403.9462 | 1212428.4225
26 | 2666348.2519 | 1212396.0027 | 2666348.2079 | 1212393.3815
27 | 2666407.9167 | 1212453.6866 | 2666406.8771 | 1212449.208 | 2666405.6125 | 1212440.2397
28 | 2666492.4326 | 1212307.651 | 2666495.86 | 1212301.452 | 2666499.392 | 1212298.1338 | 2666500.7972 | 1212292.7239 | 2666496.4977 | 1212286.5054 | 2666490.5895 | 1212285.5612 | 2666469.6798 | 1212290.3646
29 | 2666522.1057 | 1212381.0177 | 2666509.8055 | 1212379.478 | 2666496.6343 | 1212377.8191 | 2666489.9781 | 1212375.8214 | 2666488.5242 | 1212375.3827 | 2666487.5202 | 1212374.8045 | 2666462.8022 | 1212360.7093 | 2666461.2624 | 1212359.7022
30 | 2666348.2754 | 1212397.4018 | 2666348.2519 | 1212396.0027
31 | 2666522.1057 | 1212381.0177 | 2666522.9692 | 1212381.1258 | 2666527.2116 | 1212381.4095
32 | 2666420.2789 | 1212488.7001 | 2666418.9311 | 1212486.3541 | 2666415.041 | 1212477.4942 | 2666410.502 | 1212464.8247 | 2666407.9167 | 1212453.6866
33 | 2666492.4326 | 1212307.651 | 2666489.7495 | 1212312.513 | 2666491.7152 | 1212322.9303

## bus_geodata
| x | y | coords
0 | 2666332.8954 | 1212339.6159
1 | 2666378.7713 | 1212325.8938
2 | 2666397.9404 | 1212323.8309
3 | 2666396.1822 | 1212281.8076
4 | 2666428.8028 | 1212334.7368
5 | 2666398.4052 | 1212362.3313
6 | 2666415.4261 | 1212274.2063
7 | 2666448.7534 | 1212290.5316
8 | 2666435.6312 | 1212340.9661
9 | 2666398.5846 | 1212377.1934
10 | 2666505.7558 | 1212449.6145
11 | 2666517.3225 | 1212450.337
12 | 2666485.7275 | 1212448.3634
13 | 2666475.2827 | 1212510.1965
14 | 2666503.7579 | 1212523.3748
15 | 2666437.308 | 1212532.8764
16 | 2666338.4663 | 1212529.241
17 | 2666430.3776 | 1212506.2617
18 | 2666367.0066 | 1212381.2597
19 | 2666400.431 | 1212397.6923
20 | 2666349.7903 | 1212383.4767
21 | 2666403.9462 | 1212428.4225
22 | 2666348.2079 | 1212393.3815
23 | 2666405.6125 | 1212440.2397
24 | 2666469.6798 | 1212290.3646
25 | 2666461.2624 | 1212359.7022
26 | 2666348.2519 | 1212396.0027
27 | 2666348.2754 | 1212397.4018
28 | 2666522.1057 | 1212381.0177
29 | 2666527.2116 | 1212381.4095
30 | 2666407.9167 | 1212453.6866
31 | 2666420.2789 | 1212488.7001
32 | 2666348.2346 | 1212476.8616
33 | 2666492.4326 | 1212307.651
34 | 2666491.7152 | 1212322.9303
35 | 2666398.5846 | 1212377.1934

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98829 | -0.22394 | 0.0082876 | 0.0020771
1 | 0.98866 | -0.21671 | 0.012392 | 0.0031057
2 | 0.98903 | -0.20961 | 0 | 0
3 | 0.9888 | -0.21398 | 0 | 0
4 | 0.98375 | -0.31187 | 0 | 0
5 | 0.99362 | -0.12152 | 0.0089272 | 0.0022374
6 | 0.98869 | -0.21613 | 0.0058311 | 0.0014614
7 | 0.98179 | -0.34999 | 0 | 0
8 | 0.98322 | -0.32229 | 0.012656 | 0.0031719
9 | 0.99551 | -0.085406 | 0 | 0
10 | 0.98139 | -0.35852 | 0.018579 | 0.0046563
11 | 0.98112 | -0.36394 | 0.025822 | 0.0064716
12 | 0.98222 | -0.34241 | 0.013138 | 0.0032927
13 | 0.98567 | -0.27505 | 0 | 0
14 | 0.98506 | -0.28702 | 0.019844 | 0.0049733
15 | 0.98883 | -0.21397 | 0 | 0
16 | 0.98803 | -0.22942 | 0 | 0
17 | 0.99101 | -0.17187 | 0.0049669 | 0.0012448
18 | 0.99428 | -0.10916 | 0.0098255 | 0.0024625
19 | 0.99722 | -0.052834 | 0.015122 | 0.0037898
20 | 0.99376 | -0.11912 | 0.014299 | 0.0035836
21 | 1 | 0 | -0.42586 | -0.10795
22 | 0.99359 | -0.12254 | 0.0083462 | 0.0020917
23 | 0.99877 | -0.023389 | 0.09228 | 0.023128
24 | 0.98099 | -0.36569 | 0.0082434 | 0.002066
25 | 0.98175 | -0.35093 | 0.024737 | 0.0061998
26 | 0.99356 | -0.123 | 0.0078831 | 0.0019757
27 | 0.99356 | -0.12305 | 0.0020098 | 0.00050369
28 | 0.98022 | -0.38081 | 0.014166 | 0.0035502
29 | 0.98017 | -0.38183 | 0.01099 | 0.0027545
30 | 0.99711 | -0.055013 | 0.0030045 | 0.000753
31 | 0.99268 | -0.1399 | 0.040241 | 0.010085
32 | 0.9877 | -0.23581 | 0.0067208 | 0.0016844
33 | 0.97945 | -0.3958 | 0 | 0
34 | 0.97898 | -0.4051 | 0.031664 | 0.0079358
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0082876 | -0.0020771 | 0.0082904 | 0.0020783 | 2.854e-06 | 1.2e-06 | 0.012478 | 0.012478 | 0.012478 | 0.98829 | -0.22394 | 0.98866 | -0.21671 | 3.4281
1 | -0.020682 | -0.005184 | 0.020689 | 0.0051882 | 7.0058e-06 | 4.2364e-06 | 0.031129 | 0.031129 | 0.031129 | 0.98866 | -0.21671 | 0.98903 | -0.20961 | 8.5519
2 | 0.0058329 | 0.0014618 | -0.0058317 | -0.0014615 | 1.2154e-06 | 2.3792e-07 | 0.0087757 | 0.0087759 | 0.0087759 | 0.98903 | -0.20961 | 0.9888 | -0.21398 | 2.411
3 | 0.10326 | 0.026188 | -0.10276 | -0.025866 | 0.00050496 | 0.00032247 | 0.15547 | 0.15547 | 0.15547 | 0.98903 | -0.20961 | 0.98375 | -0.31187 | 42.7111
4 | -0.12978 | -0.032838 | 0.13033 | 0.033191 | 0.00055113 | 0.00035223 | 0.19537 | 0.19537 | 0.19537 | 0.98903 | -0.20961 | 0.99362 | -0.12152 | 53.6738
5 | 0.0058317 | 0.0014615 | -0.0058311 | -0.0014614 | 5.9758e-07 | 1.1708e-07 | 0.0087759 | 0.008776 | 0.008776 | 0.9888 | -0.21398 | 0.98869 | -0.21613 | 2.411
6 | 0.04007 | 0.010104 | -0.039997 | -0.010058 | 7.2973e-05 | 4.6032e-05 | 0.060632 | 0.060632 | 0.060632 | 0.98375 | -0.31187 | 0.98179 | -0.34999 | 16.6572
7 | 0.062685 | 0.015762 | -0.062654 | -0.015742 | 3.1174e-05 | 1.9834e-05 | 0.094836 | 0.094836 | 0.094836 | 0.98375 | -0.31187 | 0.98322 | -0.32229 | 26.0539
8 | -0.13926 | -0.035428 | 0.1395 | 0.035583 | 0.00024286 | 0.00015524 | 0.20874 | 0.20874 | 0.20874 | 0.99362 | -0.12152 | 0.99551 | -0.085406 | 57.3465
9 | 0.039997 | 0.010058 | -0.039967 | -0.010039 | 2.9961e-05 | 1.8901e-05 | 0.060632 | 0.060632 | 0.060632 | 0.98179 | -0.34999 | 0.98099 | -0.36569 | 16.6573
10 | 0.049998 | 0.01257 | -0.04993 | -0.012527 | 6.8276e-05 | 4.3294e-05 | 0.075682 | 0.075682 | 0.075682 | 0.98322 | -0.32229 | 0.98175 | -0.35093 | 20.7919
11 | 0.04243 | 0.010659 | -0.042382 | -0.010629 | 4.8038e-05 | 3.0331e-05 | 0.06343 | 0.063431 | 0.063431 | 0.99551 | -0.085406 | 0.99428 | -0.10916 | 17.426
12 | -0.18193 | -0.046242 | 0.18222 | 0.046425 | 0.00028587 | 0.00018242 | 0.27217 | 0.27217 | 0.27217 | 0.99551 | -0.085406 | 0.99722 | -0.052834 | 37.3862
13 | 0.025829 | 0.0064757 | -0.025822 | -0.0064716 | 6.6657e-06 | 4.1196e-06 | 0.039163 | 0.039163 | 0.039163 | 0.98139 | -0.35852 | 0.98112 | -0.36394 | 10.7591
14 | -0.044408 | -0.011132 | 0.044442 | 0.011154 | 3.4118e-05 | 2.1581e-05 | 0.067333 | 0.067333 | 0.067333 | 0.98139 | -0.35852 | 0.98222 | -0.34241 | 18.4981
15 | -0.05758 | -0.014446 | 0.057765 | 0.014564 | 0.00018557 | 0.00011794 | 0.087237 | 0.087236 | 0.087237 | 0.98222 | -0.34241 | 0.98567 | -0.27505 | 23.9661
16 | 0.019855 | 0.0049801 | -0.019844 | -0.0049733 | 1.1317e-05 | 6.8151e-06 | 0.029975 | 0.029976 | 0.029976 | 0.98567 | -0.27505 | 0.98506 | -0.28702 | 8.2351
17 | -0.07762 | -0.019544 | 0.077848 | 0.019689 | 0.00022741 | 0.00014498 | 0.11721 | 0.11721 | 0.11721 | 0.98567 | -0.27505 | 0.98883 | -0.21397 | 32.201
18 | 0.0067278 | 0.0016865 | -0.0067228 | -0.001685 | 4.95e-06 | 1.5175e-06 | 0.010124 | 0.010125 | 0.010125 | 0.98883 | -0.21397 | 0.98803 | -0.22942 | 2.7816
19 | -0.084576 | -0.021376 | 0.084747 | 0.021485 | 0.0001711 | 0.00010914 | 0.12734 | 0.12734 | 0.12734 | 0.98883 | -0.21397 | 0.99101 | -0.17187 | 34.9824
20 | 0.0067228 | 0.001685 | -0.0067208 | -0.0016844 | 2.0486e-06 | 6.2884e-07 | 0.010125 | 0.010125 | 0.010125 | 0.98803 | -0.22942 | 0.9877 | -0.23581 | 2.7816
21 | -0.089714 | -0.02273 | 0.089852 | 0.022818 | 0.00013803 | 8.8077e-05 | 0.13479 | 0.13479 | 0.13479 | 0.99101 | -0.17187 | 0.99268 | -0.1399 | 37.0312
22 | 0.032557 | 0.0081663 | -0.032541 | -0.0081566 | 1.5455e-05 | 9.6661e-06 | 0.048726 | 0.048726 | 0.048726 | 0.99428 | -0.10916 | 0.99376 | -0.11912 | 13.3863
23 | -0.19734 | -0.050215 | 0.19785 | 0.050536 | 0.00050395 | 0.00032172 | 0.29474 | 0.29473 | 0.29474 | 0.99722 | -0.052834 | 1 | 0 | 40.4856
24 | 0.018242 | 0.004573 | -0.018239 | -0.0045712 | 2.9743e-06 | 1.7659e-06 | 0.027315 | 0.027316 | 0.027316 | 0.99376 | -0.11912 | 0.99359 | -0.12254 | 7.5043
25 | 0.22637 | 0.057417 | -0.22611 | -0.057254 | 0.00025425 | 0.00016241 | 0.33708 | 0.33708 | 0.33708 | 1 | 0 | 0.99877 | -0.023389 | 46.3022
26 | 0.0098931 | 0.0024795 | -0.0098929 | -0.0024794 | 2.158e-07 | 1.0416e-07 | 0.014816 | 0.014816 | 0.014816 | 0.99359 | -0.12254 | 0.99356 | -0.123 | 4.0704
27 | 0.13383 | 0.034127 | -0.13363 | -0.033996 | 0.000204 | 0.00013038 | 0.1996 | 0.1996 | 0.1996 | 0.99877 | -0.023389 | 0.99711 | -0.055013 | 54.8345
28 | 0.031724 | 0.0079731 | -0.031678 | -0.0079446 | 4.5537e-05 | 2.8483e-05 | 0.048128 | 0.048129 | 0.048129 | 0.98099 | -0.36569 | 0.97945 | -0.3958 | 13.2222
29 | 0.025192 | 0.0063271 | -0.025157 | -0.006305 | 3.5872e-05 | 2.213e-05 | 0.038188 | 0.038189 | 0.038189 | 0.98175 | -0.35093 | 0.98022 | -0.38081 | 10.4914
30 | 0.0020098 | 0.00050368 | -0.0020098 | -0.00050369 | 4.754e-09 | -1.508e-08 | 0.0030099 | 0.0030099 | 0.0030099 | 0.99356 | -0.123 | 0.99356 | -0.12305 | 0.8269
31 | 0.010991 | 0.0027548 | -0.01099 | -0.0027545 | 5.3473e-07 | 2.7766e-07 | 0.016685 | 0.016685 | 0.016685 | 0.98022 | -0.38081 | 0.98017 | -0.38183 | 4.5838
32 | 0.13062 | 0.033243 | -0.13009 | -0.032903 | 0.00053213 | 0.00034008 | 0.19511 | 0.19511 | 0.19511 | 0.99711 | -0.055013 | 0.99268 | -0.1399 | 53.6028
33 | 0.031678 | 0.0079446 | -0.031664 | -0.0079358 | 1.403e-05 | 8.7762e-06 | 0.048129 | 0.048129 | 0.048129 | 0.97945 | -0.3958 | 0.97898 | -0.4051 | 13.2222

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42785 | 0.10845

## res_load
| p_mw | q_mvar
0 | 0.0082876 | 0.0020771
1 | 0.012392 | 0.0031057
2 | 0.0089272 | 0.0022374
3 | 0.0058311 | 0.0014614
4 | 0.012656 | 0.0031719
5 | 0.018579 | 0.0046563
6 | 0.025822 | 0.0064716
7 | 0.013138 | 0.0032927
8 | 0.019844 | 0.0049733
9 | 0.0049669 | 0.0012448
10 | 0.0098255 | 0.0024625
11 | 0.015122 | 0.0037898
12 | 0.014299 | 0.0035836
13 | 0.0019912 | 0.00049903
14 | 0.0083462 | 0.0020917
15 | 0.09228 | 0.023128
16 | 0.0082434 | 0.002066
17 | 0.024737 | 0.0061998
18 | 0.0078831 | 0.0019757
19 | 0.0020098 | 0.00050369
20 | 0.014166 | 0.0035502
21 | 0.01099 | 0.0027545
22 | 0.0030045 | 0.000753
23 | 0.040241 | 0.010085
24 | 0.0067208 | 0.0016844
25 | 0.031664 | 0.0079358

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1