## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-232_1_3_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_1061-232_1_3_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_1061-232_1_3_node_62 | 0.4 | n |  | TRUE
3 | bus_LV_1061-232_1_3_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_1061-232_1_3_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_1061-232_1_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1061-232_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1061-232_1_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_1061-232_1_3_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_1061-232_1_3_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_1061-232_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1061-232_1_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_1061-232_1_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1061-232_1_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1061-232_1_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_1061-232_1_3_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_1061-232_1_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1061-232_1_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_1061-232_1_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1061-232_1_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_1061-232_1_3_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_1061-232_1_3_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_1061-232_1_3_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_1061-232_1_3_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_1061-232_1_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_1061-232_1_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_1061-232_1_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_1061-232_1_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1061-232_1_3_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_1061-232_1_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_1061-232_1_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1061-232_1_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_1061-232_1_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_1061-232_1_3_node_80 | 0.4 | n |  | TRUE
34 | bus_MV_3_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-232_1_3_load_62 | 2 | 0.003164 | 0.00079298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-232_1_3_load_70 | 3 | 0.0028762 | 0.00072085 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-232_1_3_load_67 | 4 | 0.0029812 | 0.00074716 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-232_1_3_load_60 | 7 | 0.024693 | 0.0061887 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-232_1_3_load_74 | 8 | 0.0073641 | 0.0018456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-232_1_3_load_65 | 9 | 0.0049385 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-232_1_3_load_63 | 14 | 0.0049688 | 0.0012453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-232_1_3_load_66 | 15 | 0.013657 | 0.0034227 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-232_1_3_load_73 | 19 | 0.0036838 | 0.00092325 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-232_1_3_load_76 | 20 | 0.044893 | 0.011251 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-232_1_3_load_81 | 21 | 0.013737 | 0.0034428 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-232_1_3_load_79 | 22 | 0.01692 | 0.0042407 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-232_1_3_load_55 | 23 | 0.0040397 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-232_1_3_load_56 | 24 | 0.0036172 | 0.00090655 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-232_1_3_load_57 | 25 | 0.0036948 | 0.00092599 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-232_1_3_load_59 | 26 | 0.0038468 | 0.0009641 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-232_1_3_load_88 | 28 | 0.012183 | 0.0030533 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-232_1_3_load_64 | 29 | 0.0050641 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-232_1_3_load_68 | 30 | 0.0029276 | 0.00073371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-232_1_3_load_69 | 31 | 0.012974 | 0.0032515 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-232_1_3_load_78 | 32 | 0.019897 | 0.0049868 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-232_1_3_load_80 | 33 | 0.010441 | 0.0026168 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-232_1_3_line_0 |  | 0 | 1 | 0.099761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-232_1_3_line_1 |  | 0 | 2 | 0.0143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-232_1_3_line_2 |  | 1 | 3 | 0.026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-232_1_3_line_3 |  | 1 | 4 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-232_1_3_line_4 |  | 2 | 27 | 0.0082862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-232_1_3_line_5 |  | 4 | 30 | 0.013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-232_1_3_line_6 |  | 5 | 6 | 0.045423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-232_1_3_line_7 |  | 5 | 7 | 0.03521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-232_1_3_line_8 |  | 6 | 8 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-232_1_3_line_9 |  | 6 | 9 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-232_1_3_line_10 |  | 8 | 17 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1061-232_1_3_line_11 |  | 9 | 29 | 0.030104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-232_1_3_line_12 |  | 10 | 11 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-232_1_3_line_13 |  | 10 | 12 | 0.027156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-232_1_3_line_14 |  | 10 | 13 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-232_1_3_line_15 |  | 10 | 14 | 0.022254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-232_1_3_line_16 |  | 11 | 28 | 0.002033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-232_1_3_line_17 |  | 11 | 27 | 0.031374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-232_1_3_line_18 |  | 12 | 15 | 0.016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-232_1_3_line_19 |  | 13 | 20 | 0.010157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-232_1_3_line_20 |  | 14 | 29 | 0.030403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-232_1_3_line_21 |  | 16 | 17 | 0.039108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-232_1_3_line_22 |  | 16 | 18 | 0.073743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-232_1_3_line_23 |  | 17 | 19 | 0.020666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-232_1_3_line_24 |  | 18 | 21 | 0.0086074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-232_1_3_line_25 |  | 18 | 22 | 0.036074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-232_1_3_line_26 |  | 19 | 26 | 0.019501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1061-232_1_3_line_27 |  | 22 | 32 | 0.03002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-232_1_3_line_28 |  | 23 | 24 | 0.018007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-232_1_3_line_29 |  | 23 | 25 | 0.019769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1061-232_1_3_line_30 |  | 25 | 26 | 0.02002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1061-232_1_3_line_31 |  | 30 | 31 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-232_1_3_line_32 |  | 32 | 33 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-232_1_3_trafo_55 | 0.63 MVA 20/0.4 kV | 34 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2662760.2018 | 1211523.3465 | 2662748.9301 | 1211538.0591 | 2662739.1315 | 1211551.4198 | 2662733.946 | 1211557.5024 | 2662725.3396 | 1211564.4495 | 2662716.8139 | 1211568.7847 | 2662708.8784 | 1211571.1917 | 2662702.2696 | 1211572.4341 | 2662696.6387 | 1211572.4639 | 2662691.8693 | 1211572.2247 | 2662688.8322 | 1211578.4967 | 2662688.4901 | 1211582.1286
1 | 2662760.2018 | 1211523.3465 | 2662772.9158 | 1211529.8929
2 | 2662688.4901 | 1211582.1286 | 2662684.8484 | 1211583.758 | 2662674.1877 | 1211603.3349
3 | 2662688.4901 | 1211582.1286 | 2662690.8202 | 1211585.9999 | 2662701.2053 | 1211594.041
4 | 2662780.2828 | 1211533.6862 | 2662772.9158 | 1211529.8929
5 | 2662701.2053 | 1211594.041 | 2662703.3095 | 1211595.6704 | 2662712.6605 | 1211601.0052
6 | 2662802.3993 | 1211614.1125 | 2662803.2947 | 1211614.222 | 2662807.2181 | 1211614.7081 | 2662810.3524 | 1211615.0857 | 2662811.2555 | 1211615.1953 | 2662812.0223 | 1211610.2003 | 2662813.4016 | 1211601.176 | 2662815.3225 | 1211588.3328 | 2662818.3072 | 1211591.3661 | 2662820.9209 | 1211595.7185
7 | 2662820.9209 | 1211595.7185 | 2662856.0314 | 1211598.366
8 | 2662802.3993 | 1211614.1125 | 2662801.1049 | 1211623.0155 | 2662799.8598 | 1211633.5265
9 | 2662802.3993 | 1211614.1125 | 2662803.6692 | 1211605.365 | 2662804.6942 | 1211598.2224
10 | 2662798.582 | 1211645.4026 | 2662799.512 | 1211636.4625 | 2662799.8598 | 1211633.5265
11 | 2662809.1829 | 1211568.4553 | 2662806.3999 | 1211586.3377 | 2662804.6942 | 1211598.2224
12 | 2662817.0984 | 1211516.3964 | 2662814.114 | 1211516.2205 | 2662805.0581 | 1211514.6019
13 | 2662817.0984 | 1211516.3964 | 2662818.8177 | 1211505.3856 | 2662819.812 | 1211499.0032 | 2662820.8495 | 1211492.1211 | 2662820.9908 | 1211489.5321
14 | 2662817.0984 | 1211516.3964 | 2662822.2243 | 1211516.7061 | 2662821.7525 | 1211519.6585 | 2662825.9402 | 1211520.303 | 2662831.812 | 1211521.2209
15 | 2662817.0984 | 1211516.3964 | 2662816.6585 | 1211519.2046 | 2662813.7635 | 1211538.3996
16 | 2662805.368 | 1211512.5928 | 2662805.0581 | 1211514.6019
17 | 2662780.2828 | 1211533.6862 | 2662798.5027 | 1211517.9906 | 2662805.0581 | 1211514.6019
18 | 2662820.9908 | 1211489.5321 | 2662804.7676 | 1211490.2961
19 | 2662831.812 | 1211521.2209 | 2662832.0706 | 1211524.081 | 2662831.9627 | 1211527.8266 | 2662835.4939 | 1211528.0416
20 | 2662813.7635 | 1211538.3996 | 2662813.5379 | 1211539.8955 | 2662810.3038 | 1211561.2523 | 2662809.1829 | 1211568.4553
21 | 2662798.582 | 1211645.4026 | 2662797.6094 | 1211654.787 | 2662796.0253 | 1211671.0025 | 2662794.4493 | 1211684.2829
22 | 2662750.5084 | 1211693.5374 | 2662780.7055 | 1211707.9194 | 2662788.3569 | 1211711.5577 | 2662793.1327 | 1211711.1855 | 2662792.94 | 1211709.9938 | 2662792.5094 | 1211706.1536 | 2662792.8827 | 1211700.2873 | 2662792.9842 | 1211698.5873 | 2662793.607 | 1211691.3895 | 2662794.4493 | 1211684.2829
23 | 2662798.582 | 1211645.4026 | 2662794.9212 | 1211645.2418 | 2662789.2217 | 1211644.5703 | 2662777.916 | 1211645.1961
24 | 2662750.5084 | 1211693.5374 | 2662754.6001 | 1211685.9647
25 | 2662750.5084 | 1211693.5374 | 2662717.9367 | 1211678.0325
26 | 2662777.916 | 1211645.1961 | 2662775.3772 | 1211633.0064 | 2662774.4449 | 1211626.0185
27 | 2662690.8314 | 1211665.1297 | 2662717.9367 | 1211678.0325
28 | 2662776.0389 | 1211586.4265 | 2662776.7471 | 1211580.8334 | 2662778.646 | 1211568.6106
29 | 2662776.0389 | 1211586.4265 | 2662773.6724 | 1211605.1159 | 2662773.6749 | 1211606.0467
30 | 2662774.4449 | 1211626.0185 | 2662773.7151 | 1211620.548 | 2662773.6749 | 1211606.0467
31 | 2662724.5613 | 1211600.8858 | 2662712.6605 | 1211601.0052
32 | 2662690.8314 | 1211665.1297 | 2662669.4095 | 1211654.9324

## bus_geodata
| x | y | coords
0 | 2662760.2018 | 1211523.3465
1 | 2662688.4901 | 1211582.1286
2 | 2662772.9158 | 1211529.8929
3 | 2662674.1877 | 1211603.3349
4 | 2662701.2053 | 1211594.041
5 | 2662820.9209 | 1211595.7185
6 | 2662802.3993 | 1211614.1125
7 | 2662856.0314 | 1211598.366
8 | 2662799.8598 | 1211633.5265
9 | 2662804.6942 | 1211598.2224
10 | 2662817.0984 | 1211516.3964
11 | 2662805.0581 | 1211514.6019
12 | 2662820.9908 | 1211489.5321
13 | 2662831.812 | 1211521.2209
14 | 2662813.7635 | 1211538.3996
15 | 2662804.7676 | 1211490.2961
16 | 2662794.4493 | 1211684.2829
17 | 2662798.582 | 1211645.4026
18 | 2662750.5084 | 1211693.5374
19 | 2662777.916 | 1211645.1961
20 | 2662835.4939 | 1211528.0416
21 | 2662754.6001 | 1211685.9647
22 | 2662717.9367 | 1211678.0325
23 | 2662776.0389 | 1211586.4265
24 | 2662778.646 | 1211568.6106
25 | 2662773.6749 | 1211606.0467
26 | 2662774.4449 | 1211626.0185
27 | 2662780.2828 | 1211533.6862
28 | 2662805.368 | 1211512.5928
29 | 2662809.1829 | 1211568.4553
30 | 2662712.6605 | 1211601.0052
31 | 2662724.5613 | 1211600.8858
32 | 2662690.8314 | 1211665.1297
33 | 2662669.4095 | 1211654.9324
34 | 2662780.2828 | 1211533.6862

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97799 | -0.42355 | 0 | 0
1 | 0.97597 | -0.46319 | 0 | 0
2 | 0.97828 | -0.41788 | 0.003164 | 0.00079298
3 | 0.9759 | -0.46457 | 0.0028762 | 0.00072085
4 | 0.97566 | -0.46929 | 0.0029812 | 0.00074716
5 | 0.988 | -0.22916 | 0 | 0
6 | 0.98903 | -0.20915 | 0 | 0
7 | 0.9872 | -0.2447 | 0.024693 | 0.0061887
8 | 0.99148 | -0.16205 | 0.0073641 | 0.0018456
9 | 0.98738 | -0.24086 | 0.0049385 | 0.0012377
10 | 0.97962 | -0.39169 | 0 | 0
11 | 0.9792 | -0.39989 | 0 | 0
12 | 0.97927 | -0.39843 | 0 | 0
13 | 0.97886 | -0.40663 | 0 | 0
14 | 0.98159 | -0.3531 | 0.0049688 | 0.0012453
15 | 0.97907 | -0.40246 | 0.013657 | 0.0034227
16 | 0.99007 | -0.18928 | 0 | 0
17 | 0.99227 | -0.14695 | 0 | 0
18 | 0.98592 | -0.2696 | 0 | 0
19 | 0.99421 | -0.10976 | 0.0036838 | 0.00092325
20 | 0.97843 | -0.41492 | 0.044893 | 0.011251
21 | 0.98582 | -0.27172 | 0.013737 | 0.0034428
22 | 0.98435 | -0.30022 | 0.01692 | 0.0042407
23 | 1 | 0 | -0.22365 | -0.05698
24 | 0.99994 | -0.0011354 | 0.0036172 | 0.00090655
25 | 0.99804 | -0.037102 | 0.0036948 | 0.00092599
26 | 0.99608 | -0.074175 | 0.0038468 | 0.0009641
27 | 0.97847 | -0.41411 | 0 | 0
28 | 0.97918 | -0.40034 | 0.012183 | 0.0030533
29 | 0.98443 | -0.29791 | 0.0050641 | 0.0012692
30 | 0.97547 | -0.4732 | 0.0029276 | 0.00073371
31 | 0.97532 | -0.47603 | 0.012974 | 0.0032515
32 | 0.98351 | -0.31661 | 0.019897 | 0.0049868
33 | 0.98328 | -0.32108 | 0.010441 | 0.0026168
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02181 | 0.0054842 | -0.021769 | -0.005459 | 4.1213e-05 | 2.5127e-05 | 0.033191 | 0.033191 | 0.033191 | 0.97799 | -0.42355 | 0.97597 | -0.46319 | 9.1185
1 | -0.02181 | -0.0054842 | 0.021816 | 0.0054878 | 5.9077e-06 | 3.6014e-06 | 0.033191 | 0.033191 | 0.033191 | 0.97799 | -0.42355 | 0.97828 | -0.41788 | 9.1184
2 | 0.0028764 | 0.00072064 | -0.0028762 | -0.00072085 | 1.8954e-07 | -2.0709e-07 | 0.0043854 | 0.0043855 | 0.0043855 | 0.97597 | -0.46319 | 0.9759 | -0.46457 | 1.2048
3 | 0.018893 | 0.0047384 | -0.018887 | -0.0047351 | 5.493e-06 | 3.295e-06 | 0.028806 | 0.028806 | 0.028806 | 0.97597 | -0.46319 | 0.97566 | -0.46929 | 7.9137
4 | -0.02498 | -0.0062807 | 0.024985 | 0.0062835 | 4.4878e-06 | 2.7681e-06 | 0.038003 | 0.038003 | 0.038003 | 0.97828 | -0.41788 | 0.97847 | -0.41411 | 10.4405
5 | 0.015906 | 0.0039879 | -0.015903 | -0.0039862 | 2.9633e-06 | 1.7288e-06 | 0.024259 | 0.024259 | 0.024259 | 0.97566 | -0.46929 | 0.97547 | -0.4732 | 6.6647
6 | -0.024711 | -0.0061999 | 0.024735 | 0.0062145 | 2.3597e-05 | 1.452e-05 | 0.03722 | 0.03722 | 0.03722 | 0.988 | -0.22916 | 0.98903 | -0.20915 | 10.2253
7 | 0.024711 | 0.0061999 | -0.024693 | -0.0061887 | 1.8292e-05 | 1.1256e-05 | 0.03722 | 0.03722 | 0.03722 | 0.988 | -0.22916 | 0.9872 | -0.2447 | 10.2254
8 | -0.13642 | -0.034611 | 0.13673 | 0.034809 | 0.00030977 | 0.000198 | 0.20539 | 0.20539 | 0.20539 | 0.98903 | -0.20915 | 0.99148 | -0.16205 | 56.427
9 | 0.11168 | 0.028397 | -0.11151 | -0.028288 | 0.00017028 | 0.00010877 | 0.16817 | 0.16817 | 0.16817 | 0.98903 | -0.20915 | 0.98738 | -0.24086 | 46.2018
10 | -0.14409 | -0.036655 | 0.1442 | 0.036721 | 0.00010493 | 6.6844e-05 | 0.21645 | 0.21645 | 0.21645 | 0.99148 | -0.16205 | 0.99227 | -0.14695 | 29.7316
11 | 0.10657 | 0.02705 | -0.10628 | -0.026864 | 0.00029165 | 0.00018627 | 0.16073 | 0.16073 | 0.16073 | 0.98738 | -0.24086 | 0.98443 | -0.29791 | 44.1572
12 | 0.037199 | 0.0093566 | -0.037185 | -0.0093474 | 1.4558e-05 | 9.1642e-06 | 0.056517 | 0.056517 | 0.056517 | 0.97962 | -0.39169 | 0.9792 | -0.39989 | 15.5266
13 | 0.013664 | 0.0034267 | -0.01366 | -0.0034242 | 4.3872e-06 | 2.4661e-06 | 0.020756 | 0.020756 | 0.020756 | 0.97962 | -0.39169 | 0.97927 | -0.39843 | 5.7022
14 | 0.044942 | 0.011283 | -0.04491 | -0.011262 | 3.1997e-05 | 2.0248e-05 | 0.068273 | 0.068273 | 0.068273 | 0.97962 | -0.39169 | 0.97886 | -0.40663 | 18.7564
15 | -0.095805 | -0.024066 | 0.095982 | 0.024179 | 0.00017679 | 0.00011286 | 0.14555 | 0.14555 | 0.14555 | 0.97962 | -0.39169 | 0.98159 | -0.3531 | 39.9851
16 | 0.012183 | 0.0030534 | -0.012183 | -0.0030533 | 2.613e-07 | 1.4166e-07 | 0.018513 | 0.018513 | 0.018513 | 0.9792 | -0.39989 | 0.97918 | -0.40034 | 5.0861
17 | 0.025002 | 0.006294 | -0.024985 | -0.0062835 | 1.6992e-05 | 1.0481e-05 | 0.038003 | 0.038003 | 0.038003 | 0.9792 | -0.39989 | 0.97847 | -0.41411 | 10.4405
18 | 0.01366 | 0.0034242 | -0.013657 | -0.0034227 | 2.6239e-06 | 1.475e-06 | 0.020756 | 0.020756 | 0.020756 | 0.97927 | -0.39843 | 0.97907 | -0.40246 | 5.7022
19 | 0.04491 | 0.011262 | -0.044893 | -0.011251 | 1.7753e-05 | 1.1234e-05 | 0.068273 | 0.068273 | 0.068273 | 0.97886 | -0.40663 | 0.97843 | -0.41492 | 18.7564
20 | -0.10095 | -0.025424 | 0.10122 | 0.025595 | 0.00026716 | 0.0001706 | 0.15308 | 0.15308 | 0.15308 | 0.98159 | -0.3531 | 0.98443 | -0.29791 | 42.0544
21 | -0.061327 | -0.015497 | 0.061452 | 0.015576 | 0.00012471 | 7.9313e-05 | 0.092217 | 0.092217 | 0.092217 | 0.99007 | -0.18928 | 0.99227 | -0.14695 | 25.3343
22 | 0.061327 | 0.015497 | -0.061092 | -0.015347 | 0.00023517 | 0.00014956 | 0.092217 | 0.092217 | 0.092217 | 0.99007 | -0.18928 | 0.98592 | -0.2696 | 25.3344
23 | -0.20565 | -0.052298 | 0.20602 | 0.052534 | 0.00036917 | 0.00023573 | 0.30866 | 0.30866 | 0.30866 | 0.99227 | -0.14695 | 0.99421 | -0.10976 | 42.3987
24 | 0.013738 | 0.0034436 | -0.013737 | -0.0034428 | 1.3877e-06 | 7.7839e-07 | 0.020735 | 0.020735 | 0.020735 | 0.98592 | -0.2696 | 0.98582 | -0.27172 | 5.6964
25 | 0.047354 | 0.011904 | -0.047285 | -0.01186 | 6.9123e-05 | 4.3779e-05 | 0.071482 | 0.071483 | 0.071483 | 0.98592 | -0.2696 | 0.98435 | -0.30022 | 19.6381
26 | -0.2097 | -0.053457 | 0.21006 | 0.053687 | 0.00036092 | 0.00023048 | 0.31418 | 0.31418 | 0.31418 | 0.99421 | -0.10976 | 0.99608 | -0.074175 | 43.156
27 | 0.030364 | 0.0076195 | -0.030341 | -0.0076047 | 2.3722e-05 | 1.4801e-05 | 0.045904 | 0.045904 | 0.045904 | 0.98435 | -0.30022 | 0.98351 | -0.31661 | 12.6111
28 | 0.0036174 | 0.00090644 | -0.0036172 | -0.00090655 | 1.9565e-07 | -1.1101e-07 | 0.0053826 | 0.0053827 | 0.0053827 | 1 | 0 | 0.99994 | -0.0011354 | 1.4788
29 | 0.21838 | 0.056073 | -0.21799 | -0.055823 | 0.00039256 | 0.00025072 | 0.32543 | 0.32543 | 0.32543 | 1 | 0 | 0.99804 | -0.037102 | 44.702
30 | 0.21429 | 0.054897 | -0.21391 | -0.054651 | 0.0003842 | 0.00024537 | 0.31992 | 0.31992 | 0.31992 | 0.99804 | -0.037102 | 0.99608 | -0.074175 | 43.9454
31 | 0.012975 | 0.0032525 | -0.012974 | -0.0032515 | 1.7485e-06 | 9.7052e-07 | 0.019794 | 0.019794 | 0.019794 | 0.97547 | -0.4732 | 0.97532 | -0.47603 | 5.4378
32 | 0.010443 | 0.0026179 | -0.010441 | -0.0026168 | 2.2212e-06 | 1.1205e-06 | 0.0158 | 0.015801 | 0.015801 | 0.98351 | -0.31661 | 0.98328 | -0.32108 | 4.3408

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22769 | 0.057992

## res_load
| p_mw | q_mvar
0 | 0.003164 | 0.00079298
1 | 0.0028762 | 0.00072085
2 | 0.0029812 | 0.00074716
3 | 0.024693 | 0.0061887
4 | 0.0073641 | 0.0018456
5 | 0.0049385 | 0.0012377
6 | 0.0049688 | 0.0012453
7 | 0.013657 | 0.0034227
8 | 0.0036838 | 0.00092325
9 | 0.044893 | 0.011251
10 | 0.013737 | 0.0034428
11 | 0.01692 | 0.0042407
12 | 0.0040397 | 0.0010125
13 | 0.0036172 | 0.00090655
14 | 0.0036948 | 0.00092599
15 | 0.0038468 | 0.0009641
16 | 0.012183 | 0.0030533
17 | 0.0050641 | 0.0012692
18 | 0.0029276 | 0.00073371
19 | 0.012974 | 0.0032515
20 | 0.019897 | 0.0049868
21 | 0.010441 | 0.0026168

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1