## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-237_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-237_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-237_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-237_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-237_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-237_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-237_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1061-237_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1061-237_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1061-237_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1061-237_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-237_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1061-237_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1061-237_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1061-237_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_1061-237_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-237_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1061-237_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1061-237_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1061-237_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1061-237_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1061-237_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1061-237_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1061-237_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1061-237_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1061-237_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_MV_211_1_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-237_0_3_load_0 | 0 | 0.026774 | 0.0067101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-237_0_3_load_4 | 4 | 0.010388 | 0.0026034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-237_0_3_load_7 | 6 | 0.09529 | 0.023882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-237_0_3_load_19 | 7 | 0.0037958 | 0.00095132 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-237_0_3_load_24 | 9 | 0.068324 | 0.017124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-237_0_3_load_20 | 11 | 0.019802 | 0.0049629 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-237_0_3_load_26 | 13 | 0.071581 | 0.01794 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-237_0_3_load_25 | 14 | 0.080311 | 0.020128 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-237_0_3_load_16 | 16 | 0.0084381 | 0.0021148 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-237_0_3_load_14 | 17 | 0.013281 | 0.0033284 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-237_0_3_load_21 | 20 | 0.0033619 | 0.00084257 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-237_0_3_load_18 | 22 | 0.013615 | 0.0034122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-237_0_3_load_15 | 23 | 0.013352 | 0.0033464 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-237_0_3_load_13 | 25 | 0.013025 | 0.0032643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-237_0_3_line_0 |  | 0 | 1 | 0.025351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-237_0_3_line_1 |  | 0 | 2 | 0.06435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-237_0_3_line_2 |  | 1 | 3 | 0.05058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-237_0_3_line_3 |  | 2 | 4 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-237_0_3_line_4 |  | 3 | 5 | 0.042535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1061-237_0_3_line_5 |  | 3 | 6 | 0.006064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1061-237_0_3_line_6 |  | 4 | 7 | 0.00080432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-237_0_3_line_7 |  | 5 | 8 | 0.019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1061-237_0_3_line_8 |  | 5 | 9 | 0.006612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1061-237_0_3_line_9 |  | 6 | 12 | 0.03123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-237_0_3_line_10 |  | 7 | 10 | 0.0073106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-237_0_3_line_11 |  | 8 | 13 | 0.007098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-237_0_3_line_12 |  | 8 | 14 | 0.0084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-237_0_3_line_13 |  | 10 | 11 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-237_0_3_line_14 |  | 12 | 15 | 0.079521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-237_0_3_line_15 |  | 15 | 16 | 0.035903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-237_0_3_line_16 |  | 15 | 17 | 0.02663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-237_0_3_line_17 |  | 16 | 24 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-237_0_3_line_18 |  | 17 | 25 | 0.00018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-237_0_3_line_19 |  | 18 | 19 | 0.10419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-237_0_3_line_20 |  | 18 | 20 | 0.026537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-237_0_3_line_21 |  | 19 | 24 | 0.053202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-237_0_3_line_22 |  | 21 | 22 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-237_0_3_line_23 |  | 21 | 23 | 0.0034993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-237_0_3_line_24 |  | 23 | 25 | 0.016931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-237_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 26 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2668915.9555 | 1211998.9375 | 2668899.1504 | 1212017.9175
1 | 2668848.2219 | 1212026.7729 | 2668858.5116 | 1212027.292 | 2668871.3535 | 1212035.7677 | 2668879.6791 | 1212039.8997 | 2668894.3912 | 1212023.2926 | 2668899.1504 | 1212017.9175
2 | 2668889.7779 | 1211955.6527 | 2668906.8418 | 1211985.4127 | 2668915.9555 | 1211998.9375
3 | 2668848.2219 | 1212026.7729 | 2668848.0093 | 1212012.2691
4 | 2668889.7779 | 1211955.6527 | 2668858.521 | 1211954.758 | 2668856.9303 | 1211951.6933 | 2668850.2603 | 1211947.6249
5 | 2668889.7779 | 1211955.6527 | 2668886.5669 | 1211950.5085
6 | 2668847.9975 | 1212011.4648 | 2668848.0093 | 1212012.2691
7 | 2668850.2603 | 1211947.6249 | 2668848.4267 | 1211946.5142 | 2668832.7781 | 1211942.8758 | 2668830.961 | 1211942.966
8 | 2668854.34 | 1211942.4132 | 2668850.2603 | 1211947.6249
9 | 2668870.0304 | 1211924.0161 | 2668886.5669 | 1211950.5085
10 | 2668847.8904 | 1212004.155 | 2668847.9975 | 1212011.4648
11 | 2668829.8947 | 1211935.9493 | 2668830.961 | 1211942.966
12 | 2668822.8176 | 1211940.8152 | 2668830.961 | 1211942.966
13 | 2668847.8904 | 1212004.155 | 2668858.1157 | 1212004.3286 | 2668859.0705 | 1212002.4099
14 | 2668853.6527 | 1211855.8513 | 2668859.4477 | 1211874.5076 | 2668860.162 | 1211883.0545 | 2668866.381 | 1211901.838 | 2668868.2313 | 1211907.4184 | 2668860.6968 | 1211908.4654 | 2668870.0304 | 1211924.0161
15 | 2668853.6527 | 1211855.8513 | 2668856.4996 | 1211856.7292 | 2668859.2607 | 1211855.8271 | 2668867.0907 | 1211853.5383 | 2668876.8321 | 1211852.2166 | 2668888.8632 | 1211850.6656
16 | 2668853.6527 | 1211855.8513 | 2668853.9202 | 1211859.6679 | 2668852.7445 | 1211860.1435 | 2668838.2937 | 1211863.301 | 2668836.7235 | 1211863.7276 | 2668831.789 | 1211865.08
17 | 2668888.8632 | 1211850.6656 | 2668894.6183 | 1211839.225
18 | 2668831.6152 | 1211865.1276 | 2668831.789 | 1211865.08
19 | 2668890.7783 | 1211787.504 | 2668893.9949 | 1211787.9525 | 2668897.5564 | 1211788.8053 | 2668902.2844 | 1211789.9717 | 2668911.3253 | 1211792.0663 | 2668914.0212 | 1211792.2086 | 2668915.4819 | 1211792.0476 | 2668916.4926 | 1211790.7251 | 2668917.3463 | 1211787.8665 | 2668917.6352 | 1211786.5357 | 2668922.7729 | 1211787.7625 | 2668931.1743 | 1211789.9609 | 2668945.5325 | 1211793.5179 | 2668955.6833 | 1211796.2258 | 2668955.3889 | 1211797.3675 | 2668953.771 | 1211803.8862 | 2668949.2993 | 1211820.645 | 2668947.3037 | 1211826.9703 | 2668946.7594 | 1211828.6984
20 | 2668890.7783 | 1211787.504 | 2668889.9881 | 1211784.871 | 2668887.4921 | 1211783.2078 | 2668882.3107 | 1211781.1689 | 2668878.7479 | 1211780.4273 | 2668871.1035 | 1211778.4712 | 2668870.0198 | 1211780.8491 | 2668869.0328 | 1211780.4167
21 | 2668894.6183 | 1211839.225 | 2668910.2478 | 1211835.9923 | 2668927.9268 | 1211832.2831 | 2668930.2119 | 1211831.8092 | 2668943.647 | 1211829.0961 | 2668946.7594 | 1211828.6984
22 | 2668816.8488 | 1211883.2327 | 2668811.9866 | 1211870.6465
23 | 2668811.9866 | 1211870.6465 | 2668815.2313 | 1211869.3363
24 | 2668831.6152 | 1211865.1276 | 2668825.7851 | 1211866.7255 | 2668823.6737 | 1211867.3015 | 2668816.2159 | 1211868.9387 | 2668815.2313 | 1211869.3363

## bus_geodata
| x | y | coords
0 | 2668899.1504 | 1212017.9175
1 | 2668915.9555 | 1211998.9375
2 | 2668848.2219 | 1212026.7729
3 | 2668889.7779 | 1211955.6527
4 | 2668848.0093 | 1212012.2691
5 | 2668850.2603 | 1211947.6249
6 | 2668886.5669 | 1211950.5085
7 | 2668847.9975 | 1212011.4648
8 | 2668830.961 | 1211942.966
9 | 2668854.34 | 1211942.4132
10 | 2668847.8904 | 1212004.155
11 | 2668859.0705 | 1212002.4099
12 | 2668870.0304 | 1211924.0161
13 | 2668829.8947 | 1211935.9493
14 | 2668822.8176 | 1211940.8152
15 | 2668853.6527 | 1211855.8513
16 | 2668888.8632 | 1211850.6656
17 | 2668831.789 | 1211865.08
18 | 2668890.7783 | 1211787.504
19 | 2668946.7594 | 1211828.6984
20 | 2668869.0328 | 1211780.4167
21 | 2668811.9866 | 1211870.6465
22 | 2668816.8488 | 1211883.2327
23 | 2668815.2313 | 1211869.3363
24 | 2668894.6183 | 1211839.225
25 | 2668831.6152 | 1211865.1276
26 | 2668850.2603 | 1211947.6249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99071 | -0.17838 | 0.026774 | 0.0067101
1 | 0.99212 | -0.15106 | 0 | 0
2 | 0.98871 | -0.21729 | 0 | 0
3 | 0.99494 | -0.096793 | 0 | 0
4 | 0.98825 | -0.22609 | 0.010388 | 0.0026034
5 | 0.99925 | -0.014341 | 0 | 0
6 | 0.9945 | -0.10536 | 0.09529 | 0.023882
7 | 0.98824 | -0.22643 | 0.0037958 | 0.00095132
8 | 0.99787 | -0.040857 | 0 | 0
9 | 1 | 0 | -0.37694 | -0.094934
10 | 0.9881 | -0.22901 | 0 | 0
11 | 0.98788 | -0.23338 | 0.019802 | 0.0049629
12 | 0.99263 | -0.14125 | 0 | 0
13 | 0.99741 | -0.049754 | 0.071581 | 0.01794
14 | 0.99726 | -0.052672 | 0.080311 | 0.020128
15 | 0.98787 | -0.23324 | 0 | 0
16 | 0.98748 | -0.24081 | 0.0084381 | 0.0021148
17 | 0.98657 | -0.25861 | 0.013281 | 0.0033284
18 | 0.98696 | -0.25106 | 0 | 0
19 | 0.98728 | -0.24479 | 0 | 0
20 | 0.98688 | -0.25265 | 0.0033619 | 0.00084257
21 | 0.9861 | -0.26777 | 0 | 0
22 | 0.98593 | -0.27106 | 0.013615 | 0.0034122
23 | 0.98614 | -0.26692 | 0.013352 | 0.0033464
24 | 0.98744 | -0.24158 | 0 | 0
25 | 0.98656 | -0.25874 | 0.013025 | 0.0032643
26 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.060844 | -0.01528 | 0.060923 | 0.015331 | 7.941e-05 | 5.0496e-05 | 0.091396 | 0.091396 | 0.091396 | 0.99071 | -0.17838 | 0.99212 | -0.15106 | 25.1089
1 | 0.03407 | 0.0085704 | -0.034007 | -0.0085307 | 6.3218e-05 | 3.9632e-05 | 0.051183 | 0.051184 | 0.051184 | 0.99071 | -0.17838 | 0.98871 | -0.21729 | 14.0614
2 | -0.060923 | -0.015331 | 0.061082 | 0.015432 | 0.00015844 | 0.00010075 | 0.091396 | 0.091396 | 0.091396 | 0.99212 | -0.15106 | 0.99494 | -0.096793 | 25.1089
3 | 0.034007 | 0.0085307 | -0.033993 | -0.0085218 | 1.425e-05 | 8.9342e-06 | 0.051184 | 0.051184 | 0.051184 | 0.98871 | -0.21729 | 0.98825 | -0.22609 | 14.0614
4 | -0.22199 | -0.055969 | 0.22287 | 0.056531 | 0.00087975 | 0.00056193 | 0.33213 | 0.33213 | 0.33213 | 0.99494 | -0.096793 | 0.99925 | -0.014341 | 45.6219
5 | 0.16091 | 0.040537 | -0.16085 | -0.040495 | 6.5891e-05 | 4.2013e-05 | 0.24073 | 0.24073 | 0.24073 | 0.99494 | -0.096793 | 0.9945 | -0.10536 | 33.0675
6 | 0.023605 | 0.0059184 | -0.023605 | -0.0059182 | 3.8104e-07 | 2.3356e-07 | 0.035543 | 0.035543 | 0.035543 | 0.98825 | -0.22609 | 0.98824 | -0.22643 | 9.7645
7 | 0.15216 | 0.038238 | -0.15197 | -0.038116 | 0.00019234 | 0.00012258 | 0.22662 | 0.22662 | 0.22662 | 0.99925 | -0.014341 | 0.99787 | -0.040857 | 31.1296
8 | -0.37503 | -0.094769 | 0.37529 | 0.094934 | 0.00025803 | 0.00016488 | 0.55875 | 0.55875 | 0.55875 | 0.99925 | -0.014341 | 1 | 0 | 51.1676
9 | 0.065557 | 0.016613 | -0.065444 | -0.016542 | 0.00011283 | 7.1806e-05 | 0.098154 | 0.098154 | 0.098154 | 0.9945 | -0.10536 | 0.99263 | -0.14125 | 26.9655
10 | 0.019809 | 0.0049668 | -0.019806 | -0.0049654 | 2.439e-06 | 1.4673e-06 | 0.029827 | 0.029827 | 0.029827 | 0.98824 | -0.22643 | 0.9881 | -0.22901 | 8.1943
11 | 0.071611 | 0.017959 | -0.071581 | -0.01794 | 3.0355e-05 | 1.9335e-05 | 0.10679 | 0.10679 | 0.10679 | 0.99787 | -0.040857 | 0.99741 | -0.049754 | 29.3381
12 | 0.080356 | 0.020157 | -0.080311 | -0.020128 | 4.5234e-05 | 2.884e-05 | 0.11983 | 0.11983 | 0.11983 | 0.99787 | -0.040857 | 0.99726 | -0.052672 | 32.9211
13 | 0.019806 | 0.0049654 | -0.019802 | -0.0049629 | 4.127e-06 | 2.4828e-06 | 0.029827 | 0.029827 | 0.029827 | 0.9881 | -0.22901 | 0.98788 | -0.23338 | 8.1944
14 | 0.065444 | 0.016542 | -0.065157 | -0.016359 | 0.0002873 | 0.00018285 | 0.098154 | 0.098155 | 0.098155 | 0.99263 | -0.14125 | 0.98787 | -0.23324 | 26.9656
15 | 0.011806 | 0.0029583 | -0.011802 | -0.0029561 | 4.2578e-06 | 2.2655e-06 | 0.017783 | 0.017783 | 0.017783 | 0.98787 | -0.23324 | 0.98748 | -0.24081 | 4.8855
16 | 0.05335 | 0.0134 | -0.053286 | -0.01336 | 6.4506e-05 | 4.0943e-05 | 0.080372 | 0.080372 | 0.080372 | 0.98787 | -0.23324 | 0.98657 | -0.25861 | 22.0801
17 | 0.0033638 | 0.00084127 | -0.0033637 | -0.00084136 | 1.2331e-07 | -8.4839e-08 | 0.0050682 | 0.0050683 | 0.0050683 | 0.98748 | -0.24081 | 0.98744 | -0.24158 | 1.3924
18 | 0.040005 | 0.010031 | -0.040005 | -0.010031 | 2.4606e-07 | 1.5518e-07 | 0.060341 | 0.060341 | 0.060341 | 0.98657 | -0.25861 | 0.98656 | -0.25874 | 16.5772
19 | -0.0033622 | -0.0008424 | 0.0033632 | 0.00084171 | 1.0038e-06 | -6.8945e-07 | 0.005069 | 0.0050685 | 0.005069 | 0.98696 | -0.25106 | 0.98728 | -0.24479 | 1.3926
20 | 0.0033622 | 0.0008424 | -0.0033619 | -0.00084257 | 2.557e-07 | -1.7545e-07 | 0.005069 | 0.0050691 | 0.0050691 | 0.98696 | -0.25106 | 0.98688 | -0.25265 | 1.3926
21 | -0.0033632 | -0.00084171 | 0.0033637 | 0.00084136 | 5.1251e-07 | -3.5244e-07 | 0.0050685 | 0.0050683 | 0.0050685 | 0.98728 | -0.24479 | 0.98744 | -0.24158 | 1.3924
22 | 0.013617 | 0.0034134 | -0.013615 | -0.0034122 | 2.1359e-06 | 1.1949e-06 | 0.020548 | 0.020548 | 0.020548 | 0.9861 | -0.26777 | 0.98593 | -0.27106 | 5.6451
23 | -0.013617 | -0.0034134 | 0.013617 | 0.0034137 | 5.5405e-07 | 3.0995e-07 | 0.020548 | 0.020548 | 0.020548 | 0.9861 | -0.26777 | 0.98614 | -0.26692 | 5.6451
24 | -0.02697 | -0.0067601 | 0.02698 | 0.0067666 | 1.0515e-05 | 6.5135e-06 | 0.040696 | 0.040696 | 0.040696 | 0.98614 | -0.26692 | 0.98656 | -0.25874 | 11.1802

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44527 | 0.11206

## res_load
| p_mw | q_mvar
0 | 0.026774 | 0.0067101
1 | 0.010388 | 0.0026034
2 | 0.09529 | 0.023882
3 | 0.0037958 | 0.00095132
4 | 0.068324 | 0.017124
5 | 0.019802 | 0.0049629
6 | 0.071581 | 0.01794
7 | 0.080311 | 0.020128
8 | 0.0084381 | 0.0021148
9 | 0.013281 | 0.0033284
10 | 0.0033619 | 0.00084257
11 | 0.013615 | 0.0034122
12 | 0.013352 | 0.0033464
13 | 0.013025 | 0.0032643

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1