## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-247_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-247_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-247_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-247_0_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_1061-247_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1061-247_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1061-247_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-247_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-247_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1061-247_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1061-247_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1061-247_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1061-247_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1061-247_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1061-247_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1061-247_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1061-247_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1061-247_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1061-247_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1061-247_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1061-247_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1061-247_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1061-247_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1061-247_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1061-247_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1061-247_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1061-247_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1061-247_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1061-247_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1061-247_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_MV_211_1_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-247_0_3_load_0 | 0 | 0.033602 | 0.0084214 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-247_0_3_load_1 | 1 | 0.033122 | 0.0083011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-247_0_3_load_17 | 4 | 0.012142 | 0.003043 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-247_0_3_load_13 | 5 | 0.0066044 | 0.0016552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-247_0_3_load_4 | 6 | 0.0028449 | 0.00071301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-247_0_3_load_5 | 7 | 0.002939 | 0.00073659 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-247_0_3_load_6 | 8 | 0.0028437 | 0.00071269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-247_0_3_load_7 | 9 | 0.0029434 | 0.00073769 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-247_0_3_load_8 | 10 | 0.0028437 | 0.00071269 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-247_0_3_load_14 | 11 | 0.0029431 | 0.00073761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-247_0_3_load_15 | 12 | 0.018552 | 0.0046495 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-247_0_3_load_18 | 13 | 0.0027911 | 0.00069952 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-247_0_3_load_9 | 14 | 0.0065968 | 0.0016533 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-247_0_3_load_10 | 15 | 0.0066019 | 0.0016546 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-247_0_3_load_11 | 16 | 0.0702 | 0.017594 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-247_0_3_load_12 | 17 | 0.0066019 | 0.0016546 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-247_0_3_load_25 | 18 | 0.01436 | 0.0035991 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-247_0_3_load_26 | 19 | 0.010396 | 0.0026055 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-247_0_3_load_21 | 20 | 0.0028307 | 0.00070945 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-247_0_3_load_23 | 21 | 0.012147 | 0.0030442 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-247_0_3_load_19 | 23 | 0.0028488 | 0.00071397 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-247_0_3_load_20 | 24 | 0.0029881 | 0.00074889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-247_0_3_load_22 | 25 | 0.0027933 | 0.00070007 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-247_0_3_load_29 | 26 | 0.0027961 | 0.00070078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-247_0_3_load_30 | 29 | 0.0090305 | 0.0022633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-247_0_3_line_0 |  | 0 | 1 | 0.021026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-247_0_3_line_1 |  | 1 | 2 | 0.11552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-247_0_3_line_2 |  | 2 | 3 | 0.10317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-247_0_3_line_3 |  | 3 | 4 | 0.06852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1061-247_0_3_line_4 |  | 3 | 5 | 0.04958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1061-247_0_3_line_5 |  | 4 | 21 | 0.00077085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1061-247_0_3_line_6 |  | 5 | 16 | 0.003529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1061-247_0_3_line_7 |  | 6 | 7 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-247_0_3_line_8 |  | 6 | 8 | 0.0063505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-247_0_3_line_9 |  | 7 | 9 | 0.0065762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-247_0_3_line_10 |  | 8 | 10 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-247_0_3_line_11 |  | 9 | 11 | 0.0065814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-247_0_3_line_12 |  | 10 | 12 | 0.027113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-247_0_3_line_13 |  | 11 | 13 | 0.0064174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-247_0_3_line_14 |  | 13 | 20 | 0.03724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-247_0_3_line_15 |  | 14 | 15 | 0.021658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-247_0_3_line_16 |  | 14 | 16 | 0.0034717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-247_0_3_line_17 |  | 15 | 17 | 0.053856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-247_0_3_line_18 |  | 17 | 18 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-247_0_3_line_19 |  | 18 | 19 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-247_0_3_line_20 |  | 20 | 23 | 5.7464e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-247_0_3_line_21 |  | 21 | 22 | 0.17197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1061-247_0_3_line_22 |  | 22 | 28 | 0.002645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-247_0_3_line_23 |  | 22 | 27 | 0.07229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-247_0_3_line_24 |  | 23 | 24 | 0.0037438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-247_0_3_line_25 |  | 24 | 25 | 0.00030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-247_0_3_line_26 |  | 25 | 26 | 4.7311e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-247_0_3_line_27 |  | 26 | 27 | 0.15969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-247_0_3_line_28 |  | 28 | 29 | 0.031784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-247_0_3_trafo_11 | 0.63 MVA 20/0.4 kV | 30 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2669651.0004 | 1212047.7984 | 2669667.9314 | 1212060.2662
1 | 2669747.7587 | 1212134.7102 | 2669748.0171 | 1212117.8138 | 2669715.4849 | 1212094.7969 | 2669680.11 | 1212069.2344 | 2669667.9314 | 1212060.2662
2 | 2669747.7587 | 1212134.7102 | 2669763.1637 | 1212122.7161 | 2669771.31 | 1212116.1295 | 2669780.9842 | 1212102.3562 | 2669788.3487 | 1212087.9111 | 2669790.4256 | 1212072.7593 | 2669788.4053 | 1212061.0061 | 2669776.7227 | 1212055.5105
3 | 2669776.7227 | 1212055.5105 | 2669772.1735 | 1212053.3782 | 2669746.1727 | 1212044.2462 | 2669713.6009 | 1212029.0594
4 | 2669776.7227 | 1212055.5105 | 2669781.189 | 1212032.2593 | 2669781.4922 | 1212006.3578
5 | 2669713.6009 | 1212029.0594 | 2669712.9022 | 1212028.7337
6 | 2669783.3802 | 1212003.3763 | 2669781.4922 | 1212006.3578 | 2669781.4922 | 1212006.3578
7 | 2669780.8543 | 1211868.7464 | 2669785.8308 | 1211859.5318
8 | 2669777.8365 | 1211874.334 | 2669780.8543 | 1211868.7464
9 | 2669785.8308 | 1211859.5318 | 2669788.9559 | 1211853.7455
10 | 2669777.8365 | 1211874.334 | 2669772.4731 | 1211884.2649 | 2669766.0928 | 1211886.4588
11 | 2669792.0833 | 1211847.9547 | 2669788.9559 | 1211853.7455
12 | 2669740.4535 | 1211895.2752 | 2669766.0928 | 1211886.4588
13 | 2669792.0833 | 1211847.9547 | 2669795.1329 | 1211842.3081
14 | 2669791.1628 | 1211816.0913 | 2669805.2491 | 1211823.577 | 2669795.1329 | 1211842.3081
15 | 2669796.8463 | 1211982.1598 | 2669795.0087 | 1211985.0136 | 2669785.2377 | 1212000.4432
16 | 2669783.3802 | 1212003.3763 | 2669785.2377 | 1212000.4432
17 | 2669803.9146 | 1211933.0298 | 2669803.9146 | 1211933.0298 | 2669810.8308 | 1211956.2585 | 2669807.6852 | 1211965.3274 | 2669796.8463 | 1211982.1598
18 | 2669809.1199 | 1211922.0743 | 2669803.9146 | 1211933.0298
19 | 2669809.1199 | 1211922.0743 | 2669816.9153 | 1211905.6673
20 | 2669791.1628 | 1211816.0913 | 2669791.1121 | 1211816.0643
21 | 2669671.6284 | 1211870.4112 | 2669673.5271 | 1211873.0906 | 2669672.3433 | 1211906.1196 | 2669671.3906 | 1211940.1853 | 2669692.0482 | 1212007.3574 | 2669701.1929 | 1212023.2742 | 2669712.9022 | 1212028.7337
22 | 2669671.6284 | 1211870.4112 | 2669670.1036 | 1211868.2476
23 | 2669671.6284 | 1211870.4112 | 2669677.2548 | 1211857.1019 | 2669684.1864 | 1211840.6948 | 2669685.6785 | 1211837.2101 | 2669690.4519 | 1211835.7761 | 2669693.2952 | 1211828.5047 | 2669699.6161 | 1211812.3462 | 2669701.2206 | 1211809.6411 | 2669703.4618 | 1211807.7216
24 | 2669787.8061 | 1211814.3075 | 2669791.1121 | 1211816.0643
25 | 2669787.8061 | 1211814.3075 | 2669787.5393 | 1211814.1657
26 | 2669787.5393 | 1211814.1657 | 2669787.4976 | 1211814.1435
27 | 2669703.4618 | 1211807.7216 | 2669705.1998 | 1211809.8544 | 2669705.094 | 1211847.4989 | 2669712.7563 | 1211852.447 | 2669722.3587 | 1211849.3795 | 2669746.9228 | 1211801.47 | 2669754.6986 | 1211796.7135 | 2669787.4976 | 1211814.1435
28 | 2669670.1036 | 1211868.2476 | 2669656.8071 | 1211897.1172

## bus_geodata
| x | y | coords
0 | 2669651.0004 | 1212047.7984
1 | 2669667.9314 | 1212060.2662
2 | 2669747.7587 | 1212134.7102
3 | 2669776.7227 | 1212055.5105
4 | 2669713.6009 | 1212029.0594
5 | 2669781.4922 | 1212006.3578
6 | 2669780.8543 | 1211868.7464
7 | 2669785.8308 | 1211859.5318
8 | 2669777.8365 | 1211874.334
9 | 2669788.9559 | 1211853.7455
10 | 2669766.0928 | 1211886.4588
11 | 2669792.0833 | 1211847.9547
12 | 2669740.4535 | 1211895.2752
13 | 2669795.1329 | 1211842.3081
14 | 2669785.2377 | 1212000.4432
15 | 2669796.8464 | 1211982.1598
16 | 2669783.3802 | 1212003.3763
17 | 2669803.9146 | 1211933.0298
18 | 2669809.1199 | 1211922.0743
19 | 2669816.9153 | 1211905.6673
20 | 2669791.1628 | 1211816.0913
21 | 2669712.9022 | 1212028.7337
22 | 2669671.6284 | 1211870.4112
23 | 2669791.1121 | 1211816.0643
24 | 2669787.8061 | 1211814.3075
25 | 2669787.5393 | 1211814.1657
26 | 2669787.4976 | 1211814.1435
27 | 2669703.4618 | 1211807.7216
28 | 2669670.1036 | 1211868.2476
29 | 2669656.8071 | 1211897.1172
30 | 2669776.7227 | 1212055.5105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9821 | -0.34385 | 0.033602 | 0.0084214
1 | 0.98276 | -0.33109 | 0.033122 | 0.0083011
2 | 0.98987 | -0.19299 | 0 | 0
3 | 0.99623 | -0.071302 | 0 | 0
4 | 0.9935 | -0.12337 | 0.012142 | 0.003043
5 | 0.99974 | -0.0049111 | 0.0066044 | 0.0016552
6 | 0.97471 | -0.48699 | 0.0028449 | 0.00071301
7 | 0.97497 | -0.48178 | 0.002939 | 0.00073659
8 | 0.97457 | -0.48981 | 0.0028437 | 0.00071269
9 | 0.97516 | -0.47816 | 0.0029434 | 0.00073769
10 | 0.97421 | -0.49689 | 0.0028437 | 0.00071269
11 | 0.97536 | -0.47419 | 0.0029431 | 0.00073761
12 | 0.97374 | -0.50614 | 0.018552 | 0.0046495
13 | 0.97557 | -0.46997 | 0.0027911 | 0.00069952
14 | 0.99986 | -0.0026968 | 0.0065968 | 0.0016533
15 | 0.99911 | -0.017042 | 0.0066019 | 0.0016546
16 | 1 | 0 | -0.20847 | -0.052853
17 | 0.99758 | -0.046577 | 0.0066019 | 0.0016546
18 | 0.9973 | -0.051838 | 0.01436 | 0.0035991
19 | 0.99713 | -0.055147 | 0.010396 | 0.0026055
20 | 0.97691 | -0.44361 | 0.0028307 | 0.00070945
21 | 0.99347 | -0.12387 | 0.012147 | 0.0030442
22 | 0.98852 | -0.2185 | 0 | 0
23 | 0.97692 | -0.44356 | 0.0028488 | 0.00071397
24 | 0.97707 | -0.44053 | 0.0029881 | 0.00074889
25 | 0.97708 | -0.44027 | 0.0027933 | 0.00070007
26 | 0.97709 | -0.44022 | 0.0027961 | 0.00070078
27 | 0.98495 | -0.28704 | 0 | 0
28 | 0.9885 | -0.21892 | 0 | 0
29 | 0.98823 | -0.22404 | 0.0090305 | 0.0022633
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033602 | -0.0084214 | 0.033622 | 0.0084342 | 2.0437e-05 | 1.2813e-05 | 0.050911 | 0.050911 | 0.050911 | 0.9821 | -0.34385 | 0.98276 | -0.33109 | 13.9865
1 | -0.066744 | -0.016735 | 0.067186 | 0.017017 | 0.00044244 | 0.00028169 | 0.10106 | 0.10106 | 0.10106 | 0.98276 | -0.33109 | 0.98987 | -0.19299 | 27.7641
2 | -0.067186 | -0.017017 | 0.067582 | 0.017269 | 0.00039516 | 0.00025157 | 0.10106 | 0.10106 | 0.10106 | 0.98987 | -0.19299 | 0.99623 | -0.071302 | 27.764
3 | 0.087456 | 0.022367 | -0.087237 | -0.022228 | 0.00021976 | 0.00013887 | 0.13079 | 0.13079 | 0.13079 | 0.99623 | -0.071302 | 0.9935 | -0.12337 | 17.9655
4 | -0.15504 | -0.039635 | 0.15554 | 0.039954 | 0.0004997 | 0.00031851 | 0.23185 | 0.23185 | 0.23185 | 0.99623 | -0.071302 | 0.99974 | -0.0049111 | 31.8473
5 | 0.075095 | 0.019185 | -0.075093 | -0.019184 | 1.8326e-06 | 1.1529e-06 | 0.1126 | 0.1126 | 0.1126 | 0.9935 | -0.12337 | 0.99347 | -0.12387 | 15.4675
6 | -0.16214 | -0.041609 | 0.16218 | 0.041634 | 3.8648e-05 | 2.4642e-05 | 0.24168 | 0.24168 | 0.24168 | 0.99974 | -0.0049111 | 1 | 0 | 33.1975
7 | -0.027103 | -0.0067992 | 0.02711 | 0.0068034 | 6.724e-06 | 4.1728e-06 | 0.041378 | 0.041378 | 0.041378 | 0.97471 | -0.48699 | 0.97497 | -0.48178 | 11.3677
8 | 0.024258 | 0.0060862 | -0.024255 | -0.0060842 | 3.2664e-06 | 2.0113e-06 | 0.037035 | 0.037035 | 0.037035 | 0.97471 | -0.48699 | 0.97457 | -0.48981 | 10.1745
9 | -0.030049 | -0.00754 | 0.030054 | 0.0075432 | 5.1874e-06 | 3.2379e-06 | 0.045864 | 0.045864 | 0.045864 | 0.97497 | -0.48178 | 0.97516 | -0.47816 | 12.5999
10 | 0.021411 | 0.0053715 | -0.021404 | -0.0053671 | 7.2282e-06 | 4.4014e-06 | 0.032693 | 0.032693 | 0.032693 | 0.97457 | -0.48981 | 0.97421 | -0.49689 | 8.9817
11 | -0.032997 | -0.0082809 | 0.033003 | 0.0082849 | 6.258e-06 | 3.923e-06 | 0.050355 | 0.050355 | 0.050355 | 0.97516 | -0.47816 | 0.97536 | -0.47419 | 13.8339
12 | 0.01856 | 0.0046544 | -0.018552 | -0.0046495 | 8.1717e-06 | 4.8924e-06 | 0.02835 | 0.02835 | 0.02835 | 0.97421 | -0.49689 | 0.97374 | -0.50614 | 7.7885
13 | -0.035947 | -0.0090225 | 0.035954 | 0.009027 | 7.2388e-06 | 4.5527e-06 | 0.054845 | 0.054845 | 0.054845 | 0.97536 | -0.47419 | 0.97557 | -0.46997 | 15.0674
14 | -0.038745 | -0.0097265 | 0.038794 | 0.0097573 | 4.8781e-05 | 3.0754e-05 | 0.059102 | 0.059102 | 0.059102 | 0.97557 | -0.46997 | 0.97691 | -0.44361 | 16.2369
15 | 0.038039 | 0.0095624 | -0.038012 | -0.009546 | 2.6036e-05 | 1.6379e-05 | 0.05662 | 0.05662 | 0.05662 | 0.99986 | -0.0026968 | 0.99911 | -0.017042 | 15.555
16 | -0.044635 | -0.011216 | 0.044641 | 0.011219 | 5.7465e-06 | 3.6322e-06 | 0.066438 | 0.066438 | 0.066438 | 0.99986 | -0.0026968 | 1 | 0 | 18.2521
17 | 0.031411 | 0.0078914 | -0.031366 | -0.0078638 | 4.4211e-05 | 2.7591e-05 | 0.046788 | 0.046788 | 0.046788 | 0.99911 | -0.017042 | 0.99758 | -0.046577 | 12.8539
18 | 0.024765 | 0.0062092 | -0.024758 | -0.0062054 | 6.2068e-06 | 3.814e-06 | 0.03694 | 0.036941 | 0.036941 | 0.99758 | -0.046577 | 0.9973 | -0.051838 | 10.1485
19 | 0.010398 | 0.0026064 | -0.010396 | -0.0026055 | 1.6395e-06 | 8.1232e-07 | 0.015514 | 0.015514 | 0.015514 | 0.9973 | -0.051838 | 0.99713 | -0.055147 | 4.2622
20 | -0.041624 | -0.010467 | 0.041624 | 0.010467 | 8.6654e-08 | 5.474e-08 | 0.063414 | 0.063414 | 0.063414 | 0.97691 | -0.44361 | 0.97692 | -0.44356 | 17.4214
21 | 0.062946 | 0.01614 | -0.062659 | -0.01596 | 0.0002874 | 0.00017951 | 0.094411 | 0.094412 | 0.094412 | 0.99347 | -0.12387 | 0.98852 | -0.2185 | 12.9687
22 | 0.0090329 | 0.0022643 | -0.0090327 | -0.0022643 | 1.8339e-07 | 8.346e-08 | 0.013597 | 0.013597 | 0.013597 | 0.98852 | -0.2185 | 0.9885 | -0.21892 | 3.7356
23 | 0.053626 | 0.013696 | -0.053449 | -0.013583 | 0.00017705 | 0.00011239 | 0.080815 | 0.080815 | 0.080815 | 0.98852 | -0.2185 | 0.98495 | -0.28704 | 22.202
24 | -0.044473 | -0.011181 | 0.04448 | 0.011185 | 6.4447e-06 | 4.0777e-06 | 0.067753 | 0.067753 | 0.067753 | 0.97692 | -0.44356 | 0.97707 | -0.44053 | 18.6135
25 | -0.047468 | -0.011934 | 0.047468 | 0.011934 | 5.9228e-07 | 3.7527e-07 | 0.072304 | 0.072304 | 0.072304 | 0.97707 | -0.44053 | 0.97708 | -0.44027 | 19.8637
26 | -0.050262 | -0.012634 | 0.050262 | 0.012634 | 1.0399e-07 | 6.5957e-08 | 0.076558 | 0.076558 | 0.076558 | 0.97708 | -0.44027 | 0.97709 | -0.44022 | 21.0323
27 | -0.053058 | -0.013335 | 0.053449 | 0.013583 | 0.00039112 | 0.0002483 | 0.080816 | 0.080815 | 0.080816 | 0.97709 | -0.44022 | 0.98495 | -0.28704 | 22.2022
28 | 0.0090327 | 0.0022643 | -0.0090305 | -0.0022633 | 2.2038e-06 | 1.0031e-06 | 0.013597 | 0.013598 | 0.013598 | 0.9885 | -0.21892 | 0.98823 | -0.22404 | 3.7356

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27867 | 0.070447

## res_load
| p_mw | q_mvar
0 | 0.033602 | 0.0084214
1 | 0.033122 | 0.0083011
2 | 0.012142 | 0.003043
3 | 0.0066044 | 0.0016552
4 | 0.0028449 | 0.00071301
5 | 0.002939 | 0.00073659
6 | 0.0028437 | 0.00071269
7 | 0.0029434 | 0.00073769
8 | 0.0028437 | 0.00071269
9 | 0.0029431 | 0.00073761
10 | 0.018552 | 0.0046495
11 | 0.0027911 | 0.00069952
12 | 0.0065968 | 0.0016533
13 | 0.0066019 | 0.0016546
14 | 0.0702 | 0.017594
15 | 0.0066019 | 0.0016546
16 | 0.01436 | 0.0035991
17 | 0.010396 | 0.0026055
18 | 0.0028307 | 0.00070945
19 | 0.012147 | 0.0030442
20 | 0.0028488 | 0.00071397
21 | 0.0029881 | 0.00074889
22 | 0.0027933 | 0.00070007
23 | 0.0027961 | 0.00070078
24 | 0.0090305 | 0.0022633

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1