## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-26_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-26_0_7_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1061-26_0_7_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_1061-26_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-26_0_7_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1061-26_0_7_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_1061-26_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1061-26_0_7_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1061-26_0_7_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1061-26_0_7_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_1061-26_0_7_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-26_0_7_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1061-26_0_7_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1061-26_0_7_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-26_0_7_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1061-26_0_7_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1061-26_0_7_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1061-26_0_7_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1061-26_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1061-26_0_7_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1061-26_0_7_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1061-26_0_7_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1061-26_0_7_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1061-26_0_7_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1061-26_0_7_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1061-26_0_7_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1061-26_0_7_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1061-26_0_7_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1061-26_0_7_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1061-26_0_7_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_1061-26_0_7_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_1061-26_0_7_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_1061-26_0_7_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1061-26_0_7_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1061-26_0_7_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1061-26_0_7_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_1061-26_0_7_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_1061-26_0_7_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1061-26_0_7_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_1061-26_0_7_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1061-26_0_7_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1061-26_0_7_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1061-26_0_7_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1061-26_0_7_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1061-26_0_7_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1061-26_0_7_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1061-26_0_7_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1061-26_0_7_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1061-26_0_7_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1061-26_0_7_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1061-26_0_7_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1061-26_0_7_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1061-26_0_7_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_1061-26_0_7_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1061-26_0_7_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1061-26_0_7_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1061-26_0_7_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1061-26_0_7_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1061-26_0_7_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1061-26_0_7_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_1061-26_0_7_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1061-26_0_7_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_1061-26_0_7_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1061-26_0_7_node_59 | 0.4 | n |  | TRUE
64 | bus_MV_219_0_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-26_0_7_load_0 | 0 | 0.013413 | 0.0033617 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-26_0_7_load_20 | 2 | 0.02185 | 0.0054762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-26_0_7_load_32 | 5 | 0.020798 | 0.0052126 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-26_0_7_load_64 | 9 | 0.062156 | 0.015578 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-26_0_7_load_31 | 12 | 0.017432 | 0.0043688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-26_0_7_load_21 | 15 | 0.014077 | 0.0035279 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-26_0_7_load_25 | 16 | 0.037686 | 0.009445 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-26_0_7_load_27 | 17 | 0.015829 | 0.0039671 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-26_0_7_load_48 | 21 | 0.0052176 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-26_0_7_load_39 | 23 | 0.012171 | 0.0030504 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-26_0_7_load_33 | 24 | 0.0064582 | 0.0016186 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-26_0_7_load_24 | 25 | 0.017819 | 0.0044658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-26_0_7_load_22 | 28 | 0.01577 | 0.0039524 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-26_0_7_load_65 | 29 | 0.0060267 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-26_0_7_load_67 | 30 | 0.0024712 | 0.00061934 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-26_0_7_load_23 | 32 | 0.011093 | 0.0027802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-26_0_7_load_30 | 33 | 0.020984 | 0.0052591 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-26_0_7_load_26 | 34 | 0.011828 | 0.0029643 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-26_0_7_load_66 | 35 | 0.01225 | 0.0030702 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-26_0_7_load_47 | 36 | 0.0050232 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-26_0_7_load_62 | 38 | 0.012237 | 0.0030668 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-26_0_7_load_60 | 39 | 0.0068313 | 0.0017121 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-26_0_7_load_28 | 40 | 0.0085377 | 0.0021398 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-26_0_7_load_37 | 42 | 0.01255 | 0.0031454 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-26_0_7_load_35 | 43 | 0.007868 | 0.0019719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-26_0_7_load_34 | 44 | 0.012761 | 0.0031983 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-26_0_7_load_36 | 45 | 0.0044127 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-26_0_7_load_41 | 46 | 0.045121 | 0.011308 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-26_0_7_load_42 | 47 | 0.011561 | 0.0028975 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-26_0_7_load_43 | 48 | 0.01482 | 0.0037143 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-26_0_7_load_44 | 49 | 0.00696 | 0.0017443 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-26_0_7_load_45 | 50 | 0.006018 | 0.0015082 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-26_0_7_load_46 | 51 | 0.0078409 | 0.0019651 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-26_0_7_load_55 | 52 | 0.0099188 | 0.0024859 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-26_0_7_load_52 | 53 | 0.0082623 | 0.0020707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-26_0_7_load_54 | 54 | 0.0058239 | 0.0014596 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-26_0_7_load_51 | 55 | 0.0073634 | 0.0018454 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-26_0_7_load_49 | 56 | 0.0060863 | 0.0015254 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-26_0_7_load_50 | 57 | 0.0049335 | 0.0012365 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-26_0_7_load_56 | 58 | 0.012364 | 0.0030986 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-26_0_7_load_57 | 59 | 0.0098583 | 0.0024707 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-26_0_7_load_63 | 60 | 0.0094068 | 0.0023576 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-26_0_7_load_61 | 61 | 0.013745 | 0.0034449 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-26_0_7_load_58 | 62 | 0.0089538 | 0.002244 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-26_0_7_load_59 | 63 | 0.0064381 | 0.0016135 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-26_0_7_line_0 |  | 0 | 1 | 0.032225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-26_0_7_line_1 |  | 1 | 2 | 0.008612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-26_0_7_line_2 |  | 1 | 3 | 0.10972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-26_0_7_line_3 |  | 3 | 4 | 0.066909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-26_0_7_line_4 |  | 4 | 5 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-26_0_7_line_5 |  | 5 | 7 | 0.082624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-26_0_7_line_6 |  | 6 | 7 | 0.063894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-26_0_7_line_7 |  | 6 | 8 | 0.005154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-26_0_7_line_8 |  | 6 | 9 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-26_0_7_line_9 |  | 8 | 15 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-26_0_7_line_10 |  | 10 | 11 | 0.044947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-26_0_7_line_11 |  | 10 | 12 | 0.003135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-26_0_7_line_12 |  | 11 | 16 | 0.03707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-26_0_7_line_13 |  | 11 | 17 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-26_0_7_line_14 |  | 12 | 33 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-26_0_7_line_15 |  | 13 | 14 | 0.12558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1061-26_0_7_line_16 |  | 13 | 15 | 0.038657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-26_0_7_line_17 |  | 14 | 16 | 0.030933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1061-26_0_7_line_18 |  | 14 | 32 | 0.027215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1061-26_0_7_line_19 |  | 14 | 22 | 0.12964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-26_0_7_line_20 |  | 17 | 34 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-26_0_7_line_21 |  | 18 | 19 | 0.06101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-26_0_7_line_22 |  | 18 | 20 | 0.073504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1061-26_0_7_line_23 |  | 18 | 21 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-26_0_7_line_24 |  | 19 | 29 | 0.024815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-26_0_7_line_25 |  | 19 | 26 | 0.044568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-26_0_7_line_26 |  | 20 | 24 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-26_0_7_line_27 |  | 20 | 25 | 0.040482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1061-26_0_7_line_28 |  | 21 | 36 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1061-26_0_7_line_29 |  | 22 | 23 | 0.036284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-26_0_7_line_30 |  | 23 | 37 | 0.028384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-26_0_7_line_31 |  | 25 | 32 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1061-26_0_7_line_32 |  | 26 | 27 | 0.040631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-26_0_7_line_33 |  | 26 | 28 | 0.0077769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-26_0_7_line_34 |  | 27 | 30 | 0.042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-26_0_7_line_35 |  | 27 | 31 | 0.097937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-26_0_7_line_36 |  | 31 | 35 | 0.003558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-26_0_7_line_37 |  | 34 | 40 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-26_0_7_line_38 |  | 36 | 56 | 0.012897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1061-26_0_7_line_39 |  | 37 | 46 | 0.0070649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-26_0_7_line_40 |  | 38 | 39 | 0.0017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-26_0_7_line_41 |  | 39 | 62 | 0.010678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-26_0_7_line_42 |  | 40 | 41 | 0.021828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-26_0_7_line_43 |  | 41 | 42 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-26_0_7_line_44 |  | 42 | 43 | 0.001008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-26_0_7_line_45 |  | 43 | 44 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-26_0_7_line_46 |  | 44 | 45 | 0.0027788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-26_0_7_line_47 |  | 47 | 48 | 0.0015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-26_0_7_line_48 |  | 47 | 49 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-26_0_7_line_49 |  | 48 | 50 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-26_0_7_line_50 |  | 49 | 51 | 3.462e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-26_0_7_line_51 |  | 50 | 52 | 0.0049326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-26_0_7_line_52 |  | 51 | 53 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1061-26_0_7_line_53 |  | 52 | 54 | 0.0031578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-26_0_7_line_54 |  | 53 | 55 | 0.00014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1061-26_0_7_line_55 |  | 54 | 58 | 0.010283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-26_0_7_line_56 |  | 55 | 57 | 0.0092439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1061-26_0_7_line_57 |  | 56 | 57 | 0.0037096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_1061-26_0_7_line_58 |  | 58 | 59 | 0.00051706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-26_0_7_line_59 |  | 59 | 60 | 0.014569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-26_0_7_line_60 |  | 60 | 61 | 0.00019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-26_0_7_line_61 |  | 61 | 63 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-26_0_7_line_62 |  | 62 | 63 | 0.00022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-26_0_7_trafo_17 | 0.63 MVA 20/0.4 kV | 64 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2665776.8822 | 1211042.9509 | 2665779.3226 | 1211031.8376 | 2665782.6422 | 1211011.2571
1 | 2665776.8822 | 1211042.9509 | 2665779.1859 | 1211043.5433 | 2665785.2405 | 1211045.1221
2 | 2665721.8958 | 1211088.184 | 2665727.7287 | 1211095.3971 | 2665729.9104 | 1211098.0895 | 2665731.5567 | 1211098.3411 | 2665732.4368 | 1211098.4731 | 2665734.3136 | 1211097.8045 | 2665736.9016 | 1211095.3537 | 2665738.4048 | 1211092.7242 | 2665739.2106 | 1211091.3211 | 2665740.6778 | 1211091.971 | 2665750.2139 | 1211096.2009 | 2665751.681 | 1211096.8508 | 2665754.6229 | 1211098.1507 | 2665761.3922 | 1211098.9924 | 2665764.1176 | 1211099.2448 | 2665765.2379 | 1211089.3066 | 2665766.4564 | 1211084.9396 | 2665774.0497 | 1211055.8609 | 2665776.8822 | 1211042.9509
3 | 2665721.8958 | 1211088.184 | 2665722.7167 | 1211084.7243 | 2665724.2312 | 1211078.3148 | 2665726.9995 | 1211054.6752 | 2665728.3331 | 1211043.3051 | 2665738.3203 | 1211043.1706 | 2665749.7652 | 1211041.7736
4 | 2665749.7652 | 1211041.7736 | 2665751.9955 | 1211025.8754
5 | 2665757.9004 | 1210943.5583 | 2665757.9639 | 1210952.2755 | 2665757.5078 | 1210975.7182 | 2665752.1323 | 1211024.9004 | 2665751.9955 | 1211025.8754
6 | 2665713.5804 | 1210970.3978 | 2665716.5885 | 1210963.6156 | 2665721.2397 | 1210951.8707 | 2665722.4632 | 1210948.4265 | 2665724.7455 | 1210941.9921 | 2665731.941 | 1210943.4945 | 2665740.1935 | 1210944.2414 | 2665746.072 | 1210943.8726 | 2665755.1101 | 1210943.6721 | 2665757.9004 | 1210943.5583
7 | 2665709.0635 | 1210967.8909 | 2665713.5804 | 1210970.3978
8 | 2665713.5804 | 1210970.3978 | 2665709.1555 | 1210979.5435 | 2665705.2263 | 1210986.8712
9 | 2665709.0635 | 1210967.8909 | 2665697.44 | 1210986.7061
10 | 2665548.3002 | 1211063.5707 | 2665565.3714 | 1211074.3649 | 2665561.8605 | 1211079.8964 | 2665555.751 | 1211089.5352 | 2665552.1164 | 1211095.2655
11 | 2665552.1164 | 1211095.2655 | 2665550.4377 | 1211097.9132
12 | 2665548.3002 | 1211063.5707 | 2665567.5127 | 1211031.8681
13 | 2665548.3002 | 1211063.5707 | 2665535.2743 | 1211055.3587
14 | 2665550.4377 | 1211097.9132 | 2665541.4364 | 1211112.1106
15 | 2665583.5399 | 1211005.411 | 2665590.2381 | 1211009.9652 | 2665648.9124 | 1211048.056 | 2665655.4123 | 1211052.6637 | 2665660.6989 | 1211044.6169 | 2665677.1233 | 1211019.5934
16 | 2665677.1233 | 1211019.5934 | 2665697.44 | 1210986.7061
17 | 2665583.5399 | 1211005.411 | 2665579.4299 | 1211012.2034 | 2665567.5127 | 1211031.8681
18 | 2665583.5399 | 1211005.411 | 2665560.7445 | 1210990.5449
19 | 2665583.5399 | 1211005.411 | 2665590.2381 | 1211009.9652 | 2665595.1531 | 1211002.5369 | 2665614.504 | 1210973.2872 | 2665636.4671 | 1210940.0972 | 2665646.8373 | 1210903.7889
20 | 2665522.4019 | 1211047.2434 | 2665535.2743 | 1211055.3587
21 | 2665513.129 | 1210912.1692 | 2665493.4733 | 1210914.5327 | 2665462.814 | 1210918.2208 | 2665462.0303 | 1210918.3123 | 2665452.6126 | 1210919.8544
22 | 2665514.6124 | 1210960.4596 | 2665535.6692 | 1210917.7201 | 2665532.8765 | 1210917.3559 | 2665530.8517 | 1210915.5881 | 2665528.8548 | 1210911.964 | 2665527.3155 | 1210910.9576 | 2665525.3682 | 1210910.4359 | 2665513.129 | 1210912.1692
23 | 2665513.129 | 1210912.1692 | 2665512.1014 | 1210915.082 | 2665506.5429 | 1210925.607
24 | 2665442.4586 | 1210938.6435 | 2665444.5596 | 1210939.7116 | 2665453.351 | 1210925.9773 | 2665452.6126 | 1210919.8544
25 | 2665420.5773 | 1210948.543 | 2665422.5942 | 1210946.8863 | 2665435.7947 | 1210928.1751 | 2665438.386 | 1210925.4129 | 2665443.6602 | 1210922.6357 | 2665452.6126 | 1210919.8544
26 | 2665514.6124 | 1210960.4596 | 2665502.8832 | 1210982.2394
27 | 2665514.6124 | 1210960.4596 | 2665548.5209 | 1210982.5732
28 | 2665500.9934 | 1210936.115 | 2665506.5429 | 1210925.607
29 | 2665646.8373 | 1210903.7889 | 2665656.6951 | 1210908.5225 | 2665678.1886 | 1210921.9614
30 | 2665702.2834 | 1210936.9639 | 2665697.3844 | 1210933.9637 | 2665678.1886 | 1210921.9614
31 | 2665548.5209 | 1210982.5732 | 2665560.7445 | 1210990.5449
32 | 2665387.1467 | 1210959.6501 | 2665389.403 | 1210954.8719 | 2665392.8286 | 1210950.8736 | 2665395.6261 | 1210952.8722 | 2665402.3642 | 1210954.5026 | 2665410.715 | 1210953.916 | 2665417.4716 | 1210951.0883 | 2665420.5773 | 1210948.543
33 | 2665420.5773 | 1210948.543 | 2665424.5298 | 1210952.6333 | 2665426.3213 | 1210953.7076
34 | 2665387.1467 | 1210959.6501 | 2665384.6299 | 1210959.0777 | 2665377.1001 | 1210957.5721 | 2665364.7665 | 1210957.537 | 2665362.2783 | 1210961.9791 | 2665358.5967 | 1210972.0005 | 2665354.9813 | 1210970.4377
35 | 2665400.5801 | 1211020.1789 | 2665408.9154 | 1211023.7614 | 2665425.4524 | 1210987.6871 | 2665405.816 | 1210978.6108 | 2665400.264 | 1210973.469 | 2665395.0746 | 1210963.6616 | 2665387.1467 | 1210959.6501
36 | 2665400.5801 | 1211020.1789 | 2665401.9158 | 1211016.8804
37 | 2665511.9879 | 1211040.678 | 2665522.4019 | 1211047.2434
38 | 2665500.9934 | 1210936.115 | 2665494.9705 | 1210947.5195
39 | 2665702.2834 | 1210936.9639 | 2665698.8913 | 1210943.1612
40 | 2665440.9099 | 1211049.8833 | 2665441.7321 | 1211048.3266
41 | 2665446.7188 | 1211038.8843 | 2665441.7321 | 1211048.3266
42 | 2665493.523 | 1211029.037 | 2665511.9879 | 1211040.678
43 | 2665493.523 | 1211029.037 | 2665497.5006 | 1211023.9108 | 2665500.3584 | 1211019.2111
44 | 2665500.3584 | 1211019.2111 | 2665500.8822 | 1211018.3499
45 | 2665509.2371 | 1211006.8183 | 2665502.3763 | 1211015.8927 | 2665500.8822 | 1211018.3499
46 | 2665510.9129 | 1211004.6017 | 2665509.2371 | 1211006.8183
47 | 2665475.4925 | 1210984.4011 | 2665474.7825 | 1210985.7456
48 | 2665475.4925 | 1210984.4011 | 2665483.2272 | 1210969.7554
49 | 2665474.7825 | 1210985.7456 | 2665468.6532 | 1210997.3513
50 | 2665483.2434 | 1210969.7248 | 2665483.2272 | 1210969.7554
51 | 2665468.6532 | 1210997.3513 | 2665466.3497 | 1211001.713
52 | 2665483.2434 | 1210969.7248 | 2665488.8526 | 1210959.1037
53 | 2665464.8751 | 1211004.5053 | 2665466.3497 | 1211001.713
54 | 2665488.9212 | 1210958.9738 | 2665488.8526 | 1210959.1037
55 | 2665464.8751 | 1211004.5053 | 2665460.0729 | 1211013.5982
56 | 2665493.2381 | 1210950.7998 | 2665488.9212 | 1210958.9738
57 | 2665493.2381 | 1210950.7998 | 2665494.9705 | 1210947.5195
58 | 2665460.0729 | 1211013.5982 | 2665459.8314 | 1211014.0554
59 | 2665459.8314 | 1211014.0554 | 2665453.028 | 1211026.9378
60 | 2665453.028 | 1211026.9378 | 2665452.9366 | 1211027.1107
61 | 2665446.8229 | 1211038.6872 | 2665452.9366 | 1211027.1107
62 | 2665446.8229 | 1211038.6872 | 2665446.7188 | 1211038.8843

## bus_geodata
| x | y | coords
0 | 2665782.6422 | 1211011.2571
1 | 2665776.8822 | 1211042.9509
2 | 2665785.2405 | 1211045.1221
3 | 2665721.8958 | 1211088.184
4 | 2665749.7652 | 1211041.7736
5 | 2665751.9955 | 1211025.8754
6 | 2665713.5804 | 1210970.3978
7 | 2665757.9004 | 1210943.5583
8 | 2665709.0635 | 1210967.8909
9 | 2665705.2263 | 1210986.8712
10 | 2665552.1164 | 1211095.2655
11 | 2665548.3002 | 1211063.5707
12 | 2665550.4377 | 1211097.9132
13 | 2665677.1233 | 1211019.5934
14 | 2665583.5399 | 1211005.411
15 | 2665697.44 | 1210986.7061
16 | 2665567.5127 | 1211031.8681
17 | 2665535.2743 | 1211055.3587
18 | 2665513.129 | 1210912.1692
19 | 2665452.6126 | 1210919.8544
20 | 2665514.6124 | 1210960.4596
21 | 2665506.5429 | 1210925.607
22 | 2665646.8373 | 1210903.7889
23 | 2665678.1886 | 1210921.9614
24 | 2665502.8832 | 1210982.2394
25 | 2665548.5209 | 1210982.5732
26 | 2665420.5773 | 1210948.543
27 | 2665387.1467 | 1210959.6501
28 | 2665426.3213 | 1210953.7076
29 | 2665442.4586 | 1210938.6435
30 | 2665354.9813 | 1210970.4377
31 | 2665400.5801 | 1211020.1789
32 | 2665560.7445 | 1210990.5449
33 | 2665541.4364 | 1211112.1105
34 | 2665522.4019 | 1211047.2434
35 | 2665401.9158 | 1211016.8804
36 | 2665500.9934 | 1210936.115
37 | 2665702.2834 | 1210936.9639
38 | 2665440.9099 | 1211049.8833
39 | 2665441.7321 | 1211048.3266
40 | 2665511.9879 | 1211040.678
41 | 2665493.523 | 1211029.037
42 | 2665500.3584 | 1211019.2111
43 | 2665500.8822 | 1211018.3499
44 | 2665509.2371 | 1211006.8183
45 | 2665510.9129 | 1211004.6017
46 | 2665698.8913 | 1210943.1612
47 | 2665475.4925 | 1210984.4011
48 | 2665474.7825 | 1210985.7456
49 | 2665483.2272 | 1210969.7554
50 | 2665468.6532 | 1210997.3513
51 | 2665483.2434 | 1210969.7248
52 | 2665466.3497 | 1211001.713
53 | 2665488.8526 | 1210959.1037
54 | 2665464.8751 | 1211004.5053
55 | 2665488.9212 | 1210958.9738
56 | 2665494.9705 | 1210947.5195
57 | 2665493.2381 | 1210950.7998
58 | 2665460.0729 | 1211013.5982
59 | 2665459.8314 | 1211014.0554
60 | 2665453.028 | 1211026.9378
61 | 2665452.9366 | 1211027.1107
62 | 2665446.7188 | 1211038.8843
63 | 2665446.8229 | 1211038.6872
64 | 2665590.2381 | 1211009.9652

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97015 | -0.57649 | 0.013413 | 0.0033617
1 | 0.97055 | -0.56849 | 0 | 0
2 | 0.97038 | -0.57197 | 0.02185 | 0.0054762
3 | 0.97417 | -0.49716 | 0 | 0
4 | 0.97638 | -0.45391 | 0 | 0
5 | 0.9769 | -0.44357 | 0.020798 | 0.0052126
6 | 0.98457 | -0.29469 | 0 | 0
7 | 0.98122 | -0.35933 | 0 | 0
8 | 0.98513 | -0.28374 | 0 | 0
9 | 0.98351 | -0.31536 | 0.062156 | 0.015578
10 | 0.9925 | -0.14408 | 0 | 0
11 | 0.99408 | -0.11358 | 0 | 0
12 | 0.99239 | -0.14621 | 0.017432 | 0.0043688
13 | 0.9923 | -0.14593 | 0 | 0
14 | 1 | 0 | -0.60164 | -0.15383
15 | 0.98756 | -0.2369 | 0.014077 | 0.0035279
16 | 0.99788 | -0.040494 | 0.037686 | 0.009445
17 | 0.99304 | -0.13364 | 0.015829 | 0.0039671
18 | 0.98362 | -0.31241 | 0 | 0
19 | 0.98156 | -0.35264 | 0 | 0
20 | 0.991 | -0.17034 | 0 | 0
21 | 0.98237 | -0.3367 | 0.0052176 | 0.0013076
22 | 0.99319 | -0.13035 | 0 | 0
23 | 0.99129 | -0.16715 | 0.012171 | 0.0030504
24 | 0.99086 | -0.17317 | 0.0064582 | 0.0016186
25 | 0.99519 | -0.090686 | 0.017819 | 0.0044658
26 | 0.9803 | -0.37726 | 0 | 0
27 | 0.97974 | -0.38812 | 0 | 0
28 | 0.98018 | -0.37949 | 0.01577 | 0.0039524
29 | 0.98142 | -0.35535 | 0.0060267 | 0.0015104
30 | 0.97965 | -0.39002 | 0.0024712 | 0.00061934
31 | 0.97863 | -0.40993 | 0 | 0
32 | 0.99682 | -0.059856 | 0.011093 | 0.0027802
33 | 0.99207 | -0.15246 | 0.020984 | 0.0052591
34 | 0.99223 | -0.14924 | 0.011828 | 0.0029643
35 | 0.97859 | -0.41073 | 0.01225 | 0.0030702
36 | 0.9814 | -0.35544 | 0.0050232 | 0.0012589
37 | 0.99012 | -0.1899 | 0 | 0
38 | 0.97231 | -0.53371 | 0.012237 | 0.0030668
39 | 0.97233 | -0.53332 | 0.0068313 | 0.0017121
40 | 0.99171 | -0.1593 | 0.0085377 | 0.0021398
41 | 0.99096 | -0.17386 | 0 | 0
42 | 0.99055 | -0.18186 | 0.01255 | 0.0031454
43 | 0.99053 | -0.18231 | 0.007868 | 0.0019719
44 | 0.9903 | -0.18666 | 0.012761 | 0.0031983
45 | 0.99029 | -0.18687 | 0.0044127 | 0.0011059
46 | 0.98983 | -0.19557 | 0.045121 | 0.011308
47 | 0.97664 | -0.44856 | 0.011561 | 0.0028975
48 | 0.97647 | -0.45179 | 0.01482 | 0.0037143
49 | 0.97861 | -0.4099 | 0.00696 | 0.0017443
50 | 0.97523 | -0.4762 | 0.006018 | 0.0015082
51 | 0.97861 | -0.40982 | 0.0078409 | 0.0019651
52 | 0.97479 | -0.48484 | 0.0099188 | 0.0024859
53 | 0.97941 | -0.39422 | 0.0082623 | 0.0020707
54 | 0.97454 | -0.4898 | 0.0058239 | 0.0014596
55 | 0.97942 | -0.39402 | 0.0073634 | 0.0018454
56 | 0.98039 | -0.37523 | 0.0060863 | 0.0015254
57 | 0.9801 | -0.38073 | 0.0049335 | 0.0012365
58 | 0.97377 | -0.50488 | 0.012364 | 0.0030986
59 | 0.97374 | -0.50552 | 0.0098583 | 0.0024707
60 | 0.97296 | -0.52096 | 0.0094068 | 0.0023576
61 | 0.97295 | -0.52114 | 0.013745 | 0.0034449
62 | 0.97252 | -0.52956 | 0.0089538 | 0.002244
63 | 0.97253 | -0.52945 | 0.0064381 | 0.0016135
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013413 | -0.0033617 | 0.013418 | 0.0033645 | 5.1147e-06 | 2.8753e-06 | 0.020573 | 0.020573 | 0.020573 | 0.97015 | -0.57649 | 0.97055 | -0.56849 | 5.652
1 | 0.021854 | 0.0054784 | -0.02185 | -0.0054762 | 3.6256e-06 | 2.214e-06 | 0.033506 | 0.033506 | 0.033506 | 0.97055 | -0.56849 | 0.97038 | -0.57197 | 9.205
2 | -0.035272 | -0.0088429 | 0.035393 | 0.0089186 | 0.00012033 | 7.5652e-05 | 0.054079 | 0.054079 | 0.054079 | 0.97055 | -0.56849 | 0.97417 | -0.49716 | 14.8569
3 | -0.035393 | -0.0089186 | 0.035466 | 0.0089647 | 7.3378e-05 | 4.6127e-05 | 0.054079 | 0.054078 | 0.054079 | 0.97417 | -0.49716 | 0.97638 | -0.45391 | 14.8567
4 | -0.035466 | -0.0089647 | 0.035484 | 0.0089758 | 1.7606e-05 | 1.1067e-05 | 0.054078 | 0.054078 | 0.054078 | 0.97638 | -0.45391 | 0.9769 | -0.44357 | 14.8567
5 | -0.056282 | -0.014188 | 0.05651 | 0.014333 | 0.00022787 | 0.0001448 | 0.085758 | 0.085758 | 0.085758 | 0.9769 | -0.44357 | 0.98122 | -0.35933 | 23.5599
6 | 0.056686 | 0.014445 | -0.05651 | -0.014333 | 0.00017621 | 0.00011197 | 0.085757 | 0.085758 | 0.085758 | 0.98457 | -0.29469 | 0.98122 | -0.35933 | 23.5598
7 | -0.1189 | -0.030062 | 0.11897 | 0.030102 | 6.248e-05 | 3.9922e-05 | 0.1798 | 0.1798 | 0.1798 | 0.98457 | -0.29469 | 0.98513 | -0.28374 | 49.3948
8 | 0.062217 | 0.015617 | -0.062156 | -0.015578 | 6.1268e-05 | 3.8977e-05 | 0.09404 | 0.09404 | 0.09404 | 0.98457 | -0.29469 | 0.98351 | -0.31536 | 25.8352
9 | -0.11897 | -0.030102 | 0.11923 | 0.030273 | 0.0002681 | 0.0001713 | 0.1798 | 0.1798 | 0.1798 | 0.98513 | -0.28374 | 0.98756 | -0.2369 | 49.3948
10 | -0.038426 | -0.0096341 | 0.038482 | 0.0096694 | 5.5944e-05 | 3.5222e-05 | 0.057612 | 0.057612 | 0.057612 | 0.9925 | -0.14408 | 0.99408 | -0.11358 | 15.8274
11 | 0.038426 | 0.0096341 | -0.038422 | -0.0096317 | 3.902e-06 | 2.4568e-06 | 0.057612 | 0.057612 | 0.057612 | 0.9925 | -0.14408 | 0.99239 | -0.14621 | 15.8274
12 | -0.11245 | -0.028277 | 0.11284 | 0.028528 | 0.00039402 | 0.00025169 | 0.16836 | 0.16836 | 0.16836 | 0.99408 | -0.11358 | 0.99788 | -0.040494 | 46.2519
13 | 0.073968 | 0.018607 | -0.073897 | -0.018562 | 7.0821e-05 | 4.5126e-05 | 0.11075 | 0.11075 | 0.11075 | 0.99408 | -0.11358 | 0.99304 | -0.13364 | 30.4246
14 | 0.02099 | 0.0052629 | -0.020984 | -0.0052591 | 6.2449e-06 | 3.7796e-06 | 0.031474 | 0.031474 | 0.031474 | 0.99239 | -0.14621 | 0.99207 | -0.15246 | 8.6468
15 | -0.1339 | -0.034175 | 0.13485 | 0.034781 | 0.00095136 | 0.0006056 | 0.20101 | 0.20101 | 0.20101 | 0.9923 | -0.14593 | 1 | 0 | 27.6108
16 | 0.1339 | 0.034175 | -0.13331 | -0.033801 | 0.0005857 | 0.00037435 | 0.20101 | 0.20101 | 0.20101 | 0.9923 | -0.14593 | 0.98756 | -0.2369 | 55.2217
17 | 0.15082 | 0.03816 | -0.15053 | -0.037973 | 0.00029246 | 0.00018636 | 0.22455 | 0.22455 | 0.22455 | 1 | 0 | 0.99788 | -0.040494 | 30.8453
18 | 0.2565 | 0.066201 | -0.25575 | -0.065725 | 0.00074601 | 0.00047673 | 0.38236 | 0.38236 | 0.38236 | 1 | 0 | 0.99682 | -0.059856 | 52.5219
19 | 0.057815 | 0.014691 | -0.057455 | -0.014462 | 0.0003604 | 0.00022896 | 0.086101 | 0.086101 | 0.086101 | 1 | 0 | 0.99319 | -0.13035 | 23.6542
20 | 0.058068 | 0.014595 | -0.058025 | -0.014568 | 4.3218e-05 | 2.7463e-05 | 0.087027 | 0.087027 | 0.087027 | 0.99304 | -0.13364 | 0.99223 | -0.14924 | 23.9085
21 | 0.036648 | 0.0092313 | -0.036578 | -0.009187 | 7.0365e-05 | 4.4261e-05 | 0.055458 | 0.055458 | 0.055458 | 0.98362 | -0.31241 | 0.98156 | -0.35264 | 15.2357
22 | -0.21765 | -0.055113 | 0.21914 | 0.056068 | 0.001496 | 0.00095553 | 0.32946 | 0.32946 | 0.32946 | 0.98362 | -0.31241 | 0.991 | -0.17034 | 45.2557
23 | 0.181 | 0.045881 | -0.18079 | -0.045747 | 0.00021103 | 0.00013468 | 0.274 | 0.274 | 0.274 | 0.98362 | -0.31241 | 0.98237 | -0.3367 | 37.6379
24 | 0.0060275 | 0.0015106 | -0.0060267 | -0.0015104 | 7.7698e-07 | 1.8365e-07 | 0.0091375 | 0.0091376 | 0.0091376 | 0.98156 | -0.35264 | 0.98142 | -0.35535 | 2.5103
25 | 0.03055 | 0.0076764 | -0.030514 | -0.007654 | 3.5859e-05 | 2.2387e-05 | 0.04632 | 0.046321 | 0.046321 | 0.98156 | -0.35264 | 0.9803 | -0.37726 | 12.7255
26 | 0.0064591 | 0.0016188 | -0.0064582 | -0.0016186 | 8.7257e-07 | 2.3977e-07 | 0.0096985 | 0.0096986 | 0.0096986 | 0.991 | -0.17034 | 0.99086 | -0.17317 | 2.6645
27 | -0.2256 | -0.057687 | 0.22648 | 0.058245 | 0.00087311 | 0.00055774 | 0.33916 | 0.33916 | 0.33916 | 0.991 | -0.17034 | 0.99519 | -0.090686 | 46.5878
28 | 0.17557 | 0.044439 | -0.17541 | -0.044338 | 0.00015777 | 0.00010067 | 0.2661 | 0.2661 | 0.2661 | 0.98237 | -0.3367 | 0.9814 | -0.35544 | 36.5523
29 | 0.057455 | 0.014462 | -0.057354 | -0.014398 | 0.00010087 | 6.409e-05 | 0.086101 | 0.086102 | 0.086102 | 0.99319 | -0.13035 | 0.99129 | -0.16715 | 23.6543
30 | 0.045183 | 0.011347 | -0.045134 | -0.011316 | 4.8974e-05 | 3.0978e-05 | 0.067831 | 0.067831 | 0.067831 | 0.99129 | -0.16715 | 0.99012 | -0.1899 | 18.635
31 | -0.2443 | -0.06271 | 0.24466 | 0.062944 | 0.00036614 | 0.00023395 | 0.3658 | 0.3658 | 0.3658 | 0.99519 | -0.090686 | 0.99682 | -0.059856 | 50.2473
32 | 0.014743 | 0.0037007 | -0.014735 | -0.0036963 | 7.6317e-06 | 4.3723e-06 | 0.02238 | 0.02238 | 0.02238 | 0.9803 | -0.37726 | 0.97974 | -0.38812 | 6.1485
33 | 0.015772 | 0.0039533 | -0.01577 | -0.0039524 | 1.6715e-06 | 9.7172e-07 | 0.02394 | 0.023941 | 0.023941 | 0.9803 | -0.37726 | 0.98018 | -0.37949 | 6.5771
34 | 0.0024714 | 0.00061895 | -0.0024712 | -0.00061934 | 2.2307e-07 | -3.8889e-07 | 0.0037534 | 0.0037536 | 0.0037536 | 0.97974 | -0.38812 | 0.97965 | -0.39002 | 1.0312
35 | 0.012264 | 0.0030774 | -0.012251 | -0.0030705 | 1.2743e-05 | 6.9236e-06 | 0.018627 | 0.018627 | 0.018627 | 0.97974 | -0.38812 | 0.97863 | -0.40993 | 5.1174
36 | 0.012251 | 0.0030705 | -0.01225 | -0.0030702 | 4.6296e-07 | 2.5159e-07 | 0.018627 | 0.018627 | 0.018627 | 0.97863 | -0.40993 | 0.97859 | -0.41073 | 5.1174
37 | 0.046197 | 0.011603 | -0.046175 | -0.011589 | 2.2164e-05 | 1.4026e-05 | 0.069289 | 0.069289 | 0.069289 | 0.99223 | -0.14924 | 0.99171 | -0.1593 | 19.0355
38 | 0.17039 | 0.043079 | -0.17023 | -0.042976 | 0.00016157 | 0.00010308 | 0.25848 | 0.25848 | 0.25848 | 0.9814 | -0.35544 | 0.98039 | -0.37523 | 35.5061
39 | 0.045134 | 0.011316 | -0.045121 | -0.011308 | 1.219e-05 | 7.7107e-06 | 0.067831 | 0.067831 | 0.067831 | 0.99012 | -0.1899 | 0.98983 | -0.19557 | 18.635
40 | -0.012237 | -0.0030668 | 0.012237 | 0.0030669 | 2.3151e-07 | 1.2633e-07 | 0.018727 | 0.018727 | 0.018727 | 0.97231 | -0.53371 | 0.97233 | -0.53332 | 5.1447
41 | -0.019068 | -0.004779 | 0.019071 | 0.004781 | 3.4098e-06 | 2.0498e-06 | 0.029181 | 0.029181 | 0.029181 | 0.97233 | -0.53332 | 0.97252 | -0.52956 | 8.0168
42 | 0.037637 | 0.0094495 | -0.037611 | -0.009433 | 2.6111e-05 | 1.6429e-05 | 0.056479 | 0.056479 | 0.056479 | 0.99171 | -0.1593 | 0.99096 | -0.17386 | 15.5162
43 | 0.037611 | 0.009433 | -0.037597 | -0.009424 | 1.4341e-05 | 9.0238e-06 | 0.056479 | 0.056479 | 0.056479 | 0.99096 | -0.17386 | 0.99055 | -0.18186 | 15.5162
44 | 0.025046 | 0.0062786 | -0.025046 | -0.0062783 | 5.3514e-07 | 3.2951e-07 | 0.037625 | 0.037625 | 0.037625 | 0.99055 | -0.18186 | 0.99053 | -0.18231 | 10.3367
45 | 0.017178 | 0.0043064 | -0.017174 | -0.0043043 | 3.5591e-06 | 2.0944e-06 | 0.025806 | 0.025806 | 0.025806 | 0.99053 | -0.18231 | 0.9903 | -0.18666 | 7.0895
46 | 0.0044128 | 0.0011059 | -0.0044127 | -0.0011059 | 4.5813e-08 | -6.4312e-09 | 0.0066306 | 0.0066306 | 0.0066306 | 0.9903 | -0.18666 | 0.99029 | -0.18687 | 1.8216
47 | 0.11673 | 0.029378 | -0.11671 | -0.029366 | 1.8045e-05 | 1.153e-05 | 0.1779 | 0.1779 | 0.1779 | 0.97664 | -0.44856 | 0.97647 | -0.45179 | 48.8728
48 | -0.12829 | -0.032275 | 0.12853 | 0.032427 | 0.00023741 | 0.00015174 | 0.19551 | 0.19551 | 0.19551 | 0.97664 | -0.44856 | 0.97861 | -0.4099 | 53.712
49 | 0.10189 | 0.025652 | -0.10177 | -0.025576 | 0.00011872 | 7.5819e-05 | 0.15531 | 0.15531 | 0.15531 | 0.97647 | -0.45179 | 0.97523 | -0.4762 | 42.6684
50 | -0.13549 | -0.034171 | 0.13549 | 0.034172 | 5.5144e-07 | 3.5249e-07 | 0.20609 | 0.20609 | 0.20609 | 0.97861 | -0.4099 | 0.97861 | -0.40982 | 56.6194
51 | 0.095756 | 0.024068 | -0.095717 | -0.024043 | 3.95e-05 | 2.5218e-05 | 0.14613 | 0.14613 | 0.14613 | 0.97523 | -0.4762 | 0.97479 | -0.48484 | 40.1458
52 | -0.14333 | -0.036137 | 0.14344 | 0.036205 | 0.00010705 | 6.8208e-05 | 0.21802 | 0.21802 | 0.21802 | 0.97861 | -0.40982 | 0.97941 | -0.39422 | 29.9474
53 | 0.085798 | 0.021557 | -0.085777 | -0.021544 | 2.0318e-05 | 1.2964e-05 | 0.13099 | 0.13099 | 0.13099 | 0.97479 | -0.48484 | 0.97454 | -0.4898 | 35.9862
54 | -0.1517 | -0.038276 | 0.1517 | 0.038277 | 1.4645e-06 | 9.3356e-07 | 0.23057 | 0.23057 | 0.23057 | 0.97941 | -0.39422 | 0.97942 | -0.39402 | 31.6717
55 | 0.079954 | 0.020084 | -0.079896 | -0.020048 | 5.7486e-05 | 3.6663e-05 | 0.1221 | 0.1221 | 0.1221 | 0.97454 | -0.4898 | 0.97377 | -0.50488 | 33.5432
56 | -0.15907 | -0.040122 | 0.15917 | 0.040187 | 0.0001013 | 6.46e-05 | 0.24176 | 0.24176 | 0.24176 | 0.97942 | -0.39402 | 0.9801 | -0.38073 | 33.2083
57 | 0.16414 | 0.041451 | -0.1641 | -0.041423 | 4.3211e-05 | 2.7561e-05 | 0.24925 | 0.24925 | 0.24925 | 0.98039 | -0.37523 | 0.9801 | -0.38073 | 34.2372
58 | 0.067532 | 0.016949 | -0.06753 | -0.016948 | 2.0652e-06 | 1.3153e-06 | 0.1032 | 0.1032 | 0.1032 | 0.97377 | -0.50488 | 0.97374 | -0.50552 | 28.3529
59 | 0.057672 | 0.014477 | -0.05763 | -0.01445 | 4.2442e-05 | 2.6982e-05 | 0.08814 | 0.08814 | 0.08814 | 0.97374 | -0.50552 | 0.97296 | -0.52096 | 24.2142
60 | 0.048223 | 0.012092 | -0.048222 | -0.012092 | 3.9886e-07 | 2.5284e-07 | 0.073753 | 0.073753 | 0.073753 | 0.97296 | -0.52096 | 0.97295 | -0.52114 | 20.2618
61 | 0.034477 | 0.0086473 | -0.034464 | -0.0086387 | 1.3651e-05 | 8.5741e-06 | 0.052731 | 0.052731 | 0.052731 | 0.97295 | -0.52114 | 0.97253 | -0.52945 | 14.4866
62 | -0.028025 | -0.0070251 | 0.028025 | 0.0070252 | 1.5373e-07 | 9.5619e-08 | 0.042881 | 0.042881 | 0.042881 | 0.97252 | -0.52956 | 0.97253 | -0.52945 | 11.7804

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60164 | 0.15383

## res_load
| p_mw | q_mvar
0 | 0.013413 | 0.0033617
1 | 0.02185 | 0.0054762
2 | 0.020798 | 0.0052126
3 | 0.062156 | 0.015578
4 | 0.017432 | 0.0043688
5 | 0.014077 | 0.0035279
6 | 0.037686 | 0.009445
7 | 0.015829 | 0.0039671
8 | 0.0052176 | 0.0013076
9 | 0.012171 | 0.0030504
10 | 0.0064582 | 0.0016186
11 | 0.017819 | 0.0044658
12 | 0.01577 | 0.0039524
13 | 0.0060267 | 0.0015104
14 | 0.0024712 | 0.00061934
15 | 0.011093 | 0.0027802
16 | 0.020984 | 0.0052591
17 | 0.011828 | 0.0029643
18 | 0.01225 | 0.0030702
19 | 0.0050232 | 0.0012589
20 | 0.012237 | 0.0030668
21 | 0.0068313 | 0.0017121
22 | 0.0085377 | 0.0021398
23 | 0.01255 | 0.0031454
24 | 0.007868 | 0.0019719
25 | 0.012761 | 0.0031983
26 | 0.0044127 | 0.0011059
27 | 0.045121 | 0.011308
28 | 0.011561 | 0.0028975
29 | 0.01482 | 0.0037143
30 | 0.00696 | 0.0017443
31 | 0.006018 | 0.0015082
32 | 0.0078409 | 0.0019651
33 | 0.0099188 | 0.0024859
34 | 0.0082623 | 0.0020707
35 | 0.0058239 | 0.0014596
36 | 0.0073634 | 0.0018454
37 | 0.0060863 | 0.0015254
38 | 0.0049335 | 0.0012365
39 | 0.012364 | 0.0030986
40 | 0.0098583 | 0.0024707
41 | 0.0094068 | 0.0023576
42 | 0.013745 | 0.0034449
43 | 0.0089538 | 0.002244
44 | 0.0064381 | 0.0016135

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1