## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-37_0_4_node_55 | 0.4 | n |  | TRUE
2 | bus_LV_1061-37_0_4_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_1061-37_0_4_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_1061-37_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1061-37_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1061-37_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-37_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1061-37_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1061-37_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1061-37_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1061-37_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1061-37_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1061-37_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1061-37_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1061-37_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1061-37_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1061-37_0_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_1061-37_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1061-37_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1061-37_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1061-37_0_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1061-37_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1061-37_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1061-37_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1061-37_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_1061-37_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1061-37_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1061-37_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1061-37_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1061-37_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1061-37_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1061-37_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1061-37_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1061-37_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1061-37_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1061-37_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1061-37_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1061-37_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1061-37_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1061-37_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1061-37_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1061-37_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1061-37_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1061-37_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1061-37_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1061-37_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1061-37_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1061-37_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1061-37_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1061-37_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_MV_217_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-37_0_4_load_0 | 0 | 0.08141 | 0.020403 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-37_0_4_load_55 | 1 | 0.033174 | 0.0083142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-37_0_4_load_1 | 3 | 0.0020514 | 0.00051412 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-37_0_4_load_2 | 4 | 0.0020733 | 0.00051962 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-37_0_4_load_3 | 5 | 0.0021902 | 0.0005489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-37_0_4_load_4 | 6 | 0.002064 | 0.00051729 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-37_0_4_load_5 | 7 | 0.0020231 | 0.00050703 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-37_0_4_load_6 | 8 | 0.0020451 | 0.00051256 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-37_0_4_load_7 | 9 | 0.0020939 | 0.00052479 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-37_0_4_load_8 | 10 | 0.0021782 | 0.00054591 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-37_0_4_load_45 | 15 | 0.014654 | 0.0036725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-37_0_4_load_18 | 16 | 0.0022101 | 0.00055391 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-37_0_4_load_47 | 17 | 0.012986 | 0.0032545 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-37_0_4_load_42 | 19 | 0.018977 | 0.004756 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-37_0_4_load_46 | 22 | 0.0010017 | 0.00025105 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-37_0_4_load_19 | 23 | 0.0020676 | 0.00051819 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-37_0_4_load_17 | 24 | 0.0020419 | 0.00051175 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-37_0_4_load_54 | 25 | 0.03317 | 0.0083132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-37_0_4_load_39 | 27 | 0.010373 | 0.0025996 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-37_0_4_load_16 | 28 | 0.0021766 | 0.0005455 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-37_0_4_load_21 | 29 | 0.0040316 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-37_0_4_load_22 | 30 | 0.015152 | 0.0037974 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-37_0_4_load_24 | 31 | 0.0044002 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-37_0_4_load_25 | 33 | 0.010609 | 0.002659 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-37_0_4_load_38 | 35 | 0.010239 | 0.0025662 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-37_0_4_load_29 | 36 | 0.015504 | 0.0038856 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-37_0_4_load_35 | 37 | 0.011282 | 0.0028275 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-37_0_4_load_30 | 39 | 0.012353 | 0.0030958 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-37_0_4_load_31 | 40 | 0.0081131 | 0.0020333 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-37_0_4_load_34 | 42 | 0.012044 | 0.0030186 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-37_0_4_load_37 | 44 | 0.0073686 | 0.0018467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-37_0_4_load_44 | 45 | 0.016966 | 0.0042522 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-37_0_4_load_48 | 46 | 0.00096144 | 0.00024096 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-37_0_4_load_49 | 47 | 0.009439 | 0.0023656 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-37_0_4_load_50 | 48 | 0.015515 | 0.0038884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-37_0_4_load_51 | 49 | 0.015003 | 0.0037601 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-37_0_4_load_52 | 50 | 0.014175 | 0.0035525 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-37_0_4_line_0 |  | 0 | 1 | 0.087369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-37_0_4_line_1 |  | 1 | 2 | 0.0511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-37_0_4_line_2 |  | 2 | 20 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-37_0_4_line_3 |  | 3 | 4 | 8.0595e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-37_0_4_line_4 |  | 3 | 5 | 8.2742e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-37_0_4_line_5 |  | 4 | 6 | 0.024362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-37_0_4_line_6 |  | 5 | 7 | 8.0286e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-37_0_4_line_7 |  | 6 | 8 | 0.00016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-37_0_4_line_8 |  | 7 | 9 | 0.024465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-37_0_4_line_9 |  | 8 | 10 | 0.00017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-37_0_4_line_10 |  | 9 | 11 | 0.0093344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-37_0_4_line_11 |  | 11 | 12 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-37_0_4_line_12 |  | 12 | 16 | 0.00302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-37_0_4_line_13 |  | 12 | 13 | 0.11331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-37_0_4_line_14 |  | 13 | 14 | 0.02847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-37_0_4_line_15 |  | 13 | 15 | 0.035194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-37_0_4_line_16 |  | 14 | 17 | 0.0047351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-37_0_4_line_17 |  | 14 | 18 | 0.051817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-37_0_4_line_18 |  | 15 | 22 | 0.0016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-37_0_4_line_19 |  | 16 | 23 | 0.0079108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-37_0_4_line_20 |  | 16 | 24 | 0.0049783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-37_0_4_line_21 |  | 17 | 20 | 0.012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-37_0_4_line_22 |  | 18 | 19 | 0.035407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-37_0_4_line_23 |  | 20 | 21 | 0.028896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-37_0_4_line_24 |  | 21 | 25 | 0.010325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1061-37_0_4_line_25 |  | 21 | 26 | 0.003532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1061-37_0_4_line_26 |  | 24 | 28 | 0.0063729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-37_0_4_line_27 |  | 25 | 50 | 0.024845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-37_0_4_line_28 |  | 26 | 27 | 0.032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1061-37_0_4_line_29 |  | 27 | 34 | 0.022725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-37_0_4_line_30 |  | 29 | 30 | 0.022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-37_0_4_line_31 |  | 30 | 31 | 0.024484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-37_0_4_line_32 |  | 31 | 32 | 0.016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-37_0_4_line_33 |  | 32 | 35 | 0.037241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-37_0_4_line_34 |  | 33 | 34 | 0.008685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-37_0_4_line_35 |  | 34 | 35 | 0.02867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-37_0_4_line_36 |  | 36 | 37 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-37_0_4_line_37 |  | 37 | 38 | 0.017113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-37_0_4_line_38 |  | 38 | 42 | 0.026246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-37_0_4_line_39 |  | 38 | 39 | 0.0058565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-37_0_4_line_40 |  | 40 | 41 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-37_0_4_line_41 |  | 41 | 43 | 0.011352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-37_0_4_line_42 |  | 41 | 44 | 0.0018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-37_0_4_line_43 |  | 42 | 43 | 0.020148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-37_0_4_line_44 |  | 43 | 45 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-37_0_4_line_45 |  | 44 | 46 | 0.020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-37_0_4_line_46 |  | 46 | 47 | 0.00053976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-37_0_4_line_47 |  | 47 | 48 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-37_0_4_line_48 |  | 48 | 49 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-37_0_4_line_49 |  | 49 | 50 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-37_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 51 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2664843.2114 | 1212053.332 | 2664869.1628 | 1212136.7573
1 | 2664843.2114 | 1212053.332 | 2664843.8523 | 1212041.9097 | 2664836.5094 | 1212041.4963 | 2664832.2713 | 1212041.339 | 2664828.4297 | 1212041.0638 | 2664828.5841 | 1212037.3409 | 2664832.2066 | 1212037.5137 | 2664842.3461 | 1212037.8797 | 2664844.5181 | 1212037.9811 | 2664844.9177 | 1212033.3715
2 | 2664833.1988 | 1212025.9174 | 2664833.3841 | 1212027.0423 | 2664834.0762 | 1212031.1746 | 2664834.3472 | 1212032.8119 | 2664841.9246 | 1212032.6163 | 2664844.9177 | 1212033.3715
3 | 2664770.1376 | 1211867.3153 | 2664770.2171 | 1211867.3024
4 | 2664770.2171 | 1211867.3024 | 2664770.2988 | 1211867.2892
5 | 2664746.1633 | 1211871.6194 | 2664756.7809 | 1211869.4802 | 2664770.1376 | 1211867.3153
6 | 2664770.2988 | 1211867.2892 | 2664770.3781 | 1211867.2763
7 | 2664746.0003 | 1211871.6522 | 2664746.1633 | 1211871.6194
8 | 2664794.5598 | 1211863.5913 | 2664789.2451 | 1211864.2182 | 2664770.3781 | 1211867.2763
9 | 2664745.8322 | 1211871.6861 | 2664746.0003 | 1211871.6522
10 | 2664803.8298 | 1211862.4978 | 2664794.5598 | 1211863.5913
11 | 2664803.8298 | 1211862.4978 | 2664805.4995 | 1211866.1737 | 2664808.3644 | 1211881.5254
12 | 2664805.4601 | 1211882.3833 | 2664808.3644 | 1211881.5254
13 | 2664834.3132 | 1211981.4243 | 2664833.6518 | 1211975.8693 | 2664831.8517 | 1211952.0462 | 2664827.8456 | 1211899.0923 | 2664827.7198 | 1211897.3787 | 2664823.3249 | 1211897.6645 | 2664818.2572 | 1211896.9312 | 2664813.6567 | 1211894.4575 | 2664810.7275 | 1211890.6122 | 2664809.2976 | 1211886.5497 | 2664808.3644 | 1211881.5254
14 | 2664836.2309 | 1212009.8071 | 2664835.4 | 1211990.4862 | 2664834.3132 | 1211981.4243
15 | 2664834.3132 | 1211981.4243 | 2664799.339 | 1211985.354
16 | 2664836.2309 | 1212009.8071 | 2664834.7092 | 1212014.291
17 | 2664836.2309 | 1212009.8071 | 2664837.7993 | 1212009.5128 | 2664842.0173 | 1212008.7248 | 2664842.5883 | 1212008.6199 | 2664843.7832 | 1212008.4327 | 2664849.0657 | 1212007.5785 | 2664849.9181 | 1212007.4433 | 2664856.2037 | 1212009.3683 | 2664859.698 | 1212010.1401 | 2664862.8737 | 1212010.1746 | 2664867.1306 | 1212009.2982 | 2664876.5636 | 1212006.8659 | 2664876.8188 | 1212007.8582 | 2664877.803 | 1212011.6712 | 2664878.86 | 1212015.7852 | 2664879.1806 | 1212017.045
18 | 2664797.6831 | 1211985.5401 | 2664799.339 | 1211985.354
19 | 2664805.4601 | 1211882.3833 | 2664804.1302 | 1211874.5851
20 | 2664805.4601 | 1211882.3833 | 2664806.2953 | 1211887.2911
21 | 2664833.1988 | 1212025.9174 | 2664833.0562 | 1212025.0598 | 2664832.4003 | 1212021.0946 | 2664834.7092 | 1212014.291
22 | 2664879.1806 | 1212017.045 | 2664878.6283 | 1212017.5282 | 2664877.3135 | 1212019.6486 | 2664876.5119 | 1212022.0969 | 2664876.609 | 1212026.4451 | 2664878.5195 | 1212031.0242 | 2664880.0889 | 1212032.7312 | 2664882.4012 | 1212033.9016 | 2664897.1751 | 1212038.1797
23 | 2664804.8173 | 1212031.7349 | 2664807.6823 | 1212030.9878 | 2664833.1988 | 1212025.9174
24 | 2664804.8173 | 1212031.7349 | 2664794.5899 | 1212033.1504
25 | 2664805.5014 | 1212035.2 | 2664804.8173 | 1212031.7349
26 | 2664806.2953 | 1211887.2911 | 2664807.3644 | 1211893.5736
27 | 2664769.9183 | 1212035.2737 | 2664777.0347 | 1212035.58 | 2664794.5899 | 1212033.1504
28 | 2664805.5014 | 1212035.2 | 2664781.2246 | 1212044.3642 | 2664776.0225 | 1212048.3341
29 | 2664758.9318 | 1212063.245 | 2664767.449 | 1212054.8767 | 2664776.0225 | 1212048.3341
30 | 2664677.0388 | 1212103.9001 | 2664698.3493 | 1212110.9656
31 | 2664698.3493 | 1212110.9656 | 2664721.5894 | 1212118.6709
32 | 2664737.4769 | 1212123.9384 | 2664721.5894 | 1212118.6709
33 | 2664737.4769 | 1212123.9384 | 2664744.1173 | 1212087.5659 | 2664744.225 | 1212087.3212
34 | 2664758.9318 | 1212063.245 | 2664750.2493 | 1212063.0348
35 | 2664758.9318 | 1212063.245 | 2664751.6039 | 1212070.5477 | 2664744.225 | 1212087.3212
36 | 2664641.7679 | 1212062.3224 | 2664629.6234 | 1212070.9987
37 | 2664655.6926 | 1212052.3743 | 2664641.7679 | 1212062.3224
38 | 2664655.6926 | 1212052.3743 | 2664663.0746 | 1212058.2913 | 2664678.2938 | 1212051.2104
39 | 2664655.6926 | 1212052.3743 | 2664660.4583 | 1212048.9704
40 | 2664697.5426 | 1212031.4039 | 2664684.6709 | 1212034.2439
41 | 2664696.5614 | 1212042.7113 | 2664697.5426 | 1212031.4039
42 | 2664697.5426 | 1212031.4039 | 2664699.3749 | 1212031.0027
43 | 2664696.5614 | 1212042.7113 | 2664678.2938 | 1212051.2104
44 | 2664696.5614 | 1212042.7113 | 2664709.7277 | 1212040.7195 | 2664715.7137 | 1212040.5321
45 | 2664699.3749 | 1212031.0027 | 2664700.155 | 1212030.8319 | 2664716.4591 | 1212028.8741 | 2664719.7777 | 1212029.1058
46 | 2664719.7777 | 1212029.1058 | 2664720.3161 | 1212029.1434
47 | 2664735.6982 | 1212030.217 | 2664735.6982 | 1212030.217 | 2664720.3161 | 1212029.1434
48 | 2664753.7326 | 1212033.6787 | 2664735.6982 | 1212030.217
49 | 2664769.9183 | 1212035.2737 | 2664759.7646 | 1212034.8365 | 2664753.7326 | 1212033.6787

## bus_geodata
| x | y | coords
0 | 2664869.1628 | 1212136.7573
1 | 2664843.2114 | 1212053.3319
2 | 2664844.9177 | 1212033.3715
3 | 2664770.2171 | 1211867.3024
4 | 2664770.1376 | 1211867.3153
5 | 2664770.2988 | 1211867.2892
6 | 2664746.1633 | 1211871.6194
7 | 2664770.3781 | 1211867.2763
8 | 2664746.0003 | 1211871.6522
9 | 2664794.5598 | 1211863.5913
10 | 2664745.8322 | 1211871.6861
11 | 2664803.8298 | 1211862.4978
12 | 2664808.3644 | 1211881.5254
13 | 2664834.3132 | 1211981.4243
14 | 2664836.2309 | 1212009.8071
15 | 2664799.339 | 1211985.354
16 | 2664805.4601 | 1211882.3833
17 | 2664834.7092 | 1212014.291
18 | 2664879.1806 | 1212017.045
19 | 2664897.1751 | 1212038.1797
20 | 2664833.1988 | 1212025.9174
21 | 2664804.8173 | 1212031.7349
22 | 2664797.6831 | 1211985.5401
23 | 2664804.1302 | 1211874.5851
24 | 2664806.2953 | 1211887.291
25 | 2664794.5899 | 1212033.1504
26 | 2664805.5014 | 1212035.2
27 | 2664776.0225 | 1212048.3341
28 | 2664807.3644 | 1211893.5736
29 | 2664677.0388 | 1212103.9001
30 | 2664698.3493 | 1212110.9656
31 | 2664721.5894 | 1212118.6709
32 | 2664737.4769 | 1212123.9384
33 | 2664750.2493 | 1212063.0348
34 | 2664758.9318 | 1212063.245
35 | 2664744.225 | 1212087.3212
36 | 2664629.6234 | 1212070.9987
37 | 2664641.7679 | 1212062.3224
38 | 2664655.6926 | 1212052.3743
39 | 2664660.4583 | 1212048.9704
40 | 2664684.6709 | 1212034.2439
41 | 2664697.5426 | 1212031.4039
42 | 2664678.2938 | 1212051.2104
43 | 2664696.5614 | 1212042.7113
44 | 2664699.3749 | 1212031.0027
45 | 2664715.7137 | 1212040.5321
46 | 2664719.7777 | 1212029.1058
47 | 2664720.3161 | 1212029.1434
48 | 2664735.6982 | 1212030.217
49 | 2664753.7326 | 1212033.6787
50 | 2664769.9183 | 1212035.2737
51 | 2664758.9318 | 1212063.245

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97967 | -0.39166 | 0.08141 | 0.020403
1 | 0.98625 | -0.26335 | 0.033174 | 0.0083142
2 | 0.99166 | -0.159 | 0 | 0
3 | 0.98801 | -0.23025 | 0.0020514 | 0.00051412
4 | 0.98801 | -0.23026 | 0.0020733 | 0.00051962
5 | 0.98801 | -0.23024 | 0.0021902 | 0.0005489
6 | 0.98786 | -0.233 | 0.002064 | 0.00051729
7 | 0.98801 | -0.23022 | 0.0020231 | 0.00050703
8 | 0.98786 | -0.23301 | 0.0020451 | 0.00051256
9 | 0.98834 | -0.22383 | 0.0020939 | 0.00052479
10 | 0.98786 | -0.23302 | 0.0021782 | 0.00054591
11 | 0.98848 | -0.22105 | 0 | 0
12 | 0.98878 | -0.21519 | 0 | 0
13 | 0.9914 | -0.16438 | 0 | 0
14 | 0.99247 | -0.14376 | 0 | 0
15 | 0.9909 | -0.17415 | 0.014654 | 0.0036725
16 | 0.98876 | -0.21564 | 0.0022101 | 0.00055391
17 | 0.99273 | -0.13875 | 0.012986 | 0.0032545
18 | 0.99157 | -0.16118 | 0 | 0
19 | 0.99095 | -0.1731 | 0.018977 | 0.004756
20 | 0.99353 | -0.12321 | 0 | 0
21 | 0.99603 | -0.075509 | 0 | 0
22 | 0.9909 | -0.17418 | 0.0010017 | 0.00025105
23 | 0.98874 | -0.21594 | 0.0020676 | 0.00051819
24 | 0.98874 | -0.21602 | 0.0020419 | 0.00051175
25 | 0.99521 | -0.091112 | 0.03317 | 0.0083132
26 | 0.99642 | -0.068079 | 0 | 0
27 | 1 | 0 | -0.41009 | -0.10418
28 | 0.98873 | -0.21627 | 0.0021766 | 0.0005455
29 | 0.99653 | -0.066691 | 0.0040316 | 0.0010104
30 | 0.99662 | -0.065102 | 0.015152 | 0.0037974
31 | 0.99704 | -0.056863 | 0.0044002 | 0.0011028
32 | 0.9974 | -0.049944 | 0 | 0
33 | 0.999 | -0.019226 | 0.010609 | 0.002659
34 | 0.99908 | -0.017617 | 0 | 0
35 | 0.9982 | -0.034567 | 0.010239 | 0.0025662
36 | 0.98197 | -0.34737 | 0.015504 | 0.0038856
37 | 0.98219 | -0.34319 | 0.011282 | 0.0028275
38 | 0.98261 | -0.33491 | 0 | 0
39 | 0.98254 | -0.33622 | 0.012353 | 0.0030958
40 | 0.98512 | -0.28584 | 0.0081131 | 0.0020333
41 | 0.98522 | -0.28392 | 0 | 0
42 | 0.98356 | -0.31639 | 0.012044 | 0.0030186
43 | 0.98451 | -0.29782 | 0 | 0
44 | 0.98535 | -0.28135 | 0.0073686 | 0.0018467
45 | 0.98421 | -0.30371 | 0.016966 | 0.0042522
46 | 0.98694 | -0.25055 | 0.00096144 | 0.00024096
47 | 0.98698 | -0.24974 | 0.009439 | 0.0023656
48 | 0.98832 | -0.22383 | 0.015515 | 0.0038884
49 | 0.99017 | -0.188 | 0.015003 | 0.0037601
50 | 0.99204 | -0.15196 | 0.014175 | 0.0035525
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.08141 | -0.020403 | 0.081911 | 0.020723 | 0.00050096 | 0.0003195 | 0.12365 | 0.12365 | 0.12365 | 0.97967 | -0.39166 | 0.98625 | -0.26335 | 33.9708
1 | -0.11508 | -0.029037 | 0.11566 | 0.029406 | 0.0005782 | 0.00036939 | 0.1737 | 0.1737 | 0.1737 | 0.98625 | -0.26335 | 0.99166 | -0.159 | 47.7211
2 | -0.11566 | -0.029406 | 0.11586 | 0.029534 | 0.00019978 | 0.00012763 | 0.1737 | 0.1737 | 0.1737 | 0.99166 | -0.159 | 0.99353 | -0.12321 | 47.721
3 | 0.0083615 | 0.0020956 | -0.0083615 | -0.0020956 | 4.7942e-09 | 2.0359e-09 | 0.012593 | 0.012593 | 0.012593 | 0.98801 | -0.23025 | 0.98801 | -0.23026 | 3.4596
4 | -0.010413 | -0.0026097 | 0.010413 | 0.0026097 | 7.6305e-09 | 3.8236e-09 | 0.015683 | 0.015683 | 0.015683 | 0.98801 | -0.23025 | 0.98801 | -0.23024 | 4.3084
5 | 0.0062882 | 0.001576 | -0.0062874 | -0.0015758 | 8.194e-07 | 2.1247e-07 | 0.0094705 | 0.0094706 | 0.0094706 | 0.98801 | -0.23026 | 0.98786 | -0.233 | 2.6018
6 | -0.012603 | -0.0031586 | 0.012603 | 0.0031586 | 1.0847e-08 | 5.9142e-09 | 0.018981 | 0.018981 | 0.018981 | 0.98801 | -0.23024 | 0.98801 | -0.23022 | 5.2146
7 | 0.0042233 | 0.0010585 | -0.0042233 | -0.0010585 | 2.5222e-09 | -5.139e-10 | 0.0063616 | 0.0063616 | 0.0063616 | 0.98786 | -0.233 | 0.98786 | -0.23301 | 1.7477
8 | -0.014626 | -0.0036657 | 0.014631 | 0.0036682 | 4.4517e-06 | 2.5357e-06 | 0.022028 | 0.022028 | 0.022028 | 0.98801 | -0.23022 | 0.98834 | -0.22383 | 6.0517
9 | 0.0021782 | 0.00054591 | -0.0021782 | -0.00054591 | 6.9254e-10 | -1.7527e-09 | 0.003281 | 0.003281 | 0.003281 | 0.98786 | -0.23301 | 0.98786 | -0.23302 | 0.90138
10 | -0.016725 | -0.004193 | 0.016727 | 0.0041943 | 2.2194e-06 | 1.3008e-06 | 0.025181 | 0.02518 | 0.025181 | 0.98834 | -0.22383 | 0.98848 | -0.22105 | 6.9177
11 | -0.016727 | -0.0041943 | 0.016731 | 0.004197 | 4.6731e-06 | 2.7388e-06 | 0.02518 | 0.02518 | 0.02518 | 0.98848 | -0.22105 | 0.98878 | -0.21519 | 6.9177
12 | 0.0084965 | 0.0021293 | -0.0084963 | -0.0021292 | 1.8515e-07 | 7.9763e-08 | 0.012786 | 0.012786 | 0.012786 | 0.98878 | -0.21519 | 0.98876 | -0.21564 | 3.5127
13 | -0.025228 | -0.0063263 | 0.025289 | 0.006364 | 6.1248e-05 | 3.7741e-05 | 0.037967 | 0.037966 | 0.037967 | 0.98878 | -0.21519 | 0.9914 | -0.16438 | 10.4304
14 | -0.040952 | -0.010292 | 0.040992 | 0.010317 | 4.0348e-05 | 2.5455e-05 | 0.061475 | 0.061475 | 0.061475 | 0.9914 | -0.16438 | 0.99247 | -0.14376 | 16.8888
15 | 0.015663 | 0.0039278 | -0.015655 | -0.0039236 | 7.2942e-06 | 4.2147e-06 | 0.023509 | 0.023509 | 0.023509 | 0.9914 | -0.16438 | 0.9909 | -0.17415 | 6.4586
16 | -0.059995 | -0.015089 | 0.06001 | 0.015098 | 1.4373e-05 | 9.1377e-06 | 0.08997 | 0.08997 | 0.08997 | 0.99247 | -0.14376 | 0.99273 | -0.13875 | 24.7171
17 | 0.019003 | 0.0047719 | -0.018988 | -0.0047625 | 1.5778e-05 | 9.4288e-06 | 0.028495 | 0.028495 | 0.028495 | 0.99247 | -0.14376 | 0.99157 | -0.16118 | 7.8284
18 | 0.0010017 | 0.00025103 | -0.0010017 | -0.00025105 | 1.414e-09 | -2.056e-08 | 0.0015042 | 0.0015042 | 0.0015042 | 0.9909 | -0.17415 | 0.9909 | -0.17418 | 0.41325
19 | 0.0020676 | 0.0005181 | -0.0020676 | -0.00051819 | 2.8722e-08 | -8.3079e-08 | 0.0031116 | 0.0031116 | 0.0031116 | 0.98876 | -0.21564 | 0.98874 | -0.21594 | 0.85484
20 | 0.0042186 | 0.0010572 | -0.0042185 | -0.0010572 | 7.5245e-08 | -1.5693e-08 | 0.0063487 | 0.0063487 | 0.0063487 | 0.98876 | -0.21564 | 0.98874 | -0.21602 | 1.7441
21 | -0.072995 | -0.018353 | 0.07305 | 0.018387 | 5.422e-05 | 3.4545e-05 | 0.10943 | 0.10943 | 0.10943 | 0.99273 | -0.13875 | 0.99353 | -0.12321 | 30.0645
22 | 0.018988 | 0.0047625 | -0.018977 | -0.004756 | 1.0781e-05 | 6.4436e-06 | 0.028495 | 0.028496 | 0.028496 | 0.99157 | -0.16118 | 0.99095 | -0.1731 | 7.8284
23 | -0.18891 | -0.047921 | 0.18935 | 0.048199 | 0.00043435 | 0.00027723 | 0.28314 | 0.28314 | 0.28314 | 0.99353 | -0.12321 | 0.99603 | -0.075509 | 38.8927
24 | 0.17324 | 0.043936 | -0.17311 | -0.043854 | 0.00012985 | 8.2837e-05 | 0.25899 | 0.25899 | 0.25899 | 0.99603 | -0.075509 | 0.99521 | -0.091112 | 35.5755
25 | -0.36258 | -0.092135 | 0.36271 | 0.092218 | 0.00012976 | 8.2907e-05 | 0.54213 | 0.54213 | 0.54213 | 0.99603 | -0.075509 | 0.99642 | -0.068079 | 49.6454
26 | 0.0021766 | 0.00054543 | -0.0021766 | -0.0005455 | 2.5643e-08 | -6.5322e-08 | 0.0032757 | 0.0032757 | 0.0032757 | 0.98874 | -0.21602 | 0.98873 | -0.21627 | 0.89992
27 | 0.13994 | 0.03554 | -0.13953 | -0.035279 | 0.00040852 | 0.00026113 | 0.20939 | 0.2094 | 0.2094 | 0.99521 | -0.091112 | 0.99204 | -0.15196 | 57.5261
28 | -0.36271 | -0.092218 | 0.36391 | 0.092981 | 0.0011937 | 0.0007627 | 0.54213 | 0.54213 | 0.54213 | 0.99642 | -0.068079 | 1 | 0 | 49.6454
29 | 0.044531 | 0.011197 | -0.044494 | -0.011173 | 3.7432e-05 | 2.3659e-05 | 0.066276 | 0.066276 | 0.066276 | 1 | 0 | 0.99908 | -0.017617 | 18.2077
30 | -0.0040316 | -0.0010104 | 0.0040319 | 0.0010103 | 3.0511e-07 | -9.7262e-08 | 0.0060199 | 0.0060198 | 0.0060199 | 0.99653 | -0.066691 | 0.99662 | -0.065102 | 1.6538
31 | -0.019184 | -0.0048077 | 0.019191 | 0.0048122 | 7.5326e-06 | 4.5017e-06 | 0.028643 | 0.028643 | 0.028643 | 0.99662 | -0.065102 | 0.99704 | -0.056863 | 7.8689
32 | -0.023592 | -0.005915 | 0.023599 | 0.0059198 | 7.7813e-06 | 4.7617e-06 | 0.03521 | 0.03521 | 0.03521 | 0.99704 | -0.056863 | 0.9974 | -0.049944 | 9.673
33 | -0.023599 | -0.0059198 | 0.023617 | 0.0059304 | 1.7313e-05 | 1.0594e-05 | 0.03521 | 0.035209 | 0.03521 | 0.9974 | -0.049944 | 0.9982 | -0.034567 | 9.6729
34 | -0.010609 | -0.002659 | 0.01061 | 0.0026594 | 8.1333e-07 | 4.0681e-07 | 0.015803 | 0.015803 | 0.015803 | 0.999 | -0.019226 | 0.99908 | -0.017617 | 4.3414
35 | 0.033883 | 0.0085138 | -0.033856 | -0.0084966 | 2.7389e-05 | 1.7154e-05 | 0.050473 | 0.050473 | 0.050473 | 0.99908 | -0.017617 | 0.9982 | -0.034567 | 13.8663
36 | -0.015504 | -0.0038856 | 0.015507 | 0.0038874 | 3.0893e-06 | 1.7883e-06 | 0.023494 | 0.023494 | 0.023494 | 0.98197 | -0.34737 | 0.98219 | -0.34319 | 6.4543
37 | -0.026789 | -0.0067149 | 0.026799 | 0.0067215 | 1.0571e-05 | 6.5486e-06 | 0.040586 | 0.040586 | 0.040586 | 0.98219 | -0.34319 | 0.98261 | -0.33491 | 11.1499
38 | -0.039153 | -0.0098178 | 0.039187 | 0.0098396 | 3.4603e-05 | 2.1813e-05 | 0.059293 | 0.059293 | 0.059293 | 0.98261 | -0.33491 | 0.98356 | -0.31639 | 16.2893
39 | 0.012353 | 0.0030963 | -0.012353 | -0.0030958 | 7.6859e-07 | 4.1772e-07 | 0.018707 | 0.018707 | 0.018707 | 0.98261 | -0.33491 | 0.98254 | -0.33622 | 5.1394
40 | -0.0081131 | -0.0020333 | 0.0081139 | 0.0020337 | 7.4233e-07 | 3.0725e-07 | 0.012255 | 0.012255 | 0.012255 | 0.98512 | -0.28584 | 0.98522 | -0.28392 | 3.3667
41 | 0.068294 | 0.017171 | -0.068248 | -0.017142 | 4.5308e-05 | 2.8853e-05 | 0.10317 | 0.10317 | 0.10317 | 0.98522 | -0.28392 | 0.98451 | -0.29782 | 28.3422
42 | -0.076407 | -0.019204 | 0.076417 | 0.01921 | 9.3706e-06 | 5.9733e-06 | 0.11542 | 0.11542 | 0.11542 | 0.98522 | -0.28392 | 0.98535 | -0.28135 | 31.7089
43 | -0.051232 | -0.012858 | 0.051277 | 0.012887 | 4.5397e-05 | 2.8798e-05 | 0.077515 | 0.077514 | 0.077515 | 0.98356 | -0.31639 | 0.98451 | -0.29782 | 21.2952
44 | 0.016971 | 0.004255 | -0.016966 | -0.0042522 | 4.7635e-06 | 2.8032e-06 | 0.025651 | 0.025651 | 0.025651 | 0.98451 | -0.29782 | 0.98421 | -0.30371 | 7.0471
45 | -0.083785 | -0.021057 | 0.083909 | 0.021136 | 0.00012339 | 7.8707e-05 | 0.12655 | 0.12655 | 0.12655 | 0.98535 | -0.28135 | 0.98694 | -0.25055 | 34.7659
46 | -0.08487 | -0.021377 | 0.084874 | 0.021379 | 3.3162e-06 | 2.1154e-06 | 0.128 | 0.128 | 0.128 | 0.98694 | -0.25055 | 0.98698 | -0.24974 | 35.1641
47 | -0.094313 | -0.023745 | 0.094429 | 0.023819 | 0.00011697 | 7.4663e-05 | 0.14223 | 0.14223 | 0.14223 | 0.98698 | -0.24974 | 0.98832 | -0.22383 | 39.0737
48 | -0.10994 | -0.027708 | 0.11013 | 0.027828 | 0.00018882 | 0.00012061 | 0.16559 | 0.16559 | 0.16559 | 0.98832 | -0.22383 | 0.99017 | -0.188 | 45.4911
49 | -0.12514 | -0.031588 | 0.12535 | 0.031727 | 0.00021642 | 0.0001383 | 0.18813 | 0.18813 | 0.18813 | 0.99017 | -0.188 | 0.99204 | -0.15196 | 51.6851

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42046 | 0.10678

## res_load
| p_mw | q_mvar
0 | 0.08141 | 0.020403
1 | 0.033174 | 0.0083142
2 | 0.0020514 | 0.00051412
3 | 0.0020733 | 0.00051962
4 | 0.0021902 | 0.0005489
5 | 0.002064 | 0.00051729
6 | 0.0020231 | 0.00050703
7 | 0.0020451 | 0.00051256
8 | 0.0020939 | 0.00052479
9 | 0.0021782 | 0.00054591
10 | 0.014654 | 0.0036725
11 | 0.0022101 | 0.00055391
12 | 0.012986 | 0.0032545
13 | 0.018977 | 0.004756
14 | 0.0010017 | 0.00025105
15 | 0.0020676 | 0.00051819
16 | 0.0020419 | 0.00051175
17 | 0.03317 | 0.0083132
18 | 0.010373 | 0.0025996
19 | 0.0021766 | 0.0005455
20 | 0.0040316 | 0.0010104
21 | 0.015152 | 0.0037974
22 | 0.0044002 | 0.0011028
23 | 0.010609 | 0.002659
24 | 0.010239 | 0.0025662
25 | 0.015504 | 0.0038856
26 | 0.011282 | 0.0028275
27 | 0.012353 | 0.0030958
28 | 0.0081131 | 0.0020333
29 | 0.012044 | 0.0030186
30 | 0.0073686 | 0.0018467
31 | 0.016966 | 0.0042522
32 | 0.00096144 | 0.00024096
33 | 0.009439 | 0.0023656
34 | 0.015515 | 0.0038884
35 | 0.015003 | 0.0037601
36 | 0.014175 | 0.0035525

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1