## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-42_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-42_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-42_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-42_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-42_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-42_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1061-42_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1061-42_0_5_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1061-42_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1061-42_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1061-42_0_5_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1061-42_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1061-42_0_5_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1061-42_0_5_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_1061-42_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1061-42_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-42_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-42_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1061-42_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1061-42_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1061-42_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1061-42_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1061-42_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1061-42_0_5_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1061-42_0_5_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1061-42_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1061-42_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1061-42_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1061-42_0_5_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1061-42_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1061-42_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1061-42_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1061-42_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1061-42_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1061-42_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1061-42_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1061-42_0_5_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1061-42_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1061-42_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1061-42_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1061-42_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1061-42_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1061-42_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1061-42_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1061-42_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_MV_219_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-42_0_5_load_0 | 0 | 0.017746 | 0.0044476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-42_0_5_load_1 | 1 | 0.0070532 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-42_0_5_load_2 | 2 | 0.0062625 | 0.0015695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-42_0_5_load_8 | 5 | 0.040224 | 0.010081 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-42_0_5_load_5 | 6 | 0.0052128 | 0.0013065 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-42_0_5_load_33 | 7 | 0.018883 | 0.0047325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-42_0_5_load_6 | 9 | 0.0090468 | 0.0022673 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-42_0_5_load_34 | 10 | 0.0080465 | 0.0020167 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-42_0_5_load_7 | 11 | 0.0049318 | 0.001236 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-42_0_5_load_47 | 13 | 0.03115 | 0.007807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-42_0_5_load_18 | 14 | 0.028544 | 0.0071538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-42_0_5_load_9 | 15 | 0.008085 | 0.0020263 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-42_0_5_load_10 | 16 | 0.0043928 | 0.0011009 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-42_0_5_load_11 | 17 | 0.0069545 | 0.001743 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-42_0_5_load_13 | 19 | 0.011174 | 0.0028005 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-42_0_5_load_31 | 20 | 0.019465 | 0.0048784 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-42_0_5_load_39 | 21 | 0.012866 | 0.0032245 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-42_0_5_load_40 | 24 | 0.0063995 | 0.0016039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-42_0_5_load_15 | 25 | 0.0081739 | 0.0020486 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-42_0_5_load_16 | 26 | 0.015958 | 0.0039995 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-42_0_5_load_23 | 27 | 0.020203 | 0.0050632 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-42_0_5_load_35 | 28 | 0.00903 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-42_0_5_load_24 | 29 | 0.0041494 | 0.0010399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-42_0_5_load_45 | 32 | 0.012135 | 0.0030412 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-42_0_5_load_42 | 33 | 0.012191 | 0.0030552 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-42_0_5_load_41 | 34 | 0.014363 | 0.0035997 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-42_0_5_load_43 | 36 | 0.040939 | 0.01026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-42_0_5_load_25 | 39 | 0.063556 | 0.015929 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-42_0_5_load_44 | 40 | 0.0044733 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-42_0_5_load_38 | 43 | 0.0023055 | 0.00057781 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-42_0_5_load_36 | 44 | 0.017684 | 0.004432 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-42_0_5_line_0 |  | 0 | 1 | 0.0090993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-42_0_5_line_1 |  | 0 | 2 | 0.0014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1061-42_0_5_line_2 |  | 1 | 3 | 0.0023721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-42_0_5_line_3 |  | 2 | 4 | 0.0071623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1061-42_0_5_line_4 |  | 3 | 5 | 0.015772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-42_0_5_line_5 |  | 3 | 6 | 0.0074018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-42_0_5_line_6 |  | 4 | 7 | 0.0034287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1061-42_0_5_line_7 |  | 5 | 8 | 0.0056297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-42_0_5_line_8 |  | 6 | 9 | 0.0061029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-42_0_5_line_9 |  | 7 | 10 | 0.004415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1061-42_0_5_line_10 |  | 8 | 14 | 0.0099596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-42_0_5_line_11 |  | 9 | 11 | 0.0013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-42_0_5_line_12 |  | 10 | 28 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1061-42_0_5_line_13 |  | 11 | 12 | 0.0077689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-42_0_5_line_14 |  | 12 | 13 | 0.007033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-42_0_5_line_15 |  | 15 | 16 | 0.0067214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1061-42_0_5_line_16 |  | 15 | 17 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1061-42_0_5_line_17 |  | 16 | 18 | 0.0024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1061-42_0_5_line_18 |  | 17 | 19 | 0.003104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1061-42_0_5_line_19 |  | 18 | 20 | 0.031467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-42_0_5_line_20 |  | 18 | 21 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1061-42_0_5_line_21 |  | 19 | 22 | 0.0037701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1061-42_0_5_line_22 |  | 20 | 23 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-42_0_5_line_23 |  | 21 | 24 | 0.021507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-42_0_5_line_24 |  | 22 | 25 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-42_0_5_line_25 |  | 22 | 26 | 0.013296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1061-42_0_5_line_26 |  | 23 | 41 | 0.004459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-42_0_5_line_27 |  | 24 | 37 | 0.0070045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1061-42_0_5_line_28 |  | 25 | 27 | 0.029076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-42_0_5_line_29 |  | 26 | 28 | 5.6076e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1061-42_0_5_line_30 |  | 27 | 29 | 0.00085294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-42_0_5_line_31 |  | 29 | 40 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-42_0_5_line_32 |  | 30 | 31 | 0.057843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-42_0_5_line_33 |  | 30 | 32 | 0.048471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-42_0_5_line_34 |  | 31 | 33 | 0.03684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-42_0_5_line_35 |  | 33 | 34 | 0.027756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-42_0_5_line_36 |  | 34 | 36 | 0.059308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-42_0_5_line_37 |  | 35 | 36 | 0.064842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-42_0_5_line_38 |  | 35 | 37 | 0.096896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-42_0_5_line_39 |  | 37 | 38 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-42_0_5_line_40 |  | 38 | 39 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-42_0_5_line_41 |  | 41 | 42 | 0.014468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-42_0_5_line_42 |  | 42 | 44 | 0.021879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-42_0_5_line_43 |  | 42 | 43 | 0.0055053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-42_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 45 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2666088.7023 | 1211842.6772 | 2666081.3773 | 1211837.2788
1 | 2666088.7023 | 1211842.6772 | 2666089.8762 | 1211843.5422
2 | 2666079.4678 | 1211835.8716 | 2666081.3773 | 1211837.2788
3 | 2666095.6419 | 1211847.7914 | 2666089.8762 | 1211843.5422
4 | 2666079.4678 | 1211835.8716 | 2666066.3667 | 1211827.0906
5 | 2666079.4678 | 1211835.8716 | 2666083.1771 | 1211829.4663
6 | 2666095.6419 | 1211847.7914 | 2666098.4019 | 1211849.8256
7 | 2666061.6903 | 1211823.9563 | 2666066.3667 | 1211827.0906
8 | 2666083.1771 | 1211829.4663 | 2666086.2354 | 1211824.185
9 | 2666101.9559 | 1211852.445 | 2666098.4019 | 1211849.8256
10 | 2666061.6903 | 1211823.9563 | 2666063.0374 | 1211821.7031 | 2666065.5175 | 1211817.9949 | 2666067.1175 | 1211815.6082
11 | 2666086.2354 | 1211824.185 | 2666086.9234 | 1211822.997
12 | 2666110.2503 | 1211858.5581 | 2666101.9559 | 1211852.445
13 | 2666090.8167 | 1211816.274 | 2666086.9234 | 1211822.997
14 | 2666096.9946 | 1211819.6668 | 2666093.8299 | 1211817.9529 | 2666090.8167 | 1211816.274
15 | 2666142.7374 | 1211883.1063 | 2666148.0764 | 1211887.1894
16 | 2666142.7374 | 1211883.1063 | 2666126.4184 | 1211870.626
17 | 2666150.0186 | 1211888.6748 | 2666148.0764 | 1211887.1894
18 | 2666126.4184 | 1211870.626 | 2666123.9528 | 1211868.7403
19 | 2666150.0186 | 1211888.6748 | 2666167.9778 | 1211862.8366
20 | 2666150.0186 | 1211888.6748 | 2666161.8793 | 1211899.0917
21 | 2666120.9581 | 1211866.4501 | 2666123.9528 | 1211868.7403
22 | 2666180.1485 | 1211845.3265 | 2666167.9778 | 1211862.8366
23 | 2666178.0384 | 1211913.2838 | 2666161.8793 | 1211899.0917
24 | 2666120.9581 | 1211866.4501 | 2666127.8623 | 1211856.4231
25 | 2666120.9581 | 1211866.4501 | 2666110.2548 | 1211858.5614
26 | 2666182.6966 | 1211841.6637 | 2666180.1485 | 1211845.3265
27 | 2666182.7486 | 1211918.4561 | 2666178.9297 | 1211914.0666 | 2666178.0384 | 1211913.2838
28 | 2666144.3547 | 1211832.4777 | 2666129.3837 | 1211854.2137 | 2666127.8623 | 1211856.4231
29 | 2666110.2503 | 1211858.5581 | 2666110.2548 | 1211858.5614
30 | 2666144.8385 | 1211831.7752 | 2666144.3547 | 1211832.4777
31 | 2666152.7374 | 1211820.3071 | 2666144.8385 | 1211831.7752
32 | 2666004.1107 | 1211900.0216 | 2666002.7639 | 1211902.9418 | 2666046.3557 | 1211923.5146 | 2666049.876 | 1211925.3659 | 2666052.0442 | 1211926.5017
33 | 2666052.0442 | 1211926.5017 | 2666059.4045 | 1211930.1521 | 2666095.3354 | 1211948.3034
34 | 2666004.1107 | 1211900.0216 | 2666037.2776 | 1211916.0573
35 | 2666062.3047 | 1211928.0586 | 2666056.299 | 1211925.1479 | 2666051.0149 | 1211922.699 | 2666037.2776 | 1211916.0573
36 | 2666115.548 | 1211954.1776 | 2666111.2799 | 1211951.929 | 2666109.21 | 1211950.8387 | 2666085.6683 | 1211939.3819 | 2666062.3047 | 1211928.0586
37 | 2666115.548 | 1211954.1776 | 2666126.8971 | 1211959.9069 | 2666173.3761 | 1211983.837
38 | 2666173.3761 | 1211983.837 | 2666181.4932 | 1211969.2625 | 2666191.6649 | 1211964.0054 | 2666206.3029 | 1211956.1407 | 2666211.9074 | 1211954.3573 | 2666193.2824 | 1211930.5471 | 2666182.7486 | 1211918.4561
39 | 2666182.7486 | 1211918.4561 | 2666191.9535 | 1211908.5743 | 2666194.3479 | 1211904.3761
40 | 2666194.3479 | 1211904.3761 | 2666200.8355 | 1211892.9732
41 | 2666190.8383 | 1211829.691 | 2666182.6966 | 1211841.6637
42 | 2666190.8383 | 1211829.691 | 2666187.8618 | 1211830.1805 | 2666171.5383 | 1211820.7286
43 | 2666190.8383 | 1211829.691 | 2666192.6293 | 1211827.1538 | 2666193.7504 | 1211825.0322

## bus_geodata
| x | y | coords
0 | 2666088.7023 | 1211842.6772
1 | 2666081.3773 | 1211837.2788
2 | 2666089.8762 | 1211843.5422
3 | 2666079.4678 | 1211835.8716
4 | 2666095.6419 | 1211847.7914
5 | 2666066.3667 | 1211827.0906
6 | 2666083.1771 | 1211829.4663
7 | 2666098.4019 | 1211849.8256
8 | 2666061.6903 | 1211823.9563
9 | 2666086.2354 | 1211824.185
10 | 2666101.9559 | 1211852.445
11 | 2666086.9234 | 1211822.997
12 | 2666090.8167 | 1211816.274
13 | 2666096.9946 | 1211819.6668
14 | 2666067.1175 | 1211815.6082
15 | 2666142.7374 | 1211883.1063
16 | 2666148.0764 | 1211887.1894
17 | 2666126.4184 | 1211870.626
18 | 2666150.0186 | 1211888.6748
19 | 2666123.9528 | 1211868.7403
20 | 2666167.9778 | 1211862.8366
21 | 2666161.8793 | 1211899.0917
22 | 2666120.9581 | 1211866.4501
23 | 2666180.1485 | 1211845.3265
24 | 2666178.0384 | 1211913.2838
25 | 2666127.8623 | 1211856.4231
26 | 2666110.2548 | 1211858.5614
27 | 2666144.3547 | 1211832.4777
28 | 2666110.2503 | 1211858.5581
29 | 2666144.8385 | 1211831.7752
30 | 2666052.0442 | 1211926.5017
31 | 2666004.1107 | 1211900.0216
32 | 2666095.3354 | 1211948.3034
33 | 2666037.2776 | 1211916.0573
34 | 2666062.3047 | 1211928.0586
35 | 2666173.3761 | 1211983.837
36 | 2666115.548 | 1211954.1776
37 | 2666182.7486 | 1211918.4561
38 | 2666194.3479 | 1211904.3761
39 | 2666200.8355 | 1211892.9732
40 | 2666152.7374 | 1211820.3071
41 | 2666182.6966 | 1211841.6637
42 | 2666190.8383 | 1211829.691
43 | 2666193.7504 | 1211825.0322
44 | 2666171.5383 | 1211820.7286
45 | 2666095.6419 | 1211847.7914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99678 | -0.061722 | 0.017746 | 0.0044476
1 | 0.99574 | -0.081882 | 0.0070532 | 0.0017677
2 | 0.99688 | -0.059881 | 0.0062625 | 0.0015695
3 | 0.99548 | -0.08685 | 0 | 0
4 | 0.99737 | -0.050454 | 0 | 0
5 | 0.99449 | -0.10594 | 0.040224 | 0.010081
6 | 0.99514 | -0.093406 | 0.0052128 | 0.0013065
7 | 0.9976 | -0.045944 | 0.018883 | 0.0047325
8 | 0.99434 | -0.10878 | 0 | 0
9 | 0.99489 | -0.098254 | 0.0090468 | 0.0022673
10 | 0.99794 | -0.03941 | 0.0080465 | 0.0020167
11 | 0.99484 | -0.099127 | 0.0049318 | 0.001236
12 | 0.99462 | -0.10339 | 0 | 0
13 | 0.99442 | -0.10725 | 0.03115 | 0.007807
14 | 0.99408 | -0.11379 | 0.028544 | 0.0071538
15 | 0.99726 | -0.052156 | 0.008085 | 0.0020263
16 | 0.99662 | -0.064316 | 0.0043928 | 0.0011009
17 | 0.99928 | -0.013637 | 0.0069545 | 0.001743
18 | 0.9964 | -0.068648 | 0 | 0
19 | 0.9996 | -0.0076429 | 0.011174 | 0.0028005
20 | 0.99527 | -0.09047 | 0.019465 | 0.0048784
21 | 0.99522 | -0.091187 | 0.012866 | 0.0032245
22 | 1 | 0 | -0.4764 | -0.1202
23 | 0.99488 | -0.097974 | 0 | 0
24 | 0.99374 | -0.11954 | 0.0063995 | 0.0016039
25 | 0.99959 | -0.0078543 | 0.0081739 | 0.0020486
26 | 0.99878 | -0.023446 | 0.015958 | 0.0039995
27 | 0.99883 | -0.022486 | 0.020203 | 0.0050632
28 | 0.99878 | -0.023455 | 0.00903 | 0.0022631
29 | 0.99882 | -0.022614 | 0.0041494 | 0.0010399
30 | 0.97753 | -0.43355 | 0 | 0
31 | 0.97818 | -0.42076 | 0 | 0
32 | 0.97698 | -0.44429 | 0.012135 | 0.0030412
33 | 0.9786 | -0.41261 | 0.012191 | 0.0030552
34 | 0.97922 | -0.40033 | 0.014363 | 0.0035997
35 | 0.98613 | -0.26571 | 0 | 0
36 | 0.98135 | -0.35871 | 0.040939 | 0.01026
37 | 0.99327 | -0.12839 | 0 | 0
38 | 0.99221 | -0.14898 | 0 | 0
39 | 0.99145 | -0.16376 | 0.063556 | 0.015929
40 | 0.99877 | -0.023703 | 0.0044733 | 0.0011211
41 | 0.9948 | -0.099544 | 0 | 0
42 | 0.99453 | -0.10464 | 0 | 0
43 | 0.99452 | -0.10486 | 0.0023055 | 0.00057781
44 | 0.99418 | -0.11146 | 0.017684 | 0.004432
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.12643 | 0.031787 | -0.1263 | -0.031709 | 0.00012159 | 7.7698e-05 | 0.18877 | 0.18877 | 0.18877 | 0.99678 | -0.061722 | 0.99574 | -0.081882 | 51.859
1 | -0.14417 | -0.036234 | 0.14418 | 0.036242 | 1.2669e-05 | 8.0699e-06 | 0.21526 | 0.21526 | 0.21526 | 0.99678 | -0.061722 | 0.99688 | -0.059881 | 29.5685
2 | 0.11925 | 0.029941 | -0.11922 | -0.029923 | 2.8255e-05 | 1.8053e-05 | 0.17823 | 0.17823 | 0.17823 | 0.99574 | -0.081882 | 0.99548 | -0.08685 | 48.9634
3 | -0.15045 | -0.037812 | 0.15052 | 0.037855 | 6.7749e-05 | 4.3172e-05 | 0.22461 | 0.22461 | 0.22461 | 0.99688 | -0.059881 | 0.99737 | -0.050454 | 30.8525
4 | 0.068841 | 0.017281 | -0.068779 | -0.017242 | 6.2638e-05 | 3.9884e-05 | 0.10291 | 0.10291 | 0.10291 | 0.99548 | -0.08685 | 0.99449 | -0.10594 | 28.2726
5 | 0.050382 | 0.012642 | -0.050366 | -0.012632 | 1.5744e-05 | 9.9801e-06 | 0.075314 | 0.075314 | 0.075314 | 0.99548 | -0.08685 | 0.99514 | -0.093406 | 20.6908
6 | -0.15052 | -0.037855 | 0.15055 | 0.037876 | 3.2432e-05 | 2.0667e-05 | 0.22461 | 0.22461 | 0.22461 | 0.99737 | -0.050454 | 0.9976 | -0.045944 | 30.8525
7 | 0.028555 | 0.0071604 | -0.028551 | -0.007158 | 3.854e-06 | 2.3935e-06 | 0.042726 | 0.042726 | 0.042726 | 0.99449 | -0.10594 | 0.99434 | -0.10878 | 11.738
8 | 0.045153 | 0.011325 | -0.045143 | -0.011319 | 1.0434e-05 | 6.5982e-06 | 0.06752 | 0.06752 | 0.06752 | 0.99514 | -0.093406 | 0.99489 | -0.098254 | 18.5494
9 | -0.16943 | -0.042608 | 0.16948 | 0.042642 | 5.2892e-05 | 3.3735e-05 | 0.25277 | 0.25277 | 0.25277 | 0.9976 | -0.045944 | 0.99794 | -0.03941 | 34.7214
10 | 0.028551 | 0.007158 | -0.028544 | -0.0071538 | 6.8182e-06 | 4.2345e-06 | 0.042726 | 0.042727 | 0.042727 | 0.99434 | -0.10878 | 0.99408 | -0.11379 | 11.7381
11 | 0.036096 | 0.0090515 | -0.036094 | -0.0090506 | 1.5006e-06 | 9.4258e-07 | 0.053989 | 0.053989 | 0.053989 | 0.99489 | -0.098254 | 0.99484 | -0.099127 | 14.8321
12 | -0.17753 | -0.044659 | 0.17767 | 0.044745 | 0.00013544 | 8.6409e-05 | 0.26477 | 0.26477 | 0.26477 | 0.99794 | -0.03941 | 0.99878 | -0.023455 | 36.3695
13 | 0.031162 | 0.0078146 | -0.031156 | -0.0078106 | 6.3298e-06 | 3.9502e-06 | 0.046612 | 0.046612 | 0.046612 | 0.99484 | -0.099127 | 0.99462 | -0.10339 | 12.8056
14 | 0.031156 | 0.0078106 | -0.03115 | -0.007807 | 5.7302e-06 | 3.5761e-06 | 0.046612 | 0.046612 | 0.046612 | 0.99462 | -0.10339 | 0.99442 | -0.10725 | 12.8056
15 | 0.20807 | 0.052829 | -0.20795 | -0.052752 | 0.00012166 | 7.7687e-05 | 0.3107 | 0.3107 | 0.3107 | 0.99726 | -0.052156 | 0.99662 | -0.064316 | 42.6789
16 | -0.21615 | -0.054856 | 0.21656 | 0.055112 | 0.0004013 | 0.00025629 | 0.32277 | 0.32277 | 0.32277 | 0.99726 | -0.052156 | 0.99928 | -0.013637 | 44.3359
17 | 0.20355 | 0.051651 | -0.20351 | -0.051624 | 4.2409e-05 | 2.7078e-05 | 0.30414 | 0.30414 | 0.30414 | 0.99662 | -0.064316 | 0.9964 | -0.068648 | 41.7779
18 | -0.22351 | -0.056855 | 0.22357 | 0.056896 | 6.4585e-05 | 4.1253e-05 | 0.33312 | 0.33312 | 0.33312 | 0.99928 | -0.013637 | 0.9996 | -0.0076429 | 45.7584
19 | 0.039515 | 0.0099255 | -0.039474 | -0.0098996 | 4.1102e-05 | 2.5896e-05 | 0.059019 | 0.059019 | 0.059019 | 0.9964 | -0.068648 | 0.99527 | -0.09047 | 16.214
20 | 0.164 | 0.041698 | -0.16382 | -0.041585 | 0.00017784 | 0.00011341 | 0.24512 | 0.24512 | 0.24512 | 0.9964 | -0.068648 | 0.99522 | -0.091187 | 33.671
21 | -0.23475 | -0.059697 | 0.23483 | 0.059752 | 8.6473e-05 | 5.5244e-05 | 0.34976 | 0.34976 | 0.34976 | 0.9996 | -0.0076429 | 1 | 0 | 48.0433
22 | 0.020009 | 0.0050213 | -0.020001 | -0.005017 | 7.1573e-06 | 4.3036e-06 | 0.029917 | 0.029917 | 0.029917 | 0.99527 | -0.09047 | 0.99488 | -0.097974 | 8.219
23 | 0.15095 | 0.03836 | -0.15075 | -0.038229 | 0.00020576 | 0.00013113 | 0.22589 | 0.22589 | 0.22589 | 0.99522 | -0.091187 | 0.99374 | -0.11954 | 31.0286
24 | 0.037034 | 0.0092941 | -0.03702 | -0.0092854 | 1.3866e-05 | 8.7144e-06 | 0.055111 | 0.055111 | 0.055111 | 1 | 0 | 0.99959 | -0.0078543 | 15.1404
25 | 0.20288 | 0.051153 | -0.20265 | -0.051008 | 0.00022737 | 0.00014517 | 0.302 | 0.302 | 0.302 | 1 | 0 | 0.99878 | -0.023446 | 41.4833
26 | 0.020001 | 0.005017 | -0.02 | -0.0050161 | 1.4966e-06 | 8.9994e-07 | 0.029917 | 0.029917 | 0.029917 | 0.99488 | -0.097974 | 0.9948 | -0.099544 | 8.219
27 | 0.14435 | 0.036625 | -0.14429 | -0.036586 | 6.1449e-05 | 3.9146e-05 | 0.21631 | 0.21631 | 0.21631 | 0.99374 | -0.11954 | 0.99327 | -0.12839 | 29.7124
28 | 0.028846 | 0.0072368 | -0.028826 | -0.0072243 | 2.0107e-05 | 1.2488e-05 | 0.042943 | 0.042943 | 0.042943 | 0.99959 | -0.0078543 | 0.99883 | -0.022486 | 11.7976
29 | 0.1867 | 0.047008 | -0.1867 | -0.047008 | 8.1388e-08 | 5.1914e-08 | 0.27822 | 0.27822 | 0.27822 | 0.99878 | -0.023446 | 0.99878 | -0.023455 | 38.2175
30 | 0.0086231 | 0.0021611 | -0.008623 | -0.002161 | 5.2784e-08 | 2.2618e-08 | 0.012846 | 0.012846 | 0.012846 | 0.99883 | -0.022486 | 0.99882 | -0.022614 | 3.5292
31 | 0.0044736 | 0.0011211 | -0.0044733 | -0.0011211 | 2.3194e-07 | -3.3806e-08 | 0.0066646 | 0.0066646 | 0.0066646 | 0.99882 | -0.022614 | 0.99877 | -0.023703 | 1.8309
32 | -0.012141 | -0.0030446 | 0.012148 | 0.0030486 | 7.4092e-06 | 4.0162e-06 | 0.018482 | 0.018482 | 0.018482 | 0.97753 | -0.43355 | 0.97818 | -0.42076 | 5.0774
33 | 0.012141 | 0.0030446 | -0.012135 | -0.0030412 | 6.2089e-06 | 3.3664e-06 | 0.018482 | 0.018482 | 0.018482 | 0.97753 | -0.43355 | 0.97698 | -0.44429 | 5.0775
34 | -0.012148 | -0.0030486 | 0.012153 | 0.0030512 | 4.7187e-06 | 2.5573e-06 | 0.018482 | 0.018481 | 0.018482 | 0.97818 | -0.42076 | 0.9786 | -0.41261 | 5.0774
35 | -0.024344 | -0.0061064 | 0.024358 | 0.0061152 | 1.4263e-05 | 8.7795e-06 | 0.037018 | 0.037018 | 0.037018 | 0.9786 | -0.41261 | 0.97922 | -0.40033 | 10.1698
36 | -0.038721 | -0.0097149 | 0.038798 | 0.0097634 | 7.7009e-05 | 4.8538e-05 | 0.058843 | 0.058843 | 0.058843 | 0.97922 | -0.40033 | 0.98135 | -0.35871 | 16.1658
37 | 0.080092 | 0.02025 | -0.079737 | -0.020024 | 0.00035553 | 0.00022671 | 0.12092 | 0.12092 | 0.12092 | 0.98613 | -0.26571 | 0.98135 | -0.35871 | 33.2195
38 | -0.080092 | -0.02025 | 0.080624 | 0.020589 | 0.00053128 | 0.00033877 | 0.12092 | 0.12092 | 0.12092 | 0.98613 | -0.26571 | 0.99327 | -0.12839 | 33.2194
39 | 0.063663 | 0.015997 | -0.063601 | -0.015957 | 6.2506e-05 | 3.9767e-05 | 0.095388 | 0.095389 | 0.095389 | 0.99327 | -0.12839 | 0.99221 | -0.14898 | 26.2056
40 | 0.063601 | 0.015957 | -0.063556 | -0.015929 | 4.4764e-05 | 2.848e-05 | 0.095389 | 0.095389 | 0.095389 | 0.99221 | -0.14898 | 0.99145 | -0.16376 | 26.2057
41 | 0.02 | 0.0050161 | -0.019995 | -0.0050131 | 4.8561e-06 | 2.9201e-06 | 0.029917 | 0.029917 | 0.029917 | 0.9948 | -0.099544 | 0.99453 | -0.10464 | 8.219
42 | 0.01769 | 0.0044354 | -0.017684 | -0.004432 | 5.7477e-06 | 3.3947e-06 | 0.026468 | 0.026468 | 0.026468 | 0.99453 | -0.10464 | 0.99418 | -0.11146 | 7.2714
43 | 0.0023055 | 0.00057775 | -0.0023055 | -0.00057781 | 2.4565e-08 | -5.5715e-08 | 0.0034495 | 0.0034495 | 0.0034495 | 0.99453 | -0.10464 | 0.99452 | -0.10486 | 0.94766

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4764 | 0.1202

## res_load
| p_mw | q_mvar
0 | 0.017746 | 0.0044476
1 | 0.0070532 | 0.0017677
2 | 0.0062625 | 0.0015695
3 | 0.040224 | 0.010081
4 | 0.0052128 | 0.0013065
5 | 0.018883 | 0.0047325
6 | 0.0090468 | 0.0022673
7 | 0.0080465 | 0.0020167
8 | 0.0049318 | 0.001236
9 | 0.03115 | 0.007807
10 | 0.028544 | 0.0071538
11 | 0.008085 | 0.0020263
12 | 0.0043928 | 0.0011009
13 | 0.0069545 | 0.001743
14 | 0.011174 | 0.0028005
15 | 0.019465 | 0.0048784
16 | 0.012866 | 0.0032245
17 | 0.0063995 | 0.0016039
18 | 0.0081739 | 0.0020486
19 | 0.015958 | 0.0039995
20 | 0.020203 | 0.0050632
21 | 0.00903 | 0.0022631
22 | 0.0041494 | 0.0010399
23 | 0.012135 | 0.0030412
24 | 0.012191 | 0.0030552
25 | 0.014363 | 0.0035997
26 | 0.040939 | 0.01026
27 | 0.063556 | 0.015929
28 | 0.0044733 | 0.0011211
29 | 0.0023055 | 0.00057781
30 | 0.017684 | 0.004432

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1