## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-4_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1061-4_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_1061-4_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1061-4_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1061-4_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1061-4_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1061-4_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1061-4_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1061-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1061-4_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1061-4_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1061-4_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1061-4_0_4_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1061-4_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-4_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1061-4_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1061-4_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1061-4_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1061-4_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1061-4_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1061-4_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1061-4_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1061-4_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1061-4_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1061-4_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1061-4_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1061-4_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1061-4_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_MV_219_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-4_0_4_load_0 | 0 | 0.025645 | 0.0064273 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-4_0_4_load_27 | 4 | 0.068279 | 0.017112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-4_0_4_load_25 | 7 | 0.074653 | 0.01871 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-4_0_4_load_28 | 8 | 0.082052 | 0.020564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-4_0_4_load_20 | 10 | 0.0221 | 0.0055388 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-4_0_4_load_29 | 15 | 0.031283 | 0.0078403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-4_0_4_load_26 | 17 | 0.096193 | 0.024108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-4_0_4_load_36 | 20 | 0.0023344 | 0.00058504 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-4_0_4_load_30 | 21 | 0.013052 | 0.0032711 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-4_0_4_load_33 | 22 | 0.0016064 | 0.0004026 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-4_0_4_load_32 | 23 | 0.014057 | 0.0035229 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-4_0_4_load_24 | 26 | 0.028964 | 0.007259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-4_0_4_load_35 | 27 | 0.04297 | 0.010769 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-4_0_4_load_23 | 28 | 0.0639 | 0.016015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-4_0_4_load_31 | 29 | 0.0070074 | 0.0017562 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-4_0_4_load_34 | 30 | 0.0028302 | 0.0007093 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-4_0_4_line_0 |  | 0 | 1 | 0.068692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-4_0_4_line_1 |  | 1 | 2 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-4_0_4_line_2 |  | 2 | 3 | 0.023548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1061-4_0_4_line_3 |  | 2 | 4 | 0.037689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1061-4_0_4_line_4 |  | 3 | 8 | 0.020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-4_0_4_line_5 |  | 3 | 5 | 0.050555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1061-4_0_4_line_6 |  | 4 | 16 | 0.0038755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-4_0_4_line_7 |  | 5 | 6 | 0.063465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1061-4_0_4_line_8 |  | 5 | 7 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1061-4_0_4_line_9 |  | 6 | 28 | 0.038103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-4_0_4_line_10 |  | 6 | 9 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-4_0_4_line_11 |  | 8 | 14 | 0.040564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-4_0_4_line_12 |  | 9 | 10 | 0.0067505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-4_0_4_line_13 |  | 10 | 11 | 0.027569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-4_0_4_line_14 |  | 11 | 12 | 0.0084883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-4_0_4_line_15 |  | 11 | 13 | 0.076918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-4_0_4_line_16 |  | 12 | 29 | 0.01742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-4_0_4_line_17 |  | 13 | 21 | 0.0052334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-4_0_4_line_18 |  | 13 | 18 | 0.045085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-4_0_4_line_19 |  | 14 | 15 | 0.024628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-4_0_4_line_20 |  | 16 | 17 | 0.020595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-4_0_4_line_21 |  | 18 | 19 | 0.045878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-4_0_4_line_22 |  | 18 | 20 | 0.0036768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-4_0_4_line_23 |  | 19 | 22 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-4_0_4_line_24 |  | 19 | 23 | 0.019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-4_0_4_line_25 |  | 22 | 30 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-4_0_4_line_26 |  | 24 | 25 | 0.025047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-4_0_4_line_27 |  | 24 | 26 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-4_0_4_line_28 |  | 25 | 27 | 0.04435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-4_0_4_line_29 |  | 27 | 28 | 0.0045197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-4_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 31 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2665954.4169 | 1211461.735 | 2665954.2866 | 1211462.5229 | 2665952.4328 | 1211477.6118 | 2665994.5912 | 1211509.2196
1 | 2665941.4624 | 1211452.6529 | 2665940.8746 | 1211457.7051 | 2665940.589 | 1211460.1701 | 2665954.4169 | 1211461.735
2 | 2665941.4624 | 1211452.6529 | 2665964.9458 | 1211455.1584
3 | 2665941.4624 | 1211452.6529 | 2665941.8489 | 1211449.3107 | 2665946.4448 | 1211415.2956
4 | 2665964.9458 | 1211455.1584 | 2665966.2697 | 1211443.3213 | 2665967.1738 | 1211435.2583
5 | 2666015.2054 | 1211460.6176 | 2665991.7907 | 1211458.0904 | 2665964.9458 | 1211455.1584
6 | 2665946.9637 | 1211411.455 | 2665946.4448 | 1211415.2956
7 | 2666015.2054 | 1211460.6176 | 2666078.4223 | 1211468.0219
8 | 2666015.2054 | 1211460.6176 | 2666017.9023 | 1211437.2353
9 | 2666078.4223 | 1211468.0219 | 2666082.6146 | 1211430.1506
10 | 2666078.4223 | 1211468.0219 | 2666103.0877 | 1211470.819
11 | 2665977.135 | 1211400.8486 | 2665975.8686 | 1211403.3584 | 2665970.7372 | 1211402.8569 | 2665968.6221 | 1211422.3233 | 2665967.8547 | 1211429.1857 | 2665967.1738 | 1211435.2583
12 | 2666103.0877 | 1211470.819 | 2666109.8197 | 1211470.3185
13 | 2666137.2744 | 1211472.2542 | 2666125.2276 | 1211471.12 | 2666113.6285 | 1211470.0353 | 2666109.8197 | 1211470.3185
14 | 2666137.2744 | 1211472.2542 | 2666137.2206 | 1211469.5742 | 2666137.2147 | 1211469.4185 | 2666137.4495 | 1211464.696 | 2666137.4977 | 1211463.7737
15 | 2666137.2744 | 1211472.2542 | 2666137.3068 | 1211476.1903 | 2666137.3362 | 1211479.0146 | 2666141.0814 | 1211479.1118 | 2666146.247 | 1211479.258 | 2666151.863 | 1211479.2202 | 2666155.4803 | 1211479.2048 | 2666159.7436 | 1211479.1742 | 2666166.7277 | 1211479.1072 | 2666167.4269 | 1211479.1038 | 2666172.3004 | 1211478.8688 | 2666173.5223 | 1211476.9479 | 2666174.5664 | 1211475.3029 | 2666179.1327 | 1211469.1942 | 2666179.5261 | 1211464.5624 | 2666181.1081 | 1211445.9462
16 | 2666137.4977 | 1211463.7737 | 2666137.9842 | 1211458.2757 | 2666139.1107 | 1211447.8262 | 2666139.2693 | 1211446.4444
17 | 2666181.1081 | 1211445.9462 | 2666181.6332 | 1211440.7392
18 | 2666181.1081 | 1211445.9462 | 2666187.3924 | 1211446.6274 | 2666189.2145 | 1211446.7811 | 2666190.7477 | 1211446.9426 | 2666194.0647 | 1211447.2796 | 2666196.3267 | 1211447.5048 | 2666198.2091 | 1211447.6925 | 2666201.2604 | 1211448.0043 | 2666202.9 | 1211448.1671 | 2666205.1848 | 1211448.3926 | 2666208.889 | 1211448.7561 | 2666210.9687 | 1211448.9682 | 2666211.2572 | 1211448.9936 | 2666225.9424 | 1211450.6799
19 | 2665977.135 | 1211400.8486 | 2665991.1848 | 1211402.2826 | 2665995.2879 | 1211405.7524 | 2665995.0415 | 1211410.8785
20 | 2665946.9637 | 1211411.455 | 2665947.8741 | 1211404.7164 | 2665950.5757 | 1211391.1883
21 | 2666220.1029 | 1211496.1653 | 2666221.8187 | 1211486.0448 | 2666222.6559 | 1211481.1288 | 2666223.2345 | 1211474.8758 | 2666223.9265 | 1211468.6686 | 2666225.9424 | 1211450.6799
22 | 2666225.9424 | 1211450.6799 | 2666226.0607 | 1211449.6138 | 2666226.3159 | 1211447.0222
23 | 2666220.1029 | 1211496.1653 | 2666232.5596 | 1211497.2289
24 | 2666220.1029 | 1211496.1653 | 2666219.8247 | 1211498.6416 | 2666219.4687 | 1211501.2726 | 2666217.494 | 1211515.8594
25 | 2666250.2266 | 1211498.7374 | 2666232.5596 | 1211497.2289
26 | 2666100.0876 | 1211385.6777 | 2666108.5005 | 1211372.5739 | 2666116.6927 | 1211377.3343
27 | 2666116.6927 | 1211377.3343 | 2666133.1458 | 1211387.2158
28 | 2666100.0876 | 1211385.6777 | 2666087.2298 | 1211406.2702 | 2666084.6963 | 1211411.3453 | 2666083.1119 | 1211425.6583
29 | 2666082.6146 | 1211430.1506 | 2666083.1119 | 1211425.6583

## bus_geodata
| x | y | coords
0 | 2665994.5912 | 1211509.2196
1 | 2665954.4169 | 1211461.735
2 | 2665941.4624 | 1211452.6529
3 | 2665964.9458 | 1211455.1584
4 | 2665946.4448 | 1211415.2956
5 | 2666015.2054 | 1211460.6176
6 | 2666078.4223 | 1211468.0219
7 | 2666017.9023 | 1211437.2353
8 | 2665967.1738 | 1211435.2583
9 | 2666103.0877 | 1211470.819
10 | 2666109.8197 | 1211470.3185
11 | 2666137.2744 | 1211472.2542
12 | 2666137.4977 | 1211463.7737
13 | 2666181.1081 | 1211445.9462
14 | 2665977.135 | 1211400.8486
15 | 2665995.0415 | 1211410.8785
16 | 2665946.9637 | 1211411.455
17 | 2665950.5757 | 1211391.1883
18 | 2666225.9424 | 1211450.6799
19 | 2666220.1029 | 1211496.1653
20 | 2666226.3159 | 1211447.0222
21 | 2666181.6332 | 1211440.7392
22 | 2666232.5596 | 1211497.2289
23 | 2666217.494 | 1211515.8594
24 | 2666116.6927 | 1211377.3343
25 | 2666100.0876 | 1211385.6777
26 | 2666133.1458 | 1211387.2158
27 | 2666083.1119 | 1211425.6583
28 | 2666082.6146 | 1211430.1506
29 | 2666139.2693 | 1211446.4444
30 | 2666250.2266 | 1211498.7374
31 | 2666015.2054 | 1211460.6176

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98959 | -0.19977 | 0.025645 | 0.0064273
1 | 0.99121 | -0.16847 | 0 | 0
2 | 0.99171 | -0.1587 | 0 | 0
3 | 0.99377 | -0.11911 | 0 | 0
4 | 0.98887 | -0.21378 | 0.068279 | 0.017112
5 | 0.99728 | -0.051657 | 0 | 0
6 | 0.99148 | -0.16288 | 0 | 0
7 | 1 | 0 | -0.5095 | -0.12943
8 | 0.99169 | -0.15925 | 0.082052 | 0.020564
9 | 0.99005 | -0.19056 | 0 | 0
10 | 0.98966 | -0.19813 | 0.0221 | 0.0055388
11 | 0.98862 | -0.21821 | 0 | 0
12 | 0.98857 | -0.21927 | 0 | 0
13 | 0.98622 | -0.26481 | 0 | 0
14 | 0.99053 | -0.18176 | 0 | 0
15 | 0.98982 | -0.19546 | 0.031283 | 0.0078403
16 | 0.98852 | -0.22043 | 0 | 0
17 | 0.9867 | -0.25583 | 0.096193 | 0.024108
18 | 0.98536 | -0.28165 | 0 | 0
19 | 0.98458 | -0.2969 | 0 | 0
20 | 0.98535 | -0.28181 | 0.0023344 | 0.00058504
21 | 0.98616 | -0.26603 | 0.013052 | 0.0032711
22 | 0.98453 | -0.29789 | 0.0016064 | 0.0004026
23 | 0.98432 | -0.30192 | 0.014057 | 0.0035229
24 | 0.98457 | -0.29698 | 0 | 0
25 | 0.98524 | -0.28395 | 0 | 0
26 | 0.98406 | -0.30698 | 0.028964 | 0.007259
27 | 0.98642 | -0.26091 | 0.04297 | 0.010769
28 | 0.98672 | -0.25509 | 0.0639 | 0.016015
29 | 0.98845 | -0.22145 | 0.0070074 | 0.0017562
30 | 0.98448 | -0.2988 | 0.0028302 | 0.0007093
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025645 | -0.0064273 | 0.025684 | 0.0064509 | 3.8305e-05 | 2.3631e-05 | 0.038562 | 0.038561 | 0.038562 | 0.98959 | -0.19977 | 0.99121 | -0.16847 | 10.5939
1 | -0.025684 | -0.0064509 | 0.025695 | 0.0064583 | 1.198e-05 | 7.3901e-06 | 0.038561 | 0.038561 | 0.038561 | 0.99121 | -0.16847 | 0.99171 | -0.1587 | 10.5938
2 | -0.19079 | -0.048079 | 0.19116 | 0.04831 | 0.00036208 | 0.00023113 | 0.28637 | 0.28637 | 0.28637 | 0.99171 | -0.1587 | 0.99377 | -0.11911 | 39.3365
3 | 0.1651 | 0.04162 | -0.16466 | -0.041344 | 0.00043396 | 0.00027676 | 0.24781 | 0.24781 | 0.24781 | 0.99171 | -0.1587 | 0.98887 | -0.21378 | 34.0397
4 | 0.11361 | 0.028577 | -0.11339 | -0.028438 | 0.00021739 | 0.00013887 | 0.17015 | 0.17015 | 0.17015 | 0.99377 | -0.11911 | 0.99169 | -0.15925 | 46.7434
5 | -0.30476 | -0.076887 | 0.30575 | 0.077517 | 0.00098775 | 0.00062953 | 0.45652 | 0.45651 | 0.45652 | 0.99377 | -0.11911 | 0.99728 | -0.051657 | 31.3541
6 | 0.096386 | 0.024231 | -0.096355 | -0.024212 | 3.0583e-05 | 1.9524e-05 | 0.14507 | 0.14507 | 0.14507 | 0.98887 | -0.21378 | 0.98852 | -0.22043 | 39.8531
7 | 0.20083 | 0.051109 | -0.19976 | -0.050426 | 0.0010705 | 0.00068346 | 0.29993 | 0.29993 | 0.29993 | 0.99728 | -0.051657 | 0.99148 | -0.16288 | 41.1993
8 | -0.50658 | -0.12863 | 0.50785 | 0.12943 | 0.0012626 | 0.00080686 | 0.75645 | 0.75644 | 0.75645 | 0.99728 | -0.051657 | 1 | 0 | 51.9537
9 | 0.13652 | 0.034479 | -0.13592 | -0.034096 | 0.00060036 | 0.00038374 | 0.20498 | 0.20498 | 0.20498 | 0.99148 | -0.16288 | 0.98672 | -0.25509 | 56.3133
10 | 0.063244 | 0.015947 | -0.06316 | -0.015893 | 8.3684e-05 | 5.3239e-05 | 0.094951 | 0.094951 | 0.094951 | 0.99148 | -0.16288 | 0.99005 | -0.19056 | 26.0855
11 | 0.031337 | 0.0078741 | -0.031304 | -0.0078531 | 3.3643e-05 | 2.1008e-05 | 0.047028 | 0.047028 | 0.047028 | 0.99169 | -0.15925 | 0.99053 | -0.18176 | 12.9199
12 | 0.06316 | 0.015893 | -0.063138 | -0.015879 | 2.2823e-05 | 1.452e-05 | 0.094951 | 0.094951 | 0.094951 | 0.99005 | -0.19056 | 0.98966 | -0.19813 | 26.0855
13 | 0.041038 | 0.01034 | -0.040998 | -0.010315 | 3.9386e-05 | 2.4853e-05 | 0.061722 | 0.061723 | 0.061723 | 0.98966 | -0.19813 | 0.98862 | -0.21821 | 16.9567
14 | 0.0070085 | 0.0017566 | -0.0070081 | -0.0017565 | 3.5421e-07 | 1.1786e-07 | 0.010549 | 0.010549 | 0.010549 | 0.98862 | -0.21821 | 0.98857 | -0.21927 | 2.898
15 | 0.03399 | 0.0085587 | -0.033914 | -0.0085113 | 7.5536e-05 | 4.7359e-05 | 0.051174 | 0.051174 | 0.051174 | 0.98862 | -0.21821 | 0.98622 | -0.26481 | 14.0588
16 | 0.0070081 | 0.0017565 | -0.0070074 | -0.0017562 | 7.2695e-07 | 2.4192e-07 | 0.010549 | 0.010549 | 0.010549 | 0.98857 | -0.21927 | 0.98845 | -0.22145 | 2.898
17 | 0.013053 | 0.0032716 | -0.013052 | -0.0032711 | 7.6118e-07 | 4.2038e-07 | 0.019694 | 0.019694 | 0.019694 | 0.98622 | -0.26481 | 0.98616 | -0.26603 | 5.4105
18 | 0.020862 | 0.0052397 | -0.020845 | -0.0052296 | 1.6755e-05 | 1.0148e-05 | 0.03148 | 0.03148 | 0.03148 | 0.98622 | -0.26481 | 0.98536 | -0.28165 | 8.6484
19 | 0.031304 | 0.0078531 | -0.031283 | -0.0078403 | 2.0426e-05 | 1.2756e-05 | 0.047028 | 0.047029 | 0.047029 | 0.99053 | -0.18176 | 0.98982 | -0.19546 | 12.9199
20 | 0.096355 | 0.024212 | -0.096193 | -0.024108 | 0.00016253 | 0.00010375 | 0.14507 | 0.14507 | 0.14507 | 0.98852 | -0.22043 | 0.9867 | -0.25583 | 39.8531
21 | 0.01851 | 0.0046446 | -0.018497 | -0.0046366 | 1.3445e-05 | 8.0209e-06 | 0.027955 | 0.027955 | 0.027955 | 0.98536 | -0.28165 | 0.98458 | -0.2969 | 7.68
22 | 0.0023344 | 0.00058501 | -0.0023344 | -0.00058504 | 1.7134e-08 | -3.5868e-08 | 0.0035252 | 0.0035252 | 0.0035252 | 0.98536 | -0.28165 | 0.98535 | -0.28181 | 0.96846
23 | 0.0044369 | 0.0011117 | -0.0044367 | -0.0011118 | 2.108e-07 | -2.4076e-08 | 0.0067055 | 0.0067055 | 0.0067055 | 0.98458 | -0.2969 | 0.98453 | -0.29789 | 1.8422
24 | 0.01406 | 0.0035248 | -0.014057 | -0.0035229 | 3.3641e-06 | 1.9004e-06 | 0.02125 | 0.02125 | 0.02125 | 0.98458 | -0.2969 | 0.98432 | -0.30192 | 5.8379
25 | 0.0028303 | 0.00070916 | -0.0028302 | -0.0007093 | 1.2167e-07 | -1.476e-07 | 0.0042776 | 0.0042777 | 0.0042777 | 0.98453 | -0.29789 | 0.98448 | -0.2988 | 1.1752
26 | -0.028977 | -0.0072676 | 0.028995 | 0.0072788 | 1.8016e-05 | 1.1212e-05 | 0.043797 | 0.043796 | 0.043797 | 0.98457 | -0.29698 | 0.98524 | -0.28395 | 12.032
27 | 0.028977 | 0.0072676 | -0.028964 | -0.007259 | 1.3805e-05 | 8.5914e-06 | 0.043797 | 0.043797 | 0.043797 | 0.98457 | -0.29698 | 0.98406 | -0.30698 | 12.032
28 | -0.028995 | -0.0072788 | 0.029027 | 0.0072986 | 3.1901e-05 | 1.9851e-05 | 0.043796 | 0.043796 | 0.043796 | 0.98524 | -0.28395 | 0.98642 | -0.26091 | 12.032
29 | -0.071997 | -0.018068 | 0.072017 | 0.018081 | 1.9995e-05 | 1.2739e-05 | 0.10862 | 0.10862 | 0.10862 | 0.98642 | -0.26091 | 0.98672 | -0.25509 | 29.8397

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58415 | 0.14814

## res_load
| p_mw | q_mvar
0 | 0.025645 | 0.0064273
1 | 0.068279 | 0.017112
2 | 0.074653 | 0.01871
3 | 0.082052 | 0.020564
4 | 0.0221 | 0.0055388
5 | 0.031283 | 0.0078403
6 | 0.096193 | 0.024108
7 | 0.0023344 | 0.00058504
8 | 0.013052 | 0.0032711
9 | 0.0016064 | 0.0004026
10 | 0.014057 | 0.0035229
11 | 0.028964 | 0.007259
12 | 0.04297 | 0.010769
13 | 0.0639 | 0.016015
14 | 0.0070074 | 0.0017562
15 | 0.0028302 | 0.0007093

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1