## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-50_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-50_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-50_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-50_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-50_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_1061-50_0_4_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1061-50_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_1061-50_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1061-50_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1061-50_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1061-50_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1061-50_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1061-50_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1061-50_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-50_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-50_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-50_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_1061-50_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1061-50_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1061-50_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1061-50_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_1061-50_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1061-50_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1061-50_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1061-50_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1061-50_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1061-50_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1061-50_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1061-50_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1061-50_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1061-50_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1061-50_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1061-50_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1061-50_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1061-50_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1061-50_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1061-50_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1061-50_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1061-50_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1061-50_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1061-50_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1061-50_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1061-50_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1061-50_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1061-50_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_MV_219_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-50_0_4_load_0 | 0 | 0.014905 | 0.0037357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-50_0_4_load_3 | 3 | 0.022603 | 0.0056648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-50_0_4_load_34 | 4 | 0.032274 | 0.0080887 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-50_0_4_load_44 | 6 | 0.035306 | 0.0088486 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-50_0_4_load_19 | 7 | 0.0094008 | 0.0023561 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-50_0_4_load_45 | 9 | 0.010543 | 0.0026424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-50_0_4_load_4 | 10 | 0.0053174 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-50_0_4_load_5 | 11 | 0.0043291 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-50_0_4_load_7 | 13 | 0.01112 | 0.0027869 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-50_0_4_load_9 | 15 | 0.0093012 | 0.0023311 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-50_0_4_load_17 | 17 | 0.003195 | 0.00080075 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-50_0_4_load_15 | 18 | 0.021001 | 0.0052634 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-50_0_4_load_24 | 19 | 0.067487 | 0.016914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-50_0_4_load_41 | 20 | 0.0059301 | 0.0014862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-50_0_4_load_25 | 21 | 0.0048998 | 0.001228 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-50_0_4_load_10 | 22 | 0.018753 | 0.0047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-50_0_4_load_11 | 23 | 0.016837 | 0.0042198 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-50_0_4_load_14 | 26 | 0.017577 | 0.0044052 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-50_0_4_load_20 | 28 | 0.011399 | 0.0028569 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-50_0_4_load_31 | 30 | 0.0061296 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-50_0_4_load_21 | 31 | 0.017388 | 0.0043579 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-50_0_4_load_18 | 32 | 0.029412 | 0.0073713 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-50_0_4_load_32 | 33 | 0.0098185 | 0.0024607 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-50_0_4_load_33 | 34 | 0.0064387 | 0.0016137 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-50_0_4_load_26 | 36 | 0.014897 | 0.0037336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-50_0_4_load_30 | 39 | 0.015392 | 0.0038577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-50_0_4_load_36 | 40 | 0.014581 | 0.0036544 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-50_0_4_load_35 | 41 | 0.0081473 | 0.0020419 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-50_0_4_load_39 | 42 | 0.020747 | 0.0051998 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-50_0_4_load_38 | 43 | 0.0078075 | 0.0019567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-50_0_4_load_37 | 44 | 0.009788 | 0.0024531 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-50_0_4_line_0 |  | 0 | 1 | 0.007726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-50_0_4_line_1 |  | 1 | 2 | 0.003543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-50_0_4_line_2 |  | 1 | 3 | 0.012218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-50_0_4_line_3 |  | 2 | 4 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-50_0_4_line_4 |  | 3 | 5 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-50_0_4_line_5 |  | 4 | 6 | 0.0057005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-50_0_4_line_6 |  | 5 | 9 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-50_0_4_line_7 |  | 7 | 8 | 0.0072079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-50_0_4_line_8 |  | 8 | 32 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1061-50_0_4_line_9 |  | 8 | 18 | 0.0082273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1061-50_0_4_line_10 |  | 9 | 17 | 0.0010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-50_0_4_line_11 |  | 10 | 11 | 0.0090005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-50_0_4_line_12 |  | 10 | 12 | 0.0079979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-50_0_4_line_13 |  | 11 | 13 | 0.009323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-50_0_4_line_14 |  | 12 | 14 | 0.004917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-50_0_4_line_15 |  | 12 | 15 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-50_0_4_line_16 |  | 13 | 16 | 0.0095484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-50_0_4_line_17 |  | 14 | 17 | 0.010766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-50_0_4_line_18 |  | 14 | 18 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1061-50_0_4_line_19 |  | 15 | 19 | 0.0048575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-50_0_4_line_20 |  | 16 | 20 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-50_0_4_line_21 |  | 19 | 21 | 0.007902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-50_0_4_line_22 |  | 22 | 23 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-50_0_4_line_23 |  | 22 | 24 | 0.0087827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-50_0_4_line_24 |  | 23 | 25 | 0.0095662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-50_0_4_line_25 |  | 24 | 26 | 0.015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-50_0_4_line_26 |  | 25 | 27 | 0.00999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-50_0_4_line_27 |  | 27 | 28 | 0.013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-50_0_4_line_28 |  | 28 | 31 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-50_0_4_line_29 |  | 29 | 30 | 0.014094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-50_0_4_line_30 |  | 29 | 31 | 0.0073273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-50_0_4_line_31 |  | 30 | 35 | 0.007836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-50_0_4_line_32 |  | 32 | 33 | 0.0042359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1061-50_0_4_line_33 |  | 33 | 34 | 0.0066416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1061-50_0_4_line_34 |  | 34 | 42 | 0.0028326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1061-50_0_4_line_35 |  | 35 | 37 | 0.013835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-50_0_4_line_36 |  | 36 | 37 | 0.021397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-50_0_4_line_37 |  | 36 | 38 | 0.004675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-50_0_4_line_38 |  | 38 | 39 | 0.0051632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-50_0_4_line_39 |  | 39 | 40 | 0.0073245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-50_0_4_line_40 |  | 40 | 41 | 0.0053099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-50_0_4_line_41 |  | 41 | 44 | 0.00080415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1061-50_0_4_line_42 |  | 42 | 43 | 0.0026615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1061-50_0_4_line_43 |  | 43 | 44 | 0.0048151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-50_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 45 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2665962.6442 | 1211633.0094 | 2665969.9737 | 1211635.4528
1 | 2665959.2753 | 1211631.8825 | 2665962.6442 | 1211633.0094
2 | 2665962.6442 | 1211633.0094 | 2665965.725 | 1211622.4035 | 2665966.0526 | 1211621.2763
3 | 2665959.2753 | 1211631.8825 | 2665954.105 | 1211645.6499
4 | 2665969.4603 | 1211609.6481 | 2665968.9633 | 1211611.2992 | 2665966.6492 | 1211619.2229 | 2665966.0526 | 1211621.2763
5 | 2665954.105 | 1211645.6499 | 2665952.1008 | 1211650.9865
6 | 2665969.4603 | 1211609.6481 | 2665955.8612 | 1211606.0229
7 | 2665936.661 | 1211622.9938 | 2665943.2919 | 1211625.8197
8 | 2665936.661 | 1211622.9938 | 2665933.1693 | 1211632.7835
9 | 2665936.661 | 1211622.9938 | 2665939.6258 | 1211615.3192
10 | 2665955.8612 | 1211606.0229 | 2665954.8005 | 1211605.7401
11 | 2665941.4515 | 1211593.737 | 2665943.4457 | 1211584.9603
12 | 2665939.6794 | 1211601.5361 | 2665941.4515 | 1211593.737
13 | 2665945.5114 | 1211575.869 | 2665943.4457 | 1211584.9603
14 | 2665939.6794 | 1211601.5361 | 2665944.3976 | 1211602.9669
15 | 2665939.6794 | 1211601.5361 | 2665929.4491 | 1211598.6216
16 | 2665947.627 | 1211566.5579 | 2665945.5114 | 1211575.869
17 | 2665944.3976 | 1211602.9669 | 2665954.8005 | 1211605.7401
18 | 2665944.3976 | 1211602.9669 | 2665939.6258 | 1211615.3192
19 | 2665924.7775 | 1211597.2906 | 2665929.4491 | 1211598.6216
20 | 2665947.627 | 1211566.5579 | 2665958.4459 | 1211570.822
21 | 2665924.7775 | 1211597.2906 | 2665917.1779 | 1211595.1256
22 | 2665897.3016 | 1211618.0738 | 2665891.0911 | 1211627.9625
23 | 2665901.9728 | 1211610.6363 | 2665897.3016 | 1211618.0738
24 | 2665887.3266 | 1211636.3905 | 2665887.1607 | 1211634.2206 | 2665891.0911 | 1211627.9625
25 | 2665901.9728 | 1211610.6363 | 2665916.3896 | 1211615.7722
26 | 2665887.3266 | 1211636.3905 | 2665895.863 | 1211641.6213
27 | 2665895.863 | 1211641.6213 | 2665895.4362 | 1211643.7957 | 2665889.3953 | 1211653.2264
28 | 2665889.3953 | 1211653.2264 | 2665883.1589 | 1211662.9621
29 | 2665879.2067 | 1211669.1321 | 2665889.7097 | 1211678.5298
30 | 2665879.2067 | 1211669.1321 | 2665883.1589 | 1211662.9621
31 | 2665895.5494 | 1211683.7549 | 2665889.7097 | 1211678.5298
32 | 2665931.7462 | 1211636.7732 | 2665933.1693 | 1211632.7835
33 | 2665929.5149 | 1211643.0288 | 2665931.7462 | 1211636.7732
34 | 2665928.5633 | 1211645.6968 | 2665929.5149 | 1211643.0288
35 | 2665895.5494 | 1211683.7549 | 2665906.1804 | 1211692.6445
36 | 2665906.1804 | 1211692.6445 | 2665916.7628 | 1211674.0472
37 | 2665919.0749 | 1211669.984 | 2665916.7628 | 1211674.0472
38 | 2665919.0749 | 1211669.984 | 2665920.9964 | 1211665.1917
39 | 2665920.9964 | 1211665.1917 | 2665923.7222 | 1211658.3933
40 | 2665925.6983 | 1211653.4648 | 2665923.7222 | 1211658.3933
41 | 2665925.9975 | 1211652.7184 | 2665925.6983 | 1211653.4648
42 | 2665928.5633 | 1211645.6968 | 2665927.6692 | 1211648.2036
43 | 2665927.6692 | 1211648.2036 | 2665926.553 | 1211651.3329 | 2665925.9975 | 1211652.7184

## bus_geodata
| x | y | coords
0 | 2665969.9737 | 1211635.4528
1 | 2665962.6442 | 1211633.0094
2 | 2665959.2753 | 1211631.8825
3 | 2665966.0526 | 1211621.2763
4 | 2665954.105 | 1211645.6499
5 | 2665969.4603 | 1211609.6481
6 | 2665952.1008 | 1211650.9865
7 | 2665943.2919 | 1211625.8197
8 | 2665936.661 | 1211622.9938
9 | 2665955.8612 | 1211606.0229
10 | 2665941.4515 | 1211593.737
11 | 2665943.4457 | 1211584.9603
12 | 2665939.6794 | 1211601.5361
13 | 2665945.5114 | 1211575.869
14 | 2665944.3976 | 1211602.9669
15 | 2665929.4491 | 1211598.6216
16 | 2665947.627 | 1211566.5579
17 | 2665954.8005 | 1211605.7401
18 | 2665939.6258 | 1211615.3192
19 | 2665924.7775 | 1211597.2906
20 | 2665958.4459 | 1211570.822
21 | 2665917.1779 | 1211595.1256
22 | 2665897.3016 | 1211618.0738
23 | 2665891.0911 | 1211627.9625
24 | 2665901.9728 | 1211610.6363
25 | 2665887.3266 | 1211636.3905
26 | 2665916.3896 | 1211615.7722
27 | 2665895.863 | 1211641.6213
28 | 2665889.3953 | 1211653.2264
29 | 2665879.2067 | 1211669.1321
30 | 2665889.7097 | 1211678.5298
31 | 2665883.1589 | 1211662.9621
32 | 2665933.1693 | 1211632.7835
33 | 2665931.7462 | 1211636.7732
34 | 2665929.5149 | 1211643.0288
35 | 2665895.5494 | 1211683.7549
36 | 2665916.7628 | 1211674.0472
37 | 2665906.1804 | 1211692.6445
38 | 2665919.0749 | 1211669.984
39 | 2665920.9964 | 1211665.1917
40 | 2665923.7222 | 1211658.3933
41 | 2665925.6983 | 1211653.4648
42 | 2665928.5633 | 1211645.6968
43 | 2665927.6692 | 1211648.2036
44 | 2665925.9975 | 1211652.7184
45 | 2665936.661 | 1211622.9938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99164 | -0.16075 | 0.014905 | 0.0037357
1 | 0.99175 | -0.15871 | 0 | 0
2 | 0.99153 | -0.16296 | 0 | 0
3 | 0.99267 | -0.14087 | 0.022603 | 0.0056648
4 | 0.99062 | -0.18059 | 0.032274 | 0.0080887
5 | 0.99383 | -0.11837 | 0 | 0
6 | 0.99043 | -0.18417 | 0.035306 | 0.0088486
7 | 0.99872 | -0.024547 | 0.0094008 | 0.0023561
8 | 0.99878 | -0.023363 | 0 | 0
9 | 0.99519 | -0.092307 | 0.010543 | 0.0026424
10 | 0.99579 | -0.080703 | 0.0053174 | 0.0013327
11 | 0.99562 | -0.084086 | 0.0043291 | 0.001085
12 | 0.99599 | -0.07695 | 0 | 0
13 | 0.99547 | -0.086881 | 0.01112 | 0.0027869
14 | 0.99647 | -0.067591 | 0 | 0
15 | 0.99519 | -0.09223 | 0.0093012 | 0.0023311
16 | 0.99542 | -0.087877 | 0 | 0
17 | 0.9953 | -0.090074 | 0.003195 | 0.00080075
18 | 0.99785 | -0.041221 | 0.021001 | 0.0052634
19 | 0.99487 | -0.09842 | 0.067487 | 0.016914
20 | 0.99536 | -0.089091 | 0.0059301 | 0.0014862
21 | 0.99484 | -0.099102 | 0.0048998 | 0.001228
22 | 0.98811 | -0.2289 | 0.018753 | 0.0047
23 | 0.9885 | -0.22133 | 0.016837 | 0.0042198
24 | 0.98797 | -0.23165 | 0 | 0
25 | 0.98897 | -0.21226 | 0 | 0
26 | 0.98772 | -0.23646 | 0.017577 | 0.0044052
27 | 0.98945 | -0.2028 | 0 | 0
28 | 0.99011 | -0.19011 | 0.011399 | 0.0028569
29 | 0.99134 | -0.16619 | 0 | 0
30 | 0.9924 | -0.14572 | 0.0061296 | 0.0015362
31 | 0.99079 | -0.17684 | 0.017388 | 0.0043579
32 | 1 | 0 | -0.45752 | -0.11524
33 | 0.99962 | -0.0072273 | 0.0098185 | 0.0024607
34 | 0.99906 | -0.018001 | 0.0064387 | 0.0016137
35 | 0.99304 | -0.13352 | 0 | 0
36 | 0.99588 | -0.078817 | 0.014897 | 0.0037336
37 | 0.99415 | -0.112 | 0 | 0
38 | 0.99632 | -0.07036 | 0 | 0
39 | 0.99681 | -0.061028 | 0.015392 | 0.0038577
40 | 0.9976 | -0.045831 | 0.014581 | 0.0036544
41 | 0.99825 | -0.033474 | 0.0081473 | 0.0020419
42 | 0.99883 | -0.02244 | 0.020747 | 0.0051998
43 | 0.99863 | -0.02613 | 0.0078075 | 0.0019567
44 | 0.9983 | -0.032482 | 0.009788 | 0.0024531
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014905 | -0.0037357 | 0.014907 | 0.0037365 | 1.4494e-06 | 8.2793e-07 | 0.022367 | 0.022366 | 0.022367 | 0.99164 | -0.16075 | 0.99175 | -0.15871 | 6.1446
1 | 0.067657 | 0.016986 | -0.067643 | -0.016977 | 1.3694e-05 | 8.7185e-06 | 0.10152 | 0.10152 | 0.10152 | 0.99175 | -0.15871 | 0.99153 | -0.16296 | 27.891
2 | -0.082564 | -0.020722 | 0.082634 | 0.020767 | 7.0324e-05 | 4.485e-05 | 0.12389 | 0.12389 | 0.12389 | 0.99175 | -0.15871 | 0.99267 | -0.14087 | 34.0356
3 | 0.067643 | 0.016977 | -0.067587 | -0.016941 | 5.6841e-05 | 3.6189e-05 | 0.10152 | 0.10152 | 0.10152 | 0.99153 | -0.16296 | 0.99062 | -0.18059 | 27.891
4 | -0.10524 | -0.026432 | 0.10535 | 0.026504 | 0.00011311 | 7.2233e-05 | 0.15777 | 0.15777 | 0.15777 | 0.99267 | -0.14087 | 0.99383 | -0.11837 | 43.3438
5 | 0.035312 | 0.0088523 | -0.035306 | -0.0088486 | 6.0147e-06 | 3.776e-06 | 0.053044 | 0.053044 | 0.053044 | 0.99062 | -0.18059 | 0.99043 | -0.18417 | 14.5724
6 | -0.10535 | -0.026504 | 0.10548 | 0.026588 | 0.00013137 | 8.3896e-05 | 0.15777 | 0.15777 | 0.15777 | 0.99383 | -0.11837 | 0.99519 | -0.092307 | 43.3438
7 | -0.0094008 | -0.0023561 | 0.0094013 | 0.0023563 | 5.3027e-07 | 2.4505e-07 | 0.014007 | 0.014007 | 0.014007 | 0.99872 | -0.024547 | 0.99878 | -0.023363 | 3.8479
8 | -0.25879 | -0.065314 | 0.25908 | 0.065499 | 0.00028994 | 0.00018529 | 0.38571 | 0.38571 | 0.38571 | 0.99878 | -0.023363 | 1 | 0 | 52.9827
9 | 0.24939 | 0.062957 | -0.24917 | -0.062821 | 0.00021314 | 0.00013619 | 0.37171 | 0.37171 | 0.37171 | 0.99878 | -0.023363 | 0.99785 | -0.041221 | 51.0588
10 | -0.11602 | -0.029231 | 0.11604 | 0.029239 | 1.2396e-05 | 7.9194e-06 | 0.17354 | 0.17354 | 0.17354 | 0.99519 | -0.092307 | 0.9953 | -0.090074 | 47.6747
11 | 0.021386 | 0.0053617 | -0.021382 | -0.0053596 | 3.447e-06 | 2.089e-06 | 0.031957 | 0.031957 | 0.031957 | 0.99579 | -0.080703 | 0.99562 | -0.084086 | 8.7795
12 | -0.026703 | -0.0066944 | 0.026708 | 0.0066973 | 4.7755e-06 | 2.9523e-06 | 0.039903 | 0.039903 | 0.039903 | 0.99579 | -0.080703 | 0.99599 | -0.07695 | 10.9624
13 | 0.017053 | 0.0042746 | -0.017051 | -0.0042733 | 2.2711e-06 | 1.3323e-06 | 0.025487 | 0.025487 | 0.025487 | 0.99562 | -0.084086 | 0.99547 | -0.086881 | 7.002
14 | -0.10848 | -0.027222 | 0.10853 | 0.027253 | 4.8437e-05 | 3.0936e-05 | 0.16208 | 0.16208 | 0.16208 | 0.99599 | -0.07695 | 0.99647 | -0.067591 | 44.5269
15 | 0.081769 | 0.020524 | -0.081709 | -0.020487 | 5.9543e-05 | 3.7969e-05 | 0.12217 | 0.12217 | 0.12217 | 0.99599 | -0.07695 | 0.99519 | -0.09223 | 33.5645
16 | 0.0059307 | 0.0014864 | -0.0059305 | -0.0014863 | 2.8141e-07 | 5.5972e-08 | 0.0088652 | 0.0088652 | 0.0088652 | 0.99547 | -0.086881 | 0.99542 | -0.087877 | 2.4355
17 | 0.11936 | 0.030121 | -0.11923 | -0.030039 | 0.00012837 | 8.2015e-05 | 0.17831 | 0.17831 | 0.17831 | 0.99647 | -0.067591 | 0.9953 | -0.090074 | 48.987
18 | -0.22789 | -0.057374 | 0.22817 | 0.057558 | 0.00028768 | 0.00018377 | 0.34039 | 0.34039 | 0.34039 | 0.99647 | -0.067591 | 0.99785 | -0.041221 | 46.7569
19 | 0.072408 | 0.018155 | -0.072387 | -0.018142 | 2.1352e-05 | 1.3602e-05 | 0.10827 | 0.10827 | 0.10827 | 0.99519 | -0.09223 | 0.99487 | -0.09842 | 29.7439
20 | 0.0059305 | 0.0014863 | -0.0059301 | -0.0014862 | 3.4273e-07 | 6.8187e-08 | 0.0088652 | 0.0088653 | 0.0088653 | 0.99542 | -0.087877 | 0.99536 | -0.089091 | 2.4355
21 | 0.0048999 | 0.001228 | -0.0048998 | -0.001228 | 1.5916e-07 | -7.4446e-10 | 0.0073287 | 0.0073287 | 0.0073287 | 0.99487 | -0.09842 | 0.99484 | -0.099102 | 2.0134
22 | -0.036337 | -0.009109 | 0.03635 | 0.0091173 | 1.3112e-05 | 8.2422e-06 | 0.054721 | 0.054721 | 0.054721 | 0.98811 | -0.2289 | 0.9885 | -0.22133 | 15.0333
23 | 0.017583 | 0.004409 | -0.017581 | -0.0044076 | 2.3094e-06 | 1.3655e-06 | 0.02648 | 0.02648 | 0.02648 | 0.98811 | -0.2289 | 0.98797 | -0.23165 | 7.2747
24 | -0.053187 | -0.013337 | 0.05321 | 0.013352 | 2.2997e-05 | 1.4596e-05 | 0.080067 | 0.080067 | 0.080067 | 0.9885 | -0.22133 | 0.98897 | -0.21226 | 21.9964
25 | 0.017581 | 0.0044076 | -0.017577 | -0.0044052 | 4.0242e-06 | 2.3796e-06 | 0.02648 | 0.02648 | 0.02648 | 0.98797 | -0.23165 | 0.98772 | -0.23646 | 7.2748
26 | -0.05321 | -0.013352 | 0.053234 | 0.013367 | 2.4016e-05 | 1.5242e-05 | 0.080067 | 0.080067 | 0.080067 | 0.98897 | -0.21226 | 0.98945 | -0.2028 | 21.9964
27 | -0.053234 | -0.013367 | 0.053267 | 0.013387 | 3.2251e-05 | 2.0468e-05 | 0.080067 | 0.080067 | 0.080067 | 0.98945 | -0.2028 | 0.99011 | -0.19011 | 21.9963
28 | -0.064666 | -0.016244 | 0.064707 | 0.01627 | 4.0961e-05 | 2.6066e-05 | 0.097198 | 0.097198 | 0.097198 | 0.99011 | -0.19011 | 0.99079 | -0.17684 | 26.7028
29 | -0.082137 | -0.020655 | 0.082217 | 0.020706 | 8.0365e-05 | 5.1252e-05 | 0.12331 | 0.12331 | 0.12331 | 0.99134 | -0.16619 | 0.9924 | -0.14572 | 33.8771
30 | 0.082137 | 0.020655 | -0.082095 | -0.020628 | 4.1782e-05 | 2.6646e-05 | 0.12331 | 0.12331 | 0.12331 | 0.99134 | -0.16619 | 0.99079 | -0.17684 | 33.8771
31 | -0.088347 | -0.022242 | 0.088398 | 0.022275 | 5.1592e-05 | 3.2917e-05 | 0.1325 | 0.1325 | 0.1325 | 0.9924 | -0.14572 | 0.99304 | -0.13352 | 36.402
32 | 0.19679 | 0.049739 | -0.19672 | -0.049695 | 6.8171e-05 | 4.3518e-05 | 0.29297 | 0.29297 | 0.29297 | 1 | 0 | 0.99962 | -0.0072273 | 40.2431
33 | 0.1869 | 0.047235 | -0.1868 | -0.047173 | 9.6488e-05 | 6.1578e-05 | 0.27835 | 0.27835 | 0.27835 | 0.99962 | -0.0072273 | 0.99906 | -0.018001 | 38.2355
34 | 0.18037 | 0.045559 | -0.18033 | -0.045535 | 3.8364e-05 | 2.4479e-05 | 0.26876 | 0.26876 | 0.26876 | 0.99906 | -0.018001 | 0.99883 | -0.02244 | 36.9182
35 | -0.088398 | -0.022275 | 0.088489 | 0.022333 | 9.1088e-05 | 5.8117e-05 | 0.1325 | 0.1325 | 0.1325 | 0.99304 | -0.13352 | 0.99415 | -0.112 | 36.402
36 | 0.08863 | 0.022423 | -0.088489 | -0.022333 | 0.00014088 | 8.9884e-05 | 0.1325 | 0.1325 | 0.1325 | 0.99588 | -0.078817 | 0.99415 | -0.112 | 36.402
37 | -0.10353 | -0.026157 | 0.10357 | 0.026184 | 4.199e-05 | 2.6813e-05 | 0.15476 | 0.15476 | 0.15476 | 0.99588 | -0.078817 | 0.99632 | -0.07036 | 42.5171
38 | -0.10357 | -0.026184 | 0.10362 | 0.026213 | 4.6375e-05 | 2.9613e-05 | 0.15476 | 0.15476 | 0.15476 | 0.99632 | -0.07036 | 0.99681 | -0.061028 | 42.5171
39 | -0.11901 | -0.030071 | 0.1191 | 0.030127 | 8.6772e-05 | 5.5438e-05 | 0.17774 | 0.17774 | 0.17774 | 0.99681 | -0.061028 | 0.9976 | -0.045831 | 48.8296
40 | -0.13368 | -0.033781 | 0.13376 | 0.033832 | 7.9241e-05 | 5.0645e-05 | 0.19949 | 0.19949 | 0.19949 | 0.9976 | -0.045831 | 0.99825 | -0.033474 | 54.8046
41 | -0.1419 | -0.035873 | 0.14191 | 0.035878 | 6.7531e-06 | 4.301e-06 | 0.21163 | 0.21163 | 0.21163 | 0.99825 | -0.033474 | 0.9983 | -0.032482 | 29.0705
42 | 0.15958 | 0.040335 | -0.15955 | -0.040317 | 2.8233e-05 | 1.8e-05 | 0.23786 | 0.23786 | 0.23786 | 0.99883 | -0.02244 | 0.99863 | -0.02613 | 32.6725
43 | 0.15174 | 0.03836 | -0.1517 | -0.038331 | 4.6204e-05 | 2.9445e-05 | 0.22622 | 0.22622 | 0.22622 | 0.99863 | -0.02613 | 0.9983 | -0.032482 | 31.0745

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48693 | 0.12261

## res_load
| p_mw | q_mvar
0 | 0.014905 | 0.0037357
1 | 0.022603 | 0.0056648
2 | 0.032274 | 0.0080887
3 | 0.035306 | 0.0088486
4 | 0.0094008 | 0.0023561
5 | 0.010543 | 0.0026424
6 | 0.0053174 | 0.0013327
7 | 0.0043291 | 0.001085
8 | 0.01112 | 0.0027869
9 | 0.0093012 | 0.0023311
10 | 0.003195 | 0.00080075
11 | 0.021001 | 0.0052634
12 | 0.067487 | 0.016914
13 | 0.0059301 | 0.0014862
14 | 0.0048998 | 0.001228
15 | 0.018753 | 0.0047
16 | 0.016837 | 0.0042198
17 | 0.017577 | 0.0044052
18 | 0.011399 | 0.0028569
19 | 0.0061296 | 0.0015362
20 | 0.017388 | 0.0043579
21 | 0.029412 | 0.0073713
22 | 0.0098185 | 0.0024607
23 | 0.0064387 | 0.0016137
24 | 0.014897 | 0.0037336
25 | 0.015392 | 0.0038577
26 | 0.014581 | 0.0036544
27 | 0.0081473 | 0.0020419
28 | 0.020747 | 0.0051998
29 | 0.0078075 | 0.0019567
30 | 0.009788 | 0.0024531

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1