## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-58_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-58_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-58_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-58_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-58_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-58_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-58_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1061-58_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1061-58_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1061-58_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1061-58_0_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_1061-58_0_4_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_1061-58_0_4_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_1061-58_0_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_1061-58_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1061-58_0_4_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_1061-58_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_1061-58_0_4_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_1061-58_0_4_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_1061-58_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_1061-58_0_4_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_1061-58_0_4_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_1061-58_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1061-58_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1061-58_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1061-58_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1061-58_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1061-58_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1061-58_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_1061-58_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1061-58_0_4_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_1061-58_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1061-58_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1061-58_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1061-58_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1061-58_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1061-58_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1061-58_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1061-58_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1061-58_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_1061-58_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1061-58_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1061-58_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1061-58_0_4_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_1061-58_0_4_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_1061-58_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1061-58_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1061-58_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_1061-58_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_1061-58_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_1061-58_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_1061-58_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1061-58_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1061-58_0_4_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_1061-58_0_4_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_1061-58_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1061-58_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1061-58_0_4_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_1061-58_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_1061-58_0_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_1061-58_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_1061-58_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_1061-58_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_1061-58_0_4_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_1061-58_0_4_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_1061-58_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_1061-58_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_1061-58_0_4_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_1061-58_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_1061-58_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_1061-58_0_4_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_1061-58_0_4_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_1061-58_0_4_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_1061-58_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_1061-58_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_1061-58_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_1061-58_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_1061-58_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_1061-58_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_1061-58_0_4_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_1061-58_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_1061-58_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_1061-58_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_1061-58_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_1061-58_0_4_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_1061-58_0_4_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_1061-58_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_MV_213_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-58_0_4_load_0 | 0 | 0.0056991 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-58_0_4_load_1 | 1 | 0.0073934 | 0.001853 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-58_0_4_load_3 | 3 | 0.0091729 | 0.002299 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-58_0_4_load_4 | 4 | 0.0028903 | 0.00072437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-58_0_4_load_46 | 8 | 0.0035462 | 0.00088876 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-58_0_4_load_45 | 9 | 0.0082663 | 0.0020717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-58_0_4_load_66 | 10 | 0.0016464 | 0.00041263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-58_0_4_load_70 | 12 | 0.0044994 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-58_0_4_load_64 | 13 | 0.010341 | 0.0025917 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-58_0_4_load_65 | 15 | 0.0048324 | 0.0012111 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-58_0_4_load_68 | 18 | 0.010486 | 0.0026282 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-58_0_4_load_94 | 20 | 0.0056464 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-58_0_4_load_10 | 22 | 0.017367 | 0.0043527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-58_0_4_load_11 | 23 | 0.011402 | 0.0028577 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-58_0_4_load_12 | 24 | 0.0054814 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-58_0_4_load_13 | 25 | 0.017687 | 0.0044327 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-58_0_4_load_14 | 26 | 0.0052517 | 0.0013162 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-58_0_4_load_20 | 27 | 0.0035894 | 0.0008996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-58_0_4_load_73 | 28 | 0.0064328 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-58_0_4_load_21 | 29 | 0.0058037 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-58_0_4_load_74 | 30 | 0.0069655 | 0.0017457 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-58_0_4_load_15 | 31 | 0.0037812 | 0.00094766 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-58_0_4_load_16 | 32 | 0.0041718 | 0.0010455 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-58_0_4_load_17 | 33 | 0.0055429 | 0.0013892 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-58_0_4_load_18 | 34 | 0.0027602 | 0.00069178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-58_0_4_load_19 | 35 | 0.006029 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-58_0_4_load_44 | 36 | 0.0035004 | 0.00087729 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-58_0_4_load_23 | 37 | 0.0057613 | 0.0014439 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-58_0_4_load_43 | 38 | 0.00324 | 0.00081201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-58_0_4_load_72 | 39 | 0.011006 | 0.0027584 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-58_0_4_load_22 | 40 | 0.0068715 | 0.0017222 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-58_0_4_load_26 | 41 | 0.010967 | 0.0027487 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-58_0_4_load_71 | 43 | 0.0049352 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-58_0_4_load_75 | 44 | 0.0050303 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-58_0_4_load_39 | 46 | 0.0078845 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-58_0_4_load_27 | 47 | 0.00379 | 0.00094986 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-58_0_4_load_29 | 49 | 0.0033455 | 0.00083847 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-58_0_4_load_89 | 53 | 0.010115 | 0.0025352 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-58_0_4_load_79 | 54 | 0.0084852 | 0.0021266 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-58_0_4_load_50 | 56 | 0.0073234 | 0.0018354 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-58_0_4_load_76 | 57 | 0.005771 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-58_0_4_load_62 | 58 | 0.0049281 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-58_0_4_load_32 | 61 | 0.0052632 | 0.0013191 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-58_0_4_load_33 | 62 | 0.0046878 | 0.0011749 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-58_0_4_load_35 | 64 | 0.0046408 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-58_0_4_load_83 | 67 | 0.0031496 | 0.00078937 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-58_0_4_load_67 | 68 | 0.0076035 | 0.0019056 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-58_0_4_load_95 | 70 | 0.0048781 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-58_0_4_load_38 | 71 | 0.0078537 | 0.0019683 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-58_0_4_load_40 | 72 | 0.0077388 | 0.0019395 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-58_0_4_load_61 | 73 | 0.0059926 | 0.0015019 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-58_0_4_load_56 | 75 | 0.005042 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-58_0_4_load_54 | 76 | 0.0086092 | 0.0021577 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-58_0_4_load_85 | 79 | 0.013474 | 0.0033768 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-58_0_4_load_59 | 80 | 0.0045828 | 0.0011486 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-58_0_4_load_82 | 83 | 0.013027 | 0.0032649 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1061-58_0_4_load_91 | 84 | 0.0044638 | 0.0011187 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1061-58_0_4_load_92 | 86 | 0.0068991 | 0.0017291 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-58_0_4_line_0 |  | 0 | 1 | 0.029659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-58_0_4_line_1 |  | 0 | 2 | 0.0043052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-58_0_4_line_2 |  | 1 | 3 | 0.020319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-58_0_4_line_3 |  | 2 | 4 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-58_0_4_line_4 |  | 4 | 5 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-58_0_4_line_5 |  | 5 | 6 | 0.004462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-58_0_4_line_6 |  | 6 | 10 | 0.020491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-58_0_4_line_7 |  | 7 | 8 | 0.037346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-58_0_4_line_8 |  | 7 | 9 | 0.024179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-58_0_4_line_9 |  | 9 | 14 | 0.032619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-58_0_4_line_10 |  | 10 | 15 | 0.050208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-58_0_4_line_11 |  | 11 | 12 | 0.022722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-58_0_4_line_12 |  | 11 | 13 | 0.015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-58_0_4_line_13 |  | 12 | 43 | 0.010791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-58_0_4_line_14 |  | 13 | 69 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-58_0_4_line_15 |  | 14 | 63 | 0.008419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-58_0_4_line_16 |  | 15 | 66 | 0.016655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-58_0_4_line_17 |  | 16 | 17 | 0.025559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-58_0_4_line_18 |  | 16 | 18 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-58_0_4_line_19 |  | 17 | 57 | 0.030917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-58_0_4_line_20 |  | 17 | 58 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-58_0_4_line_21 |  | 19 | 20 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-58_0_4_line_22 |  | 19 | 21 | 0.010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-58_0_4_line_23 |  | 21 | 70 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-58_0_4_line_24 |  | 21 | 65 | 0.0087985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-58_0_4_line_25 |  | 22 | 23 | 0.018447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-58_0_4_line_26 |  | 22 | 24 | 0.0029859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-58_0_4_line_27 |  | 23 | 25 | 0.024353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-58_0_4_line_28 |  | 24 | 26 | 0.021476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-58_0_4_line_29 |  | 25 | 27 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-58_0_4_line_30 |  | 26 | 28 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-58_0_4_line_31 |  | 27 | 29 | 0.00091342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1061-58_0_4_line_32 |  | 28 | 30 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-58_0_4_line_33 |  | 29 | 40 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1061-58_0_4_line_34 |  | 30 | 44 | 0.030514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-58_0_4_line_35 |  | 31 | 32 | 0.020243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-58_0_4_line_36 |  | 31 | 33 | 0.021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-58_0_4_line_37 |  | 32 | 34 | 0.021264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-58_0_4_line_38 |  | 33 | 35 | 0.018568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-58_0_4_line_39 |  | 34 | 36 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-58_0_4_line_40 |  | 35 | 37 | 0.02546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-58_0_4_line_41 |  | 36 | 38 | 0.0016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-58_0_4_line_42 |  | 37 | 39 | 0.015375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-58_0_4_line_43 |  | 39 | 43 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-58_0_4_line_44 |  | 40 | 41 | 0.0045565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1061-58_0_4_line_45 |  | 41 | 42 | 0.018745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1061-58_0_4_line_46 |  | 42 | 45 | 0.008204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-58_0_4_line_47 |  | 42 | 46 | 0.019209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1061-58_0_4_line_48 |  | 45 | 74 | 0.033832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-58_0_4_line_49 |  | 45 | 75 | 0.012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-58_0_4_line_50 |  | 46 | 71 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1061-58_0_4_line_51 |  | 47 | 48 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-58_0_4_line_52 |  | 48 | 49 | 0.0030566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-58_0_4_line_53 |  | 48 | 50 | 0.020617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-58_0_4_line_54 |  | 50 | 54 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-58_0_4_line_55 |  | 51 | 52 | 0.018463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-58_0_4_line_56 |  | 51 | 53 | 0.018948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-58_0_4_line_57 |  | 52 | 55 | 0.033349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-58_0_4_line_58 |  | 52 | 56 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-58_0_4_line_59 |  | 54 | 59 | 0.0064773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-58_0_4_line_60 |  | 55 | 78 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-58_0_4_line_61 |  | 55 | 79 | 0.024562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-58_0_4_line_62 |  | 56 | 77 | 0.032362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-58_0_4_line_63 |  | 58 | 73 | 0.030219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-58_0_4_line_64 |  | 59 | 60 | 0.00986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-58_0_4_line_65 |  | 60 | 77 | 0.006902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-58_0_4_line_66 |  | 61 | 62 | 0.025705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-58_0_4_line_67 |  | 61 | 63 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-58_0_4_line_68 |  | 62 | 64 | 0.0086051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-58_0_4_line_69 |  | 63 | 65 | 0.004585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-58_0_4_line_70 |  | 64 | 66 | 0.031273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-58_0_4_line_71 |  | 65 | 67 | 0.028261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-58_0_4_line_72 |  | 66 | 68 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1061-58_0_4_line_73 |  | 66 | 69 | 0.005486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-58_0_4_line_74 |  | 69 | 73 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1061-58_0_4_line_75 |  | 69 | 72 | 0.038935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_1061-58_0_4_line_76 |  | 71 | 72 | 0.00072021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_1061-58_0_4_line_77 |  | 74 | 76 | 0.00075185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1061-58_0_4_line_78 |  | 76 | 77 | 0.0091072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1061-58_0_4_line_79 |  | 78 | 80 | 0.014303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1061-58_0_4_line_80 |  | 80 | 81 | 0.025821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1061-58_0_4_line_81 |  | 81 | 82 | 0.049869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1061-58_0_4_line_82 |  | 81 | 83 | 0.024272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1061-58_0_4_line_83 |  | 82 | 84 | 0.023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1061-58_0_4_line_84 |  | 84 | 85 | 0.023045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1061-58_0_4_line_85 |  | 85 | 86 | 0.080386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-58_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 87 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2666939.3464 | 1213008.3005 | 2666942.4082 | 1213012.031 | 2666947.9245 | 1213017.3628 | 2666954.0871 | 1213021.9682 | 2666962.3172 | 1213026.6484
1 | 2666936.615 | 1213004.9727 | 2666939.3464 | 1213008.3005
2 | 2666962.3172 | 1213026.6484 | 2666971.9776 | 1213032.142 | 2666979.9573 | 1213036.7329
3 | 2666936.615 | 1213004.9727 | 2666933.9599 | 1212999.2171 | 2666933.386 | 1212997.5541 | 2666932.393 | 1212994.6522 | 2666931.128 | 1212989.5904 | 2666929.7904 | 1212980.1585 | 2666929.2539 | 1212976.4254
4 | 2666923.9102 | 1212970.6977 | 2666927.4006 | 1212970.3923 | 2666928.3741 | 1212970.3031 | 2666929.2539 | 1212976.4254
5 | 2666923.9102 | 1212970.6977 | 2666920.3968 | 1212971.0141 | 2666919.4538 | 1212971.1036
6 | 2666919.4538 | 1212971.1036 | 2666918.5889 | 1212962.8776 | 2666917.1681 | 1212950.7412
7 | 2666886.9163 | 1213006.9498 | 2666849.5811 | 1213007.84
8 | 2666886.9163 | 1213006.9498 | 2666884.817 | 1212994.9855 | 2666882.3088 | 1212987.6417 | 2666879.6401 | 1212984.3067
9 | 2666852.1146 | 1212966.9793 | 2666863.0144 | 1212973.2387 | 2666875.4361 | 1212980.6381 | 2666879.2296 | 1212983.7937 | 2666879.6401 | 1212984.3067
10 | 2666898.91 | 1212905.4456 | 2666904.3153 | 1212911.3188 | 2666909.2287 | 1212918.256 | 2666912.5643 | 1212924.9865 | 2666914.3304 | 1212931.4326 | 2666916.1419 | 1212941.2812 | 2666916.939 | 1212948.7837 | 2666917.1681 | 1212950.7412
11 | 2666911.6501 | 1212911.668 | 2666917.5362 | 1212911.1448 | 2666925.6305 | 1212912.1918 | 2666934.2782 | 1212912.4267
12 | 2666911.6501 | 1212911.668 | 2666904.9883 | 1212903.4771 | 2666901.2441 | 1212900.1964
13 | 2666934.2782 | 1212912.4267 | 2666941.6783 | 1212912.6277 | 2666945.0061 | 1212913.2638
14 | 2666888.2822 | 1212890.6151 | 2666898.9472 | 1212898.1838 | 2666901.2441 | 1212900.1964
15 | 2666852.1146 | 1212966.9793 | 2666844.8002 | 1212962.7726
16 | 2666885.6527 | 1212895.4331 | 2666891.9334 | 1212899.6839 | 2666897.6053 | 1212904.028 | 2666898.91 | 1212905.4456
17 | 2666820.0089 | 1212855.1947 | 2666825.0641 | 1212847.4576 | 2666838.2669 | 1212857.0448
18 | 2666820.0089 | 1212855.1947 | 2666827.0022 | 1212860.9433 | 2666828.8106 | 1212862.2755 | 2666832.6801 | 1212862.7191 | 2666835.7712 | 1212863.4875 | 2666842.259 | 1212867.4582
19 | 2666838.2669 | 1212857.0448 | 2666847.4417 | 1212847.7863 | 2666856.9098 | 1212832.6162
20 | 2666838.2669 | 1212857.0448 | 2666852.873 | 1212866.8484
21 | 2666823.8327 | 1212950.5523 | 2666829.1819 | 1212939.6276 | 2666828.8447 | 1212936.4997
22 | 2666823.8327 | 1212950.5523 | 2666833.2296 | 1212956.0276
23 | 2666833.2296 | 1212956.0276 | 2666839.6373 | 1212944.8814
24 | 2666833.2296 | 1212956.0276 | 2666835.6072 | 1212957.4107 | 2666840.8301 | 1212960.46
25 | 2667020.2376 | 1212881.7241 | 2667005.0396 | 1212871.2696
26 | 2667020.2376 | 1212881.7241 | 2667022.6977 | 1212883.4164
27 | 2667005.0396 | 1212871.2696 | 2666984.9752 | 1212857.4675
28 | 2667022.6977 | 1212883.4164 | 2667040.3915 | 1212895.5878
29 | 2666969.0394 | 1212846.5055 | 2666984.9752 | 1212857.4675
30 | 2667057.5129 | 1212907.6324 | 2667051.1769 | 1212903.0069 | 2667040.3915 | 1212895.5878
31 | 2666968.2868 | 1212845.9878 | 2666969.0394 | 1212846.5055
32 | 2667057.5129 | 1212907.6324 | 2667074.4615 | 1212920.0052
33 | 2666952.2857 | 1212834.9808 | 2666968.2868 | 1212845.9878
34 | 2667074.4615 | 1212920.0052 | 2667081.6644 | 1212925.2635 | 2667094.7164 | 1212942.4688
35 | 2667025.2637 | 1212959.7429 | 2667042.7619 | 1212969.9203
36 | 2667025.2637 | 1212959.7429 | 2667006.3918 | 1212948.7664
37 | 2667061.143 | 1212980.6113 | 2667042.7619 | 1212969.9203
38 | 2666990.8629 | 1212938.6404 | 2666997.5408 | 1212943.6185 | 2667006.3918 | 1212948.7664
39 | 2667079.1248 | 1212991.07 | 2667061.143 | 1212980.6113
40 | 2666990.8629 | 1212938.6404 | 2666977.7341 | 1212928.8536 | 2666969.8528 | 1212924.334
41 | 2667080.536 | 1212991.8908 | 2667079.1248 | 1212991.07
42 | 2666969.8528 | 1212924.334 | 2666956.5154 | 1212916.6856 | 2666956.5154 | 1212916.6856
43 | 2666945.0061 | 1212913.2638 | 2666949.8352 | 1212914.1868 | 2666956.5154 | 1212916.6856
44 | 2666952.2857 | 1212834.9808 | 2666948.5316 | 1212832.3984
45 | 2666933.0879 | 1212821.7749 | 2666948.5316 | 1212832.3984
46 | 2666933.0879 | 1212821.7749 | 2666926.202 | 1212817.2837
47 | 2666933.0879 | 1212821.7749 | 2666922.6095 | 1212837.874
48 | 2666897.8141 | 1212798.7538 | 2666926.202 | 1212817.2837
49 | 2666926.202 | 1212817.2837 | 2666933.3304 | 1212807.0292
50 | 2666909.9141 | 1212857.3794 | 2666922.6095 | 1212837.874
51 | 2666837.4149 | 1212757.5179 | 2666824.5453 | 1212776.4855 | 2666832.7533 | 1212781.8349
52 | 2666837.4149 | 1212757.5179 | 2666834.9249 | 1212755.7452
53 | 2666837.4149 | 1212757.5179 | 2666849.9143 | 1212766.1633 | 2666854.3697 | 1212769.2485
54 | 2666854.3697 | 1212769.2485 | 2666870.3111 | 1212780.2865
55 | 2666920.0265 | 1212749.5057 | 2666904.9754 | 1212738.7524
56 | 2666904.9754 | 1212738.7524 | 2666915.5869 | 1212723.054
57 | 2666920.0265 | 1212749.5057 | 2666947.6365 | 1212768.3271
58 | 2666920.0265 | 1212749.5057 | 2666918.6741 | 1212751.5474 | 2666908.0472 | 1212766.8103
59 | 2666875.6364 | 1212783.9738 | 2666870.3111 | 1212780.2865
60 | 2666947.6365 | 1212768.3271 | 2666956.2713 | 1212774.0276
61 | 2666947.6365 | 1212768.3271 | 2666960.9435 | 1212747.6817
62 | 2666889.5555 | 1212793.369 | 2666908.0472 | 1212766.8103
63 | 2666877.9639 | 1212883.6895 | 2666852.873 | 1212866.8484
64 | 2666883.7632 | 1212789.5906 | 2666875.6364 | 1212783.9738
65 | 2666889.5555 | 1212793.369 | 2666883.7632 | 1212789.5906
66 | 2666865.4975 | 1212929.8206 | 2666851.8252 | 1212951.5882
67 | 2666844.8002 | 1212962.7726 | 2666851.8252 | 1212951.5882
68 | 2666865.4975 | 1212929.8206 | 2666870.0744 | 1212922.5337
69 | 2666840.8301 | 1212960.46 | 2666844.8002 | 1212962.7726
70 | 2666885.6527 | 1212895.4331 | 2666876.1508 | 1212912.8596 | 2666870.0744 | 1212922.5337
71 | 2666840.8301 | 1212960.46 | 2666826.7851 | 1212984.984
72 | 2666885.6527 | 1212895.4331 | 2666881.7396 | 1212892.7764 | 2666875.2101 | 1212888.6211
73 | 2666885.6527 | 1212895.4331 | 2666888.2822 | 1212890.6151
74 | 2666888.2822 | 1212890.6151 | 2666877.9639 | 1212883.6895
75 | 2666888.2822 | 1212890.6151 | 2666909.5212 | 1212857.9831
76 | 2666909.9141 | 1212857.3794 | 2666909.5212 | 1212857.9831
77 | 2666897.1843 | 1212798.3432 | 2666897.8141 | 1212798.7538
78 | 2666889.5555 | 1212793.369 | 2666897.1843 | 1212798.3432
79 | 2666956.2713 | 1212774.0276 | 2666968.1935 | 1212781.9295
80 | 2666989.7161 | 1212796.1946 | 2666968.1935 | 1212781.9295
81 | 2667030.9404 | 1212824.4307 | 2666989.7161 | 1212796.1946
82 | 2666989.7161 | 1212796.1946 | 2667002.6104 | 1212775.6312
83 | 2667030.9404 | 1212824.4307 | 2667043.5702 | 1212805.0472
84 | 2667056.1953 | 1212785.7683 | 2667053.939 | 1212789.1339 | 2667043.5702 | 1212805.0472
85 | 2667056.1953 | 1212785.7683 | 2667110.0402 | 1212726.0811

## bus_geodata
| x | y | coords
0 | 2666939.3464 | 1213008.3005
1 | 2666962.3172 | 1213026.6484
2 | 2666936.615 | 1213004.9727
3 | 2666979.9573 | 1213036.7329
4 | 2666929.2539 | 1212976.4254
5 | 2666923.9102 | 1212970.6977
6 | 2666919.4538 | 1212971.1036
7 | 2666886.9163 | 1213006.9498
8 | 2666849.5811 | 1213007.84
9 | 2666879.6401 | 1212984.3067
10 | 2666917.1681 | 1212950.7412
11 | 2666911.6501 | 1212911.668
12 | 2666934.2782 | 1212912.4267
13 | 2666901.2441 | 1212900.1964
14 | 2666852.1146 | 1212966.9793
15 | 2666898.91 | 1212905.4456
16 | 2666820.0089 | 1212855.1947
17 | 2666838.2669 | 1212857.0448
18 | 2666842.259 | 1212867.4582
19 | 2666823.8327 | 1212950.5523
20 | 2666828.8447 | 1212936.4997
21 | 2666833.2296 | 1212956.0276
22 | 2667020.2376 | 1212881.7241
23 | 2667005.0396 | 1212871.2696
24 | 2667022.6977 | 1212883.4164
25 | 2666984.9752 | 1212857.4675
26 | 2667040.3915 | 1212895.5878
27 | 2666969.0394 | 1212846.5055
28 | 2667057.5129 | 1212907.6324
29 | 2666968.2868 | 1212845.9878
30 | 2667074.4615 | 1212920.0052
31 | 2667025.2637 | 1212959.7429
32 | 2667042.7619 | 1212969.9203
33 | 2667006.3918 | 1212948.7664
34 | 2667061.143 | 1212980.6113
35 | 2666990.8629 | 1212938.6404
36 | 2667079.1248 | 1212991.07
37 | 2666969.8528 | 1212924.334
38 | 2667080.536 | 1212991.8908
39 | 2666956.5154 | 1212916.6856
40 | 2666952.2857 | 1212834.9808
41 | 2666948.5316 | 1212832.3984
42 | 2666933.0879 | 1212821.7749
43 | 2666945.0061 | 1212913.2638
44 | 2667094.7164 | 1212942.4688
45 | 2666926.202 | 1212817.2837
46 | 2666922.6095 | 1212837.874
47 | 2666832.7533 | 1212781.8349
48 | 2666837.4149 | 1212757.5179
49 | 2666834.9249 | 1212755.7452
50 | 2666854.3697 | 1212769.2485
51 | 2666904.9754 | 1212738.7524
52 | 2666920.0265 | 1212749.5057
53 | 2666915.5869 | 1212723.054
54 | 2666870.3111 | 1212780.2865
55 | 2666947.6365 | 1212768.3271
56 | 2666908.0472 | 1212766.8103
57 | 2666856.9098 | 1212832.6162
58 | 2666852.873 | 1212866.8484
59 | 2666875.6364 | 1212783.9738
60 | 2666883.7632 | 1212789.5906
61 | 2666851.8252 | 1212951.5882
62 | 2666865.4975 | 1212929.8206
63 | 2666844.8002 | 1212962.7726
64 | 2666870.0744 | 1212922.5337
65 | 2666840.8301 | 1212960.46
66 | 2666885.6527 | 1212895.4331
67 | 2666826.7851 | 1212984.984
68 | 2666875.2101 | 1212888.6211
69 | 2666888.2822 | 1212890.6151
70 | 2666839.6373 | 1212944.8814
71 | 2666909.9141 | 1212857.3794
72 | 2666909.5212 | 1212857.9831
73 | 2666877.9639 | 1212883.6895
74 | 2666897.8141 | 1212798.7538
75 | 2666933.3304 | 1212807.0292
76 | 2666897.1843 | 1212798.3432
77 | 2666889.5555 | 1212793.369
78 | 2666956.2713 | 1212774.0276
79 | 2666960.9435 | 1212747.6817
80 | 2666968.1935 | 1212781.9295
81 | 2666989.7161 | 1212796.1946
82 | 2667030.9404 | 1212824.4307
83 | 2667002.6104 | 1212775.6312
84 | 2667043.5702 | 1212805.0472
85 | 2667056.1953 | 1212785.7683
86 | 2667110.0402 | 1212726.0811
87 | 2666969.0394 | 1212846.5055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98683 | -0.25334 | 0.0056991 | 0.0014283
1 | 0.98638 | -0.26214 | 0.0073934 | 0.001853
2 | 0.98692 | -0.25162 | 0 | 0
3 | 0.98621 | -0.26548 | 0.0091729 | 0.002299
4 | 0.98753 | -0.2398 | 0.0028903 | 0.00072437
5 | 0.98777 | -0.23501 | 0 | 0
6 | 0.98787 | -0.233 | 0 | 0
7 | 0.98708 | -0.24852 | 0 | 0
8 | 0.98696 | -0.25089 | 0.0035462 | 0.00088876
9 | 0.98716 | -0.24699 | 0.0082663 | 0.0020717
10 | 0.98835 | -0.2238 | 0.0016464 | 0.00041263
11 | 0.98871 | -0.21681 | 0 | 0
12 | 0.98755 | -0.23921 | 0.0044994 | 0.0011277
13 | 0.9895 | -0.20152 | 0.010341 | 0.0025917
14 | 0.98751 | -0.2401 | 0 | 0
15 | 0.98959 | -0.19982 | 0.0048324 | 0.0012111
16 | 0.98906 | -0.20997 | 0 | 0
17 | 0.98931 | -0.20519 | 0 | 0
18 | 0.98881 | -0.21482 | 0.010486 | 0.0026282
19 | 0.9874 | -0.24219 | 0 | 0
20 | 0.98733 | -0.24374 | 0.0056464 | 0.0014151
21 | 0.98746 | -0.2411 | 0 | 0
22 | 0.9966 | -0.065268 | 0.017367 | 0.0043527
23 | 0.99739 | -0.050217 | 0.011402 | 0.0028577
24 | 0.99653 | -0.066796 | 0.0054814 | 0.0013738
25 | 0.99867 | -0.025528 | 0.017687 | 0.0044327
26 | 0.99606 | -0.075727 | 0.0052517 | 0.0013162
27 | 1 | 0 | -0.38889 | -0.098307
28 | 0.99571 | -0.082508 | 0.0064328 | 0.0016122
29 | 0.99991 | -0.0016367 | 0.0058037 | 0.0014545
30 | 0.99548 | -0.086935 | 0.0069655 | 0.0017457
31 | 0.98462 | -0.29624 | 0.0037812 | 0.00094766
32 | 0.98437 | -0.30121 | 0.0041718 | 0.0010455
33 | 0.98497 | -0.28939 | 0.0055429 | 0.0013892
34 | 0.98418 | -0.30485 | 0.0027602 | 0.00069178
35 | 0.98537 | -0.28172 | 0.006029 | 0.001511
36 | 0.98405 | -0.30737 | 0.0035004 | 0.00087729
37 | 0.98605 | -0.26846 | 0.0057613 | 0.0014439
38 | 0.98405 | -0.30747 | 0.00324 | 0.00081201
39 | 0.98654 | -0.25888 | 0.011006 | 0.0027584
40 | 0.99812 | -0.035847 | 0.0068715 | 0.0017222
41 | 0.9977 | -0.043708 | 0.010967 | 0.0027487
42 | 0.99607 | -0.074912 | 0 | 0
43 | 0.98705 | -0.249 | 0.0049352 | 0.0012369
44 | 0.99534 | -0.089635 | 0.0050303 | 0.0012607
45 | 0.9954 | -0.087773 | 0 | 0
46 | 0.99492 | -0.096936 | 0.0078845 | 0.001976
47 | 0.9914 | -0.16496 | 0.00379 | 0.00094986
48 | 0.99151 | -0.16276 | 0 | 0
49 | 0.9915 | -0.16294 | 0.0033455 | 0.00083847
50 | 0.99164 | -0.16015 | 0 | 0
51 | 0.98913 | -0.20866 | 0 | 0
52 | 0.98931 | -0.20534 | 0 | 0
53 | 0.98896 | -0.21208 | 0.010115 | 0.0025352
54 | 0.99177 | -0.1577 | 0.0084852 | 0.0021266
55 | 0.988 | -0.23058 | 0 | 0
56 | 0.99032 | -0.18565 | 0.0073234 | 0.0018354
57 | 0.98915 | -0.20837 | 0.005771 | 0.0014463
58 | 0.98957 | -0.2001 | 0.0049281 | 0.0012351
59 | 0.99186 | -0.1559 | 0 | 0
60 | 0.992 | -0.15317 | 0 | 0
61 | 0.98791 | -0.2323 | 0.0052632 | 0.0013191
62 | 0.98864 | -0.2182 | 0.0046878 | 0.0011749
63 | 0.9876 | -0.23832 | 0 | 0
64 | 0.98892 | -0.21276 | 0.0046408 | 0.0011631
65 | 0.98755 | -0.23944 | 0 | 0
66 | 0.99007 | -0.19044 | 0 | 0
67 | 0.98746 | -0.24103 | 0.0031496 | 0.00078937
68 | 0.98998 | -0.19213 | 0.0076035 | 0.0019056
69 | 0.99047 | -0.18271 | 0 | 0
70 | 0.9874 | -0.24222 | 0.0048781 | 0.0012226
71 | 0.99359 | -0.12261 | 0.0078537 | 0.0019683
72 | 0.99355 | -0.12337 | 0.0077388 | 0.0019395
73 | 0.99016 | -0.18871 | 0.0059926 | 0.0015019
74 | 0.99279 | -0.13797 | 0 | 0
75 | 0.99534 | -0.088881 | 0.005042 | 0.0012636
76 | 0.99273 | -0.13909 | 0.0086092 | 0.0021577
77 | 0.9921 | -0.15127 | 0 | 0
78 | 0.98773 | -0.23593 | 0 | 0
79 | 0.9877 | -0.2365 | 0.013474 | 0.0033768
80 | 0.98735 | -0.24334 | 0.0045828 | 0.0011486
81 | 0.98677 | -0.25461 | 0 | 0
82 | 0.98625 | -0.26476 | 0 | 0
83 | 0.98648 | -0.26027 | 0.013027 | 0.0032649
84 | 0.98601 | -0.26947 | 0.0044638 | 0.0011187
85 | 0.98586 | -0.27232 | 0 | 0
86 | 0.98535 | -0.28228 | 0.0068991 | 0.0017291
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016575 | 0.0041567 | -0.016568 | -0.0041526 | 6.9478e-06 | 4.0679e-06 | 0.024994 | 0.024994 | 0.024994 | 0.98683 | -0.25334 | 0.98638 | -0.26214 | 6.8664
1 | -0.022274 | -0.005585 | 0.022276 | 0.0055861 | 1.8212e-06 | 1.1106e-06 | 0.033587 | 0.033587 | 0.033587 | 0.98683 | -0.25334 | 0.98692 | -0.25162 | 9.2272
2 | 0.0091744 | 0.0022996 | -0.0091729 | -0.002299 | 1.4596e-06 | 6.7482e-07 | 0.01384 | 0.01384 | 0.01384 | 0.98638 | -0.26214 | 0.98621 | -0.26548 | 3.8023
3 | -0.022276 | -0.0055861 | 0.022288 | 0.0055938 | 1.2556e-05 | 7.6561e-06 | 0.033587 | 0.033587 | 0.033587 | 0.98692 | -0.25162 | 0.98753 | -0.2398 | 9.2272
4 | -0.025179 | -0.0063181 | 0.025184 | 0.0063217 | 5.7583e-06 | 3.5488e-06 | 0.037942 | 0.037942 | 0.037942 | 0.98753 | -0.2398 | 0.98777 | -0.23501 | 10.4237
5 | -0.025184 | -0.0063217 | 0.025187 | 0.0063232 | 2.4088e-06 | 1.4845e-06 | 0.037942 | 0.037942 | 0.037942 | 0.98777 | -0.23501 | 0.98787 | -0.233 | 10.4236
6 | -0.025187 | -0.0063232 | 0.025198 | 0.00633 | 1.1062e-05 | 6.8171e-06 | 0.037942 | 0.037942 | 0.037942 | 0.98787 | -0.233 | 0.98835 | -0.2238 | 10.4236
7 | 0.0035466 | 0.00088854 | -0.0035462 | -0.00088876 | 4.0032e-07 | -2.2111e-07 | 0.0053464 | 0.0053465 | 0.0053465 | 0.98708 | -0.24852 | 0.98696 | -0.25089 | 1.4688
8 | -0.0035466 | -0.00088854 | 0.0035469 | 0.0008884 | 2.5916e-07 | -1.4322e-07 | 0.0053464 | 0.0053462 | 0.0053464 | 0.98708 | -0.24852 | 0.98716 | -0.24699 | 1.4688
9 | -0.011813 | -0.0029601 | 0.011817 | 0.0029622 | 3.8785e-06 | 2.0651e-06 | 0.017807 | 0.017807 | 0.017807 | 0.98716 | -0.24699 | 0.98751 | -0.2401 | 4.8919
10 | -0.026844 | -0.0067426 | 0.026875 | 0.0067617 | 3.0761e-05 | 1.9043e-05 | 0.040421 | 0.04042 | 0.040421 | 0.98835 | -0.2238 | 0.98959 | -0.19982 | 11.1046
11 | 0.055386 | 0.01394 | -0.055327 | -0.013903 | 5.9235e-05 | 3.762e-05 | 0.083378 | 0.083378 | 0.083378 | 0.98871 | -0.21681 | 0.98755 | -0.23921 | 22.9061
12 | -0.055386 | -0.01394 | 0.055427 | 0.013966 | 4.0502e-05 | 2.5722e-05 | 0.083378 | 0.083378 | 0.083378 | 0.98871 | -0.21681 | 0.9895 | -0.20152 | 22.9061
13 | 0.050828 | 0.012775 | -0.050804 | -0.01276 | 2.3743e-05 | 1.5057e-05 | 0.076599 | 0.076599 | 0.076599 | 0.98755 | -0.23921 | 0.98705 | -0.249 | 21.0436
14 | -0.065768 | -0.016558 | 0.065827 | 0.016596 | 5.9205e-05 | 3.7684e-05 | 0.098929 | 0.098929 | 0.098929 | 0.9895 | -0.20152 | 0.99047 | -0.18271 | 27.1783
15 | -0.011817 | -0.0029622 | 0.011818 | 0.0029627 | 1.001e-06 | 5.3294e-07 | 0.017807 | 0.017806 | 0.017807 | 0.98751 | -0.2401 | 0.9876 | -0.23832 | 4.8919
16 | -0.031707 | -0.0079728 | 0.031722 | 0.0079816 | 1.4203e-05 | 8.8757e-06 | 0.047687 | 0.047687 | 0.047687 | 0.98959 | -0.19982 | 0.99007 | -0.19044 | 13.1008
17 | -0.010489 | -0.0026294 | 0.010491 | 0.0026306 | 2.3867e-06 | 1.1994e-06 | 0.01578 | 0.01578 | 0.01578 | 0.98906 | -0.20997 | 0.98931 | -0.20519 | 4.3353
18 | 0.010489 | 0.0026294 | -0.010486 | -0.0026282 | 2.4266e-06 | 1.2196e-06 | 0.01578 | 0.015781 | 0.015781 | 0.98906 | -0.20997 | 0.98881 | -0.21482 | 4.3353
19 | 0.0057719 | 0.0014465 | -0.005771 | -0.0014463 | 8.738e-07 | 1.6232e-07 | 0.0086814 | 0.0086816 | 0.0086816 | 0.98931 | -0.20519 | 0.98915 | -0.20837 | 2.385
20 | -0.016263 | -0.0040771 | 0.016267 | 0.0040794 | 3.9473e-06 | 2.3003e-06 | 0.024462 | 0.024462 | 0.024462 | 0.98931 | -0.20519 | 0.98957 | -0.2001 | 6.7203
21 | 0.0056468 | 0.0014152 | -0.0056464 | -0.0014151 | 4.1564e-07 | 7.0251e-08 | 0.0085097 | 0.0085097 | 0.0085097 | 0.9874 | -0.24219 | 0.98733 | -0.24374 | 2.3378
22 | -0.0056468 | -0.0014152 | 0.0056471 | 0.0014152 | 2.9469e-07 | 4.9786e-08 | 0.0085097 | 0.0085096 | 0.0085097 | 0.9874 | -0.24219 | 0.98746 | -0.2411 | 2.3378
23 | 0.0048783 | 0.0012226 | -0.0048781 | -0.0012226 | 2.6041e-07 | 2.2874e-09 | 0.0073512 | 0.0073512 | 0.0073512 | 0.98746 | -0.2411 | 0.9874 | -0.24222 | 2.0196
24 | -0.010525 | -0.0026378 | 0.010526 | 0.0026382 | 8.3002e-07 | 4.1865e-07 | 0.015861 | 0.015861 | 0.015861 | 0.98746 | -0.2411 | 0.98755 | -0.23944 | 4.3574
25 | -0.04655 | -0.011674 | 0.046584 | 0.011695 | 3.3419e-05 | 2.1148e-05 | 0.069506 | 0.069506 | 0.069506 | 0.9966 | -0.065268 | 0.99739 | -0.050217 | 19.0952
26 | 0.029183 | 0.007321 | -0.029181 | -0.0073197 | 2.1261e-06 | 1.3218e-06 | 0.043575 | 0.043575 | 0.043575 | 0.9966 | -0.065268 | 0.99653 | -0.066796 | 11.9712
27 | -0.057986 | -0.014553 | 0.058054 | 0.014596 | 6.8359e-05 | 4.3431e-05 | 0.086517 | 0.086517 | 0.086517 | 0.99739 | -0.050217 | 0.99867 | -0.025528 | 23.7685
28 | 0.0237 | 0.0059459 | -0.023689 | -0.0059397 | 1.0087e-05 | 6.1759e-06 | 0.03539 | 0.035391 | 0.035391 | 0.99653 | -0.066796 | 0.99606 | -0.075727 | 9.7227
29 | -0.075741 | -0.019029 | 0.075834 | 0.019088 | 9.2405e-05 | 5.8886e-05 | 0.11287 | 0.11287 | 0.11287 | 0.99867 | -0.025528 | 1 | 0 | 31.0084
30 | 0.018438 | 0.0046235 | -0.018432 | -0.00462 | 5.9566e-06 | 3.5398e-06 | 0.027545 | 0.027545 | 0.027545 | 0.99606 | -0.075727 | 0.99571 | -0.082508 | 7.5673
31 | 0.31141 | 0.079219 | -0.31138 | -0.079203 | 2.456e-05 | 1.5683e-05 | 0.4638 | 0.4638 | 0.4638 | 1 | 0 | 0.99991 | -0.0016367 | 42.4721
32 | 0.011999 | 0.0030078 | -0.011996 | -0.0030064 | 2.5303e-06 | 1.3465e-06 | 0.017932 | 0.017932 | 0.017932 | 0.99571 | -0.082508 | 0.99548 | -0.086935 | 4.9263
33 | 0.30558 | 0.077749 | -0.30508 | -0.077428 | 0.00050294 | 0.00032112 | 0.45516 | 0.45516 | 0.45516 | 0.99991 | -0.0016367 | 0.99812 | -0.035847 | 41.6812
34 | 0.0050309 | 0.0012607 | -0.0050303 | -0.0012607 | 6.471e-07 | 1.7492e-08 | 0.00752 | 0.0075202 | 0.0075202 | 0.99548 | -0.086935 | 0.99534 | -0.089635 | 2.066
35 | 0.013678 | 0.0034295 | -0.013675 | -0.0034277 | 3.2438e-06 | 1.8186e-06 | 0.020672 | 0.020672 | 0.020672 | 0.98462 | -0.29624 | 0.98437 | -0.30121 | 5.679
36 | -0.017459 | -0.0043771 | 0.017465 | 0.0043805 | 5.6999e-06 | 3.3702e-06 | 0.026386 | 0.026386 | 0.026386 | 0.98462 | -0.29624 | 0.98497 | -0.28939 | 7.2489
37 | 0.0095031 | 0.0023821 | -0.0095015 | -0.0023813 | 1.6456e-06 | 7.8291e-07 | 0.014365 | 0.014366 | 0.014366 | 0.98437 | -0.30121 | 0.98418 | -0.30485 | 3.9466
38 | -0.023008 | -0.0057697 | 0.023016 | 0.0057748 | 8.4131e-06 | 5.148e-06 | 0.03476 | 0.03476 | 0.03476 | 0.98497 | -0.28939 | 0.98537 | -0.28172 | 9.5494
39 | 0.0067412 | 0.0016895 | -0.0067404 | -0.0016893 | 8.1037e-07 | 2.5433e-07 | 0.010192 | 0.010192 | 0.010192 | 0.98418 | -0.30485 | 0.98405 | -0.30737 | 2.8001
40 | -0.029045 | -0.0072859 | 0.029064 | 0.0072973 | 1.837e-05 | 1.1432e-05 | 0.043864 | 0.043864 | 0.043864 | 0.98537 | -0.28172 | 0.98605 | -0.26846 | 12.0506
41 | 0.00324 | 0.000812 | -0.00324 | -0.00081201 | 1.4694e-08 | -1.1335e-08 | 0.0048993 | 0.0048993 | 0.0048993 | 0.98405 | -0.30737 | 0.98405 | -0.30747 | 1.346
42 | -0.034825 | -0.0087412 | 0.034841 | 0.0087512 | 1.5927e-05 | 9.9968e-06 | 0.052558 | 0.052558 | 0.052558 | 0.98605 | -0.26846 | 0.98654 | -0.25888 | 14.4391
43 | -0.045847 | -0.01151 | 0.045869 | 0.011523 | 2.1611e-05 | 1.3677e-05 | 0.069159 | 0.069159 | 0.069159 | 0.98654 | -0.25888 | 0.98705 | -0.249 | 18.9997
44 | 0.29821 | 0.075706 | -0.29809 | -0.075634 | 0.00011274 | 7.1978e-05 | 0.44491 | 0.44491 | 0.44491 | 0.99812 | -0.035847 | 0.9977 | -0.043708 | 40.7431
45 | 0.28713 | 0.072885 | -0.2867 | -0.07261 | 0.00043034 | 0.00027468 | 0.42856 | 0.42856 | 0.42856 | 0.9977 | -0.043708 | 0.99607 | -0.074912 | 39.2452
46 | 0.089725 | 0.022701 | -0.089669 | -0.022666 | 5.5336e-05 | 3.5308e-05 | 0.13411 | 0.13411 | 0.13411 | 0.99607 | -0.074912 | 0.9954 | -0.087773 | 36.8445
47 | 0.19697 | 0.049909 | -0.19676 | -0.049777 | 0.00020817 | 0.00013248 | 0.29444 | 0.29444 | 0.29444 | 0.99607 | -0.074912 | 0.99492 | -0.096936 | 26.9638
48 | 0.084627 | 0.021402 | -0.084424 | -0.021272 | 0.00020327 | 0.00012965 | 0.12658 | 0.12658 | 0.12658 | 0.9954 | -0.087773 | 0.99279 | -0.13797 | 34.7737
49 | 0.0050423 | 0.0012637 | -0.005042 | -0.0012636 | 2.6609e-07 | 7.9653e-09 | 0.0075376 | 0.0075377 | 0.0075377 | 0.9954 | -0.087773 | 0.99534 | -0.088881 | 2.0708
50 | 0.18888 | 0.047801 | -0.18865 | -0.047653 | 0.00023242 | 0.00014784 | 0.28265 | 0.28265 | 0.28265 | 0.99492 | -0.096936 | 0.99359 | -0.12261 | 25.8839
51 | -0.00379 | -0.00094986 | 0.0037904 | 0.0009497 | 3.9703e-07 | -1.6784e-07 | 0.0056885 | 0.0056884 | 0.0056885 | 0.9914 | -0.16496 | 0.99151 | -0.16276 | 1.5628
52 | 0.0033456 | 0.00083845 | -0.0033455 | -0.00083847 | 2.8896e-08 | -2.0928e-08 | 0.0050209 | 0.0050209 | 0.0050209 | 0.99151 | -0.16276 | 0.9915 | -0.16294 | 1.3794
53 | -0.007136 | -0.0017881 | 0.0071369 | 0.0017885 | 8.867e-07 | 3.0154e-07 | 0.010709 | 0.010709 | 0.010709 | 0.99151 | -0.16276 | 0.99164 | -0.16015 | 2.9421
54 | -0.0071369 | -0.0017885 | 0.0071377 | 0.0017887 | 8.339e-07 | 2.8352e-07 | 0.010709 | 0.010709 | 0.010709 | 0.99164 | -0.16015 | 0.99177 | -0.1577 | 2.9421
55 | -0.010117 | -0.002536 | 0.010119 | 0.0025368 | 1.6038e-06 | 7.894e-07 | 0.01522 | 0.01522 | 0.01522 | 0.98913 | -0.20866 | 0.98931 | -0.20534 | 4.1813
56 | 0.010117 | 0.002536 | -0.010115 | -0.0025352 | 1.646e-06 | 8.1026e-07 | 0.01522 | 0.01522 | 0.01522 | 0.98913 | -0.20866 | 0.98896 | -0.21208 | 4.1813
57 | 0.042548 | 0.010699 | -0.042497 | -0.010667 | 5.1238e-05 | 3.2365e-05 | 0.064009 | 0.064009 | 0.064009 | 0.98931 | -0.20534 | 0.988 | -0.23058 | 17.5849
58 | -0.052666 | -0.013236 | 0.052716 | 0.013267 | 4.9543e-05 | 3.1437e-05 | 0.079229 | 0.079229 | 0.079229 | 0.98931 | -0.20534 | 0.99032 | -0.18565 | 21.7661
59 | -0.015623 | -0.0039153 | 0.015624 | 0.0039161 | 1.3345e-06 | 7.7052e-07 | 0.02344 | 0.02344 | 0.02344 | 0.99177 | -0.1577 | 0.99186 | -0.1559 | 6.4395
60 | 0.029019 | 0.0072878 | -0.029012 | -0.0072832 | 7.3984e-06 | 4.6027e-06 | 0.04371 | 0.043711 | 0.043711 | 0.988 | -0.23058 | 0.98773 | -0.23593 | 12.0084
61 | 0.013477 | 0.0033789 | -0.013474 | -0.0033768 | 3.7952e-06 | 2.1145e-06 | 0.020299 | 0.020299 | 0.020299 | 0.988 | -0.23058 | 0.9877 | -0.2365 | 5.5766
62 | -0.060039 | -0.015103 | 0.060138 | 0.015166 | 9.8808e-05 | 6.282e-05 | 0.090232 | 0.090232 | 0.090232 | 0.99032 | -0.18565 | 0.9921 | -0.15127 | 24.7891
63 | -0.021195 | -0.0053145 | 0.021207 | 0.0053215 | 1.1511e-05 | 6.9788e-06 | 0.031872 | 0.031872 | 0.031872 | 0.98957 | -0.2001 | 0.99016 | -0.18871 | 8.756
64 | -0.015624 | -0.0039161 | 0.015626 | 0.0039173 | 2.0315e-06 | 1.1729e-06 | 0.02344 | 0.02344 | 0.02344 | 0.99186 | -0.1559 | 0.992 | -0.15317 | 6.4395
65 | -0.015626 | -0.0039173 | 0.015628 | 0.0039181 | 1.4221e-06 | 8.21e-07 | 0.02344 | 0.02344 | 0.02344 | 0.992 | -0.15317 | 0.9921 | -0.15127 | 6.4395
66 | -0.030765 | -0.0077141 | 0.030786 | 0.007727 | 2.07e-05 | 1.2919e-05 | 0.046341 | 0.046341 | 0.046341 | 0.98791 | -0.2323 | 0.98864 | -0.2182 | 12.731
67 | 0.025502 | 0.006395 | -0.025495 | -0.0063905 | 7.3083e-06 | 4.5083e-06 | 0.038413 | 0.038413 | 0.038413 | 0.98791 | -0.2323 | 0.9876 | -0.23832 | 10.5531
68 | -0.035474 | -0.0089019 | 0.035483 | 0.0089077 | 9.2005e-06 | 5.7779e-06 | 0.053396 | 0.053396 | 0.053396 | 0.98864 | -0.2182 | 0.98892 | -0.21276 | 14.6693
69 | 0.013677 | 0.0034278 | -0.013676 | -0.0034274 | 7.3012e-07 | 4.0861e-07 | 0.020607 | 0.020607 | 0.020607 | 0.9876 | -0.23832 | 0.98755 | -0.23944 | 5.6612
70 | -0.040124 | -0.010071 | 0.040167 | 0.010098 | 4.2754e-05 | 2.6961e-05 | 0.060379 | 0.060379 | 0.060379 | 0.98892 | -0.21276 | 0.99007 | -0.19044 | 16.5877
71 | 0.0031499 | 0.00078916 | -0.0031496 | -0.00078937 | 2.3873e-07 | -2.0877e-07 | 0.0047461 | 0.0047462 | 0.0047462 | 0.98755 | -0.23944 | 0.98746 | -0.24103 | 1.3039
72 | 0.0076041 | 0.0019058 | -0.0076035 | -0.0019056 | 6.1074e-07 | 2.3053e-07 | 0.011429 | 0.011429 | 0.011429 | 0.99007 | -0.19044 | 0.98998 | -0.19213 | 3.1397
73 | -0.079492 | -0.019985 | 0.079522 | 0.020004 | 2.9375e-05 | 1.873e-05 | 0.11949 | 0.11949 | 0.11949 | 0.99007 | -0.19044 | 0.99047 | -0.18271 | 32.8282
74 | 0.027207 | 0.0068282 | -0.027199 | -0.0068233 | 7.787e-06 | 4.8238e-06 | 0.040878 | 0.040878 | 0.040878 | 0.99047 | -0.18271 | 0.99016 | -0.18871 | 11.2301
75 | -0.17256 | -0.043428 | 0.17305 | 0.043741 | 0.00049085 | 0.00031314 | 0.2593 | 0.2593 | 0.2593 | 0.99047 | -0.18271 | 0.99355 | -0.12337 | 35.6182
76 | 0.18079 | 0.045685 | -0.18079 | -0.04568 | 6.6063e-06 | 4.2001e-06 | 0.27089 | 0.27089 | 0.27089 | 0.99359 | -0.12261 | 0.99355 | -0.12337 | 24.8068
77 | 0.084424 | 0.021272 | -0.084419 | -0.021269 | 4.5172e-06 | 2.8813e-06 | 0.12658 | 0.12658 | 0.12658 | 0.99279 | -0.13797 | 0.99273 | -0.13909 | 34.7737
78 | 0.07581 | 0.019112 | -0.075766 | -0.019084 | 4.4129e-05 | 2.8125e-05 | 0.11367 | 0.11367 | 0.11367 | 0.99273 | -0.13909 | 0.9921 | -0.15127 | 31.2286
79 | 0.029012 | 0.0072832 | -0.029001 | -0.0072768 | 1.0248e-05 | 6.3756e-06 | 0.043711 | 0.043711 | 0.043711 | 0.98773 | -0.23593 | 0.98735 | -0.24334 | 12.0084
80 | 0.024419 | 0.0061283 | -0.024406 | -0.0061202 | 1.3116e-05 | 8.064e-06 | 0.036804 | 0.036804 | 0.036804 | 0.98735 | -0.24334 | 0.98677 | -0.25461 | 10.111
81 | 0.011375 | 0.0028534 | -0.01137 | -0.0028505 | 5.5031e-06 | 2.8853e-06 | 0.017154 | 0.017154 | 0.017154 | 0.98677 | -0.25461 | 0.98625 | -0.26476 | 4.7128
82 | 0.01303 | 0.0032668 | -0.013027 | -0.0032649 | 3.5144e-06 | 1.9393e-06 | 0.01965 | 0.01965 | 0.01965 | 0.98677 | -0.25461 | 0.98648 | -0.26027 | 5.3983
83 | 0.01137 | 0.0028505 | -0.011367 | -0.0028492 | 2.5531e-06 | 1.3388e-06 | 0.017154 | 0.017155 | 0.017155 | 0.98625 | -0.26476 | 0.98601 | -0.26947 | 4.7128
84 | 0.0069033 | 0.0017304 | -0.0069023 | -0.0017301 | 9.3798e-07 | 3.0641e-07 | 0.010418 | 0.010418 | 0.010418 | 0.98601 | -0.26947 | 0.98586 | -0.27232 | 2.8621
85 | 0.0069023 | 0.0017301 | -0.0068991 | -0.0017291 | 3.272e-06 | 1.0696e-06 | 0.010418 | 0.010419 | 0.010419 | 0.98586 | -0.27232 | 0.98535 | -0.28228 | 2.8622

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39248 | 0.099206

## res_load
| p_mw | q_mvar
0 | 0.0056991 | 0.0014283
1 | 0.0073934 | 0.001853
2 | 0.0091729 | 0.002299
3 | 0.0028903 | 0.00072437
4 | 0.0035462 | 0.00088876
5 | 0.0082663 | 0.0020717
6 | 0.0016464 | 0.00041263
7 | 0.0044994 | 0.0011277
8 | 0.010341 | 0.0025917
9 | 0.0048324 | 0.0012111
10 | 0.010486 | 0.0026282
11 | 0.0056464 | 0.0014151
12 | 0.017367 | 0.0043527
13 | 0.011402 | 0.0028577
14 | 0.0054814 | 0.0013738
15 | 0.017687 | 0.0044327
16 | 0.0052517 | 0.0013162
17 | 0.0035894 | 0.0008996
18 | 0.0064328 | 0.0016122
19 | 0.0058037 | 0.0014545
20 | 0.0069655 | 0.0017457
21 | 0.0037812 | 0.00094766
22 | 0.0041718 | 0.0010455
23 | 0.0055429 | 0.0013892
24 | 0.0027602 | 0.00069178
25 | 0.006029 | 0.001511
26 | 0.0035004 | 0.00087729
27 | 0.0057613 | 0.0014439
28 | 0.00324 | 0.00081201
29 | 0.011006 | 0.0027584
30 | 0.0068715 | 0.0017222
31 | 0.010967 | 0.0027487
32 | 0.0049352 | 0.0012369
33 | 0.0050303 | 0.0012607
34 | 0.0078845 | 0.001976
35 | 0.00379 | 0.00094986
36 | 0.0033455 | 0.00083847
37 | 0.010115 | 0.0025352
38 | 0.0084852 | 0.0021266
39 | 0.0073234 | 0.0018354
40 | 0.005771 | 0.0014463
41 | 0.0049281 | 0.0012351
42 | 0.0052632 | 0.0013191
43 | 0.0046878 | 0.0011749
44 | 0.0046408 | 0.0011631
45 | 0.0031496 | 0.00078937
46 | 0.0076035 | 0.0019056
47 | 0.0048781 | 0.0012226
48 | 0.0078537 | 0.0019683
49 | 0.0077388 | 0.0019395
50 | 0.0059926 | 0.0015019
51 | 0.005042 | 0.0012636
52 | 0.0086092 | 0.0021577
53 | 0.013474 | 0.0033768
54 | 0.0045828 | 0.0011486
55 | 0.013027 | 0.0032649
56 | 0.0044638 | 0.0011187
57 | 0.0068991 | 0.0017291

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1