## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-5_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1061-5_0_6_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1061-5_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1061-5_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1061-5_0_6_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1061-5_0_6_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1061-5_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1061-5_0_6_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1061-5_0_6_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_1061-5_0_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1061-5_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1061-5_0_6_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1061-5_0_6_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1061-5_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1061-5_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1061-5_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1061-5_0_6_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_1061-5_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1061-5_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1061-5_0_6_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1061-5_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1061-5_0_6_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1061-5_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1061-5_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1061-5_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1061-5_0_6_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1061-5_0_6_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1061-5_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1061-5_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1061-5_0_6_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1061-5_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1061-5_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1061-5_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1061-5_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1061-5_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1061-5_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_MV_216_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-5_0_6_load_0 | 0 | 0.036549 | 0.0091601 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-5_0_6_load_1 | 1 | 0.012112 | 0.0030355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-5_0_6_load_3 | 3 | 0.012853 | 0.0032212 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-5_0_6_load_4 | 4 | 0.0033025 | 0.00082768 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-5_0_6_load_22 | 6 | 0.025281 | 0.006336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-5_0_6_load_12 | 7 | 0.015487 | 0.0038815 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-5_0_6_load_20 | 10 | 0.020007 | 0.0050143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-5_0_6_load_37 | 12 | 0.013614 | 0.0034121 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-5_0_6_load_44 | 13 | 0.016119 | 0.0040399 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-5_0_6_load_28 | 16 | 0.019243 | 0.0048227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-5_0_6_load_26 | 17 | 0.0097705 | 0.0024487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-5_0_6_load_19 | 18 | 0.019253 | 0.0048252 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-5_0_6_load_14 | 20 | 0.015784 | 0.0039558 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-5_0_6_load_9 | 21 | 0.091683 | 0.022978 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-5_0_6_load_39 | 24 | 0.020054 | 0.0050261 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-5_0_6_load_38 | 25 | 0.042608 | 0.010678 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-5_0_6_load_43 | 26 | 0.014596 | 0.0036582 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-5_0_6_load_27 | 27 | 0.022253 | 0.0055771 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-5_0_6_load_13 | 28 | 0.0066601 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-5_0_6_load_30 | 29 | 0.033465 | 0.0083872 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-5_0_6_load_40 | 30 | 0.010154 | 0.0025448 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-5_0_6_load_36 | 31 | 0.016973 | 0.0042538 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-5_0_6_load_29 | 33 | 0.0074786 | 0.0018743 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-5_0_6_load_34 | 34 | 0.0083292 | 0.0020875 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-5_0_6_load_35 | 35 | 0.015485 | 0.003881 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-5_0_6_load_31 | 36 | 0.017763 | 0.0044517 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-5_0_6_load_33 | 37 | 0.033203 | 0.0083215 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-5_0_6_load_32 | 38 | 0.015522 | 0.0038901 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-5_0_6_load_41 | 39 | 0.01652 | 0.0041402 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-5_0_6_load_42 | 40 | 0.015125 | 0.0037908 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-5_0_6_line_0 |  | 0 | 1 | 0.007173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1061-5_0_6_line_1 |  | 0 | 2 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1061-5_0_6_line_2 |  | 1 | 3 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1061-5_0_6_line_3 |  | 2 | 4 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1061-5_0_6_line_4 |  | 2 | 5 | 0.070481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1061-5_0_6_line_5 |  | 3 | 6 | 0.027145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1061-5_0_6_line_6 |  | 4 | 7 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1061-5_0_6_line_7 |  | 5 | 13 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1061-5_0_6_line_8 |  | 5 | 11 | 0.006485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-5_0_6_line_9 |  | 6 | 14 | 0.0023606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-5_0_6_line_10 |  | 7 | 15 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1061-5_0_6_line_11 |  | 8 | 9 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-5_0_6_line_12 |  | 8 | 10 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-5_0_6_line_13 |  | 9 | 16 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-5_0_6_line_14 |  | 9 | 17 | 0.020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-5_0_6_line_15 |  | 10 | 18 | 0.00037666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-5_0_6_line_16 |  | 11 | 12 | 0.031077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-5_0_6_line_17 |  | 13 | 26 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-5_0_6_line_18 |  | 14 | 18 | 0.022226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1061-5_0_6_line_19 |  | 14 | 32 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-5_0_6_line_20 |  | 15 | 28 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-5_0_6_line_21 |  | 15 | 21 | 0.007215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-5_0_6_line_22 |  | 16 | 36 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-5_0_6_line_23 |  | 17 | 27 | 0.0026491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-5_0_6_line_24 |  | 19 | 20 | 0.021366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-5_0_6_line_25 |  | 19 | 21 | 0.035816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-5_0_6_line_26 |  | 20 | 29 | 0.023922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-5_0_6_line_27 |  | 22 | 23 | 0.0099772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-5_0_6_line_28 |  | 22 | 24 | 0.00701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-5_0_6_line_29 |  | 23 | 25 | 0.021557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-5_0_6_line_30 |  | 24 | 30 | 0.014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-5_0_6_line_31 |  | 25 | 31 | 0.12449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-5_0_6_line_32 |  | 26 | 40 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-5_0_6_line_33 |  | 30 | 39 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-5_0_6_line_34 |  | 32 | 33 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-5_0_6_line_35 |  | 32 | 34 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-5_0_6_line_36 |  | 34 | 35 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-5_0_6_line_37 |  | 36 | 38 | 0.016845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-5_0_6_line_38 |  | 37 | 38 | 0.0021451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-5_0_6_line_39 |  | 39 | 40 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-5_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 41 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2665987.864 | 1210421.6004 | 2665981.2604 | 1210424.4012
1 | 2666003.913 | 1210414.7933 | 2665987.864 | 1210421.6004
2 | 2665981.2604 | 1210424.4012 | 2665964.6806 | 1210431.4334
3 | 2666003.913 | 1210414.7933 | 2666008.4864 | 1210425.8684
4 | 2666058.3916 | 1210403.8114 | 2666056.3672 | 1210399.9422 | 2666054.3517 | 1210397.3294 | 2666050.6445 | 1210394.4199 | 2666048.8163 | 1210389.3077 | 2666046.5885 | 1210392.8185 | 2666043.1855 | 1210396.7611 | 2666041.3154 | 1210398.1746 | 2666037.2074 | 1210400.5861 | 2666003.913 | 1210414.7933
5 | 2665939.6908 | 1210442.0327 | 2665964.6806 | 1210431.4334
6 | 2666013.0697 | 1210436.9675 | 2666008.4864 | 1210425.8684
7 | 2666058.3916 | 1210403.8114 | 2666055.6728 | 1210404.9932 | 2666055.375 | 1210405.1233 | 2666057.7472 | 1210410.5307 | 2666059.6708 | 1210415.0204
8 | 2666058.3916 | 1210403.8114 | 2666060.9119 | 1210402.7053 | 2666064.3486 | 1210401.2091
9 | 2665937.5176 | 1210442.9544 | 2665939.6908 | 1210442.0327
10 | 2666021.2778 | 1210456.8445 | 2666013.0697 | 1210436.9675
11 | 2665903.2446 | 1210410.2669 | 2665920.8585 | 1210402.3343
12 | 2665920.8585 | 1210402.3343 | 2665928.9412 | 1210422.0425
13 | 2665903.2446 | 1210410.2669 | 2665891.3437 | 1210415.1895
14 | 2665903.2446 | 1210410.2669 | 2665895.1657 | 1210391.5644
15 | 2665929.0841 | 1210422.391 | 2665928.9412 | 1210422.0425
16 | 2666064.3486 | 1210401.2091 | 2666070.2414 | 1210414.0156 | 2666076.8269 | 1210429.6661
17 | 2666059.6708 | 1210415.0204 | 2666066.7556 | 1210431.5561
18 | 2665937.5176 | 1210442.9544 | 2665929.0841 | 1210422.391
19 | 2665920.6115 | 1210450.1277 | 2665929.5074 | 1210446.3569 | 2665937.5176 | 1210442.9544
20 | 2666021.2778 | 1210456.8445 | 2666010.2856 | 1210460.0661
21 | 2666021.2778 | 1210456.8445 | 2666024.0317 | 1210463.5132
22 | 2665891.3437 | 1210415.1895 | 2665878.2578 | 1210420.6022
23 | 2665894.1152 | 1210389.1325 | 2665895.1657 | 1210391.5644
24 | 2666037.7022 | 1210496.6173 | 2666024.8026 | 1210502.3114 | 2666017.6451 | 1210501.0654
25 | 2666037.7022 | 1210496.6173 | 2666024.0317 | 1210463.5132
26 | 2666017.6451 | 1210501.0654 | 2666010.0715 | 1210499.7469 | 2666010.1101 | 1210496.2563 | 2665997.455 | 1210494.7544
27 | 2666094.094 | 1210495.363 | 2666094.5599 | 1210495.1569 | 2666097.8053 | 1210493.7698 | 2666099.7374 | 1210492.9351 | 2666103.2579 | 1210491.4176
28 | 2666094.094 | 1210495.363 | 2666091.3332 | 1210488.9195
29 | 2666103.2579 | 1210491.4176 | 2666094.6629 | 1210471.6483
30 | 2666091.3332 | 1210488.9195 | 2666085.7143 | 1210475.805
31 | 2666094.6629 | 1210471.6483 | 2666199.7787 | 1210404.9531
32 | 2666066.7556 | 1210431.5561 | 2666073.4238 | 1210447.1194
33 | 2666085.7143 | 1210475.805 | 2666080.2258 | 1210462.995
34 | 2665920.6115 | 1210450.1277 | 2665919.2475 | 1210447.0107 | 2665915.5761 | 1210438.5808
35 | 2665920.6115 | 1210450.1277 | 2665911.4328 | 1210454.0398 | 2665895.4854 | 1210460.8466
36 | 2665883.2982 | 1210466.0484 | 2665895.4854 | 1210460.8466
37 | 2665862.6915 | 1210427.0409 | 2665878.2578 | 1210420.6022
38 | 2665862.6915 | 1210427.0409 | 2665860.7092 | 1210427.8608
39 | 2666080.2258 | 1210462.995 | 2666073.4238 | 1210447.1194

## bus_geodata
| x | y | coords
0 | 2665987.864 | 1210421.6004
1 | 2665981.2604 | 1210424.4012
2 | 2666003.913 | 1210414.7933
3 | 2665964.6806 | 1210431.4334
4 | 2666008.4864 | 1210425.8684
5 | 2666058.3916 | 1210403.8114
6 | 2665939.6908 | 1210442.0327
7 | 2666013.0697 | 1210436.9675
8 | 2665920.8585 | 1210402.3344
9 | 2665903.2446 | 1210410.2669
10 | 2665928.9412 | 1210422.0425
11 | 2666064.3486 | 1210401.2091
12 | 2666076.8269 | 1210429.6661
13 | 2666059.6708 | 1210415.0204
14 | 2665937.5176 | 1210442.9544
15 | 2666021.2778 | 1210456.8445
16 | 2665891.3437 | 1210415.1895
17 | 2665895.1657 | 1210391.5644
18 | 2665929.0841 | 1210422.391
19 | 2666037.7022 | 1210496.6173
20 | 2666017.6451 | 1210501.0654
21 | 2666024.0317 | 1210463.5132
22 | 2666094.094 | 1210495.363
23 | 2666103.2579 | 1210491.4176
24 | 2666091.3332 | 1210488.9195
25 | 2666094.6629 | 1210471.6483
26 | 2666066.7556 | 1210431.5561
27 | 2665894.1152 | 1210389.1325
28 | 2666010.2856 | 1210460.0661
29 | 2665997.455 | 1210494.7544
30 | 2666085.7143 | 1210475.805
31 | 2666199.7787 | 1210404.9531
32 | 2665920.6115 | 1210450.1277
33 | 2665915.5761 | 1210438.5808
34 | 2665895.4854 | 1210460.8466
35 | 2665883.2982 | 1210466.0484
36 | 2665878.2578 | 1210420.6022
37 | 2665860.7092 | 1210427.8608
38 | 2665862.6915 | 1210427.0409
39 | 2666080.2258 | 1210462.995
40 | 2666073.4238 | 1210447.1194
41 | 2666021.2778 | 1210456.8445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99646 | -0.067399 | 0.036549 | 0.0091601
1 | 0.99607 | -0.074911 | 0.012112 | 0.0030355
2 | 0.99756 | -0.046375 | 0 | 0
3 | 0.99514 | -0.092839 | 0.012853 | 0.0032212
4 | 0.99878 | -0.023271 | 0.0033025 | 0.00082768
5 | 0.99218 | -0.14925 | 0 | 0
6 | 0.99381 | -0.11838 | 0.025281 | 0.006336
7 | 1 | 0 | -0.59861 | -0.15162
8 | 0.98975 | -0.19664 | 0 | 0
9 | 0.98766 | -0.2371 | 0 | 0
10 | 0.99206 | -0.15211 | 0.020007 | 0.0050143
11 | 0.9921 | -0.15082 | 0 | 0
12 | 0.99171 | -0.15831 | 0.013614 | 0.0034121
13 | 0.99119 | -0.16824 | 0.016119 | 0.0040399
14 | 0.99371 | -0.12035 | 0 | 0
15 | 0.99856 | -0.027701 | 0 | 0
16 | 0.98664 | -0.25685 | 0.019243 | 0.0048227
17 | 0.98706 | -0.24877 | 0.0097705 | 0.0024487
18 | 0.9921 | -0.1512 | 0.019253 | 0.0048252
19 | 0.99602 | -0.076432 | 0 | 0
20 | 0.99506 | -0.094937 | 0.015784 | 0.0039558
21 | 0.99763 | -0.045492 | 0.091683 | 0.022978
22 | 0.98275 | -0.33187 | 0 | 0
23 | 0.9822 | -0.3426 | 0 | 0
24 | 0.98313 | -0.32433 | 0.020054 | 0.0050261
25 | 0.98101 | -0.36584 | 0.042608 | 0.010678
26 | 0.98893 | -0.21175 | 0.014596 | 0.0036582
27 | 0.98701 | -0.24982 | 0.022253 | 0.0055771
28 | 0.99849 | -0.029035 | 0.0066601 | 0.0016692
29 | 0.99433 | -0.10904 | 0.033465 | 0.0083872
30 | 0.98418 | -0.30386 | 0.010154 | 0.0025448
31 | 0.97905 | -0.40418 | 0.016973 | 0.0042538
32 | 0.99318 | -0.13047 | 0 | 0
33 | 0.9931 | -0.13214 | 0.0074786 | 0.0018743
34 | 0.99259 | -0.14197 | 0.0083292 | 0.0020875
35 | 0.9924 | -0.1456 | 0.015485 | 0.003881
36 | 0.98578 | -0.27372 | 0.017763 | 0.0044517
37 | 0.98496 | -0.28974 | 0.033203 | 0.0083215
38 | 0.98502 | -0.28846 | 0.015522 | 0.0038901
39 | 0.98534 | -0.28137 | 0.01652 | 0.0041402
40 | 0.98704 | -0.24847 | 0.015125 | 0.0037908
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.24006 | 0.060744 | -0.23997 | -0.060689 | 8.6514e-05 | 5.4995e-05 | 0.35868 | 0.35868 | 0.35868 | 0.99646 | -0.067399 | 0.99607 | -0.074911 | 24.6346
1 | -0.27661 | -0.069904 | 0.27688 | 0.070081 | 0.00027912 | 0.00017773 | 0.41326 | 0.41326 | 0.41326 | 0.99646 | -0.067399 | 0.99756 | -0.046375 | 28.3831
2 | 0.22786 | 0.057653 | -0.22766 | -0.057529 | 0.00019585 | 0.00012441 | 0.34059 | 0.34059 | 0.34059 | 0.99607 | -0.074911 | 0.99514 | -0.092839 | 23.392
3 | -0.44462 | -0.11288 | 0.44511 | 0.1132 | 0.00049486 | 0.00031609 | 0.66372 | 0.66372 | 0.66372 | 0.99756 | -0.046375 | 0.99878 | -0.023271 | 45.5854
4 | 0.16773 | 0.042798 | -0.1669 | -0.042269 | 0.00082904 | 0.00052875 | 0.25047 | 0.25047 | 0.25047 | 0.99756 | -0.046375 | 0.99218 | -0.14925 | 34.4048
5 | 0.21481 | 0.054308 | -0.21455 | -0.054141 | 0.00026282 | 0.0001668 | 0.32137 | 0.32137 | 0.32137 | 0.99514 | -0.092839 | 0.99381 | -0.11838 | 22.0721
6 | -0.44841 | -0.11402 | 0.44892 | 0.11434 | 0.00050332 | 0.00032149 | 0.66864 | 0.66864 | 0.66864 | 0.99878 | -0.023271 | 1 | 0 | 45.9234
7 | 0.15328 | 0.038854 | -0.15314 | -0.038764 | 0.00013969 | 8.904e-05 | 0.23004 | 0.23004 | 0.23004 | 0.99218 | -0.14925 | 0.99119 | -0.16824 | 31.5988
8 | 0.01362 | 0.0034154 | -0.013619 | -0.0034148 | 1.0148e-06 | 5.6571e-07 | 0.020427 | 0.020428 | 0.020428 | 0.99218 | -0.14925 | 0.9921 | -0.15082 | 5.612
9 | 0.18927 | 0.047805 | -0.18925 | -0.047794 | 1.7789e-05 | 1.1262e-05 | 0.28352 | 0.28352 | 0.28352 | 0.99381 | -0.11838 | 0.99371 | -0.12035 | 19.4723
10 | 0.14805 | 0.037279 | -0.14785 | -0.037155 | 0.00019579 | 0.00012474 | 0.22036 | 0.22036 | 0.22036 | 1 | 0 | 0.99856 | -0.027701 | 30.2689
11 | 0.11817 | 0.029778 | -0.11794 | -0.029632 | 0.00022826 | 0.00014584 | 0.17772 | 0.17772 | 0.17772 | 0.98975 | -0.19664 | 0.98766 | -0.2371 | 48.8242
12 | -0.11817 | -0.029778 | 0.11842 | 0.029939 | 0.00025229 | 0.00016119 | 0.17772 | 0.17772 | 0.17772 | 0.98975 | -0.19664 | 0.99206 | -0.15211 | 48.8242
13 | 0.085901 | 0.021595 | -0.08582 | -0.021543 | 8.0921e-05 | 5.1625e-05 | 0.12944 | 0.12944 | 0.12944 | 0.98766 | -0.2371 | 0.98664 | -0.25685 | 35.5611
14 | 0.032042 | 0.0080376 | -0.032025 | -0.0080265 | 1.7806e-05 | 1.1136e-05 | 0.048278 | 0.048278 | 0.048278 | 0.98766 | -0.2371 | 0.98706 | -0.24877 | 13.2631
15 | -0.13843 | -0.034954 | 0.13844 | 0.034958 | 6.0951e-06 | 3.896e-06 | 0.20773 | 0.20773 | 0.20773 | 0.99206 | -0.15211 | 0.9921 | -0.1512 | 57.0685
16 | 0.013619 | 0.0034148 | -0.013614 | -0.0034121 | 4.863e-06 | 2.7112e-06 | 0.020428 | 0.020428 | 0.020428 | 0.9921 | -0.15082 | 0.99171 | -0.15831 | 5.612
17 | 0.13702 | 0.034725 | -0.13674 | -0.034542 | 0.00028583 | 0.0001827 | 0.20584 | 0.20584 | 0.20584 | 0.99119 | -0.16824 | 0.98893 | -0.21175 | 56.5497
18 | 0.15792 | 0.039931 | -0.15769 | -0.039783 | 0.0002333 | 0.00014873 | 0.23661 | 0.23661 | 0.23661 | 0.99371 | -0.12035 | 0.9921 | -0.1512 | 32.5008
19 | 0.031325 | 0.007862 | -0.03131 | -0.0078526 | 1.5119e-05 | 9.439e-06 | 0.046911 | 0.046911 | 0.046911 | 0.99371 | -0.12035 | 0.99318 | -0.13047 | 12.8876
20 | 0.0066606 | 0.0016693 | -0.0066601 | -0.0016692 | 4.2316e-07 | 1.2099e-07 | 0.0099254 | 0.0099254 | 0.0099254 | 0.99856 | -0.027701 | 0.99849 | -0.029035 | 2.7268
21 | 0.14119 | 0.035485 | -0.14107 | -0.035409 | 0.00011981 | 7.6584e-05 | 0.21043 | 0.21043 | 0.21043 | 0.99856 | -0.027701 | 0.99763 | -0.045492 | 57.8111
22 | 0.066577 | 0.01672 | -0.066524 | -0.016686 | 5.3553e-05 | 3.4093e-05 | 0.10042 | 0.10042 | 0.10042 | 0.98664 | -0.25685 | 0.98578 | -0.27372 | 27.5883
23 | 0.022254 | 0.0055778 | -0.022253 | -0.0055771 | 1.1181e-06 | 6.8173e-07 | 0.033549 | 0.033549 | 0.033549 | 0.98706 | -0.24877 | 0.98701 | -0.24982 | 9.2167
24 | 0.049315 | 0.012385 | -0.049271 | -0.012357 | 4.35e-05 | 2.7562e-05 | 0.073683 | 0.073683 | 0.073683 | 0.99602 | -0.076432 | 0.99506 | -0.094937 | 20.2427
25 | -0.049315 | -0.012385 | 0.049388 | 0.012431 | 7.2919e-05 | 4.6201e-05 | 0.073683 | 0.073683 | 0.073683 | 0.99602 | -0.076432 | 0.99763 | -0.045492 | 20.2426
26 | 0.033488 | 0.0084012 | -0.033465 | -0.0083872 | 2.2499e-05 | 1.4089e-05 | 0.05008 | 0.05008 | 0.05008 | 0.99506 | -0.094937 | 0.99433 | -0.10904 | 13.7584
27 | 0.059708 | 0.015012 | -0.059678 | -0.014993 | 3.0592e-05 | 1.9452e-05 | 0.090424 | 0.090424 | 0.090424 | 0.98275 | -0.33187 | 0.9822 | -0.3426 | 24.8417
28 | -0.059708 | -0.015012 | 0.05973 | 0.015026 | 2.1494e-05 | 1.3667e-05 | 0.090424 | 0.090424 | 0.090424 | 0.98275 | -0.33187 | 0.98313 | -0.32433 | 24.8416
29 | 0.059678 | 0.014993 | -0.059612 | -0.014951 | 6.6097e-05 | 4.203e-05 | 0.090424 | 0.090424 | 0.090424 | 0.9822 | -0.3426 | 0.98101 | -0.36584 | 24.8417
30 | -0.079784 | -0.020052 | 0.079862 | 0.020102 | 7.8045e-05 | 4.9768e-05 | 0.12078 | 0.12078 | 0.12078 | 0.98313 | -0.32433 | 0.98418 | -0.30386 | 33.1805
31 | 0.017004 | 0.0042721 | -0.016973 | -0.0042538 | 3.1065e-05 | 1.8313e-05 | 0.025796 | 0.025796 | 0.025796 | 0.98101 | -0.36584 | 0.97905 | -0.40418 | 7.0869
32 | 0.12214 | 0.030884 | -0.12193 | -0.030747 | 0.00021468 | 0.00013718 | 0.18388 | 0.18388 | 0.18388 | 0.98893 | -0.21175 | 0.98704 | -0.24847 | 50.5161
33 | -0.090016 | -0.022646 | 0.090113 | 0.022708 | 9.6845e-05 | 6.1804e-05 | 0.13613 | 0.13613 | 0.13613 | 0.98418 | -0.30386 | 0.98534 | -0.28137 | 37.3981
34 | 0.0074792 | 0.0018745 | -0.0074786 | -0.0018743 | 5.9316e-07 | 2.1662e-07 | 0.011206 | 0.011206 | 0.011206 | 0.99318 | -0.13047 | 0.9931 | -0.13214 | 3.0785
35 | 0.02383 | 0.005978 | -0.023817 | -0.00597 | 1.306e-05 | 8.0049e-06 | 0.035705 | 0.035705 | 0.035705 | 0.99318 | -0.13047 | 0.99259 | -0.14197 | 9.8092
36 | 0.015488 | 0.0038825 | -0.015485 | -0.003881 | 2.6789e-06 | 1.5433e-06 | 0.023219 | 0.023219 | 0.023219 | 0.99259 | -0.14197 | 0.9924 | -0.1456 | 6.3788
37 | 0.048761 | 0.012235 | -0.048727 | -0.012213 | 3.4228e-05 | 2.1691e-05 | 0.073609 | 0.073609 | 0.073609 | 0.98578 | -0.27372 | 0.98502 | -0.28846 | 20.2223
38 | -0.033203 | -0.0083215 | 0.033205 | 0.0083228 | 2.0241e-06 | 1.2681e-06 | 0.050162 | 0.050162 | 0.050162 | 0.98496 | -0.28974 | 0.98502 | -0.28846 | 13.7807
39 | -0.10663 | -0.026848 | 0.1068 | 0.026956 | 0.00016804 | 0.00010733 | 0.16108 | 0.16108 | 0.16108 | 0.98534 | -0.28137 | 0.98704 | -0.24847 | 44.2517

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.6141 | 0.15551

## res_load
| p_mw | q_mvar
0 | 0.036549 | 0.0091601
1 | 0.012112 | 0.0030355
2 | 0.012853 | 0.0032212
3 | 0.0033025 | 0.00082768
4 | 0.025281 | 0.006336
5 | 0.015487 | 0.0038815
6 | 0.020007 | 0.0050143
7 | 0.013614 | 0.0034121
8 | 0.016119 | 0.0040399
9 | 0.019243 | 0.0048227
10 | 0.0097705 | 0.0024487
11 | 0.019253 | 0.0048252
12 | 0.015784 | 0.0039558
13 | 0.091683 | 0.022978
14 | 0.020054 | 0.0050261
15 | 0.042608 | 0.010678
16 | 0.014596 | 0.0036582
17 | 0.022253 | 0.0055771
18 | 0.0066601 | 0.0016692
19 | 0.033465 | 0.0083872
20 | 0.010154 | 0.0025448
21 | 0.016973 | 0.0042538
22 | 0.0074786 | 0.0018743
23 | 0.0083292 | 0.0020875
24 | 0.015485 | 0.003881
25 | 0.017763 | 0.0044517
26 | 0.033203 | 0.0083215
27 | 0.015522 | 0.0038901
28 | 0.01652 | 0.0041402
29 | 0.015125 | 0.0037908

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1