## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-61_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-61_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-61_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-61_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-61_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1061-61_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1061-61_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-61_0_5_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1061-61_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1061-61_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1061-61_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1061-61_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1061-61_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1061-61_0_5_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_1061-61_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1061-61_0_5_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1061-61_0_5_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1061-61_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1061-61_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1061-61_0_5_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1061-61_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1061-61_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1061-61_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1061-61_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_1061-61_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1061-61_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1061-61_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1061-61_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1061-61_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1061-61_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1061-61_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1061-61_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1061-61_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1061-61_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1061-61_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1061-61_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1061-61_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_MV_217_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-61_0_5_load_0 | 0 | 0.0023894 | 0.00059883 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-61_0_5_load_34 | 7 | 0.024822 | 0.0062209 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-61_0_5_load_13 | 9 | 0.045776 | 0.011473 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-61_0_5_load_8 | 10 | 0.017439 | 0.0043706 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-61_0_5_load_10 | 11 | 0.0059575 | 0.0014931 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-61_0_5_load_35 | 15 | 0.012339 | 0.0030925 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-61_0_5_load_37 | 17 | 0.04848 | 0.01215 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-61_0_5_load_27 | 19 | 0.038046 | 0.0095352 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-61_0_5_load_14 | 20 | 0.025619 | 0.0064206 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-61_0_5_load_33 | 21 | 0.04462 | 0.011183 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-61_0_5_load_11 | 22 | 0.023458 | 0.005879 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-61_0_5_load_40 | 23 | 0.0073967 | 0.0018538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-61_0_5_load_12 | 24 | 0.027042 | 0.0067773 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-61_0_5_load_23 | 25 | 0.0078939 | 0.0019784 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-61_0_5_load_26 | 26 | 0.033663 | 0.0084367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-61_0_5_load_38 | 27 | 0.019369 | 0.0048542 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-61_0_5_load_19 | 28 | 0.0085678 | 0.0021473 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-61_0_5_load_20 | 29 | 0.0039153 | 0.00098128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-61_0_5_load_21 | 30 | 0.016383 | 0.004106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-61_0_5_load_22 | 31 | 0.0065766 | 0.0016482 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-61_0_5_load_24 | 32 | 0.0029747 | 0.00074553 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-61_0_5_load_30 | 33 | 0.0026385 | 0.00066126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-61_0_5_load_31 | 34 | 0.0036757 | 0.00092122 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-61_0_5_load_32 | 35 | 0.0052885 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-61_0_5_load_39 | 36 | 0.015682 | 0.0039303 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-61_0_5_line_0 |  | 0 | 1 | 0.18563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-61_0_5_line_1 |  | 0 | 2 | 0.027566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-61_0_5_line_2 |  | 1 | 3 | 0.29193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-61_0_5_line_3 |  | 2 | 4 | 0.009919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-61_0_5_line_4 |  | 2 | 5 | 0.02764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-61_0_5_line_5 |  | 3 | 6 | 0.039684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1061-61_0_5_line_6 |  | 3 | 7 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-61_0_5_line_7 |  | 4 | 10 | 0.040649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-61_0_5_line_8 |  | 5 | 11 | 0.0069365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-61_0_5_line_9 |  | 6 | 8 | 0.163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-61_0_5_line_10 |  | 6 | 9 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1061-61_0_5_line_11 |  | 7 | 21 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-61_0_5_line_12 |  | 8 | 17 | 0.043941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-61_0_5_line_13 |  | 9 | 22 | 0.026399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1061-61_0_5_line_14 |  | 10 | 12 | 0.078157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-61_0_5_line_15 |  | 12 | 13 | 0.15805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-61_0_5_line_16 |  | 13 | 23 | 0.027826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-61_0_5_line_17 |  | 14 | 15 | 0.032182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-61_0_5_line_18 |  | 14 | 16 | 0.010011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-61_0_5_line_19 |  | 16 | 25 | 0.0060567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-61_0_5_line_20 |  | 16 | 18 | 0.008928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-61_0_5_line_21 |  | 17 | 27 | 0.007621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-61_0_5_line_22 |  | 18 | 19 | 0.021577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-61_0_5_line_23 |  | 18 | 20 | 0.029023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-61_0_5_line_24 |  | 19 | 26 | 0.043584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-61_0_5_line_25 |  | 20 | 24 | 0.030983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1061-61_0_5_line_26 |  | 22 | 24 | 0.036829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1061-61_0_5_line_27 |  | 25 | 30 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-61_0_5_line_28 |  | 27 | 36 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-61_0_5_line_29 |  | 28 | 29 | 0.009152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-61_0_5_line_30 |  | 28 | 30 | 0.023978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-61_0_5_line_31 |  | 29 | 31 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-61_0_5_line_32 |  | 31 | 32 | 0.00021654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-61_0_5_line_33 |  | 32 | 33 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-61_0_5_line_34 |  | 33 | 34 | 0.0098705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-61_0_5_line_35 |  | 34 | 35 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-61_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 37 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2665184.8724 | 1211473.2419 | 2665185.484 | 1211505.5796 | 2665184.069 | 1211507.1206 | 2665177.8645 | 1211494.9565 | 2665169.6829 | 1211482.226 | 2665168.0787 | 1211482.9978 | 2665170.0481 | 1211500.9637 | 2665168.9817 | 1211501.1967 | 2665165.746 | 1211492.7228 | 2665165.0231 | 1211491.4252 | 2665162.7616 | 1211491.8452 | 2665158.1412 | 1211495.3525 | 2665135.8083 | 1211496.7317 | 2665124.0289 | 1211496.1472 | 2665094.8984 | 1211492.3493 | 2665085.4258 | 1211489.2774 | 2665076.4689 | 1211486.7667
1 | 2665049.7382 | 1211481.9282 | 2665056.2064 | 1211481.0871 | 2665076.4689 | 1211486.7667
2 | 2665184.8724 | 1211473.2419 | 2665198.4217 | 1211504.4758 | 2665198.9287 | 1211510.2293 | 2665189.4085 | 1211524.0338 | 2665201.3191 | 1211517.4821 | 2665188.6757 | 1211537.5452 | 2665199.2484 | 1211532.4243 | 2665210.2324 | 1211520.9595 | 2665215.0787 | 1211508.6159 | 2665218.4294 | 1211494.0547 | 2665220.5124 | 1211485.639 | 2665225.0664 | 1211477.7839 | 2665236.4794 | 1211467.4134 | 2665249.8185 | 1211483.1022 | 2665252.6858 | 1211484.9569 | 2665276.9293 | 1211493.6941 | 2665295.3101 | 1211502.1004 | 2665289.0624 | 1211522.3556 | 2665287.1204 | 1211540.1008
3 | 2665054.2619 | 1211490.7607 | 2665049.7382 | 1211481.9282
4 | 2665072.2494 | 1211466.2974 | 2665068.9749 | 1211470.4197 | 2665055.5016 | 1211478.122 | 2665049.7382 | 1211481.9282
5 | 2665265.2844 | 1211562.7537 | 2665267.0475 | 1211562.0392 | 2665276.0461 | 1211558.4132 | 2665278.4589 | 1211556.6607 | 2665279.6177 | 1211554.9279 | 2665279.9033 | 1211554.5196 | 2665280.427 | 1211554.581 | 2665287.1283 | 1211555.3436 | 2665287.1204 | 1211540.1008
6 | 2665287.1204 | 1211540.1008 | 2665278.4467 | 1211537.6489 | 2665277.0421 | 1211536.3305
7 | 2665054.2619 | 1211490.7607 | 2665058.2863 | 1211498.6984 | 2665078.1106 | 1211515.5138 | 2665073.9862 | 1211519.5268
8 | 2665072.2494 | 1211466.2974 | 2665073.6855 | 1211459.5111
9 | 2665265.2844 | 1211562.7537 | 2665265.8633 | 1211564.0164 | 2665269.8485 | 1211572.7209 | 2665270.1453 | 1211573.3801 | 2665270.4868 | 1211574.1065 | 2665274.4127 | 1211582.688 | 2665274.9692 | 1211583.906 | 2665278.7559 | 1211583.6806 | 2665281.9516 | 1211585.3721 | 2665284.4292 | 1211588.1121 | 2665324.573 | 1211664.4428 | 2665325.2647 | 1211665.8068 | 2665326.6782 | 1211668.5684 | 2665321.6679 | 1211672.9941 | 2665299.7252 | 1211695.0008
10 | 2665265.2844 | 1211562.7537 | 2665249.0628 | 1211569.351
11 | 2665277.0421 | 1211536.3305 | 2665271.5795 | 1211531.2031 | 2665260.7147 | 1211534.5419
12 | 2665299.7252 | 1211695.0008 | 2665269.0342 | 1211726.4473
13 | 2665225.3859 | 1211580.9053 | 2665225.4205 | 1211580.8845 | 2665234.7202 | 1211575.4384 | 2665245.798 | 1211570.6788 | 2665249.0628 | 1211569.351
14 | 2665006.6292 | 1211533.5791 | 2665013.8051 | 1211530.5443 | 2665028.5717 | 1211528.2593 | 2665053.9591 | 1211524.7895 | 2665062.6606 | 1211511.4761 | 2665073.9862 | 1211519.5268
15 | 2665006.6292 | 1211533.5791 | 2664986.0195 | 1211543.5052 | 2664962.0626 | 1211554.4733 | 2664943.1935 | 1211562.9731 | 2664953.8507 | 1211562.6333 | 2664965.0814 | 1211561.9552 | 2664970.0034 | 1211566.3226 | 2664970.3379 | 1211569.795 | 2664970.8234 | 1211580.3401 | 2664972.0051 | 1211589.0472 | 2664984.7177 | 1211584.872 | 2665007.9984 | 1211582.2462
16 | 2665007.9984 | 1211582.2462 | 2665035.6186 | 1211578.8673
17 | 2665172.4632 | 1211640.8428 | 2665176.6826 | 1211651.073 | 2665180.0862 | 1211671.9127
18 | 2665172.4632 | 1211640.8428 | 2665169.6539 | 1211643.4248 | 2665167.5431 | 1211645.3585 | 2665164.9966 | 1211647.5321
19 | 2665164.9966 | 1211647.5321 | 2665160.3896 | 1211651.4639
20 | 2665164.9966 | 1211647.5321 | 2665163.5161 | 1211646.0261 | 2665158.7367 | 1211641.1487
21 | 2665269.0342 | 1211726.4473 | 2665263.7112 | 1211731.9013
22 | 2665158.7367 | 1211641.1487 | 2665142.9494 | 1211655.8562
23 | 2665158.7367 | 1211641.1487 | 2665155.1595 | 1211637.5074 | 2665154.468 | 1211636.8105 | 2665165.1549 | 1211626.7877 | 2665171.2006 | 1211621.1229
24 | 2665111.285 | 1211685.8026 | 2665111.7649 | 1211685.4076 | 2665138.5775 | 1211659.929 | 2665142.9494 | 1211655.8562
25 | 2665171.2006 | 1211621.1229 | 2665177.8455 | 1211614.8968 | 2665185.9222 | 1211607.3136 | 2665192.3546 | 1211601.3914 | 2665194.0451 | 1211600.2241
26 | 2665225.3859 | 1211580.9053 | 2665200.2638 | 1211595.93 | 2665194.0451 | 1211600.2241
27 | 2665147.4631 | 1211662.4959 | 2665160.3896 | 1211651.4639
28 | 2665244.5949 | 1211751.4881 | 2665263.7112 | 1211731.9013
29 | 2665129.2249 | 1211678.0631 | 2665122.264 | 1211684.0049
30 | 2665147.4631 | 1211662.4959 | 2665144.1721 | 1211665.3045 | 2665129.2249 | 1211678.0631
31 | 2665112.6298 | 1211692.2284 | 2665122.264 | 1211684.0049
32 | 2665112.4651 | 1211692.369 | 2665112.6298 | 1211692.2284
33 | 2665104.3398 | 1211699.3046 | 2665112.4651 | 1211692.369
34 | 2665096.8323 | 1211705.7128 | 2665104.3398 | 1211699.3046
35 | 2665096.8323 | 1211705.7128 | 2665096.8323 | 1211705.7128 | 2665085.8295 | 1211714.0757 | 2665085.2057 | 1211714.4148

## bus_geodata
| x | y | coords
0 | 2665076.4689 | 1211486.7667
1 | 2665184.8724 | 1211473.2419
2 | 2665049.7382 | 1211481.9282
3 | 2665287.1204 | 1211540.1008
4 | 2665054.2619 | 1211490.7607
5 | 2665072.2494 | 1211466.2974
6 | 2665265.2844 | 1211562.7537
7 | 2665277.0421 | 1211536.3305
8 | 2665299.7252 | 1211695.0008
9 | 2665249.0628 | 1211569.351
10 | 2665073.9862 | 1211519.5268
11 | 2665073.6855 | 1211459.5111
12 | 2665006.6292 | 1211533.5791
13 | 2665007.9984 | 1211582.2462
14 | 2665172.4632 | 1211640.8428
15 | 2665180.0862 | 1211671.9127
16 | 2665164.9966 | 1211647.5321
17 | 2665269.0342 | 1211726.4473
18 | 2665158.7367 | 1211641.1487
19 | 2665142.9494 | 1211655.8562
20 | 2665171.2006 | 1211621.1229
21 | 2665260.7147 | 1211534.5419
22 | 2665225.3859 | 1211580.9053
23 | 2665035.6186 | 1211578.8673
24 | 2665194.0451 | 1211600.2241
25 | 2665160.3896 | 1211651.4639
26 | 2665111.285 | 1211685.8026
27 | 2665263.7112 | 1211731.9013
28 | 2665129.2249 | 1211678.0631
29 | 2665122.264 | 1211684.0049
30 | 2665147.4631 | 1211662.4959
31 | 2665112.6298 | 1211692.2284
32 | 2665112.4651 | 1211692.369
33 | 2665104.3398 | 1211699.3046
34 | 2665096.8323 | 1211705.7128
35 | 2665085.2057 | 1211714.4148
36 | 2665244.5949 | 1211751.4881
37 | 2665171.2006 | 1211621.1229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97435 | -0.494 | 0.0023894 | 0.00059883
1 | 0.98009 | -0.38153 | 0 | 0
2 | 0.97355 | -0.50961 | 0 | 0
3 | 0.98914 | -0.20725 | 0 | 0
4 | 0.97332 | -0.51414 | 0 | 0
5 | 0.9734 | -0.51264 | 0 | 0
6 | 0.99102 | -0.17103 | 0 | 0
7 | 0.98844 | -0.22079 | 0.024822 | 0.0062209
8 | 0.97834 | -0.41582 | 0 | 0
9 | 0.99253 | -0.14214 | 0.045776 | 0.011473
10 | 0.97238 | -0.53274 | 0.017439 | 0.0043706
11 | 0.97336 | -0.5134 | 0.0059575 | 0.0014931
12 | 0.97184 | -0.54341 | 0 | 0
13 | 0.97075 | -0.56502 | 0 | 0
14 | 0.99744 | -0.049119 | 0 | 0
15 | 0.99708 | -0.056079 | 0.012339 | 0.0030925
16 | 0.99755 | -0.046955 | 0 | 0
17 | 0.97492 | -0.48289 | 0.04848 | 0.01215
18 | 0.99812 | -0.035975 | 0 | 0
19 | 0.99672 | -0.063083 | 0.038046 | 0.0095352
20 | 1 | 0 | -0.43067 | -0.1093
21 | 0.98767 | -0.23581 | 0.04462 | 0.011183
22 | 0.99441 | -0.10609 | 0.023458 | 0.005879
23 | 0.97056 | -0.56883 | 0.0073967 | 0.0018538
24 | 0.99731 | -0.050984 | 0.027042 | 0.0067773
25 | 0.99723 | -0.053101 | 0.0078939 | 0.0019784
26 | 0.99538 | -0.088859 | 0.033663 | 0.0084367
27 | 0.97468 | -0.48779 | 0.019369 | 0.0048542
28 | 0.99573 | -0.082181 | 0.0085678 | 0.0021473
29 | 0.99552 | -0.086216 | 0.0039153 | 0.00098128
30 | 0.99646 | -0.068012 | 0.016383 | 0.004106
31 | 0.99527 | -0.09093 | 0.0065766 | 0.0016482
32 | 0.99527 | -0.090985 | 0.0029747 | 0.00074553
33 | 0.99516 | -0.093167 | 0.0026385 | 0.00066126
34 | 0.99508 | -0.094724 | 0.0036757 | 0.00092122
35 | 0.99501 | -0.096077 | 0.0052885 | 0.0013254
36 | 0.97428 | -0.49567 | 0.015682 | 0.0039303
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033247 | -0.0083527 | 0.033426 | 0.0084653 | 0.00017951 | 0.00011256 | 0.050781 | 0.05078 | 0.050781 | 0.97435 | -0.494 | 0.98009 | -0.38153 | 13.9509
1 | 0.030857 | 0.0077539 | -0.030834 | -0.0077395 | 2.2964e-05 | 1.4354e-05 | 0.047132 | 0.047132 | 0.047132 | 0.97435 | -0.494 | 0.97355 | -0.50961 | 12.9485
2 | -0.033426 | -0.0084653 | 0.033708 | 0.0086422 | 0.00028229 | 0.00017695 | 0.05078 | 0.050779 | 0.05078 | 0.98009 | -0.38153 | 0.98914 | -0.20725 | 13.9507
3 | 0.024876 | 0.0062462 | -0.02487 | -0.0062429 | 5.3783e-06 | 3.3188e-06 | 0.038025 | 0.038025 | 0.038025 | 0.97355 | -0.50961 | 0.97332 | -0.51414 | 10.4465
4 | 0.0059586 | 0.0014933 | -0.0059577 | -0.0014931 | 8.5971e-07 | 2.0658e-07 | 0.0091073 | 0.0091074 | 0.0091074 | 0.97355 | -0.50961 | 0.9734 | -0.51264 | 2.502
5 | -0.10323 | -0.026095 | 0.10341 | 0.026209 | 0.00017962 | 0.00011394 | 0.15537 | 0.15537 | 0.15537 | 0.98914 | -0.20725 | 0.99102 | -0.17103 | 21.3422
6 | 0.069519 | 0.017453 | -0.069474 | -0.017424 | 4.4879e-05 | 2.8582e-05 | 0.10459 | 0.10459 | 0.10459 | 0.98914 | -0.20725 | 0.98844 | -0.22079 | 28.7341
7 | 0.02487 | 0.0062429 | -0.024848 | -0.0062293 | 2.2041e-05 | 1.3601e-05 | 0.038025 | 0.038025 | 0.038025 | 0.97332 | -0.51414 | 0.97238 | -0.53274 | 10.4465
8 | 0.0059577 | 0.0014931 | -0.0059575 | -0.0014931 | 2.1576e-07 | 5.1862e-08 | 0.0091074 | 0.0091074 | 0.0091074 | 0.9734 | -0.51264 | 0.97336 | -0.5134 | 2.502
9 | 0.084806 | 0.021748 | -0.083812 | -0.021114 | 0.00099391 | 0.00063403 | 0.12751 | 0.12751 | 0.12751 | 0.99102 | -0.17103 | 0.97834 | -0.41582 | 35.0315
10 | -0.18821 | -0.047957 | 0.18848 | 0.048125 | 0.00026275 | 0.00016771 | 0.28288 | 0.28288 | 0.28288 | 0.99102 | -0.17103 | 0.99253 | -0.14214 | 38.8577
11 | 0.044652 | 0.011203 | -0.04462 | -0.011183 | 3.1959e-05 | 2.0212e-05 | 0.067225 | 0.067225 | 0.067225 | 0.98844 | -0.22079 | 0.98767 | -0.23581 | 18.4684
12 | 0.083812 | 0.021114 | -0.083545 | -0.020943 | 0.00026793 | 0.00017093 | 0.12751 | 0.12751 | 0.12751 | 0.97834 | -0.41582 | 0.97492 | -0.48289 | 35.0316
13 | -0.23425 | -0.059597 | 0.23466 | 0.059857 | 0.00040773 | 0.00025992 | 0.35151 | 0.35151 | 0.35151 | 0.99253 | -0.14214 | 0.99441 | -0.10609 | 32.1898
14 | 0.0074094 | 0.0018587 | -0.0074057 | -0.0018572 | 3.7685e-06 | 1.4429e-06 | 0.011339 | 0.011339 | 0.011339 | 0.97238 | -0.53274 | 0.97184 | -0.54341 | 3.1152
15 | 0.0074057 | 0.0018572 | -0.0073981 | -0.0018543 | 7.6216e-06 | 2.9216e-06 | 0.011339 | 0.01134 | 0.01134 | 0.97184 | -0.54341 | 0.97075 | -0.56502 | 3.1154
16 | 0.0073981 | 0.0018543 | -0.0073967 | -0.0018538 | 1.3419e-06 | 5.1489e-07 | 0.01134 | 0.01134 | 0.01134 | 0.97075 | -0.56502 | 0.97056 | -0.56883 | 3.1155
17 | 0.012343 | 0.0030947 | -0.012339 | -0.0030925 | 4.0923e-06 | 2.1992e-06 | 0.018414 | 0.018415 | 0.018415 | 0.99744 | -0.049119 | 0.99708 | -0.056079 | 5.0589
18 | -0.012343 | -0.0030947 | 0.012344 | 0.0030954 | 1.273e-06 | 6.8403e-07 | 0.018414 | 0.018414 | 0.018414 | 0.99744 | -0.049119 | 0.99755 | -0.046955 | 5.0589
19 | 0.058001 | 0.014569 | -0.057984 | -0.014558 | 1.7006e-05 | 1.0805e-05 | 0.08653 | 0.08653 | 0.08653 | 0.99755 | -0.046955 | 0.99723 | -0.053101 | 23.772
20 | -0.070346 | -0.017664 | 0.070383 | 0.017688 | 3.6873e-05 | 2.3482e-05 | 0.10494 | 0.10494 | 0.10494 | 0.99755 | -0.046955 | 0.99812 | -0.035975 | 28.8309
21 | 0.035065 | 0.0087932 | -0.035057 | -0.008788 | 8.1865e-06 | 5.1443e-06 | 0.053521 | 0.053521 | 0.053521 | 0.97492 | -0.48289 | 0.97468 | -0.48779 | 14.7036
22 | 0.071843 | 0.018057 | -0.07175 | -0.017998 | 9.285e-05 | 5.9142e-05 | 0.10712 | 0.10712 | 0.10712 | 0.99812 | -0.035975 | 0.99672 | -0.063083 | 29.4294
23 | -0.14223 | -0.035745 | 0.14247 | 0.035901 | 0.00024473 | 0.00015587 | 0.21207 | 0.21207 | 0.21207 | 0.99812 | -0.035975 | 1 | 0 | 29.1301
24 | 0.033704 | 0.0084627 | -0.033663 | -0.0084367 | 4.139e-05 | 2.5923e-05 | 0.050323 | 0.050324 | 0.050324 | 0.99672 | -0.063083 | 0.99538 | -0.088859 | 13.8251
25 | 0.28655 | 0.073403 | -0.28585 | -0.072953 | 0.00070599 | 0.00045062 | 0.42696 | 0.42696 | 0.42696 | 1 | 0 | 0.99731 | -0.050984 | 39.0989
26 | -0.25812 | -0.065736 | 0.25881 | 0.066175 | 0.00068811 | 0.00043895 | 0.38661 | 0.38661 | 0.38661 | 0.99441 | -0.10609 | 0.99731 | -0.050984 | 35.4041
27 | 0.05009 | 0.01258 | -0.050055 | -0.012557 | 3.561e-05 | 2.2569e-05 | 0.074751 | 0.074751 | 0.074751 | 0.99723 | -0.053101 | 0.99646 | -0.068012 | 20.5361
28 | 0.015688 | 0.0039338 | -0.015682 | -0.0039303 | 5.8879e-06 | 3.4273e-06 | 0.023952 | 0.023952 | 0.023952 | 0.97468 | -0.48779 | 0.97428 | -0.49567 | 6.5801
29 | 0.025081 | 0.0062898 | -0.025076 | -0.0062868 | 4.8218e-06 | 2.9669e-06 | 0.037483 | 0.037483 | 0.037483 | 0.99573 | -0.082181 | 0.99552 | -0.086216 | 10.2975
30 | -0.033649 | -0.0084371 | 0.033672 | 0.0084513 | 2.2738e-05 | 1.424e-05 | 0.050287 | 0.050286 | 0.050287 | 0.99573 | -0.082181 | 0.99646 | -0.068012 | 13.815
31 | 0.021161 | 0.0053055 | -0.021156 | -0.0053027 | 4.7523e-06 | 2.8768e-06 | 0.03163 | 0.03163 | 0.03163 | 0.99552 | -0.086216 | 0.99527 | -0.09093 | 8.6897
32 | 0.01458 | 0.0036544 | -0.01458 | -0.0036544 | 3.8582e-08 | 2.188e-08 | 0.021798 | 0.021798 | 0.021798 | 0.99527 | -0.09093 | 0.99527 | -0.090985 | 5.9885
33 | 0.011605 | 0.0029089 | -0.011604 | -0.0029082 | 1.206e-06 | 6.3302e-07 | 0.017351 | 0.017351 | 0.017351 | 0.99527 | -0.090985 | 0.99516 | -0.093167 | 4.7666
34 | 0.0089652 | 0.002247 | -0.0089646 | -0.0022467 | 6.6516e-07 | 2.9747e-07 | 0.013405 | 0.013405 | 0.013405 | 0.99516 | -0.093167 | 0.99508 | -0.094724 | 3.6828
35 | 0.0052889 | 0.0013255 | -0.0052885 | -0.0013254 | 3.4083e-07 | 2.9388e-08 | 0.0079088 | 0.0079089 | 0.0079089 | 0.99508 | -0.094724 | 0.99501 | -0.096077 | 2.1728

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45629 | 0.11572

## res_load
| p_mw | q_mvar
0 | 0.0023894 | 0.00059883
1 | 0.024822 | 0.0062209
2 | 0.045776 | 0.011473
3 | 0.017439 | 0.0043706
4 | 0.0059575 | 0.0014931
5 | 0.012339 | 0.0030925
6 | 0.04848 | 0.01215
7 | 0.038046 | 0.0095352
8 | 0.025619 | 0.0064206
9 | 0.04462 | 0.011183
10 | 0.023458 | 0.005879
11 | 0.0073967 | 0.0018538
12 | 0.027042 | 0.0067773
13 | 0.0078939 | 0.0019784
14 | 0.033663 | 0.0084367
15 | 0.019369 | 0.0048542
16 | 0.0085678 | 0.0021473
17 | 0.0039153 | 0.00098128
18 | 0.016383 | 0.004106
19 | 0.0065766 | 0.0016482
20 | 0.0029747 | 0.00074553
21 | 0.0026385 | 0.00066126
22 | 0.0036757 | 0.00092122
23 | 0.0052885 | 0.0013254
24 | 0.015682 | 0.0039303

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1