## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-65_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-65_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-65_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-65_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-65_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1061-65_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1061-65_0_6_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1061-65_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1061-65_0_6_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1061-65_0_6_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1061-65_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-65_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1061-65_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1061-65_0_6_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_1061-65_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1061-65_0_6_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1061-65_0_6_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_1061-65_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1061-65_0_6_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1061-65_0_6_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_1061-65_0_6_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1061-65_0_6_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1061-65_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1061-65_0_6_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1061-65_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1061-65_0_6_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1061-65_0_6_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1061-65_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1061-65_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1061-65_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1061-65_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1061-65_0_6_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1061-65_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1061-65_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1061-65_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1061-65_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1061-65_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1061-65_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1061-65_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1061-65_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1061-65_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1061-65_0_6_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1061-65_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_MV_213_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-65_0_6_load_0 | 0 | 0.00534 | 0.0013383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-65_0_6_load_1 | 1 | 0.011373 | 0.0028503 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-65_0_6_load_30 | 6 | 0.0063857 | 0.0016004 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-65_0_6_load_34 | 9 | 0.01359 | 0.0034059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-65_0_6_load_15 | 11 | 0.0065438 | 0.00164 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-65_0_6_load_35 | 12 | 0.0088433 | 0.0022163 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-65_0_6_load_49 | 13 | 0.069821 | 0.017499 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-65_0_6_load_48 | 16 | 0.014428 | 0.003616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-65_0_6_load_42 | 18 | 0.0071268 | 0.0017861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-65_0_6_load_47 | 19 | 0.0072667 | 0.0018212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-65_0_6_load_29 | 20 | 0.045931 | 0.011511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-65_0_6_load_46 | 21 | 0.0014228 | 0.0003566 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-65_0_6_load_45 | 22 | 0.008757 | 0.0021947 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-65_0_6_load_33 | 23 | 0.053732 | 0.013467 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-65_0_6_load_40 | 25 | 0.0059375 | 0.0014881 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-65_0_6_load_41 | 26 | 0.0059648 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-65_0_6_load_16 | 27 | 0.010251 | 0.0025693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-65_0_6_load_17 | 28 | 0.0093167 | 0.002335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-65_0_6_load_18 | 29 | 0.026147 | 0.0065529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-65_0_6_load_19 | 30 | 0.0061583 | 0.0015434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-65_0_6_load_37 | 31 | 0.0072217 | 0.0018099 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-65_0_6_load_26 | 32 | 0.010266 | 0.002573 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-65_0_6_load_38 | 33 | 0.019373 | 0.0048552 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-65_0_6_load_27 | 34 | 0.010794 | 0.0027051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-65_0_6_load_21 | 35 | 0.0091511 | 0.0022935 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-65_0_6_load_22 | 36 | 0.0079688 | 0.0019972 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-65_0_6_load_23 | 37 | 0.021233 | 0.0053214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-65_0_6_load_24 | 38 | 0.013899 | 0.0034834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-65_0_6_load_25 | 39 | 0.011061 | 0.0027722 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-65_0_6_load_31 | 40 | 0.015292 | 0.0038326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-65_0_6_load_44 | 41 | 0.024363 | 0.006106 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-65_0_6_load_43 | 42 | 0.012271 | 0.0030755 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-65_0_6_line_0 |  | 0 | 1 | 0.014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1061-65_0_6_line_1 |  | 0 | 2 | 0.017495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1061-65_0_6_line_2 |  | 1 | 3 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1061-65_0_6_line_3 |  | 2 | 4 | 0.024648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-65_0_6_line_4 |  | 2 | 5 | 0.15917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-65_0_6_line_5 |  | 3 | 6 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1061-65_0_6_line_6 |  | 4 | 12 | 0.0040459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-65_0_6_line_7 |  | 4 | 9 | 0.025734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-65_0_6_line_8 |  | 5 | 13 | 0.00607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-65_0_6_line_9 |  | 5 | 10 | 0.042692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-65_0_6_line_10 |  | 6 | 20 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1061-65_0_6_line_11 |  | 7 | 8 | 0.25488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-65_0_6_line_12 |  | 7 | 9 | 0.006573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-65_0_6_line_13 |  | 8 | 21 | 0.029232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-65_0_6_line_14 |  | 10 | 11 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-65_0_6_line_15 |  | 12 | 22 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-65_0_6_line_16 |  | 14 | 15 | 0.037941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-65_0_6_line_17 |  | 14 | 16 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-65_0_6_line_18 |  | 15 | 23 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-65_0_6_line_19 |  | 15 | 24 | 0.005216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-65_0_6_line_20 |  | 16 | 19 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-65_0_6_line_21 |  | 17 | 18 | 0.0072931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-65_0_6_line_22 |  | 17 | 19 | 0.0053742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-65_0_6_line_23 |  | 18 | 25 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-65_0_6_line_24 |  | 20 | 38 | 0.020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1061-65_0_6_line_25 |  | 22 | 41 | 0.030113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-65_0_6_line_26 |  | 24 | 32 | 0.0097516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1061-65_0_6_line_27 |  | 24 | 29 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-65_0_6_line_28 |  | 25 | 26 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-65_0_6_line_29 |  | 27 | 28 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-65_0_6_line_30 |  | 27 | 29 | 0.0071919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-65_0_6_line_31 |  | 28 | 30 | 0.008281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-65_0_6_line_32 |  | 30 | 31 | 0.0077858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-65_0_6_line_33 |  | 31 | 33 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-65_0_6_line_34 |  | 32 | 34 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1061-65_0_6_line_35 |  | 34 | 38 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1061-65_0_6_line_36 |  | 35 | 36 | 0.017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-65_0_6_line_37 |  | 35 | 37 | 0.0032965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-65_0_6_line_38 |  | 36 | 38 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-65_0_6_line_39 |  | 37 | 39 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-65_0_6_line_40 |  | 39 | 40 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-65_0_6_line_41 |  | 41 | 42 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-65_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 43 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2665992.2821 | 1212575.6056 | 2666006.963 | 1212576.6919
1 | 2665974.8349 | 1212574.3146 | 2665992.2821 | 1212575.6056
2 | 2666027.7309 | 1212578.2244 | 2666019.8891 | 1212577.6483 | 2666006.963 | 1212576.6919
3 | 2665974.8349 | 1212574.3146 | 2665975.2861 | 1212569.9279 | 2665978.7433 | 1212549.9872
4 | 2665974.8349 | 1212574.3146 | 2665963.196 | 1212574.9641 | 2665955.7527 | 1212578.1949 | 2665956.9922 | 1212579.4649 | 2665960.2001 | 1212582.7469 | 2665960.8686 | 1212583.4324 | 2665961.2172 | 1212592.4419 | 2665960.5744 | 1212599.7282 | 2665958.5674 | 1212608.0889 | 2665958.8896 | 1212613.985 | 2665967.5756 | 1212629.5907 | 2665977.5298 | 1212639.7404 | 2665991.2051 | 1212644.5502 | 2666003.3613 | 1212643.1505 | 2666021.4319 | 1212637.9805 | 2666036.4513 | 1212638.7361 | 2666036.2654 | 1212630.1398
5 | 2666027.7309 | 1212578.2244 | 2666028.4755 | 1212566.6412
6 | 2665978.7433 | 1212549.9872 | 2665980.0387 | 1212546.1543
7 | 2665978.7433 | 1212549.9872 | 2665960.2963 | 1212532.0445
8 | 2666036.2654 | 1212630.1398 | 2666036.3332 | 1212626.7607 | 2666035.7697 | 1212624.1306
9 | 2666036.2654 | 1212630.1398 | 2666036.4513 | 1212638.7361 | 2666036.601 | 1212650.6007 | 2666048.886 | 1212649.2247 | 2666044.0424 | 1212657.8208
10 | 2666028.4755 | 1212566.6412 | 2666029.1681 | 1212555.8655
11 | 2665955.5845 | 1212527.4616 | 2665932.8664 | 1212511.7897 | 2665895.6567 | 1212486.0627 | 2665890.0787 | 1212482.7546 | 2665880.1253 | 1212477.9862 | 2665878.6019 | 1212474.9008 | 2665875.9009 | 1212471.1242 | 2665879.7605 | 1212470.4331 | 2665928.0606 | 1212485.3647 | 2665933.7025 | 1212486.3388 | 2665941.3388 | 1212486.2676 | 2665948.7239 | 1212484.1924 | 2665956.7031 | 1212479.9112 | 2665979.3853 | 1212459.0158 | 2665983.1751 | 1212449.5296 | 2665981.6532 | 1212445.6215 | 2665975.6062 | 1212445.5546 | 2665971.6644 | 1212448.1793 | 2665967.1322 | 1212452.6653 | 2665962.8111 | 1212453.8627 | 2665960.5122 | 1212449.4456
12 | 2665955.5845 | 1212527.4616 | 2665960.2963 | 1212532.0445
13 | 2665960.5122 | 1212449.4456 | 2665955.6238 | 1212451.793 | 2665949.1261 | 1212452.6328 | 2665940.8741 | 1212452.0302 | 2665932.5172 | 1212448.7345
14 | 2666044.0424 | 1212657.8208 | 2666051.2111 | 1212658.1115 | 2666057.9689 | 1212658.3843
15 | 2665980.0387 | 1212546.1543 | 2665984.8833 | 1212531.8194
16 | 2666100.277 | 1212544.1733 | 2666082.1922 | 1212540.9821 | 2666066.4668 | 1212540.163 | 2666063.1087 | 1212542.2159
17 | 2666100.277 | 1212544.1733 | 2666102.6729 | 1212528.9002
18 | 2666063.1087 | 1212542.2159 | 2666061.3078 | 1212558.0047
19 | 2666063.1087 | 1212542.2159 | 2666063.66 | 1212537.0299
20 | 2666105.4039 | 1212511.4918 | 2666102.6729 | 1212528.9002
21 | 2666106.2368 | 1212506.1824 | 2666107.3669 | 1212498.9775
22 | 2666106.2368 | 1212506.1824 | 2666105.4039 | 1212511.4918
23 | 2666109.2878 | 1212486.7319 | 2666107.3669 | 1212498.9775
24 | 2666030.4938 | 1212535.2395 | 2666029.1681 | 1212555.8655
25 | 2665994.5247 | 1212503.2911 | 2665984.8833 | 1212531.8194
26 | 2666063.66 | 1212537.0299 | 2666053.9225 | 1212536.5057
27 | 2666063.66 | 1212537.0299 | 2666064.8031 | 1212526.2588
28 | 2666109.2878 | 1212486.7319 | 2666111.0378 | 1212475.5757
29 | 2666065.5621 | 1212519.1071 | 2666067.174 | 1212503.9191
30 | 2666065.5621 | 1212519.1071 | 2666064.8031 | 1212526.2588
31 | 2666068.0479 | 1212495.6843 | 2666067.174 | 1212503.9191
32 | 2666068.8695 | 1212487.942 | 2666068.0479 | 1212495.6843
33 | 2666068.8695 | 1212487.942 | 2666070.9591 | 1212468.2528
34 | 2666053.9225 | 1212536.5057 | 2666048.5803 | 1212536.218 | 2666042.0579 | 1212535.8678 | 2666040.5258 | 1212535.7846
35 | 2666030.4938 | 1212535.2395 | 2666040.5258 | 1212535.7846
36 | 2666031.7232 | 1212516.0746 | 2666032.8286 | 1212498.8433
37 | 2666033.0396 | 1212495.5535 | 2666032.8286 | 1212498.8433
38 | 2666030.4938 | 1212535.2395 | 2666031.7232 | 1212516.0746
39 | 2666033.0396 | 1212495.5535 | 2666034.0544 | 1212479.7344
40 | 2666035.0427 | 1212455.3731 | 2666034.2404 | 1212476.8337 | 2666034.0544 | 1212479.7344
41 | 2665998.0218 | 1212492.9433 | 2665994.5247 | 1212503.2911

## bus_geodata
| x | y | coords
0 | 2665992.2821 | 1212575.6056
1 | 2666006.963 | 1212576.6919
2 | 2665974.8349 | 1212574.3146
3 | 2666027.7309 | 1212578.2244
4 | 2665978.7433 | 1212549.9872
5 | 2666036.2654 | 1212630.1398
6 | 2666028.4755 | 1212566.6412
7 | 2665955.5845 | 1212527.4616
8 | 2665960.5122 | 1212449.4456
9 | 2665960.2963 | 1212532.0445
10 | 2666044.0424 | 1212657.8208
11 | 2666057.9689 | 1212658.3843
12 | 2665980.0387 | 1212546.1543
13 | 2666035.7697 | 1212624.1306
14 | 2666100.277 | 1212544.1733
15 | 2666063.1087 | 1212542.2159
16 | 2666102.6729 | 1212528.9002
17 | 2666106.2368 | 1212506.1824
18 | 2666107.3669 | 1212498.9775
19 | 2666105.4039 | 1212511.4918
20 | 2666029.1681 | 1212555.8655
21 | 2665932.5172 | 1212448.7345
22 | 2665984.8833 | 1212531.8194
23 | 2666061.3078 | 1212558.0047
24 | 2666063.66 | 1212537.0299
25 | 2666109.2878 | 1212486.7319
26 | 2666111.0378 | 1212475.5757
27 | 2666065.5621 | 1212519.1071
28 | 2666067.174 | 1212503.9191
29 | 2666064.8031 | 1212526.2588
30 | 2666068.0479 | 1212495.6843
31 | 2666068.8695 | 1212487.942
32 | 2666053.9225 | 1212536.5057
33 | 2666070.9591 | 1212468.2528
34 | 2666040.5258 | 1212535.7846
35 | 2666032.8286 | 1212498.8433
36 | 2666031.7232 | 1212516.0746
37 | 2666033.0396 | 1212495.5535
38 | 2666030.4938 | 1212535.2395
39 | 2666034.0544 | 1212479.7344
40 | 2666035.0427 | 1212455.3731
41 | 2665994.5247 | 1212503.2911
42 | 2665998.0218 | 1212492.9433
43 | 2666030.4938 | 1212535.2395

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99489 | -0.097481 | 0.00534 | 0.0013383
1 | 0.99557 | -0.084445 | 0.011373 | 0.0028503
2 | 0.99372 | -0.11994 | 0 | 0
3 | 0.99661 | -0.064649 | 0 | 0
4 | 0.99216 | -0.15012 | 0 | 0
5 | 0.98249 | -0.33694 | 0 | 0
6 | 0.99719 | -0.053633 | 0.0063857 | 0.0016004
7 | 0.9918 | -0.15713 | 0 | 0
8 | 0.99147 | -0.16358 | 0 | 0
9 | 0.99181 | -0.15697 | 0.01359 | 0.0034059
10 | 0.98224 | -0.34199 | 0 | 0
11 | 0.98215 | -0.34364 | 0.0065438 | 0.00164
12 | 0.99196 | -0.154 | 0.0088433 | 0.0022163
13 | 0.9821 | -0.3446 | 0.069821 | 0.017499
14 | 0.99663 | -0.064713 | 0 | 0
15 | 0.99804 | -0.037637 | 0 | 0
16 | 0.99606 | -0.075767 | 0.014428 | 0.003616
17 | 0.99554 | -0.08571 | 0 | 0
18 | 0.99542 | -0.088151 | 0.0071268 | 0.0017861
19 | 0.99564 | -0.083911 | 0.0072667 | 0.0018212
20 | 0.99775 | -0.042993 | 0.045931 | 0.011511
21 | 0.99143 | -0.16432 | 0.0014228 | 0.0003566
22 | 0.99133 | -0.16618 | 0.008757 | 0.0021947
23 | 0.99726 | -0.052589 | 0.053732 | 0.013467
24 | 0.99849 | -0.029019 | 0 | 0
25 | 0.99528 | -0.090746 | 0.0059375 | 0.0014881
26 | 0.99522 | -0.091932 | 0.0059648 | 0.0014949
27 | 0.99737 | -0.050481 | 0.010251 | 0.0025693
28 | 0.99679 | -0.061746 | 0.0093167 | 0.002335
29 | 0.99771 | -0.04389 | 0.026147 | 0.0065529
30 | 0.99654 | -0.066505 | 0.0061583 | 0.0015434
31 | 0.99635 | -0.07014 | 0.0072217 | 0.0018099
32 | 0.99925 | -0.01429 | 0.010266 | 0.002573
33 | 0.996 | -0.076877 | 0.019373 | 0.0048552
34 | 1 | 0 | -0.48085 | -0.12116
35 | 0.99708 | -0.056017 | 0.0091511 | 0.0022935
36 | 0.99797 | -0.038857 | 0.0079688 | 0.0019972
37 | 0.99694 | -0.058768 | 0.021233 | 0.0053214
38 | 0.9991 | -0.017134 | 0.013899 | 0.0034834
39 | 0.99656 | -0.066097 | 0.011061 | 0.0027722
40 | 0.99622 | -0.072643 | 0.015292 | 0.0038326
41 | 0.99032 | -0.18576 | 0.024363 | 0.006106
42 | 0.9902 | -0.18815 | 0.012271 | 0.0030755
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15211 | -0.038567 | 0.15221 | 0.038628 | 9.5378e-05 | 6.0468e-05 | 0.22767 | 0.22767 | 0.22767 | 0.99489 | -0.097481 | 0.99557 | -0.084445 | 20.8487
1 | 0.14677 | 0.037229 | -0.14662 | -0.037128 | 0.00015831 | 0.00010086 | 0.21968 | 0.21968 | 0.21968 | 0.99489 | -0.097481 | 0.99372 | -0.11994 | 30.1759
2 | -0.16358 | -0.041478 | 0.16374 | 0.041577 | 0.00015582 | 9.8912e-05 | 0.24467 | 0.24467 | 0.24467 | 0.99557 | -0.084445 | 0.99661 | -0.064649 | 22.4053
3 | 0.069425 | 0.017463 | -0.069325 | -0.0174 | 9.9934e-05 | 6.3639e-05 | 0.10398 | 0.10398 | 0.10398 | 0.99372 | -0.11994 | 0.99216 | -0.15012 | 28.566
4 | 0.077191 | 0.019665 | -0.076392 | -0.019156 | 0.00079903 | 0.00050934 | 0.1157 | 0.1157 | 0.1157 | 0.99372 | -0.11994 | 0.98249 | -0.33694 | 31.7862
5 | -0.16374 | -0.041577 | 0.16382 | 0.041632 | 8.6851e-05 | 5.5131e-05 | 0.24467 | 0.24466 | 0.24467 | 0.99661 | -0.064649 | 0.99719 | -0.053633 | 22.4052
6 | 0.054307 | 0.013638 | -0.054297 | -0.013631 | 1.0067e-05 | 6.3908e-06 | 0.081458 | 0.081458 | 0.081458 | 0.99216 | -0.15012 | 0.99196 | -0.154 | 22.3785
7 | 0.015018 | 0.0037618 | -0.015013 | -0.003759 | 4.8953e-06 | 2.8008e-06 | 0.022523 | 0.022523 | 0.022523 | 0.99216 | -0.15012 | 0.99181 | -0.15697 | 6.1876
8 | 0.069846 | 0.017515 | -0.069821 | -0.017499 | 2.5474e-05 | 1.6226e-05 | 0.10579 | 0.10579 | 0.10579 | 0.98249 | -0.33694 | 0.9821 | -0.3446 | 29.0625
9 | 0.0065459 | 0.0016407 | -0.0065444 | -0.0016402 | 1.5736e-06 | 4.6658e-07 | 0.009914 | 0.0099142 | 0.0099142 | 0.98249 | -0.33694 | 0.98224 | -0.34199 | 2.7237
10 | -0.17021 | -0.043233 | 0.1703 | 0.043288 | 8.7213e-05 | 5.5394e-05 | 0.25419 | 0.25419 | 0.25419 | 0.99719 | -0.053633 | 0.99775 | -0.042993 | 23.2778
11 | 0.0014233 | 0.00035325 | -0.0014229 | -0.00035625 | 4.356e-07 | -3.0093e-06 | 0.0021342 | 0.0021354 | 0.0021354 | 0.9918 | -0.15713 | 0.99147 | -0.16358 | 0.58665
12 | -0.0014233 | -0.00035325 | 0.0014233 | 0.00035317 | 1.1227e-08 | -7.7639e-08 | 0.0021342 | 0.0021342 | 0.0021342 | 0.9918 | -0.15713 | 0.99181 | -0.15697 | 0.58633
13 | 0.0014229 | 0.00035625 | -0.0014228 | -0.0003566 | 4.9988e-08 | -3.4498e-07 | 0.0021354 | 0.0021355 | 0.0021355 | 0.99147 | -0.16358 | 0.99143 | -0.16432 | 0.58668
14 | 0.0065444 | 0.0016402 | -0.0065438 | -0.00164 | 5.1375e-07 | 1.524e-07 | 0.0099142 | 0.0099143 | 0.0099143 | 0.98224 | -0.34199 | 0.98215 | -0.34364 | 2.7237
15 | 0.045453 | 0.011415 | -0.045427 | -0.011398 | 2.6386e-05 | 1.6692e-05 | 0.068192 | 0.068192 | 0.068192 | 0.99196 | -0.154 | 0.99133 | -0.16618 | 18.7341
16 | -0.040761 | -0.010229 | 0.040814 | 0.010263 | 5.2704e-05 | 3.3235e-05 | 0.060863 | 0.060863 | 0.060863 | 0.99663 | -0.064713 | 0.99804 | -0.037637 | 16.7205
17 | 0.040761 | 0.010229 | -0.040739 | -0.010216 | 2.1475e-05 | 1.3543e-05 | 0.060863 | 0.060863 | 0.060863 | 0.99663 | -0.064713 | 0.99606 | -0.075767 | 16.7205
18 | 0.053771 | 0.013491 | -0.053732 | -0.013467 | 3.8305e-05 | 2.4308e-05 | 0.080174 | 0.080174 | 0.080174 | 0.99804 | -0.037637 | 0.99726 | -0.052589 | 22.0258
19 | -0.094584 | -0.023753 | 0.094623 | 0.023778 | 3.8907e-05 | 2.4832e-05 | 0.14104 | 0.14104 | 0.14104 | 0.99804 | -0.037637 | 0.99849 | -0.029019 | 38.7462
20 | 0.026312 | 0.0065998 | -0.026301 | -0.0065935 | 1.0211e-05 | 6.3056e-06 | 0.039309 | 0.039309 | 0.039309 | 0.99606 | -0.075767 | 0.99564 | -0.083911 | 10.7992
21 | 0.019033 | 0.0047713 | -0.019031 | -0.00477 | 2.2134e-06 | 1.3218e-06 | 0.028449 | 0.028449 | 0.028449 | 0.99554 | -0.08571 | 0.99542 | -0.088151 | 7.8156
22 | -0.019033 | -0.0047713 | 0.019035 | 0.0047723 | 1.6311e-06 | 9.74e-07 | 0.028449 | 0.028449 | 0.028449 | 0.99554 | -0.08571 | 0.99564 | -0.083911 | 7.8156
23 | 0.011904 | 0.0029839 | -0.011903 | -0.0029831 | 1.472e-06 | 7.8095e-07 | 0.017795 | 0.017795 | 0.017795 | 0.99542 | -0.088151 | 0.99528 | -0.090746 | 4.8888
24 | -0.21623 | -0.054799 | 0.2165 | 0.054971 | 0.00026903 | 0.00017137 | 0.32269 | 0.32269 | 0.32269 | 0.99775 | -0.042993 | 0.9991 | -0.017134 | 29.5507
25 | 0.03667 | 0.0092037 | -0.036636 | -0.0091822 | 3.4219e-05 | 2.1512e-05 | 0.055048 | 0.055048 | 0.055048 | 0.99133 | -0.16618 | 0.99032 | -0.18576 | 15.123
26 | -0.1732 | -0.043515 | 0.17333 | 0.043593 | 0.00012186 | 7.7733e-05 | 0.25816 | 0.25816 | 0.25816 | 0.99849 | -0.029019 | 0.99925 | -0.01429 | 35.4612
27 | 0.07858 | 0.019737 | -0.078525 | -0.019702 | 5.5718e-05 | 3.5518e-05 | 0.11712 | 0.11712 | 0.11712 | 0.99849 | -0.029019 | 0.99771 | -0.04389 | 32.1762
28 | 0.0059652 | 0.001495 | -0.0059648 | -0.0014949 | 3.3682e-07 | 6.8816e-08 | 0.0089183 | 0.0089184 | 0.0089184 | 0.99528 | -0.090746 | 0.99522 | -0.091932 | 2.4501
29 | 0.04211 | 0.010569 | -0.042088 | -0.010555 | 2.2611e-05 | 1.4272e-05 | 0.062831 | 0.062831 | 0.062831 | 0.99737 | -0.050481 | 0.99679 | -0.061746 | 17.2613
30 | -0.052362 | -0.013138 | 0.052378 | 0.013149 | 1.6461e-05 | 1.0441e-05 | 0.078126 | 0.078126 | 0.078126 | 0.99737 | -0.050481 | 0.99771 | -0.04389 | 21.4631
31 | 0.032771 | 0.0082198 | -0.032763 | -0.0082152 | 7.4326e-06 | 4.649e-06 | 0.048923 | 0.048923 | 0.048923 | 0.99679 | -0.061746 | 0.99654 | -0.066505 | 13.4404
32 | 0.026605 | 0.0066717 | -0.026601 | -0.0066689 | 4.6081e-06 | 2.8477e-06 | 0.039728 | 0.039728 | 0.039728 | 0.99654 | -0.066505 | 0.99635 | -0.07014 | 10.9142
33 | 0.019379 | 0.0048589 | -0.019373 | -0.0048552 | 6.2195e-06 | 3.7227e-06 | 0.028942 | 0.028942 | 0.028942 | 0.99635 | -0.07014 | 0.996 | -0.076877 | 7.9512
34 | -0.18359 | -0.046166 | 0.18372 | 0.046246 | 0.00012539 | 7.9724e-05 | 0.27345 | 0.27344 | 0.27345 | 0.99925 | -0.01429 | 1 | 0 | 25.0408
35 | 0.29548 | 0.074911 | -0.29524 | -0.074756 | 0.00024311 | 0.0001552 | 0.43998 | 0.43998 | 0.43998 | 1 | 0 | 0.9991 | -0.017134 | 40.2913
36 | -0.056758 | -0.014232 | 0.056804 | 0.014262 | 4.6459e-05 | 2.9508e-05 | 0.084706 | 0.084706 | 0.084706 | 0.99708 | -0.056017 | 0.99797 | -0.038857 | 23.2709
37 | 0.047606 | 0.011939 | -0.0476 | -0.011935 | 6.2403e-06 | 3.9508e-06 | 0.071049 | 0.071049 | 0.071049 | 0.99708 | -0.056017 | 0.99694 | -0.058768 | 19.519
38 | -0.064773 | -0.016259 | 0.06484 | 0.016302 | 6.7185e-05 | 4.2747e-05 | 0.096588 | 0.096588 | 0.096588 | 0.99797 | -0.038857 | 0.9991 | -0.017134 | 26.5351
39 | 0.026368 | 0.0066133 | -0.026358 | -0.0066076 | 9.208e-06 | 5.6865e-06 | 0.039358 | 0.039358 | 0.039358 | 0.99694 | -0.058768 | 0.99656 | -0.066097 | 10.8126
40 | 0.015297 | 0.0038354 | -0.015292 | -0.0038326 | 4.7704e-06 | 2.7355e-06 | 0.022842 | 0.022842 | 0.022842 | 0.99656 | -0.066097 | 0.99622 | -0.072643 | 6.2752
41 | 0.012273 | 0.0030762 | -0.012271 | -0.0030755 | 1.3929e-06 | 7.5091e-07 | 0.01844 | 0.018441 | 0.018441 | 0.99032 | -0.18576 | 0.9902 | -0.18815 | 5.0661

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49164 | 0.12386

## res_load
| p_mw | q_mvar
0 | 0.00534 | 0.0013383
1 | 0.011373 | 0.0028503
2 | 0.0063857 | 0.0016004
3 | 0.01359 | 0.0034059
4 | 0.0065438 | 0.00164
5 | 0.0088433 | 0.0022163
6 | 0.069821 | 0.017499
7 | 0.014428 | 0.003616
8 | 0.0071268 | 0.0017861
9 | 0.0072667 | 0.0018212
10 | 0.045931 | 0.011511
11 | 0.0014228 | 0.0003566
12 | 0.008757 | 0.0021947
13 | 0.053732 | 0.013467
14 | 0.0059375 | 0.0014881
15 | 0.0059648 | 0.0014949
16 | 0.010251 | 0.0025693
17 | 0.0093167 | 0.002335
18 | 0.026147 | 0.0065529
19 | 0.0061583 | 0.0015434
20 | 0.0072217 | 0.0018099
21 | 0.010266 | 0.002573
22 | 0.019373 | 0.0048552
23 | 0.010794 | 0.0027051
24 | 0.0091511 | 0.0022935
25 | 0.0079688 | 0.0019972
26 | 0.021233 | 0.0053214
27 | 0.013899 | 0.0034834
28 | 0.011061 | 0.0027722
29 | 0.015292 | 0.0038326
30 | 0.024363 | 0.006106
31 | 0.012271 | 0.0030755

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1