## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-68_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-68_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1061-68_0_5_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_1061-68_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-68_0_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1061-68_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1061-68_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-68_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1061-68_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1061-68_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1061-68_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1061-68_0_5_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1061-68_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1061-68_0_5_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1061-68_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1061-68_0_5_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_1061-68_0_5_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_1061-68_0_5_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_1061-68_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1061-68_0_5_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1061-68_0_5_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1061-68_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_1061-68_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1061-68_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1061-68_0_5_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1061-68_0_5_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_1061-68_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1061-68_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1061-68_0_5_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_1061-68_0_5_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_1061-68_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1061-68_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1061-68_0_5_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_1061-68_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1061-68_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1061-68_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_1061-68_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1061-68_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1061-68_0_5_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1061-68_0_5_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1061-68_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1061-68_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1061-68_0_5_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1061-68_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1061-68_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1061-68_0_5_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1061-68_0_5_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1061-68_0_5_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1061-68_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1061-68_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1061-68_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1061-68_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1061-68_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1061-68_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1061-68_0_5_node_62 | 0.4 | n |  | TRUE
55 | bus_MV_216_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-68_0_5_load_0 | 0 | 0.031704 | 0.0079458 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-68_0_5_load_24 | 5 | 0.059197 | 0.014836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-68_0_5_load_31 | 7 | 0.021848 | 0.0054757 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-68_0_5_load_32 | 8 | 0.026646 | 0.0066781 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-68_0_5_load_35 | 11 | 0.0057111 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-68_0_5_load_34 | 13 | 0.0060123 | 0.0015068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-68_0_5_load_59 | 17 | 0.009907 | 0.0024829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-68_0_5_load_37 | 19 | 0.017855 | 0.004475 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-68_0_5_load_36 | 20 | 0.0093622 | 0.0023464 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-68_0_5_load_30 | 22 | 0.024619 | 0.0061702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-68_0_5_load_26 | 24 | 0.038122 | 0.0095543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-68_0_5_load_63 | 25 | 0.010629 | 0.0026638 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-68_0_5_load_25 | 27 | 0.081742 | 0.020486 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-68_0_5_load_60 | 28 | 0.0093132 | 0.0023341 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-68_0_5_load_58 | 29 | 0.01575 | 0.0039473 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-68_0_5_load_57 | 32 | 0.0086764 | 0.0021745 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-68_0_5_load_27 | 34 | 0.0072794 | 0.0018244 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-68_0_5_load_38 | 36 | 0.010213 | 0.0025597 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-68_0_5_load_61 | 38 | 0.01024 | 0.0025664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-68_0_5_load_55 | 39 | 0.020625 | 0.0051691 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-68_0_5_load_29 | 41 | 0.011471 | 0.0028749 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-68_0_5_load_33 | 43 | 0.0089632 | 0.0022464 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-68_0_5_load_45 | 44 | 0.035796 | 0.0089712 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-68_0_5_load_56 | 45 | 0.010497 | 0.0026308 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-68_0_5_load_54 | 46 | 0.015486 | 0.0038811 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-68_0_5_load_41 | 48 | 0.0081353 | 0.0020389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-68_0_5_load_49 | 49 | 0.011145 | 0.0027932 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-68_0_5_load_50 | 51 | 0.014913 | 0.0037376 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-68_0_5_load_42 | 52 | 0.021971 | 0.0055064 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-68_0_5_load_43 | 53 | 0.0066982 | 0.0016787 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-68_0_5_load_62 | 54 | 0.021852 | 0.0054765 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-68_0_5_line_0 |  | 0 | 1 | 0.0098577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-68_0_5_line_1 |  | 1 | 2 | 0.028527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-68_0_5_line_2 |  | 2 | 23 | 0.032596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1061-68_0_5_line_3 |  | 2 | 24 | 0.03153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1061-68_0_5_line_4 |  | 2 | 12 | 0.090393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1061-68_0_5_line_5 |  | 3 | 4 | 0.007559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-68_0_5_line_6 |  | 3 | 5 | 0.022061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-68_0_5_line_7 |  | 4 | 26 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-68_0_5_line_8 |  | 4 | 27 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-68_0_5_line_9 |  | 6 | 7 | 0.026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-68_0_5_line_10 |  | 6 | 8 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-68_0_5_line_11 |  | 7 | 22 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-68_0_5_line_12 |  | 8 | 43 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-68_0_5_line_13 |  | 9 | 10 | 0.0099025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1061-68_0_5_line_14 |  | 9 | 11 | 0.055889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1061-68_0_5_line_15 |  | 10 | 28 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1061-68_0_5_line_16 |  | 10 | 29 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-68_0_5_line_17 |  | 10 | 18 | 0.077859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-68_0_5_line_18 |  | 10 | 21 | 0.081583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-68_0_5_line_19 |  | 11 | 13 | 0.011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1061-68_0_5_line_20 |  | 12 | 13 | 0.0068808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1061-68_0_5_line_21 |  | 14 | 15 | 0.003183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-68_0_5_line_22 |  | 14 | 16 | 0.007668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-68_0_5_line_23 |  | 14 | 17 | 0.037037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-68_0_5_line_24 |  | 15 | 44 | 0.026893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-68_0_5_line_25 |  | 16 | 45 | 0.042136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-68_0_5_line_26 |  | 16 | 46 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-68_0_5_line_27 |  | 16 | 47 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-68_0_5_line_28 |  | 18 | 19 | 0.023158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-68_0_5_line_29 |  | 18 | 20 | 0.036743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-68_0_5_line_30 |  | 19 | 48 | 0.025484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-68_0_5_line_31 |  | 21 | 22 | 0.051703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-68_0_5_line_32 |  | 23 | 25 | 0.004886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1061-68_0_5_line_33 |  | 24 | 27 | 0.030652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1061-68_0_5_line_34 |  | 26 | 33 | 0.023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-68_0_5_line_35 |  | 26 | 35 | 0.053075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-68_0_5_line_36 |  | 28 | 38 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1061-68_0_5_line_37 |  | 30 | 31 | 0.003758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-68_0_5_line_38 |  | 30 | 32 | 0.056812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-68_0_5_line_39 |  | 31 | 41 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-68_0_5_line_40 |  | 31 | 34 | 0.050674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-68_0_5_line_41 |  | 33 | 34 | 0.0088413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-68_0_5_line_42 |  | 35 | 36 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-68_0_5_line_43 |  | 37 | 38 | 0.035545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1061-68_0_5_line_44 |  | 37 | 39 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1061-68_0_5_line_45 |  | 39 | 46 | 0.0048153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-68_0_5_line_46 |  | 40 | 41 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-68_0_5_line_47 |  | 40 | 42 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-68_0_5_line_48 |  | 42 | 49 | 0.048527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-68_0_5_line_49 |  | 44 | 53 | 0.035244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-68_0_5_line_50 |  | 47 | 50 | 0.003616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-68_0_5_line_51 |  | 47 | 51 | 0.0033044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-68_0_5_line_52 |  | 50 | 54 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-68_0_5_line_53 |  | 52 | 53 | 0.092415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-68_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 55 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2665717.4534 | 1210758.2099 | 2665727.203 | 1210756.7535
1 | 2665701.8419 | 1210743.8625 | 2665705.8254 | 1210743.0614 | 2665711.5978 | 1210742.0021 | 2665714.1955 | 1210742.8201 | 2665716.181 | 1210747.4671 | 2665717.4534 | 1210758.2099
2 | 2665677.2458 | 1210737.9326 | 2665680.3858 | 1210748.1735 | 2665701.8419 | 1210743.8625
3 | 2665701.8419 | 1210743.8625 | 2665704.4688 | 1210755.1428 | 2665709.2989 | 1210774.4975
4 | 2665688.263 | 1210661.5625 | 2665688.554 | 1210662.7442 | 2665687.8606 | 1210662.9144 | 2665685.2084 | 1210663.5857 | 2665694.9701 | 1210701.2273 | 2665691.2198 | 1210702.2422 | 2665696.1056 | 1210721.6413 | 2665701.8419 | 1210743.8625
5 | 2665721.3165 | 1210818.6896 | 2665722.1842 | 1210818.5658 | 2665724.4069 | 1210818.2456 | 2665727.8017 | 1210817.7605 | 2665728.7989 | 1210817.6158
6 | 2665728.7989 | 1210817.6158 | 2665723.7945 | 1210796.1294
7 | 2665719.7523 | 1210832.3586 | 2665720.7128 | 1210826.5767 | 2665721.4369 | 1210822.2487 | 2665721.3165 | 1210818.6896
8 | 2665721.3165 | 1210818.6896 | 2665721.2639 | 1210817.2548 | 2665720.6328 | 1210814.524 | 2665718.1753 | 1210805.1245 | 2665717.8248 | 1210803.9367
9 | 2665750.7426 | 1210749.7491 | 2665748.2839 | 1210723.5059
10 | 2665750.7426 | 1210749.7491 | 2665773.2749 | 1210747.0429
11 | 2665746.4932 | 1210706.4666 | 2665746.894 | 1210708.6704 | 2665748.2839 | 1210723.5059
12 | 2665773.2749 | 1210747.0429 | 2665787.369 | 1210745.3501
13 | 2665705.5643 | 1210598.4363 | 2665705.849 | 1210599.4957 | 2665706.7395 | 1210602.8298 | 2665707.8855 | 1210607.1117 | 2665708.1189 | 1210608.0037
14 | 2665708.1189 | 1210608.0037 | 2665694.7598 | 1210612.6817 | 2665680.0274 | 1210619.2236 | 2665678.346 | 1210620.7616 | 2665678.6226 | 1210623.9444 | 2665682.4213 | 1210637.8614 | 2665683.9273 | 1210643.3743
15 | 2665705.5643 | 1210598.4363 | 2665706.4051 | 1210598.0009 | 2665707.2518 | 1210595.6421 | 2665700.8107 | 1210574.0878
16 | 2665705.5643 | 1210598.4363 | 2665703.3936 | 1210599.5465 | 2665687.9235 | 1210604.3434
17 | 2665636.7683 | 1210624.0618 | 2665649.103 | 1210620.6064 | 2665660.0183 | 1210619.07 | 2665668.6436 | 1210615.685 | 2665671.6281 | 1210614.506 | 2665674.6652 | 1210613.3943 | 2665706.7395 | 1210602.8298 | 2665705.849 | 1210599.4957 | 2665705.5643 | 1210598.4363
18 | 2665705.5643 | 1210598.4363 | 2665705.849 | 1210599.4957 | 2665706.7395 | 1210602.8298 | 2665724.3993 | 1210598.2325 | 2665728.166 | 1210615.7403 | 2665732.2012 | 1210633.7069 | 2665735.8348 | 1210649.4899 | 2665737.2419 | 1210655.5981
19 | 2665683.9273 | 1210643.3743 | 2665684.7883 | 1210646.5261 | 2665686.7138 | 1210654.8583
20 | 2665688.263 | 1210661.5625 | 2665686.7138 | 1210654.8583
21 | 2665642.0245 | 1210548.362 | 2665639.9087 | 1210549.3282 | 2665639.1219 | 1210549.6864
22 | 2665638.7798 | 1210541.4109 | 2665642.0245 | 1210548.362
23 | 2665642.0245 | 1210548.362 | 2665644.6827 | 1210547.146 | 2665645.2632 | 1210546.8856 | 2665649.6905 | 1210556.8737 | 2665658.7407 | 1210577.5304
24 | 2665639.1219 | 1210549.6864 | 2665650.037 | 1210574.2652
25 | 2665638.7798 | 1210541.4109 | 2665622.4042 | 1210502.5867
26 | 2665638.7798 | 1210541.4109 | 2665641.4516 | 1210540.3396 | 2665647.2914 | 1210538.0024 | 2665655.003 | 1210534.7809
27 | 2665638.7798 | 1210541.4109 | 2665636.7269 | 1210542.1777 | 2665631.8961 | 1210543.9923 | 2665624.1644 | 1210545.5972 | 2665618.8438 | 1210546.3391
28 | 2665636.7683 | 1210624.0618 | 2665615.0527 | 1210632.1072
29 | 2665636.7683 | 1210624.0618 | 2665635.3987 | 1210619.366 | 2665634.3219 | 1210615.6964 | 2665631.2607 | 1210612.7943 | 2665625.021 | 1210611.4248 | 2665607.7486 | 1210609.1555
30 | 2665592.2823 | 1210643.0456 | 2665599.0861 | 1210638.0227 | 2665615.0527 | 1210632.1072
31 | 2665737.2419 | 1210655.5981 | 2665746.4932 | 1210706.4666
32 | 2665681.9865 | 1210736.6951 | 2665677.2458 | 1210737.9326
33 | 2665717.8248 | 1210803.9367 | 2665710.1751 | 1210778.0086 | 2665709.2989 | 1210774.4975
34 | 2665719.7523 | 1210832.3586 | 2665718.9307 | 1210837.2637 | 2665718.1184 | 1210840.6346 | 2665716.6963 | 1210842.7869 | 2665706.0302 | 1210848.6508
35 | 2665674.7145 | 1210816.6643 | 2665679.6407 | 1210816.5184 | 2665720.7128 | 1210826.5767 | 2665719.7523 | 1210832.3586
36 | 2665700.8107 | 1210574.0878 | 2665695.4103 | 1210556.016
37 | 2665653.1438 | 1210876.9751 | 2665652.384 | 1210874.1984 | 2665652.1501 | 1210873.3509
38 | 2665653.1438 | 1210876.9751 | 2665643.264 | 1210879.757 | 2665620.2171 | 1210885.7184 | 2665598.0836 | 1210890.9476
39 | 2665652.1501 | 1210873.3509 | 2665641.2638 | 1210876.4441 | 2665635.177 | 1210878.0897
40 | 2665652.1501 | 1210873.3509 | 2665661.8169 | 1210870.5888 | 2665669.6884 | 1210867.985 | 2665678.621 | 1210863.5694 | 2665697.9943 | 1210853.0651 | 2665698.2811 | 1210852.9076
41 | 2665706.0302 | 1210848.6508 | 2665698.2811 | 1210852.9076
42 | 2665674.7145 | 1210816.6643 | 2665670.3761 | 1210818.64 | 2665665.9074 | 1210824.172 | 2665663.681 | 1210829.8071
43 | 2665680.8975 | 1210523.6411 | 2665681.6937 | 1210525.1842 | 2665690.8347 | 1210543.2959 | 2665694.9817 | 1210554.5818 | 2665695.4103 | 1210556.016
44 | 2665680.8975 | 1210523.6411 | 2665667.6468 | 1210529.4989 | 2665659.4462 | 1210532.9247
45 | 2665655.003 | 1210534.7809 | 2665659.4462 | 1210532.9247
46 | 2665619.4644 | 1210882.2969 | 2665622.8102 | 1210881.4331 | 2665635.177 | 1210878.0897
47 | 2665611.4737 | 1210854.2918 | 2665611.7455 | 1210855.1398 | 2665613.551 | 1210861.6525 | 2665613.9098 | 1210862.8905 | 2665615.1247 | 1210867.1287 | 2665616.2517 | 1210871.0658 | 2665616.8662 | 1210873.2405 | 2665618.4251 | 1210878.6721 | 2665619.0838 | 1210880.9697 | 2665619.4644 | 1210882.2969
48 | 2665611.4737 | 1210854.2918 | 2665618.5503 | 1210854.1695 | 2665647.2619 | 1210852.0951 | 2665652.4191 | 1210851.6738 | 2665654.9051 | 1210850.9007 | 2665658.8582 | 1210848.0313
49 | 2665650.037 | 1210574.2652 | 2665664.3415 | 1210606.4763
50 | 2665618.9484 | 1210549.9536 | 2665618.9326 | 1210549.3197 | 2665618.8438 | 1210546.3391
51 | 2665618.8438 | 1210546.3391 | 2665618.7676 | 1210543.5922 | 2665618.7509 | 1210543.0361
52 | 2665618.9484 | 1210549.9536 | 2665609.4526 | 1210550.2605 | 2665598.9272 | 1210550.2928
53 | 2665585.3279 | 1210599.4839 | 2665591.3505 | 1210599.9032 | 2665634.8632 | 1210605.8741 | 2665639.3963 | 1210607.625 | 2665646.5035 | 1210612.3505 | 2665654.9209 | 1210616.8014 | 2665657.0774 | 1210616.9697 | 2665665.8924 | 1210613.609 | 2665666.5512 | 1210613.1382 | 2665666.5693 | 1210611.493 | 2665664.3415 | 1210606.4763

## bus_geodata
| x | y | coords
0 | 2665727.203 | 1210756.7535
1 | 2665717.4534 | 1210758.2099
2 | 2665701.8419 | 1210743.8625
3 | 2665728.7989 | 1210817.6158
4 | 2665721.3165 | 1210818.6896
5 | 2665723.7945 | 1210796.1294
6 | 2665750.7426 | 1210749.7491
7 | 2665748.2839 | 1210723.5059
8 | 2665773.2749 | 1210747.0429
9 | 2665708.1189 | 1210608.0037
10 | 2665705.5643 | 1210598.4363
11 | 2665683.9273 | 1210643.3743
12 | 2665688.263 | 1210661.5625
13 | 2665686.7138 | 1210654.8583
14 | 2665642.0245 | 1210548.362
15 | 2665639.1219 | 1210549.6864
16 | 2665638.7798 | 1210541.4109
17 | 2665658.7407 | 1210577.5304
18 | 2665636.7683 | 1210624.0618
19 | 2665615.0527 | 1210632.1072
20 | 2665607.7486 | 1210609.1555
21 | 2665737.2419 | 1210655.5981
22 | 2665746.4932 | 1210706.4666
23 | 2665677.2458 | 1210737.9326
24 | 2665709.2989 | 1210774.4975
25 | 2665681.9865 | 1210736.6951
26 | 2665719.7523 | 1210832.3586
27 | 2665717.8248 | 1210803.9367
28 | 2665700.8107 | 1210574.0878
29 | 2665687.9235 | 1210604.3434
30 | 2665653.1438 | 1210876.9751
31 | 2665652.1501 | 1210873.3509
32 | 2665598.0836 | 1210890.9476
33 | 2665706.0302 | 1210848.6508
34 | 2665698.2811 | 1210852.9076
35 | 2665674.7145 | 1210816.6643
36 | 2665663.681 | 1210829.8071
37 | 2665680.8975 | 1210523.6411
38 | 2665695.4103 | 1210556.016
39 | 2665659.4462 | 1210532.9247
40 | 2665619.4644 | 1210882.2969
41 | 2665635.177 | 1210878.0897
42 | 2665611.4737 | 1210854.2918
43 | 2665787.369 | 1210745.3501
44 | 2665650.037 | 1210574.2652
45 | 2665622.4042 | 1210502.5867
46 | 2665655.003 | 1210534.7809
47 | 2665618.8438 | 1210546.3391
48 | 2665592.2823 | 1210643.0456
49 | 2665658.8582 | 1210848.0313
50 | 2665618.9484 | 1210549.9536
51 | 2665618.7509 | 1210543.0361
52 | 2665585.3279 | 1210599.4839
53 | 2665664.3415 | 1210606.4763
54 | 2665598.9272 | 1210550.2928
55 | 2665677.2458 | 1210737.9326

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99487 | -0.097737 | 0.031704 | 0.0079458
1 | 0.99515 | -0.092235 | 0 | 0
2 | 0.99598 | -0.07633 | 0 | 0
3 | 0.99008 | -0.19003 | 0 | 0
4 | 0.99049 | -0.18208 | 0 | 0
5 | 0.98888 | -0.21328 | 0.059197 | 0.014836
6 | 0.9737 | -0.50706 | 0 | 0
7 | 0.97457 | -0.48982 | 0.021848 | 0.0054757
8 | 0.97294 | -0.52193 | 0.026646 | 0.0066781
9 | 0.98625 | -0.26243 | 0 | 0
10 | 0.98568 | -0.27345 | 0 | 0
11 | 0.98947 | -0.20043 | 0.0057111 | 0.0014313
12 | 0.99057 | -0.17926 | 0 | 0
13 | 0.99016 | -0.18714 | 0.0060123 | 0.0015068
14 | 0.97836 | -0.41591 | 0 | 0
15 | 0.97817 | -0.41964 | 0 | 0
16 | 0.97889 | -0.40553 | 0 | 0
17 | 0.97802 | -0.42259 | 0.009907 | 0.0024829
18 | 0.98314 | -0.32297 | 0 | 0
19 | 0.98258 | -0.33383 | 0.017855 | 0.004475
20 | 0.98282 | -0.32917 | 0.0093622 | 0.0023464
21 | 0.97944 | -0.39435 | 0 | 0
22 | 0.97549 | -0.47177 | 0.024619 | 0.0061702
23 | 0.99948 | -0.0099152 | 0 | 0
24 | 0.99466 | -0.10161 | 0.038122 | 0.0095543
25 | 1 | 0 | -0.59198 | -0.15125
26 | 0.98987 | -0.19406 | 0 | 0
27 | 0.992 | -0.15298 | 0.081742 | 0.020486
28 | 0.98482 | -0.28998 | 0.0093132 | 0.0023341
29 | 0.98541 | -0.27872 | 0.01575 | 0.0039473
30 | 0.98725 | -0.24495 | 0 | 0
31 | 0.98728 | -0.24437 | 0 | 0
32 | 0.9868 | -0.25377 | 0.0086764 | 0.0021745
33 | 0.98905 | -0.20997 | 0 | 0
34 | 0.98874 | -0.21605 | 0.0072794 | 0.0018244
35 | 0.98938 | -0.20371 | 0 | 0
36 | 0.98921 | -0.20697 | 0.010213 | 0.0025597
37 | 0.98319 | -0.32157 | 0 | 0
38 | 0.98424 | -0.30137 | 0.01024 | 0.0025664
39 | 0.98148 | -0.35487 | 0.020625 | 0.0051691
40 | 0.98675 | -0.25475 | 0 | 0
41 | 0.98691 | -0.2515 | 0.011471 | 0.0028749
42 | 0.98645 | -0.26056 | 0 | 0
43 | 0.97282 | -0.52428 | 0.0089632 | 0.0022464
44 | 0.97656 | -0.45128 | 0.035796 | 0.0089712
45 | 0.97848 | -0.41358 | 0.010497 | 0.0026308
46 | 0.98087 | -0.36683 | 0.015486 | 0.0038811
47 | 0.97819 | -0.41929 | 0 | 0
48 | 0.98239 | -0.33757 | 0.0081353 | 0.0020389
49 | 0.98595 | -0.27025 | 0.011145 | 0.0027932
50 | 0.97812 | -0.42073 | 0 | 0
51 | 0.97815 | -0.42019 | 0.014913 | 0.0037376
52 | 0.97373 | -0.50702 | 0.021971 | 0.0055064
53 | 0.97562 | -0.46977 | 0.0066982 | 0.0016787
54 | 0.97771 | -0.42871 | 0.021852 | 0.0054765
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031704 | -0.0079458 | 0.031713 | 0.007951 | 8.3124e-06 | 5.1919e-06 | 0.04742 | 0.04742 | 0.04742 | 0.99487 | -0.097737 | 0.99515 | -0.092235 | 13.0274
1 | -0.031713 | -0.007951 | 0.031737 | 0.007966 | 2.4055e-05 | 1.5024e-05 | 0.04742 | 0.04742 | 0.04742 | 0.99515 | -0.092235 | 0.99598 | -0.07633 | 13.0274
2 | -0.58816 | -0.14987 | 0.59005 | 0.15107 | 0.0018914 | 0.0012084 | 0.87959 | 0.87959 | 0.87959 | 0.99598 | -0.07633 | 0.99948 | -0.0099152 | 48.3294
3 | 0.22897 | 0.057814 | -0.22869 | -0.057639 | 0.00027698 | 0.00017522 | 0.34224 | 0.34224 | 0.34224 | 0.99598 | -0.07633 | 0.99466 | -0.10161 | 18.8043
4 | 0.32745 | 0.084085 | -0.32582 | -0.08305 | 0.0016274 | 0.0010357 | 0.48994 | 0.48994 | 0.48994 | 0.99598 | -0.07633 | 0.99057 | -0.17926 | 26.9199
5 | -0.059263 | -0.014878 | 0.059285 | 0.014892 | 2.2492e-05 | 1.4297e-05 | 0.089076 | 0.089076 | 0.089076 | 0.99008 | -0.19003 | 0.99049 | -0.18208 | 24.4715
6 | 0.059263 | 0.014878 | -0.059197 | -0.014836 | 6.5643e-05 | 4.1728e-05 | 0.089076 | 0.089076 | 0.089076 | 0.99008 | -0.19003 | 0.98888 | -0.21328 | 24.4716
7 | 0.048924 | 0.012311 | -0.048896 | -0.012293 | 2.799e-05 | 1.7736e-05 | 0.073516 | 0.073516 | 0.073516 | 0.99049 | -0.18208 | 0.98987 | -0.19406 | 20.1968
8 | -0.10821 | -0.027203 | 0.10836 | 0.0273 | 0.00015061 | 9.6196e-05 | 0.16259 | 0.16259 | 0.16259 | 0.99049 | -0.18208 | 0.992 | -0.15298 | 44.6683
9 | -0.035635 | -0.0089408 | 0.035665 | 0.0089593 | 2.9318e-05 | 1.8435e-05 | 0.054462 | 0.054462 | 0.054462 | 0.9737 | -0.50706 | 0.97457 | -0.48982 | 14.9621
10 | 0.035635 | 0.0089408 | -0.03561 | -0.008925 | 2.5243e-05 | 1.5873e-05 | 0.054462 | 0.054462 | 0.054462 | 0.9737 | -0.50706 | 0.97294 | -0.52193 | 14.9621
11 | -0.057513 | -0.014435 | 0.057563 | 0.014466 | 4.9573e-05 | 3.1513e-05 | 0.087821 | 0.087821 | 0.087821 | 0.97457 | -0.48982 | 0.97549 | -0.47177 | 24.1266
12 | 0.0089642 | 0.0022469 | -0.0089632 | -0.0022464 | 1.0006e-06 | 4.641e-07 | 0.01371 | 0.01371 | 0.01371 | 0.97294 | -0.52193 | 0.97282 | -0.52428 | 3.7665
13 | 0.31284 | 0.079307 | -0.31267 | -0.079202 | 0.00016568 | 0.00010541 | 0.47232 | 0.47232 | 0.47232 | 0.98625 | -0.26243 | 0.98568 | -0.27345 | 25.9516
14 | -0.31284 | -0.079307 | 0.31377 | 0.079902 | 0.00093509 | 0.00059488 | 0.47232 | 0.47232 | 0.47232 | 0.98625 | -0.26243 | 0.98947 | -0.20043 | 25.9516
15 | 0.17849 | 0.045191 | -0.17835 | -0.045102 | 0.00014148 | 8.8898e-05 | 0.26963 | 0.26963 | 0.26963 | 0.98568 | -0.27345 | 0.98482 | -0.28998 | 14.8146
16 | 0.015754 | 0.0039496 | -0.01575 | -0.0039473 | 3.9528e-06 | 2.2923e-06 | 0.023783 | 0.023783 | 0.023783 | 0.98568 | -0.27345 | 0.98541 | -0.27872 | 6.5339
17 | 0.035454 | 0.0089231 | -0.035371 | -0.0088705 | 8.3683e-05 | 5.2568e-05 | 0.053536 | 0.053537 | 0.053537 | 0.98568 | -0.27345 | 0.98314 | -0.32297 | 14.7079
18 | 0.082968 | 0.021138 | -0.082487 | -0.020831 | 0.0004809 | 0.00030674 | 0.12537 | 0.12538 | 0.12538 | 0.98568 | -0.27345 | 0.97944 | -0.39435 | 34.4437
19 | -0.31948 | -0.081333 | 0.31969 | 0.081464 | 0.00020501 | 0.00013044 | 0.48091 | 0.48091 | 0.48091 | 0.98947 | -0.20043 | 0.99016 | -0.18714 | 26.4235
20 | 0.32582 | 0.08305 | -0.3257 | -0.082971 | 0.00012388 | 7.8838e-05 | 0.48994 | 0.48994 | 0.48994 | 0.99057 | -0.17926 | 0.99016 | -0.18714 | 26.9199
21 | 0.064638 | 0.016265 | -0.064627 | -0.016258 | 1.1542e-05 | 7.3467e-06 | 0.098333 | 0.098333 | 0.098333 | 0.97836 | -0.41591 | 0.97817 | -0.41964 | 27.0147
22 | -0.074548 | -0.01875 | 0.074585 | 0.018773 | 3.6982e-05 | 2.3572e-05 | 0.11341 | 0.11341 | 0.11341 | 0.97836 | -0.41591 | 0.97889 | -0.40553 | 31.1556
23 | 0.0099101 | 0.0024845 | -0.009907 | -0.0024829 | 3.1555e-06 | 1.5546e-06 | 0.015073 | 0.015073 | 0.015073 | 0.97836 | -0.41591 | 0.97802 | -0.42259 | 4.1409
24 | 0.064627 | 0.016258 | -0.064529 | -0.016196 | 9.7517e-05 | 6.2074e-05 | 0.098333 | 0.098334 | 0.098334 | 0.97817 | -0.41964 | 0.97656 | -0.45128 | 27.0147
25 | 0.010501 | 0.0026328 | -0.010497 | -0.0026308 | 4.0264e-06 | 2.0474e-06 | 0.015963 | 0.015963 | 0.015963 | 0.97889 | -0.40553 | 0.97848 | -0.41358 | 4.3854
26 | -0.12189 | -0.030642 | 0.12211 | 0.030786 | 0.0002257 | 0.00014423 | 0.18531 | 0.18531 | 0.18531 | 0.97889 | -0.40553 | 0.98087 | -0.36683 | 50.9101
27 | 0.036799 | 0.0092357 | -0.036775 | -0.0092205 | 2.4136e-05 | 1.5189e-05 | 0.055944 | 0.055944 | 0.055944 | 0.97889 | -0.40553 | 0.97819 | -0.41929 | 15.3691
28 | 0.026006 | 0.0065228 | -0.025992 | -0.0065145 | 1.3455e-05 | 8.318e-06 | 0.039362 | 0.039362 | 0.039362 | 0.98314 | -0.32297 | 0.98258 | -0.33383 | 10.8139
29 | 0.009365 | 0.0023477 | -0.0093622 | -0.0023464 | 2.7684e-06 | 1.306e-06 | 0.014174 | 0.014175 | 0.014175 | 0.98314 | -0.32297 | 0.98282 | -0.32917 | 3.8941
30 | 0.0081367 | 0.0020395 | -0.0081353 | -0.0020389 | 1.4511e-06 | 6.0596e-07 | 0.012322 | 0.012322 | 0.012322 | 0.98258 | -0.33383 | 0.98239 | -0.33757 | 3.3853
31 | 0.082487 | 0.020831 | -0.082182 | -0.020637 | 0.00030477 | 0.0001944 | 0.12538 | 0.12538 | 0.12538 | 0.97944 | -0.39435 | 0.97549 | -0.47177 | 34.4438
32 | -0.59005 | -0.15107 | 0.59033 | 0.15125 | 0.00028352 | 0.00018113 | 0.87959 | 0.87959 | 0.87959 | 0.99948 | -0.0099152 | 1 | 0 | 48.3293
33 | 0.19057 | 0.048084 | -0.1901 | -0.047786 | 0.0004675 | 0.0002984 | 0.28521 | 0.28521 | 0.28521 | 0.99466 | -0.10161 | 0.992 | -0.15298 | 39.1768
34 | 0.038676 | 0.0097306 | -0.038647 | -0.0097121 | 2.9377e-05 | 1.8504e-05 | 0.058153 | 0.058153 | 0.058153 | 0.98987 | -0.19406 | 0.98905 | -0.20997 | 15.9762
35 | 0.01022 | 0.0025628 | -0.010215 | -0.0025605 | 4.6977e-06 | 2.3246e-06 | 0.015363 | 0.015363 | 0.015363 | 0.98987 | -0.19406 | 0.98938 | -0.20371 | 4.2207
36 | 0.16904 | 0.042768 | -0.16895 | -0.04271 | 9.2385e-05 | 5.7927e-05 | 0.25555 | 0.25555 | 0.25555 | 0.98482 | -0.28998 | 0.98424 | -0.30137 | 14.0415
37 | -0.00868 | -0.0021761 | 0.0086803 | 0.0021762 | 2.4122e-07 | 1.0632e-07 | 0.013083 | 0.013083 | 0.013083 | 0.98725 | -0.24495 | 0.98728 | -0.24437 | 3.5943
38 | 0.00868 | 0.0021761 | -0.0086764 | -0.0021745 | 3.6467e-06 | 1.6078e-06 | 0.013083 | 0.013083 | 0.013083 | 0.98725 | -0.24495 | 0.9868 | -0.25377 | 3.5943
39 | 0.022634 | 0.005678 | -0.022626 | -0.0056733 | 7.6913e-06 | 4.6972e-06 | 0.034115 | 0.034115 | 0.034115 | 0.98728 | -0.24437 | 0.98691 | -0.2515 | 9.3724
40 | -0.031314 | -0.0078542 | 0.031356 | 0.0078807 | 4.2332e-05 | 2.6444e-05 | 0.047198 | 0.047198 | 0.047198 | 0.98728 | -0.24437 | 0.98874 | -0.21605 | 12.9666
41 | 0.038647 | 0.0097121 | -0.038636 | -0.0097051 | 1.1212e-05 | 7.0625e-06 | 0.058153 | 0.058153 | 0.058153 | 0.98905 | -0.20997 | 0.98874 | -0.21605 | 15.9762
42 | 0.010215 | 0.0025605 | -0.010213 | -0.0025597 | 1.5877e-06 | 7.858e-07 | 0.015363 | 0.015363 | 0.015363 | 0.98938 | -0.20371 | 0.98921 | -0.20697 | 4.2207
43 | -0.15855 | -0.040048 | 0.15871 | 0.040144 | 0.00015365 | 9.6078e-05 | 0.24007 | 0.24007 | 0.24007 | 0.98319 | -0.32157 | 0.98424 | -0.30137 | 13.1909
44 | 0.15855 | 0.040048 | -0.1583 | -0.039887 | 0.00025261 | 0.00016108 | 0.24007 | 0.24007 | 0.24007 | 0.98319 | -0.32157 | 0.98148 | -0.35487 | 32.9772
45 | 0.13768 | 0.034718 | -0.1376 | -0.034667 | 7.873e-05 | 5.0326e-05 | 0.2088 | 0.2088 | 0.2088 | 0.98148 | -0.35487 | 0.98087 | -0.36683 | 57.364
46 | -0.011153 | -0.0027975 | 0.011155 | 0.0027984 | 1.7257e-06 | 8.9665e-07 | 0.01682 | 0.01682 | 0.01682 | 0.98675 | -0.25475 | 0.98691 | -0.2515 | 4.6209
47 | 0.011153 | 0.0027975 | -0.01115 | -0.0027959 | 3.0898e-06 | 1.6056e-06 | 0.01682 | 0.01682 | 0.01682 | 0.98675 | -0.25475 | 0.98645 | -0.26056 | 4.6209
48 | 0.01115 | 0.0027959 | -0.011145 | -0.0027932 | 5.1485e-06 | 2.6759e-06 | 0.01682 | 0.01682 | 0.01682 | 0.98645 | -0.26056 | 0.98595 | -0.27025 | 4.621
49 | 0.028733 | 0.0072248 | -0.028708 | -0.007209 | 2.5344e-05 | 1.578e-05 | 0.04379 | 0.043791 | 0.043791 | 0.97656 | -0.45128 | 0.97562 | -0.46977 | 12.0304
50 | 0.021861 | 0.0054825 | -0.02186 | -0.0054816 | 1.4997e-06 | 9.1445e-07 | 0.033257 | 0.033257 | 0.033257 | 0.97819 | -0.41929 | 0.97812 | -0.42073 | 9.1364
51 | 0.014914 | 0.003738 | -0.014913 | -0.0037376 | 6.3778e-07 | 3.667e-07 | 0.022687 | 0.022687 | 0.022687 | 0.97819 | -0.41929 | 0.97815 | -0.42019 | 6.2327
52 | 0.02186 | 0.0054816 | -0.021852 | -0.0054765 | 8.3059e-06 | 5.0645e-06 | 0.033257 | 0.033257 | 0.033257 | 0.97812 | -0.42073 | 0.97771 | -0.42871 | 9.1365
53 | -0.021971 | -0.0055064 | 0.02201 | 0.0055302 | 3.9066e-05 | 2.385e-05 | 0.033575 | 0.033574 | 0.033575 | 0.97373 | -0.50702 | 0.97562 | -0.46977 | 9.2239

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60261 | 0.15392

## res_load
| p_mw | q_mvar
0 | 0.031704 | 0.0079458
1 | 0.059197 | 0.014836
2 | 0.021848 | 0.0054757
3 | 0.026646 | 0.0066781
4 | 0.0057111 | 0.0014313
5 | 0.0060123 | 0.0015068
6 | 0.009907 | 0.0024829
7 | 0.017855 | 0.004475
8 | 0.0093622 | 0.0023464
9 | 0.024619 | 0.0061702
10 | 0.038122 | 0.0095543
11 | 0.010629 | 0.0026638
12 | 0.081742 | 0.020486
13 | 0.0093132 | 0.0023341
14 | 0.01575 | 0.0039473
15 | 0.0086764 | 0.0021745
16 | 0.0072794 | 0.0018244
17 | 0.010213 | 0.0025597
18 | 0.01024 | 0.0025664
19 | 0.020625 | 0.0051691
20 | 0.011471 | 0.0028749
21 | 0.0089632 | 0.0022464
22 | 0.035796 | 0.0089712
23 | 0.010497 | 0.0026308
24 | 0.015486 | 0.0038811
25 | 0.0081353 | 0.0020389
26 | 0.011145 | 0.0027932
27 | 0.014913 | 0.0037376
28 | 0.021971 | 0.0055064
29 | 0.0066982 | 0.0016787
30 | 0.021852 | 0.0054765

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1