## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-69_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-69_0_7_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1061-69_0_7_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_1061-69_0_7_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1061-69_0_7_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1061-69_0_7_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1061-69_0_7_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1061-69_0_7_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_1061-69_0_7_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1061-69_0_7_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1061-69_0_7_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1061-69_0_7_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1061-69_0_7_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1061-69_0_7_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1061-69_0_7_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1061-69_0_7_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_1061-69_0_7_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_1061-69_0_7_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_1061-69_0_7_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1061-69_0_7_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_1061-69_0_7_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1061-69_0_7_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1061-69_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1061-69_0_7_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1061-69_0_7_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_1061-69_0_7_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1061-69_0_7_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1061-69_0_7_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1061-69_0_7_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_1061-69_0_7_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_1061-69_0_7_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_1061-69_0_7_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_1061-69_0_7_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1061-69_0_7_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1061-69_0_7_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1061-69_0_7_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1061-69_0_7_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_1061-69_0_7_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_1061-69_0_7_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_1061-69_0_7_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1061-69_0_7_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1061-69_0_7_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1061-69_0_7_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_1061-69_0_7_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_1061-69_0_7_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_1061-69_0_7_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_1061-69_0_7_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_1061-69_0_7_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_1061-69_0_7_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1061-69_0_7_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_1061-69_0_7_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_1061-69_0_7_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_1061-69_0_7_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_1061-69_0_7_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_1061-69_0_7_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1061-69_0_7_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1061-69_0_7_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_1061-69_0_7_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1061-69_0_7_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_1061-69_0_7_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_1061-69_0_7_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_1061-69_0_7_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1061-69_0_7_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_1061-69_0_7_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1061-69_0_7_node_67 | 0.4 | n |  | TRUE
65 | bus_MV_216_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-69_0_7_load_0 | 0 | 0.057673 | 0.014454 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-69_0_7_load_28 | 6 | 0.01683 | 0.0042179 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-69_0_7_load_54 | 7 | 0.034223 | 0.008577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-69_0_7_load_52 | 11 | 0.018728 | 0.0046936 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-69_0_7_load_51 | 13 | 0.016149 | 0.0040474 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-69_0_7_load_40 | 15 | 0.028077 | 0.0070366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-69_0_7_load_61 | 17 | 0.014779 | 0.003704 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-69_0_7_load_55 | 19 | 0.033686 | 0.0084425 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-69_0_7_load_46 | 23 | 0.004436 | 0.0011118 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-69_0_7_load_48 | 24 | 0.0049882 | 0.0012502 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-69_0_7_load_56 | 25 | 0.023653 | 0.0059281 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-69_0_7_load_50 | 27 | 0.010516 | 0.0026356 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-69_0_7_load_70 | 28 | 0.017874 | 0.0044797 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-69_0_7_load_47 | 30 | 0.0079986 | 0.0020046 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-69_0_7_load_44 | 31 | 0.020964 | 0.0052542 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-69_0_7_load_42 | 32 | 0.013747 | 0.0034454 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-69_0_7_load_35 | 33 | 0.036746 | 0.0092095 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-69_0_7_load_27 | 35 | 0.016638 | 0.0041699 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-69_0_7_load_53 | 36 | 0.019635 | 0.0049211 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-69_0_7_load_66 | 38 | 0.014952 | 0.0037472 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-69_0_7_load_49 | 40 | 0.0074215 | 0.00186 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-69_0_7_load_23 | 41 | 0.006329 | 0.0015862 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-69_0_7_load_69 | 42 | 0.017883 | 0.0044818 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-69_0_7_load_18 | 44 | 0.006826 | 0.0017108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-69_0_7_load_22 | 46 | 0.0064553 | 0.0016178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-69_0_7_load_58 | 48 | 0.0065564 | 0.0016432 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-69_0_7_load_57 | 50 | 0.023316 | 0.0058435 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-69_0_7_load_26 | 52 | 0.0071768 | 0.0017987 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-69_0_7_load_59 | 54 | 0.0092688 | 0.002323 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-69_0_7_load_60 | 56 | 0.0095376 | 0.0023904 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-69_0_7_load_39 | 57 | 0.0054661 | 0.0013699 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-69_0_7_load_29 | 58 | 0.0047572 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-69_0_7_load_43 | 61 | 0.021112 | 0.0052911 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-69_0_7_load_45 | 62 | 0.021246 | 0.0053248 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-69_0_7_load_63 | 63 | 0.015529 | 0.0038919 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-69_0_7_load_67 | 64 | 0.017876 | 0.00448 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-69_0_7_line_0 |  | 0 | 1 | 0.073703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-69_0_7_line_1 |  | 1 | 2 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-69_0_7_line_2 |  | 2 | 22 | 0.059052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-69_0_7_line_3 |  | 2 | 23 | 0.05706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-69_0_7_line_4 |  | 3 | 4 | 0.021236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1061-69_0_7_line_5 |  | 3 | 5 | 0.036834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1061-69_0_7_line_6 |  | 3 | 6 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-69_0_7_line_7 |  | 4 | 7 | 0.02023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-69_0_7_line_8 |  | 4 | 8 | 0.013426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1061-69_0_7_line_9 |  | 5 | 16 | 0.017802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-69_0_7_line_10 |  | 5 | 17 | 0.003925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-69_0_7_line_11 |  | 5 | 10 | 0.035249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1061-69_0_7_line_12 |  | 6 | 35 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-69_0_7_line_13 |  | 8 | 14 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-69_0_7_line_14 |  | 8 | 15 | 0.017978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1061-69_0_7_line_15 |  | 9 | 10 | 0.002157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-69_0_7_line_16 |  | 9 | 11 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-69_0_7_line_17 |  | 10 | 12 | 0.034939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-69_0_7_line_18 |  | 10 | 13 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-69_0_7_line_19 |  | 11 | 36 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-69_0_7_line_20 |  | 12 | 28 | 0.004106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-69_0_7_line_21 |  | 12 | 29 | 0.020401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-69_0_7_line_22 |  | 14 | 27 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-69_0_7_line_23 |  | 15 | 21 | 0.04872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-69_0_7_line_24 |  | 16 | 37 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-69_0_7_line_25 |  | 16 | 38 | 0.003055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-69_0_7_line_26 |  | 18 | 19 | 0.006214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-69_0_7_line_27 |  | 18 | 20 | 0.025653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-69_0_7_line_28 |  | 18 | 21 | 0.023053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-69_0_7_line_29 |  | 20 | 25 | 0.004071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-69_0_7_line_30 |  | 20 | 26 | 0.013652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-69_0_7_line_31 |  | 21 | 39 | 0.017771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-69_0_7_line_32 |  | 21 | 34 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-69_0_7_line_33 |  | 22 | 24 | 0.061122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-69_0_7_line_34 |  | 23 | 30 | 0.02779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-69_0_7_line_35 |  | 24 | 40 | 0.030528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-69_0_7_line_36 |  | 26 | 41 | 0.003951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-69_0_7_line_37 |  | 27 | 40 | 0.010841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-69_0_7_line_38 |  | 29 | 42 | 0.003376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-69_0_7_line_39 |  | 29 | 43 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-69_0_7_line_40 |  | 31 | 32 | 0.037776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-69_0_7_line_41 |  | 32 | 61 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-69_0_7_line_42 |  | 33 | 34 | 0.07524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-69_0_7_line_43 |  | 34 | 53 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-69_0_7_line_44 |  | 36 | 62 | 0.034081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-69_0_7_line_45 |  | 37 | 63 | 0.002274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-69_0_7_line_46 |  | 39 | 50 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-69_0_7_line_47 |  | 39 | 47 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-69_0_7_line_48 |  | 43 | 64 | 0.002512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-69_0_7_line_49 |  | 44 | 45 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-69_0_7_line_50 |  | 45 | 46 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-69_0_7_line_51 |  | 46 | 49 | 0.024985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-69_0_7_line_52 |  | 47 | 48 | 0.004349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-69_0_7_line_53 |  | 49 | 51 | 0.020271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-69_0_7_line_54 |  | 49 | 52 | 0.014602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-69_0_7_line_55 |  | 51 | 53 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-69_0_7_line_56 |  | 51 | 54 | 0.006948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-69_0_7_line_57 |  | 52 | 55 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-69_0_7_line_58 |  | 53 | 56 | 0.007267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-69_0_7_line_59 |  | 55 | 57 | 0.036316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-69_0_7_line_60 |  | 57 | 60 | 0.013732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-69_0_7_line_61 |  | 58 | 59 | 0.04996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-69_0_7_line_62 |  | 59 | 60 | 0.030108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-69_0_7_line_63 |  | 61 | 62 | 0.023101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-69_0_7_trafo_11 | 0.63 MVA 20/0.4 kV | 65 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2665999.5639 | 1210359.3222 | 2665931.059 | 1210332.1332
1 | 2665999.5639 | 1210359.3222 | 2666003.393 | 1210349.1472
2 | 2666003.393 | 1210349.1472 | 2666026.5779 | 1210355.6632 | 2666050.8007 | 1210362.4687 | 2666053.0952 | 1210352.9327
3 | 2666003.393 | 1210349.1472 | 2665996.6628 | 1210347.4383 | 2665952.818 | 1210332.867 | 2665949.1884 | 1210331.4034
4 | 2665960.3578 | 1210271.6794 | 2665980.1225 | 1210279.5916
5 | 2665960.3578 | 1210271.6794 | 2665936.5289 | 1210262.188 | 2665939.8468 | 1210251.507
6 | 2665960.3578 | 1210271.6794 | 2665965.6483 | 1210258.5741
7 | 2665980.1225 | 1210279.5916 | 2665986.7433 | 1210263.7217 | 2665984.2004 | 1210262.0481
8 | 2665992.5061 | 1210284.865 | 2665980.1225 | 1210279.5916
9 | 2665939.8468 | 1210251.507 | 2665945.7405 | 1210234.7062
10 | 2665935.9947 | 1210250.6973 | 2665939.8468 | 1210251.507
11 | 2665919.8353 | 1210265.9059 | 2665921.6858 | 1210261.4569 | 2665935.0948 | 1210266.7861 | 2665936.5289 | 1210262.188 | 2665939.8468 | 1210251.507
12 | 2665973.5158 | 1210239.0853 | 2665965.6483 | 1210258.5741
13 | 2665992.5061 | 1210284.865 | 2665990.5755 | 1210288.9907 | 2665998.4813 | 1210292.3024 | 2665996.7427 | 1210296.9415
14 | 2665992.5061 | 1210284.865 | 2665997.1296 | 1210275.0212 | 2665998.0032 | 1210268.8827 | 2665997.8118 | 1210268.0009
15 | 2665919.8353 | 1210265.9059 | 2665919.0076 | 1210267.898
16 | 2665919.0076 | 1210267.898 | 2665914.1676 | 1210279.5362
17 | 2665915.2055 | 1210240.5614 | 2665911.1422 | 1210251.9902 | 2665909.5105 | 1210256.5861 | 2665921.6858 | 1210261.4569 | 2665919.8353 | 1210265.9059
18 | 2665919.8353 | 1210265.9059 | 2665934.4203 | 1210271.7916
19 | 2665914.1676 | 1210279.5362 | 2665906.07 | 1210299.0075 | 2665901.988 | 1210298.3732
20 | 2665911.4076 | 1210238.9741 | 2665915.2055 | 1210240.5614
21 | 2665915.2055 | 1210240.5614 | 2665922.038 | 1210221.3362
22 | 2665996.7427 | 1210296.9415 | 2665992.6279 | 1210307.9212
23 | 2666006.6931 | 1210221.9388 | 2666000.7752 | 1210233.3582 | 2665999.2828 | 1210237.7221 | 2665995.9687 | 1210247.3692 | 2665994.8284 | 1210254.2608 | 2665997.8118 | 1210268.0009
24 | 2665945.7405 | 1210234.7062 | 2665951.0072 | 1210219.6218
25 | 2665942.7931 | 1210233.8732 | 2665945.7405 | 1210234.7062
26 | 2666028.1141 | 1210230.6144 | 2666025.4072 | 1210236.2101
27 | 2666028.1141 | 1210230.6144 | 2666035.3478 | 1210233.5407 | 2666041.81 | 1210216.902
28 | 2666006.6931 | 1210221.9388 | 2666012.4816 | 1210224.2821 | 2666028.1141 | 1210230.6144
29 | 2666038.0267 | 1210215.3703 | 2666041.81 | 1210216.902
30 | 2666046.7469 | 1210204.171 | 2666041.81 | 1210216.902
31 | 2666006.6931 | 1210221.9388 | 2666008.0367 | 1210218.6628 | 2666013.4344 | 1210205.4922
32 | 2666006.6931 | 1210221.9388 | 2665984.9108 | 1210212.948
33 | 2666053.0952 | 1210352.9327 | 2666032.1631 | 1210348.1981 | 2665993.3779 | 1210339.9091
34 | 2665949.1884 | 1210331.4034 | 2665923.4144 | 1210321.0111
35 | 2665993.3779 | 1210339.9091 | 2665985.5844 | 1210338.2435 | 2665983.1869 | 1210336.4937 | 2665982.6929 | 1210334.4315 | 2665988.8235 | 1210318.0728
36 | 2666043.1629 | 1210202.4859 | 2666046.7469 | 1210204.171
37 | 2665988.8235 | 1210318.0728 | 2665992.6279 | 1210307.9212
38 | 2665918.9679 | 1210219.9125 | 2665922.038 | 1210221.3362
39 | 2665927.9362 | 1210204.1241 | 2665922.038 | 1210221.3362
40 | 2665833.9314 | 1210277.5018 | 2665823.5385 | 1210273.4255 | 2665822.2006 | 1210270.6869 | 2665830.6572 | 1210248.6921
41 | 2665833.9314 | 1210277.5018 | 2665851.7984 | 1210284.5095
42 | 2665984.9108 | 1210212.948 | 2665959.3275 | 1210202.6367 | 2665915.1315 | 1210184.8066
43 | 2665984.9108 | 1210212.948 | 2665985.3703 | 1210209.1952 | 2665987.0925 | 1210195.05
44 | 2665901.988 | 1210298.3732 | 2665901.988 | 1210298.3732 | 2665899.9866 | 1210303.4097 | 2665873.3046 | 1210292.9446
45 | 2665948.9429 | 1210218.654 | 2665951.0072 | 1210219.6218
46 | 2666009.4779 | 1210203.814 | 2666013.4344 | 1210205.4922
47 | 2666018.09 | 1210194.1367 | 2666013.4344 | 1210205.4922
48 | 2665925.6369 | 1210203.0981 | 2665927.9362 | 1210204.1241
49 | 2666031.1414 | 1210172.0453 | 2666038.0557 | 1210174.9902 | 2666045.5905 | 1210178.2037
50 | 2666031.1414 | 1210172.0453 | 2666023.3261 | 1210168.7901 | 2666016.705 | 1210166.0359
51 | 2665995.2206 | 1210163.1647 | 2665999.0855 | 1210158.7047 | 2666009.4051 | 1210162.9993 | 2666016.705 | 1210166.0359
52 | 2666014.1508 | 1210192.2697 | 2666018.09 | 1210194.1367
53 | 2665995.2206 | 1210163.1647 | 2665996.4478 | 1210169.7157 | 2665991.7387 | 1210182.4826
54 | 2665995.2206 | 1210163.1647 | 2665988.4945 | 1210150.2043
55 | 2665991.7387 | 1210182.4826 | 2665987.0925 | 1210195.05
56 | 2665985.2531 | 1210179.9426 | 2665991.7387 | 1210182.4826
57 | 2665975.2539 | 1210124.687 | 2665977.4047 | 1210128.8245 | 2665979.2502 | 1210132.3915 | 2665988.4945 | 1210150.2043
58 | 2665980.3666 | 1210192.2517 | 2665987.0925 | 1210195.05
59 | 2665975.2539 | 1210124.687 | 2665996.1851 | 1210117.2138 | 2666009.2617 | 1210111.9643
60 | 2666022.0051 | 1210106.8486 | 2666009.2617 | 1210111.9643
61 | 2666045.1097 | 1210087.748 | 2666061.9313 | 1210100.6643 | 2666064.5488 | 1210105.8965 | 2666063.7899 | 1210111.9696 | 2666058.4074 | 1210127.8643
62 | 2666022.0051 | 1210106.8486 | 2666036.5255 | 1210096.9476 | 2666045.1097 | 1210087.748
63 | 2665873.3046 | 1210292.9446 | 2665851.7984 | 1210284.5095

## bus_geodata
| x | y | coords
0 | 2665931.059 | 1210332.1332
1 | 2665999.5639 | 1210359.3222
2 | 2666003.393 | 1210349.1472
3 | 2665960.3578 | 1210271.6794
4 | 2665980.1225 | 1210279.5916
5 | 2665939.8468 | 1210251.507
6 | 2665965.6483 | 1210258.5741
7 | 2665984.2004 | 1210262.0481
8 | 2665992.5061 | 1210284.865
9 | 2665919.0076 | 1210267.898
10 | 2665919.8353 | 1210265.9059
11 | 2665914.1676 | 1210279.5362
12 | 2665915.2055 | 1210240.5614
13 | 2665934.4203 | 1210271.7916
14 | 2665996.7427 | 1210296.9415
15 | 2665997.8118 | 1210268.0009
16 | 2665945.7405 | 1210234.7062
17 | 2665935.9947 | 1210250.6973
18 | 2666028.1141 | 1210230.6144
19 | 2666025.4072 | 1210236.2101
20 | 2666041.81 | 1210216.902
21 | 2666006.6931 | 1210221.9388
22 | 2666053.0952 | 1210352.9327
23 | 2665949.1884 | 1210331.4034
24 | 2665993.3779 | 1210339.9091
25 | 2666038.0267 | 1210215.3703
26 | 2666046.7469 | 1210204.171
27 | 2665992.6279 | 1210307.9212
28 | 2665911.4076 | 1210238.9741
29 | 2665922.038 | 1210221.3362
30 | 2665923.4144 | 1210321.0111
31 | 2665830.6572 | 1210248.6921
32 | 2665833.9314 | 1210277.5018
33 | 2665915.1315 | 1210184.8066
34 | 2665984.9108 | 1210212.948
35 | 2665973.5158 | 1210239.0853
36 | 2665901.988 | 1210298.3732
37 | 2665951.0072 | 1210219.6218
38 | 2665942.7931 | 1210233.8732
39 | 2666013.4344 | 1210205.4922
40 | 2665988.8235 | 1210318.0728
41 | 2666043.1629 | 1210202.4859
42 | 2665918.9679 | 1210219.9125
43 | 2665927.9362 | 1210204.1241
44 | 2666045.5905 | 1210178.2037
45 | 2666031.1414 | 1210172.0453
46 | 2666016.705 | 1210166.0359
47 | 2666018.09 | 1210194.1367
48 | 2666014.1508 | 1210192.2697
49 | 2665995.2206 | 1210163.1647
50 | 2666009.4779 | 1210203.814
51 | 2665991.7387 | 1210182.4826
52 | 2665988.4945 | 1210150.2043
53 | 2665987.0925 | 1210195.05
54 | 2665985.2531 | 1210179.9426
55 | 2665975.2539 | 1210124.687
56 | 2665980.3666 | 1210192.2517
57 | 2666009.2617 | 1210111.9643
58 | 2666058.4074 | 1210127.8643
59 | 2666045.1097 | 1210087.748
60 | 2666022.0051 | 1210106.8486
61 | 2665851.7984 | 1210284.5095
62 | 2665873.3046 | 1210292.9446
63 | 2665948.9429 | 1210218.654
64 | 2665925.6369 | 1210203.0981
65 | 2665935.9947 | 1210250.6973

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97449 | -0.492 | 0.057673 | 0.014454
1 | 0.97844 | -0.4143 | 0 | 0
2 | 0.97902 | -0.40289 | 0 | 0
3 | 0.99583 | -0.079213 | 0 | 0
4 | 0.99364 | -0.121 | 0 | 0
5 | 1 | 0 | -0.60703 | -0.15416
6 | 0.9954 | -0.08753 | 0.01683 | 0.0042179
7 | 0.99301 | -0.13323 | 0.034223 | 0.008577
8 | 0.9924 | -0.1448 | 0 | 0
9 | 0.99679 | -0.061435 | 0 | 0
10 | 0.99702 | -0.057068 | 0 | 0
11 | 0.99546 | -0.086993 | 0.018728 | 0.0046936
12 | 0.99531 | -0.089981 | 0 | 0
13 | 0.99679 | -0.061522 | 0.016149 | 0.0040474
14 | 0.99084 | -0.17462 | 0 | 0
15 | 0.99125 | -0.16688 | 0.028077 | 0.0070366
16 | 0.99951 | -0.0094623 | 0 | 0
17 | 0.99995 | -0.0010111 | 0.014779 | 0.003704
18 | 0.98587 | -0.27117 | 0 | 0
19 | 0.98568 | -0.27492 | 0.033686 | 0.0084425
20 | 0.98516 | -0.28497 | 0 | 0
21 | 0.98722 | -0.24488 | 0 | 0
22 | 0.98288 | -0.32789 | 0 | 0
23 | 0.97837 | -0.4158 | 0.004436 | 0.0011118
24 | 0.98686 | -0.25089 | 0.0049882 | 0.0012502
25 | 0.98507 | -0.2867 | 0.023653 | 0.0059281
26 | 0.98508 | -0.28652 | 0 | 0
27 | 0.98983 | -0.19401 | 0.010516 | 0.0026356
28 | 0.99524 | -0.091272 | 0.017874 | 0.0044797
29 | 0.99464 | -0.10282 | 0 | 0
30 | 0.97816 | -0.41985 | 0.0079986 | 0.0020046
31 | 0.9883 | -0.22542 | 0.020964 | 0.0052542
32 | 0.98902 | -0.2113 | 0.013747 | 0.0034454
33 | 0.9828 | -0.33097 | 0.036746 | 0.0092095
34 | 0.98535 | -0.28121 | 0 | 0
35 | 0.99508 | -0.093683 | 0.016638 | 0.0041699
36 | 0.99322 | -0.12999 | 0.019635 | 0.0049211
37 | 0.99928 | -0.013792 | 0 | 0
38 | 0.99947 | -0.010259 | 0.014952 | 0.0037472
39 | 0.98673 | -0.25438 | 0 | 0
40 | 0.989 | -0.20994 | 0.0074215 | 0.00186
41 | 0.98506 | -0.28697 | 0.006329 | 0.0015862
42 | 0.99459 | -0.10389 | 0.017883 | 0.0044818
43 | 0.99435 | -0.10856 | 0 | 0
44 | 0.98296 | -0.32792 | 0.006826 | 0.0017108
45 | 0.98305 | -0.32599 | 0 | 0
46 | 0.98315 | -0.32406 | 0.0064553 | 0.0016178
47 | 0.98666 | -0.25582 | 0 | 0
48 | 0.98663 | -0.25633 | 0.0065564 | 0.0016432
49 | 0.98346 | -0.31808 | 0 | 0
50 | 0.98664 | -0.25617 | 0.023316 | 0.0058435
51 | 0.98403 | -0.30687 | 0 | 0
52 | 0.98322 | -0.32266 | 0.0071768 | 0.0017987
53 | 0.98453 | -0.29724 | 0 | 0
54 | 0.98397 | -0.30803 | 0.0092688 | 0.002323
55 | 0.98295 | -0.32796 | 0 | 0
56 | 0.98446 | -0.29849 | 0.0095376 | 0.0023904
57 | 0.98261 | -0.33466 | 0.0054661 | 0.0013699
58 | 0.9822 | -0.34273 | 0.0047572 | 0.0011923
59 | 0.98242 | -0.33843 | 0 | 0
60 | 0.98255 | -0.33584 | 0 | 0
61 | 0.98963 | -0.19943 | 0.021112 | 0.0052911
62 | 0.99082 | -0.17651 | 0.021246 | 0.0053248
63 | 0.99925 | -0.014408 | 0.015529 | 0.0038919
64 | 0.99431 | -0.10935 | 0.017876 | 0.00448
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.057673 | -0.014454 | 0.057887 | 0.01459 | 0.00021435 | 0.00013626 | 0.088065 | 0.088064 | 0.088065 | 0.97449 | -0.492 | 0.97844 | -0.4143 | 24.1936
1 | -0.057887 | -0.01459 | 0.057919 | 0.01461 | 3.1613e-05 | 2.0095e-05 | 0.088064 | 0.088064 | 0.088064 | 0.97844 | -0.4143 | 0.97902 | -0.40289 | 24.1935
2 | -0.070362 | -0.017732 | 0.070616 | 0.017893 | 0.00025343 | 0.00016145 | 0.10698 | 0.10698 | 0.10698 | 0.97902 | -0.40289 | 0.98288 | -0.32789 | 29.3896
3 | 0.012444 | 0.0031212 | -0.012436 | -0.003117 | 7.6549e-06 | 4.1821e-06 | 0.018914 | 0.018914 | 0.018914 | 0.97902 | -0.40289 | 0.97837 | -0.4158 | 5.1963
4 | 0.33871 | 0.086279 | -0.33803 | -0.085844 | 0.0006813 | 0.0004352 | 0.50661 | 0.50661 | 0.50661 | 0.99583 | -0.079213 | 0.99364 | -0.121 | 46.3932
5 | -0.3722 | -0.094678 | 0.37363 | 0.095589 | 0.0014267 | 0.00091163 | 0.55665 | 0.55665 | 0.55665 | 0.99583 | -0.079213 | 1 | 0 | 50.9754
6 | 0.033486 | 0.0083989 | -0.033472 | -0.0083906 | 1.327e-05 | 8.3088e-06 | 0.050038 | 0.050038 | 0.050038 | 0.99583 | -0.079213 | 0.9954 | -0.08753 | 13.7468
7 | 0.034243 | 0.0085895 | -0.034223 | -0.008577 | 1.9951e-05 | 1.2507e-05 | 0.051282 | 0.051282 | 0.051282 | 0.99364 | -0.121 | 0.99301 | -0.13323 | 14.0886
8 | 0.30379 | 0.077254 | -0.30344 | -0.077032 | 0.00034795 | 0.00022217 | 0.45533 | 0.45533 | 0.45533 | 0.99364 | -0.121 | 0.9924 | -0.1448 | 41.6971
9 | 0.030498 | 0.0076501 | -0.030485 | -0.0076415 | 1.375e-05 | 8.5667e-06 | 0.045384 | 0.045384 | 0.045384 | 1 | 0 | 0.99951 | -0.0094623 | 12.4682
10 | 0.01478 | 0.0037044 | -0.014779 | -0.003704 | 7.1192e-07 | 4.0414e-07 | 0.021993 | 0.021993 | 0.021993 | 1 | 0 | 0.99995 | -0.0010111 | 6.042
11 | 0.18647 | 0.047221 | -0.18596 | -0.046896 | 0.00050949 | 0.00032515 | 0.27765 | 0.27765 | 0.27765 | 1 | 0 | 0.99702 | -0.057068 | 38.1385
12 | 0.016643 | 0.0041727 | -0.016638 | -0.0041699 | 4.8786e-06 | 2.8492e-06 | 0.02488 | 0.02488 | 0.02488 | 0.9954 | -0.08753 | 0.99508 | -0.093683 | 6.8351
13 | 0.094242 | 0.024085 | -0.094106 | -0.023999 | 0.00013571 | 8.6618e-05 | 0.14147 | 0.14147 | 0.14147 | 0.9924 | -0.1448 | 0.99084 | -0.17462 | 38.8664
14 | 0.2092 | 0.052947 | -0.20898 | -0.052806 | 0.00022137 | 0.00014098 | 0.31386 | 0.31386 | 0.31386 | 0.9924 | -0.1448 | 0.99125 | -0.16688 | 28.7417
15 | -0.11604 | -0.029318 | 0.11607 | 0.029333 | 2.4296e-05 | 1.5521e-05 | 0.17331 | 0.17331 | 0.17331 | 0.99679 | -0.061435 | 0.99702 | -0.057068 | 47.6128
16 | 0.11604 | 0.029318 | -0.1159 | -0.029227 | 0.00014197 | 9.0699e-05 | 0.17331 | 0.17331 | 0.17331 | 0.99679 | -0.061435 | 0.99546 | -0.086993 | 47.6128
17 | 0.053746 | 0.013513 | -0.053662 | -0.01346 | 8.4335e-05 | 5.3519e-05 | 0.08023 | 0.08023 | 0.08023 | 0.99702 | -0.057068 | 0.99531 | -0.089981 | 22.0412
18 | 0.016153 | 0.0040494 | -0.016149 | -0.0040474 | 3.4278e-06 | 1.9887e-06 | 0.024108 | 0.024108 | 0.024108 | 0.99702 | -0.057068 | 0.99679 | -0.061522 | 6.6231
19 | 0.097171 | 0.024533 | -0.096972 | -0.024406 | 0.0001997 | 0.00012748 | 0.14532 | 0.14532 | 0.14532 | 0.99546 | -0.086993 | 0.99322 | -0.12999 | 39.9221
20 | 0.017875 | 0.0044803 | -0.017874 | -0.0044797 | 1.0997e-06 | 6.5042e-07 | 0.026724 | 0.026724 | 0.026724 | 0.99531 | -0.089981 | 0.99524 | -0.091272 | 7.3418
21 | 0.035787 | 0.0089794 | -0.035765 | -0.0089657 | 2.1902e-05 | 1.3752e-05 | 0.053506 | 0.053506 | 0.053506 | 0.99531 | -0.089981 | 0.99464 | -0.10282 | 14.6994
22 | 0.094106 | 0.023999 | -0.094018 | -0.023943 | 8.8006e-05 | 5.6173e-05 | 0.14147 | 0.14147 | 0.14147 | 0.99084 | -0.17462 | 0.98983 | -0.19401 | 38.8664
23 | 0.1809 | 0.045769 | -0.18023 | -0.045339 | 0.00067441 | 0.00043037 | 0.27171 | 0.27171 | 0.27171 | 0.99125 | -0.16688 | 0.98722 | -0.24488 | 37.3232
24 | 0.015532 | 0.003894 | -0.015529 | -0.0038921 | 3.2036e-06 | 1.8409e-06 | 0.023124 | 0.023124 | 0.023124 | 0.99951 | -0.0094623 | 0.99928 | -0.013792 | 6.3528
25 | 0.014952 | 0.0037475 | -0.014952 | -0.0037472 | 5.6767e-07 | 3.2327e-07 | 0.02226 | 0.02226 | 0.02226 | 0.99951 | -0.0094623 | 0.99947 | -0.010259 | 6.1154
26 | 0.033692 | 0.0084463 | -0.033686 | -0.0084425 | 6.0262e-06 | 3.7776e-06 | 0.050854 | 0.050854 | 0.050854 | 0.98587 | -0.27117 | 0.98568 | -0.27492 | 13.9708
27 | 0.030005 | 0.0075279 | -0.029985 | -0.0075156 | 1.9732e-05 | 1.2302e-05 | 0.04529 | 0.04529 | 0.04529 | 0.98587 | -0.27117 | 0.98516 | -0.28497 | 12.4424
28 | -0.063696 | -0.015974 | 0.063776 | 0.016025 | 7.991e-05 | 5.0848e-05 | 0.096144 | 0.096144 | 0.096144 | 0.98587 | -0.27117 | 0.98722 | -0.24488 | 26.4131
29 | 0.023655 | 0.0059293 | -0.023653 | -0.0059281 | 1.9489e-06 | 1.1955e-06 | 0.03573 | 0.03573 | 0.03573 | 0.98516 | -0.28497 | 0.98507 | -0.2867 | 9.8159
30 | 0.0063296 | 0.0015863 | -0.0063291 | -0.0015862 | 4.6793e-07 | 1.2566e-07 | 0.0095604 | 0.0095604 | 0.0095604 | 0.98516 | -0.28497 | 0.98508 | -0.28652 | 2.6265
31 | 0.029888 | 0.0074965 | -0.029875 | -0.0074881 | 1.3526e-05 | 8.4296e-06 | 0.045052 | 0.045052 | 0.045052 | 0.98722 | -0.24488 | 0.98673 | -0.25438 | 12.377
32 | 0.086562 | 0.021817 | -0.086412 | -0.021721 | 0.00015016 | 9.58e-05 | 0.13052 | 0.13052 | 0.13052 | 0.98722 | -0.24488 | 0.98535 | -0.28121 | 35.8563
33 | -0.070616 | -0.017893 | 0.070878 | 0.01806 | 0.00026231 | 0.0001671 | 0.10698 | 0.10698 | 0.10698 | 0.98288 | -0.32789 | 0.98686 | -0.25089 | 29.3896
34 | 0.0080001 | 0.0020053 | -0.0079986 | -0.0020046 | 1.5429e-06 | 6.3854e-07 | 0.012168 | 0.012168 | 0.012168 | 0.97837 | -0.4158 | 0.97816 | -0.41985 | 3.3428
35 | -0.075866 | -0.01931 | 0.076016 | 0.019406 | 0.00015008 | 9.5663e-05 | 0.1145 | 0.1145 | 0.1145 | 0.98686 | -0.25089 | 0.989 | -0.20994 | 31.4558
36 | 0.0063291 | 0.0015862 | -0.006329 | -0.0015862 | 1.3542e-07 | 3.6373e-08 | 0.0095604 | 0.0095605 | 0.0095605 | 0.98508 | -0.28652 | 0.98506 | -0.28697 | 2.6265
37 | 0.083502 | 0.021307 | -0.083438 | -0.021266 | 6.4199e-05 | 4.0948e-05 | 0.12567 | 0.12567 | 0.12567 | 0.98983 | -0.19401 | 0.989 | -0.20994 | 34.5234
38 | 0.017884 | 0.0044823 | -0.017883 | -0.0044818 | 9.062e-07 | 5.3615e-07 | 0.026754 | 0.026754 | 0.026754 | 0.99464 | -0.10282 | 0.99459 | -0.10389 | 7.3501
39 | 0.017881 | 0.0044833 | -0.017876 | -0.0044804 | 4.8823e-06 | 2.8886e-06 | 0.026751 | 0.026751 | 0.026751 | 0.99464 | -0.10282 | 0.99435 | -0.10856 | 7.3493
40 | -0.020964 | -0.0052542 | 0.020978 | 0.0052627 | 1.4114e-05 | 8.5485e-06 | 0.031565 | 0.031564 | 0.031565 | 0.9883 | -0.22542 | 0.98902 | -0.2113 | 8.6716
41 | -0.034726 | -0.0087081 | 0.034745 | 0.0087204 | 1.9647e-05 | 1.2327e-05 | 0.052248 | 0.052248 | 0.052248 | 0.98902 | -0.2113 | 0.98963 | -0.19943 | 14.3538
42 | -0.036746 | -0.0092095 | 0.036834 | 0.0092644 | 8.7336e-05 | 5.4939e-05 | 0.055636 | 0.055636 | 0.055636 | 0.9828 | -0.33097 | 0.98535 | -0.28121 | 15.2847
43 | 0.049578 | 0.012457 | -0.04954 | -0.012433 | 3.7918e-05 | 2.4038e-05 | 0.074881 | 0.074881 | 0.074881 | 0.98535 | -0.28121 | 0.98453 | -0.29724 | 20.5718
44 | 0.077336 | 0.019485 | -0.077165 | -0.019375 | 0.00017167 | 0.00010943 | 0.1159 | 0.1159 | 0.1159 | 0.99322 | -0.12999 | 0.99082 | -0.17651 | 31.8405
45 | 0.015529 | 0.0038921 | -0.015529 | -0.0038919 | 4.5599e-07 | 2.6205e-07 | 0.023124 | 0.023124 | 0.023124 | 0.99928 | -0.013792 | 0.99925 | -0.014408 | 6.3528
46 | 0.023318 | 0.0058447 | -0.023316 | -0.0058435 | 1.9879e-06 | 1.2175e-06 | 0.035164 | 0.035164 | 0.035164 | 0.98673 | -0.25438 | 0.98664 | -0.25617 | 9.6605
47 | 0.006557 | 0.0016434 | -0.0065565 | -0.0016432 | 4.4989e-07 | 1.3121e-07 | 0.0098881 | 0.0098882 | 0.0098882 | 0.98673 | -0.25438 | 0.98666 | -0.25582 | 2.7165
48 | 0.017876 | 0.0044804 | -0.017876 | -0.00448 | 6.7413e-07 | 3.9886e-07 | 0.026751 | 0.026751 | 0.026751 | 0.99435 | -0.10856 | 0.99431 | -0.10935 | 7.3493
49 | -0.006826 | -0.0017108 | 0.0068266 | 0.001711 | 6.2892e-07 | 2.0339e-07 | 0.010333 | 0.010333 | 0.010333 | 0.98296 | -0.32792 | 0.98305 | -0.32599 | 2.8388
50 | -0.0068266 | -0.001711 | 0.0068272 | 0.0017112 | 6.2612e-07 | 2.0244e-07 | 0.010333 | 0.010333 | 0.010333 | 0.98305 | -0.32599 | 0.98315 | -0.32406 | 2.8388
51 | -0.013283 | -0.003329 | 0.013286 | 0.0033311 | 3.7866e-06 | 2.1065e-06 | 0.020103 | 0.020103 | 0.020103 | 0.98315 | -0.32406 | 0.98346 | -0.31808 | 5.5229
52 | 0.0065565 | 0.0016432 | -0.0065564 | -0.0016432 | 1.5946e-07 | 4.6513e-08 | 0.0098882 | 0.0098882 | 0.0098882 | 0.98666 | -0.25582 | 0.98663 | -0.25633 | 2.7165
53 | -0.030698 | -0.0076971 | 0.030714 | 0.0077074 | 1.64e-05 | 1.0239e-05 | 0.046449 | 0.046448 | 0.046449 | 0.98346 | -0.31808 | 0.98403 | -0.30687 | 12.7606
54 | 0.017412 | 0.004366 | -0.017408 | -0.0043638 | 3.8005e-06 | 2.2471e-06 | 0.026345 | 0.026345 | 0.026345 | 0.98346 | -0.31808 | 0.98322 | -0.32266 | 7.2377
55 | -0.039984 | -0.010031 | 0.040002 | 0.010042 | 1.8367e-05 | 1.1585e-05 | 0.060465 | 0.060465 | 0.060465 | 0.98403 | -0.30687 | 0.98453 | -0.29724 | 16.6113
56 | 0.0092694 | 0.0023232 | -0.0092688 | -0.002323 | 5.1191e-07 | 2.3936e-07 | 0.014017 | 0.014017 | 0.014017 | 0.98403 | -0.30687 | 0.98397 | -0.30803 | 3.8508
57 | 0.010231 | 0.0025651 | -0.010228 | -0.0025638 | 2.5847e-06 | 1.2897e-06 | 0.015484 | 0.015484 | 0.015484 | 0.98322 | -0.32266 | 0.98295 | -0.32796 | 4.2539
58 | 0.0095382 | 0.0023906 | -0.0095376 | -0.0023904 | 5.6635e-07 | 2.7006e-07 | 0.014416 | 0.014416 | 0.014416 | 0.98453 | -0.29724 | 0.98446 | -0.29849 | 3.9605
59 | 0.010228 | 0.0025638 | -0.010225 | -0.0025622 | 3.2652e-06 | 1.6295e-06 | 0.015484 | 0.015484 | 0.015484 | 0.98295 | -0.32796 | 0.98261 | -0.33466 | 4.2539
60 | 0.004759 | 0.0011922 | -0.0047588 | -0.0011923 | 2.6744e-07 | -2.7662e-09 | 0.0072067 | 0.0072067 | 0.0072067 | 0.98261 | -0.33466 | 0.98255 | -0.33584 | 1.9799
61 | -0.0047572 | -0.0011923 | 0.0047582 | 0.0011923 | 9.7311e-07 | -9.6657e-09 | 0.0072071 | 0.0072069 | 0.0072071 | 0.9822 | -0.34273 | 0.98242 | -0.33843 | 1.98
62 | -0.0047582 | -0.0011923 | 0.0047588 | 0.0011923 | 5.8641e-07 | -5.9802e-09 | 0.0072069 | 0.0072067 | 0.0072069 | 0.98242 | -0.33843 | 0.98255 | -0.33584 | 1.9799
63 | -0.055857 | -0.014012 | 0.055918 | 0.01405 | 6.1113e-05 | 3.8815e-05 | 0.083991 | 0.083991 | 0.083991 | 0.98963 | -0.19943 | 0.99082 | -0.17651 | 23.0746

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60703 | 0.15416

## res_load
| p_mw | q_mvar
0 | 0.057673 | 0.014454
1 | 0.01683 | 0.0042179
2 | 0.034223 | 0.008577
3 | 0.018728 | 0.0046936
4 | 0.016149 | 0.0040474
5 | 0.028077 | 0.0070366
6 | 0.014779 | 0.003704
7 | 0.033686 | 0.0084425
8 | 0.004436 | 0.0011118
9 | 0.0049882 | 0.0012502
10 | 0.023653 | 0.0059281
11 | 0.010516 | 0.0026356
12 | 0.017874 | 0.0044797
13 | 0.0079986 | 0.0020046
14 | 0.020964 | 0.0052542
15 | 0.013747 | 0.0034454
16 | 0.036746 | 0.0092095
17 | 0.016638 | 0.0041699
18 | 0.019635 | 0.0049211
19 | 0.014952 | 0.0037472
20 | 0.0074215 | 0.00186
21 | 0.006329 | 0.0015862
22 | 0.017883 | 0.0044818
23 | 0.006826 | 0.0017108
24 | 0.0064553 | 0.0016178
25 | 0.0065564 | 0.0016432
26 | 0.023316 | 0.0058435
27 | 0.0071768 | 0.0017987
28 | 0.0092688 | 0.002323
29 | 0.0095376 | 0.0023904
30 | 0.0054661 | 0.0013699
31 | 0.0047572 | 0.0011923
32 | 0.021112 | 0.0052911
33 | 0.021246 | 0.0053248
34 | 0.015529 | 0.0038919
35 | 0.017876 | 0.00448

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1