## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-75_2_2_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_1061-75_2_2_node_60 | 0.4 | n |  | TRUE
2 | bus_LV_1061-75_2_2_node_50 | 0.4 | n |  | TRUE
3 | bus_LV_1061-75_2_2_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_1061-75_2_2_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_1061-75_2_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_1061-75_2_2_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1061-75_2_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1061-75_2_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1061-75_2_2_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_1061-75_2_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1061-75_2_2_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_1061-75_2_2_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_1061-75_2_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1061-75_2_2_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_1061-75_2_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1061-75_2_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1061-75_2_2_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_1061-75_2_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1061-75_2_2_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_1061-75_2_2_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1061-75_2_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1061-75_2_2_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_1061-75_2_2_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1061-75_2_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_1061-75_2_2_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1061-75_2_2_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_1061-75_2_2_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_1061-75_2_2_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_1061-75_2_2_node_64 | 0.4 | n |  | TRUE
30 | bus_MV_218_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-75_2_2_load_60 | 1 | 0.0061002 | 0.0015289 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-75_2_2_load_50 | 2 | 0.0030349 | 0.00076062 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-75_2_2_load_29 | 4 | 0.0077122 | 0.0019329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-75_2_2_load_30 | 5 | 0.0055637 | 0.0013944 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-75_2_2_load_28 | 6 | 0.0043533 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-75_2_2_load_31 | 9 | 0.0066882 | 0.0016762 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-75_2_2_load_66 | 11 | 0.011166 | 0.0027984 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-75_2_2_load_65 | 12 | 0.005263 | 0.001319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-75_2_2_load_61 | 14 | 0.0053524 | 0.0013414 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-75_2_2_load_49 | 16 | 0.0061791 | 0.0015486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-75_2_2_load_33 | 17 | 0.0035243 | 0.00088326 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-75_2_2_load_32 | 18 | 0.0054317 | 0.0013613 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-75_2_2_load_63 | 19 | 0.0051429 | 0.0012889 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-75_2_2_load_42 | 20 | 0.014883 | 0.0037301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-75_2_2_load_43 | 21 | 0.016791 | 0.0042083 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-75_2_2_load_47 | 24 | 0.073136 | 0.01833 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-75_2_2_load_54 | 27 | 0.0053107 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-75_2_2_load_62 | 28 | 0.0027008 | 0.00067687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-75_2_2_load_64 | 29 | 0.0055255 | 0.0013848 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-75_2_2_line_0 |  | 0 | 1 | 0.0097591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-75_2_2_line_1 |  | 0 | 2 | 0.011528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-75_2_2_line_2 |  | 1 | 13 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-75_2_2_line_3 |  | 2 | 15 | 0.025743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-75_2_2_line_4 |  | 3 | 4 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-75_2_2_line_5 |  | 3 | 5 | 0.026059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-75_2_2_line_6 |  | 3 | 6 | 0.0094611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-75_2_2_line_7 |  | 4 | 13 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-75_2_2_line_8 |  | 7 | 8 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-75_2_2_line_9 |  | 7 | 9 | 0.022844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-75_2_2_line_10 |  | 8 | 19 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-75_2_2_line_11 |  | 8 | 12 | 0.018818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-75_2_2_line_12 |  | 9 | 18 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-75_2_2_line_13 |  | 10 | 11 | 0.022621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-75_2_2_line_14 |  | 10 | 12 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-75_2_2_line_15 |  | 13 | 14 | 0.022771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-75_2_2_line_16 |  | 15 | 16 | 0.033724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-75_2_2_line_17 |  | 15 | 17 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-75_2_2_line_18 |  | 16 | 27 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-75_2_2_line_19 |  | 17 | 18 | 0.018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-75_2_2_line_20 |  | 19 | 28 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-75_2_2_line_21 |  | 20 | 21 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-75_2_2_line_22 |  | 20 | 22 | 0.0029117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-75_2_2_line_23 |  | 22 | 23 | 0.017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-75_2_2_line_24 |  | 22 | 24 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1061-75_2_2_line_25 |  | 24 | 25 | 0.011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-75_2_2_line_26 |  | 25 | 26 | 0.023015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-75_2_2_line_27 |  | 26 | 27 | 0.0056247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-75_2_2_line_28 |  | 28 | 29 | 0.022903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-75_2_2_trafo_46 | 0.63 MVA 20/0.4 kV | 30 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2664115.7863 | 1213069.0963 | 2664124.9815 | 1213065.8269
1 | 2664115.7863 | 1213069.0963 | 2664105.4692 | 1213074.2384
2 | 2664135.5452 | 1213062.071 | 2664124.9815 | 1213065.8269
3 | 2664084.3433 | 1213088.8706 | 2664102.1606 | 1213075.8874 | 2664105.4692 | 1213074.2384
4 | 2664158.5942 | 1213048.6328 | 2664146.1582 | 1213056.7659
5 | 2664177.8728 | 1213065.7729 | 2664164.4212 | 1213056.378 | 2664158.5942 | 1213048.6328
6 | 2664158.5942 | 1213048.6328 | 2664165.1439 | 1213042.8663 | 2664165.6282 | 1213042.3139
7 | 2664135.5452 | 1213062.071 | 2664145.6493 | 1213057.0988 | 2664146.1582 | 1213056.7659
8 | 2664045.4839 | 1213155.5166 | 2664032.4272 | 1213146.1374
9 | 2664032.4272 | 1213146.1374 | 2664046.9899 | 1213128.5373
10 | 2664045.4839 | 1213155.5166 | 2664057.9134 | 1213140.6144
11 | 2664045.4839 | 1213155.5166 | 2664061.2466 | 1213165.7952
12 | 2664057.0057 | 1213116.4324 | 2664046.9899 | 1213128.5373
13 | 2664071.9552 | 1213172.7782 | 2664080.767 | 1213169.9822 | 2664090.4017 | 1213160.7034
14 | 2664071.9552 | 1213172.7782 | 2664061.2466 | 1213165.7952
15 | 2664147.8711 | 1213080.0702 | 2664141.1858 | 1213075.8401 | 2664135.5452 | 1213062.071
16 | 2664084.3433 | 1213088.8706 | 2664090.6036 | 1213091.6396 | 2664117.0157 | 1213096.6276
17 | 2664084.3433 | 1213088.8706 | 2664070.1065 | 1213103.0134
18 | 2664135.5245 | 1213098.4289 | 2664133.5139 | 1213098.3604 | 2664117.8208 | 1213096.7796 | 2664117.0157 | 1213096.6276
19 | 2664070.1065 | 1213103.0134 | 2664068.3331 | 1213104.7751 | 2664058.8883 | 1213114.1573 | 2664057.0057 | 1213116.4324
20 | 2664066.0721 | 1213130.8326 | 2664057.9134 | 1213140.6144
21 | 2664158.5625 | 1213156.3186 | 2664143.4952 | 1213138.5157
22 | 2664141.6142 | 1213136.2931 | 2664143.4952 | 1213138.5157
23 | 2664129.3804 | 1213123.1646 | 2664141.6142 | 1213136.2931
24 | 2664141.6142 | 1213136.2931 | 2664161.8474 | 1213118.0625
25 | 2664159.976 | 1213109.4184 | 2664163.9674 | 1213113.3638 | 2664164.0139 | 1213116.1104 | 2664161.8474 | 1213118.0625
26 | 2664159.976 | 1213109.4184 | 2664153.404 | 1213106.6683 | 2664148.397 | 1213106.7367 | 2664141.1459 | 1213098.6204
27 | 2664141.1459 | 1213098.6204 | 2664135.5245 | 1213098.4289
28 | 2664066.0721 | 1213130.8326 | 2664080.7416 | 1213113.2446

## bus_geodata
| x | y | coords
0 | 2664115.7863 | 1213069.0963
1 | 2664124.9815 | 1213065.8269
2 | 2664105.4692 | 1213074.2384
3 | 2664158.5942 | 1213048.6328
4 | 2664146.1582 | 1213056.7659
5 | 2664177.8728 | 1213065.7729
6 | 2664165.6282 | 1213042.3139
7 | 2664032.4272 | 1213146.1374
8 | 2664045.4839 | 1213155.5166
9 | 2664046.9899 | 1213128.5373
10 | 2664071.9552 | 1213172.7782
11 | 2664090.4017 | 1213160.7034
12 | 2664061.2466 | 1213165.7952
13 | 2664135.5452 | 1213062.071
14 | 2664147.8711 | 1213080.0702
15 | 2664084.3433 | 1213088.8706
16 | 2664117.0157 | 1213096.6276
17 | 2664070.1065 | 1213103.0134
18 | 2664057.0057 | 1213116.4324
19 | 2664057.9134 | 1213140.6144
20 | 2664143.4952 | 1213138.5157
21 | 2664158.5625 | 1213156.3186
22 | 2664141.6142 | 1213136.2931
23 | 2664129.3804 | 1213123.1646
24 | 2664161.8474 | 1213118.0625
25 | 2664159.976 | 1213109.4184
26 | 2664141.1459 | 1213098.6204
27 | 2664135.5245 | 1213098.4289
28 | 2664066.0721 | 1213130.8326
29 | 2664080.7416 | 1213113.2446
30 | 2664141.6142 | 1213136.2931

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98822 | -0.22641 | 0 | 0
1 | 0.98796 | -0.23148 | 0.0061002 | 0.0015289
2 | 0.98853 | -0.22043 | 0.0030349 | 0.00076062
3 | 0.9874 | -0.24245 | 0 | 0
4 | 0.98754 | -0.23982 | 0.0077122 | 0.0019329
5 | 0.98727 | -0.24505 | 0.0055637 | 0.0013944
6 | 0.98736 | -0.24319 | 0.0043533 | 0.001091
7 | 0.98658 | -0.25842 | 0 | 0
8 | 0.98614 | -0.26699 | 0 | 0
9 | 0.9872 | -0.24624 | 0.0066882 | 0.0016762
10 | 0.98572 | -0.27509 | 0 | 0
11 | 0.98549 | -0.27962 | 0.011166 | 0.0027984
12 | 0.98585 | -0.27253 | 0.005263 | 0.001319
13 | 0.98773 | -0.23608 | 0 | 0
14 | 0.98762 | -0.23826 | 0.0053524 | 0.0013414
15 | 0.98929 | -0.20569 | 0 | 0
16 | 0.9917 | -0.15922 | 0.0061791 | 0.0015486
17 | 0.98845 | -0.22195 | 0.0035243 | 0.00088326
18 | 0.98773 | -0.23599 | 0.0054317 | 0.0013613
19 | 0.9859 | -0.27164 | 0.0051429 | 0.0012889
20 | 0.99833 | -0.031942 | 0.014883 | 0.0037301
21 | 0.99797 | -0.038793 | 0.016791 | 0.0042083
22 | 0.99841 | -0.030329 | 0 | 0
23 | 1 | 0 | -0.19683 | -0.049423
24 | 0.99639 | -0.069027 | 0.073136 | 0.01833
25 | 0.99547 | -0.086673 | 0 | 0
26 | 0.99359 | -0.12279 | 0 | 0
27 | 0.99313 | -0.13164 | 0.0053107 | 0.001331
28 | 0.9858 | -0.27352 | 0.0027008 | 0.00067687
29 | 0.98569 | -0.27579 | 0.0055255 | 0.0013848
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0291 | 0.0072987 | -0.029093 | -0.0072943 | 7.0269e-06 | 4.3722e-06 | 0.043819 | 0.043819 | 0.043819 | 0.98822 | -0.22641 | 0.98796 | -0.23148 | 12.0381
1 | -0.0291 | -0.0072987 | 0.029108 | 0.0073038 | 8.3002e-06 | 5.1644e-06 | 0.043819 | 0.043819 | 0.043819 | 0.98822 | -0.22641 | 0.98853 | -0.22043 | 12.0381
2 | 0.022992 | 0.0057654 | -0.022987 | -0.0057624 | 5.0423e-06 | 3.0835e-06 | 0.034631 | 0.034631 | 0.034631 | 0.98796 | -0.23148 | 0.98773 | -0.23608 | 9.514
3 | -0.032143 | -0.0080644 | 0.032165 | 0.0080786 | 2.2602e-05 | 1.4135e-05 | 0.048387 | 0.048387 | 0.048387 | 0.98853 | -0.22043 | 0.98929 | -0.20569 | 13.2931
4 | -0.0099178 | -0.0024855 | 0.0099191 | 0.0024861 | 1.2448e-06 | 6.0657e-07 | 0.014946 | 0.014946 | 0.014946 | 0.9874 | -0.24245 | 0.98754 | -0.23982 | 4.1061
5 | 0.0055644 | 0.0013945 | -0.0055637 | -0.0013944 | 6.8716e-07 | 1.0651e-07 | 0.0083855 | 0.0083856 | 0.0083856 | 0.9874 | -0.24245 | 0.98727 | -0.24505 | 2.3037
6 | 0.0043534 | 0.001091 | -0.0043533 | -0.001091 | 1.5271e-07 | -2.3276e-08 | 0.0065606 | 0.0065607 | 0.0065607 | 0.9874 | -0.24245 | 0.98736 | -0.24319 | 1.8024
7 | -0.017631 | -0.004419 | 0.017634 | 0.0044208 | 3.1415e-06 | 1.8587e-06 | 0.026567 | 0.026567 | 0.026567 | 0.98754 | -0.23982 | 0.98773 | -0.23608 | 7.2986
8 | 0.029822 | 0.0074822 | -0.02981 | -0.0074746 | 1.2176e-05 | 7.5876e-06 | 0.044983 | 0.044983 | 0.044983 | 0.98658 | -0.25842 | 0.98614 | -0.26699 | 12.358
9 | -0.029822 | -0.0074822 | 0.02984 | 0.007493 | 1.7334e-05 | 1.0802e-05 | 0.044983 | 0.044983 | 0.044983 | 0.98658 | -0.25842 | 0.9872 | -0.24624 | 12.3579
10 | 0.013373 | 0.0033527 | -0.01337 | -0.003351 | 2.9634e-06 | 1.6491e-06 | 0.02018 | 0.02018 | 0.02018 | 0.98614 | -0.26699 | 0.9859 | -0.27164 | 5.544
11 | 0.016437 | 0.0041219 | -0.016432 | -0.0041194 | 4.3412e-06 | 2.5384e-06 | 0.024803 | 0.024803 | 0.024803 | 0.98614 | -0.26699 | 0.98585 | -0.27253 | 6.814
12 | -0.036528 | -0.0091692 | 0.036546 | 0.0091804 | 1.7864e-05 | 1.1232e-05 | 0.055064 | 0.055064 | 0.055064 | 0.9872 | -0.24624 | 0.98773 | -0.23599 | 15.1275
13 | 0.011168 | 0.0027997 | -0.011166 | -0.0027984 | 2.4112e-06 | 1.2549e-06 | 0.016859 | 0.016859 | 0.016859 | 0.98572 | -0.27509 | 0.98549 | -0.27962 | 4.6317
14 | -0.011168 | -0.0027997 | 0.01117 | 0.0028004 | 1.3627e-06 | 7.0911e-07 | 0.016859 | 0.016859 | 0.016859 | 0.98572 | -0.27509 | 0.98585 | -0.27253 | 4.6317
15 | 0.005353 | 0.0013415 | -0.0053524 | -0.0013414 | 5.5533e-07 | 6.3992e-08 | 0.0080643 | 0.0080644 | 0.0080644 | 0.98773 | -0.23608 | 0.98762 | -0.23826 | 2.2155
16 | -0.077731 | -0.019544 | 0.077904 | 0.019654 | 0.00017294 | 0.00011025 | 0.11694 | 0.11694 | 0.11694 | 0.98929 | -0.20569 | 0.9917 | -0.15922 | 32.1261
17 | 0.045565 | 0.011465 | -0.04553 | -0.011443 | 3.5364e-05 | 2.2376e-05 | 0.068552 | 0.068552 | 0.068552 | 0.98929 | -0.20569 | 0.98845 | -0.22195 | 18.833
18 | -0.084083 | -0.021203 | 0.084194 | 0.021274 | 0.00011113 | 7.0881e-05 | 0.12621 | 0.12621 | 0.12621 | 0.9917 | -0.15922 | 0.99313 | -0.13164 | 34.6732
19 | 0.042006 | 0.01056 | -0.041978 | -0.010542 | 2.8149e-05 | 1.7775e-05 | 0.063247 | 0.063247 | 0.063247 | 0.98845 | -0.22195 | 0.98773 | -0.23599 | 17.3755
20 | 0.0082276 | 0.0020621 | -0.0082268 | -0.0020618 | 7.3658e-07 | 3.0899e-07 | 0.012418 | 0.012418 | 0.012418 | 0.9859 | -0.27164 | 0.9858 | -0.27352 | 3.4115
21 | 0.016797 | 0.0042115 | -0.016791 | -0.0042083 | 5.4824e-06 | 3.2039e-06 | 0.025037 | 0.025037 | 0.025037 | 0.99833 | -0.031942 | 0.99797 | -0.038793 | 6.8782
22 | -0.03168 | -0.0079417 | 0.031683 | 0.0079432 | 2.4347e-06 | 1.5201e-06 | 0.04722 | 0.04722 | 0.04722 | 0.99833 | -0.031942 | 0.99841 | -0.030329 | 12.9726
23 | -0.1949 | -0.049242 | 0.19518 | 0.049423 | 0.0002838 | 0.00018116 | 0.29061 | 0.29061 | 0.29061 | 0.99841 | -0.030329 | 1 | 0 | 39.9189
24 | 0.16321 | 0.041299 | -0.16291 | -0.041106 | 0.0003025 | 0.00019289 | 0.24339 | 0.24339 | 0.24339 | 0.99841 | -0.030329 | 0.99639 | -0.069027 | 33.4326
25 | 0.089774 | 0.022776 | -0.089698 | -0.022728 | 7.6113e-05 | 4.8566e-05 | 0.13417 | 0.13417 | 0.13417 | 0.99639 | -0.069027 | 0.99547 | -0.086673 | 36.8592
26 | 0.089698 | 0.022728 | -0.089543 | -0.022629 | 0.00015536 | 9.9132e-05 | 0.13417 | 0.13417 | 0.13417 | 0.99547 | -0.086673 | 0.99359 | -0.12279 | 36.8592
27 | 0.089543 | 0.022629 | -0.089505 | -0.022605 | 3.7968e-05 | 2.4227e-05 | 0.13417 | 0.13417 | 0.13417 | 0.99359 | -0.12279 | 0.99313 | -0.13164 | 36.8592
28 | 0.0055261 | 0.0013849 | -0.0055255 | -0.0013848 | 5.9757e-07 | 9.0483e-08 | 0.0083413 | 0.0083414 | 0.0083414 | 0.9858 | -0.27352 | 0.98569 | -0.27579 | 2.2916

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19683 | 0.049423

## res_load
| p_mw | q_mvar
0 | 0.0061002 | 0.0015289
1 | 0.0030349 | 0.00076062
2 | 0.0077122 | 0.0019329
3 | 0.0055637 | 0.0013944
4 | 0.0043533 | 0.001091
5 | 0.0066882 | 0.0016762
6 | 0.011166 | 0.0027984
7 | 0.005263 | 0.001319
8 | 0.0053524 | 0.0013414
9 | 0.0061791 | 0.0015486
10 | 0.0035243 | 0.00088326
11 | 0.0054317 | 0.0013613
12 | 0.0051429 | 0.0012889
13 | 0.014883 | 0.0037301
14 | 0.016791 | 0.0042083
15 | 0.073136 | 0.01833
16 | 0.0053107 | 0.001331
17 | 0.0027008 | 0.00067687
18 | 0.0055255 | 0.0013848

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1