## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-77_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-77_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-77_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-77_0_6_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1061-77_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1061-77_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1061-77_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1061-77_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1061-77_0_6_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1061-77_0_6_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_1061-77_0_6_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_1061-77_0_6_node_90 | 0.4 | n |  | TRUE
12 | bus_LV_1061-77_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1061-77_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1061-77_0_6_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_1061-77_0_6_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_1061-77_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1061-77_0_6_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1061-77_0_6_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_1061-77_0_6_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_1061-77_0_6_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1061-77_0_6_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_1061-77_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1061-77_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1061-77_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1061-77_0_6_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1061-77_0_6_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_1061-77_0_6_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_1061-77_0_6_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_1061-77_0_6_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_1061-77_0_6_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1061-77_0_6_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_1061-77_0_6_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_1061-77_0_6_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1061-77_0_6_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_1061-77_0_6_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_1061-77_0_6_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1061-77_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_1061-77_0_6_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1061-77_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1061-77_0_6_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1061-77_0_6_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_1061-77_0_6_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1061-77_0_6_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_1061-77_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1061-77_0_6_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1061-77_0_6_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_1061-77_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1061-77_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1061-77_0_6_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1061-77_0_6_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_1061-77_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1061-77_0_6_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1061-77_0_6_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_1061-77_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1061-77_0_6_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_1061-77_0_6_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_1061-77_0_6_node_22 | 0.4 | n |  | TRUE
58 | bus_LV_1061-77_0_6_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_1061-77_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_1061-77_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_1061-77_0_6_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_1061-77_0_6_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_1061-77_0_6_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_1061-77_0_6_node_21 | 0.4 | n |  | TRUE
65 | bus_LV_1061-77_0_6_node_23 | 0.4 | n |  | TRUE
66 | bus_LV_1061-77_0_6_node_25 | 0.4 | n |  | TRUE
67 | bus_LV_1061-77_0_6_node_29 | 0.4 | n |  | TRUE
68 | bus_LV_1061-77_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_1061-77_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1061-77_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1061-77_0_6_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_1061-77_0_6_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_1061-77_0_6_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_1061-77_0_6_node_36 | 0.4 | n |  | TRUE
75 | bus_LV_1061-77_0_6_node_38 | 0.4 | n |  | TRUE
76 | bus_LV_1061-77_0_6_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_1061-77_0_6_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_1061-77_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_1061-77_0_6_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_1061-77_0_6_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_1061-77_0_6_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_1061-77_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_1061-77_0_6_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_1061-77_0_6_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_1061-77_0_6_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_1061-77_0_6_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_1061-77_0_6_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_1061-77_0_6_node_74 | 0.4 | n |  | TRUE
89 | bus_MV_215_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-77_0_6_load_0 | 0 | 0.004429 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-77_0_6_load_6 | 4 | 0.0020935 | 0.00052469 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-77_0_6_load_8 | 6 | 0.0041689 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-77_0_6_load_80 | 9 | 0.0082303 | 0.0020627 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-77_0_6_load_68 | 10 | 0.01805 | 0.0045239 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-77_0_6_load_90 | 11 | 0.0024819 | 0.00062202 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-77_0_6_load_63 | 15 | 0.0068448 | 0.0017155 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-77_0_6_load_9 | 16 | 0.0015824 | 0.00039659 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-77_0_6_load_83 | 18 | 0.011282 | 0.0028276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-77_0_6_load_81 | 19 | 0.029018 | 0.0072725 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-77_0_6_load_84 | 21 | 0.011715 | 0.0029362 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-77_0_6_load_32 | 24 | 0.070289 | 0.017616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-77_0_6_load_26 | 25 | 0.0037334 | 0.00093569 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-77_0_6_load_69 | 26 | 0.029071 | 0.0072858 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-77_0_6_load_82 | 28 | 0.043526 | 0.010909 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-77_0_6_load_65 | 29 | 0.0051233 | 0.001284 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-77_0_6_load_66 | 30 | 0.01183 | 0.0029649 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-77_0_6_load_75 | 31 | 0.012095 | 0.0030313 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-77_0_6_load_64 | 32 | 0.012077 | 0.0030269 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-77_0_6_load_14 | 33 | 0.0058786 | 0.0014733 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-77_0_6_load_17 | 36 | 0.01196 | 0.0029974 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-77_0_6_load_20 | 38 | 0.0055921 | 0.0014015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-77_0_6_load_30 | 39 | 0.0087241 | 0.0021865 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-77_0_6_load_92 | 41 | 0.013864 | 0.0034747 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-77_0_6_load_91 | 43 | 0.0035408 | 0.0008874 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-77_0_6_load_87 | 46 | 0.0023101 | 0.00057896 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-77_0_6_load_93 | 50 | 0.037148 | 0.0093101 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-77_0_6_load_78 | 53 | 0.0013947 | 0.00034953 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-77_0_6_load_79 | 55 | 0.062602 | 0.015689 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-77_0_6_load_22 | 57 | 0.0045534 | 0.0011412 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-77_0_6_load_39 | 59 | 0.0047291 | 0.0011852 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-77_0_6_load_35 | 61 | 0.0018268 | 0.00045784 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-77_0_6_load_70 | 62 | 0.025836 | 0.0064752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-77_0_6_load_72 | 63 | 0.014491 | 0.0036317 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-77_0_6_load_21 | 64 | 0.0027719 | 0.00069469 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-77_0_6_load_23 | 65 | 0.0017514 | 0.00043893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-77_0_6_load_25 | 66 | 0.004105 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-77_0_6_load_29 | 67 | 0.0038363 | 0.00096146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-77_0_6_load_56 | 68 | 0.0040364 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-77_0_6_load_59 | 69 | 0.0048398 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-77_0_6_load_57 | 70 | 0.0049948 | 0.0012518 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-77_0_6_load_54 | 71 | 0.0018743 | 0.00046974 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-77_0_6_load_52 | 72 | 0.0022067 | 0.00055304 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-77_0_6_load_60 | 73 | 0.0024061 | 0.00060302 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-77_0_6_load_36 | 74 | 0.0021164 | 0.00053042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-77_0_6_load_38 | 75 | 0.0023675 | 0.00059334 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-77_0_6_load_58 | 76 | 0.0023915 | 0.00059937 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-77_0_6_load_85 | 77 | 0.0021902 | 0.00054892 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-77_0_6_load_71 | 78 | 0.023166 | 0.0058059 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-77_0_6_load_61 | 79 | 0.005332 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-77_0_6_load_88 | 80 | 0.0018633 | 0.00046698 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-77_0_6_load_77 | 81 | 0.011025 | 0.0027631 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-77_0_6_load_73 | 82 | 0.001808 | 0.00045312 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-77_0_6_load_86 | 83 | 0.0021108 | 0.00052902 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-77_0_6_load_51 | 84 | 0.0019081 | 0.00047822 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-77_0_6_load_53 | 85 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1061-77_0_6_load_55 | 86 | 0.0016036 | 0.00040191 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1061-77_0_6_load_89 | 87 | 0.0019944 | 0.00049985 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1061-77_0_6_load_74 | 88 | 0.0016413 | 0.00041135 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-77_0_6_line_0 |  | 0 | 1 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-77_0_6_line_1 |  | 1 | 2 | 0.021963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-77_0_6_line_2 |  | 2 | 3 | 0.069439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1061-77_0_6_line_3 |  | 2 | 4 | 0.014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1061-77_0_6_line_4 |  | 3 | 9 | 0.012482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1061-77_0_6_line_5 |  | 4 | 5 | 0.068158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1061-77_0_6_line_6 |  | 5 | 6 | 0.070871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1061-77_0_6_line_7 |  | 6 | 10 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1061-77_0_6_line_8 |  | 7 | 8 | 0.24867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1061-77_0_6_line_9 |  | 7 | 9 | 0.062932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1061-77_0_6_line_10 |  | 8 | 11 | 0.010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-77_0_6_line_11 |  | 8 | 12 | 0.057469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1061-77_0_6_line_12 |  | 8 | 13 | 0.061112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-77_0_6_line_13 |  | 10 | 26 | 0.020021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1061-77_0_6_line_14 |  | 12 | 14 | 0.24138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1061-77_0_6_line_15 |  | 12 | 15 | 0.17799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1061-77_0_6_line_16 |  | 13 | 16 | 0.10656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-77_0_6_line_17 |  | 14 | 31 | 0.010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-77_0_6_line_18 |  | 15 | 32 | 0.041159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-77_0_6_line_19 |  | 17 | 18 | 0.028138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-77_0_6_line_20 |  | 17 | 19 | 0.0046842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-77_0_6_line_21 |  | 18 | 21 | 0.004502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-77_0_6_line_22 |  | 19 | 27 | 0.026394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-77_0_6_line_23 |  | 20 | 21 | 0.021416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-77_0_6_line_24 |  | 20 | 22 | 0.056093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-77_0_6_line_25 |  | 22 | 39 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1061-77_0_6_line_26 |  | 22 | 34 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-77_0_6_line_27 |  | 23 | 24 | 0.031569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1061-77_0_6_line_28 |  | 23 | 25 | 0.021787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1061-77_0_6_line_29 |  | 24 | 69 | 0.012481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1061-77_0_6_line_30 |  | 25 | 58 | 0.021366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1061-77_0_6_line_31 |  | 26 | 51 | 0.029994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1061-77_0_6_line_32 |  | 27 | 28 | 0.009623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-77_0_6_line_33 |  | 29 | 30 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-77_0_6_line_34 |  | 30 | 40 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-77_0_6_line_35 |  | 33 | 34 | 0.0080149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-77_0_6_line_36 |  | 33 | 35 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-77_0_6_line_37 |  | 34 | 36 | 0.06669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-77_0_6_line_38 |  | 35 | 37 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-77_0_6_line_39 |  | 35 | 38 | 0.006902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-77_0_6_line_40 |  | 37 | 40 | 0.045768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-77_0_6_line_41 |  | 37 | 41 | 0.001668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-77_0_6_line_42 |  | 39 | 58 | 0.026828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1061-77_0_6_line_43 |  | 42 | 43 | 0.014429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-77_0_6_line_44 |  | 42 | 44 | 0.10722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-77_0_6_line_45 |  | 44 | 63 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-77_0_6_line_46 |  | 45 | 46 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-77_0_6_line_47 |  | 45 | 47 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-77_0_6_line_48 |  | 45 | 48 | 0.00293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-77_0_6_line_49 |  | 46 | 83 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-77_0_6_line_50 |  | 47 | 57 | 0.040039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-77_0_6_line_51 |  | 48 | 62 | 0.0316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-77_0_6_line_52 |  | 49 | 50 | 0.004357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-77_0_6_line_53 |  | 49 | 51 | 0.03449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_1061-77_0_6_line_54 |  | 49 | 52 | 0.023136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_1061-77_0_6_line_55 |  | 52 | 53 | 0.013844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_1061-77_0_6_line_56 |  | 53 | 81 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_1061-77_0_6_line_57 |  | 54 | 55 | 0.017989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_1061-77_0_6_line_58 |  | 54 | 56 | 0.085522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1061-77_0_6_line_59 |  | 55 | 81 | 0.0077158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1061-77_0_6_line_60 |  | 56 | 59 | 0.013333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-77_0_6_line_61 |  | 56 | 60 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-77_0_6_line_62 |  | 56 | 61 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_1061-77_0_6_line_63 |  | 57 | 64 | 0.021901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-77_0_6_line_64 |  | 58 | 67 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_1061-77_0_6_line_65 |  | 60 | 77 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-77_0_6_line_66 |  | 60 | 78 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-77_0_6_line_67 |  | 61 | 74 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_1061-77_0_6_line_68 |  | 62 | 78 | 0.024156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-77_0_6_line_69 |  | 63 | 82 | 0.029974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-77_0_6_line_70 |  | 64 | 65 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-77_0_6_line_71 |  | 65 | 66 | 0.0075044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-77_0_6_line_72 |  | 67 | 68 | 0.00064203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_1061-77_0_6_line_73 |  | 68 | 70 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_1061-77_0_6_line_74 |  | 69 | 73 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1061-77_0_6_line_75 |  | 70 | 76 | 0.003077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_1061-77_0_6_line_76 |  | 71 | 72 | 0.024744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1061-77_0_6_line_77 |  | 72 | 84 | 0.0073302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1061-77_0_6_line_78 |  | 73 | 79 | 0.00074228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1061-77_0_6_line_79 |  | 74 | 75 | 0.0012814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_1061-77_0_6_line_80 |  | 75 | 76 | 0.020242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_1061-77_0_6_line_81 |  | 77 | 80 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1061-77_0_6_line_82 |  | 80 | 87 | 0.0003053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1061-77_0_6_line_83 |  | 82 | 88 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1061-77_0_6_line_84 |  | 83 | 88 | 0.024112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1061-77_0_6_line_85 |  | 84 | 85 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1061-77_0_6_line_86 |  | 85 | 86 | 0.00016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1061-77_0_6_line_87 |  | 86 | 87 | 0.023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-77_0_6_trafo_59 | 0.63 MVA 20/0.4 kV | 89 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2667580.4184 | 1210346.6162 | 2667567.9394 | 1210364.4737
1 | 2667580.4184 | 1210346.6162 | 2667562.5355 | 1210333.7947
2 | 2667562.5355 | 1210333.7947 | 2667545.2711 | 1210358.3033 | 2667530.5365 | 1210346.6738 | 2667518.1869 | 1210363.3666
3 | 2667562.5355 | 1210333.7947 | 2667571.368 | 1210322.6858
4 | 2667518.1869 | 1210363.3666 | 2667528.0775 | 1210370.981
5 | 2667613.786 | 1210269.3353 | 2667571.368 | 1210322.6858
6 | 2667613.786 | 1210269.3353 | 2667575.4348 | 1210241.7617 | 2667577.7188 | 1210238.7412 | 2667570.2328 | 1210220.3579
7 | 2667570.2328 | 1210220.3579 | 2667562.5507 | 1210201.4933
8 | 2667577.9441 | 1210409.3714 | 2667598.9574 | 1210430.9671 | 2667599.995 | 1210433.9696 | 2667599.6826 | 1210436.7233 | 2667597.8047 | 1210438.7922 | 2667594.2012 | 1210439.5408 | 2667564.9442 | 1210440.5323 | 2667562.8869 | 1210441.6653 | 2667562.1909 | 1210444.07 | 2667562.9771 | 1210447.1252 | 2667577.2618 | 1210466.9103 | 2667578.8072 | 1210468.0285 | 2667587.9813 | 1210474.6809 | 2667617.9685 | 1210496.4118 | 2667621.7754 | 1210499.1677 | 2667645.8224 | 1210516.5844 | 2667647.3414 | 1210519.3588 | 2667647.2726 | 1210525.4285 | 2667644.7221 | 1210533.1933 | 2667637.4275 | 1210545.785 | 2667636.2477 | 1210547.2837 | 2667636.1156 | 1210548.2161 | 2667652.7162 | 1210554.0746 | 2667659.9354 | 1210555.4906
9 | 2667577.9441 | 1210409.3714 | 2667528.0775 | 1210370.981
10 | 2667659.9354 | 1210555.4906 | 2667660.1961 | 1210550.6016 | 2667661.9218 | 1210545.1956
11 | 2667608.4566 | 1210531.6369 | 2667621.4749 | 1210537.0655 | 2667636.1156 | 1210548.2161 | 2667652.7162 | 1210554.0746 | 2667659.9354 | 1210555.4906
12 | 2667659.9354 | 1210555.4906 | 2667676.6693 | 1210566.3426 | 2667716.1091 | 1210578.1417
13 | 2667554.9998 | 1210182.9505 | 2667562.5507 | 1210201.4933
14 | 2667378.9937 | 1210489.8828 | 2667386.1766 | 1210483.7712 | 2667414.0164 | 1210484.4194 | 2667439.3268 | 1210488.2966 | 2667454.2402 | 1210492.8346 | 2667477.7179 | 1210500.8383 | 2667498.3324 | 1210508.6429 | 2667511.2326 | 1210517.8056 | 2667519.7678 | 1210522.4828 | 2667533.9218 | 1210524.2774 | 2667544.4323 | 1210527.0091 | 2667553.3027 | 1210530.9453 | 2667562.6294 | 1210532.8409 | 2667582.3659 | 1210531.5858 | 2667597.6331 | 1210535.072 | 2667608.4566 | 1210531.6369
15 | 2667608.4566 | 1210531.6369 | 2667607.4278 | 1210525.855 | 2667601.7577 | 1210519.1756 | 2667594.0879 | 1210512.5846 | 2667579.679 | 1210507.1292 | 2667546.927 | 1210500.6655 | 2667522.1361 | 1210493.8808 | 2667489.5893 | 1210469.9423 | 2667477.7469 | 1210467.3735 | 2667471.208 | 1210472.9808 | 2667456.5632 | 1210465.5218 | 2667455.5131 | 1210464.9873
16 | 2667716.1091 | 1210578.1417 | 2667743.1167 | 1210585.7751 | 2667751.0693 | 1210587.5221 | 2667755.7772 | 1210587.8868 | 2667760.356 | 1210586.9049 | 2667768.0095 | 1210580.8658 | 2667773.2548 | 1210573.3985 | 2667776.7418 | 1210564.1658 | 2667777.8829 | 1210556.0404 | 2667776.9338 | 1210546.6015 | 2667770.9781 | 1210533.371
17 | 2667378.9937 | 1210489.8828 | 2667371.9017 | 1210497.1956
18 | 2667418.8324 | 1210446.3169 | 2667455.5131 | 1210464.9873
19 | 2667404.702 | 1210331.442 | 2667383.5618 | 1210317.6281 | 2667382.0791 | 1210315.154
20 | 2667404.702 | 1210331.442 | 2667408.6229 | 1210334.0049
21 | 2667382.0791 | 1210315.154 | 2667379.7647 | 1210311.2924
22 | 2667430.7159 | 1210348.4463 | 2667408.6229 | 1210334.0049
23 | 2667362.0241 | 1210299.2959 | 2667379.7647 | 1210311.2924
24 | 2667313.336 | 1210272.3299 | 2667321.6794 | 1210273.8472 | 2667338.4903 | 1210283.3871 | 2667362.0241 | 1210299.2959
25 | 2667313.336 | 1210272.3299 | 2667315.0425 | 1210265.2448 | 2667322.3047 | 1210252.4669
26 | 2667307.1537 | 1210282.711 | 2667313.336 | 1210272.3299
27 | 2667369.9321 | 1210255.2357 | 2667387.1892 | 1210228.8005
28 | 2667369.9321 | 1210255.2357 | 2667352.5788 | 1210242.062
29 | 2667394.0117 | 1210218.3496 | 2667387.1892 | 1210228.8005
30 | 2667335.5609 | 1210229.1428 | 2667352.5788 | 1210242.062
31 | 2667543.6875 | 1210155.1711 | 2667554.9998 | 1210182.9505
32 | 2667439.0364 | 1210353.3211 | 2667430.7159 | 1210348.4463
33 | 2667336.1543 | 1210361.0913 | 2667324.9413 | 1210359.8732
34 | 2667304.3549 | 1210357.6368 | 2667324.9413 | 1210359.8732
35 | 2667307.1537 | 1210282.711 | 2667303.0515 | 1210289.5966
36 | 2667307.1144 | 1210307.0701 | 2667296.5013 | 1210300.5908 | 2667303.0515 | 1210289.5966
37 | 2667307.1537 | 1210282.711 | 2667314.3989 | 1210286.5729 | 2667311.6849 | 1210292.0234 | 2667354.4247 | 1210316.6986 | 2667357.4455 | 1210315.721
38 | 2667307.1144 | 1210307.0701 | 2667318.8027 | 1210314.5843
39 | 2667303.6345 | 1210313.0345 | 2667307.1144 | 1210307.0701
40 | 2667304.3549 | 1210357.6368 | 2667308.6523 | 1210335.8051 | 2667318.8027 | 1210314.5843
41 | 2667320.3694 | 1210315.169 | 2667318.8027 | 1210314.5843
42 | 2667335.5609 | 1210229.1428 | 2667322.3047 | 1210252.4669
43 | 2667255.9323 | 1210245.8109 | 2667256.0984 | 1210243.8893 | 2667251.0455 | 1210240.3858 | 2667245.3704 | 1210237.4756
44 | 2667245.3704 | 1210237.4756 | 2667245.1995 | 1210234.4273 | 2667241.7754 | 1210230.7309 | 2667237.4328 | 1210228.9476 | 2667238.8445 | 1210224.4051 | 2667225.0347 | 1210220.3248 | 2667238.7491 | 1210216.01 | 2667253.5063 | 1210208.8607 | 2667255.4753 | 1210196.6865 | 2667262.0009 | 1210185.5198 | 2667263.0155 | 1210184.5195 | 2667265.498 | 1210182.0794 | 2667268.3812 | 1210179.1545 | 2667270.6262 | 1210176.8784 | 2667272.3751 | 1210170.0717
45 | 2667272.3751 | 1210170.0717 | 2667280.3293 | 1210165.0027 | 2667289.0932 | 1210158.6049
46 | 2667388.8975 | 1210081.476 | 2667369.8668 | 1210096.3148
47 | 2667381.5892 | 1210072.4101 | 2667382.0839 | 1210073.0272 | 2667385.1122 | 1210076.7748 | 2667388.1554 | 1210080.5559 | 2667388.8975 | 1210081.476
48 | 2667388.8975 | 1210081.476 | 2667391.1908 | 1210079.6452
49 | 2667369.8668 | 1210096.3148 | 2667350.8707 | 1210111.1266
50 | 2667381.5892 | 1210072.4101 | 2667349.9651 | 1210096.9666
51 | 2667391.1908 | 1210079.6452 | 2667392.979 | 1210082.8229 | 2667399.8247 | 1210105.2473 | 2667400.9425 | 1210109.6146
52 | 2667517.0614 | 1210165.3428 | 2667515.4051 | 1210163.2783 | 2667514.1105 | 1210162.1519
53 | 2667543.6875 | 1210155.1711 | 2667514.0505 | 1210157.3816 | 2667514.1105 | 1210162.1519
54 | 2667495.2292 | 1210156.9018 | 2667499.7409 | 1210157.8423 | 2667506.0653 | 1210157.7804 | 2667506.1917 | 1210162.0623 | 2667514.1105 | 1210162.1519
55 | 2667495.2292 | 1210156.9018 | 2667495.3766 | 1210170.7453
56 | 2667482.6403 | 1210170.6642 | 2667495.3766 | 1210170.7453
57 | 2667477.5124 | 1210150.164 | 2667477.4158 | 1210168.1531
58 | 2667477.5124 | 1210150.164 | 2667475.1107 | 1210148.8137 | 2667469.6156 | 1210144.0932 | 2667467.3392 | 1210149.1372 | 2667444.3218 | 1210149.3772 | 2667437.5111 | 1210149.4225 | 2667421.7936 | 1210149.3671 | 2667413.6226 | 1210149.3971 | 2667406.9397 | 1210149.5661 | 2667399.8665 | 1210156.0347
59 | 2667482.6403 | 1210170.6642 | 2667477.4025 | 1210170.6309 | 2667477.4158 | 1210168.1531
60 | 2667399.8665 | 1210156.0347 | 2667410.5491 | 1210164.0126
61 | 2667398.3283 | 1210144.8549 | 2667400.5132 | 1210147.9036 | 2667401.2253 | 1210151.4806 | 2667400.631 | 1210154.2978 | 2667399.8665 | 1210156.0347
62 | 2667399.8665 | 1210156.0347 | 2667399.4689 | 1210156.9196 | 2667390.7667 | 1210163.3649
63 | 2667349.9651 | 1210096.9666 | 2667332.6673 | 1210110.3986
64 | 2667335.5609 | 1210229.1428 | 2667347.8484 | 1210212.9834
65 | 2667398.3283 | 1210144.8549 | 2667389.9255 | 1210133.1083 | 2667387.8763 | 1210130.8282 | 2667382.9817 | 1210129.461
66 | 2667398.3283 | 1210144.8549 | 2667407.4388 | 1210134.9961 | 2667406.932 | 1210133.0159
67 | 2667390.7667 | 1210163.3649 | 2667381.9626 | 1210169.8855 | 2667376.2432 | 1210176.3499
68 | 2667400.9425 | 1210109.6146 | 2667406.932 | 1210133.0159
69 | 2667289.0932 | 1210158.6049 | 2667303.0063 | 1210148.4481 | 2667313.0595 | 1210140.6093
70 | 2667317.0424 | 1210122.5316 | 2667332.6673 | 1210110.3986
71 | 2667311.1152 | 1210127.1342 | 2667317.0424 | 1210122.5316
72 | 2667347.8484 | 1210212.9834 | 2667348.237 | 1210212.4723
73 | 2667348.237 | 1210212.4723 | 2667361.0208 | 1210195.6601
74 | 2667394.0117 | 1210218.3496 | 2667406.3284 | 1210199.4824
75 | 2667362.8833 | 1210193.2107 | 2667361.0208 | 1210195.6601
76 | 2667320.6249 | 1210192.8795 | 2667333.7642 | 1210171.9123
77 | 2667337.6565 | 1210165.7009 | 2667333.7642 | 1210171.9123
78 | 2667406.3284 | 1210199.4824 | 2667406.7341 | 1210198.8608
79 | 2667375.3941 | 1210177.3096 | 2667376.2432 | 1210176.3499
80 | 2667362.8833 | 1210193.2107 | 2667372.4083 | 1210180.6843 | 2667375.3941 | 1210177.3096
81 | 2667382.9817 | 1210129.461 | 2667382.9817 | 1210129.461 | 2667379.5741 | 1210130.3564 | 2667370.9108 | 1210137.127
82 | 2667370.6703 | 1210137.315 | 2667370.9108 | 1210137.127
83 | 2667313.0595 | 1210140.6093 | 2667331.856 | 1210125.953
84 | 2667331.856 | 1210125.953 | 2667350.8707 | 1210111.1266
85 | 2667337.6565 | 1210165.7009 | 2667338.0552 | 1210165.0648 | 2667344.9363 | 1210157.4266 | 2667351.6972 | 1210152.1428
86 | 2667351.6972 | 1210152.1428 | 2667351.8262 | 1210152.042
87 | 2667351.8262 | 1210152.042 | 2667370.6703 | 1210137.315

## bus_geodata
| x | y | coords
0 | 2667567.9394 | 1210364.4737
1 | 2667580.4184 | 1210346.6162
2 | 2667562.5355 | 1210333.7947
3 | 2667518.1869 | 1210363.3666
4 | 2667571.368 | 1210322.6858
5 | 2667613.786 | 1210269.3353
6 | 2667570.2328 | 1210220.3579
7 | 2667577.9441 | 1210409.3714
8 | 2667659.9354 | 1210555.4906
9 | 2667528.0775 | 1210370.981
10 | 2667562.5507 | 1210201.4933
11 | 2667661.9218 | 1210545.1956
12 | 2667608.4566 | 1210531.6369
13 | 2667716.1091 | 1210578.1417
14 | 2667378.9937 | 1210489.8828
15 | 2667455.5131 | 1210464.9873
16 | 2667770.9781 | 1210533.371
17 | 2667404.702 | 1210331.442
18 | 2667382.0791 | 1210315.154
19 | 2667408.6229 | 1210334.0049
20 | 2667362.0241 | 1210299.2959
21 | 2667379.7647 | 1210311.2924
22 | 2667313.336 | 1210272.3299
23 | 2667369.9321 | 1210255.2357
24 | 2667387.1892 | 1210228.8005
25 | 2667352.5788 | 1210242.062
26 | 2667554.9998 | 1210182.9505
27 | 2667430.7159 | 1210348.4463
28 | 2667439.0364 | 1210353.3211
29 | 2667336.1543 | 1210361.0913
30 | 2667324.9413 | 1210359.8732
31 | 2667371.9017 | 1210497.1956
32 | 2667418.8324 | 1210446.3169
33 | 2667303.0515 | 1210289.5966
34 | 2667307.1537 | 1210282.711
35 | 2667307.1144 | 1210307.0701
36 | 2667357.4455 | 1210315.721
37 | 2667318.8027 | 1210314.5843
38 | 2667303.6345 | 1210313.0345
39 | 2667322.3047 | 1210252.4669
40 | 2667304.3549 | 1210357.6368
41 | 2667320.3694 | 1210315.169
42 | 2667245.3704 | 1210237.4756
43 | 2667255.9323 | 1210245.8109
44 | 2667272.3751 | 1210170.0717
45 | 2667388.8975 | 1210081.476
46 | 2667369.8668 | 1210096.3148
47 | 2667381.5892 | 1210072.4101
48 | 2667391.1908 | 1210079.6452
49 | 2667514.1105 | 1210162.1519
50 | 2667517.0614 | 1210165.3428
51 | 2667543.6875 | 1210155.1711
52 | 2667495.2292 | 1210156.9018
53 | 2667495.3766 | 1210170.7453
54 | 2667477.5124 | 1210150.164
55 | 2667477.4158 | 1210168.1531
56 | 2667399.8665 | 1210156.0347
57 | 2667349.9651 | 1210096.9666
58 | 2667335.5609 | 1210229.1428
59 | 2667410.5491 | 1210164.0126
60 | 2667398.3283 | 1210144.8549
61 | 2667390.7667 | 1210163.3649
62 | 2667400.9425 | 1210109.6146
63 | 2667289.0932 | 1210158.6049
64 | 2667332.6673 | 1210110.3986
65 | 2667317.0424 | 1210122.5316
66 | 2667311.1152 | 1210127.1342
67 | 2667347.8484 | 1210212.9834
68 | 2667348.237 | 1210212.4723
69 | 2667394.0117 | 1210218.3496
70 | 2667361.0208 | 1210195.6601
71 | 2667320.6249 | 1210192.8795
72 | 2667333.7642 | 1210171.9123
73 | 2667406.3284 | 1210199.4824
74 | 2667376.2432 | 1210176.3499
75 | 2667375.3941 | 1210177.3096
76 | 2667362.8833 | 1210193.2107
77 | 2667382.9817 | 1210129.461
78 | 2667406.932 | 1210133.0159
79 | 2667406.7341 | 1210198.8608
80 | 2667370.9108 | 1210137.127
81 | 2667482.6403 | 1210170.6642
82 | 2667313.0595 | 1210140.6093
83 | 2667350.8707 | 1210111.1266
84 | 2667337.6565 | 1210165.7009
85 | 2667351.6972 | 1210152.1428
86 | 2667351.8262 | 1210152.042
87 | 2667370.6703 | 1210137.315
88 | 2667331.856 | 1210125.953
89 | 2667369.9321 | 1210255.2357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97681 | -0.44708 | 0.004429 | 0.00111
1 | 0.9769 | -0.44532 | 0 | 0
2 | 0.97699 | -0.44354 | 0 | 0
3 | 0.97643 | -0.45456 | 0 | 0
4 | 0.97712 | -0.44106 | 0.0020935 | 0.00052469
5 | 0.97775 | -0.42864 | 0 | 0
6 | 0.97841 | -0.41573 | 0.0041689 | 0.0010448
7 | 0.97592 | -0.46465 | 0 | 0
8 | 0.97429 | -0.49671 | 0 | 0
9 | 0.97633 | -0.45655 | 0.0082303 | 0.0020627
10 | 0.97861 | -0.41171 | 0.01805 | 0.0045239
11 | 0.97427 | -0.49719 | 0.0024819 | 0.00062202
12 | 0.97396 | -0.50327 | 0 | 0
13 | 0.9742 | -0.49849 | 0 | 0
14 | 0.97306 | -0.52118 | 0 | 0
15 | 0.97318 | -0.51876 | 0.0068448 | 0.0017155
16 | 0.97405 | -0.50159 | 0.0015824 | 0.00039659
17 | 0.98029 | -0.37882 | 0 | 0
18 | 0.98218 | -0.34186 | 0.011282 | 0.0028276
19 | 0.97998 | -0.38498 | 0.029018 | 0.0072725
20 | 0.98443 | -0.29818 | 0 | 0
21 | 0.98253 | -0.33505 | 0.011715 | 0.0029362
22 | 0.98939 | -0.20227 | 0 | 0
23 | 0.99572 | -0.081105 | 0 | 0
24 | 0.99867 | -0.025106 | 0.070289 | 0.017616
25 | 0.99368 | -0.11995 | 0.0037334 | 0.00093569
26 | 0.97888 | -0.40645 | 0.029071 | 0.0072858
27 | 0.97891 | -0.40586 | 0 | 0
28 | 0.97853 | -0.41348 | 0.043526 | 0.010909
29 | 0.98615 | -0.26524 | 0.0051233 | 0.001284
30 | 0.9862 | -0.26421 | 0.01183 | 0.0029649
31 | 0.97294 | -0.52345 | 0.012095 | 0.0030313
32 | 0.97271 | -0.52791 | 0.012077 | 0.0030269
33 | 0.98847 | -0.21999 | 0.0058786 | 0.0014733
34 | 0.98879 | -0.21394 | 0 | 0
35 | 0.98763 | -0.23639 | 0 | 0
36 | 0.98805 | -0.22817 | 0.01196 | 0.0029974
37 | 0.98724 | -0.24403 | 0 | 0
38 | 0.9876 | -0.23708 | 0.0055921 | 0.0014015
39 | 0.99091 | -0.17299 | 0.0087241 | 0.0021865
40 | 0.98652 | -0.25792 | 0 | 0
41 | 0.98722 | -0.24444 | 0.013864 | 0.0034747
42 | 0.9776 | -0.43167 | 0 | 0
43 | 0.97755 | -0.4326 | 0.0035408 | 0.0008874
44 | 0.97795 | -0.42474 | 0 | 0
45 | 0.98055 | -0.3739 | 0 | 0
46 | 0.97997 | -0.38524 | 0.0023101 | 0.00057896
47 | 0.9804 | -0.37668 | 0 | 0
48 | 0.98065 | -0.37182 | 0 | 0
49 | 0.98009 | -0.38272 | 0 | 0
50 | 0.97994 | -0.38566 | 0.037148 | 0.0093101
51 | 0.97944 | -0.39541 | 0 | 0
52 | 0.98068 | -0.3711 | 0 | 0
53 | 0.98104 | -0.36416 | 0.0013947 | 0.00034953
54 | 0.9823 | -0.33961 | 0 | 0
55 | 0.98158 | -0.3535 | 0.062602 | 0.015689
56 | 0.98568 | -0.27388 | 0 | 0
57 | 0.97992 | -0.38626 | 0.0045534 | 0.0011412
58 | 0.99169 | -0.15791 | 0 | 0
59 | 0.98562 | -0.27501 | 0.0047291 | 0.0011852
60 | 0.98451 | -0.2966 | 0 | 0
61 | 0.98638 | -0.26026 | 0.0018268 | 0.00045784
62 | 0.9818 | -0.34946 | 0.025836 | 0.0064752
63 | 0.97802 | -0.42343 | 0.014491 | 0.0036317
64 | 0.97974 | -0.38969 | 0.0027719 | 0.00069469
65 | 0.97963 | -0.39179 | 0.0017514 | 0.00043893
66 | 0.9796 | -0.39235 | 0.004105 | 0.0010288
67 | 0.9904 | -0.18267 | 0.0038363 | 0.00096146
68 | 0.99036 | -0.18345 | 0.0040364 | 0.0010116
69 | 1 | 0 | -0.59436 | -0.15192
70 | 0.98905 | -0.20869 | 0.0049948 | 0.0012518
71 | 0.9836 | -0.31439 | 0.0018743 | 0.00046974
72 | 0.98364 | -0.31355 | 0.0022067 | 0.00055304
73 | 0.99984 | -0.0030395 | 0.0024061 | 0.00060302
74 | 0.98755 | -0.23755 | 0.0021164 | 0.00053042
75 | 0.98763 | -0.23605 | 0.0023675 | 0.00059334
76 | 0.98886 | -0.21232 | 0.0023915 | 0.00059937
77 | 0.98418 | -0.30303 | 0.0021902 | 0.00054892
78 | 0.98325 | -0.32114 | 0.023166 | 0.0058059
79 | 0.99984 | -0.0031085 | 0.005332 | 0.0013363
80 | 0.98399 | -0.3066 | 0.0018633 | 0.00046698
81 | 0.98137 | -0.35771 | 0.011025 | 0.0027631
82 | 0.97852 | -0.41359 | 0.001808 | 0.00045312
83 | 0.97944 | -0.39556 | 0.0021108 | 0.00052902
84 | 0.98367 | -0.31301 | 0.0019081 | 0.00047822
85 | 0.98377 | -0.3109 | 0.0021846 | 0.00054751
86 | 0.98378 | -0.31087 | 0.0016036 | 0.00040191
87 | 0.98399 | -0.30666 | 0.0019944 | 0.00049985
88 | 0.97896 | -0.40498 | 0.0016413 | 0.00041135
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.004429 | -0.00111 | 0.0044294 | 0.00111 | 3.7188e-07 | -3.4733e-08 | 0.0067469 | 0.0067468 | 0.0067469 | 0.97681 | -0.44708 | 0.9769 | -0.44532 | 1.8535
1 | -0.0044294 | -0.00111 | 0.0044298 | 0.0011099 | 3.749e-07 | -3.5073e-08 | 0.0067468 | 0.0067467 | 0.0067468 | 0.9769 | -0.44532 | 0.97699 | -0.44354 | 1.8535
2 | 0.043447 | 0.010893 | -0.043424 | -0.010882 | 2.2806e-05 | 1.025e-05 | 0.066174 | 0.066175 | 0.066175 | 0.97699 | -0.44354 | 0.97643 | -0.45456 | 3.636
3 | -0.047877 | -0.012003 | 0.047882 | 0.012005 | 5.6599e-06 | 2.7336e-06 | 0.07292 | 0.07292 | 0.07292 | 0.97699 | -0.44354 | 0.97712 | -0.44106 | 4.0066
4 | 0.043424 | 0.010882 | -0.04342 | -0.010881 | 4.0996e-06 | 1.8432e-06 | 0.066175 | 0.066176 | 0.066176 | 0.97643 | -0.45456 | 0.97633 | -0.45655 | 3.636
5 | -0.049976 | -0.01253 | 0.050006 | 0.012545 | 2.961e-05 | 1.4679e-05 | 0.076108 | 0.076107 | 0.076108 | 0.97712 | -0.44106 | 0.97775 | -0.42864 | 4.1818
6 | -0.050006 | -0.012545 | 0.050036 | 0.01256 | 3.0787e-05 | 1.5256e-05 | 0.076107 | 0.076105 | 0.076107 | 0.97775 | -0.42864 | 0.97841 | -0.41573 | 4.1817
7 | -0.054205 | -0.013605 | 0.054216 | 0.01361 | 1.0384e-05 | 5.3664e-06 | 0.082446 | 0.082445 | 0.082446 | 0.97841 | -0.41573 | 0.97861 | -0.41171 | 4.53
8 | 0.035176 | 0.0088131 | -0.035123 | -0.0087942 | 5.3654e-05 | 1.8829e-05 | 0.053633 | 0.053639 | 0.053639 | 0.97592 | -0.46465 | 0.97429 | -0.49671 | 2.9472
9 | -0.035176 | -0.0088131 | 0.03519 | 0.0088178 | 1.3577e-05 | 4.7557e-06 | 0.053633 | 0.053632 | 0.053633 | 0.97592 | -0.46465 | 0.97633 | -0.45655 | 2.9469
10 | 0.0024819 | 0.00062192 | -0.0024819 | -0.00062202 | 5.6959e-08 | -9.5189e-08 | 0.0037906 | 0.0037906 | 0.0037906 | 0.97429 | -0.49671 | 0.97427 | -0.49719 | 1.0414
11 | 0.031058 | 0.0077776 | -0.031048 | -0.0077749 | 9.6971e-06 | 2.6289e-06 | 0.047432 | 0.047433 | 0.047433 | 0.97429 | -0.49671 | 0.97396 | -0.50327 | 2.6062
12 | 0.0015828 | 0.00039474 | -0.0015827 | -0.00039541 | 1.3385e-07 | -6.7531e-07 | 0.0024167 | 0.0024169 | 0.0024169 | 0.97429 | -0.49671 | 0.9742 | -0.49849 | 0.66399
13 | -0.072266 | -0.018134 | 0.072284 | 0.018144 | 1.8133e-05 | 1.0347e-05 | 0.10989 | 0.10989 | 0.10989 | 0.97861 | -0.41171 | 0.97888 | -0.40645 | 6.038
14 | 0.012107 | 0.0030296 | -0.012096 | -0.003032 | 1.0323e-05 | -2.3969e-06 | 0.018495 | 0.018498 | 0.018498 | 0.97396 | -0.50327 | 0.97306 | -0.52118 | 1.694
15 | 0.018941 | 0.0047453 | -0.018927 | -0.0047452 | 1.3975e-05 | 9.0749e-08 | 0.028938 | 0.028941 | 0.028941 | 0.97396 | -0.50327 | 0.97318 | -0.51876 | 1.9877
16 | 0.0015827 | 0.00039541 | -0.0015824 | -0.00039659 | 2.3347e-07 | -1.1771e-06 | 0.0024169 | 0.0024174 | 0.0024174 | 0.9742 | -0.49849 | 0.97405 | -0.50159 | 0.66412
17 | 0.012096 | 0.003032 | -0.012095 | -0.0030313 | 1.3072e-06 | 7.1008e-07 | 0.018498 | 0.018498 | 0.018498 | 0.97306 | -0.52118 | 0.97294 | -0.52345 | 5.082
18 | 0.012083 | 0.0030297 | -0.012077 | -0.0030269 | 5.2684e-06 | 2.8606e-06 | 0.018475 | 0.018475 | 0.018475 | 0.97318 | -0.51876 | 0.97271 | -0.52791 | 5.0757
19 | -0.072624 | -0.018232 | 0.072753 | 0.018314 | 0.00012826 | 8.1728e-05 | 0.11025 | 0.11025 | 0.11025 | 0.98029 | -0.37882 | 0.98218 | -0.34186 | 30.2884
20 | 0.072624 | 0.018232 | -0.072603 | -0.018219 | 2.1351e-05 | 1.3606e-05 | 0.11025 | 0.11025 | 0.11025 | 0.98029 | -0.37882 | 0.97998 | -0.38498 | 30.2884
21 | -0.084035 | -0.021142 | 0.084062 | 0.021159 | 2.7377e-05 | 1.7464e-05 | 0.12734 | 0.12734 | 0.12734 | 0.98218 | -0.34186 | 0.98253 | -0.33505 | 34.9842
22 | 0.043586 | 0.010946 | -0.043542 | -0.010919 | 4.3363e-05 | 2.742e-05 | 0.066189 | 0.066189 | 0.066189 | 0.97998 | -0.38498 | 0.97891 | -0.40586 | 18.1839
23 | 0.095947 | 0.024203 | -0.095778 | -0.024095 | 0.00016905 | 0.00010792 | 0.14508 | 0.14509 | 0.14509 | 0.98443 | -0.29818 | 0.98253 | -0.33505 | 39.8585
24 | -0.095947 | -0.024203 | 0.09639 | 0.024486 | 0.00044278 | 0.00028266 | 0.14508 | 0.14508 | 0.14508 | 0.98443 | -0.29818 | 0.98939 | -0.20227 | 39.8585
25 | -0.15074 | -0.038148 | 0.15096 | 0.038283 | 0.00021213 | 0.0001352 | 0.22685 | 0.22685 | 0.22685 | 0.98939 | -0.20227 | 0.99091 | -0.17299 | 31.1603
26 | 0.054355 | 0.013662 | -0.054325 | -0.013643 | 3.0274e-05 | 1.922e-05 | 0.081763 | 0.081763 | 0.081763 | 0.98939 | -0.20227 | 0.98879 | -0.21394 | 22.4623
27 | -0.51257 | -0.13102 | 0.51397 | 0.13191 | 0.0013926 | 0.00088918 | 0.76691 | 0.76691 | 0.76691 | 0.99572 | -0.081105 | 0.99867 | -0.025106 | 42.1378
28 | 0.51257 | 0.13102 | -0.51161 | -0.13041 | 0.00096106 | 0.00061366 | 0.76691 | 0.76691 | 0.76691 | 0.99572 | -0.081105 | 0.99368 | -0.11995 | 42.1378
29 | -0.58426 | -0.14953 | 0.58497 | 0.14998 | 0.00071117 | 0.00045433 | 0.87164 | 0.87164 | 0.87164 | 0.99867 | -0.025106 | 1 | 0 | 47.8921
30 | 0.50788 | 0.12947 | -0.50695 | -0.12888 | 0.0009288 | 0.00059305 | 0.76132 | 0.76132 | 0.76132 | 0.99368 | -0.11995 | 0.99169 | -0.15791 | 41.8307
31 | -0.10136 | -0.02543 | 0.10141 | 0.025462 | 5.3408e-05 | 3.2295e-05 | 0.15408 | 0.15408 | 0.15408 | 0.97888 | -0.40645 | 0.97944 | -0.39541 | 8.4661
32 | 0.043542 | 0.010919 | -0.043526 | -0.010909 | 1.5809e-05 | 9.9971e-06 | 0.066189 | 0.066189 | 0.066189 | 0.97891 | -0.40586 | 0.97853 | -0.41348 | 18.1839
33 | -0.0051233 | -0.001284 | 0.0051236 | 0.001284 | 2.5277e-07 | 1.7866e-08 | 0.0077307 | 0.0077306 | 0.0077307 | 0.98615 | -0.26524 | 0.9862 | -0.26421 | 2.1238
34 | -0.016954 | -0.0042489 | 0.016959 | 0.0042519 | 5.0812e-06 | 2.9876e-06 | 0.02558 | 0.02558 | 0.02558 | 0.9862 | -0.26421 | 0.98652 | -0.25792 | 7.0275
35 | -0.042345 | -0.010633 | 0.042357 | 0.010641 | 1.2216e-05 | 7.7152e-06 | 0.063752 | 0.063752 | 0.063752 | 0.98847 | -0.21999 | 0.98879 | -0.21394 | 17.5142
36 | 0.036466 | 0.0091598 | -0.036438 | -0.0091419 | 2.8521e-05 | 1.793e-05 | 0.054902 | 0.054902 | 0.054902 | 0.98847 | -0.21999 | 0.98763 | -0.23639 | 15.0831
37 | 0.011968 | 0.0030017 | -0.01196 | -0.0029974 | 8.1128e-06 | 4.3374e-06 | 0.018011 | 0.018011 | 0.018011 | 0.98879 | -0.21394 | 0.98805 | -0.22817 | 4.9481
38 | 0.030845 | 0.0077403 | -0.030834 | -0.0077333 | 1.1233e-05 | 7.0116e-06 | 0.046477 | 0.046477 | 0.046477 | 0.98763 | -0.23639 | 0.98724 | -0.24403 | 12.7684
39 | 0.0055922 | 0.0014015 | -0.0055921 | -0.0014015 | 1.8374e-07 | 2.9274e-08 | 0.0084256 | 0.0084256 | 0.0084256 | 0.98763 | -0.23639 | 0.9876 | -0.23708 | 2.3147
40 | 0.01697 | 0.0042585 | -0.016959 | -0.0042519 | 1.123e-05 | 6.6026e-06 | 0.02558 | 0.02558 | 0.02558 | 0.98724 | -0.24403 | 0.98652 | -0.25792 | 7.0275
41 | 0.013864 | 0.0034748 | -0.013864 | -0.0034747 | 2.7315e-07 | 1.5349e-07 | 0.020897 | 0.020897 | 0.020897 | 0.98724 | -0.24403 | 0.98722 | -0.24444 | 5.741
42 | -0.15968 | -0.040469 | 0.1598 | 0.040542 | 0.00011585 | 7.2412e-05 | 0.23995 | 0.23995 | 0.23995 | 0.99091 | -0.17299 | 0.99169 | -0.15791 | 13.1839
43 | 0.0035409 | 0.00088732 | -0.0035408 | -0.0008874 | 1.5718e-07 | -8.0312e-08 | 0.0053896 | 0.0053897 | 0.0053897 | 0.9776 | -0.43167 | 0.97755 | -0.4326 | 1.4807
44 | -0.0035409 | -0.00088732 | 0.0035421 | 0.00088672 | 1.1679e-06 | -5.9742e-07 | 0.0053896 | 0.0053891 | 0.0053896 | 0.9776 | -0.43167 | 0.97795 | -0.42474 | 1.4807
45 | -0.0035421 | -0.00088672 | 0.0035423 | 0.00088661 | 2.209e-07 | -1.1314e-07 | 0.0053891 | 0.005389 | 0.0053891 | 0.97795 | -0.42474 | 0.97802 | -0.42343 | 1.4805
46 | 0.025955 | 0.0065224 | -0.025941 | -0.0065137 | 1.4044e-05 | 8.6838e-06 | 0.039394 | 0.039394 | 0.039394 | 0.98055 | -0.3739 | 0.97997 | -0.38524 | 10.8225
47 | 0.013191 | 0.0033087 | -0.01319 | -0.0033077 | 1.7501e-06 | 9.7322e-07 | 0.02002 | 0.02002 | 0.02002 | 0.98055 | -0.3739 | 0.9804 | -0.37668 | 5.4999
48 | -0.039146 | -0.009831 | 0.03915 | 0.0098335 | 3.8785e-06 | 2.4453e-06 | 0.059413 | 0.059413 | 0.059413 | 0.98055 | -0.3739 | 0.98065 | -0.37182 | 16.3224
49 | 0.023631 | 0.0059347 | -0.023619 | -0.0059276 | 1.1633e-05 | 7.1418e-06 | 0.035886 | 0.035886 | 0.035886 | 0.97997 | -0.38524 | 0.97944 | -0.39556 | 9.8589
50 | 0.01319 | 0.0033077 | -0.013184 | -0.0033044 | 6.0176e-06 | 3.3466e-06 | 0.02002 | 0.02002 | 0.02002 | 0.9804 | -0.37668 | 0.97992 | -0.38626 | 5.4999
51 | -0.03915 | -0.0098335 | 0.039192 | 0.0098599 | 4.183e-05 | 2.6372e-05 | 0.059413 | 0.059413 | 0.059413 | 0.98065 | -0.37182 | 0.9818 | -0.34946 | 16.3223
52 | 0.037153 | 0.0093134 | -0.037148 | -0.0093101 | 5.1988e-06 | 3.2723e-06 | 0.056408 | 0.056408 | 0.056408 | 0.98009 | -0.38272 | 0.97994 | -0.38566 | 15.4967
53 | 0.10147 | 0.0255 | -0.10141 | -0.025462 | 6.1412e-05 | 3.7132e-05 | 0.15408 | 0.15408 | 0.15408 | 0.98009 | -0.38272 | 0.97944 | -0.39541 | 8.466
54 | -0.13862 | -0.034813 | 0.1387 | 0.034861 | 7.688e-05 | 4.7745e-05 | 0.21049 | 0.21049 | 0.21049 | 0.98009 | -0.38272 | 0.98068 | -0.3711 | 11.5653
55 | -0.1387 | -0.034861 | 0.13875 | 0.034889 | 4.6003e-05 | 2.8568e-05 | 0.21049 | 0.21049 | 0.21049 | 0.98068 | -0.3711 | 0.98104 | -0.36416 | 11.5653
56 | -0.14014 | -0.035239 | 0.14018 | 0.035266 | 4.3177e-05 | 2.6829e-05 | 0.2126 | 0.2126 | 0.2126 | 0.98104 | -0.36416 | 0.98137 | -0.35771 | 11.6815
57 | 0.21398 | 0.053827 | -0.21384 | -0.053737 | 0.00014183 | 8.9631e-05 | 0.32422 | 0.32422 | 0.32422 | 0.9823 | -0.33961 | 0.98158 | -0.3535 | 17.8143
58 | -0.21398 | -0.053827 | 0.21466 | 0.054253 | 0.00067424 | 0.00042608 | 0.32422 | 0.32422 | 0.32422 | 0.9823 | -0.33961 | 0.98568 | -0.27388 | 17.8142
59 | 0.15124 | 0.038048 | -0.15121 | -0.038029 | 3.0431e-05 | 1.8989e-05 | 0.22932 | 0.22932 | 0.22932 | 0.98158 | -0.3535 | 0.98137 | -0.35771 | 12.6
60 | 0.0047293 | 0.0011852 | -0.0047291 | -0.0011852 | 2.5486e-07 | -6.8222e-09 | 0.0071396 | 0.0071396 | 0.0071396 | 0.98568 | -0.27388 | 0.98562 | -0.27501 | 1.9614
61 | 0.10433 | 0.026307 | -0.10422 | -0.026234 | 0.00011331 | 7.2364e-05 | 0.15756 | 0.15756 | 0.15756 | 0.98568 | -0.27388 | 0.98451 | -0.2966 | 43.2867
62 | -0.32372 | -0.081745 | 0.32393 | 0.081879 | 0.00021154 | 0.00013463 | 0.48892 | 0.48892 | 0.48892 | 0.98568 | -0.27388 | 0.98638 | -0.26026 | 26.8638
63 | 0.0086303 | 0.0021632 | -0.0086289 | -0.0021625 | 1.4105e-06 | 6.269e-07 | 0.013105 | 0.013105 | 0.013105 | 0.97992 | -0.38626 | 0.97974 | -0.38969 | 3.6004
64 | 0.34715 | 0.088337 | -0.34674 | -0.088073 | 0.00041387 | 0.00026357 | 0.52137 | 0.52137 | 0.52137 | 0.99169 | -0.15791 | 0.9904 | -0.18267 | 28.6468
65 | 0.015835 | 0.0039711 | -0.01583 | -0.0039683 | 4.853e-06 | 2.8187e-06 | 0.023935 | 0.023935 | 0.023935 | 0.98451 | -0.2966 | 0.98418 | -0.30303 | 6.5755
66 | 0.088386 | 0.022263 | -0.088282 | -0.022197 | 0.00010358 | 6.6093e-05 | 0.13363 | 0.13363 | 0.13363 | 0.98451 | -0.2966 | 0.98325 | -0.32114 | 36.7113
67 | -0.32576 | -0.082337 | 0.32611 | 0.082563 | 0.00035513 | 0.00022603 | 0.49168 | 0.49168 | 0.49168 | 0.98638 | -0.26026 | 0.98755 | -0.23755 | 27.0152
68 | -0.065028 | -0.016335 | 0.065116 | 0.016391 | 8.8013e-05 | 5.6022e-05 | 0.098571 | 0.098571 | 0.098571 | 0.9818 | -0.34946 | 0.98325 | -0.32114 | 27.0799
69 | -0.018033 | -0.0045183 | 0.018041 | 0.0045233 | 8.4608e-06 | 5.0386e-06 | 0.027436 | 0.027436 | 0.027436 | 0.97802 | -0.42343 | 0.97852 | -0.41359 | 7.5373
70 | 0.0058571 | 0.0014678 | -0.0058565 | -0.0014677 | 5.8704e-07 | 1.2661e-07 | 0.0088956 | 0.0088957 | 0.0088957 | 0.97974 | -0.38969 | 0.97963 | -0.39179 | 2.4439
71 | 0.0041051 | 0.0010288 | -0.004105 | -0.0010288 | 1.0942e-07 | -2.4453e-08 | 0.0062354 | 0.0062355 | 0.0062355 | 0.97963 | -0.39179 | 0.9796 | -0.39235 | 1.713
72 | 0.3429 | 0.087112 | -0.34289 | -0.087104 | 1.2801e-05 | 8.1516e-06 | 0.51561 | 0.51561 | 0.51561 | 0.9904 | -0.18267 | 0.99036 | -0.18345 | 28.3301
73 | 0.33885 | 0.086092 | -0.33844 | -0.08583 | 0.00041127 | 0.00026186 | 0.50954 | 0.50954 | 0.50954 | 0.99036 | -0.18345 | 0.98905 | -0.20869 | 27.9969
74 | 0.0077393 | 0.0019398 | -0.0077381 | -0.0019394 | 1.1206e-06 | 4.2162e-07 | 0.011516 | 0.011516 | 0.011516 | 1 | 0 | 0.99984 | -0.0030395 | 3.1638
75 | 0.33345 | 0.084578 | -0.33339 | -0.084541 | 5.8164e-05 | 3.7027e-05 | 0.50203 | 0.50203 | 0.50203 | 0.98905 | -0.20869 | 0.98886 | -0.21232 | 27.584
76 | -0.0018743 | -0.00046974 | 0.0018744 | 0.00046947 | 7.4599e-08 | -2.6633e-07 | 0.0028355 | 0.0028354 | 0.0028355 | 0.9836 | -0.31439 | 0.98364 | -0.31355 | 0.77898
77 | -0.004081 | -0.0010225 | 0.0040811 | 0.0010225 | 1.0476e-07 | -2.6e-08 | 0.0061735 | 0.0061735 | 0.0061735 | 0.98364 | -0.31355 | 0.98367 | -0.31301 | 1.696
78 | 0.0053321 | 0.0013363 | -0.005332 | -0.0013363 | 1.7529e-08 | 1.4832e-09 | 0.0079354 | 0.0079354 | 0.0079354 | 0.99984 | -0.0030395 | 0.99984 | -0.0031085 | 2.1801
79 | -0.32823 | -0.083094 | 0.32825 | 0.083109 | 2.3536e-05 | 1.4981e-05 | 0.49486 | 0.49486 | 0.49486 | 0.98755 | -0.23755 | 0.98763 | -0.23605 | 27.1904
80 | -0.33062 | -0.083702 | 0.331 | 0.083942 | 0.00037717 | 0.00024009 | 0.49843 | 0.49843 | 0.49843 | 0.98763 | -0.23605 | 0.98886 | -0.21232 | 27.3863
81 | 0.01364 | 0.0034194 | -0.013638 | -0.0034181 | 2.3156e-06 | 1.2975e-06 | 0.020623 | 0.020623 | 0.020623 | 0.98418 | -0.30303 | 0.98399 | -0.3066 | 5.6657
82 | 0.011774 | 0.0029511 | -0.011774 | -0.0029511 | 3.6297e-08 | 1.9352e-08 | 0.017806 | 0.017806 | 0.017806 | 0.98399 | -0.3066 | 0.98399 | -0.30666 | 4.8917
83 | -0.019849 | -0.0049764 | 0.019857 | 0.0049813 | 8.1438e-06 | 4.9125e-06 | 0.030185 | 0.030185 | 0.030185 | 0.97852 | -0.41359 | 0.97896 | -0.40498 | 8.2926
84 | 0.021508 | 0.0053986 | -0.021499 | -0.0053927 | 9.6564e-06 | 5.8768e-06 | 0.03268 | 0.03268 | 0.03268 | 0.97944 | -0.39556 | 0.97896 | -0.40498 | 8.9779
85 | -0.0059892 | -0.0015007 | 0.0059898 | 0.0015008 | 6.0367e-07 | 1.3736e-07 | 0.0090599 | 0.0090598 | 0.0090599 | 0.98367 | -0.31301 | 0.98377 | -0.3109 | 2.489
86 | -0.0081744 | -0.0020483 | 0.0081744 | 0.0020484 | 9.3852e-09 | 3.9279e-09 | 0.012364 | 0.012364 | 0.012364 | 0.98377 | -0.3109 | 0.98378 | -0.31087 | 3.3967
87 | -0.0097781 | -0.0024503 | 0.00978 | 0.0024512 | 1.9617e-06 | 9.5178e-07 | 0.01479 | 0.01479 | 0.01479 | 0.98378 | -0.31087 | 0.98399 | -0.30666 | 4.0631

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5992 | 0.15313

## res_load
| p_mw | q_mvar
0 | 0.004429 | 0.00111
1 | 0.0020935 | 0.00052469
2 | 0.0041689 | 0.0010448
3 | 0.0082303 | 0.0020627
4 | 0.01805 | 0.0045239
5 | 0.0024819 | 0.00062202
6 | 0.0068448 | 0.0017155
7 | 0.0015824 | 0.00039659
8 | 0.011282 | 0.0028276
9 | 0.029018 | 0.0072725
10 | 0.011715 | 0.0029362
11 | 0.070289 | 0.017616
12 | 0.0037334 | 0.00093569
13 | 0.029071 | 0.0072858
14 | 0.043526 | 0.010909
15 | 0.0051233 | 0.001284
16 | 0.01183 | 0.0029649
17 | 0.012095 | 0.0030313
18 | 0.012077 | 0.0030269
19 | 0.0058786 | 0.0014733
20 | 0.01196 | 0.0029974
21 | 0.0055921 | 0.0014015
22 | 0.0087241 | 0.0021865
23 | 0.013864 | 0.0034747
24 | 0.0035408 | 0.0008874
25 | 0.0023101 | 0.00057896
26 | 0.037148 | 0.0093101
27 | 0.0013947 | 0.00034953
28 | 0.062602 | 0.015689
29 | 0.0045534 | 0.0011412
30 | 0.0047291 | 0.0011852
31 | 0.0018268 | 0.00045784
32 | 0.025836 | 0.0064752
33 | 0.014491 | 0.0036317
34 | 0.0027719 | 0.00069469
35 | 0.0017514 | 0.00043893
36 | 0.004105 | 0.0010288
37 | 0.0038363 | 0.00096146
38 | 0.0040364 | 0.0010116
39 | 0.0048398 | 0.001213
40 | 0.0049948 | 0.0012518
41 | 0.0018743 | 0.00046974
42 | 0.0022067 | 0.00055304
43 | 0.0024061 | 0.00060302
44 | 0.0021164 | 0.00053042
45 | 0.0023675 | 0.00059334
46 | 0.0023915 | 0.00059937
47 | 0.0021902 | 0.00054892
48 | 0.023166 | 0.0058059
49 | 0.005332 | 0.0013363
50 | 0.0018633 | 0.00046698
51 | 0.011025 | 0.0027631
52 | 0.001808 | 0.00045312
53 | 0.0021108 | 0.00052902
54 | 0.0019081 | 0.00047822
55 | 0.0021846 | 0.00054751
56 | 0.0016036 | 0.00040191
57 | 0.0019944 | 0.00049985
58 | 0.0016413 | 0.00041135

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1