## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-79_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-79_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1061-79_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-79_0_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_1061-79_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_1061-79_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1061-79_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1061-79_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1061-79_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1061-79_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_1061-79_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1061-79_0_4_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_1061-79_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1061-79_0_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1061-79_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1061-79_0_4_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_1061-79_0_4_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_1061-79_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1061-79_0_4_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_1061-79_0_4_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_1061-79_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1061-79_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_1061-79_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1061-79_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1061-79_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1061-79_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1061-79_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1061-79_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1061-79_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1061-79_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1061-79_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1061-79_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1061-79_0_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1061-79_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1061-79_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1061-79_0_4_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_1061-79_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_1061-79_0_4_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_1061-79_0_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_1061-79_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_1061-79_0_4_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_1061-79_0_4_node_12 | 0.4 | n |  | TRUE
42 | bus_LV_1061-79_0_4_node_13 | 0.4 | n |  | TRUE
43 | bus_LV_1061-79_0_4_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_1061-79_0_4_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_1061-79_0_4_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_1061-79_0_4_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_1061-79_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_1061-79_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_1061-79_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1061-79_0_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1061-79_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_1061-79_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_1061-79_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1061-79_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_1061-79_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1061-79_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_1061-79_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1061-79_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1061-79_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1061-79_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1061-79_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_1061-79_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_1061-79_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1061-79_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_1061-79_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_1061-79_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1061-79_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_1061-79_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1061-79_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_1061-79_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_1061-79_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_1061-79_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_MV_3_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-79_0_4_load_0 | 0 | 0.010149 | 0.0025436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-79_0_4_load_24 | 4 | 0.019608 | 0.0049141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-79_0_4_load_22 | 5 | 0.011172 | 0.0028 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-79_0_4_load_48 | 9 | 0.015955 | 0.0039986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-79_0_4_load_36 | 12 | 0.019436 | 0.004871 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-79_0_4_load_34 | 13 | 0.036239 | 0.0090824 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-79_0_4_load_75 | 15 | 0.0062145 | 0.0015575 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-79_0_4_load_74 | 16 | 0.0065454 | 0.0016404 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-79_0_4_load_81 | 19 | 0.0065596 | 0.001644 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-79_0_4_load_72 | 21 | 0.0068785 | 0.0017239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-79_0_4_load_17 | 23 | 0.0021775 | 0.00054572 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-79_0_4_load_39 | 24 | 0.020054 | 0.0050261 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-79_0_4_load_38 | 25 | 0.012599 | 0.0031577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-79_0_4_load_28 | 29 | 0.0010307 | 0.00025831 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-79_0_4_load_49 | 30 | 0.0069206 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-79_0_4_load_40 | 31 | 0.012291 | 0.0030805 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-79_0_4_load_60 | 32 | 0.010655 | 0.0026705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-79_0_4_load_76 | 35 | 0.0072978 | 0.001829 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-79_0_4_load_73 | 36 | 0.0321 | 0.0080451 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-79_0_4_load_80 | 37 | 0.0045584 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-79_0_4_load_78 | 38 | 0.0078402 | 0.0019649 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-79_0_4_load_71 | 39 | 0.0074644 | 0.0018707 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-79_0_4_load_16 | 40 | 0.001261 | 0.00031605 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-79_0_4_load_12 | 41 | 0.0013789 | 0.00034558 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-79_0_4_load_13 | 42 | 0.0034253 | 0.00085846 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-79_0_4_load_15 | 43 | 0.00087699 | 0.00021979 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-79_0_4_load_65 | 46 | 0.0016134 | 0.00040436 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-79_0_4_load_62 | 47 | 0.00068141 | 0.00017078 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-79_0_4_load_63 | 48 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-79_0_4_load_59 | 50 | 0.0030599 | 0.00076689 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-79_0_4_load_26 | 51 | 0.010853 | 0.00272 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-79_0_4_load_27 | 52 | 0.0056541 | 0.001417 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-79_0_4_load_50 | 53 | 0.0011537 | 0.00028915 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-79_0_4_load_61 | 54 | 0.0016003 | 0.00040107 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-79_0_4_load_51 | 56 | 0.0125 | 0.0031328 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-79_0_4_load_52 | 57 | 0.012346 | 0.0030942 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-79_0_4_load_42 | 58 | 0.008405 | 0.0021065 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-79_0_4_load_57 | 61 | 0.017982 | 0.0045068 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-79_0_4_load_58 | 63 | 0.023487 | 0.0058863 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-79_0_4_load_54 | 64 | 0.0076312 | 0.0019126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-79_0_4_load_55 | 65 | 0.0075553 | 0.0018935 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-79_0_4_load_56 | 66 | 0.0076569 | 0.001919 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-79_0_4_load_64 | 67 | 0.0015501 | 0.0003885 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-79_0_4_load_67 | 69 | 0.0018537 | 0.00046457 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-79_0_4_load_69 | 70 | 0.0025518 | 0.00063953 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-79_0_4_load_70 | 71 | 0.0028794 | 0.00072166 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-79_0_4_load_77 | 72 | 0.011562 | 0.0028978 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-79_0_4_line_0 |  | 0 | 1 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-79_0_4_line_1 |  | 1 | 2 | 0.066247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1061-79_0_4_line_2 |  | 1 | 3 | 0.086312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1061-79_0_4_line_3 |  | 2 | 4 | 0.022192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1061-79_0_4_line_4 |  | 2 | 5 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-79_0_4_line_5 |  | 3 | 22 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-79_0_4_line_6 |  | 3 | 23 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-79_0_4_line_7 |  | 3 | 20 | 0.049825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1061-79_0_4_line_8 |  | 4 | 9 | 0.035061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1061-79_0_4_line_9 |  | 6 | 7 | 0.058237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-79_0_4_line_10 |  | 6 | 8 | 0.045369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-79_0_4_line_11 |  | 6 | 9 | 0.0047089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1061-79_0_4_line_12 |  | 7 | 13 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1061-79_0_4_line_13 |  | 8 | 24 | 0.0051094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-79_0_4_line_14 |  | 8 | 25 | 0.042826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-79_0_4_line_15 |  | 10 | 11 | 0.033522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1061-79_0_4_line_16 |  | 10 | 12 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1061-79_0_4_line_17 |  | 11 | 32 | 0.025093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1061-79_0_4_line_18 |  | 11 | 33 | 0.035225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-79_0_4_line_19 |  | 12 | 34 | 0.0125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1061-79_0_4_line_20 |  | 13 | 34 | 0.026335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1061-79_0_4_line_21 |  | 14 | 15 | 0.013923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-79_0_4_line_22 |  | 14 | 16 | 0.023413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-79_0_4_line_23 |  | 15 | 35 | 0.0031433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-79_0_4_line_24 |  | 16 | 36 | 0.014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-79_0_4_line_25 |  | 17 | 18 | 0.042162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-79_0_4_line_26 |  | 17 | 19 | 0.052062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-79_0_4_line_27 |  | 18 | 37 | 0.006144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-79_0_4_line_28 |  | 18 | 38 | 0.023255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-79_0_4_line_29 |  | 20 | 21 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-79_0_4_line_30 |  | 21 | 39 | 0.0032254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-79_0_4_line_31 |  | 22 | 40 | 0.0016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-79_0_4_line_32 |  | 22 | 41 | 0.0098575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-79_0_4_line_33 |  | 25 | 28 | 0.02329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-79_0_4_line_34 |  | 26 | 27 | 0.030873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-79_0_4_line_35 |  | 26 | 28 | 0.046148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-79_0_4_line_36 |  | 26 | 29 | 0.0027676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-79_0_4_line_37 |  | 27 | 30 | 0.026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-79_0_4_line_38 |  | 28 | 31 | 0.022969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-79_0_4_line_39 |  | 29 | 52 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-79_0_4_line_40 |  | 30 | 53 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-79_0_4_line_41 |  | 31 | 49 | 0.15656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-79_0_4_line_42 |  | 33 | 60 | 0.029038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-79_0_4_line_43 |  | 33 | 58 | 0.022045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-79_0_4_line_44 |  | 35 | 72 | 0.027532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-79_0_4_line_45 |  | 36 | 39 | 0.025709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-79_0_4_line_46 |  | 38 | 72 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-79_0_4_line_47 |  | 40 | 44 | 0.1787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-79_0_4_line_48 |  | 41 | 42 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-79_0_4_line_49 |  | 42 | 43 | 0.0015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-79_0_4_line_50 |  | 44 | 45 | 0.035236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-79_0_4_line_51 |  | 45 | 46 | 0.099995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-79_0_4_line_52 |  | 45 | 47 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-79_0_4_line_53 |  | 47 | 48 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-79_0_4_line_54 |  | 48 | 67 | 0.030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-79_0_4_line_55 |  | 49 | 50 | 0.057845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-79_0_4_line_56 |  | 51 | 52 | 0.027307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-79_0_4_line_57 |  | 54 | 55 | 0.03387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-79_0_4_line_58 |  | 55 | 62 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-79_0_4_line_59 |  | 55 | 59 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-79_0_4_line_60 |  | 56 | 57 | 0.030528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-79_0_4_line_61 |  | 57 | 62 | 0.0053691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-79_0_4_line_62 |  | 58 | 59 | 0.030458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-79_0_4_line_63 |  | 60 | 61 | 0.034111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-79_0_4_line_64 |  | 61 | 63 | 0.038926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-79_0_4_line_65 |  | 62 | 64 | 0.025817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-79_0_4_line_66 |  | 64 | 65 | 0.030656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-79_0_4_line_67 |  | 65 | 66 | 0.024673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-79_0_4_line_68 |  | 67 | 68 | 0.018082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-79_0_4_line_69 |  | 68 | 69 | 0.031823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-79_0_4_line_70 |  | 69 | 70 | 0.035498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-79_0_4_line_71 |  | 70 | 71 | 0.035932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-79_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 73 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2662193.5847 | 1211644.5328 | 2662197.7009 | 1211649.1118 | 2662201.8393 | 1211655.8087
1 | 2662137.8046 | 1211667.0432 | 2662158.217 | 1211652.9249 | 2662161.018 | 1211651.0196 | 2662162.6024 | 1211649.9132 | 2662167.1251 | 1211646.8474 | 2662170.2478 | 1211644.6897 | 2662177.0132 | 1211640.0573 | 2662179.4193 | 1211638.8595 | 2662181.5047 | 1211638.5365 | 2662185.6934 | 1211639.0805 | 2662189.6442 | 1211641.3119 | 2662193.5847 | 1211644.5328
2 | 2662193.5847 | 1211644.5328 | 2662189.6442 | 1211641.3119 | 2662185.6934 | 1211639.0805 | 2662181.5047 | 1211638.5365 | 2662179.4193 | 1211638.8595 | 2662177.0132 | 1211640.0573 | 2662176.3381 | 1211639.2165 | 2662173.9677 | 1211636.2677 | 2662184.4261 | 1211627.2601 | 2662192.9508 | 1211619.333 | 2662201.1126 | 1211611.958 | 2662205.4895 | 1211608.3125 | 2662209.8668 | 1211605.3452 | 2662212.7925 | 1211603.8748 | 2662216.0576 | 1211602.6303 | 2662219.6311 | 1211601.7004 | 2662224.4939 | 1211601.0062
3 | 2662137.8046 | 1211667.0432 | 2662119.541 | 1211679.6498
4 | 2662137.8046 | 1211667.0432 | 2662145.7173 | 1211679.1886 | 2662148.1059 | 1211683.2768
5 | 2662224.4939 | 1211601.0062 | 2662224.2628 | 1211587.4622
6 | 2662224.4939 | 1211601.0062 | 2662228.4216 | 1211601.0805 | 2662232.3075 | 1211601.5213 | 2662235.7171 | 1211602.4574 | 2662238.4705 | 1211603.6536 | 2662239.6492 | 1211604.2703
7 | 2662224.4939 | 1211601.0062 | 2662219.6311 | 1211601.7004 | 2662216.0576 | 1211602.6303 | 2662212.7925 | 1211603.8748 | 2662209.8668 | 1211605.3452 | 2662200.9758 | 1211590.8326 | 2662193.007 | 1211575.329
8 | 2662090.6863 | 1211699.5669 | 2662119.541 | 1211679.6498
9 | 2662087.9123 | 1211696.2639 | 2662086.4229 | 1211694.0804 | 2662085.7043 | 1211693.039 | 2662094.6913 | 1211686.6619 | 2662088.8523 | 1211678.2294 | 2662115.9707 | 1211659.3334
10 | 2662046.1301 | 1211690.9595 | 2662072.1293 | 1211694.8878 | 2662074.763 | 1211696.6385 | 2662080.5239 | 1211696.5206 | 2662085.7043 | 1211693.039 | 2662086.4229 | 1211694.0804 | 2662087.9123 | 1211696.2639
11 | 2662087.9123 | 1211696.2639 | 2662089.6713 | 1211698.8171 | 2662090.345 | 1211699.8025 | 2662090.6863 | 1211699.5669
12 | 2662115.9707 | 1211659.3334 | 2662113.9148 | 1211656.8216 | 2662112.6962 | 1211654.9077 | 2662107.7355 | 1211647.9331
13 | 2662046.1301 | 1211690.9595 | 2662043.9137 | 1211686.3558 | 2662043.9137 | 1211686.3558
14 | 2662046.1301 | 1211690.9595 | 2662003.5821 | 1211686.0907
15 | 2662098.0496 | 1211582.3332 | 2662118.0421 | 1211609.28
16 | 2662118.0421 | 1211609.28 | 2662095.3916 | 1211625.8921
17 | 2662098.0496 | 1211582.3332 | 2662077.6526 | 1211596.9494
18 | 2662077.0377 | 1211554.0196 | 2662098.0496 | 1211582.3332
19 | 2662087.6076 | 1211635.0234 | 2662089.374 | 1211630.3056 | 2662095.3916 | 1211625.8921
20 | 2662087.6076 | 1211635.0234 | 2662092.4733 | 1211634.0401 | 2662099.1935 | 1211636.6672 | 2662101.8298 | 1211639.6298 | 2662107.7355 | 1211647.9331
21 | 2662138.0269 | 1211513.6964 | 2662132.4956 | 1211507.0792 | 2662129.3348 | 1211502.8273
22 | 2662138.0269 | 1211513.6964 | 2662148.7505 | 1211525.9266 | 2662152.907 | 1211531.7405
23 | 2662127.4595 | 1211500.3046 | 2662129.3348 | 1211502.8273
24 | 2662161.7109 | 1211543.2136 | 2662157.6555 | 1211538.3825 | 2662152.907 | 1211531.7405
25 | 2662085.4058 | 1211453.8233 | 2662078.4798 | 1211459.2768 | 2662083.7175 | 1211465.6352 | 2662064.2055 | 1211481.5419
26 | 2662064.2055 | 1211481.5419 | 2662030.6935 | 1211446.6055 | 2662028.4561 | 1211443.7205
27 | 2662081.4503 | 1211449.1126 | 2662085.4058 | 1211453.8233
28 | 2662085.4058 | 1211453.8233 | 2662095.3715 | 1211465.1561 | 2662100.1206 | 1211471.7962
29 | 2662193.007 | 1211575.329 | 2662185.8306 | 1211568.3499 | 2662182.2266 | 1211563.3364
30 | 2662180.344 | 1211560.7175 | 2662182.2266 | 1211563.3364
31 | 2662224.2628 | 1211587.4622 | 2662223.9535 | 1211585.8715
32 | 2662224.2628 | 1211587.4622 | 2662226.6493 | 1211586.6866 | 2662229.2886 | 1211581.3442 | 2662229.9746 | 1211580.136
33 | 2661980.4432 | 1211683.4389 | 2661998.9994 | 1211685.5663 | 2662003.5821 | 1211686.0907
34 | 2661965.0984 | 1211725.4496 | 2661966.0648 | 1211722.3911 | 2661967.8888 | 1211718.6967 | 2661976.651 | 1211725.1694 | 2661977.0973 | 1211724.6293 | 2661979.9832 | 1211721.1238 | 2661980.7373 | 1211720.2089 | 2661981.1067 | 1211719.7569 | 2661984.0772 | 1211716.1522 | 2661984.6929 | 1211715.4026
35 | 2661980.4432 | 1211683.4389 | 2661968.4212 | 1211698.9013 | 2661966.3415 | 1211702.3373 | 2661975.489 | 1211708.2915 | 2661984.6929 | 1211715.4026
36 | 2661984.6929 | 1211715.4026 | 2661986.7886 | 1211717.2102
37 | 2661965.0984 | 1211725.4496 | 2661957.1947 | 1211750.4664
38 | 2661980.4432 | 1211683.4389 | 2661983.7208 | 1211660.7049
39 | 2661997.211 | 1211726.1995 | 2661986.7886 | 1211717.2102
40 | 2661957.1947 | 1211750.4664 | 2661952.6503 | 1211764.8504
41 | 2661974.9018 | 1211505.2172 | 2661979.8775 | 1211534.609 | 2661987.9041 | 1211604.5683 | 2661985.7168 | 1211646.8603 | 2661983.7208 | 1211660.7049
42 | 2662059.7889 | 1211530.6259 | 2662077.0377 | 1211554.0196
43 | 2662077.0377 | 1211554.0196 | 2662059.3698 | 1211567.2047
44 | 2662127.4595 | 1211500.3046 | 2662125.399 | 1211497.5329 | 2662107.7363 | 1211481.1691
45 | 2662180.344 | 1211560.7175 | 2662178.3256 | 1211557.9098 | 2662175.2782 | 1211554.2981 | 2662161.9112 | 1211543.4522 | 2662161.7109 | 1211543.2136
46 | 2662107.7363 | 1211481.1691 | 2662105.0333 | 1211478.6649 | 2662100.1206 | 1211471.7962
47 | 2662152.055 | 1211429.0353 | 2662158.2663 | 1211436.7603 | 2662163.7022 | 1211448.8909 | 2662179.062 | 1211466.1393 | 2662188.0682 | 1211473.2708 | 2662192.7324 | 1211478.5115 | 2662198.4209 | 1211487.5429 | 2662204.2464 | 1211499.4665 | 2662217.2234 | 1211528.7641 | 2662221.5871 | 1211543.8632 | 2662222.1869 | 1211562.114 | 2662222.157 | 1211576.6336 | 2662223.9535 | 1211585.8715
48 | 2662229.9746 | 1211580.136 | 2662238.2894 | 1211565.4907
49 | 2662238.2894 | 1211565.4907 | 2662239.0588 | 1211564.1356
50 | 2662152.055 | 1211429.0353 | 2662131.2475 | 1211422.6481 | 2662119.5869 | 1211415.7336
51 | 2662119.5869 | 1211415.7336 | 2662093.6833 | 1211411.9951 | 2662081.8227 | 1211408.9587 | 2662062.2408 | 1211399.427 | 2662046.9001 | 1211393.4416 | 2662030.8229 | 1211383.7463 | 2662026.3703 | 1211382.7612
52 | 2662119.5869 | 1211415.7336 | 2662105.2474 | 1211401.6686
53 | 2662105.2474 | 1211401.6686 | 2662089.777 | 1211386.4944 | 2662084.5248 | 1211381.1442
54 | 2662063.299 | 1211359.5221 | 2662084.5248 | 1211381.1442
55 | 2661974.9018 | 1211505.2172 | 2661965.7712 | 1211458.1159 | 2661962.5677 | 1211448.7832
56 | 2661997.211 | 1211726.1995 | 2662000.7413 | 1211729.2444 | 2662008.9405 | 1211737.9682 | 2662010.1989 | 1211738.9819 | 2662013.0321 | 1211739.8119 | 2662015.3722 | 1211739.8362 | 2662017.1298 | 1211739.6099 | 2662018.8872 | 1211738.672 | 2662018.8872 | 1211738.672
57 | 2662036.6652 | 1211605.9537 | 2662036.7924 | 1211620.7529 | 2662036.0109 | 1211622.8349 | 2662034.365 | 1211625.4639 | 2662034.4292 | 1211628.7888 | 2662036.5888 | 1211631.5574 | 2662039.335 | 1211632.72 | 2662043.2375 | 1211632.2936
58 | 2662036.6652 | 1211605.9537 | 2662032.8663 | 1211605.9141 | 2662026.0404 | 1211606.1322
59 | 2662036.3063 | 1211585.6709 | 2662036.6652 | 1211605.9537
60 | 2662025.108 | 1211642.0024 | 2662026.0138 | 1211626.9557 | 2662026.0336 | 1211611.5013
61 | 2662026.0404 | 1211606.1322 | 2662026.0336 | 1211611.5013
62 | 2662036.3063 | 1211585.6709 | 2662038.0651 | 1211580.9418 | 2662045.3301 | 1211577.2262 | 2662053.5731 | 1211571.5307 | 2662059.3698 | 1211567.2047
63 | 2662059.7889 | 1211530.6259 | 2662039.4977 | 1211503.2065
64 | 2662016.3421 | 1211471.9163 | 2662039.4977 | 1211503.2065
65 | 2662026.0404 | 1211606.1322 | 2662026.0598 | 1211594.0473 | 2662024.9659 | 1211580.3589
66 | 2662024.9659 | 1211580.3589 | 2662023.1013 | 1211557.0273 | 2662022.1234 | 1211549.8439
67 | 2662018.7951 | 1211525.3966 | 2662022.1234 | 1211549.8439
68 | 2662050.632 | 1211346.6185 | 2662063.299 | 1211359.5221
69 | 2662050.632 | 1211346.6185 | 2662035.0088 | 1211352.4374 | 2662022.6009 | 1211350.1404 | 2662020.2061 | 1211349.3174
70 | 2661989.3769 | 1211332.1228 | 2662011.4247 | 1211346.2997 | 2662020.2061 | 1211349.3174
71 | 2661989.3769 | 1211332.1228 | 2661987.3299 | 1211330.8066 | 2661962.0656 | 1211310.8432 | 2661961.1836 | 1211309.8905

## bus_geodata
| x | y | coords
0 | 2662201.8393 | 1211655.8087
1 | 2662193.5847 | 1211644.5328
2 | 2662137.8046 | 1211667.0432
3 | 2662224.4939 | 1211601.0062
4 | 2662119.541 | 1211679.6498
5 | 2662148.1059 | 1211683.2768
6 | 2662087.9123 | 1211696.2639
7 | 2662115.9707 | 1211659.3334
8 | 2662046.1301 | 1211690.9595
9 | 2662090.6863 | 1211699.5669
10 | 2662118.0421 | 1211609.28
11 | 2662098.0496 | 1211582.3332
12 | 2662095.3916 | 1211625.8921
13 | 2662107.7355 | 1211647.9331
14 | 2662138.0269 | 1211513.6964
15 | 2662129.3348 | 1211502.8273
16 | 2662152.907 | 1211531.7405
17 | 2662064.2055 | 1211481.5419
18 | 2662085.4058 | 1211453.8233
19 | 2662028.4561 | 1211443.7205
20 | 2662193.007 | 1211575.329
21 | 2662182.2266 | 1211563.3364
22 | 2662224.2628 | 1211587.4622
23 | 2662239.6492 | 1211604.2703
24 | 2662043.9137 | 1211686.3558
25 | 2662003.5821 | 1211686.0907
26 | 2661984.6929 | 1211715.4026
27 | 2661965.0984 | 1211725.4496
28 | 2661980.4432 | 1211683.4389
29 | 2661986.7886 | 1211717.2102
30 | 2661957.1947 | 1211750.4664
31 | 2661983.7208 | 1211660.7049
32 | 2662077.6526 | 1211596.9494
33 | 2662077.0377 | 1211554.0196
34 | 2662087.6076 | 1211635.0234
35 | 2662127.4595 | 1211500.3046
36 | 2662161.7109 | 1211543.2136
37 | 2662081.4503 | 1211449.1126
38 | 2662100.1206 | 1211471.7962
39 | 2662180.344 | 1211560.7175
40 | 2662223.9535 | 1211585.8715
41 | 2662229.9746 | 1211580.136
42 | 2662238.2894 | 1211565.4907
43 | 2662239.0588 | 1211564.1356
44 | 2662152.055 | 1211429.0353
45 | 2662119.5869 | 1211415.7336
46 | 2662026.3703 | 1211382.7612
47 | 2662105.2474 | 1211401.6686
48 | 2662084.5248 | 1211381.1442
49 | 2661974.9018 | 1211505.2172
50 | 2661962.5677 | 1211448.7832
51 | 2662018.8872 | 1211738.672
52 | 2661997.211 | 1211726.1995
53 | 2661952.6503 | 1211764.8504
54 | 2662043.2375 | 1211632.2936
55 | 2662036.6652 | 1211605.9537
56 | 2662025.108 | 1211642.0024
57 | 2662026.0336 | 1211611.5013
58 | 2662059.3698 | 1211567.2047
59 | 2662036.3063 | 1211585.6709
60 | 2662059.7889 | 1211530.6259
61 | 2662039.4977 | 1211503.2065
62 | 2662026.0404 | 1211606.1322
63 | 2662016.3421 | 1211471.9163
64 | 2662024.9659 | 1211580.3589
65 | 2662022.1234 | 1211549.8439
66 | 2662018.7951 | 1211525.3966
67 | 2662063.299 | 1211359.5221
68 | 2662050.632 | 1211346.6185
69 | 2662020.2061 | 1211349.3174
70 | 2661989.3769 | 1211332.1228
71 | 2661961.1836 | 1211309.8905
72 | 2662107.7363 | 1211481.1691
73 | 2662098.0496 | 1211582.3332

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98225 | -0.33998 | 0.010149 | 0.0025436
1 | 0.98238 | -0.33741 | 0 | 0
2 | 0.98437 | -0.29898 | 0 | 0
3 | 0.98 | -0.38374 | 0 | 0
4 | 0.98509 | -0.28502 | 0.019608 | 0.0049141
5 | 0.98417 | -0.30284 | 0.011172 | 0.0028
6 | 0.98658 | -0.25624 | 0 | 0
7 | 0.98994 | -0.19151 | 0 | 0
8 | 0.98349 | -0.31625 | 0 | 0
9 | 0.98639 | -0.25994 | 0.015955 | 0.0039986
10 | 0.9953 | -0.089119 | 0 | 0
11 | 0.99766 | -0.044278 | 0 | 0
12 | 0.99332 | -0.12686 | 0.019436 | 0.004871
13 | 0.99075 | -0.17593 | 0.036239 | 0.0090824
14 | 0.97352 | -0.51087 | 0 | 0
15 | 0.97295 | -0.52215 | 0.0062145 | 0.0015575
16 | 0.97448 | -0.49192 | 0.0065454 | 0.0016404
17 | 0.97134 | -0.55396 | 0 | 0
18 | 0.9716 | -0.54885 | 0 | 0
19 | 0.97102 | -0.56027 | 0.0065596 | 0.001644
20 | 0.97888 | -0.4057 | 0 | 0
21 | 0.97741 | -0.43431 | 0.0068785 | 0.0017239
22 | 0.97976 | -0.3885 | 0 | 0
23 | 0.97997 | -0.38436 | 0.0021775 | 0.00054572
24 | 0.98339 | -0.31809 | 0.020054 | 0.0050261
25 | 0.98137 | -0.35768 | 0.012599 | 0.0031577
26 | 0.97939 | -0.39642 | 0 | 0
27 | 0.97916 | -0.40096 | 0 | 0
28 | 0.98048 | -0.37497 | 0 | 0
29 | 0.97934 | -0.39731 | 0.0010307 | 0.00025831
30 | 0.97896 | -0.40481 | 0.0069206 | 0.0017345
31 | 0.98016 | -0.38137 | 0.012291 | 0.0030805
32 | 1 | 0 | -0.41174 | -0.10515
33 | 0.99446 | -0.10565 | 0 | 0
34 | 0.99249 | -0.14262 | 0 | 0
35 | 0.97284 | -0.52434 | 0.0072978 | 0.001829
36 | 0.97516 | -0.4785 | 0.0321 | 0.0080451
37 | 0.97157 | -0.54936 | 0.0045584 | 0.0011424
38 | 0.97184 | -0.54407 | 0.0078402 | 0.0019649
39 | 0.97714 | -0.43961 | 0.0074644 | 0.0018707
40 | 0.97974 | -0.38891 | 0.001261 | 0.00031605
41 | 0.97971 | -0.38952 | 0.0013789 | 0.00034558
42 | 0.97964 | -0.39084 | 0.0034253 | 0.00085846
43 | 0.97964 | -0.39086 | 0.00087699 | 0.00021979
44 | 0.97768 | -0.42932 | 0 | 0
45 | 0.97727 | -0.43731 | 0 | 0
46 | 0.97712 | -0.44025 | 0.0016134 | 0.00040436
47 | 0.97707 | -0.44127 | 0.00068141 | 0.00017078
48 | 0.9768 | -0.44666 | 0.0012848 | 0.000322
49 | 0.97971 | -0.39007 | 0 | 0
50 | 0.97955 | -0.39329 | 0.0030599 | 0.00076689
51 | 0.97886 | -0.40683 | 0.010853 | 0.00272
52 | 0.97913 | -0.40144 | 0.0056541 | 0.001417
53 | 0.97895 | -0.40512 | 0.0011537 | 0.00028915
54 | 0.99096 | -0.17335 | 0.0016003 | 0.00040107
55 | 0.99101 | -0.17239 | 0 | 0
56 | 0.99007 | -0.19052 | 0.0125 | 0.0031328
57 | 0.99042 | -0.18373 | 0.012346 | 0.0030942
58 | 0.9933 | -0.12809 | 0.008405 | 0.0021065
59 | 0.99192 | -0.15466 | 0 | 0
60 | 0.99336 | -0.1269 | 0 | 0
61 | 0.99207 | -0.15192 | 0.017982 | 0.0045068
62 | 0.99054 | -0.18136 | 0 | 0
63 | 0.99123 | -0.16812 | 0.023487 | 0.0058863
64 | 0.99 | -0.19185 | 0.0076312 | 0.0019126
65 | 0.98958 | -0.20014 | 0.0075553 | 0.0018935
66 | 0.9894 | -0.20351 | 0.0076569 | 0.001919
67 | 0.97655 | -0.45156 | 0.0015501 | 0.0003885
68 | 0.97643 | -0.45396 | 0 | 0
69 | 0.97621 | -0.45821 | 0.0018537 | 0.00046457
70 | 0.97603 | -0.46173 | 0.0025518 | 0.00063953
71 | 0.97594 | -0.46363 | 0.0028794 | 0.00072166
72 | 0.97205 | -0.53983 | 0.011562 | 0.0028978
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010149 | -0.0025436 | 0.01015 | 0.0025442 | 1.2436e-06 | 6.1832e-07 | 0.015375 | 0.015375 | 0.015375 | 0.98225 | -0.33998 | 0.98238 | -0.33741 | 4.2238
1 | -0.12956 | -0.032787 | 0.1298 | 0.032937 | 0.00023946 | 0.00014989 | 0.19636 | 0.19636 | 0.19636 | 0.98238 | -0.33741 | 0.98437 | -0.29898 | 13.4862
2 | 0.11941 | 0.030243 | -0.11915 | -0.030077 | 0.00026505 | 0.00016527 | 0.18098 | 0.18099 | 0.18099 | 0.98238 | -0.33741 | 0.98 | -0.38374 | 12.4304
3 | -0.14097 | -0.035738 | 0.14107 | 0.035797 | 9.4612e-05 | 5.9422e-05 | 0.21325 | 0.21325 | 0.21325 | 0.98437 | -0.29898 | 0.98509 | -0.28502 | 14.6463
4 | 0.011174 | 0.0028011 | -0.011172 | -0.0028 | 2.0577e-06 | 1.0725e-06 | 0.016892 | 0.016892 | 0.016892 | 0.98437 | -0.29898 | 0.98417 | -0.30284 | 4.6406
5 | 0.019401 | 0.0048727 | -0.019397 | -0.00487 | 4.4103e-06 | 2.6519e-06 | 0.029462 | 0.029462 | 0.029462 | 0.98 | -0.38374 | 0.97976 | -0.3885 | 8.094
6 | 0.0021775 | 0.00054557 | -0.0021775 | -0.00054572 | 6.4389e-08 | -1.5669e-07 | 0.0033062 | 0.0033063 | 0.0033063 | 0.98 | -0.38374 | 0.97997 | -0.38436 | 0.90833
7 | 0.097567 | 0.024659 | -0.097464 | -0.024596 | 0.00010262 | 6.3167e-05 | 0.14822 | 0.14822 | 0.14822 | 0.98 | -0.38374 | 0.97888 | -0.4057 | 10.1799
8 | -0.16068 | -0.040711 | 0.16087 | 0.040834 | 0.00019388 | 0.0001223 | 0.24287 | 0.24287 | 0.24287 | 0.98509 | -0.28502 | 0.98639 | -0.25994 | 16.6804
9 | -0.25087 | -0.06355 | 0.25165 | 0.064048 | 0.00078267 | 0.00049792 | 0.37862 | 0.37862 | 0.37862 | 0.98658 | -0.25624 | 0.98994 | -0.19151 | 26.0041
10 | 0.074014 | 0.018698 | -0.073801 | -0.018562 | 0.00021222 | 0.00013524 | 0.11168 | 0.11168 | 0.11168 | 0.98658 | -0.25624 | 0.98349 | -0.31625 | 30.6826
11 | 0.17686 | 0.044852 | -0.17683 | -0.044832 | 3.1456e-05 | 1.9891e-05 | 0.26694 | 0.26694 | 0.26694 | 0.98658 | -0.25624 | 0.98639 | -0.25994 | 18.3335
12 | -0.25165 | -0.064048 | 0.25184 | 0.064168 | 0.00018914 | 0.00012032 | 0.37862 | 0.37862 | 0.37862 | 0.98994 | -0.19151 | 0.99075 | -0.17593 | 26.004
13 | 0.020056 | 0.0050272 | -0.020054 | -0.0050261 | 1.7643e-06 | 1.0644e-06 | 0.030345 | 0.030345 | 0.030345 | 0.98349 | -0.31625 | 0.98339 | -0.31809 | 8.3366
14 | 0.053745 | 0.013535 | -0.053639 | -0.013468 | 0.00010625 | 6.7459e-05 | 0.08134 | 0.08134 | 0.08134 | 0.98349 | -0.31625 | 0.98137 | -0.35768 | 22.3461
15 | -0.30876 | -0.078915 | 0.30943 | 0.079343 | 0.00067125 | 0.00042785 | 0.46216 | 0.46216 | 0.46216 | 0.9953 | -0.089119 | 0.99766 | -0.044278 | 31.7417
16 | 0.30876 | 0.078915 | -0.3082 | -0.078556 | 0.00056246 | 0.00035852 | 0.46216 | 0.46216 | 0.46216 | 0.9953 | -0.089119 | 0.99332 | -0.12686 | 31.7417
17 | -0.40921 | -0.10458 | 0.41009 | 0.10515 | 0.00087841 | 0.00056087 | 0.61106 | 0.61106 | 0.61106 | 0.99766 | -0.044278 | 1 | 0 | 41.9685
18 | 0.099779 | 0.025242 | -0.099486 | -0.025055 | 0.00029288 | 0.00018699 | 0.1489 | 0.1489 | 0.1489 | 0.99766 | -0.044278 | 0.99446 | -0.10565 | 40.9078
19 | 0.28876 | 0.073685 | -0.28854 | -0.073545 | 0.00021976 | 0.00014 | 0.43304 | 0.43305 | 0.43305 | 0.99332 | -0.12686 | 0.99249 | -0.14262 | 29.7421
20 | -0.28808 | -0.07325 | 0.28854 | 0.073545 | 0.00046298 | 0.00029495 | 0.43305 | 0.43305 | 0.43305 | 0.99075 | -0.17593 | 0.99249 | -0.14262 | 29.7421
21 | 0.044093 | 0.011072 | -0.04407 | -0.011057 | 2.372e-05 | 1.5008e-05 | 0.067404 | 0.067404 | 0.067404 | 0.97352 | -0.51087 | 0.97295 | -0.52215 | 18.5175
22 | -0.044093 | -0.011072 | 0.044133 | 0.011097 | 3.9888e-05 | 2.5237e-05 | 0.067404 | 0.067404 | 0.067404 | 0.97352 | -0.51087 | 0.97448 | -0.49192 | 18.5175
23 | 0.037855 | 0.0094995 | -0.037851 | -0.009497 | 3.9516e-06 | 2.49e-06 | 0.057899 | 0.057899 | 0.057899 | 0.97295 | -0.52215 | 0.97284 | -0.52434 | 15.9064
24 | -0.050678 | -0.012738 | 0.050711 | 0.012758 | 3.2511e-05 | 2.0627e-05 | 0.077398 | 0.077398 | 0.077398 | 0.97448 | -0.49192 | 0.97516 | -0.4785 | 21.2633
25 | -0.0065616 | -0.0016446 | 0.0065632 | 0.0016451 | 1.5975e-06 | 5.0039e-07 | 0.010052 | 0.010052 | 0.010052 | 0.97134 | -0.55396 | 0.9716 | -0.54885 | 2.7615
26 | 0.0065616 | 0.0016446 | -0.0065596 | -0.001644 | 1.9727e-06 | 6.1831e-07 | 0.010052 | 0.010052 | 0.010052 | 0.97134 | -0.55396 | 0.97102 | -0.56027 | 2.7616
27 | 0.0045585 | 0.0011424 | -0.0045584 | -0.0011424 | 1.123e-07 | -4.2189e-09 | 0.0069814 | 0.0069814 | 0.0069814 | 0.9716 | -0.54885 | 0.97157 | -0.54936 | 1.918
28 | -0.011122 | -0.0027876 | 0.011124 | 0.0027889 | 2.5301e-06 | 1.3312e-06 | 0.017033 | 0.017033 | 0.017033 | 0.9716 | -0.54885 | 0.97184 | -0.54407 | 4.6794
29 | 0.097464 | 0.024596 | -0.097331 | -0.024511 | 0.00013334 | 8.5132e-05 | 0.14822 | 0.14822 | 0.14822 | 0.97888 | -0.4057 | 0.97741 | -0.43431 | 40.7195
30 | 0.090453 | 0.022787 | -0.09043 | -0.022772 | 2.295e-05 | 1.4647e-05 | 0.13775 | 0.13775 | 0.13775 | 0.97741 | -0.43431 | 0.97714 | -0.43961 | 37.8426
31 | 0.013715 | 0.0034462 | -0.013715 | -0.003446 | 2.6375e-07 | 1.4839e-07 | 0.020833 | 0.020833 | 0.020833 | 0.97976 | -0.3885 | 0.97974 | -0.38891 | 5.7234
32 | 0.0056817 | 0.0014238 | -0.0056814 | -0.0014238 | 2.7525e-07 | 5.2027e-08 | 0.0086291 | 0.0086291 | 0.0086291 | 0.97976 | -0.3885 | 0.97971 | -0.38952 | 2.3706
33 | 0.04104 | 0.01031 | -0.041006 | -0.010289 | 3.3829e-05 | 2.1357e-05 | 0.062236 | 0.062236 | 0.062236 | 0.98137 | -0.35768 | 0.98048 | -0.37497 | 17.0978
34 | 0.0080775 | 0.0020248 | -0.0080758 | -0.002024 | 1.7438e-06 | 7.2759e-07 | 0.012273 | 0.012273 | 0.012273 | 0.97939 | -0.39642 | 0.97916 | -0.40096 | 3.3716
35 | -0.025622 | -0.0064239 | 0.025648 | 0.0064401 | 2.6226e-05 | 1.6203e-05 | 0.038929 | 0.038929 | 0.038929 | 0.97939 | -0.39642 | 0.98048 | -0.37497 | 10.6948
36 | 0.017544 | 0.0043991 | -0.017544 | -0.0043987 | 7.3747e-07 | 4.3715e-07 | 0.026657 | 0.026657 | 0.026657 | 0.97939 | -0.39642 | 0.97934 | -0.39731 | 7.3233
37 | 0.0080758 | 0.002024 | -0.0080743 | -0.0020234 | 1.4819e-06 | 6.1847e-07 | 0.012273 | 0.012273 | 0.012273 | 0.97916 | -0.40096 | 0.97896 | -0.40481 | 3.3717
38 | 0.015358 | 0.0038485 | -0.015353 | -0.0038458 | 4.679e-06 | 2.7049e-06 | 0.023307 | 0.023307 | 0.023307 | 0.98048 | -0.37497 | 0.98016 | -0.38137 | 6.4031
39 | 0.016513 | 0.0041404 | -0.01651 | -0.0041385 | 3.2493e-06 | 1.9064e-06 | 0.025091 | 0.025091 | 0.025091 | 0.97934 | -0.39731 | 0.97913 | -0.40144 | 6.8931
40 | 0.0011537 | 0.00028897 | -0.0011537 | -0.00028915 | 1.7396e-08 | -1.7853e-07 | 0.0017536 | 0.0017537 | 0.0017537 | 0.97896 | -0.40481 | 0.97895 | -0.40512 | 0.48178
41 | 0.0030617 | 0.0007653 | -0.0030604 | -0.00076646 | 1.2682e-06 | -1.1608e-06 | 0.0046473 | 0.004648 | 0.004648 | 0.98016 | -0.38137 | 0.97971 | -0.39007 | 1.2769
42 | 0.041579 | 0.010462 | -0.041537 | -0.010436 | 4.2169e-05 | 2.6612e-05 | 0.062229 | 0.062229 | 0.062229 | 0.99446 | -0.10565 | 0.99336 | -0.1269 | 17.096
43 | 0.057907 | 0.014593 | -0.057845 | -0.014553 | 6.2107e-05 | 3.9463e-05 | 0.086675 | 0.086675 | 0.086675 | 0.99446 | -0.10565 | 0.9933 | -0.12809 | 23.8119
44 | 0.030553 | 0.007668 | -0.030531 | -0.007654 | 2.2552e-05 | 1.4092e-05 | 0.046737 | 0.046737 | 0.046737 | 0.97284 | -0.52434 | 0.97205 | -0.53983 | 12.8399
45 | -0.082811 | -0.020803 | 0.082965 | 0.020902 | 0.00015398 | 9.8227e-05 | 0.12638 | 0.12638 | 0.12638 | 0.97516 | -0.4785 | 0.97714 | -0.43961 | 34.7199
46 | -0.018964 | -0.0047538 | 0.018968 | 0.0047561 | 3.8352e-06 | 2.3042e-06 | 0.029037 | 0.029037 | 0.029037 | 0.97184 | -0.54407 | 0.97205 | -0.53983 | 7.9773
47 | 0.012454 | 0.00313 | -0.01243 | -0.0031169 | 2.3984e-05 | 1.3104e-05 | 0.018918 | 0.018919 | 0.018919 | 0.97974 | -0.38891 | 0.97768 | -0.42932 | 5.1974
48 | 0.0043026 | 0.0010782 | -0.0043023 | -0.0010782 | 2.697e-07 | -3.9446e-08 | 0.0065348 | 0.0065349 | 0.0065349 | 0.97971 | -0.38952 | 0.97964 | -0.39084 | 1.7953
49 | 0.00087699 | 0.00021977 | -0.00087699 | -0.00021979 | 1.037e-09 | -1.8957e-08 | 0.0013321 | 0.0013321 | 0.0013321 | 0.97964 | -0.39084 | 0.97964 | -0.39086 | 0.36596
50 | 0.01243 | 0.0031169 | -0.012425 | -0.0031143 | 4.7293e-06 | 2.5851e-06 | 0.018919 | 0.018919 | 0.018919 | 0.97768 | -0.42932 | 0.97727 | -0.43731 | 5.1975
51 | 0.0016137 | 0.00040325 | -0.0016134 | -0.00040436 | 2.2633e-07 | -1.1079e-06 | 0.0024566 | 0.002457 | 0.002457 | 0.97727 | -0.43731 | 0.97712 | -0.44025 | 0.675
52 | 0.010811 | 0.002711 | -0.010809 | -0.00271 | 2.0413e-06 | 1.0548e-06 | 0.016462 | 0.016462 | 0.016462 | 0.97727 | -0.43731 | 0.97707 | -0.44127 | 4.5226
53 | 0.010128 | 0.0025392 | -0.010125 | -0.0025379 | 2.6023e-06 | 1.3003e-06 | 0.015425 | 0.015425 | 0.015425 | 0.97707 | -0.44127 | 0.9768 | -0.44666 | 4.2375
54 | 0.0088406 | 0.0022159 | -0.0088385 | -0.002215 | 2.0608e-06 | 9.3975e-07 | 0.013467 | 0.013468 | 0.013468 | 0.9768 | -0.44666 | 0.97655 | -0.45156 | 3.6999
55 | 0.0030604 | 0.00076646 | -0.0030599 | -0.00076689 | 4.6866e-07 | -4.2834e-07 | 0.004648 | 0.0046483 | 0.0046483 | 0.97971 | -0.39007 | 0.97955 | -0.39329 | 1.277
56 | -0.010853 | -0.00272 | 0.010856 | 0.0027215 | 2.7872e-06 | 1.4405e-06 | 0.016498 | 0.016498 | 0.016498 | 0.97886 | -0.40683 | 0.97913 | -0.40144 | 4.5325
57 | -0.0016003 | -0.00040107 | 0.0016004 | 0.00040068 | 7.3338e-08 | -3.8944e-07 | 0.002403 | 0.0024028 | 0.002403 | 0.99096 | -0.17335 | 0.99101 | -0.17239 | 0.66017
58 | 0.047735 | 0.01198 | -0.047715 | -0.011967 | 2.0419e-05 | 1.2932e-05 | 0.071681 | 0.071682 | 0.071682 | 0.99101 | -0.17239 | 0.99054 | -0.18136 | 19.6927
59 | -0.049336 | -0.012381 | 0.049378 | 0.012407 | 4.176e-05 | 2.6465e-05 | 0.074084 | 0.074084 | 0.074084 | 0.99101 | -0.17239 | 0.99192 | -0.15466 | 20.3528
60 | -0.0125 | -0.0031328 | 0.012504 | 0.003135 | 4.0405e-06 | 2.1932e-06 | 0.018787 | 0.018787 | 0.018787 | 0.99007 | -0.19052 | 0.99042 | -0.18373 | 5.1612
61 | -0.02485 | -0.0062292 | 0.024853 | 0.0062309 | 2.8066e-06 | 1.7271e-06 | 0.037335 | 0.037335 | 0.037335 | 0.99042 | -0.18373 | 0.99054 | -0.18136 | 10.257
62 | 0.04944 | 0.012447 | -0.049378 | -0.012407 | 6.2687e-05 | 3.9726e-05 | 0.074084 | 0.074084 | 0.074084 | 0.9933 | -0.12809 | 0.99192 | -0.15466 | 20.3528
63 | 0.041537 | 0.010436 | -0.041487 | -0.010404 | 4.9536e-05 | 3.1262e-05 | 0.062229 | 0.06223 | 0.06223 | 0.99336 | -0.1269 | 0.99207 | -0.15192 | 17.096
64 | 0.023505 | 0.0058974 | -0.023487 | -0.0058863 | 1.8146e-05 | 1.1111e-05 | 0.035258 | 0.035258 | 0.035258 | 0.99207 | -0.15192 | 0.99123 | -0.16812 | 9.6862
65 | 0.022862 | 0.005736 | -0.022851 | -0.005729 | 1.1421e-05 | 6.9771e-06 | 0.034346 | 0.034346 | 0.034346 | 0.99054 | -0.18136 | 0.99 | -0.19185 | 9.4358
66 | 0.015219 | 0.0038165 | -0.015213 | -0.003813 | 6.0161e-06 | 3.4563e-06 | 0.022876 | 0.022876 | 0.022876 | 0.99 | -0.19185 | 0.98958 | -0.20014 | 6.2847
67 | 0.0076581 | 0.0019195 | -0.0076569 | -0.001919 | 1.2269e-06 | 4.6831e-07 | 0.011515 | 0.011516 | 0.011516 | 0.98958 | -0.20014 | 0.9894 | -0.20351 | 3.1636
68 | 0.0072884 | 0.0018265 | -0.0072875 | -0.0018262 | 8.363e-07 | 3.0903e-07 | 0.011106 | 0.011106 | 0.011106 | 0.97655 | -0.45156 | 0.97643 | -0.45396 | 3.051
69 | 0.0072875 | 0.0018262 | -0.007286 | -0.0018256 | 1.4718e-06 | 5.4403e-07 | 0.011106 | 0.011106 | 0.011106 | 0.97643 | -0.45396 | 0.97621 | -0.45821 | 3.051
70 | 0.0054324 | 0.001361 | -0.0054315 | -0.0013609 | 9.1271e-07 | 1.404e-07 | 0.0082803 | 0.0082805 | 0.0082805 | 0.97621 | -0.45821 | 0.97603 | -0.46173 | 2.2749
71 | 0.0028797 | 0.00072138 | -0.0028794 | -0.00072166 | 2.5971e-07 | -2.8281e-07 | 0.0043902 | 0.0043903 | 0.0043903 | 0.97603 | -0.46173 | 0.97594 | -0.46363 | 1.2061

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4224 | 0.10782

## res_load
| p_mw | q_mvar
0 | 0.010149 | 0.0025436
1 | 0.019608 | 0.0049141
2 | 0.011172 | 0.0028
3 | 0.015955 | 0.0039986
4 | 0.019436 | 0.004871
5 | 0.036239 | 0.0090824
6 | 0.0062145 | 0.0015575
7 | 0.0065454 | 0.0016404
8 | 0.0065596 | 0.001644
9 | 0.0068785 | 0.0017239
10 | 0.0021775 | 0.00054572
11 | 0.020054 | 0.0050261
12 | 0.012599 | 0.0031577
13 | 0.0010307 | 0.00025831
14 | 0.0069206 | 0.0017345
15 | 0.012291 | 0.0030805
16 | 0.010655 | 0.0026705
17 | 0.0072978 | 0.001829
18 | 0.0321 | 0.0080451
19 | 0.0045584 | 0.0011424
20 | 0.0078402 | 0.0019649
21 | 0.0074644 | 0.0018707
22 | 0.001261 | 0.00031605
23 | 0.0013789 | 0.00034558
24 | 0.0034253 | 0.00085846
25 | 0.00087699 | 0.00021979
26 | 0.0016134 | 0.00040436
27 | 0.00068141 | 0.00017078
28 | 0.0012848 | 0.000322
29 | 0.0030599 | 0.00076689
30 | 0.010853 | 0.00272
31 | 0.0056541 | 0.001417
32 | 0.0011537 | 0.00028915
33 | 0.0016003 | 0.00040107
34 | 0.0125 | 0.0031328
35 | 0.012346 | 0.0030942
36 | 0.008405 | 0.0021065
37 | 0.017982 | 0.0045068
38 | 0.023487 | 0.0058863
39 | 0.0076312 | 0.0019126
40 | 0.0075553 | 0.0018935
41 | 0.0076569 | 0.001919
42 | 0.0015501 | 0.0003885
43 | 0.0018537 | 0.00046457
44 | 0.0025518 | 0.00063953
45 | 0.0028794 | 0.00072166
46 | 0.011562 | 0.0028978

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1