## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-85_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-85_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-85_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-85_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-85_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-85_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_1061-85_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1061-85_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_1061-85_0_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_1061-85_0_4_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_1061-85_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1061-85_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1061-85_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1061-85_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1061-85_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1061-85_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-85_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-85_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1061-85_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_1061-85_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1061-85_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1061-85_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1061-85_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1061-85_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1061-85_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1061-85_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1061-85_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1061-85_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1061-85_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1061-85_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1061-85_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1061-85_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1061-85_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_1061-85_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1061-85_0_4_node_11 | 0.4 | n |  | TRUE
35 | bus_LV_1061-85_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1061-85_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1061-85_0_4_node_12 | 0.4 | n |  | TRUE
38 | bus_LV_1061-85_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1061-85_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1061-85_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1061-85_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1061-85_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1061-85_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1061-85_0_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_1061-85_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1061-85_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1061-85_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1061-85_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1061-85_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_1061-85_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1061-85_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_1061-85_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1061-85_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_MV_213_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-85_0_4_load_0 | 0 | 0.0057463 | 0.0014402 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-85_0_4_load_2 | 2 | 0.0046125 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-85_0_4_load_4 | 4 | 0.0035054 | 0.00087854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-85_0_4_load_46 | 5 | 0.0072518 | 0.0018175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-85_0_4_load_56 | 8 | 0.0087124 | 0.0021835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-85_0_4_load_55 | 9 | 0.0045243 | 0.0011339 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-85_0_4_load_5 | 12 | 0.0021459 | 0.00053781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-85_0_4_load_6 | 13 | 0.03238 | 0.0081152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-85_0_4_load_10 | 16 | 0.0038325 | 0.00096052 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-85_0_4_load_49 | 18 | 0.045502 | 0.011404 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-85_0_4_load_44 | 19 | 0.0065834 | 0.00165 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-85_0_4_load_43 | 20 | 0.011815 | 0.0029611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-85_0_4_load_38 | 21 | 0.0086655 | 0.0021718 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-85_0_4_load_37 | 24 | 0.017769 | 0.0044533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-85_0_4_load_45 | 26 | 0.0094547 | 0.0023696 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-85_0_4_load_14 | 28 | 0.022808 | 0.0057163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-85_0_4_load_35 | 31 | 0.0083842 | 0.0021013 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-85_0_4_load_58 | 32 | 0.0019914 | 0.0004991 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-85_0_4_load_15 | 33 | 0.023979 | 0.0060096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-85_0_4_load_11 | 34 | 0.016005 | 0.0040112 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-85_0_4_load_24 | 35 | 0.0059641 | 0.0014948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-85_0_4_load_42 | 36 | 0.033276 | 0.0083397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-85_0_4_load_12 | 37 | 0.015939 | 0.0039948 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-85_0_4_load_36 | 38 | 0.02163 | 0.0054209 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-85_0_4_load_34 | 39 | 0.0063875 | 0.0016009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-85_0_4_load_31 | 40 | 0.0050103 | 0.0012557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-85_0_4_load_25 | 41 | 0.0069838 | 0.0017503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-85_0_4_load_40 | 42 | 0.0096999 | 0.002431 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-85_0_4_load_39 | 43 | 0.052351 | 0.01312 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-85_0_4_load_57 | 44 | 0.0085965 | 0.0021545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-85_0_4_load_32 | 45 | 0.011025 | 0.0027631 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-85_0_4_load_30 | 46 | 0.0062115 | 0.0015567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-85_0_4_load_51 | 47 | 0.013142 | 0.0032937 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-85_0_4_load_50 | 48 | 0.0063927 | 0.0016022 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-85_0_4_load_29 | 49 | 0.015035 | 0.0037682 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-85_0_4_load_41 | 50 | 0.010247 | 0.0025682 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-85_0_4_load_54 | 51 | 0.0038438 | 0.00096334 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-85_0_4_load_52 | 52 | 0.0060848 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-85_0_4_load_53 | 53 | 0.0018566 | 0.00046531 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-85_0_4_line_0 |  | 0 | 1 | 0.034687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-85_0_4_line_1 |  | 0 | 2 | 0.010421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-85_0_4_line_2 |  | 1 | 3 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-85_0_4_line_3 |  | 1 | 4 | 0.080567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-85_0_4_line_4 |  | 3 | 5 | 0.053727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-85_0_4_line_5 |  | 4 | 6 | 0.00080391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-85_0_4_line_6 |  | 6 | 10 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-85_0_4_line_7 |  | 6 | 11 | 0.004777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-85_0_4_line_8 |  | 7 | 8 | 0.045079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-85_0_4_line_9 |  | 7 | 9 | 0.038401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-85_0_4_line_10 |  | 8 | 11 | 0.083444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-85_0_4_line_11 |  | 9 | 51 | 0.036583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-85_0_4_line_12 |  | 10 | 17 | 0.036458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1061-85_0_4_line_13 |  | 10 | 13 | 0.026664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1061-85_0_4_line_14 |  | 11 | 32 | 0.025265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-85_0_4_line_15 |  | 12 | 13 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1061-85_0_4_line_16 |  | 12 | 14 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1061-85_0_4_line_17 |  | 14 | 15 | 0.024001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1061-85_0_4_line_18 |  | 14 | 16 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-85_0_4_line_19 |  | 15 | 18 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-85_0_4_line_20 |  | 15 | 19 | 0.002299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-85_0_4_line_21 |  | 16 | 20 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-85_0_4_line_22 |  | 17 | 21 | 0.015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-85_0_4_line_23 |  | 17 | 22 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1061-85_0_4_line_24 |  | 19 | 36 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-85_0_4_line_25 |  | 21 | 23 | 0.050446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-85_0_4_line_26 |  | 22 | 33 | 0.042582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-85_0_4_line_27 |  | 22 | 34 | 0.014271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-85_0_4_line_28 |  | 23 | 24 | 0.023943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-85_0_4_line_29 |  | 25 | 26 | 0.0052065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-85_0_4_line_30 |  | 25 | 27 | 0.034743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-85_0_4_line_31 |  | 25 | 28 | 0.038734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-85_0_4_line_32 |  | 27 | 35 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-85_0_4_line_33 |  | 28 | 37 | 0.03655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-85_0_4_line_34 |  | 29 | 30 | 0.013454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-85_0_4_line_35 |  | 29 | 31 | 0.045326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-85_0_4_line_36 |  | 30 | 40 | 0.075895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-85_0_4_line_37 |  | 31 | 39 | 0.025223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-85_0_4_line_38 |  | 32 | 44 | 0.021314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-85_0_4_line_39 |  | 33 | 38 | 0.037884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-85_0_4_line_40 |  | 34 | 37 | 0.041605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-85_0_4_line_41 |  | 35 | 41 | 0.032389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-85_0_4_line_42 |  | 36 | 50 | 0.0017048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-85_0_4_line_43 |  | 38 | 39 | 0.033717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-85_0_4_line_44 |  | 40 | 49 | 0.054613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-85_0_4_line_45 |  | 42 | 43 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-85_0_4_line_46 |  | 43 | 50 | 0.044335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-85_0_4_line_47 |  | 44 | 53 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-85_0_4_line_48 |  | 45 | 46 | 0.042248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-85_0_4_line_49 |  | 46 | 49 | 0.11593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-85_0_4_line_50 |  | 47 | 48 | 0.04112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-85_0_4_line_51 |  | 48 | 52 | 0.040383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-85_0_4_line_52 |  | 52 | 53 | 0.025045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-85_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 54 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2667587.9011 | 1212057.4935 | 2667586.4074 | 1212061.9126 | 2667587.3931 | 1212068.1277 | 2667585.3819 | 1212067.9159 | 2667580.9496 | 1212068.1436 | 2667576.6203 | 1212070.0068 | 2667573.4332 | 1212072.3277 | 2667571.4917 | 1212074.685 | 2667569.3593 | 1212079.8196
1 | 2667567.9354 | 1212090.1432 | 2667569.3593 | 1212079.8196
2 | 2667587.9011 | 1212057.4935 | 2667599.8101 | 1212061.2863
3 | 2667587.9011 | 1212057.4935 | 2667584.1535 | 1212056.3058 | 2667566.7655 | 1212049.2156 | 2667549.5535 | 1212040.6821 | 2667534.6168 | 1212031.8409 | 2667517.6961 | 1212018.9217
4 | 2667599.8101 | 1212061.2863 | 2667599.0239 | 1212063.6122 | 2667593.7778 | 1212070.6126 | 2667593.3154 | 1212071.8526 | 2667593.5315 | 1212072.9002 | 2667594.5952 | 1212074.2464 | 2667601.7178 | 1212079.3302 | 2667602.5236 | 1212081.3073 | 2667601.5226 | 1212082.4744 | 2667596.7205 | 1212083.8208 | 2667594.6296 | 1212085.287 | 2667593.2046 | 1212087.6612 | 2667592.4645 | 1212090.6102 | 2667592.2929 | 1212103.2507
5 | 2667517.6961 | 1212018.9217 | 2667517.0571 | 1212018.4338
6 | 2667517.0571 | 1212018.4338 | 2667512.9811 | 1212016.72 | 2667510.1867 | 1212017.2331 | 2667508.2252 | 1212017.3332 | 2667503.52 | 1212014.1447
7 | 2667517.0571 | 1212018.4338 | 2667517.6188 | 1212017.8176 | 2667520.2808 | 1212014.9015
8 | 2667636.1485 | 1212066.9683 | 2667603.7847 | 1212059.2078 | 2667592.7155 | 1212055.1258
9 | 2667636.1485 | 1212066.9683 | 2667639.6586 | 1212063.6505 | 2667646.2026 | 1212057.443 | 2667649.0504 | 1212055.5742 | 2667669.6991 | 1212051.0201
10 | 2667520.2808 | 1212014.9015 | 2667544.2528 | 1212033.0507 | 2667569.8183 | 1212046.682 | 2667592.7155 | 1212055.1258
11 | 2667705.5852 | 1212044.4818 | 2667698.6236 | 1212044.6408 | 2667669.6991 | 1212051.0201
12 | 2667503.52 | 1212014.1447 | 2667500.1645 | 1212011.872 | 2667499.5613 | 1212011.4649 | 2667500.5485 | 1212008.83 | 2667500.6607 | 1212006.2963 | 2667499.0293 | 1212003.4205 | 2667496.5026 | 1212001.0905 | 2667494.2091 | 1211998.9744 | 2667492.5501 | 1211998.5331 | 2667490.929 | 1211998.7705 | 2667487.4165 | 1212000.2984 | 2667483.9982 | 1212000.8823 | 2667478.142 | 1212001.3719
13 | 2667503.52 | 1212014.1447 | 2667493.8617 | 1212030.3343 | 2667492.5625 | 1212037.7131 | 2667492.6454 | 1212038.0223
14 | 2667520.2808 | 1212014.9015 | 2667524.3048 | 1212010.4776 | 2667526.3591 | 1212006.8764 | 2667527.1178 | 1212005.6286 | 2667529.0731 | 1212004.0609 | 2667534.1673 | 1212003.0957 | 2667540.1434 | 1212002.7293
15 | 2667495.7959 | 1212047.5229 | 2667494.5601 | 1212045.1626 | 2667492.6454 | 1212038.0223
16 | 2667502.7933 | 1212060.8877 | 2667495.7959 | 1212047.5229
17 | 2667502.7933 | 1212060.8877 | 2667489.4528 | 1212080.8603
18 | 2667502.7933 | 1212060.8877 | 2667515.2999 | 1212075.7579
19 | 2667471.1886 | 1212076.6733 | 2667471.2634 | 1212078.7866 | 2667489.4528 | 1212080.8603
20 | 2667489.4528 | 1212080.8603 | 2667488.176 | 1212082.7721
21 | 2667527.5473 | 1212090.3201 | 2667515.2999 | 1212075.7579
22 | 2667478.142 | 1212001.3719 | 2667466.6657 | 1212000.9641 | 2667463.0255 | 1212000.8368
23 | 2667475.8842 | 1211978.6434 | 2667476.1519 | 1211981.1702 | 2667477.1318 | 1211990.5983 | 2667478.0336 | 1212000.2144 | 2667478.142 | 1212001.3719
24 | 2667488.176 | 1212082.7721 | 2667472.9336 | 1212105.596
25 | 2667412.6102 | 1211999.0742 | 2667463.0255 | 1212000.8368
26 | 2667475.8842 | 1211978.6434 | 2667482.1958 | 1211978.2034 | 2667488.3993 | 1211977.2396 | 2667499.7354 | 1211973.9325 | 2667503.1202 | 1211972.9479 | 2667517.2115 | 1211968.9651
27 | 2667475.8842 | 1211978.6434 | 2667461.6591 | 1211979.7875
28 | 2667412.6102 | 1211999.0742 | 2667412.3392 | 1212004.897 | 2667411.6172 | 1212012.3045 | 2667408.3806 | 1212017.6602 | 2667408.2236 | 1212022.0706
29 | 2667345.5746 | 1211981.2395 | 2667340.3736 | 1211980.9996
30 | 2667345.5746 | 1211981.2395 | 2667345.4895 | 1211982.7172 | 2667345.1148 | 1211988.9835 | 2667344.7023 | 1211995.9054 | 2667344.6545 | 1211996.772 | 2667347.9743 | 1211996.8318 | 2667351.1205 | 1211998.1348 | 2667355.2027 | 1212001.9943 | 2667356.1908 | 1212003.9845 | 2667357.0042 | 1212003.9492 | 2667360.805 | 1212003.8032
31 | 2667345.5746 | 1211981.2395 | 2667360.3973 | 1211981.3735 | 2667363.7685 | 1211980.2442 | 2667367.148 | 1211978.3812 | 2667372.2161 | 1211978.3829 | 2667383.6296 | 1211978.9644
32 | 2667360.805 | 1212003.8032 | 2667360.1447 | 1212023.9704
33 | 2667383.6296 | 1211978.9644 | 2667420.1319 | 1211980.824
34 | 2667660.2525 | 1211932.1468 | 2667656.9285 | 1211945.1839
35 | 2667656.9285 | 1211945.1839 | 2667626.0434 | 1211948.3468 | 2667611.8074 | 1211949.4587
36 | 2667660.2525 | 1211932.1468 | 2667657.0601 | 1211930.2316 | 2667646.9936 | 1211923.4244 | 2667602.8092 | 1211882.802
37 | 2667611.8074 | 1211949.4587 | 2667594.7181 | 1211950.7934 | 2667586.7284 | 1211952.0112
38 | 2667561.4173 | 1212001.4248 | 2667540.1434 | 1212002.7293
39 | 2667517.2115 | 1211968.9651 | 2667528.7629 | 1211965.7003 | 2667553.7905 | 1211959.1131
40 | 2667461.6591 | 1211979.7875 | 2667448.2545 | 1211980.8657 | 2667434.1976 | 1211981.5406 | 2667420.1319 | 1211980.824
41 | 2667360.9778 | 1212056.3251 | 2667359.8305 | 1212033.5662 | 2667360.1447 | 1212023.9704
42 | 2667471.9867 | 1212107.0137 | 2667472.9336 | 1212105.596
43 | 2667553.7905 | 1211959.1131 | 2667565.3744 | 1211956.0643 | 2667582.8366 | 1211952.6044 | 2667586.7284 | 1211952.0112
44 | 2667602.8092 | 1211882.802 | 2667598.9483 | 1211879.2525 | 2667582.215 | 1211855.2591 | 2667572.5695 | 1211846.8113 | 2667566.2306 | 1211843.2011
45 | 2667431.0779 | 1212113.1405 | 2667405.2592 | 1212112.0852
46 | 2667431.0779 | 1212113.1405 | 2667464.6136 | 1212114.5114 | 2667468.561 | 1212112.1434 | 2667471.9867 | 1212107.0137
47 | 2667561.4173 | 1212001.4248 | 2667574.8767 | 1212000.5995 | 2667579.7899 | 1212000.1041
48 | 2667469.8017 | 1211836.1694 | 2667468.0733 | 1211837.6009 | 2667428.6921 | 1211844.6321
49 | 2667469.8017 | 1211836.1694 | 2667471.3178 | 1211834.9137 | 2667472.8847 | 1211831.4182 | 2667473.0629 | 1211820.3689 | 2667511.9605 | 1211817.6071 | 2667550.0033 | 1211833.959 | 2667566.2306 | 1211843.2011
50 | 2667643.866 | 1211987.5265 | 2667649.3973 | 1211986.1461 | 2667683.6478 | 1211977.1244
51 | 2667643.866 | 1211987.5265 | 2667607.3358 | 1211996.6426 | 2667604.6423 | 1211997.1049
52 | 2667604.6423 | 1211997.1049 | 2667597.6748 | 1211998.3008 | 2667579.7899 | 1212000.1041

## bus_geodata
| x | y | coords
0 | 2667569.3593 | 1212079.8196
1 | 2667587.9011 | 1212057.4935
2 | 2667567.9354 | 1212090.1432
3 | 2667599.8101 | 1212061.2863
4 | 2667517.6961 | 1212018.9217
5 | 2667592.2929 | 1212103.2507
6 | 2667517.0571 | 1212018.4338
7 | 2667636.1485 | 1212066.9683
8 | 2667592.7155 | 1212055.1258
9 | 2667669.6991 | 1212051.0201
10 | 2667503.52 | 1212014.1447
11 | 2667520.2808 | 1212014.9015
12 | 2667495.7959 | 1212047.5229
13 | 2667492.6454 | 1212038.0223
14 | 2667502.7933 | 1212060.8877
15 | 2667489.4528 | 1212080.8603
16 | 2667515.2999 | 1212075.7579
17 | 2667478.142 | 1212001.3719
18 | 2667471.1886 | 1212076.6733
19 | 2667488.176 | 1212082.7721
20 | 2667527.5473 | 1212090.3201
21 | 2667463.0255 | 1212000.8368
22 | 2667475.8842 | 1211978.6434
23 | 2667412.6102 | 1211999.0742
24 | 2667408.2236 | 1212022.0706
25 | 2667345.5746 | 1211981.2395
26 | 2667340.3736 | 1211980.9996
27 | 2667360.805 | 1212003.8032
28 | 2667383.6296 | 1211978.9644
29 | 2667656.9285 | 1211945.1839
30 | 2667660.2525 | 1211932.1468
31 | 2667611.8074 | 1211949.4587
32 | 2667540.1434 | 1212002.7293
33 | 2667517.2115 | 1211968.9651
34 | 2667461.6591 | 1211979.7875
35 | 2667360.1447 | 1212023.9704
36 | 2667472.9336 | 1212105.596
37 | 2667420.1319 | 1211980.824
38 | 2667553.7905 | 1211959.1131
39 | 2667586.7284 | 1211952.0112
40 | 2667602.8092 | 1211882.802
41 | 2667360.9778 | 1212056.3251
42 | 2667405.2592 | 1212112.0852
43 | 2667431.0779 | 1212113.1405
44 | 2667561.4173 | 1212001.4248
45 | 2667428.6921 | 1211844.6321
46 | 2667469.8017 | 1211836.1694
47 | 2667683.6478 | 1211977.1244
48 | 2667643.866 | 1211987.5265
49 | 2667566.2306 | 1211843.2011
50 | 2667471.9867 | 1212107.0137
51 | 2667705.5852 | 1212044.4818
52 | 2667604.6423 | 1211997.1049
53 | 2667579.7899 | 1212000.1041
54 | 2667502.7933 | 1212060.8877

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99393 | -0.11628 | 0.0057463 | 0.0014402
1 | 0.99425 | -0.10994 | 0 | 0
2 | 0.99388 | -0.11712 | 0.0046125 | 0.001156
3 | 0.99417 | -0.11153 | 0 | 0
4 | 0.99555 | -0.084948 | 0.0035054 | 0.00087854
5 | 0.99382 | -0.11841 | 0.0072518 | 0.0018175
6 | 0.99556 | -0.08465 | 0 | 0
7 | 0.99368 | -0.12106 | 0 | 0
8 | 0.99402 | -0.1144 | 0.0087124 | 0.0021835
9 | 0.99338 | -0.12673 | 0.0045243 | 0.0011339
10 | 0.9966 | -0.064717 | 0 | 0
11 | 0.99532 | -0.089284 | 0 | 0
12 | 0.99919 | -0.01539 | 0.0021459 | 0.00053781
13 | 1 | 0 | -0.45893 | -0.11626
14 | 0.998 | -0.038239 | 0 | 0
15 | 0.99627 | -0.071406 | 0 | 0
16 | 0.99772 | -0.043562 | 0.0038325 | 0.00096052
17 | 0.99322 | -0.12932 | 0 | 0
18 | 0.99543 | -0.087696 | 0.045502 | 0.011404
19 | 0.99604 | -0.075935 | 0.0065834 | 0.00165
20 | 0.99752 | -0.047499 | 0.011815 | 0.0029611
21 | 0.99285 | -0.13639 | 0.0086655 | 0.0021718
22 | 0.99138 | -0.16467 | 0 | 0
23 | 0.99203 | -0.15226 | 0 | 0
24 | 0.99164 | -0.15979 | 0.017769 | 0.0044533
25 | 0.98571 | -0.27465 | 0 | 0
26 | 0.98566 | -0.27553 | 0.0094547 | 0.0023696
27 | 0.9853 | -0.28272 | 0 | 0
28 | 0.98651 | -0.25909 | 0.022808 | 0.0057163
29 | 0.98068 | -0.37171 | 0 | 0
30 | 0.98021 | -0.38081 | 0 | 0
31 | 0.98225 | -0.34113 | 0.0083842 | 0.0021013
32 | 0.99444 | -0.10622 | 0.0019914 | 0.0004991
33 | 0.98753 | -0.23872 | 0.023979 | 0.0060096
34 | 0.99037 | -0.18422 | 0.016005 | 0.0040112
35 | 0.98505 | -0.28741 | 0.0059641 | 0.0014948
36 | 0.99339 | -0.12698 | 0.033276 | 0.0083397
37 | 0.98803 | -0.22954 | 0.015939 | 0.0039948
38 | 0.98495 | -0.28874 | 0.02163 | 0.0054209
39 | 0.98332 | -0.32034 | 0.0063875 | 0.0016009
40 | 0.97758 | -0.43229 | 0.0050103 | 0.0012557
41 | 0.98485 | -0.29148 | 0.0069838 | 0.0017503
42 | 0.99053 | -0.18233 | 0.0096999 | 0.002431
43 | 0.99076 | -0.17788 | 0.052351 | 0.01312
44 | 0.99374 | -0.11978 | 0.0085965 | 0.0021545
45 | 0.97365 | -0.50969 | 0.011025 | 0.0027631
46 | 0.97408 | -0.50113 | 0.0062115 | 0.0015567
47 | 0.99148 | -0.16361 | 0.013142 | 0.0032937
48 | 0.99197 | -0.15403 | 0.0063927 | 0.0016022
49 | 0.97594 | -0.46449 | 0.015035 | 0.0037682
50 | 0.99327 | -0.12915 | 0.010247 | 0.0025682
51 | 0.99326 | -0.12922 | 0.0038438 | 0.00096334
52 | 0.99269 | -0.14007 | 0.0060848 | 0.001525
53 | 0.99328 | -0.12872 | 0.0018566 | 0.00046531
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010359 | -0.0025961 | 0.010362 | 0.0025977 | 3.1285e-06 | 1.5526e-06 | 0.015509 | 0.015508 | 0.015509 | 0.99393 | -0.11628 | 0.99425 | -0.10994 | 4.2606
1 | 0.0046127 | 0.001156 | -0.0046125 | -0.001156 | 1.8637e-07 | -1.5784e-08 | 0.0069057 | 0.0069057 | 0.0069057 | 0.99393 | -0.11628 | 0.99388 | -0.11712 | 1.8972
2 | 0.0072547 | 0.0018185 | -0.0072541 | -0.0018183 | 5.5105e-07 | 1.9103e-07 | 0.010858 | 0.010858 | 0.010858 | 0.99425 | -0.10994 | 0.99417 | -0.11153 | 2.9829
3 | -0.017617 | -0.0044162 | 0.017638 | 0.0044286 | 2.1002e-05 | 1.2395e-05 | 0.026366 | 0.026366 | 0.026366 | 0.99425 | -0.10994 | 0.99555 | -0.084948 | 7.2434
4 | 0.0072541 | 0.0018183 | -0.0072518 | -0.0018175 | 2.3752e-06 | 8.2373e-07 | 0.010858 | 0.010858 | 0.010858 | 0.99417 | -0.11153 | 0.99382 | -0.11841 | 2.9829
5 | -0.021143 | -0.0053071 | 0.021144 | 0.0053073 | 3.0113e-07 | 1.8227e-07 | 0.031605 | 0.031605 | 0.031605 | 0.99555 | -0.084948 | 0.99556 | -0.08465 | 8.6827
6 | -0.076425 | -0.01921 | 0.076498 | 0.019257 | 7.2809e-05 | 4.6404e-05 | 0.11425 | 0.11425 | 0.11425 | 0.99556 | -0.08465 | 0.9966 | -0.064717 | 31.3869
7 | 0.055281 | 0.013903 | -0.055269 | -0.013895 | 1.2235e-05 | 7.7682e-06 | 0.082643 | 0.082643 | 0.082643 | 0.99556 | -0.08465 | 0.99532 | -0.089284 | 22.7042
8 | -0.0083708 | -0.002098 | 0.0083734 | 0.0020991 | 2.6562e-06 | 1.1158e-06 | 0.012535 | 0.012535 | 0.012535 | 0.99368 | -0.12106 | 0.99402 | -0.1144 | 3.4437
9 | 0.0083708 | 0.002098 | -0.0083685 | -0.002097 | 2.2627e-06 | 9.5086e-07 | 0.012535 | 0.012535 | 0.012535 | 0.99368 | -0.12106 | 0.99338 | -0.12673 | 3.4438
10 | -0.017086 | -0.0042827 | 0.017106 | 0.0042947 | 2.047e-05 | 1.2018e-05 | 0.025577 | 0.025577 | 0.025577 | 0.99402 | -0.1144 | 0.99532 | -0.089284 | 7.0267
11 | 0.0038442 | 0.00096316 | -0.0038438 | -0.00096334 | 4.5489e-07 | -1.8242e-07 | 0.0057583 | 0.0057585 | 0.0057585 | 0.99338 | -0.12673 | 0.99326 | -0.12922 | 1.582
12 | 0.20341 | 0.051806 | -0.20278 | -0.051403 | 0.00063174 | 0.00040337 | 0.304 | 0.304 | 0.304 | 0.9966 | -0.064717 | 0.99322 | -0.12932 | 41.7583
13 | -0.2799 | -0.071063 | 0.28078 | 0.071622 | 0.00087457 | 0.00055903 | 0.41825 | 0.41825 | 0.41825 | 0.9966 | -0.064717 | 1 | 0 | 57.4516
14 | 0.038163 | 0.0096007 | -0.038132 | -0.0095813 | 3.0854e-05 | 1.9418e-05 | 0.057066 | 0.057067 | 0.057067 | 0.99532 | -0.089284 | 0.99444 | -0.10622 | 15.6776
15 | -0.17637 | -0.044558 | 0.1765 | 0.044641 | 0.00013021 | 8.3072e-05 | 0.26278 | 0.26278 | 0.26278 | 0.99919 | -0.01539 | 1 | 0 | 36.0964
16 | 0.17423 | 0.04402 | -0.17404 | -0.043899 | 0.0001906 | 0.00012159 | 0.25959 | 0.25959 | 0.25959 | 0.99919 | -0.01539 | 0.998 | -0.038239 | 35.6575
17 | 0.15838 | 0.039974 | -0.15813 | -0.039814 | 0.00025117 | 0.00016012 | 0.23625 | 0.23625 | 0.23625 | 0.998 | -0.038239 | 0.99627 | -0.071406 | 32.4514
18 | 0.015654 | 0.0039251 | -0.01565 | -0.0039228 | 3.9694e-06 | 2.2866e-06 | 0.02334 | 0.02334 | 0.02334 | 0.998 | -0.038239 | 0.99772 | -0.043562 | 6.4122
19 | 0.045538 | 0.011426 | -0.045502 | -0.011404 | 3.534e-05 | 2.2352e-05 | 0.068019 | 0.068019 | 0.068019 | 0.99627 | -0.071406 | 0.99543 | -0.087696 | 18.6866
20 | 0.11259 | 0.028387 | -0.11257 | -0.028372 | 2.4399e-05 | 1.5585e-05 | 0.16823 | 0.16823 | 0.16823 | 0.99627 | -0.071406 | 0.99604 | -0.075935 | 46.2163
21 | 0.011817 | 0.0029623 | -0.011815 | -0.0029611 | 2.2164e-06 | 1.1701e-06 | 0.017624 | 0.017624 | 0.017624 | 0.99772 | -0.043562 | 0.99752 | -0.047499 | 4.8419
22 | 0.026463 | 0.0066423 | -0.026454 | -0.0066368 | 8.9175e-06 | 5.5115e-06 | 0.03965 | 0.03965 | 0.03965 | 0.99322 | -0.12932 | 0.99285 | -0.13639 | 10.8929
23 | 0.17631 | 0.044761 | -0.17601 | -0.04457 | 0.00029928 | 0.00019095 | 0.26435 | 0.26435 | 0.26435 | 0.99322 | -0.12932 | 0.99138 | -0.16467 | 36.3119
24 | 0.10599 | 0.026722 | -0.10573 | -0.026557 | 0.00025821 | 0.0001649 | 0.15839 | 0.15839 | 0.15839 | 0.99604 | -0.075935 | 0.99339 | -0.12698 | 43.5144
25 | 0.017789 | 0.004465 | -0.017775 | -0.0044571 | 1.3449e-05 | 7.9552e-06 | 0.026663 | 0.026663 | 0.026663 | 0.99285 | -0.13639 | 0.99203 | -0.15226 | 7.325
26 | 0.098563 | 0.025047 | -0.098213 | -0.024823 | 0.00035006 | 0.00022349 | 0.14806 | 0.14806 | 0.14806 | 0.99138 | -0.16467 | 0.98753 | -0.23872 | 40.6763
27 | 0.07745 | 0.019523 | -0.077378 | -0.019477 | 7.2371e-05 | 4.6134e-05 | 0.11629 | 0.11629 | 0.11629 | 0.99138 | -0.16467 | 0.99037 | -0.18422 | 31.9476
28 | 0.017775 | 0.0044571 | -0.017769 | -0.0044533 | 6.383e-06 | 3.7761e-06 | 0.026663 | 0.026663 | 0.026663 | 0.99203 | -0.15226 | 0.99164 | -0.15979 | 7.325
29 | 0.0094551 | 0.0023698 | -0.0094547 | -0.0023696 | 3.9777e-07 | 1.8821e-07 | 0.014273 | 0.014273 | 0.014273 | 0.98571 | -0.27465 | 0.98566 | -0.27553 | 3.9213
30 | 0.012957 | 0.0032499 | -0.012952 | -0.0032471 | 4.9852e-06 | 2.7478e-06 | 0.019561 | 0.019561 | 0.019561 | 0.98571 | -0.27465 | 0.9853 | -0.28272 | 5.3739
31 | -0.022412 | -0.0056196 | 0.022429 | 0.0056298 | 1.6628e-05 | 1.0148e-05 | 0.033834 | 0.033834 | 0.033834 | 0.98571 | -0.27465 | 0.98651 | -0.25909 | 9.2951
32 | 0.012952 | 0.0032471 | -0.012949 | -0.0032455 | 2.8953e-06 | 1.5961e-06 | 0.019561 | 0.019561 | 0.019561 | 0.9853 | -0.28272 | 0.98505 | -0.28741 | 5.3739
33 | -0.045237 | -0.011346 | 0.045301 | 0.011386 | 6.382e-05 | 4.0377e-05 | 0.068237 | 0.068237 | 0.068237 | 0.98651 | -0.25909 | 0.98803 | -0.22954 | 18.7465
34 | 0.037475 | 0.0094633 | -0.037458 | -0.009453 | 1.6327e-05 | 1.028e-05 | 0.056887 | 0.056887 | 0.056887 | 0.98068 | -0.37171 | 0.98021 | -0.38081 | 15.6284
35 | -0.037475 | -0.0094633 | 0.03753 | 0.009498 | 5.5006e-05 | 3.4631e-05 | 0.056887 | 0.056887 | 0.056887 | 0.98068 | -0.37171 | 0.98225 | -0.34113 | 15.6284
36 | 0.037458 | 0.009453 | -0.037366 | -0.0093951 | 9.2104e-05 | 5.7993e-05 | 0.056887 | 0.056888 | 0.056888 | 0.98021 | -0.38081 | 0.97758 | -0.43229 | 15.6285
37 | -0.045914 | -0.011599 | 0.04596 | 0.011628 | 4.5804e-05 | 2.8995e-05 | 0.069588 | 0.069588 | 0.069588 | 0.98225 | -0.34113 | 0.98332 | -0.32034 | 19.1177
38 | 0.03614 | 0.0090822 | -0.036117 | -0.0090675 | 2.3382e-05 | 1.4688e-05 | 0.054087 | 0.054087 | 0.054087 | 0.99444 | -0.10622 | 0.99374 | -0.11978 | 14.859
39 | 0.074234 | 0.018814 | -0.074056 | -0.0187 | 0.00017799 | 0.00011343 | 0.11193 | 0.11193 | 0.11193 | 0.98753 | -0.23872 | 0.98495 | -0.28874 | 30.7502
40 | 0.061373 | 0.015466 | -0.06124 | -0.015381 | 0.00013275 | 8.4426e-05 | 0.092242 | 0.092242 | 0.092242 | 0.99037 | -0.18422 | 0.98803 | -0.22954 | 25.3413
41 | 0.0069851 | 0.0017507 | -0.0069838 | -0.0017503 | 1.3523e-06 | 4.5325e-07 | 0.010552 | 0.010552 | 0.010552 | 0.98505 | -0.28741 | 0.98485 | -0.29148 | 2.8989
42 | 0.072452 | 0.018217 | -0.072444 | -0.018212 | 7.5328e-06 | 4.7989e-06 | 0.10855 | 0.10855 | 0.10855 | 0.99339 | -0.12698 | 0.99327 | -0.12915 | 29.8208
43 | 0.052427 | 0.013279 | -0.052347 | -0.013229 | 7.9418e-05 | 5.0399e-05 | 0.079254 | 0.079254 | 0.079254 | 0.98495 | -0.28874 | 0.98332 | -0.32034 | 21.7731
44 | 0.032356 | 0.0081394 | -0.032306 | -0.0081082 | 4.9699e-05 | 3.1124e-05 | 0.049261 | 0.049262 | 0.049262 | 0.97758 | -0.43229 | 0.97594 | -0.46449 | 13.5334
45 | -0.0096999 | -0.002431 | 0.0097019 | 0.002432 | 2.0575e-06 | 9.8411e-07 | 0.014572 | 0.014571 | 0.014572 | 0.99053 | -0.18233 | 0.99076 | -0.17788 | 4.0032
46 | -0.062053 | -0.015552 | 0.062197 | 0.015644 | 0.00014441 | 9.1847e-05 | 0.093197 | 0.093197 | 0.093197 | 0.99076 | -0.17788 | 0.99327 | -0.12915 | 25.6035
47 | 0.027521 | 0.0069131 | -0.027509 | -0.0069058 | 1.1735e-05 | 7.2719e-06 | 0.041214 | 0.041215 | 0.041215 | 0.99374 | -0.11978 | 0.99328 | -0.12872 | 11.3227
48 | -0.011025 | -0.0027631 | 0.011029 | 0.0027654 | 4.4976e-06 | 2.3528e-06 | 0.016849 | 0.016849 | 0.016849 | 0.97365 | -0.50969 | 0.97408 | -0.50113 | 4.6288
49 | -0.017241 | -0.0043222 | 0.017271 | 0.00434 | 3.0155e-05 | 1.7854e-05 | 0.026338 | 0.026337 | 0.026338 | 0.97408 | -0.50113 | 0.97594 | -0.46449 | 7.2356
50 | -0.013142 | -0.0032937 | 0.013148 | 0.003297 | 5.9984e-06 | 3.3084e-06 | 0.019723 | 0.019723 | 0.019723 | 0.99148 | -0.16361 | 0.99197 | -0.15403 | 5.4185
51 | -0.019541 | -0.0048991 | 0.019554 | 0.0049069 | 1.3012e-05 | 7.8059e-06 | 0.029313 | 0.029312 | 0.029313 | 0.99197 | -0.15403 | 0.99269 | -0.14007 | 8.0529
52 | -0.025638 | -0.0064319 | 0.025652 | 0.0064405 | 1.3873e-05 | 8.5547e-06 | 0.038433 | 0.038433 | 0.038433 | 0.99269 | -0.14007 | 0.99328 | -0.12872 | 10.5586

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49131 | 0.12438

## res_load
| p_mw | q_mvar
0 | 0.0057463 | 0.0014402
1 | 0.0046125 | 0.001156
2 | 0.0035054 | 0.00087854
3 | 0.0072518 | 0.0018175
4 | 0.0087124 | 0.0021835
5 | 0.0045243 | 0.0011339
6 | 0.0021459 | 0.00053781
7 | 0.03238 | 0.0081152
8 | 0.0038325 | 0.00096052
9 | 0.045502 | 0.011404
10 | 0.0065834 | 0.00165
11 | 0.011815 | 0.0029611
12 | 0.0086655 | 0.0021718
13 | 0.017769 | 0.0044533
14 | 0.0094547 | 0.0023696
15 | 0.022808 | 0.0057163
16 | 0.0083842 | 0.0021013
17 | 0.0019914 | 0.0004991
18 | 0.023979 | 0.0060096
19 | 0.016005 | 0.0040112
20 | 0.0059641 | 0.0014948
21 | 0.033276 | 0.0083397
22 | 0.015939 | 0.0039948
23 | 0.02163 | 0.0054209
24 | 0.0063875 | 0.0016009
25 | 0.0050103 | 0.0012557
26 | 0.0069838 | 0.0017503
27 | 0.0096999 | 0.002431
28 | 0.052351 | 0.01312
29 | 0.0085965 | 0.0021545
30 | 0.011025 | 0.0027631
31 | 0.0062115 | 0.0015567
32 | 0.013142 | 0.0032937
33 | 0.0063927 | 0.0016022
34 | 0.015035 | 0.0037682
35 | 0.010247 | 0.0025682
36 | 0.0038438 | 0.00096334
37 | 0.0060848 | 0.001525
38 | 0.0018566 | 0.00046531

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1