## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-86_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-86_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-86_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-86_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1061-86_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1061-86_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1061-86_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1061-86_0_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1061-86_0_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1061-86_0_2_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1061-86_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1061-86_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1061-86_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1061-86_0_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_1061-86_0_2_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1061-86_0_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1061-86_0_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1061-86_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1061-86_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1061-86_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1061-86_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1061-86_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1061-86_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1061-86_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1061-86_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_MV_213_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-86_0_2_load_0 | 0 | 0.0019851 | 0.00049752 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-86_0_2_load_3 | 2 | 0.0060347 | 0.0015124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-86_0_2_load_17 | 7 | 0.012649 | 0.00317 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-86_0_2_load_25 | 9 | 0.0091209 | 0.0022859 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-86_0_2_load_10 | 10 | 0.00070149 | 0.00017581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-86_0_2_load_12 | 12 | 0.00065627 | 0.00016448 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-86_0_2_load_20 | 13 | 0.057477 | 0.014405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-86_0_2_load_18 | 14 | 0.044892 | 0.011251 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-86_0_2_load_22 | 15 | 0.0031341 | 0.00078547 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-86_0_2_load_24 | 16 | 0.00085719 | 0.00021483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-86_0_2_load_13 | 19 | 0.030455 | 0.0076327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-86_0_2_load_14 | 20 | 0.048427 | 0.012137 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-86_0_2_load_15 | 21 | 0.027329 | 0.0068494 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-86_0_2_load_21 | 22 | 0.0077471 | 0.0019416 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-86_0_2_load_19 | 23 | 0.022715 | 0.0056929 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-86_0_2_load_26 | 24 | 0.0075702 | 0.0018973 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-86_0_2_line_0 |  | 0 | 1 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-86_0_2_line_1 |  | 1 | 2 | 0.012372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-86_0_2_line_2 |  | 1 | 3 | 0.41952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-86_0_2_line_3 |  | 1 | 4 | 0.030252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-86_0_2_line_4 |  | 3 | 8 | 0.039714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-86_0_2_line_5 |  | 3 | 9 | 0.028242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-86_0_2_line_6 |  | 4 | 10 | 0.027329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-86_0_2_line_7 |  | 5 | 6 | 0.1014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-86_0_2_line_8 |  | 5 | 7 | 0.054889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-86_0_2_line_9 |  | 6 | 13 | 0.035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-86_0_2_line_10 |  | 6 | 11 | 0.26936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-86_0_2_line_11 |  | 7 | 14 | 0.044348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-86_0_2_line_12 |  | 8 | 15 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-86_0_2_line_13 |  | 9 | 16 | 0.016103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-86_0_2_line_14 |  | 10 | 17 | 0.0089184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-86_0_2_line_15 |  | 11 | 12 | 0.033856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-86_0_2_line_16 |  | 12 | 17 | 0.030411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-86_0_2_line_17 |  | 13 | 18 | 0.098935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-86_0_2_line_18 |  | 14 | 23 | 0.016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-86_0_2_line_19 |  | 16 | 24 | 0.027655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-86_0_2_line_20 |  | 18 | 22 | 0.00607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-86_0_2_line_21 |  | 18 | 20 | 0.0096383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-86_0_2_line_22 |  | 19 | 20 | 0.0054782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-86_0_2_line_23 |  | 19 | 21 | 0.0033852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-86_0_2_trafo_20 | 0.63 MVA 20/0.4 kV | 25 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2667700.4019 | 1212666.2695 | 2667703.3134 | 1212653.7785
1 | 2667700.4019 | 1212666.2695 | 2667688.3068 | 1212663.668
2 | 2667428.7612 | 1212487.7934 | 2667428.6955 | 1212493.6074 | 2667430.3365 | 1212498.3177 | 2667434.6059 | 1212503.0578 | 2667441.8828 | 1212508.5768 | 2667442.411 | 1212511.5847 | 2667440.6291 | 1212520.0031 | 2667436.7551 | 1212529.3429 | 2667433.7236 | 1212535.3902 | 2667499.4122 | 1212556.8797 | 2667511.2041 | 1212558.8477 | 2667533.7174 | 1212561.3707 | 2667557.2532 | 1212562.171 | 2667596.5244 | 1212566.2405 | 2667621.902 | 1212571.4425 | 2667655.1582 | 1212584.0051 | 2667684.4684 | 1212598.8245 | 2667720.9544 | 1212621.3192 | 2667712.6275 | 1212645.4064 | 2667708.8824 | 1212670.7908 | 2667700.4019 | 1212666.2695
3 | 2667700.4019 | 1212666.2695 | 2667708.8824 | 1212670.7908 | 2667713.8896 | 1212690.8156
4 | 2667428.7612 | 1212487.7934 | 2667421.8354 | 1212484.1462 | 2667397.4631 | 1212475.9991 | 2667391.6866 | 1212473.5101
5 | 2667428.7612 | 1212487.7934 | 2667430.312 | 1212483.6862 | 2667433.54 | 1212481.0877 | 2667439.2224 | 1212477.7832 | 2667443.9269 | 1212477.6474 | 2667452.1211 | 1212479.6204
6 | 2667713.8896 | 1212690.8156 | 2667712.7747 | 1212714.7289 | 2667712.2509 | 1212718.0776
7 | 2667382.3203 | 1212576.2348 | 2667402.3717 | 1212575.4274 | 2667407.4908 | 1212582.2895 | 2667413.7828 | 1212584.1951 | 2667424.7937 | 1212584.0083 | 2667428.8218 | 1212587.9118 | 2667430.4803 | 1212594.4346 | 2667436.8051 | 1212594.1059 | 2667442.7165 | 1212594.0616 | 2667448.8695 | 1212608.2511 | 2667463.786 | 1212604.662
8 | 2667382.3203 | 1212576.2348 | 2667389.3107 | 1212586.2533 | 2667393.1976 | 1212602.6518 | 2667394.5661 | 1212607.9484 | 2667398.2657 | 1212627.9583
9 | 2667463.786 | 1212604.662 | 2667470.9449 | 1212629.3249 | 2667473.3293 | 1212638.9857
10 | 2667463.786 | 1212604.662 | 2667458.3492 | 1212584.9216 | 2667497.6764 | 1212606.1796 | 2667536.115 | 1212636.111 | 2667571.7998 | 1212671.0145 | 2667591.2841 | 1212694.7389 | 2667604.0813 | 1212725.2806 | 2667634.9181 | 1212727.3536 | 2667645.6609 | 1212726.0079
11 | 2667398.2657 | 1212627.9583 | 2667398.4037 | 1212628.7046 | 2667403.1213 | 1212644.2009 | 2667401.7605 | 1212656.3708 | 2667394.3553 | 1212662.8912 | 2667395.2234 | 1212668.0974
12 | 2667391.6866 | 1212473.5101 | 2667381.3586 | 1212469.0573 | 2667374.5033 | 1212465.2109 | 2667374.3194 | 1212465.1079
13 | 2667467.4144 | 1212480.726 | 2667467.4144 | 1212480.726 | 2667464.9492 | 1212482.388 | 2667460.2554 | 1212481.5789 | 2667452.1211 | 1212479.6204
14 | 2667709.171 | 1212726.3286 | 2667711.7262 | 1212721.4323 | 2667712.2509 | 1212718.0776
15 | 2667645.6609 | 1212726.0079 | 2667654.5986 | 1212728.3997 | 2667663.437 | 1212728.8335 | 2667674.1495 | 1212726.1311 | 2667678.854 | 1212725.9934
16 | 2667709.171 | 1212726.3286 | 2667701.844 | 1212726.6123 | 2667694.6768 | 1212725.5303 | 2667678.854 | 1212725.9934
17 | 2667514.6983 | 1212706.5123 | 2667512.6362 | 1212700.085 | 2667509.104 | 1212687.9597 | 2667486.7244 | 1212693.799 | 2667483.6103 | 1212680.9669 | 2667479.6185 | 1212664.4671 | 2667473.3293 | 1212638.9857
18 | 2667397.8844 | 1212684.0554 | 2667395.2234 | 1212668.0974
19 | 2667481.9865 | 1212457.254 | 2667474.4973 | 1212470.4886 | 2667467.4144 | 1212480.726
20 | 2667509.058 | 1212708.7944 | 2667514.6983 | 1212706.5123
21 | 2667514.6983 | 1212706.5123 | 2667524.0645 | 1212704.238
22 | 2667529.388 | 1212702.9452 | 2667524.0645 | 1212704.238
23 | 2667532.6776 | 1212702.1464 | 2667529.388 | 1212702.9452

## bus_geodata
| x | y | coords
0 | 2667703.3134 | 1212653.7785
1 | 2667700.4019 | 1212666.2695
2 | 2667688.3068 | 1212663.668
3 | 2667428.7612 | 1212487.7934
4 | 2667713.8896 | 1212690.8156
5 | 2667382.3203 | 1212576.2348
6 | 2667463.786 | 1212604.662
7 | 2667398.2657 | 1212627.9583
8 | 2667391.6866 | 1212473.5101
9 | 2667452.1211 | 1212479.6204
10 | 2667712.2509 | 1212718.0776
11 | 2667645.6609 | 1212726.0079
12 | 2667678.854 | 1212725.9934
13 | 2667473.3293 | 1212638.9857
14 | 2667395.2234 | 1212668.0974
15 | 2667374.3194 | 1212465.1079
16 | 2667467.4144 | 1212480.726
17 | 2667709.171 | 1212726.3286
18 | 2667514.6983 | 1212706.5123
19 | 2667529.388 | 1212702.9452
20 | 2667524.0645 | 1212704.238
21 | 2667532.6776 | 1212702.1464
22 | 2667509.058 | 1212708.7944
23 | 2667397.8844 | 1212684.0554
24 | 2667481.9865 | 1212457.254
25 | 2667463.786 | 1212604.662

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98529 | -0.28111 | 0.0019851 | 0.00049752
1 | 0.98531 | -0.28066 | 0 | 0
2 | 0.98525 | -0.282 | 0.0060347 | 0.0015124
3 | 0.97726 | -0.4378 | 0 | 0
4 | 0.98612 | -0.26507 | 0 | 0
5 | 0.98884 | -0.21276 | 0 | 0
6 | 0.99636 | -0.068784 | 0 | 0
7 | 0.98478 | -0.2916 | 0.012649 | 0.00317
8 | 0.97714 | -0.44007 | 0 | 0
9 | 0.9768 | -0.44685 | 0.0091209 | 0.0022859
10 | 0.98685 | -0.25101 | 0.00070149 | 0.00017581
11 | 0.98886 | -0.21215 | 0 | 0
12 | 0.98792 | -0.23032 | 0.00065627 | 0.00016448
13 | 1 | 0 | -0.22902 | -0.058174
14 | 0.98201 | -0.34564 | 0.044892 | 0.011251
15 | 0.97709 | -0.44117 | 0.0031341 | 0.00078547
16 | 0.97667 | -0.44933 | 0.00085719 | 0.00021483
17 | 0.98709 | -0.24632 | 0 | 0
18 | 0.98965 | -0.19856 | 0 | 0
19 | 0.98842 | -0.22244 | 0.030455 | 0.0076327
20 | 0.98872 | -0.2168 | 0.048427 | 0.012137
21 | 0.98834 | -0.2241 | 0.027329 | 0.0068494
22 | 0.98961 | -0.1994 | 0.0077471 | 0.0019416
23 | 0.98167 | -0.35229 | 0.022715 | 0.0056929
24 | 0.97648 | -0.45315 | 0.0075702 | 0.0018973
25 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019851 | -0.00049752 | 0.0019852 | 0.00049738 | 4.3229e-08 | -1.3569e-07 | 0.002998 | 0.0029979 | 0.002998 | 0.98529 | -0.28111 | 0.98531 | -0.28066 | 0.82363
1 | 0.006035 | 0.0015125 | -0.0060347 | -0.0015124 | 3.8538e-07 | 8.9079e-08 | 0.0091141 | 0.0091142 | 0.0091142 | 0.98531 | -0.28066 | 0.98525 | -0.282 | 2.5039
2 | 0.020849 | 0.0052832 | -0.020693 | -0.0051885 | 0.00015618 | 9.4654e-05 | 0.031507 | 0.031509 | 0.031509 | 0.98531 | -0.28066 | 0.97726 | -0.4378 | 8.6562
3 | -0.028869 | -0.0072931 | 0.028891 | 0.0073065 | 2.1584e-05 | 1.3428e-05 | 0.043619 | 0.043619 | 0.043619 | 0.98531 | -0.28066 | 0.98612 | -0.26507 | 11.9832
4 | 0.0031346 | 0.00078505 | -0.0031342 | -0.00078533 | 3.3924e-07 | -2.8042e-07 | 0.0047726 | 0.0047728 | 0.0047728 | 0.97726 | -0.4378 | 0.97714 | -0.44007 | 1.3112
5 | 0.017558 | 0.0044035 | -0.017551 | -0.004399 | 7.5706e-06 | 4.4915e-06 | 0.026736 | 0.026736 | 0.026736 | 0.97726 | -0.4378 | 0.9768 | -0.44685 | 7.3451
6 | -0.028891 | -0.0073065 | 0.02891 | 0.0073187 | 1.9498e-05 | 1.213e-05 | 0.043619 | 0.043619 | 0.043619 | 0.98612 | -0.26507 | 0.98685 | -0.25101 | 11.9832
7 | -0.080741 | -0.020423 | 0.081303 | 0.020782 | 0.00056194 | 0.00035833 | 0.12157 | 0.12157 | 0.12157 | 0.98884 | -0.21276 | 0.99636 | -0.068784 | 33.3973
8 | 0.080741 | 0.020423 | -0.080437 | -0.020229 | 0.00030419 | 0.00019398 | 0.12157 | 0.12157 | 0.12157 | 0.98884 | -0.21276 | 0.98478 | -0.2916 | 33.3974
9 | -0.11184 | -0.028607 | 0.11221 | 0.028845 | 0.00037367 | 0.00023868 | 0.16723 | 0.16723 | 0.16723 | 0.99636 | -0.068784 | 1 | 0 | 45.942
10 | 0.030535 | 0.0078251 | -0.030324 | -0.0076938 | 0.00021063 | 0.00013132 | 0.045663 | 0.045664 | 0.045664 | 0.99636 | -0.068784 | 0.98886 | -0.21215 | 12.5452
11 | 0.067788 | 0.017059 | -0.067614 | -0.016948 | 0.00017457 | 0.00011116 | 0.10245 | 0.10245 | 0.10245 | 0.98478 | -0.2916 | 0.98201 | -0.34564 | 28.1468
12 | 0.0031342 | 0.00078533 | -0.0031341 | -0.00078547 | 1.6503e-07 | -1.3636e-07 | 0.0047728 | 0.0047729 | 0.0047729 | 0.97714 | -0.44007 | 0.97709 | -0.44117 | 1.3112
13 | 0.0084298 | 0.0021131 | -0.0084288 | -0.0021126 | 9.9584e-07 | 4.3579e-07 | 0.012842 | 0.012842 | 0.012842 | 0.9768 | -0.44685 | 0.97667 | -0.44933 | 3.528
14 | -0.029612 | -0.0074945 | 0.029618 | 0.0074986 | 6.6753e-06 | 4.1582e-06 | 0.044676 | 0.044676 | 0.044676 | 0.98685 | -0.25101 | 0.98709 | -0.24632 | 12.2737
15 | 0.030324 | 0.0076938 | -0.030298 | -0.0076773 | 2.6474e-05 | 1.651e-05 | 0.045664 | 0.045665 | 0.045665 | 0.98886 | -0.21215 | 0.98792 | -0.23032 | 12.5452
16 | 0.029641 | 0.0075128 | -0.029618 | -0.0074986 | 2.2762e-05 | 1.4179e-05 | 0.044676 | 0.044676 | 0.044676 | 0.98792 | -0.23032 | 0.98709 | -0.24632 | 12.2737
17 | 0.11516 | 0.029328 | -0.11407 | -0.028631 | 0.0010915 | 0.00069729 | 0.17152 | 0.17152 | 0.17152 | 1 | 0 | 0.98965 | -0.19856 | 47.1222
18 | 0.022722 | 0.0056973 | -0.022715 | -0.0056929 | 7.1923e-06 | 4.3985e-06 | 0.034431 | 0.034431 | 0.034431 | 0.98201 | -0.34564 | 0.98167 | -0.35229 | 9.4591
19 | 0.0075716 | 0.0018978 | -0.0075702 | -0.0018973 | 1.3801e-06 | 5.3725e-07 | 0.011536 | 0.011536 | 0.011536 | 0.97667 | -0.44933 | 0.97648 | -0.45315 | 3.1692
20 | 0.0077474 | 0.0019417 | -0.0077471 | -0.0019416 | 3.0887e-07 | 1.1969e-07 | 0.011649 | 0.011649 | 0.011649 | 0.98965 | -0.19856 | 0.98961 | -0.1994 | 3.2002
21 | 0.10632 | 0.026689 | -0.10623 | -0.02663 | 9.2385e-05 | 5.9002e-05 | 0.15988 | 0.15988 | 0.15988 | 0.98965 | -0.19856 | 0.98872 | -0.2168 | 43.922
22 | -0.057786 | -0.014483 | 0.057802 | 0.014493 | 1.5547e-05 | 9.88e-06 | 0.086994 | 0.086994 | 0.086994 | 0.98842 | -0.22244 | 0.98872 | -0.2168 | 23.8995
23 | 0.027331 | 0.0068507 | -0.027329 | -0.0068494 | 2.1492e-06 | 1.3321e-06 | 0.041146 | 0.041146 | 0.041146 | 0.98842 | -0.22244 | 0.98834 | -0.2241 | 11.3039

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2865 | 0.072579

## res_load
| p_mw | q_mvar
0 | 0.0019851 | 0.00049752
1 | 0.0060347 | 0.0015124
2 | 0.012649 | 0.00317
3 | 0.0091209 | 0.0022859
4 | 0.00070149 | 0.00017581
5 | 0.00065627 | 0.00016448
6 | 0.057477 | 0.014405
7 | 0.044892 | 0.011251
8 | 0.0031341 | 0.00078547
9 | 0.00085719 | 0.00021483
10 | 0.030455 | 0.0076327
11 | 0.048427 | 0.012137
12 | 0.027329 | 0.0068494
13 | 0.0077471 | 0.0019416
14 | 0.022715 | 0.0056929
15 | 0.0075702 | 0.0018973

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1