## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-88_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-88_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-88_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-88_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-88_0_3_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_1061-88_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-88_0_3_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_1061-88_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1061-88_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1061-88_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1061-88_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_1061-88_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1061-88_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_1061-88_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1061-88_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1061-88_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1061-88_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1061-88_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1061-88_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1061-88_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1061-88_0_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1061-88_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1061-88_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1061-88_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1061-88_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1061-88_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1061-88_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_1061-88_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1061-88_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1061-88_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1061-88_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1061-88_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1061-88_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1061-88_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1061-88_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1061-88_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1061-88_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1061-88_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1061-88_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1061-88_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1061-88_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1061-88_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_MV_213_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-88_0_3_load_0 | 0 | 0.019628 | 0.0049192 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-88_0_3_load_1 | 1 | 0.013489 | 0.0033806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-88_0_3_load_43 | 4 | 0.018682 | 0.0046822 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-88_0_3_load_32 | 7 | 0.010423 | 0.0026123 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-88_0_3_load_47 | 10 | 0.0085778 | 0.0021498 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-88_0_3_load_29 | 12 | 0.011222 | 0.0028125 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-88_0_3_load_25 | 13 | 0.01194 | 0.0029924 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-88_0_3_load_28 | 14 | 0.008732 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-88_0_3_load_6 | 15 | 0.0044211 | 0.001108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-88_0_3_load_9 | 17 | 0.0047296 | 0.0011854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-88_0_3_load_12 | 18 | 0.0015958 | 0.00039993 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-88_0_3_load_34 | 20 | 0.0034229 | 0.00085785 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-88_0_3_load_35 | 21 | 0.0051057 | 0.0012796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-88_0_3_load_24 | 22 | 0.017716 | 0.00444 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-88_0_3_load_15 | 23 | 0.017066 | 0.0042772 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-88_0_3_load_36 | 25 | 0.019337 | 0.0048463 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-88_0_3_load_42 | 26 | 0.016293 | 0.0040833 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-88_0_3_load_21 | 27 | 0.052428 | 0.01314 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-88_0_3_load_16 | 28 | 0.012494 | 0.0031312 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-88_0_3_load_17 | 29 | 0.013515 | 0.0033871 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-88_0_3_load_22 | 32 | 0.035796 | 0.0089712 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-88_0_3_load_30 | 33 | 0.015423 | 0.0038653 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-88_0_3_load_39 | 35 | 0.01389 | 0.0034811 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-88_0_3_load_40 | 36 | 0.0045764 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-88_0_3_load_48 | 37 | 0.0087275 | 0.0021873 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-88_0_3_load_44 | 38 | 0.0035285 | 0.00088433 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-88_0_3_load_45 | 39 | 0.0068028 | 0.0017049 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-88_0_3_load_41 | 40 | 0.0072184 | 0.0018091 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-88_0_3_load_46 | 41 | 0.0092354 | 0.0023146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-88_0_3_line_0 |  | 0 | 1 | 0.024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-88_0_3_line_1 |  | 0 | 2 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-88_0_3_line_2 |  | 2 | 3 | 0.003073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-88_0_3_line_3 |  | 3 | 4 | 0.049015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-88_0_3_line_4 |  | 4 | 8 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-88_0_3_line_5 |  | 5 | 6 | 0.080958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-88_0_3_line_6 |  | 5 | 7 | 0.033051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-88_0_3_line_7 |  | 6 | 10 | 0.036872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-88_0_3_line_8 |  | 7 | 14 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-88_0_3_line_9 |  | 8 | 9 | 0.055973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-88_0_3_line_10 |  | 9 | 22 | 0.012201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-88_0_3_line_11 |  | 9 | 23 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-88_0_3_line_12 |  | 10 | 37 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-88_0_3_line_13 |  | 11 | 12 | 0.037481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-88_0_3_line_14 |  | 11 | 13 | 0.012754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-88_0_3_line_15 |  | 12 | 35 | 0.025244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-88_0_3_line_16 |  | 13 | 34 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-88_0_3_line_17 |  | 14 | 34 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-88_0_3_line_18 |  | 15 | 16 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-88_0_3_line_19 |  | 16 | 17 | 0.061691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-88_0_3_line_20 |  | 17 | 18 | 0.020975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-88_0_3_line_21 |  | 18 | 19 | 0.064572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-88_0_3_line_22 |  | 19 | 24 | 0.00397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-88_0_3_line_23 |  | 20 | 21 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-88_0_3_line_24 |  | 21 | 25 | 0.038437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-88_0_3_line_25 |  | 22 | 31 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-88_0_3_line_26 |  | 24 | 25 | 0.015613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-88_0_3_line_27 |  | 24 | 26 | 0.052314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-88_0_3_line_28 |  | 26 | 27 | 0.027248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-88_0_3_line_29 |  | 27 | 30 | 0.049049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1061-88_0_3_line_30 |  | 28 | 29 | 0.026133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-88_0_3_line_31 |  | 28 | 30 | 0.0085102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-88_0_3_line_32 |  | 30 | 31 | 0.004393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-88_0_3_line_33 |  | 30 | 32 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1061-88_0_3_line_34 |  | 31 | 33 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-88_0_3_line_35 |  | 32 | 34 | 0.02687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-88_0_3_line_36 |  | 35 | 36 | 0.032834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-88_0_3_line_37 |  | 36 | 40 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-88_0_3_line_38 |  | 37 | 41 | 0.0066708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-88_0_3_line_39 |  | 38 | 39 | 0.033353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-88_0_3_line_40 |  | 39 | 41 | 0.07203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-88_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 42 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2667138.6435 | 1212058.9566 | 2667163.0235 | 1212062.3509
1 | 2667120.9126 | 1212056.4879 | 2667138.6435 | 1212058.9566
2 | 2667120.9126 | 1212056.4879 | 2667120.1269 | 1212059.4587
3 | 2667120.1269 | 1212059.4587 | 2667127.816 | 1212060.835 | 2667137.6179 | 1212062.1572 | 2667149.0264 | 1212063.8644 | 2667168.6171 | 1212066.5743
4 | 2667184.9569 | 1212068.6941 | 2667176.0641 | 1212067.6044 | 2667168.6171 | 1212066.5743
5 | 2667065.3904 | 1212137.0802 | 2667058.9281 | 1212137.43 | 2667084.2902 | 1212150.2898 | 2667123.5365 | 1212174.3794
6 | 2667065.3904 | 1212137.0802 | 2667068.7964 | 1212136.8962 | 2667097.2064 | 1212145.3458
7 | 2667123.5365 | 1212174.3794 | 2667153.3731 | 1212196.0437
8 | 2667122.9515 | 1212151.6524 | 2667113.4755 | 1212150.1846 | 2667097.2064 | 1212145.3458
9 | 2667166.6551 | 1212104.2545 | 2667166.8305 | 1212103.5227 | 2667167.0943 | 1212102.3583 | 2667172.8239 | 1212103.6569 | 2667173.2639 | 1212101.0158 | 2667170.8778 | 1212100.3663 | 2667173.4593 | 1212082.9957 | 2667183.0326 | 1212084.3821 | 2667184.6273 | 1212072.993 | 2667184.9569 | 1212068.6941
10 | 2667166.6551 | 1212104.2545 | 2667154.7291 | 1212101.681
11 | 2667166.6551 | 1212104.2545 | 2667186.245 | 1212109.2317
12 | 2667153.3731 | 1212196.0437 | 2667166.5072 | 1212205.5804
13 | 2667121.7167 | 1212170.6789 | 2667152.604 | 1212191.9108
14 | 2667121.7167 | 1212170.6789 | 2667122.5836 | 1212169.2655 | 2667125.5459 | 1212171.3668 | 2667125.8693 | 1212170.9925 | 2667129.8308 | 1212165.2584
15 | 2667173.4071 | 1212206.2108 | 2667152.604 | 1212191.9108
16 | 2667135.3805 | 1212153.5776 | 2667133.9485 | 1212159.2983 | 2667129.8308 | 1212165.2584
17 | 2667135.3805 | 1212153.5776 | 2667122.9515 | 1212151.6524
18 | 2667293.5071 | 1212272.4549 | 2667299.2 | 1212260.7929
19 | 2667293.5071 | 1212272.4549 | 2667291.6876 | 1212272.7679 | 2667287.5723 | 1212271.8542 | 2667284.1517 | 1212269.97 | 2667280.5442 | 1212267.1387 | 2667278.303 | 1212264.434 | 2667276.8761 | 1212260.2598 | 2667276.4614 | 1212253.2396 | 2667281.0902 | 1212221.3926
20 | 2667284.0252 | 1212200.6255 | 2667283.8504 | 1212202.4025 | 2667281.0902 | 1212221.3926
21 | 2667267.5818 | 1212141.2256 | 2667271.5134 | 1212144.9611 | 2667278.3393 | 1212154.1438 | 2667282.0012 | 1212161.5785 | 2667284.8668 | 1212176.2978 | 2667285.5154 | 1212185.4774 | 2667284.0252 | 1212200.6255
22 | 2667267.5818 | 1212141.2256 | 2667264.8444 | 1212144.1076
23 | 2667279.8806 | 1212218.0799 | 2667281.9705 | 1212206.0502 | 2667281.9744 | 1212193.4652
24 | 2667274.0008 | 1212156.5801 | 2667279.3191 | 1212166.2957 | 2667281.9771 | 1212184.5925 | 2667281.9744 | 1212193.4652
25 | 2667144.8028 | 1212099.539 | 2667154.7291 | 1212101.681
26 | 2667264.8444 | 1212144.1076 | 2667270.2069 | 1212149.6493 | 2667274.0008 | 1212156.5801
27 | 2667264.8444 | 1212144.1076 | 2667261.5922 | 1212140.7577 | 2667249.9883 | 1212134.1673 | 2667232.1258 | 1212127.3729 | 2667217.5173 | 1212123.2126
28 | 2667217.5173 | 1212123.2126 | 2667191.3115 | 1212115.7495
29 | 2667143.767 | 1212103.8077 | 2667165.9914 | 1212108.5386 | 2667191.3115 | 1212115.7495
30 | 2667109.9173 | 1212096.4354 | 2667135.4517 | 1212101.9967
31 | 2667143.767 | 1212103.8077 | 2667135.4517 | 1212101.9967
32 | 2667143.767 | 1212103.8077 | 2667144.4998 | 1212100.803 | 2667144.8028 | 1212099.539
33 | 2667143.767 | 1212103.8077 | 2667143.0036 | 1212106.8232 | 2667142.8284 | 1212107.5328 | 2667146.9203 | 1212108.5239 | 2667142.0477 | 1212127.5477
34 | 2667144.8028 | 1212099.539 | 2667133.2763 | 1212097.1682
35 | 2667135.3805 | 1212153.5776 | 2667142.0477 | 1212127.5477
36 | 2667173.4071 | 1212206.2108 | 2667200.4652 | 1212224.8105
37 | 2667200.4652 | 1212224.8105 | 2667203.3256 | 1212226.7768 | 2667220.6575 | 1212240.1692 | 2667221.8817 | 1212241.6783
38 | 2667171.9051 | 1212209.4998 | 2667166.5072 | 1212205.5804
39 | 2667234.3278 | 1212286.757 | 2667233.8911 | 1212281.455 | 2667232.5306 | 1212272.0672 | 2667231.7451 | 1212264.9095 | 2667229.7524 | 1212259.706 | 2667228.2846 | 1212256.4541 | 2667227.2694 | 1212254.4953
40 | 2667171.9051 | 1212209.4998 | 2667179.6524 | 1212215.1252 | 2667203.6021 | 1212230.56 | 2667218.5301 | 1212242.8691 | 2667222.7715 | 1212247.4309 | 2667226.3141 | 1212252.6518 | 2667227.2694 | 1212254.4953

## bus_geodata
| x | y | coords
0 | 2667138.6435 | 1212058.9566
1 | 2667163.0235 | 1212062.3509
2 | 2667120.9126 | 1212056.4879
3 | 2667120.1269 | 1212059.4587
4 | 2667168.6171 | 1212066.5743
5 | 2667065.3904 | 1212137.0802
6 | 2667123.5365 | 1212174.3794
7 | 2667097.2064 | 1212145.3459
8 | 2667184.9569 | 1212068.6941
9 | 2667166.6551 | 1212104.2545
10 | 2667153.3731 | 1212196.0437
11 | 2667121.7167 | 1212170.6789
12 | 2667152.604 | 1212191.9108
13 | 2667129.8308 | 1212165.2584
14 | 2667122.9515 | 1212151.6524
15 | 2667299.2 | 1212260.7929
16 | 2667293.5071 | 1212272.4549
17 | 2667281.0902 | 1212221.3926
18 | 2667284.0252 | 1212200.6255
19 | 2667267.5818 | 1212141.2256
20 | 2667279.8806 | 1212218.0799
21 | 2667281.9744 | 1212193.4652
22 | 2667154.7291 | 1212101.681
23 | 2667186.245 | 1212109.2317
24 | 2667264.8444 | 1212144.1076
25 | 2667274.0008 | 1212156.5801
26 | 2667217.5173 | 1212123.2126
27 | 2667191.3115 | 1212115.7495
28 | 2667135.4517 | 1212101.9967
29 | 2667109.9173 | 1212096.4354
30 | 2667143.767 | 1212103.8077
31 | 2667144.8028 | 1212099.539
32 | 2667142.0477 | 1212127.5477
33 | 2667133.2763 | 1212097.1682
34 | 2667135.3805 | 1212153.5776
35 | 2667173.4071 | 1212206.2108
36 | 2667200.4652 | 1212224.8105
37 | 2667166.5072 | 1212205.5804
38 | 2667234.3278 | 1212286.757
39 | 2667227.2694 | 1212254.4953
40 | 2667221.8817 | 1212241.6783
41 | 2667171.9051 | 1212209.4998
42 | 2667143.767 | 1212103.8077

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98639 | -0.26202 | 0.019628 | 0.0049192
1 | 0.98608 | -0.26797 | 0.013489 | 0.0033806
2 | 0.98693 | -0.25141 | 0 | 0
3 | 0.98703 | -0.24959 | 0 | 0
4 | 0.98852 | -0.22059 | 0.018682 | 0.0046822
5 | 0.98664 | -0.25679 | 0 | 0
6 | 0.98388 | -0.3104 | 0 | 0
7 | 0.98776 | -0.23499 | 0.010423 | 0.0026123
8 | 0.9893 | -0.20538 | 0 | 0
9 | 0.99197 | -0.15388 | 0 | 0
10 | 0.98262 | -0.33491 | 0.0085778 | 0.0021498
11 | 0.98855 | -0.21984 | 0 | 0
12 | 0.98728 | -0.24455 | 0.011222 | 0.0028125
13 | 0.98898 | -0.21145 | 0.01194 | 0.0029924
14 | 0.98892 | -0.21257 | 0.008732 | 0.0021885
15 | 0.99565 | -0.083603 | 0.0044211 | 0.001108
16 | 0.99571 | -0.082594 | 0 | 0
17 | 0.99596 | -0.077799 | 0.0047296 | 0.0011854
18 | 0.99613 | -0.074426 | 0.0015958 | 0.00039993
19 | 0.99676 | -0.06224 | 0 | 0
20 | 0.99603 | -0.076375 | 0.0034229 | 0.00085785
21 | 0.99611 | -0.074884 | 0.0051057 | 0.0012796
22 | 0.99274 | -0.13901 | 0.017716 | 0.00444
23 | 0.99165 | -0.15999 | 0.017066 | 0.0042772
24 | 0.9968 | -0.061491 | 0 | 0
25 | 0.9964 | -0.069127 | 0.019337 | 0.0048463
26 | 0.99864 | -0.026115 | 0.016293 | 0.0040833
27 | 1 | 0 | -0.32817 | -0.082961
28 | 0.99375 | -0.11946 | 0.012494 | 0.0031312
29 | 0.99343 | -0.1257 | 0.013515 | 0.0033871
30 | 0.99395 | -0.11556 | 0 | 0
31 | 0.99354 | -0.12347 | 0 | 0
32 | 0.99216 | -0.14998 | 0.035796 | 0.0089712
33 | 0.99338 | -0.12667 | 0.015423 | 0.0038653
34 | 0.98957 | -0.20002 | 0 | 0
35 | 0.98668 | -0.25615 | 0.01389 | 0.0034811
36 | 0.98633 | -0.26309 | 0.0045764 | 0.001147
37 | 0.9822 | -0.3432 | 0.0087275 | 0.0021873
38 | 0.98128 | -0.36115 | 0.0035285 | 0.00088433
39 | 0.98139 | -0.35902 | 0.0068028 | 0.0017049
40 | 0.98614 | -0.26662 | 0.0072184 | 0.0018091
41 | 0.98208 | -0.34556 | 0.0092354 | 0.0023146
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013492 | 0.0033827 | -0.013489 | -0.0033806 | 3.8243e-06 | 2.1334e-06 | 0.020354 | 0.020355 | 0.020355 | 0.98639 | -0.26202 | 0.98608 | -0.26797 | 5.5919
1 | -0.03312 | -0.0083019 | 0.033137 | 0.0083124 | 1.6759e-05 | 1.0497e-05 | 0.049964 | 0.049964 | 0.049964 | 0.98639 | -0.26202 | 0.98693 | -0.25141 | 13.7264
2 | -0.033137 | -0.0083124 | 0.03314 | 0.0083142 | 2.8768e-06 | 1.8019e-06 | 0.049964 | 0.049964 | 0.049964 | 0.98693 | -0.25141 | 0.98703 | -0.24959 | 13.7264
3 | -0.03314 | -0.0083142 | 0.033186 | 0.0083429 | 4.5885e-05 | 2.8739e-05 | 0.049964 | 0.049964 | 0.049964 | 0.98703 | -0.24959 | 0.98852 | -0.22059 | 13.7264
4 | -0.051868 | -0.013025 | 0.051906 | 0.013049 | 3.7676e-05 | 2.3901e-05 | 0.078086 | 0.078086 | 0.078086 | 0.98852 | -0.22059 | 0.9893 | -0.20538 | 21.4523
5 | 0.03703 | 0.0093392 | -0.036936 | -0.0092796 | 9.4762e-05 | 5.9617e-05 | 0.055869 | 0.055869 | 0.055869 | 0.98664 | -0.25679 | 0.98388 | -0.3104 | 15.3487
6 | -0.03703 | -0.0093392 | 0.037069 | 0.0093635 | 3.8686e-05 | 2.4337e-05 | 0.055869 | 0.055869 | 0.055869 | 0.98664 | -0.25679 | 0.98776 | -0.23499 | 15.3486
7 | 0.036936 | 0.0092796 | -0.036892 | -0.0092524 | 4.316e-05 | 2.7155e-05 | 0.055869 | 0.05587 | 0.05587 | 0.98388 | -0.3104 | 0.98262 | -0.33491 | 15.3488
8 | -0.047492 | -0.011976 | 0.047543 | 0.012008 | 5.1024e-05 | 3.2315e-05 | 0.071571 | 0.071571 | 0.071571 | 0.98776 | -0.23499 | 0.98892 | -0.21257 | 19.6624
9 | -0.051906 | -0.013049 | 0.052034 | 0.01313 | 0.00012798 | 8.119e-05 | 0.078086 | 0.078086 | 0.078086 | 0.9893 | -0.20538 | 0.99197 | -0.15388 | 21.4523
10 | -0.069105 | -0.01741 | 0.069154 | 0.017442 | 4.9195e-05 | 3.1327e-05 | 0.10369 | 0.10369 | 0.10369 | 0.99197 | -0.15388 | 0.99274 | -0.13901 | 28.4876
11 | 0.017071 | 0.0042801 | -0.017066 | -0.0042772 | 4.9707e-06 | 2.9204e-06 | 0.025609 | 0.025609 | 0.025609 | 0.99197 | -0.15388 | 0.99165 | -0.15999 | 7.0354
12 | 0.028315 | 0.0071026 | -0.028303 | -0.0070957 | 1.1192e-05 | 6.9571e-06 | 0.04288 | 0.04288 | 0.04288 | 0.98262 | -0.33491 | 0.9822 | -0.3432 | 11.7802
13 | 0.036969 | 0.0092883 | -0.036926 | -0.0092609 | 4.3539e-05 | 2.7385e-05 | 0.055656 | 0.055657 | 0.055657 | 0.98855 | -0.21984 | 0.98728 | -0.24455 | 15.2903
14 | -0.036969 | -0.0092883 | 0.036984 | 0.0092976 | 1.4815e-05 | 9.3182e-06 | 0.055656 | 0.055656 | 0.055656 | 0.98855 | -0.21984 | 0.98898 | -0.21145 | 15.2902
15 | 0.025704 | 0.0064484 | -0.02569 | -0.0064397 | 1.4209e-05 | 8.7714e-06 | 0.038743 | 0.038743 | 0.038743 | 0.98728 | -0.24455 | 0.98668 | -0.25615 | 10.6437
16 | -0.048924 | -0.01229 | 0.048951 | 0.012307 | 2.671e-05 | 1.6926e-05 | 0.073621 | 0.073621 | 0.073621 | 0.98898 | -0.21145 | 0.98957 | -0.20002 | 20.2256
17 | -0.056275 | -0.014197 | 0.056309 | 0.014218 | 3.3844e-05 | 2.1499e-05 | 0.08471 | 0.08471 | 0.08471 | 0.98892 | -0.21257 | 0.98957 | -0.20002 | 23.272
18 | -0.0044211 | -0.001108 | 0.0044213 | 0.001108 | 2.1246e-07 | -3.2814e-08 | 0.0066074 | 0.0066073 | 0.0066074 | 0.99565 | -0.083603 | 0.99571 | -0.082594 | 1.8152
19 | -0.0044213 | -0.001108 | 0.0044223 | 0.0011078 | 1.0099e-06 | -1.5626e-07 | 0.0066073 | 0.006607 | 0.0066073 | 0.99571 | -0.082594 | 0.99596 | -0.077799 | 1.8152
20 | -0.009152 | -0.0022932 | 0.0091534 | 0.0022939 | 1.4706e-06 | 6.6816e-07 | 0.013673 | 0.013673 | 0.013673 | 0.99596 | -0.077799 | 0.99613 | -0.074426 | 3.7564
21 | -0.010749 | -0.0026938 | 0.010755 | 0.002697 | 6.2431e-06 | 3.1544e-06 | 0.016057 | 0.016057 | 0.016057 | 0.99613 | -0.074426 | 0.99676 | -0.06224 | 4.4113
22 | -0.010755 | -0.002697 | 0.010756 | 0.0026972 | 3.8383e-07 | 1.939e-07 | 0.016057 | 0.016057 | 0.016057 | 0.99676 | -0.06224 | 0.9968 | -0.061491 | 4.4112
23 | -0.0034229 | -0.00085785 | 0.0034231 | 0.00085768 | 2.4313e-07 | -1.6714e-07 | 0.0051136 | 0.0051135 | 0.0051136 | 0.99603 | -0.076375 | 0.99611 | -0.074884 | 1.4048
24 | -0.0085288 | -0.0021373 | 0.0085312 | 0.0021383 | 2.3397e-06 | 9.969e-07 | 0.012741 | 0.01274 | 0.012741 | 0.99611 | -0.074884 | 0.9964 | -0.069127 | 3.5002
25 | -0.08687 | -0.021882 | 0.086935 | 0.021923 | 6.4602e-05 | 4.1214e-05 | 0.13025 | 0.13025 | 0.13025 | 0.99274 | -0.13901 | 0.99354 | -0.12347 | 35.7826
26 | 0.027878 | 0.0069909 | -0.027868 | -0.0069846 | 1.0141e-05 | 6.2867e-06 | 0.041618 | 0.041618 | 0.041618 | 0.9968 | -0.061491 | 0.9964 | -0.069127 | 11.4335
27 | -0.038634 | -0.009688 | 0.038699 | 0.0097291 | 6.5256e-05 | 4.108e-05 | 0.057675 | 0.057674 | 0.057675 | 0.9968 | -0.061491 | 0.99864 | -0.026115 | 15.8447
28 | -0.054992 | -0.013812 | 0.055061 | 0.013856 | 6.8623e-05 | 4.3562e-05 | 0.081951 | 0.081951 | 0.081951 | 0.99864 | -0.026115 | 1 | 0 | 22.514
29 | 0.27146 | 0.069105 | -0.26996 | -0.068144 | 0.0015034 | 0.0009609 | 0.40432 | 0.40432 | 0.40432 | 1 | 0 | 0.99395 | -0.11556 | 55.538
30 | 0.013519 | 0.0033893 | -0.013515 | -0.0033871 | 4.0158e-06 | 2.2317e-06 | 0.020243 | 0.020243 | 0.020243 | 0.99375 | -0.11946 | 0.99343 | -0.1257 | 5.5613
31 | -0.026012 | -0.0065205 | 0.026017 | 0.0065235 | 4.8417e-06 | 2.9884e-06 | 0.038951 | 0.038951 | 0.038951 | 0.99375 | -0.11946 | 0.99395 | -0.11556 | 10.7007
32 | 0.1024 | 0.025814 | -0.10236 | -0.02579 | 3.8741e-05 | 2.4737e-05 | 0.15335 | 0.15335 | 0.15335 | 0.99395 | -0.11556 | 0.99354 | -0.12347 | 42.1294
33 | 0.14154 | 0.035806 | -0.14131 | -0.035658 | 0.00023337 | 0.00014864 | 0.21202 | 0.21202 | 0.21202 | 0.99395 | -0.11556 | 0.99216 | -0.14998 | 29.123
34 | 0.015425 | 0.0038667 | -0.015423 | -0.0038653 | 2.3552e-06 | 1.355e-06 | 0.023102 | 0.023102 | 0.023102 | 0.99354 | -0.12347 | 0.99338 | -0.12667 | 6.3468
35 | 0.10551 | 0.026686 | -0.10526 | -0.026525 | 0.0002526 | 0.00016132 | 0.15833 | 0.15833 | 0.15833 | 0.99216 | -0.14998 | 0.98957 | -0.20002 | 43.4975
36 | 0.0118 | 0.0029586 | -0.011796 | -0.0029565 | 3.8995e-06 | 2.0765e-06 | 0.017796 | 0.017796 | 0.017796 | 0.98668 | -0.25615 | 0.98633 | -0.26309 | 4.8891
37 | 0.0072197 | 0.0018095 | -0.0072184 | -0.0018091 | 1.2153e-06 | 4.2921e-07 | 0.010892 | 0.010892 | 0.010892 | 0.98633 | -0.26309 | 0.98614 | -0.26662 | 2.9923
38 | 0.019576 | 0.0049084 | -0.019574 | -0.004907 | 2.2003e-06 | 1.3238e-06 | 0.029658 | 0.029658 | 0.029658 | 0.9822 | -0.3432 | 0.98208 | -0.34556 | 8.1478
39 | -0.0035285 | -0.00088433 | 0.0035289 | 0.00088414 | 3.5806e-07 | -1.9222e-07 | 0.0053506 | 0.0053505 | 0.0053506 | 0.98128 | -0.36115 | 0.98139 | -0.35902 | 1.4699
40 | -0.010332 | -0.0025891 | 0.010338 | 0.0025924 | 6.6283e-06 | 3.3313e-06 | 0.015665 | 0.015665 | 0.015665 | 0.98139 | -0.35902 | 0.98208 | -0.34556 | 4.3036

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3806 | 0.096101

## res_load
| p_mw | q_mvar
0 | 0.019628 | 0.0049192
1 | 0.013489 | 0.0033806
2 | 0.018682 | 0.0046822
3 | 0.010423 | 0.0026123
4 | 0.0085778 | 0.0021498
5 | 0.011222 | 0.0028125
6 | 0.01194 | 0.0029924
7 | 0.008732 | 0.0021885
8 | 0.0044211 | 0.001108
9 | 0.0047296 | 0.0011854
10 | 0.0015958 | 0.00039993
11 | 0.0034229 | 0.00085785
12 | 0.0051057 | 0.0012796
13 | 0.017716 | 0.00444
14 | 0.017066 | 0.0042772
15 | 0.019337 | 0.0048463
16 | 0.016293 | 0.0040833
17 | 0.052428 | 0.01314
18 | 0.012494 | 0.0031312
19 | 0.013515 | 0.0033871
20 | 0.035796 | 0.0089712
21 | 0.015423 | 0.0038653
22 | 0.01389 | 0.0034811
23 | 0.0045764 | 0.001147
24 | 0.0087275 | 0.0021873
25 | 0.0035285 | 0.00088433
26 | 0.0068028 | 0.0017049
27 | 0.0072184 | 0.0018091
28 | 0.0092354 | 0.0023146

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1