## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-92_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-92_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-92_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-92_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-92_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-92_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1061-92_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1061-92_0_5_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1061-92_0_5_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1061-92_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1061-92_0_5_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1061-92_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1061-92_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1061-92_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-92_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1061-92_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1061-92_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1061-92_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1061-92_0_5_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1061-92_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1061-92_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1061-92_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1061-92_0_5_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1061-92_0_5_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_1061-92_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1061-92_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1061-92_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1061-92_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1061-92_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1061-92_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1061-92_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1061-92_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1061-92_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1061-92_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1061-92_0_5_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_1061-92_0_5_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1061-92_0_5_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1061-92_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_1061-92_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_1061-92_0_5_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1061-92_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1061-92_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1061-92_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_1061-92_0_5_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_1061-92_0_5_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_1061-92_0_5_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_1061-92_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1061-92_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_1061-92_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1061-92_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1061-92_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1061-92_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1061-92_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_1061-92_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1061-92_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1061-92_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1061-92_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1061-92_0_5_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_1061-92_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_1061-92_0_5_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_1061-92_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_1061-92_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_1061-92_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1061-92_0_5_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_1061-92_0_5_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_1061-92_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_1061-92_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_1061-92_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_1061-92_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_MV_217_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-92_0_5_load_0 | 0 | 0.067421 | 0.016897 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-92_0_5_load_3 | 3 | 0.0076176 | 0.0019091 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-92_0_5_load_4 | 4 | 0.015905 | 0.0039862 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-92_0_5_load_6 | 5 | 0.027034 | 0.0067753 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-92_0_5_load_25 | 6 | 0.014467 | 0.0036257 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-92_0_5_load_26 | 8 | 0.010322 | 0.002587 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-92_0_5_load_32 | 9 | 0.012778 | 0.0032026 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-92_0_5_load_33 | 10 | 0.012542 | 0.0031432 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-92_0_5_load_31 | 11 | 0.047782 | 0.011975 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-92_0_5_load_27 | 12 | 0.014729 | 0.0036916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-92_0_5_load_7 | 13 | 0.0031108 | 0.00077965 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-92_0_5_load_8 | 14 | 0.0092388 | 0.0023155 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-92_0_5_load_11 | 17 | 0.0033376 | 0.00083648 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-92_0_5_load_35 | 18 | 0.012882 | 0.0032285 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-92_0_5_load_36 | 19 | 0.0033358 | 0.00083603 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-92_0_5_load_14 | 20 | 0.0052801 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-92_0_5_load_16 | 21 | 0.0032742 | 0.0008206 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-92_0_5_load_75 | 23 | 0.0022861 | 0.00057296 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-92_0_5_load_13 | 24 | 0.003533 | 0.00088545 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-92_0_5_load_17 | 25 | 0.0031488 | 0.00078916 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-92_0_5_load_15 | 26 | 0.016474 | 0.0041287 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-92_0_5_load_18 | 27 | 0.012322 | 0.0030881 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-92_0_5_load_19 | 28 | 0.019015 | 0.0047655 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-92_0_5_load_20 | 29 | 0.003633 | 0.00091052 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-92_0_5_load_24 | 33 | 0.0084618 | 0.0021207 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-92_0_5_load_53 | 35 | 0.0023588 | 0.00059117 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-92_0_5_load_71 | 37 | 0.0085382 | 0.0021399 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-92_0_5_load_60 | 39 | 0.010083 | 0.002527 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-92_0_5_load_54 | 42 | 0.00625 | 0.0015664 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-92_0_5_load_50 | 43 | 0.0088991 | 0.0022303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-92_0_5_load_73 | 44 | 0.0024544 | 0.00061512 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-92_0_5_load_74 | 45 | 0.0027109 | 0.00067942 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-92_0_5_load_28 | 46 | 0.014525 | 0.0036402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-92_0_5_load_30 | 47 | 0.022647 | 0.0056759 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-92_0_5_load_38 | 48 | 0.011581 | 0.0029024 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-92_0_5_load_41 | 49 | 0.0064702 | 0.0016216 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-92_0_5_load_39 | 50 | 0.010406 | 0.0026081 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-92_0_5_load_45 | 51 | 0.018664 | 0.0046776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-92_0_5_load_55 | 52 | 0.0036715 | 0.00092016 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-92_0_5_load_47 | 53 | 0.0020337 | 0.00050968 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-92_0_5_load_48 | 54 | 0.0079305 | 0.0019876 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-92_0_5_load_52 | 56 | 0.0032396 | 0.00081192 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-92_0_5_load_72 | 57 | 0.0081406 | 0.0020402 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-92_0_5_load_64 | 58 | 0.0091301 | 0.0022882 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-92_0_5_load_58 | 59 | 0.0056258 | 0.00141 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-92_0_5_load_56 | 60 | 0.0036481 | 0.0009143 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-92_0_5_load_57 | 61 | 0.00092849 | 0.0002327 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-92_0_5_load_59 | 62 | 0.01641 | 0.0041126 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-92_0_5_load_67 | 63 | 0.0071572 | 0.0017938 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-92_0_5_load_66 | 65 | 0.0050124 | 0.0012562 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-92_0_5_load_69 | 66 | 0.0073104 | 0.0018322 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-92_0_5_load_61 | 67 | 0.017855 | 0.0044749 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-92_0_5_load_68 | 68 | 0.0096201 | 0.002411 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-92_0_5_line_0 |  | 0 | 1 | 0.024621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-92_0_5_line_1 |  | 0 | 2 | 0.023326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-92_0_5_line_2 |  | 1 | 3 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-92_0_5_line_3 |  | 2 | 4 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1061-92_0_5_line_4 |  | 2 | 5 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1061-92_0_5_line_5 |  | 4 | 6 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1061-92_0_5_line_6 |  | 5 | 7 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1061-92_0_5_line_7 |  | 6 | 8 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-92_0_5_line_8 |  | 7 | 11 | 0.041604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1061-92_0_5_line_9 |  | 7 | 12 | 0.0091144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1061-92_0_5_line_10 |  | 8 | 44 | 0.0091151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-92_0_5_line_11 |  | 9 | 10 | 0.0092024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-92_0_5_line_12 |  | 10 | 27 | 0.0092541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-92_0_5_line_13 |  | 11 | 49 | 0.024758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1061-92_0_5_line_14 |  | 12 | 46 | 0.010757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1061-92_0_5_line_15 |  | 13 | 14 | 0.0029367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-92_0_5_line_16 |  | 13 | 15 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-92_0_5_line_17 |  | 14 | 16 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-92_0_5_line_18 |  | 15 | 17 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-92_0_5_line_19 |  | 16 | 18 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-92_0_5_line_20 |  | 16 | 19 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-92_0_5_line_21 |  | 16 | 20 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-92_0_5_line_22 |  | 17 | 21 | 0.0090077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-92_0_5_line_23 |  | 18 | 22 | 0.015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-92_0_5_line_24 |  | 19 | 23 | 0.0098248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-92_0_5_line_25 |  | 20 | 24 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-92_0_5_line_26 |  | 21 | 25 | 0.009022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-92_0_5_line_27 |  | 22 | 51 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-92_0_5_line_28 |  | 23 | 45 | 0.00873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-92_0_5_line_29 |  | 24 | 26 | 0.0015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-92_0_5_line_30 |  | 25 | 27 | 0.0091754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-92_0_5_line_31 |  | 28 | 29 | 0.0089575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-92_0_5_line_32 |  | 28 | 30 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-92_0_5_line_33 |  | 29 | 31 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-92_0_5_line_34 |  | 30 | 32 | 0.004824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-92_0_5_line_35 |  | 30 | 33 | 0.047181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1061-92_0_5_line_36 |  | 31 | 34 | 0.1144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-92_0_5_line_37 |  | 32 | 35 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-92_0_5_line_38 |  | 33 | 36 | 0.03915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1061-92_0_5_line_39 |  | 34 | 39 | 0.069711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-92_0_5_line_40 |  | 35 | 43 | 0.0042979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-92_0_5_line_41 |  | 36 | 40 | 0.1017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-92_0_5_line_42 |  | 36 | 41 | 0.16106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1061-92_0_5_line_43 |  | 37 | 38 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-92_0_5_line_44 |  | 38 | 57 | 0.037492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-92_0_5_line_45 |  | 38 | 55 | 0.010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-92_0_5_line_46 |  | 39 | 67 | 0.02951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-92_0_5_line_47 |  | 40 | 42 | 0.0062666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-92_0_5_line_48 |  | 41 | 49 | 0.032805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1061-92_0_5_line_49 |  | 42 | 52 | 0.0086704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-92_0_5_line_50 |  | 43 | 54 | 0.014326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-92_0_5_line_51 |  | 44 | 45 | 0.0090501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-92_0_5_line_52 |  | 46 | 47 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-92_0_5_line_53 |  | 47 | 48 | 0.019093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-92_0_5_line_54 |  | 48 | 50 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-92_0_5_line_55 |  | 53 | 54 | 0.007414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-92_0_5_line_56 |  | 53 | 55 | 0.0018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-92_0_5_line_57 |  | 55 | 56 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-92_0_5_line_58 |  | 56 | 58 | 0.0173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-92_0_5_line_59 |  | 57 | 59 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-92_0_5_line_60 |  | 58 | 60 | 0.017103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-92_0_5_line_61 |  | 59 | 62 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-92_0_5_line_62 |  | 60 | 61 | 0.03222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-92_0_5_line_63 |  | 62 | 63 | 0.028353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-92_0_5_line_64 |  | 62 | 64 | 0.0082786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-92_0_5_line_65 |  | 63 | 65 | 0.0081893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-92_0_5_line_66 |  | 64 | 66 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-92_0_5_line_67 |  | 66 | 68 | 0.0027691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-92_0_5_trafo_28 | 0.63 MVA 20/0.4 kV | 69 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2664902.3144 | 1211863.0018 | 2664926.6227 | 1211859.0873
1 | 2664949.6517 | 1211855.3788 | 2664926.6227 | 1211859.0873
2 | 2664902.3144 | 1211863.0018 | 2664900.2508 | 1211851.6008
3 | 2664949.6517 | 1211855.3788 | 2664962.1162 | 1211852.5373
4 | 2664949.6517 | 1211855.3788 | 2664952.3723 | 1211870.3418
5 | 2664962.1162 | 1211852.5373 | 2664982.789 | 1211847.8246
6 | 2664954.7703 | 1211883.5297 | 2664952.3723 | 1211870.3418
7 | 2664994.1283 | 1211845.2396 | 2664982.789 | 1211847.8246
8 | 2664954.7703 | 1211883.5297 | 2664913.3191 | 1211887.0899
9 | 2664954.7703 | 1211883.5297 | 2664963.7745 | 1211882.1163
10 | 2664994.1283 | 1211845.2396 | 2665003.0154 | 1211843.2136
11 | 2664971.4514 | 1211822.1485 | 2664980.4304 | 1211820.1333
12 | 2664989.4599 | 1211818.1068 | 2664980.4304 | 1211820.1333
13 | 2664888.6521 | 1211889.2085 | 2664913.3191 | 1211887.0899
14 | 2664974.3798 | 1211880.3226 | 2664970.5334 | 1211881.0553 | 2664963.7745 | 1211882.1163
15 | 2665035.1569 | 1211817.8133 | 2665036.083 | 1211820.6002
16 | 2665031.9038 | 1211808.0233 | 2665035.1569 | 1211817.8133
17 | 2665040.7395 | 1211834.6138 | 2665036.083 | 1211820.6002
18 | 2665031.9038 | 1211808.0233 | 2665015.9788 | 1211812.0409
19 | 2665040.7395 | 1211834.6138 | 2665044.8058 | 1211849.5952
20 | 2665040.7395 | 1211834.6138 | 2665029.9298 | 1211837.078
21 | 2665040.7395 | 1211834.6138 | 2665052.085 | 1211831.1698
22 | 2665007.2155 | 1211814.1218 | 2665011.8801 | 1211813.0749 | 2665015.9788 | 1211812.0409
23 | 2665051.1342 | 1211863.1669 | 2665047.7522 | 1211860.4506 | 2665044.8058 | 1211849.5952
24 | 2665029.9298 | 1211837.078 | 2665020.3508 | 1211839.2617
25 | 2665052.085 | 1211831.1698 | 2665067.2561 | 1211826.5645
26 | 2664998.4125 | 1211816.0975 | 2665007.2155 | 1211814.1218
27 | 2665051.1342 | 1211863.1669 | 2665072.1953 | 1211857.4835
28 | 2665011.8392 | 1211841.2021 | 2665020.3508 | 1211839.2617
29 | 2665068.6971 | 1211826.127 | 2665067.2561 | 1211826.5645
30 | 2664989.4599 | 1211818.1068 | 2664998.4125 | 1211816.0975
31 | 2664986.3128 | 1211972.0725 | 2664977.9787 | 1211975.3556
32 | 2664959.1524 | 1211982.7718 | 2664977.9787 | 1211975.3556
33 | 2664995.9261 | 1211968.2856 | 2664986.3128 | 1211972.0725
34 | 2664959.1524 | 1211982.7718 | 2664961.89 | 1211986.7485
35 | 2664959.1524 | 1211982.7718 | 2664914.6939 | 1211998.5657
36 | 2664995.9261 | 1211968.2856 | 2665001.2874 | 1211966.4762 | 2665000.6017 | 1211963.856 | 2664999.916 | 1211961.2358 | 2665002.186 | 1211958.6256 | 2665026.7748 | 1211946.6973 | 2665040.8043 | 1211940.1461 | 2665044.0024 | 1211936.7344 | 2665041.4107 | 1211936.0947 | 2665039.4894 | 1211935.9959 | 2665031.9856 | 1211937.0926 | 2665024.2047 | 1211938.5086 | 2665016.0472 | 1211940.3209 | 2665008.8559 | 1211942.0213 | 2665005.0008 | 1211942.9688 | 2665001.1616 | 1211943.8609 | 2664996.0471 | 1211945.3283 | 2664995.4597 | 1211942.0643
37 | 2664961.89 | 1211986.7485 | 2664964.4034 | 1211990.3892 | 2664971.1337 | 1211993.3324
38 | 2664877.803 | 1212011.6712 | 2664914.6939 | 1211998.5657
39 | 2664995.4597 | 1211942.0643 | 2664992.3535 | 1211942.6197 | 2664987.5488 | 1211943.5569 | 2664974.1655 | 1211945.201 | 2664961.193 | 1211946.8052 | 2664951.2052 | 1211947.8416 | 2664943.4848 | 1211947.8909 | 2664932.0004 | 1211947.5101 | 2664926.1489 | 1211947.5926
40 | 2664971.1337 | 1211993.3324 | 2664975.0716 | 1211995.0544
41 | 2664877.803 | 1212011.6712 | 2664878.86 | 1212015.7852 | 2664879.1806 | 1212017.045 | 2664878.6283 | 1212017.5282 | 2664877.3135 | 1212019.6486 | 2664876.5119 | 1212022.0969 | 2664876.609 | 1212026.4451 | 2664878.5195 | 1212031.0242 | 2664880.0889 | 1212032.7312 | 2664882.4012 | 1212033.9016 | 2664914.6752 | 1212043.2472 | 2664931.0734 | 1212047.9952 | 2664933.3662 | 1212039.7929 | 2664949.7467 | 1212044.0849
42 | 2664877.803 | 1212011.6712 | 2664876.8188 | 1212007.8582 | 2664876.5636 | 1212006.8659 | 2664867.1306 | 1212009.2982 | 2664862.8737 | 1212010.1746 | 2664859.698 | 1212010.1401 | 2664856.2037 | 1212009.3683 | 2664849.9181 | 1212007.4433 | 2664847.4938 | 1211969.7604 | 2664844.2191 | 1211961.3641 | 2664843.5769 | 1211951.2397 | 2664840.1822 | 1211897.9701 | 2664840.0847 | 1211896.457 | 2664849.4086 | 1211895.6912 | 2664855.9679 | 1211892.0157
43 | 2665005.9325 | 1211999.6917 | 2665002.2506 | 1211988.1356
44 | 2665005.9325 | 1211999.6917 | 2665041.3053 | 1211987.2647
45 | 2664996.7089 | 1212004.5164 | 2665005.9325 | 1211999.6917
46 | 2664926.1489 | 1211947.5926 | 2664921.764 | 1211947.6544 | 2664904.8166 | 1211947.2587 | 2664896.646 | 1211947.0755
47 | 2664949.7467 | 1212044.0849 | 2664951.247 | 1212038.0006
48 | 2664855.9679 | 1211892.0157 | 2664888.6521 | 1211889.2085
49 | 2664949.477 | 1212029.7732 | 2664951.7181 | 1212036.0904 | 2664951.247 | 1212038.0006
50 | 2664975.0716 | 1211995.0544 | 2664988.1973 | 1212000.7943
51 | 2665003.0154 | 1211843.2136 | 2665011.8392 | 1211841.2021
52 | 2664974.3798 | 1211880.3226 | 2664988.8147 | 1211877.573
53 | 2665007.5708 | 1211874.0002 | 2664988.8147 | 1211877.573
54 | 2665007.5708 | 1211874.0002 | 2665020.942 | 1211871.4532
55 | 2664994.9902 | 1212003.7648 | 2664988.1973 | 1212000.7943
56 | 2664996.7089 | 1212004.5164 | 2664994.9902 | 1212003.7648
57 | 2664996.7089 | 1212004.5164 | 2665014.3281 | 1212011.929
58 | 2665014.3281 | 1212011.929 | 2665030.274 | 1212018.6376
59 | 2665041.3053 | 1211987.2647 | 2665060.4842 | 1212000.0793
60 | 2665030.274 | 1212018.6376 | 2665025.6707 | 1212035.1092
61 | 2665060.4842 | 1212000.0793 | 2665077.0505 | 1211983.4101
62 | 2665025.6707 | 1212035.1092 | 2665002.9582 | 1212057.9629
63 | 2665097.0368 | 1211963.2996 | 2665077.0505 | 1211983.4101
64 | 2665076.1947 | 1211975.1758 | 2665077.0505 | 1211983.4101
65 | 2665102.8096 | 1211957.4909 | 2665097.0368 | 1211963.2996
66 | 2665076.1947 | 1211975.1758 | 2665071.2738 | 1211964.9943
67 | 2665070.0688 | 1211962.5012 | 2665071.2738 | 1211964.9943

## bus_geodata
| x | y | coords
0 | 2664926.6227 | 1211859.0873
1 | 2664902.3144 | 1211863.0018
2 | 2664949.6517 | 1211855.3788
3 | 2664900.2508 | 1211851.6008
4 | 2664962.1162 | 1211852.5373
5 | 2664952.3723 | 1211870.3418
6 | 2664982.789 | 1211847.8246
7 | 2664954.7703 | 1211883.5297
8 | 2664994.1283 | 1211845.2396
9 | 2664971.4514 | 1211822.1485
10 | 2664980.4304 | 1211820.1333
11 | 2664913.3191 | 1211887.0899
12 | 2664963.7745 | 1211882.1163
13 | 2665035.1569 | 1211817.8133
14 | 2665036.083 | 1211820.6002
15 | 2665031.9038 | 1211808.0233
16 | 2665040.7395 | 1211834.6138
17 | 2665015.9788 | 1211812.0409
18 | 2665044.8058 | 1211849.5952
19 | 2665029.9298 | 1211837.078
20 | 2665052.085 | 1211831.1698
21 | 2665007.2155 | 1211814.1218
22 | 2665051.1342 | 1211863.1669
23 | 2665020.3508 | 1211839.2617
24 | 2665067.2561 | 1211826.5645
25 | 2664998.4125 | 1211816.0975
26 | 2665068.6971 | 1211826.127
27 | 2664989.4599 | 1211818.1068
28 | 2664977.9787 | 1211975.3556
29 | 2664986.3128 | 1211972.0725
30 | 2664959.1524 | 1211982.7718
31 | 2664995.9261 | 1211968.2856
32 | 2664961.89 | 1211986.7485
33 | 2664914.6939 | 1211998.5657
34 | 2664995.4597 | 1211942.0643
35 | 2664971.1337 | 1211993.3324
36 | 2664877.803 | 1212011.6712
37 | 2665002.2506 | 1211988.1356
38 | 2665005.9325 | 1211999.6917
39 | 2664926.1489 | 1211947.5926
40 | 2664949.7467 | 1212044.0849
41 | 2664855.9679 | 1211892.0157
42 | 2664951.247 | 1212038.0006
43 | 2664975.0716 | 1211995.0544
44 | 2665003.0154 | 1211843.2136
45 | 2665011.8392 | 1211841.2021
46 | 2664974.3798 | 1211880.3226
47 | 2664988.8147 | 1211877.573
48 | 2665007.5708 | 1211874.0002
49 | 2664888.6521 | 1211889.2085
50 | 2665020.942 | 1211871.4532
51 | 2665072.1953 | 1211857.4835
52 | 2664949.477 | 1212029.7732
53 | 2664994.9902 | 1212003.7648
54 | 2664988.1973 | 1212000.7943
55 | 2664996.7089 | 1212004.5164
56 | 2665014.3281 | 1212011.929
57 | 2665041.3053 | 1211987.2647
58 | 2665030.274 | 1212018.6376
59 | 2665060.4842 | 1212000.0793
60 | 2665025.6707 | 1212035.1092
61 | 2665002.9582 | 1212057.9629
62 | 2665077.0505 | 1211983.4101
63 | 2665097.0368 | 1211963.2996
64 | 2665076.1947 | 1211975.1758
65 | 2665102.8096 | 1211957.4909
66 | 2665071.2738 | 1211964.9943
67 | 2664896.646 | 1211947.0755
68 | 2665070.0688 | 1211962.5012
69 | 2664954.7703 | 1211883.5297

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99441 | -0.10693 | 0.067421 | 0.016897
1 | 0.99424 | -0.11024 | 0 | 0
2 | 0.996 | -0.076129 | 0 | 0
3 | 0.99416 | -0.11179 | 0.0076176 | 0.0019091
4 | 0.99551 | -0.085571 | 0.015905 | 0.0039862
5 | 0.99685 | -0.059902 | 0.027034 | 0.0067753
6 | 0.99403 | -0.11399 | 0.014467 | 0.0036257
7 | 0.99768 | -0.044037 | 0 | 0
8 | 0.99256 | -0.14228 | 0.010322 | 0.002587
9 | 0.98373 | -0.31347 | 0.012778 | 0.0032026
10 | 0.98383 | -0.31135 | 0.012542 | 0.0031432
11 | 0.99547 | -0.085884 | 0.047782 | 0.011975
12 | 0.99873 | -0.024131 | 0.014729 | 0.0036916
13 | 0.98624 | -0.26442 | 0.0031108 | 0.00077965
14 | 0.98638 | -0.26177 | 0.0092388 | 0.0023155
15 | 0.98579 | -0.27319 | 0 | 0
16 | 0.98719 | -0.24597 | 0 | 0
17 | 0.98507 | -0.28716 | 0.0033376 | 0.00083648
18 | 0.98674 | -0.25473 | 0.012882 | 0.0032285
19 | 0.98838 | -0.22288 | 0.0033358 | 0.00083603
20 | 0.98692 | -0.25133 | 0.0052801 | 0.0013233
21 | 0.98471 | -0.2943 | 0.0032742 | 0.0008206
22 | 0.98647 | -0.25994 | 0 | 0
23 | 0.98946 | -0.20188 | 0.0022861 | 0.00057296
24 | 0.98662 | -0.25701 | 0.003533 | 0.00088545
25 | 0.98437 | -0.30091 | 0.0031488 | 0.00078916
26 | 0.9866 | -0.25746 | 0.016474 | 0.0041287
27 | 0.98405 | -0.30713 | 0.012322 | 0.0030881
28 | 0.98067 | -0.37044 | 0.019015 | 0.0047655
29 | 0.9804 | -0.37556 | 0.003633 | 0.00091052
30 | 0.98161 | -0.3519 | 0 | 0
31 | 0.98013 | -0.3808 | 0 | 0
32 | 0.98114 | -0.36115 | 0 | 0
33 | 0.98505 | -0.28532 | 0.0084618 | 0.0021207
34 | 0.97716 | -0.43898 | 0 | 0
35 | 0.97998 | -0.38377 | 0.0023588 | 0.00059117
36 | 0.98655 | -0.25634 | 0 | 0
37 | 0.9768 | -0.44591 | 0.0085382 | 0.0021399
38 | 0.9769 | -0.44402 | 0 | 0
39 | 0.97535 | -0.4746 | 0.010083 | 0.002527
40 | 0.98562 | -0.27443 | 0 | 0
41 | 0.9931 | -0.13099 | 0 | 0
42 | 0.98556 | -0.27555 | 0.00625 | 0.0015664
43 | 0.97956 | -0.39185 | 0.0088991 | 0.0022303
44 | 0.99149 | -0.16284 | 0.0024544 | 0.00061512
45 | 0.99045 | -0.18291 | 0.0027109 | 0.00067942
46 | 1 | 0 | -0.56678 | -0.1441
47 | 0.9994 | -0.011439 | 0.022647 | 0.0056759
48 | 0.99902 | -0.018767 | 0.011581 | 0.0029024
49 | 0.99443 | -0.10566 | 0.0064702 | 0.0016216
50 | 0.9989 | -0.021241 | 0.010406 | 0.0026081
51 | 0.9861 | -0.26724 | 0.018664 | 0.0046776
52 | 0.98554 | -0.27612 | 0.0036715 | 0.00092016
53 | 0.9777 | -0.42826 | 0.0020337 | 0.00050968
54 | 0.9783 | -0.41654 | 0.0079305 | 0.0019876
55 | 0.97755 | -0.43116 | 0 | 0
56 | 0.97725 | -0.43708 | 0.0032396 | 0.00081192
57 | 0.97483 | -0.4847 | 0.0081406 | 0.0020402
58 | 0.97703 | -0.4414 | 0.0091301 | 0.0022882
59 | 0.97373 | -0.50636 | 0.0056258 | 0.00141
60 | 0.97696 | -0.44283 | 0.0036481 | 0.0009143
61 | 0.97693 | -0.44338 | 0.00092849 | 0.0002327
62 | 0.97273 | -0.52604 | 0.01641 | 0.0041126
63 | 0.97241 | -0.5324 | 0.0071572 | 0.0017938
64 | 0.9726 | -0.52862 | 0 | 0
65 | 0.97237 | -0.53315 | 0.0050124 | 0.0012562
66 | 0.97242 | -0.53215 | 0.0073104 | 0.0018322
67 | 0.97486 | -0.48426 | 0.017855 | 0.0044749
68 | 0.9724 | -0.53264 | 0.0096201 | 0.002411
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0076193 | 0.0019098 | -0.0076181 | -0.0019094 | 1.2003e-06 | 4.4881e-07 | 0.011402 | 0.011402 | 0.011402 | 0.99441 | -0.10693 | 0.99424 | -0.11024 | 3.1323
1 | -0.07504 | -0.018807 | 0.07515 | 0.018877 | 0.00011029 | 7.0283e-05 | 0.11229 | 0.11229 | 0.11229 | 0.99441 | -0.10693 | 0.996 | -0.076129 | 30.8485
2 | 0.0076181 | 0.0019094 | -0.0076176 | -0.0019091 | 5.6482e-07 | 2.1124e-07 | 0.011402 | 0.011402 | 0.011402 | 0.99424 | -0.11024 | 0.99416 | -0.11179 | 3.1323
3 | 0.16933 | 0.042928 | -0.16926 | -0.04288 | 7.6811e-05 | 4.8494e-05 | 0.25315 | 0.25315 | 0.25315 | 0.996 | -0.076129 | 0.99551 | -0.085571 | 17.387
4 | -0.24448 | -0.061805 | 0.24467 | 0.061927 | 0.00019041 | 0.00012107 | 0.36544 | 0.36544 | 0.36544 | 0.996 | -0.076129 | 0.99685 | -0.059902 | 25.0991
5 | 0.15335 | 0.038893 | -0.15314 | -0.03876 | 0.00020918 | 0.00013332 | 0.22938 | 0.22938 | 0.22938 | 0.99551 | -0.085571 | 0.99403 | -0.11399 | 31.5084
6 | -0.27171 | -0.068702 | 0.27191 | 0.068834 | 0.00020693 | 0.00013174 | 0.4058 | 0.4058 | 0.4058 | 0.99685 | -0.059902 | 0.99768 | -0.044037 | 27.8706
7 | 0.13868 | 0.035134 | -0.13849 | -0.035014 | 0.00018819 | 0.00012029 | 0.20773 | 0.20773 | 0.20773 | 0.99403 | -0.11399 | 0.99256 | -0.14228 | 57.0673
8 | 0.23273 | 0.059675 | -0.23226 | -0.059375 | 0.00047123 | 0.00029942 | 0.34759 | 0.34759 | 0.34759 | 0.99768 | -0.044037 | 0.99547 | -0.085884 | 23.8729
9 | -0.50464 | -0.12851 | 0.50513 | 0.12882 | 0.00048499 | 0.00030992 | 0.75338 | 0.75338 | 0.75338 | 0.99768 | -0.044037 | 0.99873 | -0.024131 | 51.7434
10 | 0.12816 | 0.032427 | -0.12804 | -0.032346 | 0.00012634 | 8.0738e-05 | 0.19225 | 0.19225 | 0.19225 | 0.99256 | -0.14228 | 0.99149 | -0.16284 | 52.8161
11 | -0.012778 | -0.0032026 | 0.01278 | 0.0032033 | 1.2893e-06 | 7.083e-07 | 0.019329 | 0.019329 | 0.019329 | 0.98373 | -0.31347 | 0.98383 | -0.31135 | 5.3102
12 | -0.025321 | -0.0063465 | 0.025326 | 0.0063496 | 5.0899e-06 | 3.14e-06 | 0.038298 | 0.038298 | 0.038298 | 0.98383 | -0.31135 | 0.98405 | -0.30713 | 10.5214
13 | 0.18448 | 0.0474 | -0.1843 | -0.047288 | 0.00017702 | 0.00011201 | 0.27617 | 0.27617 | 0.27617 | 0.99547 | -0.085884 | 0.99443 | -0.10566 | 18.9675
14 | -0.51986 | -0.13251 | 0.52046 | 0.1329 | 0.00060624 | 0.00038743 | 0.77533 | 0.77533 | 0.77533 | 0.99873 | -0.024131 | 1 | 0 | 53.2506
15 | -0.05061 | -0.012721 | 0.050617 | 0.012725 | 6.4234e-06 | 4.0735e-06 | 0.076372 | 0.076372 | 0.076372 | 0.98624 | -0.26442 | 0.98638 | -0.26177 | 20.9814
16 | 0.047499 | 0.011941 | -0.047479 | -0.011929 | 1.9876e-05 | 1.2589e-05 | 0.071679 | 0.071679 | 0.071679 | 0.98624 | -0.26442 | 0.98579 | -0.27319 | 19.692
17 | -0.059855 | -0.01504 | 0.059901 | 0.015069 | 4.5164e-05 | 2.8716e-05 | 0.09031 | 0.09031 | 0.09031 | 0.98638 | -0.26177 | 0.98719 | -0.24597 | 24.8104
18 | 0.047479 | 0.011929 | -0.047448 | -0.011909 | 3.1644e-05 | 2.0043e-05 | 0.071679 | 0.071679 | 0.071679 | 0.98579 | -0.27319 | 0.98507 | -0.28716 | 19.692
19 | 0.03157 | 0.007921 | -0.031557 | -0.0079127 | 1.3184e-05 | 8.2392e-06 | 0.047589 | 0.047589 | 0.047589 | 0.98719 | -0.24597 | 0.98674 | -0.25473 | 13.074
20 | -0.11677 | -0.029335 | 0.1169 | 0.029417 | 0.00012884 | 8.2314e-05 | 0.17603 | 0.17603 | 0.17603 | 0.98719 | -0.24597 | 0.98838 | -0.22288 | 48.3611
21 | 0.025299 | 0.0063449 | -0.025293 | -0.0063409 | 6.4662e-06 | 3.9868e-06 | 0.038135 | 0.038135 | 0.038135 | 0.98719 | -0.24597 | 0.98692 | -0.25133 | 10.4768
22 | 0.04411 | 0.011072 | -0.044095 | -0.011063 | 1.5e-05 | 9.4851e-06 | 0.066637 | 0.066637 | 0.066637 | 0.98507 | -0.28716 | 0.98471 | -0.2943 | 18.307
23 | 0.018675 | 0.0046842 | -0.01867 | -0.0046815 | 4.6359e-06 | 2.7679e-06 | 0.028163 | 0.028163 | 0.028163 | 0.98674 | -0.25473 | 0.98647 | -0.25994 | 7.7372
24 | -0.12023 | -0.030253 | 0.12036 | 0.030331 | 0.00012078 | 7.7171e-05 | 0.18106 | 0.18106 | 0.18106 | 0.98838 | -0.22288 | 0.98946 | -0.20188 | 49.7408
25 | 0.020012 | 0.0050176 | -0.020007 | -0.0050144 | 5.4134e-06 | 3.262e-06 | 0.030174 | 0.030174 | 0.030174 | 0.98692 | -0.25133 | 0.98662 | -0.25701 | 8.2897
26 | 0.040821 | 0.010242 | -0.040808 | -0.010234 | 1.2875e-05 | 8.1255e-06 | 0.06169 | 0.06169 | 0.06169 | 0.98471 | -0.2943 | 0.98437 | -0.30091 | 16.9477
27 | 0.01867 | 0.0046815 | -0.018664 | -0.0046776 | 6.4885e-06 | 3.8743e-06 | 0.028163 | 0.028163 | 0.028163 | 0.98647 | -0.25994 | 0.9861 | -0.26724 | 7.7372
28 | -0.12264 | -0.030904 | 0.12275 | 0.030975 | 0.00011143 | 7.1205e-05 | 0.18449 | 0.18449 | 0.18449 | 0.98946 | -0.20188 | 0.99045 | -0.18291 | 50.6853
29 | 0.016474 | 0.0041289 | -0.016474 | -0.0041287 | 3.4862e-07 | 2.0389e-07 | 0.024846 | 0.024846 | 0.024846 | 0.98662 | -0.25701 | 0.9866 | -0.25746 | 6.8258
30 | 0.037659 | 0.0094448 | -0.037648 | -0.0094378 | 1.1152e-05 | 7.0204e-06 | 0.05693 | 0.05693 | 0.05693 | 0.98437 | -0.30091 | 0.98405 | -0.30713 | 15.6401
31 | 0.03172 | 0.0080046 | -0.031712 | -0.0079998 | 7.7877e-06 | 4.8711e-06 | 0.04815 | 0.04815 | 0.04815 | 0.98067 | -0.37044 | 0.9804 | -0.37556 | 13.228
32 | -0.050734 | -0.01277 | 0.050779 | 0.012799 | 4.4991e-05 | 2.8538e-05 | 0.077002 | 0.077002 | 0.077002 | 0.98067 | -0.37044 | 0.98161 | -0.3519 | 21.1543
33 | 0.028079 | 0.0070892 | -0.028072 | -0.0070849 | 7.0433e-06 | 4.3775e-06 | 0.042636 | 0.042636 | 0.042636 | 0.9804 | -0.37556 | 0.98013 | -0.3808 | 11.7131
34 | 0.10663 | 0.026972 | -0.10658 | -0.026942 | 4.7316e-05 | 3.0221e-05 | 0.16173 | 0.16173 | 0.16173 | 0.98161 | -0.3519 | 0.98114 | -0.36115 | 44.4305
35 | -0.15741 | -0.039771 | 0.15791 | 0.040092 | 0.00050417 | 0.00032147 | 0.23873 | 0.23873 | 0.23873 | 0.98161 | -0.3519 | 0.98505 | -0.28532 | 32.7924
36 | 0.028072 | 0.0070849 | -0.027994 | -0.0070364 | 7.7988e-05 | 4.8475e-05 | 0.042636 | 0.042636 | 0.042636 | 0.98013 | -0.3808 | 0.97716 | -0.43898 | 11.7133
37 | 0.10658 | 0.026942 | -0.10647 | -0.026868 | 0.00011544 | 7.3734e-05 | 0.16173 | 0.16173 | 0.16173 | 0.98114 | -0.36115 | 0.97998 | -0.38377 | 44.4306
38 | -0.16637 | -0.042213 | 0.16661 | 0.04236 | 0.00023217 | 0.00014659 | 0.25151 | 0.25151 | 0.25151 | 0.98505 | -0.28532 | 0.98655 | -0.25634 | 17.2741
39 | 0.027994 | 0.0070364 | -0.027946 | -0.0070069 | 4.7522e-05 | 2.9542e-05 | 0.042636 | 0.042637 | 0.042637 | 0.97716 | -0.43898 | 0.97535 | -0.4746 | 11.7134
40 | 0.10411 | 0.026277 | -0.10407 | -0.026251 | 4.0309e-05 | 2.5744e-05 | 0.15815 | 0.15815 | 0.15815 | 0.97998 | -0.38377 | 0.97956 | -0.39185 | 43.4466
41 | 0.0099307 | 0.002491 | -0.0099222 | -0.0024868 | 8.5572e-06 | 4.1793e-06 | 0.014979 | 0.01498 | 0.01498 | 0.98655 | -0.25634 | 0.98562 | -0.27443 | 4.1153
42 | -0.17654 | -0.044851 | 0.17761 | 0.045529 | 0.0010723 | 0.00067801 | 0.26649 | 0.26649 | 0.26649 | 0.98655 | -0.25634 | 0.9931 | -0.13099 | 18.3028
43 | -0.0085382 | -0.0021399 | 0.008539 | 0.0021402 | 7.6943e-07 | 3.406e-07 | 0.013007 | 0.013007 | 0.013007 | 0.9768 | -0.44591 | 0.9769 | -0.44402 | 3.5733
44 | 0.059496 | 0.014995 | -0.059381 | -0.014922 | 0.00011555 | 7.3482e-05 | 0.090655 | 0.090656 | 0.090656 | 0.9769 | -0.44402 | 0.97483 | -0.4847 | 24.9054
45 | -0.068035 | -0.017135 | 0.068077 | 0.017162 | 4.1852e-05 | 2.6655e-05 | 0.10366 | 0.10366 | 0.10366 | 0.9769 | -0.44402 | 0.97755 | -0.43116 | 28.4786
46 | 0.017863 | 0.0044798 | -0.017855 | -0.0044749 | 8.2197e-06 | 4.8925e-06 | 0.027254 | 0.027254 | 0.027254 | 0.97535 | -0.4746 | 0.97486 | -0.48426 | 7.4873
47 | 0.0099222 | 0.0024868 | -0.0099216 | -0.0024865 | 5.2732e-07 | 2.5762e-07 | 0.01498 | 0.01498 | 0.01498 | 0.98562 | -0.27443 | 0.98556 | -0.27555 | 4.1153
48 | -0.17761 | -0.045529 | 0.17783 | 0.045667 | 0.0002184 | 0.00013808 | 0.26649 | 0.26649 | 0.26649 | 0.9931 | -0.13099 | 0.99443 | -0.10566 | 18.3026
49 | 0.0036716 | 0.00092012 | -0.0036715 | -0.00092016 | 9.9914e-08 | -4.6541e-08 | 0.0055434 | 0.0055434 | 0.0055434 | 0.98556 | -0.27555 | 0.98554 | -0.27612 | 1.5229
50 | 0.095168 | 0.024021 | -0.095056 | -0.023949 | 0.00011237 | 7.1737e-05 | 0.14463 | 0.14463 | 0.14463 | 0.97956 | -0.39185 | 0.9783 | -0.41654 | 39.7328
51 | 0.12558 | 0.031731 | -0.12546 | -0.031654 | 0.00012067 | 7.7115e-05 | 0.18857 | 0.18857 | 0.18857 | 0.99149 | -0.16284 | 0.99045 | -0.18291 | 51.8042
52 | 0.044667 | 0.011207 | -0.044643 | -0.011192 | 2.4347e-05 | 1.5389e-05 | 0.06647 | 0.06647 | 0.06647 | 1 | 0 | 0.9994 | -0.011439 | 18.261
53 | 0.021996 | 0.0055157 | -0.021988 | -0.005511 | 7.6799e-06 | 4.665e-06 | 0.032751 | 0.032751 | 0.032751 | 0.9994 | -0.011439 | 0.99902 | -0.018767 | 8.9975
54 | 0.010408 | 0.0026087 | -0.010406 | -0.0026081 | 1.2266e-06 | 6.0684e-07 | 0.015502 | 0.015502 | 0.015502 | 0.99902 | -0.018767 | 0.9989 | -0.021241 | 4.2588
55 | -0.087077 | -0.02193 | 0.087126 | 0.021962 | 4.8859e-05 | 3.1177e-05 | 0.13257 | 0.13257 | 0.13257 | 0.9777 | -0.42826 | 0.9783 | -0.41654 | 36.419
56 | 0.085043 | 0.021421 | -0.085031 | -0.021413 | 1.1791e-05 | 7.5229e-06 | 0.12947 | 0.12947 | 0.12947 | 0.9777 | -0.42826 | 0.97755 | -0.43116 | 35.5687
57 | 0.016954 | 0.0042511 | -0.016949 | -0.0042483 | 4.7744e-06 | 2.816e-06 | 0.025808 | 0.025808 | 0.025808 | 0.97755 | -0.43116 | 0.97725 | -0.43708 | 7.0902
58 | 0.01371 | 0.0034364 | -0.013707 | -0.0034348 | 2.8271e-06 | 1.5926e-06 | 0.020875 | 0.020875 | 0.020875 | 0.97725 | -0.43708 | 0.97703 | -0.4414 | 5.735
59 | 0.05124 | 0.012881 | -0.051187 | -0.012848 | 5.2935e-05 | 3.3591e-05 | 0.078229 | 0.07823 | 0.07823 | 0.97483 | -0.4847 | 0.97373 | -0.50636 | 21.4916
60 | 0.0045769 | 0.0011466 | -0.0045766 | -0.0011466 | 3.1162e-07 | -1.4738e-08 | 0.0069704 | 0.0069705 | 0.0069705 | 0.97703 | -0.4414 | 0.97696 | -0.44283 | 1.915
61 | 0.045561 | 0.011438 | -0.045519 | -0.011411 | 4.2731e-05 | 2.7056e-05 | 0.069632 | 0.069632 | 0.069632 | 0.97373 | -0.50636 | 0.97273 | -0.52604 | 19.1298
62 | 0.00092851 | 0.00023231 | -0.00092849 | -0.0002327 | 2.4163e-08 | -3.8798e-07 | 0.0014141 | 0.0014142 | 0.0014142 | 0.97696 | -0.44283 | 0.97693 | -0.44338 | 0.38852
63 | 0.012174 | 0.003052 | -0.01217 | -0.00305 | 3.6873e-06 | 2.0081e-06 | 0.018623 | 0.018623 | 0.018623 | 0.97273 | -0.52604 | 0.97241 | -0.5324 | 5.1161
64 | 0.016936 | 0.0042462 | -0.016934 | -0.004245 | 2.0838e-06 | 1.2309e-06 | 0.025908 | 0.025908 | 0.025908 | 0.97273 | -0.52604 | 0.9726 | -0.52862 | 7.1175
65 | 0.0050126 | 0.0012562 | -0.0050124 | -0.0012562 | 1.8069e-07 | 1.4053e-08 | 0.0076705 | 0.0076705 | 0.0076705 | 0.97241 | -0.5324 | 0.97237 | -0.53315 | 2.1073
66 | 0.016934 | 0.004245 | -0.016931 | -0.0042433 | 2.8463e-06 | 1.6813e-06 | 0.025908 | 0.025908 | 0.025908 | 0.9726 | -0.52862 | 0.97242 | -0.53215 | 7.1175
67 | 0.0096203 | 0.0024111 | -0.0096201 | -0.002411 | 2.2504e-07 | 1.0967e-07 | 0.014721 | 0.014721 | 0.014721 | 0.97242 | -0.53215 | 0.9724 | -0.53264 | 4.0443

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58131 | 0.14774

## res_load
| p_mw | q_mvar
0 | 0.067421 | 0.016897
1 | 0.0076176 | 0.0019091
2 | 0.015905 | 0.0039862
3 | 0.027034 | 0.0067753
4 | 0.014467 | 0.0036257
5 | 0.010322 | 0.002587
6 | 0.012778 | 0.0032026
7 | 0.012542 | 0.0031432
8 | 0.047782 | 0.011975
9 | 0.014729 | 0.0036916
10 | 0.0031108 | 0.00077965
11 | 0.0092388 | 0.0023155
12 | 0.0033376 | 0.00083648
13 | 0.012882 | 0.0032285
14 | 0.0033358 | 0.00083603
15 | 0.0052801 | 0.0013233
16 | 0.0032742 | 0.0008206
17 | 0.0022861 | 0.00057296
18 | 0.003533 | 0.00088545
19 | 0.0031488 | 0.00078916
20 | 0.016474 | 0.0041287
21 | 0.012322 | 0.0030881
22 | 0.019015 | 0.0047655
23 | 0.003633 | 0.00091052
24 | 0.0084618 | 0.0021207
25 | 0.0023588 | 0.00059117
26 | 0.0085382 | 0.0021399
27 | 0.010083 | 0.002527
28 | 0.00625 | 0.0015664
29 | 0.0088991 | 0.0022303
30 | 0.0024544 | 0.00061512
31 | 0.0027109 | 0.00067942
32 | 0.014525 | 0.0036402
33 | 0.022647 | 0.0056759
34 | 0.011581 | 0.0029024
35 | 0.0064702 | 0.0016216
36 | 0.010406 | 0.0026081
37 | 0.018664 | 0.0046776
38 | 0.0036715 | 0.00092016
39 | 0.0020337 | 0.00050968
40 | 0.0079305 | 0.0019876
41 | 0.0032396 | 0.00081192
42 | 0.0081406 | 0.0020402
43 | 0.0091301 | 0.0022882
44 | 0.0056258 | 0.00141
45 | 0.0036481 | 0.0009143
46 | 0.00092849 | 0.0002327
47 | 0.01641 | 0.0041126
48 | 0.0071572 | 0.0017938
49 | 0.0050124 | 0.0012562
50 | 0.0073104 | 0.0018322
51 | 0.017855 | 0.0044749
52 | 0.0096201 | 0.002411

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1