## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-93_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-93_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-93_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-93_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-93_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-93_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1061-93_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1061-93_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1061-93_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1061-93_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1061-93_0_4_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_1061-93_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1061-93_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_1061-93_0_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1061-93_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1061-93_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1061-93_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1061-93_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_1061-93_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_1061-93_0_4_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_1061-93_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1061-93_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_1061-93_0_4_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1061-93_0_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_1061-93_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_1061-93_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1061-93_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1061-93_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1061-93_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1061-93_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1061-93_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1061-93_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1061-93_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1061-93_0_4_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_1061-93_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1061-93_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1061-93_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1061-93_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1061-93_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1061-93_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1061-93_0_4_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_1061-93_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1061-93_0_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1061-93_0_4_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_1061-93_0_4_node_15 | 0.4 | n |  | TRUE
45 | bus_LV_1061-93_0_4_node_13 | 0.4 | n |  | TRUE
46 | bus_LV_1061-93_0_4_node_14 | 0.4 | n |  | TRUE
47 | bus_LV_1061-93_0_4_node_16 | 0.4 | n |  | TRUE
48 | bus_LV_1061-93_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_1061-93_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1061-93_0_4_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_1061-93_0_4_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_1061-93_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1061-93_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1061-93_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_1061-93_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_1061-93_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1061-93_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1061-93_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1061-93_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1061-93_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1061-93_0_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_1061-93_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_1061-93_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_1061-93_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_1061-93_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_1061-93_0_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_1061-93_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_1061-93_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_1061-93_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_1061-93_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_1061-93_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_MV_216_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-93_0_4_load_0 | 0 | 0.0044904 | 0.0011254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-93_0_4_load_1 | 1 | 0.0051747 | 0.0012969 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-93_0_4_load_2 | 2 | 0.0045402 | 0.0011379 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-93_0_4_load_3 | 3 | 0.0051613 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-93_0_4_load_9 | 7 | 0.0045426 | 0.0011385 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-93_0_4_load_7 | 8 | 0.0046803 | 0.001173 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-93_0_4_load_49 | 10 | 0.0073106 | 0.0018322 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-93_0_4_load_53 | 12 | 0.0068533 | 0.0017176 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-93_0_4_load_34 | 13 | 0.0045858 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-93_0_4_load_17 | 16 | 0.0056632 | 0.0014193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-93_0_4_load_63 | 19 | 0.0059899 | 0.0015012 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-93_0_4_load_36 | 20 | 0.0056877 | 0.0014255 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-93_0_4_load_45 | 21 | 0.0045163 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-93_0_4_load_57 | 22 | 0.0066225 | 0.0016598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-93_0_4_load_46 | 24 | 0.0051741 | 0.0012968 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-93_0_4_load_47 | 25 | 0.0043505 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-93_0_4_load_31 | 28 | 0.0074446 | 0.0018658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-93_0_4_load_28 | 31 | 0.0075458 | 0.0018912 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-93_0_4_load_76 | 33 | 0.03213 | 0.0080524 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-93_0_4_load_41 | 34 | 0.0051043 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-93_0_4_load_40 | 35 | 0.0044753 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-93_0_4_load_37 | 37 | 0.0033406 | 0.00083724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-93_0_4_load_75 | 40 | 0.011851 | 0.0029702 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-93_0_4_load_60 | 42 | 0.0041197 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-93_0_4_load_58 | 43 | 0.0054565 | 0.0013675 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-93_0_4_load_15 | 44 | 0.0051881 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-93_0_4_load_13 | 45 | 0.004463 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-93_0_4_load_14 | 46 | 0.0036864 | 0.00092391 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-93_0_4_load_16 | 47 | 0.0053097 | 0.0013307 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-93_0_4_load_61 | 48 | 0.0062645 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-93_0_4_load_32 | 49 | 0.0074786 | 0.0018743 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-93_0_4_load_70 | 50 | 0.0079277 | 0.0019869 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-93_0_4_load_71 | 51 | 0.0047799 | 0.001198 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-93_0_4_load_38 | 53 | 0.0049899 | 0.0012506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-93_0_4_load_69 | 54 | 0.0051576 | 0.0012926 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-93_0_4_load_33 | 55 | 0.0022858 | 0.00057286 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-93_0_4_load_62 | 56 | 0.0010228 | 0.00025634 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-93_0_4_load_39 | 57 | 0.0037051 | 0.00092858 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-93_0_4_load_50 | 60 | 0.010166 | 0.0025479 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-93_0_4_load_56 | 61 | 0.0049266 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-93_0_4_load_74 | 63 | 0.014314 | 0.0035874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-93_0_4_load_73 | 64 | 0.0043757 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-93_0_4_load_77 | 65 | 0.010799 | 0.0027066 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-93_0_4_load_72 | 66 | 0.0048664 | 0.0012196 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-93_0_4_load_54 | 67 | 0.0054719 | 0.0013714 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-93_0_4_load_55 | 68 | 0.0052691 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-93_0_4_load_67 | 69 | 0.0073315 | 0.0018375 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-93_0_4_load_65 | 70 | 0.0078952 | 0.0019787 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-93_0_4_load_68 | 71 | 0.011916 | 0.0029863 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-93_0_4_line_0 |  | 0 | 1 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-93_0_4_line_1 |  | 0 | 2 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-93_0_4_line_2 |  | 1 | 3 | 0.023889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-93_0_4_line_3 |  | 2 | 4 | 0.011976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-93_0_4_line_4 |  | 3 | 5 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-93_0_4_line_5 |  | 4 | 6 | 0.032305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-93_0_4_line_6 |  | 4 | 7 | 0.012611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-93_0_4_line_7 |  | 5 | 8 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-93_0_4_line_8 |  | 5 | 9 | 0.006571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-93_0_4_line_9 |  | 6 | 10 | 0.007744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-93_0_4_line_10 |  | 6 | 11 | 0.028407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1061-93_0_4_line_11 |  | 8 | 20 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-93_0_4_line_12 |  | 9 | 18 | 0.025016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-93_0_4_line_13 |  | 9 | 21 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-93_0_4_line_14 |  | 11 | 12 | 0.009844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-93_0_4_line_15 |  | 11 | 13 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1061-93_0_4_line_16 |  | 13 | 15 | 0.014157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1061-93_0_4_line_17 |  | 14 | 15 | 0.011196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-93_0_4_line_18 |  | 14 | 16 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-93_0_4_line_19 |  | 15 | 26 | 0.051123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-93_0_4_line_20 |  | 15 | 27 | 0.011474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-93_0_4_line_21 |  | 15 | 28 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-93_0_4_line_22 |  | 16 | 44 | 0.028484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-93_0_4_line_23 |  | 17 | 18 | 0.003311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-93_0_4_line_24 |  | 17 | 19 | 0.0017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-93_0_4_line_25 |  | 18 | 22 | 0.015237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-93_0_4_line_26 |  | 19 | 23 | 0.022209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-93_0_4_line_27 |  | 21 | 24 | 0.029021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-93_0_4_line_28 |  | 23 | 70 | 0.024255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-93_0_4_line_29 |  | 24 | 25 | 0.028724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-93_0_4_line_30 |  | 26 | 48 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-93_0_4_line_31 |  | 26 | 43 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-93_0_4_line_32 |  | 27 | 34 | 0.032182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-93_0_4_line_33 |  | 27 | 35 | 0.0014615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-93_0_4_line_34 |  | 28 | 49 | 0.026652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-93_0_4_line_35 |  | 29 | 30 | 0.025815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-93_0_4_line_36 |  | 29 | 31 | 0.090744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-93_0_4_line_37 |  | 30 | 32 | 0.11093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-93_0_4_line_38 |  | 31 | 47 | 0.024566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-93_0_4_line_39 |  | 32 | 33 | 0.059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-93_0_4_line_40 |  | 34 | 52 | 0.017843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-93_0_4_line_41 |  | 35 | 36 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-93_0_4_line_42 |  | 36 | 37 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-93_0_4_line_43 |  | 37 | 53 | 0.018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-93_0_4_line_44 |  | 38 | 39 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-93_0_4_line_45 |  | 38 | 40 | 0.058213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-93_0_4_line_46 |  | 39 | 54 | 0.018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-93_0_4_line_47 |  | 39 | 41 | 0.002555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-93_0_4_line_48 |  | 41 | 42 | 0.016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-93_0_4_line_49 |  | 41 | 43 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-93_0_4_line_50 |  | 42 | 56 | 0.011091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-93_0_4_line_51 |  | 44 | 45 | 0.037089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-93_0_4_line_52 |  | 45 | 46 | 0.030473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-93_0_4_line_53 |  | 46 | 47 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-93_0_4_line_54 |  | 48 | 61 | 0.026338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-93_0_4_line_55 |  | 49 | 55 | 0.028898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-93_0_4_line_56 |  | 50 | 51 | 0.030388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-93_0_4_line_57 |  | 51 | 66 | 0.030383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-93_0_4_line_58 |  | 52 | 62 | 0.006981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-93_0_4_line_59 |  | 52 | 59 | 0.029001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-93_0_4_line_60 |  | 53 | 57 | 0.019924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-93_0_4_line_61 |  | 54 | 69 | 0.041314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-93_0_4_line_62 |  | 58 | 59 | 0.026508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-93_0_4_line_63 |  | 58 | 60 | 0.027152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-93_0_4_line_64 |  | 59 | 65 | 0.020385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-93_0_4_line_65 |  | 61 | 68 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-93_0_4_line_66 |  | 62 | 63 | 0.029223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-93_0_4_line_67 |  | 62 | 64 | 0.024543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-93_0_4_line_68 |  | 64 | 66 | 0.029861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-93_0_4_line_69 |  | 67 | 68 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-93_0_4_line_70 |  | 70 | 71 | 0.030674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-93_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 72 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2666158.5325 | 1210166.3389 | 2666135.5107 | 1210157.2012
1 | 2666158.5325 | 1210166.3389 | 2666180.8924 | 1210175.2139
2 | 2666113.307 | 1210148.3882 | 2666135.5107 | 1210157.2012
3 | 2666192.369 | 1210178.4795 | 2666185.5972 | 1210177.0813 | 2666180.8924 | 1210175.2139
4 | 2666101.1048 | 1210141.1562 | 2666104.567 | 1210144.9191 | 2666113.307 | 1210148.3882
5 | 2666217.597 | 1210166.6854 | 2666219.3161 | 1210169.295 | 2666209.8145 | 1210175.5379 | 2666200.2464 | 1210178.1889 | 2666192.369 | 1210178.4795
6 | 2666192.369 | 1210178.4795 | 2666190.2901 | 1210190.9178
7 | 2666101.1048 | 1210141.1562 | 2666096.0104 | 1210143.3901 | 2666088.7301 | 1210140.3841
8 | 2666107.0866 | 1210138.3986 | 2666106.2921 | 1210138.7678 | 2666101.1048 | 1210141.1562
9 | 2666217.597 | 1210166.6854 | 2666213.3365 | 1210160.2119
10 | 2666240.9218 | 1210150.3787 | 2666217.597 | 1210166.6854
11 | 2666088.7301 | 1210140.3841 | 2666076.638 | 1210135.3914
12 | 2666107.0866 | 1210138.3986 | 2666106.4268 | 1210136.9015 | 2666105.9282 | 1210133.883 | 2666106.1513 | 1210130.2054 | 2666112.1151 | 1210114.673
13 | 2666107.0866 | 1210138.3986 | 2666107.776 | 1210139.9739 | 2666112.0824 | 1210144.3687 | 2666120.4321 | 1210147.6709
14 | 2666240.9218 | 1210150.3787 | 2666235.1581 | 1210142.3876
15 | 2666240.9218 | 1210150.3787 | 2666256.6896 | 1210139.3532
16 | 2666268.9759 | 1210133.2462 | 2666265.166 | 1210133.4262 | 2666256.6896 | 1210139.3532
17 | 2666264.454 | 1210143.469 | 2666265.3113 | 1210140.8658 | 2666266.9763 | 1210137.4043 | 2666268.0733 | 1210135.1262 | 2666268.9759 | 1210133.2462
18 | 2666264.454 | 1210143.469 | 2666262.7624 | 1210148.6422 | 2666263.564 | 1210163.6185
19 | 2666239.67 | 1210091.3062 | 2666240.074 | 1210091.8889 | 2666242.0264 | 1210094.7123 | 2666244.278 | 1210097.9726 | 2666245.9311 | 1210100.3702 | 2666262.837 | 1210124.8173 | 2666268.9759 | 1210133.2462
20 | 2666268.9759 | 1210133.2462 | 2666268.0733 | 1210135.1262 | 2666268.8207 | 1210135.5792 | 2666272.0219 | 1210137.516 | 2666275.2079 | 1210139.4414 | 2666276.1064 | 1210139.9851
21 | 2666268.9759 | 1210133.2462 | 2666275.0981 | 1210126.7546 | 2666282.0611 | 1210121.9476
22 | 2666263.564 | 1210163.6185 | 2666263.7443 | 1210166.9866 | 2666261.8639 | 1210180.2628 | 2666258.7733 | 1210188.2112 | 2666257.4074 | 1210191.0765
23 | 2666112.1151 | 1210114.673 | 2666109.0432 | 1210113.416
24 | 2666109.0432 | 1210113.416 | 2666109.6515 | 1210111.7569
25 | 2666112.1151 | 1210114.673 | 2666121.6638 | 1210118.5812 | 2666124.5468 | 1210119.0579 | 2666126.4622 | 1210118.3676
26 | 2666117.2962 | 1210090.9047 | 2666109.6515 | 1210111.7569
27 | 2666120.4321 | 1210147.6709 | 2666147.4189 | 1210158.344
28 | 2666117.2962 | 1210090.9047 | 2666139.857 | 1210099.8117
29 | 2666174.1295 | 1210168.9077 | 2666147.4189 | 1210158.344
30 | 2666239.67 | 1210091.3062 | 2666226.3848 | 1210100.5751
31 | 2666239.67 | 1210091.3062 | 2666251.2361 | 1210083.3122
32 | 2666276.1064 | 1210139.9851 | 2666273.5471 | 1210145.271 | 2666272.2013 | 1210151.471 | 2666272.0574 | 1210160.3193 | 2666272.9233 | 1210171.4006
33 | 2666276.1064 | 1210139.9851 | 2666276.9464 | 1210138.7891
34 | 2666282.0611 | 1210121.9476 | 2666303.994 | 1210106.8057
35 | 2666077.9475 | 1210251.4676 | 2666081.7679 | 1210253.0776 | 2666079.7932 | 1210261.8611 | 2666079.9067 | 1210266.7098 | 2666080.1752 | 1210268.5472 | 2666085.5543 | 1210265.983
36 | 2666077.9475 | 1210251.4676 | 2666079.1154 | 1210247.5782 | 2666082.7688 | 1210239.5692 | 2666087.5551 | 1210233.5741 | 2666091.4314 | 1210229.4478 | 2666096.8057 | 1210225.9496 | 2666105.6783 | 1210222.2679 | 2666111.5846 | 1210221.5217 | 2666120.762 | 1210221.1898 | 2666136.6066 | 1210221.41 | 2666154.1261 | 1210222.3702
37 | 2666085.5543 | 1210265.983 | 2666091.2467 | 1210263.2666 | 2666096.8129 | 1210260.9712 | 2666111.5567 | 1210254.8975 | 2666121.0196 | 1210252.1228 | 2666123.209 | 1210257.5615 | 2666129.496 | 1210256.0636 | 2666136.2899 | 1210255.4607 | 2666146.3505 | 1210256.3616 | 2666153.6836 | 1210258.5331 | 2666161.5117 | 1210261.9998 | 2666173.3847 | 1210267.3792 | 2666187.0333 | 1210271.6443
38 | 2666178.6596 | 1210223.6269 | 2666169.9221 | 1210223.2359 | 2666154.1261 | 1210222.3702
39 | 2666187.0333 | 1210271.6443 | 2666194.662 | 1210274.5751 | 2666210.8612 | 1210278.4461 | 2666219.3086 | 1210279.5182 | 2666235.3537 | 1210279.4629 | 2666245.654 | 1210278.463
40 | 2666281.1069 | 1210183.8231 | 2666277.1266 | 1210183.6121 | 2666275.0423 | 1210182.3993 | 2666273.6079 | 1210180.1598 | 2666272.9233 | 1210171.4006
41 | 2666285.4833 | 1210130.6057 | 2666280.9059 | 1210134.1904 | 2666278.4155 | 1210136.6976 | 2666276.9464 | 1210138.7891
42 | 2666285.4833 | 1210130.6057 | 2666294.6908 | 1210124.2007
43 | 2666294.6908 | 1210124.2007 | 2666309.8032 | 1210113.6883
44 | 2666265.0326 | 1210070.853 | 2666279.4673 | 1210060.5069
45 | 2666279.4673 | 1210060.5069 | 2666273.3525 | 1210060.8503 | 2666264.7839 | 1210060.3993 | 2666250.9901 | 1210058.2115 | 2666240.0507 | 1210055.6552 | 2666222.3517 | 1210050.9739
46 | 2666265.0326 | 1210070.853 | 2666249.6373 | 1210081.8894
47 | 2666267.1216 | 1210072.3326 | 2666265.0326 | 1210070.853
48 | 2666267.1216 | 1210072.3326 | 2666268.6072 | 1210073.3831 | 2666274.6542 | 1210073.6726 | 2666278.4764 | 1210074.4378 | 2666283.2498 | 1210075.9024
49 | 2666267.1216 | 1210072.3326 | 2666251.2361 | 1210083.3122
50 | 2666293.8534 | 1210079.1559 | 2666283.2498 | 1210075.9024
51 | 2666228.6917 | 1210213.0287 | 2666244.9349 | 1210204.4453 | 2666252.2809 | 1210199.3015 | 2666255.3727 | 1210195.3445 | 2666257.4074 | 1210191.0765
52 | 2666228.6917 | 1210213.0287 | 2666223.8337 | 1210215.5958 | 2666213.0222 | 1210219.3337 | 2666199.8691 | 1210222.5443
53 | 2666178.6596 | 1210223.6269 | 2666185.1156 | 1210223.9159 | 2666198.7326 | 1210222.8218 | 2666199.8691 | 1210222.5443
54 | 2666226.3848 | 1210100.5751 | 2666206.8393 | 1210114.2116 | 2666204.6327 | 1210115.3984
55 | 2666303.994 | 1210106.8057 | 2666327.7756 | 1210090.3875
56 | 2666178.2597 | 1210232.2688 | 2666180.1042 | 1210232.3766 | 2666194.4138 | 1210231.8794 | 2666208.4919 | 1210229.8632
57 | 2666208.4919 | 1210229.8632 | 2666209.4715 | 1210229.7229 | 2666222.4221 | 1210226.3534 | 2666234.3263 | 1210220.7154 | 2666236.8272 | 1210219.3691
58 | 2666281.1069 | 1210183.8231 | 2666281.2255 | 1210184.7806 | 2666281.5263 | 1210187.1187 | 2666281.9032 | 1210190.1358 | 2666281.98 | 1210190.7482
59 | 2666309.7558 | 1210178.816 | 2666281.1069 | 1210183.8231
60 | 2666309.8032 | 1210113.6883 | 2666326.1594 | 1210102.3106
61 | 2666215.8397 | 1210105.6483 | 2666238.5928 | 1210089.7489 | 2666242.0782 | 1210087.3083 | 2666249.6373 | 1210081.8894
62 | 2666309.7558 | 1210178.816 | 2666315.3956 | 1210178.8009 | 2666322.1164 | 1210180.6767 | 2666335.0629 | 1210185.9016
63 | 2666335.0629 | 1210185.9016 | 2666343.0214 | 1210184.4669 | 2666349.6476 | 1210183.918 | 2666350.9476 | 1210180.4748 | 2666346.616 | 1210172.8887
64 | 2666309.7558 | 1210178.816 | 2666310.0281 | 1210176.8845 | 2666318.5879 | 1210171.9544 | 2666317.4207 | 1210163.4584
65 | 2666204.6327 | 1210115.3984 | 2666200.3782 | 1210117.6865 | 2666193.3537 | 1210119.1984 | 2666189.8002 | 1210119.5592 | 2666186.5353 | 1210119.3886
66 | 2666281.98 | 1210190.7482 | 2666307.5354 | 1210186.4294 | 2666310.8383 | 1210186.5572
67 | 2666281.98 | 1210190.7482 | 2666275.1191 | 1210191.906 | 2666272.3043 | 1210193.5091 | 2666263.6924 | 1210202.4412 | 2666262.0968 | 1210203.5413
68 | 2666262.0968 | 1210203.5413 | 2666247.3784 | 1210213.6892 | 2666236.8272 | 1210219.3691
69 | 2666165.2931 | 1210112.3002 | 2666180.5259 | 1210118.3223 | 2666185.4779 | 1210119.3334 | 2666186.5353 | 1210119.3886
70 | 2666139.857 | 1210099.8117 | 2666168.3884 | 1210111.0758

## bus_geodata
| x | y | coords
0 | 2666158.5325 | 1210166.3389
1 | 2666135.5107 | 1210157.2012
2 | 2666180.8924 | 1210175.2139
3 | 2666113.307 | 1210148.3882
4 | 2666192.369 | 1210178.4795
5 | 2666101.1048 | 1210141.1563
6 | 2666217.597 | 1210166.6854
7 | 2666190.2901 | 1210190.9178
8 | 2666088.7301 | 1210140.3841
9 | 2666107.0866 | 1210138.3986
10 | 2666213.3365 | 1210160.2119
11 | 2666240.9218 | 1210150.3787
12 | 2666235.1581 | 1210142.3876
13 | 2666256.6896 | 1210139.3532
14 | 2666264.454 | 1210143.469
15 | 2666268.9759 | 1210133.2462
16 | 2666263.564 | 1210163.6185
17 | 2666109.0432 | 1210113.416
18 | 2666112.1151 | 1210114.673
19 | 2666109.6515 | 1210111.7569
20 | 2666076.638 | 1210135.3914
21 | 2666120.4321 | 1210147.6709
22 | 2666126.4622 | 1210118.3676
23 | 2666117.2962 | 1210090.9047
24 | 2666147.4189 | 1210158.344
25 | 2666174.1295 | 1210168.9077
26 | 2666239.67 | 1210091.3062
27 | 2666276.1064 | 1210139.9851
28 | 2666282.0611 | 1210121.9476
29 | 2666077.9475 | 1210251.4676
30 | 2666085.5543 | 1210265.983
31 | 2666154.1261 | 1210222.3702
32 | 2666187.0333 | 1210271.6443
33 | 2666245.654 | 1210278.463
34 | 2666272.9233 | 1210171.4006
35 | 2666276.9464 | 1210138.7891
36 | 2666285.4833 | 1210130.6057
37 | 2666294.6908 | 1210124.2007
38 | 2666279.4673 | 1210060.5069
39 | 2666265.0326 | 1210070.853
40 | 2666222.3517 | 1210050.9739
41 | 2666267.1216 | 1210072.3326
42 | 2666283.2498 | 1210075.9024
43 | 2666251.2361 | 1210083.3122
44 | 2666257.4074 | 1210191.0765
45 | 2666228.6917 | 1210213.0287
46 | 2666199.8691 | 1210222.5443
47 | 2666178.6596 | 1210223.6269
48 | 2666226.3848 | 1210100.5751
49 | 2666303.994 | 1210106.8057
50 | 2666178.2597 | 1210232.2688
51 | 2666208.4919 | 1210229.8632
52 | 2666281.1069 | 1210183.8231
53 | 2666309.8032 | 1210113.6883
54 | 2666249.6373 | 1210081.8894
55 | 2666327.7756 | 1210090.3875
56 | 2666293.8534 | 1210079.1559
57 | 2666326.1594 | 1210102.3106
58 | 2666335.0629 | 1210185.9016
59 | 2666309.7558 | 1210178.816
60 | 2666346.616 | 1210172.8887
61 | 2666204.6327 | 1210115.3984
62 | 2666281.98 | 1210190.7482
63 | 2666310.8383 | 1210186.5572
64 | 2666262.0968 | 1210203.5413
65 | 2666317.4207 | 1210163.4584
66 | 2666236.8272 | 1210219.3691
67 | 2666165.2931 | 1210112.3002
68 | 2666186.5353 | 1210119.3886
69 | 2666215.8397 | 1210105.6483
70 | 2666139.857 | 1210099.8117
71 | 2666168.3884 | 1210111.0758
72 | 2666219.3161 | 1210169.295

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9952 | -0.091868 | 0.0044904 | 0.0011254
1 | 0.99368 | -0.12119 | 0.0051747 | 0.0012969
2 | 0.99678 | -0.061576 | 0.0045402 | 0.0011379
3 | 0.99232 | -0.14738 | 0.0051613 | 0.0012935
4 | 0.99761 | -0.045578 | 0 | 0
5 | 0.99157 | -0.16199 | 0 | 0
6 | 1 | 0 | -0.32114 | -0.081252
7 | 0.99756 | -0.046581 | 0.0045426 | 0.0011385
8 | 0.99144 | -0.16446 | 0.0046803 | 0.001173
9 | 0.99129 | -0.16741 | 0 | 0
10 | 0.99995 | -0.0009868 | 0.0073106 | 0.0018322
11 | 0.99702 | -0.05671 | 0 | 0
12 | 0.99696 | -0.057893 | 0.0068533 | 0.0017176
13 | 0.99506 | -0.094151 | 0.0045858 | 0.0011493
14 | 0.99299 | -0.13388 | 0 | 0
15 | 0.99365 | -0.12122 | 0 | 0
16 | 0.99178 | -0.15703 | 0.0056632 | 0.0014193
17 | 0.99047 | -0.18332 | 0 | 0
18 | 0.99054 | -0.18181 | 0 | 0
19 | 0.99042 | -0.18413 | 0.0059899 | 0.0015012
20 | 0.99137 | -0.16578 | 0.0056877 | 0.0014255
21 | 0.99107 | -0.1716 | 0.0045163 | 0.0011319
22 | 0.99045 | -0.1836 | 0.0066225 | 0.0016598
23 | 0.99002 | -0.19195 | 0 | 0
24 | 0.99082 | -0.17651 | 0.0051741 | 0.0012968
25 | 0.9907 | -0.17873 | 0.0043505 | 0.0010903
26 | 0.99099 | -0.17269 | 0 | 0
27 | 0.99283 | -0.13721 | 0 | 0
28 | 0.99338 | -0.12651 | 0.0074446 | 0.0018658
29 | 0.98255 | -0.33527 | 0 | 0
30 | 0.98178 | -0.35026 | 0 | 0
31 | 0.98526 | -0.28277 | 0.0075458 | 0.0018912
32 | 0.97847 | -0.41493 | 0 | 0
33 | 0.97669 | -0.44994 | 0.03213 | 0.0080524
34 | 0.99099 | -0.17275 | 0.0051043 | 0.0012793
35 | 0.9928 | -0.13763 | 0.0044753 | 0.0011216
36 | 0.99267 | -0.14017 | 0 | 0
37 | 0.99255 | -0.14256 | 0.0033406 | 0.00083724
38 | 0.98977 | -0.19638 | 0 | 0
39 | 0.98996 | -0.19264 | 0 | 0
40 | 0.98914 | -0.20867 | 0.011851 | 0.0029702
41 | 0.99002 | -0.19154 | 0 | 0
42 | 0.98994 | -0.19307 | 0.0041197 | 0.0010325
43 | 0.99054 | -0.18142 | 0.0054565 | 0.0013675
44 | 0.99025 | -0.18652 | 0.0051881 | 0.0013003
45 | 0.98842 | -0.22162 | 0.004463 | 0.0011185
46 | 0.98705 | -0.24812 | 0.0036864 | 0.00092391
47 | 0.98616 | -0.26528 | 0.0053097 | 0.0013307
48 | 0.99067 | -0.179 | 0.0062645 | 0.00157
49 | 0.99314 | -0.1311 | 0.0074786 | 0.0018743
50 | 0.98827 | -0.22552 | 0.0079277 | 0.0019869
51 | 0.98849 | -0.22122 | 0.0047799 | 0.001198
52 | 0.99005 | -0.19089 | 0 | 0
53 | 0.9924 | -0.14539 | 0.0049899 | 0.0012506
54 | 0.98975 | -0.19685 | 0.0051576 | 0.0012926
55 | 0.99308 | -0.13227 | 0.0022858 | 0.00057286
56 | 0.98993 | -0.19327 | 0.0010228 | 0.00025634
57 | 0.99234 | -0.1467 | 0.0037051 | 0.00092858
58 | 0.98925 | -0.20651 | 0 | 0
59 | 0.98949 | -0.20171 | 0 | 0
60 | 0.98899 | -0.21143 | 0.010166 | 0.0025479
61 | 0.99029 | -0.18633 | 0.0049266 | 0.0012347
62 | 0.98982 | -0.1954 | 0 | 0
63 | 0.98944 | -0.20284 | 0.014314 | 0.0035874
64 | 0.98933 | -0.20498 | 0.0043757 | 0.0010967
65 | 0.98929 | -0.20563 | 0.010799 | 0.0027066
66 | 0.98884 | -0.21434 | 0.0048664 | 0.0012196
67 | 0.98999 | -0.19212 | 0.0054719 | 0.0013714
68 | 0.9901 | -0.18993 | 0.0052691 | 0.0013206
69 | 0.98947 | -0.20224 | 0.0073315 | 0.0018375
70 | 0.98958 | -0.2005 | 0.0078952 | 0.0019787
71 | 0.98925 | -0.20701 | 0.011916 | 0.0029863
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.067444 | 0.017007 | -0.06735 | -0.016947 | 9.4523e-05 | 6.0173e-05 | 0.10088 | 0.10088 | 0.10088 | 0.9952 | -0.091868 | 0.99368 | -0.12119 | 27.7139
1 | -0.071934 | -0.018132 | 0.072039 | 0.018199 | 0.00010443 | 6.6523e-05 | 0.10759 | 0.10759 | 0.10759 | 0.9952 | -0.091868 | 0.99678 | -0.061576 | 29.5584
2 | 0.062175 | 0.01565 | -0.062097 | -0.0156 | 7.7696e-05 | 4.9417e-05 | 0.093129 | 0.09313 | 0.09313 | 0.99368 | -0.12119 | 0.99232 | -0.14738 | 25.5851
3 | -0.076579 | -0.019337 | 0.076638 | 0.019374 | 5.8747e-05 | 3.7442e-05 | 0.11437 | 0.11437 | 0.11437 | 0.99678 | -0.061576 | 0.99761 | -0.045578 | 31.4203
4 | 0.056936 | 0.014307 | -0.056896 | -0.014281 | 3.9693e-05 | 2.5216e-05 | 0.08539 | 0.08539 | 0.08539 | 0.99232 | -0.14738 | 0.99157 | -0.16199 | 23.4588
5 | -0.081181 | -0.020512 | 0.081358 | 0.020626 | 0.0001778 | 0.00011337 | 0.12115 | 0.12115 | 0.12115 | 0.99761 | -0.045578 | 1 | 0 | 33.2818
6 | 0.0045429 | 0.0011385 | -0.0045426 | -0.0011385 | 2.1713e-07 | -2.5683e-08 | 0.006776 | 0.006776 | 0.006776 | 0.99761 | -0.045578 | 0.99756 | -0.046581 | 1.8616
7 | 0.01037 | 0.0025991 | -0.010368 | -0.0025985 | 1.2204e-06 | 6.0773e-07 | 0.015561 | 0.015561 | 0.015561 | 0.99157 | -0.16199 | 0.99144 | -0.16446 | 4.2751
8 | 0.046527 | 0.011682 | -0.046515 | -0.011675 | 1.2015e-05 | 7.605e-06 | 0.069829 | 0.069829 | 0.069829 | 0.99157 | -0.16199 | 0.99129 | -0.16741 | 19.1837
9 | 0.007311 | 0.0018323 | -0.0073106 | -0.0018322 | 3.4369e-07 | 1.1837e-07 | 0.010879 | 0.010879 | 0.010879 | 1 | 0 | 0.99995 | -0.0009868 | 2.9887
10 | 0.23082 | 0.058794 | -0.23019 | -0.058392 | 0.00062956 | 0.00040217 | 0.3438 | 0.3438 | 0.3438 | 1 | 0 | 0.99702 | -0.05671 | 47.2252
11 | 0.005688 | 0.0014255 | -0.0056877 | -0.0014255 | 3.5754e-07 | 6.0134e-08 | 0.008537 | 0.008537 | 0.008537 | 0.99144 | -0.16446 | 0.99137 | -0.16578 | 2.3453
12 | 0.032468 | 0.0081532 | -0.032446 | -0.0081392 | 2.2288e-05 | 1.3942e-05 | 0.048743 | 0.048743 | 0.048743 | 0.99129 | -0.16741 | 0.99054 | -0.18181 | 13.3911
13 | 0.014046 | 0.0035216 | -0.014044 | -0.00352 | 2.8096e-06 | 1.5809e-06 | 0.021085 | 0.021086 | 0.021086 | 0.99129 | -0.16741 | 0.99107 | -0.1716 | 5.7927
14 | 0.0068537 | 0.0017177 | -0.0068533 | -0.0017176 | 3.8624e-07 | 1.1882e-07 | 0.010229 | 0.010229 | 0.010229 | 0.99702 | -0.05671 | 0.99696 | -0.057893 | 2.8101
15 | 0.22334 | 0.056674 | -0.22294 | -0.056417 | 0.00040141 | 0.0002564 | 0.33357 | 0.33357 | 0.33357 | 0.99702 | -0.05671 | 0.99506 | -0.094151 | 45.8201
16 | 0.21835 | 0.055268 | -0.21807 | -0.055087 | 0.00028334 | 0.00018097 | 0.32671 | 0.32671 | 0.32671 | 0.99506 | -0.094151 | 0.99365 | -0.12122 | 44.8782
17 | -0.064623 | -0.016439 | 0.064663 | 0.016464 | 3.9442e-05 | 2.5098e-05 | 0.096925 | 0.096925 | 0.096925 | 0.99299 | -0.13388 | 0.99365 | -0.12122 | 26.6277
18 | 0.064623 | 0.016439 | -0.064551 | -0.016393 | 7.201e-05 | 4.5823e-05 | 0.096925 | 0.096925 | 0.096925 | 0.99299 | -0.13388 | 0.99178 | -0.15703 | 26.6278
19 | 0.05707 | 0.014376 | -0.05693 | -0.014287 | 0.00014011 | 8.901e-05 | 0.085489 | 0.085489 | 0.085489 | 0.99365 | -0.12122 | 0.99099 | -0.17269 | 23.486
20 | 0.079119 | 0.019931 | -0.079059 | -0.019893 | 6.0437e-05 | 3.8531e-05 | 0.11852 | 0.11852 | 0.11852 | 0.99365 | -0.12122 | 0.99283 | -0.13721 | 32.5601
21 | 0.017216 | 0.0043162 | -0.017211 | -0.0043137 | 4.333e-06 | 2.548e-06 | 0.025781 | 0.025781 | 0.025781 | 0.99365 | -0.12122 | 0.99338 | -0.12651 | 7.0828
22 | 0.058888 | 0.014973 | -0.058804 | -0.01492 | 8.3525e-05 | 5.3089e-05 | 0.088428 | 0.088428 | 0.088428 | 0.99178 | -0.15703 | 0.99025 | -0.18652 | 24.2935
23 | -0.025821 | -0.0064781 | 0.025823 | 0.0064793 | 1.8686e-06 | 1.1533e-06 | 0.038794 | 0.038794 | 0.038794 | 0.99047 | -0.18332 | 0.99054 | -0.18181 | 10.6577
24 | 0.025821 | 0.0064781 | -0.02582 | -0.0064775 | 9.9731e-07 | 6.1554e-07 | 0.038794 | 0.038794 | 0.038794 | 0.99047 | -0.18332 | 0.99042 | -0.18413 | 10.6577
25 | 0.0066231 | 0.0016599 | -0.0066225 | -0.0016598 | 5.6562e-07 | 1.6588e-07 | 0.0099494 | 0.0099495 | 0.0099495 | 0.99054 | -0.18181 | 0.99045 | -0.1836 | 2.7334
26 | 0.01983 | 0.0049763 | -0.019822 | -0.0049719 | 7.3935e-06 | 4.4461e-06 | 0.029795 | 0.029795 | 0.029795 | 0.99042 | -0.18413 | 0.99002 | -0.19195 | 8.1854
27 | 0.0095273 | 0.0023881 | -0.0095251 | -0.002387 | 2.2269e-06 | 1.0513e-06 | 0.014305 | 0.014305 | 0.014305 | 0.99107 | -0.1716 | 0.99082 | -0.17651 | 3.9299
28 | 0.019822 | 0.0049719 | -0.019814 | -0.004967 | 8.0747e-06 | 4.856e-06 | 0.029795 | 0.029795 | 0.029795 | 0.99002 | -0.19195 | 0.98958 | -0.2005 | 8.1854
29 | 0.004351 | 0.0010903 | -0.0043505 | -0.0010903 | 4.5991e-07 | -7.5557e-08 | 0.0065343 | 0.0065344 | 0.0065344 | 0.99082 | -0.17651 | 0.9907 | -0.17873 | 1.7952
30 | 0.021947 | 0.0055049 | -0.02194 | -0.0055009 | 6.5973e-06 | 4.0137e-06 | 0.032955 | 0.032955 | 0.032955 | 0.99099 | -0.17269 | 0.99067 | -0.179 | 9.0537
31 | 0.034983 | 0.0087821 | -0.034969 | -0.008773 | 1.4551e-05 | 9.1315e-06 | 0.052534 | 0.052534 | 0.052534 | 0.99099 | -0.17269 | 0.99054 | -0.18142 | 14.4324
32 | 0.062543 | 0.015753 | -0.062437 | -0.015685 | 0.0001061 | 6.749e-05 | 0.093765 | 0.093766 | 0.093766 | 0.99283 | -0.13721 | 0.99099 | -0.17275 | 25.7598
33 | 0.016515 | 0.0041401 | -0.016515 | -0.0041399 | 3.3582e-07 | 1.9602e-07 | 0.024753 | 0.024753 | 0.024753 | 0.99283 | -0.13721 | 0.9928 | -0.13763 | 6.8003
34 | 0.0097666 | 0.0024479 | -0.0097644 | -0.0024469 | 2.1391e-06 | 1.0241e-06 | 0.01463 | 0.01463 | 0.01463 | 0.99338 | -0.12651 | 0.99314 | -0.1311 | 4.0192
35 | 0.032306 | 0.0081629 | -0.032283 | -0.0081484 | 2.3195e-05 | 1.4518e-05 | 0.048949 | 0.04895 | 0.04895 | 0.98255 | -0.33527 | 0.98178 | -0.35026 | 13.4477
36 | -0.032306 | -0.0081629 | 0.032388 | 0.008214 | 8.1534e-05 | 5.1029e-05 | 0.048949 | 0.048949 | 0.048949 | 0.98255 | -0.33527 | 0.98526 | -0.28277 | 13.4476
37 | 0.032283 | 0.0081484 | -0.032183 | -0.008086 | 9.967e-05 | 6.2391e-05 | 0.04895 | 0.04895 | 0.04895 | 0.98178 | -0.35026 | 0.97847 | -0.41493 | 13.4478
38 | -0.039933 | -0.010105 | 0.039967 | 0.010126 | 3.3547e-05 | 2.1157e-05 | 0.060345 | 0.060345 | 0.060345 | 0.98526 | -0.28277 | 0.98616 | -0.26528 | 16.5783
39 | 0.032183 | 0.008086 | -0.03213 | -0.0080524 | 5.3676e-05 | 3.3604e-05 | 0.04895 | 0.04895 | 0.04895 | 0.97847 | -0.41493 | 0.97669 | -0.44994 | 13.4479
40 | 0.057333 | 0.014406 | -0.057283 | -0.014374 | 4.9604e-05 | 3.1517e-05 | 0.086101 | 0.086101 | 0.086101 | 0.99099 | -0.17275 | 0.99005 | -0.19089 | 23.6542
41 | 0.01204 | 0.0030183 | -0.012038 | -0.0030175 | 1.4537e-06 | 7.7643e-07 | 0.018046 | 0.018046 | 0.018046 | 0.9928 | -0.13763 | 0.99267 | -0.14017 | 4.9576
42 | 0.012038 | 0.0030175 | -0.012037 | -0.0030168 | 1.3697e-06 | 7.3162e-07 | 0.018046 | 0.018046 | 0.018046 | 0.99267 | -0.14017 | 0.99255 | -0.14256 | 4.9576
43 | 0.0086964 | 0.0021796 | -0.0086952 | -0.0021791 | 1.1734e-06 | 5.131e-07 | 0.013037 | 0.013038 | 0.013038 | 0.99255 | -0.14256 | 0.9924 | -0.14539 | 3.5818
44 | -0.011858 | -0.0029739 | 0.01186 | 0.002975 | 2.1129e-06 | 1.1244e-06 | 0.017828 | 0.017828 | 0.017828 | 0.98977 | -0.19638 | 0.98996 | -0.19264 | 4.8978
45 | 0.011858 | 0.0029739 | -0.011851 | -0.0029702 | 6.9385e-06 | 3.6929e-06 | 0.017828 | 0.017828 | 0.017828 | 0.98977 | -0.19638 | 0.98914 | -0.20867 | 4.8979
46 | 0.012494 | 0.0031321 | -0.012491 | -0.0031308 | 2.5052e-06 | 1.3598e-06 | 0.018779 | 0.01878 | 0.01878 | 0.98996 | -0.19264 | 0.98975 | -0.19685 | 5.1592
47 | -0.024354 | -0.0061071 | 0.024355 | 0.0061079 | 1.284e-06 | 7.889e-07 | 0.036607 | 0.036607 | 0.036607 | 0.98996 | -0.19264 | 0.99002 | -0.19154 | 10.057
48 | 0.0051429 | 0.0012887 | -0.0051425 | -0.0012887 | 3.7563e-07 | 2.4851e-08 | 0.0077298 | 0.0077299 | 0.0077299 | 0.99002 | -0.19154 | 0.98994 | -0.19307 | 2.1236
49 | -0.029498 | -0.0073966 | 0.029512 | 0.0074055 | 1.4235e-05 | 8.8621e-06 | 0.044337 | 0.044337 | 0.044337 | 0.99002 | -0.19154 | 0.99054 | -0.18142 | 12.1805
50 | 0.0010228 | 0.0002562 | -0.0010228 | -0.00025634 | 9.8307e-09 | -1.3631e-07 | 0.0015374 | 0.0015374 | 0.0015374 | 0.98994 | -0.19307 | 0.98993 | -0.19327 | 0.42236
51 | 0.053616 | 0.01362 | -0.053526 | -0.013563 | 9.0428e-05 | 5.7397e-05 | 0.080632 | 0.080633 | 0.080633 | 0.99025 | -0.18652 | 0.98842 | -0.22162 | 22.1518
52 | 0.049063 | 0.012444 | -0.049 | -0.012405 | 6.2431e-05 | 3.9566e-05 | 0.073914 | 0.073914 | 0.073914 | 0.98842 | -0.22162 | 0.98705 | -0.24812 | 20.3061
53 | 0.045314 | 0.011481 | -0.045277 | -0.011457 | 3.7311e-05 | 2.3607e-05 | 0.068357 | 0.068357 | 0.068357 | 0.98705 | -0.24812 | 0.98616 | -0.26528 | 18.7793
54 | 0.015675 | 0.0039308 | -0.01567 | -0.0039277 | 5.4757e-06 | 3.1655e-06 | 0.023546 | 0.023546 | 0.023546 | 0.99067 | -0.179 | 0.99029 | -0.18633 | 6.4687
55 | 0.0022859 | 0.00057257 | -0.0022858 | -0.00057286 | 1.2711e-07 | -2.9257e-07 | 0.0034248 | 0.0034249 | 0.0034249 | 0.99314 | -0.1311 | 0.99308 | -0.13227 | 0.94091
56 | -0.0079277 | -0.0019869 | 0.0079293 | 0.0019875 | 1.6236e-06 | 6.4966e-07 | 0.011937 | 0.011936 | 0.011937 | 0.98827 | -0.22552 | 0.98849 | -0.22122 | 3.2793
57 | -0.012709 | -0.0031855 | 0.012713 | 0.0031878 | 4.1704e-06 | 2.2794e-06 | 0.019132 | 0.019132 | 0.019132 | 0.98849 | -0.22122 | 0.98884 | -0.21434 | 5.256
58 | 0.0363 | 0.00911 | -0.036292 | -0.0091051 | 7.7936e-06 | 4.8981e-06 | 0.054562 | 0.054562 | 0.054562 | 0.99005 | -0.19089 | 0.98982 | -0.1954 | 14.9897
59 | 0.020983 | 0.0052644 | -0.020972 | -0.0052578 | 1.0818e-05 | 6.5507e-06 | 0.031539 | 0.031539 | 0.031539 | 0.99005 | -0.19089 | 0.98949 | -0.20171 | 8.6646
60 | 0.0037053 | 0.00092847 | -0.0037051 | -0.00092858 | 2.3062e-07 | -1.0982e-07 | 0.0055557 | 0.0055558 | 0.0055558 | 0.9924 | -0.14539 | 0.99234 | -0.1467 | 1.5263
61 | 0.0073334 | 0.0018381 | -0.0073315 | -0.0018375 | 1.8833e-06 | 6.745e-07 | 0.011025 | 0.011026 | 0.011026 | 0.98975 | -0.19685 | 0.98947 | -0.20224 | 3.029
62 | -0.010169 | -0.0025491 | 0.010171 | 0.0025502 | 2.3256e-06 | 1.148e-06 | 0.015296 | 0.015296 | 0.015296 | 0.98925 | -0.20651 | 0.98949 | -0.20171 | 4.2021
63 | 0.010169 | 0.0025491 | -0.010166 | -0.0025479 | 2.3822e-06 | 1.1761e-06 | 0.015296 | 0.015296 | 0.015296 | 0.98925 | -0.20651 | 0.98899 | -0.21143 | 4.2021
64 | 0.010801 | 0.0027076 | -0.010799 | -0.0027066 | 2.017e-06 | 1.0291e-06 | 0.016243 | 0.016244 | 0.016244 | 0.98949 | -0.20171 | 0.98929 | -0.20563 | 4.4625
65 | 0.010743 | 0.0026929 | -0.010741 | -0.002692 | 1.8428e-06 | 9.3686e-07 | 0.016143 | 0.016143 | 0.016143 | 0.99029 | -0.18633 | 0.9901 | -0.18993 | 4.435
66 | 0.014319 | 0.0035903 | -0.014314 | -0.0035874 | 5.0782e-06 | 2.8746e-06 | 0.021527 | 0.021527 | 0.021527 | 0.98982 | -0.1954 | 0.98944 | -0.20284 | 5.9139
67 | 0.021973 | 0.0055148 | -0.021963 | -0.0055087 | 1.0044e-05 | 6.1132e-06 | 0.033036 | 0.033036 | 0.033036 | 0.98982 | -0.1954 | 0.98933 | -0.20498 | 9.0758
68 | 0.017588 | 0.004412 | -0.01758 | -0.0044074 | 7.8366e-06 | 4.6322e-06 | 0.026454 | 0.026455 | 0.026455 | 0.98933 | -0.20498 | 0.98884 | -0.21434 | 7.2678
69 | -0.0054719 | -0.0013714 | 0.0054724 | 0.0013715 | 5.7055e-07 | 7.5906e-08 | 0.0082245 | 0.0082244 | 0.0082245 | 0.98999 | -0.19212 | 0.9901 | -0.18993 | 2.2595
70 | 0.011919 | 0.0029883 | -0.011916 | -0.0029863 | 3.6952e-06 | 1.971e-06 | 0.017923 | 0.017923 | 0.017923 | 0.98958 | -0.2005 | 0.98925 | -0.20701 | 4.924

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32114 | 0.081252

## res_load
| p_mw | q_mvar
0 | 0.0044904 | 0.0011254
1 | 0.0051747 | 0.0012969
2 | 0.0045402 | 0.0011379
3 | 0.0051613 | 0.0012935
4 | 0.0045426 | 0.0011385
5 | 0.0046803 | 0.001173
6 | 0.0073106 | 0.0018322
7 | 0.0068533 | 0.0017176
8 | 0.0045858 | 0.0011493
9 | 0.0056632 | 0.0014193
10 | 0.0059899 | 0.0015012
11 | 0.0056877 | 0.0014255
12 | 0.0045163 | 0.0011319
13 | 0.0066225 | 0.0016598
14 | 0.0051741 | 0.0012968
15 | 0.0043505 | 0.0010903
16 | 0.0074446 | 0.0018658
17 | 0.0075458 | 0.0018912
18 | 0.03213 | 0.0080524
19 | 0.0051043 | 0.0012793
20 | 0.0044753 | 0.0011216
21 | 0.0033406 | 0.00083724
22 | 0.011851 | 0.0029702
23 | 0.0041197 | 0.0010325
24 | 0.0054565 | 0.0013675
25 | 0.0051881 | 0.0013003
26 | 0.004463 | 0.0011185
27 | 0.0036864 | 0.00092391
28 | 0.0053097 | 0.0013307
29 | 0.0062645 | 0.00157
30 | 0.0074786 | 0.0018743
31 | 0.0079277 | 0.0019869
32 | 0.0047799 | 0.001198
33 | 0.0049899 | 0.0012506
34 | 0.0051576 | 0.0012926
35 | 0.0022858 | 0.00057286
36 | 0.0010228 | 0.00025634
37 | 0.0037051 | 0.00092858
38 | 0.010166 | 0.0025479
39 | 0.0049266 | 0.0012347
40 | 0.014314 | 0.0035874
41 | 0.0043757 | 0.0010967
42 | 0.010799 | 0.0027066
43 | 0.0048664 | 0.0012196
44 | 0.0054719 | 0.0013714
45 | 0.0052691 | 0.0013206
46 | 0.0073315 | 0.0018375
47 | 0.0078952 | 0.0019787
48 | 0.011916 | 0.0029863

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1